## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5635-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5635-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5635-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5635-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5635-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5635-4_0_4_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_5635-4_0_4_node_84 | 0.4 | n |  | TRUE
7 | bus_LV_5635-4_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5635-4_0_4_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_5635-4_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5635-4_0_4_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_5635-4_0_4_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_5635-4_0_4_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_5635-4_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5635-4_0_4_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_5635-4_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5635-4_0_4_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_5635-4_0_4_node_74 | 0.4 | n |  | TRUE
18 | bus_LV_5635-4_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5635-4_0_4_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_5635-4_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5635-4_0_4_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_5635-4_0_4_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_5635-4_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5635-4_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5635-4_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5635-4_0_4_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_5635-4_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_5635-4_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_5635-4_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5635-4_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_5635-4_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5635-4_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_5635-4_0_4_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_5635-4_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_5635-4_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5635-4_0_4_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_5635-4_0_4_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_5635-4_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_5635-4_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_5635-4_0_4_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_5635-4_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5635-4_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_5635-4_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5635-4_0_4_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_5635-4_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_5635-4_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_5635-4_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_5635-4_0_4_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_5635-4_0_4_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_5635-4_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_5635-4_0_4_node_81 | 0.4 | n |  | TRUE
52 | bus_LV_5635-4_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_5635-4_0_4_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_5635-4_0_4_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_5635-4_0_4_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_5635-4_0_4_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_5635-4_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_5635-4_0_4_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_5635-4_0_4_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_5635-4_0_4_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_5635-4_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_5635-4_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_5635-4_0_4_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_5635-4_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_5635-4_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_5635-4_0_4_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_5635-4_0_4_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_5635-4_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_5635-4_0_4_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_5635-4_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_5635-4_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_5635-4_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_5635-4_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_5635-4_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_5635-4_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_5635-4_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_5635-4_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_5635-4_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_5635-4_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_5635-4_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_MV_635_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5635-4_0_4_load_0 | 0 | 0.0023532 | 0.00058977 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5635-4_0_4_load_42 | 5 | 0.0022085 | 0.00055349 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5635-4_0_4_load_84 | 6 | 0.0019124 | 0.0004793 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5635-4_0_4_load_43 | 8 | 0.0019697 | 0.00049366 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5635-4_0_4_load_55 | 12 | 0.00046543 | 0.00011665 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5635-4_0_4_load_49 | 16 | 0.0093923 | 0.0023539 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5635-4_0_4_load_74 | 17 | 0.0017089 | 0.00042829 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5635-4_0_4_load_85 | 19 | 0.0021488 | 0.00053854 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5635-4_0_4_load_58 | 22 | 0.038767 | 0.009716 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5635-4_0_4_load_66 | 26 | 0.00085066 | 0.00021319 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5635-4_0_4_load_37 | 27 | 0.00037239 | 9.333e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5635-4_0_4_load_34 | 28 | 0.00087015 | 0.00021808 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5635-4_0_4_load_57 | 33 | 0.00040331 | 0.00010108 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5635-4_0_4_load_41 | 34 | 0.0010249 | 0.00025686 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5635-4_0_4_load_82 | 36 | 0.018849 | 0.004724 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5635-4_0_4_load_77 | 37 | 0.0014549 | 0.00036463 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5635-4_0_4_load_64 | 40 | 0.00085731 | 0.00021486 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5635-4_0_4_load_38 | 42 | 0.021164 | 0.0053043 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5635-4_0_4_load_80 | 44 | 0.02243 | 0.0056214 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5635-4_0_4_load_46 | 47 | 0.00099368 | 0.00024904 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5635-4_0_4_load_52 | 48 | 0.01087 | 0.0027243 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5635-4_0_4_load_86 | 49 | 0.003747 | 0.00093908 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5635-4_0_4_load_48 | 50 | 0.00012504 | 3.1338e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5635-4_0_4_load_81 | 51 | 0.018778 | 0.0047061 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5635-4_0_4_load_83 | 53 | 0.019975 | 0.0050063 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5635-4_0_4_load_72 | 54 | 0.0018609 | 0.00046638 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5635-4_0_4_load_79 | 55 | 0.0019986 | 0.0005009 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5635-4_0_4_load_39 | 57 | 0.0071603 | 0.0017945 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5635-4_0_4_load_62 | 59 | 0.0007468 | 0.00018716 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5635-4_0_4_load_35 | 60 | 0.0010592 | 0.00026547 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5635-4_0_4_load_40 | 61 | 0.0025536 | 0.00063999 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5635-4_0_4_load_50 | 65 | 0.055342 | 0.01387 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5635-4_0_4_load_47 | 66 | 0.00012057 | 3.0218e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5635-4_0_4_load_60 | 68 | 0.00067552 | 0.0001693 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5635-4_0_4_load_44 | 69 | 0.010794 | 0.0027051 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5635-4_0_4_load_51 | 70 | 0.0056843 | 0.0014246 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5635-4_0_4_load_53 | 71 | 0.00068945 | 0.00017279 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5635-4_0_4_load_54 | 72 | 0.00096369 | 0.00024152 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5635-4_0_4_load_59 | 73 | 0.00072699 | 0.0001822 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5635-4_0_4_load_61 | 74 | 0.000661 | 0.00016566 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5635-4_0_4_load_67 | 75 | 0.0011864 | 0.00029733 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5635-4_0_4_load_68 | 76 | 0.0018099 | 0.00045361 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5635-4_0_4_load_71 | 77 | 0.0024117 | 0.00060443 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5635-4_0_4_load_73 | 79 | 0.0005995 | 0.00015025 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5635-4_0_4_load_78 | 80 | 0.0010583 | 0.00026524 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5635-4_0_4_line_0 |  | 0 | 1 | 0.019662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5635-4_0_4_line_1 |  | 0 | 2 | 0.019679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5635-4_0_4_line_2 |  | 1 | 3 | 0.048706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5635-4_0_4_line_3 |  | 2 | 4 | 0.011101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5635-4_0_4_line_4 |  | 3 | 5 | 0.030081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5635-4_0_4_line_5 |  | 4 | 6 | 0.0131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5635-4_0_4_line_6 |  | 4 | 7 | 0.075498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5635-4_0_4_line_7 |  | 5 | 23 | 0.010013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5635-4_0_4_line_8 |  | 7 | 8 | 0.055047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5635-4_0_4_line_9 |  | 9 | 10 | 0.20872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5635-4_0_4_line_10 |  | 9 | 11 | 0.13847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5635-4_0_4_line_11 |  | 9 | 12 | 0.0030576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5635-4_0_4_line_12 |  | 10 | 49 | 0.01591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5635-4_0_4_line_13 |  | 10 | 13 | 0.13287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5635-4_0_4_line_14 |  | 10 | 46 | 0.025046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5635-4_0_4_line_15 |  | 11 | 50 | 0.012941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5635-4_0_4_line_16 |  | 12 | 52 | 0.024183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5635-4_0_4_line_17 |  | 13 | 14 | 0.023313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5635-4_0_4_line_18 |  | 13 | 15 | 0.10627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5635-4_0_4_line_19 |  | 13 | 16 | 0.012356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5635-4_0_4_line_20 |  | 14 | 41 | 0.068175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5635-4_0_4_line_21 |  | 15 | 17 | 0.036022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5635-4_0_4_line_22 |  | 18 | 19 | 0.010023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5635-4_0_4_line_23 |  | 18 | 20 | 0.26715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5635-4_0_4_line_24 |  | 18 | 21 | 0.018416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5635-4_0_4_line_25 |  | 20 | 22 | 0.18003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5635-4_0_4_line_26 |  | 21 | 55 | 0.024396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5635-4_0_4_line_27 |  | 21 | 56 | 0.025755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5635-4_0_4_line_28 |  | 23 | 24 | 0.047517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5635-4_0_4_line_29 |  | 23 | 25 | 0.090389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5635-4_0_4_line_30 |  | 24 | 26 | 0.02087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5635-4_0_4_line_31 |  | 25 | 27 | 0.014422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5635-4_0_4_line_32 |  | 25 | 28 | 0.026672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5635-4_0_4_line_33 |  | 26 | 57 | 0.061726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5635-4_0_4_line_34 |  | 28 | 60 | 0.00048836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5635-4_0_4_line_35 |  | 29 | 30 | 0.056553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5635-4_0_4_line_36 |  | 29 | 31 | 0.0057923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5635-4_0_4_line_37 |  | 29 | 32 | 0.10151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5635-4_0_4_line_38 |  | 29 | 33 | 0.010034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5635-4_0_4_line_39 |  | 30 | 37 | 0.030371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5635-4_0_4_line_40 |  | 31 | 34 | 0.10177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5635-4_0_4_line_41 |  | 32 | 53 | 0.050195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5635-4_0_4_line_42 |  | 32 | 35 | 0.20228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5635-4_0_4_line_43 |  | 34 | 61 | 0.00037696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5635-4_0_4_line_44 |  | 35 | 36 | 0.05565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5635-4_0_4_line_45 |  | 37 | 62 | 0.0074321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5635-4_0_4_line_46 |  | 38 | 39 | 0.03903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5635-4_0_4_line_47 |  | 38 | 40 | 0.04394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5635-4_0_4_line_48 |  | 39 | 41 | 0.091951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5635-4_0_4_line_49 |  | 39 | 42 | 0.020243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5635-4_0_4_line_50 |  | 40 | 63 | 0.011186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5635-4_0_4_line_51 |  | 41 | 54 | 0.013919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5635-4_0_4_line_52 |  | 43 | 44 | 0.028096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5635-4_0_4_line_53 |  | 43 | 45 | 0.045392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5635-4_0_4_line_54 |  | 45 | 51 | 0.029604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5635-4_0_4_line_55 |  | 45 | 52 | 0.053769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5635-4_0_4_line_56 |  | 46 | 47 | 0.039915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5635-4_0_4_line_57 |  | 46 | 48 | 0.033547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5635-4_0_4_line_58 |  | 47 | 64 | 0.024336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5635-4_0_4_line_59 |  | 48 | 65 | 0.033955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5635-4_0_4_line_60 |  | 50 | 66 | 0.0020115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5635-4_0_4_line_61 |  | 54 | 67 | 0.011882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5635-4_0_4_line_62 |  | 56 | 78 | 0.043393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5635-4_0_4_line_63 |  | 56 | 76 | 0.053166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5635-4_0_4_line_64 |  | 58 | 59 | 0.032852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5635-4_0_4_line_65 |  | 58 | 60 | 0.023808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5635-4_0_4_line_66 |  | 59 | 68 | 0.014831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5635-4_0_4_line_67 |  | 62 | 63 | 0.014333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_5635-4_0_4_line_68 |  | 62 | 74 | 0.031738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5635-4_0_4_line_69 |  | 64 | 69 | 0.019463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5635-4_0_4_line_70 |  | 65 | 70 | 0.018519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5635-4_0_4_line_71 |  | 67 | 77 | 0.016375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5635-4_0_4_line_72 |  | 67 | 75 | 0.036788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_5635-4_0_4_line_73 |  | 68 | 73 | 0.015116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5635-4_0_4_line_74 |  | 70 | 71 | 0.057709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5635-4_0_4_line_75 |  | 71 | 72 | 0.039819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5635-4_0_4_line_76 |  | 73 | 74 | 0.013795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5635-4_0_4_line_77 |  | 75 | 76 | 0.0044913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_5635-4_0_4_line_78 |  | 77 | 79 | 0.0041362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5635-4_0_4_line_79 |  | 78 | 80 | 0.017332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5635-4_0_4_trafo_8 | 0.63 MVA 20/0.4 kV | 81 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2533214.2892 | 1152429.4823 | 2533211.9568 | 1152423.3159 | 2533210.5496 | 1152418.2287 | 2533209.3726 | 1152413.139 | 2533209.4729 | 1152410.5739
1 | 2533212.0282 | 1152391.0751 | 2533210.3281 | 1152401.7554 | 2533209.5519 | 1152408.5567 | 2533209.4729 | 1152410.5739
2 | 2533214.2892 | 1152429.4823 | 2533214.3855 | 1152469.9146 | 2533222.6559 | 1152469.7004
3 | 2533212.0282 | 1152391.0751 | 2533212.2042 | 1152379.9782
4 | 2533222.6559 | 1152469.7004 | 2533222.3913 | 1152499.7802
5 | 2533199.0663 | 1152380.0241 | 2533212.2042 | 1152379.9782
6 | 2533155.8406 | 1152360.327 | 2533204.7105 | 1152361.0176 | 2533212.4083 | 1152361.0544 | 2533212.3255 | 1152363.968 | 2533212.2042 | 1152379.9782
7 | 2533222.3033 | 1152509.793 | 2533222.3913 | 1152499.7802
8 | 2533155.8406 | 1152360.327 | 2533156.5836 | 1152415.3691
9 | 2533479.7573 | 1152279.8794 | 2533479.294 | 1152282.3971 | 2533478.1211 | 1152286.6679 | 2533477.4169 | 1152291.0003 | 2533496.1606 | 1152300.2759 | 2533504.4975 | 1152303.2742 | 2533526.0659 | 1152311.2179 | 2533531.6981 | 1152313.2234 | 2533535.0608 | 1152314.0422 | 2533538.545 | 1152314.7374 | 2533541.8044 | 1152315.235 | 2533544.9398 | 1152315.6228 | 2533548.7397 | 1152315.7142 | 2533553.1506 | 1152315.5542 | 2533558.2426 | 1152315.2089 | 2533562.6234 | 1152314.4045 | 2533567.6114 | 1152312.9819 | 2533579.5642 | 1152309.1589 | 2533583.8942 | 1152307.9215 | 2533591.0119 | 1152306.1641 | 2533604.1731 | 1152304.7402 | 2533614.1546 | 1152304.4854 | 2533614.5732 | 1152359.0553
10 | 2533614.5732 | 1152359.0553 | 2533688.7756 | 1152359.7146 | 2533696.5253 | 1152333.159 | 2533730.5112 | 1152346.7474
11 | 2533614.5732 | 1152359.0553 | 2533614.5497 | 1152362.1127
12 | 2533479.7573 | 1152279.8794 | 2533480.1193 | 1152277.9188 | 2533480.4064 | 1152276.1257 | 2533480.7651 | 1152271.0857 | 2533481.0278 | 1152267.0917 | 2533477.9796 | 1152266.9587
13 | 2533476.2724 | 1152396.9824 | 2533480.1085 | 1152396.8844 | 2533480.1116 | 1152380.5309 | 2533481.647 | 1152375.0331 | 2533488.0766 | 1152369.3477 | 2533488.159 | 1152360.1529 | 2533488.1056 | 1152343.5443 | 2533489.1968 | 1152331.1921 | 2533481.9367 | 1152331.1724 | 2533482.2816 | 1152316.5717 | 2533481.5155 | 1152310.4546 | 2533479.3063 | 1152304.9982 | 2533476.5215 | 1152300.2375 | 2533476.2564 | 1152296.3939 | 2533477.4169 | 1152291.0003 | 2533478.1211 | 1152286.6679 | 2533479.294 | 1152282.3971 | 2533479.7573 | 1152279.8794
14 | 2533459.7551 | 1152283.7918 | 2533470.8821 | 1152288.5713 | 2533473.086 | 1152284.5336 | 2533474.9934 | 1152282.1334 | 2533479.7573 | 1152279.8794
15 | 2533730.5112 | 1152346.7474 | 2533724.4063 | 1152358.1582
16 | 2533614.3983 | 1152386.2944 | 2533614.3746 | 1152384.8383 | 2533614.5497 | 1152362.1127
17 | 2533476.2724 | 1152396.9824 | 2533475.9779 | 1152420.2874
18 | 2533398.8507 | 1152372.3926 | 2533398.9406 | 1152366.6551 | 2533418.3923 | 1152367.807 | 2533458.3577 | 1152367.5978 | 2533463.8569 | 1152367.9927 | 2533470.8965 | 1152370.972 | 2533474.3761 | 1152374.0352 | 2533476.2341 | 1152378.9618 | 2533476.2724 | 1152396.9824
19 | 2533476.2724 | 1152396.9824 | 2533464.3119 | 1152400.0831
20 | 2533421.4771 | 1152434.9765 | 2533421.616 | 1152427.4263 | 2533468.0419 | 1152427.1456 | 2533476.2659 | 1152426.1986 | 2533475.9779 | 1152420.2874
21 | 2533398.8507 | 1152372.3926 | 2533398.7887 | 1152408.4141
22 | 2533301.3242 | 1152390.9172 | 2533311.3764 | 1152390.8167
23 | 2533301.3242 | 1152390.9172 | 2533301.4216 | 1152366.5027 | 2533302.2096 | 1152360.7463 | 2533302.3758 | 1152355.675 | 2533302.5929 | 1152339.9639 | 2533302.5587 | 1152335.5063 | 2533302.7396 | 1152309.6234 | 2533303.4794 | 1152250.427 | 2533310.7247 | 1152249.1015 | 2533311.3054 | 1152214.9874 | 2533332.6495 | 1152215.1063 | 2533333.4668 | 1152181.5455 | 2533340.1568 | 1152180.6597 | 2533340.6684 | 1152174.1949 | 2533327.5081 | 1152172.262 | 2533324.0369 | 1152173.4345
24 | 2533301.3242 | 1152390.9172 | 2533301.26 | 1152409.328
25 | 2533324.0369 | 1152173.4345 | 2533325.9339 | 1152186.0092 | 2533326.1779 | 1152214.2332 | 2533325.4728 | 1152232.3065 | 2533321.9635 | 1152241.1058 | 2533314.3207 | 1152246.727 | 2533212.2819 | 1152246.9469
26 | 2533276.7929 | 1152409.1883 | 2533301.26 | 1152409.328
27 | 2533301.2311 | 1152435.0758 | 2533301.26 | 1152409.328
28 | 2533222.3033 | 1152509.793 | 2533212.4971 | 1152509.9131 | 2533212.6571 | 1152516.7151 | 2533239.593 | 1152516.6937 | 2533243.4826 | 1152515.8945
29 | 2533222.3033 | 1152509.793 | 2533222.2141 | 1152520.411 | 2533222.1586 | 1152526.4705 | 2533224.8947 | 1152528.9081 | 2533235.7144 | 1152538.5155 | 2533237.8259 | 1152542.0718 | 2533237.867 | 1152543.0052 | 2533238.6454 | 1152560.5728 | 2533240.1344 | 1152567.5046 | 2533241.6946 | 1152577.3816 | 2533241.678 | 1152579.3495 | 2533241.5865 | 1152593.2137
30 | 2533243.4826 | 1152515.8945 | 2533247.3875 | 1152515.0952 | 2533264.2658 | 1152514.6743
31 | 2533241.5865 | 1152593.2137 | 2533230.8035 | 1152602.7916
32 | 2533241.5865 | 1152593.2137 | 2533253.5644 | 1152593.1029 | 2533268.2572 | 1152592.9698
33 | 2533324.8955 | 1152507.381 | 2533289.1775 | 1152507.2048 | 2533264.2658 | 1152514.6743 | 2533264.2658 | 1152514.6743
34 | 2533268.7456 | 1152592.9653 | 2533268.2572 | 1152592.9698
35 | 2533414.012 | 1152566.0424 | 2533414.0117 | 1152615.1916 | 2533414.0514 | 1152620.8499 | 2533414.0707 | 1152622.5951
36 | 2533415.9873 | 1152626.576 | 2533414.0986 | 1152626.4969 | 2533414.0707 | 1152622.5951
37 | 2533414.0707 | 1152622.5951 | 2533437.0337 | 1152622.8187 | 2533462.3312 | 1152622.4941 | 2533466.3133 | 1152622.4389 | 2533471.7055 | 1152621.512 | 2533476.3474 | 1152617.9698 | 2533478.33 | 1152615.4354 | 2533478.835 | 1152614.6071 | 2533488.4577 | 1152614.5673 | 2533496.5838 | 1152614.5107 | 2533500.85 | 1152618.6214 | 2533503.5363 | 1152619.3587 | 2533505.4399 | 1152619.3932 | 2533506.7059 | 1152617.9896 | 2533508.4062 | 1152614.9135
38 | 2533414.0707 | 1152622.5951 | 2533409.8112 | 1152622.5533 | 2533404.0771 | 1152621.8703
39 | 2533414.012 | 1152566.0424 | 2533383.6409 | 1152565.986
40 | 2533415.9873 | 1152626.576 | 2533415.8721 | 1152634.1926 | 2533416.304 | 1152654.4656 | 2533417.0407 | 1152659.3157 | 2533427.0926 | 1152682.784 | 2533446.9072 | 1152708.4788 | 2533457.8999 | 1152708.4666
41 | 2533520.1361 | 1152581.9879 | 2533505.0933 | 1152581.832 | 2533505.222 | 1152613.5702 | 2533508.4062 | 1152614.9135
42 | 2533508.4062 | 1152614.9135 | 2533515.2987 | 1152617.8056 | 2533576.9591 | 1152617.813 | 2533576.7408 | 1152620.9727 | 2533582.5421 | 1152620.953 | 2533586.6429 | 1152621.219 | 2533591.138 | 1152622.4367 | 2533595.1659 | 1152624.4377 | 2533598.9454 | 1152626.8751 | 2533601.8124 | 1152628.6778 | 2533605.3588 | 1152630.1616 | 2533608.746 | 1152631.1248 | 2533611.8665 | 1152631.5683 | 2533615.0709 | 1152631.2661 | 2533618.9158 | 1152630.6011 | 2533630.2077 | 1152630.2207 | 2533629.5356 | 1152637.4654 | 2533646.664 | 1152637.4764 | 2533662.9327 | 1152637.4746 | 2533679.708 | 1152637.4785 | 2533696.3528 | 1152637.4838
43 | 2533458.2769 | 1152708.4662 | 2533457.8999 | 1152708.4666
44 | 2533697.6035 | 1152590.1662 | 2533702.0228 | 1152590.0841 | 2533702.0518 | 1152593.4078 | 2533702.0692 | 1152595.6866 | 2533702.1488 | 1152604.2905 | 2533702.171 | 1152606.3025 | 2533702.4146 | 1152632.5587 | 2533702.422 | 1152634.6153 | 2533696.3528 | 1152637.4838
45 | 2533376.2089 | 1152565.9722 | 2533383.6409 | 1152565.986
46 | 2533412.7949 | 1152533.0821 | 2533415.9909 | 1152530.6343 | 2533434.4911 | 1152531.1408 | 2533434.4541 | 1152514.6433
47 | 2533412.7949 | 1152533.0821 | 2533376.0686 | 1152533.2446 | 2533376.0703 | 1152540.4577
48 | 2533421.4771 | 1152434.9765 | 2533433.7636 | 1152434.9849 | 2533433.7792 | 1152470.3375 | 2533433.779 | 1152478.6309 | 2533434.4541 | 1152514.6433
49 | 2533434.4541 | 1152514.6433 | 2533441.1675 | 1152514.5133 | 2533454.5271 | 1152512.3855
50 | 2533376.073 | 1152551.6436 | 2533376.0703 | 1152540.4577
51 | 2533421.4771 | 1152434.9765 | 2533407.5582 | 1152434.9628
52 | 2533560.6235 | 1152412.5583 | 2533532.4458 | 1152412.7476
53 | 2533560.6235 | 1152412.5583 | 2533598.5228 | 1152415.697 | 2533605.8519 | 1152416.4053
54 | 2533635.472 | 1152418.2793 | 2533618.0514 | 1152417.5713 | 2533605.8519 | 1152416.4053
55 | 2533605.8519 | 1152416.4053 | 2533598.5228 | 1152415.697 | 2533598.262 | 1152392.0869 | 2533598.2046 | 1152385.5061 | 2533614.3983 | 1152386.2944
56 | 2533459.7551 | 1152283.7918 | 2533460.1892 | 1152280.0294 | 2533460.1184 | 1152278.4849 | 2533459.5867 | 1152276.901 | 2533457.8773 | 1152275.697 | 2533449.8565 | 1152272.1394 | 2533445.4566 | 1152269.8312 | 2533442.5014 | 1152267.7072 | 2533438.8719 | 1152264.9792 | 2533435.0241 | 1152261.9424 | 2533432.3099 | 1152259.0105
57 | 2533459.7551 | 1152283.7918 | 2533435.604 | 1152273.4201 | 2533428.9306 | 1152270.554
58 | 2533418.2579 | 1152239.3045 | 2533421.0439 | 1152244.8656 | 2533423.9226 | 1152249.0916 | 2533427.8392 | 1152254.1732 | 2533431.5909 | 1152258.2339 | 2533432.3099 | 1152259.0105
59 | 2533397.7316 | 1152257.155 | 2533428.9306 | 1152270.554
60 | 2533723.4574 | 1152359.9319 | 2533724.4063 | 1152358.1582
61 | 2533395.6762 | 1152434.9511 | 2533407.5582 | 1152434.9628
62 | 2533301.2311 | 1152435.0758 | 2533301.1063 | 1152478.4567
63 | 2533301.2311 | 1152435.0758 | 2533318.5046 | 1152434.9731 | 2533333.385 | 1152434.9859 | 2533347.3371 | 1152435.0201 | 2533354.3971 | 1152435.0246
64 | 2533292.5511 | 1152592.6589 | 2533292.4387 | 1152578.3856 | 2533292.3728 | 1152570.3708 | 2533293.4339 | 1152567.8021 | 2533295.1242 | 1152566.5938 | 2533298.0855 | 1152565.8272 | 2533300.7322 | 1152565.7784
65 | 2533292.5511 | 1152592.6589 | 2533286.2063 | 1152592.8071 | 2533268.7456 | 1152592.9653
66 | 2533300.7322 | 1152565.7784 | 2533310.2157 | 1152565.6036 | 2533315.5611 | 1152565.6334
67 | 2533376.2089 | 1152565.9722 | 2533376.073 | 1152551.6436
68 | 2533376.2089 | 1152565.9722 | 2533344.4712 | 1152565.7949
69 | 2533418.2579 | 1152239.3045 | 2533419.3223 | 1152237.7029 | 2533420.1912 | 1152237.1708 | 2533421.5271 | 1152237.2115 | 2533435.0731 | 1152242.8091 | 2533435.4253 | 1152243.2019
70 | 2533397.7316 | 1152257.155 | 2533388.2886 | 1152253.0995 | 2533380.339 | 1152250.9228
71 | 2533395.6762 | 1152434.9511 | 2533395.7732 | 1152451.3257
72 | 2533395.6762 | 1152434.9511 | 2533391.0263 | 1152435.0137 | 2533376.2313 | 1152435.0888 | 2533361.5652 | 1152435.0291 | 2533358.8884 | 1152435.0274
73 | 2533330.6765 | 1152565.7179 | 2533315.5611 | 1152565.6334
74 | 2533380.339 | 1152250.9228 | 2533367.3736 | 1152247.3725 | 2533357.3561 | 1152247.1612 | 2533342.7407 | 1152246.8675 | 2533344.1926 | 1152266.4424
75 | 2533344.1926 | 1152266.4424 | 2533345.0418 | 1152277.8924 | 2533345.8036 | 1152306.2193
76 | 2533330.6765 | 1152565.7179 | 2533344.4712 | 1152565.7949
77 | 2533358.8884 | 1152435.0274 | 2533354.3971 | 1152435.0246
78 | 2533391.6371 | 1152451.3493 | 2533395.7732 | 1152451.3257
79 | 2533318.4885 | 1152478.475 | 2533301.1063 | 1152478.4567

## bus_geodata
| x | y | coords
0 | 2533209.4729 | 1152410.5739
1 | 2533214.2892 | 1152429.4823
2 | 2533212.0282 | 1152391.0751
3 | 2533222.6559 | 1152469.7004
4 | 2533212.2042 | 1152379.9782
5 | 2533222.3913 | 1152499.7802
6 | 2533199.0663 | 1152380.0241
7 | 2533155.8406 | 1152360.327
8 | 2533156.5836 | 1152415.3691
9 | 2533614.5732 | 1152359.0553
10 | 2533479.7573 | 1152279.8794
11 | 2533730.5112 | 1152346.7474
12 | 2533614.5497 | 1152362.1127
13 | 2533476.2724 | 1152396.9824
14 | 2533475.9779 | 1152420.2874
15 | 2533398.8507 | 1152372.3926
16 | 2533464.3119 | 1152400.0831
17 | 2533398.7887 | 1152408.4141
18 | 2533301.3242 | 1152390.9172
19 | 2533311.3764 | 1152390.8167
20 | 2533324.0369 | 1152173.4345
21 | 2533301.26 | 1152409.328
22 | 2533212.2819 | 1152246.9469
23 | 2533222.3033 | 1152509.793
24 | 2533243.4826 | 1152515.8945
25 | 2533241.5865 | 1152593.2137
26 | 2533264.2658 | 1152514.6743
27 | 2533230.8035 | 1152602.7916
28 | 2533268.2572 | 1152592.9698
29 | 2533414.0707 | 1152622.5951
30 | 2533414.012 | 1152566.0424
31 | 2533415.9873 | 1152626.576
32 | 2533508.4062 | 1152614.9135
33 | 2533404.0771 | 1152621.8703
34 | 2533457.8999 | 1152708.4666
35 | 2533696.3528 | 1152637.4838
36 | 2533697.6035 | 1152590.1662
37 | 2533383.6409 | 1152565.986
38 | 2533412.7949 | 1152533.0821
39 | 2533434.4541 | 1152514.6433
40 | 2533376.0703 | 1152540.4577
41 | 2533421.4771 | 1152434.9765
42 | 2533454.5271 | 1152512.3855
43 | 2533560.6235 | 1152412.5583
44 | 2533532.4458 | 1152412.7476
45 | 2533605.8519 | 1152416.4053
46 | 2533459.7551 | 1152283.7918
47 | 2533432.3099 | 1152259.0105
48 | 2533428.9306 | 1152270.554
49 | 2533477.9796 | 1152266.9587
50 | 2533724.4063 | 1152358.1582
51 | 2533635.472 | 1152418.2793
52 | 2533614.3983 | 1152386.2944
53 | 2533520.1361 | 1152581.9879
54 | 2533407.5582 | 1152434.9628
55 | 2533276.7929 | 1152409.1883
56 | 2533301.2311 | 1152435.0758
57 | 2533324.8955 | 1152507.381
58 | 2533292.5511 | 1152592.6589
59 | 2533300.7322 | 1152565.7784
60 | 2533268.7456 | 1152592.9653
61 | 2533458.2769 | 1152708.4662
62 | 2533376.2089 | 1152565.9722
63 | 2533376.073 | 1152551.6436
64 | 2533418.2579 | 1152239.3045
65 | 2533397.7316 | 1152257.155
66 | 2533723.4574 | 1152359.9319
67 | 2533395.6762 | 1152434.9511
68 | 2533315.5611 | 1152565.6334
69 | 2533435.4253 | 1152243.2019
70 | 2533380.339 | 1152250.9228
71 | 2533344.1926 | 1152266.4424
72 | 2533345.8036 | 1152306.2193
73 | 2533330.6765 | 1152565.7179
74 | 2533344.4712 | 1152565.7949
75 | 2533358.8884 | 1152435.0274
76 | 2533354.3971 | 1152435.0246
77 | 2533395.7732 | 1152451.3257
78 | 2533301.1063 | 1152478.4567
79 | 2533391.6371 | 1152451.3493
80 | 2533318.4885 | 1152478.475
81 | 2533398.9406 | 1152366.6551

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1