## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5638-6_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5638-6_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5638-6_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5638-6_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5638-6_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5638-6_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5638-6_0_7_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_5638-6_0_7_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_5638-6_0_7_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_5638-6_0_7_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_5638-6_0_7_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_5638-6_0_7_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_5638-6_0_7_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_5638-6_0_7_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_5638-6_0_7_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_5638-6_0_7_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_5638-6_0_7_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5638-6_0_7_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5638-6_0_7_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5638-6_0_7_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5638-6_0_7_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_5638-6_0_7_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_5638-6_0_7_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_5638-6_0_7_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_5638-6_0_7_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_5638-6_0_7_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_5638-6_0_7_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_5638-6_0_7_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_5638-6_0_7_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_5638-6_0_7_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_5638-6_0_7_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_5638-6_0_7_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_5638-6_0_7_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5638-6_0_7_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_5638-6_0_7_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_5638-6_0_7_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_5638-6_0_7_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_5638-6_0_7_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_5638-6_0_7_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_5638-6_0_7_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_5638-6_0_7_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_5638-6_0_7_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_5638-6_0_7_node_90 | 0.4 | n |  | TRUE
43 | bus_LV_5638-6_0_7_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_5638-6_0_7_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5638-6_0_7_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5638-6_0_7_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_5638-6_0_7_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_5638-6_0_7_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_5638-6_0_7_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_5638-6_0_7_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_5638-6_0_7_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_5638-6_0_7_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_5638-6_0_7_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_5638-6_0_7_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_5638-6_0_7_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_5638-6_0_7_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_5638-6_0_7_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_5638-6_0_7_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_5638-6_0_7_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_5638-6_0_7_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_5638-6_0_7_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_5638-6_0_7_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_5638-6_0_7_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_5638-6_0_7_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_5638-6_0_7_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_5638-6_0_7_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_5638-6_0_7_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_5638-6_0_7_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_5638-6_0_7_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_5638-6_0_7_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_5638-6_0_7_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_5638-6_0_7_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_5638-6_0_7_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_5638-6_0_7_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_5638-6_0_7_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_5638-6_0_7_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_5638-6_0_7_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5638-6_0_7_node_91 | 0.4 | n |  | TRUE
79 | bus_LV_5638-6_0_7_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_5638-6_0_7_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_5638-6_0_7_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_5638-6_0_7_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_5638-6_0_7_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_5638-6_0_7_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_5638-6_0_7_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_5638-6_0_7_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_5638-6_0_7_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_5638-6_0_7_node_86 | 0.4 | n |  | TRUE
89 | bus_MV_451_0_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5638-6_0_7_load_0 | 0 | 0.014628 | 0.0036662 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5638-6_0_7_load_1 | 1 | 0.012493 | 0.0031311 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5638-6_0_7_load_5 | 5 | 0.0299 | 0.0074937 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5638-6_0_7_load_45 | 6 | 0.0064721 | 0.0016221 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5638-6_0_7_load_67 | 9 | 0.0018318 | 0.0004591 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5638-6_0_7_load_39 | 11 | 0.015448 | 0.0038717 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5638-6_0_7_load_44 | 12 | 0.03896 | 0.0097643 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5638-6_0_7_load_68 | 14 | 0.021483 | 0.0053842 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5638-6_0_7_load_6 | 15 | 0.0042015 | 0.001053 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5638-6_0_7_load_7 | 16 | 0.017211 | 0.0043134 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5638-6_0_7_load_10 | 18 | 0.0013518 | 0.0003388 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5638-6_0_7_load_11 | 19 | 0.0028753 | 0.00072062 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5638-6_0_7_load_49 | 22 | 0.020188 | 0.0050595 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5638-6_0_7_load_33 | 23 | 0.017702 | 0.0044364 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5638-6_0_7_load_38 | 25 | 0.0031985 | 0.00080163 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5638-6_0_7_load_36 | 26 | 0.0032448 | 0.00081322 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5638-6_0_7_load_35 | 28 | 0.014584 | 0.0036551 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5638-6_0_7_load_50 | 29 | 0.0038302 | 0.00095994 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5638-6_0_7_load_12 | 30 | 0.016735 | 0.0041941 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5638-6_0_7_load_13 | 31 | 0.037945 | 0.00951 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5638-6_0_7_load_15 | 34 | 0.0033225 | 0.00083269 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5638-6_0_7_load_17 | 36 | 0.00090987 | 0.00022803 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5638-6_0_7_load_74 | 39 | 0.0026445 | 0.00066277 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5638-6_0_7_load_66 | 40 | 0.0028032 | 0.00070255 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5638-6_0_7_load_89 | 41 | 0.0032384 | 0.00081163 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5638-6_0_7_load_90 | 42 | 0.0031719 | 0.00079495 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5638-6_0_7_load_30 | 44 | 0.0034003 | 0.0008522 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5638-6_0_7_load_21 | 46 | 0.014016 | 0.0035128 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5638-6_0_7_load_23 | 48 | 0.025336 | 0.0063498 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5638-6_0_7_load_24 | 49 | 0.01498 | 0.0037543 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5638-6_0_7_load_26 | 51 | 0.029864 | 0.0074846 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5638-6_0_7_load_47 | 52 | 0.05407 | 0.013551 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5638-6_0_7_load_46 | 53 | 0.015711 | 0.0039376 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5638-6_0_7_load_32 | 54 | 0.002546 | 0.00063808 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5638-6_0_7_load_40 | 57 | 0.008005 | 0.0020063 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5638-6_0_7_load_70 | 61 | 0.0151 | 0.0037845 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5638-6_0_7_load_73 | 62 | 0.014552 | 0.003647 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5638-6_0_7_load_83 | 65 | 0.004591 | 0.0011506 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5638-6_0_7_load_72 | 67 | 0.0026711 | 0.00066944 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5638-6_0_7_load_55 | 69 | 0.0027472 | 0.0006885 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5638-6_0_7_load_84 | 74 | 0.0020394 | 0.00051111 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5638-6_0_7_load_65 | 76 | 0.0033539 | 0.00084057 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5638-6_0_7_load_75 | 77 | 0.0041802 | 0.0010477 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5638-6_0_7_load_91 | 78 | 0.0042617 | 0.0010681 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5638-6_0_7_load_71 | 79 | 0.0040618 | 0.001018 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5638-6_0_7_load_87 | 81 | 0.016143 | 0.0040459 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5638-6_0_7_load_69 | 83 | 0.013147 | 0.0032949 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5638-6_0_7_load_88 | 84 | 0.025233 | 0.0063239 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5638-6_0_7_load_76 | 86 | 0.0026973 | 0.00067602 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5638-6_0_7_load_77 | 87 | 0.007111 | 0.0017822 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5638-6_0_7_load_86 | 88 | 0.0023251 | 0.00058273 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5638-6_0_7_line_0 |  | 0 | 1 | 0.011588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5638-6_0_7_line_1 |  | 0 | 2 | 0.020645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5638-6_0_7_line_2 |  | 1 | 3 | 0.0065194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5638-6_0_7_line_3 |  | 2 | 4 | 0.015161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5638-6_0_7_line_4 |  | 2 | 5 | 0.020454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5638-6_0_7_line_5 |  | 3 | 6 | 0.028915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5638-6_0_7_line_6 |  | 3 | 7 | 0.020691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5638-6_0_7_line_7 |  | 4 | 8 | 0.031967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5638-6_0_7_line_8 |  | 4 | 9 | 0.02433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5638-6_0_7_line_9 |  | 7 | 10 | 0.017085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5638-6_0_7_line_10 |  | 7 | 11 | 0.015471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5638-6_0_7_line_11 |  | 8 | 12 | 0.015742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5638-6_0_7_line_12 |  | 8 | 13 | 0.019593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5638-6_0_7_line_13 |  | 9 | 14 | 0.0063285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5638-6_0_7_line_14 |  | 10 | 49 | 0.017274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5638-6_0_7_line_15 |  | 11 | 57 | 0.010933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5638-6_0_7_line_16 |  | 13 | 32 | 0.016289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5638-6_0_7_line_17 |  | 13 | 31 | 0.031423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5638-6_0_7_line_18 |  | 15 | 16 | 0.01073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5638-6_0_7_line_19 |  | 15 | 17 | 0.019879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5638-6_0_7_line_20 |  | 17 | 18 | 0.0114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5638-6_0_7_line_21 |  | 17 | 19 | 0.0036993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5638-6_0_7_line_22 |  | 18 | 23 | 0.037557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5638-6_0_7_line_23 |  | 19 | 24 | 0.022467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5638-6_0_7_line_24 |  | 20 | 21 | 0.018512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5638-6_0_7_line_25 |  | 20 | 22 | 0.040307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5638-6_0_7_line_26 |  | 21 | 25 | 0.041277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5638-6_0_7_line_27 |  | 21 | 26 | 0.023366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5638-6_0_7_line_28 |  | 22 | 24 | 0.0053389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5638-6_0_7_line_29 |  | 23 | 27 | 0.039905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5638-6_0_7_line_30 |  | 23 | 28 | 0.005963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5638-6_0_7_line_31 |  | 24 | 29 | 0.0089503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5638-6_0_7_line_32 |  | 26 | 54 | 0.020405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5638-6_0_7_line_33 |  | 27 | 53 | 0.013987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5638-6_0_7_line_34 |  | 28 | 55 | 0.039822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5638-6_0_7_line_35 |  | 29 | 63 | 0.026028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5638-6_0_7_line_36 |  | 30 | 31 | 0.015607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5638-6_0_7_line_37 |  | 32 | 33 | 0.033693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5638-6_0_7_line_38 |  | 33 | 52 | 0.008746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5638-6_0_7_line_39 |  | 33 | 53 | 0.012017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5638-6_0_7_line_40 |  | 34 | 35 | 0.007314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5638-6_0_7_line_41 |  | 34 | 36 | 0.0017429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5638-6_0_7_line_42 |  | 35 | 37 | 0.017981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5638-6_0_7_line_43 |  | 35 | 38 | 0.055746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5638-6_0_7_line_44 |  | 37 | 39 | 0.007269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5638-6_0_7_line_45 |  | 37 | 40 | 0.020496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5638-6_0_7_line_46 |  | 38 | 41 | 0.007349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5638-6_0_7_line_47 |  | 38 | 42 | 0.010191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5638-6_0_7_line_48 |  | 40 | 43 | 0.019841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5638-6_0_7_line_49 |  | 43 | 76 | 0.005852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5638-6_0_7_line_50 |  | 43 | 71 | 0.017763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5638-6_0_7_line_51 |  | 44 | 45 | 0.022627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5638-6_0_7_line_52 |  | 45 | 54 | 0.0022872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5638-6_0_7_line_53 |  | 46 | 47 | 0.01853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5638-6_0_7_line_54 |  | 46 | 48 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5638-6_0_7_line_55 |  | 47 | 49 | 0.02911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5638-6_0_7_line_56 |  | 47 | 50 | 0.065595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5638-6_0_7_line_57 |  | 50 | 51 | 0.042051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5638-6_0_7_line_58 |  | 55 | 56 | 0.015622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5638-6_0_7_line_59 |  | 56 | 65 | 0.036418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5638-6_0_7_line_60 |  | 56 | 66 | 0.008645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5638-6_0_7_line_61 |  | 57 | 58 | 0.020181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5638-6_0_7_line_62 |  | 58 | 59 | 0.054744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5638-6_0_7_line_63 |  | 59 | 60 | 0.10253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5638-6_0_7_line_64 |  | 59 | 61 | 0.007613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5638-6_0_7_line_65 |  | 60 | 62 | 0.041864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5638-6_0_7_line_66 |  | 61 | 68 | 7.2909e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5638-6_0_7_line_67 |  | 63 | 64 | 0.016678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5638-6_0_7_line_68 |  | 64 | 88 | 0.006793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5638-6_0_7_line_69 |  | 64 | 75 | 0.010061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5638-6_0_7_line_70 |  | 66 | 67 | 0.017943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5638-6_0_7_line_71 |  | 67 | 79 | 0.033829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5638-6_0_7_line_72 |  | 68 | 83 | 0.0090091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5638-6_0_7_line_73 |  | 68 | 80 | 0.05849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5638-6_0_7_line_74 |  | 69 | 70 | 0.0049828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5638-6_0_7_line_75 |  | 69 | 71 | 0.052959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5638-6_0_7_line_76 |  | 70 | 72 | 0.02202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5638-6_0_7_line_77 |  | 71 | 73 | 0.023359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5638-6_0_7_line_78 |  | 72 | 74 | 0.009069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5638-6_0_7_line_79 |  | 72 | 75 | 0.004164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5638-6_0_7_line_80 |  | 73 | 77 | 0.018345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5638-6_0_7_line_81 |  | 75 | 78 | 0.00994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5638-6_0_7_line_82 |  | 80 | 81 | 0.024696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5638-6_0_7_line_83 |  | 80 | 82 | 0.06529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5638-6_0_7_line_84 |  | 82 | 84 | 0.003939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5638-6_0_7_line_85 |  | 82 | 85 | 0.10447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5638-6_0_7_line_86 |  | 85 | 87 | 0.098847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5638-6_0_7_line_87 |  | 86 | 87 | 0.021908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5638-6_0_7_trafo_29 | 0.63 MVA 20/0.4 kV | 89 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2529533.695 | 1153240.645 | 2529544.6419 | 1153236.8428
1 | 2529514.0593 | 1153247.0189 | 2529532.6808 | 1153240.9973 | 2529533.695 | 1153240.645
2 | 2529550.8004 | 1153234.7037 | 2529544.6419 | 1153236.8428
3 | 2529514.0593 | 1153247.0189 | 2529507.469 | 1153248.4192 | 2529501.81 | 1153249.3972 | 2529499.0984 | 1153249.1511
4 | 2529514.0593 | 1153247.0189 | 2529505.7608 | 1153228.3235
5 | 2529550.8004 | 1153234.7037 | 2529559.8109 | 1153238.1556 | 2529565.7668 | 1153242.1992 | 2529577.2807 | 1153245.8108
6 | 2529550.8004 | 1153234.7037 | 2529552.8832 | 1153233.6787 | 2529557.2328 | 1153230.9595 | 2529560.9597 | 1153227.4917 | 2529563.6125 | 1153224.0365 | 2529565.5768 | 1153220.7561
7 | 2529467.3715 | 1153244.7541 | 2529484.7262 | 1153247.83 | 2529499.0984 | 1153249.1511
8 | 2529499.0984 | 1153249.1511 | 2529497.9047 | 1153261.2051 | 2529508.4802 | 1153267.3207
9 | 2529565.5768 | 1153220.7561 | 2529566.6436 | 1153213.5729 | 2529566.4103 | 1153208.7285 | 2529564.8434 | 1153204.0109
10 | 2529565.5768 | 1153220.7561 | 2529571.7053 | 1153221.1957 | 2529580.9454 | 1153219.9257
11 | 2529467.3715 | 1153244.7541 | 2529474.6557 | 1153230.7987
12 | 2529448.0662 | 1153241.5455 | 2529456.0564 | 1153242.3966 | 2529467.3715 | 1153244.7541
13 | 2529513.9586 | 1153270.4888 | 2529508.4802 | 1153267.3207
14 | 2529564.8434 | 1153204.0109 | 2529554.229 | 1153190.3828
15 | 2529580.9454 | 1153219.9257 | 2529583.1125 | 1153219.6278 | 2529591.5912 | 1153217.4853
16 | 2529448.0662 | 1153241.5455 | 2529456.0564 | 1153242.3966 | 2529449.2642 | 1153237.707
17 | 2529448.0662 | 1153241.5455 | 2529449.8422 | 1153252.9532 | 2529451.1963 | 1153253.9156 | 2529469.0795 | 1153257.3818
18 | 2529363.1635 | 1153237.6068 | 2529368.9342 | 1153241.7747 | 2529371.2604 | 1153244.537
19 | 2529347.0483 | 1153225.9674 | 2529363.1635 | 1153237.6068
20 | 2529347.0483 | 1153225.9674 | 2529351.9266 | 1153215.6638
21 | 2529347.0483 | 1153225.9674 | 2529344.9371 | 1153229.0052
22 | 2529367.9981 | 1153181.7188 | 2529351.9266 | 1153215.6638
23 | 2529332.1155 | 1153247.4549 | 2529344.9371 | 1153229.0052
24 | 2529374.9189 | 1153295.2676 | 2529362.8144 | 1153281.2353
25 | 2529362.8144 | 1153281.2353 | 2529335.7062 | 1153251.406
26 | 2529374.9189 | 1153295.2676 | 2529401.0551 | 1153268.5902 | 2529404.3465 | 1153266.4432
27 | 2529374.9189 | 1153295.2676 | 2529358.7087 | 1153312.0962
28 | 2529332.1155 | 1153247.4549 | 2529335.7062 | 1153251.406
29 | 2529367.9981 | 1153181.7188 | 2529388.8742 | 1153189.2889 | 2529403.6091 | 1153199.2548
30 | 2529367.9981 | 1153181.7188 | 2529362.2845 | 1153180.0122
31 | 2529332.1155 | 1153247.4549 | 2529323.6995 | 1153244.4088
32 | 2529358.7087 | 1153312.0962 | 2529344.553 | 1153326.792
33 | 2529403.6091 | 1153199.2548 | 2529409.8356 | 1153203.4729 | 2529414.6616 | 1153207.7759
34 | 2529323.3099 | 1153172.7167 | 2529345.6515 | 1153175.0443 | 2529362.2845 | 1153180.0122
35 | 2529300.2865 | 1153233.0878 | 2529320.3945 | 1153243.2125 | 2529323.6995 | 1153244.4088
36 | 2529469.0795 | 1153257.3818 | 2529478.1294 | 1153259.1359 | 2529484.073 | 1153261.4786
37 | 2529449.2642 | 1153237.707 | 2529437.0387 | 1153227.7449 | 2529423.631 | 1153215.7734
38 | 2529423.631 | 1153215.7734 | 2529428.6651 | 1153208.6214
39 | 2529423.631 | 1153215.7734 | 2529414.6616 | 1153207.7759
40 | 2529236.2338 | 1153316.1877 | 2529242.2413 | 1153317.4399 | 2529243.1626 | 1153318.1731
41 | 2529244.5263 | 1153319.2585 | 2529243.1626 | 1153318.1731
42 | 2529236.2338 | 1153316.1877 | 2529233.8778 | 1153311.6017 | 2529229.0724 | 1153299.7072
43 | 2529236.2338 | 1153316.1877 | 2529242.2417 | 1153327.9013 | 2529258.6723 | 1153350.9097 | 2529260.4173 | 1153353.7908 | 2529268.7202 | 1153346.6669
44 | 2529229.0724 | 1153299.7072 | 2529234.5561 | 1153294.9178
45 | 2529229.0724 | 1153299.7072 | 2529224.8597 | 1153289.2732 | 2529222.1462 | 1153280.4366
46 | 2529268.7202 | 1153346.6669 | 2529273.1173 | 1153352.5629
47 | 2529268.7202 | 1153346.6669 | 2529262.8594 | 1153338.3201
48 | 2529216.3218 | 1153261.4693 | 2529222.1462 | 1153280.4366
49 | 2529216.3218 | 1153261.4693 | 2529221.0615 | 1153258.6564 | 2529221.0662 | 1153258.3159
50 | 2529211.1111 | 1153244.4878 | 2529216.3218 | 1153261.4693
51 | 2529342.9663 | 1153328.4393 | 2529326.1866 | 1153343.6188
52 | 2529342.9663 | 1153328.4393 | 2529344.553 | 1153326.792
53 | 2529536.8397 | 1153167.0517 | 2529521.9435 | 1153178.0724
54 | 2529514.2034 | 1153187.9954 | 2529517.5246 | 1153181.3417 | 2529521.9435 | 1153178.0724
55 | 2529536.8397 | 1153167.0517 | 2529540.0189 | 1153171.8394 | 2529548.7636 | 1153183.3656 | 2529554.229 | 1153190.3828
56 | 2529504.9117 | 1153110.2276 | 2529514.6018 | 1153121.2202 | 2529536.8397 | 1153167.0517
57 | 2529504.9117 | 1153110.2276 | 2529502.4625 | 1153111.4126 | 2529486.8334 | 1153147.5041
58 | 2529323.3099 | 1153172.7167 | 2529307.6431 | 1153172.901
59 | 2529307.6431 | 1153172.901 | 2529300.6877 | 1153185.0117 | 2529300.1399 | 1153188.6758 | 2529300.4276 | 1153192.9081 | 2529303.5445 | 1153196.2956 | 2529312.3463 | 1153200.9058
60 | 2529298.9733 | 1153173.003 | 2529307.6431 | 1153172.901
61 | 2529611.0859 | 1153217.3657 | 2529606.5088 | 1153215.7295 | 2529601.3963 | 1153214.9 | 2529595.43 | 1153216.5152 | 2529591.5912 | 1153217.4853
62 | 2529611.0859 | 1153217.3657 | 2529621.7621 | 1153229.3807 | 2529626.6163 | 1153233.7152 | 2529632.1054 | 1153237.8755 | 2529632.9642 | 1153258.1323 | 2529629.7866 | 1153261.9939
63 | 2529629.7866 | 1153261.9939 | 2529632.9642 | 1153258.1323 | 2529632.1054 | 1153237.8755 | 2529636.4082 | 1153238.3699 | 2529639.529 | 1153238.1777 | 2529643.1324 | 1153237.9132 | 2529645.1179 | 1153237.1006 | 2529647.0355 | 1153245.5607 | 2529650.6888 | 1153253.489 | 2529657.8632 | 1153260.698 | 2529668.9432 | 1153271.819 | 2529683.5872 | 1153286.5448
64 | 2529629.7866 | 1153261.9939 | 2529624.9532 | 1153267.8758
65 | 2529683.5872 | 1153286.5448 | 2529662.7694 | 1153310.7685 | 2529661.8422 | 1153314.159 | 2529657.6585 | 1153319.0144
66 | 2529624.9532 | 1153267.8758 | 2529624.9069 | 1153267.9321
67 | 2529300.2865 | 1153233.0878 | 2529286.4789 | 1153223.6782
68 | 2529286.4789 | 1153223.6782 | 2529290.5585 | 1153218.2383
69 | 2529277.6359 | 1153218.8351 | 2529286.4789 | 1153223.6782
70 | 2529298.9733 | 1153173.003 | 2529295.0121 | 1153170.8928 | 2529282.1155 | 1153167.0591
71 | 2529249.6888 | 1153157.4198 | 2529282.1155 | 1153167.0591
72 | 2529624.9069 | 1153267.9321 | 2529630.7827 | 1153273.0106 | 2529630.0229 | 1153273.994
73 | 2529595.062 | 1153317.398 | 2529605.8657 | 1153292.4909 | 2529609.174 | 1153285.3816 | 2529622.395 | 1153270.9743 | 2529624.9069 | 1153267.9321
74 | 2529254.621 | 1153206.2321 | 2529250.9537 | 1153209.6054
75 | 2529211.1111 | 1153244.4878 | 2529231.1724 | 1153227.1753 | 2529242.1944 | 1153217.6625 | 2529250.9537 | 1153209.6054
76 | 2529254.621 | 1153206.2321 | 2529273.9752 | 1153216.8326
77 | 2529200.9875 | 1153223.4286 | 2529211.1111 | 1153244.4878
78 | 2529273.9752 | 1153216.8326 | 2529278.873 | 1153209.1929
79 | 2529277.6359 | 1153218.8351 | 2529273.9752 | 1153216.8326
80 | 2529200.9875 | 1153223.4286 | 2529186.4358 | 1153213.4055 | 2529185.8471 | 1153213.0735
81 | 2529277.6359 | 1153218.8351 | 2529272.2247 | 1153227.1812
82 | 2529595.062 | 1153317.398 | 2529609.7996 | 1153319.7934 | 2529617.5511 | 1153325.8283
83 | 2529595.062 | 1153317.398 | 2529590.7707 | 1153330.3221 | 2529582.7471 | 1153342.9787 | 2529575.814 | 1153349.1634 | 2529596.7159 | 1153366.8729
84 | 2529596.7159 | 1153366.8729 | 2529599.2898 | 1153363.8855
85 | 2529512.9882 | 1153393.8134 | 2529575.814 | 1153349.1634 | 2529596.7159 | 1153366.8729
86 | 2529512.9882 | 1153393.8134 | 2529432.4175 | 1153451.077
87 | 2529414.5606 | 1153463.7684 | 2529432.4175 | 1153451.077

## bus_geodata
| x | y | coords
0 | 2529533.695 | 1153240.645
1 | 2529544.6419 | 1153236.8428
2 | 2529514.0593 | 1153247.0189
3 | 2529550.8004 | 1153234.7037
4 | 2529499.0984 | 1153249.1511
5 | 2529505.7608 | 1153228.3235
6 | 2529577.2807 | 1153245.8108
7 | 2529565.5768 | 1153220.7561
8 | 2529467.3715 | 1153244.7541
9 | 2529508.4802 | 1153267.3207
10 | 2529564.8434 | 1153204.0109
11 | 2529580.9454 | 1153219.9257
12 | 2529474.6557 | 1153230.7987
13 | 2529448.0662 | 1153241.5455
14 | 2529513.9586 | 1153270.4888
15 | 2529363.1635 | 1153237.6068
16 | 2529371.2604 | 1153244.537
17 | 2529347.0483 | 1153225.9674
18 | 2529351.9266 | 1153215.6638
19 | 2529344.9371 | 1153229.0052
20 | 2529362.8144 | 1153281.2353
21 | 2529374.9189 | 1153295.2676
22 | 2529335.7062 | 1153251.406
23 | 2529367.9981 | 1153181.7188
24 | 2529332.1155 | 1153247.4549
25 | 2529404.3465 | 1153266.4432
26 | 2529358.7087 | 1153312.0962
27 | 2529403.6091 | 1153199.2548
28 | 2529362.2845 | 1153180.0122
29 | 2529323.6995 | 1153244.4088
30 | 2529484.073 | 1153261.4786
31 | 2529469.0795 | 1153257.3818
32 | 2529449.2642 | 1153237.707
33 | 2529423.631 | 1153215.7734
34 | 2529243.1626 | 1153318.1731
35 | 2529236.2338 | 1153316.1877
36 | 2529244.5263 | 1153319.2585
37 | 2529229.0724 | 1153299.7072
38 | 2529268.7202 | 1153346.6669
39 | 2529234.5561 | 1153294.9178
40 | 2529222.1462 | 1153280.4366
41 | 2529273.1173 | 1153352.5629
42 | 2529262.8594 | 1153338.3201
43 | 2529216.3218 | 1153261.4693
44 | 2529326.1866 | 1153343.6188
45 | 2529342.9663 | 1153328.4393
46 | 2529521.9435 | 1153178.0724
47 | 2529536.8397 | 1153167.0517
48 | 2529514.2034 | 1153187.9954
49 | 2529554.229 | 1153190.3828
50 | 2529504.9117 | 1153110.2276
51 | 2529486.8334 | 1153147.5041
52 | 2529428.6651 | 1153208.6214
53 | 2529414.6616 | 1153207.7759
54 | 2529344.553 | 1153326.792
55 | 2529323.3099 | 1153172.7167
56 | 2529307.6431 | 1153172.901
57 | 2529591.5912 | 1153217.4853
58 | 2529611.0859 | 1153217.3657
59 | 2529629.7866 | 1153261.9939
60 | 2529683.5872 | 1153286.5448
61 | 2529624.9532 | 1153267.8758
62 | 2529657.6585 | 1153319.0144
63 | 2529300.2865 | 1153233.0878
64 | 2529286.4789 | 1153223.6782
65 | 2529312.3463 | 1153200.9058
66 | 2529298.9733 | 1153173.003
67 | 2529282.1155 | 1153167.0591
68 | 2529624.9069 | 1153267.9321
69 | 2529250.9537 | 1153209.6054
70 | 2529254.621 | 1153206.2321
71 | 2529211.1111 | 1153244.4878
72 | 2529273.9752 | 1153216.8326
73 | 2529200.9875 | 1153223.4286
74 | 2529278.873 | 1153209.1929
75 | 2529277.6359 | 1153218.8351
76 | 2529221.0662 | 1153258.3159
77 | 2529185.8471 | 1153213.0735
78 | 2529272.2247 | 1153227.1812
79 | 2529249.6888 | 1153157.4198
80 | 2529595.062 | 1153317.398
81 | 2529617.5511 | 1153325.8283
82 | 2529596.7159 | 1153366.8729
83 | 2529630.0229 | 1153273.994
84 | 2529599.2898 | 1153363.8855
85 | 2529512.9882 | 1153393.8134
86 | 2529414.5606 | 1153463.7684
87 | 2529432.4176 | 1153451.077
88 | 2529290.5585 | 1153218.2383
89 | 2529456.0564 | 1153242.3966

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1