## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5638-7_1_3_node_35 | 0.4 | n |  | TRUE
1 | bus_LV_5638-7_1_3_node_36 | 0.4 | n |  | TRUE
2 | bus_LV_5638-7_1_3_node_37 | 0.4 | n |  | TRUE
3 | bus_LV_5638-7_1_3_node_39 | 0.4 | n |  | TRUE
4 | bus_LV_5638-7_1_3_node_226 | 0.4 | n |  | TRUE
5 | bus_LV_5638-7_1_3_node_227 | 0.4 | n |  | TRUE
6 | bus_LV_5638-7_1_3_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_5638-7_1_3_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_5638-7_1_3_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_5638-7_1_3_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_5638-7_1_3_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_5638-7_1_3_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_5638-7_1_3_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_5638-7_1_3_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_5638-7_1_3_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_5638-7_1_3_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_5638-7_1_3_node_77 | 0.4 | n |  | TRUE
17 | bus_LV_5638-7_1_3_node_82 | 0.4 | n |  | TRUE
18 | bus_LV_5638-7_1_3_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_5638-7_1_3_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_5638-7_1_3_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_5638-7_1_3_node_83 | 0.4 | n |  | TRUE
22 | bus_LV_5638-7_1_3_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_5638-7_1_3_node_88 | 0.4 | n |  | TRUE
24 | bus_LV_5638-7_1_3_node_85 | 0.4 | n |  | TRUE
25 | bus_LV_5638-7_1_3_node_86 | 0.4 | n |  | TRUE
26 | bus_LV_5638-7_1_3_node_96 | 0.4 | n |  | TRUE
27 | bus_LV_5638-7_1_3_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_5638-7_1_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_5638-7_1_3_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_5638-7_1_3_node_97 | 0.4 | n |  | TRUE
31 | bus_LV_5638-7_1_3_node_95 | 0.4 | n |  | TRUE
32 | bus_LV_5638-7_1_3_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_5638-7_1_3_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_5638-7_1_3_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_5638-7_1_3_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_5638-7_1_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_5638-7_1_3_node_206 | 0.4 | n |  | TRUE
38 | bus_LV_5638-7_1_3_node_208 | 0.4 | n |  | TRUE
39 | bus_LV_5638-7_1_3_node_205 | 0.4 | n |  | TRUE
40 | bus_LV_5638-7_1_3_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_5638-7_1_3_node_228 | 0.4 | n |  | TRUE
42 | bus_LV_5638-7_1_3_node_207 | 0.4 | n |  | TRUE
43 | bus_LV_5638-7_1_3_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_5638-7_1_3_node_204 | 0.4 | n |  | TRUE
45 | bus_LV_5638-7_1_3_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_5638-7_1_3_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_5638-7_1_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_5638-7_1_3_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_5638-7_1_3_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_5638-7_1_3_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_5638-7_1_3_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_5638-7_1_3_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_5638-7_1_3_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_5638-7_1_3_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_5638-7_1_3_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_5638-7_1_3_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_5638-7_1_3_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_5638-7_1_3_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_5638-7_1_3_node_92 | 0.4 | n |  | TRUE
60 | bus_LV_5638-7_1_3_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_5638-7_1_3_node_113 | 0.4 | n |  | TRUE
62 | bus_LV_5638-7_1_3_node_101 | 0.4 | n |  | TRUE
63 | bus_LV_5638-7_1_3_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_5638-7_1_3_node_94 | 0.4 | n |  | TRUE
65 | bus_LV_5638-7_1_3_node_102 | 0.4 | n |  | TRUE
66 | bus_LV_5638-7_1_3_node_200 | 0.4 | n |  | TRUE
67 | bus_LV_5638-7_1_3_node_104 | 0.4 | n |  | TRUE
68 | bus_LV_5638-7_1_3_node_100 | 0.4 | n |  | TRUE
69 | bus_LV_5638-7_1_3_node_201 | 0.4 | n |  | TRUE
70 | bus_LV_5638-7_1_3_node_98 | 0.4 | n |  | TRUE
71 | bus_LV_5638-7_1_3_node_99 | 0.4 | n |  | TRUE
72 | bus_LV_5638-7_1_3_node_107 | 0.4 | n |  | TRUE
73 | bus_LV_5638-7_1_3_node_199 | 0.4 | n |  | TRUE
74 | bus_LV_5638-7_1_3_node_114 | 0.4 | n |  | TRUE
75 | bus_LV_5638-7_1_3_node_109 | 0.4 | n |  | TRUE
76 | bus_LV_5638-7_1_3_node_105 | 0.4 | n |  | TRUE
77 | bus_LV_5638-7_1_3_node_106 | 0.4 | n |  | TRUE
78 | bus_LV_5638-7_1_3_node_108 | 0.4 | n |  | TRUE
79 | bus_LV_5638-7_1_3_node_110 | 0.4 | n |  | TRUE
80 | bus_LV_5638-7_1_3_node_125 | 0.4 | n |  | TRUE
81 | bus_LV_5638-7_1_3_node_193 | 0.4 | n |  | TRUE
82 | bus_LV_5638-7_1_3_node_111 | 0.4 | n |  | TRUE
83 | bus_LV_5638-7_1_3_node_126 | 0.4 | n |  | TRUE
84 | bus_LV_5638-7_1_3_node_124 | 0.4 | n |  | TRUE
85 | bus_LV_5638-7_1_3_node_189 | 0.4 | n |  | TRUE
86 | bus_LV_5638-7_1_3_node_112 | 0.4 | n |  | TRUE
87 | bus_LV_5638-7_1_3_node_115 | 0.4 | n |  | TRUE
88 | bus_LV_5638-7_1_3_node_116 | 0.4 | n |  | TRUE
89 | bus_LV_5638-7_1_3_node_117 | 0.4 | n |  | TRUE
90 | bus_LV_5638-7_1_3_node_118 | 0.4 | n |  | TRUE
91 | bus_LV_5638-7_1_3_node_119 | 0.4 | n |  | TRUE
92 | bus_LV_5638-7_1_3_node_120 | 0.4 | n |  | TRUE
93 | bus_LV_5638-7_1_3_node_121 | 0.4 | n |  | TRUE
94 | bus_LV_5638-7_1_3_node_122 | 0.4 | n |  | TRUE
95 | bus_LV_5638-7_1_3_node_123 | 0.4 | n |  | TRUE
96 | bus_LV_5638-7_1_3_node_133 | 0.4 | n |  | TRUE
97 | bus_LV_5638-7_1_3_node_186 | 0.4 | n |  | TRUE
98 | bus_LV_5638-7_1_3_node_132 | 0.4 | n |  | TRUE
99 | bus_LV_5638-7_1_3_node_127 | 0.4 | n |  | TRUE
100 | bus_LV_5638-7_1_3_node_128 | 0.4 | n |  | TRUE
101 | bus_LV_5638-7_1_3_node_129 | 0.4 | n |  | TRUE
102 | bus_LV_5638-7_1_3_node_130 | 0.4 | n |  | TRUE
103 | bus_LV_5638-7_1_3_node_131 | 0.4 | n |  | TRUE
104 | bus_LV_5638-7_1_3_node_185 | 0.4 | n |  | TRUE
105 | bus_LV_5638-7_1_3_node_188 | 0.4 | n |  | TRUE
106 | bus_LV_5638-7_1_3_node_191 | 0.4 | n |  | TRUE
107 | bus_LV_5638-7_1_3_node_192 | 0.4 | n |  | TRUE
108 | bus_LV_5638-7_1_3_node_190 | 0.4 | n |  | TRUE
109 | bus_LV_5638-7_1_3_node_194 | 0.4 | n |  | TRUE
110 | bus_LV_5638-7_1_3_node_222 | 0.4 | n |  | TRUE
111 | bus_LV_5638-7_1_3_node_195 | 0.4 | n |  | TRUE
112 | bus_LV_5638-7_1_3_node_196 | 0.4 | n |  | TRUE
113 | bus_LV_5638-7_1_3_node_197 | 0.4 | n |  | TRUE
114 | bus_LV_5638-7_1_3_node_198 | 0.4 | n |  | TRUE
115 | bus_LV_5638-7_1_3_node_202 | 0.4 | n |  | TRUE
116 | bus_LV_5638-7_1_3_node_203 | 0.4 | n |  | TRUE
117 | bus_MV_451_0_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5638-7_1_3_load_35 | 0 | 0.002956 | 0.00074084 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5638-7_1_3_load_36 | 1 | 0.0014428 | 0.00036161 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5638-7_1_3_load_37 | 2 | 0.0035185 | 0.00088182 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5638-7_1_3_load_39 | 3 | 0.0051204 | 0.0012833 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5638-7_1_3_load_226 | 4 | 0.0040479 | 0.0010145 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5638-7_1_3_load_227 | 5 | 0.0060667 | 0.0015205 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5638-7_1_3_load_46 | 6 | 0.0095998 | 0.0024059 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5638-7_1_3_load_56 | 9 | 0.0030231 | 0.00075765 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5638-7_1_3_load_57 | 10 | 0.002256 | 0.0005654 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5638-7_1_3_load_55 | 11 | 0.0027608 | 0.00069193 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5638-7_1_3_load_73 | 12 | 0.0024728 | 0.00061974 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5638-7_1_3_load_78 | 13 | 0.0028739 | 0.00072026 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5638-7_1_3_load_74 | 14 | 0.0024959 | 0.00062553 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5638-7_1_3_load_75 | 15 | 0.0025795 | 0.00064649 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5638-7_1_3_load_77 | 16 | 0.0031496 | 0.00078936 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5638-7_1_3_load_79 | 19 | 0.0023626 | 0.00059211 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5638-7_1_3_load_80 | 20 | 0.0027207 | 0.00068188 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5638-7_1_3_load_83 | 21 | 0.0028286 | 0.00070892 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5638-7_1_3_load_84 | 22 | 0.0029705 | 0.00074447 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5638-7_1_3_load_88 | 23 | 0.0029037 | 0.00072773 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5638-7_1_3_load_85 | 24 | 0.0031935 | 0.00080036 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5638-7_1_3_load_86 | 25 | 0.0024772 | 0.00062083 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5638-7_1_3_load_90 | 27 | 0.0039796 | 0.00099737 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5638-7_1_3_load_54 | 28 | 0.0024027 | 0.00060218 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5638-7_1_3_load_52 | 29 | 0.0019292 | 0.00048351 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5638-7_1_3_load_97 | 30 | 0.0015605 | 0.00039111 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5638-7_1_3_load_89 | 32 | 0.00048688 | 0.00012202 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5638-7_1_3_load_49 | 33 | 0.0020131 | 0.00050452 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5638-7_1_3_load_50 | 34 | 0.0018906 | 0.00047384 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5638-7_1_3_load_53 | 36 | 0.002529 | 0.00063384 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5638-7_1_3_load_206 | 37 | 0.0047177 | 0.0011824 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5638-7_1_3_load_208 | 38 | 0.0028686 | 0.00071894 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5638-7_1_3_load_205 | 39 | 0.0032328 | 0.00081021 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5638-7_1_3_load_58 | 40 | 0.002571 | 0.00064435 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5638-7_1_3_load_228 | 41 | 0.0034547 | 0.00086582 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5638-7_1_3_load_207 | 42 | 0.0026469 | 0.00066336 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5638-7_1_3_load_59 | 43 | 0.003178 | 0.00079647 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5638-7_1_3_load_69 | 45 | 0.0030216 | 0.00075729 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5638-7_1_3_load_67 | 46 | 0.0034095 | 0.0008545 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5638-7_1_3_load_60 | 47 | 0.0018834 | 0.00047203 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5638-7_1_3_load_61 | 48 | 0.0019029 | 0.0004769 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5638-7_1_3_load_63 | 50 | 0.0021291 | 0.0005336 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5638-7_1_3_load_70 | 52 | 0.0037127 | 0.0009305 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5638-7_1_3_load_71 | 53 | 0.0021157 | 0.00053023 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5638-7_1_3_load_72 | 54 | 0.0036274 | 0.00090912 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5638-7_1_3_load_68 | 55 | 0.0030811 | 0.00077221 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5638-7_1_3_load_65 | 56 | 0.0034575 | 0.00086652 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5638-7_1_3_load_66 | 57 | 0.0031424 | 0.00078757 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5638-7_1_3_load_91 | 58 | 0.004603 | 0.0011536 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5638-7_1_3_load_92 | 59 | 0.0057014 | 0.0014289 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5638-7_1_3_load_103 | 60 | 0.0022609 | 0.00056662 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5638-7_1_3_load_113 | 61 | 0.0029672 | 0.00074366 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5638-7_1_3_load_101 | 62 | 0.0023357 | 0.00058539 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5638-7_1_3_load_200 | 66 | 0.0044185 | 0.0011074 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5638-7_1_3_load_100 | 68 | 0.002697 | 0.00067593 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5638-7_1_3_load_201 | 69 | 0.0027244 | 0.0006828 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5638-7_1_3_load_98 | 70 | 0.002863 | 0.00071753 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5638-7_1_3_load_99 | 71 | 0.0022628 | 0.0005671 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5638-7_1_3_load_199 | 73 | 0.0045591 | 0.0011426 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5638-7_1_3_load_114 | 74 | 0.002455 | 0.00061527 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5638-7_1_3_load_105 | 76 | 0.0027663 | 0.0006933 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5638-7_1_3_load_106 | 77 | 0.0035235 | 0.00088308 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5638-7_1_3_load_108 | 78 | 0.0017649 | 0.00044232 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5638-7_1_3_load_110 | 79 | 0.0038291 | 0.00095967 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5638-7_1_3_load_193 | 81 | 0.014292 | 0.0035818 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5638-7_1_3_load_111 | 82 | 0.0017117 | 0.000429 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5638-7_1_3_load_124 | 84 | 0.0022247 | 0.00055756 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5638-7_1_3_load_112 | 86 | 0.0034618 | 0.0008676 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5638-7_1_3_load_115 | 87 | 0.0014498 | 0.00036336 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5638-7_1_3_load_116 | 88 | 0.0027412 | 0.00068702 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5638-7_1_3_load_117 | 89 | 0.0010764 | 0.00026978 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5638-7_1_3_load_118 | 90 | 0.0019678 | 0.00049318 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5638-7_1_3_load_119 | 91 | 0.002232 | 0.0005594 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5638-7_1_3_load_120 | 92 | 0.0016815 | 0.00042142 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5638-7_1_3_load_121 | 93 | 0.0016392 | 0.00041082 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5638-7_1_3_load_122 | 94 | 0.0010284 | 0.00025774 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5638-7_1_3_load_123 | 95 | 0.0026702 | 0.00066921 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5638-7_1_3_load_186 | 97 | 0.0046544 | 0.0011665 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5638-7_1_3_load_132 | 98 | 0.0016213 | 0.00040635 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5638-7_1_3_load_127 | 99 | 0.0011354 | 0.00028457 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5638-7_1_3_load_128 | 100 | 0.0011742 | 0.00029429 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5638-7_1_3_load_129 | 101 | 0.0013382 | 0.00033538 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5638-7_1_3_load_130 | 102 | 0.0027412 | 0.000687 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5638-7_1_3_load_131 | 103 | 0.0013034 | 0.00032667 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5638-7_1_3_load_185 | 104 | 0.0018006 | 0.00045128 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5638-7_1_3_load_191 | 106 | 0.0046675 | 0.0011698 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5638-7_1_3_load_192 | 107 | 0.0025892 | 0.0006489 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5638-7_1_3_load_190 | 108 | 0.0038258 | 0.00095883 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5638-7_1_3_load_194 | 109 | 0.0028156 | 0.00070566 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5638-7_1_3_load_222 | 110 | 0.0035375 | 0.00088659 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5638-7_1_3_load_195 | 111 | 0.0042466 | 0.0010643 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5638-7_1_3_load_196 | 112 | 0.0037379 | 0.0009368 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5638-7_1_3_load_197 | 113 | 0.0013194 | 0.00033067 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5638-7_1_3_load_198 | 114 | 0.0062931 | 0.0015772 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5638-7_1_3_load_202 | 115 | 0.0015992 | 0.00040079 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5638-7_1_3_load_203 | 116 | 0.004444 | 0.0011138 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5638-7_1_3_line_0 |  | 0 | 1 | 0.00055921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5638-7_1_3_line_1 |  | 0 | 2 | 0.029908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5638-7_1_3_line_2 |  | 2 | 3 | 0.025586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5638-7_1_3_line_3 |  | 3 | 4 | 0.036426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5638-7_1_3_line_4 |  | 4 | 5 | 0.023061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5638-7_1_3_line_5 |  | 5 | 52 | 0.033906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5638-7_1_3_line_6 |  | 6 | 7 | 0.027087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5638-7_1_3_line_7 |  | 7 | 8 | 0.042584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5638-7_1_3_line_8 |  | 8 | 26 | 0.023723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5638-7_1_3_line_9 |  | 8 | 27 | 0.019157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5638-7_1_3_line_10 |  | 9 | 10 | 0.0042027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5638-7_1_3_line_11 |  | 9 | 11 | 0.021559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5638-7_1_3_line_12 |  | 10 | 12 | 0.0054288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5638-7_1_3_line_13 |  | 11 | 28 | 0.0063326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5638-7_1_3_line_14 |  | 12 | 13 | 0.01051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5638-7_1_3_line_15 |  | 13 | 18 | 0.0098911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5638-7_1_3_line_16 |  | 14 | 15 | 0.020383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5638-7_1_3_line_17 |  | 15 | 16 | 0.0016955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5638-7_1_3_line_18 |  | 16 | 17 | 0.0053263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5638-7_1_3_line_19 |  | 17 | 22 | 0.006176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5638-7_1_3_line_20 |  | 17 | 20 | 0.015187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5638-7_1_3_line_21 |  | 18 | 21 | 0.010499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5638-7_1_3_line_22 |  | 18 | 19 | 0.0074773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5638-7_1_3_line_23 |  | 19 | 20 | 0.00017607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5638-7_1_3_line_24 |  | 21 | 23 | 0.0071438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5638-7_1_3_line_25 |  | 23 | 25 | 0.013216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5638-7_1_3_line_26 |  | 24 | 25 | 0.0021659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5638-7_1_3_line_27 |  | 26 | 30 | 0.01177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5638-7_1_3_line_28 |  | 26 | 31 | 0.005813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5638-7_1_3_line_29 |  | 27 | 32 | 0.028905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5638-7_1_3_line_30 |  | 28 | 29 | 0.0065136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5638-7_1_3_line_31 |  | 29 | 34 | 0.0057526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5638-7_1_3_line_32 |  | 30 | 70 | 0.0087981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5638-7_1_3_line_33 |  | 31 | 38 | 0.021096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5638-7_1_3_line_34 |  | 31 | 63 | 0.029312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5638-7_1_3_line_35 |  | 33 | 34 | 0.0063207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5638-7_1_3_line_36 |  | 33 | 35 | 0.010759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5638-7_1_3_line_37 |  | 35 | 36 | 0.030233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5638-7_1_3_line_38 |  | 36 | 40 | 0.025094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5638-7_1_3_line_39 |  | 36 | 41 | 0.026392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5638-7_1_3_line_40 |  | 37 | 38 | 0.0090255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5638-7_1_3_line_41 |  | 37 | 39 | 0.025969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5638-7_1_3_line_42 |  | 39 | 42 | 0.0025657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5638-7_1_3_line_43 |  | 40 | 43 | 0.011244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5638-7_1_3_line_44 |  | 41 | 44 | 0.014189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5638-7_1_3_line_45 |  | 42 | 44 | 0.010263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_5638-7_1_3_line_46 |  | 43 | 45 | 0.0065818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5638-7_1_3_line_47 |  | 44 | 116 | 0.019769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5638-7_1_3_line_48 |  | 45 | 46 | 0.0073203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5638-7_1_3_line_49 |  | 46 | 56 | 0.011992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5638-7_1_3_line_50 |  | 47 | 48 | 0.0029966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5638-7_1_3_line_51 |  | 47 | 49 | 0.00947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5638-7_1_3_line_52 |  | 48 | 50 | 0.007295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5638-7_1_3_line_53 |  | 49 | 51 | 0.037293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5638-7_1_3_line_54 |  | 50 | 53 | 0.0067223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5638-7_1_3_line_55 |  | 51 | 54 | 0.013012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5638-7_1_3_line_56 |  | 52 | 53 | 0.0050097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5638-7_1_3_line_57 |  | 54 | 55 | 0.0079499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5638-7_1_3_line_58 |  | 55 | 57 | 0.0067391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5638-7_1_3_line_59 |  | 56 | 57 | 0.007101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5638-7_1_3_line_60 |  | 58 | 59 | 0.00030058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5638-7_1_3_line_61 |  | 58 | 60 | 0.032511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5638-7_1_3_line_62 |  | 60 | 61 | 0.021123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5638-7_1_3_line_63 |  | 60 | 62 | 0.018393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5638-7_1_3_line_64 |  | 61 | 74 | 0.017739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5638-7_1_3_line_65 |  | 62 | 71 | 0.031611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5638-7_1_3_line_66 |  | 63 | 64 | 0.027282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5638-7_1_3_line_67 |  | 64 | 65 | 0.006721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5638-7_1_3_line_68 |  | 64 | 66 | 0.018531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5638-7_1_3_line_69 |  | 65 | 67 | 0.028395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5638-7_1_3_line_70 |  | 65 | 68 | 0.019646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5638-7_1_3_line_71 |  | 66 | 69 | 0.010092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5638-7_1_3_line_72 |  | 67 | 72 | 0.018397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5638-7_1_3_line_73 |  | 67 | 73 | 0.017585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5638-7_1_3_line_74 |  | 68 | 71 | 0.0053956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5638-7_1_3_line_75 |  | 72 | 75 | 0.029787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5638-7_1_3_line_76 |  | 72 | 76 | 0.021967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5638-7_1_3_line_77 |  | 75 | 80 | 0.015004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5638-7_1_3_line_78 |  | 75 | 81 | 0.02412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5638-7_1_3_line_79 |  | 76 | 77 | 5.3048e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5638-7_1_3_line_80 |  | 77 | 78 | 0.03316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5638-7_1_3_line_81 |  | 78 | 79 | 0.00090493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5638-7_1_3_line_82 |  | 79 | 82 | 0.022591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5638-7_1_3_line_83 |  | 80 | 83 | 0.028485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5638-7_1_3_line_84 |  | 80 | 84 | 0.022272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5638-7_1_3_line_85 |  | 81 | 85 | 0.0050737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5638-7_1_3_line_86 |  | 82 | 86 | 0.0084284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5638-7_1_3_line_87 |  | 83 | 96 | 0.029751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5638-7_1_3_line_88 |  | 83 | 97 | 0.023528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5638-7_1_3_line_89 |  | 84 | 95 | 0.0025766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5638-7_1_3_line_90 |  | 85 | 107 | 0.016319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5638-7_1_3_line_91 |  | 85 | 105 | 0.019277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5638-7_1_3_line_92 |  | 86 | 87 | 0.0080948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5638-7_1_3_line_93 |  | 87 | 88 | 0.014992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5638-7_1_3_line_94 |  | 88 | 89 | 0.0039028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5638-7_1_3_line_95 |  | 90 | 91 | 0.00261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5638-7_1_3_line_96 |  | 90 | 92 | 0.015574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5638-7_1_3_line_97 |  | 92 | 93 | 0.014489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5638-7_1_3_line_98 |  | 93 | 94 | 0.0052185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5638-7_1_3_line_99 |  | 94 | 95 | 0.025473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5638-7_1_3_line_100 |  | 96 | 98 | 0.012253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5638-7_1_3_line_101 |  | 98 | 102 | 0.011156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5638-7_1_3_line_102 |  | 99 | 100 | 0.020858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5638-7_1_3_line_103 |  | 99 | 101 | 0.012405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5638-7_1_3_line_104 |  | 100 | 102 | 0.013747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5638-7_1_3_line_105 |  | 101 | 103 | 0.0019577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5638-7_1_3_line_106 |  | 104 | 105 | 0.031189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5638-7_1_3_line_107 |  | 105 | 106 | 0.02824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5638-7_1_3_line_108 |  | 106 | 110 | 0.013929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5638-7_1_3_line_109 |  | 108 | 109 | 0.0070768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5638-7_1_3_line_110 |  | 109 | 111 | 0.016714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5638-7_1_3_line_111 |  | 111 | 112 | 0.013257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5638-7_1_3_line_112 |  | 112 | 113 | 0.012349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5638-7_1_3_line_113 |  | 113 | 114 | 0.0013057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5638-7_1_3_line_114 |  | 114 | 115 | 0.023157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5638-7_1_3_line_115 |  | 115 | 116 | 0.0093816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5638-7_1_3_trafo_201 | 0.63 MVA 20/0.4 kV | 117 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2529022.9909 | 1152921.125 | 2529023.498 | 1152921.3606
1 | 2528995.8684 | 1152908.5208 | 2529022.9909 | 1152921.125
2 | 2528995.8684 | 1152908.5208 | 2528972.6657 | 1152897.7382
3 | 2528972.6657 | 1152897.7382 | 2528944.1128 | 1152884.4694 | 2528940.0627 | 1152881.6393
4 | 2528940.0627 | 1152881.6393 | 2528921.1596 | 1152868.4303
5 | 2528921.1596 | 1152868.4303 | 2528903.1375 | 1152839.7106
6 | 2528916.632 | 1152703.3708 | 2528902.7364 | 1152693.8075 | 2528897.6524 | 1152691.5441 | 2528892.999 | 1152691.4993
7 | 2528916.632 | 1152703.3708 | 2528923.4275 | 1152693.9741 | 2528935.932 | 1152703.3649 | 2528948.0532 | 1152712.7825
8 | 2528948.0532 | 1152712.7825 | 2528951.7649 | 1152715.8181 | 2528957.8164 | 1152720.7382 | 2528966.4792 | 1152727.7842
9 | 2528948.0532 | 1152712.7825 | 2528955.784 | 1152695.2544
10 | 2528873.8871 | 1152758.4181 | 2528870.031 | 1152760.0894
11 | 2528895.4031 | 1152759.7762 | 2528873.8871 | 1152758.4181 | 2528873.8871 | 1152758.4181
12 | 2528870.031 | 1152760.0894 | 2528865.0499 | 1152762.2483
13 | 2528901.7231 | 1152760.1751 | 2528895.4031 | 1152759.7762
14 | 2528865.0499 | 1152762.2483 | 2528859.5414 | 1152764.6358 | 2528855.0382 | 1152764.8075
15 | 2528845.6899 | 1152767.8681 | 2528850.8631 | 1152766.6618 | 2528854.8931 | 1152764.8131 | 2528855.0382 | 1152764.8075
16 | 2528843.3698 | 1152730.0633 | 2528843.3698 | 1152730.0633 | 2528846.1868 | 1152732.7093 | 2528846.7546 | 1152734.0033 | 2528844.6754 | 1152737.9301 | 2528842.3686 | 1152740.7812 | 2528841.8919 | 1152740.0531 | 2528836.8302 | 1152743.4999
17 | 2528836.8302 | 1152743.4999 | 2528835.4288 | 1152744.4542
18 | 2528833.1929 | 1152748.7498 | 2528835.3066 | 1152747.0905 | 2528835.4288 | 1152744.4542
19 | 2528833.1929 | 1152748.7498 | 2528827.9913 | 1152752.1021
20 | 2528833.1929 | 1152748.7498 | 2528841.5024 | 1152761.462
21 | 2528845.6899 | 1152767.8681 | 2528838.6391 | 1152775.6475
22 | 2528845.6899 | 1152767.8681 | 2528841.5987 | 1152761.6093
23 | 2528841.5987 | 1152761.6093 | 2528841.5024 | 1152761.462
24 | 2528832.8074 | 1152779.0602 | 2528836.0545 | 1152778.4992 | 2528838.6391 | 1152775.6475
25 | 2528822.5641 | 1152786.1059 | 2528826.816 | 1152785.7015 | 2528832.8074 | 1152779.0602 | 2528832.8074 | 1152779.0602
26 | 2528820.4079 | 1152786.311 | 2528820.4079 | 1152786.311 | 2528822.5641 | 1152786.1059
27 | 2528966.4792 | 1152727.7842 | 2528969.2023 | 1152724.4391 | 2528975.0897 | 1152729.0156
28 | 2528971.0344 | 1152731.4102 | 2528968.7569 | 1152729.6028 | 2528966.4792 | 1152727.7842
29 | 2528967.4486 | 1152668.8071 | 2528955.784 | 1152695.2544
30 | 2528907.9219 | 1152759.1494 | 2528907.9219 | 1152759.1494 | 2528905.4812 | 1152760.4123 | 2528901.7231 | 1152760.1751
31 | 2528913.6458 | 1152759.7231 | 2528907.9219 | 1152759.1494
32 | 2528982.036 | 1152734.4153 | 2528975.0897 | 1152729.0156
33 | 2528971.0344 | 1152731.4102 | 2528965.4659 | 1152751.7579
34 | 2528971.0344 | 1152731.4102 | 2528984.2078 | 1152741.5714 | 2528994.6385 | 1152748.8634
35 | 2528919.9349 | 1152760.3535 | 2528913.6458 | 1152759.7231
36 | 2528930.6406 | 1152761.4265 | 2528919.9349 | 1152760.3535
37 | 2528930.6406 | 1152761.4265 | 2528924.0113 | 1152790.9233
38 | 2528924.0113 | 1152790.9233 | 2528922.7015 | 1152796.7512 | 2528921.6805 | 1152799.3092 | 2528918.8718 | 1152799.9538 | 2528916.3193 | 1152799.5505 | 2528905.7223 | 1152796.9971
39 | 2528943.5693 | 1152808.6446 | 2528924.0113 | 1152790.9233
40 | 2528963.0835 | 1152760.4633 | 2528965.4659 | 1152751.7579
41 | 2528956.2288 | 1152785.511 | 2528963.0835 | 1152760.4633
42 | 2528956.2288 | 1152785.511 | 2528955.5515 | 1152787.9857
43 | 2528905.7223 | 1152796.9971 | 2528901.0585 | 1152795.8733 | 2528898.9256 | 1152793.9641 | 2528896.4507 | 1152792.3369 | 2528895.8318 | 1152792.4041
44 | 2528943.5693 | 1152808.6446 | 2528952.8426 | 1152797.8845
45 | 2528952.8426 | 1152797.8845 | 2528955.5515 | 1152787.9857
46 | 2528895.8318 | 1152792.4041 | 2528889.2885 | 1152793.1143
47 | 2528952.8426 | 1152797.8845 | 2528971.701 | 1152803.8138
48 | 2528882.0642 | 1152792.8889 | 2528882.6514 | 1152792.8448 | 2528885.6444 | 1152793.5098 | 2528889.2885 | 1152793.1143
49 | 2528871.1644 | 1152793.7687 | 2528873.7486 | 1152791.4605 | 2528879.8376 | 1152793.056 | 2528882.0642 | 1152792.8889
50 | 2528883.7392 | 1152832.1128 | 2528883.9895 | 1152831.9953 | 2528886.4087 | 1152831.5109 | 2528886.6569 | 1152831.4628
51 | 2528875.4944 | 1152836.5205 | 2528876.9808 | 1152835.0244 | 2528881.3414 | 1152833.2384 | 2528883.7392 | 1152832.1128
52 | 2528886.6569 | 1152831.4628 | 2528888.9123 | 1152831.0254 | 2528891.0543 | 1152831.7561 | 2528893.3383 | 1152833.2597
53 | 2528844.7624 | 1152815.2723 | 2528875.4944 | 1152836.5205
54 | 2528898.9531 | 1152836.956 | 2528893.3383 | 1152833.2597
55 | 2528844.7624 | 1152815.2723 | 2528853.9618 | 1152806.0694
56 | 2528903.1375 | 1152839.7106 | 2528898.9531 | 1152836.956
57 | 2528853.9618 | 1152806.0694 | 2528857.7414 | 1152805.7578 | 2528860.8421 | 1152802.9883
58 | 2528865.8683 | 1152798.499 | 2528860.8421 | 1152802.9883
59 | 2528871.1644 | 1152793.7687 | 2528865.8683 | 1152798.499
60 | 2529023.1561 | 1152682.6444 | 2529023.0365 | 1152682.9202
61 | 2529052.4097 | 1152696.8555 | 2529023.0365 | 1152682.9202
62 | 2529052.4097 | 1152696.8555 | 2529060.4286 | 1152677.3135
63 | 2529045.4273 | 1152713.8715 | 2529052.4097 | 1152696.8555
64 | 2529067.1626 | 1152660.9028 | 2529060.4286 | 1152677.3135
65 | 2529033.427 | 1152743.1164 | 2529045.4273 | 1152713.8715
66 | 2529018.0872 | 1152762.9167 | 2528994.6385 | 1152748.8634
67 | 2529023.9207 | 1152766.283 | 2529018.0872 | 1152762.9167
68 | 2529018.0872 | 1152762.9167 | 2529012.5977 | 1152780.6154
69 | 2529023.9207 | 1152766.283 | 2529049.8662 | 1152777.9833
70 | 2529023.9207 | 1152766.283 | 2529031.3787 | 1152748.1081
71 | 2529009.6081 | 1152790.2542 | 2529012.5977 | 1152780.6154
72 | 2529067.2884 | 1152784.0367 | 2529049.8662 | 1152777.9833
73 | 2529049.8662 | 1152777.9833 | 2529047.501 | 1152795.4083
74 | 2529033.427 | 1152743.1164 | 2529031.3787 | 1152748.1081
75 | 2529067.2884 | 1152784.0367 | 2529096.0234 | 1152792.1801
76 | 2529067.2884 | 1152784.0367 | 2529075.9648 | 1152763.8553
77 | 2529110.7186 | 1152795.4087 | 2529096.0234 | 1152792.1801
78 | 2529096.0234 | 1152792.1801 | 2529090.461 | 1152815.6496
79 | 2529075.9648 | 1152763.8553 | 2529075.9857 | 1152763.8066
80 | 2529089.0828 | 1152733.3427 | 2529075.9857 | 1152763.8066
81 | 2529089.0828 | 1152733.3427 | 2529089.4402 | 1152732.5114
82 | 2529089.4402 | 1152732.5114 | 2529098.3631 | 1152711.7568
83 | 2529110.7186 | 1152795.4087 | 2529138.6673 | 1152801.3048
84 | 2529110.7186 | 1152795.4087 | 2529120.2652 | 1152775.2868
85 | 2529089.2909 | 1152820.5865 | 2529090.461 | 1152815.6496
86 | 2529101.692 | 1152704.0136 | 2529098.3631 | 1152711.7568
87 | 2529138.6673 | 1152801.3048 | 2529153.5681 | 1152804.4087 | 2529163.3999 | 1152806.494 | 2529165.201 | 1152802.3927
88 | 2529138.6673 | 1152801.3048 | 2529133.6109 | 1152824.2832
89 | 2529120.2652 | 1152775.2868 | 2529121.3696 | 1152772.9589
90 | 2529089.2909 | 1152820.5865 | 2529105.2722 | 1152823.8869
91 | 2529089.2909 | 1152820.5865 | 2529084.0461 | 1152839.1365
92 | 2529101.692 | 1152704.0136 | 2529104.8892 | 1152696.577
93 | 2529110.8106 | 1152682.8036 | 2529104.8892 | 1152696.577
94 | 2529110.8106 | 1152682.8036 | 2529112.3521 | 1152679.2182
95 | 2529147.4114 | 1152718.0691 | 2529148.5302 | 1152715.7111
96 | 2529147.4114 | 1152718.0691 | 2529140.7358 | 1152732.1397
97 | 2529134.5253 | 1152745.2299 | 2529140.7358 | 1152732.1397
98 | 2529134.5253 | 1152745.2299 | 2529132.2885 | 1152749.9446
99 | 2529132.2885 | 1152749.9446 | 2529121.3696 | 1152772.9589
100 | 2529165.201 | 1152802.3927 | 2529170.4293 | 1152791.3115
101 | 2529170.4293 | 1152791.3115 | 2529175.1897 | 1152781.2222
102 | 2529189.9557 | 1152749.9263 | 2529181.0556 | 1152768.7897
103 | 2529189.9557 | 1152749.9263 | 2529195.2491 | 1152738.7074
104 | 2529181.0556 | 1152768.7897 | 2529175.1897 | 1152781.2222
105 | 2529196.0844 | 1152736.9369 | 2529195.2491 | 1152738.7074
106 | 2529084.0461 | 1152839.1365 | 2529112.2983 | 1152852.3497
107 | 2529084.0461 | 1152839.1365 | 2529075.9688 | 1152866.1964
108 | 2529075.9688 | 1152866.1964 | 2529071.9848 | 1152879.5433
109 | 2529044.359 | 1152826.6584 | 2529051.11 | 1152828.781
110 | 2529044.359 | 1152826.6584 | 2529028.4143 | 1152821.6452
111 | 2529015.7678 | 1152817.669 | 2529028.4143 | 1152821.6452
112 | 2529015.7678 | 1152817.669 | 2529003.9873 | 1152813.9651
113 | 2529002.7417 | 1152813.5734 | 2529003.9873 | 1152813.9651
114 | 2528980.6506 | 1152806.6277 | 2529002.7417 | 1152813.5734
115 | 2528980.6506 | 1152806.6277 | 2528971.701 | 1152803.8138

## bus_geodata
| x | y | coords
0 | 2529022.9909 | 1152921.125
1 | 2529023.498 | 1152921.3606
2 | 2528995.8684 | 1152908.5208
3 | 2528972.6657 | 1152897.7382
4 | 2528940.0627 | 1152881.6393
5 | 2528921.1596 | 1152868.4303
6 | 2528892.999 | 1152691.4993
7 | 2528916.632 | 1152703.3708
8 | 2528948.0532 | 1152712.7825
9 | 2528873.8871 | 1152758.4181
10 | 2528870.031 | 1152760.0894
11 | 2528895.4031 | 1152759.7762
12 | 2528865.0499 | 1152762.2483
13 | 2528855.0382 | 1152764.8075
14 | 2528843.3698 | 1152730.0633
15 | 2528836.8302 | 1152743.4999
16 | 2528835.4288 | 1152744.4542
17 | 2528833.1929 | 1152748.7498
18 | 2528845.6899 | 1152767.8681
19 | 2528841.5987 | 1152761.6093
20 | 2528841.5024 | 1152761.462
21 | 2528838.6391 | 1152775.6475
22 | 2528827.9913 | 1152752.1021
23 | 2528832.8074 | 1152779.0602
24 | 2528820.4079 | 1152786.311
25 | 2528822.5641 | 1152786.1059
26 | 2528966.4792 | 1152727.7842
27 | 2528955.784 | 1152695.2544
28 | 2528901.7231 | 1152760.1751
29 | 2528907.9219 | 1152759.1494
30 | 2528975.0897 | 1152729.0156
31 | 2528971.0344 | 1152731.4102
32 | 2528967.4486 | 1152668.8071
33 | 2528919.9349 | 1152760.3535
34 | 2528913.6458 | 1152759.7231
35 | 2528930.6406 | 1152761.4265
36 | 2528924.0113 | 1152790.9233
37 | 2528963.0835 | 1152760.4633
38 | 2528965.4659 | 1152751.7579
39 | 2528956.2288 | 1152785.511
40 | 2528905.7223 | 1152796.9971
41 | 2528943.5693 | 1152808.6446
42 | 2528955.5515 | 1152787.9857
43 | 2528895.8318 | 1152792.4041
44 | 2528952.8426 | 1152797.8845
45 | 2528889.2885 | 1152793.1143
46 | 2528882.0642 | 1152792.8889
47 | 2528883.7392 | 1152832.1128
48 | 2528886.6569 | 1152831.4628
49 | 2528875.4944 | 1152836.5205
50 | 2528893.3383 | 1152833.2597
51 | 2528844.7624 | 1152815.2723
52 | 2528903.1375 | 1152839.7106
53 | 2528898.9532 | 1152836.956
54 | 2528853.9618 | 1152806.0694
55 | 2528860.8421 | 1152802.9883
56 | 2528871.1644 | 1152793.7687
57 | 2528865.8683 | 1152798.499
58 | 2529023.0365 | 1152682.9202
59 | 2529023.1561 | 1152682.6444
60 | 2529052.4097 | 1152696.8555
61 | 2529060.4286 | 1152677.3135
62 | 2529045.4273 | 1152713.8715
63 | 2528994.6385 | 1152748.8634
64 | 2529018.0872 | 1152762.9167
65 | 2529023.9207 | 1152766.283
66 | 2529012.5977 | 1152780.6154
67 | 2529049.8662 | 1152777.9833
68 | 2529031.3787 | 1152748.1081
69 | 2529009.6081 | 1152790.2543
70 | 2528982.036 | 1152734.4153
71 | 2529033.427 | 1152743.1164
72 | 2529067.2884 | 1152784.0367
73 | 2529047.501 | 1152795.4083
74 | 2529067.1626 | 1152660.9028
75 | 2529096.0234 | 1152792.1801
76 | 2529075.9648 | 1152763.8553
77 | 2529075.9857 | 1152763.8066
78 | 2529089.0828 | 1152733.3427
79 | 2529089.4402 | 1152732.5114
80 | 2529110.7186 | 1152795.4087
81 | 2529090.461 | 1152815.6496
82 | 2529098.3631 | 1152711.7568
83 | 2529138.6673 | 1152801.3048
84 | 2529120.2652 | 1152775.2868
85 | 2529089.2909 | 1152820.5865
86 | 2529101.692 | 1152704.0136
87 | 2529104.8892 | 1152696.577
88 | 2529110.8106 | 1152682.8036
89 | 2529112.3521 | 1152679.2182
90 | 2529147.4114 | 1152718.0691
91 | 2529148.5302 | 1152715.7111
92 | 2529140.7358 | 1152732.1397
93 | 2529134.5253 | 1152745.2299
94 | 2529132.2885 | 1152749.9446
95 | 2529121.3696 | 1152772.9589
96 | 2529165.201 | 1152802.3927
97 | 2529133.6109 | 1152824.2832
98 | 2529170.4293 | 1152791.3115
99 | 2529189.9557 | 1152749.9263
100 | 2529181.0556 | 1152768.7897
101 | 2529195.2491 | 1152738.7074
102 | 2529175.1897 | 1152781.2222
103 | 2529196.0844 | 1152736.9369
104 | 2529112.2983 | 1152852.3497
105 | 2529084.0461 | 1152839.1365
106 | 2529075.9688 | 1152866.1964
107 | 2529105.2722 | 1152823.8869
108 | 2529051.11 | 1152828.781
109 | 2529044.359 | 1152826.6584
110 | 2529071.9848 | 1152879.5433
111 | 2529028.4143 | 1152821.6452
112 | 2529015.7678 | 1152817.669
113 | 2529003.9873 | 1152813.9651
114 | 2529002.7417 | 1152813.5734
115 | 2528980.6506 | 1152806.6277
116 | 2528971.701 | 1152803.8138
117 | 2529018.0872 | 1152762.9167

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1