## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5642-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5642-12_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5642-12_0_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_5642-12_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5642-12_0_3_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_5642-12_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_5642-12_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_5642-12_0_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_5642-12_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5642-12_0_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_5642-12_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5642-12_0_3_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_5642-12_0_3_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_5642-12_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5642-12_0_3_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_5642-12_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5642-12_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_5642-12_0_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_5642-12_0_3_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_5642-12_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5642-12_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_5642-12_0_3_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_5642-12_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5642-12_0_3_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_5642-12_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5642-12_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5642-12_0_3_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_5642-12_0_3_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_5642-12_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_5642-12_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5642-12_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5642-12_0_3_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_5642-12_0_3_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_5642-12_0_3_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_5642-12_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5642-12_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_5642-12_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5642-12_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5642-12_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_5642-12_0_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_5642-12_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_5642-12_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_5642-12_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5642-12_0_3_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_5642-12_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5642-12_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_5642-12_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_5642-12_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_5642-12_0_3_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_5642-12_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_5642-12_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_5642-12_0_3_node_49 | 0.4 | n |  | TRUE
52 | bus_MV_451_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5642-12_0_3_load_0 | 0 | 0.068929 | 0.017275 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5642-12_0_3_load_22 | 4 | 0.006374 | 0.0015975 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5642-12_0_3_load_21 | 5 | 0.044242 | 0.011088 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5642-12_0_3_load_32 | 7 | 0.071011 | 0.017797 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5642-12_0_3_load_39 | 11 | 0.0032119 | 0.00080499 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5642-12_0_3_load_53 | 12 | 0.0072322 | 0.0018126 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5642-12_0_3_load_27 | 17 | 0.0095284 | 0.0023881 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5642-12_0_3_load_23 | 18 | 0.0032208 | 0.0008072 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5642-12_0_3_load_28 | 21 | 0.034727 | 0.0087034 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5642-12_0_3_load_56 | 23 | 0.0024011 | 0.00060176 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5642-12_0_3_load_48 | 26 | 0.0032965 | 0.00082618 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5642-12_0_3_load_40 | 27 | 0.0025165 | 0.00063069 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5642-12_0_3_load_18 | 28 | 0.058819 | 0.014741 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5642-12_0_3_load_24 | 29 | 0.018758 | 0.0047012 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5642-12_0_3_load_52 | 31 | 0.0063755 | 0.0015979 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5642-12_0_3_load_51 | 32 | 0.0063755 | 0.0015979 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5642-12_0_3_load_54 | 33 | 0.0031028 | 0.00077764 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5642-12_0_3_load_33 | 36 | 0.0028958 | 0.00072577 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5642-12_0_3_load_26 | 37 | 0.03832 | 0.009604 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5642-12_0_3_load_41 | 38 | 0.0026483 | 0.00066372 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5642-12_0_3_load_47 | 39 | 0.0034349 | 0.00086087 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5642-12_0_3_load_31 | 41 | 0.0021266 | 0.00053296 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5642-12_0_3_load_35 | 42 | 0.0035089 | 0.00087941 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5642-12_0_3_load_55 | 43 | 0.001763 | 0.00044186 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5642-12_0_3_load_57 | 45 | 0.00074047 | 0.00018558 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5642-12_0_3_load_42 | 46 | 0.0032464 | 0.00081363 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5642-12_0_3_load_45 | 48 | 0.0017968 | 0.00045032 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5642-12_0_3_load_50 | 50 | 0.010196 | 0.0025554 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5642-12_0_3_load_49 | 51 | 0.0038136 | 0.00095579 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5642-12_0_3_line_0 |  | 0 | 1 | 0.0053554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5642-12_0_3_line_1 |  | 1 | 2 | 0.06853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5642-12_0_3_line_2 |  | 1 | 3 | 0.08468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5642-12_0_3_line_3 |  | 2 | 6 | 0.019488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5642-12_0_3_line_4 |  | 2 | 7 | 0.052904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5642-12_0_3_line_5 |  | 3 | 4 | 0.026267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5642-12_0_3_line_6 |  | 3 | 5 | 0.013581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5642-12_0_3_line_7 |  | 4 | 32 | 0.0077731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5642-12_0_3_line_8 |  | 6 | 28 | 0.037161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5642-12_0_3_line_9 |  | 6 | 25 | 0.059993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5642-12_0_3_line_10 |  | 8 | 9 | 0.035005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5642-12_0_3_line_11 |  | 8 | 10 | 0.098333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5642-12_0_3_line_12 |  | 8 | 11 | 0.0075177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5642-12_0_3_line_13 |  | 9 | 33 | 0.014477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5642-12_0_3_line_14 |  | 9 | 34 | 0.032662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5642-12_0_3_line_15 |  | 10 | 12 | 0.019774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5642-12_0_3_line_16 |  | 10 | 13 | 0.092699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5642-12_0_3_line_17 |  | 10 | 14 | 0.011396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5642-12_0_3_line_18 |  | 13 | 18 | 0.034835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5642-12_0_3_line_19 |  | 14 | 35 | 0.029431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5642-12_0_3_line_20 |  | 14 | 36 | 0.028386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5642-12_0_3_line_21 |  | 15 | 16 | 0.0452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5642-12_0_3_line_22 |  | 15 | 17 | 0.044396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5642-12_0_3_line_23 |  | 16 | 29 | 0.027406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5642-12_0_3_line_24 |  | 16 | 30 | 0.048164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5642-12_0_3_line_25 |  | 17 | 37 | 0.032793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5642-12_0_3_line_26 |  | 19 | 20 | 0.082553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5642-12_0_3_line_27 |  | 19 | 21 | 0.034103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5642-12_0_3_line_28 |  | 20 | 29 | 0.017152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5642-12_0_3_line_29 |  | 21 | 34 | 0.029738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5642-12_0_3_line_30 |  | 22 | 23 | 0.015736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5642-12_0_3_line_31 |  | 22 | 24 | 0.044694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5642-12_0_3_line_32 |  | 24 | 27 | 0.017787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5642-12_0_3_line_33 |  | 24 | 25 | 0.050877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5642-12_0_3_line_34 |  | 25 | 26 | 0.0011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5642-12_0_3_line_35 |  | 26 | 30 | 0.028725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5642-12_0_3_line_36 |  | 27 | 38 | 0.0039563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5642-12_0_3_line_37 |  | 30 | 39 | 0.01675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5642-12_0_3_line_38 |  | 31 | 32 | 0.015739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5642-12_0_3_line_39 |  | 34 | 41 | 0.0058481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5642-12_0_3_line_40 |  | 35 | 43 | 0.014443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5642-12_0_3_line_41 |  | 35 | 44 | 0.053991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5642-12_0_3_line_42 |  | 36 | 42 | 0.0024948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5642-12_0_3_line_43 |  | 39 | 40 | 0.0080867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5642-12_0_3_line_44 |  | 40 | 49 | 0.022349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5642-12_0_3_line_45 |  | 40 | 46 | 0.0098356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5642-12_0_3_line_46 |  | 44 | 45 | 0.005037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5642-12_0_3_line_47 |  | 46 | 47 | 0.014934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5642-12_0_3_line_48 |  | 47 | 48 | 0.010096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5642-12_0_3_line_49 |  | 49 | 50 | 0.006908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5642-12_0_3_line_50 |  | 49 | 51 | 0.0028667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5642-12_0_3_trafo_18 | 0.63 MVA 20/0.4 kV | 52 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2527929.5871 | 1152348.321 | 2527925.2035 | 1152351.3975
1 | 2527929.5871 | 1152348.321 | 2527932.4486 | 1152346.3078 | 2527934.7868 | 1152344.1786 | 2527935.8373 | 1152343.4656 | 2527948.0176 | 1152335.2151 | 2527953.0629 | 1152331.6415 | 2527958.495 | 1152337.2796 | 2527967.2977 | 1152350.7372 | 2527970.7922 | 1152356.0761 | 2527976.9253 | 1152363.2178
2 | 2527906.2655 | 1152301.7078 | 2527908.9444 | 1152304.3105 | 2527926.7712 | 1152315.7365 | 2527941.7068 | 1152322.8615 | 2527950.8947 | 1152329.3884 | 2527953.0629 | 1152331.6415 | 2527948.0176 | 1152335.2151 | 2527935.8373 | 1152343.4656 | 2527934.7868 | 1152344.1786 | 2527932.4486 | 1152346.3078 | 2527929.5871 | 1152348.321
3 | 2527976.9253 | 1152363.2178 | 2527983.4475 | 1152370.8106 | 2527989.2904 | 1152363.3476
4 | 2527976.9253 | 1152363.2178 | 2527967.3357 | 1152372.4712 | 2527967.8164 | 1152398.4911 | 2527969.3454 | 1152398.6395 | 2527969.4894 | 1152410.6557
5 | 2527906.2655 | 1152301.7078 | 2527920.7561 | 1152288.3599 | 2527926.5059 | 1152285.19
6 | 2527906.2655 | 1152301.7078 | 2527894.3629 | 1152301.7616 | 2527892.6853 | 1152301.7926
7 | 2527926.5059 | 1152285.19 | 2527929.1045 | 1152283.7573 | 2527933.9102 | 1152283.7361
8 | 2527989.2904 | 1152363.3476 | 2527983.1204 | 1152357.6071 | 2527982.4613 | 1152328.8807
9 | 2527989.2904 | 1152363.3476 | 2527983.4475 | 1152370.8106 | 2527999.3829 | 1152386.4619 | 2528012.3791 | 1152394.433 | 2528025.1579 | 1152396.4256
10 | 2528173.8513 | 1152291.9003 | 2528161.9388 | 1152267.3621 | 2528158.7845 | 1152260.2959
11 | 2528158.7845 | 1152260.2959 | 2528152.522 | 1152246.1739 | 2528140.0585 | 1152212.1593 | 2528153.2088 | 1152213.7475 | 2528160.468 | 1152214.9392 | 2528167.1767 | 1152216.3154 | 2528176.6182 | 1152219.0264 | 2528185.5846 | 1152221.7986
12 | 2528158.7845 | 1152260.2959 | 2528166.0989 | 1152262.0319
13 | 2528173.8513 | 1152291.9003 | 2528188.3693 | 1152291.7157
14 | 2528186.6585 | 1152321.953 | 2528173.8513 | 1152291.9003
15 | 2528185.5846 | 1152221.7986 | 2528193.9464 | 1152211.871 | 2528200.3597 | 1152214.2069
16 | 2528143.3144 | 1152157.7455 | 2528140.7833 | 1152158.5206 | 2528148.6384 | 1152197.3596 | 2528153.2088 | 1152213.7475 | 2528160.468 | 1152214.9392 | 2528167.1767 | 1152216.3154 | 2528176.6182 | 1152219.0264 | 2528185.5846 | 1152221.7986
17 | 2528196.522 | 1152225.1032 | 2528185.5846 | 1152221.7986
18 | 2528143.3144 | 1152157.7455 | 2528147.6513 | 1152158.4496 | 2528150.0568 | 1152161.2891 | 2528154.1867 | 1152187.6879
19 | 2528196.522 | 1152225.1032 | 2528206.166 | 1152228.0564 | 2528215.8596 | 1152230.6755 | 2528224.9326 | 1152232.735
20 | 2528196.522 | 1152225.1032 | 2528198.3631 | 1152253.4292
21 | 2528040.5516 | 1152320.0541 | 2528042.1251 | 1152305.9718 | 2528042.6376 | 1152300.7072 | 2528043.2794 | 1152294.0513 | 2528048.5244 | 1152275.7339
22 | 2528048.5244 | 1152275.7339 | 2528092.9198 | 1152276.0435
23 | 2528040.5516 | 1152320.0541 | 2528065.1612 | 1152332.1155
24 | 2528032.5777 | 1152367.4761 | 2528033.2724 | 1152363.9658 | 2528037.8336 | 1152344.3113 | 2528040.5516 | 1152320.0541
25 | 2528092.9198 | 1152276.0435 | 2528098.4132 | 1152276.0818 | 2528102.4156 | 1152280.2585 | 2528102.7571 | 1152301.7702
26 | 2528154.3856 | 1152377.0249 | 2528147.7221 | 1152373.6471 | 2528140.2558 | 1152369.8675 | 2528083.3738 | 1152341.087 | 2528080.5632 | 1152339.6642
27 | 2528154.3856 | 1152377.0249 | 2528166.3451 | 1152357.3488 | 2528171.7698 | 1152347.6909
28 | 2528080.5632 | 1152339.6642 | 2528065.2626 | 1152332.1652 | 2528065.1612 | 1152332.1155
29 | 2528186.6585 | 1152321.953 | 2528184.8672 | 1152324.8983 | 2528181.0812 | 1152331.1136 | 2528171.7698 | 1152347.6909
30 | 2527996.9655 | 1152487.6698 | 2528002.9104 | 1152490.011 | 2528009.0168 | 1152493.0174 | 2528010.0732 | 1152495.3616
31 | 2528011.8553 | 1152445.5234 | 2527996.9655 | 1152487.6698
32 | 2528011.8553 | 1152445.5234 | 2528028.6633 | 1152451.3435
33 | 2528011.8553 | 1152445.5234 | 2528012.6896 | 1152442.7786 | 2528017.1248 | 1152426.0717 | 2528020.0732 | 1152414.0185 | 2528025.1579 | 1152396.4256
34 | 2528025.1579 | 1152396.4256 | 2528025.446 | 1152395.3015
35 | 2528032.5777 | 1152367.4761 | 2528025.446 | 1152395.3015
36 | 2528028.6633 | 1152451.3435 | 2528032.4019 | 1152452.638
37 | 2528032.5777 | 1152367.4761 | 2528047.7246 | 1152374.6274
38 | 2527933.9102 | 1152283.7361 | 2527949.649 | 1152283.6665
39 | 2528186.6585 | 1152321.953 | 2528189.2695 | 1152327.186
40 | 2528224.9326 | 1152232.735 | 2528222.224 | 1152246.9197
41 | 2528224.9326 | 1152232.735 | 2528215.8596 | 1152230.6755 | 2528238.6702 | 1152192.2484
42 | 2528198.5249 | 1152255.9188 | 2528198.3631 | 1152253.4292
43 | 2528055.0373 | 1152378.08 | 2528047.7246 | 1152374.6274
44 | 2528055.0373 | 1152378.08 | 2528061.1498 | 1152356.5837
45 | 2528055.0373 | 1152378.08 | 2528063.9342 | 1152382.2733
46 | 2528238.6702 | 1152192.2484 | 2528234.2136 | 1152189.878
47 | 2528077.4425 | 1152388.6401 | 2528063.9342 | 1152382.2733
48 | 2528077.4425 | 1152388.6401 | 2528073.71 | 1152398.0233
49 | 2528061.1498 | 1152356.5837 | 2528054.6218 | 1152354.2716
50 | 2528061.1498 | 1152356.5837 | 2528061.9337 | 1152353.8263

## bus_geodata
| x | y | coords
0 | 2527925.2035 | 1152351.3975
1 | 2527929.5871 | 1152348.321
2 | 2527976.9253 | 1152363.2178
3 | 2527906.2655 | 1152301.7078
4 | 2527926.5059 | 1152285.19
5 | 2527892.6853 | 1152301.7926
6 | 2527989.2904 | 1152363.3476
7 | 2527969.4894 | 1152410.6557
8 | 2528158.7845 | 1152260.2959
9 | 2528173.8513 | 1152291.9003
10 | 2528185.5846 | 1152221.7986
11 | 2528166.0989 | 1152262.0319
12 | 2528200.3597 | 1152214.2069
13 | 2528143.3144 | 1152157.7455
14 | 2528196.522 | 1152225.1032
15 | 2528048.5244 | 1152275.7339
16 | 2528040.5516 | 1152320.0541
17 | 2528092.9198 | 1152276.0435
18 | 2528154.1867 | 1152187.6879
19 | 2528154.3856 | 1152377.0249
20 | 2528080.5632 | 1152339.6642
21 | 2528171.7698 | 1152347.6909
22 | 2527996.9655 | 1152487.6698
23 | 2528010.0732 | 1152495.3616
24 | 2528011.8553 | 1152445.5234
25 | 2528025.1579 | 1152396.4256
26 | 2528025.446 | 1152395.3015
27 | 2528028.6633 | 1152451.3435
28 | 2527982.4613 | 1152328.8807
29 | 2528065.1612 | 1152332.1155
30 | 2528032.5777 | 1152367.4761
31 | 2527949.649 | 1152283.6665
32 | 2527933.9102 | 1152283.7361
33 | 2528188.3693 | 1152291.7157
34 | 2528186.6585 | 1152321.953
35 | 2528224.9326 | 1152232.735
36 | 2528198.3631 | 1152253.4292
37 | 2528102.7571 | 1152301.7702
38 | 2528032.4019 | 1152452.638
39 | 2528047.7246 | 1152374.6274
40 | 2528055.0373 | 1152378.08
41 | 2528189.2695 | 1152327.186
42 | 2528198.5249 | 1152255.9188
43 | 2528222.224 | 1152246.9197
44 | 2528238.6702 | 1152192.2484
45 | 2528234.2136 | 1152189.878
46 | 2528063.9342 | 1152382.2733
47 | 2528077.4425 | 1152388.6401
48 | 2528073.71 | 1152398.0233
49 | 2528061.1498 | 1152356.5837
50 | 2528054.6218 | 1152354.2716
51 | 2528061.9337 | 1152353.8263
52 | 2527982.3975 | 1152326.0981

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1