## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5642-15_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5642-15_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5642-15_0_5_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_5642-15_0_5_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_5642-15_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5642-15_0_5_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_5642-15_0_5_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_5642-15_0_5_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_5642-15_0_5_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_5642-15_0_5_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_5642-15_0_5_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_5642-15_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5642-15_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5642-15_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5642-15_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5642-15_0_5_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_5642-15_0_5_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_5642-15_0_5_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_5642-15_0_5_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_5642-15_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5642-15_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5642-15_0_5_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_5642-15_0_5_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_5642-15_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5642-15_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5642-15_0_5_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_5642-15_0_5_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_5642-15_0_5_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_5642-15_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5642-15_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5642-15_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_5642-15_0_5_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_5642-15_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5642-15_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5642-15_0_5_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_5642-15_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5642-15_0_5_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_5642-15_0_5_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5642-15_0_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_5642-15_0_5_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_5642-15_0_5_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_5642-15_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5642-15_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_5642-15_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5642-15_0_5_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_5642-15_0_5_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_5642-15_0_5_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_5642-15_0_5_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_5642-15_0_5_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_5642-15_0_5_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_5642-15_0_5_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_5642-15_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_5642-15_0_5_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_5642-15_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5642-15_0_5_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_5642-15_0_5_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_5642-15_0_5_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_5642-15_0_5_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_5642-15_0_5_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_5642-15_0_5_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_5642-15_0_5_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_5642-15_0_5_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_5642-15_0_5_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_5642-15_0_5_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_5642-15_0_5_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5642-15_0_5_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_5642-15_0_5_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_5642-15_0_5_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_5642-15_0_5_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_5642-15_0_5_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_5642-15_0_5_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_5642-15_0_5_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_5642-15_0_5_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_5642-15_0_5_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_5642-15_0_5_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_5642-15_0_5_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_5642-15_0_5_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_5642-15_0_5_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_5642-15_0_5_node_51 | 0.4 | n |  | TRUE
79 | bus_LV_5642-15_0_5_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_5642-15_0_5_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_5642-15_0_5_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_5642-15_0_5_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_5642-15_0_5_node_78 | 0.4 | n |  | TRUE
84 | bus_MV_636_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5642-15_0_5_load_0 | 0 | 0.0083487 | 0.0020924 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5642-15_0_5_load_5 | 2 | 0.0049583 | 0.0012427 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5642-15_0_5_load_4 | 4 | 0.022791 | 0.005712 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5642-15_0_5_load_34 | 6 | 0.0077988 | 0.0019546 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5642-15_0_5_load_36 | 7 | 0.0027602 | 0.00069178 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5642-15_0_5_load_35 | 8 | 0.0029661 | 0.00074337 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5642-15_0_5_load_7 | 11 | 0.0023932 | 0.0005998 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5642-15_0_5_load_73 | 17 | 0.0064371 | 0.0016133 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5642-15_0_5_load_72 | 18 | 0.026233 | 0.0065745 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5642-15_0_5_load_29 | 21 | 0.079486 | 0.019921 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5642-15_0_5_load_75 | 22 | 0.013783 | 0.0034543 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5642-15_0_5_load_67 | 25 | 0.0029436 | 0.00073773 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5642-15_0_5_load_77 | 26 | 0.0027068 | 0.00067838 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5642-15_0_5_load_17 | 29 | 0.034287 | 0.0085931 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5642-15_0_5_load_80 | 31 | 0.022681 | 0.0056843 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5642-15_0_5_load_79 | 34 | 0.023607 | 0.0059164 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5642-15_0_5_load_74 | 36 | 0.023523 | 0.0058955 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5642-15_0_5_load_26 | 37 | 0.0076575 | 0.0019191 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5642-15_0_5_load_68 | 40 | 0.0028857 | 0.00072324 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5642-15_0_5_load_61 | 45 | 0.0054326 | 0.0013615 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5642-15_0_5_load_27 | 46 | 0.0032443 | 0.0008131 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5642-15_0_5_load_84 | 47 | 0.0048248 | 0.0012092 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5642-15_0_5_load_28 | 49 | 0.0081431 | 0.0020408 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5642-15_0_5_load_86 | 50 | 0.0024883 | 0.00062361 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5642-15_0_5_load_62 | 52 | 0.0016463 | 0.00041259 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5642-15_0_5_load_43 | 54 | 0.0093009 | 0.002331 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5642-15_0_5_load_69 | 55 | 0.0040768 | 0.0010217 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5642-15_0_5_load_64 | 56 | 0.0042453 | 0.001064 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5642-15_0_5_load_85 | 58 | 0.0037179 | 0.00093178 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5642-15_0_5_load_39 | 60 | 0.0036738 | 0.00092075 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5642-15_0_5_load_41 | 62 | 0.00091799 | 0.00023007 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5642-15_0_5_load_56 | 63 | 0.00090957 | 0.00022796 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5642-15_0_5_load_55 | 64 | 0.0025186 | 0.00063121 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5642-15_0_5_load_59 | 66 | 0.0030648 | 0.00076812 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5642-15_0_5_load_71 | 67 | 0.0053094 | 0.0013307 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5642-15_0_5_load_46 | 69 | 0.0071197 | 0.0017844 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5642-15_0_5_load_76 | 73 | 0.013357 | 0.0033477 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5642-15_0_5_load_83 | 74 | 0.0054724 | 0.0013715 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5642-15_0_5_load_82 | 76 | 0.0021965 | 0.0005505 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5642-15_0_5_load_50 | 77 | 0.0028833 | 0.00072263 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5642-15_0_5_load_51 | 78 | 0.0022546 | 0.00056506 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5642-15_0_5_load_53 | 79 | 0.0024392 | 0.00061132 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5642-15_0_5_load_58 | 81 | 0.0021492 | 0.00053863 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5642-15_0_5_load_70 | 82 | 0.0026696 | 0.00066907 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5642-15_0_5_load_78 | 83 | 0.0052289 | 0.0013105 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5642-15_0_5_line_0 |  | 0 | 1 | 0.011714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5642-15_0_5_line_1 |  | 1 | 2 | 0.039659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5642-15_0_5_line_2 |  | 1 | 3 | 0.00593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5642-15_0_5_line_3 |  | 2 | 6 | 0.034704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5642-15_0_5_line_4 |  | 3 | 7 | 0.013265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5642-15_0_5_line_5 |  | 3 | 8 | 0.01293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5642-15_0_5_line_6 |  | 4 | 5 | 0.00468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5642-15_0_5_line_7 |  | 5 | 9 | 0.004244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5642-15_0_5_line_8 |  | 5 | 10 | 0.034034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5642-15_0_5_line_9 |  | 8 | 9 | 0.043463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5642-15_0_5_line_10 |  | 9 | 43 | 0.021496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5642-15_0_5_line_11 |  | 10 | 37 | 0.015956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5642-15_0_5_line_12 |  | 10 | 35 | 0.017825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5642-15_0_5_line_13 |  | 11 | 12 | 0.027753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5642-15_0_5_line_14 |  | 12 | 13 | 0.085308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5642-15_0_5_line_15 |  | 13 | 17 | 0.016157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5642-15_0_5_line_16 |  | 13 | 18 | 0.015826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5642-15_0_5_line_17 |  | 14 | 15 | 0.036085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5642-15_0_5_line_18 |  | 14 | 16 | 0.003172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5642-15_0_5_line_19 |  | 15 | 28 | 0.043365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5642-15_0_5_line_20 |  | 15 | 29 | 0.0032089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5642-15_0_5_line_21 |  | 16 | 18 | 0.030759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5642-15_0_5_line_22 |  | 19 | 20 | 0.078971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5642-15_0_5_line_23 |  | 19 | 21 | 0.027017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5642-15_0_5_line_24 |  | 20 | 22 | 0.052231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5642-15_0_5_line_25 |  | 21 | 33 | 0.029382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5642-15_0_5_line_26 |  | 23 | 24 | 0.044881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5642-15_0_5_line_27 |  | 23 | 25 | 0.040159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5642-15_0_5_line_28 |  | 24 | 26 | 0.01116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5642-15_0_5_line_29 |  | 24 | 27 | 0.087431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5642-15_0_5_line_30 |  | 27 | 44 | 0.021181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5642-15_0_5_line_31 |  | 27 | 45 | 0.0082659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5642-15_0_5_line_32 |  | 27 | 42 | 0.13403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5642-15_0_5_line_33 |  | 28 | 34 | 0.016787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5642-15_0_5_line_34 |  | 29 | 32 | 0.023783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5642-15_0_5_line_35 |  | 30 | 31 | 0.018097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5642-15_0_5_line_36 |  | 30 | 32 | 0.04534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5642-15_0_5_line_37 |  | 32 | 33 | 0.034986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5642-15_0_5_line_38 |  | 33 | 42 | 0.062793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5642-15_0_5_line_39 |  | 35 | 36 | 0.009505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5642-15_0_5_line_40 |  | 36 | 41 | 0.00373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5642-15_0_5_line_41 |  | 36 | 42 | 0.009651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5642-15_0_5_line_42 |  | 37 | 46 | 0.015758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5642-15_0_5_line_43 |  | 38 | 39 | 0.002081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5642-15_0_5_line_44 |  | 38 | 40 | 0.023755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5642-15_0_5_line_45 |  | 38 | 41 | 0.021762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5642-15_0_5_line_46 |  | 39 | 53 | 0.028367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5642-15_0_5_line_47 |  | 39 | 54 | 0.007915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5642-15_0_5_line_48 |  | 40 | 55 | 0.018717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5642-15_0_5_line_49 |  | 43 | 47 | 0.011998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5642-15_0_5_line_50 |  | 43 | 48 | 0.008999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5642-15_0_5_line_51 |  | 44 | 50 | 0.041009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5642-15_0_5_line_52 |  | 44 | 51 | 0.015193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5642-15_0_5_line_53 |  | 45 | 52 | 0.0079454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5642-15_0_5_line_54 |  | 46 | 49 | 0.026007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5642-15_0_5_line_55 |  | 48 | 58 | 0.009757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5642-15_0_5_line_56 |  | 48 | 59 | 0.025227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5642-15_0_5_line_57 |  | 51 | 63 | 0.013007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5642-15_0_5_line_58 |  | 51 | 61 | 0.02502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5642-15_0_5_line_59 |  | 53 | 65 | 0.002806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5642-15_0_5_line_60 |  | 53 | 66 | 0.047911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5642-15_0_5_line_61 |  | 56 | 57 | 0.026147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5642-15_0_5_line_62 |  | 57 | 75 | 0.12751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5642-15_0_5_line_63 |  | 57 | 71 | 0.00297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5642-15_0_5_line_64 |  | 59 | 77 | 0.0032392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5642-15_0_5_line_65 |  | 60 | 61 | 0.015495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5642-15_0_5_line_66 |  | 61 | 62 | 0.022349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5642-15_0_5_line_67 |  | 63 | 64 | 0.00042529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5642-15_0_5_line_68 |  | 64 | 80 | 0.011813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5642-15_0_5_line_69 |  | 65 | 67 | 0.00773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5642-15_0_5_line_70 |  | 65 | 68 | 0.022868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5642-15_0_5_line_71 |  | 67 | 82 | 0.0076458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5642-15_0_5_line_72 |  | 68 | 76 | 0.016166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5642-15_0_5_line_73 |  | 68 | 72 | 0.004358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5642-15_0_5_line_74 |  | 69 | 70 | 0.0020759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5642-15_0_5_line_75 |  | 70 | 71 | 0.023077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5642-15_0_5_line_76 |  | 70 | 72 | 0.05068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5642-15_0_5_line_77 |  | 71 | 73 | 0.028739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5642-15_0_5_line_78 |  | 72 | 74 | 0.011723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5642-15_0_5_line_79 |  | 75 | 83 | 0.03754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5642-15_0_5_line_80 |  | 77 | 78 | 0.028327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5642-15_0_5_line_81 |  | 78 | 79 | 0.015479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5642-15_0_5_line_82 |  | 80 | 81 | 0.009396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5642-15_0_5_trafo_30 | 0.63 MVA 20/0.4 kV | 84 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2527232.3191 | 1151888.5263 | 2527241.8081 | 1151881.6573
1 | 2527232.3191 | 1151888.5263 | 2527222.9167 | 1151886.5946 | 2527200.8391 | 1151883.7269 | 2527193.0861 | 1151882.9026
2 | 2527232.3191 | 1151888.5263 | 2527237.4516 | 1151891.5215
3 | 2527193.0861 | 1151882.9026 | 2527182.5335 | 1151881.7807 | 2527158.5769 | 1151879.2306
4 | 2527237.4516 | 1151891.5215 | 2527248.0376 | 1151883.5284
5 | 2527237.4516 | 1151891.5215 | 2527226.8759 | 1151898.9601
6 | 2527188.3041 | 1151920.9773 | 2527192.071 | 1151918.2001
7 | 2527188.3041 | 1151920.9773 | 2527191.3259 | 1151923.9646
8 | 2527160.8967 | 1151941.2539 | 2527166.4451 | 1151937.4068 | 2527182.2806 | 1151925.5306 | 2527188.3041 | 1151920.9773
9 | 2527191.3259 | 1151923.9646 | 2527226.8759 | 1151898.9601
10 | 2527207.9015 | 1151937.705 | 2527191.3259 | 1151923.9646
11 | 2527160.8967 | 1151941.2539 | 2527150.6949 | 1151928.9854
12 | 2527146.7056 | 1151952.0208 | 2527158.1246 | 1151943.0441 | 2527160.8967 | 1151941.2539
13 | 2526962.7128 | 1152085.3052 | 2526990.395 | 1152083.3288
14 | 2526962.7128 | 1152085.3052 | 2526962.1947 | 1152031.3034 | 2526969.139 | 1152028.0172 | 2526989.5244 | 1152016.0852
15 | 2526989.5244 | 1152016.0852 | 2526980.322 | 1152026.814 | 2526981.2345 | 1152028.6373
16 | 2526989.5244 | 1152016.0852 | 2527003.2795 | 1152008.2588
17 | 2527044.0737 | 1151959.4691 | 2527036.1872 | 1151983.7785 | 2527033.0936 | 1151993.8439
18 | 2527030.014 | 1151993.0475 | 2527033.0936 | 1151993.8439
19 | 2527044.0737 | 1151959.4691 | 2527039.1903 | 1151954.8702 | 2527034.1331 | 1151945.4374 | 2527024.3396 | 1151951.115 | 2527019.6132 | 1151951.2279 | 2527016.2494 | 1151945.3655 | 2527014.6584 | 1151942.6499
20 | 2527044.0737 | 1151959.4691 | 2527045.0961 | 1151956.4274
21 | 2527030.014 | 1151993.0475 | 2527003.2795 | 1152008.2588
22 | 2527065.4966 | 1151848.3134 | 2527074.2453 | 1151843.1711 | 2527080.22 | 1151844.7218 | 2527078.6642 | 1151851.2332 | 2527075.3296 | 1151861.6906 | 2527093.7525 | 1151882.1565 | 2527097.1664 | 1151890.8867 | 2527102.1249 | 1151897.2524
23 | 2527102.1249 | 1151897.2524 | 2527099.7874 | 1151900.0601 | 2527098.4228 | 1151902.7226 | 2527097.6336 | 1151906.6232 | 2527097.6876 | 1151911.0806 | 2527097.5917 | 1151914.5615 | 2527096.6466 | 1151917.6414 | 2527094.7698 | 1151922.3668 | 2527094.7178 | 1151922.5038
24 | 2527028.0077 | 1151877.1066 | 2527025.338 | 1151872.1473 | 2527036.9414 | 1151865.0803 | 2527065.4966 | 1151848.3134
25 | 2527083.8972 | 1151949.814 | 2527085.7052 | 1151945.7454 | 2527087.8603 | 1151940.5497 | 2527094.7178 | 1151922.5038
26 | 2527094.8131 | 1152133.4738 | 2527093.0622 | 1152178.3092
27 | 2527093.0622 | 1152178.3092 | 2527132.7439 | 1152184.4827
28 | 2527105.9269 | 1152134.7954 | 2527094.8131 | 1152133.4738
29 | 2527114.9837 | 1152080.4106 | 2527097.9653 | 1152067.4874 | 2527094.8131 | 1152133.4738
30 | 2527114.9837 | 1152080.4106 | 2527132.4971 | 1152092.394
31 | 2527114.9837 | 1152080.4106 | 2527117.9986 | 1152072.7142
32 | 2527114.9837 | 1152080.4106 | 2527097.9653 | 1152067.4874 | 2527099.9884 | 1152044.4611 | 2527104.0867 | 1152021.6652 | 2527111.6284 | 1152003.0856 | 2527118.6592 | 1151991.1048 | 2527115.9724 | 1151989.1585 | 2527124.9363 | 1151976.4649 | 2527133.4811 | 1151965.911
33 | 2527014.6584 | 1151942.6499 | 2527012.8744 | 1151943.6388 | 2527002.8944 | 1151949.1185 | 2527004.6717 | 1151952.0097
34 | 2527052.6738 | 1151933.8837 | 2527045.0961 | 1151956.4274
35 | 2527026.0085 | 1151904.613 | 2527014.8852 | 1151910.7626 | 2527013.6508 | 1151911.5002 | 2527015.5049 | 1151915.0241
36 | 2527026.0085 | 1151904.613 | 2527027.9176 | 1151907.6137 | 2527032.3368 | 1151915.0643 | 2527034.2605 | 1151914.8409 | 2527041.8457 | 1151927.6672 | 2527053.9254 | 1151930.1331 | 2527052.6738 | 1151933.8837
37 | 2527052.6738 | 1151933.8837 | 2527065.4417 | 1151939.9323 | 2527080.9067 | 1151948.1383 | 2527083.8972 | 1151949.814
38 | 2527083.8972 | 1151949.814 | 2527090.1398 | 1151953.2069 | 2527093.27 | 1151955.0033 | 2527105.1118 | 1151961.2744 | 2527116.2405 | 1151968.2323 | 2527124.9363 | 1151976.4649 | 2527133.4811 | 1151965.911
39 | 2527140.0416 | 1151958.8164 | 2527146.7056 | 1151952.0208
40 | 2527140.0416 | 1151958.8164 | 2527141.8617 | 1151962.074
41 | 2527140.0416 | 1151958.8164 | 2527133.4811 | 1151965.911
42 | 2527150.6949 | 1151928.9854 | 2527140.62 | 1151916.8694
43 | 2527159.5751 | 1151974.6998 | 2527161.2706 | 1151975.9133
44 | 2527159.5751 | 1151974.6998 | 2527153.2287 | 1151989.3294 | 2527150.0505 | 1151996.4612
45 | 2527141.8617 | 1151962.074 | 2527142.582 | 1151962.61 | 2527153.4789 | 1151970.7159 | 2527159.5751 | 1151974.6998
46 | 2527184.4034 | 1151992.4202 | 2527161.2706 | 1151975.9133
47 | 2527161.2706 | 1151975.9133 | 2527165.77 | 1151969.7331 | 2527165.6237 | 1151969.5057
48 | 2527136.0987 | 1152004.5677 | 2527140.9988 | 1152005.4866 | 2527143.7887 | 1152005.1749 | 2527146.1379 | 1152003.3343 | 2527148.6111 | 1151999.6911 | 2527150.0505 | 1151996.4612
49 | 2527207.9015 | 1151937.705 | 2527206.5591 | 1151944.1027 | 2527203.1417 | 1151948.3686
50 | 2527207.9015 | 1151937.705 | 2527214.8403 | 1151943.4576
51 | 2527132.4971 | 1152092.394 | 2527126.7958 | 1152132.997
52 | 2527145.0576 | 1152100.9911 | 2527132.4971 | 1152092.394
53 | 2527114.5121 | 1152065.5747 | 2527117.9986 | 1152072.7142
54 | 2527123.9918 | 1151896.8724 | 2527140.62 | 1151916.8694
55 | 2527214.8403 | 1151943.4576 | 2527221.5079 | 1151936.3174
56 | 2527214.8403 | 1151943.4576 | 2527216.2902 | 1151944.663 | 2527235.252 | 1151958.3523
57 | 2527145.0576 | 1152100.9911 | 2527149.5122 | 1152088.7709
58 | 2527145.0576 | 1152100.9911 | 2527165.7439 | 1152115.1485
59 | 2527184.4034 | 1151992.4202 | 2527186.6949 | 1151994.049
60 | 2527184.4034 | 1151992.4202 | 2527179.6 | 1151998.215 | 2527174.8468 | 1152009.4122 | 2527172.6929 | 1152015.9753 | 2527170.7986 | 1152021.1567 | 2527168.7424 | 1152024.3834 | 2527166.1577 | 1152027.6943 | 2527162.9252 | 1152028.2116 | 2527158.5794 | 1152027.0629
61 | 2527252.9723 | 1152041.3179 | 2527269.2843 | 1152020.8836
62 | 2527252.9723 | 1152041.3179 | 2527300.6694 | 1152076.0273 | 2527273.3232 | 1152127.976 | 2527272.0478 | 1152130.3928 | 2527269.2044 | 1152135.7969 | 2527268.592 | 1152136.5602
63 | 2527250.5341 | 1152039.6131 | 2527252.9723 | 1152041.3179
64 | 2527235.252 | 1151958.3523 | 2527237.8794 | 1151960.2468
65 | 2527165.7439 | 1152115.1485 | 2527172.0547 | 1152100.997
66 | 2527165.7439 | 1152115.1485 | 2527184.31 | 1152127.5896
67 | 2527149.6579 | 1152088.3713 | 2527149.5122 | 1152088.7709
68 | 2527153.7036 | 1152077.2731 | 2527149.6579 | 1152088.3713
69 | 2527186.6949 | 1151994.049 | 2527191.5183 | 1151987.9983
70 | 2527205.3375 | 1152007.3641 | 2527186.6949 | 1151994.049
71 | 2527191.5183 | 1151987.9983 | 2527197.7454 | 1151992.4347
72 | 2527205.3375 | 1152007.3641 | 2527199.538 | 1152018.9964 | 2527198.0369 | 1152021.7939
73 | 2527205.3375 | 1152007.3641 | 2527208.891 | 1152009.9003
74 | 2527248.1043 | 1152024.0226 | 2527246.4168 | 1152022.8136
75 | 2527250.5341 | 1152039.6131 | 2527240.9497 | 1152032.7696 | 2527248.1043 | 1152024.0226
76 | 2527208.891 | 1152009.9003 | 2527226.132 | 1152022.1985 | 2527240.9497 | 1152032.7696 | 2527248.1043 | 1152024.0226
77 | 2527250.5341 | 1152039.6131 | 2527249.6218 | 1152041.603 | 2527246.0177 | 1152049.4621 | 2527242.8933 | 1152057.0153 | 2527240.993 | 1152061.0739 | 2527239.7733 | 1152064.2905 | 2527238.8173 | 1152065.8362
78 | 2527208.891 | 1152009.9003 | 2527215.5278 | 1152000.2256
79 | 2527241.3947 | 1152117.712 | 2527239.1818 | 1152121.9411 | 2527268.592 | 1152136.5602
80 | 2527237.8794 | 1151960.2468 | 2527244.7444 | 1151965.1969 | 2527248.9579 | 1151967.0914 | 2527254.5563 | 1151968.002 | 2527258.7328 | 1151966.8397 | 2527262.1872 | 1151963.7295 | 2527262.6424 | 1151963.3575
81 | 2527274.6282 | 1151953.5622 | 2527262.6424 | 1151963.3575
82 | 2527153.7036 | 1152077.2731 | 2527162.4939 | 1152080.6574

## bus_geodata
| x | y | coords
0 | 2527241.8082 | 1151881.6573
1 | 2527232.3191 | 1151888.5263
2 | 2527193.0861 | 1151882.9026
3 | 2527237.4516 | 1151891.5215
4 | 2527192.071 | 1151918.2001
5 | 2527188.3041 | 1151920.9773
6 | 2527158.5769 | 1151879.2306
7 | 2527248.0376 | 1151883.5284
8 | 2527226.8759 | 1151898.9601
9 | 2527191.3259 | 1151923.9646
10 | 2527160.8967 | 1151941.2539
11 | 2526990.395 | 1152083.3288
12 | 2526962.7128 | 1152085.3052
13 | 2526989.5244 | 1152016.0852
14 | 2527033.0936 | 1151993.8439
15 | 2527044.0737 | 1151959.4691
16 | 2527030.014 | 1151993.0475
17 | 2526981.2345 | 1152028.6373
18 | 2527003.2795 | 1152008.2588
19 | 2527102.1249 | 1151897.2524
20 | 2527065.4966 | 1151848.3134
21 | 2527094.7178 | 1151922.5038
22 | 2527028.0077 | 1151877.1066
23 | 2527093.0622 | 1152178.3092
24 | 2527094.8131 | 1152133.4738
25 | 2527132.7439 | 1152184.4827
26 | 2527105.9269 | 1152134.7954
27 | 2527114.9837 | 1152080.4106
28 | 2527014.6584 | 1151942.6499
29 | 2527045.0961 | 1151956.4274
30 | 2527026.0085 | 1151904.613
31 | 2527015.5049 | 1151915.0241
32 | 2527052.6738 | 1151933.8837
33 | 2527083.8972 | 1151949.814
34 | 2527004.6717 | 1151952.0097
35 | 2527146.7056 | 1151952.0208
36 | 2527140.0416 | 1151958.8164
37 | 2527150.6949 | 1151928.9854
38 | 2527159.5751 | 1151974.6998
39 | 2527161.2706 | 1151975.9133
40 | 2527150.0505 | 1151996.4612
41 | 2527141.8617 | 1151962.074
42 | 2527133.4811 | 1151965.911
43 | 2527207.9015 | 1151937.705
44 | 2527132.4971 | 1152092.394
45 | 2527117.9986 | 1152072.7142
46 | 2527140.62 | 1151916.8694
47 | 2527203.1417 | 1151948.3686
48 | 2527214.8403 | 1151943.4576
49 | 2527123.9918 | 1151896.8724
50 | 2527126.7958 | 1152132.997
51 | 2527145.0576 | 1152100.9911
52 | 2527114.5121 | 1152065.5747
53 | 2527184.4034 | 1151992.4202
54 | 2527165.6237 | 1151969.5057
55 | 2527136.0987 | 1152004.5677
56 | 2527269.2843 | 1152020.8836
57 | 2527252.9723 | 1152041.3179
58 | 2527221.5079 | 1151936.3174
59 | 2527235.252 | 1151958.3523
60 | 2527172.0547 | 1152100.997
61 | 2527165.7439 | 1152115.1485
62 | 2527184.31 | 1152127.5896
63 | 2527149.5122 | 1152088.7709
64 | 2527149.6579 | 1152088.3713
65 | 2527186.6949 | 1151994.049
66 | 2527158.5794 | 1152027.0629
67 | 2527191.5183 | 1151987.9983
68 | 2527205.3375 | 1152007.3641
69 | 2527246.4168 | 1152022.8136
70 | 2527248.1043 | 1152024.0226
71 | 2527250.5341 | 1152039.6131
72 | 2527208.891 | 1152009.9003
73 | 2527238.8173 | 1152065.8362
74 | 2527215.5278 | 1152000.2256
75 | 2527268.592 | 1152136.5602
76 | 2527198.0369 | 1152021.7939
77 | 2527237.8794 | 1151960.2468
78 | 2527262.6424 | 1151963.3575
79 | 2527274.6282 | 1151953.5622
80 | 2527153.7036 | 1152077.2731
81 | 2527162.4939 | 1152080.6574
82 | 2527197.7454 | 1151992.4347
83 | 2527241.3947 | 1152117.712
84 | 2527137.5799 | 1151966.5728

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1