## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5642-38_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5642-38_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5642-38_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5642-38_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5642-38_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5642-38_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5642-38_0_7_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5642-38_0_7_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_5642-38_0_7_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_5642-38_0_7_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_5642-38_0_7_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_5642-38_0_7_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_5642-38_0_7_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5642-38_0_7_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5642-38_0_7_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5642-38_0_7_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5642-38_0_7_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5642-38_0_7_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5642-38_0_7_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5642-38_0_7_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5642-38_0_7_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_5642-38_0_7_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_5642-38_0_7_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_5642-38_0_7_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_5642-38_0_7_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_5642-38_0_7_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_5642-38_0_7_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_5642-38_0_7_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_5642-38_0_7_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_5642-38_0_7_node_78 | 0.4 | n |  | TRUE
30 | bus_LV_5642-38_0_7_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_5642-38_0_7_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5642-38_0_7_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_5642-38_0_7_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_5642-38_0_7_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5642-38_0_7_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_5642-38_0_7_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_5642-38_0_7_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5642-38_0_7_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5642-38_0_7_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5642-38_0_7_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_5642-38_0_7_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_5642-38_0_7_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_5642-38_0_7_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_5642-38_0_7_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_5642-38_0_7_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_5642-38_0_7_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_5642-38_0_7_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_5642-38_0_7_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_5642-38_0_7_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_5642-38_0_7_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_5642-38_0_7_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_5642-38_0_7_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_5642-38_0_7_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_5642-38_0_7_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_5642-38_0_7_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_5642-38_0_7_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_5642-38_0_7_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_5642-38_0_7_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_5642-38_0_7_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5642-38_0_7_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_5642-38_0_7_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_5642-38_0_7_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_5642-38_0_7_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_5642-38_0_7_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_5642-38_0_7_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_5642-38_0_7_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5642-38_0_7_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5642-38_0_7_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_5642-38_0_7_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_5642-38_0_7_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_5642-38_0_7_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5642-38_0_7_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_5642-38_0_7_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_5642-38_0_7_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_5642-38_0_7_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_5642-38_0_7_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_5642-38_0_7_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5642-38_0_7_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_5642-38_0_7_node_76 | 0.4 | n |  | TRUE
80 | bus_MV_636_0_node_147 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5642-38_0_7_load_0 | 0 | 0.015288 | 0.0038315 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5642-38_0_7_load_1 | 1 | 0.025037 | 0.0062748 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5642-38_0_7_load_3 | 3 | 0.0016048 | 0.0004022 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5642-38_0_7_load_6 | 6 | 0.0020507 | 0.00051396 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5642-38_0_7_load_18 | 8 | 0.008814 | 0.002209 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5642-38_0_7_load_30 | 9 | 0.0083137 | 0.0020836 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5642-38_0_7_load_7 | 12 | 0.0025929 | 0.00064985 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5642-38_0_7_load_8 | 13 | 0.00099814 | 0.00025016 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5642-38_0_7_load_11 | 16 | 0.033608 | 0.0084231 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5642-38_0_7_load_12 | 17 | 0.0028609 | 0.00071701 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5642-38_0_7_load_13 | 18 | 0.0034973 | 0.0008765 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5642-38_0_7_load_23 | 20 | 0.0038793 | 0.00097225 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5642-38_0_7_load_79 | 22 | 0.0058651 | 0.0014699 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5642-38_0_7_load_61 | 23 | 0.0044056 | 0.0011041 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5642-38_0_7_load_80 | 25 | 0.0033434 | 0.00083794 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5642-38_0_7_load_59 | 27 | 0.010962 | 0.0027474 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5642-38_0_7_load_60 | 28 | 0.011976 | 0.0030016 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5642-38_0_7_load_78 | 29 | 0.013711 | 0.0034363 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5642-38_0_7_load_15 | 30 | 0.0091472 | 0.0022925 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5642-38_0_7_load_27 | 35 | 0.02202 | 0.0055187 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5642-38_0_7_load_22 | 36 | 0.02053 | 0.0051453 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5642-38_0_7_load_28 | 37 | 0.027755 | 0.0069561 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5642-38_0_7_load_29 | 38 | 0.043179 | 0.010822 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5642-38_0_7_load_26 | 39 | 0.0018416 | 0.00046154 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5642-38_0_7_load_49 | 41 | 0.035221 | 0.0088272 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5642-38_0_7_load_50 | 42 | 0.025589 | 0.0064132 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5642-38_0_7_load_52 | 43 | 0.010871 | 0.0027246 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5642-38_0_7_load_70 | 45 | 0.013893 | 0.0034818 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5642-38_0_7_load_55 | 46 | 0.011781 | 0.0029527 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5642-38_0_7_load_31 | 47 | 0.002875 | 0.00072055 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5642-38_0_7_load_32 | 48 | 0.0029996 | 0.00075176 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5642-38_0_7_load_33 | 49 | 0.010234 | 0.0025649 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5642-38_0_7_load_35 | 51 | 0.010666 | 0.002673 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5642-38_0_7_load_36 | 52 | 0.0045292 | 0.0011351 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5642-38_0_7_load_37 | 53 | 0.0024427 | 0.0006122 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5642-38_0_7_load_38 | 54 | 0.013711 | 0.0034363 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5642-38_0_7_load_56 | 55 | 0.0051925 | 0.0013014 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5642-38_0_7_load_48 | 57 | 0.0091952 | 0.0023045 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5642-38_0_7_load_77 | 58 | 0.0033771 | 0.00084638 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5642-38_0_7_load_47 | 59 | 0.0038355 | 0.00096128 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5642-38_0_7_load_39 | 61 | 0.0069832 | 0.0017501 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5642-38_0_7_load_46 | 62 | 0.0062112 | 0.0015567 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5642-38_0_7_load_57 | 66 | 0.0061417 | 0.0015393 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5642-38_0_7_load_62 | 67 | 0.0041877 | 0.0010495 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5642-38_0_7_load_73 | 69 | 0.0038967 | 0.0009766 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5642-38_0_7_load_63 | 70 | 0.012986 | 0.0032546 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5642-38_0_7_load_64 | 71 | 0.0099401 | 0.0024912 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5642-38_0_7_load_66 | 73 | 0.016129 | 0.0040423 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5642-38_0_7_load_67 | 74 | 0.0033156 | 0.00083096 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5642-38_0_7_load_68 | 75 | 0.0090569 | 0.0022699 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5642-38_0_7_load_69 | 76 | 0.0012519 | 0.00031376 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5642-38_0_7_load_74 | 78 | 0.0031134 | 0.00078029 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5642-38_0_7_load_76 | 79 | 0.0037182 | 0.00093187 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5642-38_0_7_line_0 |  | 0 | 1 | 0.0044285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5642-38_0_7_line_1 |  | 0 | 2 | 0.019581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5642-38_0_7_line_2 |  | 1 | 3 | 0.0096403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5642-38_0_7_line_3 |  | 2 | 4 | 0.008655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5642-38_0_7_line_4 |  | 4 | 5 | 0.014332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5642-38_0_7_line_5 |  | 4 | 6 | 0.025898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5642-38_0_7_line_6 |  | 5 | 7 | 0.015733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5642-38_0_7_line_7 |  | 5 | 8 | 0.011333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5642-38_0_7_line_8 |  | 7 | 9 | 0.020641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5642-38_0_7_line_9 |  | 7 | 10 | 0.001967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5642-38_0_7_line_10 |  | 8 | 11 | 0.02052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5642-38_0_7_line_11 |  | 10 | 39 | 0.01154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5642-38_0_7_line_12 |  | 10 | 20 | 0.015565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5642-38_0_7_line_13 |  | 11 | 32 | 0.0070877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5642-38_0_7_line_14 |  | 12 | 13 | 0.017102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5642-38_0_7_line_15 |  | 12 | 14 | 0.013501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5642-38_0_7_line_16 |  | 13 | 15 | 0.0016207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5642-38_0_7_line_17 |  | 14 | 16 | 0.020136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5642-38_0_7_line_18 |  | 15 | 17 | 0.011569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5642-38_0_7_line_19 |  | 15 | 18 | 0.01507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5642-38_0_7_line_20 |  | 16 | 19 | 0.015343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5642-38_0_7_line_21 |  | 18 | 20 | 0.0021148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5642-38_0_7_line_22 |  | 19 | 21 | 0.020637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5642-38_0_7_line_23 |  | 19 | 22 | 0.10305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5642-38_0_7_line_24 |  | 21 | 23 | 0.021008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5642-38_0_7_line_25 |  | 21 | 24 | 0.031118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5642-38_0_7_line_26 |  | 22 | 25 | 0.06326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5642-38_0_7_line_27 |  | 23 | 67 | 8.0233e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5642-38_0_7_line_28 |  | 24 | 61 | 0.020755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5642-38_0_7_line_29 |  | 26 | 27 | 0.02578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5642-38_0_7_line_30 |  | 26 | 28 | 0.024771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5642-38_0_7_line_31 |  | 27 | 46 | 0.0060897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5642-38_0_7_line_32 |  | 28 | 29 | 0.016292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5642-38_0_7_line_33 |  | 29 | 45 | 0.017557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5642-38_0_7_line_34 |  | 30 | 31 | 0.012936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5642-38_0_7_line_35 |  | 31 | 33 | 0.008881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5642-38_0_7_line_36 |  | 32 | 36 | 0.0099054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5642-38_0_7_line_37 |  | 32 | 34 | 0.0055629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5642-38_0_7_line_38 |  | 33 | 36 | 0.0024687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5642-38_0_7_line_39 |  | 34 | 35 | 0.030908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5642-38_0_7_line_40 |  | 35 | 37 | 0.012138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5642-38_0_7_line_41 |  | 35 | 38 | 0.029229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5642-38_0_7_line_42 |  | 38 | 40 | 0.034892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5642-38_0_7_line_43 |  | 40 | 46 | 0.0199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5642-38_0_7_line_44 |  | 41 | 42 | 0.026125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5642-38_0_7_line_45 |  | 42 | 43 | 0.013693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5642-38_0_7_line_46 |  | 43 | 44 | 0.016875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5642-38_0_7_line_47 |  | 44 | 45 | 0.02842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5642-38_0_7_line_48 |  | 47 | 48 | 0.020437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5642-38_0_7_line_49 |  | 47 | 49 | 0.016144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5642-38_0_7_line_50 |  | 48 | 50 | 0.0069648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5642-38_0_7_line_51 |  | 49 | 51 | 0.0054422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5642-38_0_7_line_52 |  | 50 | 52 | 0.016217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5642-38_0_7_line_53 |  | 50 | 53 | 0.015512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5642-38_0_7_line_54 |  | 51 | 54 | 0.019432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5642-38_0_7_line_55 |  | 52 | 55 | 0.012434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5642-38_0_7_line_56 |  | 53 | 56 | 0.010284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_5642-38_0_7_line_57 |  | 54 | 57 | 0.024524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5642-38_0_7_line_58 |  | 55 | 58 | 0.016736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5642-38_0_7_line_59 |  | 56 | 59 | 0.008966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5642-38_0_7_line_60 |  | 56 | 60 | 0.007452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5642-38_0_7_line_61 |  | 58 | 77 | 0.008249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5642-38_0_7_line_62 |  | 60 | 61 | 0.013132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_5642-38_0_7_line_63 |  | 62 | 63 | 0.017616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5642-38_0_7_line_64 |  | 62 | 64 | 0.018986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5642-38_0_7_line_65 |  | 63 | 68 | 0.017614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5642-38_0_7_line_66 |  | 63 | 69 | 0.007858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5642-38_0_7_line_67 |  | 64 | 65 | 0.022477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5642-38_0_7_line_68 |  | 65 | 66 | 0.017885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5642-38_0_7_line_69 |  | 68 | 78 | 0.007256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5642-38_0_7_line_70 |  | 68 | 77 | 0.010534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5642-38_0_7_line_71 |  | 70 | 71 | 0.00079765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5642-38_0_7_line_72 |  | 70 | 72 | 0.027618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5642-38_0_7_line_73 |  | 71 | 73 | 0.0074908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5642-38_0_7_line_74 |  | 72 | 74 | 0.015301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5642-38_0_7_line_75 |  | 72 | 75 | 0.0029038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5642-38_0_7_line_76 |  | 75 | 76 | 0.016071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5642-38_0_7_line_77 |  | 76 | 77 | 0.023817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5642-38_0_7_line_78 |  | 77 | 79 | 0.013306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5642-38_0_7_trafo_10 | 0.63 MVA 20/0.4 kV | 80 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2526773.3663 | 1151310.3273 | 2526774.6648 | 1151311.0675 | 2526775.9967 | 1151311.3959 | 2526777.5561 | 1151311.488
1 | 2526792.2391 | 1151305.7505 | 2526790.8274 | 1151307.691 | 2526786.2675 | 1151313.3275 | 2526785.4034 | 1151314.2274 | 2526784.2174 | 1151314.5309 | 2526782.6342 | 1151314.3723 | 2526781.2173 | 1151313.3668 | 2526779.3842 | 1151312.2218 | 2526777.5561 | 1151311.488
2 | 2526766.28 | 1151303.91 | 2526767.8494 | 1151304.8247 | 2526770.5629 | 1151307.0373 | 2526772.2133 | 1151308.9405 | 2526773.3663 | 1151310.3273
3 | 2526797.3583 | 1151298.7621 | 2526792.2391 | 1151305.7505
4 | 2526809.1333 | 1151306.9789 | 2526797.3583 | 1151298.7621
5 | 2526776.2501 | 1151283.6772 | 2526797.3583 | 1151298.7621
6 | 2526809.1333 | 1151306.9789 | 2526821.9107 | 1151316.2064
7 | 2526809.1333 | 1151306.9789 | 2526815.2166 | 1151298.489 | 2526815.7628 | 1151297.7876
8 | 2526821.9107 | 1151316.2064 | 2526813.4726 | 1151324.8362 | 2526810.0004 | 1151327.1353 | 2526807.7388 | 1151327.3629 | 2526805.8754 | 1151326.2517
9 | 2526821.9107 | 1151316.2064 | 2526823.5438 | 1151317.3094
10 | 2526824.8366 | 1151279.7503 | 2526823.6251 | 1151281.1103 | 2526821.4142 | 1151286.14 | 2526820.3232 | 1151289.8331 | 2526819.876 | 1151292.1955 | 2526818.8519 | 1151293.82 | 2526815.7628 | 1151297.7876
11 | 2526823.5438 | 1151317.3094 | 2526830.2154 | 1151307.8929
12 | 2526823.5438 | 1151317.3094 | 2526836.2681 | 1151326.2744
13 | 2526824.8366 | 1151279.7503 | 2526825.5863 | 1151278.9074 | 2526827.3669 | 1151276.9958 | 2526828.2995 | 1151276.0506 | 2526826.7032 | 1151274.8137
14 | 2526865.5674 | 1151347.0323 | 2526851.6365 | 1151337.1122
15 | 2526876.5646 | 1151354.8635 | 2526865.5674 | 1151347.0323
16 | 2526850.3163 | 1151336.1721 | 2526851.6365 | 1151337.1122
17 | 2526876.5646 | 1151354.8635 | 2526893.0159 | 1151366.4749
18 | 2526850.3163 | 1151336.1721 | 2526843.886 | 1151345.8002
19 | 2526850.3163 | 1151336.1721 | 2526837.9969 | 1151327.4925
20 | 2526905.5515 | 1151375.3226 | 2526893.0159 | 1151366.4749
21 | 2526836.2681 | 1151326.2744 | 2526837.9969 | 1151327.4925
22 | 2526905.5515 | 1151375.3226 | 2526894.0933 | 1151392.5049
23 | 2526905.5515 | 1151375.3226 | 2526999.6894 | 1151417.2473
24 | 2526894.0933 | 1151392.5049 | 2526876.5657 | 1151380.9234
25 | 2526876.4206 | 1151418.1119 | 2526882.887 | 1151408.2944 | 2526888.6977 | 1151400.1081 | 2526894.0933 | 1151392.5049
26 | 2526999.6894 | 1151417.2473 | 2527041.4463 | 1151464.7673
27 | 2526876.4987 | 1151380.8791 | 2526876.5657 | 1151380.9234
28 | 2526876.4206 | 1151418.1119 | 2526859.2927 | 1151406.3907
29 | 2526938.1693 | 1151322.5633 | 2526918.3335 | 1151306.0963
30 | 2526938.1693 | 1151322.5633 | 2526953.9476 | 1151303.467
31 | 2526913.648 | 1151302.2065 | 2526918.3335 | 1151306.0963
32 | 2526964.3248 | 1151290.9076 | 2526953.9476 | 1151303.467
33 | 2526975.508 | 1151277.3726 | 2526964.3248 | 1151290.9076
34 | 2526809.465 | 1151262.9835 | 2526806.8234 | 1151262.8934 | 2526800.9396 | 1151261.9311 | 2526798.4795 | 1151262.2501 | 2526798.0331 | 1151264.0454
35 | 2526809.465 | 1151262.9835 | 2526812.2333 | 1151263.3945 | 2526814.7176 | 1151265.0652 | 2526817.3023 | 1151266.7903
36 | 2526826.7032 | 1151274.8137 | 2526826.0058 | 1151274.2775 | 2526823.5159 | 1151272.1399 | 2526820.9326 | 1151269.9034 | 2526819.2353 | 1151268.3113
37 | 2526826.7032 | 1151274.8137 | 2526828.2995 | 1151276.0506 | 2526830.2123 | 1151277.4392 | 2526831.2478 | 1151278.0047
38 | 2526817.3023 | 1151266.7903 | 2526818.347 | 1151267.4779 | 2526819.2353 | 1151268.3113
39 | 2526831.2478 | 1151278.0047 | 2526832.4068 | 1151278.6354 | 2526835.2511 | 1151278.9788 | 2526837.9838 | 1151277.7226 | 2526840.4141 | 1151274.9581 | 2526844.4288 | 1151270.5624 | 2526846.4841 | 1151267.8915 | 2526847.4178 | 1151267.0352 | 2526851.6781 | 1151266.4163 | 2526856.7635 | 1151265.6709
40 | 2526868.7893 | 1151264.0291 | 2526862.9263 | 1151264.7675 | 2526856.7635 | 1151265.6709
41 | 2526856.7635 | 1151265.6709 | 2526863.7437 | 1151294.0544
42 | 2526863.7437 | 1151294.0544 | 2526898.3365 | 1151289.4954
43 | 2526898.3365 | 1151289.4954 | 2526913.648 | 1151302.2065
44 | 2526950.979 | 1151230.6751 | 2526956.535 | 1151224.4406 | 2526970.1661 | 1151235.8465
45 | 2526970.1661 | 1151235.8465 | 2526980.6681 | 1151244.634
46 | 2526993.6104 | 1151255.4635 | 2526980.6681 | 1151244.634
47 | 2526993.6104 | 1151255.4635 | 2526975.508 | 1151277.3726
48 | 2526798.1836 | 1151365.0243 | 2526815.2072 | 1151376.3329
49 | 2526798.1836 | 1151365.0243 | 2526784.7363 | 1151356.0914
50 | 2526821.0086 | 1151380.1867 | 2526815.2072 | 1151376.3329
51 | 2526780.2032 | 1151353.0801 | 2526784.7363 | 1151356.0914
52 | 2526821.0086 | 1151380.1867 | 2526811.4576 | 1151393.2923
53 | 2526821.0086 | 1151380.1867 | 2526833.8083 | 1151388.949
54 | 2526764.0168 | 1151342.3276 | 2526780.2032 | 1151353.0801
55 | 2526811.4576 | 1151393.2923 | 2526804.1343 | 1151403.3412
56 | 2526842.2943 | 1151394.7582 | 2526833.8083 | 1151388.949
57 | 2526745.1373 | 1151335.1183 | 2526747.3005 | 1151331.2231 | 2526764.0168 | 1151342.3276
58 | 2526804.1343 | 1151403.3412 | 2526796.9507 | 1151418.4566
59 | 2526842.2943 | 1151394.7582 | 2526834.182 | 1151398.6257
60 | 2526848.4554 | 1151398.9745 | 2526842.2943 | 1151394.7582
61 | 2526793.9403 | 1151425.8974 | 2526796.2804 | 1151422.6671 | 2526796.9507 | 1151418.4566
62 | 2526848.4554 | 1151398.9745 | 2526859.2927 | 1151406.3907
63 | 2526817.4261 | 1151441.5093 | 2526832.0961 | 1151451.2614
64 | 2526847.9071 | 1151461.7721 | 2526832.0961 | 1151451.2614
65 | 2526817.4261 | 1151441.5093 | 2526802.731 | 1151431.7381
66 | 2526817.4261 | 1151441.5093 | 2526821.9609 | 1151435.0838
67 | 2526847.9071 | 1151461.7721 | 2526840.2786 | 1151472.582 | 2526834.9364 | 1151480.1513
68 | 2526834.9364 | 1151480.1513 | 2526819.9459 | 1151470.3957
69 | 2526802.731 | 1151431.7381 | 2526798.6207 | 1151437.7249
70 | 2526793.9403 | 1151425.8974 | 2526802.731 | 1151431.7381
71 | 2526734.641 | 1151386.4751 | 2526735.3053 | 1151386.9167
72 | 2526758.3051 | 1151402.2068 | 2526735.3053 | 1151386.9167
73 | 2526730.5341 | 1151392.7397 | 2526734.641 | 1151386.4751
74 | 2526758.3051 | 1151402.2068 | 2526749.8485 | 1151414.9725
75 | 2526758.3051 | 1151402.2068 | 2526760.7232 | 1151403.8144
76 | 2526760.7232 | 1151403.8144 | 2526774.1065 | 1151412.7117
77 | 2526793.9403 | 1151425.8974 | 2526774.1065 | 1151412.7117
78 | 2526793.9403 | 1151425.8974 | 2526786.3673 | 1151436.8513

## bus_geodata
| x | y | coords
0 | 2526777.5561 | 1151311.488
1 | 2526773.3663 | 1151310.3273
2 | 2526792.2391 | 1151305.7505
3 | 2526766.28 | 1151303.91
4 | 2526797.3583 | 1151298.7621
5 | 2526809.1333 | 1151306.9789
6 | 2526776.2501 | 1151283.6772
7 | 2526821.9107 | 1151316.2064
8 | 2526815.7628 | 1151297.7876
9 | 2526805.8754 | 1151326.2517
10 | 2526823.5438 | 1151317.3094
11 | 2526824.8366 | 1151279.7503
12 | 2526865.5674 | 1151347.0323
13 | 2526851.6365 | 1151337.1122
14 | 2526876.5646 | 1151354.8635
15 | 2526850.3163 | 1151336.1721
16 | 2526893.0159 | 1151366.4749
17 | 2526843.886 | 1151345.8002
18 | 2526837.9969 | 1151327.4925
19 | 2526905.5515 | 1151375.3226
20 | 2526836.2681 | 1151326.2744
21 | 2526894.0933 | 1151392.5049
22 | 2526999.6894 | 1151417.2473
23 | 2526876.5657 | 1151380.9234
24 | 2526876.4206 | 1151418.1119
25 | 2527041.4463 | 1151464.7673
26 | 2526938.1693 | 1151322.5633
27 | 2526918.3335 | 1151306.0963
28 | 2526953.9476 | 1151303.467
29 | 2526964.3248 | 1151290.9076
30 | 2526798.0331 | 1151264.0454
31 | 2526809.465 | 1151262.9835
32 | 2526826.7032 | 1151274.8137
33 | 2526817.3023 | 1151266.7903
34 | 2526831.2478 | 1151278.0047
35 | 2526856.7635 | 1151265.6709
36 | 2526819.2353 | 1151268.3113
37 | 2526868.7893 | 1151264.0291
38 | 2526863.7437 | 1151294.0544
39 | 2526830.2154 | 1151307.8929
40 | 2526898.3365 | 1151289.4954
41 | 2526950.979 | 1151230.6751
42 | 2526970.1661 | 1151235.8465
43 | 2526980.6681 | 1151244.634
44 | 2526993.6104 | 1151255.4635
45 | 2526975.508 | 1151277.3726
46 | 2526913.648 | 1151302.2065
47 | 2526798.1836 | 1151365.0243
48 | 2526815.2072 | 1151376.3329
49 | 2526784.7363 | 1151356.0914
50 | 2526821.0086 | 1151380.1867
51 | 2526780.2032 | 1151353.0801
52 | 2526811.4576 | 1151393.2923
53 | 2526833.8083 | 1151388.949
54 | 2526764.0168 | 1151342.3276
55 | 2526804.1343 | 1151403.3412
56 | 2526842.2943 | 1151394.7582
57 | 2526745.1373 | 1151335.1183
58 | 2526796.9507 | 1151418.4566
59 | 2526834.182 | 1151398.6257
60 | 2526848.4554 | 1151398.9745
61 | 2526859.2927 | 1151406.3907
62 | 2526832.0961 | 1151451.2614
63 | 2526817.4261 | 1151441.5093
64 | 2526847.9071 | 1151461.7721
65 | 2526834.9364 | 1151480.1513
66 | 2526819.9459 | 1151470.3957
67 | 2526876.4987 | 1151380.8791
68 | 2526802.731 | 1151431.7381
69 | 2526821.9609 | 1151435.0838
70 | 2526735.3053 | 1151386.9167
71 | 2526734.641 | 1151386.4751
72 | 2526758.3051 | 1151402.2068
73 | 2526730.5341 | 1151392.7397
74 | 2526749.8485 | 1151414.9725
75 | 2526760.7232 | 1151403.8144
76 | 2526774.1065 | 1151412.7117
77 | 2526793.9403 | 1151425.8974
78 | 2526798.6207 | 1151437.7249
79 | 2526786.3673 | 1151436.8513
80 | 2526843.886 | 1151345.8002

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1