## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5642-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5642-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5642-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5642-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5642-4_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_5642-4_0_4_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_5642-4_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5642-4_0_4_node_67 | 0.4 | n |  | TRUE
8 | bus_LV_5642-4_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5642-4_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5642-4_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5642-4_0_4_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_5642-4_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_5642-4_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_5642-4_0_4_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_5642-4_0_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_5642-4_0_4_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_5642-4_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_5642-4_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5642-4_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5642-4_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5642-4_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5642-4_0_4_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_5642-4_0_4_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_5642-4_0_4_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_5642-4_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_5642-4_0_4_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_5642-4_0_4_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_5642-4_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_5642-4_0_4_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_5642-4_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_5642-4_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_5642-4_0_4_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_5642-4_0_4_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_5642-4_0_4_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_5642-4_0_4_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_5642-4_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5642-4_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5642-4_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_5642-4_0_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_5642-4_0_4_node_12 | 0.4 | n |  | TRUE
41 | bus_LV_5642-4_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_5642-4_0_4_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_5642-4_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_5642-4_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_5642-4_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_5642-4_0_4_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_5642-4_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_5642-4_0_4_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_5642-4_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_5642-4_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_5642-4_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_5642-4_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_5642-4_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_5642-4_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_5642-4_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_5642-4_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_5642-4_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_5642-4_0_4_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_5642-4_0_4_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_5642-4_0_4_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_5642-4_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_MV_636_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5642-4_0_4_load_0 | 0 | 0.022874 | 0.0057328 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5642-4_0_4_load_1 | 1 | 0.023695 | 0.0059386 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5642-4_0_4_load_3 | 3 | 0.0059938 | 0.0015022 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5642-4_0_4_load_64 | 5 | 0.013743 | 0.0034442 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5642-4_0_4_load_67 | 7 | 0.029206 | 0.0073198 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5642-4_0_4_load_32 | 11 | 0.0016284 | 0.00040812 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5642-4_0_4_load_30 | 13 | 0.0086529 | 0.0021686 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5642-4_0_4_load_66 | 16 | 0.0013247 | 0.000332 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5642-4_0_4_load_15 | 19 | 0.00038387 | 9.6207e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5642-4_0_4_load_11 | 21 | 0.00064318 | 0.0001612 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5642-4_0_4_load_27 | 22 | 0.00039855 | 9.9886e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5642-4_0_4_load_34 | 23 | 0.00038714 | 9.7025e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5642-4_0_4_load_33 | 24 | 0.00029531 | 7.4013e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5642-4_0_4_load_50 | 27 | 0.006952 | 0.0017423 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5642-4_0_4_load_31 | 28 | 0.00070645 | 0.00017705 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5642-4_0_4_load_39 | 30 | 0.0132 | 0.0033084 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5642-4_0_4_load_36 | 31 | 0.028711 | 0.0071957 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5642-4_0_4_load_54 | 32 | 0.020964 | 0.0052541 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5642-4_0_4_load_45 | 33 | 0.0046894 | 0.0011753 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5642-4_0_4_load_52 | 34 | 0.018894 | 0.0047352 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5642-4_0_4_load_53 | 35 | 0.009549 | 0.0023932 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5642-4_0_4_load_24 | 36 | 0.013366 | 0.0033499 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5642-4_0_4_load_42 | 38 | 0.018022 | 0.0045166 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5642-4_0_4_load_12 | 40 | 0.0004312 | 0.00010807 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5642-4_0_4_load_28 | 41 | 0.00019851 | 4.9752e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5642-4_0_4_load_65 | 42 | 0.0021326 | 0.00053447 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5642-4_0_4_load_41 | 43 | 0.023315 | 0.0058434 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5642-4_0_4_load_40 | 44 | 0.016226 | 0.0040667 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5642-4_0_4_load_35 | 45 | 0.023781 | 0.0059601 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5642-4_0_4_load_51 | 46 | 0.0074475 | 0.0018665 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5642-4_0_4_load_44 | 47 | 0.0059929 | 0.001502 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5642-4_0_4_load_29 | 48 | 0.0011575 | 0.00029009 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5642-4_0_4_load_46 | 49 | 0.02573 | 0.0064485 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5642-4_0_4_load_48 | 51 | 0.016685 | 0.0041817 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5642-4_0_4_load_49 | 52 | 0.0065805 | 0.0016492 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5642-4_0_4_load_56 | 53 | 0.006851 | 0.001717 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5642-4_0_4_load_55 | 54 | 0.0069166 | 0.0017335 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5642-4_0_4_load_57 | 55 | 0.014346 | 0.0035954 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5642-4_0_4_load_58 | 56 | 0.013441 | 0.0033687 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5642-4_0_4_load_59 | 57 | 0.01675 | 0.004198 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5642-4_0_4_load_60 | 58 | 0.018585 | 0.0046579 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5642-4_0_4_load_61 | 59 | 0.0058284 | 0.0014607 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5642-4_0_4_load_62 | 60 | 0.0071569 | 0.0017937 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5642-4_0_4_load_63 | 61 | 0.020397 | 0.0051121 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5642-4_0_4_line_0 |  | 0 | 1 | 0.012008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5642-4_0_4_line_1 |  | 0 | 2 | 0.014906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5642-4_0_4_line_2 |  | 2 | 3 | 0.0087479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5642-4_0_4_line_3 |  | 2 | 4 | 0.10975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5642-4_0_4_line_4 |  | 3 | 5 | 0.0058411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5642-4_0_4_line_5 |  | 4 | 12 | 0.10473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5642-4_0_4_line_6 |  | 4 | 13 | 0.062055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5642-4_0_4_line_7 |  | 6 | 7 | 0.023126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5642-4_0_4_line_8 |  | 6 | 8 | 0.048908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5642-4_0_4_line_9 |  | 8 | 10 | 0.033702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_5642-4_0_4_line_10 |  | 8 | 14 | 0.030515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5642-4_0_4_line_11 |  | 9 | 10 | 0.010563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5642-4_0_4_line_12 |  | 9 | 11 | 0.058667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5642-4_0_4_line_13 |  | 11 | 28 | 0.0072107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5642-4_0_4_line_14 |  | 12 | 23 | 0.0011274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5642-4_0_4_line_15 |  | 12 | 24 | 0.0011305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5642-4_0_4_line_16 |  | 13 | 20 | 0.048124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5642-4_0_4_line_17 |  | 14 | 37 | 0.006987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5642-4_0_4_line_18 |  | 14 | 36 | 0.016827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5642-4_0_4_line_19 |  | 15 | 16 | 0.020706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5642-4_0_4_line_20 |  | 15 | 17 | 0.018543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5642-4_0_4_line_21 |  | 16 | 42 | 0.018038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5642-4_0_4_line_22 |  | 17 | 19 | 0.015958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5642-4_0_4_line_23 |  | 18 | 19 | 0.014687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5642-4_0_4_line_24 |  | 18 | 20 | 0.054571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5642-4_0_4_line_25 |  | 18 | 21 | 0.069165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5642-4_0_4_line_26 |  | 20 | 22 | 0.046274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5642-4_0_4_line_27 |  | 21 | 40 | 0.052478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5642-4_0_4_line_28 |  | 22 | 41 | 0.012385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5642-4_0_4_line_29 |  | 25 | 26 | 0.004961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5642-4_0_4_line_30 |  | 25 | 27 | 0.010993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5642-4_0_4_line_31 |  | 26 | 45 | 0.0063652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5642-4_0_4_line_32 |  | 27 | 46 | 0.00089271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5642-4_0_4_line_33 |  | 28 | 48 | 0.00043753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5642-4_0_4_line_34 |  | 29 | 30 | 0.022752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5642-4_0_4_line_35 |  | 29 | 31 | 0.029731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5642-4_0_4_line_36 |  | 30 | 44 | 1.3666e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5642-4_0_4_line_37 |  | 31 | 45 | 0.0093177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5642-4_0_4_line_38 |  | 32 | 33 | 0.012978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5642-4_0_4_line_39 |  | 33 | 39 | 0.0089465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5642-4_0_4_line_40 |  | 34 | 35 | 0.0085039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5642-4_0_4_line_41 |  | 35 | 37 | 0.0059427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5642-4_0_4_line_42 |  | 37 | 39 | 0.012452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5642-4_0_4_line_43 |  | 38 | 39 | 0.022265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5642-4_0_4_line_44 |  | 39 | 47 | 0.01271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5642-4_0_4_line_45 |  | 41 | 48 | 0.026941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5642-4_0_4_line_46 |  | 43 | 44 | 0.008464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5642-4_0_4_line_47 |  | 46 | 51 | 0.0028774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5642-4_0_4_line_48 |  | 47 | 49 | 0.0049492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5642-4_0_4_line_49 |  | 49 | 50 | 0.0055627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_5642-4_0_4_line_50 |  | 50 | 51 | 0.012693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5642-4_0_4_line_51 |  | 50 | 52 | 0.011257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5642-4_0_4_line_52 |  | 52 | 53 | 0.0056175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5642-4_0_4_line_53 |  | 53 | 54 | 0.0012947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5642-4_0_4_line_54 |  | 54 | 55 | 0.0073972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5642-4_0_4_line_55 |  | 55 | 56 | 0.00064524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5642-4_0_4_line_56 |  | 56 | 57 | 0.011745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5642-4_0_4_line_57 |  | 57 | 58 | 0.00098006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5642-4_0_4_line_58 |  | 58 | 59 | 0.0077666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5642-4_0_4_line_59 |  | 59 | 60 | 0.0049804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5642-4_0_4_line_60 |  | 60 | 61 | 0.0028702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5642-4_0_4_trafo_42 | 0.63 MVA 20/0.4 kV | 62 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2527739.6845 | 1150944.5462 | 2527748.3479 | 1150936.2312
1 | 2527739.3007 | 1150957.3246 | 2527742.2373 | 1150951.286 | 2527743.2386 | 1150949.0171 | 2527739.6845 | 1150944.5462
2 | 2527739.3007 | 1150957.3246 | 2527747.5723 | 1150960.1717
3 | 2527680.3262 | 1150926.8719 | 2527684.4116 | 1150930.2024 | 2527688.1236 | 1150933.7487 | 2527729.5529 | 1150973.373 | 2527733.4075 | 1150985.6002 | 2527733.3614 | 1150976.0176 | 2527739.3007 | 1150957.3246
4 | 2527747.5723 | 1150960.1717 | 2527753.0954 | 1150962.0728
5 | 2527601.7202 | 1150915.3444 | 2527602.5778 | 1150913.2551 | 2527603.2096 | 1150911.5355 | 2527604.343 | 1150911.9443 | 2527608.895 | 1150906.8422 | 2527618.6564 | 1150901.4995 | 2527631.0582 | 1150901.239 | 2527642.1145 | 1150905.2638 | 2527647.7695 | 1150913.9896 | 2527649.841 | 1150921.5578 | 2527661.1639 | 1150912.0162 | 2527680.3262 | 1150926.8719
6 | 2527680.3262 | 1150926.8719 | 2527636.8689 | 1150971.1689
7 | 2527710.6171 | 1151057.1141 | 2527709.4209 | 1151054.0268 | 2527703.3101 | 1151047.5966 | 2527709.2336 | 1151041.6443 | 2527707.3018 | 1151039.9443
8 | 2527710.6171 | 1151057.1141 | 2527713.5323 | 1151064.6277 | 2527726.7404 | 1151079.7442 | 2527731.5348 | 1151085.2341 | 2527733.4852 | 1151087.2006 | 2527740.9695 | 1151094.8706
9 | 2527719.1687 | 1151105.0271 | 2527722.6654 | 1151098.9817 | 2527725.7829 | 1151095.8758 | 2527733.4852 | 1151087.2006 | 2527740.9695 | 1151094.8706
10 | 2527762.9174 | 1151116.1188 | 2527761.7591 | 1151114.9099 | 2527747.3734 | 1151101.4306 | 2527740.9695 | 1151094.8706
11 | 2527711.3247 | 1151112.1253 | 2527719.1687 | 1151105.0271
12 | 2527711.3247 | 1151112.1253 | 2527706.2136 | 1151105.8388 | 2527669.9312 | 1151070.6198
13 | 2527669.9312 | 1151070.6198 | 2527664.7573 | 1151065.5975
14 | 2527601.7202 | 1150915.3444 | 2527600.6089 | 1150915.1549
15 | 2527601.7202 | 1150915.3444 | 2527602.7038 | 1150915.9018
16 | 2527603.167 | 1151005.522 | 2527636.8689 | 1150971.1689
17 | 2527767.4641 | 1151121.4339 | 2527762.9174 | 1151116.1188
18 | 2527762.9174 | 1151116.1188 | 2527763.8605 | 1151114.7512 | 2527774.3744 | 1151103.8219
19 | 2527519.5704 | 1151006.5627 | 2527519.229 | 1151001.1638 | 2527512.0996 | 1150987.6305
20 | 2527519.5704 | 1151006.5627 | 2527520.2429 | 1151017.1383 | 2527526.0341 | 1151017.4131 | 2527527.8443 | 1151018.5697
21 | 2527496.5765 | 1150980.4433 | 2527510.3831 | 1150984.3721 | 2527512.0996 | 1150987.6305
22 | 2527527.8443 | 1151018.5697 | 2527531.8254 | 1151007.5156 | 2527535.9221 | 1151006.5525
23 | 2527550.2192 | 1151003.1916 | 2527535.9221 | 1151006.5525
24 | 2527550.2192 | 1151003.1916 | 2527554.6896 | 1151001.5146 | 2527566.4401 | 1150998.816 | 2527571.6712 | 1150997.8413 | 2527603.167 | 1151005.522
25 | 2527550.2192 | 1151003.1916 | 2527544.2798 | 1150977.8822 | 2527534.4149 | 1150935.8569
26 | 2527603.167 | 1151005.522 | 2527606.7867 | 1151009.0582 | 2527614.4144 | 1151016.5039 | 2527636.2709 | 1151037.8549
27 | 2527534.4149 | 1150935.8569 | 2527522.4221 | 1150884.7671
28 | 2527636.2709 | 1151037.8549 | 2527645.1302 | 1151046.5094
29 | 2527725.1259 | 1151166.3677 | 2527728.1135 | 1151170.334
30 | 2527725.1259 | 1151166.3677 | 2527728.2012 | 1151163.5847 | 2527733.2974 | 1151159.0146
31 | 2527728.1135 | 1151170.334 | 2527732.2642 | 1151175.1598
32 | 2527733.962 | 1151158.4185 | 2527733.2974 | 1151159.0146
33 | 2527664.4433 | 1151065.2928 | 2527664.7573 | 1151065.5975
34 | 2527757.7267 | 1151204.7642 | 2527752.3593 | 1151209.0755 | 2527740.6044 | 1151219.7335
35 | 2527757.7267 | 1151204.7642 | 2527738.34 | 1151182.224
36 | 2527740.5942 | 1151219.7427 | 2527740.6044 | 1151219.7335
37 | 2527738.34 | 1151182.224 | 2527732.2642 | 1151175.1598
38 | 2527769.1772 | 1151140.0123 | 2527778.3842 | 1151149.1595
39 | 2527763.4065 | 1151133.1892 | 2527767.6849 | 1151138.5297 | 2527769.1772 | 1151140.0123
40 | 2527776.2659 | 1151109.9979 | 2527772.2808 | 1151114.7278 | 2527771.0189 | 1151116.3884 | 2527770.8775 | 1151116.574
41 | 2527767.4641 | 1151121.4339 | 2527769.1901 | 1151118.7894 | 2527770.8775 | 1151116.574
42 | 2527767.4641 | 1151121.4339 | 2527765.6733 | 1151127.6366 | 2527763.4065 | 1151133.1892
43 | 2527763.4065 | 1151133.1892 | 2527752.1631 | 1151116.7484 | 2527750.6635 | 1151114.9421
44 | 2527763.4065 | 1151133.1892 | 2527760.5454 | 1151135.914 | 2527753.7314 | 1151141.4179
45 | 2527645.1302 | 1151046.5094 | 2527651.0071 | 1151052.2503 | 2527664.4433 | 1151065.2928
46 | 2527740.5942 | 1151219.7427 | 2527737.7956 | 1151222.2801 | 2527734.1162 | 1151225.1825
47 | 2527733.962 | 1151158.4185 | 2527736.1041 | 1151156.4975
48 | 2527749.8812 | 1151144.5277 | 2527753.7314 | 1151141.4179
49 | 2527745.5538 | 1151148.0231 | 2527749.8812 | 1151144.5277
50 | 2527745.5538 | 1151148.0231 | 2527736.1041 | 1151156.4975
51 | 2527745.5538 | 1151148.0231 | 2527747.5622 | 1151150.3447 | 2527752.9277 | 1151156.5293
52 | 2527752.9277 | 1151156.5293 | 2527756.609 | 1151160.7725
53 | 2527757.4574 | 1151161.7505 | 2527756.609 | 1151160.7725
54 | 2527757.4574 | 1151161.7505 | 2527762.3049 | 1151167.3379
55 | 2527762.3049 | 1151167.3379 | 2527762.7278 | 1151167.8253
56 | 2527762.7278 | 1151167.8253 | 2527770.4247 | 1151176.6973
57 | 2527770.4247 | 1151176.6973 | 2527771.067 | 1151177.4376
58 | 2527771.067 | 1151177.4376 | 2527776.1566 | 1151183.3041
59 | 2527776.1566 | 1151183.3041 | 2527779.4204 | 1151187.0661
60 | 2527781.3012 | 1151189.2341 | 2527779.4204 | 1151187.0661

## bus_geodata
| x | y | coords
0 | 2527739.6845 | 1150944.5462
1 | 2527748.3479 | 1150936.2312
2 | 2527739.3007 | 1150957.3246
3 | 2527747.5723 | 1150960.1717
4 | 2527680.3262 | 1150926.8719
5 | 2527753.0954 | 1150962.0728
6 | 2527710.6171 | 1151057.1141
7 | 2527707.3018 | 1151039.9443
8 | 2527740.9695 | 1151094.8706
9 | 2527711.3247 | 1151112.1253
10 | 2527719.1687 | 1151105.0271
11 | 2527669.9312 | 1151070.6198
12 | 2527601.7202 | 1150915.3444
13 | 2527636.8689 | 1150971.1689
14 | 2527762.9174 | 1151116.1188
15 | 2527519.5704 | 1151006.5627
16 | 2527512.0996 | 1150987.6305
17 | 2527527.8443 | 1151018.5697
18 | 2527550.2192 | 1151003.1916
19 | 2527535.9221 | 1151006.5525
20 | 2527603.167 | 1151005.522
21 | 2527534.4149 | 1150935.8569
22 | 2527636.2709 | 1151037.8549
23 | 2527600.6089 | 1150915.1549
24 | 2527602.7038 | 1150915.9018
25 | 2527725.1259 | 1151166.3677
26 | 2527728.1135 | 1151170.334
27 | 2527733.2974 | 1151159.0146
28 | 2527664.7573 | 1151065.5975
29 | 2527757.7267 | 1151204.7642
30 | 2527740.6044 | 1151219.7335
31 | 2527738.34 | 1151182.224
32 | 2527778.3842 | 1151149.1595
33 | 2527769.1772 | 1151140.0123
34 | 2527776.2659 | 1151109.9979
35 | 2527770.8775 | 1151116.574
36 | 2527774.3744 | 1151103.8219
37 | 2527767.4641 | 1151121.4339
38 | 2527750.6635 | 1151114.9421
39 | 2527763.4065 | 1151133.1892
40 | 2527522.4221 | 1150884.7671
41 | 2527645.1302 | 1151046.5094
42 | 2527496.5765 | 1150980.4433
43 | 2527734.1162 | 1151225.1825
44 | 2527740.5942 | 1151219.7427
45 | 2527732.2642 | 1151175.1598
46 | 2527733.962 | 1151158.4185
47 | 2527753.7314 | 1151141.4179
48 | 2527664.4433 | 1151065.2928
49 | 2527749.8812 | 1151144.5277
50 | 2527745.5538 | 1151148.0231
51 | 2527736.1041 | 1151156.4975
52 | 2527752.9277 | 1151156.5293
53 | 2527756.609 | 1151160.7725
54 | 2527757.4574 | 1151161.7505
55 | 2527762.3049 | 1151167.3379
56 | 2527762.7278 | 1151167.8253
57 | 2527770.4247 | 1151176.6973
58 | 2527771.067 | 1151177.4376
59 | 2527776.1566 | 1151183.3041
60 | 2527779.4204 | 1151187.0661
61 | 2527781.3012 | 1151189.2341
62 | 2527763.4065 | 1151133.1892

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1