## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5643-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5643-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5643-10_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5643-10_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5643-10_0_3_node_122 | 0.4 | n |  | TRUE
5 | bus_LV_5643-10_0_3_node_109 | 0.4 | n |  | TRUE
6 | bus_LV_5643-10_0_3_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_5643-10_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5643-10_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5643-10_0_3_node_129 | 0.4 | n |  | TRUE
10 | bus_LV_5643-10_0_3_node_132 | 0.4 | n |  | TRUE
11 | bus_LV_5643-10_0_3_node_133 | 0.4 | n |  | TRUE
12 | bus_LV_5643-10_0_3_node_108 | 0.4 | n |  | TRUE
13 | bus_LV_5643-10_0_3_node_130 | 0.4 | n |  | TRUE
14 | bus_LV_5643-10_0_3_node_134 | 0.4 | n |  | TRUE
15 | bus_LV_5643-10_0_3_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_5643-10_0_3_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_5643-10_0_3_node_135 | 0.4 | n |  | TRUE
18 | bus_LV_5643-10_0_3_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_5643-10_0_3_node_136 | 0.4 | n |  | TRUE
20 | bus_LV_5643-10_0_3_node_137 | 0.4 | n |  | TRUE
21 | bus_LV_5643-10_0_3_node_138 | 0.4 | n |  | TRUE
22 | bus_LV_5643-10_0_3_node_147 | 0.4 | n |  | TRUE
23 | bus_LV_5643-10_0_3_node_145 | 0.4 | n |  | TRUE
24 | bus_LV_5643-10_0_3_node_146 | 0.4 | n |  | TRUE
25 | bus_LV_5643-10_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5643-10_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5643-10_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5643-10_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5643-10_0_3_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_5643-10_0_3_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_5643-10_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_5643-10_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_5643-10_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5643-10_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_5643-10_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_5643-10_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5643-10_0_3_node_149 | 0.4 | n |  | TRUE
38 | bus_LV_5643-10_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_5643-10_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5643-10_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5643-10_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5643-10_0_3_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_5643-10_0_3_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_5643-10_0_3_node_124 | 0.4 | n |  | TRUE
45 | bus_LV_5643-10_0_3_node_125 | 0.4 | n |  | TRUE
46 | bus_LV_5643-10_0_3_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_5643-10_0_3_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_5643-10_0_3_node_150 | 0.4 | n |  | TRUE
49 | bus_LV_5643-10_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5643-10_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_5643-10_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_5643-10_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_5643-10_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_5643-10_0_3_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_5643-10_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5643-10_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_5643-10_0_3_node_123 | 0.4 | n |  | TRUE
58 | bus_LV_5643-10_0_3_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_5643-10_0_3_node_104 | 0.4 | n |  | TRUE
60 | bus_LV_5643-10_0_3_node_105 | 0.4 | n |  | TRUE
61 | bus_LV_5643-10_0_3_node_106 | 0.4 | n |  | TRUE
62 | bus_LV_5643-10_0_3_node_107 | 0.4 | n |  | TRUE
63 | bus_LV_5643-10_0_3_node_121 | 0.4 | n |  | TRUE
64 | bus_LV_5643-10_0_3_node_126 | 0.4 | n |  | TRUE
65 | bus_LV_5643-10_0_3_node_127 | 0.4 | n |  | TRUE
66 | bus_MV_451_1_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5643-10_0_3_load_0 | 0 | 0.010364 | 0.0025974 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5643-10_0_3_load_122 | 4 | 0.013803 | 0.0034593 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5643-10_0_3_load_5 | 7 | 0.002463 | 0.00061729 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5643-10_0_3_load_132 | 10 | 0.0040308 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5643-10_0_3_load_133 | 11 | 0.0020729 | 0.00051951 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5643-10_0_3_load_108 | 12 | 0.01121 | 0.0028096 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5643-10_0_3_load_130 | 13 | 0.0013396 | 0.00033574 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5643-10_0_3_load_134 | 14 | 0.0022396 | 0.00056129 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5643-10_0_3_load_48 | 15 | 0.0024558 | 0.00061547 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5643-10_0_3_load_135 | 17 | 0.0019904 | 0.00049884 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5643-10_0_3_load_137 | 20 | 0.0058456 | 0.0014651 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5643-10_0_3_load_147 | 22 | 0.0038408 | 0.00096258 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5643-10_0_3_load_146 | 24 | 0.0026444 | 0.00066274 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5643-10_0_3_load_18 | 25 | 0.016586 | 0.0041568 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5643-10_0_3_load_42 | 30 | 0.017272 | 0.0043288 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5643-10_0_3_load_25 | 33 | 0.0053736 | 0.0013468 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5643-10_0_3_load_149 | 37 | 0.019326 | 0.0048437 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5643-10_0_3_load_36 | 38 | 0.0054706 | 0.0013711 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5643-10_0_3_load_55 | 43 | 0.0055474 | 0.0013903 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5643-10_0_3_load_124 | 44 | 0.0034393 | 0.00086196 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5643-10_0_3_load_65 | 46 | 0.0063089 | 0.0015812 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5643-10_0_3_load_64 | 47 | 0.0039678 | 0.00099442 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5643-10_0_3_load_150 | 48 | 0.021439 | 0.0053732 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5643-10_0_3_load_35 | 49 | 0.0081883 | 0.0020522 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5643-10_0_3_load_37 | 50 | 0.0074873 | 0.0018765 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5643-10_0_3_load_39 | 51 | 0.0057437 | 0.0014395 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5643-10_0_3_load_45 | 52 | 0.0086178 | 0.0021598 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5643-10_0_3_load_53 | 55 | 0.018035 | 0.0045199 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5643-10_0_3_load_57 | 56 | 0.01406 | 0.0035238 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5643-10_0_3_load_123 | 57 | 0.0018416 | 0.00046155 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5643-10_0_3_load_104 | 59 | 0.0010995 | 0.00027556 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5643-10_0_3_load_105 | 60 | 0.0051931 | 0.0013015 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5643-10_0_3_load_107 | 62 | 0.0045781 | 0.0011474 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5643-10_0_3_load_121 | 63 | 0.01989 | 0.004985 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5643-10_0_3_load_126 | 64 | 0.0039151 | 0.00098123 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5643-10_0_3_load_127 | 65 | 0.0089454 | 0.0022419 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5643-10_0_3_line_0 |  | 0 | 1 | 0.031135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5643-10_0_3_line_1 |  | 1 | 2 | 0.028301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5643-10_0_3_line_2 |  | 1 | 3 | 0.098764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5643-10_0_3_line_3 |  | 2 | 4 | 0.013806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5643-10_0_3_line_4 |  | 3 | 5 | 0.040608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5643-10_0_3_line_5 |  | 3 | 6 | 0.080146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5643-10_0_3_line_6 |  | 4 | 60 | 0.090997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5643-10_0_3_line_7 |  | 5 | 63 | 0.020882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5643-10_0_3_line_8 |  | 6 | 53 | 0.023491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5643-10_0_3_line_9 |  | 6 | 51 | 0.035606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5643-10_0_3_line_10 |  | 7 | 8 | 0.018502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5643-10_0_3_line_11 |  | 8 | 12 | 0.16421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5643-10_0_3_line_12 |  | 9 | 10 | 0.035436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5643-10_0_3_line_13 |  | 9 | 11 | 0.011078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5643-10_0_3_line_14 |  | 10 | 15 | 0.024807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5643-10_0_3_line_15 |  | 12 | 62 | 0.0093948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5643-10_0_3_line_16 |  | 13 | 14 | 0.019703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5643-10_0_3_line_17 |  | 13 | 15 | 0.033699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5643-10_0_3_line_18 |  | 14 | 16 | 0.02153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5643-10_0_3_line_19 |  | 16 | 58 | 0.020133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5643-10_0_3_line_20 |  | 17 | 18 | 0.017996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5643-10_0_3_line_21 |  | 18 | 19 | 0.004564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5643-10_0_3_line_22 |  | 18 | 58 | 0.048299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5643-10_0_3_line_23 |  | 19 | 20 | 0.047432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5643-10_0_3_line_24 |  | 19 | 21 | 0.022921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5643-10_0_3_line_25 |  | 21 | 22 | 0.014391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5643-10_0_3_line_26 |  | 21 | 23 | 0.054188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5643-10_0_3_line_27 |  | 23 | 24 | 0.03384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5643-10_0_3_line_28 |  | 25 | 26 | 0.022398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5643-10_0_3_line_29 |  | 26 | 27 | 0.007985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5643-10_0_3_line_30 |  | 26 | 28 | 0.05997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5643-10_0_3_line_31 |  | 27 | 29 | 0.004667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5643-10_0_3_line_32 |  | 27 | 30 | 0.021568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5643-10_0_3_line_33 |  | 28 | 31 | 0.036738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5643-10_0_3_line_34 |  | 28 | 32 | 0.052076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5643-10_0_3_line_35 |  | 28 | 33 | 0.062218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5643-10_0_3_line_36 |  | 29 | 55 | 0.029571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5643-10_0_3_line_37 |  | 30 | 34 | 0.018377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5643-10_0_3_line_38 |  | 31 | 42 | 0.034562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5643-10_0_3_line_39 |  | 31 | 43 | 0.0079291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5643-10_0_3_line_40 |  | 32 | 38 | 0.019961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5643-10_0_3_line_41 |  | 33 | 39 | 0.024029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5643-10_0_3_line_42 |  | 34 | 35 | 0.017945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5643-10_0_3_line_43 |  | 35 | 36 | 0.025857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5643-10_0_3_line_44 |  | 35 | 48 | 0.013701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5643-10_0_3_line_45 |  | 36 | 37 | 0.004788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5643-10_0_3_line_46 |  | 38 | 49 | 0.00026785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5643-10_0_3_line_47 |  | 39 | 40 | 0.009119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5643-10_0_3_line_48 |  | 39 | 41 | 0.015063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5643-10_0_3_line_49 |  | 40 | 44 | 0.0114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5643-10_0_3_line_50 |  | 40 | 45 | 0.025686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5643-10_0_3_line_51 |  | 41 | 46 | 0.012415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5643-10_0_3_line_52 |  | 41 | 47 | 0.02612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5643-10_0_3_line_53 |  | 42 | 57 | 0.020139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5643-10_0_3_line_54 |  | 42 | 58 | 0.033969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5643-10_0_3_line_55 |  | 45 | 64 | 0.014847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5643-10_0_3_line_56 |  | 45 | 65 | 0.01711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5643-10_0_3_line_57 |  | 49 | 50 | 0.025444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5643-10_0_3_line_58 |  | 51 | 52 | 0.037702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5643-10_0_3_line_59 |  | 53 | 54 | 0.009543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5643-10_0_3_line_60 |  | 53 | 55 | 0.01691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5643-10_0_3_line_61 |  | 54 | 56 | 0.01174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5643-10_0_3_line_62 |  | 59 | 60 | 0.015241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5643-10_0_3_line_63 |  | 59 | 61 | 0.041401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5643-10_0_3_line_64 |  | 61 | 62 | 0.085155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5643-10_0_3_trafo_53 | 0.63 MVA 20/0.4 kV | 66 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2530410.7477 | 1152222.3038 | 2530406.4346 | 1152223.6322 | 2530403.6376 | 1152224.654 | 2530402.9343 | 1152224.8956 | 2530402.4072 | 1152223.7789 | 2530401.4369 | 1152222.834 | 2530399.2591 | 1152221.6586 | 2530397.6357 | 1152221.3105 | 2530395.1485 | 1152221.9174 | 2530382.1893 | 1152226.0963
1 | 2530410.7477 | 1152222.3038 | 2530421.0834 | 1152248.6544
2 | 2530372.8467 | 1152131.203 | 2530377.8015 | 1152144.1862 | 2530381.8473 | 1152150.9208 | 2530410.7477 | 1152222.3038
3 | 2530411.5729 | 1152257.7806 | 2530413.1893 | 1152257.5284 | 2530416.2558 | 1152255.9143 | 2530419.6398 | 1152250.5721 | 2530421.0834 | 1152248.6544
4 | 2530372.8467 | 1152131.203 | 2530377.8015 | 1152144.1862 | 2530352.569 | 1152152.9499
5 | 2530330.2862 | 1152063.2915 | 2530372.8467 | 1152131.203
6 | 2530411.5729 | 1152257.7806 | 2530477.6265 | 1152320.3695
7 | 2530352.569 | 1152152.9499 | 2530360.0092 | 1152172.4634
8 | 2530350.4216 | 1152051.0959 | 2530330.2862 | 1152063.2915
9 | 2530330.2862 | 1152063.2915 | 2530309.6029 | 1152076.5496 | 2530299.3195 | 1152080.5625
10 | 2530483.6259 | 1152043.8617 | 2530501.1662 | 1152037.9758
11 | 2530483.6259 | 1152043.8617 | 2530503.8926 | 1152206.8185
12 | 2530273.0585 | 1151777.7627 | 2530274.9629 | 1151784.4555 | 2530283.8821 | 1151803.7072 | 2530279.5985 | 1151809.5824
13 | 2530273.0585 | 1151777.7627 | 2530262.749 | 1151773.6355
14 | 2530279.5985 | 1151809.5824 | 2530304.3923 | 1151810.3823
15 | 2530508.6054 | 1152214.9458 | 2530504.1419 | 1152207.2487 | 2530503.8926 | 1152206.8185
16 | 2530327.0528 | 1151849.2433 | 2530331.7199 | 1151830.1008
17 | 2530331.7199 | 1151830.1008 | 2530304.3923 | 1151810.3823
18 | 2530348.0713 | 1151844.3082 | 2530327.0528 | 1151849.2433
19 | 2530348.0713 | 1151844.3082 | 2530355.3917 | 1151860.7326 | 2530356.2053 | 1151862.7242
20 | 2530311.0317 | 1151873.4535 | 2530317.5733 | 1151885.5845 | 2530320.7978 | 1151888.3153
21 | 2530306.6332 | 1151874.7163 | 2530311.0317 | 1151873.4535
22 | 2530311.0317 | 1151873.4535 | 2530355.3917 | 1151860.7326 | 2530356.2053 | 1151862.7242
23 | 2530306.6332 | 1151874.7163 | 2530320.637 | 1151905.5601 | 2530308.3478 | 1151911.3835
24 | 2530306.6332 | 1151874.7163 | 2530284.5413 | 1151881.0537
25 | 2530284.5413 | 1151881.0537 | 2530279.2362 | 1151867.6744
26 | 2530233.8977 | 1151900.5518 | 2530273.2889 | 1151884.2859 | 2530284.5413 | 1151881.0537
27 | 2530233.8977 | 1151900.5518 | 2530239.2938 | 1151910.517 | 2530243.4296 | 1151917.7064 | 2530249.4549 | 1151919.7265 | 2530256.8203 | 1151916.8617
28 | 2530391.3865 | 1152023.6619 | 2530369.8358 | 1152029.7631
29 | 2530391.3865 | 1152023.6619 | 2530393.2646 | 1152031.4223
30 | 2530380.565 | 1151964.6877 | 2530382.3614 | 1151974.6725 | 2530387.9074 | 1152006.2258 | 2530389.8876 | 1152017.4981 | 2530391.3865 | 1152023.6619
31 | 2530394.3686 | 1152035.9564 | 2530393.2646 | 1152031.4223
32 | 2530393.2646 | 1152031.4223 | 2530413.8734 | 1152025.0609
33 | 2530380.565 | 1151964.6877 | 2530374.4353 | 1151928.4719
34 | 2530380.565 | 1151964.6877 | 2530382.3614 | 1151974.6725 | 2530411.8541 | 1151964.57 | 2530422.0291 | 1151961.0836
35 | 2530380.565 | 1151964.6877 | 2530339.4347 | 1151982.5184 | 2530322.5972 | 1151986.863
36 | 2530394.3686 | 1152035.9564 | 2530366.4097 | 1152045.5881
37 | 2530431.4332 | 1152019.6407 | 2530413.8734 | 1152025.0609
38 | 2530368.0172 | 1151894.5274 | 2530370.9089 | 1151907.6234 | 2530374.4353 | 1151928.4719
39 | 2530374.4353 | 1151928.4719 | 2530366.6959 | 1151930.1958
40 | 2530422.0291 | 1151961.0836 | 2530415.8153 | 1151942.1139
41 | 2530299.3307 | 1151992.8666 | 2530322.5972 | 1151986.863
42 | 2530431.4332 | 1152019.6407 | 2530448.3387 | 1152013.4862
43 | 2530448.3387 | 1152013.4862 | 2530440.5168 | 1151988.8407
44 | 2530452.8324 | 1152026.4303 | 2530448.3387 | 1152013.4862
45 | 2530440.5168 | 1151988.8407 | 2530439.3119 | 1151984.2076
46 | 2530415.7319 | 1151941.8594 | 2530415.8153 | 1151942.1139
47 | 2530299.3307 | 1151992.8666 | 2530296.8956 | 1151984.0788
48 | 2530303.2768 | 1152006.8731 | 2530301.252 | 1152004.3396 | 2530299.9058 | 1152001.4314 | 2530299.2231 | 1151996.8256 | 2530299.3307 | 1151992.8666
49 | 2530296.8956 | 1151984.0788 | 2530285.8792 | 1151987.1305
50 | 2530296.8956 | 1151984.0788 | 2530290.7761 | 1151962.0153 | 2530289.3667 | 1151959.6081
51 | 2530303.2768 | 1152006.8731 | 2530304.7284 | 1152008.2904 | 2530308.3768 | 1152009.8601 | 2530312.8325 | 1152011.5539 | 2530314.4567 | 1152011.9686
52 | 2530303.2768 | 1152006.8731 | 2530301.4088 | 1152014.5546 | 2530302.8003 | 1152020.0526 | 2530290.6043 | 1152022.9816
53 | 2530368.0172 | 1151894.5274 | 2530380.0101 | 1151891.6091 | 2530386.952 | 1151887.9489
54 | 2530368.0172 | 1151894.5274 | 2530366.5858 | 1151889.5523 | 2530365.1621 | 1151884.5882 | 2530357.2006 | 1151865.1585 | 2530356.2053 | 1151862.7242
55 | 2530289.3667 | 1151959.6081 | 2530275.0145 | 1151963.5656
56 | 2530289.3667 | 1151959.6081 | 2530288.5001 | 1151955.6937 | 2530293.9912 | 1151948.7262 | 2530296.67 | 1151945.4378
57 | 2530407.8115 | 1151917.6796 | 2530415.7319 | 1151941.8594
58 | 2530299.3195 | 1152080.5625 | 2530263.1854 | 1152091.3226
59 | 2530350.4216 | 1152051.0959 | 2530345.9645 | 1152042.654
60 | 2530350.4216 | 1152051.0959 | 2530366.4097 | 1152045.5881
61 | 2530345.9645 | 1152042.654 | 2530335.299 | 1152047.5611
62 | 2530490.802 | 1152313.2188 | 2530480.5351 | 1152317.405 | 2530477.6265 | 1152320.3695
63 | 2530529.1385 | 1152297.5878 | 2530490.802 | 1152313.2188
64 | 2530529.1385 | 1152297.5878 | 2530508.6054 | 1152214.9458 | 2530508.6054 | 1152214.9458

## bus_geodata
| x | y | coords
0 | 2530382.1893 | 1152226.0963
1 | 2530410.7477 | 1152222.3038
2 | 2530421.0834 | 1152248.6544
3 | 2530372.8467 | 1152131.203
4 | 2530411.5729 | 1152257.7806
5 | 2530352.569 | 1152152.9499
6 | 2530330.2862 | 1152063.2915
7 | 2530501.1662 | 1152037.9758
8 | 2530483.6259 | 1152043.8617
9 | 2530273.0585 | 1151777.7627
10 | 2530279.5985 | 1151809.5824
11 | 2530262.749 | 1151773.6355
12 | 2530503.8926 | 1152206.8185
13 | 2530331.7199 | 1151830.1008
14 | 2530327.0528 | 1151849.2433
15 | 2530304.3923 | 1151810.3823
16 | 2530348.0713 | 1151844.3082
17 | 2530320.7978 | 1151888.3153
18 | 2530311.0317 | 1151873.4535
19 | 2530306.6332 | 1151874.7163
20 | 2530308.3478 | 1151911.3835
21 | 2530284.5413 | 1151881.0537
22 | 2530279.2362 | 1151867.6744
23 | 2530233.8977 | 1151900.5518
24 | 2530256.8203 | 1151916.8617
25 | 2530369.8358 | 1152029.7631
26 | 2530391.3865 | 1152023.6619
27 | 2530393.2646 | 1152031.4223
28 | 2530380.565 | 1151964.6877
29 | 2530394.3686 | 1152035.9564
30 | 2530413.8734 | 1152025.0609
31 | 2530374.4353 | 1151928.4719
32 | 2530422.0291 | 1151961.0836
33 | 2530322.5972 | 1151986.863
34 | 2530431.4332 | 1152019.6407
35 | 2530448.3387 | 1152013.4862
36 | 2530440.5168 | 1151988.8407
37 | 2530439.3119 | 1151984.2076
38 | 2530415.8153 | 1151942.1139
39 | 2530299.3307 | 1151992.8666
40 | 2530296.8956 | 1151984.0788
41 | 2530303.2768 | 1152006.8731
42 | 2530368.0172 | 1151894.5274
43 | 2530366.6959 | 1151930.1958
44 | 2530285.8792 | 1151987.1305
45 | 2530289.3667 | 1151959.6081
46 | 2530314.4567 | 1152011.9686
47 | 2530290.6043 | 1152022.9816
48 | 2530452.8324 | 1152026.4303
49 | 2530415.7319 | 1151941.8594
50 | 2530407.8115 | 1151917.6796
51 | 2530299.3195 | 1152080.5625
52 | 2530263.1854 | 1152091.3226
53 | 2530350.4216 | 1152051.0959
54 | 2530345.9645 | 1152042.654
55 | 2530366.4097 | 1152045.5881
56 | 2530335.299 | 1152047.5611
57 | 2530386.952 | 1151887.9489
58 | 2530356.2053 | 1151862.7242
59 | 2530490.802 | 1152313.2188
60 | 2530477.6265 | 1152320.3695
61 | 2530529.1385 | 1152297.5878
62 | 2530508.6054 | 1152214.9458
63 | 2530360.0092 | 1152172.4635
64 | 2530275.0145 | 1151963.5656
65 | 2530296.67 | 1151945.4378
66 | 2530350.4216 | 1152051.0959

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1