## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5643-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5643-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5643-1_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5643-1_0_5_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_5643-1_0_5_node_54 | 0.4 | n |  | TRUE
5 | bus_LV_5643-1_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5643-1_0_5_node_145 | 0.4 | n |  | TRUE
7 | bus_LV_5643-1_0_5_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_5643-1_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5643-1_0_5_node_157 | 0.4 | n |  | TRUE
10 | bus_LV_5643-1_0_5_node_137 | 0.4 | n |  | TRUE
11 | bus_LV_5643-1_0_5_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_5643-1_0_5_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_5643-1_0_5_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_5643-1_0_5_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_5643-1_0_5_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_5643-1_0_5_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_5643-1_0_5_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_5643-1_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5643-1_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5643-1_0_5_node_138 | 0.4 | n |  | TRUE
21 | bus_LV_5643-1_0_5_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_5643-1_0_5_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_5643-1_0_5_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_5643-1_0_5_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_5643-1_0_5_node_99 | 0.4 | n |  | TRUE
26 | bus_LV_5643-1_0_5_node_132 | 0.4 | n |  | TRUE
27 | bus_LV_5643-1_0_5_node_131 | 0.4 | n |  | TRUE
28 | bus_LV_5643-1_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5643-1_0_5_node_158 | 0.4 | n |  | TRUE
30 | bus_LV_5643-1_0_5_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_5643-1_0_5_node_8 | 0.4 | n |  | TRUE
32 | bus_LV_5643-1_0_5_node_9 | 0.4 | n |  | TRUE
33 | bus_LV_5643-1_0_5_node_11 | 0.4 | n |  | TRUE
34 | bus_LV_5643-1_0_5_node_13 | 0.4 | n |  | TRUE
35 | bus_LV_5643-1_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5643-1_0_5_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_5643-1_0_5_node_12 | 0.4 | n |  | TRUE
38 | bus_LV_5643-1_0_5_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_5643-1_0_5_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_5643-1_0_5_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_5643-1_0_5_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_5643-1_0_5_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_5643-1_0_5_node_18 | 0.4 | n |  | TRUE
44 | bus_LV_5643-1_0_5_node_98 | 0.4 | n |  | TRUE
45 | bus_LV_5643-1_0_5_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_5643-1_0_5_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_5643-1_0_5_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_5643-1_0_5_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_5643-1_0_5_node_92 | 0.4 | n |  | TRUE
50 | bus_LV_5643-1_0_5_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_5643-1_0_5_node_162 | 0.4 | n |  | TRUE
52 | bus_LV_5643-1_0_5_node_163 | 0.4 | n |  | TRUE
53 | bus_LV_5643-1_0_5_node_105 | 0.4 | n |  | TRUE
54 | bus_LV_5643-1_0_5_node_144 | 0.4 | n |  | TRUE
55 | bus_LV_5643-1_0_5_node_130 | 0.4 | n |  | TRUE
56 | bus_LV_5643-1_0_5_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_5643-1_0_5_node_28 | 0.4 | n |  | TRUE
58 | bus_LV_5643-1_0_5_node_29 | 0.4 | n |  | TRUE
59 | bus_LV_5643-1_0_5_node_30 | 0.4 | n |  | TRUE
60 | bus_LV_5643-1_0_5_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_5643-1_0_5_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_5643-1_0_5_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_5643-1_0_5_node_101 | 0.4 | n |  | TRUE
64 | bus_LV_5643-1_0_5_node_164 | 0.4 | n |  | TRUE
65 | bus_LV_5643-1_0_5_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_5643-1_0_5_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_5643-1_0_5_node_102 | 0.4 | n |  | TRUE
68 | bus_LV_5643-1_0_5_node_103 | 0.4 | n |  | TRUE
69 | bus_LV_5643-1_0_5_node_34 | 0.4 | n |  | TRUE
70 | bus_LV_5643-1_0_5_node_36 | 0.4 | n |  | TRUE
71 | bus_LV_5643-1_0_5_node_33 | 0.4 | n |  | TRUE
72 | bus_LV_5643-1_0_5_node_155 | 0.4 | n |  | TRUE
73 | bus_LV_5643-1_0_5_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_5643-1_0_5_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_5643-1_0_5_node_35 | 0.4 | n |  | TRUE
76 | bus_LV_5643-1_0_5_node_41 | 0.4 | n |  | TRUE
77 | bus_LV_5643-1_0_5_node_37 | 0.4 | n |  | TRUE
78 | bus_LV_5643-1_0_5_node_156 | 0.4 | n |  | TRUE
79 | bus_LV_5643-1_0_5_node_136 | 0.4 | n |  | TRUE
80 | bus_LV_5643-1_0_5_node_174 | 0.4 | n |  | TRUE
81 | bus_LV_5643-1_0_5_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_5643-1_0_5_node_96 | 0.4 | n |  | TRUE
83 | bus_LV_5643-1_0_5_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_5643-1_0_5_node_171 | 0.4 | n |  | TRUE
85 | bus_LV_5643-1_0_5_node_106 | 0.4 | n |  | TRUE
86 | bus_LV_5643-1_0_5_node_175 | 0.4 | n |  | TRUE
87 | bus_LV_5643-1_0_5_node_128 | 0.4 | n |  | TRUE
88 | bus_LV_5643-1_0_5_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_5643-1_0_5_node_64 | 0.4 | n |  | TRUE
90 | bus_LV_5643-1_0_5_node_176 | 0.4 | n |  | TRUE
91 | bus_LV_5643-1_0_5_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_5643-1_0_5_node_58 | 0.4 | n |  | TRUE
93 | bus_LV_5643-1_0_5_node_59 | 0.4 | n |  | TRUE
94 | bus_LV_5643-1_0_5_node_60 | 0.4 | n |  | TRUE
95 | bus_LV_5643-1_0_5_node_62 | 0.4 | n |  | TRUE
96 | bus_LV_5643-1_0_5_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_5643-1_0_5_node_84 | 0.4 | n |  | TRUE
98 | bus_LV_5643-1_0_5_node_66 | 0.4 | n |  | TRUE
99 | bus_LV_5643-1_0_5_node_68 | 0.4 | n |  | TRUE
100 | bus_LV_5643-1_0_5_node_76 | 0.4 | n |  | TRUE
101 | bus_LV_5643-1_0_5_node_73 | 0.4 | n |  | TRUE
102 | bus_LV_5643-1_0_5_node_77 | 0.4 | n |  | TRUE
103 | bus_LV_5643-1_0_5_node_75 | 0.4 | n |  | TRUE
104 | bus_LV_5643-1_0_5_node_74 | 0.4 | n |  | TRUE
105 | bus_LV_5643-1_0_5_node_69 | 0.4 | n |  | TRUE
106 | bus_LV_5643-1_0_5_node_71 | 0.4 | n |  | TRUE
107 | bus_LV_5643-1_0_5_node_141 | 0.4 | n |  | TRUE
108 | bus_LV_5643-1_0_5_node_139 | 0.4 | n |  | TRUE
109 | bus_LV_5643-1_0_5_node_140 | 0.4 | n |  | TRUE
110 | bus_LV_5643-1_0_5_node_142 | 0.4 | n |  | TRUE
111 | bus_LV_5643-1_0_5_node_143 | 0.4 | n |  | TRUE
112 | bus_LV_5643-1_0_5_node_159 | 0.4 | n |  | TRUE
113 | bus_LV_5643-1_0_5_node_170 | 0.4 | n |  | TRUE
114 | bus_LV_5643-1_0_5_node_160 | 0.4 | n |  | TRUE
115 | bus_LV_5643-1_0_5_node_112 | 0.4 | n |  | TRUE
116 | bus_LV_5643-1_0_5_node_135 | 0.4 | n |  | TRUE
117 | bus_LV_5643-1_0_5_node_146 | 0.4 | n |  | TRUE
118 | bus_LV_5643-1_0_5_node_147 | 0.4 | n |  | TRUE
119 | bus_LV_5643-1_0_5_node_109 | 0.4 | n |  | TRUE
120 | bus_LV_5643-1_0_5_node_108 | 0.4 | n |  | TRUE
121 | bus_LV_5643-1_0_5_node_78 | 0.4 | n |  | TRUE
122 | bus_LV_5643-1_0_5_node_79 | 0.4 | n |  | TRUE
123 | bus_LV_5643-1_0_5_node_80 | 0.4 | n |  | TRUE
124 | bus_LV_5643-1_0_5_node_85 | 0.4 | n |  | TRUE
125 | bus_LV_5643-1_0_5_node_177 | 0.4 | n |  | TRUE
126 | bus_LV_5643-1_0_5_node_110 | 0.4 | n |  | TRUE
127 | bus_LV_5643-1_0_5_node_86 | 0.4 | n |  | TRUE
128 | bus_LV_5643-1_0_5_node_87 | 0.4 | n |  | TRUE
129 | bus_LV_5643-1_0_5_node_88 | 0.4 | n |  | TRUE
130 | bus_LV_5643-1_0_5_node_89 | 0.4 | n |  | TRUE
131 | bus_LV_5643-1_0_5_node_90 | 0.4 | n |  | TRUE
132 | bus_LV_5643-1_0_5_node_91 | 0.4 | n |  | TRUE
133 | bus_LV_5643-1_0_5_node_153 | 0.4 | n |  | TRUE
134 | bus_LV_5643-1_0_5_node_154 | 0.4 | n |  | TRUE
135 | bus_LV_5643-1_0_5_node_150 | 0.4 | n |  | TRUE
136 | bus_LV_5643-1_0_5_node_151 | 0.4 | n |  | TRUE
137 | bus_LV_5643-1_0_5_node_152 | 0.4 | n |  | TRUE
138 | bus_LV_5643-1_0_5_node_169 | 0.4 | n |  | TRUE
139 | bus_LV_5643-1_0_5_node_148 | 0.4 | n |  | TRUE
140 | bus_LV_5643-1_0_5_node_104 | 0.4 | n |  | TRUE
141 | bus_LV_5643-1_0_5_node_94 | 0.4 | n |  | TRUE
142 | bus_LV_5643-1_0_5_node_100 | 0.4 | n |  | TRUE
143 | bus_LV_5643-1_0_5_node_120 | 0.4 | n |  | TRUE
144 | bus_LV_5643-1_0_5_node_97 | 0.4 | n |  | TRUE
145 | bus_LV_5643-1_0_5_node_114 | 0.4 | n |  | TRUE
146 | bus_LV_5643-1_0_5_node_113 | 0.4 | n |  | TRUE
147 | bus_LV_5643-1_0_5_node_119 | 0.4 | n |  | TRUE
148 | bus_LV_5643-1_0_5_node_107 | 0.4 | n |  | TRUE
149 | bus_LV_5643-1_0_5_node_126 | 0.4 | n |  | TRUE
150 | bus_LV_5643-1_0_5_node_123 | 0.4 | n |  | TRUE
151 | bus_LV_5643-1_0_5_node_111 | 0.4 | n |  | TRUE
152 | bus_LV_5643-1_0_5_node_161 | 0.4 | n |  | TRUE
153 | bus_LV_5643-1_0_5_node_172 | 0.4 | n |  | TRUE
154 | bus_LV_5643-1_0_5_node_173 | 0.4 | n |  | TRUE
155 | bus_LV_5643-1_0_5_node_166 | 0.4 | n |  | TRUE
156 | bus_LV_5643-1_0_5_node_149 | 0.4 | n |  | TRUE
157 | bus_LV_5643-1_0_5_node_167 | 0.4 | n |  | TRUE
158 | bus_LV_5643-1_0_5_node_168 | 0.4 | n |  | TRUE
159 | bus_LV_5643-1_0_5_node_115 | 0.4 | n |  | TRUE
160 | bus_LV_5643-1_0_5_node_116 | 0.4 | n |  | TRUE
161 | bus_LV_5643-1_0_5_node_117 | 0.4 | n |  | TRUE
162 | bus_LV_5643-1_0_5_node_118 | 0.4 | n |  | TRUE
163 | bus_LV_5643-1_0_5_node_121 | 0.4 | n |  | TRUE
164 | bus_LV_5643-1_0_5_node_122 | 0.4 | n |  | TRUE
165 | bus_LV_5643-1_0_5_node_124 | 0.4 | n |  | TRUE
166 | bus_LV_5643-1_0_5_node_125 | 0.4 | n |  | TRUE
167 | bus_LV_5643-1_0_5_node_134 | 0.4 | n |  | TRUE
168 | bus_LV_5643-1_0_5_node_133 | 0.4 | n |  | TRUE
169 | bus_LV_5643-1_0_5_node_165 | 0.4 | n |  | TRUE
170 | bus_LV_5643-1_0_5_node_127 | 0.4 | n |  | TRUE
171 | bus_MV_451_1_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5643-1_0_5_load_0 | 0 | 0.0039387 | 0.00098713 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5643-1_0_5_load_54 | 4 | 0.001849 | 0.00046339 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5643-1_0_5_load_145 | 6 | 0.0020627 | 0.00051696 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5643-1_0_5_load_157 | 9 | 0.00017477 | 4.3802e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5643-1_0_5_load_21 | 11 | 0.0054621 | 0.0013689 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5643-1_0_5_load_55 | 12 | 0.00095242 | 0.0002387 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5643-1_0_5_load_46 | 14 | 0.0013972 | 0.00035018 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5643-1_0_5_load_45 | 17 | 0.0041307 | 0.0010353 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5643-1_0_5_load_138 | 20 | 0.00082802 | 0.00020752 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5643-1_0_5_load_99 | 25 | 0.0096487 | 0.0024182 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5643-1_0_5_load_131 | 27 | 0.0026134 | 0.00065497 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5643-1_0_5_load_17 | 28 | 0.0056533 | 0.0014169 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5643-1_0_5_load_158 | 29 | 0.0028533 | 0.00071512 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5643-1_0_5_load_8 | 31 | 0.016015 | 0.0040138 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5643-1_0_5_load_20 | 35 | 0.024004 | 0.006016 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5643-1_0_5_load_53 | 36 | 0.0072317 | 0.0018124 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5643-1_0_5_load_42 | 39 | 0.014057 | 0.0035231 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5643-1_0_5_load_25 | 40 | 0.068075 | 0.017061 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5643-1_0_5_load_22 | 41 | 0.021012 | 0.0052662 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5643-1_0_5_load_63 | 42 | 0.0099717 | 0.0024991 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5643-1_0_5_load_95 | 46 | 0.017423 | 0.0043667 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5643-1_0_5_load_43 | 47 | 0.0050135 | 0.0012565 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5643-1_0_5_load_23 | 48 | 0.032047 | 0.0080318 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5643-1_0_5_load_92 | 49 | 0.0040014 | 0.0010028 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5643-1_0_5_load_162 | 51 | 0.0061979 | 0.0015533 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5643-1_0_5_load_105 | 53 | 0.0055648 | 0.0013947 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5643-1_0_5_load_144 | 54 | 0.008561 | 0.0021456 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5643-1_0_5_load_27 | 56 | 0.002508 | 0.00062857 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5643-1_0_5_load_30 | 59 | 0.0010324 | 0.00025875 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5643-1_0_5_load_31 | 60 | 0.0035663 | 0.0008938 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5643-1_0_5_load_82 | 62 | 0.0013994 | 0.00035073 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5643-1_0_5_load_164 | 64 | 0.00052105 | 0.00013059 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5643-1_0_5_load_102 | 67 | 0.0016858 | 0.00042249 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5643-1_0_5_load_36 | 70 | 0.003347 | 0.00083883 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5643-1_0_5_load_33 | 71 | 0.0020672 | 0.00051809 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5643-1_0_5_load_155 | 72 | 0.0021841 | 0.00054739 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5643-1_0_5_load_57 | 73 | 0.0028406 | 0.00071193 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5643-1_0_5_load_56 | 74 | 0.0023465 | 0.0005881 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5643-1_0_5_load_41 | 76 | 0.0021375 | 0.00053571 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5643-1_0_5_load_156 | 78 | 0.0023091 | 0.00057872 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5643-1_0_5_load_136 | 79 | 0.00027919 | 6.9971e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5643-1_0_5_load_174 | 80 | 0.0038506 | 0.00096505 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5643-1_0_5_load_70 | 81 | 0.0072476 | 0.0018164 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5643-1_0_5_load_96 | 82 | 0.015016 | 0.0037634 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5643-1_0_5_load_93 | 83 | 0.0054747 | 0.0013721 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5643-1_0_5_load_171 | 84 | 0.0041244 | 0.0010337 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5643-1_0_5_load_175 | 86 | 0.0054592 | 0.0013682 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5643-1_0_5_load_67 | 88 | 0.0029444 | 0.00073795 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5643-1_0_5_load_64 | 89 | 0.0050767 | 0.0012723 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5643-1_0_5_load_176 | 90 | 0.0019204 | 0.00048131 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5643-1_0_5_load_58 | 92 | 0.00076614 | 0.00019201 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5643-1_0_5_load_59 | 93 | 0.0070613 | 0.0017697 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5643-1_0_5_load_62 | 95 | 0.0011664 | 0.00029233 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5643-1_0_5_load_68 | 99 | 0.0053716 | 0.0013462 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5643-1_0_5_load_73 | 101 | 0.0062841 | 0.0015749 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5643-1_0_5_load_75 | 103 | 0.0022198 | 0.00055633 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5643-1_0_5_load_74 | 104 | 0.0030638 | 0.00076785 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5643-1_0_5_load_69 | 105 | 0.003856 | 0.0009664 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5643-1_0_5_load_71 | 106 | 0.0040943 | 0.0010261 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5643-1_0_5_load_141 | 107 | 0.0030216 | 0.00075727 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5643-1_0_5_load_139 | 108 | 0.0035908 | 0.00089995 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5643-1_0_5_load_159 | 112 | 0.0034179 | 0.00085661 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5643-1_0_5_load_170 | 113 | 0.0026366 | 0.00066079 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5643-1_0_5_load_135 | 116 | 0.0021217 | 0.00053174 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5643-1_0_5_load_146 | 117 | 0.0016512 | 0.00041384 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5643-1_0_5_load_108 | 120 | 0.001397 | 0.00035011 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5643-1_0_5_load_78 | 121 | 0.0055869 | 0.0014002 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5643-1_0_5_load_85 | 124 | 0.0060361 | 0.0015128 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5643-1_0_5_load_177 | 125 | 0.002725 | 0.00068295 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5643-1_0_5_load_110 | 126 | 0.0061262 | 0.0015354 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5643-1_0_5_load_86 | 127 | 0.0036733 | 0.00092061 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5643-1_0_5_load_88 | 129 | 0.0017642 | 0.00044216 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5643-1_0_5_load_154 | 134 | 0.0017473 | 0.00043792 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5643-1_0_5_load_150 | 135 | 0.0047053 | 0.0011793 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5643-1_0_5_load_151 | 136 | 0.0027379 | 0.00068619 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5643-1_0_5_load_152 | 137 | 0.0018181 | 0.00045567 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5643-1_0_5_load_169 | 138 | 0.0020497 | 0.00051371 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5643-1_0_5_load_104 | 140 | 0.0036021 | 0.00090278 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5643-1_0_5_load_120 | 143 | 0.0064851 | 0.0016253 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5643-1_0_5_load_113 | 146 | 0.0042269 | 0.0010594 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5643-1_0_5_load_107 | 148 | 0.0042646 | 0.0010688 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5643-1_0_5_load_111 | 151 | 0.0016735 | 0.00041942 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5643-1_0_5_load_161 | 152 | 0.0016019 | 0.00040147 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5643-1_0_5_load_172 | 153 | 0.002794 | 0.00070024 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5643-1_0_5_load_173 | 154 | 0.0021138 | 0.00052977 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5643-1_0_5_load_166 | 155 | 0.0020441 | 0.00051231 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5643-1_0_5_load_167 | 157 | 0.0041891 | 0.0010499 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5643-1_0_5_load_168 | 158 | 0.0014514 | 0.00036375 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5643-1_0_5_load_116 | 160 | 0.0045101 | 0.0011303 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5643-1_0_5_load_117 | 161 | 0.0037828 | 0.00094806 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5643-1_0_5_load_121 | 163 | 0.0045 | 0.0011278 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5643-1_0_5_load_134 | 167 | 0.0062441 | 0.0015649 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5643-1_0_5_load_133 | 168 | 0.0037938 | 0.00095082 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5643-1_0_5_load_165 | 169 | 0.0027081 | 0.00067872 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5643-1_0_5_load_127 | 170 | 0.0040485 | 0.0010147 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5643-1_0_5_line_0 |  | 0 | 1 | 0.045983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5643-1_0_5_line_1 |  | 1 | 2 | 0.049488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5643-1_0_5_line_2 |  | 2 | 3 | 0.009471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5643-1_0_5_line_3 |  | 2 | 4 | 0.033674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5643-1_0_5_line_4 |  | 3 | 11 | 0.004568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5643-1_0_5_line_5 |  | 4 | 12 | 0.041229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5643-1_0_5_line_6 |  | 5 | 6 | 0.005333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5643-1_0_5_line_7 |  | 5 | 7 | 0.018739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5643-1_0_5_line_8 |  | 7 | 11 | 0.050187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5643-1_0_5_line_9 |  | 7 | 28 | 0.013543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5643-1_0_5_line_10 |  | 8 | 9 | 0.004838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5643-1_0_5_line_11 |  | 8 | 10 | 0.031284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5643-1_0_5_line_12 |  | 10 | 29 | 0.045347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5643-1_0_5_line_13 |  | 10 | 30 | 0.025167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5643-1_0_5_line_14 |  | 13 | 14 | 0.02799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5643-1_0_5_line_15 |  | 13 | 15 | 0.012604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5643-1_0_5_line_16 |  | 13 | 16 | 0.046664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5643-1_0_5_line_17 |  | 13 | 17 | 0.020747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5643-1_0_5_line_18 |  | 13 | 18 | 0.050322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5643-1_0_5_line_19 |  | 14 | 19 | 0.010073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5643-1_0_5_line_20 |  | 15 | 49 | 0.012237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5643-1_0_5_line_21 |  | 16 | 53 | 0.012562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5643-1_0_5_line_22 |  | 16 | 50 | 0.036959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5643-1_0_5_line_23 |  | 18 | 34 | 0.019997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5643-1_0_5_line_24 |  | 18 | 31 | 0.040282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5643-1_0_5_line_25 |  | 19 | 20 | 0.023019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5643-1_0_5_line_26 |  | 19 | 21 | 0.09365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5643-1_0_5_line_27 |  | 19 | 22 | 0.033772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5643-1_0_5_line_28 |  | 21 | 54 | 0.012676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5643-1_0_5_line_29 |  | 21 | 55 | 0.047852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5643-1_0_5_line_30 |  | 22 | 26 | 0.034222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5643-1_0_5_line_31 |  | 22 | 27 | 0.015901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5643-1_0_5_line_32 |  | 22 | 23 | 0.02915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5643-1_0_5_line_33 |  | 23 | 24 | 0.019692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5643-1_0_5_line_34 |  | 23 | 25 | 0.012574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5643-1_0_5_line_35 |  | 24 | 88 | 0.021751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5643-1_0_5_line_36 |  | 24 | 89 | 0.039663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5643-1_0_5_line_37 |  | 26 | 90 | 0.006442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5643-1_0_5_line_38 |  | 26 | 91 | 0.039293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5643-1_0_5_line_39 |  | 28 | 43 | 0.023994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5643-1_0_5_line_40 |  | 30 | 79 | 0.018604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5643-1_0_5_line_41 |  | 30 | 69 | 0.047983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5643-1_0_5_line_42 |  | 30 | 77 | 0.05007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5643-1_0_5_line_43 |  | 31 | 32 | 0.047789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5643-1_0_5_line_44 |  | 32 | 33 | 0.010182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5643-1_0_5_line_45 |  | 33 | 35 | 0.059866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5643-1_0_5_line_46 |  | 33 | 36 | 0.020628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5643-1_0_5_line_47 |  | 34 | 40 | 0.019542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5643-1_0_5_line_48 |  | 34 | 41 | 0.030659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5643-1_0_5_line_49 |  | 35 | 42 | 0.019021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5643-1_0_5_line_50 |  | 35 | 43 | 0.00967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5643-1_0_5_line_51 |  | 37 | 38 | 0.0093288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5643-1_0_5_line_52 |  | 37 | 39 | 0.046942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5643-1_0_5_line_53 |  | 38 | 44 | 0.029146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5643-1_0_5_line_54 |  | 38 | 45 | 0.020451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5643-1_0_5_line_55 |  | 38 | 46 | 0.069072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5643-1_0_5_line_56 |  | 39 | 47 | 0.0086812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5643-1_0_5_line_57 |  | 41 | 48 | 0.0026139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5643-1_0_5_line_58 |  | 44 | 80 | 0.041283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5643-1_0_5_line_59 |  | 44 | 52 | 0.002129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5643-1_0_5_line_60 |  | 45 | 81 | 0.023027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5643-1_0_5_line_61 |  | 46 | 82 | 0.078704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5643-1_0_5_line_62 |  | 49 | 83 | 0.027419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5643-1_0_5_line_63 |  | 50 | 51 | 0.028017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5643-1_0_5_line_64 |  | 50 | 52 | 0.004202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5643-1_0_5_line_65 |  | 52 | 84 | 0.017199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5643-1_0_5_line_66 |  | 53 | 85 | 0.010686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5643-1_0_5_line_67 |  | 55 | 86 | 0.007502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5643-1_0_5_line_68 |  | 55 | 87 | 0.026327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5643-1_0_5_line_69 |  | 56 | 57 | 0.013582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5643-1_0_5_line_70 |  | 56 | 58 | 0.0055086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5643-1_0_5_line_71 |  | 57 | 59 | 0.01192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5643-1_0_5_line_72 |  | 57 | 60 | 0.02946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5643-1_0_5_line_73 |  | 58 | 61 | 0.007724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5643-1_0_5_line_74 |  | 59 | 62 | 0.029595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5643-1_0_5_line_75 |  | 60 | 63 | 0.0061366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5643-1_0_5_line_76 |  | 61 | 64 | 0.031832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5643-1_0_5_line_77 |  | 61 | 65 | 0.041344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5643-1_0_5_line_78 |  | 61 | 66 | 0.046343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5643-1_0_5_line_79 |  | 63 | 67 | 0.040004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5643-1_0_5_line_80 |  | 63 | 68 | 0.003494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5643-1_0_5_line_81 |  | 65 | 72 | 0.006063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5643-1_0_5_line_82 |  | 65 | 69 | 0.036376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5643-1_0_5_line_83 |  | 66 | 73 | 0.053095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5643-1_0_5_line_84 |  | 66 | 74 | 0.012833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5643-1_0_5_line_85 |  | 68 | 140 | 0.038666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5643-1_0_5_line_86 |  | 68 | 131 | 0.01257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5643-1_0_5_line_87 |  | 69 | 70 | 0.03664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5643-1_0_5_line_88 |  | 69 | 71 | 0.04921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5643-1_0_5_line_89 |  | 71 | 75 | 0.021172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5643-1_0_5_line_90 |  | 75 | 76 | 0.004369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5643-1_0_5_line_91 |  | 77 | 78 | 0.008642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5643-1_0_5_line_92 |  | 81 | 105 | 0.04091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5643-1_0_5_line_93 |  | 82 | 144 | 0.022412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5643-1_0_5_line_94 |  | 83 | 141 | 0.010293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5643-1_0_5_line_95 |  | 85 | 148 | 0.015222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5643-1_0_5_line_96 |  | 87 | 170 | 0.020201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5643-1_0_5_line_97 |  | 88 | 100 | 0.028403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_5643-1_0_5_line_98 |  | 89 | 98 | 0.02191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5643-1_0_5_line_99 |  | 91 | 125 | 0.015933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5643-1_0_5_line_100 |  | 91 | 122 | 0.051656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5643-1_0_5_line_101 |  | 92 | 93 | 0.027376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5643-1_0_5_line_102 |  | 92 | 94 | 0.026732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5643-1_0_5_line_103 |  | 94 | 95 | 0.1986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5643-1_0_5_line_104 |  | 95 | 96 | 0.21048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5643-1_0_5_line_105 |  | 96 | 97 | 0.013165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5643-1_0_5_line_106 |  | 97 | 126 | 0.11379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5643-1_0_5_line_107 |  | 97 | 120 | 0.0076673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5643-1_0_5_line_108 |  | 98 | 99 | 0.021953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5643-1_0_5_line_109 |  | 99 | 101 | 0.041612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5643-1_0_5_line_110 |  | 100 | 102 | 0.004386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_5643-1_0_5_line_111 |  | 100 | 103 | 0.043537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5643-1_0_5_line_112 |  | 101 | 104 | 0.019064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5643-1_0_5_line_113 |  | 102 | 115 | 0.05274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_5643-1_0_5_line_114 |  | 102 | 116 | 0.013848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5643-1_0_5_line_115 |  | 104 | 107 | 0.045156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5643-1_0_5_line_116 |  | 105 | 106 | 0.026586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5643-1_0_5_line_117 |  | 107 | 108 | 0.018609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5643-1_0_5_line_118 |  | 108 | 109 | 0.025088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5643-1_0_5_line_119 |  | 109 | 110 | 0.031304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5643-1_0_5_line_120 |  | 109 | 111 | 0.036477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5643-1_0_5_line_121 |  | 110 | 112 | 0.009031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5643-1_0_5_line_122 |  | 111 | 113 | 0.008751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5643-1_0_5_line_123 |  | 111 | 114 | 0.052396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5643-1_0_5_line_124 |  | 114 | 152 | 0.035703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5643-1_0_5_line_125 |  | 115 | 117 | 0.006227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5643-1_0_5_line_126 |  | 115 | 118 | 0.054605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
127 | LV_5643-1_0_5_line_127 |  | 115 | 119 | 0.085023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5643-1_0_5_line_128 |  | 118 | 153 | 0.032956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5643-1_0_5_line_129 |  | 118 | 154 | 0.005745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5643-1_0_5_line_130 |  | 118 | 139 | 0.07519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
131 | LV_5643-1_0_5_line_131 |  | 119 | 120 | 0.012939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5643-1_0_5_line_132 |  | 121 | 122 | 0.012781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5643-1_0_5_line_133 |  | 122 | 123 | 0.005779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5643-1_0_5_line_134 |  | 123 | 124 | 0.012133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5643-1_0_5_line_135 |  | 127 | 128 | 0.013554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5643-1_0_5_line_136 |  | 127 | 129 | 0.0048079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5643-1_0_5_line_137 |  | 128 | 130 | 0.025456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5643-1_0_5_line_138 |  | 128 | 131 | 0.033865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5643-1_0_5_line_139 |  | 128 | 132 | 0.013064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5643-1_0_5_line_140 |  | 130 | 133 | 0.025702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5643-1_0_5_line_141 |  | 130 | 134 | 0.039793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5643-1_0_5_line_142 |  | 131 | 135 | 0.026753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5643-1_0_5_line_143 |  | 132 | 136 | 0.010842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5643-1_0_5_line_144 |  | 132 | 137 | 0.013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5643-1_0_5_line_145 |  | 133 | 138 | 0.006412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_5643-1_0_5_line_146 |  | 133 | 139 | 0.02593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_5643-1_0_5_line_147 |  | 139 | 155 | 0.005716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_5643-1_0_5_line_148 |  | 139 | 156 | 0.058407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_5643-1_0_5_line_149 |  | 141 | 142 | 0.006608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_5643-1_0_5_line_150 |  | 142 | 143 | 0.018455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_5643-1_0_5_line_151 |  | 143 | 147 | 0.011905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_5643-1_0_5_line_152 |  | 144 | 145 | 0.018526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_5643-1_0_5_line_153 |  | 145 | 146 | 0.012847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_5643-1_0_5_line_154 |  | 146 | 159 | 0.035867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_5643-1_0_5_line_155 |  | 147 | 162 | 0.018815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_5643-1_0_5_line_156 |  | 148 | 149 | 0.010208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_5643-1_0_5_line_157 |  | 149 | 150 | 0.006116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_5643-1_0_5_line_158 |  | 150 | 163 | 0.012687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_5643-1_0_5_line_159 |  | 151 | 152 | 0.053712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_5643-1_0_5_line_160 |  | 156 | 157 | 0.011872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_5643-1_0_5_line_161 |  | 156 | 158 | 0.008322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_5643-1_0_5_line_162 |  | 159 | 160 | 0.009179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_5643-1_0_5_line_163 |  | 161 | 162 | 0.024207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_5643-1_0_5_line_164 |  | 163 | 164 | 0.006321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_5643-1_0_5_line_165 |  | 164 | 165 | 0.018155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_5643-1_0_5_line_166 |  | 164 | 166 | 0.002899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
167 | LV_5643-1_0_5_line_167 |  | 165 | 167 | 0.010396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
168 | LV_5643-1_0_5_line_168 |  | 165 | 168 | 0.026505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
169 | LV_5643-1_0_5_line_169 |  | 166 | 169 | 0.021502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5643-1_0_5_trafo_22 | 0.63 MVA 20/0.4 kV | 171 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2529918.7727 | 1152110.0436 | 2529875.8133 | 1152126.4412
1 | 2529965.2084 | 1152092.5707 | 2529918.7727 | 1152110.0436
2 | 2529968.749 | 1152101.3566 | 2529965.2084 | 1152092.5707
3 | 2529965.2084 | 1152092.5707 | 2529953.1695 | 1152061.122
4 | 2529968.749 | 1152101.3566 | 2529970.3033 | 1152105.652
5 | 2529953.1695 | 1152061.122 | 2529938.4299 | 1152022.6182
6 | 2529952.775 | 1152150.4922 | 2529951.4944 | 1152145.3153
7 | 2529970.6748 | 1152144.7805 | 2529952.775 | 1152150.4922
8 | 2529970.6748 | 1152144.7805 | 2529957.6212 | 1152110.6247 | 2529970.3033 | 1152105.652
9 | 2529970.6748 | 1152144.7805 | 2529983.5628 | 1152140.6194
10 | 2529823.0741 | 1152106.5466 | 2529818.4161 | 1152107.9017
11 | 2529812.4769 | 1152077.1094 | 2529823.0741 | 1152106.5466
12 | 2529812.4769 | 1152077.1094 | 2529787.6357 | 1152089.1061 | 2529776.8707 | 1152074.8794
13 | 2529803.95 | 1152053.4291 | 2529812.4769 | 1152077.1094
14 | 2530107.9922 | 1152007.0286 | 2530105.4604 | 1152002.4888 | 2530099.1691 | 1151986.831 | 2530097.0402 | 1151981.3101
15 | 2530107.9922 | 1152007.0286 | 2530108.8251 | 1152003.4169 | 2530116.8624 | 1151999.5991
16 | 2530107.9922 | 1152007.0286 | 2530108.8251 | 1152003.4169 | 2530122.3835 | 1152032.1976 | 2530132.4826 | 1152027.4887
17 | 2530107.9922 | 1152007.0286 | 2530110.8235 | 1152013.566 | 2530116.2345 | 1152026.0684
18 | 2530065.2472 | 1152030.4497 | 2530077.836 | 1152022.7101 | 2530082.8315 | 1152016.0483 | 2530094.062 | 1152010.9594 | 2530097.5599 | 1152011.4634 | 2530106.1701 | 1152008.0726 | 2530107.9922 | 1152007.0286
19 | 2530093.416 | 1151971.9118 | 2530097.0402 | 1151981.3101
20 | 2530116.8624 | 1151999.5991 | 2530127.6785 | 1151993.8765
21 | 2530132.4826 | 1152027.4887 | 2530143.6926 | 1152021.8198
22 | 2530131.9251 | 1152056.1222 | 2530130.9845 | 1152052.4533 | 2530127.8053 | 1152043.7076 | 2530122.3835 | 1152032.1976 | 2530132.4826 | 1152027.4887
23 | 2530065.2472 | 1152030.4497 | 2530062.6993 | 1152033.7589 | 2530048.0578 | 1152039.866
24 | 2530065.2472 | 1152030.4497 | 2530079.4149 | 1152068.1584
25 | 2530093.416 | 1151971.9118 | 2530091.109 | 1151964.9236 | 2530075.6312 | 1151967.304
26 | 2530093.416 | 1151971.9118 | 2530095.5213 | 1151970.1419 | 2530091.9289 | 1151959.5333 | 2530118.4955 | 1151951.9314 | 2530126.1987 | 1151949.0848 | 2530145.1358 | 1151942.0831 | 2530166.4682 | 1151931.8408
27 | 2530079.1722 | 1151948.2309 | 2530083.9381 | 1151949.5318 | 2530092.227 | 1151954.1491 | 2530091.9289 | 1151959.5333 | 2530095.5213 | 1151970.1419 | 2530093.416 | 1151971.9118
28 | 2530166.4682 | 1151931.8408 | 2530162.1316 | 1151919.9289
29 | 2530166.4682 | 1151931.8408 | 2530209.7135 | 1151911.0939
30 | 2530079.1722 | 1151948.2309 | 2530045.4212 | 1151954.4491
31 | 2530079.1722 | 1151948.2309 | 2530077.057 | 1151941.8964 | 2530067.91 | 1151943.0728
32 | 2530088.3701 | 1151939.9416 | 2530092.227 | 1151954.1491 | 2530083.9381 | 1151949.5318 | 2530079.1722 | 1151948.2309
33 | 2530082.6939 | 1151921.086 | 2530088.3701 | 1151939.9416
34 | 2530088.3701 | 1151939.9416 | 2530100.881 | 1151938.6843
35 | 2530082.6939 | 1151921.086 | 2530076.2446 | 1151900.3134
36 | 2530082.6939 | 1151921.086 | 2530118.9435 | 1151904.9882
37 | 2530045.4212 | 1151954.4491 | 2530044.3955 | 1151948.0908
38 | 2530045.4212 | 1151954.4491 | 2530013.9924 | 1151961.0407 | 2530006.8811 | 1151962.6466
39 | 2530006.3966 | 1152133.2471 | 2529983.5628 | 1152140.6194
40 | 2529803.95 | 1152053.4291 | 2529820.1257 | 1152044.2385
41 | 2529788.6759 | 1152007.9932 | 2529789.2851 | 1152011.5214 | 2529796.8528 | 1152033.89 | 2529803.95 | 1152053.4291
42 | 2529803.95 | 1152053.4291 | 2529796.8528 | 1152033.89 | 2529772.319 | 1152049.8742
43 | 2530082.8971 | 1152110.0887 | 2530091.7634 | 1152101.0251 | 2530079.4149 | 1152068.1584
44 | 2530082.8971 | 1152110.0887 | 2530073.1789 | 1152113.2146
45 | 2530015.6492 | 1152130.3489 | 2530073.1789 | 1152113.2146
46 | 2530073.1789 | 1152113.2146 | 2530076.3462 | 1152124.2283 | 2530067.5937 | 1152126.9572
47 | 2530048.0578 | 1152039.866 | 2530029.4407 | 1152045.9748
48 | 2530048.0578 | 1152039.866 | 2530048.0231 | 1152036.231 | 2530046.2397 | 1152031.3713 | 2530043.7543 | 1152024.2184 | 2530040.7838 | 1152016.2819 | 2530038.0999 | 1152011.1992 | 2530038.0856 | 1152011.148
49 | 2530015.6492 | 1152130.3489 | 2530018.5289 | 1152139.0647 | 2530028.1426 | 1152136.9583
50 | 2530006.3966 | 1152133.2471 | 2530015.6492 | 1152130.3489
51 | 2530141.7993 | 1152090.1709 | 2530143.3792 | 1152096.0225 | 2530140.1788 | 1152096.6822
52 | 2530140.1788 | 1152096.6822 | 2530137.2012 | 1152098.6735 | 2530111.2275 | 1152107.0466 | 2530115.7453 | 1152122.4688
53 | 2530133.5083 | 1152062.2517 | 2530140.2774 | 1152083.3737 | 2530141.7993 | 1152090.1709
54 | 2530141.7993 | 1152090.1709 | 2530140.2774 | 1152083.3737 | 2530152.9881 | 1152078.868
55 | 2530141.7993 | 1152090.1709 | 2530181.1867 | 1152117.3175 | 2530201.5721 | 1152111.3676
56 | 2530115.7453 | 1152122.4688 | 2530118.1858 | 1152130.7999
57 | 2530038.0856 | 1152011.148 | 2530037.3817 | 1152008.6307
58 | 2530133.5083 | 1152062.2517 | 2530098.3579 | 1152072.1546 | 2530099.8469 | 1152076.7843
59 | 2530133.5083 | 1152062.2517 | 2530132.9778 | 1152060.19
60 | 2530152.9881 | 1152078.868 | 2530174.4023 | 1152070.4011
61 | 2530201.5721 | 1152111.3676 | 2530256.5962 | 1152095.3079 | 2530251.4528 | 1152074.5511
62 | 2530127.6785 | 1151993.8765 | 2530151.9145 | 1151981.0537
63 | 2530131.9251 | 1152056.1222 | 2530117.4023 | 1152061.216 | 2530113.0946 | 1152060.3767 | 2530106.4064 | 1152055.4517
64 | 2530131.9251 | 1152056.1222 | 2530132.9778 | 1152060.19
65 | 2530132.9778 | 1152060.19 | 2530149.2273 | 1152054.4203
66 | 2530153.2285 | 1152016.9974 | 2530143.6926 | 1152021.8198
67 | 2530209.7135 | 1151911.0939 | 2530206.3507 | 1151904.3847
68 | 2530233.8977 | 1151900.5518 | 2530217.9641 | 1151907.1292 | 2530209.7135 | 1151911.0939
69 | 2529855.5784 | 1151959.3966 | 2529844.0647 | 1151966.602
70 | 2529839.3951 | 1151969.5243 | 2529844.0647 | 1151966.602
71 | 2529855.5784 | 1151959.3966 | 2529856.4329 | 1151965.5344 | 2529858.3569 | 1151970.9246
72 | 2529855.5784 | 1151959.3966 | 2529882.0351 | 1151946.4368
73 | 2529834.166 | 1151975.2218 | 2529839.3951 | 1151969.5243
74 | 2529868.3059 | 1151998.7977 | 2529858.3569 | 1151970.9246
75 | 2529887.546 | 1151943.7373 | 2529882.0351 | 1151946.4368
76 | 2529834.166 | 1151975.2218 | 2529844.5407 | 1152005.3175
77 | 2529807.5614 | 1151980.8465 | 2529808.2774 | 1151991.5553 | 2529824.5983 | 1151981.3925 | 2529834.166 | 1151975.2218
78 | 2529813.3535 | 1151948.4387 | 2529814.6176 | 1151956.1282 | 2529822.5692 | 1151976.5357 | 2529824.5983 | 1151981.3925 | 2529834.166 | 1151975.2218
79 | 2529887.546 | 1151943.7373 | 2529890.6553 | 1151953.6955 | 2529893.6488 | 1151962.2653 | 2529899.6488 | 1151981.8618
80 | 2529890.6115 | 1151942.045 | 2529887.546 | 1151943.7373
81 | 2529807.5614 | 1151980.8465 | 2529804.5146 | 1151975.6014
82 | 2529788.6759 | 1152007.9932 | 2529792.0666 | 1152004.574 | 2529801.0982 | 1151996.5418 | 2529808.2774 | 1151991.5553 | 2529807.5614 | 1151980.8465
83 | 2529813.3535 | 1151948.4387 | 2529810.3168 | 1151947.3402 | 2529791.4968 | 1151947.2487 | 2529787.0476 | 1151946.7893 | 2529784.5528 | 1151944.7728 | 2529776.0622 | 1151922.9154
84 | 2529813.3535 | 1151948.4387 | 2529813.4155 | 1151944.5469 | 2529814.009 | 1151940.1597 | 2529818.0132 | 1151938.076
85 | 2529890.6115 | 1151942.045 | 2529903.342 | 1151978.5549
86 | 2529900.5945 | 1151934.6245 | 2529897.6329 | 1151937.9943 | 2529890.6115 | 1151942.045
87 | 2529788.6759 | 1152007.9932 | 2529780.3992 | 1152012.9704 | 2529775.5918 | 1152016.006 | 2529769.0665 | 1152019.1395 | 2529763.0201 | 1152015.3191 | 2529759.5403 | 1152009.354
88 | 2529788.6759 | 1152007.9932 | 2529777.6709 | 1151985.0645 | 2529772.4662 | 1151981.679 | 2529754.919 | 1151980.8168
89 | 2529736.968 | 1151992.0327 | 2529749.8111 | 1151983.7558 | 2529754.919 | 1151980.8168
90 | 2529736.968 | 1151992.0327 | 2529733.3625 | 1151989.5512
91 | 2529765.2319 | 1152054.8487 | 2529772.319 | 1152049.8742
92 | 2530212.4461 | 1152055.3589 | 2530174.4023 | 1152070.4011
93 | 2530253.6845 | 1152057.3539 | 2530247.5781 | 1152058.9145 | 2530251.4528 | 1152074.5511
94 | 2530161.013 | 1151976.2399 | 2530151.9145 | 1151981.0537
95 | 2530153.2285 | 1152016.9974 | 2530166.8111 | 1152010.1252
96 | 2530233.8977 | 1151900.5518 | 2530252.5693 | 1151892.8417
97 | 2530067.8228 | 1151873.1878 | 2530076.2446 | 1151900.3134
98 | 2530138.9678 | 1151896.0958 | 2530118.9435 | 1151904.9882
99 | 2530006.8811 | 1151962.6466 | 2530003.507 | 1151947.0772
100 | 2529957.2501 | 1151976.043 | 2529973.092 | 1151970.8556 | 2529990.5313 | 1151964.4268 | 2529999.4943 | 1151964.3224 | 2530006.8811 | 1151962.6466
101 | 2529676.2084 | 1151949.0878 | 2529679.7909 | 1151956.6702 | 2529680.192 | 1151960.7789 | 2529682.5458 | 1151962.5413 | 2529684.3943 | 1151967.6892 | 2529686.6218 | 1151973.7443
102 | 2529664.7909 | 1151924.9169 | 2529665.9321 | 1151927.3382 | 2529676.2084 | 1151949.0878
103 | 2529664.7909 | 1151924.9169 | 2529701.3258 | 1151911.3154 | 2529811.6973 | 1151863.1327 | 2529828.7114 | 1151855.7745 | 2529842.7301 | 1151848.229 | 2529846.9162 | 1151846.0242
104 | 2530024.8704 | 1151735.811 | 2530017.2107 | 1151736.4783 | 2529966.0779 | 1151768.7026 | 2529914.2933 | 1151806.1934 | 2529884.4705 | 1151823.5284 | 2529873.8149 | 1151831.8573 | 2529846.9162 | 1151846.0242
105 | 2530024.8704 | 1151735.811 | 2530024.3743 | 1151740.6639 | 2530026.7692 | 1151748.596
106 | 2530026.7692 | 1151748.596 | 2530121.3392 | 1151684.9166
107 | 2530026.7692 | 1151748.596 | 2530029.5625 | 1151755.7364
108 | 2530138.9678 | 1151896.0958 | 2530158.7147 | 1151886.504
109 | 2530158.7147 | 1151886.504 | 2530196.1442 | 1151868.323
110 | 2530067.8228 | 1151873.1878 | 2530066.3777 | 1151869.0467
111 | 2530067.8228 | 1151873.1878 | 2530026.6737 | 1151887.4077
112 | 2530196.1442 | 1151868.323 | 2530209.922 | 1151861.6306 | 2530208.1687 | 1151858.3188
113 | 2530044.0072 | 1151838.9013 | 2530058.427 | 1151832.8191 | 2530066.3777 | 1151869.0467
114 | 2530066.3777 | 1151869.0467 | 2530053.3206 | 1151873.6603
115 | 2530208.1687 | 1151858.3188 | 2530224.5686 | 1151816.2465
116 | 2530237.1699 | 1152045.5834 | 2530212.4461 | 1152055.3589
117 | 2530224.5686 | 1151816.2465 | 2530221.1309 | 1151805.0691 | 2530219.4723 | 1151801.0305 | 2530220.5429 | 1151798.7168
118 | 2530243.481 | 1151788.5562 | 2530220.5429 | 1151798.7168
119 | 2530243.481 | 1151788.5562 | 2530256.4527 | 1151817.0549
120 | 2530228.4204 | 1151755.3235 | 2530243.481 | 1151788.5562
121 | 2530256.4527 | 1151817.0549 | 2530248.1123 | 1151820.5758
122 | 2530228.4204 | 1151755.3235 | 2530220.3319 | 1151758.7193
123 | 2530206.6834 | 1151707.6493 | 2530218.2077 | 1151733.0963 | 2530228.4204 | 1151755.3235
124 | 2530206.6834 | 1151707.6493 | 2530174.1841 | 1151722.6348
125 | 2530044.0072 | 1151838.9013 | 2530041.9204 | 1151833.0334
126 | 2529992.6567 | 1151844.4575 | 2529999.1134 | 1151845.9498 | 2530004.2997 | 1151847.0901 | 2530015.3563 | 1151850.7746 | 2530044.0072 | 1151838.9013
127 | 2530034.2763 | 1151767.786 | 2530044.7862 | 1151795.7015 | 2530058.427 | 1151832.8191 | 2530044.0072 | 1151838.9013
128 | 2529992.6567 | 1151844.4575 | 2529989.7135 | 1151842.1682 | 2529987.5721 | 1151836.2343 | 2529984.7597 | 1151824.7496 | 2529983.595 | 1151813.7125
129 | 2529992.6567 | 1151844.4575 | 2529988.8153 | 1151848.7379
130 | 2529968.3173 | 1151871.9673 | 2529980.2999 | 1151866.2023 | 2530015.3563 | 1151850.7746 | 2530004.2997 | 1151847.0901 | 2529999.1134 | 1151845.9498 | 2529992.6567 | 1151844.4575
131 | 2530034.2763 | 1151767.786 | 2530029.5625 | 1151755.7364
132 | 2529957.2501 | 1151976.043 | 2529953.4212 | 1151963.8492
133 | 2529951.7453 | 1151977.8526 | 2529957.2501 | 1151976.043
134 | 2529951.7453 | 1151977.8526 | 2529939.9781 | 1151980.8101
135 | 2529897.4287 | 1151902.7214 | 2529891.5755 | 1151890.4967
136 | 2529889.4992 | 1151886.1602 | 2529891.5755 | 1151890.4967
137 | 2529920.7946 | 1151892.4656 | 2529897.4287 | 1151902.7214
138 | 2529897.4287 | 1151902.7214 | 2529894.6464 | 1151905.6666 | 2529894.9239 | 1151910.3771 | 2529900.6557 | 1151929.3431 | 2529900.5945 | 1151934.6245
139 | 2529885.6395 | 1151905.9718 | 2529894.6464 | 1151905.6666 | 2529897.4287 | 1151902.7214
140 | 2529920.7946 | 1151892.4656 | 2529944.3503 | 1151882.0298
141 | 2529902.3164 | 1151857.2058 | 2529920.7946 | 1151892.4656
142 | 2529900.5945 | 1151934.6245 | 2529906.202 | 1151933.0583 | 2529909.4722 | 1151933.7761 | 2529912.3093 | 1151935.5218 | 2529915.1603 | 1151939.7798 | 2529916.9929 | 1151944.2387 | 2529920.8462 | 1151946.2616
143 | 2529885.6395 | 1151905.9718 | 2529881.646 | 1151895.8905
144 | 2529875.2786 | 1151913.897 | 2529877.5345 | 1151909.9018 | 2529879.4856 | 1151908.0669 | 2529882.2707 | 1151906.6781 | 2529885.6395 | 1151905.9718
145 | 2529944.3503 | 1151882.0298 | 2529941.6958 | 1151876.1908
146 | 2529944.3503 | 1151882.0298 | 2529968.3173 | 1151871.9673
147 | 2529968.3173 | 1151871.9673 | 2529966.0381 | 1151866.7242
148 | 2529959.9372 | 1151825.9504 | 2529980.2999 | 1151866.2023 | 2529968.3173 | 1151871.9673
149 | 2530161.013 | 1151976.2399 | 2530166.8636 | 1151973.1369
150 | 2530166.8636 | 1151973.1369 | 2530183.1761 | 1151964.5068
151 | 2530193.6989 | 1151958.9397 | 2530183.1761 | 1151964.5068
152 | 2530253.6845 | 1152057.3539 | 2530248.6961 | 1152039.513
153 | 2530248.6961 | 1152039.513 | 2530245.2364 | 1152027.1401
154 | 2530236.1081 | 1151992.4551 | 2530237.4773 | 1151997.353 | 2530244.9407 | 1152026.0824 | 2530245.2364 | 1152027.1401
155 | 2530210.3662 | 1151950.1191 | 2530193.6989 | 1151958.9397
156 | 2530175.92 | 1152005.5164 | 2530166.8111 | 1152010.1252
157 | 2530175.92 | 1152005.5164 | 2530181.3908 | 1152002.7514
158 | 2530181.3908 | 1152002.7514 | 2530192.7119 | 1151997.025
159 | 2530121.1422 | 1151714.1796 | 2530174.1841 | 1151722.6348
160 | 2529959.9372 | 1151825.9504 | 2529949.4886 | 1151831.6419
161 | 2529956.4108 | 1151818.4095 | 2529959.9372 | 1151825.9504
162 | 2530233.6492 | 1151983.612 | 2530236.1081 | 1151992.4551
163 | 2530210.3662 | 1151950.1191 | 2530231.763 | 1151938.7978
164 | 2530198.3523 | 1151994.1719 | 2530192.7119 | 1151997.025
165 | 2530198.3523 | 1151994.1719 | 2530203.2001 | 1152005.1662 | 2530204.758 | 1152011.107
166 | 2530200.9466 | 1151992.8633 | 2530198.3523 | 1151994.1719
167 | 2530204.758 | 1152011.107 | 2530204.1267 | 1152014.9053 | 2530198.1802 | 1152017.6759
168 | 2530204.758 | 1152011.107 | 2530212.0565 | 1152021.0056 | 2530225.3355 | 1152015.9551
169 | 2530200.9466 | 1151992.8633 | 2530220.3314 | 1151983.4442

## bus_geodata
| x | y | coords
0 | 2529875.8133 | 1152126.4412
1 | 2529918.7727 | 1152110.0436
2 | 2529965.2084 | 1152092.5707
3 | 2529968.749 | 1152101.3566
4 | 2529953.1695 | 1152061.122
5 | 2529952.775 | 1152150.4922
6 | 2529951.4944 | 1152145.3153
7 | 2529970.6748 | 1152144.7805
8 | 2529823.0741 | 1152106.5466
9 | 2529818.4161 | 1152107.9017
10 | 2529812.4769 | 1152077.1094
11 | 2529970.3033 | 1152105.652
12 | 2529938.4299 | 1152022.6182
13 | 2530107.9922 | 1152007.0286
14 | 2530097.0402 | 1151981.3101
15 | 2530116.8624 | 1151999.5991
16 | 2530132.4826 | 1152027.4887
17 | 2530116.2345 | 1152026.0684
18 | 2530065.2472 | 1152030.4497
19 | 2530093.416 | 1151971.9118
20 | 2530075.6312 | 1151967.304
21 | 2530166.4682 | 1151931.8408
22 | 2530079.1722 | 1151948.2309
23 | 2530088.3701 | 1151939.9416
24 | 2530082.6939 | 1151921.086
25 | 2530100.881 | 1151938.6843
26 | 2530045.4212 | 1151954.4491
27 | 2530067.91 | 1151943.0728
28 | 2529983.5628 | 1152140.6194
29 | 2529776.8707 | 1152074.8794
30 | 2529803.95 | 1152053.4291
31 | 2530079.4149 | 1152068.1584
32 | 2530082.8971 | 1152110.0887
33 | 2530073.1789 | 1152113.2146
34 | 2530048.0578 | 1152039.866
35 | 2530015.6492 | 1152130.3489
36 | 2530067.5937 | 1152126.9572
37 | 2530140.1788 | 1152096.6822
38 | 2530141.7993 | 1152090.1709
39 | 2530115.7453 | 1152122.4688
40 | 2530029.4407 | 1152045.9748
41 | 2530038.0856 | 1152011.148
42 | 2530028.1426 | 1152136.9583
43 | 2530006.3966 | 1152133.2471
44 | 2530133.5083 | 1152062.2517
45 | 2530152.9881 | 1152078.868
46 | 2530201.5721 | 1152111.3676
47 | 2530118.1858 | 1152130.7999
48 | 2530037.3817 | 1152008.6307
49 | 2530127.6785 | 1151993.8765
50 | 2530131.9251 | 1152056.1222
51 | 2530106.4064 | 1152055.4517
52 | 2530132.9778 | 1152060.19
53 | 2530143.6926 | 1152021.8198
54 | 2530162.1316 | 1151919.9289
55 | 2530209.7135 | 1151911.0939
56 | 2529844.0647 | 1151966.602
57 | 2529855.5784 | 1151959.3966
58 | 2529839.3951 | 1151969.5243
59 | 2529858.3569 | 1151970.9246
60 | 2529882.0351 | 1151946.4368
61 | 2529834.166 | 1151975.2218
62 | 2529868.3059 | 1151998.7977
63 | 2529887.546 | 1151943.7373
64 | 2529844.5407 | 1152005.3175
65 | 2529807.5614 | 1151980.8465
66 | 2529813.3535 | 1151948.4387
67 | 2529899.6488 | 1151981.8618
68 | 2529890.6115 | 1151942.045
69 | 2529788.6759 | 1152007.9932
70 | 2529759.5403 | 1152009.354
71 | 2529754.919 | 1151980.8168
72 | 2529804.5146 | 1151975.6014
73 | 2529776.0622 | 1151922.9154
74 | 2529818.0132 | 1151938.076
75 | 2529736.968 | 1151992.0327
76 | 2529733.3625 | 1151989.5512
77 | 2529772.319 | 1152049.8742
78 | 2529765.2319 | 1152054.8487
79 | 2529820.1257 | 1152044.2385
80 | 2530099.8469 | 1152076.7843
81 | 2530174.4023 | 1152070.4011
82 | 2530251.4528 | 1152074.5511
83 | 2530151.9145 | 1151981.0537
84 | 2530149.2273 | 1152054.4203
85 | 2530153.2285 | 1152016.9974
86 | 2530206.3507 | 1151904.3847
87 | 2530233.8977 | 1151900.5518
88 | 2530076.2446 | 1151900.3134
89 | 2530118.9435 | 1151904.9882
90 | 2530044.3955 | 1151948.0908
91 | 2530006.8811 | 1151962.6466
92 | 2529676.2084 | 1151949.0878
93 | 2529686.6218 | 1151973.7443
94 | 2529664.7909 | 1151924.9169
95 | 2529846.9162 | 1151846.0242
96 | 2530024.8704 | 1151735.811
97 | 2530026.7692 | 1151748.596
98 | 2530138.9678 | 1151896.0958
99 | 2530158.7147 | 1151886.504
100 | 2530067.8228 | 1151873.1878
101 | 2530196.1442 | 1151868.323
102 | 2530066.3777 | 1151869.0467
103 | 2530026.6737 | 1151887.4077
104 | 2530208.1687 | 1151858.3188
105 | 2530212.4461 | 1152055.3589
106 | 2530237.1699 | 1152045.5834
107 | 2530224.5686 | 1151816.2465
108 | 2530220.5429 | 1151798.7168
109 | 2530243.481 | 1151788.5562
110 | 2530256.4527 | 1151817.0549
111 | 2530228.4204 | 1151755.3235
112 | 2530248.1123 | 1151820.5758
113 | 2530220.3319 | 1151758.7193
114 | 2530206.6834 | 1151707.6493
115 | 2530044.0072 | 1151838.9013
116 | 2530053.3206 | 1151873.6603
117 | 2530041.9204 | 1151833.0334
118 | 2529992.6567 | 1151844.4575
119 | 2530034.2763 | 1151767.786
120 | 2530029.5625 | 1151755.7364
121 | 2529953.4212 | 1151963.8492
122 | 2529957.2501 | 1151976.043
123 | 2529951.7453 | 1151977.8526
124 | 2529939.9781 | 1151980.8101
125 | 2530003.507 | 1151947.0772
126 | 2530121.3392 | 1151684.9166
127 | 2529891.5755 | 1151890.4967
128 | 2529897.4287 | 1151902.7214
129 | 2529889.4992 | 1151886.1602
130 | 2529920.7946 | 1151892.4656
131 | 2529900.5945 | 1151934.6245
132 | 2529885.6395 | 1151905.9718
133 | 2529944.3503 | 1151882.0298
134 | 2529902.3164 | 1151857.2058
135 | 2529920.8462 | 1151946.2616
136 | 2529881.646 | 1151895.8905
137 | 2529875.2786 | 1151913.897
138 | 2529941.6958 | 1151876.1908
139 | 2529968.3173 | 1151871.9673
140 | 2529903.342 | 1151978.5549
141 | 2530161.013 | 1151976.2399
142 | 2530166.8636 | 1151973.1369
143 | 2530183.1761 | 1151964.5068
144 | 2530253.6845 | 1152057.3539
145 | 2530248.6961 | 1152039.513
146 | 2530245.2364 | 1152027.1401
147 | 2530193.6989 | 1151958.9397
148 | 2530166.8111 | 1152010.1252
149 | 2530175.92 | 1152005.5164
150 | 2530181.3908 | 1152002.7514
151 | 2530121.1422 | 1151714.1796
152 | 2530174.1841 | 1151722.6348
153 | 2529983.595 | 1151813.7125
154 | 2529988.8153 | 1151848.7379
155 | 2529966.0381 | 1151866.7242
156 | 2529959.9372 | 1151825.9504
157 | 2529949.4886 | 1151831.6419
158 | 2529956.4108 | 1151818.4095
159 | 2530236.1081 | 1151992.4551
160 | 2530233.6492 | 1151983.612
161 | 2530231.763 | 1151938.7978
162 | 2530210.3662 | 1151950.1191
163 | 2530192.7119 | 1151997.025
164 | 2530198.3523 | 1151994.1719
165 | 2530204.758 | 1152011.107
166 | 2530200.9466 | 1151992.8633
167 | 2530198.1802 | 1152017.6759
168 | 2530225.3355 | 1152015.9551
169 | 2530220.3314 | 1151983.4442
170 | 2530252.5693 | 1151892.8417
171 | 2530034.508 | 1151998.0114

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1