## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5643-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5643-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5643-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5643-4_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5643-4_0_4_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_5643-4_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5643-4_0_4_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_5643-4_0_4_node_83 | 0.4 | n |  | TRUE
8 | bus_LV_5643-4_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5643-4_0_4_node_82 | 0.4 | n |  | TRUE
10 | bus_LV_5643-4_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5643-4_0_4_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_5643-4_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5643-4_0_4_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_5643-4_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_5643-4_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5643-4_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5643-4_0_4_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_5643-4_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5643-4_0_4_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_5643-4_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5643-4_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5643-4_0_4_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_5643-4_0_4_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_5643-4_0_4_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_5643-4_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_5643-4_0_4_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_5643-4_0_4_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_5643-4_0_4_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_5643-4_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5643-4_0_4_node_72 | 0.4 | n |  | TRUE
31 | bus_LV_5643-4_0_4_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_5643-4_0_4_node_80 | 0.4 | n |  | TRUE
33 | bus_LV_5643-4_0_4_node_77 | 0.4 | n |  | TRUE
34 | bus_LV_5643-4_0_4_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_5643-4_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_5643-4_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5643-4_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_5643-4_0_4_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_5643-4_0_4_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_5643-4_0_4_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_5643-4_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5643-4_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_5643-4_0_4_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_5643-4_0_4_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_5643-4_0_4_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_5643-4_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5643-4_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_5643-4_0_4_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_5643-4_0_4_node_74 | 0.4 | n |  | TRUE
50 | bus_LV_5643-4_0_4_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_5643-4_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_5643-4_0_4_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_5643-4_0_4_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_5643-4_0_4_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_5643-4_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_5643-4_0_4_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_5643-4_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_5643-4_0_4_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_5643-4_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_5643-4_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_5643-4_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_5643-4_0_4_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_5643-4_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_5643-4_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5643-4_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_5643-4_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5643-4_0_4_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_5643-4_0_4_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_5643-4_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_5643-4_0_4_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_5643-4_0_4_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_5643-4_0_4_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_5643-4_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_5643-4_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_5643-4_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_5643-4_0_4_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_5643-4_0_4_node_58 | 0.4 | n |  | TRUE
78 | bus_MV_451_1_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5643-4_0_4_load_0 | 0 | 0.013343 | 0.003344 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5643-4_0_4_load_69 | 6 | 0.013437 | 0.0033676 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5643-4_0_4_load_83 | 7 | 0.017841 | 0.0044713 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5643-4_0_4_load_82 | 9 | 0.011231 | 0.0028147 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5643-4_0_4_load_76 | 13 | 0.010356 | 0.0025955 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5643-4_0_4_load_70 | 17 | 0.021553 | 0.0054017 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5643-4_0_4_load_79 | 19 | 0.011988 | 0.0030044 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5643-4_0_4_load_55 | 23 | 0.022026 | 0.0055202 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5643-4_0_4_load_48 | 26 | 0.042236 | 0.010585 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5643-4_0_4_load_78 | 28 | 0.0083737 | 0.0020987 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5643-4_0_4_load_72 | 30 | 0.028753 | 0.0072061 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5643-4_0_4_load_73 | 31 | 0.023154 | 0.0058029 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5643-4_0_4_load_80 | 32 | 0.012437 | 0.0031169 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5643-4_0_4_load_77 | 33 | 0.023056 | 0.0057784 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5643-4_0_4_load_71 | 34 | 0.016185 | 0.0040563 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5643-4_0_4_load_40 | 37 | 0.029677 | 0.0074378 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5643-4_0_4_load_66 | 40 | 0.0059341 | 0.0014872 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5643-4_0_4_load_42 | 42 | 0.015203 | 0.0038103 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5643-4_0_4_load_59 | 43 | 0.0067774 | 0.0016986 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5643-4_0_4_load_56 | 44 | 0.038177 | 0.0095681 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5643-4_0_4_load_49 | 47 | 0.0037751 | 0.00094614 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5643-4_0_4_load_74 | 49 | 0.0018593 | 0.00046598 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5643-4_0_4_load_75 | 50 | 0.0035964 | 0.00090134 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5643-4_0_4_load_47 | 51 | 0.012484 | 0.0031288 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5643-4_0_4_load_64 | 53 | 0.0075556 | 0.0018936 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5643-4_0_4_load_60 | 55 | 0.00706 | 0.0017694 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5643-4_0_4_load_67 | 56 | 0.025962 | 0.0065066 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5643-4_0_4_load_41 | 57 | 0.026809 | 0.0067189 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5643-4_0_4_load_81 | 58 | 0.011601 | 0.0029075 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5643-4_0_4_load_54 | 60 | 0.0024175 | 0.00060587 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5643-4_0_4_load_51 | 63 | 0.0125 | 0.0031329 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5643-4_0_4_load_50 | 64 | 0.0099605 | 0.0024963 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5643-4_0_4_load_57 | 66 | 0.0027686 | 0.00069389 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5643-4_0_4_load_68 | 67 | 0.009016 | 0.0022596 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5643-4_0_4_load_65 | 68 | 0.0066228 | 0.0016598 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5643-4_0_4_load_61 | 73 | 0.0056463 | 0.0014151 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5643-4_0_4_load_62 | 74 | 0.0082365 | 0.0020643 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5643-4_0_4_load_63 | 75 | 0.0039646 | 0.00099361 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5643-4_0_4_load_53 | 76 | 0.0071407 | 0.0017896 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5643-4_0_4_load_58 | 77 | 0.0076088 | 0.0019069 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5643-4_0_4_line_0 |  | 0 | 1 | 0.025364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5643-4_0_4_line_1 |  | 0 | 2 | 0.013708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5643-4_0_4_line_2 |  | 1 | 3 | 0.082186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5643-4_0_4_line_3 |  | 1 | 4 | 0.093512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5643-4_0_4_line_4 |  | 2 | 5 | 0.033238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5643-4_0_4_line_5 |  | 3 | 7 | 0.005287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5643-4_0_4_line_6 |  | 3 | 8 | 0.10281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5643-4_0_4_line_7 |  | 4 | 56 | 0.017641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5643-4_0_4_line_8 |  | 5 | 6 | 0.005065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5643-4_0_4_line_9 |  | 8 | 9 | 0.005154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5643-4_0_4_line_10 |  | 8 | 10 | 0.047349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5643-4_0_4_line_11 |  | 8 | 11 | 0.045541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5643-4_0_4_line_12 |  | 10 | 19 | 0.00426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5643-4_0_4_line_13 |  | 10 | 20 | 0.032571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5643-4_0_4_line_14 |  | 10 | 21 | 0.045532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5643-4_0_4_line_15 |  | 10 | 18 | 0.11365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5643-4_0_4_line_16 |  | 11 | 58 | 0.004099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5643-4_0_4_line_17 |  | 12 | 13 | 0.00551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5643-4_0_4_line_18 |  | 12 | 14 | 0.072153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5643-4_0_4_line_19 |  | 12 | 15 | 0.048675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5643-4_0_4_line_20 |  | 14 | 33 | 0.005519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5643-4_0_4_line_21 |  | 14 | 21 | 0.08936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5643-4_0_4_line_22 |  | 15 | 22 | 0.11353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5643-4_0_4_line_23 |  | 15 | 23 | 0.023584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5643-4_0_4_line_24 |  | 16 | 17 | 0.003021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5643-4_0_4_line_25 |  | 16 | 18 | 0.075882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5643-4_0_4_line_26 |  | 18 | 34 | 0.010883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5643-4_0_4_line_27 |  | 18 | 25 | 0.13592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5643-4_0_4_line_28 |  | 20 | 32 | 0.014129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5643-4_0_4_line_29 |  | 21 | 31 | 0.00663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5643-4_0_4_line_30 |  | 22 | 57 | 0.045822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5643-4_0_4_line_31 |  | 22 | 35 | 0.02373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5643-4_0_4_line_32 |  | 22 | 41 | 0.023891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5643-4_0_4_line_33 |  | 24 | 25 | 0.073967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5643-4_0_4_line_34 |  | 24 | 26 | 0.00064072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5643-4_0_4_line_35 |  | 25 | 30 | 0.004049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5643-4_0_4_line_36 |  | 26 | 29 | 0.0091413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5643-4_0_4_line_37 |  | 27 | 28 | 0.005067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5643-4_0_4_line_38 |  | 27 | 29 | 0.040897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5643-4_0_4_line_39 |  | 35 | 36 | 0.043894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5643-4_0_4_line_40 |  | 35 | 37 | 0.037515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5643-4_0_4_line_41 |  | 36 | 43 | 0.01912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5643-4_0_4_line_42 |  | 36 | 44 | 0.011159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5643-4_0_4_line_43 |  | 37 | 54 | 0.027967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5643-4_0_4_line_44 |  | 38 | 39 | 0.042739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5643-4_0_4_line_45 |  | 38 | 40 | 0.014275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5643-4_0_4_line_46 |  | 39 | 41 | 0.047525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5643-4_0_4_line_47 |  | 39 | 42 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5643-4_0_4_line_48 |  | 40 | 65 | 0.023357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5643-4_0_4_line_49 |  | 41 | 51 | 0.010196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5643-4_0_4_line_50 |  | 41 | 48 | 0.043529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5643-4_0_4_line_51 |  | 44 | 66 | 0.023757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5643-4_0_4_line_52 |  | 45 | 46 | 0.050233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5643-4_0_4_line_53 |  | 45 | 47 | 0.040188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5643-4_0_4_line_54 |  | 46 | 64 | 0.059389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5643-4_0_4_line_55 |  | 48 | 49 | 0.025637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5643-4_0_4_line_56 |  | 48 | 50 | 0.011851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5643-4_0_4_line_57 |  | 52 | 53 | 0.032302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5643-4_0_4_line_58 |  | 52 | 54 | 0.027245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5643-4_0_4_line_59 |  | 52 | 55 | 0.014318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5643-4_0_4_line_60 |  | 53 | 68 | 0.008374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5643-4_0_4_line_61 |  | 55 | 59 | 0.0084109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5643-4_0_4_line_62 |  | 56 | 67 | 0.072246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5643-4_0_4_line_63 |  | 59 | 60 | 0.012995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5643-4_0_4_line_64 |  | 60 | 69 | 0.013225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5643-4_0_4_line_65 |  | 61 | 62 | 0.017483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5643-4_0_4_line_66 |  | 61 | 63 | 0.0050744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5643-4_0_4_line_67 |  | 62 | 64 | 0.043833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5643-4_0_4_line_68 |  | 63 | 69 | 0.019361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5643-4_0_4_line_69 |  | 65 | 70 | 0.055732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5643-4_0_4_line_70 |  | 66 | 77 | 0.0052393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5643-4_0_4_line_71 |  | 69 | 76 | 0.0665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5643-4_0_4_line_72 |  | 70 | 71 | 0.075866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5643-4_0_4_line_73 |  | 70 | 72 | 0.19945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5643-4_0_4_line_74 |  | 70 | 73 | 0.026362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5643-4_0_4_line_75 |  | 71 | 74 | 0.041613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5643-4_0_4_line_76 |  | 72 | 75 | 0.019047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5643-4_0_4_trafo_73 | 0.63 MVA 20/0.4 kV | 78 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2529772.1712 | 1152451.6553 | 2529761.153 | 1152445.2693 | 2529761.1129 | 1152432.6405
1 | 2529748.4801 | 1152427.3185 | 2529761.1129 | 1152432.6405
2 | 2529772.1712 | 1152451.6553 | 2529783.2744 | 1152457.44 | 2529795.2542 | 1152464.026 | 2529795.4116 | 1152474.8746 | 2529817.8566 | 1152474.6903 | 2529817.7215 | 1152465.0865 | 2529817.5379 | 1152451.9925
3 | 2529772.1712 | 1152451.6553 | 2529783.2744 | 1152457.44 | 2529795.2542 | 1152464.026 | 2529795.4116 | 1152474.8746 | 2529787.9991 | 1152474.9501 | 2529753.362 | 1152475.3326 | 2529738.9456 | 1152475.6346
4 | 2529748.0916 | 1152394.0823 | 2529748.2125 | 1152404.42 | 2529748.2443 | 1152407.1433 | 2529748.4801 | 1152427.3185
5 | 2529812.2351 | 1152452.0099 | 2529817.5379 | 1152451.9925
6 | 2529817.5379 | 1152451.9925 | 2529817.5251 | 1152450.9031 | 2529817.5338 | 1152447.0453 | 2529817.4664 | 1152443.8999 | 2529806.8727 | 1152435.0853 | 2529804.4092 | 1152433.113 | 2529808.9317 | 1152429.3692 | 2529824.6478 | 1152442.4375 | 2529826.5633 | 1152440.2028 | 2529828.0331 | 1152438.5736 | 2529828.8373 | 1152435.8072 | 2529829.3587 | 1152433.8 | 2529830.2857 | 1152432.3439 | 2529833.5126 | 1152428.7153 | 2529839.6857 | 1152422.3953 | 2529833.5066 | 1152415.7193 | 2529838.137 | 1152412.0076 | 2529834.3741 | 1152409.1722 | 2529829.638 | 1152405.1363
7 | 2529738.9456 | 1152475.6346 | 2529721.3082 | 1152475.9987
8 | 2529743.0116 | 1152394.1194 | 2529748.0916 | 1152394.0823
9 | 2529825.3041 | 1152407.944 | 2529829.638 | 1152405.1363
10 | 2529829.638 | 1152405.1363 | 2529813.879 | 1152391.6905 | 2529811.2188 | 1152389.298 | 2529802.9122 | 1152381.8241 | 2529794.0783 | 1152373.8784
11 | 2529864.4383 | 1152434.48 | 2529861.6094 | 1152432.1005 | 2529847.4044 | 1152419.6259 | 2529842.1939 | 1152415.0509 | 2529838.137 | 1152412.0076 | 2529834.3741 | 1152409.1722 | 2529829.638 | 1152405.1363
12 | 2529790.7792 | 1152376.5851 | 2529794.0783 | 1152373.8784
13 | 2529770.0634 | 1152352.0578 | 2529770.7706 | 1152353.4725 | 2529776.3653 | 1152358.7323 | 2529786.9508 | 1152367.4803 | 2529794.0783 | 1152373.8784
14 | 2529794.0783 | 1152373.8784 | 2529786.9508 | 1152367.4803 | 2529793.2127 | 1152363.5049 | 2529799.5581 | 1152368.6448 | 2529801.5598 | 1152366.5647 | 2529807.9728 | 1152359.7528 | 2529809.8666 | 1152359.5972 | 2529813.9714 | 1152354.9134
15 | 2529754.7481 | 1152294.5157 | 2529749.6973 | 1152298.3769 | 2529749.7755 | 1152300.466 | 2529746.9068 | 1152300.5996 | 2529748.0536 | 1152314.6718 | 2529746.0575 | 1152324.4561 | 2529771.4883 | 1152345.9266 | 2529774.7268 | 1152348.5458 | 2529785.744 | 1152357.4666 | 2529789.7185 | 1152360.6775 | 2529793.2127 | 1152363.5049 | 2529786.9508 | 1152367.4803 | 2529794.0783 | 1152373.8784
16 | 2529860.8312 | 1152436.4454 | 2529864.4383 | 1152434.48
17 | 2529911.3968 | 1152354.1544 | 2529908.1599 | 1152349.6896
18 | 2529849.9728 | 1152385.2213 | 2529851.7847 | 1152385.2891 | 2529865.8571 | 1152384.4244 | 2529873.3851 | 1152383.714 | 2529878.9731 | 1152381.1808 | 2529881.4185 | 1152378.9733 | 2529886.5349 | 1152372.1876 | 2529889.7348 | 1152369.5266 | 2529898.9818 | 1152362.2369 | 2529911.3968 | 1152354.1544
19 | 2529919.8081 | 1152324.551 | 2529934.6765 | 1152339.9418 | 2529911.3968 | 1152354.1544
20 | 2529850.4482 | 1152379.9239 | 2529850.7697 | 1152383.8001 | 2529849.9728 | 1152385.2213
21 | 2529813.9714 | 1152354.9134 | 2529809.8666 | 1152359.5972 | 2529807.9728 | 1152359.7528 | 2529801.5598 | 1152366.5647 | 2529799.5581 | 1152368.6448 | 2529807.5452 | 1152376.367 | 2529810.7997 | 1152379.0416 | 2529821.3723 | 1152388.0121 | 2529825.8136 | 1152391.7735 | 2529835.5714 | 1152399.9753 | 2529837.5685 | 1152397.495 | 2529843.4631 | 1152390.3223 | 2529845.6028 | 1152390.1972 | 2529849.9728 | 1152385.2213
22 | 2529919.8081 | 1152324.551 | 2529915.3957 | 1152319.9776 | 2529902.398 | 1152306.3994 | 2529899.5511 | 1152300.507 | 2529898.5262 | 1152294.8825 | 2529899.1328 | 1152289.6503 | 2529901.6647 | 1152286.9526 | 2529931.4166 | 1152259.1237 | 2529939.7613 | 1152252.1004 | 2529941.4319 | 1152250.5689 | 2529933.5373 | 1152246.1807 | 2529935.1928 | 1152243.3598 | 2529935.7675 | 1152242.6194
23 | 2529919.8081 | 1152324.551 | 2529933.1152 | 1152312.6671 | 2529938.0225 | 1152309.6848
24 | 2529786.2232 | 1152319.651 | 2529786.3853 | 1152321.7058 | 2529786.4655 | 1152322.661
25 | 2529754.7481 | 1152294.5157 | 2529749.6973 | 1152298.3769 | 2529749.7755 | 1152300.466 | 2529746.9068 | 1152300.5996 | 2529748.0536 | 1152314.6718 | 2529746.0575 | 1152324.4561 | 2529753.721 | 1152324.1776 | 2529756.2605 | 1152324.1145 | 2529772.4103 | 1152323.6923 | 2529773.062 | 1152323.6402 | 2529786.4655 | 1152322.661
26 | 2529753.8079 | 1152283.6762 | 2529754.7481 | 1152294.5157
27 | 2529676.4115 | 1152304.0922 | 2529677.9136 | 1152323.5966 | 2529678.9445 | 1152336.9253 | 2529689.6163 | 1152335.9889 | 2529696.387 | 1152335.4872 | 2529701.4773 | 1152335.0164 | 2529703.175 | 1152335.1521 | 2529703.848 | 1152331.6757 | 2529704.7164 | 1152329.8089 | 2529706.5224 | 1152328.7094 | 2529731.4245 | 1152314.1436 | 2529744.4812 | 1152315.0026 | 2529748.0536 | 1152314.6718 | 2529746.9068 | 1152300.5996 | 2529749.7755 | 1152300.466 | 2529749.6973 | 1152298.3769 | 2529754.7481 | 1152294.5157
28 | 2529770.0634 | 1152352.0578 | 2529761.1487 | 1152344.4354 | 2529759.3022 | 1152346.0023
29 | 2529815.2511 | 1152348.8395 | 2529815.6256 | 1152352.6484 | 2529813.9714 | 1152354.9134
30 | 2529935.7675 | 1152242.6194 | 2529927.4282 | 1152236.9467 | 2529920.9695 | 1152231.3078 | 2529918.5335 | 1152227.0894 | 2529918.2346 | 1152223.1684 | 2529920.6523 | 1152219.2381 | 2529919.9922 | 1152217.2558 | 2529931.1192 | 1152213.7881
31 | 2529935.7675 | 1152242.6194 | 2529956.4716 | 1152254.318
32 | 2529916.9812 | 1152242.0491 | 2529921.18 | 1152238.8317 | 2529929.2139 | 1152243.9743 | 2529933.5373 | 1152246.1807 | 2529935.1928 | 1152243.3598 | 2529935.7675 | 1152242.6194
33 | 2529676.4115 | 1152304.0922 | 2529677.9136 | 1152323.5966 | 2529678.9445 | 1152336.9253 | 2529680.2466 | 1152353.7639 | 2529681.6822 | 1152370.2007 | 2529682.3546 | 1152377.8193
34 | 2529682.3968 | 1152378.4587 | 2529682.3546 | 1152377.8193
35 | 2529672.363 | 1152304.4064 | 2529675.1541 | 1152304.1959 | 2529676.4115 | 1152304.0922
36 | 2529683.5195 | 1152387.5222 | 2529682.9707 | 1152384.5603 | 2529682.4478 | 1152379.2301 | 2529682.3968 | 1152378.4587
37 | 2529675.4484 | 1152427.072 | 2529680.5267 | 1152426.8903
38 | 2529680.5267 | 1152426.8903 | 2529680.0936 | 1152418.0793 | 2529680.7697 | 1152416.1815 | 2529685.4602 | 1152408.4334 | 2529685.0122 | 1152404.9034 | 2529683.5195 | 1152387.5222
39 | 2529956.4716 | 1152254.318 | 2529954.1393 | 1152256.3575 | 2529960.1342 | 1152260.401 | 2529982.0212 | 1152280.1015 | 2529978.7971 | 1152282.6627
40 | 2529956.4716 | 1152254.318 | 2529960.5358 | 1152257.3279 | 2529971.5769 | 1152266.9825 | 2529981.5982 | 1152276.0709 | 2529984.1959 | 1152277.7082 | 2529985.1923 | 1152278.3613
41 | 2529978.7971 | 1152282.6627 | 2529992.9831 | 1152295.4825
42 | 2529978.7971 | 1152282.6627 | 2529969.6546 | 1152289.0616 | 2529969.6546 | 1152289.0616
43 | 2530006.3171 | 1152296.4389 | 2529994.961 | 1152284.7646 | 2529985.1923 | 1152278.3613
44 | 2529838.2909 | 1152220.0878 | 2529843.0858 | 1152219.9429 | 2529867.6791 | 1152218.3107 | 2529872.73 | 1152218.3963 | 2529874.5969 | 1152217.9076 | 2529876.0577 | 1152224.0495
45 | 2529838.2909 | 1152220.0878 | 2529824.0796 | 1152221.4303
46 | 2529916.9812 | 1152242.0491 | 2529910.7571 | 1152238.7531 | 2529907.4536 | 1152238.4582 | 2529894.7141 | 1152231.903 | 2529885.6983 | 1152229.429 | 2529876.7554 | 1152228.5995 | 2529876.6586 | 1152226.8774 | 2529876.0577 | 1152224.0495
47 | 2529876.0577 | 1152224.0495 | 2529863.876 | 1152223.7927
48 | 2529800.8265 | 1152223.627 | 2529824.0796 | 1152221.4303
49 | 2529916.9812 | 1152242.0491 | 2529911.6968 | 1152244.312 | 2529907.7143 | 1152242.3321
50 | 2529916.9812 | 1152242.0491 | 2529926.8915 | 1152247.5256 | 2529903.9706 | 1152270.1497
51 | 2529969.6546 | 1152289.0616 | 2529971.0197 | 1152301.4971 | 2529962.7473 | 1152309.1171
52 | 2530066.8003 | 1152168.5418 | 2530018.5253 | 1152182.9114
53 | 2530018.5253 | 1152182.9114 | 2530032.5809 | 1152214.8434 | 2530037.8798 | 1152214.9055
54 | 2530066.8003 | 1152168.5418 | 2530068.9891 | 1152174.6086 | 2530075.7379 | 1152189.3605 | 2530073.6215 | 1152192.1534 | 2530073.0569 | 1152195.0727 | 2530072.8045 | 1152197.1323 | 2530072.7932 | 1152199.456 | 2530078.5185 | 1152212.6523 | 2530080.168 | 1152214.5897 | 2530081.2884 | 1152214.5767 | 2530083.9865 | 1152214.2896 | 2530086.8088 | 1152213.4675 | 2530088.9301 | 1152213.7318
55 | 2529903.9706 | 1152270.1497 | 2529892.8872 | 1152281.8744 | 2529884.7099 | 1152286.7947
56 | 2529903.9706 | 1152270.1497 | 2529892.6026 | 1152266.6914
57 | 2530029.092 | 1152293.55 | 2530021.964 | 1152262.0487
58 | 2530006.3171 | 1152296.4389 | 2530014.284 | 1152302.4384 | 2530018.2999 | 1152299.9903 | 2530023.7409 | 1152296.6696 | 2530029.092 | 1152293.55
59 | 2530029.092 | 1152293.55 | 2530042.2239 | 1152287.8435
60 | 2530021.964 | 1152262.0487 | 2530029.9777 | 1152259.543
61 | 2530049.9379 | 1152284.4913 | 2530042.2239 | 1152287.8435
62 | 2529721.3082 | 1152475.9987 | 2529689.2591 | 1152476.6604 | 2529688.2097 | 1152476.1724 | 2529684.6648 | 1152476.2249 | 2529683.9743 | 1152476.2441 | 2529684.0217 | 1152478.3225 | 2529687.106 | 1152480.8879 | 2529715.8069 | 1152480.361
63 | 2530049.9379 | 1152284.4913 | 2530061.1389 | 1152277.9034
64 | 2530072.5381 | 1152271.1988 | 2530061.1389 | 1152277.9034
65 | 2530094.2651 | 1152260.0178 | 2530106.0059 | 1152253.9779 | 2530109.8128 | 1152252.0215
66 | 2530094.2651 | 1152260.0178 | 2530089.7531 | 1152262.3397
67 | 2530109.8128 | 1152252.0215 | 2530092.9168 | 1152217.999 | 2530091.9604 | 1152216.9317 | 2530090.653 | 1152215.3794 | 2530088.9301 | 1152213.7318
68 | 2530072.5381 | 1152271.1988 | 2530089.7531 | 1152262.3397
69 | 2529800.8265 | 1152223.627 | 2529781.5922 | 1152225.4415 | 2529770.8159 | 1152212.8603 | 2529769.4596 | 1152204.5048 | 2529762.2804 | 1152195.6727
70 | 2529962.7473 | 1152309.1171 | 2529958.8937 | 1152312.6668
71 | 2530072.5381 | 1152271.1988 | 2530049.3255 | 1152218.0281 | 2530057.1608 | 1152214.6907
72 | 2529762.2804 | 1152195.6727 | 2529717.9854 | 1152142.7607 | 2529719.8645 | 1152136.0906
73 | 2529642.5389 | 1152113.5378 | 2529657.4414 | 1152109.4501 | 2529674.8095 | 1152104.2218 | 2529681.3959 | 1152106.3126 | 2529747.6973 | 1152186.3601 | 2529770.8159 | 1152212.8603 | 2529769.4596 | 1152204.5048 | 2529762.2804 | 1152195.6727
74 | 2529762.2804 | 1152195.6727 | 2529769.3594 | 1152188.0413 | 2529776.7146 | 1152183.0415 | 2529777.1051 | 1152180.9914 | 2529781.5441 | 1152178.7522
75 | 2529719.8645 | 1152136.0906 | 2529719.9868 | 1152129.4855 | 2529725.6626 | 1152124.5942 | 2529735.3057 | 1152110.4626 | 2529743.5261 | 1152104.0824
76 | 2529642.5389 | 1152113.5378 | 2529632.8075 | 1152097.1648

## bus_geodata
| x | y | coords
0 | 2529761.1129 | 1152432.6405
1 | 2529772.1712 | 1152451.6553
2 | 2529748.4801 | 1152427.3185
3 | 2529817.5379 | 1152451.9925
4 | 2529738.9456 | 1152475.6346
5 | 2529748.0916 | 1152394.0823
6 | 2529743.0116 | 1152394.1194
7 | 2529812.2351 | 1152452.0099
8 | 2529829.638 | 1152405.1363
9 | 2529825.3041 | 1152407.944
10 | 2529794.0783 | 1152373.8784
11 | 2529864.4383 | 1152434.48
12 | 2529911.3968 | 1152354.1544
13 | 2529908.1599 | 1152349.6896
14 | 2529849.9728 | 1152385.2213
15 | 2529919.8081 | 1152324.551
16 | 2529786.4655 | 1152322.661
17 | 2529786.2232 | 1152319.651
18 | 2529754.7481 | 1152294.5157
19 | 2529790.7792 | 1152376.5851
20 | 2529770.0634 | 1152352.0578
21 | 2529813.9714 | 1152354.9134
22 | 2529935.7675 | 1152242.6194
23 | 2529938.0225 | 1152309.6848
24 | 2529682.3546 | 1152377.8193
25 | 2529676.4115 | 1152304.0922
26 | 2529682.3968 | 1152378.4587
27 | 2529680.5267 | 1152426.8903
28 | 2529675.4484 | 1152427.072
29 | 2529683.5195 | 1152387.5222
30 | 2529672.363 | 1152304.4064
31 | 2529815.2511 | 1152348.8395
32 | 2529759.3022 | 1152346.0023
33 | 2529850.4482 | 1152379.9239
34 | 2529753.8079 | 1152283.6762
35 | 2529956.4716 | 1152254.318
36 | 2529978.7971 | 1152282.6627
37 | 2529985.1923 | 1152278.3613
38 | 2529838.2909 | 1152220.0878
39 | 2529876.0577 | 1152224.0495
40 | 2529824.0796 | 1152221.4303
41 | 2529916.9812 | 1152242.0491
42 | 2529863.876 | 1152223.7927
43 | 2529992.9831 | 1152295.4824
44 | 2529969.6546 | 1152289.0616
45 | 2530018.5253 | 1152182.9114
46 | 2530066.8003 | 1152168.5418
47 | 2530037.8798 | 1152214.9055
48 | 2529903.9706 | 1152270.1497
49 | 2529884.7099 | 1152286.7947
50 | 2529892.6026 | 1152266.6914
51 | 2529907.7143 | 1152242.3321
52 | 2530029.092 | 1152293.55
53 | 2530021.964 | 1152262.0487
54 | 2530006.3171 | 1152296.4389
55 | 2530042.2239 | 1152287.8435
56 | 2529721.3082 | 1152475.9987
57 | 2529931.1192 | 1152213.7881
58 | 2529860.8312 | 1152436.4454
59 | 2530049.9379 | 1152284.4913
60 | 2530061.1389 | 1152277.9034
61 | 2530094.2651 | 1152260.0178
62 | 2530109.8128 | 1152252.0215
63 | 2530089.7531 | 1152262.3397
64 | 2530088.9301 | 1152213.7318
65 | 2529800.8265 | 1152223.627
66 | 2529962.7473 | 1152309.1171
67 | 2529715.8069 | 1152480.361
68 | 2530029.9777 | 1152259.543
69 | 2530072.5381 | 1152271.1988
70 | 2529762.2804 | 1152195.6727
71 | 2529719.8645 | 1152136.0906
72 | 2529642.5389 | 1152113.5378
73 | 2529781.5442 | 1152178.7522
74 | 2529743.5261 | 1152104.0824
75 | 2529632.8075 | 1152097.1648
76 | 2530057.1608 | 1152214.6907
77 | 2529958.8937 | 1152312.6668
78 | 2529813.9714 | 1152354.9134

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1