## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5648-3_1_2_node_66 | 0.4 | n |  | TRUE
1 | bus_LV_5648-3_1_2_node_67 | 0.4 | n |  | TRUE
2 | bus_LV_5648-3_1_2_node_68 | 0.4 | n |  | TRUE
3 | bus_LV_5648-3_1_2_node_76 | 0.4 | n |  | TRUE
4 | bus_LV_5648-3_1_2_node_75 | 0.4 | n |  | TRUE
5 | bus_LV_5648-3_1_2_node_107 | 0.4 | n |  | TRUE
6 | bus_LV_5648-3_1_2_node_102 | 0.4 | n |  | TRUE
7 | bus_LV_5648-3_1_2_node_105 | 0.4 | n |  | TRUE
8 | bus_LV_5648-3_1_2_node_77 | 0.4 | n |  | TRUE
9 | bus_LV_5648-3_1_2_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_5648-3_1_2_node_145 | 0.4 | n |  | TRUE
11 | bus_LV_5648-3_1_2_node_152 | 0.4 | n |  | TRUE
12 | bus_LV_5648-3_1_2_node_84 | 0.4 | n |  | TRUE
13 | bus_LV_5648-3_1_2_node_85 | 0.4 | n |  | TRUE
14 | bus_LV_5648-3_1_2_node_82 | 0.4 | n |  | TRUE
15 | bus_LV_5648-3_1_2_node_128 | 0.4 | n |  | TRUE
16 | bus_LV_5648-3_1_2_node_83 | 0.4 | n |  | TRUE
17 | bus_LV_5648-3_1_2_node_86 | 0.4 | n |  | TRUE
18 | bus_LV_5648-3_1_2_node_87 | 0.4 | n |  | TRUE
19 | bus_LV_5648-3_1_2_node_88 | 0.4 | n |  | TRUE
20 | bus_LV_5648-3_1_2_node_89 | 0.4 | n |  | TRUE
21 | bus_LV_5648-3_1_2_node_142 | 0.4 | n |  | TRUE
22 | bus_LV_5648-3_1_2_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_5648-3_1_2_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_5648-3_1_2_node_92 | 0.4 | n |  | TRUE
25 | bus_LV_5648-3_1_2_node_93 | 0.4 | n |  | TRUE
26 | bus_LV_5648-3_1_2_node_94 | 0.4 | n |  | TRUE
27 | bus_LV_5648-3_1_2_node_167 | 0.4 | n |  | TRUE
28 | bus_LV_5648-3_1_2_node_143 | 0.4 | n |  | TRUE
29 | bus_LV_5648-3_1_2_node_117 | 0.4 | n |  | TRUE
30 | bus_LV_5648-3_1_2_node_95 | 0.4 | n |  | TRUE
31 | bus_LV_5648-3_1_2_node_96 | 0.4 | n |  | TRUE
32 | bus_LV_5648-3_1_2_node_97 | 0.4 | n |  | TRUE
33 | bus_LV_5648-3_1_2_node_98 | 0.4 | n |  | TRUE
34 | bus_LV_5648-3_1_2_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_5648-3_1_2_node_119 | 0.4 | n |  | TRUE
36 | bus_LV_5648-3_1_2_node_121 | 0.4 | n |  | TRUE
37 | bus_LV_5648-3_1_2_node_103 | 0.4 | n |  | TRUE
38 | bus_LV_5648-3_1_2_node_122 | 0.4 | n |  | TRUE
39 | bus_LV_5648-3_1_2_node_100 | 0.4 | n |  | TRUE
40 | bus_LV_5648-3_1_2_node_101 | 0.4 | n |  | TRUE
41 | bus_LV_5648-3_1_2_node_127 | 0.4 | n |  | TRUE
42 | bus_LV_5648-3_1_2_node_104 | 0.4 | n |  | TRUE
43 | bus_LV_5648-3_1_2_node_110 | 0.4 | n |  | TRUE
44 | bus_LV_5648-3_1_2_node_123 | 0.4 | n |  | TRUE
45 | bus_LV_5648-3_1_2_node_106 | 0.4 | n |  | TRUE
46 | bus_LV_5648-3_1_2_node_108 | 0.4 | n |  | TRUE
47 | bus_LV_5648-3_1_2_node_109 | 0.4 | n |  | TRUE
48 | bus_LV_5648-3_1_2_node_112 | 0.4 | n |  | TRUE
49 | bus_LV_5648-3_1_2_node_115 | 0.4 | n |  | TRUE
50 | bus_LV_5648-3_1_2_node_111 | 0.4 | n |  | TRUE
51 | bus_LV_5648-3_1_2_node_116 | 0.4 | n |  | TRUE
52 | bus_LV_5648-3_1_2_node_113 | 0.4 | n |  | TRUE
53 | bus_LV_5648-3_1_2_node_114 | 0.4 | n |  | TRUE
54 | bus_LV_5648-3_1_2_node_131 | 0.4 | n |  | TRUE
55 | bus_LV_5648-3_1_2_node_118 | 0.4 | n |  | TRUE
56 | bus_LV_5648-3_1_2_node_120 | 0.4 | n |  | TRUE
57 | bus_LV_5648-3_1_2_node_124 | 0.4 | n |  | TRUE
58 | bus_LV_5648-3_1_2_node_125 | 0.4 | n |  | TRUE
59 | bus_LV_5648-3_1_2_node_126 | 0.4 | n |  | TRUE
60 | bus_LV_5648-3_1_2_node_137 | 0.4 | n |  | TRUE
61 | bus_LV_5648-3_1_2_node_132 | 0.4 | n |  | TRUE
62 | bus_LV_5648-3_1_2_node_134 | 0.4 | n |  | TRUE
63 | bus_LV_5648-3_1_2_node_135 | 0.4 | n |  | TRUE
64 | bus_LV_5648-3_1_2_node_136 | 0.4 | n |  | TRUE
65 | bus_LV_5648-3_1_2_node_138 | 0.4 | n |  | TRUE
66 | bus_LV_5648-3_1_2_node_139 | 0.4 | n |  | TRUE
67 | bus_LV_5648-3_1_2_node_140 | 0.4 | n |  | TRUE
68 | bus_LV_5648-3_1_2_node_141 | 0.4 | n |  | TRUE
69 | bus_LV_5648-3_1_2_node_168 | 0.4 | n |  | TRUE
70 | bus_LV_5648-3_1_2_node_144 | 0.4 | n |  | TRUE
71 | bus_LV_5648-3_1_2_node_146 | 0.4 | n |  | TRUE
72 | bus_LV_5648-3_1_2_node_148 | 0.4 | n |  | TRUE
73 | bus_LV_5648-3_1_2_node_147 | 0.4 | n |  | TRUE
74 | bus_LV_5648-3_1_2_node_154 | 0.4 | n |  | TRUE
75 | bus_LV_5648-3_1_2_node_166 | 0.4 | n |  | TRUE
76 | bus_LV_5648-3_1_2_node_153 | 0.4 | n |  | TRUE
77 | bus_MV_635_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5648-3_1_2_load_66 | 0 | 0.0035244 | 0.0008833 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5648-3_1_2_load_68 | 2 | 0.0028102 | 0.0007043 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5648-3_1_2_load_107 | 5 | 0.0020892 | 0.00052361 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5648-3_1_2_load_105 | 7 | 0.006955 | 0.0017431 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5648-3_1_2_load_152 | 11 | 0.007408 | 0.0018566 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5648-3_1_2_load_85 | 13 | 0.00042331 | 0.00010609 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5648-3_1_2_load_82 | 14 | 0.0012751 | 0.00031957 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5648-3_1_2_load_83 | 16 | 0.0071544 | 0.0017931 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5648-3_1_2_load_86 | 17 | 0.0011351 | 0.00028447 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5648-3_1_2_load_87 | 18 | 0.0071077 | 0.0017813 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5648-3_1_2_load_88 | 19 | 0.0012366 | 0.00030992 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5648-3_1_2_load_89 | 20 | 0.0020712 | 0.0005191 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5648-3_1_2_load_90 | 22 | 0.0018022 | 0.00045166 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5648-3_1_2_load_92 | 24 | 0.0014244 | 0.000357 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5648-3_1_2_load_94 | 26 | 0.0034871 | 0.00087396 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5648-3_1_2_load_167 | 27 | 0.0017675 | 0.00044297 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5648-3_1_2_load_95 | 30 | 0.003283 | 0.0008228 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5648-3_1_2_load_97 | 32 | 0.0032254 | 0.00080835 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5648-3_1_2_load_121 | 36 | 0.0046205 | 0.001158 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5648-3_1_2_load_122 | 38 | 0.0046794 | 0.0011728 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5648-3_1_2_load_100 | 39 | 0.0047867 | 0.0011997 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5648-3_1_2_load_101 | 40 | 0.0052454 | 0.0013146 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5648-3_1_2_load_127 | 41 | 0.001913 | 0.00047945 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5648-3_1_2_load_123 | 44 | 0.0042556 | 0.0010665 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5648-3_1_2_load_108 | 46 | 0.0023238 | 0.00058241 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5648-3_1_2_load_109 | 47 | 0.0033036 | 0.00082795 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5648-3_1_2_load_115 | 49 | 0.0019086 | 0.00047833 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5648-3_1_2_load_111 | 50 | 0.0027509 | 0.00068944 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5648-3_1_2_load_116 | 51 | 0.0033156 | 0.00083096 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5648-3_1_2_load_113 | 52 | 0.0014187 | 0.00035556 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5648-3_1_2_load_131 | 54 | 0.0044114 | 0.0011056 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5648-3_1_2_load_118 | 55 | 0.00097764 | 0.00024502 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5648-3_1_2_load_120 | 56 | 0.0057047 | 0.0014297 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5648-3_1_2_load_125 | 58 | 0.0032314 | 0.00080986 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5648-3_1_2_load_126 | 59 | 0.0019451 | 0.0004875 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5648-3_1_2_load_134 | 62 | 0.0033935 | 0.0008505 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5648-3_1_2_load_135 | 63 | 0.0031125 | 0.00078006 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5648-3_1_2_load_136 | 64 | 0.0033865 | 0.00084874 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5648-3_1_2_load_138 | 65 | 0.0010881 | 0.0002727 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5648-3_1_2_load_139 | 66 | 0.0019099 | 0.00047867 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5648-3_1_2_load_140 | 67 | 0.0010649 | 0.00026689 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5648-3_1_2_load_141 | 68 | 0.00079917 | 0.00020029 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5648-3_1_2_load_168 | 69 | 0.002799 | 0.0007015 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5648-3_1_2_load_144 | 70 | 0.0048272 | 0.0012098 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5648-3_1_2_load_154 | 74 | 0.0056345 | 0.0014121 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5648-3_1_2_load_166 | 75 | 0.00063806 | 0.00015991 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5648-3_1_2_load_153 | 76 | 0.028606 | 0.0071694 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5648-3_1_2_line_0 |  | 0 | 1 | 0.040069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5648-3_1_2_line_1 |  | 1 | 2 | 0.0057175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5648-3_1_2_line_2 |  | 2 | 3 | 0.029939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5648-3_1_2_line_3 |  | 3 | 8 | 0.067989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5648-3_1_2_line_4 |  | 3 | 9 | 0.004467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5648-3_1_2_line_5 |  | 4 | 5 | 0.013208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5648-3_1_2_line_6 |  | 4 | 6 | 0.032621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5648-3_1_2_line_7 |  | 4 | 7 | 0.026218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5648-3_1_2_line_8 |  | 5 | 48 | 0.011349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5648-3_1_2_line_9 |  | 6 | 41 | 0.051676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5648-3_1_2_line_10 |  | 6 | 39 | 0.027662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5648-3_1_2_line_11 |  | 7 | 45 | 0.022683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5648-3_1_2_line_12 |  | 8 | 10 | 0.018327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5648-3_1_2_line_13 |  | 8 | 11 | 0.042832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5648-3_1_2_line_14 |  | 9 | 12 | 0.015449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5648-3_1_2_line_15 |  | 9 | 13 | 0.024155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5648-3_1_2_line_16 |  | 10 | 14 | 0.112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5648-3_1_2_line_17 |  | 10 | 70 | 0.039972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5648-3_1_2_line_18 |  | 11 | 76 | 0.020162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5648-3_1_2_line_19 |  | 12 | 16 | 0.022465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5648-3_1_2_line_20 |  | 13 | 17 | 0.010991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5648-3_1_2_line_21 |  | 14 | 15 | 0.097095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5648-3_1_2_line_22 |  | 15 | 41 | 0.0034388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5648-3_1_2_line_23 |  | 18 | 19 | 0.0055003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5648-3_1_2_line_24 |  | 19 | 20 | 0.016128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5648-3_1_2_line_25 |  | 20 | 21 | 0.0079389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5648-3_1_2_line_26 |  | 21 | 28 | 0.029876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5648-3_1_2_line_27 |  | 22 | 23 | 0.056136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5648-3_1_2_line_28 |  | 22 | 24 | 0.0029484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5648-3_1_2_line_29 |  | 23 | 25 | 0.029757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5648-3_1_2_line_30 |  | 23 | 26 | 0.016834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5648-3_1_2_line_31 |  | 25 | 27 | 0.011225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5648-3_1_2_line_32 |  | 25 | 28 | 0.008764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5648-3_1_2_line_33 |  | 26 | 29 | 0.025048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5648-3_1_2_line_34 |  | 28 | 69 | 0.012921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5648-3_1_2_line_35 |  | 29 | 55 | 0.010327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5648-3_1_2_line_36 |  | 29 | 35 | 0.008845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5648-3_1_2_line_37 |  | 30 | 31 | 0.062762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5648-3_1_2_line_38 |  | 31 | 32 | 0.012162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5648-3_1_2_line_39 |  | 31 | 33 | 0.009424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5648-3_1_2_line_40 |  | 31 | 34 | 0.033343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5648-3_1_2_line_41 |  | 33 | 35 | 0.028261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5648-3_1_2_line_42 |  | 33 | 36 | 0.011544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5648-3_1_2_line_43 |  | 34 | 37 | 0.006302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5648-3_1_2_line_44 |  | 34 | 38 | 0.013231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5648-3_1_2_line_45 |  | 35 | 56 | 0.015707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5648-3_1_2_line_46 |  | 37 | 42 | 0.0206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5648-3_1_2_line_47 |  | 37 | 40 | 0.029926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5648-3_1_2_line_48 |  | 42 | 43 | 0.017498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5648-3_1_2_line_49 |  | 42 | 44 | 0.0090259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5648-3_1_2_line_50 |  | 43 | 50 | 0.014932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5648-3_1_2_line_51 |  | 43 | 46 | 0.003825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5648-3_1_2_line_52 |  | 44 | 57 | 0.017766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5648-3_1_2_line_53 |  | 45 | 46 | 0.034708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5648-3_1_2_line_54 |  | 45 | 47 | 0.020692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5648-3_1_2_line_55 |  | 47 | 49 | 0.0077078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5648-3_1_2_line_56 |  | 48 | 52 | 0.005398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5648-3_1_2_line_57 |  | 48 | 53 | 0.069808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5648-3_1_2_line_58 |  | 50 | 51 | 5.5675e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5648-3_1_2_line_59 |  | 53 | 54 | 0.020165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5648-3_1_2_line_60 |  | 54 | 61 | 0.019859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5648-3_1_2_line_61 |  | 57 | 58 | 0.016267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5648-3_1_2_line_62 |  | 57 | 59 | 0.020661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5648-3_1_2_line_63 |  | 59 | 60 | 0.00076348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5648-3_1_2_line_64 |  | 60 | 65 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5648-3_1_2_line_65 |  | 60 | 66 | 0.019694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5648-3_1_2_line_66 |  | 61 | 62 | 0.012046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5648-3_1_2_line_67 |  | 61 | 63 | 0.017023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5648-3_1_2_line_68 |  | 63 | 64 | 0.026485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5648-3_1_2_line_69 |  | 66 | 67 | 0.013606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5648-3_1_2_line_70 |  | 67 | 68 | 0.024714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5648-3_1_2_line_71 |  | 70 | 71 | 0.020432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5648-3_1_2_line_72 |  | 71 | 72 | 0.020281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5648-3_1_2_line_73 |  | 71 | 73 | 0.04219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5648-3_1_2_line_74 |  | 72 | 75 | 0.015805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5648-3_1_2_line_75 |  | 73 | 74 | 0.026142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5648-3_1_2_trafo_95 | 0.63 MVA 20/0.4 kV | 77 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2532641.9655 | 1151765.6892 | 2532610.7877 | 1151790.8573
1 | 2532641.9655 | 1151765.6892 | 2532638.0612 | 1151761.5123
2 | 2532614.7663 | 1151743.2148 | 2532621.4402 | 1151746.3306 | 2532630.2055 | 1151753.2029 | 2532636.5355 | 1151759.8801 | 2532638.0612 | 1151761.5123
3 | 2532614.7663 | 1151743.2148 | 2532617.2989 | 1151737.7167 | 2532620.7887 | 1151733.3975 | 2532628.3351 | 1151728.7659 | 2532653.1582 | 1151720.0164 | 2532669.3616 | 1151713.2646 | 2532672.7971 | 1151711.6363
4 | 2532610.4326 | 1151742.085 | 2532614.7663 | 1151743.2148
5 | 2532931.3117 | 1151734.3601 | 2532944.1553 | 1151737.4397
6 | 2532931.3117 | 1151734.3601 | 2532900.5115 | 1151723.3643
7 | 2532931.3117 | 1151734.3601 | 2532940.0312 | 1151709.634
8 | 2532955.1914 | 1151740.0859 | 2532944.1553 | 1151737.4397
9 | 2532900.5115 | 1151723.3643 | 2532871.6652 | 1151766.2399
10 | 2532900.5115 | 1151723.3643 | 2532911.3453 | 1151697.9124
11 | 2532947.575 | 1151688.2422 | 2532940.0312 | 1151709.634
12 | 2532688.9017 | 1151702.9179 | 2532680.8195 | 1151707.6888 | 2532676.5915 | 1151709.8373 | 2532672.7971 | 1151711.6363
13 | 2532672.7971 | 1151711.6363 | 2532669.0716 | 1151705.1967 | 2532662.2042 | 1151708.7867 | 2532652.3995 | 1151707.7848 | 2532651.7472 | 1151706.4247 | 2532644.695 | 1151691.7528
14 | 2532610.4326 | 1151742.085 | 2532605.5336 | 1151741.8842 | 2532601.0214 | 1151742.6352 | 2532595.1086 | 1151743.7465
15 | 2532610.4326 | 1151742.085 | 2532602.8801 | 1151719.141
16 | 2532688.9017 | 1151702.9179 | 2532772.0003 | 1151778.0131
17 | 2532688.9017 | 1151702.9179 | 2532700.048 | 1151694.1772 | 2532705.0593 | 1151689.3296 | 2532706.2006 | 1151687.7493 | 2532716.0876 | 1151674.0605
18 | 2532641.4767 | 1151674.8223 | 2532637.9323 | 1151677.6969 | 2532638.3801 | 1151678.6146 | 2532644.695 | 1151691.7528
19 | 2532595.1086 | 1151743.7465 | 2532605.2185 | 1151763.8081
20 | 2532599.4435 | 1151708.7008 | 2532602.8801 | 1151719.141
21 | 2532868.3535 | 1151766.0356 | 2532772.0003 | 1151778.0131
22 | 2532868.3535 | 1151766.0356 | 2532870.1303 | 1151765.6934 | 2532871.6652 | 1151766.2399
23 | 2532803.1646 | 1151515.0458 | 2532798.5414 | 1151512.0662
24 | 2532782.9158 | 1151511.0465 | 2532788.7656 | 1151510.2614 | 2532796.1987 | 1151510.5563 | 2532798.5414 | 1151512.0662
25 | 2532777.9747 | 1151517.1859 | 2532782.7111 | 1151511.074 | 2532782.9158 | 1151511.0465
26 | 2532802.1045 | 1151534.8926 | 2532790.1478 | 1151526.1103 | 2532777.9747 | 1151517.1859
27 | 2532833.2146 | 1151557.7243 | 2532803.9097 | 1151605.6041
28 | 2532802.3706 | 1151608.1189 | 2532803.9097 | 1151605.6041
29 | 2532833.2146 | 1151557.7243 | 2532809.1855 | 1151540.083
30 | 2532833.2146 | 1151557.7243 | 2532847.2381 | 1151567.0362
31 | 2532809.1855 | 1151540.083 | 2532815.3745 | 1151530.7087
32 | 2532802.1045 | 1151534.8926 | 2532809.1855 | 1151540.083
33 | 2532868.1045 | 1151580.8919 | 2532847.2381 | 1151567.0362
34 | 2532802.1045 | 1151534.8926 | 2532793.6095 | 1151544.6485
35 | 2532868.1045 | 1151580.8919 | 2532872.2973 | 1151571.451
36 | 2532875.5496 | 1151585.7004 | 2532870.78 | 1151582.663 | 2532868.1045 | 1151580.8919
37 | 2532907.8418 | 1151605.1507 | 2532886.4177 | 1151642.7438 | 2532877.1908 | 1151659.914
38 | 2532907.8418 | 1151605.1507 | 2532913.2926 | 1151594.2728
39 | 2532907.8418 | 1151605.1507 | 2532899.6836 | 1151600.3947
40 | 2532907.8418 | 1151605.1507 | 2532937.126 | 1151621.2441
41 | 2532875.5496 | 1151585.7004 | 2532887.0521 | 1151593.0205 | 2532899.6836 | 1151600.3947
42 | 2532899.6836 | 1151600.3947 | 2532904.7812 | 1151590.877 | 2532904.1305 | 1151590.5093
43 | 2532942.7908 | 1151624.038 | 2532937.126 | 1151621.2441
44 | 2532937.126 | 1151621.2441 | 2532942.1716 | 1151609.1256 | 2532942.0729 | 1151609.0921
45 | 2532875.5496 | 1151585.7004 | 2532879.717 | 1151576.0597 | 2532884.234 | 1151578.6449
46 | 2532960.492 | 1151634.5464 | 2532955.503 | 1151631.1001 | 2532949.3333 | 1151627.0778 | 2532942.7908 | 1151624.038
47 | 2532942.7908 | 1151624.038 | 2532931.0701 | 1151651.5734
48 | 2532960.492 | 1151634.5464 | 2532961.5288 | 1151641.4831 | 2532960.3863 | 1151651.9016
49 | 2532960.492 | 1151634.5464 | 2532969.3185 | 1151632.6598
50 | 2532960.3863 | 1151651.9016 | 2532974.7245 | 1151656.0724
51 | 2532960.3863 | 1151651.9016 | 2532959.1145 | 1151655.509
52 | 2532987.0306 | 1151632.2716 | 2532971.6865 | 1151632.1537 | 2532969.3185 | 1151632.6598
53 | 2532947.575 | 1151688.2422 | 2532959.1145 | 1151655.509
54 | 2532947.575 | 1151688.2422 | 2532955.0181 | 1151690.1492 | 2532957.132 | 1151685.6231 | 2532964.7494 | 1151688.1108
55 | 2532972.0763 | 1151690.5037 | 2532964.7494 | 1151688.1108
56 | 2532955.1914 | 1151740.0859 | 2532956.992 | 1151734.9963
57 | 2533023.2597 | 1151756.4141 | 2532955.1914 | 1151740.0859
58 | 2532974.7779 | 1151656.0879 | 2532974.7245 | 1151656.0724
59 | 2533023.2597 | 1151756.4141 | 2533025.9759 | 1151736.4326
60 | 2533028.6508 | 1151716.7545 | 2533025.9759 | 1151736.4326
61 | 2532987.0306 | 1151632.2716 | 2532988.298 | 1151623.4082 | 2532995.4933 | 1151624.7158
62 | 2532987.0306 | 1151632.2716 | 2532998.5291 | 1151632.3546 | 2533007.6907 | 1151632.4372
63 | 2533007.6907 | 1151632.4372 | 2533008.4542 | 1151632.4441
64 | 2533008.4542 | 1151632.4441 | 2533009.1217 | 1151622.0976
65 | 2533008.4542 | 1151632.4441 | 2533028.1479 | 1151632.6059
66 | 2533028.6508 | 1151716.7545 | 2533016.7265 | 1151715.0484
67 | 2533028.6508 | 1151716.7545 | 2533029.8476 | 1151714.64 | 2533032.6055 | 1151713.4864 | 2533044.1593 | 1151714.5606
68 | 2533044.1593 | 1151714.5606 | 2533053.022 | 1151739.5185
69 | 2533041.7533 | 1151632.7179 | 2533030.2769 | 1151632.6234 | 2533028.1479 | 1151632.6059
70 | 2533041.7533 | 1151632.7179 | 2533066.4668 | 1151632.9214
71 | 2532727.8962 | 1151657.3898 | 2532725.4509 | 1151661.097 | 2532716.0876 | 1151674.0605
72 | 2532727.8962 | 1151657.3898 | 2532739.9176 | 1151644.5371 | 2532741.6287 | 1151642.4391
73 | 2532704.3701 | 1151633.2619 | 2532708.2024 | 1151628.6721 | 2532726.2463 | 1151647.8141 | 2532727.9193 | 1151651.9087 | 2532727.8962 | 1151657.3898
74 | 2532741.6287 | 1151642.4391 | 2532744.4148 | 1151637.6386 | 2532736.1871 | 1151631.4828
75 | 2532704.3701 | 1151633.2619 | 2532688.1478 | 1151612.7626

## bus_geodata
| x | y | coords
0 | 2532610.7877 | 1151790.8573
1 | 2532641.9655 | 1151765.6892
2 | 2532638.0612 | 1151761.5123
3 | 2532614.7663 | 1151743.2148
4 | 2532931.3117 | 1151734.3601
5 | 2532944.1553 | 1151737.4397
6 | 2532900.5115 | 1151723.3643
7 | 2532940.0312 | 1151709.634
8 | 2532672.7971 | 1151711.6363
9 | 2532610.4326 | 1151742.085
10 | 2532688.9017 | 1151702.9179
11 | 2532644.695 | 1151691.7528
12 | 2532595.1086 | 1151743.7465
13 | 2532602.8801 | 1151719.141
14 | 2532772.0003 | 1151778.0131
15 | 2532868.3535 | 1151766.0356
16 | 2532605.2185 | 1151763.8081
17 | 2532599.4435 | 1151708.7008
18 | 2532803.1646 | 1151515.0458
19 | 2532798.5414 | 1151512.0662
20 | 2532782.9158 | 1151511.0465
21 | 2532777.9747 | 1151517.1859
22 | 2532803.9097 | 1151605.6041
23 | 2532833.2146 | 1151557.7243
24 | 2532802.3706 | 1151608.1189
25 | 2532809.1855 | 1151540.083
26 | 2532847.2381 | 1151567.0362
27 | 2532815.3745 | 1151530.7087
28 | 2532802.1045 | 1151534.8926
29 | 2532868.1045 | 1151580.8919
30 | 2532877.1908 | 1151659.914
31 | 2532907.8418 | 1151605.1507
32 | 2532913.2926 | 1151594.2728
33 | 2532899.6836 | 1151600.3947
34 | 2532937.126 | 1151621.2441
35 | 2532875.5496 | 1151585.7004
36 | 2532904.1305 | 1151590.5093
37 | 2532942.7908 | 1151624.038
38 | 2532942.0729 | 1151609.0921
39 | 2532911.3453 | 1151697.9124
40 | 2532931.0701 | 1151651.5734
41 | 2532871.6652 | 1151766.2399
42 | 2532960.492 | 1151634.5464
43 | 2532960.3863 | 1151651.9016
44 | 2532969.3185 | 1151632.6598
45 | 2532947.575 | 1151688.2422
46 | 2532959.1145 | 1151655.509
47 | 2532964.7494 | 1151688.1108
48 | 2532955.1914 | 1151740.0859
49 | 2532972.0763 | 1151690.5037
50 | 2532974.7245 | 1151656.0724
51 | 2532974.7779 | 1151656.0879
52 | 2532956.992 | 1151734.9963
53 | 2533023.2597 | 1151756.4141
54 | 2533025.9759 | 1151736.4325
55 | 2532872.2973 | 1151571.451
56 | 2532884.234 | 1151578.6449
57 | 2532987.0306 | 1151632.2716
58 | 2532995.4933 | 1151624.7158
59 | 2533007.6907 | 1151632.4372
60 | 2533008.4542 | 1151632.4441
61 | 2533028.6508 | 1151716.7545
62 | 2533016.7265 | 1151715.0484
63 | 2533044.1593 | 1151714.5606
64 | 2533053.022 | 1151739.5185
65 | 2533009.1217 | 1151622.0976
66 | 2533028.1479 | 1151632.6059
67 | 2533041.7533 | 1151632.7179
68 | 2533066.4668 | 1151632.9214
69 | 2532793.6095 | 1151544.6485
70 | 2532716.0876 | 1151674.0605
71 | 2532727.8962 | 1151657.3898
72 | 2532741.6287 | 1151642.4391
73 | 2532704.3701 | 1151633.2619
74 | 2532688.1478 | 1151612.7626
75 | 2532736.1871 | 1151631.4828
76 | 2532641.4767 | 1151674.8223
77 | 2532877.1254 | 1151681.4466

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1