## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5648-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5648-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5648-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5648-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5648-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5648-4_0_5_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_5648-4_0_5_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_5648-4_0_5_node_93 | 0.4 | n |  | TRUE
8 | bus_LV_5648-4_0_5_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_5648-4_0_5_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_5648-4_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5648-4_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5648-4_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5648-4_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5648-4_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5648-4_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5648-4_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5648-4_0_5_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_5648-4_0_5_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_5648-4_0_5_node_91 | 0.4 | n |  | TRUE
20 | bus_LV_5648-4_0_5_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_5648-4_0_5_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_5648-4_0_5_node_94 | 0.4 | n |  | TRUE
23 | bus_LV_5648-4_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5648-4_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5648-4_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5648-4_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5648-4_0_5_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_5648-4_0_5_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_5648-4_0_5_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_5648-4_0_5_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_5648-4_0_5_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_5648-4_0_5_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_5648-4_0_5_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_5648-4_0_5_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_5648-4_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_5648-4_0_5_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_5648-4_0_5_node_90 | 0.4 | n |  | TRUE
38 | bus_LV_5648-4_0_5_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_5648-4_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_5648-4_0_5_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_5648-4_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5648-4_0_5_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_5648-4_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_5648-4_0_5_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_5648-4_0_5_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_5648-4_0_5_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_5648-4_0_5_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_5648-4_0_5_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_5648-4_0_5_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_5648-4_0_5_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_5648-4_0_5_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_5648-4_0_5_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_5648-4_0_5_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_5648-4_0_5_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_5648-4_0_5_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_5648-4_0_5_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_5648-4_0_5_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_5648-4_0_5_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_5648-4_0_5_node_92 | 0.4 | n |  | TRUE
60 | bus_LV_5648-4_0_5_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_5648-4_0_5_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_5648-4_0_5_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_5648-4_0_5_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_5648-4_0_5_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_5648-4_0_5_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_5648-4_0_5_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_5648-4_0_5_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_5648-4_0_5_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_5648-4_0_5_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_5648-4_0_5_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_5648-4_0_5_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_5648-4_0_5_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_5648-4_0_5_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_5648-4_0_5_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_5648-4_0_5_node_95 | 0.4 | n |  | TRUE
76 | bus_LV_5648-4_0_5_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_5648-4_0_5_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_5648-4_0_5_node_51 | 0.4 | n |  | TRUE
79 | bus_LV_5648-4_0_5_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_5648-4_0_5_node_53 | 0.4 | n |  | TRUE
81 | bus_LV_5648-4_0_5_node_54 | 0.4 | n |  | TRUE
82 | bus_LV_5648-4_0_5_node_55 | 0.4 | n |  | TRUE
83 | bus_LV_5648-4_0_5_node_56 | 0.4 | n |  | TRUE
84 | bus_LV_5648-4_0_5_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_5648-4_0_5_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_5648-4_0_5_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_5648-4_0_5_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_5648-4_0_5_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_5648-4_0_5_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_5648-4_0_5_node_96 | 0.4 | n |  | TRUE
91 | bus_MV_635_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5648-4_0_5_load_0 | 0 | 0.0031214 | 0.00078231 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5648-4_0_5_load_12 | 6 | 0.0047736 | 0.0011964 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5648-4_0_5_load_93 | 7 | 0.010436 | 0.0026154 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5648-4_0_5_load_84 | 9 | 0.0015454 | 0.00038732 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5648-4_0_5_load_5 | 10 | 0.0024557 | 0.00061546 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5648-4_0_5_load_6 | 11 | 0.0073742 | 0.0018481 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5648-4_0_5_load_10 | 16 | 0.0025813 | 0.00064694 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5648-4_0_5_load_39 | 17 | 0.0033348 | 0.00083578 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5648-4_0_5_load_36 | 18 | 0.004126 | 0.0010341 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5648-4_0_5_load_91 | 19 | 0.011894 | 0.0029808 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5648-4_0_5_load_37 | 21 | 0.0082236 | 0.002061 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5648-4_0_5_load_94 | 22 | 0.015966 | 0.0040013 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5648-4_0_5_load_14 | 24 | 0.0049137 | 0.0012315 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5648-4_0_5_load_58 | 28 | 0.019769 | 0.0049546 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5648-4_0_5_load_60 | 29 | 0.001954 | 0.00048972 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5648-4_0_5_load_89 | 32 | 0.0031185 | 0.00078156 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5648-4_0_5_load_87 | 33 | 0.0084064 | 0.0021068 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5648-4_0_5_load_19 | 35 | 0.021137 | 0.0052974 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5648-4_0_5_load_64 | 36 | 0.0041577 | 0.001042 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5648-4_0_5_load_90 | 37 | 0.0047032 | 0.0011787 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5648-4_0_5_load_63 | 38 | 0.0092055 | 0.0023071 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5648-4_0_5_load_21 | 39 | 0.021103 | 0.0052888 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5648-4_0_5_load_22 | 40 | 0.016815 | 0.0042144 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5648-4_0_5_load_25 | 43 | 0.011351 | 0.0028448 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5648-4_0_5_load_23 | 44 | 0.015902 | 0.0039853 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5648-4_0_5_load_24 | 45 | 0.015218 | 0.0038141 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5648-4_0_5_load_81 | 46 | 0.0052603 | 0.0013184 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5648-4_0_5_load_77 | 47 | 0.0038732 | 0.00097071 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5648-4_0_5_load_78 | 48 | 0.0015801 | 0.00039601 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5648-4_0_5_load_73 | 51 | 0.0099521 | 0.0024942 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5648-4_0_5_load_70 | 52 | 0.0075881 | 0.0019018 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5648-4_0_5_load_27 | 53 | 0.0033322 | 0.00083513 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5648-4_0_5_load_29 | 55 | 0.0047296 | 0.0011854 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5648-4_0_5_load_34 | 58 | 0.0018891 | 0.00047346 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5648-4_0_5_load_92 | 59 | 0.0035176 | 0.0008816 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5648-4_0_5_load_80 | 60 | 0.004873 | 0.0012213 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5648-4_0_5_load_33 | 61 | 0.012365 | 0.003099 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5648-4_0_5_load_83 | 62 | 0.0050685 | 0.0012703 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5648-4_0_5_load_35 | 63 | 0.0021819 | 0.00054684 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5648-4_0_5_load_38 | 64 | 0.0085672 | 0.0021472 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5648-4_0_5_load_40 | 65 | 0.0038496 | 0.00096479 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5648-4_0_5_load_41 | 66 | 0.0043397 | 0.0010876 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5648-4_0_5_load_43 | 68 | 0.0040595 | 0.0010174 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5648-4_0_5_load_49 | 70 | 0.0046472 | 0.0011647 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5648-4_0_5_load_44 | 71 | 0.013604 | 0.0034095 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5648-4_0_5_load_47 | 73 | 0.012813 | 0.0032113 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5648-4_0_5_load_66 | 74 | 0.0096289 | 0.0024132 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5648-4_0_5_load_95 | 75 | 0.011781 | 0.0029526 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5648-4_0_5_load_50 | 77 | 0.0040137 | 0.0010059 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5648-4_0_5_load_53 | 80 | 0.0084847 | 0.0021265 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5648-4_0_5_load_54 | 81 | 0.0083455 | 0.0020916 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5648-4_0_5_load_55 | 82 | 0.0039464 | 0.00098907 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5648-4_0_5_load_88 | 84 | 0.0098845 | 0.0024773 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5648-4_0_5_load_72 | 85 | 0.031864 | 0.0079859 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5648-4_0_5_load_75 | 88 | 0.0036478 | 0.00091423 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5648-4_0_5_load_96 | 90 | 0.0070021 | 0.0017549 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5648-4_0_5_line_0 |  | 0 | 1 | 0.020471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5648-4_0_5_line_1 |  | 0 | 2 | 0.00465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5648-4_0_5_line_2 |  | 1 | 3 | 0.046859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5648-4_0_5_line_3 |  | 2 | 4 | 0.00653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5648-4_0_5_line_4 |  | 3 | 5 | 0.009186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5648-4_0_5_line_5 |  | 3 | 6 | 0.0481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5648-4_0_5_line_6 |  | 4 | 7 | 0.045898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5648-4_0_5_line_7 |  | 5 | 8 | 0.012681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5648-4_0_5_line_8 |  | 5 | 9 | 0.023755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5648-4_0_5_line_9 |  | 8 | 22 | 0.042205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5648-4_0_5_line_10 |  | 8 | 23 | 0.048815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5648-4_0_5_line_11 |  | 10 | 11 | 0.0093186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5648-4_0_5_line_12 |  | 10 | 12 | 0.050203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5648-4_0_5_line_13 |  | 12 | 13 | 0.007573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5648-4_0_5_line_14 |  | 12 | 14 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5648-4_0_5_line_15 |  | 13 | 15 | 0.082397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5648-4_0_5_line_16 |  | 13 | 16 | 0.024011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5648-4_0_5_line_17 |  | 14 | 17 | 0.0089536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5648-4_0_5_line_18 |  | 14 | 18 | 0.026273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5648-4_0_5_line_19 |  | 15 | 19 | 0.041338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5648-4_0_5_line_20 |  | 17 | 20 | 0.040632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5648-4_0_5_line_21 |  | 18 | 21 | 0.035889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5648-4_0_5_line_22 |  | 20 | 58 | 0.017748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5648-4_0_5_line_23 |  | 20 | 54 | 0.023302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5648-4_0_5_line_24 |  | 21 | 64 | 0.021554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5648-4_0_5_line_25 |  | 23 | 29 | 0.012495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5648-4_0_5_line_26 |  | 23 | 25 | 0.02348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5648-4_0_5_line_27 |  | 24 | 25 | 0.029078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5648-4_0_5_line_28 |  | 25 | 26 | 0.01087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5648-4_0_5_line_29 |  | 26 | 27 | 0.038557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5648-4_0_5_line_30 |  | 26 | 28 | 0.036661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5648-4_0_5_line_31 |  | 27 | 30 | 0.039686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5648-4_0_5_line_32 |  | 27 | 31 | 0.013092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5648-4_0_5_line_33 |  | 27 | 32 | 0.060999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5648-4_0_5_line_34 |  | 28 | 34 | 0.029715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5648-4_0_5_line_35 |  | 30 | 75 | 0.046128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5648-4_0_5_line_36 |  | 30 | 76 | 0.011646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5648-4_0_5_line_37 |  | 31 | 33 | 0.068862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5648-4_0_5_line_38 |  | 33 | 84 | 0.0032259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5648-4_0_5_line_39 |  | 34 | 83 | 0.024004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5648-4_0_5_line_40 |  | 35 | 36 | 0.041793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5648-4_0_5_line_41 |  | 36 | 37 | 0.036934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5648-4_0_5_line_42 |  | 36 | 38 | 0.029889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5648-4_0_5_line_43 |  | 37 | 50 | 0.014973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5648-4_0_5_line_44 |  | 38 | 39 | 0.034735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5648-4_0_5_line_45 |  | 40 | 41 | 0.070738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5648-4_0_5_line_46 |  | 41 | 42 | 0.020042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5648-4_0_5_line_47 |  | 41 | 43 | 0.024258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5648-4_0_5_line_48 |  | 42 | 51 | 0.040594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5648-4_0_5_line_49 |  | 42 | 52 | 0.021021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5648-4_0_5_line_50 |  | 43 | 44 | 0.041992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5648-4_0_5_line_51 |  | 45 | 46 | 0.039976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5648-4_0_5_line_52 |  | 46 | 49 | 0.014025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5648-4_0_5_line_53 |  | 47 | 48 | 0.016739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_5648-4_0_5_line_54 |  | 47 | 49 | 0.0025629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5648-4_0_5_line_55 |  | 48 | 60 | 0.014966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5648-4_0_5_line_56 |  | 49 | 50 | 0.030104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5648-4_0_5_line_57 |  | 51 | 87 | 0.019933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5648-4_0_5_line_58 |  | 52 | 86 | 0.028083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5648-4_0_5_line_59 |  | 53 | 54 | 0.028532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5648-4_0_5_line_60 |  | 54 | 55 | 0.017055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_5648-4_0_5_line_61 |  | 54 | 56 | 0.028365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5648-4_0_5_line_62 |  | 55 | 57 | 0.0079428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5648-4_0_5_line_63 |  | 56 | 59 | 0.007987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5648-4_0_5_line_64 |  | 57 | 60 | 0.038155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_5648-4_0_5_line_65 |  | 58 | 61 | 0.011129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5648-4_0_5_line_66 |  | 60 | 62 | 0.023455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5648-4_0_5_line_67 |  | 61 | 63 | 0.013769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5648-4_0_5_line_68 |  | 62 | 90 | 0.036661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5648-4_0_5_line_69 |  | 65 | 66 | 0.016391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5648-4_0_5_line_70 |  | 66 | 67 | 0.022806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5648-4_0_5_line_71 |  | 67 | 68 | 0.013848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5648-4_0_5_line_72 |  | 68 | 69 | 0.017621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5648-4_0_5_line_73 |  | 69 | 70 | 0.026224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5648-4_0_5_line_74 |  | 69 | 71 | 0.026771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5648-4_0_5_line_75 |  | 70 | 74 | 0.02303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5648-4_0_5_line_76 |  | 71 | 72 | 0.026078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5648-4_0_5_line_77 |  | 72 | 73 | 0.021106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5648-4_0_5_line_78 |  | 74 | 76 | 0.031067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_5648-4_0_5_line_79 |  | 76 | 86 | 0.032047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5648-4_0_5_line_80 |  | 77 | 78 | 0.0099577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5648-4_0_5_line_81 |  | 77 | 79 | 0.043039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5648-4_0_5_line_82 |  | 78 | 80 | 0.01401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5648-4_0_5_line_83 |  | 79 | 81 | 0.019315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5648-4_0_5_line_84 |  | 79 | 82 | 0.0012144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5648-4_0_5_line_85 |  | 82 | 83 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5648-4_0_5_line_86 |  | 85 | 86 | 0.033749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5648-4_0_5_line_87 |  | 87 | 88 | 0.014871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5648-4_0_5_line_88 |  | 87 | 89 | 0.026198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_5648-4_0_5_line_89 |  | 89 | 90 | 0.024931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5648-4_0_5_trafo_43 | 0.63 MVA 20/0.4 kV | 91 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2532546.8581 | 1151813.7595 | 2532528.2908 | 1151816.3692 | 2532526.7805 | 1151817.194
1 | 2532522.6993 | 1151819.4225 | 2532526.7805 | 1151817.194
2 | 2532538.8339 | 1151767.6018 | 2532541.34 | 1151781.637 | 2532546.8581 | 1151813.7595
3 | 2532516.8376 | 1151822.3344 | 2532522.6993 | 1151819.4225
4 | 2532538.8339 | 1151767.6018 | 2532537.2281 | 1151758.5593
5 | 2532538.8339 | 1151767.6018 | 2532548.523 | 1151765.8366 | 2532555.9529 | 1151763.8188 | 2532583.1409 | 1151749.8815
6 | 2532481.9316 | 1151822.3262 | 2532481.3356 | 1151824.6119 | 2532484.519 | 1151828.5561 | 2532487.6361 | 1151830.7001 | 2532491.0465 | 1151832.3071 | 2532494.7348 | 1151833.3774 | 2532498.9798 | 1151833.4409 | 2532503.1122 | 1151833.0499 | 2532508.2693 | 1151831.6357 | 2532511.2072 | 1151830.1241 | 2532513.6366 | 1151828.4403 | 2532515.6876 | 1151826.5496 | 2532516.8376 | 1151822.3344
7 | 2532535.0003 | 1151746.0774 | 2532537.2281 | 1151758.5593
8 | 2532537.2281 | 1151758.5593 | 2532516.6814 | 1151770.4817
9 | 2532535.0003 | 1151746.0774 | 2532528.8148 | 1151747.5031 | 2532519.6962 | 1151757.7 | 2532514.0861 | 1151762.5211 | 2532501.6673 | 1151770.6761
10 | 2532521.879 | 1151706.0248 | 2532526.1075 | 1151703.2424 | 2532526.612 | 1151705.7937 | 2532530.091 | 1151721.0298 | 2532531.7372 | 1151729.5605 | 2532533.8841 | 1151740.309 | 2532535.0003 | 1151746.0774
11 | 2532245.34 | 1151768.2212 | 2532239.7532 | 1151768.4649 | 2532236.0307 | 1151768.6385
12 | 2532295.4744 | 1151769.1488 | 2532280.836 | 1151768.2909 | 2532275.1297 | 1151767.9661 | 2532264.7541 | 1151767.3826 | 2532247.3171 | 1151768.135 | 2532245.34 | 1151768.2212
13 | 2532295.4744 | 1151769.1488 | 2532302.9134 | 1151770.677
14 | 2532289.5413 | 1151749.3713 | 2532295.4744 | 1151769.1488
15 | 2532382.3094 | 1151792.9515 | 2532354.4071 | 1151783.0932 | 2532350.2846 | 1151781.6388 | 2532333.0233 | 1151776.8637 | 2532313.5653 | 1151772.6248 | 2532311.1889 | 1151772.1958 | 2532302.9134 | 1151770.677
16 | 2532302.9134 | 1151770.677 | 2532302.7269 | 1151776.6046 | 2532302.5691 | 1151790.5362 | 2532302.4204 | 1151794.681
17 | 2532289.5413 | 1151749.3713 | 2532286.9667 | 1151740.7959
18 | 2532289.5413 | 1151749.3713 | 2532312.9404 | 1151737.4235
19 | 2532382.3094 | 1151792.9515 | 2532405.0687 | 1151800.0218 | 2532420.8729 | 1151807.5504
20 | 2532274.7247 | 1151702.0565 | 2532280.8492 | 1151720.4199 | 2532286.9667 | 1151740.7959
21 | 2532312.9404 | 1151737.4235 | 2532313.8086 | 1151736.9802 | 2532328.5017 | 1151731.7897 | 2532344.7643 | 1151725.5589 | 2532346.4643 | 1151724.6758
22 | 2532274.7247 | 1151702.0565 | 2532290.3872 | 1151693.7096
23 | 2532274.7247 | 1151702.0565 | 2532269.76 | 1151687.1708 | 2532267.0091 | 1151680.0757
24 | 2532346.4643 | 1151724.6758 | 2532365.5915 | 1151714.7401
25 | 2532521.879 | 1151706.0248 | 2532511.4331 | 1151712.8813
26 | 2532521.879 | 1151706.0248 | 2532526.1075 | 1151703.2424 | 2532522.375 | 1151689.3544 | 2532526.1663 | 1151687.9667
27 | 2532526.1663 | 1151687.9667 | 2532553.484 | 1151678.0041
28 | 2532520.2757 | 1151682.8522 | 2532522.375 | 1151689.3544 | 2532526.1663 | 1151687.9667
29 | 2532520.2757 | 1151682.8522 | 2532511.4127 | 1151657.0374 | 2532508.5328 | 1151650.0548 | 2532507.1204 | 1151646.6243
30 | 2532520.2757 | 1151682.8522 | 2532489.0191 | 1151702.0112
31 | 2532492.3158 | 1151609.8035 | 2532503.988 | 1151639.0219 | 2532507.1204 | 1151646.6243
32 | 2532507.1204 | 1151646.6243 | 2532508.5328 | 1151650.0548 | 2532517.0464 | 1151646.1126
33 | 2532507.1204 | 1151646.6243 | 2532509.1901 | 1151636.1397 | 2532508.1912 | 1151624.4222 | 2532536.7859 | 1151612.4948 | 2532540.258 | 1151619.2216
34 | 2532463.6849 | 1151717.5399 | 2532489.0191 | 1151702.0112
35 | 2532492.3158 | 1151609.8035 | 2532534.1869 | 1151590.1894
36 | 2532488.0723 | 1151598.9562 | 2532492.3158 | 1151609.8035
37 | 2532517.0464 | 1151646.1126 | 2532537.1624 | 1151637.1486 | 2532542.2192 | 1151637.7256 | 2532545.2388 | 1151640.7489 | 2532558.6449 | 1151661.7323 | 2532568.8862 | 1151654.4331
38 | 2532571.5132 | 1151652.5608 | 2532568.8862 | 1151654.4331
39 | 2532463.6849 | 1151717.5399 | 2532443.5785 | 1151730.7397
40 | 2532288.723 | 1151528.1681 | 2532322.1341 | 1151553.2756
41 | 2532288.723 | 1151528.1681 | 2532273.5573 | 1151561.8454
42 | 2532313.3811 | 1151511.2767 | 2532288.723 | 1151528.1681
43 | 2532259.4867 | 1151566.9646 | 2532273.5573 | 1151561.8454
44 | 2532313.3811 | 1151511.2767 | 2532346.1207 | 1151499.6745
45 | 2532427.4399 | 1151572.5449 | 2532398.8502 | 1151507.8421
46 | 2532435.5821 | 1151590.8635 | 2532427.4399 | 1151572.5449
47 | 2532427.4399 | 1151572.5449 | 2532421.5731 | 1151572.9777 | 2532408.8586 | 1151580.1134 | 2532405.0959 | 1151580.608
48 | 2532435.5821 | 1151590.8635 | 2532399.285 | 1151609.0393
49 | 2532435.5821 | 1151590.8635 | 2532454.1112 | 1151580.9356
50 | 2532364.5371 | 1151575.2068 | 2532367.8495 | 1151573.9933 | 2532376.7035 | 1151573.6936 | 2532384.2382 | 1151575.521 | 2532391.7921 | 1151579.0602 | 2532402.1066 | 1151581.0009 | 2532405.0959 | 1151580.608
51 | 2532321.6724 | 1151598.2366 | 2532282.325 | 1151591.1764
52 | 2532268.9577 | 1151595.5404 | 2532282.325 | 1151591.1764
53 | 2532269.9399 | 1151597.9076 | 2532276.3548 | 1151613.3688
54 | 2532268.9577 | 1151595.5404 | 2532269.9399 | 1151597.9076
55 | 2532276.3548 | 1151613.3688 | 2532282.0901 | 1151627.1917
56 | 2532268.9577 | 1151595.5404 | 2532259.4867 | 1151566.9646
57 | 2532381.4613 | 1151617.9645 | 2532399.285 | 1151609.0393
58 | 2532479.1538 | 1151568.2283 | 2532457.0511 | 1151579.3604 | 2532454.1112 | 1151580.9356
59 | 2532267.0091 | 1151680.0757 | 2532240.0137 | 1151689.3122
60 | 2532267.0091 | 1151680.0757 | 2532260.8497 | 1151664.1713
61 | 2532250.0386 | 1151693.641 | 2532269.76 | 1151687.1708 | 2532267.0091 | 1151680.0757
62 | 2532257.9813 | 1151656.7645 | 2532260.8497 | 1151664.1713
63 | 2532250.0386 | 1151693.641 | 2532252.8935 | 1151701.1019
64 | 2532257.9813 | 1151656.7645 | 2532282.0901 | 1151627.1917
65 | 2532300.2089 | 1151688.4753 | 2532290.3872 | 1151693.7096
66 | 2532282.0901 | 1151627.1917 | 2532286.4409 | 1151637.6779 | 2532289.149 | 1151638.2477 | 2532297.9066 | 1151635.0154
67 | 2532312.3605 | 1151681.9995 | 2532300.2089 | 1151688.4753
68 | 2532334.5423 | 1151636.3691 | 2532297.9066 | 1151635.0154
69 | 2532353.901 | 1151667.3981 | 2532367.619 | 1151658.4267
70 | 2532387.2605 | 1151647.0042 | 2532384.4539 | 1151647.9141 | 2532378.1625 | 1151651.5312 | 2532367.619 | 1151658.4267
71 | 2532387.2605 | 1151647.0042 | 2532398.2802 | 1151643.4228 | 2532400.3143 | 1151642.4353
72 | 2532416.1657 | 1151634.7392 | 2532400.3143 | 1151642.4353
73 | 2532416.1657 | 1151634.7392 | 2532439.7594 | 1151623.2928
74 | 2532416.1657 | 1151634.7392 | 2532428.1851 | 1151658.6602
75 | 2532460.3666 | 1151613.0124 | 2532447.6239 | 1151619.4773 | 2532439.7594 | 1151623.2928
76 | 2532448.7642 | 1151666.9907 | 2532444.7412 | 1151665.5129 | 2532437.5265 | 1151666.8836 | 2532432.3464 | 1151666.9418 | 2532428.1851 | 1151658.6602
77 | 2532430.1026 | 1151676.9503 | 2532448.7642 | 1151666.9907
78 | 2532488.0723 | 1151598.9562 | 2532460.3666 | 1151613.0124
79 | 2532488.0723 | 1151598.9562 | 2532482.1453 | 1151581.7244 | 2532479.1538 | 1151568.2283
80 | 2532387.4499 | 1151760.7204 | 2532395.916 | 1151760.0804 | 2532397.2114 | 1151759.3911
81 | 2532433.8851 | 1151736.9076 | 2532405.4146 | 1151755.0264 | 2532397.2114 | 1151759.3911
82 | 2532387.4499 | 1151760.7204 | 2532375.4259 | 1151753.4738
83 | 2532433.8851 | 1151736.9076 | 2532416.1227 | 1151729.2029
84 | 2532433.8851 | 1151736.9076 | 2532434.9343 | 1151736.2961
85 | 2532443.5785 | 1151730.7397 | 2532436.5692 | 1151735.3432 | 2532434.9343 | 1151736.2961
86 | 2532479.1538 | 1151568.2283 | 2532475.2296 | 1151543.4476 | 2532474.5891 | 1151534.8122
87 | 2532381.4613 | 1151617.9645 | 2532376.1864 | 1151607.5514 | 2532373.0713 | 1151608.3313
88 | 2532357.9218 | 1151629.6023 | 2532381.4613 | 1151617.9645
89 | 2532357.9218 | 1151629.6023 | 2532350.9456 | 1151628.9805 | 2532334.5423 | 1151636.3691

## bus_geodata
| x | y | coords
0 | 2532526.7805 | 1151817.194
1 | 2532546.8581 | 1151813.7595
2 | 2532522.6993 | 1151819.4225
3 | 2532538.8339 | 1151767.6018
4 | 2532516.8376 | 1151822.3344
5 | 2532537.228 | 1151758.5593
6 | 2532583.1409 | 1151749.8815
7 | 2532481.9316 | 1151822.3262
8 | 2532535.0003 | 1151746.0774
9 | 2532516.6814 | 1151770.4817
10 | 2532245.34 | 1151768.2212
11 | 2532236.0307 | 1151768.6385
12 | 2532295.4744 | 1151769.1488
13 | 2532302.9134 | 1151770.677
14 | 2532289.5413 | 1151749.3713
15 | 2532382.3094 | 1151792.9515
16 | 2532302.4204 | 1151794.681
17 | 2532286.9667 | 1151740.7959
18 | 2532312.9404 | 1151737.4235
19 | 2532420.8729 | 1151807.5504
20 | 2532274.7247 | 1151702.0565
21 | 2532346.4643 | 1151724.6758
22 | 2532501.6673 | 1151770.6761
23 | 2532521.879 | 1151706.0248
24 | 2532553.484 | 1151678.0041
25 | 2532526.1663 | 1151687.9667
26 | 2532520.2757 | 1151682.8522
27 | 2532507.1204 | 1151646.6243
28 | 2532489.0191 | 1151702.0112
29 | 2532511.4331 | 1151712.8813
30 | 2532492.3158 | 1151609.8035
31 | 2532517.0464 | 1151646.1126
32 | 2532540.258 | 1151619.2216
33 | 2532568.8862 | 1151654.4331
34 | 2532463.6849 | 1151717.5399
35 | 2532322.1341 | 1151553.2756
36 | 2532288.723 | 1151528.1681
37 | 2532273.5573 | 1151561.8454
38 | 2532313.3811 | 1151511.2767
39 | 2532346.1207 | 1151499.6745
40 | 2532398.8502 | 1151507.8421
41 | 2532427.4399 | 1151572.5449
42 | 2532435.5821 | 1151590.8635
43 | 2532405.0959 | 1151580.608
44 | 2532364.5371 | 1151575.2068
45 | 2532321.6724 | 1151598.2366
46 | 2532282.325 | 1151591.1764
47 | 2532269.9399 | 1151597.9076
48 | 2532276.3548 | 1151613.3688
49 | 2532268.9577 | 1151595.5404
50 | 2532259.4867 | 1151566.9646
51 | 2532399.285 | 1151609.0393
52 | 2532454.1112 | 1151580.9356
53 | 2532240.0137 | 1151689.3122
54 | 2532267.0091 | 1151680.0757
55 | 2532260.8497 | 1151664.1713
56 | 2532250.0386 | 1151693.641
57 | 2532257.9813 | 1151656.7645
58 | 2532290.3872 | 1151693.7096
59 | 2532252.8935 | 1151701.1019
60 | 2532282.0901 | 1151627.1917
61 | 2532300.2089 | 1151688.4753
62 | 2532297.9066 | 1151635.0154
63 | 2532312.3605 | 1151681.9995
64 | 2532365.5915 | 1151714.7401
65 | 2532353.901 | 1151667.3981
66 | 2532367.619 | 1151658.4267
67 | 2532387.2605 | 1151647.0042
68 | 2532400.3143 | 1151642.4353
69 | 2532416.1657 | 1151634.7392
70 | 2532439.7594 | 1151623.2928
71 | 2532428.1851 | 1151658.6602
72 | 2532448.7642 | 1151666.9907
73 | 2532430.1026 | 1151676.9503
74 | 2532460.3666 | 1151613.0124
75 | 2532534.1869 | 1151590.1894
76 | 2532488.0723 | 1151598.9562
77 | 2532397.2114 | 1151759.3911
78 | 2532387.4499 | 1151760.7204
79 | 2532433.8851 | 1151736.9076
80 | 2532375.4259 | 1151753.4738
81 | 2532416.1227 | 1151729.2029
82 | 2532434.9343 | 1151736.2961
83 | 2532443.5785 | 1151730.7397
84 | 2532571.5132 | 1151652.5608
85 | 2532474.5891 | 1151534.8122
86 | 2532479.1538 | 1151568.2283
87 | 2532381.4613 | 1151617.9645
88 | 2532373.0713 | 1151608.3313
89 | 2532357.9218 | 1151629.6023
90 | 2532334.5423 | 1151636.3691
91 | 2532387.2605 | 1151647.0042

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1