## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5705-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5705-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5705-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5705-3_0_3_node_95 | 0.4 | n |  | TRUE
4 | bus_LV_5705-3_0_3_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_5705-3_0_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_5705-3_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_5705-3_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_5705-3_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5705-3_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5705-3_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5705-3_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_5705-3_0_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_5705-3_0_3_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_5705-3_0_3_node_98 | 0.4 | n |  | TRUE
15 | bus_LV_5705-3_0_3_node_97 | 0.4 | n |  | TRUE
16 | bus_LV_5705-3_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5705-3_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5705-3_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5705-3_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5705-3_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_5705-3_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5705-3_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5705-3_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_5705-3_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_5705-3_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5705-3_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_5705-3_0_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_5705-3_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_5705-3_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5705-3_0_3_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_5705-3_0_3_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_5705-3_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_5705-3_0_3_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_5705-3_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_5705-3_0_3_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_5705-3_0_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_5705-3_0_3_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_5705-3_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5705-3_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5705-3_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5705-3_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_5705-3_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_5705-3_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_5705-3_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_5705-3_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_5705-3_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_5705-3_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_5705-3_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_5705-3_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5705-3_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_5705-3_0_3_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_5705-3_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_5705-3_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_5705-3_0_3_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_5705-3_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_5705-3_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_5705-3_0_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_5705-3_0_3_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_5705-3_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_5705-3_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_5705-3_0_3_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_5705-3_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_5705-3_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5705-3_0_3_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_5705-3_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5705-3_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_5705-3_0_3_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_5705-3_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_5705-3_0_3_node_93 | 0.4 | n |  | TRUE
70 | bus_LV_5705-3_0_3_node_91 | 0.4 | n |  | TRUE
71 | bus_LV_5705-3_0_3_node_96 | 0.4 | n |  | TRUE
72 | bus_LV_5705-3_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_5705-3_0_3_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_5705-3_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_5705-3_0_3_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_5705-3_0_3_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_5705-3_0_3_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_5705-3_0_3_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_5705-3_0_3_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_5705-3_0_3_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_5705-3_0_3_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_5705-3_0_3_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_5705-3_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_5705-3_0_3_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_5705-3_0_3_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_5705-3_0_3_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_5705-3_0_3_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_5705-3_0_3_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_5705-3_0_3_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_5705-3_0_3_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_5705-3_0_3_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_5705-3_0_3_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_5705-3_0_3_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_5705-3_0_3_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_5705-3_0_3_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_5705-3_0_3_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_5705-3_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_MV_453_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5705-3_0_3_load_0 | 0 | 0.0035532 | 0.00089051 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5705-3_0_3_load_95 | 3 | 0.0028102 | 0.0007043 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5705-3_0_3_load_7 | 6 | 0.000826 | 0.00020702 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5705-3_0_3_load_3 | 7 | 0.0042707 | 0.0010703 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5705-3_0_3_load_4 | 8 | 0.00095183 | 0.00023855 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5705-3_0_3_load_5 | 9 | 0.0042699 | 0.0010701 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5705-3_0_3_load_6 | 10 | 0.0025035 | 0.00062743 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5705-3_0_3_load_24 | 13 | 0.0017235 | 0.00043194 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5705-3_0_3_load_98 | 14 | 0.0014224 | 0.0003565 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5705-3_0_3_load_97 | 15 | 0.0014809 | 0.00037116 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5705-3_0_3_load_9 | 16 | 0.0012414 | 0.00031112 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5705-3_0_3_load_11 | 18 | 0.0011535 | 0.00028909 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5705-3_0_3_load_18 | 20 | 0.0014607 | 0.00036608 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5705-3_0_3_load_15 | 21 | 0.00064495 | 0.00016164 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5705-3_0_3_load_16 | 22 | 0.001005 | 0.00025187 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5705-3_0_3_load_25 | 23 | 0.0018521 | 0.00046419 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5705-3_0_3_load_29 | 27 | 0.0027158 | 0.00068064 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5705-3_0_3_load_26 | 29 | 0.0027308 | 0.00068441 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5705-3_0_3_load_47 | 31 | 0.0037801 | 0.00094739 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5705-3_0_3_load_19 | 32 | 0.0034136 | 0.00085553 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5705-3_0_3_load_36 | 33 | 0.003872 | 0.00097041 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5705-3_0_3_load_27 | 34 | 0.0030746 | 0.00077057 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5705-3_0_3_load_53 | 36 | 0.0032599 | 0.00081701 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5705-3_0_3_load_48 | 37 | 0.0080121 | 0.002008 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5705-3_0_3_load_28 | 38 | 0.0029121 | 0.00072985 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5705-3_0_3_load_32 | 40 | 0.0026553 | 0.00066548 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5705-3_0_3_load_34 | 43 | 0.0037087 | 0.00092948 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5705-3_0_3_load_33 | 44 | 0.0031417 | 0.00078738 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5705-3_0_3_load_35 | 45 | 0.0042629 | 0.0010684 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5705-3_0_3_load_38 | 46 | 0.003259 | 0.00081678 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5705-3_0_3_load_39 | 47 | 0.0050553 | 0.001267 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5705-3_0_3_load_40 | 48 | 0.0028529 | 0.00071501 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5705-3_0_3_load_41 | 49 | 0.0028259 | 0.00070823 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5705-3_0_3_load_50 | 50 | 0.0073678 | 0.0018466 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5705-3_0_3_load_62 | 51 | 0.0030096 | 0.00075427 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5705-3_0_3_load_51 | 53 | 0.0053765 | 0.0013475 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5705-3_0_3_load_43 | 55 | 0.0039586 | 0.00099212 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5705-3_0_3_load_61 | 57 | 0.0024973 | 0.00062588 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5705-3_0_3_load_59 | 58 | 0.002899 | 0.00072657 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5705-3_0_3_load_46 | 60 | 0.0073636 | 0.0018455 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5705-3_0_3_load_60 | 61 | 0.0028617 | 0.0007172 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5705-3_0_3_load_65 | 62 | 0.006947 | 0.0017411 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5705-3_0_3_load_52 | 63 | 0.0064143 | 0.0016076 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5705-3_0_3_load_92 | 67 | 0.0017448 | 0.0004373 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5705-3_0_3_load_93 | 69 | 0.0010008 | 0.00025082 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5705-3_0_3_load_91 | 70 | 0.00073135 | 0.00018329 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5705-3_0_3_load_96 | 71 | 0.0050547 | 0.0012668 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5705-3_0_3_load_73 | 74 | 0.0087854 | 0.0022018 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5705-3_0_3_load_66 | 76 | 0.0040019 | 0.001003 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5705-3_0_3_load_82 | 77 | 0.0020153 | 0.00050509 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5705-3_0_3_load_81 | 78 | 0.001702 | 0.00042655 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5705-3_0_3_load_64 | 79 | 0.0019448 | 0.00048742 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5705-3_0_3_load_83 | 82 | 0.0021348 | 0.00053504 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5705-3_0_3_load_78 | 83 | 0.0023111 | 0.00057921 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5705-3_0_3_load_71 | 84 | 0.013369 | 0.0033505 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5705-3_0_3_load_76 | 85 | 0.012869 | 0.0032252 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5705-3_0_3_load_74 | 86 | 0.0086713 | 0.0021732 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5705-3_0_3_load_68 | 87 | 0.0030389 | 0.00076163 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5705-3_0_3_load_72 | 90 | 0.003191 | 0.00079974 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5705-3_0_3_load_79 | 91 | 0.0030026 | 0.00075251 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5705-3_0_3_load_84 | 93 | 0.0050169 | 0.0012573 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5705-3_0_3_load_87 | 94 | 0.0025052 | 0.00062785 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5705-3_0_3_load_89 | 96 | 0.0036758 | 0.00092124 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5705-3_0_3_load_90 | 97 | 0.001947 | 0.00048796 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5705-3_0_3_line_0 |  | 0 | 1 | 0.010752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5705-3_0_3_line_1 |  | 1 | 2 | 0.11749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5705-3_0_3_line_2 |  | 2 | 3 | 0.038244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5705-3_0_3_line_3 |  | 2 | 4 | 0.093796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5705-3_0_3_line_4 |  | 4 | 5 | 0.065192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5705-3_0_3_line_5 |  | 4 | 6 | 0.021437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5705-3_0_3_line_6 |  | 5 | 14 | 0.025541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5705-3_0_3_line_7 |  | 5 | 15 | 0.045279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5705-3_0_3_line_8 |  | 5 | 11 | 0.055324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5705-3_0_3_line_9 |  | 6 | 9 | 0.0080034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5705-3_0_3_line_10 |  | 7 | 8 | 0.016026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5705-3_0_3_line_11 |  | 7 | 9 | 0.030006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5705-3_0_3_line_12 |  | 8 | 10 | 0.0021172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5705-3_0_3_line_13 |  | 11 | 12 | 0.11671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5705-3_0_3_line_14 |  | 11 | 13 | 0.0097705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5705-3_0_3_line_15 |  | 12 | 23 | 0.013025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5705-3_0_3_line_16 |  | 12 | 24 | 0.053505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5705-3_0_3_line_17 |  | 16 | 17 | 0.053615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5705-3_0_3_line_18 |  | 17 | 18 | 0.022815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5705-3_0_3_line_19 |  | 17 | 19 | 0.093607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5705-3_0_3_line_20 |  | 19 | 20 | 0.025883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5705-3_0_3_line_21 |  | 19 | 21 | 0.016954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5705-3_0_3_line_22 |  | 21 | 22 | 0.044173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5705-3_0_3_line_23 |  | 22 | 25 | 0.01379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5705-3_0_3_line_24 |  | 24 | 32 | 0.00072737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5705-3_0_3_line_25 |  | 24 | 25 | 0.031558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5705-3_0_3_line_26 |  | 25 | 26 | 0.079478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5705-3_0_3_line_27 |  | 26 | 27 | 0.032587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5705-3_0_3_line_28 |  | 26 | 28 | 0.080057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5705-3_0_3_line_29 |  | 26 | 29 | 0.012494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5705-3_0_3_line_30 |  | 27 | 33 | 0.013758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5705-3_0_3_line_31 |  | 28 | 30 | 0.038126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5705-3_0_3_line_32 |  | 28 | 31 | 0.0098186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5705-3_0_3_line_33 |  | 29 | 34 | 0.0079628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5705-3_0_3_line_34 |  | 30 | 35 | 0.056071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5705-3_0_3_line_35 |  | 30 | 36 | 0.028469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5705-3_0_3_line_36 |  | 31 | 37 | 0.010034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5705-3_0_3_line_37 |  | 33 | 41 | 0.041412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5705-3_0_3_line_38 |  | 34 | 38 | 0.012254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5705-3_0_3_line_39 |  | 35 | 62 | 0.018191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5705-3_0_3_line_40 |  | 38 | 39 | 0.0062557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5705-3_0_3_line_41 |  | 39 | 40 | 0.01415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5705-3_0_3_line_42 |  | 40 | 44 | 0.01147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5705-3_0_3_line_43 |  | 41 | 46 | 0.01659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5705-3_0_3_line_44 |  | 41 | 47 | 0.027804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_5705-3_0_3_line_45 |  | 41 | 48 | 0.027339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5705-3_0_3_line_46 |  | 42 | 43 | 0.015617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5705-3_0_3_line_47 |  | 42 | 44 | 0.0048412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5705-3_0_3_line_48 |  | 43 | 45 | 0.0015856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5705-3_0_3_line_49 |  | 46 | 49 | 0.00091446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5705-3_0_3_line_50 |  | 47 | 50 | 0.0084203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5705-3_0_3_line_51 |  | 48 | 51 | 0.0090472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5705-3_0_3_line_52 |  | 49 | 52 | 0.021621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5705-3_0_3_line_53 |  | 50 | 53 | 0.025327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5705-3_0_3_line_54 |  | 51 | 54 | 0.01072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5705-3_0_3_line_55 |  | 52 | 55 | 0.0079765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5705-3_0_3_line_56 |  | 53 | 63 | 0.016814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5705-3_0_3_line_57 |  | 54 | 79 | 0.023107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5705-3_0_3_line_58 |  | 54 | 66 | 0.053641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5705-3_0_3_line_59 |  | 55 | 59 | 0.0037624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5705-3_0_3_line_60 |  | 56 | 57 | 0.0227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5705-3_0_3_line_61 |  | 56 | 58 | 0.027301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5705-3_0_3_line_62 |  | 56 | 59 | 0.018801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5705-3_0_3_line_63 |  | 58 | 61 | 0.0027403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5705-3_0_3_line_64 |  | 59 | 60 | 0.022917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5705-3_0_3_line_65 |  | 62 | 76 | 0.0090155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5705-3_0_3_line_66 |  | 64 | 65 | 0.018187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5705-3_0_3_line_67 |  | 64 | 66 | 0.025864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5705-3_0_3_line_68 |  | 65 | 67 | 0.014769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5705-3_0_3_line_69 |  | 66 | 71 | 0.026712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5705-3_0_3_line_70 |  | 67 | 77 | 0.019123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5705-3_0_3_line_71 |  | 68 | 69 | 0.0054543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5705-3_0_3_line_72 |  | 68 | 70 | 0.036522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5705-3_0_3_line_73 |  | 70 | 78 | 0.026125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5705-3_0_3_line_74 |  | 72 | 73 | 0.06625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5705-3_0_3_line_75 |  | 72 | 74 | 0.025124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5705-3_0_3_line_76 |  | 72 | 75 | 0.059803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5705-3_0_3_line_77 |  | 73 | 83 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5705-3_0_3_line_78 |  | 74 | 84 | 0.0044381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5705-3_0_3_line_79 |  | 75 | 85 | 0.024361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5705-3_0_3_line_80 |  | 75 | 86 | 0.016444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5705-3_0_3_line_81 |  | 77 | 92 | 0.027368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5705-3_0_3_line_82 |  | 78 | 92 | 0.015359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5705-3_0_3_line_83 |  | 79 | 80 | 0.02311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5705-3_0_3_line_84 |  | 80 | 81 | 0.005994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5705-3_0_3_line_85 |  | 80 | 82 | 0.008359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5705-3_0_3_line_86 |  | 81 | 94 | 0.013411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5705-3_0_3_line_87 |  | 82 | 93 | 0.01447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5705-3_0_3_line_88 |  | 83 | 91 | 0.025298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5705-3_0_3_line_89 |  | 84 | 89 | 0.005762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5705-3_0_3_line_90 |  | 87 | 88 | 0.018755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5705-3_0_3_line_91 |  | 88 | 90 | 0.016616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5705-3_0_3_line_92 |  | 88 | 89 | 0.012163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5705-3_0_3_line_93 |  | 91 | 92 | 0.024671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5705-3_0_3_line_94 |  | 94 | 95 | 0.0036343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5705-3_0_3_line_95 |  | 95 | 96 | 0.04279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5705-3_0_3_line_96 |  | 95 | 97 | 0.009416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5705-3_0_3_trafo_50 | 0.63 MVA 20/0.4 kV | 98 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2502010.184 | 1133804.93 | 2502001.9101 | 1133811.7967
1 | 2501939.546 | 1133813.027 | 2501938.1275 | 1133804.3892 | 2501936.47 | 1133790.9968 | 2501942.0995 | 1133788.248 | 2501967.8083 | 1133768.9295 | 2501976.614 | 1133778.748 | 2501983.2737 | 1133783.9542 | 2501990.8368 | 1133786.0104 | 2501995.6935 | 1133788.7665 | 2501999.7092 | 1133792.3591 | 2502010.184 | 1133804.93
2 | 2501962.5448 | 1133832.0762 | 2501958.2184 | 1133835.8933 | 2501952.5179 | 1133828.5925 | 2501949.4492 | 1133819.7925 | 2501945.1218 | 1133812.6584 | 2501939.546 | 1133813.027
3 | 2501964.1066 | 1133903.5171 | 2501954.8589 | 1133871.2363 | 2501947.0854 | 1133843.4566 | 2501943.1042 | 1133829.2014 | 2501939.546 | 1133813.027
4 | 2501964.1066 | 1133903.5171 | 2501968.1647 | 1133918.7161 | 2501973.2475 | 1133938.7014 | 2501975.8733 | 1133949.1541 | 2501979.7219 | 1133948.6246 | 2501990.936 | 1133949.8543 | 2501993.5433 | 1133951.1127
5 | 2501964.1066 | 1133903.5171 | 2501975.3152 | 1133896.8198 | 2501981.7831 | 1133891.4911
6 | 2502010.6636 | 1133932.9901 | 2502009.1858 | 1133937.7504 | 2501996.5505 | 1133948.0842 | 2501993.5433 | 1133951.1127
7 | 2502032.7676 | 1133945.3388 | 2502017.6132 | 1133957.4702 | 2502014.5981 | 1133958.5976 | 2502011.4144 | 1133958.8161 | 2502007.9385 | 1133958.1166 | 2501993.5433 | 1133951.1127
8 | 2501981.5144 | 1133985.9629 | 2501980.329 | 1133974.6085 | 2501978.3836 | 1133961.9657 | 2501975.8733 | 1133949.1541 | 2501979.7219 | 1133948.6246 | 2501990.936 | 1133949.8543 | 2501993.5433 | 1133951.1127
9 | 2501987.9602 | 1133886.402 | 2501981.7831 | 1133891.4911
10 | 2502011.1193 | 1133867.3223 | 2502023.4886 | 1133857.1317
11 | 2502011.1193 | 1133867.3223 | 2501987.9602 | 1133886.402
12 | 2502025.1227 | 1133855.7855 | 2502023.4886 | 1133857.1317
13 | 2501981.5144 | 1133985.9629 | 2501981.8701 | 1133996.4748 | 2501982.1265 | 1134012.247 | 2501981.2483 | 1134025.4805 | 2501980.1079 | 1134040.097 | 2501978.6639 | 1134052.617 | 2501979.167 | 1134055.1549 | 2501979.9324 | 1134057.2437 | 2501981.0581 | 1134058.7708 | 2501983.4525 | 1134060.1995 | 2501983.451 | 1134067.6819 | 2501989.4923 | 1134064.7041 | 2501995.932 | 1134059.2406 | 2502008.9316 | 1134047.1776
14 | 2501981.5144 | 1133985.9629 | 2501985.3634 | 1133985.9337 | 2501989.0079 | 1133990.6008
15 | 2502008.9316 | 1134047.1776 | 2502002.3523 | 1134040.736 | 2501998.5922 | 1134040.0745
16 | 2502008.9316 | 1134047.1776 | 2502040.134 | 1134018.2308 | 2502032.963 | 1134009.9644
17 | 2502106.873 | 1133886.7666 | 2502093.551 | 1133871.4177 | 2502091.0695 | 1133869.8459 | 2502087.9645 | 1133870.1743 | 2502085.1437 | 1133870.9428 | 2502082.6207 | 1133873.4519 | 2502074.4688 | 1133884.4354 | 2502067.9711 | 1133887.2259
18 | 2502106.873 | 1133886.7666 | 2502088.9976 | 1133900.9434
19 | 2502106.873 | 1133886.7666 | 2502135.1136 | 1133919.5509 | 2502141.3177 | 1133926.121 | 2502110.836 | 1133953.9882
20 | 2502099.9247 | 1133930.6286 | 2502107.0726 | 1133948.3791 | 2502110.836 | 1133953.9882
21 | 2502110.836 | 1133953.9882 | 2502098.2067 | 1133965.2988
22 | 2502098.2067 | 1133965.2988 | 2502079.5941 | 1133981.968 | 2502065.4163 | 1133994.8964
23 | 2502055.2264 | 1134004.1883 | 2502065.4163 | 1133994.8964
24 | 2502032.3966 | 1134010.4208 | 2502032.963 | 1134009.9644
25 | 2502032.963 | 1134009.9644 | 2502040.134 | 1134018.2308 | 2502055.2264 | 1134004.1883
26 | 2502081.8046 | 1134068.3076 | 2502088.8127 | 1134044.746 | 2502090.1508 | 1134041.3333 | 2502088.9399 | 1134039.7742 | 2502088.0606 | 1134038.2542 | 2502086.8673 | 1134035.8832 | 2502085.5174 | 1134033.826 | 2502076.4737 | 1134024.4893 | 2502061.0231 | 1134009.8421 | 2502055.2264 | 1134004.1883
27 | 2502081.8046 | 1134068.3076 | 2502073.6732 | 1134095.712 | 2502073.0279 | 1134099.1134 | 2502073.0107 | 1134099.6528
28 | 2502081.8046 | 1134068.3076 | 2502088.8127 | 1134044.746 | 2502090.1508 | 1134041.3333 | 2502091.7664 | 1134042.6856 | 2502093.5325 | 1134043.8244 | 2502095.9196 | 1134045.2754 | 2502097.7781 | 1134046.8907 | 2502125.8693 | 1134078.5767
29 | 2502081.8046 | 1134068.3076 | 2502075.3363 | 1134067.2786 | 2502069.3918 | 1134067.3025
30 | 2502073.0107 | 1134099.6528 | 2502072.9106 | 1134102.7954 | 2502073.0714 | 1134113.4077
31 | 2502151.3132 | 1134107.026 | 2502125.8693 | 1134078.5767
32 | 2502125.8693 | 1134078.5767 | 2502118.4443 | 1134085.0011
33 | 2502069.3918 | 1134067.3025 | 2502061.4291 | 1134067.3346
34 | 2502151.3132 | 1134107.026 | 2502175.4304 | 1134132.0059 | 2502187.8341 | 1134143.0005 | 2502192.0683 | 1134145.3666
35 | 2502151.3132 | 1134107.026 | 2502151.8316 | 1134118.5692 | 2502152.2416 | 1134135.4781
36 | 2502118.9687 | 1134095.021 | 2502118.4443 | 1134085.0011
37 | 2502073.8478 | 1134154.8123 | 2502073.2311 | 1134123.9477 | 2502073.0714 | 1134113.4077
38 | 2502049.1788 | 1134067.6122 | 2502060.7713 | 1134067.3372 | 2502061.4291 | 1134067.3346
39 | 2502192.0683 | 1134145.3666 | 2502190.577 | 1134149.3043 | 2502191.0403 | 1134163.2774
40 | 2502042.9249 | 1134067.7605 | 2502049.1788 | 1134067.6122
41 | 2502042.9249 | 1134067.7605 | 2502028.7746 | 1134067.7569
42 | 2502028.7746 | 1134067.7569 | 2502028.7746 | 1134067.7569 | 2502029.1936 | 1134079.2193
43 | 2502073.8478 | 1134154.8123 | 2502057.2678 | 1134155.3927
44 | 2502073.8478 | 1134154.8123 | 2502101.6465 | 1134154.2639
45 | 2502073.8478 | 1134154.8123 | 2502075.0957 | 1134182.1228
46 | 2502029.3704 | 1134084.0573 | 2502030.0154 | 1134099.661
47 | 2502029.3704 | 1134084.0573 | 2502029.1936 | 1134079.2193
48 | 2502030.0808 | 1134101.2453 | 2502030.0154 | 1134099.661
49 | 2502057.2678 | 1134155.3927 | 2502056.3539 | 1134155.4247
50 | 2502110.0651 | 1134154.0978 | 2502101.6465 | 1134154.2639
51 | 2502075.0957 | 1134182.1228 | 2502075.3169 | 1134186.9638 | 2502076.4296 | 1134191.0149 | 2502076.4296 | 1134191.0149
52 | 2502034.7457 | 1134156.1812 | 2502056.3539 | 1134155.4247
53 | 2502110.0651 | 1134154.0978 | 2502115.253 | 1134153.9954 | 2502122.3653 | 1134157.7157 | 2502123.1449 | 1134169.8017
54 | 2502084.6982 | 1134197.6737 | 2502079.503 | 1134194.4338 | 2502076.4296 | 1134191.0149
55 | 2502034.7457 | 1134156.1812 | 2502026.7861 | 1134156.6997
56 | 2502124.2273 | 1134186.581 | 2502123.1449 | 1134169.8017
57 | 2502084.6982 | 1134197.6737 | 2502072.562 | 1134217.3374
58 | 2502084.6982 | 1134197.6737 | 2502129.9889 | 1134226.6123
59 | 2502023.4818 | 1134158.4989 | 2502026.7861 | 1134156.6997
60 | 2502031.1044 | 1134174.1959 | 2502032.9672 | 1134181.7592 | 2502033.7633 | 1134196.6443
61 | 2502031.1044 | 1134174.1959 | 2502028.6935 | 1134180.7502 | 2502019.2725 | 1134186.5623 | 2502010.0317 | 1134186.9269
62 | 2502031.1044 | 1134174.1959 | 2502027.7993 | 1134172.6264 | 2502025.1879 | 1134166.843 | 2502023.0939 | 1134162.1074 | 2502023.4818 | 1134158.4989
63 | 2502007.2935 | 1134187.0349 | 2502010.0317 | 1134186.9269
64 | 2502001.5254 | 1134153.2856 | 2502009.0266 | 1134152.9858 | 2502023.4818 | 1134158.4989
65 | 2502191.0403 | 1134163.2774 | 2502191.339 | 1134172.2879
66 | 2502151.6832 | 1134240.8358 | 2502154.3475 | 1134222.8482
67 | 2502129.9889 | 1134226.6123 | 2502133.4974 | 1134228.8567 | 2502154.3475 | 1134222.8482
68 | 2502151.6832 | 1134240.8358 | 2502154.3481 | 1134244.7061 | 2502155.3063 | 1134250.1495 | 2502155.3952 | 1134254.6916
69 | 2502129.9889 | 1134226.6123 | 2502121.7431 | 1134243.1673 | 2502113.5153 | 1134243.7567
70 | 2502155.7691 | 1134273.811 | 2502155.3952 | 1134254.6916
71 | 2502087.163 | 1134332.8615 | 2502081.8605 | 1134334.1395
72 | 2502087.163 | 1134332.8615 | 2502091.3339 | 1134330.8704 | 2502109.8387 | 1134319.83 | 2502118.9412 | 1134314.8993
73 | 2502143.2323 | 1134305.4496 | 2502132.4386 | 1134308.7676 | 2502121.2856 | 1134313.6293 | 2502118.9412 | 1134314.8993
74 | 2502237.9396 | 1134218.2014 | 2502238.3615 | 1134241.3755 | 2502237.6682 | 1134245.6227 | 2502234.444 | 1134248.0876 | 2502229.4565 | 1134251.0035 | 2502226.5302 | 1134255.2202 | 2502221.0506 | 1134273.8427 | 2502221.391 | 1134278.2177
75 | 2502237.9396 | 1134218.2014 | 2502212.8208 | 1134218.7194
76 | 2502237.9396 | 1134218.2014 | 2502238.3615 | 1134241.3755 | 2502237.6682 | 1134245.6227 | 2502242.3712 | 1134246.0468 | 2502266.9968 | 1134233.5846
77 | 2502221.391 | 1134278.2177 | 2502212.2979 | 1134281.467 | 2502205.0588 | 1134284.548
78 | 2502208.3836 | 1134218.811 | 2502212.8208 | 1134218.7194
79 | 2502266.9968 | 1134233.5846 | 2502265.6353 | 1134230.8049 | 2502265.3529 | 1134209.5414
80 | 2502266.9968 | 1134233.5846 | 2502281.6683 | 1134226.1591
81 | 2502157.941 | 1134301.027 | 2502156.7063 | 1134294.6765 | 2502156.0293 | 1134287.1161 | 2502155.7691 | 1134273.811
82 | 2502157.941 | 1134301.027 | 2502144.8865 | 1134304.9411 | 2502143.2323 | 1134305.4496
83 | 2502060.4246 | 1134237.003 | 2502072.562 | 1134217.3374
84 | 2502060.4246 | 1134237.003 | 2502060.8988 | 1134242.9768
85 | 2502060.4246 | 1134237.003 | 2502052.0692 | 1134237.2502
86 | 2502060.8988 | 1134242.9768 | 2502062.9415 | 1134245.0338 | 2502063.7546 | 1134249.5901 | 2502065.7102 | 1134255.1389
87 | 2502052.0692 | 1134237.2502 | 2502042.0802 | 1134237.5456 | 2502042.2733 | 1134242.0185
88 | 2502205.0588 | 1134284.548 | 2502191.1959 | 1134290.448 | 2502181.4928 | 1134293.6939
89 | 2502202.6229 | 1134218.9298 | 2502208.3836 | 1134218.811
90 | 2502191.7998 | 1134213.7687 | 2502191.9125 | 1134231.6334 | 2502192.2767 | 1134232.445
91 | 2502187.6582 | 1134200.9724 | 2502191.5079 | 1134200.9989 | 2502191.7998 | 1134213.7687
92 | 2502202.6229 | 1134218.9298 | 2502197.9634 | 1134215.4921 | 2502191.7998 | 1134213.7687
93 | 2502157.941 | 1134301.027 | 2502171.112 | 1134297.1666 | 2502181.4928 | 1134293.6939
94 | 2502066.9182 | 1134258.5665 | 2502065.7102 | 1134255.1389
95 | 2502066.9182 | 1134258.5665 | 2502068.2278 | 1134266.2055 | 2502069.1403 | 1134288.2599 | 2502082.1151 | 1134287.4932
96 | 2502072.4136 | 1134253.274 | 2502071.8383 | 1134257.6639 | 2502066.9182 | 1134258.5665

## bus_geodata
| x | y | coords
0 | 2502001.9101 | 1133811.7967
1 | 2502010.184 | 1133804.93
2 | 2501939.546 | 1133813.027
3 | 2501962.5448 | 1133832.0762
4 | 2501964.1066 | 1133903.5171
5 | 2501993.5433 | 1133951.1127
6 | 2501981.7831 | 1133891.4911
7 | 2502011.1193 | 1133867.3223
8 | 2502023.4886 | 1133857.1317
9 | 2501987.9602 | 1133886.402
10 | 2502025.1227 | 1133855.7855
11 | 2501981.5144 | 1133985.9629
12 | 2502008.9316 | 1134047.1776
13 | 2501989.0079 | 1133990.6008
14 | 2502010.6636 | 1133932.9901
15 | 2502032.7676 | 1133945.3388
16 | 2502067.9711 | 1133887.2259
17 | 2502106.873 | 1133886.7666
18 | 2502088.9976 | 1133900.9434
19 | 2502110.836 | 1133953.9882
20 | 2502099.9247 | 1133930.6286
21 | 2502098.2067 | 1133965.2988
22 | 2502065.4163 | 1133994.8964
23 | 2501998.5922 | 1134040.0745
24 | 2502032.963 | 1134009.9644
25 | 2502055.2264 | 1134004.1883
26 | 2502081.8046 | 1134068.3076
27 | 2502073.0107 | 1134099.6528
28 | 2502125.8693 | 1134078.5767
29 | 2502069.3918 | 1134067.3025
30 | 2502151.3132 | 1134107.026
31 | 2502118.4443 | 1134085.0011
32 | 2502032.3966 | 1134010.4208
33 | 2502073.0714 | 1134113.4077
34 | 2502061.4291 | 1134067.3346
35 | 2502192.0683 | 1134145.3666
36 | 2502152.2416 | 1134135.4781
37 | 2502118.9687 | 1134095.021
38 | 2502049.1788 | 1134067.6122
39 | 2502042.9249 | 1134067.7605
40 | 2502028.7746 | 1134067.7569
41 | 2502073.8478 | 1134154.8123
42 | 2502029.3704 | 1134084.0573
43 | 2502030.0154 | 1134099.661
44 | 2502029.1936 | 1134079.2193
45 | 2502030.0808 | 1134101.2453
46 | 2502057.2678 | 1134155.3927
47 | 2502101.6465 | 1134154.2639
48 | 2502075.0957 | 1134182.1228
49 | 2502056.3539 | 1134155.4247
50 | 2502110.0651 | 1134154.0978
51 | 2502076.4296 | 1134191.0149
52 | 2502034.7457 | 1134156.1812
53 | 2502123.1449 | 1134169.8017
54 | 2502084.6983 | 1134197.6737
55 | 2502026.7861 | 1134156.6997
56 | 2502031.1044 | 1134174.1959
57 | 2502033.7633 | 1134196.6443
58 | 2502010.0317 | 1134186.9269
59 | 2502023.4818 | 1134158.4989
60 | 2502001.5254 | 1134153.2856
61 | 2502007.2935 | 1134187.0349
62 | 2502191.0403 | 1134163.2774
63 | 2502124.2273 | 1134186.581
64 | 2502154.3475 | 1134222.8482
65 | 2502151.6832 | 1134240.8358
66 | 2502129.9889 | 1134226.6123
67 | 2502155.3952 | 1134254.6916
68 | 2502087.163 | 1134332.8615
69 | 2502081.8605 | 1134334.1395
70 | 2502118.9412 | 1134314.8993
71 | 2502113.5153 | 1134243.7568
72 | 2502237.9396 | 1134218.2014
73 | 2502221.391 | 1134278.2177
74 | 2502212.8208 | 1134218.7194
75 | 2502266.9968 | 1134233.5846
76 | 2502191.339 | 1134172.2879
77 | 2502155.7691 | 1134273.811
78 | 2502143.2323 | 1134305.4496
79 | 2502072.562 | 1134217.3374
80 | 2502060.4246 | 1134237.003
81 | 2502060.8988 | 1134242.9768
82 | 2502052.0692 | 1134237.2502
83 | 2502205.0588 | 1134284.548
84 | 2502208.3836 | 1134218.811
85 | 2502265.3529 | 1134209.5414
86 | 2502281.6683 | 1134226.1591
87 | 2502192.2767 | 1134232.445
88 | 2502191.7998 | 1134213.7687
89 | 2502202.6229 | 1134218.9298
90 | 2502187.6582 | 1134200.9724
91 | 2502181.4928 | 1134293.6939
92 | 2502157.941 | 1134301.027
93 | 2502042.2733 | 1134242.0185
94 | 2502065.7102 | 1134255.1389
95 | 2502066.9182 | 1134258.5665
96 | 2502082.1151 | 1134287.4932
97 | 2502072.4136 | 1134253.274
98 | 2502073.8478 | 1134154.8123

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1