## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5712-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5712-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5712-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5712-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5712-3_0_4_node_87 | 0.4 | n |  | TRUE
5 | bus_LV_5712-3_0_4_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_5712-3_0_4_node_101 | 0.4 | n |  | TRUE
7 | bus_LV_5712-3_0_4_node_86 | 0.4 | n |  | TRUE
8 | bus_LV_5712-3_0_4_node_92 | 0.4 | n |  | TRUE
9 | bus_LV_5712-3_0_4_node_90 | 0.4 | n |  | TRUE
10 | bus_LV_5712-3_0_4_node_102 | 0.4 | n |  | TRUE
11 | bus_LV_5712-3_0_4_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_5712-3_0_4_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_5712-3_0_4_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_5712-3_0_4_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_5712-3_0_4_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_5712-3_0_4_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_5712-3_0_4_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_5712-3_0_4_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_5712-3_0_4_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_5712-3_0_4_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_5712-3_0_4_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_5712-3_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_5712-3_0_4_node_7 | 0.4 | n |  | TRUE
24 | bus_LV_5712-3_0_4_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_5712-3_0_4_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_5712-3_0_4_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_5712-3_0_4_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_5712-3_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5712-3_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5712-3_0_4_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_5712-3_0_4_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_5712-3_0_4_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_5712-3_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_5712-3_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_5712-3_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_5712-3_0_4_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_5712-3_0_4_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_5712-3_0_4_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_5712-3_0_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_5712-3_0_4_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_5712-3_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_5712-3_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5712-3_0_4_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_5712-3_0_4_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_5712-3_0_4_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_5712-3_0_4_node_107 | 0.4 | n |  | TRUE
47 | bus_LV_5712-3_0_4_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_5712-3_0_4_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_5712-3_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5712-3_0_4_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_5712-3_0_4_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_5712-3_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_5712-3_0_4_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_5712-3_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_5712-3_0_4_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_5712-3_0_4_node_105 | 0.4 | n |  | TRUE
57 | bus_LV_5712-3_0_4_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_5712-3_0_4_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_5712-3_0_4_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_5712-3_0_4_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_5712-3_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_5712-3_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_5712-3_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_5712-3_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5712-3_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_5712-3_0_4_node_106 | 0.4 | n |  | TRUE
67 | bus_LV_5712-3_0_4_node_108 | 0.4 | n |  | TRUE
68 | bus_LV_5712-3_0_4_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_5712-3_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5712-3_0_4_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_5712-3_0_4_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_5712-3_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_5712-3_0_4_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_5712-3_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_5712-3_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_5712-3_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_5712-3_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_5712-3_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_5712-3_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_5712-3_0_4_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_5712-3_0_4_node_109 | 0.4 | n |  | TRUE
82 | bus_LV_5712-3_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_5712-3_0_4_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_5712-3_0_4_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_5712-3_0_4_node_111 | 0.4 | n |  | TRUE
86 | bus_LV_5712-3_0_4_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_5712-3_0_4_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_5712-3_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_5712-3_0_4_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_5712-3_0_4_node_110 | 0.4 | n |  | TRUE
91 | bus_LV_5712-3_0_4_node_68 | 0.4 | n |  | TRUE
92 | bus_LV_5712-3_0_4_node_112 | 0.4 | n |  | TRUE
93 | bus_LV_5712-3_0_4_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_5712-3_0_4_node_95 | 0.4 | n |  | TRUE
95 | bus_LV_5712-3_0_4_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_5712-3_0_4_node_79 | 0.4 | n |  | TRUE
97 | bus_LV_5712-3_0_4_node_80 | 0.4 | n |  | TRUE
98 | bus_LV_5712-3_0_4_node_82 | 0.4 | n |  | TRUE
99 | bus_LV_5712-3_0_4_node_83 | 0.4 | n |  | TRUE
100 | bus_LV_5712-3_0_4_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_5712-3_0_4_node_97 | 0.4 | n |  | TRUE
102 | bus_LV_5712-3_0_4_node_96 | 0.4 | n |  | TRUE
103 | bus_LV_5712-3_0_4_node_114 | 0.4 | n |  | TRUE
104 | bus_LV_5712-3_0_4_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_5712-3_0_4_node_113 | 0.4 | n |  | TRUE
106 | bus_LV_5712-3_0_4_node_100 | 0.4 | n |  | TRUE
107 | bus_LV_5712-3_0_4_node_98 | 0.4 | n |  | TRUE
108 | bus_LV_5712-3_0_4_node_104 | 0.4 | n |  | TRUE
109 | bus_MV_453_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5712-3_0_4_load_0 | 0 | 0.0059605 | 0.0014938 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5712-3_0_4_load_3 | 3 | 0.0010618 | 0.00026611 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5712-3_0_4_load_87 | 4 | 0.0022454 | 0.00056275 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5712-3_0_4_load_101 | 6 | 0.0010616 | 0.00026605 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5712-3_0_4_load_86 | 7 | 0.0022073 | 0.00055319 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5712-3_0_4_load_90 | 9 | 0.0012602 | 0.00031583 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5712-3_0_4_load_102 | 10 | 0.0012389 | 0.00031049 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5712-3_0_4_load_4 | 11 | 0.017237 | 0.0043199 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5712-3_0_4_load_29 | 14 | 0.012691 | 0.0031807 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5712-3_0_4_load_23 | 15 | 0.010776 | 0.0027008 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5712-3_0_4_load_21 | 18 | 0.022143 | 0.0055495 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5712-3_0_4_load_30 | 19 | 0.012909 | 0.0032354 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5712-3_0_4_load_75 | 20 | 0.0019871 | 0.00049802 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5712-3_0_4_load_73 | 21 | 0.0015318 | 0.00038391 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5712-3_0_4_load_22 | 22 | 0.018767 | 0.0047033 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5712-3_0_4_load_7 | 23 | 0.0089644 | 0.0022467 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5712-3_0_4_load_46 | 27 | 0.0012953 | 0.00032463 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5712-3_0_4_load_20 | 28 | 0.005261 | 0.0013185 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5712-3_0_4_load_12 | 30 | 0.0061221 | 0.0015344 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5712-3_0_4_load_14 | 32 | 0.0019312 | 0.00048402 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5712-3_0_4_load_16 | 33 | 0.00070558 | 0.00017683 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5712-3_0_4_load_19 | 35 | 0.00072416 | 0.00018149 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5712-3_0_4_load_37 | 36 | 0.0015243 | 0.00038204 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5712-3_0_4_load_52 | 39 | 0.086311 | 0.021632 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5712-3_0_4_load_42 | 40 | 0.0022329 | 0.00055962 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5712-3_0_4_load_39 | 41 | 0.0022173 | 0.00055572 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5712-3_0_4_load_26 | 42 | 0.0010069 | 0.00025235 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5712-3_0_4_load_57 | 44 | 0.01863 | 0.004669 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5712-3_0_4_load_56 | 45 | 0.017863 | 0.004477 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5712-3_0_4_load_107 | 46 | 0.0063884 | 0.0016011 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5712-3_0_4_load_48 | 48 | 0.0020032 | 0.00050206 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5712-3_0_4_load_40 | 49 | 0.002927 | 0.00073356 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5712-3_0_4_load_27 | 50 | 0.002063 | 0.00051703 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5712-3_0_4_load_24 | 51 | 0.019324 | 0.004843 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5712-3_0_4_load_28 | 53 | 0.0020252 | 0.00050756 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5712-3_0_4_load_43 | 54 | 0.0019369 | 0.00048543 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5712-3_0_4_load_31 | 55 | 0.010849 | 0.0027189 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5712-3_0_4_load_105 | 56 | 0.0043141 | 0.0010812 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5712-3_0_4_load_33 | 57 | 0.0021957 | 0.00055029 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5712-3_0_4_load_34 | 58 | 0.0032648 | 0.00081823 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5712-3_0_4_load_35 | 59 | 0.0019655 | 0.00049259 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5712-3_0_4_load_41 | 62 | 0.010432 | 0.0026146 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5712-3_0_4_load_49 | 63 | 0.0019508 | 0.00048893 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5712-3_0_4_load_50 | 64 | 0.001462 | 0.00036641 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5712-3_0_4_load_108 | 67 | 0.0032832 | 0.00082286 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5712-3_0_4_load_67 | 69 | 0.003957 | 0.00099172 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5712-3_0_4_load_76 | 70 | 0.0020073 | 0.00050309 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5712-3_0_4_load_74 | 71 | 0.0014423 | 0.00036146 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5712-3_0_4_load_78 | 73 | 0.0033056 | 0.00082845 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5712-3_0_4_load_58 | 74 | 0.0031381 | 0.00078648 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5712-3_0_4_load_62 | 77 | 0.0056831 | 0.0014243 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5712-3_0_4_load_64 | 80 | 0.0078317 | 0.0019628 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5712-3_0_4_load_109 | 81 | 0.0020637 | 0.00051722 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5712-3_0_4_load_71 | 83 | 0.0060123 | 0.0015068 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5712-3_0_4_load_111 | 85 | 0.0024507 | 0.0006142 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5712-3_0_4_load_77 | 89 | 0.0026657 | 0.00066809 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5712-3_0_4_load_110 | 90 | 0.0045452 | 0.0011391 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5712-3_0_4_load_68 | 91 | 0.0038228 | 0.00095809 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5712-3_0_4_load_112 | 92 | 0.0078327 | 0.0019631 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5712-3_0_4_load_94 | 93 | 0.0018142 | 0.00045469 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5712-3_0_4_load_93 | 95 | 0.0010541 | 0.00026418 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5712-3_0_4_load_79 | 96 | 0.0030438 | 0.00076284 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5712-3_0_4_load_82 | 98 | 0.0040298 | 0.00101 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5712-3_0_4_load_83 | 99 | 0.0042291 | 0.0010599 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5712-3_0_4_load_85 | 100 | 0.0056874 | 0.0014254 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5712-3_0_4_load_96 | 102 | 0.0036249 | 0.00090849 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5712-3_0_4_load_114 | 103 | 0.001967 | 0.00049298 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5712-3_0_4_load_113 | 105 | 0.0020655 | 0.00051765 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5712-3_0_4_load_98 | 107 | 0.0017114 | 0.00042892 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5712-3_0_4_load_104 | 108 | 0.0036082 | 0.00090429 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5712-3_0_4_line_0 |  | 0 | 1 | 0.17493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5712-3_0_4_line_1 |  | 1 | 2 | 0.044947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5712-3_0_4_line_2 |  | 1 | 3 | 0.01695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5712-3_0_4_line_3 |  | 2 | 4 | 0.026169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5712-3_0_4_line_4 |  | 2 | 5 | 0.004599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5712-3_0_4_line_5 |  | 3 | 6 | 0.016182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5712-3_0_4_line_6 |  | 4 | 7 | 0.022428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5712-3_0_4_line_7 |  | 5 | 8 | 0.015138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5712-3_0_4_line_8 |  | 5 | 9 | 0.015516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5712-3_0_4_line_9 |  | 6 | 10 | 0.016196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5712-3_0_4_line_10 |  | 7 | 86 | 0.018646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5712-3_0_4_line_11 |  | 8 | 105 | 0.00881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5712-3_0_4_line_12 |  | 8 | 94 | 0.009008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5712-3_0_4_line_13 |  | 11 | 12 | 0.087728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5712-3_0_4_line_14 |  | 12 | 13 | 0.070579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5712-3_0_4_line_15 |  | 12 | 14 | 0.014036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5712-3_0_4_line_16 |  | 12 | 15 | 0.020762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5712-3_0_4_line_17 |  | 13 | 52 | 0.020307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5712-3_0_4_line_18 |  | 13 | 36 | 0.067199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5712-3_0_4_line_19 |  | 14 | 19 | 0.02649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5712-3_0_4_line_20 |  | 15 | 18 | 0.026567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5712-3_0_4_line_21 |  | 16 | 17 | 0.059901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5712-3_0_4_line_22 |  | 16 | 18 | 0.064558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5712-3_0_4_line_23 |  | 17 | 20 | 0.018023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5712-3_0_4_line_24 |  | 17 | 21 | 0.02115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5712-3_0_4_line_25 |  | 18 | 22 | 0.024812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5712-3_0_4_line_26 |  | 19 | 55 | 0.021214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5712-3_0_4_line_27 |  | 20 | 70 | 0.027367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5712-3_0_4_line_28 |  | 21 | 71 | 0.015362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5712-3_0_4_line_29 |  | 21 | 72 | 0.051123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5712-3_0_4_line_30 |  | 22 | 51 | 0.035616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5712-3_0_4_line_31 |  | 23 | 24 | 0.014407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5712-3_0_4_line_32 |  | 24 | 25 | 0.023863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5712-3_0_4_line_33 |  | 24 | 26 | 0.10999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5712-3_0_4_line_34 |  | 25 | 27 | 0.0092995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5712-3_0_4_line_35 |  | 26 | 28 | 0.020605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5712-3_0_4_line_36 |  | 28 | 29 | 0.044797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5712-3_0_4_line_37 |  | 29 | 31 | 0.014905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5712-3_0_4_line_38 |  | 30 | 31 | 0.028811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5712-3_0_4_line_39 |  | 30 | 32 | 0.016655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5712-3_0_4_line_40 |  | 31 | 33 | 0.038498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5712-3_0_4_line_41 |  | 32 | 34 | 0.031198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5712-3_0_4_line_42 |  | 32 | 35 | 0.019258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5712-3_0_4_line_43 |  | 33 | 36 | 0.0203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5712-3_0_4_line_44 |  | 34 | 40 | 0.088646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5712-3_0_4_line_45 |  | 34 | 41 | 0.065329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5712-3_0_4_line_46 |  | 35 | 42 | 0.0085743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5712-3_0_4_line_47 |  | 37 | 38 | 0.062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5712-3_0_4_line_48 |  | 37 | 39 | 0.040864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5712-3_0_4_line_49 |  | 38 | 46 | 0.045665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5712-3_0_4_line_50 |  | 38 | 47 | 0.044263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5712-3_0_4_line_51 |  | 38 | 43 | 0.01134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5712-3_0_4_line_52 |  | 40 | 48 | 0.0076694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5712-3_0_4_line_53 |  | 41 | 49 | 0.013478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5712-3_0_4_line_54 |  | 42 | 50 | 0.040406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5712-3_0_4_line_55 |  | 43 | 44 | 0.024663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5712-3_0_4_line_56 |  | 43 | 45 | 0.023879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5712-3_0_4_line_57 |  | 47 | 68 | 0.00364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5712-3_0_4_line_58 |  | 47 | 69 | 0.018897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5712-3_0_4_line_59 |  | 48 | 63 | 0.023512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5712-3_0_4_line_60 |  | 49 | 62 | 0.028173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5712-3_0_4_line_61 |  | 50 | 53 | 0.020366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5712-3_0_4_line_62 |  | 52 | 56 | 0.033163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5712-3_0_4_line_63 |  | 53 | 54 | 0.019925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5712-3_0_4_line_64 |  | 56 | 61 | 0.031413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5712-3_0_4_line_65 |  | 57 | 58 | 0.03085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5712-3_0_4_line_66 |  | 57 | 59 | 0.015823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5712-3_0_4_line_67 |  | 58 | 60 | 0.018939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5712-3_0_4_line_68 |  | 60 | 61 | 0.034653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5712-3_0_4_line_69 |  | 63 | 64 | 0.004725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5712-3_0_4_line_70 |  | 64 | 65 | 0.052631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5712-3_0_4_line_71 |  | 65 | 66 | 0.084292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5712-3_0_4_line_72 |  | 66 | 67 | 0.036916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5712-3_0_4_line_73 |  | 68 | 92 | 0.020445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5712-3_0_4_line_74 |  | 68 | 82 | 0.011235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_5712-3_0_4_line_75 |  | 69 | 91 | 0.035448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_5712-3_0_4_line_76 |  | 70 | 89 | 0.041358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5712-3_0_4_line_77 |  | 71 | 91 | 0.035947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_5712-3_0_4_line_78 |  | 72 | 73 | 0.017374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5712-3_0_4_line_79 |  | 74 | 75 | 0.075704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5712-3_0_4_line_80 |  | 75 | 76 | 0.031338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5712-3_0_4_line_81 |  | 75 | 77 | 0.020951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5712-3_0_4_line_82 |  | 75 | 78 | 0.009039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5712-3_0_4_line_83 |  | 76 | 79 | 0.015333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5712-3_0_4_line_84 |  | 76 | 80 | 0.010223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5712-3_0_4_line_85 |  | 78 | 81 | 0.033531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5712-3_0_4_line_86 |  | 79 | 82 | 0.007935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5712-3_0_4_line_87 |  | 79 | 83 | 0.027686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5712-3_0_4_line_88 |  | 82 | 90 | 0.018216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5712-3_0_4_line_89 |  | 84 | 85 | 0.011615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5712-3_0_4_line_90 |  | 84 | 86 | 0.029001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5712-3_0_4_line_91 |  | 84 | 87 | 0.018945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5712-3_0_4_line_92 |  | 86 | 88 | 0.002678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5712-3_0_4_line_93 |  | 87 | 100 | 0.027812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5712-3_0_4_line_94 |  | 87 | 96 | 0.025316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5712-3_0_4_line_95 |  | 88 | 101 | 0.020557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5712-3_0_4_line_96 |  | 88 | 102 | 0.05892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5712-3_0_4_line_97 |  | 89 | 93 | 0.037685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5712-3_0_4_line_98 |  | 93 | 94 | 0.0088169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5712-3_0_4_line_99 |  | 93 | 95 | 0.025928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5712-3_0_4_line_100 |  | 96 | 97 | 0.0095547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5712-3_0_4_line_101 |  | 97 | 98 | 0.019982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5712-3_0_4_line_102 |  | 97 | 99 | 0.041297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5712-3_0_4_line_103 |  | 101 | 103 | 0.017881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5712-3_0_4_line_104 |  | 101 | 104 | 0.039017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5712-3_0_4_line_105 |  | 104 | 106 | 0.014935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5712-3_0_4_line_106 |  | 104 | 107 | 0.044615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5712-3_0_4_line_107 |  | 106 | 108 | 0.037695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5712-3_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 109 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2503567.1406 | 1130828.1772 | 2503394.4589 | 1130856.1092
1 | 2503603.6308 | 1130801.7894 | 2503596.6187 | 1130806.9379 | 2503567.1406 | 1130828.1772
2 | 2503567.1406 | 1130828.1772 | 2503568.3633 | 1130833.3498 | 2503575.7477 | 1130842.3415
3 | 2503603.6308 | 1130801.7894 | 2503624.7324 | 1130786.3128
4 | 2503600.9292 | 1130798.0636 | 2503603.6308 | 1130801.7894
5 | 2503575.7477 | 1130842.3415 | 2503586.0175 | 1130854.8467
6 | 2503642.7207 | 1130772.9193 | 2503635.1968 | 1130778.6379 | 2503624.7324 | 1130786.3128
7 | 2503592.0367 | 1130785.7981 | 2503600.9292 | 1130798.0636
8 | 2503600.9292 | 1130798.0636 | 2503596.8288 | 1130801.2866 | 2503588.0323 | 1130806.6469
9 | 2503586.0175 | 1130854.8467 | 2503596.2961 | 1130867.3626
10 | 2503658.3164 | 1130762.9259 | 2503652.7085 | 1130765.328 | 2503642.7207 | 1130772.9193
11 | 2503599.1318 | 1130780.5482 | 2503592.0367 | 1130785.7981
12 | 2503586.7437 | 1130778.5004 | 2503592.0367 | 1130785.7981
13 | 2503456.2257 | 1130539.1951 | 2503453.4621 | 1130626.8794
14 | 2503456.2257 | 1130539.1951 | 2503457.9297 | 1130525.8152 | 2503463.3697 | 1130508.5843 | 2503468.9168 | 1130498.5227 | 2503470.4598 | 1130491.9274 | 2503469.8204 | 1130483.7437 | 2503466.5683 | 1130471.6216
15 | 2503456.2257 | 1130539.1951 | 2503442.1909 | 1130539.3816
16 | 2503456.2257 | 1130539.1951 | 2503476.9273 | 1130540.7768
17 | 2503466.5683 | 1130471.6216 | 2503461.1489 | 1130473.7762 | 2503447.5497 | 1130478.8857
18 | 2503466.5683 | 1130471.6216 | 2503499.4142 | 1130459.0554 | 2503518.0132 | 1130452.9989 | 2503529.8213 | 1130448.9865
19 | 2503415.7313 | 1130538.2067 | 2503439.8522 | 1130539.4126 | 2503442.1909 | 1130539.3816
20 | 2503476.9273 | 1130540.7768 | 2503484.5 | 1130541.3554 | 2503502.8816 | 1130536.6587 | 2503502.8816 | 1130536.6587
21 | 2503534.9327 | 1130656.5088 | 2503526.2473 | 1130630.7207 | 2503517.7731 | 1130602.7279 | 2503515.7869 | 1130599.9134
22 | 2503502.8816 | 1130536.6587 | 2503515.7869 | 1130599.9134
23 | 2503534.9327 | 1130656.5088 | 2503540.3266 | 1130672.5213 | 2503540.7008 | 1130673.5836
24 | 2503534.9327 | 1130656.5088 | 2503544.7308 | 1130654.0952 | 2503555.2421 | 1130650.6587
25 | 2503527.6778 | 1130535.7811 | 2503502.8816 | 1130536.6587
26 | 2503394.6231 | 1130538.4955 | 2503400.7737 | 1130537.4588 | 2503415.7313 | 1130538.2067
27 | 2503540.7008 | 1130673.5836 | 2503549.793 | 1130699.3961
28 | 2503555.2421 | 1130650.6587 | 2503569.8432 | 1130645.8849
29 | 2503601.0249 | 1130673.4079 | 2503555.2421 | 1130650.6587
30 | 2503527.6778 | 1130535.7811 | 2503531.5366 | 1130535.6446 | 2503542.691 | 1130540.9585 | 2503552.2617 | 1130538.7598 | 2503555.482 | 1130537.3408 | 2503560.1621 | 1130533.4911
31 | 2503675.7396 | 1130328.1593 | 2503674.4612 | 1130322.8765 | 2503672.4244 | 1130314.1394
32 | 2503675.7396 | 1130328.1593 | 2503698.8674 | 1130322.0199
33 | 2503654.5583 | 1130406.0228 | 2503657.1119 | 1130404.8146 | 2503645.0454 | 1130363.1372 | 2503643.3523 | 1130356.0043 | 2503653.1201 | 1130353.5914 | 2503667.6176 | 1130349.7132 | 2503664.9273 | 1130338.9829 | 2503667.5806 | 1130338.229 | 2503677.4538 | 1130335.1696 | 2503675.7396 | 1130328.1593
34 | 2503698.8674 | 1130322.0199 | 2503701.636 | 1130328.4908 | 2503702.6505 | 1130330.5117
35 | 2503654.5583 | 1130406.0228 | 2503643.0375 | 1130412.0214 | 2503635.9345 | 1130414.7686
36 | 2503601.5449 | 1130432.5965 | 2503599.775 | 1130425.9651 | 2503614.2287 | 1130422.7323 | 2503626.8756 | 1130418.2721 | 2503635.9345 | 1130414.7686
37 | 2503586.776 | 1130434.9004 | 2503601.5449 | 1130432.5965
38 | 2503586.776 | 1130434.9004 | 2503580.576 | 1130424.8488 | 2503574.2656 | 1130414.1541 | 2503571.9925 | 1130410.1738
39 | 2503563.7331 | 1130395.7111 | 2503571.9925 | 1130410.1738
40 | 2503586.776 | 1130434.9004 | 2503570.9721 | 1130437.5099 | 2503559.6442 | 1130439.67 | 2503549.1627 | 1130442.8308
41 | 2503548.3926 | 1130368.5283 | 2503563.7331 | 1130395.7111
42 | 2503563.7331 | 1130395.7111 | 2503559.0861 | 1130398.487 | 2503546.0873 | 1130403.2525
43 | 2503549.1627 | 1130442.8308 | 2503538.2705 | 1130446.1154 | 2503529.8213 | 1130448.9865
44 | 2503548.3926 | 1130368.5283 | 2503522.7396 | 1130324.6447 | 2503512.7117 | 1130307.9058 | 2503503.6587 | 1130292
45 | 2503548.3926 | 1130368.5283 | 2503540.4554 | 1130373.6583 | 2503528.5072 | 1130378.9413 | 2503512.8353 | 1130384.0394 | 2503489.6249 | 1130392.6934 | 2503488.1197 | 1130393.1124
46 | 2503538.0369 | 1130406.2039 | 2503546.0873 | 1130403.2525
47 | 2503644.4865 | 1130519.1529 | 2503648.0148 | 1130526.401 | 2503651.9744 | 1130535.0987 | 2503654.4682 | 1130542.2077 | 2503656.7078 | 1130549.7988 | 2503658.701 | 1130558.3611 | 2503660.1515 | 1130566.7098 | 2503660.8927 | 1130573.5688 | 2503661.0536 | 1130578.3358
48 | 2503644.4865 | 1130519.1529 | 2503641.2336 | 1130521.4284 | 2503637.966 | 1130524.7159 | 2503633.2852 | 1130535.4972 | 2503622.7821 | 1130553.109
49 | 2503661.0536 | 1130578.3358 | 2503656.0332 | 1130578.9497 | 2503649.8601 | 1130580.6937 | 2503626.9696 | 1130586.6738 | 2503617.971 | 1130592.3765
50 | 2503661.0536 | 1130578.3358 | 2503661.1823 | 1130587.3615 | 2503660.5847 | 1130595.287 | 2503659.3547 | 1130605.5685 | 2503657.1681 | 1130617.6997 | 2503656.4935 | 1130622.2466
51 | 2503661.0536 | 1130578.3358 | 2503660.8927 | 1130573.5688 | 2503667.4618 | 1130573.4639
52 | 2503499.865 | 1130285.3346 | 2503503.6587 | 1130292
53 | 2503488.1197 | 1130393.1124 | 2503477.845 | 1130395.9727 | 2503475.2413 | 1130397.0368
54 | 2503500.1004 | 1130420.1118 | 2503538.0369 | 1130406.2039
55 | 2503690.9278 | 1130577.4697 | 2503676.5835 | 1130578.3658 | 2503667.4618 | 1130573.4639
56 | 2503667.4618 | 1130573.4639 | 2503668.7557 | 1130579.7249 | 2503670.1125 | 1130597.1584
57 | 2503655.9579 | 1130625.8463 | 2503656.4935 | 1130622.2466
58 | 2503656.4935 | 1130622.2466 | 2503652.1221 | 1130622.0051 | 2503647.4115 | 1130624.6486 | 2503638.6829 | 1130627.2805
59 | 2503499.865 | 1130285.3346 | 2503498.8092 | 1130283.4797 | 2503493.5585 | 1130274.5248 | 2503487.8387 | 1130265.1327
60 | 2503448.3377 | 1130404.8944 | 2503462.5002 | 1130402.2441 | 2503475.2413 | 1130397.0368
61 | 2503500.1004 | 1130420.1118 | 2503480.9789 | 1130427.122
62 | 2503447.5497 | 1130478.8857 | 2503422.825 | 1130488.198 | 2503416.4892 | 1130490.5049
63 | 2503480.9789 | 1130427.122 | 2503462.2711 | 1130433.9805
64 | 2503386.4389 | 1130499.5094 | 2503396.1259 | 1130497.353 | 2503407.4619 | 1130493.7917 | 2503416.4892 | 1130490.5049
65 | 2503397.1537 | 1130459.9213 | 2503404.3454 | 1130457.4304 | 2503425.868 | 1130448.6659
66 | 2503440.5229 | 1130442.6981 | 2503425.868 | 1130448.6659
67 | 2503379.1177 | 1130465.6391 | 2503384.052 | 1130464.4594 | 2503397.1537 | 1130459.9213
68 | 2503379.1177 | 1130465.6391 | 2503380.1741 | 1130470.5141 | 2503386.4389 | 1130499.5094
69 | 2503487.8387 | 1130265.1327 | 2503487.8387 | 1130265.1327 | 2503485.6171 | 1130260.9626
70 | 2503465.2576 | 1130212.517 | 2503470.8168 | 1130228.2377 | 2503475.243 | 1130239.585 | 2503478.0372 | 1130246.1889 | 2503482.8114 | 1130255.6961 | 2503485.6171 | 1130260.9626
71 | 2503465.2576 | 1130212.517 | 2503426.778 | 1130221.6491 | 2503408.5486 | 1130226.288 | 2503396.2897 | 1130230.9426 | 2503384.7629 | 1130237.053
72 | 2503384.7629 | 1130237.053 | 2503378.2293 | 1130239.3923 | 2503374.9954 | 1130240.9339 | 2503368.8412 | 1130243.4006 | 2503363.9457 | 1130247.4926 | 2503360.002 | 1130252.8145 | 2503357.3137 | 1130259.0836
73 | 2503675.0519 | 1130631.5228 | 2503669.7439 | 1130631.9633 | 2503666.4741 | 1130631.2484 | 2503655.9579 | 1130625.8463
74 | 2503655.9579 | 1130625.8463 | 2503654.3097 | 1130636.9571
75 | 2503638.6829 | 1130627.2805 | 2503621.247 | 1130632.5377 | 2503616.2479 | 1130633.029 | 2503604.5819 | 1130636.6444
76 | 2503549.793 | 1130699.3961 | 2503555.6661 | 1130716.0696 | 2503562.801 | 1130734.0222 | 2503565.9087 | 1130737.0825
77 | 2503604.5819 | 1130636.6444 | 2503569.8432 | 1130645.8849
78 | 2503601.0249 | 1130673.4079 | 2503607.7857 | 1130689.4123
79 | 2503647.6411 | 1130691.119 | 2503657.0024 | 1130687.8787 | 2503676.5221 | 1130677.7721 | 2503680.6581 | 1130675.3269 | 2503684.0509 | 1130672.1708 | 2503698.6161 | 1130656.1731 | 2503701.9388 | 1130652.9626 | 2503707.3111 | 1130647.8626 | 2503707.8854 | 1130647.4358
80 | 2503647.6411 | 1130691.119 | 2503648.4204 | 1130679.6217 | 2503650.0046 | 1130667.4001 | 2503651.1884 | 1130660.01
81 | 2503647.6411 | 1130691.119 | 2503641.6026 | 1130694.0505 | 2503630.095 | 1130702.4362
82 | 2503647.0225 | 1130700.1344 | 2503647.6411 | 1130691.119
83 | 2503653.2027 | 1130644.813 | 2503651.1884 | 1130660.01
84 | 2503651.1884 | 1130660.01 | 2503661.3238 | 1130661.349
85 | 2503647.0225 | 1130700.1344 | 2503641.6687 | 1130701.5652 | 2503629.1555 | 1130713.3944 | 2503623.5648 | 1130722.656
86 | 2503654.3097 | 1130636.9571 | 2503653.6701 | 1130641.2811 | 2503653.2027 | 1130644.813
87 | 2503653.2027 | 1130644.813 | 2503648.9164 | 1130647.4941 | 2503647.1409 | 1130652.5589 | 2503645.5229 | 1130654.9529 | 2503642.1129 | 1130657.998 | 2503632.6996 | 1130660.7293
88 | 2503654.3097 | 1130636.9571 | 2503651.2687 | 1130636.5832 | 2503646.0155 | 1130637.0785 | 2503636.5013 | 1130639.9099
89 | 2503672.9035 | 1130732.8859 | 2503675.1498 | 1130744.2792
90 | 2503675.1498 | 1130744.2792 | 2503668.6247 | 1130750.0202 | 2503663.2928 | 1130755.2307 | 2503656.4974 | 1130757.5517 | 2503657.3615 | 1130760.0505 | 2503658.3164 | 1130762.9259
91 | 2503675.1498 | 1130744.2792 | 2503690.4691 | 1130733.0724
92 | 2503659.1887 | 1130765.458 | 2503658.3164 | 1130762.9259
93 | 2503685.4339 | 1130705.7248 | 2503690.4691 | 1130733.0724
94 | 2503690.4691 | 1130733.0724 | 2503712.3785 | 1130720.3894
95 | 2503659.1887 | 1130765.458 | 2503661.5472 | 1130772.3023 | 2503666.2371 | 1130784.7685
96 | 2503659.1887 | 1130765.458 | 2503664.7045 | 1130763.0796 | 2503695.235 | 1130740.6566 | 2503703.2378 | 1130743.5195 | 2503707.3366 | 1130748.6077
97 | 2503581.5765 | 1130771.3563 | 2503565.9087 | 1130737.0825
98 | 2503586.7437 | 1130778.5004 | 2503581.5765 | 1130771.3563 | 2503581.5765 | 1130771.3563
99 | 2503560.8312 | 1130786.6987 | 2503566.4407 | 1130783.9057 | 2503581.5765 | 1130771.3563
100 | 2503720.6476 | 1130715.6025 | 2503712.3785 | 1130720.3894
101 | 2503735.5319 | 1130702.2236 | 2503720.6476 | 1130715.6025
102 | 2503711.9462 | 1130675.2388 | 2503720.6476 | 1130715.6025
103 | 2503681.5439 | 1130775.6853 | 2503671.7336 | 1130782.635 | 2503666.2371 | 1130784.7685
104 | 2503666.2371 | 1130784.7685 | 2503679.1954 | 1130821.5731
105 | 2503679.1954 | 1130821.5731 | 2503680.8516 | 1130826.4052 | 2503682.0959 | 1130830.0432 | 2503684.0962 | 1130835.6814
106 | 2503679.1954 | 1130821.5731 | 2503676.6101 | 1130822.7151 | 2503643.8268 | 1130848.6293
107 | 2503684.0962 | 1130835.6814 | 2503679.3315 | 1130837.8142 | 2503674.7591 | 1130849.1052 | 2503669.0007 | 1130857.0242 | 2503661.1608 | 1130864.0109

## bus_geodata
| x | y | coords
0 | 2503394.4589 | 1130856.1092
1 | 2503567.1406 | 1130828.1772
2 | 2503603.6308 | 1130801.7894
3 | 2503575.7477 | 1130842.3415
4 | 2503624.7324 | 1130786.3128
5 | 2503600.9292 | 1130798.0636
6 | 2503586.0175 | 1130854.8467
7 | 2503642.7207 | 1130772.9193
8 | 2503592.0367 | 1130785.7981
9 | 2503588.0323 | 1130806.6469
10 | 2503596.2961 | 1130867.3626
11 | 2503453.4621 | 1130626.8794
12 | 2503456.2257 | 1130539.1951
13 | 2503466.5683 | 1130471.6216
14 | 2503442.1909 | 1130539.3816
15 | 2503476.9273 | 1130540.7768
16 | 2503515.7869 | 1130599.9134
17 | 2503534.9327 | 1130656.5088
18 | 2503502.8816 | 1130536.6587
19 | 2503415.7313 | 1130538.2067
20 | 2503540.7008 | 1130673.5836
21 | 2503555.2421 | 1130650.6587
22 | 2503527.6778 | 1130535.7811
23 | 2503672.4244 | 1130314.1394
24 | 2503675.7396 | 1130328.1593
25 | 2503698.8674 | 1130322.0199
26 | 2503654.5583 | 1130406.0228
27 | 2503702.6505 | 1130330.5117
28 | 2503635.9345 | 1130414.7686
29 | 2503601.5449 | 1130432.5964
30 | 2503571.9925 | 1130410.1738
31 | 2503586.776 | 1130434.9004
32 | 2503563.7331 | 1130395.7111
33 | 2503549.1627 | 1130442.8308
34 | 2503548.3926 | 1130368.5283
35 | 2503546.0873 | 1130403.2525
36 | 2503529.8213 | 1130448.9865
37 | 2503644.4865 | 1130519.1529
38 | 2503661.0536 | 1130578.3358
39 | 2503622.7821 | 1130553.109
40 | 2503503.6587 | 1130292
41 | 2503488.1197 | 1130393.1124
42 | 2503538.0369 | 1130406.2039
43 | 2503667.4618 | 1130573.4639
44 | 2503690.9278 | 1130577.4697
45 | 2503670.1125 | 1130597.1584
46 | 2503617.971 | 1130592.3765
47 | 2503656.4935 | 1130622.2466
48 | 2503499.865 | 1130285.3346
49 | 2503475.2413 | 1130397.0368
50 | 2503500.1004 | 1130420.1118
51 | 2503560.1621 | 1130533.4911
52 | 2503447.5497 | 1130478.8857
53 | 2503480.9789 | 1130427.122
54 | 2503462.2711 | 1130433.9805
55 | 2503394.6231 | 1130538.4955
56 | 2503416.4892 | 1130490.5049
57 | 2503425.868 | 1130448.6659
58 | 2503397.1537 | 1130459.9213
59 | 2503440.5229 | 1130442.6981
60 | 2503379.1177 | 1130465.6391
61 | 2503386.4389 | 1130499.5094
62 | 2503448.3377 | 1130404.8944
63 | 2503487.8387 | 1130265.1327
64 | 2503485.6171 | 1130260.9626
65 | 2503465.2576 | 1130212.517
66 | 2503384.7629 | 1130237.053
67 | 2503357.3137 | 1130259.0836
68 | 2503655.9579 | 1130625.8463
69 | 2503638.6829 | 1130627.2805
70 | 2503549.793 | 1130699.3961
71 | 2503569.8432 | 1130645.8849
72 | 2503601.0249 | 1130673.4079
73 | 2503607.7857 | 1130689.4123
74 | 2503707.8854 | 1130647.4358
75 | 2503647.6411 | 1130691.119
76 | 2503651.1884 | 1130660.01
77 | 2503630.095 | 1130702.4362
78 | 2503647.0225 | 1130700.1344
79 | 2503653.2027 | 1130644.813
80 | 2503661.3238 | 1130661.349
81 | 2503623.5648 | 1130722.656
82 | 2503654.3097 | 1130636.9571
83 | 2503632.6996 | 1130660.7293
84 | 2503675.1498 | 1130744.2792
85 | 2503672.9035 | 1130732.8859
86 | 2503658.3164 | 1130762.9259
87 | 2503690.4691 | 1130733.0724
88 | 2503659.1887 | 1130765.458
89 | 2503565.9087 | 1130737.0825
90 | 2503636.5013 | 1130639.9099
91 | 2503604.5819 | 1130636.6444
92 | 2503675.0519 | 1130631.5228
93 | 2503581.5765 | 1130771.3563
94 | 2503586.7437 | 1130778.5004
95 | 2503560.8312 | 1130786.6987
96 | 2503712.3785 | 1130720.3894
97 | 2503720.6476 | 1130715.6025
98 | 2503735.5319 | 1130702.2236
99 | 2503711.9462 | 1130675.2388
100 | 2503685.4339 | 1130705.7248
101 | 2503666.2371 | 1130784.7685
102 | 2503707.3366 | 1130748.6077
103 | 2503681.5439 | 1130775.6853
104 | 2503679.1954 | 1130821.5731
105 | 2503599.1318 | 1130780.5482
106 | 2503684.0962 | 1130835.6814
107 | 2503643.8268 | 1130848.6293
108 | 2503661.1608 | 1130864.0109
109 | 2503571.1506 | 1130462.6558

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1