## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5712-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5712-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5712-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5712-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5712-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5712-6_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5712-6_0_4_node_65 | 0.4 | n |  | TRUE
7 | bus_LV_5712-6_0_4_node_85 | 0.4 | n |  | TRUE
8 | bus_LV_5712-6_0_4_node_86 | 0.4 | n |  | TRUE
9 | bus_LV_5712-6_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5712-6_0_4_node_80 | 0.4 | n |  | TRUE
11 | bus_LV_5712-6_0_4_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_5712-6_0_4_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_5712-6_0_4_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_5712-6_0_4_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_5712-6_0_4_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_5712-6_0_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_5712-6_0_4_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_5712-6_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_5712-6_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5712-6_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5712-6_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5712-6_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5712-6_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5712-6_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5712-6_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5712-6_0_4_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_5712-6_0_4_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_5712-6_0_4_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_5712-6_0_4_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_5712-6_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_5712-6_0_4_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_5712-6_0_4_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_5712-6_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_5712-6_0_4_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_5712-6_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_5712-6_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_5712-6_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_5712-6_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_5712-6_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5712-6_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5712-6_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_5712-6_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_5712-6_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_5712-6_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_5712-6_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_5712-6_0_4_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_5712-6_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_5712-6_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_5712-6_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_5712-6_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_5712-6_0_4_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_5712-6_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_5712-6_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_5712-6_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_5712-6_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_5712-6_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_5712-6_0_4_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_5712-6_0_4_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_5712-6_0_4_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_5712-6_0_4_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_5712-6_0_4_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_5712-6_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_5712-6_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_5712-6_0_4_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_5712-6_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_5712-6_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_5712-6_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_5712-6_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_5712-6_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_5712-6_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_5712-6_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_5712-6_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_5712-6_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_5712-6_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_5712-6_0_4_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_5712-6_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_5712-6_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_5712-6_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_5712-6_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_5712-6_0_4_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_5712-6_0_4_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_5712-6_0_4_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_5712-6_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_5712-6_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_5712-6_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_5712-6_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_MV_453_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5712-6_0_4_load_0 | 0 | 0.0016459 | 0.00041249 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5712-6_0_4_load_3 | 3 | 0.0067744 | 0.0016978 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5712-6_0_4_load_4 | 4 | 0.00089981 | 0.00022551 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5712-6_0_4_load_65 | 6 | 0.0024714 | 0.00061938 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5712-6_0_4_load_85 | 7 | 0.0032469 | 0.00081375 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5712-6_0_4_load_86 | 8 | 0.0016481 | 0.00041305 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5712-6_0_4_load_80 | 10 | 0.001005 | 0.00025188 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5712-6_0_4_load_56 | 11 | 0.0031034 | 0.00077779 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5712-6_0_4_load_22 | 12 | 0.0032343 | 0.00081059 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5712-6_0_4_load_66 | 13 | 0.0065394 | 0.0016389 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5712-6_0_4_load_79 | 14 | 0.0027579 | 0.0006912 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5712-6_0_4_load_44 | 15 | 0.001823 | 0.00045688 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5712-6_0_4_load_20 | 16 | 0.0072278 | 0.0018115 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5712-6_0_4_load_7 | 17 | 0.0040461 | 0.001014 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5712-6_0_4_load_8 | 18 | 0.0030998 | 0.00077689 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5712-6_0_4_load_11 | 21 | 0.0032759 | 0.00082102 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5712-6_0_4_load_12 | 22 | 0.0052433 | 0.0013141 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5712-6_0_4_load_13 | 23 | 0.0014084 | 0.00035297 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5712-6_0_4_load_17 | 24 | 0.0049728 | 0.0012463 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5712-6_0_4_load_87 | 26 | 0.0015894 | 0.00039834 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5712-6_0_4_load_82 | 27 | 0.0022152 | 0.00055517 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5712-6_0_4_load_48 | 29 | 0.021118 | 0.0052926 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5712-6_0_4_load_14 | 31 | 0.0024786 | 0.00062119 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5712-6_0_4_load_43 | 32 | 0.0041959 | 0.0010516 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5712-6_0_4_load_83 | 34 | 0.077479 | 0.019418 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5712-6_0_4_load_18 | 35 | 0.0019275 | 0.00048308 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5712-6_0_4_load_19 | 36 | 0.0024377 | 0.00061095 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5712-6_0_4_load_21 | 37 | 0.0029754 | 0.0007457 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5712-6_0_4_load_33 | 38 | 0.0026131 | 0.00065489 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5712-6_0_4_load_34 | 39 | 0.0074153 | 0.0018584 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5712-6_0_4_load_23 | 40 | 0.025613 | 0.0064192 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5712-6_0_4_load_24 | 42 | 0.025643 | 0.0064268 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5712-6_0_4_load_27 | 43 | 0.019424 | 0.0048682 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5712-6_0_4_load_51 | 46 | 0.0062906 | 0.0015766 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5712-6_0_4_load_32 | 47 | 0.0086981 | 0.0021799 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5712-6_0_4_load_49 | 48 | 0.0060797 | 0.0015237 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5712-6_0_4_load_29 | 51 | 0.004887 | 0.0012248 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5712-6_0_4_load_35 | 52 | 0.0036129 | 0.00090548 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5712-6_0_4_load_36 | 53 | 0.0049957 | 0.001252 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5712-6_0_4_load_38 | 55 | 0.0020946 | 0.00052496 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5712-6_0_4_load_39 | 56 | 0.0040854 | 0.0010239 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5712-6_0_4_load_71 | 57 | 0.002894 | 0.0007253 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5712-6_0_4_load_68 | 59 | 0.0035624 | 0.00089281 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5712-6_0_4_load_77 | 60 | 0.0047243 | 0.001184 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5712-6_0_4_load_40 | 62 | 0.002587 | 0.00064837 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5712-6_0_4_load_45 | 65 | 0.006983 | 0.0017501 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5712-6_0_4_load_46 | 66 | 0.0030637 | 0.00076784 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5712-6_0_4_load_55 | 68 | 0.0062428 | 0.0015646 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5712-6_0_4_load_53 | 69 | 0.0033526 | 0.00084024 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5712-6_0_4_load_52 | 70 | 0.0055926 | 0.0014016 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5712-6_0_4_load_57 | 71 | 0.0051417 | 0.0012886 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5712-6_0_4_load_58 | 72 | 0.0047952 | 0.0012018 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5712-6_0_4_load_59 | 73 | 0.0041692 | 0.0010449 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5712-6_0_4_load_60 | 74 | 0.0021803 | 0.00054643 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5712-6_0_4_load_70 | 76 | 0.0031059 | 0.00077842 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5712-6_0_4_load_72 | 78 | 0.0016866 | 0.0004227 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5712-6_0_4_load_64 | 79 | 0.0027114 | 0.00067955 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5712-6_0_4_load_62 | 80 | 0.0034116 | 0.00085503 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5712-6_0_4_load_69 | 82 | 0.0028806 | 0.00072196 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5712-6_0_4_load_73 | 83 | 0.0033497 | 0.0008395 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5712-6_0_4_load_76 | 84 | 0.0022843 | 0.00057251 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5712-6_0_4_load_81 | 85 | 0.0020956 | 0.00052521 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5712-6_0_4_load_78 | 86 | 0.0020363 | 0.00051034 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5712-6_0_4_line_0 |  | 0 | 1 | 0.011442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5712-6_0_4_line_1 |  | 0 | 2 | 0.022173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5712-6_0_4_line_2 |  | 1 | 3 | 0.033055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5712-6_0_4_line_3 |  | 2 | 4 | 0.013433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5712-6_0_4_line_4 |  | 2 | 5 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5712-6_0_4_line_5 |  | 3 | 6 | 0.02345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5712-6_0_4_line_6 |  | 4 | 7 | 0.015304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5712-6_0_4_line_7 |  | 5 | 8 | 0.014234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5712-6_0_4_line_8 |  | 5 | 9 | 0.060008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5712-6_0_4_line_9 |  | 5 | 10 | 0.013889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5712-6_0_4_line_10 |  | 6 | 13 | 0.009329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5712-6_0_4_line_11 |  | 9 | 11 | 0.0083823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5712-6_0_4_line_12 |  | 9 | 12 | 0.027138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5712-6_0_4_line_13 |  | 10 | 14 | 0.026247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5712-6_0_4_line_14 |  | 11 | 15 | 0.0013955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5712-6_0_4_line_15 |  | 12 | 16 | 0.02249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5712-6_0_4_line_16 |  | 13 | 81 | 0.013577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5712-6_0_4_line_17 |  | 14 | 86 | 0.076558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5712-6_0_4_line_18 |  | 15 | 63 | 0.046589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5712-6_0_4_line_19 |  | 16 | 35 | 0.029765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5712-6_0_4_line_20 |  | 17 | 18 | 0.018861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5712-6_0_4_line_21 |  | 17 | 19 | 0.038947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5712-6_0_4_line_22 |  | 18 | 20 | 0.026709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5712-6_0_4_line_23 |  | 19 | 21 | 0.014237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5712-6_0_4_line_24 |  | 19 | 22 | 0.007884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5712-6_0_4_line_25 |  | 19 | 23 | 0.036916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5712-6_0_4_line_26 |  | 20 | 24 | 0.017307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5712-6_0_4_line_27 |  | 20 | 25 | 0.067461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5712-6_0_4_line_28 |  | 21 | 26 | 0.030591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5712-6_0_4_line_29 |  | 24 | 27 | 0.018718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5712-6_0_4_line_30 |  | 25 | 28 | 0.041075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5712-6_0_4_line_31 |  | 25 | 29 | 0.035041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5712-6_0_4_line_32 |  | 25 | 30 | 0.068566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5712-6_0_4_line_33 |  | 27 | 34 | 0.16611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5712-6_0_4_line_34 |  | 28 | 32 | 0.033604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5712-6_0_4_line_35 |  | 29 | 33 | 0.024119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5712-6_0_4_line_36 |  | 30 | 31 | 0.024833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5712-6_0_4_line_37 |  | 32 | 63 | 0.034116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5712-6_0_4_line_38 |  | 33 | 42 | 0.022031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5712-6_0_4_line_39 |  | 35 | 36 | 0.013795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5712-6_0_4_line_40 |  | 36 | 37 | 0.024407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5712-6_0_4_line_41 |  | 37 | 38 | 0.023911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5712-6_0_4_line_42 |  | 38 | 39 | 0.029698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5712-6_0_4_line_43 |  | 39 | 52 | 0.027175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5712-6_0_4_line_44 |  | 40 | 41 | 0.029671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5712-6_0_4_line_45 |  | 41 | 43 | 0.025597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5712-6_0_4_line_46 |  | 43 | 44 | 0.044103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5712-6_0_4_line_47 |  | 44 | 49 | 0.012216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5712-6_0_4_line_48 |  | 45 | 46 | 0.024766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5712-6_0_4_line_49 |  | 45 | 47 | 0.03446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5712-6_0_4_line_50 |  | 45 | 48 | 0.012913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5712-6_0_4_line_51 |  | 47 | 49 | 0.0021444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5712-6_0_4_line_52 |  | 48 | 50 | 0.022279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5712-6_0_4_line_53 |  | 49 | 51 | 0.037911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5712-6_0_4_line_54 |  | 50 | 70 | 0.017355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5712-6_0_4_line_55 |  | 50 | 69 | 0.015737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5712-6_0_4_line_56 |  | 53 | 54 | 0.026666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5712-6_0_4_line_57 |  | 54 | 55 | 0.015967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5712-6_0_4_line_58 |  | 54 | 56 | 0.028144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5712-6_0_4_line_59 |  | 55 | 57 | 0.027231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5712-6_0_4_line_60 |  | 56 | 58 | 0.0056135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5712-6_0_4_line_61 |  | 57 | 59 | 0.013732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5712-6_0_4_line_62 |  | 58 | 60 | 0.053062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5712-6_0_4_line_63 |  | 58 | 61 | 0.004679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5712-6_0_4_line_64 |  | 59 | 81 | 0.021027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5712-6_0_4_line_65 |  | 61 | 84 | 0.018714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5712-6_0_4_line_66 |  | 61 | 83 | 0.015153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5712-6_0_4_line_67 |  | 62 | 63 | 0.039577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_5712-6_0_4_line_68 |  | 62 | 64 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5712-6_0_4_line_69 |  | 64 | 65 | 0.018496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5712-6_0_4_line_70 |  | 64 | 66 | 0.02773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5712-6_0_4_line_71 |  | 66 | 67 | 0.013144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5712-6_0_4_line_72 |  | 67 | 68 | 0.018505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5712-6_0_4_line_73 |  | 67 | 69 | 0.026022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5712-6_0_4_line_74 |  | 71 | 72 | 0.035594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5712-6_0_4_line_75 |  | 71 | 73 | 0.00085103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5712-6_0_4_line_76 |  | 72 | 74 | 0.0045427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5712-6_0_4_line_77 |  | 74 | 75 | 0.055617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5712-6_0_4_line_78 |  | 75 | 76 | 0.020074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5712-6_0_4_line_79 |  | 75 | 77 | 0.00326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5712-6_0_4_line_80 |  | 76 | 78 | 0.004477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5712-6_0_4_line_81 |  | 77 | 79 | 0.038241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5712-6_0_4_line_82 |  | 77 | 80 | 0.01664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5712-6_0_4_line_83 |  | 78 | 83 | 0.033274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5712-6_0_4_line_84 |  | 81 | 82 | 0.03277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5712-6_0_4_line_85 |  | 84 | 85 | 0.023717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5712-6_0_4_trafo_46 | 0.63 MVA 20/0.4 kV | 87 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2503336.3578 | 1129915.5972 | 2503342.9577 | 1129924.9445
1 | 2503355.597 | 1129943.1617 | 2503347.0311 | 1129930.7134 | 2503342.9577 | 1129924.9445
2 | 2503336.3578 | 1129915.5972 | 2503332.0699 | 1129918.2008 | 2503308.0898 | 1129932.7316
3 | 2503355.597 | 1129943.1617 | 2503351.318 | 1129946.321 | 2503344.518 | 1129950.7484
4 | 2503355.597 | 1129943.1617 | 2503360.8659 | 1129950.8265 | 2503367.9986 | 1129945.9427
5 | 2503308.0898 | 1129932.7316 | 2503288.0344 | 1129944.8842
6 | 2503331.6928 | 1129959.0986 | 2503344.518 | 1129950.7484
7 | 2503366.5516 | 1129935.9264 | 2503362.307 | 1129938.8294 | 2503367.9986 | 1129945.9427
8 | 2503367.9986 | 1129945.9427 | 2503360.8659 | 1129950.8265 | 2503374.9995 | 1129972.2801 | 2503388.3242 | 1129994.2248
9 | 2503367.9986 | 1129945.9427 | 2503380.2163 | 1129939.3369
10 | 2503280.0559 | 1129949.7188 | 2503288.0344 | 1129944.8842
11 | 2503388.3242 | 1129994.2248 | 2503392.6239 | 1130001.4204
12 | 2503388.3242 | 1129994.2248 | 2503364.9123 | 1130007.9483
13 | 2503403.5534 | 1129927.3924 | 2503399.1914 | 1129929.0776 | 2503380.2163 | 1129939.3369
14 | 2503392.6239 | 1130001.4204 | 2503392.6542 | 1130001.4711 | 2503393.1378 | 1130002.7169
15 | 2503364.9123 | 1130007.9483 | 2503345.5097 | 1130019.3216
16 | 2503268.4447 | 1129956.7546 | 2503280.0559 | 1129949.7188
17 | 2503403.5534 | 1129927.3924 | 2503467.6021 | 1129969.3324
18 | 2503414.1298 | 1130044.1314 | 2503408.1722 | 1130035.3102 | 2503398.6325 | 1130016.8738 | 2503393.1378 | 1130002.7169
19 | 2503345.5097 | 1130019.3216 | 2503319.8309 | 1130034.3739
20 | 2503420.942 | 1130223.1342 | 2503426.778 | 1130221.6491 | 2503439.2699 | 1130218.6845
21 | 2503384.7629 | 1130237.053 | 2503396.2897 | 1130230.9426 | 2503408.5486 | 1130226.288 | 2503420.942 | 1130223.1342
22 | 2503465.2576 | 1130212.517 | 2503439.2699 | 1130218.6845
23 | 2503384.7629 | 1130237.053 | 2503379.9654 | 1130228.5023 | 2503375.587 | 1130229.2951
24 | 2503384.7629 | 1130237.053 | 2503387.5005 | 1130244.447
25 | 2503384.7629 | 1130237.053 | 2503378.2293 | 1130239.3923 | 2503374.9954 | 1130240.9339 | 2503368.8412 | 1130243.4006 | 2503363.9457 | 1130247.4926 | 2503360.002 | 1130252.8145 | 2503357.3137 | 1130259.0836
26 | 2503465.2576 | 1130212.517 | 2503470.8168 | 1130228.2377 | 2503471.0466 | 1130228.8268
27 | 2503447.5992 | 1130147.415 | 2503453.1547 | 1130168.6725 | 2503460.8547 | 1130197.8117 | 2503465.2576 | 1130212.517
28 | 2503375.587 | 1130229.2951 | 2503346.6035 | 1130219.5086
29 | 2503471.0466 | 1130228.8268 | 2503475.243 | 1130239.585 | 2503478.0372 | 1130246.1889
30 | 2503447.5992 | 1130147.415 | 2503437.3485 | 1130107.6434
31 | 2503447.5992 | 1130147.415 | 2503441.9861 | 1130149.0391 | 2503414.1649 | 1130157.8994
32 | 2503407.3688 | 1130177.1323 | 2503425.4227 | 1130173.5524 | 2503448.5074 | 1130169.9921 | 2503453.1547 | 1130168.6725 | 2503447.5992 | 1130147.415
33 | 2503478.0372 | 1130246.1889 | 2503631.3888 | 1130182.354
34 | 2503437.3485 | 1130107.6434 | 2503431.2215 | 1130087.2623 | 2503427.1587 | 1130075.6296
35 | 2503391.226 | 1130165.35 | 2503412.6538 | 1130158.3807 | 2503414.1649 | 1130157.8994
36 | 2503407.3688 | 1130177.1323 | 2503407.2561 | 1130181.1588 | 2503410.256 | 1130201.7458
37 | 2503414.1298 | 1130044.1314 | 2503419.0158 | 1130054.3484 | 2503424.6494 | 1130068.4447 | 2503427.1587 | 1130075.6296
38 | 2503391.226 | 1130165.35 | 2503370.1558 | 1130171.7855
39 | 2503307.9301 | 1130041.3499 | 2503319.8309 | 1130034.3739
40 | 2503307.9301 | 1130041.3499 | 2503298.8982 | 1130046.6442 | 2503286.8401 | 1130053.635
41 | 2503266.1541 | 1130065.6279 | 2503286.8401 | 1130053.635
42 | 2503266.1541 | 1130065.6279 | 2503240.4617 | 1130080.5233
43 | 2503216.9523 | 1130094.1531 | 2503240.4617 | 1130080.5233
44 | 2503292.2243 | 1130187.8044 | 2503296.0676 | 1130187.7539 | 2503313.4481 | 1130184.9405 | 2503321.5049 | 1130183.3064
45 | 2503292.2243 | 1130187.8044 | 2503285.8003 | 1130187.3737 | 2503279.2414 | 1130185.7333 | 2503269.0564 | 1130181.8385 | 2503267.6606 | 1130181.3066
46 | 2503231.5489 | 1130157.9138 | 2503231.7856 | 1130159.2219 | 2503233.6616 | 1130161.3932 | 2503238.7826 | 1130166.5587 | 2503245.3324 | 1130171.4679 | 2503254.2752 | 1130176.2052 | 2503267.6606 | 1130181.3066
47 | 2503231.5489 | 1130157.9138 | 2503235.6883 | 1130153.2668 | 2503238.0961 | 1130147.7693
48 | 2503254.9893 | 1130111.1983 | 2503262.7521 | 1130124.9713 | 2503270.107 | 1130130.1233
49 | 2503270.107 | 1130130.1233 | 2503262.6241 | 1130133.3229 | 2503239.9438 | 1130146.681
50 | 2503270.107 | 1130130.1233 | 2503278.8993 | 1130120.6655
51 | 2503238.0961 | 1130147.7693 | 2503239.9438 | 1130146.681
52 | 2503296.5164 | 1130107.6086 | 2503293.1789 | 1130111.8202 | 2503289.7163 | 1130114.9554 | 2503285.1351 | 1130117.5192 | 2503278.8993 | 1130120.6655
53 | 2503238.0961 | 1130147.7693 | 2503231.8259 | 1130151.6499 | 2503226.7823 | 1130153.2318 | 2503223.2491 | 1130152.4435 | 2503216.3172 | 1130142.4484 | 2503211.348 | 1130134.3901
54 | 2503296.5164 | 1130107.6086 | 2503288.1605 | 1130092.3887
55 | 2503296.5164 | 1130107.6086 | 2503299.1468 | 1130105.8988 | 2503303.918 | 1130103.6543 | 2503310.9379 | 1130101.5547
56 | 2503201.7287 | 1129997.082 | 2503205.2625 | 1130003.1846 | 2503215.3553 | 1130020.0027
57 | 2503201.7287 | 1129997.082 | 2503215.3959 | 1129988.8266
58 | 2503201.7287 | 1129997.082 | 2503179.2433 | 1130010.662 | 2503177.5841 | 1130011.538
59 | 2503215.3959 | 1129988.8266 | 2503238.7047 | 1129974.7474
60 | 2503172.6202 | 1130014.1592 | 2503177.5841 | 1130011.538
61 | 2503250.4588 | 1129967.6475 | 2503238.7047 | 1129974.7474
62 | 2503146.0068 | 1130047.9624 | 2503139.4395 | 1130037.6614 | 2503142.5862 | 1130034.5201 | 2503168.8816 | 1130018.344 | 2503172.6202 | 1130014.1592
63 | 2503168.0719 | 1130013.0092 | 2503172.6202 | 1130014.1592
64 | 2503268.4447 | 1129956.7546 | 2503255.4283 | 1129964.6458 | 2503250.4588 | 1129967.6475
65 | 2503168.0719 | 1130013.0092 | 2503164.8024 | 1130015.2186 | 2503152.0965 | 1130022.7449
66 | 2503168.0719 | 1130013.0092 | 2503164.6685 | 1130008.3165 | 2503159.8872 | 1130000.2744
67 | 2503414.1298 | 1130044.1314 | 2503409.568 | 1130045.5053 | 2503406.1038 | 1130047.1061 | 2503403.3228 | 1130048.5515 | 2503400.6318 | 1130050.807 | 2503398.331 | 1130053.3788 | 2503394.9177 | 1130056.7132 | 2503391.6123 | 1130059.0898 | 2503385.3195 | 1130061.5698 | 2503380.3059 | 1130063.2705
68 | 2503367.2186 | 1130068.0078 | 2503370.8515 | 1130066.3598 | 2503378.7837 | 1130063.7868 | 2503380.3059 | 1130063.2705
69 | 2503367.2186 | 1130068.0078 | 2503357.9716 | 1130051.9793
70 | 2503367.2186 | 1130068.0078 | 2503364.2843 | 1130070.9455 | 2503360.1636 | 1130075.3253 | 2503355.4215 | 1130078.4253 | 2503350.4823 | 1130080.7613 | 2503344.2778 | 1130082.4684
71 | 2503332.2409 | 1130087.5575 | 2503336.2636 | 1130085.2362 | 2503339.7981 | 1130083.7009 | 2503344.2778 | 1130082.4684
72 | 2503323.0547 | 1130071.4837 | 2503332.2409 | 1130087.5575
73 | 2503332.2409 | 1130087.5575 | 2503329.4999 | 1130090.0585 | 2503325.6574 | 1130094.4894 | 2503321.3558 | 1130097.1933 | 2503316.7218 | 1130099.8247 | 2503310.9379 | 1130101.5547
74 | 2503212.7657 | 1129899.0193 | 2503182.3048 | 1129917.4336
75 | 2503212.7657 | 1129899.0193 | 2503213.494 | 1129898.579
76 | 2503182.3048 | 1129917.4336 | 2503178.4173 | 1129919.7837
77 | 2503132.1453 | 1129949.9246 | 2503134.4685 | 1129946.3518 | 2503178.4173 | 1129919.7837
78 | 2503132.1453 | 1129949.9246 | 2503132.8871 | 1129954.8601 | 2503140.5952 | 1129967.8252
79 | 2503129.025 | 1129948.9518 | 2503132.1453 | 1129949.9246
80 | 2503142.8831 | 1129971.6734 | 2503140.5952 | 1129967.8252
81 | 2503129.025 | 1129948.9518 | 2503095.3286 | 1129967.2149
82 | 2503129.025 | 1129948.9518 | 2503126.3656 | 1129944.0581 | 2503120.4053 | 1129934.7292
83 | 2503142.8831 | 1129971.6734 | 2503159.8872 | 1130000.2744
84 | 2503268.4447 | 1129956.7546 | 2503270.5427 | 1129960.2787 | 2503273.0448 | 1129967.8655 | 2503274.3123 | 1129976.2837 | 2503272.9634 | 1129982.4869 | 2503275.8309 | 1129987.5502
85 | 2503132.9758 | 1130027.57 | 2503136.559 | 1130031.9486 | 2503152.0965 | 1130022.7449

## bus_geodata
| x | y | coords
0 | 2503342.9577 | 1129924.9445
1 | 2503336.3578 | 1129915.5972
2 | 2503355.597 | 1129943.1617
3 | 2503308.0898 | 1129932.7316
4 | 2503344.518 | 1129950.7484
5 | 2503367.9986 | 1129945.9427
6 | 2503288.0344 | 1129944.8842
7 | 2503331.6928 | 1129959.0986
8 | 2503366.5516 | 1129935.9264
9 | 2503388.3242 | 1129994.2248
10 | 2503380.2163 | 1129939.3369
11 | 2503392.6239 | 1130001.4204
12 | 2503364.9123 | 1130007.9483
13 | 2503280.0559 | 1129949.7188
14 | 2503403.5534 | 1129927.3924
15 | 2503393.1378 | 1130002.7169
16 | 2503345.5097 | 1130019.3216
17 | 2503420.942 | 1130223.1342
18 | 2503439.2699 | 1130218.6845
19 | 2503384.7629 | 1130237.053
20 | 2503465.2576 | 1130212.517
21 | 2503375.587 | 1130229.2951
22 | 2503387.5005 | 1130244.447
23 | 2503357.3137 | 1130259.0836
24 | 2503471.0466 | 1130228.8268
25 | 2503447.5992 | 1130147.415
26 | 2503346.6035 | 1130219.5086
27 | 2503478.0372 | 1130246.1889
28 | 2503437.3485 | 1130107.6434
29 | 2503414.1649 | 1130157.8994
30 | 2503407.3688 | 1130177.1323
31 | 2503410.256 | 1130201.7458
32 | 2503427.1587 | 1130075.6296
33 | 2503391.226 | 1130165.35
34 | 2503631.3888 | 1130182.354
35 | 2503319.8309 | 1130034.3739
36 | 2503307.9301 | 1130041.3499
37 | 2503286.8401 | 1130053.635
38 | 2503266.1541 | 1130065.6279
39 | 2503240.4617 | 1130080.5233
40 | 2503321.5049 | 1130183.3064
41 | 2503292.2243 | 1130187.8044
42 | 2503370.1558 | 1130171.7855
43 | 2503267.6606 | 1130181.3066
44 | 2503231.5489 | 1130157.9138
45 | 2503270.107 | 1130130.1233
46 | 2503254.9893 | 1130111.1983
47 | 2503239.9438 | 1130146.681
48 | 2503278.8993 | 1130120.6655
49 | 2503238.0961 | 1130147.7693
50 | 2503296.5164 | 1130107.6086
51 | 2503211.348 | 1130134.3901
52 | 2503216.9523 | 1130094.1531
53 | 2503215.3553 | 1130020.0027
54 | 2503201.7287 | 1129997.082
55 | 2503215.3959 | 1129988.8266
56 | 2503177.5841 | 1130011.538
57 | 2503238.7047 | 1129974.7474
58 | 2503172.6202 | 1130014.1592
59 | 2503250.4588 | 1129967.6475
60 | 2503146.0067 | 1130047.9624
61 | 2503168.0719 | 1130013.0092
62 | 2503380.3059 | 1130063.2705
63 | 2503414.1298 | 1130044.1314
64 | 2503367.2186 | 1130068.0078
65 | 2503357.9716 | 1130051.9794
66 | 2503344.2778 | 1130082.4684
67 | 2503332.2409 | 1130087.5575
68 | 2503323.0547 | 1130071.4837
69 | 2503310.9379 | 1130101.5547
70 | 2503288.1605 | 1130092.3887
71 | 2503212.7657 | 1129899.0193
72 | 2503182.3048 | 1129917.4336
73 | 2503213.494 | 1129898.579
74 | 2503178.4173 | 1129919.7837
75 | 2503132.1453 | 1129949.9246
76 | 2503140.5952 | 1129967.8252
77 | 2503129.025 | 1129948.9518
78 | 2503142.8831 | 1129971.6734
79 | 2503095.3286 | 1129967.2149
80 | 2503120.4053 | 1129934.7292
81 | 2503268.4447 | 1129956.7546
82 | 2503275.8309 | 1129987.5502
83 | 2503159.8872 | 1130000.2744
84 | 2503152.0965 | 1130022.7449
85 | 2503132.9758 | 1130027.57
86 | 2503467.6021 | 1129969.3324
87 | 2503332.2409 | 1130087.5575

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1