## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5712-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5712-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5712-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5712-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5712-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5712-7_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_5712-7_0_4_node_78 | 0.4 | n |  | TRUE
7 | bus_LV_5712-7_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5712-7_0_4_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_5712-7_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5712-7_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5712-7_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_5712-7_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5712-7_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_5712-7_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_5712-7_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_5712-7_0_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_5712-7_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_5712-7_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5712-7_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5712-7_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5712-7_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_5712-7_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5712-7_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_5712-7_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_5712-7_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_5712-7_0_4_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_5712-7_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_5712-7_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_5712-7_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_5712-7_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_5712-7_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_5712-7_0_4_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_5712-7_0_4_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_5712-7_0_4_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_5712-7_0_4_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_5712-7_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_5712-7_0_4_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_5712-7_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5712-7_0_4_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_5712-7_0_4_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_5712-7_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5712-7_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_5712-7_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_5712-7_0_4_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_5712-7_0_4_node_76 | 0.4 | n |  | TRUE
46 | bus_LV_5712-7_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_5712-7_0_4_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_5712-7_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_5712-7_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_5712-7_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5712-7_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5712-7_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5712-7_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5712-7_0_4_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_5712-7_0_4_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_5712-7_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_5712-7_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5712-7_0_4_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_5712-7_0_4_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_5712-7_0_4_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_5712-7_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_5712-7_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_5712-7_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_5712-7_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_5712-7_0_4_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_5712-7_0_4_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_5712-7_0_4_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_5712-7_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_5712-7_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_5712-7_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_5712-7_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_5712-7_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5712-7_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_5712-7_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_MV_453_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5712-7_0_4_load_0 | 0 | 0.00086956 | 0.00021793 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5712-7_0_4_load_4 | 4 | 0.0021401 | 0.00053637 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5712-7_0_4_load_9 | 5 | 0.0017638 | 0.00044206 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5712-7_0_4_load_78 | 6 | 0.0011802 | 0.00029578 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5712-7_0_4_load_79 | 8 | 0.0021143 | 0.00052988 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5712-7_0_4_load_16 | 11 | 0.0054149 | 0.0013571 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5712-7_0_4_load_17 | 14 | 0.028302 | 0.0070933 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5712-7_0_4_load_20 | 16 | 0.021889 | 0.0054858 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5712-7_0_4_load_18 | 17 | 0.047741 | 0.011965 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5712-7_0_4_load_11 | 20 | 0.0056706 | 0.0014212 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5712-7_0_4_load_23 | 21 | 0.03672 | 0.009203 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5712-7_0_4_load_21 | 23 | 0.0017579 | 0.00044057 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5712-7_0_4_load_22 | 24 | 0.0039595 | 0.00099235 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5712-7_0_4_load_30 | 25 | 0.0046204 | 0.001158 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5712-7_0_4_load_49 | 26 | 0.0059241 | 0.0014847 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5712-7_0_4_load_27 | 30 | 0.011977 | 0.0030017 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5712-7_0_4_load_47 | 32 | 0.025019 | 0.0062704 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5712-7_0_4_load_77 | 35 | 0.02117 | 0.0053056 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5712-7_0_4_load_71 | 37 | 0.0027245 | 0.00068283 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5712-7_0_4_load_31 | 38 | 0.0061375 | 0.0015382 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5712-7_0_4_load_52 | 40 | 0.021358 | 0.0053527 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5712-7_0_4_load_32 | 41 | 0.0030103 | 0.00075446 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5712-7_0_4_load_34 | 43 | 0.010995 | 0.0027556 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5712-7_0_4_load_76 | 45 | 0.007784 | 0.0019509 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5712-7_0_4_load_53 | 47 | 0.0076513 | 0.0019176 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5712-7_0_4_load_36 | 48 | 0.0036422 | 0.00091283 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5712-7_0_4_load_37 | 49 | 0.0020377 | 0.00051069 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5712-7_0_4_load_41 | 51 | 0.0013433 | 0.00033666 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5712-7_0_4_load_43 | 52 | 0.001709 | 0.00042831 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5712-7_0_4_load_62 | 55 | 0.0032802 | 0.0008221 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5712-7_0_4_load_60 | 56 | 0.0045775 | 0.0011472 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5712-7_0_4_load_44 | 57 | 0.00099457 | 0.00024926 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5712-7_0_4_load_65 | 58 | 0.00083083 | 0.00020823 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5712-7_0_4_load_64 | 59 | 0.0027842 | 0.00069778 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5712-7_0_4_load_63 | 60 | 0.0037339 | 0.0009358 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5712-7_0_4_load_59 | 61 | 0.0015845 | 0.00039711 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5712-7_0_4_load_45 | 62 | 0.002033 | 0.00050952 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5712-7_0_4_load_46 | 63 | 0.0033269 | 0.0008338 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5712-7_0_4_load_48 | 64 | 0.0021071 | 0.00052809 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5712-7_0_4_load_69 | 65 | 0.0033855 | 0.0008485 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5712-7_0_4_load_67 | 66 | 0.0017951 | 0.00044989 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5712-7_0_4_load_74 | 67 | 0.0077201 | 0.0019348 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5712-7_0_4_load_56 | 68 | 0.0057491 | 0.0014409 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5712-7_0_4_load_66 | 71 | 0.0022027 | 0.00055204 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5712-7_0_4_load_68 | 72 | 0.0009223 | 0.00023115 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5712-7_0_4_load_70 | 73 | 0.0025639 | 0.00064258 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5712-7_0_4_load_72 | 74 | 0.024026 | 0.0060215 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5712-7_0_4_line_0 |  | 0 | 1 | 0.021197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5712-7_0_4_line_1 |  | 0 | 2 | 0.038087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5712-7_0_4_line_2 |  | 1 | 3 | 0.032071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5712-7_0_4_line_3 |  | 1 | 4 | 0.004197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5712-7_0_4_line_4 |  | 2 | 5 | 0.020725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5712-7_0_4_line_5 |  | 3 | 6 | 0.013367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5712-7_0_4_line_6 |  | 5 | 9 | 0.0079112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5712-7_0_4_line_7 |  | 6 | 7 | 0.064212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5712-7_0_4_line_8 |  | 7 | 8 | 0.002896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5712-7_0_4_line_9 |  | 9 | 10 | 0.009089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5712-7_0_4_line_10 |  | 10 | 11 | 0.020735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5712-7_0_4_line_11 |  | 11 | 13 | 0.016835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5712-7_0_4_line_12 |  | 12 | 13 | 0.005738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5712-7_0_4_line_13 |  | 12 | 14 | 0.020966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5712-7_0_4_line_14 |  | 13 | 19 | 0.026067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5712-7_0_4_line_15 |  | 15 | 16 | 0.017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5712-7_0_4_line_16 |  | 15 | 17 | 0.031401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5712-7_0_4_line_17 |  | 15 | 18 | 0.031981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5712-7_0_4_line_18 |  | 16 | 21 | 0.003323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5712-7_0_4_line_19 |  | 18 | 20 | 0.036053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5712-7_0_4_line_20 |  | 19 | 20 | 0.012465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5712-7_0_4_line_21 |  | 21 | 27 | 0.034597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5712-7_0_4_line_22 |  | 22 | 23 | 0.020489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5712-7_0_4_line_23 |  | 22 | 24 | 0.02377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5712-7_0_4_line_24 |  | 23 | 25 | 0.016296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5712-7_0_4_line_25 |  | 24 | 26 | 0.020227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5712-7_0_4_line_26 |  | 25 | 28 | 0.0038055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5712-7_0_4_line_27 |  | 27 | 29 | 0.03024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5712-7_0_4_line_28 |  | 28 | 38 | 0.012704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5712-7_0_4_line_29 |  | 28 | 30 | 0.023093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5712-7_0_4_line_30 |  | 29 | 30 | 0.062405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5712-7_0_4_line_31 |  | 31 | 32 | 0.031622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5712-7_0_4_line_32 |  | 31 | 33 | 0.037711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5712-7_0_4_line_33 |  | 32 | 36 | 0.033327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5712-7_0_4_line_34 |  | 33 | 37 | 0.0043817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5712-7_0_4_line_35 |  | 33 | 34 | 0.014876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5712-7_0_4_line_36 |  | 34 | 35 | 0.022225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5712-7_0_4_line_37 |  | 36 | 57 | 0.033049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5712-7_0_4_line_38 |  | 36 | 50 | 0.022924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5712-7_0_4_line_39 |  | 37 | 74 | 0.014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5712-7_0_4_line_40 |  | 38 | 39 | 0.018906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5712-7_0_4_line_41 |  | 39 | 40 | 0.012818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5712-7_0_4_line_42 |  | 40 | 47 | 0.029806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5712-7_0_4_line_43 |  | 41 | 42 | 0.0057812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5712-7_0_4_line_44 |  | 42 | 43 | 0.022601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5712-7_0_4_line_45 |  | 43 | 46 | 0.031329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5712-7_0_4_line_46 |  | 44 | 45 | 0.02648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5712-7_0_4_line_47 |  | 44 | 46 | 0.12263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5712-7_0_4_line_48 |  | 44 | 47 | 0.019264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5712-7_0_4_line_49 |  | 45 | 67 | 0.0094009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5712-7_0_4_line_50 |  | 48 | 49 | 0.026895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5712-7_0_4_line_51 |  | 49 | 50 | 0.021202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5712-7_0_4_line_52 |  | 50 | 51 | 0.008737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5712-7_0_4_line_53 |  | 50 | 52 | 0.070671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5712-7_0_4_line_54 |  | 52 | 58 | 0.015298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5712-7_0_4_line_55 |  | 53 | 54 | 0.014201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5712-7_0_4_line_56 |  | 53 | 55 | 0.039991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5712-7_0_4_line_57 |  | 53 | 56 | 0.072635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5712-7_0_4_line_58 |  | 54 | 59 | 0.013387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5712-7_0_4_line_59 |  | 54 | 60 | 0.0092112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5712-7_0_4_line_60 |  | 55 | 58 | 0.011197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5712-7_0_4_line_61 |  | 56 | 61 | 0.011758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5712-7_0_4_line_62 |  | 57 | 62 | 0.0073175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5712-7_0_4_line_63 |  | 61 | 70 | 0.087602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5712-7_0_4_line_64 |  | 62 | 63 | 0.025499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5712-7_0_4_line_65 |  | 63 | 64 | 0.027656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5712-7_0_4_line_66 |  | 64 | 65 | 0.0078169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5712-7_0_4_line_67 |  | 65 | 66 | 0.0050914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5712-7_0_4_line_68 |  | 66 | 71 | 0.0095852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5712-7_0_4_line_69 |  | 67 | 74 | 0.012486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_5712-7_0_4_line_70 |  | 68 | 69 | 0.064087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5712-7_0_4_line_71 |  | 69 | 70 | 0.026728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5712-7_0_4_line_72 |  | 71 | 72 | 0.023973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5712-7_0_4_line_73 |  | 72 | 73 | 0.019214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5712-7_0_4_trafo_77 | 0.63 MVA 20/0.4 kV | 75 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2503869.3349 | 1130003.2858 | 2503885.8155 | 1130016.6157
1 | 2503916.0842 | 1130039.7306 | 2503905.1686 | 1130031.5438 | 2503887.1288 | 1130017.678 | 2503885.8155 | 1130016.6157
2 | 2503869.3349 | 1130003.2858 | 2503844.0812 | 1129983.4314
3 | 2503872.0182 | 1130000.0522 | 2503869.3349 | 1130003.2858
4 | 2503916.0842 | 1130039.7306 | 2503932.8104 | 1130051.9684
5 | 2503844.0812 | 1129983.4314 | 2503838.8325 | 1129979.4125 | 2503833.3397 | 1129975.4783
6 | 2503939.1951 | 1130056.6399 | 2503932.8104 | 1130051.9684
7 | 2503782.8694 | 1129935.7885 | 2503798.8272 | 1129948.542 | 2503829.6915 | 1129972.8652 | 2503833.3397 | 1129975.4783
8 | 2503784.5341 | 1129933.4161 | 2503782.8694 | 1129935.7885
9 | 2503941.4078 | 1130065.4545 | 2503939.1951 | 1130056.6399
10 | 2503941.4078 | 1130065.4545 | 2503943.8158 | 1130067.1839 | 2503957.9052 | 1130078.0127
11 | 2503971.2531 | 1130088.2715 | 2503957.9052 | 1130078.0127
12 | 2503971.2531 | 1130088.2715 | 2503967.907 | 1130092.9387
13 | 2503967.907 | 1130092.9387 | 2503964.4317 | 1130097.241 | 2503951.2233 | 1130089.2534
14 | 2503971.2531 | 1130088.2715 | 2503975.4636 | 1130091.4398 | 2503981.826 | 1130083.1558 | 2503987.9641 | 1130074.8197
15 | 2504005.808 | 1130113.682 | 2504019.2643 | 1130124.07
16 | 2504005.808 | 1130113.682 | 2504001.8318 | 1130120.3937 | 2503996.2857 | 1130133.5011 | 2503992.6317 | 1130142.1268
17 | 2504005.808 | 1130113.682 | 2504011.5636 | 1130105.0296 | 2504016.4652 | 1130097.8918 | 2504023.6279 | 1130087.1269
18 | 2504019.2643 | 1130124.07 | 2504021.8947 | 1130126.1006
19 | 2504023.6279 | 1130087.1269 | 2504021.2779 | 1130084.6849 | 2504000.9906 | 1130067.0411 | 2503997.3433 | 1130064.8867 | 2503995.9393 | 1130065.5223
20 | 2503987.9641 | 1130074.8197 | 2503994.1615 | 1130066.3271 | 2503995.9393 | 1130065.5223
21 | 2504047.2767 | 1130149.5225 | 2504041.4739 | 1130143.0997 | 2504034.2175 | 1130136.3442 | 2504024.4486 | 1130128.0722 | 2504021.8947 | 1130126.1006
22 | 2503941.9129 | 1130230.7365 | 2503962.3384 | 1130229.119
23 | 2503941.9129 | 1130230.7365 | 2503934.3215 | 1130239.2292 | 2503925.6498 | 1130248.0633
24 | 2503962.3384 | 1130229.119 | 2503962.6478 | 1130229.0945 | 2503965.8185 | 1130228.8995 | 2503969.1383 | 1130229.8362 | 2503974.5806 | 1130233.4519 | 2503976.7402 | 1130235.2748
25 | 2503911.4805 | 1130262.4982 | 2503925.6498 | 1130248.0633
26 | 2503979.6482 | 1130237.7294 | 2503976.7402 | 1130235.2748
27 | 2504029.2989 | 1130169.5316 | 2504031.6934 | 1130167.0253 | 2504049.5714 | 1130152.3655 | 2504047.2767 | 1130149.5225
28 | 2503979.6482 | 1130237.7294 | 2503987.7795 | 1130245.7272 | 2503988.6221 | 1130246.715
29 | 2503979.6482 | 1130237.7294 | 2503984.5604 | 1130232.2368 | 2503994.5199 | 1130220.0686
30 | 2504029.2989 | 1130169.5316 | 2504015.9769 | 1130183.4185 | 2504013.521 | 1130188.3606 | 2504011.5109 | 1130196.1417 | 2504009.3608 | 1130201.9017 | 2504004.457 | 1130207.9278 | 2503994.5199 | 1130220.0686
31 | 2504106.1149 | 1130241.9664 | 2504108.1861 | 1130245.7803 | 2504116.0704 | 1130258.6073 | 2504123.132 | 1130268.5868
32 | 2504075.6865 | 1130264.2857 | 2504079.9167 | 1130260.4717 | 2504087.7363 | 1130254.6883 | 2504102.0037 | 1130244.5444 | 2504106.1149 | 1130241.9664
33 | 2504142.9541 | 1130295.3696 | 2504135.0734 | 1130284.2101 | 2504123.9823 | 1130269.7885 | 2504123.132 | 1130268.5868
34 | 2504075.6865 | 1130264.2857 | 2504072.2829 | 1130267.0452
35 | 2504071.2662 | 1130250.3251 | 2504072.7485 | 1130259.2515 | 2504075.6865 | 1130264.2857
36 | 2504071.2662 | 1130250.3251 | 2504066.9161 | 1130251.9286 | 2504062.4066 | 1130251.7446 | 2504058.7844 | 1130248.2555 | 2504057.5683 | 1130243.9611 | 2504057.835 | 1130240.388
37 | 2504142.9541 | 1130295.3696 | 2504147.1104 | 1130293.6914 | 2504154.7763 | 1130295.204 | 2504170.5792 | 1130305.1036 | 2504172.2194 | 1130306.4243
38 | 2504153.0792 | 1130315.9103 | 2504148.6871 | 1130305.6515 | 2504145.7932 | 1130300.4832 | 2504142.9541 | 1130295.3696
39 | 2504072.2829 | 1130267.0452 | 2504065.1682 | 1130272.8136 | 2504061.1305 | 1130276.794
40 | 2504000.7901 | 1130261.1853 | 2503991.045 | 1130249.5554 | 2503988.6221 | 1130246.715
41 | 2504000.7901 | 1130261.1853 | 2504005.8764 | 1130268.0865 | 2504007.6981 | 1130271.9212
42 | 2504007.6981 | 1130271.9212 | 2504020.2709 | 1130298.3873 | 2504020.5068 | 1130298.8343
43 | 2503997.6173 | 1130482.0153 | 2503994.5637 | 1130486.9243
44 | 2503997.6173 | 1130482.0153 | 2504001.7989 | 1130472.254 | 2504009.2734 | 1130462.8891
45 | 2504025.3799 | 1130436.9908 | 2504025.3918 | 1130441.6157 | 2504022.6163 | 1130445.8291 | 2504015.2805 | 1130455.3626 | 2504009.2734 | 1130462.8891
46 | 2504031.1888 | 1130314.5013 | 2504034.1408 | 1130309.7626 | 2504036.5133 | 1130305.3889 | 2504039.7321 | 1130300.4681 | 2504044.5549 | 1130294.6879 | 2504046.2781 | 1130292.859
47 | 2504031.1888 | 1130314.5013 | 2504025.3799 | 1130436.9908
48 | 2504031.1888 | 1130314.5013 | 2504026.8794 | 1130310.9121 | 2504020.5068 | 1130298.8343
49 | 2504052.6516 | 1130285.95 | 2504050.6381 | 1130288.2317 | 2504046.2781 | 1130292.859
50 | 2504164.122 | 1130361.1649 | 2504156.7726 | 1130342.3122 | 2504154.4813 | 1130336.0583
51 | 2504153.0792 | 1130315.9103 | 2504150.5077 | 1130325.2123 | 2504154.4813 | 1130336.0583
52 | 2504153.0792 | 1130315.9103 | 2504144.6511 | 1130318.3011
53 | 2504153.0792 | 1130315.9103 | 2504159.6693 | 1130330.6925 | 2504179.8994 | 1130381.2838
54 | 2504185.5792 | 1130395.4879 | 2504179.8994 | 1130381.2838
55 | 2504217.7911 | 1130437.4242 | 2504212.358 | 1130440.1899 | 2504204.7066 | 1130442.9685
56 | 2504204.7066 | 1130442.9685 | 2504196.2654 | 1130422.212 | 2504189.7367 | 1130405.8849
57 | 2504204.7066 | 1130442.9685 | 2504226.1402 | 1130495.0936 | 2504232.2531 | 1130510.1774
58 | 2504217.7911 | 1130437.4242 | 2504217.3343 | 1130434.8521 | 2504219.9534 | 1130430.4856 | 2504224.3708 | 1130426.9108
59 | 2504217.7911 | 1130437.4242 | 2504222.838 | 1130445.1298
60 | 2504189.7367 | 1130405.8849 | 2504185.5792 | 1130395.4879
61 | 2504236.6691 | 1130521.0743 | 2504232.2531 | 1130510.1774
62 | 2504172.2194 | 1130306.4243 | 2504176.5643 | 1130309.9227 | 2504177.8214 | 1130311.1247
63 | 2504269.7219 | 1130602.2012 | 2504253.7407 | 1130563.0529 | 2504244.267 | 1130539.8223 | 2504236.6691 | 1130521.0743
64 | 2504177.8214 | 1130311.1247 | 2504186.561 | 1130319.481 | 2504194.5482 | 1130330.2497
65 | 2504211.3419 | 1130352.2211 | 2504199.0144 | 1130336.2714 | 2504194.5482 | 1130330.2497
66 | 2504211.3419 | 1130352.2211 | 2504214.7443 | 1130356.6231 | 2504216.1235 | 1130358.405
67 | 2504219.2399 | 1130362.4312 | 2504216.1235 | 1130358.405
68 | 2504225.1069 | 1130370.0111 | 2504219.2399 | 1130362.4312
69 | 2504052.6516 | 1130285.95 | 2504058.0614 | 1130279.8197 | 2504061.1305 | 1130276.794
70 | 2504294.7513 | 1130592.6318 | 2504309.4401 | 1130587.229 | 2504320.3393 | 1130582.8202 | 2504332.7479 | 1130577.4092 | 2504353.4143 | 1130566.9944
71 | 2504294.7513 | 1130592.6318 | 2504277.3035 | 1130599.4015 | 2504269.7219 | 1130602.2012
72 | 2504225.1069 | 1130370.0111 | 2504229.1366 | 1130375.2173 | 2504239.9395 | 1130388.8436
73 | 2504251.809 | 1130403.953 | 2504247.7821 | 1130398.7359 | 2504239.9395 | 1130388.8436

## bus_geodata
| x | y | coords
0 | 2503885.8155 | 1130016.6157
1 | 2503869.3349 | 1130003.2858
2 | 2503916.0842 | 1130039.7306
3 | 2503844.0812 | 1129983.4314
4 | 2503872.0182 | 1130000.0522
5 | 2503932.8104 | 1130051.9684
6 | 2503833.3397 | 1129975.4783
7 | 2503782.8694 | 1129935.7885
8 | 2503784.5341 | 1129933.4161
9 | 2503939.1951 | 1130056.6399
10 | 2503941.4078 | 1130065.4545
11 | 2503957.9052 | 1130078.0127
12 | 2503967.907 | 1130092.9387
13 | 2503971.2531 | 1130088.2715
14 | 2503951.2233 | 1130089.2534
15 | 2504005.808 | 1130113.682
16 | 2504019.2643 | 1130124.07
17 | 2503992.6317 | 1130142.1268
18 | 2504023.6279 | 1130087.1269
19 | 2503987.9641 | 1130074.8197
20 | 2503995.9393 | 1130065.5223
21 | 2504021.8947 | 1130126.1006
22 | 2503941.9129 | 1130230.7365
23 | 2503962.3384 | 1130229.119
24 | 2503925.6498 | 1130248.0633
25 | 2503976.7402 | 1130235.2748
26 | 2503911.4805 | 1130262.4982
27 | 2504047.2767 | 1130149.5225
28 | 2503979.6482 | 1130237.7294
29 | 2504029.2989 | 1130169.5316
30 | 2503994.5199 | 1130220.0686
31 | 2504106.1149 | 1130241.9664
32 | 2504123.132 | 1130268.5868
33 | 2504075.6865 | 1130264.2857
34 | 2504071.2662 | 1130250.3251
35 | 2504057.835 | 1130240.388
36 | 2504142.9541 | 1130295.3696
37 | 2504072.2829 | 1130267.0452
38 | 2503988.6221 | 1130246.715
39 | 2504000.7901 | 1130261.1853
40 | 2504007.6981 | 1130271.9212
41 | 2503994.5637 | 1130486.9243
42 | 2503997.6173 | 1130482.0153
43 | 2504009.2734 | 1130462.8891
44 | 2504031.1888 | 1130314.5013
45 | 2504046.2781 | 1130292.859
46 | 2504025.3799 | 1130436.9908
47 | 2504020.5068 | 1130298.8343
48 | 2504164.122 | 1130361.1649
49 | 2504154.4813 | 1130336.0583
50 | 2504153.0792 | 1130315.9103
51 | 2504144.6511 | 1130318.3011
52 | 2504179.8994 | 1130381.2838
53 | 2504204.7066 | 1130442.9685
54 | 2504217.7911 | 1130437.4242
55 | 2504189.7367 | 1130405.8849
56 | 2504232.2531 | 1130510.1774
57 | 2504172.2194 | 1130306.4243
58 | 2504185.5792 | 1130395.4879
59 | 2504224.3708 | 1130426.9108
60 | 2504222.838 | 1130445.1298
61 | 2504236.6691 | 1130521.0743
62 | 2504177.8214 | 1130311.1247
63 | 2504194.5482 | 1130330.2497
64 | 2504211.3419 | 1130352.2211
65 | 2504216.1235 | 1130358.405
66 | 2504219.2398 | 1130362.4312
67 | 2504052.6516 | 1130285.95
68 | 2504353.4143 | 1130566.9944
69 | 2504294.7513 | 1130592.6318
70 | 2504269.7219 | 1130602.2012
71 | 2504225.1069 | 1130370.0111
72 | 2504239.9395 | 1130388.8436
73 | 2504251.809 | 1130403.953
74 | 2504061.1305 | 1130276.794
75 | 2504069.3525 | 1130234.1345

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1