## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5717-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5717-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5717-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5717-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5717-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5717-1_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5717-1_0_6_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_5717-1_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5717-1_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5717-1_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5717-1_0_6_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_5717-1_0_6_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_5717-1_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5717-1_0_6_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_5717-1_0_6_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_5717-1_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5717-1_0_6_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_5717-1_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5717-1_0_6_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_5717-1_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5717-1_0_6_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_5717-1_0_6_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_5717-1_0_6_node_104 | 0.4 | n |  | TRUE
23 | bus_LV_5717-1_0_6_node_105 | 0.4 | n |  | TRUE
24 | bus_LV_5717-1_0_6_node_100 | 0.4 | n |  | TRUE
25 | bus_LV_5717-1_0_6_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_5717-1_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5717-1_0_6_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_5717-1_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5717-1_0_6_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_5717-1_0_6_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5717-1_0_6_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_5717-1_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_5717-1_0_6_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_5717-1_0_6_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_5717-1_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_5717-1_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5717-1_0_6_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_5717-1_0_6_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_5717-1_0_6_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_5717-1_0_6_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_5717-1_0_6_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_5717-1_0_6_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_5717-1_0_6_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_5717-1_0_6_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_5717-1_0_6_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_5717-1_0_6_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_5717-1_0_6_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_5717-1_0_6_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_5717-1_0_6_node_120 | 0.4 | n |  | TRUE
50 | bus_LV_5717-1_0_6_node_128 | 0.4 | n |  | TRUE
51 | bus_LV_5717-1_0_6_node_92 | 0.4 | n |  | TRUE
52 | bus_LV_5717-1_0_6_node_130 | 0.4 | n |  | TRUE
53 | bus_LV_5717-1_0_6_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_5717-1_0_6_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_5717-1_0_6_node_103 | 0.4 | n |  | TRUE
56 | bus_LV_5717-1_0_6_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_5717-1_0_6_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_5717-1_0_6_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_5717-1_0_6_node_121 | 0.4 | n |  | TRUE
60 | bus_LV_5717-1_0_6_node_118 | 0.4 | n |  | TRUE
61 | bus_LV_5717-1_0_6_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_5717-1_0_6_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_5717-1_0_6_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_5717-1_0_6_node_29 | 0.4 | n |  | TRUE
65 | bus_LV_5717-1_0_6_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_5717-1_0_6_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_5717-1_0_6_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_5717-1_0_6_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_5717-1_0_6_node_91 | 0.4 | n |  | TRUE
70 | bus_LV_5717-1_0_6_node_88 | 0.4 | n |  | TRUE
71 | bus_LV_5717-1_0_6_node_93 | 0.4 | n |  | TRUE
72 | bus_LV_5717-1_0_6_node_95 | 0.4 | n |  | TRUE
73 | bus_LV_5717-1_0_6_node_119 | 0.4 | n |  | TRUE
74 | bus_LV_5717-1_0_6_node_127 | 0.4 | n |  | TRUE
75 | bus_LV_5717-1_0_6_node_129 | 0.4 | n |  | TRUE
76 | bus_LV_5717-1_0_6_node_34 | 0.4 | n |  | TRUE
77 | bus_LV_5717-1_0_6_node_35 | 0.4 | n |  | TRUE
78 | bus_LV_5717-1_0_6_node_36 | 0.4 | n |  | TRUE
79 | bus_LV_5717-1_0_6_node_37 | 0.4 | n |  | TRUE
80 | bus_LV_5717-1_0_6_node_38 | 0.4 | n |  | TRUE
81 | bus_LV_5717-1_0_6_node_39 | 0.4 | n |  | TRUE
82 | bus_LV_5717-1_0_6_node_46 | 0.4 | n |  | TRUE
83 | bus_LV_5717-1_0_6_node_48 | 0.4 | n |  | TRUE
84 | bus_LV_5717-1_0_6_node_51 | 0.4 | n |  | TRUE
85 | bus_LV_5717-1_0_6_node_52 | 0.4 | n |  | TRUE
86 | bus_LV_5717-1_0_6_node_101 | 0.4 | n |  | TRUE
87 | bus_LV_5717-1_0_6_node_102 | 0.4 | n |  | TRUE
88 | bus_LV_5717-1_0_6_node_110 | 0.4 | n |  | TRUE
89 | bus_LV_5717-1_0_6_node_59 | 0.4 | n |  | TRUE
90 | bus_LV_5717-1_0_6_node_60 | 0.4 | n |  | TRUE
91 | bus_LV_5717-1_0_6_node_61 | 0.4 | n |  | TRUE
92 | bus_LV_5717-1_0_6_node_62 | 0.4 | n |  | TRUE
93 | bus_LV_5717-1_0_6_node_63 | 0.4 | n |  | TRUE
94 | bus_LV_5717-1_0_6_node_65 | 0.4 | n |  | TRUE
95 | bus_LV_5717-1_0_6_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_5717-1_0_6_node_64 | 0.4 | n |  | TRUE
97 | bus_LV_5717-1_0_6_node_148 | 0.4 | n |  | TRUE
98 | bus_LV_5717-1_0_6_node_138 | 0.4 | n |  | TRUE
99 | bus_LV_5717-1_0_6_node_149 | 0.4 | n |  | TRUE
100 | bus_LV_5717-1_0_6_node_72 | 0.4 | n |  | TRUE
101 | bus_LV_5717-1_0_6_node_73 | 0.4 | n |  | TRUE
102 | bus_LV_5717-1_0_6_node_74 | 0.4 | n |  | TRUE
103 | bus_LV_5717-1_0_6_node_75 | 0.4 | n |  | TRUE
104 | bus_LV_5717-1_0_6_node_76 | 0.4 | n |  | TRUE
105 | bus_LV_5717-1_0_6_node_77 | 0.4 | n |  | TRUE
106 | bus_LV_5717-1_0_6_node_78 | 0.4 | n |  | TRUE
107 | bus_LV_5717-1_0_6_node_79 | 0.4 | n |  | TRUE
108 | bus_LV_5717-1_0_6_node_84 | 0.4 | n |  | TRUE
109 | bus_LV_5717-1_0_6_node_85 | 0.4 | n |  | TRUE
110 | bus_LV_5717-1_0_6_node_86 | 0.4 | n |  | TRUE
111 | bus_LV_5717-1_0_6_node_87 | 0.4 | n |  | TRUE
112 | bus_LV_5717-1_0_6_node_96 | 0.4 | n |  | TRUE
113 | bus_LV_5717-1_0_6_node_135 | 0.4 | n |  | TRUE
114 | bus_LV_5717-1_0_6_node_97 | 0.4 | n |  | TRUE
115 | bus_LV_5717-1_0_6_node_98 | 0.4 | n |  | TRUE
116 | bus_LV_5717-1_0_6_node_99 | 0.4 | n |  | TRUE
117 | bus_LV_5717-1_0_6_node_113 | 0.4 | n |  | TRUE
118 | bus_LV_5717-1_0_6_node_108 | 0.4 | n |  | TRUE
119 | bus_LV_5717-1_0_6_node_106 | 0.4 | n |  | TRUE
120 | bus_LV_5717-1_0_6_node_107 | 0.4 | n |  | TRUE
121 | bus_LV_5717-1_0_6_node_109 | 0.4 | n |  | TRUE
122 | bus_LV_5717-1_0_6_node_111 | 0.4 | n |  | TRUE
123 | bus_LV_5717-1_0_6_node_112 | 0.4 | n |  | TRUE
124 | bus_LV_5717-1_0_6_node_114 | 0.4 | n |  | TRUE
125 | bus_LV_5717-1_0_6_node_115 | 0.4 | n |  | TRUE
126 | bus_LV_5717-1_0_6_node_116 | 0.4 | n |  | TRUE
127 | bus_LV_5717-1_0_6_node_117 | 0.4 | n |  | TRUE
128 | bus_LV_5717-1_0_6_node_122 | 0.4 | n |  | TRUE
129 | bus_LV_5717-1_0_6_node_123 | 0.4 | n |  | TRUE
130 | bus_LV_5717-1_0_6_node_124 | 0.4 | n |  | TRUE
131 | bus_LV_5717-1_0_6_node_125 | 0.4 | n |  | TRUE
132 | bus_LV_5717-1_0_6_node_126 | 0.4 | n |  | TRUE
133 | bus_LV_5717-1_0_6_node_131 | 0.4 | n |  | TRUE
134 | bus_LV_5717-1_0_6_node_132 | 0.4 | n |  | TRUE
135 | bus_LV_5717-1_0_6_node_133 | 0.4 | n |  | TRUE
136 | bus_LV_5717-1_0_6_node_134 | 0.4 | n |  | TRUE
137 | bus_LV_5717-1_0_6_node_136 | 0.4 | n |  | TRUE
138 | bus_LV_5717-1_0_6_node_137 | 0.4 | n |  | TRUE
139 | bus_LV_5717-1_0_6_node_139 | 0.4 | n |  | TRUE
140 | bus_LV_5717-1_0_6_node_141 | 0.4 | n |  | TRUE
141 | bus_LV_5717-1_0_6_node_144 | 0.4 | n |  | TRUE
142 | bus_LV_5717-1_0_6_node_142 | 0.4 | n |  | TRUE
143 | bus_LV_5717-1_0_6_node_145 | 0.4 | n |  | TRUE
144 | bus_LV_5717-1_0_6_node_143 | 0.4 | n |  | TRUE
145 | bus_LV_5717-1_0_6_node_146 | 0.4 | n |  | TRUE
146 | bus_LV_5717-1_0_6_node_147 | 0.4 | n |  | TRUE
147 | bus_LV_5717-1_0_6_node_150 | 0.4 | n |  | TRUE
148 | bus_MV_453_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5717-1_0_6_load_0 | 0 | 0.0013632 | 0.00034165 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5717-1_0_6_load_1 | 1 | 0.0018114 | 0.00045397 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5717-1_0_6_load_2 | 2 | 0.0095645 | 0.0023971 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5717-1_0_6_load_3 | 3 | 0.0024354 | 0.00061036 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5717-1_0_6_load_4 | 4 | 0.0022961 | 0.00057546 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5717-1_0_6_load_5 | 7 | 0.0016412 | 0.00041132 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5717-1_0_6_load_6 | 8 | 0.0016067 | 0.00040268 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5717-1_0_6_load_8 | 9 | 0.00067603 | 0.00016943 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5717-1_0_6_load_27 | 10 | 0.00077723 | 0.00019479 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5717-1_0_6_load_44 | 11 | 0.003518 | 0.00088171 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5717-1_0_6_load_32 | 14 | 0.0037038 | 0.00092827 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5717-1_0_6_load_53 | 16 | 0.0021958 | 0.00055031 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5717-1_0_6_load_50 | 18 | 0.0030065 | 0.00075349 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5717-1_0_6_load_42 | 20 | 0.0017399 | 0.00043605 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5717-1_0_6_load_41 | 21 | 0.003664 | 0.00091829 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5717-1_0_6_load_104 | 22 | 0.0023791 | 0.00059625 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5717-1_0_6_load_105 | 23 | 0.0023801 | 0.0005965 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5717-1_0_6_load_100 | 24 | 0.012065 | 0.0030239 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5717-1_0_6_load_47 | 25 | 0.0036231 | 0.00090805 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5717-1_0_6_load_82 | 27 | 0.0012987 | 0.00032549 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5717-1_0_6_load_70 | 29 | 0.00074681 | 0.00018717 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5717-1_0_6_load_80 | 31 | 0.0027593 | 0.00069156 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5717-1_0_6_load_56 | 33 | 0.0015062 | 0.00037749 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5717-1_0_6_load_31 | 35 | 0.0034032 | 0.00085292 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5717-1_0_6_load_30 | 36 | 0.00365 | 0.00091479 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5717-1_0_6_load_58 | 39 | 0.0030433 | 0.00076272 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5717-1_0_6_load_69 | 41 | 0.0027137 | 0.00068011 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5717-1_0_6_load_68 | 42 | 0.0017606 | 0.00044126 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5717-1_0_6_load_67 | 44 | 0.0037438 | 0.00093829 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5717-1_0_6_load_54 | 45 | 0.0012048 | 0.00030195 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5717-1_0_6_load_66 | 46 | 0.00050485 | 0.00012653 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5717-1_0_6_load_120 | 49 | 0.0042427 | 0.0010633 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5717-1_0_6_load_128 | 50 | 0.0036165 | 0.00090639 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5717-1_0_6_load_130 | 52 | 0.0029549 | 0.00074058 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5717-1_0_6_load_28 | 53 | 0.0015623 | 0.00039156 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5717-1_0_6_load_45 | 54 | 0.0035006 | 0.00087734 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5717-1_0_6_load_103 | 55 | 0.0021962 | 0.00055041 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5717-1_0_6_load_49 | 56 | 0.0021257 | 0.00053274 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5717-1_0_6_load_43 | 57 | 0.0007998 | 0.00020045 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5717-1_0_6_load_40 | 58 | 0.0038597 | 0.00096734 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5717-1_0_6_load_121 | 59 | 0.00156 | 0.00039096 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5717-1_0_6_load_118 | 60 | 0.0013167 | 0.00032998 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5717-1_0_6_load_83 | 61 | 0.0021388 | 0.00053603 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5717-1_0_6_load_81 | 62 | 0.0036954 | 0.00092614 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5717-1_0_6_load_33 | 63 | 0.0040767 | 0.0010217 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5717-1_0_6_load_29 | 64 | 0.0036073 | 0.00090408 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5717-1_0_6_load_57 | 65 | 0.0024434 | 0.00061237 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5717-1_0_6_load_71 | 66 | 0.0013351 | 0.00033461 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5717-1_0_6_load_90 | 68 | 0.0057913 | 0.0014514 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5717-1_0_6_load_88 | 70 | 0.0029319 | 0.00073481 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5717-1_0_6_load_93 | 71 | 0.0025836 | 0.0006475 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5717-1_0_6_load_95 | 72 | 0.0071277 | 0.0017864 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5717-1_0_6_load_119 | 73 | 0.0009484 | 0.00023769 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5717-1_0_6_load_127 | 74 | 0.0045181 | 0.0011323 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5717-1_0_6_load_129 | 75 | 0.0039521 | 0.00099048 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5717-1_0_6_load_34 | 76 | 0.0039431 | 0.00098823 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5717-1_0_6_load_35 | 77 | 0.0053604 | 0.0013434 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5717-1_0_6_load_36 | 78 | 0.0050675 | 0.00127 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5717-1_0_6_load_37 | 79 | 0.0029824 | 0.00074747 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5717-1_0_6_load_38 | 80 | 0.0038576 | 0.00096681 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5717-1_0_6_load_39 | 81 | 0.0026099 | 0.0006541 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5717-1_0_6_load_46 | 82 | 0.0035238 | 0.00088314 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5717-1_0_6_load_48 | 83 | 0.0027637 | 0.00069265 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5717-1_0_6_load_51 | 84 | 0.0034389 | 0.00086186 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5717-1_0_6_load_52 | 85 | 0.0043213 | 0.001083 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5717-1_0_6_load_101 | 86 | 0.0031911 | 0.00079977 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5717-1_0_6_load_102 | 87 | 0.012678 | 0.0031774 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5717-1_0_6_load_59 | 89 | 0.0089483 | 0.0022427 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5717-1_0_6_load_60 | 90 | 0.0020658 | 0.00051775 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5717-1_0_6_load_62 | 92 | 0.003356 | 0.00084109 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5717-1_0_6_load_65 | 94 | 0.013846 | 0.0034702 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5717-1_0_6_load_148 | 97 | 0.0027219 | 0.00068217 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5717-1_0_6_load_138 | 98 | 0.00078806 | 0.00019751 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5717-1_0_6_load_149 | 99 | 0.0032788 | 0.00082175 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5717-1_0_6_load_72 | 100 | 0.0012062 | 0.00030231 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5717-1_0_6_load_73 | 101 | 0.0041722 | 0.0010456 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5717-1_0_6_load_74 | 102 | 0.0014207 | 0.00035605 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5717-1_0_6_load_75 | 103 | 0.0013945 | 0.00034948 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5717-1_0_6_load_76 | 104 | 0.0011679 | 0.0002927 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5717-1_0_6_load_77 | 105 | 0.0017736 | 0.00044452 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5717-1_0_6_load_78 | 106 | 0.0021498 | 0.00053878 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5717-1_0_6_load_79 | 107 | 0.0016052 | 0.0004023 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5717-1_0_6_load_85 | 109 | 0.0017504 | 0.00043868 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5717-1_0_6_load_86 | 110 | 0.0027287 | 0.00068387 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5717-1_0_6_load_87 | 111 | 0.0031101 | 0.00077946 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5717-1_0_6_load_96 | 112 | 0.00042397 | 0.00010626 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5717-1_0_6_load_135 | 113 | 0.0050091 | 0.0012554 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5717-1_0_6_load_97 | 114 | 0.00072624 | 0.00018201 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5717-1_0_6_load_98 | 115 | 0.006873 | 0.0017225 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5717-1_0_6_load_99 | 116 | 0.0055068 | 0.0013801 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5717-1_0_6_load_113 | 117 | 0.0021962 | 0.00055041 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5717-1_0_6_load_106 | 119 | 0.0026237 | 0.00065757 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5717-1_0_6_load_107 | 120 | 0.0018022 | 0.00045166 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5717-1_0_6_load_109 | 121 | 0.0027821 | 0.00069726 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5717-1_0_6_load_111 | 122 | 0.0021958 | 0.00055031 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5717-1_0_6_load_112 | 123 | 0.0018018 | 0.00045159 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5717-1_0_6_load_114 | 124 | 0.0021958 | 0.00055031 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5717-1_0_6_load_115 | 125 | 0.0043591 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5717-1_0_6_load_116 | 126 | 0.0021958 | 0.00055032 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5717-1_0_6_load_117 | 127 | 0.0075409 | 0.0018899 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5717-1_0_6_load_122 | 128 | 0.0027228 | 0.0006824 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5717-1_0_6_load_123 | 129 | 0.0006579 | 0.00016489 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5717-1_0_6_load_124 | 130 | 0.003844 | 0.00096339 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5717-1_0_6_load_125 | 131 | 0.0025043 | 0.00062764 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5717-1_0_6_load_126 | 132 | 0.0022687 | 0.0005686 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5717-1_0_6_load_131 | 133 | 0.0013082 | 0.00032786 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5717-1_0_6_load_132 | 134 | 0.0064789 | 0.0016238 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5717-1_0_6_load_139 | 139 | 0.0016027 | 0.00040169 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5717-1_0_6_load_141 | 140 | 0.010687 | 0.0026784 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5717-1_0_6_load_144 | 141 | 0.00064668 | 0.00016207 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5717-1_0_6_load_142 | 142 | 0.011105 | 0.0027832 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5717-1_0_6_load_145 | 143 | 0.00050019 | 0.00012536 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5717-1_0_6_load_143 | 144 | 0.0070581 | 0.0017689 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5717-1_0_6_load_146 | 145 | 0.00067179 | 0.00016837 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5717-1_0_6_load_147 | 146 | 0.00026674 | 6.6851e-05 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5717-1_0_6_load_150 | 147 | 0.0032516 | 0.00081493 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 130 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5717-1_0_6_line_0 |  | 0 | 1 | 0.038055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5717-1_0_6_line_1 |  | 0 | 2 | 0.020344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5717-1_0_6_line_2 |  | 1 | 3 | 0.010069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5717-1_0_6_line_3 |  | 3 | 4 | 0.022959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5717-1_0_6_line_4 |  | 4 | 5 | 0.016291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5717-1_0_6_line_5 |  | 5 | 6 | 0.14146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5717-1_0_6_line_6 |  | 5 | 7 | 0.062817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_5717-1_0_6_line_7 |  | 6 | 11 | 0.053478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5717-1_0_6_line_8 |  | 7 | 8 | 0.06813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5717-1_0_6_line_9 |  | 8 | 9 | 0.017851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5717-1_0_6_line_10 |  | 9 | 10 | 0.020404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5717-1_0_6_line_11 |  | 10 | 53 | 0.0051077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5717-1_0_6_line_12 |  | 11 | 54 | 0.022608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5717-1_0_6_line_13 |  | 12 | 13 | 0.011595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5717-1_0_6_line_14 |  | 12 | 14 | 0.014759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5717-1_0_6_line_15 |  | 13 | 24 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5717-1_0_6_line_16 |  | 13 | 25 | 0.019832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5717-1_0_6_line_17 |  | 14 | 34 | 0.044319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5717-1_0_6_line_18 |  | 15 | 16 | 0.012501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5717-1_0_6_line_19 |  | 15 | 17 | 0.03145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5717-1_0_6_line_20 |  | 15 | 18 | 0.049578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5717-1_0_6_line_21 |  | 16 | 55 | 0.014372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5717-1_0_6_line_22 |  | 17 | 22 | 0.025423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5717-1_0_6_line_23 |  | 17 | 23 | 0.011704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5717-1_0_6_line_24 |  | 18 | 56 | 0.033548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5717-1_0_6_line_25 |  | 19 | 20 | 0.043018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5717-1_0_6_line_26 |  | 19 | 21 | 0.017333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5717-1_0_6_line_27 |  | 20 | 57 | 0.007386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5717-1_0_6_line_28 |  | 21 | 58 | 0.033761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5717-1_0_6_line_29 |  | 22 | 59 | 0.019727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5717-1_0_6_line_30 |  | 23 | 60 | 0.034427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5717-1_0_6_line_31 |  | 26 | 27 | 0.029713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5717-1_0_6_line_32 |  | 26 | 28 | 0.017429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5717-1_0_6_line_33 |  | 26 | 29 | 0.040408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5717-1_0_6_line_34 |  | 27 | 61 | 0.045991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_5717-1_0_6_line_35 |  | 28 | 34 | 0.024346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5717-1_0_6_line_36 |  | 28 | 35 | 0.026262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_5717-1_0_6_line_37 |  | 28 | 36 | 0.013251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5717-1_0_6_line_38 |  | 30 | 31 | 0.018387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_5717-1_0_6_line_39 |  | 30 | 32 | 0.058003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_5717-1_0_6_line_40 |  | 30 | 33 | 0.015207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5717-1_0_6_line_41 |  | 31 | 62 | 0.047134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_5717-1_0_6_line_42 |  | 32 | 46 | 0.041988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_5717-1_0_6_line_43 |  | 32 | 38 | 0.05622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5717-1_0_6_line_44 |  | 35 | 63 | 0.055442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_5717-1_0_6_line_45 |  | 36 | 64 | 0.076917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_5717-1_0_6_line_46 |  | 37 | 38 | 0.043276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5717-1_0_6_line_47 |  | 37 | 39 | 0.065024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5717-1_0_6_line_48 |  | 38 | 45 | 0.016676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5717-1_0_6_line_49 |  | 39 | 65 | 0.0014759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5717-1_0_6_line_50 |  | 40 | 41 | 0.033453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5717-1_0_6_line_51 |  | 40 | 42 | 0.04687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5717-1_0_6_line_52 |  | 41 | 66 | 0.036823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5717-1_0_6_line_53 |  | 42 | 43 | 0.038465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5717-1_0_6_line_54 |  | 43 | 44 | 0.0068095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5717-1_0_6_line_55 |  | 44 | 46 | 0.022614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5717-1_0_6_line_56 |  | 47 | 48 | 0.012509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_5717-1_0_6_line_57 |  | 47 | 49 | 0.03321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5717-1_0_6_line_58 |  | 47 | 50 | 0.010882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_5717-1_0_6_line_59 |  | 48 | 51 | 0.075975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_5717-1_0_6_line_60 |  | 48 | 52 | 0.03637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5717-1_0_6_line_61 |  | 49 | 73 | 0.011151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5717-1_0_6_line_62 |  | 50 | 74 | 0.031845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_5717-1_0_6_line_63 |  | 51 | 72 | 0.022359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5717-1_0_6_line_64 |  | 51 | 69 | 0.025506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_5717-1_0_6_line_65 |  | 52 | 75 | 0.0069447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5717-1_0_6_line_66 |  | 53 | 64 | 0.022869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_5717-1_0_6_line_67 |  | 54 | 82 | 0.01392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_5717-1_0_6_line_68 |  | 55 | 88 | 0.017928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5717-1_0_6_line_69 |  | 56 | 57 | 0.018498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5717-1_0_6_line_70 |  | 58 | 81 | 0.015884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5717-1_0_6_line_71 |  | 60 | 73 | 0.025913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5717-1_0_6_line_72 |  | 61 | 108 | 0.0066079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_5717-1_0_6_line_73 |  | 62 | 63 | 0.060656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_5717-1_0_6_line_74 |  | 65 | 89 | 0.0015165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5717-1_0_6_line_75 |  | 66 | 100 | 0.010384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5717-1_0_6_line_76 |  | 67 | 68 | 0.032691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5717-1_0_6_line_77 |  | 67 | 69 | 0.023497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_5717-1_0_6_line_78 |  | 67 | 70 | 0.14759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_5717-1_0_6_line_79 |  | 69 | 71 | 0.072553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_5717-1_0_6_line_80 |  | 70 | 111 | 0.010156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_5717-1_0_6_line_81 |  | 71 | 93 | 0.017702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_5717-1_0_6_line_82 |  | 72 | 112 | 0.0047861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5717-1_0_6_line_83 |  | 74 | 131 | 0.039553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_5717-1_0_6_line_84 |  | 75 | 133 | 0.014615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5717-1_0_6_line_85 |  | 76 | 77 | 0.0068067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5717-1_0_6_line_86 |  | 76 | 78 | 0.023631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5717-1_0_6_line_87 |  | 77 | 79 | 0.022357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5717-1_0_6_line_88 |  | 79 | 80 | 0.010916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5717-1_0_6_line_89 |  | 80 | 81 | 0.017719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5717-1_0_6_line_90 |  | 82 | 83 | 0.02713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5717-1_0_6_line_91 |  | 83 | 84 | 0.0066486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5717-1_0_6_line_92 |  | 84 | 85 | 0.0014505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5717-1_0_6_line_93 |  | 85 | 86 | 0.019777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5717-1_0_6_line_94 |  | 86 | 87 | 0.0052316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5717-1_0_6_line_95 |  | 88 | 117 | 0.013606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5717-1_0_6_line_96 |  | 88 | 118 | 0.03023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5717-1_0_6_line_97 |  | 90 | 91 | 0.035444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5717-1_0_6_line_98 |  | 91 | 92 | 0.020885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5717-1_0_6_line_99 |  | 91 | 93 | 0.45526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5717-1_0_6_line_100 |  | 92 | 94 | 0.02042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5717-1_0_6_line_101 |  | 93 | 95 | 0.27763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_5717-1_0_6_line_102 |  | 93 | 96 | 0.083778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5717-1_0_6_line_103 |  | 95 | 98 | 0.17208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
104 | LV_5717-1_0_6_line_104 |  | 96 | 97 | 0.021541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5717-1_0_6_line_105 |  | 97 | 99 | 0.00042033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5717-1_0_6_line_106 |  | 98 | 113 | 0.027937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5717-1_0_6_line_107 |  | 99 | 147 | 0.0031786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5717-1_0_6_line_108 |  | 100 | 101 | 0.0045703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5717-1_0_6_line_109 |  | 101 | 102 | 0.0086926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5717-1_0_6_line_110 |  | 102 | 103 | 0.008999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5717-1_0_6_line_111 |  | 103 | 104 | 0.0011617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5717-1_0_6_line_112 |  | 104 | 105 | 0.014479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5717-1_0_6_line_113 |  | 105 | 106 | 0.016259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5717-1_0_6_line_114 |  | 106 | 107 | 0.013407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5717-1_0_6_line_115 |  | 108 | 109 | 0.033496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
116 | LV_5717-1_0_6_line_116 |  | 108 | 110 | 0.031915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5717-1_0_6_line_117 |  | 109 | 111 | 0.034163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
118 | LV_5717-1_0_6_line_118 |  | 112 | 114 | 0.02942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5717-1_0_6_line_119 |  | 113 | 135 | 0.022458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5717-1_0_6_line_120 |  | 114 | 115 | 0.022831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5717-1_0_6_line_121 |  | 115 | 116 | 0.019275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5717-1_0_6_line_122 |  | 117 | 126 | 0.012385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5717-1_0_6_line_123 |  | 118 | 122 | 0.014327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5717-1_0_6_line_124 |  | 118 | 119 | 0.010706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5717-1_0_6_line_125 |  | 119 | 120 | 0.0030665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5717-1_0_6_line_126 |  | 120 | 121 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5717-1_0_6_line_127 |  | 121 | 123 | 0.0032872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5717-1_0_6_line_128 |  | 122 | 124 | 0.01431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5717-1_0_6_line_129 |  | 123 | 125 | 0.0013327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5717-1_0_6_line_130 |  | 126 | 127 | 0.0021614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_5717-1_0_6_line_131 |  | 128 | 129 | 0.0093739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
132 | LV_5717-1_0_6_line_132 |  | 128 | 130 | 0.015869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
133 | LV_5717-1_0_6_line_133 |  | 129 | 131 | 0.0032996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
134 | LV_5717-1_0_6_line_134 |  | 130 | 132 | 0.023893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5717-1_0_6_line_135 |  | 134 | 135 | 0.065765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5717-1_0_6_line_136 |  | 134 | 136 | 0.020621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5717-1_0_6_line_137 |  | 135 | 137 | 0.011558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5717-1_0_6_line_138 |  | 136 | 138 | 0.004714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5717-1_0_6_line_139 |  | 137 | 139 | 0.027149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5717-1_0_6_line_140 |  | 138 | 140 | 0.028957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5717-1_0_6_line_141 |  | 139 | 141 | 0.0085758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5717-1_0_6_line_142 |  | 140 | 142 | 0.08553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5717-1_0_6_line_143 |  | 141 | 143 | 0.0199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5717-1_0_6_line_144 |  | 142 | 144 | 0.040002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5717-1_0_6_line_145 |  | 143 | 145 | 0.015677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_5717-1_0_6_line_146 |  | 145 | 146 | 0.016843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5717-1_0_6_trafo_124 | 0.63 MVA 20/0.4 kV | 148 | 130 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2505061.9203 | 1132674.111 | 2505049.3675 | 1132654.6938 | 2505043.513 | 1132645.2579 | 2505041.4941 | 1132642.0048
1 | 2505072.9586 | 1132691.2004 | 2505070.8195 | 1132687.8765 | 2505061.9203 | 1132674.111
2 | 2505036.1849 | 1132633.4495 | 2505041.4941 | 1132642.0048
3 | 2505036.1849 | 1132633.4495 | 2505028.604 | 1132621.2335 | 2505023.6555 | 1132614.2226
4 | 2505014.2615 | 1132600.9135 | 2505023.6555 | 1132614.2226
5 | 2504901.3022 | 1132663.3527 | 2504906.2655 | 1132673.3917 | 2504911.5889 | 1132671.1065 | 2504916.7486 | 1132668.6904 | 2504958.3608 | 1132640.7957 | 2505014.2615 | 1132600.9135
6 | 2505014.2615 | 1132600.9135 | 2504980.2152 | 1132548.1234
7 | 2504901.3022 | 1132663.3527 | 2504879.9556 | 1132678.9097 | 2504875.7557 | 1132681.144 | 2504873.1694 | 1132681.6962 | 2504867.0431 | 1132680.4364 | 2504865.8321 | 1132679.8218 | 2504864.3598 | 1132678.2552 | 2504862.943 | 1132675.8205 | 2504860.1613 | 1132669.3064
8 | 2504980.2152 | 1132548.1234 | 2504963.8784 | 1132522.7924 | 2504943.2667 | 1132490.8821
9 | 2504933.5808 | 1132475.8877 | 2504937.6178 | 1132482.1368 | 2504943.2667 | 1132490.8821
10 | 2504933.5808 | 1132475.8877 | 2504928.517 | 1132468.0494 | 2504922.9203 | 1132458.4963
11 | 2504920.3385 | 1132454.0892 | 2504922.9203 | 1132458.4963
12 | 2504860.1613 | 1132669.3064 | 2504853.8838 | 1132654.6059 | 2504851.3077 | 1132648.5039
13 | 2504844.8071 | 1132506.8479 | 2504850.4524 | 1132505.925 | 2504856.3234 | 1132506.1214
14 | 2504856.3234 | 1132506.1214 | 2504852.8058 | 1132491.7874
15 | 2504835.3559 | 1132511.5664 | 2504844.8071 | 1132506.8479
16 | 2504844.8071 | 1132506.8479 | 2504850.1186 | 1132525.9551
17 | 2504842.6644 | 1132448.6462 | 2504847.5012 | 1132470.1719 | 2504852.8058 | 1132491.7874
18 | 2504644.1679 | 1132657.829 | 2504646.7783 | 1132655.8755 | 2504654.6377 | 1132651.0151
19 | 2504623.9275 | 1132633.7342 | 2504633.1693 | 1132644.0389 | 2504644.1679 | 1132657.829
20 | 2504644.1679 | 1132657.829 | 2504673.2338 | 1132696.1154 | 2504674.0735 | 1132697.369
21 | 2504654.6377 | 1132651.0151 | 2504666.8613 | 1132643.4557
22 | 2504623.9275 | 1132633.7342 | 2504645.4536 | 1132620.2073
23 | 2504623.9275 | 1132633.7342 | 2504616.4326 | 1132624.7454
24 | 2504692.4359 | 1132725.4405 | 2504689.5688 | 1132721.1282 | 2504684.4641 | 1132712.8816 | 2504674.0735 | 1132697.369
25 | 2504730.585 | 1132782.8182 | 2504706.7671 | 1132746.9951
26 | 2504730.585 | 1132782.8182 | 2504744.7705 | 1132772.8581
27 | 2504702.6777 | 1132740.8445 | 2504706.7671 | 1132746.9951
28 | 2504772.4006 | 1132753.4582 | 2504744.7705 | 1132772.8581
29 | 2504658.7628 | 1132606.8451 | 2504657.6058 | 1132611.1104 | 2504654.7084 | 1132614.3916 | 2504645.4536 | 1132620.2073
30 | 2504616.4326 | 1132624.7454 | 2504609.0688 | 1132615.9137 | 2504594.8707 | 1132599.4615 | 2504594.0815 | 1132598.5618
31 | 2504826.7482 | 1132432.6096 | 2504805.4732 | 1132436.6365 | 2504797.5336 | 1132438.0235
32 | 2504826.7482 | 1132432.6096 | 2504832.5508 | 1132431.3951 | 2504831.4502 | 1132426.0648 | 2504837.3918 | 1132424.8815
33 | 2504826.7482 | 1132432.6096 | 2504823.736 | 1132416.9142 | 2504819.9274 | 1132395.6502 | 2504819.5135 | 1132392.8569
34 | 2504797.5336 | 1132438.0235 | 2504789.0313 | 1132439.5087 | 2504771.9949 | 1132441.3008 | 2504751.8252 | 1132442.8512
35 | 2504837.3918 | 1132424.8815 | 2504839.7192 | 1132435.7292 | 2504842.6644 | 1132448.6462
36 | 2504837.3918 | 1132424.8815 | 2504833.4428 | 1132402.0298 | 2504832.921 | 1132399.0026
37 | 2504837.3918 | 1132424.8815 | 2504839.8493 | 1132424.4536 | 2504849.7043 | 1132420.1427
38 | 2504817.9131 | 1132218.2294 | 2504817.9831 | 1132236.6159
39 | 2504802.5133 | 1132175.4239 | 2504805.4328 | 1132175.4779 | 2504811.7328 | 1132175.5119 | 2504818.0595 | 1132175.779 | 2504817.9131 | 1132218.2294
40 | 2504817.9131 | 1132218.2294 | 2504821.2934 | 1132216.7418 | 2504822.7808 | 1132212.9049 | 2504823.8874 | 1132205.5895
41 | 2504817.9831 | 1132236.6159 | 2504818.0184 | 1132245.889 | 2504819.1021 | 1132266.251 | 2504819.9227 | 1132283.7013
42 | 2504802.5133 | 1132175.4239 | 2504802.5921 | 1132209.21 | 2504802.7564 | 1132217.4099
43 | 2504802.5133 | 1132175.4239 | 2504802.4643 | 1132155.2457 | 2504805.53 | 1132148.4599 | 2504811.7254 | 1132147.7173 | 2504811.4343 | 1132131.7121 | 2504817.4721 | 1132133.6737
44 | 2504825.1255 | 1132344.1271 | 2504827.4524 | 1132364.9906 | 2504831.9254 | 1132393.2262 | 2504832.921 | 1132399.0026
45 | 2504907.9578 | 1132434.8646 | 2504905.4631 | 1132431.0456 | 2504890.7697 | 1132408.0631 | 2504888.1816 | 1132406.5586 | 2504882.5408 | 1132405.3356 | 2504879.6839 | 1132405.3362 | 2504860.231 | 1132415.5379 | 2504849.7043 | 1132420.1427
46 | 2504804.784 | 1132102.1657 | 2504811.1612 | 1132101.2312 | 2504811.4343 | 1132131.7121 | 2504817.4721 | 1132133.6737
47 | 2504804.784 | 1132102.1657 | 2504801.0025 | 1132103.1259 | 2504776.4807 | 1132110.8397 | 2504742.3231 | 1132120.1955
48 | 2504817.4721 | 1132133.6737 | 2504817.1747 | 1132117.0007
49 | 2504740.8996 | 1132120.5854 | 2504742.3231 | 1132120.1955
50 | 2504811.4194 | 1132331.3229 | 2504778.675 | 1132338.1711
51 | 2504811.4194 | 1132331.3229 | 2504809.2272 | 1132302.6956 | 2504807.7556 | 1132284.5967
52 | 2504742.6272 | 1132345.6865 | 2504748.4421 | 1132344.4913 | 2504750.6988 | 1132344.022 | 2504778.675 | 1132338.1711
53 | 2504806.1403 | 1132246.1654 | 2504807.7556 | 1132284.5967
54 | 2504806.1403 | 1132246.1654 | 2504803.2093 | 1132240.019
55 | 2504803.2093 | 1132240.019 | 2504802.7564 | 1132217.4099
56 | 2504544.1821 | 1132535.9576 | 2504548.1281 | 1132543.9556 | 2504551.5532 | 1132542.8785
57 | 2504551.5532 | 1132542.8785 | 2504555.6776 | 1132550.4624 | 2504565.6215 | 1132565.2253 | 2504569.8613 | 1132570.5128
58 | 2504551.5532 | 1132542.8785 | 2504553.484 | 1132542.2587 | 2504562.3337 | 1132541.9759
59 | 2504508.1059 | 1132472.7897 | 2504512.9568 | 1132481.0291 | 2504519.548 | 1132492.6653 | 2504527.3408 | 1132508.7073 | 2504537.8005 | 1132530.255 | 2504540.9974 | 1132528.8703 | 2504544.1821 | 1132535.9576
60 | 2504544.1821 | 1132535.9576 | 2504512.9208 | 1132554.5449
61 | 2504569.8613 | 1132570.5128 | 2504573.9405 | 1132575.6 | 2504576.9939 | 1132579.0811
62 | 2504594.162 | 1132540.9585 | 2504562.3337 | 1132541.9759
63 | 2504508.1059 | 1132472.7897 | 2504488.9003 | 1132484.239
64 | 2504497.2592 | 1132451.1259 | 2504496.5793 | 1132457.3071 | 2504508.1059 | 1132472.7897
65 | 2504506.9516 | 1132558.0941 | 2504512.9208 | 1132554.5449
66 | 2504907.9578 | 1132434.8646 | 2504918.7912 | 1132451.448 | 2504920.3385 | 1132454.0892
67 | 2504845.8937 | 1132635.6799 | 2504851.3077 | 1132648.5039
68 | 2504682.109 | 1132634.0262 | 2504666.8613 | 1132643.4557
69 | 2504702.6777 | 1132740.8445 | 2504692.4359 | 1132725.4405
70 | 2504772.4006 | 1132753.4582 | 2504785.3999 | 1132744.331
71 | 2504576.9939 | 1132579.0811 | 2504594.0815 | 1132598.5618
72 | 2504745.2368 | 1132443.3577 | 2504751.8252 | 1132442.8512
73 | 2504819.9227 | 1132283.7013 | 2504820.1569 | 1132288.6814 | 2504821.8361 | 1132309.6899 | 2504824.6897 | 1132340.2191 | 2504825.1255 | 1132344.1271
74 | 2504739.437 | 1132120.986 | 2504740.8996 | 1132120.5854
75 | 2504742.6272 | 1132345.6865 | 2504732.4558 | 1132347.7773
76 | 2504520.167 | 1132455.3994 | 2504511.0958 | 1132423.9923
77 | 2504497.2592 | 1132451.1259 | 2504500.9957 | 1132452.69 | 2504504.6861 | 1132453.7767 | 2504510.1929 | 1132454.8013 | 2504516.1385 | 1132455.3298 | 2504520.167 | 1132455.3994
78 | 2504520.167 | 1132455.3994 | 2504528.0674 | 1132455.3633 | 2504627.8242 | 1132449.6714 | 2504649.4968 | 1132448.3949 | 2504667.5255 | 1132447.3663
79 | 2504497.2592 | 1132451.1259 | 2504494.2944 | 1132449.1828 | 2504491.2066 | 1132446.2743 | 2504486.5643 | 1132441.4893 | 2504480.3659 | 1132435.2058 | 2504460.6869 | 1132418.9296 | 2504442.3024 | 1132403.9178
80 | 2504667.5255 | 1132447.3663 | 2504677.6652 | 1132446.7879
81 | 2504428.5909 | 1132392.7218 | 2504442.3024 | 1132403.9178
82 | 2504488.9003 | 1132484.239 | 2504484.7893 | 1132486.6897
83 | 2504633.6879 | 1132540.2742 | 2504627.1642 | 1132539.9036 | 2504594.162 | 1132540.9585
84 | 2504494.3893 | 1132565.5634 | 2504506.9516 | 1132558.0941
85 | 2504832.7031 | 1132711.1181 | 2504827.1324 | 1132715.0294
86 | 2504852.0431 | 1132697.5389 | 2504832.7031 | 1132711.1181
87 | 2504808.8354 | 1132727.8762 | 2504827.1324 | 1132715.0294
88 | 2504808.8354 | 1132727.8762 | 2504799.9017 | 1132734.1489
89 | 2504799.9017 | 1132734.1489 | 2504785.3999 | 1132744.331
90 | 2504845.8937 | 1132635.6799 | 2504837.933 | 1132616.8233 | 2504835.3134 | 1132610.6985
91 | 2504832.6988 | 1132604.5856 | 2504835.3134 | 1132610.6985
92 | 2504832.1284 | 1132603.252 | 2504832.6988 | 1132604.5856
93 | 2504832.1284 | 1132603.252 | 2504824.3513 | 1132585.0688
94 | 2504822.2939 | 1132580.2587 | 2504824.3513 | 1132585.0688
95 | 2504682.109 | 1132634.0262 | 2504690.5611 | 1132628.4783 | 2504692.059 | 1132625.3193 | 2504692.059 | 1132625.3193
96 | 2504698.5349 | 1132659.4268 | 2504682.109 | 1132634.0262
97 | 2504582.068 | 1132172.281 | 2504550.9494 | 1132189.2491
98 | 2504582.068 | 1132172.281 | 2504591.3338 | 1132190.9983
99 | 2504428.5909 | 1132392.7218 | 2504430.0929 | 1132389.8295 | 2504432.0686 | 1132385.2399 | 2504432.2208 | 1132383.6699 | 2504431.7376 | 1132381.365 | 2504430.8367 | 1132377.9661 | 2504424.9206 | 1132356.9469 | 2504417.1285 | 1132327.8637 | 2504415.1044 | 1132319.1905 | 2504411.668 | 1132299.1549 | 2504399.6642 | 1132222.5093 | 2504396.9296 | 1132207.399 | 2504396.8429 | 1132203.3868 | 2504397.8683 | 1132200.0574 | 2504399.666 | 1132196.3822 | 2504403.962 | 1132192.4229 | 2504414.5064 | 1132185.7295 | 2504473.244 | 1132148.4101 | 2504507.159 | 1132125.515 | 2504541.6356 | 1132100.6211 | 2504548.96 | 1132109.9109 | 2504561.3894 | 1132130.8271 | 2504582.068 | 1132172.281
100 | 2504604.5231 | 1132204.8348 | 2504601.8932 | 1132204.5873 | 2504598.7842 | 1132203.269 | 2504594.2952 | 1132196.9805 | 2504591.3338 | 1132190.9983
101 | 2504243.956 | 1132466.8382 | 2504249.6603 | 1132464.7797 | 2504272.6495 | 1132449.4279 | 2504325.9997 | 1132413.4933 | 2504364.236 | 1132370.4054 | 2504366.2859 | 1132371.9516 | 2504375.0905 | 1132361.9171 | 2504375.7127 | 1132361.8183 | 2504376.2695 | 1132361.9651 | 2504392.1653 | 1132372.7421 | 2504392.8448 | 1132371.8863 | 2504379.8341 | 1132356.0828 | 2504381.9513 | 1132353.6255 | 2504407.6418 | 1132375.0428 | 2504422.5879 | 1132387.6026 | 2504428.5909 | 1132392.7218
102 | 2504428.5909 | 1132392.7218 | 2504430.0929 | 1132389.8295 | 2504432.0686 | 1132385.2399 | 2504432.2208 | 1132383.6699 | 2504431.7376 | 1132381.365 | 2504430.8367 | 1132377.9661 | 2504424.9206 | 1132356.9469 | 2504431.4571 | 1132355.398 | 2504470.258 | 1132347.8903
103 | 2504243.956 | 1132466.8382 | 2504249.4771 | 1132484.7726 | 2504251.8295 | 1132491.7952 | 2504256.6883 | 1132506.8161 | 2504264.8135 | 1132531.1354 | 2504267.0009 | 1132539.895 | 2504268.6094 | 1132548.5748 | 2504269.175 | 1132555.5812 | 2504269.5505 | 1132567.5937 | 2504269.6464 | 1132585.2807 | 2504270.0588 | 1132602.5292 | 2504271.2721 | 1132612.9941 | 2504272.4629 | 1132620.5799 | 2504274.354 | 1132629.1106 | 2504275.6699 | 1132634.6384
104 | 2504470.258 | 1132347.8903 | 2504475.1169 | 1132368.876
105 | 2504475.2117 | 1132369.2855 | 2504475.1169 | 1132368.876
106 | 2504275.6699 | 1132634.6384 | 2504277.0354 | 1132640.375 | 2504281.012 | 1132653.6756 | 2504284.2982 | 1132661.1425
107 | 2504475.9287 | 1132372.3821 | 2504475.2117 | 1132369.2855
108 | 2504732.4558 | 1132347.7773 | 2504731.0409 | 1132348.0681 | 2504727.9457 | 1132348.5046
109 | 2504719.3382 | 1132349.7185 | 2504727.9457 | 1132348.5046
110 | 2504710.4274 | 1132350.9752 | 2504719.3382 | 1132349.7185
111 | 2504710.4274 | 1132350.9752 | 2504709.7341 | 1132351.073 | 2504709.2785 | 1132351.1462
112 | 2504694.9875 | 1132353.472 | 2504700.1401 | 1132352.6143 | 2504709.2785 | 1132351.1462
113 | 2504694.9875 | 1132353.472 | 2504692.9818 | 1132353.8059 | 2504678.9504 | 1132356.1463
114 | 2504665.7257 | 1132358.3521 | 2504678.9504 | 1132356.1463
115 | 2504745.2368 | 1132443.3577 | 2504711.7782 | 1132444.9434
116 | 2504745.2368 | 1132443.3577 | 2504747.3263 | 1132475.204
117 | 2504711.7782 | 1132444.9434 | 2504701.2526 | 1132445.4422 | 2504677.6652 | 1132446.7879
118 | 2504459.5193 | 1132501.7542 | 2504484.7893 | 1132486.6897
119 | 2504293.9653 | 1132681.4093 | 2504286.5561 | 1132666.2731 | 2504284.2982 | 1132661.1425
120 | 2504446.9441 | 1132487.3049 | 2504448.6049 | 1132495.7567 | 2504449.6185 | 1132498.0086 | 2504450.3236 | 1132499.2538 | 2504451.8063 | 1132500.9758 | 2504453.5229 | 1132501.9048 | 2504454.6907 | 1132502.2198 | 2504456.7942 | 1132502.2977 | 2504459.5193 | 1132501.7542 | 2504459.5193 | 1132501.7542
121 | 2504443.2275 | 1132468.3918 | 2504446.9441 | 1132487.3049
122 | 2504692.059 | 1132625.3193 | 2504702.2208 | 1132618.2392
123 | 2504698.5349 | 1132659.4268 | 2504686.5256 | 1132667.2393
124 | 2504698.5349 | 1132659.4268 | 2504707.5535 | 1132653.6584
125 | 2504707.5535 | 1132653.6584 | 2504710.1368 | 1132652.0061
126 | 2504719.5409 | 1132645.991 | 2504710.1368 | 1132652.0061
127 | 2504719.5409 | 1132645.991 | 2504722.3102 | 1132644.2198
128 | 2504674.5303 | 1132675.0428 | 2504686.5256 | 1132667.2393
129 | 2504723.4329 | 1132643.5017 | 2504722.3102 | 1132644.2198
130 | 2504703.9942 | 1132617.0036 | 2504702.2208 | 1132618.2392
131 | 2504636.9822 | 1132540.4614 | 2504646.341 | 1132540.9931
132 | 2504662.2023 | 1132540.9172 | 2504649.3617 | 1132541.1647 | 2504646.341 | 1132540.9931
133 | 2504636.9822 | 1132540.4614 | 2504633.6879 | 1132540.2742
134 | 2504677.44 | 1132559.3211 | 2504662.2023 | 1132540.9172
135 | 2504293.9653 | 1132681.4093 | 2504316.8518 | 1132668.8498 | 2504299.7401 | 1132634.7893 | 2504301.0056 | 1132633.9093
136 | 2504317.9358 | 1132622.1375 | 2504301.0056 | 1132633.9093
137 | 2504293.9653 | 1132681.4093 | 2504299.3944 | 1132691.6183
138 | 2504317.9358 | 1132622.1375 | 2504322.6625 | 1132622.0513
139 | 2504299.3944 | 1132691.6183 | 2504292.9025 | 1132695.4681 | 2504275.2472 | 1132703.9835
140 | 2504322.6625 | 1132622.0513 | 2504335.8847 | 1132647.813 | 2504335.8847 | 1132647.813
141 | 2504275.2472 | 1132703.9835 | 2504267.523 | 1132707.7091
142 | 2504335.8847 | 1132647.813 | 2504350.2545 | 1132647.8631 | 2504356.8821 | 1132655.963 | 2504364.5985 | 1132657.9419 | 2504378.1705 | 1132659.639 | 2504384.4551 | 1132698.1805
143 | 2504267.523 | 1132707.7091 | 2504249.599 | 1132716.3541
144 | 2504384.4551 | 1132698.1805 | 2504388.3037 | 1132721.783 | 2504381.6063 | 1132726.2697 | 2504374.6115 | 1132730.2066
145 | 2504249.599 | 1132716.3541 | 2504235.4784 | 1132723.1647
146 | 2504235.4784 | 1132723.1647 | 2504220.3075 | 1132730.4819

## bus_geodata
| x | y | coords
0 | 2505061.9204 | 1132674.111
1 | 2505041.4941 | 1132642.0048
2 | 2505072.9586 | 1132691.2004
3 | 2505036.1849 | 1132633.4495
4 | 2505023.6555 | 1132614.2226
5 | 2505014.2615 | 1132600.9135
6 | 2504901.3022 | 1132663.3527
7 | 2504980.2152 | 1132548.1234
8 | 2504943.2667 | 1132490.8821
9 | 2504933.5808 | 1132475.8877
10 | 2504922.9203 | 1132458.4963
11 | 2504860.1613 | 1132669.3064
12 | 2504856.3234 | 1132506.1214
13 | 2504844.8071 | 1132506.8479
14 | 2504852.8058 | 1132491.7874
15 | 2504644.1679 | 1132657.829
16 | 2504654.6377 | 1132651.0151
17 | 2504623.9275 | 1132633.7342
18 | 2504674.0735 | 1132697.369
19 | 2504730.585 | 1132782.8182
20 | 2504706.7671 | 1132746.9951
21 | 2504744.7705 | 1132772.8581
22 | 2504645.4536 | 1132620.2073
23 | 2504616.4326 | 1132624.7454
24 | 2504835.3559 | 1132511.5664
25 | 2504850.1186 | 1132525.9551
26 | 2504826.7482 | 1132432.6096
27 | 2504797.5336 | 1132438.0235
28 | 2504837.3918 | 1132424.8815
29 | 2504819.5135 | 1132392.8569
30 | 2504817.9131 | 1132218.2294
31 | 2504817.9831 | 1132236.6159
32 | 2504802.5133 | 1132175.4239
33 | 2504823.8874 | 1132205.5895
34 | 2504842.6644 | 1132448.6462
35 | 2504832.921 | 1132399.0026
36 | 2504849.7043 | 1132420.1427
37 | 2504804.784 | 1132102.1657
38 | 2504817.4721 | 1132133.6737
39 | 2504742.3231 | 1132120.1955
40 | 2504811.4194 | 1132331.3229
41 | 2504778.675 | 1132338.1711
42 | 2504807.7556 | 1132284.5967
43 | 2504806.1403 | 1132246.1654
44 | 2504803.2093 | 1132240.019
45 | 2504817.1747 | 1132117.0007
46 | 2504802.7564 | 1132217.4099
47 | 2504551.5532 | 1132542.8785
48 | 2504544.1821 | 1132535.9576
49 | 2504569.8613 | 1132570.5128
50 | 2504562.3337 | 1132541.9759
51 | 2504508.1059 | 1132472.7897
52 | 2504512.9208 | 1132554.5449
53 | 2504920.3385 | 1132454.0892
54 | 2504851.3077 | 1132648.5039
55 | 2504666.8613 | 1132643.4557
56 | 2504692.4359 | 1132725.4405
57 | 2504702.6777 | 1132740.8445
58 | 2504772.4006 | 1132753.4582
59 | 2504658.7628 | 1132606.8451
60 | 2504594.0815 | 1132598.5618
61 | 2504751.8252 | 1132442.8512
62 | 2504819.9227 | 1132283.7013
63 | 2504825.1255 | 1132344.1271
64 | 2504907.9578 | 1132434.8646
65 | 2504740.8996 | 1132120.5854
66 | 2504742.6272 | 1132345.6865
67 | 2504520.167 | 1132455.3994
68 | 2504511.0958 | 1132423.9923
69 | 2504497.2592 | 1132451.1259
70 | 2504667.5255 | 1132447.3663
71 | 2504442.3024 | 1132403.9178
72 | 2504488.9003 | 1132484.239
73 | 2504576.9939 | 1132579.0811
74 | 2504594.162 | 1132540.9585
75 | 2504506.9516 | 1132558.0941
76 | 2504832.7031 | 1132711.1181
77 | 2504827.1324 | 1132715.0294
78 | 2504852.0431 | 1132697.5389
79 | 2504808.8354 | 1132727.8762
80 | 2504799.9017 | 1132734.1489
81 | 2504785.3999 | 1132744.331
82 | 2504845.8937 | 1132635.6799
83 | 2504835.3134 | 1132610.6985
84 | 2504832.6988 | 1132604.5856
85 | 2504832.1284 | 1132603.252
86 | 2504824.3513 | 1132585.0688
87 | 2504822.2939 | 1132580.2587
88 | 2504682.109 | 1132634.0262
89 | 2504739.437 | 1132120.986
90 | 2504550.9494 | 1132189.2491
91 | 2504582.068 | 1132172.281
92 | 2504591.3338 | 1132190.9983
93 | 2504428.5909 | 1132392.7218
94 | 2504604.5231 | 1132204.8348
95 | 2504243.956 | 1132466.8382
96 | 2504470.258 | 1132347.8903
97 | 2504475.1169 | 1132368.876
98 | 2504275.6699 | 1132634.6384
99 | 2504475.2117 | 1132369.2855
100 | 2504732.4558 | 1132347.7773
101 | 2504727.9457 | 1132348.5046
102 | 2504719.3382 | 1132349.7185
103 | 2504710.4274 | 1132350.9752
104 | 2504709.2785 | 1132351.1462
105 | 2504694.9875 | 1132353.472
106 | 2504678.9504 | 1132356.1463
107 | 2504665.7257 | 1132358.3521
108 | 2504745.2368 | 1132443.3577
109 | 2504711.7782 | 1132444.9434
110 | 2504747.3263 | 1132475.204
111 | 2504677.6652 | 1132446.7879
112 | 2504484.7893 | 1132486.6897
113 | 2504284.2982 | 1132661.1425
114 | 2504459.5193 | 1132501.7542
115 | 2504446.9441 | 1132487.3049
116 | 2504443.2275 | 1132468.3918
117 | 2504692.059 | 1132625.3193
118 | 2504698.5349 | 1132659.4268
119 | 2504707.5535 | 1132653.6584
120 | 2504710.1368 | 1132652.0061
121 | 2504719.5409 | 1132645.991
122 | 2504686.5256 | 1132667.2393
123 | 2504722.3102 | 1132644.2198
124 | 2504674.5303 | 1132675.0428
125 | 2504723.4329 | 1132643.5017
126 | 2504702.2208 | 1132618.2392
127 | 2504703.9942 | 1132617.0036
128 | 2504646.341 | 1132540.9931
129 | 2504636.9822 | 1132540.4614
130 | 2504662.2023 | 1132540.9172
131 | 2504633.6879 | 1132540.2742
132 | 2504677.44 | 1132559.3211
133 | 2504494.3893 | 1132565.5634
134 | 2504301.0056 | 1132633.9093
135 | 2504293.9653 | 1132681.4093
136 | 2504317.9358 | 1132622.1375
137 | 2504299.3944 | 1132691.6183
138 | 2504322.6625 | 1132622.0513
139 | 2504275.2472 | 1132703.9835
140 | 2504335.8847 | 1132647.813
141 | 2504267.523 | 1132707.7091
142 | 2504384.4551 | 1132698.1805
143 | 2504249.599 | 1132716.3541
144 | 2504374.6115 | 1132730.2066
145 | 2504235.4784 | 1132723.1647
146 | 2504220.3075 | 1132730.4819
147 | 2504475.9287 | 1132372.3821
148 | 2504677.44 | 1132559.3211

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1