## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5717-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5717-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5717-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5717-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5717-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5717-7_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5717-7_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5717-7_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5717-7_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5717-7_0_3_node_215 | 0.4 | n |  | TRUE
10 | bus_LV_5717-7_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_5717-7_0_3_node_214 | 0.4 | n |  | TRUE
12 | bus_LV_5717-7_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5717-7_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5717-7_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5717-7_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5717-7_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5717-7_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5717-7_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5717-7_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5717-7_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5717-7_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5717-7_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5717-7_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_5717-7_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_5717-7_0_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_5717-7_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_5717-7_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_5717-7_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_5717-7_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5717-7_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_5717-7_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5717-7_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5717-7_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_5717-7_0_3_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_5717-7_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_5717-7_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_5717-7_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_5717-7_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_5717-7_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5717-7_0_3_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_5717-7_0_3_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_5717-7_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_5717-7_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5717-7_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5717-7_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5717-7_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_5717-7_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_5717-7_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_5717-7_0_3_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_5717-7_0_3_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_5717-7_0_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_5717-7_0_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_5717-7_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5717-7_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_5717-7_0_3_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_5717-7_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_5717-7_0_3_node_94 | 0.4 | n |  | TRUE
58 | bus_LV_5717-7_0_3_node_92 | 0.4 | n |  | TRUE
59 | bus_LV_5717-7_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_5717-7_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_5717-7_0_3_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_5717-7_0_3_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_5717-7_0_3_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_5717-7_0_3_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_5717-7_0_3_node_216 | 0.4 | n |  | TRUE
66 | bus_LV_5717-7_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_5717-7_0_3_node_85 | 0.4 | n |  | TRUE
68 | bus_LV_5717-7_0_3_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_5717-7_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_5717-7_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_5717-7_0_3_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_5717-7_0_3_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_5717-7_0_3_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_5717-7_0_3_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_5717-7_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_5717-7_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_5717-7_0_3_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_5717-7_0_3_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_5717-7_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_5717-7_0_3_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_5717-7_0_3_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_5717-7_0_3_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_5717-7_0_3_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_5717-7_0_3_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_5717-7_0_3_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_5717-7_0_3_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_5717-7_0_3_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_5717-7_0_3_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_5717-7_0_3_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_5717-7_0_3_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_5717-7_0_3_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_5717-7_0_3_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_5717-7_0_3_node_217 | 0.4 | n |  | TRUE
94 | bus_LV_5717-7_0_3_node_218 | 0.4 | n |  | TRUE
95 | bus_LV_5717-7_0_3_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_5717-7_0_3_node_91 | 0.4 | n |  | TRUE
97 | bus_MV_453_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5717-7_0_3_load_0 | 0 | 0.0060535 | 0.0015171 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5717-7_0_3_load_1 | 1 | 0.0060559 | 0.0015178 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5717-7_0_3_load_2 | 2 | 0.0025283 | 0.00063366 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5717-7_0_3_load_3 | 3 | 0.0062766 | 0.0015731 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5717-7_0_3_load_4 | 4 | 0.00079932 | 0.00020033 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5717-7_0_3_load_5 | 5 | 0.00078094 | 0.00019572 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5717-7_0_3_load_215 | 9 | 0.0062992 | 0.0015787 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5717-7_0_3_load_214 | 11 | 0.00055941 | 0.0001402 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5717-7_0_3_load_9 | 12 | 0.0021687 | 0.00054352 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5717-7_0_3_load_10 | 13 | 0.0024506 | 0.00061418 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5717-7_0_3_load_11 | 14 | 0.0043242 | 0.0010837 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5717-7_0_3_load_12 | 15 | 0.0028073 | 0.00070358 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5717-7_0_3_load_13 | 16 | 0.0032615 | 0.0008174 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5717-7_0_3_load_14 | 17 | 0.0090079 | 0.0022576 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5717-7_0_3_load_15 | 18 | 0.0066341 | 0.0016627 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5717-7_0_3_load_16 | 19 | 0.0033318 | 0.00083503 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5717-7_0_3_load_17 | 20 | 0.0028358 | 0.00071072 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5717-7_0_3_load_22 | 23 | 0.0010383 | 0.00026022 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5717-7_0_3_load_21 | 24 | 0.0010369 | 0.00025988 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5717-7_0_3_load_43 | 25 | 0.0017302 | 0.00043362 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5717-7_0_3_load_23 | 26 | 0.0039832 | 0.00099828 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5717-7_0_3_load_26 | 29 | 0.0034868 | 0.00087387 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5717-7_0_3_load_27 | 30 | 0.0027894 | 0.00069909 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5717-7_0_3_load_28 | 31 | 0.0027152 | 0.0006805 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5717-7_0_3_load_30 | 33 | 0.0034321 | 0.00086018 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5717-7_0_3_load_44 | 34 | 0.00259 | 0.00064912 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5717-7_0_3_load_35 | 35 | 0.0031866 | 0.00079863 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5717-7_0_3_load_31 | 36 | 0.0046127 | 0.0011561 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5717-7_0_3_load_60 | 40 | 0.0020037 | 0.00050218 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5717-7_0_3_load_59 | 41 | 0.0030268 | 0.00075858 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5717-7_0_3_load_39 | 42 | 0.0025147 | 0.00063024 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5717-7_0_3_load_36 | 43 | 0.0039522 | 0.00099051 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5717-7_0_3_load_37 | 44 | 0.0028067 | 0.00070343 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5717-7_0_3_load_38 | 45 | 0.0030235 | 0.00075775 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5717-7_0_3_load_40 | 46 | 0.0015543 | 0.00038954 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5717-7_0_3_load_68 | 50 | 0.0025756 | 0.0006455 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5717-7_0_3_load_45 | 51 | 0.002406 | 0.000603 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5717-7_0_3_load_55 | 55 | 0.0050249 | 0.0012594 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5717-7_0_3_load_94 | 57 | 0.012752 | 0.0031959 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5717-7_0_3_load_92 | 58 | 0.0026887 | 0.00067384 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5717-7_0_3_load_90 | 61 | 0.005509 | 0.0013807 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5717-7_0_3_load_86 | 64 | 0.0017801 | 0.00044612 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5717-7_0_3_load_216 | 65 | 0.0071759 | 0.0017984 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5717-7_0_3_load_87 | 68 | 0.0013164 | 0.00032991 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5717-7_0_3_load_57 | 70 | 0.0020149 | 0.00050499 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5717-7_0_3_load_58 | 71 | 0.0033179 | 0.00083155 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5717-7_0_3_load_61 | 72 | 0.0056687 | 0.0014207 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5717-7_0_3_load_63 | 73 | 0.0028029 | 0.00070247 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5717-7_0_3_load_69 | 75 | 0.0025488 | 0.00063879 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5717-7_0_3_load_64 | 77 | 0.0027978 | 0.0007012 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5717-7_0_3_load_65 | 78 | 0.00084792 | 0.00021251 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5717-7_0_3_load_66 | 79 | 0.0032992 | 0.00082685 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5717-7_0_3_load_67 | 80 | 0.0026171 | 0.00065591 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5717-7_0_3_load_72 | 81 | 0.0013396 | 0.00033574 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5717-7_0_3_load_79 | 82 | 0.001306 | 0.0003273 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5717-7_0_3_load_73 | 83 | 0.0010732 | 0.00026896 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5717-7_0_3_load_75 | 85 | 0.0013594 | 0.00034069 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5717-7_0_3_load_76 | 86 | 0.0018324 | 0.00045925 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5717-7_0_3_load_77 | 87 | 0.0014728 | 0.00036912 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5717-7_0_3_load_81 | 88 | 0.0012339 | 0.00030924 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5717-7_0_3_load_78 | 89 | 0.0024237 | 0.00060745 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5717-7_0_3_load_82 | 90 | 0.00050534 | 0.00012665 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5717-7_0_3_load_83 | 91 | 0.003082 | 0.00077242 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5717-7_0_3_load_84 | 92 | 0.0015382 | 0.00038552 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5717-7_0_3_load_217 | 93 | 0.0032392 | 0.00081182 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5717-7_0_3_load_218 | 94 | 0.0019478 | 0.00048818 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5717-7_0_3_load_89 | 95 | 0.0016869 | 0.00042277 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5717-7_0_3_load_91 | 96 | 0.0017843 | 0.00044719 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5717-7_0_3_line_0 |  | 0 | 1 | 0.027002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5717-7_0_3_line_1 |  | 0 | 2 | 0.069821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5717-7_0_3_line_2 |  | 1 | 3 | 0.029527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5717-7_0_3_line_3 |  | 3 | 4 | 0.027654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5717-7_0_3_line_4 |  | 4 | 5 | 0.031126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5717-7_0_3_line_5 |  | 5 | 6 | 0.016697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5717-7_0_3_line_6 |  | 6 | 7 | 0.090685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5717-7_0_3_line_7 |  | 6 | 8 | 0.043926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5717-7_0_3_line_8 |  | 7 | 9 | 0.085573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5717-7_0_3_line_9 |  | 8 | 10 | 0.006695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5717-7_0_3_line_10 |  | 8 | 11 | 0.029116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5717-7_0_3_line_11 |  | 10 | 25 | 0.042194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5717-7_0_3_line_12 |  | 10 | 21 | 0.025489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5717-7_0_3_line_13 |  | 12 | 13 | 0.029544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5717-7_0_3_line_14 |  | 12 | 14 | 0.00019253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5717-7_0_3_line_15 |  | 13 | 15 | 0.033287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5717-7_0_3_line_16 |  | 14 | 16 | 0.038688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5717-7_0_3_line_17 |  | 15 | 17 | 0.029618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5717-7_0_3_line_18 |  | 17 | 18 | 0.031699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5717-7_0_3_line_19 |  | 18 | 19 | 0.033254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5717-7_0_3_line_20 |  | 19 | 20 | 0.033667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5717-7_0_3_line_21 |  | 20 | 21 | 0.040784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5717-7_0_3_line_22 |  | 21 | 22 | 0.007485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5717-7_0_3_line_23 |  | 22 | 23 | 0.010771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5717-7_0_3_line_24 |  | 22 | 24 | 0.013659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5717-7_0_3_line_25 |  | 25 | 47 | 0.0064268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5717-7_0_3_line_26 |  | 26 | 27 | 0.022298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5717-7_0_3_line_27 |  | 26 | 28 | 0.011607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5717-7_0_3_line_28 |  | 27 | 29 | 0.020815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5717-7_0_3_line_29 |  | 27 | 30 | 0.033333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5717-7_0_3_line_30 |  | 27 | 31 | 0.018247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5717-7_0_3_line_31 |  | 28 | 32 | 0.02842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5717-7_0_3_line_32 |  | 28 | 33 | 0.048498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5717-7_0_3_line_33 |  | 31 | 34 | 0.0096287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5717-7_0_3_line_34 |  | 32 | 35 | 0.024047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5717-7_0_3_line_35 |  | 32 | 36 | 0.018634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5717-7_0_3_line_36 |  | 36 | 37 | 0.022994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5717-7_0_3_line_37 |  | 37 | 38 | 0.017361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5717-7_0_3_line_38 |  | 37 | 39 | 0.02513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5717-7_0_3_line_39 |  | 38 | 40 | 0.025155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5717-7_0_3_line_40 |  | 38 | 41 | 0.015174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5717-7_0_3_line_41 |  | 39 | 42 | 0.039084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5717-7_0_3_line_42 |  | 39 | 43 | 0.026411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5717-7_0_3_line_43 |  | 40 | 73 | 0.0030502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5717-7_0_3_line_44 |  | 41 | 70 | 0.033347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5717-7_0_3_line_45 |  | 43 | 44 | 0.030035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5717-7_0_3_line_46 |  | 44 | 45 | 0.034567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5717-7_0_3_line_47 |  | 45 | 46 | 0.039082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5717-7_0_3_line_48 |  | 46 | 47 | 0.019845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5717-7_0_3_line_49 |  | 47 | 48 | 0.040472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5717-7_0_3_line_50 |  | 48 | 49 | 0.007128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5717-7_0_3_line_51 |  | 48 | 50 | 0.01567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5717-7_0_3_line_52 |  | 49 | 81 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5717-7_0_3_line_53 |  | 49 | 83 | 0.026757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5717-7_0_3_line_54 |  | 50 | 80 | 0.018086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5717-7_0_3_line_55 |  | 51 | 52 | 0.015438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5717-7_0_3_line_56 |  | 52 | 53 | 0.021062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5717-7_0_3_line_57 |  | 52 | 54 | 0.038926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5717-7_0_3_line_58 |  | 53 | 55 | 0.031164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5717-7_0_3_line_59 |  | 54 | 60 | 0.07177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5717-7_0_3_line_60 |  | 54 | 61 | 0.011574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5717-7_0_3_line_61 |  | 54 | 59 | 0.041735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5717-7_0_3_line_62 |  | 55 | 69 | 0.077265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5717-7_0_3_line_63 |  | 56 | 57 | 0.007043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5717-7_0_3_line_64 |  | 56 | 58 | 0.062137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5717-7_0_3_line_65 |  | 58 | 59 | 0.039514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5717-7_0_3_line_66 |  | 60 | 65 | 0.004513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5717-7_0_3_line_67 |  | 60 | 62 | 0.036183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5717-7_0_3_line_68 |  | 61 | 95 | 0.0056248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5717-7_0_3_line_69 |  | 62 | 63 | 0.007217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5717-7_0_3_line_70 |  | 62 | 64 | 0.031781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5717-7_0_3_line_71 |  | 63 | 93 | 0.005692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5717-7_0_3_line_72 |  | 63 | 94 | 0.006193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5717-7_0_3_line_73 |  | 64 | 68 | 0.010485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5717-7_0_3_line_74 |  | 66 | 67 | 0.011052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5717-7_0_3_line_75 |  | 66 | 68 | 0.024014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5717-7_0_3_line_76 |  | 67 | 92 | 0.015646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5717-7_0_3_line_77 |  | 69 | 70 | 0.022774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5717-7_0_3_line_78 |  | 69 | 71 | 0.025175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5717-7_0_3_line_79 |  | 71 | 72 | 0.056153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5717-7_0_3_line_80 |  | 73 | 77 | 0.035826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5717-7_0_3_line_81 |  | 74 | 75 | 0.02465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5717-7_0_3_line_82 |  | 74 | 76 | 0.008228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5717-7_0_3_line_83 |  | 75 | 81 | 0.024381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5717-7_0_3_line_84 |  | 76 | 82 | 0.033608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5717-7_0_3_line_85 |  | 77 | 78 | 0.0027245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5717-7_0_3_line_86 |  | 79 | 80 | 0.021583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5717-7_0_3_line_87 |  | 83 | 84 | 0.028864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5717-7_0_3_line_88 |  | 84 | 85 | 0.016241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5717-7_0_3_line_89 |  | 84 | 86 | 0.025861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5717-7_0_3_line_90 |  | 85 | 87 | 0.016579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5717-7_0_3_line_91 |  | 86 | 88 | 0.015581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5717-7_0_3_line_92 |  | 87 | 89 | 0.017722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5717-7_0_3_line_93 |  | 88 | 90 | 0.0073169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5717-7_0_3_line_94 |  | 91 | 92 | 0.013434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5717-7_0_3_line_95 |  | 95 | 96 | 0.0013789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5717-7_0_3_trafo_31 | 0.63 MVA 20/0.4 kV | 97 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2504342.9168 | 1131355.2125 | 2504318.2656 | 1131366.2313
1 | 2504405.9527 | 1131325.1951 | 2504371.0845 | 1131342.1578 | 2504345.9608 | 1131353.8519 | 2504342.9168 | 1131355.2125
2 | 2504318.2656 | 1131366.2313 | 2504310.5283 | 1131369.6898 | 2504296.7451 | 1131378.6471 | 2504292.6953 | 1131380.8584
3 | 2504292.6953 | 1131380.8584 | 2504283.9321 | 1131385.6435 | 2504267.9705 | 1131393.2234 | 2504267.9705 | 1131393.2234
4 | 2504267.9705 | 1131393.2234 | 2504263.5478 | 1131398.9415 | 2504258.1924 | 1131402.6621 | 2504251.8573 | 1131405.3197 | 2504242.0656 | 1131409.127
5 | 2504226.7604 | 1131415.7576 | 2504232.9576 | 1131412.6685 | 2504242.0656 | 1131409.127
6 | 2504226.7604 | 1131415.7576 | 2504215.7811 | 1131391.2613 | 2504209.4639 | 1131378.5538 | 2504206.0579 | 1131372.1372 | 2504200.8521 | 1131363.459 | 2504183.1166 | 1131336.4573
7 | 2504226.7604 | 1131415.7576 | 2504236.782 | 1131438.6459 | 2504245.567 | 1131455.439
8 | 2504183.1166 | 1131336.4573 | 2504156.4902 | 1131348.076 | 2504142.2796 | 1131358.2412 | 2504134.8854 | 1131367.9201 | 2504152.5692 | 1131388.1509
9 | 2504248.8254 | 1131461.2909 | 2504245.567 | 1131455.439
10 | 2504245.567 | 1131455.439 | 2504239.3118 | 1131458.2733 | 2504234.4208 | 1131459.2293 | 2504228.0221 | 1131459.3309 | 2504219.8274 | 1131457.4042 | 2504217.6317 | 1131456.3236
11 | 2504248.8254 | 1131461.2909 | 2504256.0942 | 1131475.2508 | 2504262.2352 | 1131485.6042 | 2504270.4356 | 1131497.4628
12 | 2504248.8254 | 1131461.2909 | 2504271.9355 | 1131450.3955
13 | 2504477.7545 | 1131343.8564 | 2504465.8328 | 1131351.2185 | 2504452.3424 | 1131358.9167
14 | 2504477.9183 | 1131343.7552 | 2504477.7545 | 1131343.8564
15 | 2504452.3424 | 1131358.9167 | 2504450.643 | 1131359.8865 | 2504433.4771 | 1131368.7636 | 2504422.72 | 1131374.0924
16 | 2504502.6222 | 1131319.3725 | 2504503.4376 | 1131328.0649 | 2504493.4749 | 1131334.1485 | 2504477.9183 | 1131343.7552
17 | 2504422.72 | 1131374.0924 | 2504407.4405 | 1131381.6616 | 2504396.2658 | 1131387.4097
18 | 2504368.0776 | 1131401.9095 | 2504396.2658 | 1131387.4097
19 | 2504368.0776 | 1131401.9095 | 2504367.7673 | 1131402.0691 | 2504342.2427 | 1131415.6597 | 2504338.7041 | 1131417.4991
20 | 2504338.7041 | 1131417.4991 | 2504320.777 | 1131426.8178 | 2504308.7742 | 1131432.9148
21 | 2504271.9355 | 1131450.3955 | 2504296.0832 | 1131439.3614 | 2504308.7742 | 1131432.9148
22 | 2504268.6784 | 1131443.6541 | 2504271.9355 | 1131450.3955
23 | 2504268.6784 | 1131443.6541 | 2504258.9237 | 1131448.2221
24 | 2504268.6784 | 1131443.6541 | 2504280.9266 | 1131437.608
25 | 2504274.091 | 1131502.7488 | 2504270.4356 | 1131497.4628
26 | 2504513.2623 | 1131409.1256 | 2504493.5095 | 1131419.47
27 | 2504483.2271 | 1131424.8549 | 2504493.5095 | 1131419.47
28 | 2504513.2623 | 1131409.1256 | 2504518.234 | 1131408.4021 | 2504531.8463 | 1131400.304
29 | 2504513.2623 | 1131409.1256 | 2504505.1036 | 1131389.0313 | 2504514.8844 | 1131382.6616
30 | 2504513.2623 | 1131409.1256 | 2504522.875 | 1131424.6348
31 | 2504458.0127 | 1131438.1065 | 2504483.2271 | 1131424.8549
32 | 2504510.6653 | 1131455.2615 | 2504501.2174 | 1131458.8132 | 2504486.4342 | 1131431.864 | 2504483.2271 | 1131424.8549
33 | 2504527.9476 | 1131432.8189 | 2504522.875 | 1131424.6348
34 | 2504458.0127 | 1131438.1065 | 2504461.3129 | 1131443.691 | 2504471.7846 | 1131445.9377 | 2504475.3896 | 1131451.8065
35 | 2504458.0127 | 1131438.1065 | 2504441.5183 | 1131446.7761
36 | 2504421.197 | 1131457.5345 | 2504426.3669 | 1131454.7398 | 2504441.5183 | 1131446.7761
37 | 2504421.197 | 1131457.5345 | 2504429.6248 | 1131472.7214
38 | 2504408.4321 | 1131436.4571 | 2504410.8138 | 1131437.5423 | 2504421.197 | 1131457.5345
39 | 2504429.6248 | 1131472.7214 | 2504426.0658 | 1131474.6234 | 2504406.8702 | 1131483.4317
40 | 2504429.6248 | 1131472.7214 | 2504436.986 | 1131485.9902
41 | 2504408.4321 | 1131436.4571 | 2504399.817 | 1131418.2046 | 2504399.1272 | 1131414.0463 | 2504402.4124 | 1131399.73
42 | 2504408.4321 | 1131436.4571 | 2504384.5181 | 1131447.667
43 | 2504406.8702 | 1131483.4317 | 2504404.098 | 1131484.7037
44 | 2504453.0844 | 1131515.1934 | 2504443.761 | 1131498.2021 | 2504436.986 | 1131485.9902
45 | 2504384.5181 | 1131447.667 | 2504360.2446 | 1131459.0453 | 2504357.3264 | 1131460.4237
46 | 2504357.3264 | 1131460.4237 | 2504326.0706 | 1131475.1862
47 | 2504326.0706 | 1131475.1862 | 2504323.7336 | 1131476.29 | 2504291.2398 | 1131492.9105
48 | 2504274.091 | 1131502.7488 | 2504277.726 | 1131499.8227 | 2504291.2398 | 1131492.9105
49 | 2504274.091 | 1131502.7488 | 2504280.5971 | 1131511.362 | 2504298.1983 | 1131535.2976
50 | 2504302.0215 | 1131541.3184 | 2504298.1983 | 1131535.2976
51 | 2504298.1983 | 1131535.2976 | 2504303.2542 | 1131533.0938 | 2504312.3464 | 1131528.5725
52 | 2504302.0215 | 1131541.3184 | 2504307.5555 | 1131550.3139 | 2504312.5026 | 1131558.9597
53 | 2504302.0215 | 1131541.3184 | 2504278.8931 | 1131554.773
54 | 2504328.5409 | 1131520.5193 | 2504312.3464 | 1131528.5725
55 | 2504573.3879 | 1131469.734 | 2504565.6207 | 1131472.9143 | 2504559.4417 | 1131476.2975
56 | 2504558.3816 | 1131481.723 | 2504565.4502 | 1131476.2523 | 2504574.0674 | 1131472.2803 | 2504573.3879 | 1131469.734
57 | 2504573.3879 | 1131469.734 | 2504574.0674 | 1131472.2803 | 2504582.884 | 1131468.2496 | 2504586.3649 | 1131465.7931 | 2504589.3494 | 1131461.6545 | 2504592.0173 | 1131459.9001 | 2504595.0675 | 1131458.9402 | 2504598.2704 | 1131458.8673 | 2504601.3639 | 1131459.6745 | 2504604.2059 | 1131456.2608
58 | 2504558.3816 | 1131481.723 | 2504551.8735 | 1131485.128 | 2504531.1604 | 1131496.8875
59 | 2504572.4358 | 1131392.0238 | 2504578.836 | 1131406.1313 | 2504586.2601 | 1131422.6462 | 2504588.7265 | 1131426.1649 | 2504595.0761 | 1131440.0063 | 2504599.0527 | 1131447.4591 | 2504604.2059 | 1131456.2608
60 | 2504604.2059 | 1131456.2608 | 2504613.7293 | 1131449.6841 | 2504613.7293 | 1131449.6841
61 | 2504604.2059 | 1131456.2608 | 2504608.2831 | 1131459.365 | 2504611.0019 | 1131462.7796 | 2504620.2816 | 1131480.2436 | 2504626.0648 | 1131489.9248 | 2504625.5736 | 1131491.011
62 | 2504464.04 | 1131535.1592 | 2504508.1194 | 1131509.9685 | 2504531.1604 | 1131496.8875
63 | 2504678.982 | 1131577.4979 | 2504685.3016 | 1131574.3517
64 | 2504678.982 | 1131577.4979 | 2504669.0818 | 1131561.1999 | 2504657.649 | 1131542.9582 | 2504649.0557 | 1131528.9521 | 2504646.3333 | 1131524.6304
65 | 2504625.5736 | 1131491.011 | 2504629.0729 | 1131496.5369 | 2504640.2629 | 1131514.9936 | 2504646.3333 | 1131524.6304
66 | 2504576.494 | 1131390.0251 | 2504572.4358 | 1131392.0238
67 | 2504557.6185 | 1131359.0046 | 2504565.3899 | 1131376.5369 | 2504572.4358 | 1131392.0238
68 | 2504611.0225 | 1131444.7535 | 2504613.7293 | 1131449.6841
69 | 2504557.6185 | 1131359.0046 | 2504563.9957 | 1131355.5906
70 | 2504557.6185 | 1131359.0046 | 2504548.8061 | 1131338.487 | 2504545.403 | 1131329.6704
71 | 2504566.6479 | 1131360.6295 | 2504563.9957 | 1131355.5906
72 | 2504561.6789 | 1131349.8459 | 2504563.9957 | 1131355.5906
73 | 2504545.403 | 1131329.6704 | 2504544.6218 | 1131327.6465 | 2504541.6008 | 1131319.8995
74 | 2504532.9994 | 1131297.4786 | 2504543.3502 | 1131293.5236
75 | 2504532.9994 | 1131297.4786 | 2504539.2271 | 1131313.8123 | 2504541.6008 | 1131319.8995
76 | 2504543.3502 | 1131293.5236 | 2504546.7538 | 1131295.9157 | 2504551.5722 | 1131297.6628 | 2504557.3811 | 1131297.2707 | 2504557.8488 | 1131297.0041
77 | 2504464.04 | 1131535.1592 | 2504453.0844 | 1131515.1934
78 | 2504464.04 | 1131535.1592 | 2504442.0368 | 1131547.3929
79 | 2504442.0368 | 1131547.3929 | 2504437.838 | 1131549.7273 | 2504413.9298 | 1131562.736 | 2504392.47 | 1131573.77
80 | 2504404.098 | 1131484.7037 | 2504393.7678 | 1131489.4439 | 2504378.0735 | 1131496.3857 | 2504370.7823 | 1131496.7279
81 | 2504336.6885 | 1131601.6057 | 2504334.4882 | 1131597.3824 | 2504324.6111 | 1131580.121
82 | 2504329.2512 | 1131605.1702 | 2504336.6885 | 1131601.6057
83 | 2504324.6111 | 1131580.121 | 2504312.5026 | 1131558.9597
84 | 2504329.2512 | 1131605.1702 | 2504304.8831 | 1131616.3522 | 2504298.5802 | 1131618.8952
85 | 2504368.0608 | 1131496.8557 | 2504370.7823 | 1131496.7279
86 | 2504347.8664 | 1131510.9092 | 2504328.5409 | 1131520.5193
87 | 2504253.9438 | 1131569.2868 | 2504278.8931 | 1131554.773
88 | 2504253.9438 | 1131569.2868 | 2504243.7715 | 1131563.578 | 2504239.9702 | 1131561.0295
89 | 2504253.9438 | 1131569.2868 | 2504255.1177 | 1131574.8271 | 2504249.689 | 1131583.6298 | 2504243.8491 | 1131591.569
90 | 2504226.1994 | 1131551.7969 | 2504239.9702 | 1131561.0295
91 | 2504243.8491 | 1131591.569 | 2504241.886 | 1131594.2378 | 2504230.6209 | 1131599.0967
92 | 2504213.7956 | 1131542.6965 | 2504217.6834 | 1131550.8397 | 2504225.3529 | 1131551.2294 | 2504226.1994 | 1131551.7969
93 | 2504223.9023 | 1131601.9945 | 2504230.6209 | 1131599.0967
94 | 2504568.9904 | 1131289.6158 | 2504565.7854 | 1131292.4793 | 2504557.8488 | 1131297.0041
95 | 2504610.3589 | 1131443.5447 | 2504611.0225 | 1131444.7535

## bus_geodata
| x | y | coords
0 | 2504342.9168 | 1131355.2125
1 | 2504318.2656 | 1131366.2313
2 | 2504405.9527 | 1131325.1951
3 | 2504292.6953 | 1131380.8584
4 | 2504267.9705 | 1131393.2234
5 | 2504242.0656 | 1131409.127
6 | 2504226.7604 | 1131415.7576
7 | 2504183.1166 | 1131336.4573
8 | 2504245.567 | 1131455.439
9 | 2504152.5692 | 1131388.1509
10 | 2504248.8254 | 1131461.2909
11 | 2504217.6317 | 1131456.3236
12 | 2504477.7545 | 1131343.8564
13 | 2504452.3424 | 1131358.9167
14 | 2504477.9183 | 1131343.7552
15 | 2504422.72 | 1131374.0924
16 | 2504502.6222 | 1131319.3725
17 | 2504396.2658 | 1131387.4097
18 | 2504368.0776 | 1131401.9095
19 | 2504338.7041 | 1131417.4991
20 | 2504308.7742 | 1131432.9148
21 | 2504271.9355 | 1131450.3955
22 | 2504268.6784 | 1131443.6541
23 | 2504258.9237 | 1131448.2221
24 | 2504280.9266 | 1131437.608
25 | 2504270.4356 | 1131497.4628
26 | 2504493.5095 | 1131419.47
27 | 2504513.2623 | 1131409.1256
28 | 2504483.2271 | 1131424.8549
29 | 2504531.8463 | 1131400.304
30 | 2504514.8844 | 1131382.6616
31 | 2504522.875 | 1131424.6348
32 | 2504458.0127 | 1131438.1065
33 | 2504510.6653 | 1131455.2615
34 | 2504527.9476 | 1131432.8189
35 | 2504475.3896 | 1131451.8065
36 | 2504441.5183 | 1131446.7761
37 | 2504421.197 | 1131457.5345
38 | 2504429.6248 | 1131472.7214
39 | 2504408.4321 | 1131436.4571
40 | 2504406.8702 | 1131483.4317
41 | 2504436.986 | 1131485.9902
42 | 2504402.4124 | 1131399.73
43 | 2504384.5181 | 1131447.667
44 | 2504357.3264 | 1131460.4237
45 | 2504326.0706 | 1131475.1862
46 | 2504291.2398 | 1131492.9105
47 | 2504274.091 | 1131502.7488
48 | 2504298.1983 | 1131535.2976
49 | 2504302.0215 | 1131541.3184
50 | 2504312.3464 | 1131528.5725
51 | 2504559.4417 | 1131476.2975
52 | 2504573.3879 | 1131469.734
53 | 2504558.3816 | 1131481.723
54 | 2504604.2059 | 1131456.2608
55 | 2504531.1604 | 1131496.8875
56 | 2504678.982 | 1131577.4979
57 | 2504685.3016 | 1131574.3517
58 | 2504646.3333 | 1131524.6304
59 | 2504625.5736 | 1131491.011
60 | 2504572.4358 | 1131392.0238
61 | 2504613.7293 | 1131449.6841
62 | 2504557.6185 | 1131359.0046
63 | 2504563.9957 | 1131355.5906
64 | 2504545.403 | 1131329.6704
65 | 2504576.494 | 1131390.0251
66 | 2504532.9994 | 1131297.4786
67 | 2504543.3502 | 1131293.5236
68 | 2504541.6008 | 1131319.8995
69 | 2504464.04 | 1131535.1592
70 | 2504453.0844 | 1131515.1934
71 | 2504442.0368 | 1131547.3929
72 | 2504392.47 | 1131573.77
73 | 2504404.098 | 1131484.7037
74 | 2504336.6885 | 1131601.6057
75 | 2504324.6112 | 1131580.121
76 | 2504329.2512 | 1131605.1702
77 | 2504370.7823 | 1131496.7279
78 | 2504368.0608 | 1131496.8557
79 | 2504347.8664 | 1131510.9092
80 | 2504328.5409 | 1131520.5193
81 | 2504312.5026 | 1131558.9597
82 | 2504298.5802 | 1131618.8952
83 | 2504278.8931 | 1131554.773
84 | 2504253.9438 | 1131569.2868
85 | 2504239.9702 | 1131561.0295
86 | 2504243.8491 | 1131591.569
87 | 2504226.1994 | 1131551.7969
88 | 2504230.6209 | 1131599.0967
89 | 2504213.7956 | 1131542.6965
90 | 2504223.9023 | 1131601.9945
91 | 2504568.9904 | 1131289.6158
92 | 2504557.8488 | 1131297.0041
93 | 2504566.6479 | 1131360.6295
94 | 2504561.6789 | 1131349.8459
95 | 2504611.0225 | 1131444.7535
96 | 2504610.3589 | 1131443.5447
97 | 2504458.0127 | 1131438.1065

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1