## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5717-7_1_5_node_93 | 0.4 | n |  | TRUE
1 | bus_LV_5717-7_1_5_node_102 | 0.4 | n |  | TRUE
2 | bus_LV_5717-7_1_5_node_103 | 0.4 | n |  | TRUE
3 | bus_LV_5717-7_1_5_node_99 | 0.4 | n |  | TRUE
4 | bus_LV_5717-7_1_5_node_95 | 0.4 | n |  | TRUE
5 | bus_LV_5717-7_1_5_node_96 | 0.4 | n |  | TRUE
6 | bus_LV_5717-7_1_5_node_80 | 0.4 | n |  | TRUE
7 | bus_LV_5717-7_1_5_node_128 | 0.4 | n |  | TRUE
8 | bus_LV_5717-7_1_5_node_126 | 0.4 | n |  | TRUE
9 | bus_LV_5717-7_1_5_node_144 | 0.4 | n |  | TRUE
10 | bus_LV_5717-7_1_5_node_104 | 0.4 | n |  | TRUE
11 | bus_LV_5717-7_1_5_node_136 | 0.4 | n |  | TRUE
12 | bus_LV_5717-7_1_5_node_106 | 0.4 | n |  | TRUE
13 | bus_LV_5717-7_1_5_node_135 | 0.4 | n |  | TRUE
14 | bus_LV_5717-7_1_5_node_105 | 0.4 | n |  | TRUE
15 | bus_LV_5717-7_1_5_node_160 | 0.4 | n |  | TRUE
16 | bus_LV_5717-7_1_5_node_107 | 0.4 | n |  | TRUE
17 | bus_LV_5717-7_1_5_node_158 | 0.4 | n |  | TRUE
18 | bus_LV_5717-7_1_5_node_108 | 0.4 | n |  | TRUE
19 | bus_LV_5717-7_1_5_node_159 | 0.4 | n |  | TRUE
20 | bus_LV_5717-7_1_5_node_109 | 0.4 | n |  | TRUE
21 | bus_LV_5717-7_1_5_node_139 | 0.4 | n |  | TRUE
22 | bus_LV_5717-7_1_5_node_151 | 0.4 | n |  | TRUE
23 | bus_LV_5717-7_1_5_node_140 | 0.4 | n |  | TRUE
24 | bus_LV_5717-7_1_5_node_100 | 0.4 | n |  | TRUE
25 | bus_LV_5717-7_1_5_node_97 | 0.4 | n |  | TRUE
26 | bus_LV_5717-7_1_5_node_98 | 0.4 | n |  | TRUE
27 | bus_LV_5717-7_1_5_node_130 | 0.4 | n |  | TRUE
28 | bus_LV_5717-7_1_5_node_129 | 0.4 | n |  | TRUE
29 | bus_LV_5717-7_1_5_node_101 | 0.4 | n |  | TRUE
30 | bus_LV_5717-7_1_5_node_110 | 0.4 | n |  | TRUE
31 | bus_LV_5717-7_1_5_node_111 | 0.4 | n |  | TRUE
32 | bus_LV_5717-7_1_5_node_137 | 0.4 | n |  | TRUE
33 | bus_LV_5717-7_1_5_node_138 | 0.4 | n |  | TRUE
34 | bus_LV_5717-7_1_5_node_211 | 0.4 | n |  | TRUE
35 | bus_LV_5717-7_1_5_node_142 | 0.4 | n |  | TRUE
36 | bus_LV_5717-7_1_5_node_134 | 0.4 | n |  | TRUE
37 | bus_LV_5717-7_1_5_node_163 | 0.4 | n |  | TRUE
38 | bus_LV_5717-7_1_5_node_161 | 0.4 | n |  | TRUE
39 | bus_LV_5717-7_1_5_node_157 | 0.4 | n |  | TRUE
40 | bus_LV_5717-7_1_5_node_155 | 0.4 | n |  | TRUE
41 | bus_LV_5717-7_1_5_node_141 | 0.4 | n |  | TRUE
42 | bus_LV_5717-7_1_5_node_112 | 0.4 | n |  | TRUE
43 | bus_LV_5717-7_1_5_node_113 | 0.4 | n |  | TRUE
44 | bus_LV_5717-7_1_5_node_114 | 0.4 | n |  | TRUE
45 | bus_LV_5717-7_1_5_node_115 | 0.4 | n |  | TRUE
46 | bus_LV_5717-7_1_5_node_116 | 0.4 | n |  | TRUE
47 | bus_LV_5717-7_1_5_node_117 | 0.4 | n |  | TRUE
48 | bus_LV_5717-7_1_5_node_122 | 0.4 | n |  | TRUE
49 | bus_LV_5717-7_1_5_node_120 | 0.4 | n |  | TRUE
50 | bus_LV_5717-7_1_5_node_118 | 0.4 | n |  | TRUE
51 | bus_LV_5717-7_1_5_node_119 | 0.4 | n |  | TRUE
52 | bus_LV_5717-7_1_5_node_121 | 0.4 | n |  | TRUE
53 | bus_LV_5717-7_1_5_node_123 | 0.4 | n |  | TRUE
54 | bus_LV_5717-7_1_5_node_124 | 0.4 | n |  | TRUE
55 | bus_LV_5717-7_1_5_node_125 | 0.4 | n |  | TRUE
56 | bus_LV_5717-7_1_5_node_127 | 0.4 | n |  | TRUE
57 | bus_LV_5717-7_1_5_node_150 | 0.4 | n |  | TRUE
58 | bus_LV_5717-7_1_5_node_149 | 0.4 | n |  | TRUE
59 | bus_LV_5717-7_1_5_node_195 | 0.4 | n |  | TRUE
60 | bus_LV_5717-7_1_5_node_147 | 0.4 | n |  | TRUE
61 | bus_LV_5717-7_1_5_node_131 | 0.4 | n |  | TRUE
62 | bus_LV_5717-7_1_5_node_132 | 0.4 | n |  | TRUE
63 | bus_LV_5717-7_1_5_node_133 | 0.4 | n |  | TRUE
64 | bus_LV_5717-7_1_5_node_212 | 0.4 | n |  | TRUE
65 | bus_LV_5717-7_1_5_node_143 | 0.4 | n |  | TRUE
66 | bus_LV_5717-7_1_5_node_145 | 0.4 | n |  | TRUE
67 | bus_LV_5717-7_1_5_node_146 | 0.4 | n |  | TRUE
68 | bus_LV_5717-7_1_5_node_148 | 0.4 | n |  | TRUE
69 | bus_LV_5717-7_1_5_node_181 | 0.4 | n |  | TRUE
70 | bus_LV_5717-7_1_5_node_186 | 0.4 | n |  | TRUE
71 | bus_LV_5717-7_1_5_node_183 | 0.4 | n |  | TRUE
72 | bus_LV_5717-7_1_5_node_193 | 0.4 | n |  | TRUE
73 | bus_LV_5717-7_1_5_node_219 | 0.4 | n |  | TRUE
74 | bus_LV_5717-7_1_5_node_220 | 0.4 | n |  | TRUE
75 | bus_LV_5717-7_1_5_node_153 | 0.4 | n |  | TRUE
76 | bus_LV_5717-7_1_5_node_152 | 0.4 | n |  | TRUE
77 | bus_LV_5717-7_1_5_node_154 | 0.4 | n |  | TRUE
78 | bus_LV_5717-7_1_5_node_156 | 0.4 | n |  | TRUE
79 | bus_LV_5717-7_1_5_node_170 | 0.4 | n |  | TRUE
80 | bus_LV_5717-7_1_5_node_162 | 0.4 | n |  | TRUE
81 | bus_LV_5717-7_1_5_node_164 | 0.4 | n |  | TRUE
82 | bus_LV_5717-7_1_5_node_165 | 0.4 | n |  | TRUE
83 | bus_LV_5717-7_1_5_node_166 | 0.4 | n |  | TRUE
84 | bus_LV_5717-7_1_5_node_176 | 0.4 | n |  | TRUE
85 | bus_LV_5717-7_1_5_node_171 | 0.4 | n |  | TRUE
86 | bus_LV_5717-7_1_5_node_167 | 0.4 | n |  | TRUE
87 | bus_LV_5717-7_1_5_node_168 | 0.4 | n |  | TRUE
88 | bus_LV_5717-7_1_5_node_169 | 0.4 | n |  | TRUE
89 | bus_LV_5717-7_1_5_node_178 | 0.4 | n |  | TRUE
90 | bus_LV_5717-7_1_5_node_174 | 0.4 | n |  | TRUE
91 | bus_LV_5717-7_1_5_node_172 | 0.4 | n |  | TRUE
92 | bus_LV_5717-7_1_5_node_173 | 0.4 | n |  | TRUE
93 | bus_LV_5717-7_1_5_node_175 | 0.4 | n |  | TRUE
94 | bus_LV_5717-7_1_5_node_177 | 0.4 | n |  | TRUE
95 | bus_LV_5717-7_1_5_node_179 | 0.4 | n |  | TRUE
96 | bus_LV_5717-7_1_5_node_210 | 0.4 | n |  | TRUE
97 | bus_LV_5717-7_1_5_node_180 | 0.4 | n |  | TRUE
98 | bus_LV_5717-7_1_5_node_199 | 0.4 | n |  | TRUE
99 | bus_LV_5717-7_1_5_node_182 | 0.4 | n |  | TRUE
100 | bus_LV_5717-7_1_5_node_184 | 0.4 | n |  | TRUE
101 | bus_LV_5717-7_1_5_node_185 | 0.4 | n |  | TRUE
102 | bus_LV_5717-7_1_5_node_187 | 0.4 | n |  | TRUE
103 | bus_LV_5717-7_1_5_node_188 | 0.4 | n |  | TRUE
104 | bus_LV_5717-7_1_5_node_189 | 0.4 | n |  | TRUE
105 | bus_LV_5717-7_1_5_node_207 | 0.4 | n |  | TRUE
106 | bus_LV_5717-7_1_5_node_200 | 0.4 | n |  | TRUE
107 | bus_LV_5717-7_1_5_node_208 | 0.4 | n |  | TRUE
108 | bus_LV_5717-7_1_5_node_191 | 0.4 | n |  | TRUE
109 | bus_LV_5717-7_1_5_node_192 | 0.4 | n |  | TRUE
110 | bus_LV_5717-7_1_5_node_194 | 0.4 | n |  | TRUE
111 | bus_LV_5717-7_1_5_node_196 | 0.4 | n |  | TRUE
112 | bus_LV_5717-7_1_5_node_197 | 0.4 | n |  | TRUE
113 | bus_LV_5717-7_1_5_node_198 | 0.4 | n |  | TRUE
114 | bus_LV_5717-7_1_5_node_205 | 0.4 | n |  | TRUE
115 | bus_LV_5717-7_1_5_node_206 | 0.4 | n |  | TRUE
116 | bus_LV_5717-7_1_5_node_201 | 0.4 | n |  | TRUE
117 | bus_LV_5717-7_1_5_node_202 | 0.4 | n |  | TRUE
118 | bus_LV_5717-7_1_5_node_203 | 0.4 | n |  | TRUE
119 | bus_LV_5717-7_1_5_node_204 | 0.4 | n |  | TRUE
120 | bus_LV_5717-7_1_5_node_209 | 0.4 | n |  | TRUE
121 | bus_MV_453_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5717-7_1_5_load_102 | 1 | 0.002581 | 0.00064685 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5717-7_1_5_load_103 | 2 | 0.00051256 | 0.00012846 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5717-7_1_5_load_99 | 3 | 0.0015317 | 0.00038388 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5717-7_1_5_load_95 | 4 | 0.0027252 | 0.00068299 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5717-7_1_5_load_96 | 5 | 0.0022571 | 0.00056567 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5717-7_1_5_load_80 | 6 | 0.0026195 | 0.00065651 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5717-7_1_5_load_128 | 7 | 0.0033246 | 0.00083322 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5717-7_1_5_load_144 | 9 | 0.001945 | 0.00048747 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5717-7_1_5_load_136 | 11 | 0.0013109 | 0.00032855 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5717-7_1_5_load_135 | 13 | 0.00090949 | 0.00022794 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5717-7_1_5_load_158 | 17 | 0.0040731 | 0.0010208 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5717-7_1_5_load_159 | 19 | 0.00058441 | 0.00014647 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5717-7_1_5_load_139 | 21 | 0.0035162 | 0.00088124 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5717-7_1_5_load_140 | 23 | 0.0022315 | 0.00055928 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5717-7_1_5_load_100 | 24 | 0.0024801 | 0.00062158 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5717-7_1_5_load_97 | 25 | 0.0014417 | 0.00036133 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5717-7_1_5_load_98 | 26 | 0.001047 | 0.00026241 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5717-7_1_5_load_130 | 27 | 0.0023072 | 0.00057824 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5717-7_1_5_load_129 | 28 | 0.0017654 | 0.00044245 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5717-7_1_5_load_101 | 29 | 0.0027445 | 0.00068783 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5717-7_1_5_load_110 | 30 | 0.0041697 | 0.001045 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5717-7_1_5_load_111 | 31 | 0.0041162 | 0.0010316 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5717-7_1_5_load_211 | 34 | 0.0022673 | 0.00056825 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5717-7_1_5_load_142 | 35 | 0.0010237 | 0.00025657 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5717-7_1_5_load_134 | 36 | 0.00090054 | 0.0002257 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5717-7_1_5_load_163 | 37 | 0.0040139 | 0.001006 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5717-7_1_5_load_161 | 38 | 0.0017814 | 0.00044647 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5717-7_1_5_load_155 | 40 | 0.0025244 | 0.00063266 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5717-7_1_5_load_141 | 41 | 0.0016583 | 0.00041562 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5717-7_1_5_load_112 | 42 | 0.0060673 | 0.0015206 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5717-7_1_5_load_113 | 43 | 0.0023294 | 0.00058381 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5717-7_1_5_load_114 | 44 | 0.0038774 | 0.00097178 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5717-7_1_5_load_115 | 45 | 0.0041504 | 0.0010402 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5717-7_1_5_load_116 | 46 | 0.003313 | 0.00083032 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5717-7_1_5_load_117 | 47 | 0.0053157 | 0.0013322 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5717-7_1_5_load_122 | 48 | 0.0024726 | 0.00061969 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5717-7_1_5_load_120 | 49 | 0.0022134 | 0.00055474 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5717-7_1_5_load_118 | 50 | 0.0048615 | 0.0012184 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5717-7_1_5_load_119 | 51 | 0.0022754 | 0.00057026 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5717-7_1_5_load_121 | 52 | 0.0027207 | 0.00068188 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5717-7_1_5_load_123 | 53 | 0.0045932 | 0.0011512 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5717-7_1_5_load_124 | 54 | 0.0026835 | 0.00067255 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5717-7_1_5_load_125 | 55 | 0.0039176 | 0.00098184 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5717-7_1_5_load_150 | 57 | 0.0040109 | 0.0010052 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5717-7_1_5_load_149 | 58 | 0.0027079 | 0.00067868 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5717-7_1_5_load_195 | 59 | 0.0039094 | 0.00097978 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5717-7_1_5_load_147 | 60 | 0.002902 | 0.00072731 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5717-7_1_5_load_131 | 61 | 0.0070227 | 0.0017601 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5717-7_1_5_load_132 | 62 | 0.0026219 | 0.00065712 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5717-7_1_5_load_133 | 63 | 0.00083385 | 0.00020898 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5717-7_1_5_load_212 | 64 | 0.0049391 | 0.0012379 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5717-7_1_5_load_143 | 65 | 0.0013257 | 0.00033224 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5717-7_1_5_load_145 | 66 | 0.0024937 | 0.00062499 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5717-7_1_5_load_146 | 67 | 0.0024682 | 0.00061858 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5717-7_1_5_load_148 | 68 | 0.0036198 | 0.0009072 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5717-7_1_5_load_186 | 70 | 0.00248 | 0.00062155 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5717-7_1_5_load_183 | 71 | 0.0026776 | 0.00067108 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5717-7_1_5_load_193 | 72 | 0.002605 | 0.00065287 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5717-7_1_5_load_219 | 73 | 0.00089539 | 0.00022441 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5717-7_1_5_load_220 | 74 | 0.004725 | 0.0011842 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5717-7_1_5_load_153 | 75 | 0.0012922 | 0.00032384 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5717-7_1_5_load_152 | 76 | 0.0010751 | 0.00026945 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5717-7_1_5_load_154 | 77 | 0.0018171 | 0.0004554 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5717-7_1_5_load_156 | 78 | 0.0025354 | 0.00063544 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5717-7_1_5_load_170 | 79 | 0.0036459 | 0.00091375 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5717-7_1_5_load_164 | 81 | 0.0008006 | 0.00020065 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5717-7_1_5_load_165 | 82 | 0.0035786 | 0.00089688 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5717-7_1_5_load_171 | 85 | 0.0028308 | 0.00070946 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5717-7_1_5_load_167 | 86 | 0.0036811 | 0.00092258 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5717-7_1_5_load_168 | 87 | 0.0048259 | 0.0012095 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5717-7_1_5_load_169 | 88 | 0.024958 | 0.0062552 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5717-7_1_5_load_178 | 89 | 0.0075156 | 0.0018836 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5717-7_1_5_load_172 | 91 | 0.0027768 | 0.00069594 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5717-7_1_5_load_173 | 92 | 0.0028415 | 0.00071215 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5717-7_1_5_load_175 | 93 | 0.0030906 | 0.00077457 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5717-7_1_5_load_177 | 94 | 0.0016934 | 0.00042441 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5717-7_1_5_load_179 | 95 | 0.003734 | 0.00093582 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5717-7_1_5_load_210 | 96 | 0.0027699 | 0.0006942 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5717-7_1_5_load_180 | 97 | 0.0041753 | 0.0010464 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5717-7_1_5_load_199 | 98 | 0.0031852 | 0.00079828 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5717-7_1_5_load_182 | 99 | 0.0033458 | 0.00083854 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5717-7_1_5_load_184 | 100 | 0.0023612 | 0.00059176 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5717-7_1_5_load_187 | 102 | 0.0037561 | 0.00094136 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5717-7_1_5_load_188 | 103 | 0.0027811 | 0.00069702 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5717-7_1_5_load_189 | 104 | 0.0030516 | 0.00076479 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5717-7_1_5_load_207 | 105 | 0.0022753 | 0.00057023 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5717-7_1_5_load_200 | 106 | 0.0024641 | 0.00061755 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5717-7_1_5_load_208 | 107 | 0.0023314 | 0.0005843 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5717-7_1_5_load_191 | 108 | 0.0027663 | 0.00069329 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5717-7_1_5_load_192 | 109 | 0.0032406 | 0.00081218 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5717-7_1_5_load_194 | 110 | 0.0027559 | 0.00069069 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5717-7_1_5_load_196 | 111 | 0.0033533 | 0.00084041 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5717-7_1_5_load_197 | 112 | 0.0031047 | 0.00077812 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5717-7_1_5_load_198 | 113 | 0.0030533 | 0.00076523 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5717-7_1_5_load_205 | 114 | 0.0024842 | 0.00062259 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5717-7_1_5_load_206 | 115 | 0.0031296 | 0.00078435 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5717-7_1_5_load_201 | 116 | 0.0030928 | 0.00077512 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5717-7_1_5_load_202 | 117 | 0.0024814 | 0.00062189 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5717-7_1_5_load_203 | 118 | 0.0030211 | 0.00075716 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5717-7_1_5_load_204 | 119 | 0.0023347 | 0.00058513 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5717-7_1_5_load_209 | 120 | 0.0021992 | 0.00055118 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 88 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5717-7_1_5_line_0 |  | 0 | 1 | 0.044919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5717-7_1_5_line_1 |  | 0 | 2 | 0.028722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_5717-7_1_5_line_2 |  | 0 | 3 | 0.024079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_5717-7_1_5_line_3 |  | 2 | 9 | 0.046981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_5717-7_1_5_line_4 |  | 3 | 24 | 0.012376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_5717-7_1_5_line_5 |  | 4 | 5 | 0.035011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5717-7_1_5_line_6 |  | 5 | 25 | 0.008127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5717-7_1_5_line_7 |  | 6 | 7 | 0.045313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5717-7_1_5_line_8 |  | 7 | 8 | 0.011342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5717-7_1_5_line_9 |  | 8 | 56 | 0.009214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5717-7_1_5_line_10 |  | 8 | 55 | 0.017931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5717-7_1_5_line_11 |  | 9 | 18 | 0.068785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5717-7_1_5_line_12 |  | 10 | 11 | 0.013971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5717-7_1_5_line_13 |  | 10 | 12 | 0.011141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5717-7_1_5_line_14 |  | 10 | 13 | 0.038325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5717-7_1_5_line_15 |  | 12 | 18 | 0.03176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5717-7_1_5_line_16 |  | 12 | 19 | 0.011382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_5717-7_1_5_line_17 |  | 13 | 36 | 0.047785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5717-7_1_5_line_18 |  | 14 | 15 | 0.059924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5717-7_1_5_line_19 |  | 14 | 16 | 0.016362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5717-7_1_5_line_20 |  | 14 | 17 | 0.021105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5717-7_1_5_line_21 |  | 15 | 37 | 0.017625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5717-7_1_5_line_22 |  | 15 | 38 | 0.01157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_5717-7_1_5_line_23 |  | 16 | 20 | 0.010379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5717-7_1_5_line_24 |  | 16 | 21 | 0.022699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5717-7_1_5_line_25 |  | 17 | 19 | 0.0035487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_5717-7_1_5_line_26 |  | 18 | 22 | 0.004915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5717-7_1_5_line_27 |  | 20 | 23 | 0.015786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5717-7_1_5_line_28 |  | 22 | 39 | 0.01436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5717-7_1_5_line_29 |  | 22 | 40 | 0.022952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5717-7_1_5_line_30 |  | 23 | 41 | 0.062139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5717-7_1_5_line_31 |  | 24 | 29 | 0.019214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5717-7_1_5_line_32 |  | 25 | 26 | 0.0014859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5717-7_1_5_line_33 |  | 26 | 27 | 0.013654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5717-7_1_5_line_34 |  | 27 | 28 | 0.010522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5717-7_1_5_line_35 |  | 28 | 61 | 0.032224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5717-7_1_5_line_36 |  | 29 | 30 | 0.01741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_5717-7_1_5_line_37 |  | 30 | 31 | 0.013377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5717-7_1_5_line_38 |  | 31 | 42 | 0.021373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_5717-7_1_5_line_39 |  | 32 | 33 | 0.032787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5717-7_1_5_line_40 |  | 32 | 34 | 0.022054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5717-7_1_5_line_41 |  | 33 | 35 | 0.005851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5717-7_1_5_line_42 |  | 34 | 64 | 0.018717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5717-7_1_5_line_43 |  | 35 | 65 | 0.020431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5717-7_1_5_line_44 |  | 35 | 41 | 0.035655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5717-7_1_5_line_45 |  | 36 | 63 | 0.022923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5717-7_1_5_line_46 |  | 37 | 79 | 0.026356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5717-7_1_5_line_47 |  | 38 | 80 | 0.040869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_5717-7_1_5_line_48 |  | 39 | 73 | 0.01307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5717-7_1_5_line_49 |  | 39 | 74 | 0.039705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5717-7_1_5_line_50 |  | 40 | 75 | 0.016794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5717-7_1_5_line_51 |  | 42 | 43 | 0.0048659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_5717-7_1_5_line_52 |  | 43 | 44 | 0.0024384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_5717-7_1_5_line_53 |  | 44 | 45 | 0.025552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_5717-7_1_5_line_54 |  | 45 | 46 | 0.0050177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5717-7_1_5_line_55 |  | 46 | 47 | 0.021816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_5717-7_1_5_line_56 |  | 47 | 48 | 0.0015317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_5717-7_1_5_line_57 |  | 48 | 49 | 0.018067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_5717-7_1_5_line_58 |  | 49 | 50 | 0.0025248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_5717-7_1_5_line_59 |  | 50 | 51 | 0.0030699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_5717-7_1_5_line_60 |  | 51 | 52 | 0.027246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_5717-7_1_5_line_61 |  | 52 | 53 | 0.014937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_5717-7_1_5_line_62 |  | 53 | 54 | 0.0046378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_5717-7_1_5_line_63 |  | 54 | 55 | 0.035202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_5717-7_1_5_line_64 |  | 56 | 57 | 0.040733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5717-7_1_5_line_65 |  | 56 | 58 | 0.010484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_5717-7_1_5_line_66 |  | 57 | 59 | 0.011562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5717-7_1_5_line_67 |  | 58 | 60 | 0.017726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_5717-7_1_5_line_68 |  | 59 | 72 | 0.0045559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5717-7_1_5_line_69 |  | 60 | 66 | 0.011298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5717-7_1_5_line_70 |  | 61 | 62 | 0.072451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5717-7_1_5_line_71 |  | 62 | 63 | 0.0059785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5717-7_1_5_line_72 |  | 66 | 67 | 0.026269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5717-7_1_5_line_73 |  | 67 | 68 | 0.010496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5717-7_1_5_line_74 |  | 68 | 69 | 0.004983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5717-7_1_5_line_75 |  | 69 | 70 | 0.020746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5717-7_1_5_line_76 |  | 69 | 71 | 0.02698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5717-7_1_5_line_77 |  | 70 | 98 | 0.0090783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5717-7_1_5_line_78 |  | 71 | 99 | 0.028177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5717-7_1_5_line_79 |  | 72 | 108 | 0.036347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5717-7_1_5_line_80 |  | 75 | 76 | 0.017201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5717-7_1_5_line_81 |  | 76 | 77 | 0.012687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5717-7_1_5_line_82 |  | 77 | 78 | 0.0076466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5717-7_1_5_line_83 |  | 79 | 85 | 0.012016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5717-7_1_5_line_84 |  | 80 | 81 | 0.020469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_5717-7_1_5_line_85 |  | 80 | 82 | 0.040371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5717-7_1_5_line_86 |  | 81 | 83 | 0.014385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_5717-7_1_5_line_87 |  | 82 | 84 | 0.0047862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5717-7_1_5_line_88 |  | 83 | 86 | 0.020326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5717-7_1_5_line_89 |  | 83 | 87 | 0.020895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5717-7_1_5_line_90 |  | 83 | 88 | 0.040845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_5717-7_1_5_line_91 |  | 84 | 89 | 0.033369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5717-7_1_5_line_92 |  | 84 | 90 | 0.015289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5717-7_1_5_line_93 |  | 89 | 96 | 0.042816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5717-7_1_5_line_94 |  | 90 | 94 | 0.026318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5717-7_1_5_line_95 |  | 90 | 91 | 0.036071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5717-7_1_5_line_96 |  | 91 | 92 | 0.019051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5717-7_1_5_line_97 |  | 92 | 93 | 0.0066804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5717-7_1_5_line_98 |  | 94 | 95 | 0.048035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5717-7_1_5_line_99 |  | 95 | 97 | 0.033632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5717-7_1_5_line_100 |  | 98 | 106 | 0.034086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5717-7_1_5_line_101 |  | 99 | 100 | 0.010895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5717-7_1_5_line_102 |  | 100 | 101 | 0.0042567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5717-7_1_5_line_103 |  | 101 | 102 | 0.039812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5717-7_1_5_line_104 |  | 101 | 103 | 0.03184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5717-7_1_5_line_105 |  | 102 | 104 | 0.0052745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5717-7_1_5_line_106 |  | 103 | 105 | 0.035164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5717-7_1_5_line_107 |  | 105 | 107 | 0.01487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5717-7_1_5_line_108 |  | 106 | 116 | 0.002268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5717-7_1_5_line_109 |  | 107 | 120 | 0.026761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5717-7_1_5_line_110 |  | 108 | 109 | 0.01384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5717-7_1_5_line_111 |  | 109 | 110 | 0.015938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5717-7_1_5_line_112 |  | 110 | 111 | 0.018635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5717-7_1_5_line_113 |  | 110 | 112 | 0.077016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5717-7_1_5_line_114 |  | 111 | 113 | 0.01152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5717-7_1_5_line_115 |  | 113 | 114 | 0.029087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5717-7_1_5_line_116 |  | 114 | 115 | 0.012543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5717-7_1_5_line_117 |  | 115 | 119 | 0.030764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5717-7_1_5_line_118 |  | 116 | 117 | 0.029484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5717-7_1_5_line_119 |  | 117 | 118 | 0.0058546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5717-7_1_5_trafo_169 | 0.63 MVA 20/0.4 kV | 121 | 88 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2504735.1007 | 1131716.7079 | 2504728.3255 | 1131699.7823 | 2504721.5317 | 1131684.1133 | 2504717.4936 | 1131675.3935
1 | 2504735.1007 | 1131716.7079 | 2504745.1624 | 1131743.61
2 | 2504735.1007 | 1131716.7079 | 2504712.6946 | 1131725.5262
3 | 2504745.1624 | 1131743.61 | 2504748.457 | 1131752.4189 | 2504757.6526 | 1131777.7782 | 2504760.9581 | 1131787.8507
4 | 2504712.6946 | 1131725.5262 | 2504701.1785 | 1131730.0586
5 | 2504698.7517 | 1131612.57 | 2504707.3174 | 1131628.7262 | 2504715.297 | 1131643.4243
6 | 2504718.7762 | 1131650.7634 | 2504716.4319 | 1131645.5148 | 2504715.297 | 1131643.4243
7 | 2504441.4062 | 1131792.1806 | 2504453.8124 | 1131812.8239 | 2504464.747 | 1131831.02
8 | 2504470.5894 | 1131840.7421 | 2504464.747 | 1131831.02
9 | 2504470.5894 | 1131840.7421 | 2504474.22 | 1131849.212
10 | 2504470.5894 | 1131840.7421 | 2504486.3833 | 1131832.2532
11 | 2504780.5628 | 1131853.7741 | 2504773.3016 | 1131827.9952 | 2504765.2498 | 1131800.9279 | 2504760.9581 | 1131787.8507
12 | 2504799.1929 | 1131882.0975 | 2504806.1819 | 1131880.3862 | 2504812.656 | 1131878.2606
13 | 2504788.3343 | 1131884.5592 | 2504793.3652 | 1131883.2123 | 2504799.1929 | 1131882.0975
14 | 2504799.1929 | 1131882.0975 | 2504793.7831 | 1131862.8489 | 2504789.5729 | 1131845.0079
15 | 2504780.5628 | 1131853.7741 | 2504784.8234 | 1131869.4943 | 2504788.3343 | 1131884.5592
16 | 2504788.3343 | 1131884.5592 | 2504783.7821 | 1131886.4655 | 2504784.8786 | 1131892.8182
17 | 2504776.5146 | 1131799.0485 | 2504782.1991 | 1131818.3823 | 2504788.3853 | 1131839.9756 | 2504789.5729 | 1131845.0079
18 | 2504738.3971 | 1131934.2108 | 2504749.3568 | 1131925.9661 | 2504759.0164 | 1131921.2219 | 2504770.0124 | 1131918.2021 | 2504793.9982 | 1131915.0217
19 | 2504793.9982 | 1131915.0217 | 2504799.4469 | 1131914.2909 | 2504800.2247 | 1131919.1705 | 2504806.1139 | 1131918.5328
20 | 2504793.9982 | 1131915.0217 | 2504788.0126 | 1131907.6005 | 2504785.9945 | 1131899.2828 | 2504785.4822 | 1131896.3152
21 | 2504738.3971 | 1131934.2108 | 2504747.7397 | 1131949.1555
22 | 2504738.3971 | 1131934.2108 | 2504729.1511 | 1131941.1656
23 | 2504806.1139 | 1131918.5328 | 2504807.3931 | 1131928.83
24 | 2504806.1139 | 1131918.5328 | 2504812.3131 | 1131918.5128 | 2504828.7665 | 1131919.7464
25 | 2504785.4822 | 1131896.3152 | 2504784.8786 | 1131892.8182
26 | 2504780.5628 | 1131853.7741 | 2504776.1299 | 1131855.9231
27 | 2504807.3931 | 1131928.83 | 2504809.4921 | 1131944.4755
28 | 2504772.0465 | 1131842.157 | 2504776.1299 | 1131855.9231
29 | 2504776.1299 | 1131855.9231 | 2504756.1588 | 1131867.2336
30 | 2504809.4921 | 1131944.4755 | 2504809.6362 | 1131945.5492 | 2504812.6905 | 1131977.0758 | 2504814.6267 | 1131998.7474 | 2504815.0046 | 1132006.3621
31 | 2504683.2997 | 1131737.0951 | 2504701.1785 | 1131730.0586
32 | 2504719.3821 | 1131652.1201 | 2504718.7762 | 1131650.7634
33 | 2504719.3821 | 1131652.1201 | 2504721.9249 | 1131657.8133 | 2504725.0183 | 1131664.5564
34 | 2504729.4058 | 1131674.1203 | 2504725.0183 | 1131664.5564
35 | 2504729.4058 | 1131674.1203 | 2504730.9939 | 1131677.5822 | 2504738.9919 | 1131696.8344 | 2504741.9685 | 1131703.7922
36 | 2504683.2997 | 1131737.0951 | 2504667.0992 | 1131743.471
37 | 2504654.6517 | 1131748.37 | 2504667.0992 | 1131743.471
38 | 2504634.7638 | 1131756.1972 | 2504654.6517 | 1131748.37
39 | 2504803.5984 | 1132015.8206 | 2504809.5179 | 1132015.1602 | 2504810.9034 | 1132041.9547
40 | 2504803.5984 | 1132015.8206 | 2504792.8536 | 1132017.669 | 2504782.165 | 1132020.847
41 | 2504810.9034 | 1132041.9547 | 2504816.772 | 1132041.9733
42 | 2504764.2239 | 1132026.1815 | 2504782.165 | 1132020.847
43 | 2504816.772 | 1132041.9733 | 2504816.856 | 1132055.1022 | 2504816.932 | 1132062.4039
44 | 2504816.772 | 1132041.9733 | 2504815.0046 | 1132006.3621
45 | 2504769.2441 | 1131777.3115 | 2504775.7046 | 1131796.2935 | 2504776.5146 | 1131799.0485
46 | 2504747.7397 | 1131949.1555 | 2504761.7109 | 1131971.5042
47 | 2504696.7587 | 1131966.0653 | 2504701.393 | 1131962.0452 | 2504729.1511 | 1131941.1656
48 | 2504772.0465 | 1131842.157 | 2504760.6026 | 1131848.5303
49 | 2504772.0465 | 1131842.157 | 2504764.4932 | 1131816.9052 | 2504752.7891 | 1131823.3827
50 | 2504741.5457 | 1131875.5095 | 2504756.1588 | 1131867.2336
51 | 2504634.7638 | 1131756.1972 | 2504630.2359 | 1131757.9792
52 | 2504627.9669 | 1131758.8722 | 2504630.2359 | 1131757.9792
53 | 2504627.9669 | 1131758.8722 | 2504610.0195 | 1131765.9357 | 2504604.4551 | 1131768.8133
54 | 2504604.4551 | 1131768.8133 | 2504599.9981 | 1131771.1181
55 | 2504580.6198 | 1131781.1393 | 2504599.9981 | 1131771.1181
56 | 2504580.6198 | 1131781.1393 | 2504579.2592 | 1131781.8429
57 | 2504563.2109 | 1131790.142 | 2504579.2592 | 1131781.8429
58 | 2504563.2109 | 1131790.142 | 2504560.9682 | 1131791.3018
59 | 2504560.9682 | 1131791.3018 | 2504558.2413 | 1131792.7119
60 | 2504558.2413 | 1131792.7119 | 2504555.5073 | 1131794.1258 | 2504534.4118 | 1131805.9186
61 | 2504521.374 | 1131813.2069 | 2504534.4118 | 1131805.9186
62 | 2504521.374 | 1131813.2069 | 2504517.3258 | 1131815.47
63 | 2504486.3833 | 1131832.2532 | 2504510.2532 | 1131819.4237 | 2504517.3258 | 1131815.47
64 | 2504474.22 | 1131849.212 | 2504439.43 | 1131870.3984
65 | 2504474.22 | 1131849.212 | 2504479.7881 | 1131858.0948
66 | 2504439.43 | 1131870.3984 | 2504429.5548 | 1131876.4122
67 | 2504489.2028 | 1131873.1142 | 2504479.7881 | 1131858.0948
68 | 2504429.5548 | 1131876.4122 | 2504425.8976 | 1131878.6394 | 2504425.6294 | 1131878.5835
69 | 2504489.2028 | 1131873.1142 | 2504495.2034 | 1131882.6869
70 | 2504741.9685 | 1131703.7922 | 2504745.4454 | 1131711.9195 | 2504754.7329 | 1131737.244 | 2504767.3128 | 1131771.6536
71 | 2504769.2441 | 1131777.3115 | 2504767.3942 | 1131771.8764 | 2504767.3128 | 1131771.6536
72 | 2504508.6439 | 1131905.2453 | 2504503.7065 | 1131896.2519 | 2504495.2034 | 1131882.6869
73 | 2504508.6439 | 1131905.2453 | 2504513.6951 | 1131914.4461
74 | 2504516.0932 | 1131918.8141 | 2504513.6951 | 1131914.4461
75 | 2504516.0932 | 1131918.8141 | 2504498.6124 | 1131929.987
76 | 2504516.0932 | 1131918.8141 | 2504530.4706 | 1131941.6437
77 | 2504498.6124 | 1131929.987 | 2504490.963 | 1131934.8761
78 | 2504544.5077 | 1131966.0405 | 2504539.0818 | 1131955.3172 | 2504530.4706 | 1131941.6437
79 | 2504390.0482 | 1131871.1597 | 2504425.6294 | 1131878.5835
80 | 2504741.5457 | 1131875.5095 | 2504740.6892 | 1131875.9946 | 2504726.6574 | 1131884.1249
81 | 2504715.5834 | 1131890.263 | 2504716.604 | 1131889.95 | 2504726.6574 | 1131884.1249
82 | 2504708.273 | 1131892.5053 | 2504715.5834 | 1131890.263
83 | 2504768.0807 | 1131981.6935 | 2504761.7109 | 1131971.5042
84 | 2504696.7587 | 1131966.0653 | 2504683.8081 | 1131950.2142
85 | 2504696.7587 | 1131966.0653 | 2504666.2528 | 1131992.5073
86 | 2504674.707 | 1131939.0749 | 2504683.8081 | 1131950.2142
87 | 2504662.6868 | 1131995.6993 | 2504664.972 | 1131993.6174 | 2504666.2528 | 1131992.5073
88 | 2504674.707 | 1131939.0749 | 2504676.1444 | 1131937.9292 | 2504690.6025 | 1131926.4072
89 | 2504674.707 | 1131939.0749 | 2504673.2702 | 1131940.2649 | 2504658.5973 | 1131952.3826
90 | 2504648.8459 | 1131907.4085 | 2504674.707 | 1131939.0749
91 | 2504662.6868 | 1131995.6993 | 2504681.5425 | 1132023.2305
92 | 2504662.6868 | 1131995.6993 | 2504651.383 | 1132006.0286
93 | 2504710.7549 | 1132041.8127 | 2504707.4946 | 1132032.3807 | 2504700.9501 | 1132035.397 | 2504693.6424 | 1132036.4241 | 2504688.2913 | 1132033.0843 | 2504681.5425 | 1132023.2305
94 | 2504651.383 | 1132006.0286 | 2504631.9511 | 1132023.7778
95 | 2504651.383 | 1132006.0286 | 2504629.0862 | 1131977.6747 | 2504629.0862 | 1131977.6747
96 | 2504629.0862 | 1131977.6747 | 2504614.4544 | 1131989.8745
97 | 2504609.3235 | 1131994.1526 | 2504614.4544 | 1131989.8745
98 | 2504631.9511 | 1132023.7778 | 2504608.316 | 1132045.3664 | 2504596.2266 | 1132055.8843
99 | 2504596.2266 | 1132055.8843 | 2504578.7574 | 1132071.0827 | 2504570.5537 | 1132077.599
100 | 2504462.2425 | 1131953.2327 | 2504490.963 | 1131934.8761
101 | 2504544.5077 | 1131966.0405 | 2504549.4267 | 1131975.762
102 | 2504551.3486 | 1131979.5602 | 2504549.4267 | 1131975.762
103 | 2504551.3486 | 1131979.5602 | 2504552.8124 | 1131987.3863 | 2504551.7826 | 1131999.6879 | 2504547.2807 | 1132018.6668
104 | 2504551.3486 | 1131979.5602 | 2504524.4991 | 1131996.6739
105 | 2504547.2807 | 1132018.6668 | 2504546.0633 | 1132023.7989
106 | 2504524.4991 | 1131996.6739 | 2504494.8464 | 1132015.5744
107 | 2504494.8464 | 1132015.5744 | 2504482.3066 | 1132023.5671
108 | 2504462.2425 | 1131953.2327 | 2504460.3315 | 1131954.4541
109 | 2504459.7403 | 1132037.9507 | 2504482.3066 | 1132023.5671
110 | 2504390.0482 | 1131871.1597 | 2504387.9118 | 1131870.714 | 2504382.8505 | 1131869.6491 | 2504377.5148 | 1131870.712 | 2504376.5987 | 1131871.2146
111 | 2504376.5987 | 1131871.2146 | 2504368.0398 | 1131875.9098 | 2504362.7296 | 1131879.0625 | 2504362.7296 | 1131879.0625
112 | 2504362.7296 | 1131879.0625 | 2504367.5734 | 1131897.0568
113 | 2504362.7296 | 1131879.0625 | 2504286.7172 | 1131866.6681
114 | 2504367.5734 | 1131897.0568 | 2504370.5677 | 1131908.1803
115 | 2504374.9626 | 1131936.8897 | 2504372.0423 | 1131913.6583 | 2504370.5677 | 1131908.1803
116 | 2504374.9626 | 1131936.8897 | 2504376.527 | 1131949.3349
117 | 2504382.9692 | 1131979.3504 | 2504377.9116 | 1131960.3494 | 2504376.527 | 1131949.3349
118 | 2504435.4888 | 1131970.3323 | 2504460.3315 | 1131954.4541
119 | 2504435.4888 | 1131970.3323 | 2504430.5556 | 1131973.4853

## bus_geodata
| x | y | coords
0 | 2504735.1007 | 1131716.7079
1 | 2504717.4936 | 1131675.3935
2 | 2504745.1624 | 1131743.61
3 | 2504712.6946 | 1131725.5262
4 | 2504698.7517 | 1131612.57
5 | 2504715.297 | 1131643.4243
6 | 2504441.4062 | 1131792.1806
7 | 2504464.747 | 1131831.02
8 | 2504470.5894 | 1131840.7421
9 | 2504760.9581 | 1131787.8507
10 | 2504799.1929 | 1131882.0975
11 | 2504812.656 | 1131878.2606
12 | 2504788.3343 | 1131884.5592
13 | 2504789.5729 | 1131845.0079
14 | 2504793.9982 | 1131915.0217
15 | 2504738.3971 | 1131934.2108
16 | 2504806.1139 | 1131918.5328
17 | 2504785.4822 | 1131896.3152
18 | 2504780.5628 | 1131853.7741
19 | 2504784.8786 | 1131892.8182
20 | 2504807.3931 | 1131928.83
21 | 2504828.7665 | 1131919.7464
22 | 2504776.1299 | 1131855.9231
23 | 2504809.4921 | 1131944.4755
24 | 2504701.1785 | 1131730.0586
25 | 2504718.7762 | 1131650.7634
26 | 2504719.3821 | 1131652.1201
27 | 2504725.0183 | 1131664.5564
28 | 2504729.4058 | 1131674.1203
29 | 2504683.2997 | 1131737.0951
30 | 2504667.0992 | 1131743.471
31 | 2504654.6517 | 1131748.37
32 | 2504803.5984 | 1132015.8206
33 | 2504810.9034 | 1132041.9547
34 | 2504782.165 | 1132020.847
35 | 2504816.772 | 1132041.9733
36 | 2504776.5146 | 1131799.0485
37 | 2504747.7397 | 1131949.1555
38 | 2504729.1511 | 1131941.1656
39 | 2504772.0465 | 1131842.157
40 | 2504756.1588 | 1131867.2336
41 | 2504815.0046 | 1132006.3621
42 | 2504634.7638 | 1131756.1972
43 | 2504630.2359 | 1131757.9792
44 | 2504627.9669 | 1131758.8722
45 | 2504604.4551 | 1131768.8133
46 | 2504599.9981 | 1131771.1181
47 | 2504580.6198 | 1131781.1393
48 | 2504579.2592 | 1131781.8429
49 | 2504563.2109 | 1131790.142
50 | 2504560.9682 | 1131791.3018
51 | 2504558.2413 | 1131792.7119
52 | 2504534.4118 | 1131805.9186
53 | 2504521.374 | 1131813.2069
54 | 2504517.3258 | 1131815.47
55 | 2504486.3833 | 1131832.2532
56 | 2504474.22 | 1131849.212
57 | 2504439.43 | 1131870.3984
58 | 2504479.788 | 1131858.0948
59 | 2504429.5548 | 1131876.4122
60 | 2504489.2028 | 1131873.1142
61 | 2504741.9685 | 1131703.7922
62 | 2504767.3128 | 1131771.6536
63 | 2504769.2441 | 1131777.3115
64 | 2504764.2239 | 1132026.1815
65 | 2504816.932 | 1132062.4039
66 | 2504495.2034 | 1131882.6869
67 | 2504508.6439 | 1131905.2453
68 | 2504513.6951 | 1131914.4461
69 | 2504516.0932 | 1131918.8141
70 | 2504498.6124 | 1131929.987
71 | 2504530.4706 | 1131941.6437
72 | 2504425.6294 | 1131878.5835
73 | 2504760.6026 | 1131848.5303
74 | 2504752.7891 | 1131823.3827
75 | 2504741.5457 | 1131875.5095
76 | 2504726.6574 | 1131884.1249
77 | 2504715.5834 | 1131890.263
78 | 2504708.273 | 1131892.5053
79 | 2504761.7109 | 1131971.5042
80 | 2504696.7587 | 1131966.0653
81 | 2504683.8081 | 1131950.2142
82 | 2504666.2528 | 1131992.5073
83 | 2504674.707 | 1131939.0749
84 | 2504662.6868 | 1131995.6993
85 | 2504768.0807 | 1131981.6935
86 | 2504690.6025 | 1131926.4072
87 | 2504658.5973 | 1131952.3826
88 | 2504648.8459 | 1131907.4085
89 | 2504681.5425 | 1132023.2305
90 | 2504651.383 | 1132006.0286
91 | 2504629.0862 | 1131977.6747
92 | 2504614.4544 | 1131989.8745
93 | 2504609.3235 | 1131994.1526
94 | 2504631.9511 | 1132023.7778
95 | 2504596.2266 | 1132055.8843
96 | 2504710.7549 | 1132041.8127
97 | 2504570.5537 | 1132077.599
98 | 2504490.963 | 1131934.8761
99 | 2504544.5077 | 1131966.0405
100 | 2504549.4267 | 1131975.762
101 | 2504551.3486 | 1131979.5602
102 | 2504547.2807 | 1132018.6668
103 | 2504524.4991 | 1131996.6739
104 | 2504546.0633 | 1132023.7989
105 | 2504494.8464 | 1132015.5744
106 | 2504462.2425 | 1131953.2327
107 | 2504482.3066 | 1132023.5671
108 | 2504390.0482 | 1131871.1597
109 | 2504376.5987 | 1131871.2146
110 | 2504362.7296 | 1131879.0625
111 | 2504367.5734 | 1131897.0568
112 | 2504286.7172 | 1131866.6681
113 | 2504370.5677 | 1131908.1803
114 | 2504374.9626 | 1131936.8897
115 | 2504376.527 | 1131949.3349
116 | 2504460.3315 | 1131954.4541
117 | 2504435.4888 | 1131970.3323
118 | 2504430.5556 | 1131973.4853
119 | 2504382.9692 | 1131979.3504
120 | 2504459.7403 | 1132037.9507
121 | 2504674.707 | 1131939.0749

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1