## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5717-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5717-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5717-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5717-8_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5717-8_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5717-8_0_4_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_5717-8_0_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_5717-8_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_5717-8_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5717-8_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5717-8_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5717-8_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5717-8_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_5717-8_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_5717-8_0_4_node_93 | 0.4 | n |  | TRUE
15 | bus_LV_5717-8_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5717-8_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5717-8_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5717-8_0_4_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_5717-8_0_4_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_5717-8_0_4_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_5717-8_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_5717-8_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_5717-8_0_4_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_5717-8_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_5717-8_0_4_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_5717-8_0_4_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_5717-8_0_4_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_5717-8_0_4_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_5717-8_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5717-8_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5717-8_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5717-8_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_5717-8_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_5717-8_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_5717-8_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5717-8_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5717-8_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_5717-8_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_5717-8_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_5717-8_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_5717-8_0_4_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_5717-8_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_5717-8_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_5717-8_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_5717-8_0_4_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_5717-8_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_5717-8_0_4_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_5717-8_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_5717-8_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_5717-8_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_5717-8_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_5717-8_0_4_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_5717-8_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_5717-8_0_4_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_5717-8_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_5717-8_0_4_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_5717-8_0_4_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_5717-8_0_4_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_5717-8_0_4_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_5717-8_0_4_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_5717-8_0_4_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_5717-8_0_4_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_5717-8_0_4_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_5717-8_0_4_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_5717-8_0_4_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_5717-8_0_4_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_5717-8_0_4_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_5717-8_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_5717-8_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_5717-8_0_4_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_5717-8_0_4_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_5717-8_0_4_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_5717-8_0_4_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_5717-8_0_4_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_5717-8_0_4_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_5717-8_0_4_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_5717-8_0_4_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_5717-8_0_4_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_5717-8_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_5717-8_0_4_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_5717-8_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_5717-8_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_5717-8_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_5717-8_0_4_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_5717-8_0_4_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_5717-8_0_4_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_5717-8_0_4_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_5717-8_0_4_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_5717-8_0_4_node_92 | 0.4 | n |  | TRUE
90 | bus_MV_453_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5717-8_0_4_load_0 | 0 | 0.026204 | 0.0065673 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5717-8_0_4_load_1 | 1 | 0.017156 | 0.0042996 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5717-8_0_4_load_5 | 4 | 0.016785 | 0.0042067 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5717-8_0_4_load_17 | 7 | 0.013397 | 0.0033577 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5717-8_0_4_load_6 | 9 | 0.013971 | 0.0035015 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5717-8_0_4_load_13 | 12 | 0.028759 | 0.0072077 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5717-8_0_4_load_14 | 13 | 0.0032409 | 0.00081224 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5717-8_0_4_load_93 | 14 | 0.017317 | 0.00434 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5717-8_0_4_load_40 | 18 | 0.0081078 | 0.002032 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5717-8_0_4_load_45 | 19 | 0.012692 | 0.0031809 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5717-8_0_4_load_43 | 20 | 0.0057861 | 0.0014501 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5717-8_0_4_load_26 | 23 | 0.032107 | 0.0080467 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5717-8_0_4_load_28 | 24 | 0.0038184 | 0.00095697 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5717-8_0_4_load_41 | 25 | 0.019819 | 0.0049672 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5717-8_0_4_load_38 | 28 | 0.014385 | 0.0036051 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5717-8_0_4_load_24 | 29 | 0.005367 | 0.0013451 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5717-8_0_4_load_29 | 30 | 0.01108 | 0.0027769 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5717-8_0_4_load_18 | 31 | 0.0023919 | 0.00059946 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5717-8_0_4_load_21 | 34 | 0.0082364 | 0.0020642 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5717-8_0_4_load_22 | 35 | 0.0042782 | 0.0010722 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5717-8_0_4_load_23 | 36 | 0.0011093 | 0.00027803 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5717-8_0_4_load_36 | 37 | 0.011681 | 0.0029276 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5717-8_0_4_load_30 | 38 | 0.0062142 | 0.0015574 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5717-8_0_4_load_46 | 40 | 0.0059737 | 0.0014971 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5717-8_0_4_load_34 | 42 | 0.011636 | 0.0029162 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5717-8_0_4_load_35 | 43 | 0.012684 | 0.0031789 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5717-8_0_4_load_54 | 45 | 0.035323 | 0.0088528 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5717-8_0_4_load_47 | 46 | 0.011105 | 0.0027832 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5717-8_0_4_load_55 | 47 | 0.0013833 | 0.00034669 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5717-8_0_4_load_44 | 48 | 0.016371 | 0.0041028 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5717-8_0_4_load_48 | 50 | 0.044244 | 0.011089 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5717-8_0_4_load_61 | 52 | 0.006629 | 0.0016614 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5717-8_0_4_load_57 | 55 | 0.0062947 | 0.0015776 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5717-8_0_4_load_65 | 57 | 0.0013619 | 0.00034133 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5717-8_0_4_load_64 | 58 | 0.00070169 | 0.00017586 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5717-8_0_4_load_72 | 59 | 0.0033855 | 0.00084848 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5717-8_0_4_load_66 | 63 | 0.00037591 | 9.4212e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5717-8_0_4_load_70 | 64 | 0.0038371 | 0.00096167 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5717-8_0_4_load_67 | 65 | 0.0034124 | 0.00085522 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5717-8_0_4_load_73 | 67 | 0.0038308 | 0.00096009 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5717-8_0_4_load_62 | 68 | 0.0087356 | 0.0021894 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5717-8_0_4_load_69 | 69 | 0.00422 | 0.0010576 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5717-8_0_4_load_71 | 70 | 0.0026846 | 0.00067281 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5717-8_0_4_load_80 | 74 | 0.0035859 | 0.00089872 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5717-8_0_4_load_77 | 75 | 0.0033632 | 0.00084289 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5717-8_0_4_load_87 | 76 | 0.0038976 | 0.00097683 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5717-8_0_4_load_86 | 77 | 0.0019449 | 0.00048745 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5717-8_0_4_load_84 | 78 | 0.0017729 | 0.00044433 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5717-8_0_4_load_78 | 79 | 0.0041558 | 0.0010416 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5717-8_0_4_load_79 | 81 | 0.001558 | 0.00039046 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5717-8_0_4_load_82 | 83 | 0.0016121 | 0.00040404 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5717-8_0_4_load_83 | 84 | 0.001906 | 0.0004777 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5717-8_0_4_load_85 | 85 | 0.0013895 | 0.00034825 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5717-8_0_4_load_89 | 86 | 0.0013795 | 0.00034573 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5717-8_0_4_load_90 | 87 | 0.00046617 | 0.00011683 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5717-8_0_4_load_91 | 88 | 0.00044047 | 0.00011039 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5717-8_0_4_load_92 | 89 | 0.0020109 | 0.00050397 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5717-8_0_4_line_0 |  | 0 | 1 | 0.0084276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5717-8_0_4_line_1 |  | 0 | 2 | 0.0099899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5717-8_0_4_line_2 |  | 1 | 3 | 0.038088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5717-8_0_4_line_3 |  | 2 | 4 | 0.030789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5717-8_0_4_line_4 |  | 3 | 5 | 0.034657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5717-8_0_4_line_5 |  | 4 | 6 | 0.017536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5717-8_0_4_line_6 |  | 5 | 7 | 0.02839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5717-8_0_4_line_7 |  | 6 | 8 | 0.020229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5717-8_0_4_line_8 |  | 8 | 14 | 0.007609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5717-8_0_4_line_9 |  | 8 | 10 | 0.05167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5717-8_0_4_line_10 |  | 9 | 10 | 0.012995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5717-8_0_4_line_11 |  | 9 | 11 | 0.012698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5717-8_0_4_line_12 |  | 11 | 12 | 0.038152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5717-8_0_4_line_13 |  | 11 | 13 | 0.04322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5717-8_0_4_line_14 |  | 13 | 24 | 0.0045519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5717-8_0_4_line_15 |  | 15 | 16 | 0.033599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5717-8_0_4_line_16 |  | 15 | 17 | 0.032685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5717-8_0_4_line_17 |  | 15 | 18 | 0.010308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5717-8_0_4_line_18 |  | 16 | 19 | 0.034989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5717-8_0_4_line_19 |  | 16 | 20 | 0.013235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5717-8_0_4_line_20 |  | 17 | 21 | 0.030286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5717-8_0_4_line_21 |  | 17 | 22 | 0.042205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5717-8_0_4_line_22 |  | 17 | 23 | 0.020769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5717-8_0_4_line_23 |  | 18 | 25 | 0.0025183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5717-8_0_4_line_24 |  | 19 | 26 | 0.019456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5717-8_0_4_line_25 |  | 20 | 27 | 0.026838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5717-8_0_4_line_26 |  | 21 | 28 | 0.02612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5717-8_0_4_line_27 |  | 22 | 29 | 0.0042092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5717-8_0_4_line_28 |  | 24 | 30 | 0.013123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5717-8_0_4_line_29 |  | 26 | 40 | 0.012611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5717-8_0_4_line_30 |  | 26 | 39 | 0.004461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5717-8_0_4_line_31 |  | 27 | 48 | 0.027488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5717-8_0_4_line_32 |  | 28 | 37 | 0.038674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5717-8_0_4_line_33 |  | 29 | 34 | 0.012199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5717-8_0_4_line_34 |  | 30 | 38 | 0.033145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5717-8_0_4_line_35 |  | 31 | 32 | 0.010562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5717-8_0_4_line_36 |  | 31 | 33 | 0.011681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5717-8_0_4_line_37 |  | 32 | 34 | 0.011117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5717-8_0_4_line_38 |  | 32 | 35 | 0.0076399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5717-8_0_4_line_39 |  | 33 | 36 | 0.0049765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5717-8_0_4_line_40 |  | 37 | 42 | 0.017115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5717-8_0_4_line_41 |  | 38 | 39 | 0.018248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5717-8_0_4_line_42 |  | 40 | 41 | 0.040415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5717-8_0_4_line_43 |  | 41 | 49 | 0.024671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5717-8_0_4_line_44 |  | 42 | 43 | 0.012491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5717-8_0_4_line_45 |  | 44 | 45 | 0.025644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5717-8_0_4_line_46 |  | 44 | 46 | 0.013119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5717-8_0_4_line_47 |  | 45 | 47 | 0.045667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5717-8_0_4_line_48 |  | 46 | 48 | 0.027657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5717-8_0_4_line_49 |  | 47 | 60 | 0.014391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5717-8_0_4_line_50 |  | 49 | 51 | 0.054156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5717-8_0_4_line_51 |  | 49 | 50 | 0.039812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5717-8_0_4_line_52 |  | 51 | 52 | 0.02512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5717-8_0_4_line_53 |  | 53 | 54 | 0.04137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5717-8_0_4_line_54 |  | 53 | 55 | 0.023769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5717-8_0_4_line_55 |  | 54 | 59 | 0.042267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5717-8_0_4_line_56 |  | 54 | 56 | 0.051937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5717-8_0_4_line_57 |  | 55 | 60 | 0.032021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5717-8_0_4_line_58 |  | 56 | 57 | 0.021546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5717-8_0_4_line_59 |  | 56 | 58 | 0.024992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5717-8_0_4_line_60 |  | 58 | 66 | 0.021887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5717-8_0_4_line_61 |  | 59 | 67 | 0.040307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5717-8_0_4_line_62 |  | 60 | 61 | 0.044988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5717-8_0_4_line_63 |  | 61 | 62 | 0.003862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5717-8_0_4_line_64 |  | 61 | 63 | 0.01726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5717-8_0_4_line_65 |  | 62 | 64 | 0.029088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5717-8_0_4_line_66 |  | 63 | 65 | 0.0068285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5717-8_0_4_line_67 |  | 64 | 69 | 0.023728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5717-8_0_4_line_68 |  | 66 | 68 | 0.055416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5717-8_0_4_line_69 |  | 67 | 71 | 0.032797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5717-8_0_4_line_70 |  | 69 | 70 | 0.00047528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5717-8_0_4_line_71 |  | 71 | 72 | 0.007882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5717-8_0_4_line_72 |  | 71 | 73 | 0.047225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5717-8_0_4_line_73 |  | 72 | 74 | 0.041066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5717-8_0_4_line_74 |  | 72 | 75 | 0.037853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5717-8_0_4_line_75 |  | 73 | 76 | 0.0813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5717-8_0_4_line_76 |  | 73 | 77 | 0.03838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5717-8_0_4_line_77 |  | 74 | 78 | 0.0054307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5717-8_0_4_line_78 |  | 75 | 79 | 0.0026578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5717-8_0_4_line_79 |  | 76 | 80 | 0.006981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5717-8_0_4_line_80 |  | 78 | 85 | 0.011061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5717-8_0_4_line_81 |  | 79 | 81 | 0.020084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5717-8_0_4_line_82 |  | 80 | 86 | 0.010161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5717-8_0_4_line_83 |  | 81 | 82 | 0.038774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5717-8_0_4_line_84 |  | 82 | 83 | 0.025329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5717-8_0_4_line_85 |  | 82 | 84 | 0.01034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5717-8_0_4_line_86 |  | 86 | 87 | 0.010649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5717-8_0_4_line_87 |  | 87 | 88 | 0.0088371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5717-8_0_4_line_88 |  | 88 | 89 | 0.010592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5717-8_0_4_trafo_42 | 0.63 MVA 20/0.4 kV | 90 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2504176.7082 | 1131919.4316 | 2504184.6653 | 1131916.6552
1 | 2504167.2759 | 1131922.7227 | 2504176.7082 | 1131919.4316
2 | 2504218.5293 | 1131899.4949 | 2504194.3502 | 1131913.276 | 2504184.6653 | 1131916.6552
3 | 2504167.2759 | 1131922.7227 | 2504156.2087 | 1131926.5786 | 2504151.1875 | 1131915.4404 | 2504144.5939 | 1131917.3038
4 | 2504208.1618 | 1131866.4282 | 2504209.5976 | 1131870.519 | 2504218.5293 | 1131899.4949
5 | 2504127.719 | 1131922.0727 | 2504144.5939 | 1131917.3038
6 | 2504208.1618 | 1131866.4282 | 2504201.1617 | 1131868.8852 | 2504181.323 | 1131875.6821
7 | 2504108.199 | 1131927.5862 | 2504127.719 | 1131922.0727
8 | 2504108.199 | 1131927.5862 | 2504105.6973 | 1131920.3993
9 | 2504086.44 | 1131957.4502 | 2504084.9467 | 1131949.747 | 2504080.8015 | 1131946.7222 | 2504083.3095 | 1131942.6798 | 2504082.2551 | 1131936.9153 | 2504083.4421 | 1131935.0397 | 2504108.199 | 1131927.5862
10 | 2504086.44 | 1131957.4502 | 2504093.0595 | 1131958.1899 | 2504098.7012 | 1131961.0711
11 | 2504109.1808 | 1131968.0287 | 2504105.3893 | 1131964.4868 | 2504098.7012 | 1131961.0711
12 | 2504109.1808 | 1131968.0287 | 2504115.3504 | 1131969.0535 | 2504127.5463 | 1131970.3161 | 2504132.6496 | 1131978.8736 | 2504141.9036 | 1131975.7803
13 | 2504109.1808 | 1131968.0287 | 2504111.0183 | 1131972.6801 | 2504115.1237 | 1131984.3442 | 2504114.8194 | 1131987.4843 | 2504113.194 | 1131991.3347 | 2504107.8515 | 1131994.377 | 2504099.0826 | 1131998.9191 | 2504096.8559 | 1132000.0452
14 | 2504092.7939 | 1132002.0995 | 2504096.8559 | 1132000.0452
15 | 2504024.0137 | 1131970.0725 | 2504031.3261 | 1131968.3774 | 2504035.9353 | 1131966.6809 | 2504037.6495 | 1131971.3231 | 2504043.5965 | 1131986.4267
16 | 2504024.0137 | 1131970.0725 | 2504031.3261 | 1131968.3774 | 2504035.9353 | 1131966.6809 | 2504032.9406 | 1131958.5235 | 2504029.3461 | 1131947.5184
17 | 2504024.0137 | 1131970.0725 | 2504013.9723 | 1131972.4005
18 | 2504043.5965 | 1131986.4267 | 2504049.4838 | 1132004.0772 | 2504054.294 | 1132019.7373
19 | 2504043.5965 | 1131986.4267 | 2504039.6637 | 1131986.5893 | 2504030.6643 | 1131988.9297
20 | 2504000.0934 | 1131955.5552 | 2504024.4148 | 1131948.3306 | 2504029.3461 | 1131947.5184
21 | 2504029.3461 | 1131947.5184 | 2504023.4126 | 1131928.4233 | 2504019.7702 | 1131915.3732 | 2504018.1331 | 1131906.8718
22 | 2504029.3461 | 1131947.5184 | 2504038.1075 | 1131946.3784 | 2504049.6344 | 1131943.2884
23 | 2504013.9723 | 1131972.4005 | 2504011.5191 | 1131972.9692
24 | 2504060.1704 | 1132038.2838 | 2504056.7611 | 1132027.776 | 2504055.7538 | 1132024.49 | 2504054.294 | 1132019.7373
25 | 2504004.6906 | 1131995.6844 | 2504030.6643 | 1131988.9297
26 | 2504000.0934 | 1131955.5552 | 2503991.7758 | 1131956.5103 | 2503986.6264 | 1131939.5259
27 | 2504018.1331 | 1131906.8718 | 2504017.3391 | 1131902.7382
28 | 2504092.7939 | 1132002.0995 | 2504081.0832 | 1132008.0218 | 2504081.0832 | 1132008.0218
29 | 2504060.1704 | 1132038.2838 | 2504048.0921 | 1132041.9092
30 | 2504060.1704 | 1132038.2838 | 2504061.3785 | 1132042.5784
31 | 2504004.6906 | 1131995.6844 | 2503989.4239 | 1131998.4178 | 2503977.8307 | 1132001.4337
32 | 2503962.4825 | 1131925.8103 | 2503980.9573 | 1131920.8272 | 2503986.6264 | 1131939.5259
33 | 2504014.9801 | 1131890.7694 | 2504015.7484 | 1131894.4577 | 2504017.3391 | 1131902.7382
34 | 2504081.0832 | 1132008.0218 | 2504086.3671 | 1132022.6023 | 2504085.0624 | 1132032.5736 | 2504078.3413 | 1132036.0798
35 | 2504012.7132 | 1131879.886 | 2504019.36 | 1131877.9791 | 2504022.7752 | 1131876.7
36 | 2504033.7146 | 1131872.6031 | 2504022.7752 | 1131876.7
37 | 2504012.7132 | 1131879.886 | 2504014.9801 | 1131890.7694
38 | 2504012.7132 | 1131879.886 | 2504010.6838 | 1131872.5205
39 | 2504033.7146 | 1131872.6031 | 2504038.374 | 1131870.8549
40 | 2503945.9583 | 1131930.2673 | 2503962.4825 | 1131925.8103
41 | 2504061.3785 | 1132042.5784 | 2504071.719 | 1132039.5344 | 2504078.3413 | 1132036.0798
42 | 2504009.2136 | 1132052.9363 | 2504034.7469 | 1132045.9149 | 2504048.0921 | 1132041.9092
43 | 2504009.2136 | 1132052.9363 | 2503993.2855 | 1132056.6809 | 2503985.1905 | 1132058.5552
44 | 2503945.9583 | 1131930.2673 | 2503933.8983 | 1131933.5201
45 | 2503938.4415 | 1132011.9595 | 2503922.3085 | 1132016.8637 | 2503913.9036 | 1132019.4112
46 | 2503938.4415 | 1132011.9595 | 2503944.9485 | 1132009.9881 | 2503951.0645 | 1132008.397
47 | 2503913.9036 | 1132019.4112 | 2503904.2668 | 1132022.3321 | 2503895.7596 | 1132024.9136 | 2503871.4687 | 1132016.6287 | 2503870.4618 | 1132016.8973
48 | 2503977.8307 | 1132001.4337 | 2503951.0645 | 1132008.397
49 | 2503856.8991 | 1132021.5304 | 2503861.6299 | 1132019.2536 | 2503870.4618 | 1132016.8973
50 | 2503931.8281 | 1132068.655 | 2503985.1905 | 1132058.5552
51 | 2503985.1905 | 1132058.5552 | 2503984.1098 | 1132053.5583 | 2503949.9597 | 1132059.7089
52 | 2503931.8281 | 1132068.655 | 2503937.1323 | 1132093.2087
53 | 2503838.5501 | 1132090.3204 | 2503845.0406 | 1132087.8043 | 2503849.4407 | 1132086.0443 | 2503857.5494 | 1132083.5914 | 2503873.5299 | 1132079.7567 | 2503872.2246 | 1132075.1747
54 | 2503872.2246 | 1132075.1747 | 2503865.6953 | 1132052.3199
55 | 2503838.5501 | 1132090.3204 | 2503809.5163 | 1132103.8135 | 2503800.1629 | 1132108.0093
56 | 2503838.5501 | 1132090.3204 | 2503845.0406 | 1132087.8043 | 2503849.4407 | 1132086.0443 | 2503851.6303 | 1132092.48 | 2503864.146 | 1132123.4885
57 | 2503856.8991 | 1132021.5304 | 2503865.6953 | 1132052.3199
58 | 2503864.146 | 1132123.4885 | 2503870.8507 | 1132121.3693 | 2503884.9451 | 1132117.9011
59 | 2503864.146 | 1132123.4885 | 2503873.5026 | 1132146.6629
60 | 2503881.6965 | 1132166.9578 | 2503873.5026 | 1132146.6629
61 | 2503800.1629 | 1132108.0093 | 2503784.2295 | 1132115.1569 | 2503763.3877 | 1132124.509
62 | 2503818.2474 | 1132037.5227 | 2503820.2678 | 1132032.8654 | 2503824.2293 | 1132030.1562 | 2503854.7053 | 1132019.6642 | 2503856.8991 | 1132021.5304
63 | 2503818.2474 | 1132037.5227 | 2503818.9164 | 1132041.3255
64 | 2503818.2474 | 1132037.5227 | 2503807.5551 | 1132032.023 | 2503802.3654 | 1132032.7186
65 | 2503818.9164 | 1132041.3255 | 2503789.8378 | 1132040.5915
66 | 2503795.5975 | 1132033.6257 | 2503802.3654 | 1132032.7186
67 | 2503767.0338 | 1132045.2683 | 2503779.7784 | 1132040.3376 | 2503789.8378 | 1132040.5915
68 | 2503881.6965 | 1132166.9578 | 2503911.8464 | 1132151.5016 | 2503904.2466 | 1132131.3521
69 | 2503733.4652 | 1132137.9358 | 2503763.3877 | 1132124.509
70 | 2503767.0338 | 1132045.2683 | 2503766.5906 | 1132045.4398
71 | 2503733.4652 | 1132137.9358 | 2503731.9609 | 1132135.3583 | 2503728.6228 | 1132131.7649
72 | 2503690.2151 | 1132157.1821 | 2503711.6613 | 1132147.4562 | 2503733.4652 | 1132137.9358
73 | 2503728.6228 | 1132131.7649 | 2503725.2784 | 1132135.0091 | 2503708.0057 | 1132142.3002 | 2503700.9945 | 1132144.5134 | 2503696.7468 | 1132135.1235
74 | 2503728.6228 | 1132131.7649 | 2503720.1376 | 1132122.6835 | 2503714.4376 | 1132110.0667 | 2503710.5741 | 1132099.1509
75 | 2503690.2151 | 1132157.1821 | 2503692.9597 | 1132163.1642 | 2503719.9203 | 1132212.3197 | 2503722.3125 | 1132218.8967 | 2503722.4922 | 1132224.3638 | 2503720.2973 | 1132230.1468
76 | 2503690.2151 | 1132157.1821 | 2503683.965 | 1132159.7945 | 2503654.6626 | 1132171.6386
77 | 2503696.7468 | 1132135.1235 | 2503694.5085 | 1132130.1755
78 | 2503710.5741 | 1132099.1509 | 2503709.6873 | 1132096.6454
79 | 2503716.315 | 1132235.8805 | 2503720.2973 | 1132230.1468
80 | 2503689.9496 | 1132120.0977 | 2503694.5085 | 1132130.1755
81 | 2503709.6873 | 1132096.6454 | 2503709.6873 | 1132096.6454 | 2503691.2488 | 1132104.607
82 | 2503716.315 | 1132235.8805 | 2503710.3381 | 1132237.2656 | 2503706.5958 | 1132238.7492
83 | 2503655.6513 | 1132119.9776 | 2503691.2488 | 1132104.607
84 | 2503655.6513 | 1132119.9776 | 2503632.3962 | 1132130.0158
85 | 2503651.396 | 1132110.5509 | 2503655.6513 | 1132119.9776
86 | 2503706.5958 | 1132238.7492 | 2503696.6959 | 1132242.674
87 | 2503688.4809 | 1132245.9309 | 2503696.6959 | 1132242.674
88 | 2503678.6343 | 1132249.8345 | 2503688.4809 | 1132245.9309

## bus_geodata
| x | y | coords
0 | 2504176.7082 | 1131919.4316
1 | 2504184.6653 | 1131916.6552
2 | 2504167.2759 | 1131922.7227
3 | 2504218.5293 | 1131899.4949
4 | 2504144.5939 | 1131917.3038
5 | 2504208.1618 | 1131866.4282
6 | 2504127.719 | 1131922.0727
7 | 2504181.323 | 1131875.6821
8 | 2504108.199 | 1131927.5862
9 | 2504098.7012 | 1131961.0711
10 | 2504086.44 | 1131957.4502
11 | 2504109.1808 | 1131968.0287
12 | 2504141.9036 | 1131975.7803
13 | 2504096.8559 | 1132000.0452
14 | 2504105.6973 | 1131920.3993
15 | 2504024.0137 | 1131970.0725
16 | 2504043.5965 | 1131986.4267
17 | 2504029.3461 | 1131947.5184
18 | 2504013.9723 | 1131972.4005
19 | 2504054.294 | 1132019.7373
20 | 2504030.6643 | 1131988.9297
21 | 2504000.0934 | 1131955.5552
22 | 2504018.1331 | 1131906.8718
23 | 2504049.6344 | 1131943.2884
24 | 2504092.7939 | 1132002.0995
25 | 2504011.5191 | 1131972.9692
26 | 2504060.1704 | 1132038.2838
27 | 2504004.6906 | 1131995.6844
28 | 2503986.6264 | 1131939.5259
29 | 2504017.3391 | 1131902.7382
30 | 2504081.0832 | 1132008.0218
31 | 2504022.7752 | 1131876.7
32 | 2504012.7132 | 1131879.886
33 | 2504033.7146 | 1131872.6031
34 | 2504014.9801 | 1131890.7694
35 | 2504010.6838 | 1131872.5205
36 | 2504038.374 | 1131870.8549
37 | 2503962.4825 | 1131925.8103
38 | 2504078.3413 | 1132036.0798
39 | 2504061.3785 | 1132042.5784
40 | 2504048.0921 | 1132041.9092
41 | 2504009.2136 | 1132052.9363
42 | 2503945.9583 | 1131930.2673
43 | 2503933.8983 | 1131933.5201
44 | 2503938.4415 | 1132011.9595
45 | 2503913.9036 | 1132019.4112
46 | 2503951.0645 | 1132008.397
47 | 2503870.4618 | 1132016.8973
48 | 2503977.8307 | 1132001.4337
49 | 2503985.1905 | 1132058.5552
50 | 2503949.9597 | 1132059.7089
51 | 2503931.8281 | 1132068.655
52 | 2503937.1323 | 1132093.2087
53 | 2503872.2246 | 1132075.1747
54 | 2503838.5501 | 1132090.3204
55 | 2503865.6953 | 1132052.3199
56 | 2503864.146 | 1132123.4885
57 | 2503884.9451 | 1132117.9011
58 | 2503873.5026 | 1132146.6629
59 | 2503800.1629 | 1132108.0093
60 | 2503856.8991 | 1132021.5304
61 | 2503818.2474 | 1132037.5227
62 | 2503818.9164 | 1132041.3255
63 | 2503802.3654 | 1132032.7186
64 | 2503789.8378 | 1132040.5915
65 | 2503795.5975 | 1132033.6257
66 | 2503881.6965 | 1132166.9578
67 | 2503763.3877 | 1132124.509
68 | 2503904.2466 | 1132131.3521
69 | 2503767.0338 | 1132045.2683
70 | 2503766.5906 | 1132045.4398
71 | 2503733.4652 | 1132137.9358
72 | 2503728.6228 | 1132131.7649
73 | 2503690.2151 | 1132157.1821
74 | 2503696.7468 | 1132135.1235
75 | 2503710.5741 | 1132099.1509
76 | 2503720.2973 | 1132230.1468
77 | 2503654.6627 | 1132171.6386
78 | 2503694.5085 | 1132130.1755
79 | 2503709.6873 | 1132096.6454
80 | 2503716.315 | 1132235.8805
81 | 2503691.2488 | 1132104.607
82 | 2503655.6513 | 1132119.9776
83 | 2503632.3962 | 1132130.0158
84 | 2503651.396 | 1132110.5509
85 | 2503689.9496 | 1132120.0977
86 | 2503706.5958 | 1132238.7492
87 | 2503696.6959 | 1132242.674
88 | 2503688.4809 | 1132245.9309
89 | 2503678.6343 | 1132249.8345
90 | 2504043.5965 | 1131986.4267

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1