## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5721-12_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5721-12_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5721-12_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5721-12_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5721-12_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5721-12_0_5_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_5721-12_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5721-12_0_5_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_5721-12_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5721-12_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5721-12_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5721-12_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5721-12_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5721-12_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5721-12_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5721-12_0_5_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_5721-12_0_5_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_5721-12_0_5_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_5721-12_0_5_node_120 | 0.4 | n |  | TRUE
19 | bus_LV_5721-12_0_5_node_119 | 0.4 | n |  | TRUE
20 | bus_LV_5721-12_0_5_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_5721-12_0_5_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_5721-12_0_5_node_118 | 0.4 | n |  | TRUE
23 | bus_LV_5721-12_0_5_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_5721-12_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5721-12_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5721-12_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5721-12_0_5_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_5721-12_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5721-12_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5721-12_0_5_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_5721-12_0_5_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_5721-12_0_5_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_5721-12_0_5_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_5721-12_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5721-12_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5721-12_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_5721-12_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5721-12_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_5721-12_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_5721-12_0_5_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_5721-12_0_5_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5721-12_0_5_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_5721-12_0_5_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_5721-12_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_5721-12_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_5721-12_0_5_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_5721-12_0_5_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5721-12_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_5721-12_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5721-12_0_5_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_5721-12_0_5_node_166 | 0.4 | n |  | TRUE
52 | bus_LV_5721-12_0_5_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_5721-12_0_5_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_5721-12_0_5_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_5721-12_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_5721-12_0_5_node_167 | 0.4 | n |  | TRUE
57 | bus_LV_5721-12_0_5_node_91 | 0.4 | n |  | TRUE
58 | bus_LV_5721-12_0_5_node_147 | 0.4 | n |  | TRUE
59 | bus_LV_5721-12_0_5_node_146 | 0.4 | n |  | TRUE
60 | bus_LV_5721-12_0_5_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_5721-12_0_5_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_5721-12_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_5721-12_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_5721-12_0_5_node_89 | 0.4 | n |  | TRUE
65 | bus_LV_5721-12_0_5_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_5721-12_0_5_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_5721-12_0_5_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_5721-12_0_5_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_5721-12_0_5_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_5721-12_0_5_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_5721-12_0_5_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_5721-12_0_5_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_5721-12_0_5_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_5721-12_0_5_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_5721-12_0_5_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_5721-12_0_5_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_5721-12_0_5_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_5721-12_0_5_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_5721-12_0_5_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_5721-12_0_5_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_5721-12_0_5_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_5721-12_0_5_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_5721-12_0_5_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_5721-12_0_5_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_5721-12_0_5_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_5721-12_0_5_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_5721-12_0_5_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_5721-12_0_5_node_98 | 0.4 | n |  | TRUE
89 | bus_LV_5721-12_0_5_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_5721-12_0_5_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_5721-12_0_5_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_5721-12_0_5_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_5721-12_0_5_node_76 | 0.4 | n |  | TRUE
94 | bus_LV_5721-12_0_5_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_5721-12_0_5_node_77 | 0.4 | n |  | TRUE
96 | bus_LV_5721-12_0_5_node_78 | 0.4 | n |  | TRUE
97 | bus_LV_5721-12_0_5_node_80 | 0.4 | n |  | TRUE
98 | bus_LV_5721-12_0_5_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_5721-12_0_5_node_81 | 0.4 | n |  | TRUE
100 | bus_LV_5721-12_0_5_node_116 | 0.4 | n |  | TRUE
101 | bus_LV_5721-12_0_5_node_117 | 0.4 | n |  | TRUE
102 | bus_LV_5721-12_0_5_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_5721-12_0_5_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_5721-12_0_5_node_94 | 0.4 | n |  | TRUE
105 | bus_LV_5721-12_0_5_node_95 | 0.4 | n |  | TRUE
106 | bus_LV_5721-12_0_5_node_96 | 0.4 | n |  | TRUE
107 | bus_LV_5721-12_0_5_node_97 | 0.4 | n |  | TRUE
108 | bus_LV_5721-12_0_5_node_109 | 0.4 | n |  | TRUE
109 | bus_LV_5721-12_0_5_node_107 | 0.4 | n |  | TRUE
110 | bus_LV_5721-12_0_5_node_100 | 0.4 | n |  | TRUE
111 | bus_LV_5721-12_0_5_node_101 | 0.4 | n |  | TRUE
112 | bus_LV_5721-12_0_5_node_102 | 0.4 | n |  | TRUE
113 | bus_LV_5721-12_0_5_node_103 | 0.4 | n |  | TRUE
114 | bus_LV_5721-12_0_5_node_104 | 0.4 | n |  | TRUE
115 | bus_LV_5721-12_0_5_node_123 | 0.4 | n |  | TRUE
116 | bus_LV_5721-12_0_5_node_121 | 0.4 | n |  | TRUE
117 | bus_LV_5721-12_0_5_node_122 | 0.4 | n |  | TRUE
118 | bus_LV_5721-12_0_5_node_124 | 0.4 | n |  | TRUE
119 | bus_LV_5721-12_0_5_node_105 | 0.4 | n |  | TRUE
120 | bus_LV_5721-12_0_5_node_106 | 0.4 | n |  | TRUE
121 | bus_LV_5721-12_0_5_node_108 | 0.4 | n |  | TRUE
122 | bus_LV_5721-12_0_5_node_110 | 0.4 | n |  | TRUE
123 | bus_LV_5721-12_0_5_node_111 | 0.4 | n |  | TRUE
124 | bus_LV_5721-12_0_5_node_112 | 0.4 | n |  | TRUE
125 | bus_LV_5721-12_0_5_node_115 | 0.4 | n |  | TRUE
126 | bus_LV_5721-12_0_5_node_113 | 0.4 | n |  | TRUE
127 | bus_LV_5721-12_0_5_node_150 | 0.4 | n |  | TRUE
128 | bus_LV_5721-12_0_5_node_156 | 0.4 | n |  | TRUE
129 | bus_LV_5721-12_0_5_node_114 | 0.4 | n |  | TRUE
130 | bus_LV_5721-12_0_5_node_151 | 0.4 | n |  | TRUE
131 | bus_LV_5721-12_0_5_node_157 | 0.4 | n |  | TRUE
132 | bus_LV_5721-12_0_5_node_125 | 0.4 | n |  | TRUE
133 | bus_LV_5721-12_0_5_node_126 | 0.4 | n |  | TRUE
134 | bus_LV_5721-12_0_5_node_127 | 0.4 | n |  | TRUE
135 | bus_LV_5721-12_0_5_node_158 | 0.4 | n |  | TRUE
136 | bus_LV_5721-12_0_5_node_159 | 0.4 | n |  | TRUE
137 | bus_LV_5721-12_0_5_node_128 | 0.4 | n |  | TRUE
138 | bus_LV_5721-12_0_5_node_130 | 0.4 | n |  | TRUE
139 | bus_LV_5721-12_0_5_node_160 | 0.4 | n |  | TRUE
140 | bus_LV_5721-12_0_5_node_161 | 0.4 | n |  | TRUE
141 | bus_LV_5721-12_0_5_node_131 | 0.4 | n |  | TRUE
142 | bus_LV_5721-12_0_5_node_132 | 0.4 | n |  | TRUE
143 | bus_LV_5721-12_0_5_node_133 | 0.4 | n |  | TRUE
144 | bus_LV_5721-12_0_5_node_134 | 0.4 | n |  | TRUE
145 | bus_LV_5721-12_0_5_node_135 | 0.4 | n |  | TRUE
146 | bus_LV_5721-12_0_5_node_136 | 0.4 | n |  | TRUE
147 | bus_LV_5721-12_0_5_node_137 | 0.4 | n |  | TRUE
148 | bus_LV_5721-12_0_5_node_138 | 0.4 | n |  | TRUE
149 | bus_LV_5721-12_0_5_node_139 | 0.4 | n |  | TRUE
150 | bus_LV_5721-12_0_5_node_140 | 0.4 | n |  | TRUE
151 | bus_LV_5721-12_0_5_node_141 | 0.4 | n |  | TRUE
152 | bus_LV_5721-12_0_5_node_142 | 0.4 | n |  | TRUE
153 | bus_LV_5721-12_0_5_node_143 | 0.4 | n |  | TRUE
154 | bus_LV_5721-12_0_5_node_144 | 0.4 | n |  | TRUE
155 | bus_LV_5721-12_0_5_node_149 | 0.4 | n |  | TRUE
156 | bus_LV_5721-12_0_5_node_145 | 0.4 | n |  | TRUE
157 | bus_LV_5721-12_0_5_node_165 | 0.4 | n |  | TRUE
158 | bus_LV_5721-12_0_5_node_148 | 0.4 | n |  | TRUE
159 | bus_LV_5721-12_0_5_node_162 | 0.4 | n |  | TRUE
160 | bus_LV_5721-12_0_5_node_163 | 0.4 | n |  | TRUE
161 | bus_LV_5721-12_0_5_node_152 | 0.4 | n |  | TRUE
162 | bus_LV_5721-12_0_5_node_153 | 0.4 | n |  | TRUE
163 | bus_LV_5721-12_0_5_node_154 | 0.4 | n |  | TRUE
164 | bus_LV_5721-12_0_5_node_155 | 0.4 | n |  | TRUE
165 | bus_LV_5721-12_0_5_node_164 | 0.4 | n |  | TRUE
166 | bus_MV_452_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5721-12_0_5_load_0 | 0 | 0.0021796 | 0.00054626 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5721-12_0_5_load_2 | 2 | 0.0020737 | 0.00051972 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5721-12_0_5_load_3 | 3 | 0.0014817 | 0.00037136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5721-12_0_5_load_4 | 4 | 0.0018633 | 0.00046698 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5721-12_0_5_load_14 | 5 | 0.0016808 | 0.00042124 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5721-12_0_5_load_5 | 6 | 0.0022796 | 0.00057132 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5721-12_0_5_load_13 | 7 | 0.0013226 | 0.00033147 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5721-12_0_5_load_6 | 8 | 0.037089 | 0.0092953 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5721-12_0_5_load_10 | 12 | 0.0047017 | 0.0011784 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5721-12_0_5_load_12 | 14 | 0.0046693 | 0.0011702 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5721-12_0_5_load_39 | 15 | 0.0030889 | 0.00077415 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5721-12_0_5_load_36 | 16 | 0.0029513 | 0.00073967 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5721-12_0_5_load_47 | 17 | 0.010548 | 0.0026437 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5721-12_0_5_load_120 | 18 | 0.0017038 | 0.00042702 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5721-12_0_5_load_119 | 19 | 0.0020353 | 0.00051011 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5721-12_0_5_load_41 | 20 | 0.0021414 | 0.00053669 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5721-12_0_5_load_37 | 21 | 0.0024917 | 0.00062448 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5721-12_0_5_load_118 | 22 | 0.0052997 | 0.0013282 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5721-12_0_5_load_42 | 23 | 0.0043385 | 0.0010873 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5721-12_0_5_load_20 | 28 | 0.0023728 | 0.00059468 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5721-12_0_5_load_18 | 29 | 0.0021993 | 0.0005512 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5721-12_0_5_load_84 | 30 | 0.0013072 | 0.0003276 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5721-12_0_5_load_83 | 31 | 0.0028937 | 0.00072522 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5721-12_0_5_load_60 | 32 | 0.0022142 | 0.00055492 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5721-12_0_5_load_59 | 33 | 0.0022198 | 0.00055633 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5721-12_0_5_load_19 | 34 | 0.0022739 | 0.00056988 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5721-12_0_5_load_21 | 35 | 0.0030685 | 0.00076904 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5721-12_0_5_load_22 | 36 | 0.0027853 | 0.00069807 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5721-12_0_5_load_23 | 37 | 0.0029605 | 0.00074198 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5721-12_0_5_load_24 | 38 | 0.0026864 | 0.00067327 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5721-12_0_5_load_25 | 39 | 0.0037143 | 0.0009309 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5721-12_0_5_load_30 | 41 | 0.0025285 | 0.0006337 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5721-12_0_5_load_43 | 43 | 0.001552 | 0.00038897 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5721-12_0_5_load_28 | 44 | 0.0026229 | 0.00065735 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5721-12_0_5_load_26 | 45 | 0.0044257 | 0.0011092 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5721-12_0_5_load_27 | 46 | 0.0055257 | 0.0013849 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5721-12_0_5_load_29 | 48 | 0.0019275 | 0.00048307 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5721-12_0_5_load_35 | 49 | 0.029798 | 0.0074681 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5721-12_0_5_load_31 | 50 | 0.004292 | 0.0010757 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5721-12_0_5_load_166 | 51 | 0.007416 | 0.0018586 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5721-12_0_5_load_34 | 53 | 0.0066841 | 0.0016752 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5721-12_0_5_load_167 | 56 | 0.0035106 | 0.00087983 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5721-12_0_5_load_147 | 58 | 0.0014775 | 0.00037029 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5721-12_0_5_load_146 | 59 | 0.0020096 | 0.00050364 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5721-12_0_5_load_90 | 61 | 0.0024693 | 0.00061887 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5721-12_0_5_load_48 | 62 | 0.0044233 | 0.0011086 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5721-12_0_5_load_49 | 63 | 0.0045392 | 0.0011376 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5721-12_0_5_load_88 | 66 | 0.0031912 | 0.00079978 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5721-12_0_5_load_51 | 67 | 0.0023354 | 0.00058532 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5721-12_0_5_load_54 | 71 | 0.0020733 | 0.00051961 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5721-12_0_5_load_62 | 73 | 0.0030995 | 0.00077681 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5721-12_0_5_load_55 | 74 | 0.0024335 | 0.0006099 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5721-12_0_5_load_56 | 75 | 0.0021587 | 0.00054102 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5721-12_0_5_load_58 | 76 | 0.0025072 | 0.00062835 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5721-12_0_5_load_72 | 78 | 0.0022608 | 0.0005666 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5721-12_0_5_load_63 | 79 | 0.0031989 | 0.00080172 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5721-12_0_5_load_82 | 81 | 0.0025949 | 0.00065035 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5721-12_0_5_load_66 | 83 | 0.0028003 | 0.00070181 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5721-12_0_5_load_68 | 85 | 0.0028507 | 0.00071446 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5721-12_0_5_load_70 | 87 | 0.0028615 | 0.00071716 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5721-12_0_5_load_98 | 88 | 0.0017396 | 0.00043599 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5721-12_0_5_load_73 | 89 | 0.0032549 | 0.00081576 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5721-12_0_5_load_79 | 90 | 0.0028524 | 0.00071489 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5721-12_0_5_load_75 | 91 | 0.0026605 | 0.00066677 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5721-12_0_5_load_69 | 92 | 0.0030158 | 0.00075583 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5721-12_0_5_load_99 | 94 | 0.0021973 | 0.00055069 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5721-12_0_5_load_77 | 95 | 0.0029863 | 0.00074843 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5721-12_0_5_load_78 | 96 | 0.0025445 | 0.00063771 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5721-12_0_5_load_80 | 97 | 0.0026323 | 0.00065972 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5721-12_0_5_load_87 | 98 | 0.0029122 | 0.00072986 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5721-12_0_5_load_81 | 99 | 0.0031184 | 0.00078156 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5721-12_0_5_load_116 | 100 | 0.0012926 | 0.00032396 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5721-12_0_5_load_117 | 101 | 0.0018944 | 0.00047478 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5721-12_0_5_load_92 | 102 | 0.0021667 | 0.00054302 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5721-12_0_5_load_93 | 103 | 0.0027528 | 0.00068992 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5721-12_0_5_load_94 | 104 | 0.0028116 | 0.00070465 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5721-12_0_5_load_96 | 106 | 0.0028221 | 0.00070728 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5721-12_0_5_load_97 | 107 | 0.0038784 | 0.00097202 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5721-12_0_5_load_109 | 108 | 0.0017264 | 0.00043268 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5721-12_0_5_load_101 | 111 | 0.0022964 | 0.00057553 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5721-12_0_5_load_102 | 112 | 0.0021053 | 0.00052763 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5721-12_0_5_load_103 | 113 | 0.0018695 | 0.00046855 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5721-12_0_5_load_104 | 114 | 0.0017159 | 0.00043004 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5721-12_0_5_load_121 | 116 | 0.0057803 | 0.0014487 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5721-12_0_5_load_122 | 117 | 0.0022875 | 0.00057331 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5721-12_0_5_load_124 | 118 | 0.0089839 | 0.0022516 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5721-12_0_5_load_105 | 119 | 0.0011533 | 0.00028905 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5721-12_0_5_load_106 | 120 | 0.0032114 | 0.00080485 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5721-12_0_5_load_115 | 125 | 0.0029938 | 0.00075031 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5721-12_0_5_load_113 | 126 | 0.0025121 | 0.00062958 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5721-12_0_5_load_150 | 127 | 0.0021495 | 0.00053872 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5721-12_0_5_load_156 | 128 | 0.0023611 | 0.00059175 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5721-12_0_5_load_114 | 129 | 0.0025675 | 0.00064347 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5721-12_0_5_load_151 | 130 | 0.0015216 | 0.00038134 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5721-12_0_5_load_157 | 131 | 0.0026918 | 0.00067463 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5721-12_0_5_load_125 | 132 | 0.0020789 | 0.00052103 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5721-12_0_5_load_126 | 133 | 0.0046312 | 0.0011607 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5721-12_0_5_load_127 | 134 | 0.0021895 | 0.00054875 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5721-12_0_5_load_158 | 135 | 0.0018628 | 0.00046687 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5721-12_0_5_load_159 | 136 | 0.0013569 | 0.00034006 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5721-12_0_5_load_128 | 137 | 0.003936 | 0.00098647 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5721-12_0_5_load_130 | 138 | 0.002272 | 0.00056943 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5721-12_0_5_load_160 | 139 | 0.003487 | 0.00087394 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5721-12_0_5_load_161 | 140 | 0.0043268 | 0.0010844 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5721-12_0_5_load_131 | 141 | 0.0033435 | 0.00083796 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5721-12_0_5_load_132 | 142 | 0.0044476 | 0.0011147 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5721-12_0_5_load_134 | 144 | 0.0037114 | 0.00093017 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5721-12_0_5_load_135 | 145 | 0.0017478 | 0.00043803 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5721-12_0_5_load_137 | 147 | 0.0024439 | 0.0006125 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5721-12_0_5_load_138 | 148 | 0.00051757 | 0.00012971 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5721-12_0_5_load_139 | 149 | 0.011769 | 0.0029495 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5721-12_0_5_load_140 | 150 | 0.0016333 | 0.00040935 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5721-12_0_5_load_141 | 151 | 0.001469 | 0.00036816 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5721-12_0_5_load_142 | 152 | 0.0032791 | 0.00082182 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5721-12_0_5_load_149 | 155 | 0.0017686 | 0.00044326 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5721-12_0_5_load_145 | 156 | 0.0027578 | 0.00069117 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_5721-12_0_5_load_165 | 157 | 0.0037658 | 0.00094379 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_5721-12_0_5_load_148 | 158 | 0.0030369 | 0.00076111 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_5721-12_0_5_load_162 | 159 | 0.0030826 | 0.00077258 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_5721-12_0_5_load_163 | 160 | 0.0037188 | 0.00093202 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_5721-12_0_5_load_152 | 161 | 0.0038589 | 0.00096714 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_5721-12_0_5_load_153 | 162 | 0.0025038 | 0.00062751 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_5721-12_0_5_load_154 | 163 | 0.0027931 | 0.00070002 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_5721-12_0_5_load_155 | 164 | 0.0048861 | 0.0012246 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_5721-12_0_5_load_164 | 165 | 0.0027171 | 0.00068097 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5721-12_0_5_line_0 |  | 0 | 1 | 0.018176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5721-12_0_5_line_1 |  | 1 | 2 | 0.018573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5721-12_0_5_line_2 |  | 1 | 3 | 0.035289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5721-12_0_5_line_3 |  | 2 | 4 | 0.01761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5721-12_0_5_line_4 |  | 3 | 5 | 0.018139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5721-12_0_5_line_5 |  | 4 | 6 | 0.0052578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5721-12_0_5_line_6 |  | 5 | 7 | 0.012155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5721-12_0_5_line_7 |  | 7 | 24 | 0.010485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5721-12_0_5_line_8 |  | 8 | 9 | 0.047836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5721-12_0_5_line_9 |  | 8 | 10 | 0.0091134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5721-12_0_5_line_10 |  | 9 | 11 | 0.044547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5721-12_0_5_line_11 |  | 9 | 12 | 0.015873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5721-12_0_5_line_12 |  | 10 | 13 | 0.027798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5721-12_0_5_line_13 |  | 10 | 14 | 0.023649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5721-12_0_5_line_14 |  | 11 | 15 | 0.011308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5721-12_0_5_line_15 |  | 11 | 16 | 0.031457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5721-12_0_5_line_16 |  | 12 | 17 | 0.0097317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5721-12_0_5_line_17 |  | 13 | 18 | 0.021012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5721-12_0_5_line_18 |  | 13 | 19 | 0.030265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5721-12_0_5_line_19 |  | 14 | 20 | 0.0052768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5721-12_0_5_line_20 |  | 16 | 21 | 0.031373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5721-12_0_5_line_21 |  | 19 | 22 | 0.028766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5721-12_0_5_line_22 |  | 20 | 23 | 0.0012149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5721-12_0_5_line_23 |  | 21 | 54 | 0.019539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5721-12_0_5_line_24 |  | 24 | 25 | 0.007237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5721-12_0_5_line_25 |  | 24 | 26 | 0.036883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5721-12_0_5_line_26 |  | 25 | 27 | 0.028105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5721-12_0_5_line_27 |  | 26 | 28 | 0.034499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5721-12_0_5_line_28 |  | 26 | 29 | 0.026364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5721-12_0_5_line_29 |  | 27 | 30 | 0.0036884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5721-12_0_5_line_30 |  | 27 | 31 | 0.021832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5721-12_0_5_line_31 |  | 29 | 34 | 0.0082067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5721-12_0_5_line_32 |  | 30 | 80 | 0.028117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5721-12_0_5_line_33 |  | 31 | 81 | 0.012379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5721-12_0_5_line_34 |  | 32 | 33 | 0.006272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5721-12_0_5_line_35 |  | 33 | 76 | 0.020704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5721-12_0_5_line_36 |  | 35 | 36 | 0.025126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5721-12_0_5_line_37 |  | 35 | 37 | 0.003726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5721-12_0_5_line_38 |  | 36 | 38 | 0.01082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5721-12_0_5_line_39 |  | 37 | 39 | 0.029001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5721-12_0_5_line_40 |  | 38 | 40 | 0.030122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5721-12_0_5_line_41 |  | 39 | 41 | 0.0028265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5721-12_0_5_line_42 |  | 40 | 42 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5721-12_0_5_line_43 |  | 40 | 43 | 0.018041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5721-12_0_5_line_44 |  | 41 | 44 | 0.0023908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5721-12_0_5_line_45 |  | 42 | 58 | 0.017062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5721-12_0_5_line_46 |  | 43 | 54 | 0.040687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5721-12_0_5_line_47 |  | 44 | 45 | 0.025242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5721-12_0_5_line_48 |  | 45 | 46 | 0.026555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5721-12_0_5_line_49 |  | 45 | 47 | 0.053065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5721-12_0_5_line_50 |  | 46 | 48 | 0.011584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5721-12_0_5_line_51 |  | 47 | 49 | 0.041649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5721-12_0_5_line_52 |  | 47 | 50 | 0.015036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5721-12_0_5_line_53 |  | 48 | 51 | 0.025093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5721-12_0_5_line_54 |  | 50 | 52 | 0.032041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5721-12_0_5_line_55 |  | 52 | 53 | 0.0032711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5721-12_0_5_line_56 |  | 54 | 55 | 0.029375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_5721-12_0_5_line_57 |  | 55 | 56 | 0.038831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5721-12_0_5_line_58 |  | 55 | 57 | 0.004657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5721-12_0_5_line_59 |  | 57 | 60 | 0.004269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5721-12_0_5_line_60 |  | 57 | 61 | 0.018929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5721-12_0_5_line_61 |  | 58 | 59 | 0.031307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5721-12_0_5_line_62 |  | 59 | 158 | 0.0223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5721-12_0_5_line_63 |  | 59 | 156 | 0.03826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5721-12_0_5_line_64 |  | 60 | 64 | 0.032681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_5721-12_0_5_line_65 |  | 60 | 63 | 0.018012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5721-12_0_5_line_66 |  | 61 | 102 | 0.0058685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5721-12_0_5_line_67 |  | 62 | 63 | 0.0010306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5721-12_0_5_line_68 |  | 64 | 65 | 0.023726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5721-12_0_5_line_69 |  | 64 | 66 | 0.020567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5721-12_0_5_line_70 |  | 65 | 100 | 0.015964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5721-12_0_5_line_71 |  | 65 | 80 | 0.004483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5721-12_0_5_line_72 |  | 67 | 68 | 0.0034688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5721-12_0_5_line_73 |  | 68 | 69 | 0.011277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5721-12_0_5_line_74 |  | 69 | 70 | 0.027497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5721-12_0_5_line_75 |  | 69 | 71 | 0.020755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5721-12_0_5_line_76 |  | 70 | 72 | 0.053034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_5721-12_0_5_line_77 |  | 70 | 73 | 0.01759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_5721-12_0_5_line_78 |  | 71 | 74 | 0.020434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5721-12_0_5_line_79 |  | 72 | 77 | 0.029235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_5721-12_0_5_line_80 |  | 72 | 78 | 0.023869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5721-12_0_5_line_81 |  | 73 | 79 | 0.012459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_5721-12_0_5_line_82 |  | 74 | 75 | 0.0063401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5721-12_0_5_line_83 |  | 75 | 76 | 0.0062017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5721-12_0_5_line_84 |  | 77 | 88 | 0.01809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_5721-12_0_5_line_85 |  | 78 | 89 | 0.012647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5721-12_0_5_line_86 |  | 79 | 82 | 0.012838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_5721-12_0_5_line_87 |  | 80 | 99 | 0.021142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_5721-12_0_5_line_88 |  | 82 | 83 | 0.012726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5721-12_0_5_line_89 |  | 82 | 84 | 0.027052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_5721-12_0_5_line_90 |  | 83 | 85 | 0.012348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5721-12_0_5_line_91 |  | 84 | 86 | 0.010223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_5721-12_0_5_line_92 |  | 84 | 87 | 0.015694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5721-12_0_5_line_93 |  | 86 | 90 | 0.014112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5721-12_0_5_line_94 |  | 86 | 91 | 0.01361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_5721-12_0_5_line_95 |  | 87 | 92 | 0.012409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5721-12_0_5_line_96 |  | 88 | 94 | 2.8943e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_5721-12_0_5_line_97 |  | 91 | 93 | 0.010801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_5721-12_0_5_line_98 |  | 93 | 95 | 0.0020632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_5721-12_0_5_line_99 |  | 93 | 96 | 0.036743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5721-12_0_5_line_100 |  | 94 | 110 | 0.020068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_5721-12_0_5_line_101 |  | 95 | 97 | 0.024706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_5721-12_0_5_line_102 |  | 96 | 98 | 0.012238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5721-12_0_5_line_103 |  | 97 | 99 | 0.012905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_5721-12_0_5_line_104 |  | 100 | 101 | 0.0015467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5721-12_0_5_line_105 |  | 103 | 104 | 0.0092911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5721-12_0_5_line_106 |  | 103 | 105 | 0.014162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5721-12_0_5_line_107 |  | 105 | 106 | 0.016499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5721-12_0_5_line_108 |  | 105 | 107 | 0.01433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5721-12_0_5_line_109 |  | 106 | 108 | 0.0074871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5721-12_0_5_line_110 |  | 108 | 109 | 0.013151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5721-12_0_5_line_111 |  | 109 | 122 | 0.03321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5721-12_0_5_line_112 |  | 109 | 119 | 0.022822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5721-12_0_5_line_113 |  | 110 | 111 | 0.008774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5721-12_0_5_line_114 |  | 110 | 112 | 0.019739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_5721-12_0_5_line_115 |  | 112 | 113 | 0.015673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_5721-12_0_5_line_116 |  | 113 | 114 | 0.016907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
117 | LV_5721-12_0_5_line_117 |  | 114 | 115 | 0.042991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
118 | LV_5721-12_0_5_line_118 |  | 115 | 116 | 0.030308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
119 | LV_5721-12_0_5_line_119 |  | 116 | 117 | 0.0071741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
120 | LV_5721-12_0_5_line_120 |  | 117 | 118 | 0.0043563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
121 | LV_5721-12_0_5_line_121 |  | 118 | 132 | 0.025965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
122 | LV_5721-12_0_5_line_122 |  | 118 | 128 | 0.066512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_5721-12_0_5_line_123 |  | 119 | 120 | 0.00084902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5721-12_0_5_line_124 |  | 120 | 121 | 0.01941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
125 | LV_5721-12_0_5_line_125 |  | 121 | 123 | 0.034623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
126 | LV_5721-12_0_5_line_126 |  | 121 | 124 | 0.031342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
127 | LV_5721-12_0_5_line_127 |  | 122 | 125 | 0.024406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5721-12_0_5_line_128 |  | 122 | 126 | 0.01876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5721-12_0_5_line_129 |  | 123 | 127 | 0.018329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5721-12_0_5_line_130 |  | 124 | 128 | 0.022521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
131 | LV_5721-12_0_5_line_131 |  | 126 | 129 | 0.023178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5721-12_0_5_line_132 |  | 127 | 130 | 0.022663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5721-12_0_5_line_133 |  | 128 | 131 | 0.0032471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5721-12_0_5_line_134 |  | 130 | 161 | 0.0061401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5721-12_0_5_line_135 |  | 131 | 135 | 0.029022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5721-12_0_5_line_136 |  | 132 | 133 | 0.032698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
137 | LV_5721-12_0_5_line_137 |  | 133 | 134 | 0.044069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
138 | LV_5721-12_0_5_line_138 |  | 134 | 137 | 0.03808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5721-12_0_5_line_139 |  | 134 | 138 | 0.071165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
140 | LV_5721-12_0_5_line_140 |  | 135 | 136 | 0.0015504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5721-12_0_5_line_141 |  | 136 | 139 | 0.031677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5721-12_0_5_line_142 |  | 138 | 141 | 0.032854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
143 | LV_5721-12_0_5_line_143 |  | 138 | 142 | 0.012613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5721-12_0_5_line_144 |  | 139 | 140 | 0.00025102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5721-12_0_5_line_145 |  | 141 | 143 | 0.019916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
146 | LV_5721-12_0_5_line_146 |  | 143 | 144 | 0.020341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
147 | LV_5721-12_0_5_line_147 |  | 144 | 145 | 0.031753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
148 | LV_5721-12_0_5_line_148 |  | 145 | 146 | 0.017789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
149 | LV_5721-12_0_5_line_149 |  | 146 | 147 | 0.026171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
150 | LV_5721-12_0_5_line_150 |  | 146 | 148 | 0.024977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_5721-12_0_5_line_151 |  | 147 | 149 | 0.020565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
152 | LV_5721-12_0_5_line_152 |  | 148 | 150 | 0.019659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_5721-12_0_5_line_153 |  | 150 | 151 | 0.0068342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_5721-12_0_5_line_154 |  | 152 | 153 | 0.034501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_5721-12_0_5_line_155 |  | 153 | 154 | 0.047916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_5721-12_0_5_line_156 |  | 154 | 155 | 0.015368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_5721-12_0_5_line_157 |  | 154 | 156 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_5721-12_0_5_line_158 |  | 155 | 157 | 0.033305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_5721-12_0_5_line_159 |  | 158 | 159 | 0.011441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_5721-12_0_5_line_160 |  | 159 | 160 | 0.024221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_5721-12_0_5_line_161 |  | 160 | 165 | 0.0059192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_5721-12_0_5_line_162 |  | 161 | 162 | 0.01956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_5721-12_0_5_line_163 |  | 162 | 163 | 0.0063761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_5721-12_0_5_line_164 |  | 163 | 164 | 0.01271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5721-12_0_5_trafo_38 | 0.63 MVA 20/0.4 kV | 166 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2510583.1093 | 1141550.5342 | 2510564.982 | 1141551.8624
1 | 2510583.1093 | 1141550.5342 | 2510589.2925 | 1141533.0209
2 | 2510583.1093 | 1141550.5342 | 2510612.2619 | 1141548.745 | 2510618.0486 | 1141550.6159
3 | 2510576.0724 | 1141523.1324 | 2510587.5934 | 1141528.3656 | 2510589.2925 | 1141533.0209
4 | 2510612.3913 | 1141567.8496 | 2510618.0486 | 1141550.6159
5 | 2510576.0724 | 1141523.1324 | 2510571.2853 | 1141520.958
6 | 2510608.6001 | 1141579.3987 | 2510612.3913 | 1141567.8496
7 | 2510605.3297 | 1141589.361 | 2510608.6001 | 1141579.3987
8 | 2510760.2302 | 1141530.3631 | 2510717.2229 | 1141509.4191
9 | 2510709.0295 | 1141505.429 | 2510717.2229 | 1141509.4191
10 | 2510800.3712 | 1141549.9137 | 2510760.2302 | 1141530.3631
11 | 2510760.2302 | 1141530.3631 | 2510754.3571 | 1141545.1098
12 | 2510709.0295 | 1141505.429 | 2510683.9826 | 1141493.2262
13 | 2510709.0295 | 1141505.429 | 2510700.4336 | 1141527.4603
14 | 2510800.3712 | 1141549.9137 | 2510805.8408 | 1141540.0164
15 | 2510800.3712 | 1141549.9137 | 2510787.5982 | 1141578.6606
16 | 2510750.7564 | 1141554.1509 | 2510754.3571 | 1141545.1098
17 | 2510683.9826 | 1141493.2262 | 2510677.2348 | 1141513.127
18 | 2510683.9826 | 1141493.2262 | 2510656.7728 | 1141479.9741
19 | 2510700.4336 | 1141527.4603 | 2510698.5156 | 1141532.3762
20 | 2510787.5982 | 1141578.6606 | 2510774.8591 | 1141607.3311
21 | 2510630.8798 | 1141467.4441 | 2510634.5161 | 1141469.1342 | 2510656.7728 | 1141479.9741
22 | 2510698.074 | 1141533.508 | 2510698.5156 | 1141532.3762
23 | 2510766.9253 | 1141625.187 | 2510774.8591 | 1141607.3311
24 | 2510605.3297 | 1141589.361 | 2510612.5845 | 1141589.131
25 | 2510605.3297 | 1141589.361 | 2510568.9369 | 1141595.9716
26 | 2510640.7603 | 1141589.9246 | 2510612.5845 | 1141589.131
27 | 2510568.9369 | 1141595.9716 | 2510565.4703 | 1141603.8055 | 2510553.9362 | 1141622.3767 | 2510549.886 | 1141623.0149
28 | 2510568.9369 | 1141595.9716 | 2510542.9985 | 1141600.688
29 | 2510640.7603 | 1141589.9246 | 2510644.4264 | 1141590.3303
30 | 2510640.7603 | 1141589.9246 | 2510629.3542 | 1141608.5401
31 | 2510542.9985 | 1141600.688 | 2510534.9243 | 1141602.1561
32 | 2510671.9324 | 1141595.7437 | 2510657.149 | 1141591.7383 | 2510644.4264 | 1141590.3303
33 | 2510622.8868 | 1141619.0951 | 2510629.3542 | 1141608.5401
34 | 2510593.8643 | 1141619.6357 | 2510597.1448 | 1141614.29
35 | 2510583.0345 | 1141637.282 | 2510591.8798 | 1141622.8694 | 2510593.8643 | 1141619.6357
36 | 2510839.3918 | 1141604.8115 | 2510849.3997 | 1141581.7645
37 | 2510850.8837 | 1141578.3468 | 2510849.3997 | 1141581.7645
38 | 2510835.0821 | 1141614.7365 | 2510839.3918 | 1141604.8115
39 | 2510850.8837 | 1141578.3468 | 2510857.1602 | 1141563.8927 | 2510862.8002 | 1141551.9104
40 | 2510823.0844 | 1141642.3659 | 2510835.0821 | 1141614.7365
41 | 2510864.0039 | 1141549.353 | 2510862.8002 | 1141551.9104
42 | 2510834.3714 | 1141645.4785 | 2510823.0844 | 1141642.3659
43 | 2510823.0844 | 1141642.3659 | 2510805.8328 | 1141637.0887
44 | 2510864.0039 | 1141549.353 | 2510865.0221 | 1141547.1898
45 | 2510834.3714 | 1141645.4785 | 2510851.3284 | 1141647.3648
46 | 2510766.9253 | 1141625.187 | 2510805.8328 | 1141637.0887
47 | 2510865.0221 | 1141547.1898 | 2510871.6888 | 1141533.0261 | 2510875.7775 | 1141524.3535
48 | 2510875.7775 | 1141524.3535 | 2510883.7284 | 1141507.4884 | 2510891.4326 | 1141509.2782
49 | 2510875.7775 | 1141524.3535 | 2510840.4343 | 1141484.7709
50 | 2510891.4326 | 1141509.2782 | 2510902.7163 | 1141511.8994
51 | 2510840.4343 | 1141484.7709 | 2510827.7062 | 1141483.5363 | 2510821.1351 | 1141481.6546 | 2510816.7612 | 1141479.6515 | 2510812.3158 | 1141475.9373 | 2510809.3705 | 1141474.3466 | 2510806.0011 | 1141475.2748 | 2510801.715 | 1141473.6599
52 | 2510840.4343 | 1141484.7709 | 2510841.9395 | 1141483.0921 | 2510851.2579 | 1141474.3434
53 | 2510902.7163 | 1141511.8994 | 2510920.1219 | 1141529.9748
54 | 2510874.617 | 1141452.4126 | 2510851.2579 | 1141474.3434
55 | 2510874.617 | 1141452.4126 | 2510877.0204 | 1141450.1937
56 | 2510766.9253 | 1141625.187 | 2510738.801 | 1141616.4428
57 | 2510738.801 | 1141616.4428 | 2510720.0332 | 1141644.482 | 2510723.3283 | 1141648.4022
58 | 2510734.3439 | 1141615.0525 | 2510738.801 | 1141616.4428
59 | 2510730.2577 | 1141613.7789 | 2510734.3439 | 1141615.0525
60 | 2510734.3439 | 1141615.0525 | 2510723.3566 | 1141630.4658
61 | 2510882.4435 | 1141650.826 | 2510851.3284 | 1141647.3648
62 | 2510882.4435 | 1141650.826 | 2510892.0956 | 1141630.7232
63 | 2510882.4435 | 1141650.826 | 2510920.4693 | 1141655.0555
64 | 2510730.2577 | 1141613.7789 | 2510698.9517 | 1141604.1037
65 | 2510730.2577 | 1141613.7789 | 2510735.9499 | 1141596.6899
66 | 2510719.9501 | 1141635.2444 | 2510723.3566 | 1141630.4658
67 | 2510736.2756 | 1141595.7121 | 2510735.9499 | 1141596.6899
68 | 2510698.9517 | 1141604.1037 | 2510676.227 | 1141597.0697
69 | 2510698.9517 | 1141604.1037 | 2510687.9915 | 1141621.5071
70 | 2510676.227 | 1141597.0697 | 2510681.2673 | 1141581.9218
71 | 2510671.9324 | 1141595.7437 | 2510676.227 | 1141597.0697
72 | 2510545.9554 | 1141676.2161 | 2510543.1994 | 1141674.1097
73 | 2510554.93 | 1141683.0758 | 2510545.9554 | 1141676.2161
74 | 2510554.93 | 1141683.0758 | 2510576.8369 | 1141699.7717
75 | 2510554.93 | 1141683.0758 | 2510565.7862 | 1141665.3866
76 | 2510576.8369 | 1141699.7717 | 2510581.1218 | 1141703.0323 | 2510619.0324 | 1141731.8981
77 | 2510576.8369 | 1141699.7717 | 2510585.6011 | 1141684.521
78 | 2510565.7862 | 1141665.3866 | 2510576.4744 | 1141647.9712
79 | 2510619.0324 | 1141731.8981 | 2510642.3307 | 1141749.6409
80 | 2510619.0324 | 1141731.8981 | 2510631.6928 | 1141711.6635
81 | 2510585.6011 | 1141684.521 | 2510591.8087 | 1141673.7188
82 | 2510576.4744 | 1141647.9712 | 2510579.7906 | 1141642.5676
83 | 2510579.7906 | 1141642.5676 | 2510583.0345 | 1141637.282
84 | 2510642.3307 | 1141749.6409 | 2510653.6527 | 1141735.532
85 | 2510631.6928 | 1141711.6635 | 2510638.4007 | 1141700.9425
86 | 2510598.2052 | 1141662.5881 | 2510591.8087 | 1141673.7188
87 | 2510671.9324 | 1141595.7437 | 2510660.729 | 1141613.6732
88 | 2510598.2052 | 1141662.5881 | 2510604.669 | 1141651.6255
89 | 2510621.35 | 1141676.6975 | 2510598.2052 | 1141662.5881
90 | 2510604.669 | 1141651.6255 | 2510610.9407 | 1141640.9886
91 | 2510621.35 | 1141676.6975 | 2510626.7725 | 1141668.0231
92 | 2510621.35 | 1141676.6975 | 2510613.0565 | 1141690.0206
93 | 2510626.7725 | 1141668.0231 | 2510638.7503 | 1141675.4859
94 | 2510626.7725 | 1141668.0231 | 2510633.9828 | 1141656.4799
95 | 2510606.4985 | 1141700.5556 | 2510613.0565 | 1141690.0206
96 | 2510653.6527 | 1141735.532 | 2510653.6708 | 1141735.5095
97 | 2510639.7052 | 1141647.3189 | 2510633.9828 | 1141656.4799
98 | 2510639.7052 | 1141647.3189 | 2510640.7985 | 1141645.5692
99 | 2510639.7052 | 1141647.3189 | 2510661.8808 | 1141660.8871 | 2510667.5757 | 1141651.7742
100 | 2510666.2309 | 1141719.8577 | 2510653.6708 | 1141735.5095
101 | 2510640.7985 | 1141645.5692 | 2510653.8906 | 1141624.6172
102 | 2510667.5757 | 1141651.7742 | 2510674.0613 | 1141641.3958
103 | 2510653.8906 | 1141624.6172 | 2510660.729 | 1141613.6732
104 | 2510681.2673 | 1141581.9218 | 2510681.7556 | 1141580.4542
105 | 2510700.253 | 1141661.2016 | 2510705.89 | 1141653.8158
106 | 2510698.6238 | 1141672.2047 | 2510694.9877 | 1141668.1006 | 2510700.253 | 1141661.2016
107 | 2510698.6238 | 1141672.2047 | 2510711.8257 | 1141682.0998
108 | 2510698.6238 | 1141672.2047 | 2510689.8584 | 1141683.5418
109 | 2510717.8168 | 1141686.5902 | 2510711.8257 | 1141682.0998
110 | 2510728.3401 | 1141694.4776 | 2510717.8168 | 1141686.5902
111 | 2510750.6678 | 1141670.0879 | 2510741.3932 | 1141677.7298 | 2510728.3401 | 1141694.4776
112 | 2510728.3401 | 1141694.4776 | 2510745.9748 | 1141708.9634
113 | 2510666.2309 | 1141719.8577 | 2510662.1636 | 1141712.08
114 | 2510666.2309 | 1141719.8577 | 2510681.9268 | 1141731.8269
115 | 2510681.9268 | 1141731.8269 | 2510694.3899 | 1141741.3308
116 | 2510709.2385 | 1141748.2037 | 2510701.6247 | 1141742.3575 | 2510694.3899 | 1141741.3308
117 | 2510709.2385 | 1141748.2037 | 2510695.6348 | 1141788.9852
118 | 2510695.6348 | 1141788.9852 | 2510719.6516 | 1141807.472
119 | 2510719.6516 | 1141807.472 | 2510725.3366 | 1141811.8479
120 | 2510728.7886 | 1141814.5051 | 2510725.3366 | 1141811.8479
121 | 2510728.7886 | 1141814.5051 | 2510749.3641 | 1141830.3429
122 | 2510759.4834 | 1141755.4996 | 2510728.7886 | 1141814.5051
123 | 2510745.9748 | 1141708.9634 | 2510746.6308 | 1141709.5024
124 | 2510761.6297 | 1141721.823 | 2510746.6308 | 1141709.5024
125 | 2510785.8036 | 1141696.9725 | 2510761.6297 | 1141721.823
126 | 2510739.8912 | 1141744.4585 | 2510761.6297 | 1141721.823
127 | 2510750.6678 | 1141670.0879 | 2510769.8761 | 1141685.1436
128 | 2510750.6678 | 1141670.0879 | 2510767.9263 | 1141662.7346
129 | 2510785.8036 | 1141696.9725 | 2510792.6758 | 1141701.0287 | 2510802.489 | 1141704.316
130 | 2510739.8912 | 1141744.4585 | 2510745.2192 | 1141748.0817 | 2510759.4834 | 1141755.4996
131 | 2510787.7786 | 1141662.6561 | 2510781.4053 | 1141656.9916 | 2510767.9263 | 1141662.7346
132 | 2510802.489 | 1141704.316 | 2510823.978 | 1141711.5146
133 | 2510759.4834 | 1141755.4996 | 2510762.3643 | 1141756.9978
134 | 2510829.8001 | 1141713.4649 | 2510823.978 | 1141711.5146
135 | 2510762.3643 | 1141756.9978 | 2510788.1126 | 1141770.3879
136 | 2510749.3641 | 1141830.3429 | 2510775.2747 | 1141850.2874
137 | 2510775.2747 | 1141850.2874 | 2510810.1958 | 1141877.1677
138 | 2510810.1958 | 1141877.1677 | 2510840.3717 | 1141900.3954
139 | 2510855.6667 | 1141822.4242 | 2510810.1958 | 1141877.1677
140 | 2510789.4881 | 1141771.1032 | 2510788.1126 | 1141770.3879
141 | 2510789.4881 | 1141771.1032 | 2510817.5921 | 1141785.7184
142 | 2510855.6667 | 1141822.4242 | 2510855.6667 | 1141822.4242 | 2510881.9502 | 1141842.1358
143 | 2510861.6454 | 1141811.318 | 2510855.6667 | 1141822.4242
144 | 2510817.8148 | 1141785.8342 | 2510817.5921 | 1141785.7184
145 | 2510897.8837 | 1141854.0853 | 2510881.9502 | 1141842.1358
146 | 2510897.8837 | 1141854.0853 | 2510908.4128 | 1141836.6814
147 | 2510908.4128 | 1141836.6814 | 2510924.8492 | 1141809.5134
148 | 2510934.0576 | 1141794.2926 | 2510924.8492 | 1141809.5134
149 | 2510934.0576 | 1141794.2926 | 2510911.8183 | 1141780.4955
150 | 2510934.0576 | 1141794.2926 | 2510940.5144 | 1141783.791 | 2510946.9337 | 1141772.8922
151 | 2510894.3432 | 1141769.6541 | 2510911.8183 | 1141780.4955
152 | 2510946.9337 | 1141772.8922 | 2510956.9106 | 1141755.9535
153 | 2510960.379 | 1141750.0649 | 2510956.9106 | 1141755.9535
154 | 2510986.5559 | 1141661.2155 | 2510980.4167 | 1141695.1661
155 | 2510986.5559 | 1141661.2155 | 2510978.7573 | 1141660.5414 | 2510938.8175 | 1141657.0962
156 | 2510938.8175 | 1141657.0962 | 2510946.7709 | 1141643.9463
157 | 2510938.8175 | 1141657.0962 | 2510920.4693 | 1141655.0555
158 | 2510946.7709 | 1141643.9463 | 2510964.0073 | 1141615.4484
159 | 2510892.0956 | 1141630.7232 | 2510897.0477 | 1141620.4093
160 | 2510897.0477 | 1141620.4093 | 2510907.5315 | 1141598.5745
161 | 2510910.0935 | 1141593.2384 | 2510907.5315 | 1141598.5745
162 | 2510829.8001 | 1141713.4649 | 2510848.3471 | 1141719.678
163 | 2510848.3471 | 1141719.678 | 2510854.3929 | 1141721.7033
164 | 2510866.445 | 1141725.7406 | 2510854.3929 | 1141721.7033

## bus_geodata
| x | y | coords
0 | 2510564.982 | 1141551.8624
1 | 2510583.1093 | 1141550.5342
2 | 2510589.2925 | 1141533.0209
3 | 2510618.0486 | 1141550.6159
4 | 2510576.0724 | 1141523.1324
5 | 2510612.3913 | 1141567.8496
6 | 2510571.2853 | 1141520.958
7 | 2510608.6001 | 1141579.3987
8 | 2510717.2229 | 1141509.4191
9 | 2510760.2302 | 1141530.3631
10 | 2510709.0295 | 1141505.429
11 | 2510800.3712 | 1141549.9137
12 | 2510754.3571 | 1141545.1099
13 | 2510683.9826 | 1141493.2262
14 | 2510700.4336 | 1141527.4603
15 | 2510805.8408 | 1141540.0164
16 | 2510787.5982 | 1141578.6606
17 | 2510750.7564 | 1141554.1509
18 | 2510677.2348 | 1141513.127
19 | 2510656.7728 | 1141479.9741
20 | 2510698.5156 | 1141532.3762
21 | 2510774.8591 | 1141607.3311
22 | 2510630.8798 | 1141467.4441
23 | 2510698.074 | 1141533.508
24 | 2510605.3297 | 1141589.361
25 | 2510612.5845 | 1141589.131
26 | 2510568.9369 | 1141595.9716
27 | 2510640.7603 | 1141589.9247
28 | 2510549.886 | 1141623.0149
29 | 2510542.9985 | 1141600.688
30 | 2510644.4264 | 1141590.3303
31 | 2510629.3542 | 1141608.5401
32 | 2510597.1448 | 1141614.29
33 | 2510593.8643 | 1141619.6357
34 | 2510534.9243 | 1141602.1561
35 | 2510849.3997 | 1141581.7645
36 | 2510839.3918 | 1141604.8115
37 | 2510850.8837 | 1141578.3468
38 | 2510835.0821 | 1141614.7365
39 | 2510862.8002 | 1141551.9104
40 | 2510823.0844 | 1141642.3659
41 | 2510864.0039 | 1141549.353
42 | 2510834.3714 | 1141645.4785
43 | 2510805.8328 | 1141637.0887
44 | 2510865.0221 | 1141547.1898
45 | 2510875.7775 | 1141524.3535
46 | 2510891.4326 | 1141509.2782
47 | 2510840.4343 | 1141484.7709
48 | 2510902.7163 | 1141511.8994
49 | 2510801.715 | 1141473.6599
50 | 2510851.2579 | 1141474.3434
51 | 2510920.1219 | 1141529.9748
52 | 2510874.617 | 1141452.4126
53 | 2510877.0204 | 1141450.1937
54 | 2510766.9253 | 1141625.187
55 | 2510738.801 | 1141616.4428
56 | 2510723.3283 | 1141648.4022
57 | 2510734.3439 | 1141615.0525
58 | 2510851.3284 | 1141647.3648
59 | 2510882.4435 | 1141650.826
60 | 2510730.2577 | 1141613.7789
61 | 2510723.3566 | 1141630.4658
62 | 2510736.2756 | 1141595.7121
63 | 2510735.9499 | 1141596.6899
64 | 2510698.9517 | 1141604.1037
65 | 2510676.227 | 1141597.0697
66 | 2510687.9915 | 1141621.5071
67 | 2510543.1994 | 1141674.1097
68 | 2510545.9554 | 1141676.2161
69 | 2510554.93 | 1141683.0758
70 | 2510576.8369 | 1141699.7717
71 | 2510565.7862 | 1141665.3866
72 | 2510619.0324 | 1141731.8981
73 | 2510585.6011 | 1141684.521
74 | 2510576.4744 | 1141647.9712
75 | 2510579.7906 | 1141642.5676
76 | 2510583.0345 | 1141637.282
77 | 2510642.3307 | 1141749.6409
78 | 2510631.6928 | 1141711.6635
79 | 2510591.8087 | 1141673.7188
80 | 2510671.9324 | 1141595.7437
81 | 2510622.8868 | 1141619.0951
82 | 2510598.2052 | 1141662.5881
83 | 2510604.669 | 1141651.6255
84 | 2510621.35 | 1141676.6975
85 | 2510610.9407 | 1141640.9886
86 | 2510626.7725 | 1141668.0231
87 | 2510613.0565 | 1141690.0206
88 | 2510653.6527 | 1141735.532
89 | 2510638.4007 | 1141700.9425
90 | 2510638.7503 | 1141675.4859
91 | 2510633.9828 | 1141656.4799
92 | 2510606.4985 | 1141700.5556
93 | 2510639.7052 | 1141647.3189
94 | 2510653.6708 | 1141735.5095
95 | 2510640.7985 | 1141645.5692
96 | 2510667.5757 | 1141651.7742
97 | 2510653.8906 | 1141624.6172
98 | 2510674.0613 | 1141641.3958
99 | 2510660.729 | 1141613.6732
100 | 2510681.2673 | 1141581.9218
101 | 2510681.7556 | 1141580.4542
102 | 2510719.9501 | 1141635.2444
103 | 2510700.253 | 1141661.2016
104 | 2510705.89 | 1141653.8158
105 | 2510698.6238 | 1141672.2047
106 | 2510711.8257 | 1141682.0998
107 | 2510689.8584 | 1141683.5418
108 | 2510717.8168 | 1141686.5902
109 | 2510728.3401 | 1141694.4776
110 | 2510666.2309 | 1141719.8577
111 | 2510662.1636 | 1141712.08
112 | 2510681.9268 | 1141731.8269
113 | 2510694.3899 | 1141741.3308
114 | 2510709.2385 | 1141748.2037
115 | 2510695.6348 | 1141788.9852
116 | 2510719.6516 | 1141807.472
117 | 2510725.3366 | 1141811.8479
118 | 2510728.7886 | 1141814.5051
119 | 2510745.9748 | 1141708.9635
120 | 2510746.6308 | 1141709.5024
121 | 2510761.6297 | 1141721.823
122 | 2510750.6678 | 1141670.0879
123 | 2510785.8036 | 1141696.9725
124 | 2510739.8912 | 1141744.4585
125 | 2510769.8761 | 1141685.1436
126 | 2510767.9263 | 1141662.7346
127 | 2510802.489 | 1141704.316
128 | 2510759.4834 | 1141755.4996
129 | 2510787.7786 | 1141662.6561
130 | 2510823.978 | 1141711.5146
131 | 2510762.3643 | 1141756.9978
132 | 2510749.3641 | 1141830.3429
133 | 2510775.2747 | 1141850.2874
134 | 2510810.1958 | 1141877.1677
135 | 2510788.1126 | 1141770.3879
136 | 2510789.4881 | 1141771.1032
137 | 2510840.3717 | 1141900.3954
138 | 2510855.6667 | 1141822.4242
139 | 2510817.5921 | 1141785.7184
140 | 2510817.8148 | 1141785.8342
141 | 2510881.9502 | 1141842.1358
142 | 2510861.6454 | 1141811.318
143 | 2510897.8837 | 1141854.0853
144 | 2510908.4128 | 1141836.6814
145 | 2510924.8492 | 1141809.5134
146 | 2510934.0576 | 1141794.2926
147 | 2510911.8183 | 1141780.4955
148 | 2510946.9337 | 1141772.8922
149 | 2510894.3432 | 1141769.6541
150 | 2510956.9106 | 1141755.9535
151 | 2510960.379 | 1141750.0649
152 | 2510980.4167 | 1141695.1661
153 | 2510986.5559 | 1141661.2155
154 | 2510938.8175 | 1141657.0962
155 | 2510946.7709 | 1141643.9463
156 | 2510920.4693 | 1141655.0555
157 | 2510964.0073 | 1141615.4484
158 | 2510892.0956 | 1141630.7232
159 | 2510897.0477 | 1141620.4093
160 | 2510907.5315 | 1141598.5745
161 | 2510829.8001 | 1141713.4649
162 | 2510848.3471 | 1141719.678
163 | 2510854.3929 | 1141721.7033
164 | 2510866.445 | 1141725.7406
165 | 2510910.0935 | 1141593.2384
166 | 2510738.801 | 1141616.4428

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1