## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5721-13_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5721-13_0_5_node_60 | 0.4 | n |  | TRUE
2 | bus_LV_5721-13_0_5_node_43 | 0.4 | n |  | TRUE
3 | bus_LV_5721-13_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5721-13_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5721-13_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5721-13_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5721-13_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5721-13_0_5_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_5721-13_0_5_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_5721-13_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5721-13_0_5_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_5721-13_0_5_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_5721-13_0_5_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_5721-13_0_5_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_5721-13_0_5_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_5721-13_0_5_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_5721-13_0_5_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_5721-13_0_5_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_5721-13_0_5_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_5721-13_0_5_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_5721-13_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_5721-13_0_5_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_5721-13_0_5_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5721-13_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_5721-13_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_5721-13_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_5721-13_0_5_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_5721-13_0_5_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_5721-13_0_5_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_5721-13_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5721-13_0_5_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_5721-13_0_5_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_5721-13_0_5_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5721-13_0_5_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_5721-13_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_5721-13_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5721-13_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5721-13_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_5721-13_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_5721-13_0_5_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_5721-13_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5721-13_0_5_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_5721-13_0_5_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_5721-13_0_5_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_5721-13_0_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_5721-13_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5721-13_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_5721-13_0_5_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_5721-13_0_5_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_5721-13_0_5_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_5721-13_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_5721-13_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_5721-13_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5721-13_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_5721-13_0_5_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_5721-13_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_5721-13_0_5_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_5721-13_0_5_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_5721-13_0_5_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_5721-13_0_5_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_5721-13_0_5_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_5721-13_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_5721-13_0_5_node_65 | 0.4 | n |  | TRUE
64 | bus_MV_452_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5721-13_0_5_load_0 | 0 | 0.00030297 | 7.5933e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5721-13_0_5_load_2 | 3 | 0.0175 | 0.004386 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5721-13_0_5_load_3 | 4 | 0.0035648 | 0.00089342 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5721-13_0_5_load_26 | 8 | 0.00466 | 0.0011679 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5721-13_0_5_load_56 | 12 | 0.0039027 | 0.00097812 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5721-13_0_5_load_64 | 13 | 0.0038445 | 0.00096352 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5721-13_0_5_load_28 | 14 | 0.0040194 | 0.0010074 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5721-13_0_5_load_29 | 16 | 0.0045905 | 0.0011505 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5721-13_0_5_load_53 | 18 | 0.024238 | 0.0060746 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5721-13_0_5_load_8 | 20 | 0.0037567 | 0.00094152 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5721-13_0_5_load_12 | 24 | 0.012637 | 0.0031671 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5721-13_0_5_load_14 | 26 | 0.012905 | 0.0032344 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5721-13_0_5_load_42 | 28 | 0.015445 | 0.0038708 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5721-13_0_5_load_38 | 29 | 0.0066608 | 0.0016694 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5721-13_0_5_load_15 | 31 | 0.023225 | 0.0058207 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5721-13_0_5_load_16 | 32 | 0.015222 | 0.0038149 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5721-13_0_5_load_18 | 34 | 0.0049349 | 0.0012368 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5721-13_0_5_load_19 | 35 | 0.017559 | 0.0044007 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5721-13_0_5_load_25 | 39 | 0.015869 | 0.0039772 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5721-13_0_5_load_33 | 40 | 0.014585 | 0.0036554 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5721-13_0_5_load_32 | 41 | 0.014843 | 0.00372 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5721-13_0_5_load_59 | 42 | 0.021966 | 0.0055051 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5721-13_0_5_load_63 | 43 | 0.012855 | 0.0032218 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5721-13_0_5_load_61 | 44 | 0.002547 | 0.00063834 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5721-13_0_5_load_36 | 45 | 0.013404 | 0.0033593 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5721-13_0_5_load_35 | 47 | 0.01844 | 0.0046215 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5721-13_0_5_load_48 | 49 | 0.036192 | 0.0090705 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5721-13_0_5_load_44 | 50 | 0.018598 | 0.0046611 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5721-13_0_5_load_37 | 51 | 0.0065699 | 0.0016466 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5721-13_0_5_load_40 | 53 | 0.019613 | 0.0049155 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5721-13_0_5_load_41 | 54 | 0.019996 | 0.0050115 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5721-13_0_5_load_47 | 56 | 0.012628 | 0.0031648 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5721-13_0_5_load_49 | 57 | 0.012731 | 0.0031906 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5721-13_0_5_load_58 | 58 | 0.0027399 | 0.00068668 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5721-13_0_5_load_57 | 61 | 0.024241 | 0.0060755 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5721-13_0_5_load_62 | 62 | 0.071234 | 0.017853 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5721-13_0_5_load_65 | 63 | 0.0059095 | 0.0014811 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5721-13_0_5_line_0 |  | 0 | 1 | 0.52408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5721-13_0_5_line_1 |  | 1 | 2 | 0.040528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5721-13_0_5_line_2 |  | 2 | 42 | 0.028129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5721-13_0_5_line_3 |  | 2 | 30 | 0.006884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5721-13_0_5_line_4 |  | 3 | 4 | 0.0018256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5721-13_0_5_line_5 |  | 3 | 5 | 0.033735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5721-13_0_5_line_6 |  | 4 | 6 | 0.029143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_5721-13_0_5_line_7 |  | 5 | 7 | 0.065386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5721-13_0_5_line_8 |  | 6 | 8 | 0.017066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5721-13_0_5_line_9 |  | 6 | 9 | 0.027236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_5721-13_0_5_line_10 |  | 7 | 13 | 0.016626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5721-13_0_5_line_11 |  | 7 | 10 | 0.043413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5721-13_0_5_line_12 |  | 8 | 14 | 0.0010737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5721-13_0_5_line_13 |  | 9 | 15 | 0.011574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5721-13_0_5_line_14 |  | 9 | 16 | 0.0041815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5721-13_0_5_line_15 |  | 10 | 11 | 0.028931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5721-13_0_5_line_16 |  | 10 | 12 | 0.022097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5721-13_0_5_line_17 |  | 11 | 17 | 0.018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5721-13_0_5_line_18 |  | 11 | 18 | 0.056879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5721-13_0_5_line_19 |  | 12 | 19 | 0.0050215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5721-13_0_5_line_20 |  | 15 | 44 | 0.031872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5721-13_0_5_line_21 |  | 16 | 23 | 0.0023794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5721-13_0_5_line_22 |  | 17 | 63 | 0.009433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5721-13_0_5_line_23 |  | 19 | 61 | 0.054036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5721-13_0_5_line_24 |  | 19 | 59 | 0.044223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5721-13_0_5_line_25 |  | 20 | 21 | 0.019921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5721-13_0_5_line_26 |  | 21 | 25 | 0.010946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5721-13_0_5_line_27 |  | 21 | 26 | 0.0046955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5721-13_0_5_line_28 |  | 22 | 23 | 0.007099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5721-13_0_5_line_29 |  | 22 | 24 | 0.018745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5721-13_0_5_line_30 |  | 23 | 27 | 0.026704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5721-13_0_5_line_31 |  | 25 | 28 | 0.0013274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5721-13_0_5_line_32 |  | 26 | 27 | 0.025428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5721-13_0_5_line_33 |  | 27 | 29 | 0.032748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5721-13_0_5_line_34 |  | 28 | 30 | 0.0043409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5721-13_0_5_line_35 |  | 29 | 45 | 0.0056633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5721-13_0_5_line_36 |  | 30 | 36 | 0.064389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5721-13_0_5_line_37 |  | 31 | 32 | 0.018692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5721-13_0_5_line_38 |  | 31 | 33 | 0.020138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5721-13_0_5_line_39 |  | 32 | 34 | 0.018699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5721-13_0_5_line_40 |  | 33 | 35 | 0.072442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5721-13_0_5_line_41 |  | 34 | 36 | 0.021461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5721-13_0_5_line_42 |  | 35 | 37 | 0.0014284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5721-13_0_5_line_43 |  | 37 | 38 | 0.016402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5721-13_0_5_line_44 |  | 37 | 39 | 0.009412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5721-13_0_5_line_45 |  | 38 | 43 | 0.008522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5721-13_0_5_line_46 |  | 40 | 41 | 0.018776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5721-13_0_5_line_47 |  | 41 | 46 | 0.022975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5721-13_0_5_line_48 |  | 45 | 51 | 0.0068816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5721-13_0_5_line_49 |  | 46 | 47 | 0.02426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5721-13_0_5_line_50 |  | 47 | 48 | 0.0069363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5721-13_0_5_line_51 |  | 48 | 49 | 0.048997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5721-13_0_5_line_52 |  | 48 | 50 | 0.011734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5721-13_0_5_line_53 |  | 49 | 58 | 0.022123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5721-13_0_5_line_54 |  | 50 | 55 | 0.022824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5721-13_0_5_line_55 |  | 51 | 52 | 0.027801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5721-13_0_5_line_56 |  | 52 | 53 | 0.029177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5721-13_0_5_line_57 |  | 53 | 54 | 0.015342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5721-13_0_5_line_58 |  | 55 | 56 | 0.014526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5721-13_0_5_line_59 |  | 56 | 57 | 0.018661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5721-13_0_5_line_60 |  | 57 | 59 | 0.031151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5721-13_0_5_line_61 |  | 59 | 60 | 0.11911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5721-13_0_5_line_62 |  | 60 | 62 | 0.045275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5721-13_0_5_trafo_39 | 0.63 MVA 20/0.4 kV | 64 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2510907.1178 | 1141190.4317 | 2511049.3686 | 1140686.0291
1 | 2510907.1178 | 1141190.4317 | 2510903.2825 | 1141196.7811 | 2510877.2103 | 1141217.1899
2 | 2510877.2103 | 1141217.1899 | 2510859.1209 | 1141195.6492
3 | 2510871.9789 | 1141221.681 | 2510877.2103 | 1141217.1899
4 | 2510961.5174 | 1141327.0495 | 2510960.3396 | 1141325.6547
5 | 2510983.2815 | 1141352.8249 | 2510961.5174 | 1141327.0495
6 | 2510941.4685 | 1141303.4467 | 2510946.3891 | 1141309.1329 | 2510960.3396 | 1141325.6547
7 | 2510935.6894 | 1141372.8067 | 2510946.4746 | 1141385.1102 | 2510979.6165 | 1141355.0915 | 2510983.2815 | 1141352.8249
8 | 2510941.4685 | 1141303.4467 | 2510936.0487 | 1141308.1963 | 2510928.6333 | 1141314.6936
9 | 2510923.7841 | 1141282.6958 | 2510939.7552 | 1141301.4597 | 2510941.4685 | 1141303.4467
10 | 2510948.0108 | 1141361.6068 | 2510935.6894 | 1141372.8067
11 | 2510935.6894 | 1141372.8067 | 2510946.4746 | 1141385.1102 | 2510927.0538 | 1141403.9418
12 | 2510928.6333 | 1141314.6936 | 2510927.8257 | 1141315.4012
13 | 2510923.7841 | 1141282.6958 | 2510934.9643 | 1141279.5842
14 | 2510923.7841 | 1141282.6958 | 2510921.0567 | 1141279.5263
15 | 2510908.6006 | 1141381.6235 | 2510924.831 | 1141401.2953 | 2510927.0538 | 1141403.9418
16 | 2510927.0538 | 1141403.9418 | 2510910.8422 | 1141418.9569
17 | 2510922.2904 | 1141369.8919 | 2510908.6006 | 1141381.6235
18 | 2510908.6006 | 1141381.6235 | 2510883.701 | 1141352.8746 | 2510871.4021 | 1141338.595
19 | 2510907.1581 | 1141422.3691 | 2510910.8422 | 1141418.9569
20 | 2510934.9643 | 1141279.5842 | 2510940.1079 | 1141286.3122 | 2510943.1394 | 1141289.0468 | 2510945.8623 | 1141290.1516 | 2510948.8951 | 1141289.8511 | 2510951.0163 | 1141288.7413 | 2510954.1484 | 1141286.3158 | 2510959.4598 | 1141281.788
21 | 2510919.5046 | 1141277.7227 | 2510921.0567 | 1141279.5263
22 | 2510916.1712 | 1141362.7003 | 2510922.2904 | 1141369.8919
23 | 2510878.846 | 1141382.275 | 2510874.8755 | 1141385.7136 | 2510900.2231 | 1141414.6003 | 2510907.1581 | 1141422.3691
24 | 2510907.1581 | 1141422.3691 | 2510874.617 | 1141452.4126
25 | 2510882.7163 | 1141234.3742 | 2510891.168 | 1141229.7798 | 2510898.0858 | 1141237.4125
26 | 2510882.7163 | 1141234.3742 | 2510875.6415 | 1141226.0072
27 | 2510882.7163 | 1141234.3742 | 2510885.7479 | 1141237.96
28 | 2510924.9971 | 1141273.2055 | 2510919.5046 | 1141277.7227
29 | 2510924.9971 | 1141273.2055 | 2510939.4134 | 1141261.2251
30 | 2510902.1644 | 1141257.3781 | 2510919.5046 | 1141277.7227
31 | 2510875.6415 | 1141226.0072 | 2510874.7837 | 1141224.9941
32 | 2510902.1644 | 1141257.3781 | 2510885.7479 | 1141237.96
33 | 2510902.1644 | 1141257.3781 | 2510877.1884 | 1141278.5585
34 | 2510871.9789 | 1141221.681 | 2510874.7837 | 1141224.9941
35 | 2510872.8692 | 1141282.2214 | 2510877.1884 | 1141278.5585
36 | 2510871.9789 | 1141221.681 | 2510855.4501 | 1141201.6358 | 2510830.1918 | 1141172.6145
37 | 2510784.1318 | 1141209.2358 | 2510792.8423 | 1141202.5518 | 2510798.8782 | 1141197.7503
38 | 2510768.1559 | 1141221.4952 | 2510784.1318 | 1141209.2358
39 | 2510798.8782 | 1141197.7503 | 2510799.2792 | 1141197.4312 | 2510812.0345 | 1141187.4809 | 2510813.5693 | 1141186.1842
40 | 2510768.1559 | 1141221.4952 | 2510814.9137 | 1141275.9799 | 2510815.3583 | 1141276.4471
41 | 2510830.1918 | 1141172.6145 | 2510821.5577 | 1141179.4352 | 2510813.5693 | 1141186.1842
42 | 2510816.3431 | 1141277.4818 | 2510815.3583 | 1141276.4471
43 | 2510816.3431 | 1141277.4818 | 2510827.676 | 1141289.3656
44 | 2510823.5971 | 1141271.4598 | 2510816.3431 | 1141277.4818
45 | 2510834.1291 | 1141283.7779 | 2510827.676 | 1141289.3656
46 | 2510774.4587 | 1141336.6822 | 2510761.9954 | 1141322.6387
47 | 2510789.709 | 1141353.866 | 2510774.4587 | 1141336.6822
48 | 2510872.8692 | 1141282.2214 | 2510867.6207 | 1141286.6723
49 | 2510789.709 | 1141353.866 | 2510800.9245 | 1141367.1745 | 2510805.3251 | 1141372.4311
50 | 2510809.7775 | 1141377.7498 | 2510805.3251 | 1141372.4311
51 | 2510809.7775 | 1141377.7498 | 2510803.9279 | 1141381.5053 | 2510797.1626 | 1141384.1737 | 2510792.4952 | 1141385.1989 | 2510786.6493 | 1141384.5295 | 2510782.5016 | 1141382.7454 | 2510769.3034 | 1141368.262
52 | 2510809.7775 | 1141377.7498 | 2510817.3099 | 1141386.7475
53 | 2510754.4025 | 1141351.9099 | 2510769.3034 | 1141368.262
54 | 2510831.9606 | 1141404.2484 | 2510817.3099 | 1141386.7475
55 | 2510846.4178 | 1141304.653 | 2510867.6207 | 1141286.6723
56 | 2510846.4178 | 1141304.653 | 2510865.4093 | 1141326.8031
57 | 2510865.4093 | 1141326.8031 | 2510875.3953 | 1141338.45
58 | 2510831.9606 | 1141404.2484 | 2510841.5931 | 1141415.1212
59 | 2510853.9676 | 1141429.0889 | 2510841.5931 | 1141415.1212
60 | 2510874.617 | 1141452.4126 | 2510868.1265 | 1141445.0709 | 2510853.9676 | 1141429.0889
61 | 2510774.4401 | 1141460.3666 | 2510795.1839 | 1141471.1992 | 2510806.0011 | 1141475.2748 | 2510809.3705 | 1141474.3466 | 2510812.3158 | 1141475.9373 | 2510816.7612 | 1141479.6515 | 2510821.1351 | 1141481.6546 | 2510827.7062 | 1141483.5363 | 2510840.4343 | 1141484.7709 | 2510841.9395 | 1141483.0921 | 2510874.617 | 1141452.4126
62 | 2510804.6925 | 1141427.9327 | 2510783.8193 | 1141445.7412 | 2510779.3255 | 1141449.1431 | 2510778.5294 | 1141450.4223 | 2510774.4401 | 1141460.3666

## bus_geodata
| x | y | coords
0 | 2511049.3686 | 1140686.0291
1 | 2510907.1178 | 1141190.4317
2 | 2510877.2103 | 1141217.1899
3 | 2510961.5174 | 1141327.0495
4 | 2510960.3396 | 1141325.6547
5 | 2510983.2815 | 1141352.8249
6 | 2510941.4685 | 1141303.4467
7 | 2510935.6894 | 1141372.8067
8 | 2510928.6333 | 1141314.6936
9 | 2510923.7841 | 1141282.6958
10 | 2510927.0538 | 1141403.9418
11 | 2510908.6006 | 1141381.6235
12 | 2510910.8422 | 1141418.9569
13 | 2510948.0108 | 1141361.6068
14 | 2510927.8257 | 1141315.4012
15 | 2510934.9643 | 1141279.5842
16 | 2510921.0567 | 1141279.5263
17 | 2510922.2904 | 1141369.8919
18 | 2510871.4021 | 1141338.595
19 | 2510907.1581 | 1141422.3691
20 | 2510898.0858 | 1141237.4125
21 | 2510882.7163 | 1141234.3742
22 | 2510924.9971 | 1141273.2055
23 | 2510919.5046 | 1141277.7227
24 | 2510939.4134 | 1141261.2251
25 | 2510875.6415 | 1141226.0072
26 | 2510885.7479 | 1141237.96
27 | 2510902.1644 | 1141257.3781
28 | 2510874.7837 | 1141224.9941
29 | 2510877.1884 | 1141278.5585
30 | 2510871.9789 | 1141221.681
31 | 2510784.1318 | 1141209.2358
32 | 2510798.8782 | 1141197.7503
33 | 2510768.1559 | 1141221.4952
34 | 2510813.5693 | 1141186.1842
35 | 2510815.3583 | 1141276.4471
36 | 2510830.1918 | 1141172.6145
37 | 2510816.3431 | 1141277.4818
38 | 2510827.676 | 1141289.3656
39 | 2510823.5971 | 1141271.4598
40 | 2510761.9954 | 1141322.6387
41 | 2510774.4587 | 1141336.6822
42 | 2510859.1209 | 1141195.6492
43 | 2510834.1291 | 1141283.7779
44 | 2510959.4598 | 1141281.788
45 | 2510872.8692 | 1141282.2214
46 | 2510789.709 | 1141353.866
47 | 2510805.3251 | 1141372.4311
48 | 2510809.7775 | 1141377.7498
49 | 2510769.3034 | 1141368.262
50 | 2510817.3099 | 1141386.7475
51 | 2510867.6207 | 1141286.6723
52 | 2510846.4178 | 1141304.653
53 | 2510865.4093 | 1141326.8031
54 | 2510875.3953 | 1141338.45
55 | 2510831.9606 | 1141404.2484
56 | 2510841.5931 | 1141415.1212
57 | 2510853.9676 | 1141429.0889
58 | 2510754.4025 | 1141351.9099
59 | 2510874.617 | 1141452.4126
60 | 2510774.4401 | 1141460.3666
61 | 2510878.846 | 1141382.275
62 | 2510804.6925 | 1141427.9327
63 | 2510916.1712 | 1141362.7003
64 | 2510844.8986 | 1141305.9095

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1