## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5721-21_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5721-21_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5721-21_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5721-21_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5721-21_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5721-21_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5721-21_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5721-21_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_5721-21_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5721-21_0_5_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_5721-21_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5721-21_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_5721-21_0_5_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_5721-21_0_5_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_5721-21_0_5_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_5721-21_0_5_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_5721-21_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_5721-21_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_5721-21_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5721-21_0_5_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_5721-21_0_5_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_5721-21_0_5_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_5721-21_0_5_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_5721-21_0_5_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_5721-21_0_5_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_5721-21_0_5_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_5721-21_0_5_node_67 | 0.4 | n |  | TRUE
27 | bus_LV_5721-21_0_5_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_5721-21_0_5_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_5721-21_0_5_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_5721-21_0_5_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_5721-21_0_5_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_5721-21_0_5_node_72 | 0.4 | n |  | TRUE
33 | bus_LV_5721-21_0_5_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_5721-21_0_5_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_5721-21_0_5_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_5721-21_0_5_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_5721-21_0_5_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_5721-21_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_5721-21_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5721-21_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5721-21_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5721-21_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5721-21_0_5_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5721-21_0_5_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_5721-21_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5721-21_0_5_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_5721-21_0_5_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_5721-21_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_5721-21_0_5_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_5721-21_0_5_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_5721-21_0_5_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_5721-21_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_5721-21_0_5_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_5721-21_0_5_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_5721-21_0_5_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_5721-21_0_5_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_5721-21_0_5_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_5721-21_0_5_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5721-21_0_5_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_5721-21_0_5_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5721-21_0_5_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_5721-21_0_5_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_5721-21_0_5_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_5721-21_0_5_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_5721-21_0_5_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_5721-21_0_5_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_5721-21_0_5_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_5721-21_0_5_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_5721-21_0_5_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_5721-21_0_5_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_5721-21_0_5_node_38 | 0.4 | n |  | TRUE
72 | bus_MV_452_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5721-21_0_5_load_0 | 0 | 0.03876 | 0.0097142 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5721-21_0_5_load_3 | 3 | 0.0076265 | 0.0019114 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5721-21_0_5_load_5 | 4 | 0.0010016 | 0.00025103 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5721-21_0_5_load_6 | 5 | 0.0010458 | 0.00026211 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5721-21_0_5_load_11 | 6 | 0.034027 | 0.008528 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5721-21_0_5_load_8 | 7 | 0.006741 | 0.0016894 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5721-21_0_5_load_9 | 8 | 0.0012019 | 0.00030124 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5721-21_0_5_load_12 | 9 | 0.014799 | 0.0037089 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5721-21_0_5_load_7 | 10 | 0.0030376 | 0.00076128 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5721-21_0_5_load_10 | 11 | 0.00058965 | 0.00014778 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5721-21_0_5_load_13 | 12 | 0.014487 | 0.0036307 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5721-21_0_5_load_14 | 16 | 0.0043531 | 0.001091 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5721-21_0_5_load_16 | 18 | 0.0043254 | 0.0010841 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5721-21_0_5_load_78 | 19 | 0.0078094 | 0.0019572 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5721-21_0_5_load_59 | 21 | 0.024145 | 0.0060512 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5721-21_0_5_load_60 | 22 | 0.024806 | 0.006217 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5721-21_0_5_load_64 | 23 | 0.0019202 | 0.00048125 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5721-21_0_5_load_66 | 25 | 0.00062871 | 0.00015757 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5721-21_0_5_load_68 | 27 | 0.00072128 | 0.00018077 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5721-21_0_5_load_70 | 29 | 0.0031874 | 0.00079885 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5721-21_0_5_load_76 | 30 | 0.0011355 | 0.00028458 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5721-21_0_5_load_71 | 31 | 0.00028496 | 7.1418e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5721-21_0_5_load_72 | 32 | 0.00040707 | 0.00010202 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5721-21_0_5_load_73 | 33 | 0.0030376 | 0.00076129 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5721-21_0_5_load_74 | 34 | 0.00051488 | 0.00012904 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5721-21_0_5_load_75 | 35 | 0.0011816 | 0.00029613 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5721-21_0_5_load_63 | 36 | 0.0045054 | 0.0011292 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5721-21_0_5_load_21 | 38 | 0.0044964 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5721-21_0_5_load_22 | 39 | 0.0025191 | 0.00063135 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5721-21_0_5_load_23 | 40 | 0.021341 | 0.0053486 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5721-21_0_5_load_27 | 44 | 0.031551 | 0.0079075 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5721-21_0_5_load_61 | 46 | 0.043445 | 0.010888 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5721-21_0_5_load_55 | 51 | 0.0096503 | 0.0024186 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5721-21_0_5_load_50 | 54 | 0.09337 | 0.023401 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5721-21_0_5_load_58 | 55 | 0.034715 | 0.0087004 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5721-21_0_5_load_57 | 56 | 0.0072871 | 0.0018263 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5721-21_0_5_load_56 | 59 | 0.003737 | 0.00093657 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5721-21_0_5_load_43 | 62 | 0.038636 | 0.009683 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5721-21_0_5_load_39 | 65 | 0.0033752 | 0.00084589 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5721-21_0_5_load_52 | 68 | 0.0090545 | 0.0022693 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5721-21_0_5_load_54 | 69 | 0.0087806 | 0.0022006 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5721-21_0_5_load_49 | 70 | 0.0056848 | 0.0014247 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5721-21_0_5_load_38 | 71 | 0.0058639 | 0.0014696 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5721-21_0_5_line_0 |  | 0 | 1 | 0.0023108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5721-21_0_5_line_1 |  | 0 | 2 | 0.0278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5721-21_0_5_line_2 |  | 1 | 3 | 0.015395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5721-21_0_5_line_3 |  | 2 | 4 | 0.015678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5721-21_0_5_line_4 |  | 2 | 5 | 0.027319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5721-21_0_5_line_5 |  | 3 | 6 | 0.0030029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5721-21_0_5_line_6 |  | 4 | 7 | 0.01072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5721-21_0_5_line_7 |  | 5 | 8 | 0.011827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5721-21_0_5_line_8 |  | 6 | 9 | 0.019144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5721-21_0_5_line_9 |  | 7 | 10 | 0.0074372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5721-21_0_5_line_10 |  | 8 | 11 | 0.0024453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5721-21_0_5_line_11 |  | 9 | 12 | 0.01249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5721-21_0_5_line_12 |  | 12 | 13 | 0.10463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5721-21_0_5_line_13 |  | 13 | 14 | 0.11697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5721-21_0_5_line_14 |  | 13 | 15 | 0.10221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5721-21_0_5_line_15 |  | 14 | 38 | 0.022012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5721-21_0_5_line_16 |  | 15 | 19 | 0.011927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5721-21_0_5_line_17 |  | 15 | 20 | 0.0496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5721-21_0_5_line_18 |  | 15 | 17 | 0.090789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5721-21_0_5_line_19 |  | 16 | 17 | 0.019982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5721-21_0_5_line_20 |  | 17 | 18 | 0.02991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5721-21_0_5_line_21 |  | 20 | 36 | 0.014844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5721-21_0_5_line_22 |  | 20 | 37 | 0.014054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5721-21_0_5_line_23 |  | 21 | 22 | 0.034255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5721-21_0_5_line_24 |  | 22 | 45 | 0.019806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5721-21_0_5_line_25 |  | 23 | 24 | 0.049978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5721-21_0_5_line_26 |  | 24 | 25 | 0.13023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5721-21_0_5_line_27 |  | 25 | 26 | 0.025353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5721-21_0_5_line_28 |  | 26 | 27 | 0.063869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5721-21_0_5_line_29 |  | 27 | 28 | 0.05319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5721-21_0_5_line_30 |  | 28 | 29 | 0.092758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5721-21_0_5_line_31 |  | 28 | 30 | 0.44337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5721-21_0_5_line_32 |  | 29 | 31 | 0.0052501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5721-21_0_5_line_33 |  | 30 | 68 | 0.61701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5721-21_0_5_line_34 |  | 31 | 32 | 0.027898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5721-21_0_5_line_35 |  | 32 | 33 | 0.018932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5721-21_0_5_line_36 |  | 33 | 34 | 0.0054639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5721-21_0_5_line_37 |  | 34 | 35 | 0.032393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5721-21_0_5_line_38 |  | 36 | 61 | 0.01947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5721-21_0_5_line_39 |  | 37 | 71 | 0.0132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5721-21_0_5_line_40 |  | 38 | 39 | 0.015499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5721-21_0_5_line_41 |  | 40 | 41 | 0.014173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5721-21_0_5_line_42 |  | 40 | 42 | 0.0032413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5721-21_0_5_line_43 |  | 41 | 43 | 0.013737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5721-21_0_5_line_44 |  | 41 | 44 | 0.028895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5721-21_0_5_line_45 |  | 42 | 45 | 0.041963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5721-21_0_5_line_46 |  | 43 | 46 | 0.0034397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5721-21_0_5_line_47 |  | 44 | 47 | 0.0042632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5721-21_0_5_line_48 |  | 47 | 61 | 0.018767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5721-21_0_5_line_49 |  | 48 | 49 | 0.016603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5721-21_0_5_line_50 |  | 48 | 50 | 0.030314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5721-21_0_5_line_51 |  | 48 | 51 | 0.020288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5721-21_0_5_line_52 |  | 49 | 56 | 0.014516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5721-21_0_5_line_53 |  | 50 | 55 | 0.018797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5721-21_0_5_line_54 |  | 51 | 53 | 0.0027248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5721-21_0_5_line_55 |  | 52 | 53 | 0.018089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5721-21_0_5_line_56 |  | 52 | 54 | 0.0020772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5721-21_0_5_line_57 |  | 54 | 67 | 0.011992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5721-21_0_5_line_58 |  | 55 | 58 | 0.0028597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5721-21_0_5_line_59 |  | 57 | 58 | 0.014556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5721-21_0_5_line_60 |  | 57 | 59 | 0.014414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5721-21_0_5_line_61 |  | 59 | 66 | 0.0085652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5721-21_0_5_line_62 |  | 60 | 61 | 0.01367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5721-21_0_5_line_63 |  | 60 | 62 | 0.0024211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5721-21_0_5_line_64 |  | 63 | 64 | 0.014846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_5721-21_0_5_line_65 |  | 63 | 65 | 0.01077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5721-21_0_5_line_66 |  | 64 | 66 | 0.021121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5721-21_0_5_line_67 |  | 64 | 70 | 0.032455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5721-21_0_5_line_68 |  | 65 | 71 | 0.042953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5721-21_0_5_line_69 |  | 67 | 68 | 0.017699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5721-21_0_5_line_70 |  | 68 | 69 | 0.03119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5721-21_0_5_trafo_26 | 0.63 MVA 20/0.4 kV | 72 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2509826.8788 | 1142330.3474 | 2509825.2652 | 1142328.6933
1 | 2509805.8525 | 1142308.7937 | 2509825.2652 | 1142328.6933
2 | 2509826.8788 | 1142330.3474 | 2509837.9157 | 1142341.0797
3 | 2509805.8525 | 1142308.7937 | 2509795.3802 | 1142297.1258
4 | 2509805.8525 | 1142308.7937 | 2509788.9541 | 1142325.7012 | 2509786.4323 | 1142323.3997
5 | 2509837.9157 | 1142341.0797 | 2509840.0685 | 1142343.1731
6 | 2509788.2198 | 1142289.1478 | 2509795.3802 | 1142297.1258
7 | 2509777.6967 | 1142315.427 | 2509786.4323 | 1142323.3997
8 | 2509853.7934 | 1142356.5191 | 2509840.0685 | 1142343.1731
9 | 2509783.2521 | 1142283.613 | 2509788.2198 | 1142289.1478
10 | 2509775.8906 | 1142313.7786 | 2509777.6967 | 1142315.427
11 | 2509853.7934 | 1142356.5191 | 2509862.748 | 1142365.2265
12 | 2509933.651 | 1142442.0837 | 2509921.2659 | 1142430.2507 | 2509870.3873 | 1142372.655 | 2509862.748 | 1142365.2265
13 | 2510019.9225 | 1142521.2975 | 2509939.99 | 1142448.5373 | 2509933.651 | 1142442.0837
14 | 2509856.6614 | 1142471.5528 | 2509865.6899 | 1142483.0579 | 2509873.0579 | 1142482.7586 | 2509883.0406 | 1142484.577 | 2509884.9721 | 1142482.1356 | 2509887.6154 | 1142480.5062 | 2509890.6654 | 1142479.8602 | 2509893.7471 | 1142480.3032 | 2509896.4982 | 1142481.7741 | 2509905.7386 | 1142469.9399 | 2509910.1201 | 1142464.7713 | 2509914.8343 | 1142459.7423 | 2509919.6671 | 1142454.9338 | 2509924.67 | 1142450.1895 | 2509933.651 | 1142442.0837
15 | 2510019.9225 | 1142521.2975 | 2510036.1686 | 1142536.1501
16 | 2509865.5671 | 1142464.0706 | 2509861.7765 | 1142465.5727 | 2509856.6614 | 1142471.5528
17 | 2509817.9421 | 1142440.9917 | 2509823.1348 | 1142443.2821 | 2509834.3178 | 1142451.3195 | 2509838.8502 | 1142455.1984 | 2509851.1323 | 1142466.8216 | 2509856.6614 | 1142471.5528
18 | 2509824.4831 | 1142529.2021 | 2509846.4351 | 1142530.4855 | 2509858.1341 | 1142515.4903 | 2509864.4896 | 1142505.5893 | 2509864.9634 | 1142499.234 | 2509863.0219 | 1142493.8154 | 2509863.4491 | 1142487.9499 | 2509865.6899 | 1142483.0579 | 2509856.6614 | 1142471.5528
19 | 2509824.4831 | 1142529.2021 | 2509811.0158 | 1142543.9637
20 | 2509824.4831 | 1142529.2021 | 2509844.6424 | 1142507.1068
21 | 2509817.9421 | 1142440.9917 | 2509808.1386 | 1142452.1379
22 | 2509805.4146 | 1142434.5532 | 2509817.9421 | 1142440.9917
23 | 2509762.0297 | 1142586.4257 | 2509736.5152 | 1142563.5687
24 | 2509721.7631 | 1142550.3531 | 2509736.5152 | 1142563.5687
25 | 2509401.2454 | 1143550.6524 | 2509402.7838 | 1143551.7521 | 2509420.5458 | 1143564.4482 | 2509427.455 | 1143569.5029 | 2509437.8415 | 1143577.3181 | 2509440.2524 | 1143581.347
26 | 2509401.2454 | 1143550.6524 | 2509389.578 | 1143540.9777 | 2509378.5332 | 1143529.7815 | 2509374.9735 | 1143525.1212 | 2509369.7513 | 1143518.2734 | 2509348.7738 | 1143490.617 | 2509341.6246 | 1143482.9088 | 2509335.4931 | 1143477.4423 | 2509331.5584 | 1143473.9216 | 2509320.2336 | 1143465.0646 | 2509310.667 | 1143458.2045
27 | 2509290.3174 | 1143443.0907 | 2509298.6707 | 1143449.6021 | 2509310.667 | 1143458.2045
28 | 2509290.3174 | 1143443.0907 | 2509289.8006 | 1143438.896 | 2509292.3008 | 1143433.9331 | 2509318.5953 | 1143406.821 | 2509329.8516 | 1143395.0077
29 | 2509366.2749 | 1143356.2843 | 2509362.3539 | 1143359.8009 | 2509347.4102 | 1143376.5803 | 2509329.8516 | 1143395.0077
30 | 2509366.2749 | 1143356.2843 | 2509380.7132 | 1143367.1958 | 2509392.9662 | 1143373.8822 | 2509434.8017 | 1143396.7112 | 2509445.9278 | 1143403.5182
31 | 2509366.2749 | 1143356.2843 | 2509226.0332 | 1142935.6772
32 | 2509445.9278 | 1143403.5182 | 2509450.4063 | 1143406.2581
33 | 2509637.0532 | 1142475.502 | 2509226.0332 | 1142935.6772
34 | 2509474.438 | 1143420.3634 | 2509471.1785 | 1143418.9666 | 2509450.4063 | 1143406.2581
35 | 2509474.438 | 1143420.3634 | 2509491.8396 | 1143427.8207
36 | 2509496.8618 | 1143429.9729 | 2509491.8396 | 1143427.8207
37 | 2509496.8618 | 1143429.9729 | 2509516.0182 | 1143438.1822 | 2509525.8829 | 1143444.1936
38 | 2509795.2802 | 1142466.7575 | 2509808.1386 | 1142452.1379
39 | 2509805.4146 | 1142434.5532 | 2509795.0385 | 1142426.3931
40 | 2510036.1686 | 1142536.1501 | 2510047.6077 | 1142546.6081
41 | 2509760.9703 | 1142505.7613 | 2509751.6134 | 1142516.4068
42 | 2509749.4735 | 1142518.8413 | 2509751.6134 | 1142516.4068
43 | 2509750.6781 | 1142496.6322 | 2509760.9703 | 1142505.7613
44 | 2509760.9703 | 1142505.7613 | 2509780.0529 | 1142484.0641
45 | 2509749.4735 | 1142518.8413 | 2509734.0309 | 1142536.4054 | 2509721.7631 | 1142550.3531
46 | 2509750.6781 | 1142496.6322 | 2509748.4037 | 1142499.2127
47 | 2509782.8684 | 1142480.8629 | 2509780.0529 | 1142484.0641
48 | 2509795.2802 | 1142466.7575 | 2509782.8684 | 1142480.8629
49 | 2509676.0279 | 1142457.9945 | 2509677.5548 | 1142456.2594 | 2509688.3202 | 1142465.6592
50 | 2509688.3202 | 1142465.6592 | 2509689.0007 | 1142464.9041 | 2509707.856 | 1142443.7089 | 2509708.4683 | 1142443.0104
51 | 2509688.3202 | 1142465.6592 | 2509674.8368 | 1142480.8184
52 | 2509676.0279 | 1142457.9945 | 2509664.351 | 1142449.3705
53 | 2509708.4683 | 1142443.0104 | 2509720.9623 | 1142428.9661
54 | 2509673.0259 | 1142482.8544 | 2509674.8368 | 1142480.8184
55 | 2509673.0259 | 1142482.8544 | 2509660.9901 | 1142496.3874
56 | 2509660.9901 | 1142496.3874 | 2509659.416 | 1142495.0322
57 | 2509650.328 | 1142487.2084 | 2509659.416 | 1142495.0322
58 | 2509722.8631 | 1142426.8294 | 2509720.9623 | 1142428.9661
59 | 2509711.9401 | 1142417.1762 | 2509722.8631 | 1142426.8294
60 | 2509711.9401 | 1142417.1762 | 2509721.4561 | 1142406.3497
61 | 2509727.1107 | 1142399.9164 | 2509721.4561 | 1142406.3497
62 | 2509785.0802 | 1142457.627 | 2509795.2802 | 1142466.7575
63 | 2509785.0802 | 1142457.627 | 2509786.681 | 1142455.8106
64 | 2509741.0798 | 1142384.042 | 2509752.81 | 1142393.1829
65 | 2509752.81 | 1142393.1829 | 2509761.2753 | 1142399.8404
66 | 2509741.0798 | 1142384.042 | 2509727.1107 | 1142399.9164
67 | 2509741.0798 | 1142384.042 | 2509716.0507 | 1142363.3816
68 | 2509795.0385 | 1142426.3931 | 2509761.2753 | 1142399.8404
69 | 2509650.328 | 1142487.2084 | 2509637.0532 | 1142475.502
70 | 2509613.6596 | 1142454.8725 | 2509637.0532 | 1142475.502

## bus_geodata
| x | y | coords
0 | 2509825.2652 | 1142328.6933
1 | 2509826.8788 | 1142330.3474
2 | 2509805.8525 | 1142308.7937
3 | 2509837.9157 | 1142341.0797
4 | 2509795.3802 | 1142297.1258
5 | 2509786.4323 | 1142323.3997
6 | 2509840.0686 | 1142343.1731
7 | 2509788.2198 | 1142289.1478
8 | 2509777.6967 | 1142315.427
9 | 2509853.7934 | 1142356.5191
10 | 2509783.2521 | 1142283.613
11 | 2509775.8906 | 1142313.7786
12 | 2509862.748 | 1142365.2265
13 | 2509933.651 | 1142442.0837
14 | 2510019.9225 | 1142521.2975
15 | 2509856.6614 | 1142471.5528
16 | 2509811.0158 | 1142543.9637
17 | 2509824.4831 | 1142529.2021
18 | 2509844.6424 | 1142507.1068
19 | 2509865.5671 | 1142464.0706
20 | 2509817.9421 | 1142440.9917
21 | 2509762.0297 | 1142586.4257
22 | 2509736.5152 | 1142563.5687
23 | 2509440.2524 | 1143581.347
24 | 2509401.2454 | 1143550.6524
25 | 2509310.667 | 1143458.2045
26 | 2509290.3174 | 1143443.0907
27 | 2509329.8516 | 1143395.0077
28 | 2509366.2749 | 1143356.2843
29 | 2509445.9278 | 1143403.5182
30 | 2509226.0332 | 1142935.6772
31 | 2509450.4063 | 1143406.2581
32 | 2509474.438 | 1143420.3634
33 | 2509491.8396 | 1143427.8207
34 | 2509496.8618 | 1143429.9729
35 | 2509525.8829 | 1143444.1936
36 | 2509808.1386 | 1142452.1379
37 | 2509805.4146 | 1142434.5532
38 | 2510036.1686 | 1142536.1501
39 | 2510047.6077 | 1142546.6081
40 | 2509751.6134 | 1142516.4068
41 | 2509760.9703 | 1142505.7613
42 | 2509749.4735 | 1142518.8413
43 | 2509750.6781 | 1142496.6322
44 | 2509780.0529 | 1142484.0641
45 | 2509721.7631 | 1142550.3531
46 | 2509748.4037 | 1142499.2127
47 | 2509782.8684 | 1142480.8629
48 | 2509688.3202 | 1142465.6592
49 | 2509676.0279 | 1142457.9945
50 | 2509708.4683 | 1142443.0104
51 | 2509674.8368 | 1142480.8184
52 | 2509660.9901 | 1142496.3874
53 | 2509673.0259 | 1142482.8544
54 | 2509659.416 | 1142495.0322
55 | 2509720.9623 | 1142428.9661
56 | 2509664.351 | 1142449.3705
57 | 2509711.9401 | 1142417.1762
58 | 2509722.8631 | 1142426.8294
59 | 2509721.4561 | 1142406.3497
60 | 2509785.0802 | 1142457.627
61 | 2509795.2802 | 1142466.7575
62 | 2509786.681 | 1142455.8106
63 | 2509752.81 | 1142393.1829
64 | 2509741.0798 | 1142384.042
65 | 2509761.2753 | 1142399.8404
66 | 2509727.1107 | 1142399.9164
67 | 2509650.328 | 1142487.2084
68 | 2509637.0532 | 1142475.502
69 | 2509613.6596 | 1142454.8725
70 | 2509716.0507 | 1142363.3816
71 | 2509795.0385 | 1142426.3931
72 | 2509760.9703 | 1142505.7613

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1