## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5721-24_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5721-24_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5721-24_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5721-24_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5721-24_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5721-24_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_5721-24_0_5_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_5721-24_0_5_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_5721-24_0_5_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_5721-24_0_5_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_5721-24_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5721-24_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5721-24_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5721-24_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5721-24_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5721-24_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5721-24_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5721-24_0_5_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_5721-24_0_5_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_5721-24_0_5_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_5721-24_0_5_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_5721-24_0_5_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5721-24_0_5_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_5721-24_0_5_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_5721-24_0_5_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_5721-24_0_5_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_5721-24_0_5_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_5721-24_0_5_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_5721-24_0_5_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5721-24_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5721-24_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5721-24_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5721-24_0_5_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_5721-24_0_5_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_5721-24_0_5_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_5721-24_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5721-24_0_5_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_5721-24_0_5_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_5721-24_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5721-24_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5721-24_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_5721-24_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_5721-24_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5721-24_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_5721-24_0_5_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_5721-24_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_5721-24_0_5_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_5721-24_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_5721-24_0_5_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5721-24_0_5_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5721-24_0_5_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_5721-24_0_5_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_5721-24_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5721-24_0_5_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_5721-24_0_5_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_5721-24_0_5_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5721-24_0_5_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_5721-24_0_5_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_5721-24_0_5_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_5721-24_0_5_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_5721-24_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_5721-24_0_5_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_5721-24_0_5_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_5721-24_0_5_node_50 | 0.4 | n |  | TRUE
64 | bus_MV_452_0_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5721-24_0_5_load_0 | 0 | 0.0021898 | 0.00054881 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5721-24_0_5_load_1 | 1 | 0.0084055 | 0.0021066 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5721-24_0_5_load_3 | 3 | 0.0078276 | 0.0019618 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5721-24_0_5_load_67 | 6 | 0.021407 | 0.005365 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5721-24_0_5_load_44 | 8 | 0.013238 | 0.0033177 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5721-24_0_5_load_38 | 9 | 0.020653 | 0.0051761 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5721-24_0_5_load_5 | 10 | 0.0036657 | 0.00091871 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5721-24_0_5_load_6 | 11 | 0.0037297 | 0.00093475 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5721-24_0_5_load_7 | 12 | 0.0019554 | 0.00049007 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5721-24_0_5_load_9 | 14 | 0.0042402 | 0.0010627 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5721-24_0_5_load_12 | 16 | 0.014321 | 0.0035892 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5721-24_0_5_load_25 | 19 | 0.0016869 | 0.00042276 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5721-24_0_5_load_57 | 20 | 0.0031825 | 0.00079762 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5721-24_0_5_load_45 | 22 | 0.0095589 | 0.0023957 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5721-24_0_5_load_66 | 23 | 0.017 | 0.0042605 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5721-24_0_5_load_58 | 26 | 0.031234 | 0.0078279 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5721-24_0_5_load_13 | 27 | 0.028518 | 0.0071472 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5721-24_0_5_load_14 | 28 | 0.046623 | 0.011685 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5721-24_0_5_load_16 | 30 | 0.011888 | 0.0029793 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5721-24_0_5_load_63 | 33 | 0.012316 | 0.0030867 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5721-24_0_5_load_59 | 34 | 0.012511 | 0.0031356 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5721-24_0_5_load_23 | 35 | 0.016679 | 0.0041801 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5721-24_0_5_load_62 | 36 | 0.016758 | 0.0042 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5721-24_0_5_load_60 | 37 | 0.0189 | 0.0047369 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5721-24_0_5_load_28 | 38 | 0.0018915 | 0.00047405 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5721-24_0_5_load_27 | 39 | 0.0014267 | 0.00035757 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5721-24_0_5_load_31 | 40 | 0.0092632 | 0.0023216 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5721-24_0_5_load_32 | 42 | 0.011794 | 0.0029559 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5721-24_0_5_load_34 | 43 | 0.0050393 | 0.001263 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5721-24_0_5_load_40 | 45 | 0.010416 | 0.0026104 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5721-24_0_5_load_36 | 46 | 0.013472 | 0.0033765 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5721-24_0_5_load_37 | 48 | 0.016395 | 0.0041089 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5721-24_0_5_load_65 | 50 | 0.0052625 | 0.0013189 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5721-24_0_5_load_64 | 51 | 0.0067826 | 0.0016999 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5721-24_0_5_load_56 | 53 | 0.011739 | 0.0029421 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5721-24_0_5_load_53 | 55 | 0.0080668 | 0.0020217 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5721-24_0_5_load_51 | 57 | 0.0069686 | 0.0017465 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5721-24_0_5_load_55 | 58 | 0.0084287 | 0.0021124 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5721-24_0_5_load_46 | 59 | 0.013543 | 0.0033941 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5721-24_0_5_load_47 | 60 | 0.0085886 | 0.0021525 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5721-24_0_5_load_48 | 61 | 0.0082753 | 0.002074 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5721-24_0_5_load_49 | 62 | 0.017139 | 0.0042953 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5721-24_0_5_load_50 | 63 | 0.0082713 | 0.002073 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5721-24_0_5_line_0 |  | 0 | 1 | 0.0057733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5721-24_0_5_line_1 |  | 0 | 2 | 0.024619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5721-24_0_5_line_2 |  | 1 | 3 | 0.014292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5721-24_0_5_line_3 |  | 2 | 4 | 0.032398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5721-24_0_5_line_4 |  | 4 | 5 | 0.034765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_5721-24_0_5_line_5 |  | 4 | 6 | 0.041982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5721-24_0_5_line_6 |  | 5 | 7 | 0.04291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5721-24_0_5_line_7 |  | 5 | 8 | 0.015481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5721-24_0_5_line_8 |  | 7 | 9 | 0.01259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5721-24_0_5_line_9 |  | 8 | 22 | 0.022809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5721-24_0_5_line_10 |  | 9 | 44 | 0.063314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5721-24_0_5_line_11 |  | 10 | 11 | 0.022873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5721-24_0_5_line_12 |  | 10 | 12 | 0.037636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5721-24_0_5_line_13 |  | 11 | 13 | 0.036205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_5721-24_0_5_line_14 |  | 12 | 14 | 0.021087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_5721-24_0_5_line_15 |  | 13 | 15 | 0.021898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5721-24_0_5_line_16 |  | 13 | 16 | 0.023738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_5721-24_0_5_line_17 |  | 14 | 17 | 0.011097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5721-24_0_5_line_18 |  | 15 | 18 | 0.041489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5721-24_0_5_line_19 |  | 15 | 19 | 0.052297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5721-24_0_5_line_20 |  | 16 | 20 | 0.0086039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5721-24_0_5_line_21 |  | 17 | 21 | 0.007546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5721-24_0_5_line_22 |  | 18 | 23 | 0.014718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5721-24_0_5_line_23 |  | 18 | 24 | 0.014936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5721-24_0_5_line_24 |  | 19 | 25 | 0.013157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5721-24_0_5_line_25 |  | 20 | 26 | 0.03407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_5721-24_0_5_line_26 |  | 21 | 30 | 0.019505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5721-24_0_5_line_27 |  | 22 | 59 | 0.00078201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_5721-24_0_5_line_28 |  | 24 | 38 | 0.011596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5721-24_0_5_line_29 |  | 25 | 35 | 0.028276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5721-24_0_5_line_30 |  | 26 | 56 | 0.039828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_5721-24_0_5_line_31 |  | 27 | 28 | 0.0061725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5721-24_0_5_line_32 |  | 27 | 29 | 0.019756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5721-24_0_5_line_33 |  | 28 | 30 | 0.013811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_5721-24_0_5_line_34 |  | 29 | 31 | 0.034501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_5721-24_0_5_line_35 |  | 31 | 32 | 0.050686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_5721-24_0_5_line_36 |  | 31 | 33 | 0.017283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5721-24_0_5_line_37 |  | 32 | 34 | 0.017389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5721-24_0_5_line_38 |  | 34 | 37 | 0.0021643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_5721-24_0_5_line_39 |  | 36 | 37 | 0.020033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5721-24_0_5_line_40 |  | 38 | 39 | 0.034738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5721-24_0_5_line_41 |  | 40 | 41 | 0.025168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5721-24_0_5_line_42 |  | 41 | 44 | 0.035476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5721-24_0_5_line_43 |  | 42 | 43 | 0.021165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5721-24_0_5_line_44 |  | 43 | 45 | 0.019984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5721-24_0_5_line_45 |  | 44 | 46 | 0.020575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5721-24_0_5_line_46 |  | 45 | 47 | 0.0097583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5721-24_0_5_line_47 |  | 46 | 48 | 0.028567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5721-24_0_5_line_48 |  | 47 | 49 | 0.03032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5721-24_0_5_line_49 |  | 49 | 50 | 0.007415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5721-24_0_5_line_50 |  | 49 | 51 | 0.040057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5721-24_0_5_line_51 |  | 51 | 52 | 0.028354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5721-24_0_5_line_52 |  | 52 | 53 | 0.018115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5721-24_0_5_line_53 |  | 53 | 58 | 0.020905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5721-24_0_5_line_54 |  | 54 | 55 | 0.019507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5721-24_0_5_line_55 |  | 54 | 56 | 0.061001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_5721-24_0_5_line_56 |  | 54 | 57 | 0.031376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_5721-24_0_5_line_57 |  | 55 | 58 | 0.015723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5721-24_0_5_line_58 |  | 57 | 63 | 0.015657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_5721-24_0_5_line_59 |  | 59 | 60 | 0.017205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_5721-24_0_5_line_60 |  | 60 | 61 | 0.0094515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_5721-24_0_5_line_61 |  | 61 | 62 | 0.0057021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_5721-24_0_5_line_62 |  | 62 | 63 | 0.011376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5721-24_0_5_trafo_67 | 0.63 MVA 20/0.4 kV | 64 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2509456.4513 | 1141646.2233 | 2509451.7057 | 1141649.5111
1 | 2509476.6877 | 1141632.2032 | 2509456.4513 | 1141646.2233
2 | 2509439.1633 | 1141653.9801 | 2509443.0312 | 1141649.9195 | 2509451.7057 | 1141649.5111
3 | 2509478.9185 | 1141664.5001 | 2509478.1246 | 1141645.9565 | 2509476.6877 | 1141632.2032
4 | 2509478.9185 | 1141664.5001 | 2509479.4308 | 1141676.5885 | 2509480.1356 | 1141691.2534 | 2509480.4555 | 1141699.2311
5 | 2509467.2438 | 1141698.5515 | 2509465.8352 | 1141671.3452 | 2509478.9185 | 1141664.5001
6 | 2509480.4555 | 1141699.2311 | 2509480.1356 | 1141691.2534 | 2509484.307 | 1141691.0128 | 2509483.2294 | 1141673.5408 | 2509491.8434 | 1141663.4831
7 | 2509480.4555 | 1141699.2311 | 2509486.0288 | 1141701.7267 | 2509492.2774 | 1141708.7148
8 | 2509491.8434 | 1141663.4831 | 2509490.8321 | 1141650.9338
9 | 2509492.2774 | 1141708.7148 | 2509507.4813 | 1141725.7179
10 | 2509480.8134 | 1141588.5151 | 2509486.7308 | 1141614.9198 | 2509490.0475 | 1141641.1968 | 2509490.8321 | 1141650.9338
11 | 2509436.4271 | 1141741.0895 | 2509446.5089 | 1141751.8282 | 2509452.7865 | 1141757.0158
12 | 2509436.4271 | 1141741.0895 | 2509418.6683 | 1141722.1734 | 2509410.8047 | 1141713.5235
13 | 2509482.6125 | 1141765.494 | 2509476.2979 | 1141770.4585 | 2509472.59 | 1141770.8366 | 2509467.5449 | 1141769.2114 | 2509452.7865 | 1141757.0158
14 | 2509396.62 | 1141697.9202 | 2509410.8047 | 1141713.5235
15 | 2509482.8335 | 1141787.3593 | 2509482.2336 | 1141779.1634 | 2509482.6125 | 1141765.494
16 | 2509482.6125 | 1141765.494 | 2509487.2742 | 1141766.6802 | 2509494.6969 | 1141773.5395 | 2509500.5801 | 1141780.112
17 | 2509389.1551 | 1141689.7088 | 2509396.62 | 1141697.9202
18 | 2509482.8335 | 1141787.3593 | 2509483.8643 | 1141828.8242
19 | 2509482.8335 | 1141787.3593 | 2509473.5485 | 1141787.0319 | 2509468.1072 | 1141789.2261 | 2509440.8434 | 1141814.4453
20 | 2509500.5801 | 1141780.112 | 2509506.3185 | 1141786.5227
21 | 2509383.69 | 1141694.9275 | 2509389.1551 | 1141689.7088
22 | 2509498.6256 | 1141828.7802 | 2509483.8643 | 1141828.8242
23 | 2509483.8643 | 1141828.8242 | 2509483.835 | 1141843.7558
24 | 2509431.1852 | 1141823.3792 | 2509440.8434 | 1141814.4453
25 | 2509506.3185 | 1141786.5227 | 2509529.042 | 1141811.9085
26 | 2509383.69 | 1141694.9275 | 2509370.6568 | 1141709.4391
27 | 2509508.0025 | 1141726.3008 | 2509507.4813 | 1141725.7179
28 | 2509483.835 | 1141843.7558 | 2509474.9257 | 1141844.8903 | 2509473.0272 | 1141846.6881
29 | 2509431.1852 | 1141823.3792 | 2509410.128 | 1141804.5075
30 | 2509555.9844 | 1141841.2264 | 2509549.3339 | 1141834.5778 | 2509529.042 | 1141811.9085
31 | 2509357.3038 | 1141724.3069 | 2509361.4282 | 1141719.7147
32 | 2509344.1032 | 1141739.0049 | 2509357.3038 | 1141724.3069
33 | 2509370.6568 | 1141709.4391 | 2509361.4282 | 1141719.7147
34 | 2509344.1032 | 1141739.0049 | 2509318.2623 | 1141716.0689
35 | 2509280.4997 | 1141682.1503 | 2509318.2623 | 1141716.0689
36 | 2509318.2623 | 1141716.0689 | 2509329.7855 | 1141703.1883
37 | 2509280.4997 | 1141682.1503 | 2509292.1441 | 1141669.2353
38 | 2509292.1441 | 1141669.2353 | 2509293.5934 | 1141667.6279
39 | 2509293.5934 | 1141667.6279 | 2509307.0079 | 1141652.7495
40 | 2509447.635 | 1141870.394 | 2509467.004 | 1141852.3916 | 2509473.0272 | 1141846.6881
41 | 2509495.723 | 1141558.9067 | 2509515.088 | 1141574.9816
42 | 2509480.8134 | 1141588.5151 | 2509479.3876 | 1141582.1549 | 2509480.7605 | 1141576.2975 | 2509487.5389 | 1141568.4131 | 2509495.723 | 1141558.9067
43 | 2509572.6477 | 1141622.7619 | 2509588.9329 | 1141636.2803
44 | 2509588.9329 | 1141636.2803 | 2509604.3097 | 1141649.0445
45 | 2509480.8134 | 1141588.5151 | 2509496.8613 | 1141601.3912
46 | 2509611.8182 | 1141655.2773 | 2509604.3097 | 1141649.0445
47 | 2509519.143 | 1141619.2689 | 2509496.8613 | 1141601.3912
48 | 2509611.8182 | 1141655.2773 | 2509630.9432 | 1141670.8553 | 2509627.4345 | 1141675.2884
49 | 2509622.4969 | 1141680.8324 | 2509627.4345 | 1141675.2884
50 | 2509627.4345 | 1141675.2884 | 2509628.5911 | 1141679.0955 | 2509634.4148 | 1141689.57 | 2509636.4151 | 1141700.9246 | 2509635.0195 | 1141705.7818 | 2509630.4197 | 1141711.7186
51 | 2509617.2062 | 1141736.1004 | 2509619.6025 | 1141725.6804 | 2509630.4197 | 1141711.7186
52 | 2509617.2062 | 1141736.1004 | 2509609.0428 | 1141740.3254 | 2509603.7013 | 1141747.4734
53 | 2509591.1876 | 1141764.2193 | 2509603.7013 | 1141747.4734
54 | 2509570.0983 | 1141792.4409 | 2509581.7755 | 1141776.8145
55 | 2509555.9844 | 1141841.2264 | 2509560.3959 | 1141833.9447 | 2509581.0443 | 1141802.516 | 2509574.5149 | 1141796.7661 | 2509570.0983 | 1141792.4409
56 | 2509570.0983 | 1141792.4409 | 2509547.6887 | 1141770.4804
57 | 2509581.7755 | 1141776.8145 | 2509591.1876 | 1141764.2193
58 | 2509537.1541 | 1141758.9023 | 2509546.2198 | 1141769.0409 | 2509547.6887 | 1141770.4804
59 | 2509508.0025 | 1141726.3008 | 2509519.4707 | 1141739.1263
60 | 2509525.7707 | 1141746.1718 | 2509519.4707 | 1141739.1263
61 | 2509529.5715 | 1141750.4224 | 2509525.7707 | 1141746.1718
62 | 2509529.5715 | 1141750.4224 | 2509537.1541 | 1141758.9023

## bus_geodata
| x | y | coords
0 | 2509456.4513 | 1141646.2233
1 | 2509451.7057 | 1141649.5111
2 | 2509476.6877 | 1141632.2032
3 | 2509439.1633 | 1141653.9801
4 | 2509478.9185 | 1141664.5001
5 | 2509480.4555 | 1141699.2311
6 | 2509467.2438 | 1141698.5515
7 | 2509491.8434 | 1141663.4831
8 | 2509492.2774 | 1141708.7148
9 | 2509490.8321 | 1141650.9338
10 | 2509436.4271 | 1141741.0895
11 | 2509452.7865 | 1141757.0158
12 | 2509410.8047 | 1141713.5235
13 | 2509482.6125 | 1141765.494
14 | 2509396.62 | 1141697.9202
15 | 2509482.8335 | 1141787.3593
16 | 2509500.5801 | 1141780.112
17 | 2509389.1551 | 1141689.7088
18 | 2509483.8643 | 1141828.8242
19 | 2509440.8434 | 1141814.4453
20 | 2509506.3185 | 1141786.5227
21 | 2509383.69 | 1141694.9275
22 | 2509507.4813 | 1141725.7179
23 | 2509498.6256 | 1141828.7802
24 | 2509483.835 | 1141843.7558
25 | 2509431.1852 | 1141823.3792
26 | 2509529.042 | 1141811.9085
27 | 2509357.3038 | 1141724.3069
28 | 2509361.4282 | 1141719.7147
29 | 2509344.1032 | 1141739.0049
30 | 2509370.6568 | 1141709.4391
31 | 2509318.2623 | 1141716.0689
32 | 2509280.4997 | 1141682.1503
33 | 2509329.7855 | 1141703.1883
34 | 2509292.1441 | 1141669.2353
35 | 2509410.128 | 1141804.5075
36 | 2509307.0079 | 1141652.7495
37 | 2509293.5934 | 1141667.6279
38 | 2509473.0272 | 1141846.6881
39 | 2509447.635 | 1141870.394
40 | 2509515.088 | 1141574.9816
41 | 2509495.723 | 1141558.9067
42 | 2509572.6477 | 1141622.7619
43 | 2509588.9329 | 1141636.2803
44 | 2509480.8134 | 1141588.5151
45 | 2509604.3097 | 1141649.0445
46 | 2509496.8613 | 1141601.3912
47 | 2509611.8182 | 1141655.2773
48 | 2509519.143 | 1141619.2689
49 | 2509627.4345 | 1141675.2884
50 | 2509622.4969 | 1141680.8324
51 | 2509630.4197 | 1141711.7186
52 | 2509617.2062 | 1141736.1004
53 | 2509603.7013 | 1141747.4734
54 | 2509570.0983 | 1141792.4409
55 | 2509581.7755 | 1141776.8145
56 | 2509555.9844 | 1141841.2264
57 | 2509547.6887 | 1141770.4804
58 | 2509591.1876 | 1141764.2193
59 | 2509508.0025 | 1141726.3008
60 | 2509519.4707 | 1141739.1263
61 | 2509525.7707 | 1141746.1718
62 | 2509529.5715 | 1141750.4224
63 | 2509537.1541 | 1141758.9023
64 | 2509478.9185 | 1141664.5001

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1