## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5721-27_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5721-27_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5721-27_0_5_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_5721-27_0_5_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_5721-27_0_5_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_5721-27_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5721-27_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5721-27_0_5_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_5721-27_0_5_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_5721-27_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5721-27_0_5_node_3 | 0.4 | n |  | TRUE
11 | bus_LV_5721-27_0_5_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_5721-27_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5721-27_0_5_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_5721-27_0_5_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_5721-27_0_5_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_5721-27_0_5_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_5721-27_0_5_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_5721-27_0_5_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_5721-27_0_5_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_5721-27_0_5_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_5721-27_0_5_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5721-27_0_5_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_5721-27_0_5_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_5721-27_0_5_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_5721-27_0_5_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_5721-27_0_5_node_93 | 0.4 | n |  | TRUE
27 | bus_LV_5721-27_0_5_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_5721-27_0_5_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_5721-27_0_5_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_5721-27_0_5_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_5721-27_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5721-27_0_5_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_5721-27_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_5721-27_0_5_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_5721-27_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_5721-27_0_5_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_5721-27_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_5721-27_0_5_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5721-27_0_5_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_5721-27_0_5_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_5721-27_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5721-27_0_5_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_5721-27_0_5_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_5721-27_0_5_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_5721-27_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5721-27_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5721-27_0_5_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_5721-27_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_5721-27_0_5_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_5721-27_0_5_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_5721-27_0_5_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_5721-27_0_5_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_5721-27_0_5_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_5721-27_0_5_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_5721-27_0_5_node_120 | 0.4 | n |  | TRUE
56 | bus_LV_5721-27_0_5_node_119 | 0.4 | n |  | TRUE
57 | bus_LV_5721-27_0_5_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_5721-27_0_5_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_5721-27_0_5_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_5721-27_0_5_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_5721-27_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_5721-27_0_5_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_5721-27_0_5_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5721-27_0_5_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_5721-27_0_5_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_5721-27_0_5_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_5721-27_0_5_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_5721-27_0_5_node_91 | 0.4 | n |  | TRUE
69 | bus_LV_5721-27_0_5_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_5721-27_0_5_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_5721-27_0_5_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_5721-27_0_5_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_5721-27_0_5_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_5721-27_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_5721-27_0_5_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_5721-27_0_5_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_5721-27_0_5_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5721-27_0_5_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_5721-27_0_5_node_114 | 0.4 | n |  | TRUE
80 | bus_LV_5721-27_0_5_node_115 | 0.4 | n |  | TRUE
81 | bus_LV_5721-27_0_5_node_112 | 0.4 | n |  | TRUE
82 | bus_LV_5721-27_0_5_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_5721-27_0_5_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_5721-27_0_5_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_5721-27_0_5_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_5721-27_0_5_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_5721-27_0_5_node_94 | 0.4 | n |  | TRUE
88 | bus_LV_5721-27_0_5_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_5721-27_0_5_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_5721-27_0_5_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_5721-27_0_5_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_5721-27_0_5_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_5721-27_0_5_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_5721-27_0_5_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_5721-27_0_5_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_5721-27_0_5_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_5721-27_0_5_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_5721-27_0_5_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_5721-27_0_5_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_5721-27_0_5_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_5721-27_0_5_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_5721-27_0_5_node_108 | 0.4 | n |  | TRUE
103 | bus_LV_5721-27_0_5_node_107 | 0.4 | n |  | TRUE
104 | bus_LV_5721-27_0_5_node_109 | 0.4 | n |  | TRUE
105 | bus_LV_5721-27_0_5_node_106 | 0.4 | n |  | TRUE
106 | bus_LV_5721-27_0_5_node_99 | 0.4 | n |  | TRUE
107 | bus_LV_5721-27_0_5_node_100 | 0.4 | n |  | TRUE
108 | bus_LV_5721-27_0_5_node_102 | 0.4 | n |  | TRUE
109 | bus_LV_5721-27_0_5_node_103 | 0.4 | n |  | TRUE
110 | bus_LV_5721-27_0_5_node_104 | 0.4 | n |  | TRUE
111 | bus_LV_5721-27_0_5_node_105 | 0.4 | n |  | TRUE
112 | bus_LV_5721-27_0_5_node_110 | 0.4 | n |  | TRUE
113 | bus_LV_5721-27_0_5_node_111 | 0.4 | n |  | TRUE
114 | bus_LV_5721-27_0_5_node_113 | 0.4 | n |  | TRUE
115 | bus_LV_5721-27_0_5_node_117 | 0.4 | n |  | TRUE
116 | bus_MV_452_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5721-27_0_5_load_0 | 0 | 0.0031918 | 0.00079994 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5721-27_0_5_load_1 | 1 | 0.0023187 | 0.00058112 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5721-27_0_5_load_10 | 2 | 0.0043438 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5721-27_0_5_load_7 | 3 | 0.0042546 | 0.0010663 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5721-27_0_5_load_8 | 4 | 0.0027623 | 0.00069229 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5721-27_0_5_load_5 | 5 | 0.0022058 | 0.00055282 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5721-27_0_5_load_11 | 6 | 0.0039852 | 0.00099878 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5721-27_0_5_load_9 | 7 | 0.0033349 | 0.0008358 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5721-27_0_5_load_12 | 8 | 0.0034995 | 0.00087706 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5721-27_0_5_load_13 | 9 | 0.0055667 | 0.0013952 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5721-27_0_5_load_3 | 10 | 0.0026072 | 0.00065342 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5721-27_0_5_load_4 | 11 | 0.0021866 | 0.00054801 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5721-27_0_5_load_6 | 12 | 0.0030869 | 0.00077364 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5721-27_0_5_load_14 | 13 | 0.0055689 | 0.0013957 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5721-27_0_5_load_15 | 14 | 0.0052873 | 0.0013251 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5721-27_0_5_load_18 | 18 | 0.0046346 | 0.0011615 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5721-27_0_5_load_36 | 19 | 0.0073184 | 0.0018342 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5721-27_0_5_load_19 | 20 | 0.0046435 | 0.0011638 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5721-27_0_5_load_23 | 22 | 0.011528 | 0.0028892 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5721-27_0_5_load_62 | 23 | 0.010601 | 0.0026569 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5721-27_0_5_load_67 | 25 | 0.011952 | 0.0029954 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5721-27_0_5_load_37 | 27 | 0.0024244 | 0.00060762 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5721-27_0_5_load_59 | 28 | 0.012943 | 0.0032439 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5721-27_0_5_load_60 | 29 | 0.0083991 | 0.002105 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5721-27_0_5_load_63 | 30 | 0.010571 | 0.0026494 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5721-27_0_5_load_24 | 31 | 0.0024919 | 0.00062453 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5721-27_0_5_load_25 | 32 | 0.0022139 | 0.00055486 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5721-27_0_5_load_28 | 35 | 0.0024171 | 0.00060577 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5721-27_0_5_load_29 | 36 | 0.0018403 | 0.00046123 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5721-27_0_5_load_30 | 37 | 0.0023731 | 0.00059474 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5721-27_0_5_load_31 | 38 | 0.0056438 | 0.0014145 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5721-27_0_5_load_42 | 40 | 0.0020464 | 0.00051287 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5721-27_0_5_load_44 | 42 | 0.0052229 | 0.001309 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5721-27_0_5_load_41 | 43 | 0.0014677 | 0.00036784 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5721-27_0_5_load_43 | 44 | 0.001815 | 0.00045488 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5721-27_0_5_load_33 | 45 | 0.0040398 | 0.0010125 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5721-27_0_5_load_34 | 46 | 0.0026905 | 0.00067431 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5721-27_0_5_load_45 | 47 | 0.0054498 | 0.0013659 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5721-27_0_5_load_35 | 48 | 0.0043641 | 0.0010937 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5721-27_0_5_load_57 | 49 | 0.0024323 | 0.00060959 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5721-27_0_5_load_58 | 50 | 0.002684 | 0.00067268 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5721-27_0_5_load_38 | 51 | 0.0065628 | 0.0016448 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5721-27_0_5_load_66 | 52 | 0.013639 | 0.0034181 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5721-27_0_5_load_96 | 53 | 0.015191 | 0.0038072 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5721-27_0_5_load_120 | 55 | 0.0014264 | 0.00035748 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5721-27_0_5_load_119 | 56 | 0.0014207 | 0.00035606 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5721-27_0_5_load_46 | 57 | 0.0055637 | 0.0013944 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5721-27_0_5_load_47 | 58 | 0.0051141 | 0.0012817 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5721-27_0_5_load_48 | 59 | 0.0046115 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5721-27_0_5_load_49 | 60 | 0.0051678 | 0.0012952 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5721-27_0_5_load_50 | 61 | 0.0048851 | 0.0012243 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5721-27_0_5_load_51 | 62 | 0.0043689 | 0.001095 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5721-27_0_5_load_52 | 63 | 0.0048673 | 0.0012199 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5721-27_0_5_load_53 | 64 | 0.0043999 | 0.0011027 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5721-27_0_5_load_55 | 66 | 0.011386 | 0.0028536 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5721-27_0_5_load_56 | 67 | 0.011228 | 0.0028141 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5721-27_0_5_load_91 | 68 | 0.0094861 | 0.0023774 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5721-27_0_5_load_61 | 69 | 0.0084159 | 0.0021092 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5721-27_0_5_load_65 | 71 | 0.0099551 | 0.002495 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5721-27_0_5_load_70 | 72 | 0.00911 | 0.0022832 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5721-27_0_5_load_68 | 74 | 0.0090244 | 0.0022617 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5721-27_0_5_load_72 | 75 | 0.0095424 | 0.0023915 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5721-27_0_5_load_71 | 76 | 0.010832 | 0.0027147 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5721-27_0_5_load_73 | 77 | 0.0092923 | 0.0023289 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5721-27_0_5_load_115 | 80 | 0.0083487 | 0.0020924 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5721-27_0_5_load_112 | 81 | 0.014357 | 0.0035983 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5721-27_0_5_load_75 | 82 | 0.0025447 | 0.00063776 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5721-27_0_5_load_76 | 83 | 0.0033319 | 0.00083506 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5721-27_0_5_load_94 | 87 | 0.0060056 | 0.0015051 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5721-27_0_5_load_80 | 89 | 0.0028802 | 0.00072185 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5721-27_0_5_load_95 | 90 | 0.0074118 | 0.0018576 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5721-27_0_5_load_85 | 91 | 0.015451 | 0.0038724 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5721-27_0_5_load_83 | 92 | 0.0025607 | 0.00064177 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5721-27_0_5_load_81 | 93 | 0.0028294 | 0.00070912 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5721-27_0_5_load_84 | 95 | 0.0056169 | 0.0014077 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5721-27_0_5_load_90 | 96 | 0.011727 | 0.0029391 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5721-27_0_5_load_86 | 97 | 0.0088317 | 0.0022134 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5721-27_0_5_load_87 | 98 | 0.012901 | 0.0032334 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5721-27_0_5_load_89 | 99 | 0.010318 | 0.002586 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5721-27_0_5_load_97 | 100 | 0.0030127 | 0.00075506 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5721-27_0_5_load_108 | 102 | 0.014115 | 0.0035376 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5721-27_0_5_load_107 | 103 | 0.0021285 | 0.00053345 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5721-27_0_5_load_109 | 104 | 0.01326 | 0.0033232 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5721-27_0_5_load_106 | 105 | 0.002617 | 0.00065589 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5721-27_0_5_load_99 | 106 | 0.0031383 | 0.00078654 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5721-27_0_5_load_100 | 107 | 0.0027085 | 0.00067881 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5721-27_0_5_load_102 | 108 | 0.0027806 | 0.00069689 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5721-27_0_5_load_103 | 109 | 0.0025166 | 0.00063073 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5721-27_0_5_load_104 | 110 | 0.0023213 | 0.00058177 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5721-27_0_5_load_105 | 111 | 0.0031849 | 0.00079821 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5721-27_0_5_load_110 | 112 | 0.020514 | 0.0051413 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5721-27_0_5_load_113 | 114 | 0.014545 | 0.0036452 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5721-27_0_5_load_117 | 115 | 0.0083842 | 0.0021013 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5721-27_0_5_line_0 |  | 0 | 1 | 0.027783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5721-27_0_5_line_1 |  | 1 | 2 | 0.081553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5721-27_0_5_line_2 |  | 2 | 6 | 0.018803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5721-27_0_5_line_3 |  | 2 | 7 | 0.0085996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5721-27_0_5_line_4 |  | 3 | 4 | 0.00515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5721-27_0_5_line_5 |  | 3 | 5 | 0.017669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5721-27_0_5_line_6 |  | 4 | 7 | 0.014806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5721-27_0_5_line_7 |  | 5 | 10 | 0.012683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5721-27_0_5_line_8 |  | 6 | 8 | 0.029733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5721-27_0_5_line_9 |  | 8 | 9 | 0.027202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5721-27_0_5_line_10 |  | 9 | 13 | 0.015694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5721-27_0_5_line_11 |  | 10 | 11 | 0.014437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5721-27_0_5_line_12 |  | 11 | 12 | 0.025603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5721-27_0_5_line_13 |  | 13 | 14 | 0.015422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5721-27_0_5_line_14 |  | 14 | 15 | 0.020434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5721-27_0_5_line_15 |  | 15 | 16 | 0.074655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5721-27_0_5_line_16 |  | 16 | 17 | 0.003863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5721-27_0_5_line_17 |  | 16 | 18 | 0.019685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5721-27_0_5_line_18 |  | 17 | 19 | 0.0211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5721-27_0_5_line_19 |  | 18 | 20 | 0.0068479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5721-27_0_5_line_20 |  | 19 | 27 | 0.018019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5721-27_0_5_line_21 |  | 20 | 21 | 0.010553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5721-27_0_5_line_22 |  | 21 | 22 | 0.018373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5721-27_0_5_line_23 |  | 22 | 23 | 0.014653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5721-27_0_5_line_24 |  | 23 | 30 | 0.013747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5721-27_0_5_line_25 |  | 24 | 25 | 0.024735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5721-27_0_5_line_26 |  | 24 | 26 | 0.004979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5721-27_0_5_line_27 |  | 25 | 52 | 0.0023622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5721-27_0_5_line_28 |  | 26 | 53 | 0.022966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5721-27_0_5_line_29 |  | 26 | 54 | 0.040551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5721-27_0_5_line_30 |  | 27 | 51 | 0.0068883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5721-27_0_5_line_31 |  | 28 | 29 | 0.014589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5721-27_0_5_line_32 |  | 29 | 69 | 0.013472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5721-27_0_5_line_33 |  | 30 | 70 | 0.016568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5721-27_0_5_line_34 |  | 31 | 32 | 0.024176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5721-27_0_5_line_35 |  | 31 | 33 | 0.015605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5721-27_0_5_line_36 |  | 32 | 34 | 0.0035927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5721-27_0_5_line_37 |  | 33 | 35 | 0.040117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5721-27_0_5_line_38 |  | 33 | 36 | 0.017136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5721-27_0_5_line_39 |  | 34 | 37 | 0.011315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5721-27_0_5_line_40 |  | 34 | 38 | 0.015823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5721-27_0_5_line_41 |  | 35 | 39 | 0.019145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5721-27_0_5_line_42 |  | 36 | 40 | 0.0099626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5721-27_0_5_line_43 |  | 37 | 41 | 0.039246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5721-27_0_5_line_44 |  | 38 | 42 | 0.0032931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5721-27_0_5_line_45 |  | 39 | 43 | 0.017878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5721-27_0_5_line_46 |  | 40 | 44 | 0.0035757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5721-27_0_5_line_47 |  | 41 | 45 | 0.023996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5721-27_0_5_line_48 |  | 41 | 46 | 0.017773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5721-27_0_5_line_49 |  | 42 | 47 | 0.0098512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5721-27_0_5_line_50 |  | 43 | 55 | 0.027907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5721-27_0_5_line_51 |  | 45 | 48 | 0.0011667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5721-27_0_5_line_52 |  | 46 | 49 | 0.0069962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5721-27_0_5_line_53 |  | 47 | 57 | 0.027002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5721-27_0_5_line_54 |  | 49 | 50 | 0.020987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5721-27_0_5_line_55 |  | 50 | 51 | 0.00021594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5721-27_0_5_line_56 |  | 52 | 74 | 0.014575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5721-27_0_5_line_57 |  | 53 | 100 | 0.038709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5721-27_0_5_line_58 |  | 54 | 68 | 0.013929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5721-27_0_5_line_59 |  | 54 | 96 | 0.030708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5721-27_0_5_line_60 |  | 55 | 56 | 0.0073346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5721-27_0_5_line_61 |  | 57 | 58 | 0.013304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5721-27_0_5_line_62 |  | 59 | 60 | 0.0031127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5721-27_0_5_line_63 |  | 59 | 61 | 0.0023014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5721-27_0_5_line_64 |  | 60 | 62 | 0.0091256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5721-27_0_5_line_65 |  | 62 | 63 | 0.0083569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5721-27_0_5_line_66 |  | 63 | 64 | 0.0051416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5721-27_0_5_line_67 |  | 64 | 65 | 0.063198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5721-27_0_5_line_68 |  | 65 | 66 | 0.011509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5721-27_0_5_line_69 |  | 65 | 67 | 0.028373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5721-27_0_5_line_70 |  | 66 | 68 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5721-27_0_5_line_71 |  | 69 | 70 | 0.01548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5721-27_0_5_line_72 |  | 70 | 71 | 0.012778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5721-27_0_5_line_73 |  | 71 | 72 | 0.00045437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5721-27_0_5_line_74 |  | 72 | 73 | 0.015321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5721-27_0_5_line_75 |  | 73 | 75 | 0.014562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5721-27_0_5_line_76 |  | 73 | 74 | 0.01331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_5721-27_0_5_line_77 |  | 75 | 76 | 0.014295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5721-27_0_5_line_78 |  | 76 | 77 | 0.0024173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5721-27_0_5_line_79 |  | 77 | 78 | 0.015834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5721-27_0_5_line_80 |  | 78 | 79 | 0.009217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5721-27_0_5_line_81 |  | 79 | 80 | 0.014299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5721-27_0_5_line_82 |  | 79 | 81 | 0.032496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5721-27_0_5_line_83 |  | 80 | 115 | 0.015954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5721-27_0_5_line_84 |  | 81 | 113 | 0.01153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5721-27_0_5_line_85 |  | 82 | 83 | 0.014903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5721-27_0_5_line_86 |  | 82 | 84 | 0.030069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5721-27_0_5_line_87 |  | 84 | 85 | 0.035879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5721-27_0_5_line_88 |  | 85 | 86 | 0.034034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5721-27_0_5_line_89 |  | 85 | 87 | 0.01604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5721-27_0_5_line_90 |  | 86 | 88 | 0.02231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5721-27_0_5_line_91 |  | 86 | 89 | 0.016789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5721-27_0_5_line_92 |  | 87 | 90 | 0.0059638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5721-27_0_5_line_93 |  | 88 | 91 | 0.039132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5721-27_0_5_line_94 |  | 88 | 92 | 0.016387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5721-27_0_5_line_95 |  | 89 | 93 | 0.012915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5721-27_0_5_line_96 |  | 91 | 94 | 0.016542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5721-27_0_5_line_97 |  | 92 | 95 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5721-27_0_5_line_98 |  | 94 | 96 | 0.018964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5721-27_0_5_line_99 |  | 94 | 97 | 0.013256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5721-27_0_5_line_100 |  | 97 | 98 | 0.014042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5721-27_0_5_line_101 |  | 98 | 99 | 0.027129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5721-27_0_5_line_102 |  | 100 | 101 | 0.018919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5721-27_0_5_line_103 |  | 101 | 102 | 0.024503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5721-27_0_5_line_104 |  | 101 | 103 | 0.030195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5721-27_0_5_line_105 |  | 102 | 104 | 0.017258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5721-27_0_5_line_106 |  | 103 | 105 | 0.0071328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5721-27_0_5_line_107 |  | 104 | 112 | 0.021538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5721-27_0_5_line_108 |  | 105 | 111 | 0.020991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5721-27_0_5_line_109 |  | 106 | 107 | 0.0084369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5721-27_0_5_line_110 |  | 107 | 108 | 0.024037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5721-27_0_5_line_111 |  | 108 | 109 | 0.020036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5721-27_0_5_line_112 |  | 109 | 110 | 0.00726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5721-27_0_5_line_113 |  | 110 | 111 | 0.021489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5721-27_0_5_line_114 |  | 113 | 114 | 0.023317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5721-27_0_5_trafo_55 | 0.63 MVA 20/0.4 kV | 116 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2509995.8392 | 1142094.4069 | 2510017.9666 | 1142111.2073
1 | 2510068.5534 | 1142047.2394 | 2510017.9666 | 1142111.2073
2 | 2510083.477 | 1142058.6778 | 2510068.5534 | 1142047.2394
3 | 2510068.5534 | 1142047.2394 | 2510061.7279 | 1142042.008
4 | 2510045.889 | 1142029.8681 | 2510049.9764 | 1142033.001
5 | 2510045.889 | 1142029.8681 | 2510031.8656 | 1142019.1198
6 | 2510049.9764 | 1142033.001 | 2510061.7279 | 1142042.008
7 | 2510021.7997 | 1142011.4047 | 2510031.8656 | 1142019.1198
8 | 2510083.477 | 1142058.6778 | 2510107.0758 | 1142076.7652
9 | 2510107.0758 | 1142076.7652 | 2510128.6654 | 1142093.3127
10 | 2510128.6654 | 1142093.3127 | 2510141.1214 | 1142102.8597
11 | 2510021.7997 | 1142011.4047 | 2510010.3413 | 1142002.6223
12 | 2509990.0206 | 1141987.0473 | 2510010.3413 | 1142002.6223
13 | 2510141.1214 | 1142102.8597 | 2510153.3618 | 1142112.2414
14 | 2510169.5799 | 1142124.672 | 2510153.3618 | 1142112.2414
15 | 2510169.5799 | 1142124.672 | 2510196.8764 | 1142087.2872 | 2510215.9125 | 1142066.1575
16 | 2510212.8255 | 1142063.8244 | 2510215.9125 | 1142066.1575
17 | 2510215.9125 | 1142066.1575 | 2510231.517 | 1142078.1582
18 | 2510212.8255 | 1142063.8244 | 2510196.0007 | 1142051.0914
19 | 2510231.517 | 1142078.1582 | 2510236.9453 | 1142082.3328
20 | 2510196.0007 | 1142051.0914 | 2510181.6325 | 1142040.2175
21 | 2510245.3108 | 1142088.7664 | 2510236.9453 | 1142082.3328
22 | 2510245.3108 | 1142088.7664 | 2510256.6245 | 1142074.2904
23 | 2510256.6245 | 1142074.2904 | 2510265.6473 | 1142062.7455
24 | 2510265.6473 | 1142062.7455 | 2510274.1126 | 1142051.914
25 | 2510261.0863 | 1142002.5688 | 2510280.5645 | 1142017.8133
26 | 2510259.4096 | 1141997.8799 | 2510261.0863 | 1142002.5688
27 | 2510282.4248 | 1142019.2692 | 2510280.5645 | 1142017.8133
28 | 2510259.4096 | 1141997.8799 | 2510263.062 | 1141996.3691 | 2510275.0433 | 1141981.6057
29 | 2510259.4096 | 1141997.8799 | 2510253.5952 | 1141997.7442 | 2510236.6162 | 1141986.1791 | 2510227.8302 | 1141974.9478
30 | 2510181.6325 | 1142040.2175 | 2510176.1399 | 1142036.0607
31 | 2510279.537 | 1142090.8801 | 2510288.4999 | 1142079.3691
32 | 2510288.4999 | 1142079.3691 | 2510296.7764 | 1142068.7396
33 | 2510286.899 | 1142059.0292 | 2510275.4127 | 1142050.2506 | 2510274.1126 | 1142051.914
34 | 2510077.768 | 1141960.0856 | 2510096.9925 | 1141974.7453
35 | 2510065.3588 | 1141950.6228 | 2510077.768 | 1141960.0856
36 | 2510099.8493 | 1141976.9238 | 2510096.9925 | 1141974.7453
37 | 2510065.3588 | 1141950.6228 | 2510033.4555 | 1141926.3009
38 | 2510065.3588 | 1141950.6228 | 2510075.3318 | 1141936.6877
39 | 2510099.8493 | 1141976.9238 | 2510108.7185 | 1141983.9493
40 | 2510099.8493 | 1141976.9238 | 2510109.3047 | 1141964.2365
41 | 2510018.2306 | 1141914.6939 | 2510033.4555 | 1141926.3009
42 | 2510075.3318 | 1141936.6877 | 2510081.1298 | 1141928.5861
43 | 2510139.4821 | 1142008.318 | 2510108.7185 | 1141983.9493
44 | 2510109.3047 | 1141964.2365 | 2510111.2725 | 1141961.596
45 | 2510018.2306 | 1141914.6939 | 2510007.5242 | 1141929.0111
46 | 2510083.2108 | 1141925.6783 | 2510081.1298 | 1141928.5861
47 | 2510139.4821 | 1142008.318 | 2510124.8057 | 1142027.3023
48 | 2510139.4821 | 1142008.318 | 2510153.6543 | 1142019.0436
49 | 2510117.1593 | 1141953.6971 | 2510111.2725 | 1141961.596
50 | 2510014.6881 | 1141948.1477 | 2510001.1123 | 1141937.5854 | 2510007.5242 | 1141929.0111
51 | 2510124.0921 | 1142028.2254 | 2510124.8057 | 1142027.3023
52 | 2510153.6543 | 1142019.0436 | 2510159.233 | 1142023.2655
53 | 2510117.1593 | 1141953.6971 | 2510126.0416 | 1141941.7787 | 2510116.3409 | 1141934.4841
54 | 2510159.233 | 1142023.2655 | 2510175.9677 | 1142035.9304
55 | 2510176.1399 | 1142036.0607 | 2510175.9677 | 1142035.9304
56 | 2510282.4248 | 1142019.2692 | 2510293.9028 | 1142028.2524
57 | 2510275.0433 | 1141981.6057 | 2510299.4358 | 1141951.549
58 | 2510227.8302 | 1141974.9478 | 2510219.4158 | 1141986.0475
59 | 2510227.8302 | 1141974.9478 | 2510223.582 | 1141969.5078 | 2510212.5309 | 1141948.4227
60 | 2510020.477 | 1141952.6516 | 2510014.6881 | 1141948.1477
61 | 2510105.708 | 1141926.4885 | 2510116.3409 | 1141934.4841
62 | 2510137.1071 | 1141960.5997 | 2510139.5966 | 1141962.4683
63 | 2510135.2665 | 1141959.2182 | 2510137.1071 | 1141960.5997
64 | 2510146.895 | 1141967.9463 | 2510139.5966 | 1141962.4683
65 | 2510153.5786 | 1141972.9629 | 2510146.895 | 1141967.9463
66 | 2510153.5786 | 1141972.9629 | 2510157.6908 | 1141976.0494 | 2510157.6908 | 1141976.0494
67 | 2510206.3488 | 1142003.2848 | 2510162.4398 | 1141969.7082 | 2510157.6908 | 1141976.0494
68 | 2510206.3488 | 1142003.2848 | 2510213.3017 | 1141994.1128
69 | 2510206.3488 | 1142003.2848 | 2510206.3871 | 1142005.8524 | 2510227.0807 | 1142021.2683
70 | 2510219.4158 | 1141986.0475 | 2510213.3017 | 1141994.1128
71 | 2510286.899 | 1142059.0292 | 2510297.833 | 1142067.3825 | 2510296.7764 | 1142068.7396
72 | 2510286.899 | 1142059.0292 | 2510294.7236 | 1142048.9274
73 | 2510295.0018 | 1142048.5682 | 2510294.7236 | 1142048.9274
74 | 2510304.384 | 1142036.4554 | 2510295.0018 | 1142048.5682
75 | 2510304.384 | 1142036.4554 | 2510315.9007 | 1142045.3673
76 | 2510304.384 | 1142036.4554 | 2510293.9028 | 1142028.2524
77 | 2510327.2058 | 1142054.1154 | 2510315.9007 | 1142045.3673
78 | 2510327.2058 | 1142054.1154 | 2510329.1176 | 1142055.5948
79 | 2510341.6398 | 1142065.2848 | 2510329.1176 | 1142055.5948
80 | 2510341.6398 | 1142065.2848 | 2510347.1964 | 1142057.9199
81 | 2510347.1964 | 1142057.9199 | 2510355.9476 | 1142064.7716 | 2510354.0175 | 1142067.3045
82 | 2510347.1964 | 1142057.9199 | 2510360.0438 | 1142040.9075 | 2510366.5315 | 1142031.8058
83 | 2510354.0175 | 1142067.3045 | 2510344.3474 | 1142079.9942
84 | 2510375.1009 | 1142024.0957 | 2510366.5958 | 1142031.7157 | 2510366.5315 | 1142031.8058
85 | 2510094.4642 | 1141873.7377 | 2510094.095 | 1141874.215 | 2510105.5873 | 1141882.7234
86 | 2510112.8617 | 1141849.9539 | 2510094.4642 | 1141873.7377
87 | 2510112.8617 | 1141849.9539 | 2510131.1776 | 1141864.5116 | 2510142.2237 | 1141858.6989
88 | 2510142.2237 | 1141858.6989 | 2510131.1776 | 1141864.5116 | 2510147.9935 | 1141877.9911
89 | 2510142.2237 | 1141858.6989 | 2510154.6986 | 1141868.7811
90 | 2510147.9935 | 1141877.9911 | 2510165.1372 | 1141892.3218
91 | 2510147.9935 | 1141877.9911 | 2510137.7934 | 1141891.3264
92 | 2510159.337 | 1141872.5298 | 2510154.6986 | 1141868.7811
93 | 2510165.1372 | 1141892.3218 | 2510194.4416 | 1141916.8106 | 2510194.9419 | 1141917.6088
94 | 2510165.1372 | 1141892.3218 | 2510154.9669 | 1141905.1711
95 | 2510137.7934 | 1141891.3264 | 2510129.9469 | 1141901.5846
96 | 2510203.7271 | 1141931.6255 | 2510194.9419 | 1141917.6088
97 | 2510154.9669 | 1141905.1711 | 2510146.9405 | 1141915.3119
98 | 2510203.7271 | 1141931.6255 | 2510212.5309 | 1141948.4227
99 | 2510203.7271 | 1141931.6255 | 2510195.6812 | 1141942.161
100 | 2510195.6812 | 1141942.161 | 2510187.9587 | 1141952.2729 | 2510186.8113 | 1141952.9215
101 | 2510164.9299 | 1141942.8439 | 2510181.6155 | 1141955.8585 | 2510186.8113 | 1141952.9215
102 | 2510311.3576 | 1141936.8589 | 2510299.4358 | 1141951.549
103 | 2510311.3576 | 1141936.8589 | 2510325.8137 | 1141956.6431
104 | 2510311.3576 | 1141936.8589 | 2510293.5012 | 1141912.5099
105 | 2510325.8137 | 1141956.6431 | 2510335.9958 | 1141970.5779
106 | 2510289.2831 | 1141906.758 | 2510293.5012 | 1141912.5099
107 | 2510335.9958 | 1141970.5779 | 2510348.7028 | 1141987.9682
108 | 2510276.8698 | 1141889.8313 | 2510289.2831 | 1141906.758
109 | 2510228.8155 | 1141824.3044 | 2510233.8049 | 1141831.1079
110 | 2510233.8049 | 1141831.1079 | 2510248.0198 | 1141850.4914
111 | 2510248.0198 | 1141850.4914 | 2510259.8682 | 1141866.648
112 | 2510259.8682 | 1141866.648 | 2510264.1616 | 1141872.5024
113 | 2510264.1616 | 1141872.5024 | 2510276.8698 | 1141889.8313
114 | 2510375.1009 | 1142024.0957 | 2510388.6204 | 1142043.0931

## bus_geodata
| x | y | coords
0 | 2509995.8392 | 1142094.4069
1 | 2510017.9666 | 1142111.2073
2 | 2510068.5534 | 1142047.2394
3 | 2510045.889 | 1142029.8681
4 | 2510049.9764 | 1142033.001
5 | 2510031.8656 | 1142019.1198
6 | 2510083.477 | 1142058.6778
7 | 2510061.7279 | 1142042.008
8 | 2510107.0758 | 1142076.7652
9 | 2510128.6654 | 1142093.3127
10 | 2510021.7997 | 1142011.4047
11 | 2510010.3413 | 1142002.6223
12 | 2509990.0206 | 1141987.0473
13 | 2510141.1214 | 1142102.8597
14 | 2510153.3618 | 1142112.2414
15 | 2510169.5799 | 1142124.672
16 | 2510215.9125 | 1142066.1575
17 | 2510212.8255 | 1142063.8244
18 | 2510231.517 | 1142078.1582
19 | 2510196.0007 | 1142051.0914
20 | 2510236.9453 | 1142082.3328
21 | 2510245.3108 | 1142088.7664
22 | 2510256.6245 | 1142074.2904
23 | 2510265.6473 | 1142062.7455
24 | 2510261.0863 | 1142002.5688
25 | 2510280.5645 | 1142017.8133
26 | 2510259.4096 | 1141997.8799
27 | 2510181.6325 | 1142040.2175
28 | 2510279.537 | 1142090.8801
29 | 2510288.4999 | 1142079.3691
30 | 2510274.1126 | 1142051.914
31 | 2510077.768 | 1141960.0856
32 | 2510096.9925 | 1141974.7453
33 | 2510065.3588 | 1141950.6228
34 | 2510099.8493 | 1141976.9238
35 | 2510033.4555 | 1141926.3009
36 | 2510075.3318 | 1141936.6877
37 | 2510108.7185 | 1141983.9493
38 | 2510109.3047 | 1141964.2365
39 | 2510018.2306 | 1141914.6939
40 | 2510081.1298 | 1141928.5861
41 | 2510139.4821 | 1142008.318
42 | 2510111.2725 | 1141961.596
43 | 2510007.5242 | 1141929.0111
44 | 2510083.2108 | 1141925.6783
45 | 2510124.8057 | 1142027.3023
46 | 2510153.6543 | 1142019.0436
47 | 2510117.1593 | 1141953.6971
48 | 2510124.0921 | 1142028.2254
49 | 2510159.233 | 1142023.2655
50 | 2510175.9677 | 1142035.9304
51 | 2510176.1399 | 1142036.0607
52 | 2510282.4248 | 1142019.2692
53 | 2510275.0433 | 1141981.6057
54 | 2510227.8302 | 1141974.9478
55 | 2510014.6881 | 1141948.1477
56 | 2510020.477 | 1141952.6516
57 | 2510116.3409 | 1141934.4841
58 | 2510105.708 | 1141926.4885
59 | 2510137.1071 | 1141960.5997
60 | 2510139.5966 | 1141962.4683
61 | 2510135.2665 | 1141959.2182
62 | 2510146.895 | 1141967.9463
63 | 2510153.5786 | 1141972.9629
64 | 2510157.6908 | 1141976.0494
65 | 2510206.3488 | 1142003.2848
66 | 2510213.3017 | 1141994.1128
67 | 2510227.0807 | 1142021.2683
68 | 2510219.4158 | 1141986.0475
69 | 2510296.7764 | 1142068.7396
70 | 2510286.899 | 1142059.0292
71 | 2510294.7236 | 1142048.9274
72 | 2510295.0018 | 1142048.5682
73 | 2510304.384 | 1142036.4554
74 | 2510293.9028 | 1142028.2524
75 | 2510315.9007 | 1142045.3673
76 | 2510327.2058 | 1142054.1154
77 | 2510329.1176 | 1142055.5948
78 | 2510341.6398 | 1142065.2848
79 | 2510347.1964 | 1142057.9199
80 | 2510354.0175 | 1142067.3045
81 | 2510366.5315 | 1142031.8058
82 | 2510094.4642 | 1141873.7377
83 | 2510105.5873 | 1141882.7234
84 | 2510112.8617 | 1141849.9539
85 | 2510142.2237 | 1141858.6989
86 | 2510147.9935 | 1141877.9911
87 | 2510154.6986 | 1141868.7811
88 | 2510165.1372 | 1141892.3218
89 | 2510137.7934 | 1141891.3264
90 | 2510159.337 | 1141872.5298
91 | 2510194.9419 | 1141917.6088
92 | 2510154.9669 | 1141905.1711
93 | 2510129.9469 | 1141901.5846
94 | 2510203.7271 | 1141931.6255
95 | 2510146.9405 | 1141915.3119
96 | 2510212.5309 | 1141948.4227
97 | 2510195.6812 | 1141942.161
98 | 2510186.8113 | 1141952.9215
99 | 2510164.9299 | 1141942.8439
100 | 2510299.4358 | 1141951.549
101 | 2510311.3576 | 1141936.8589
102 | 2510325.8137 | 1141956.6431
103 | 2510293.5012 | 1141912.5099
104 | 2510335.9958 | 1141970.5779
105 | 2510289.2831 | 1141906.758
106 | 2510228.8155 | 1141824.3044
107 | 2510233.8049 | 1141831.1079
108 | 2510248.0198 | 1141850.4914
109 | 2510259.8682 | 1141866.648
110 | 2510264.1616 | 1141872.5024
111 | 2510276.8698 | 1141889.8313
112 | 2510348.7028 | 1141987.9682
113 | 2510375.1009 | 1142024.0957
114 | 2510388.6204 | 1142043.0931
115 | 2510344.3474 | 1142079.9942
116 | 2510206.3488 | 1142003.2848

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1