## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5723-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5723-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5723-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5723-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5723-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5723-5_0_4_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_5723-5_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5723-5_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5723-5_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5723-5_0_4_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_5723-5_0_4_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_5723-5_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5723-5_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5723-5_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5723-5_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5723-5_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_5723-5_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5723-5_0_4_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_5723-5_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5723-5_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5723-5_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5723-5_0_4_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_5723-5_0_4_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_5723-5_0_4_node_143 | 0.4 | n |  | TRUE
24 | bus_LV_5723-5_0_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_5723-5_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5723-5_0_4_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_5723-5_0_4_node_102 | 0.4 | n |  | TRUE
28 | bus_LV_5723-5_0_4_node_120 | 0.4 | n |  | TRUE
29 | bus_LV_5723-5_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_5723-5_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5723-5_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5723-5_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5723-5_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5723-5_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_5723-5_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5723-5_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_5723-5_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5723-5_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_5723-5_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_5723-5_0_4_node_132 | 0.4 | n |  | TRUE
41 | bus_LV_5723-5_0_4_node_135 | 0.4 | n |  | TRUE
42 | bus_LV_5723-5_0_4_node_131 | 0.4 | n |  | TRUE
43 | bus_LV_5723-5_0_4_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_5723-5_0_4_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_5723-5_0_4_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_5723-5_0_4_node_100 | 0.4 | n |  | TRUE
47 | bus_LV_5723-5_0_4_node_121 | 0.4 | n |  | TRUE
48 | bus_LV_5723-5_0_4_node_118 | 0.4 | n |  | TRUE
49 | bus_LV_5723-5_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_5723-5_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_5723-5_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_5723-5_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_5723-5_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_5723-5_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_5723-5_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_5723-5_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_5723-5_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_5723-5_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5723-5_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5723-5_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5723-5_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_5723-5_0_4_node_148 | 0.4 | n |  | TRUE
63 | bus_LV_5723-5_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_5723-5_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_5723-5_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_5723-5_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_5723-5_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_5723-5_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_5723-5_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_5723-5_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_5723-5_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5723-5_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_5723-5_0_4_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_5723-5_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_5723-5_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5723-5_0_4_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_5723-5_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_5723-5_0_4_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_5723-5_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_5723-5_0_4_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_5723-5_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_5723-5_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_5723-5_0_4_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_5723-5_0_4_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_5723-5_0_4_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_5723-5_0_4_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_5723-5_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_5723-5_0_4_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_5723-5_0_4_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_5723-5_0_4_node_94 | 0.4 | n |  | TRUE
91 | bus_LV_5723-5_0_4_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_5723-5_0_4_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_5723-5_0_4_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_5723-5_0_4_node_147 | 0.4 | n |  | TRUE
95 | bus_LV_5723-5_0_4_node_81 | 0.4 | n |  | TRUE
96 | bus_LV_5723-5_0_4_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_5723-5_0_4_node_82 | 0.4 | n |  | TRUE
98 | bus_LV_5723-5_0_4_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_5723-5_0_4_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_5723-5_0_4_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_5723-5_0_4_node_142 | 0.4 | n |  | TRUE
102 | bus_LV_5723-5_0_4_node_141 | 0.4 | n |  | TRUE
103 | bus_LV_5723-5_0_4_node_88 | 0.4 | n |  | TRUE
104 | bus_LV_5723-5_0_4_node_86 | 0.4 | n |  | TRUE
105 | bus_LV_5723-5_0_4_node_87 | 0.4 | n |  | TRUE
106 | bus_LV_5723-5_0_4_node_89 | 0.4 | n |  | TRUE
107 | bus_LV_5723-5_0_4_node_90 | 0.4 | n |  | TRUE
108 | bus_LV_5723-5_0_4_node_146 | 0.4 | n |  | TRUE
109 | bus_LV_5723-5_0_4_node_145 | 0.4 | n |  | TRUE
110 | bus_LV_5723-5_0_4_node_96 | 0.4 | n |  | TRUE
111 | bus_LV_5723-5_0_4_node_97 | 0.4 | n |  | TRUE
112 | bus_LV_5723-5_0_4_node_98 | 0.4 | n |  | TRUE
113 | bus_LV_5723-5_0_4_node_144 | 0.4 | n |  | TRUE
114 | bus_LV_5723-5_0_4_node_103 | 0.4 | n |  | TRUE
115 | bus_LV_5723-5_0_4_node_105 | 0.4 | n |  | TRUE
116 | bus_LV_5723-5_0_4_node_139 | 0.4 | n |  | TRUE
117 | bus_LV_5723-5_0_4_node_101 | 0.4 | n |  | TRUE
118 | bus_LV_5723-5_0_4_node_106 | 0.4 | n |  | TRUE
119 | bus_LV_5723-5_0_4_node_99 | 0.4 | n |  | TRUE
120 | bus_LV_5723-5_0_4_node_104 | 0.4 | n |  | TRUE
121 | bus_LV_5723-5_0_4_node_112 | 0.4 | n |  | TRUE
122 | bus_LV_5723-5_0_4_node_140 | 0.4 | n |  | TRUE
123 | bus_LV_5723-5_0_4_node_113 | 0.4 | n |  | TRUE
124 | bus_LV_5723-5_0_4_node_111 | 0.4 | n |  | TRUE
125 | bus_LV_5723-5_0_4_node_107 | 0.4 | n |  | TRUE
126 | bus_LV_5723-5_0_4_node_108 | 0.4 | n |  | TRUE
127 | bus_LV_5723-5_0_4_node_109 | 0.4 | n |  | TRUE
128 | bus_LV_5723-5_0_4_node_110 | 0.4 | n |  | TRUE
129 | bus_LV_5723-5_0_4_node_114 | 0.4 | n |  | TRUE
130 | bus_LV_5723-5_0_4_node_115 | 0.4 | n |  | TRUE
131 | bus_LV_5723-5_0_4_node_116 | 0.4 | n |  | TRUE
132 | bus_LV_5723-5_0_4_node_117 | 0.4 | n |  | TRUE
133 | bus_LV_5723-5_0_4_node_119 | 0.4 | n |  | TRUE
134 | bus_LV_5723-5_0_4_node_122 | 0.4 | n |  | TRUE
135 | bus_LV_5723-5_0_4_node_123 | 0.4 | n |  | TRUE
136 | bus_LV_5723-5_0_4_node_124 | 0.4 | n |  | TRUE
137 | bus_LV_5723-5_0_4_node_125 | 0.4 | n |  | TRUE
138 | bus_LV_5723-5_0_4_node_126 | 0.4 | n |  | TRUE
139 | bus_LV_5723-5_0_4_node_127 | 0.4 | n |  | TRUE
140 | bus_LV_5723-5_0_4_node_128 | 0.4 | n |  | TRUE
141 | bus_LV_5723-5_0_4_node_134 | 0.4 | n |  | TRUE
142 | bus_LV_5723-5_0_4_node_133 | 0.4 | n |  | TRUE
143 | bus_LV_5723-5_0_4_node_129 | 0.4 | n |  | TRUE
144 | bus_LV_5723-5_0_4_node_130 | 0.4 | n |  | TRUE
145 | bus_LV_5723-5_0_4_node_136 | 0.4 | n |  | TRUE
146 | bus_LV_5723-5_0_4_node_137 | 0.4 | n |  | TRUE
147 | bus_LV_5723-5_0_4_node_138 | 0.4 | n |  | TRUE
148 | bus_MV_453_0_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5723-5_0_4_load_0 | 0 | 0.0081058 | 0.0020315 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5723-5_0_4_load_3 | 3 | 0.0017619 | 0.00044158 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5723-5_0_4_load_6 | 7 | 0.0034428 | 0.00086286 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5723-5_0_4_load_8 | 8 | 0.0022846 | 0.00057257 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5723-5_0_4_load_36 | 9 | 0.00047634 | 0.00011938 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5723-5_0_4_load_26 | 10 | 0.0017692 | 0.0004434 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5723-5_0_4_load_9 | 11 | 0.0013697 | 0.00034327 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5723-5_0_4_load_12 | 14 | 0.0014296 | 0.00035829 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5723-5_0_4_load_31 | 17 | 0.0011834 | 0.00029659 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5723-5_0_4_load_17 | 20 | 0.018299 | 0.0045862 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5723-5_0_4_load_27 | 22 | 0.033565 | 0.0084121 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5723-5_0_4_load_143 | 23 | 0.010544 | 0.0026425 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5723-5_0_4_load_32 | 24 | 0.0020937 | 0.00052474 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5723-5_0_4_load_102 | 27 | 0.002295 | 0.00057518 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5723-5_0_4_load_28 | 29 | 0.025873 | 0.0064843 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5723-5_0_4_load_19 | 30 | 0.028871 | 0.0072357 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5723-5_0_4_load_20 | 31 | 0.0068254 | 0.0017106 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5723-5_0_4_load_21 | 32 | 0.0037347 | 0.00093599 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5723-5_0_4_load_25 | 33 | 0.011467 | 0.0028739 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5723-5_0_4_load_33 | 34 | 0.011341 | 0.0028423 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5723-5_0_4_load_23 | 35 | 0.0040924 | 0.0010257 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5723-5_0_4_load_34 | 36 | 0.0096935 | 0.0024294 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5723-5_0_4_load_22 | 37 | 0.0013466 | 0.00033749 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5723-5_0_4_load_24 | 38 | 0.0024697 | 0.00061897 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5723-5_0_4_load_29 | 39 | 0.0026472 | 0.00066345 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5723-5_0_4_load_135 | 41 | 0.0020904 | 0.00052389 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5723-5_0_4_load_57 | 45 | 0.0039626 | 0.00099313 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5723-5_0_4_load_100 | 46 | 0.0015886 | 0.00039814 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5723-5_0_4_load_121 | 47 | 0.0054121 | 0.0013564 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5723-5_0_4_load_118 | 48 | 0.0036488 | 0.00091448 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5723-5_0_4_load_37 | 49 | 0.0022209 | 0.0005566 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5723-5_0_4_load_38 | 50 | 0.0040882 | 0.0010246 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5723-5_0_4_load_39 | 51 | 0.0040503 | 0.0010151 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5723-5_0_4_load_41 | 53 | 0.003114 | 0.00078044 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5723-5_0_4_load_42 | 54 | 0.0034811 | 0.00087244 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5723-5_0_4_load_43 | 55 | 0.003949 | 0.00098971 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5723-5_0_4_load_44 | 56 | 0.0046205 | 0.001158 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5723-5_0_4_load_46 | 58 | 0.0030882 | 0.00077398 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5723-5_0_4_load_47 | 59 | 0.0059406 | 0.0014889 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5723-5_0_4_load_50 | 61 | 0.024832 | 0.0062234 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5723-5_0_4_load_148 | 62 | 0.0074686 | 0.0018718 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5723-5_0_4_load_51 | 63 | 0.0054156 | 0.0013573 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5723-5_0_4_load_52 | 64 | 0.0031381 | 0.00078649 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5723-5_0_4_load_54 | 66 | 0.0044453 | 0.0011141 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5723-5_0_4_load_55 | 67 | 0.0056323 | 0.0014116 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5723-5_0_4_load_56 | 68 | 0.011319 | 0.0028367 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5723-5_0_4_load_63 | 69 | 0.0057068 | 0.0014303 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5723-5_0_4_load_60 | 70 | 0.0061062 | 0.0015304 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5723-5_0_4_load_64 | 71 | 0.0032762 | 0.00082109 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5723-5_0_4_load_61 | 72 | 0.005373 | 0.0013466 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5723-5_0_4_load_67 | 73 | 0.0033629 | 0.00084282 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5723-5_0_4_load_62 | 74 | 0.010728 | 0.0026886 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5723-5_0_4_load_73 | 75 | 0.0090237 | 0.0022615 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5723-5_0_4_load_65 | 76 | 0.0035443 | 0.00088828 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5723-5_0_4_load_66 | 77 | 0.0033781 | 0.00084663 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5723-5_0_4_load_77 | 78 | 0.0010982 | 0.00027524 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5723-5_0_4_load_69 | 79 | 0.002729 | 0.00068394 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5723-5_0_4_load_70 | 80 | 0.002729 | 0.00068394 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5723-5_0_4_load_68 | 81 | 0.0051918 | 0.0013012 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5723-5_0_4_load_76 | 82 | 0.0010975 | 0.00027507 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5723-5_0_4_load_74 | 83 | 0.0036776 | 0.00092169 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5723-5_0_4_load_75 | 84 | 0.0063917 | 0.0016019 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5723-5_0_4_load_78 | 85 | 0.01191 | 0.002985 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5723-5_0_4_load_79 | 87 | 0.0041685 | 0.0010447 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5723-5_0_4_load_80 | 88 | 0.0030364 | 0.000761 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5723-5_0_4_load_95 | 91 | 0.0097239 | 0.002437 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5723-5_0_4_load_91 | 92 | 0.0036027 | 0.00090292 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5723-5_0_4_load_93 | 93 | 0.0024648 | 0.00061774 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5723-5_0_4_load_147 | 94 | 0.0010907 | 0.00027337 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5723-5_0_4_load_81 | 95 | 0.0010334 | 0.00025899 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5723-5_0_4_load_92 | 96 | 0.0021376 | 0.00053574 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5723-5_0_4_load_82 | 97 | 0.0026538 | 0.0006651 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5723-5_0_4_load_142 | 101 | 0.0070267 | 0.0017611 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5723-5_0_4_load_141 | 102 | 0.00064751 | 0.00016228 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5723-5_0_4_load_88 | 103 | 0.003594 | 0.00090075 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5723-5_0_4_load_86 | 104 | 0.002593 | 0.00064986 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5723-5_0_4_load_87 | 105 | 0.0031787 | 0.00079666 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5723-5_0_4_load_90 | 107 | 0.0023256 | 0.00058285 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5723-5_0_4_load_146 | 108 | 0.0030216 | 0.0007573 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5723-5_0_4_load_144 | 113 | 0.0021116 | 0.00052922 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5723-5_0_4_load_105 | 115 | 0.0026572 | 0.00066596 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5723-5_0_4_load_139 | 116 | 0.0013195 | 0.0003307 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5723-5_0_4_load_106 | 118 | 0.0024789 | 0.00062127 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5723-5_0_4_load_99 | 119 | 0.0034322 | 0.0008602 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5723-5_0_4_load_104 | 120 | 0.0015611 | 0.00039125 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5723-5_0_4_load_140 | 122 | 0.0034052 | 0.00085343 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5723-5_0_4_load_113 | 123 | 0.0042986 | 0.0010773 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5723-5_0_4_load_111 | 124 | 0.0037023 | 0.00092788 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5723-5_0_4_load_107 | 125 | 0.0028565 | 0.00071591 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5723-5_0_4_load_109 | 127 | 0.0036415 | 0.00091266 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5723-5_0_4_load_110 | 128 | 0.0044675 | 0.0011197 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5723-5_0_4_load_114 | 129 | 0.0011339 | 0.00028417 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5723-5_0_4_load_117 | 132 | 0.0033607 | 0.00084227 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5723-5_0_4_load_119 | 133 | 0.0020466 | 0.00051293 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5723-5_0_4_load_122 | 134 | 0.0037855 | 0.00094873 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5723-5_0_4_load_123 | 135 | 0.0019625 | 0.00049186 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5723-5_0_4_load_125 | 137 | 0.0042611 | 0.0010679 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5723-5_0_4_load_126 | 138 | 0.0040085 | 0.0010046 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5723-5_0_4_load_127 | 139 | 0.0031851 | 0.00079825 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5723-5_0_4_load_128 | 140 | 0.0010486 | 0.00026281 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5723-5_0_4_load_133 | 142 | 0.0015207 | 0.00038113 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5723-5_0_4_load_129 | 143 | 0.0013383 | 0.0003354 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5723-5_0_4_load_130 | 144 | 0.0018571 | 0.00046543 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5723-5_0_4_load_136 | 145 | 0.0035459 | 0.00088869 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5723-5_0_4_load_137 | 146 | 0.0014051 | 0.00035215 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5723-5_0_4_load_138 | 147 | 0.0025471 | 0.00063837 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5723-5_0_4_line_0 |  | 0 | 1 | 0.018469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_5723-5_0_4_line_1 |  | 0 | 2 | 0.050128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5723-5_0_4_line_2 |  | 1 | 3 | 0.10364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5723-5_0_4_line_3 |  | 2 | 4 | 0.043866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5723-5_0_4_line_4 |  | 3 | 5 | 0.062144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5723-5_0_4_line_5 |  | 4 | 6 | 0.051575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5723-5_0_4_line_6 |  | 4 | 7 | 0.01092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5723-5_0_4_line_7 |  | 5 | 9 | 0.013015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5723-5_0_4_line_8 |  | 5 | 10 | 0.016534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5723-5_0_4_line_9 |  | 6 | 8 | 0.072139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5723-5_0_4_line_10 |  | 9 | 49 | 0.014747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5723-5_0_4_line_11 |  | 10 | 38 | 0.0038919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5723-5_0_4_line_12 |  | 11 | 12 | 0.035305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5723-5_0_4_line_13 |  | 11 | 13 | 0.018474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5723-5_0_4_line_14 |  | 12 | 14 | 0.0072747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5723-5_0_4_line_15 |  | 13 | 15 | 0.020367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5723-5_0_4_line_16 |  | 14 | 16 | 0.031848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5723-5_0_4_line_17 |  | 15 | 18 | 0.0769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5723-5_0_4_line_18 |  | 15 | 19 | 0.095457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5723-5_0_4_line_19 |  | 15 | 20 | 0.057219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5723-5_0_4_line_20 |  | 16 | 17 | 0.010986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5723-5_0_4_line_21 |  | 17 | 24 | 0.019165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5723-5_0_4_line_22 |  | 18 | 21 | 0.11606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5723-5_0_4_line_23 |  | 18 | 22 | 0.0098609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5723-5_0_4_line_24 |  | 19 | 23 | 0.032034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5723-5_0_4_line_25 |  | 20 | 25 | 0.012306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5723-5_0_4_line_26 |  | 21 | 26 | 0.12353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5723-5_0_4_line_27 |  | 21 | 27 | 0.043807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5723-5_0_4_line_28 |  | 21 | 28 | 0.011565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5723-5_0_4_line_29 |  | 22 | 29 | 0.012815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5723-5_0_4_line_30 |  | 25 | 30 | 0.042272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5723-5_0_4_line_31 |  | 25 | 31 | 0.033288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5723-5_0_4_line_32 |  | 25 | 32 | 0.025972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5723-5_0_4_line_33 |  | 26 | 43 | 0.065807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5723-5_0_4_line_34 |  | 26 | 44 | 0.051045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5723-5_0_4_line_35 |  | 26 | 45 | 0.066238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5723-5_0_4_line_36 |  | 27 | 46 | 0.018269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5723-5_0_4_line_37 |  | 28 | 47 | 0.019171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5723-5_0_4_line_38 |  | 28 | 48 | 0.021432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5723-5_0_4_line_39 |  | 29 | 39 | 0.023971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5723-5_0_4_line_40 |  | 31 | 33 | 0.00158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5723-5_0_4_line_41 |  | 32 | 34 | 0.018306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5723-5_0_4_line_42 |  | 33 | 35 | 0.017585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5723-5_0_4_line_43 |  | 34 | 36 | 0.017215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5723-5_0_4_line_44 |  | 35 | 37 | 0.016541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5723-5_0_4_line_45 |  | 37 | 38 | 0.023282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5723-5_0_4_line_46 |  | 39 | 40 | 0.020487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5723-5_0_4_line_47 |  | 40 | 41 | 0.024539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5723-5_0_4_line_48 |  | 40 | 42 | 0.054817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5723-5_0_4_line_49 |  | 41 | 145 | 0.026951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5723-5_0_4_line_50 |  | 42 | 142 | 0.0088908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5723-5_0_4_line_51 |  | 42 | 143 | 0.05227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5723-5_0_4_line_52 |  | 43 | 73 | 0.0081795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5723-5_0_4_line_53 |  | 43 | 74 | 0.04136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5723-5_0_4_line_54 |  | 44 | 62 | 0.028619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5723-5_0_4_line_55 |  | 44 | 60 | 0.051445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5723-5_0_4_line_56 |  | 46 | 119 | 0.011281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5723-5_0_4_line_57 |  | 48 | 131 | 0.064469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5723-5_0_4_line_58 |  | 49 | 50 | 0.033259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5723-5_0_4_line_59 |  | 51 | 52 | 0.020156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5723-5_0_4_line_60 |  | 51 | 53 | 0.044915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5723-5_0_4_line_61 |  | 52 | 54 | 0.038261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5723-5_0_4_line_62 |  | 52 | 55 | 0.0094718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5723-5_0_4_line_63 |  | 54 | 56 | 0.040207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5723-5_0_4_line_64 |  | 55 | 57 | 0.033224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5723-5_0_4_line_65 |  | 57 | 58 | 0.032197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5723-5_0_4_line_66 |  | 57 | 59 | 0.0035276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5723-5_0_4_line_67 |  | 59 | 60 | 0.035482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5723-5_0_4_line_68 |  | 60 | 61 | 0.034021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5723-5_0_4_line_69 |  | 63 | 64 | 0.035492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5723-5_0_4_line_70 |  | 63 | 65 | 0.0022107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5723-5_0_4_line_71 |  | 64 | 66 | 0.0025568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5723-5_0_4_line_72 |  | 65 | 67 | 0.04267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_5723-5_0_4_line_73 |  | 65 | 68 | 0.02189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5723-5_0_4_line_74 |  | 66 | 69 | 0.040222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5723-5_0_4_line_75 |  | 67 | 70 | 0.0044321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5723-5_0_4_line_76 |  | 69 | 71 | 0.038653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5723-5_0_4_line_77 |  | 70 | 72 | 0.031876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5723-5_0_4_line_78 |  | 71 | 76 | 0.03561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5723-5_0_4_line_79 |  | 72 | 74 | 0.0039938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5723-5_0_4_line_80 |  | 73 | 75 | 0.014022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_5723-5_0_4_line_81 |  | 75 | 86 | 0.041857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_5723-5_0_4_line_82 |  | 76 | 77 | 0.030252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5723-5_0_4_line_83 |  | 77 | 78 | 0.040203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5723-5_0_4_line_84 |  | 78 | 85 | 0.012069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5723-5_0_4_line_85 |  | 78 | 84 | 0.016057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5723-5_0_4_line_86 |  | 79 | 80 | 0.016597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5723-5_0_4_line_87 |  | 79 | 81 | 0.030679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5723-5_0_4_line_88 |  | 80 | 82 | 0.014002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5723-5_0_4_line_89 |  | 82 | 83 | 0.0070881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5723-5_0_4_line_90 |  | 83 | 84 | 0.011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5723-5_0_4_line_91 |  | 86 | 89 | 0.006031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_5723-5_0_4_line_92 |  | 87 | 88 | 0.039851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5723-5_0_4_line_93 |  | 88 | 95 | 0.036935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5723-5_0_4_line_94 |  | 89 | 90 | 0.053795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_5723-5_0_4_line_95 |  | 89 | 91 | 0.077264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_5723-5_0_4_line_96 |  | 90 | 92 | 0.014552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_5723-5_0_4_line_97 |  | 90 | 93 | 0.041361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5723-5_0_4_line_98 |  | 91 | 94 | 0.066229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5723-5_0_4_line_99 |  | 92 | 106 | 0.017513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_5723-5_0_4_line_100 |  | 93 | 96 | 0.0023791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5723-5_0_4_line_101 |  | 94 | 109 | 0.02086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5723-5_0_4_line_102 |  | 95 | 96 | 0.007921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5723-5_0_4_line_103 |  | 97 | 98 | 0.025104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5723-5_0_4_line_104 |  | 98 | 99 | 0.028264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5723-5_0_4_line_105 |  | 98 | 100 | 0.013335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5723-5_0_4_line_106 |  | 99 | 101 | 0.054554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5723-5_0_4_line_107 |  | 99 | 102 | 0.017733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5723-5_0_4_line_108 |  | 100 | 103 | 0.012598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5723-5_0_4_line_109 |  | 103 | 104 | 0.006101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5723-5_0_4_line_110 |  | 104 | 105 | 0.032514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
111 | LV_5723-5_0_4_line_111 |  | 105 | 106 | 0.075929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
112 | LV_5723-5_0_4_line_112 |  | 106 | 107 | 0.062865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5723-5_0_4_line_113 |  | 108 | 109 | 0.039821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5723-5_0_4_line_114 |  | 110 | 111 | 0.038719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_5723-5_0_4_line_115 |  | 110 | 112 | 0.053323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
116 | LV_5723-5_0_4_line_116 |  | 111 | 113 | 0.026605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5723-5_0_4_line_117 |  | 111 | 114 | 0.019319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
118 | LV_5723-5_0_4_line_118 |  | 112 | 115 | 0.014915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_5723-5_0_4_line_119 |  | 114 | 116 | 0.035692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
120 | LV_5723-5_0_4_line_120 |  | 114 | 117 | 0.048278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
121 | LV_5723-5_0_4_line_121 |  | 115 | 118 | 0.015361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
122 | LV_5723-5_0_4_line_122 |  | 116 | 122 | 0.010183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
123 | LV_5723-5_0_4_line_123 |  | 117 | 120 | 0.021132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
124 | LV_5723-5_0_4_line_124 |  | 117 | 119 | 0.032312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
125 | LV_5723-5_0_4_line_125 |  | 120 | 121 | 0.048612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
126 | LV_5723-5_0_4_line_126 |  | 121 | 123 | 0.02857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
127 | LV_5723-5_0_4_line_127 |  | 121 | 124 | 0.01797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
128 | LV_5723-5_0_4_line_128 |  | 124 | 126 | 0.032558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
129 | LV_5723-5_0_4_line_129 |  | 125 | 126 | 0.0030753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
130 | LV_5723-5_0_4_line_130 |  | 125 | 127 | 0.013023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
131 | LV_5723-5_0_4_line_131 |  | 126 | 128 | 0.022895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
132 | LV_5723-5_0_4_line_132 |  | 129 | 130 | 0.065045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
133 | LV_5723-5_0_4_line_133 |  | 129 | 131 | 0.0019867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
134 | LV_5723-5_0_4_line_134 |  | 130 | 132 | 0.01383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
135 | LV_5723-5_0_4_line_135 |  | 131 | 133 | 0.020121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
136 | LV_5723-5_0_4_line_136 |  | 134 | 135 | 0.00095063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
137 | LV_5723-5_0_4_line_137 |  | 134 | 136 | 0.027262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
138 | LV_5723-5_0_4_line_138 |  | 135 | 137 | 0.0099076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
139 | LV_5723-5_0_4_line_139 |  | 136 | 138 | 0.027119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
140 | LV_5723-5_0_4_line_140 |  | 136 | 139 | 0.015047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
141 | LV_5723-5_0_4_line_141 |  | 137 | 140 | 0.010626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
142 | LV_5723-5_0_4_line_142 |  | 139 | 141 | 0.01585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
143 | LV_5723-5_0_4_line_143 |  | 141 | 142 | 0.018651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
144 | LV_5723-5_0_4_line_144 |  | 143 | 144 | 0.0088239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
145 | LV_5723-5_0_4_line_145 |  | 145 | 146 | 0.0011977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
146 | LV_5723-5_0_4_line_146 |  | 146 | 147 | 0.025026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5723-5_0_4_trafo_148 | 0.63 MVA 20/0.4 kV | 148 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2502063.2403 | 1129065.156 | 2502044.9 | 1129062.9794
1 | 2502028.6029 | 1129097.2488 | 2502032.1313 | 1129085.3509 | 2502027.4568 | 1129069.8394 | 2502033.8195 | 1129061.6644 | 2502044.9 | 1129062.9794
2 | 2502063.2403 | 1129065.156 | 2502068.1096 | 1129060.8633 | 2502071.5906 | 1129058.8611 | 2502092.0101 | 1129044.1988 | 2502096.3697 | 1129038.8804 | 2502098.2515 | 1129033.2908 | 2502098.2815 | 1129028.9655 | 2502097.5739 | 1129023.8182 | 2502096.3013 | 1129015.1891 | 2502096.6277 | 1129010.1362 | 2502098.5795 | 1129002.6889 | 2502100.952 | 1128996.4688 | 2502102.1055 | 1128991.1023 | 2502102.8444 | 1128985.8315 | 2502101.9116 | 1128979.1537
3 | 2501986.0014 | 1129107.6688 | 2501992.5349 | 1129105.7504 | 2502015.3009 | 1129100.3777 | 2502028.6029 | 1129097.2488
4 | 2502114.2416 | 1128934.126 | 2502087.1631 | 1128957.257 | 2502089.7287 | 1128960.095 | 2502094.4754 | 1128966.2885 | 2502099.2375 | 1128973.4268 | 2502101.9116 | 1128979.1537
5 | 2501949.0158 | 1129127.0256 | 2501957.3822 | 1129124.5771 | 2501965.6994 | 1129122.4186 | 2501973.7861 | 1129120.7751 | 2501988.6848 | 1129118.2317 | 2501986.0014 | 1129107.6688
6 | 2501986.0014 | 1129107.6688 | 2501984.6516 | 1129102.3652 | 2501983.2559 | 1129097.0999
7 | 2502114.2416 | 1128934.126 | 2502105.7487 | 1128924.2635
8 | 2502114.2416 | 1128934.126 | 2502127.0355 | 1128923.6525
9 | 2501949.0158 | 1129127.0256 | 2501947.1367 | 1129123.2871 | 2501940.0104 | 1129102.0008 | 2501939.3491 | 1129086.4353 | 2501930.3275 | 1129057.8993
10 | 2502105.7487 | 1128924.2635 | 2502098.8415 | 1128916.2424 | 2502096.2453 | 1128912.9899
11 | 2502127.0355 | 1128923.6525 | 2502130.047 | 1128921.1872
12 | 2502195.2647 | 1128962.7975 | 2502210.9138 | 1128946.6119 | 2502220.4791 | 1128938.1194
13 | 2502234.2942 | 1128925.8539 | 2502220.4791 | 1128938.1194
14 | 2502195.2647 | 1128962.7975 | 2502191.0837 | 1128968.7507
15 | 2502234.2942 | 1128925.8539 | 2502249.8453 | 1128912.6495
16 | 2502173.874 | 1128995.5309 | 2502184.5626 | 1128978.0358 | 2502191.0837 | 1128968.7507
17 | 2502249.8453 | 1128912.6495 | 2502258.0474 | 1128905.2678 | 2502258.7769 | 1128904.6333 | 2502264.5194 | 1128900.0042 | 2502268.6354 | 1128896.7578 | 2502272.9347 | 1128893.8865 | 2502262.2407 | 1128867.7768 | 2502268.3 | 1128849.8788
18 | 2502249.8453 | 1128912.6495 | 2502258.0474 | 1128905.2678 | 2502258.7769 | 1128904.6333 | 2502264.5194 | 1128900.0042 | 2502268.6354 | 1128896.7578 | 2502272.9347 | 1128893.8865 | 2502276.9929 | 1128903.7269 | 2502280.5134 | 1128909.8626 | 2502284.6468 | 1128916.2552 | 2502291.3665 | 1128925.3409 | 2502295.3353 | 1128930.6133 | 2502277.8486 | 1128944.6716
19 | 2502249.8453 | 1128912.6495 | 2502218.3525 | 1128880.2283 | 2502209.9997 | 1128871.5846
20 | 2502173.874 | 1128995.5309 | 2502169.5788 | 1128994.8445 | 2502163.0024 | 1128993.9561
21 | 2502145.4865 | 1129000.1826 | 2502152.6428 | 1128995.3192 | 2502157.4776 | 1128994.1179 | 2502162.7447 | 1128993.9213 | 2502163.0024 | 1128993.9561
22 | 2502235.888 | 1128756.9239 | 2502232.7414 | 1128777.6765 | 2502232.0173 | 1128784.826 | 2502232.0916 | 1128788.9384 | 2502232.7276 | 1128793.4754 | 2502233.9266 | 1128797.5696 | 2502240.7905 | 1128814.5912 | 2502257.3198 | 1128855.5822 | 2502268.3 | 1128849.8788
23 | 2502268.3 | 1128849.8788 | 2502275.8837 | 1128843.5759
24 | 2502252.8394 | 1128964.7776 | 2502277.8486 | 1128944.6716
25 | 2502201.4486 | 1128862.7357 | 2502209.9997 | 1128871.5846
26 | 2502151.5059 | 1128744.1271 | 2502155.9188 | 1128748.2581 | 2502170.4356 | 1128762.4984 | 2502181.176 | 1128770.0402 | 2502191.005 | 1128775.551 | 2502200.4355 | 1128780.2456 | 2502216.6146 | 1128787.2324 | 2502217.0129 | 1128780.4329 | 2502221.1438 | 1128780.4771 | 2502224.9397 | 1128778.8702 | 2502228.0106 | 1128776.7525 | 2502232.7414 | 1128777.6765 | 2502235.888 | 1128756.9239
27 | 2502235.888 | 1128756.9239 | 2502242.4996 | 1128713.619
28 | 2502235.888 | 1128756.9239 | 2502244.9225 | 1128755.7213 | 2502247.2028 | 1128754.7394
29 | 2502275.8837 | 1128843.5759 | 2502285.7392 | 1128835.3849
30 | 2502201.4486 | 1128862.7357 | 2502202.0478 | 1128858.3455 | 2502196.4517 | 1128844.4275 | 2502187.6495 | 1128823.346
31 | 2502201.4486 | 1128862.7357 | 2502175.6907 | 1128883.8219
32 | 2502201.4486 | 1128862.7357 | 2502176.7041 | 1128854.844
33 | 2502103.4625 | 1128699.0224 | 2502151.5059 | 1128744.1271
34 | 2502122.4165 | 1128778.264 | 2502152.4277 | 1128752.0281 | 2502155.9188 | 1128748.2581 | 2502151.5059 | 1128744.1271
35 | 2502151.5059 | 1128744.1271 | 2502148.583 | 1128747.2986 | 2502144.6099 | 1128750.8096 | 2502113.3107 | 1128776.9664 | 2502100.8928 | 1128786.7892
36 | 2502242.4996 | 1128713.619 | 2502242.7848 | 1128711.751 | 2502244.4106 | 1128695.4529
37 | 2502247.2028 | 1128754.7394 | 2502251.3863 | 1128756.6061 | 2502254.3068 | 1128758.5156 | 2502259.9943 | 1128765.2277 | 2502261.0049 | 1128767.297
38 | 2502247.2028 | 1128754.7394 | 2502248.978 | 1128753.9657 | 2502254.994 | 1128749.0876 | 2502264.0859 | 1128741.6438
39 | 2502304.2484 | 1128820.1525 | 2502292.721 | 1128829.5822 | 2502285.7392 | 1128835.3849
40 | 2502174.4682 | 1128884.8227 | 2502175.6907 | 1128883.8219
41 | 2502176.7041 | 1128854.844 | 2502159.2634 | 1128849.2817
42 | 2502160.8611 | 1128895.9618 | 2502174.4682 | 1128884.8227
43 | 2502142.8624 | 1128844.051 | 2502159.2634 | 1128849.2817
44 | 2502160.8611 | 1128895.9618 | 2502148.0622 | 1128906.4394
45 | 2502130.047 | 1128921.1872 | 2502148.0622 | 1128906.4394
46 | 2502320.1056 | 1128807.1809 | 2502304.2484 | 1128820.1525
47 | 2502320.1056 | 1128807.1809 | 2502324.7649 | 1128810.3631 | 2502334.4006 | 1128821.0805 | 2502337.2754 | 1128824.522
48 | 2502362.4279 | 1128772.1972 | 2502320.1056 | 1128807.1809
49 | 2502354.5951 | 1128845.1706 | 2502353.0388 | 1128843.3929 | 2502337.2754 | 1128824.522
50 | 2502362.4279 | 1128772.1972 | 2502368.6154 | 1128765.8127
51 | 2502362.4279 | 1128772.1972 | 2502380.3438 | 1128794.1544 | 2502394.2707 | 1128788.1589 | 2502402.865 | 1128786.4189
52 | 2502103.4625 | 1128699.0224 | 2502097.5335 | 1128693.3875
53 | 2502103.4625 | 1128699.0224 | 2502099.3122 | 1128703.9593 | 2502073.349 | 1128727.2966
54 | 2502122.4165 | 1128778.264 | 2502137.4582 | 1128793.9855 | 2502138.7007 | 1128800.7584
55 | 2502083.3007 | 1128811.8077 | 2502122.4165 | 1128778.264
56 | 2502244.4106 | 1128695.4529 | 2502245.5304 | 1128684.2277
57 | 2502313.9685 | 1128700.8035 | 2502264.0859 | 1128741.6438
58 | 2502087.1767 | 1128882.1105 | 2502088.1461 | 1128890.5666 | 2502089.0553 | 1128902.437 | 2502090.9213 | 1128906.3202 | 2502096.2453 | 1128912.9899
59 | 2502013.8177 | 1128854.7946 | 2502025.7251 | 1128871.0572
60 | 2502052.2511 | 1128898.8872 | 2502049.1833 | 1128903.0951 | 2502025.7251 | 1128871.0572
61 | 2502013.8177 | 1128854.7946 | 2501981.3247 | 1128874.9956
62 | 2502013.8177 | 1128854.7946 | 2502021.8717 | 1128849.8099
63 | 2501947.1785 | 1128896.2244 | 2501981.3247 | 1128874.9956
64 | 2502050.1228 | 1128832.3251 | 2502021.8717 | 1128849.8099
65 | 2502050.1228 | 1128832.3251 | 2502061.9093 | 1128851.1455 | 2502064.3264 | 1128853.3744 | 2502069.3155 | 1128848.8573
66 | 2502050.1228 | 1128832.3251 | 2502053.1231 | 1128830.4697
67 | 2502083.3007 | 1128811.8077 | 2502053.1231 | 1128830.4697
68 | 2502083.3007 | 1128811.8077 | 2502101.1086 | 1128832.2761 | 2502106.2733 | 1128827.6561
69 | 2502007.6466 | 1128781.1355 | 2501990.5194 | 1128791.8561 | 2501977.3888 | 1128799.6821
70 | 2502009.5205 | 1128779.9626 | 2502007.6466 | 1128781.1355
71 | 2501975.1925 | 1128800.9911 | 2501977.3888 | 1128799.6821
72 | 2502009.5205 | 1128779.9626 | 2502027.223 | 1128768.7573 | 2502043.3758 | 1128754.2383
73 | 2502009.5205 | 1128779.9626 | 2501992.9168 | 1128765.6971
74 | 2501975.1925 | 1128800.9911 | 2501940.6422 | 1128821.5836
75 | 2502043.3758 | 1128754.2383 | 2502046.672 | 1128751.2754
76 | 2501907.439 | 1128841.3732 | 2501940.6422 | 1128821.5836
77 | 2502070.3787 | 1128729.9664 | 2502046.672 | 1128751.2754
78 | 2501907.439 | 1128841.3732 | 2501894.7897 | 1128848.9124 | 2501891.3678 | 1128848.868 | 2501888.5189 | 1128845.2009 | 2501881.903 | 1128834.2212
79 | 2502070.3787 | 1128729.9664 | 2502073.349 | 1128727.2966
80 | 2502087.3692 | 1128683.7274 | 2502097.5335 | 1128693.3875
81 | 2502057.0292 | 1128654.8925 | 2502087.3692 | 1128683.7274
82 | 2501856.8716 | 1128837.0656 | 2501870.9972 | 1128829.109 | 2501875.0127 | 1128828.2209 | 2501878.7468 | 1128828.983 | 2501881.903 | 1128834.2212
83 | 2501856.8716 | 1128837.0656 | 2501833.6599 | 1128804.2409
84 | 2501823.3369 | 1128810.4943 | 2501833.6599 | 1128804.2409
85 | 2501833.6599 | 1128804.2409 | 2501847.3937 | 1128795.9213
86 | 2501874.84 | 1128779.2948 | 2501883.2347 | 1128774.2095 | 2501888.9548 | 1128770.5649
87 | 2501914.8284 | 1128754.0791 | 2501888.9548 | 1128770.5649
88 | 2501862.8644 | 1128786.5494 | 2501874.84 | 1128779.2948
89 | 2501862.8644 | 1128786.5494 | 2501856.8019 | 1128790.222
90 | 2501856.8019 | 1128790.222 | 2501847.3937 | 1128795.9213
91 | 2502057.0292 | 1128654.8925 | 2502052.8362 | 1128650.5467
92 | 2501959.9008 | 1128703.2958 | 2501945.3205 | 1128686.169 | 2501942.7104 | 1128679.1848 | 2501944.0645 | 1128672.8923 | 2501946.7188 | 1128670.6632
93 | 2501946.7188 | 1128670.6632 | 2501975.0027 | 1128646.9103
94 | 2502014.0631 | 1128613.1526 | 2502046.9651 | 1128644.8829 | 2502052.8362 | 1128650.5467
95 | 2502052.8362 | 1128650.5467 | 2502056.6667 | 1128647.2714 | 2502119.7423 | 1128612.0882
96 | 2502014.0631 | 1128613.1526 | 2502003.4384 | 1128603.2085
97 | 2502014.0631 | 1128613.1526 | 2502009.35 | 1128618.0654 | 2501982.8903 | 1128640.2863
98 | 2502119.7423 | 1128612.0882 | 2502074.9156 | 1128563.3348
99 | 2501990.6519 | 1128591.2412 | 2502003.4384 | 1128603.2085
100 | 2501981.0685 | 1128641.8163 | 2501982.8903 | 1128640.2863
101 | 2502074.9156 | 1128563.3348 | 2502071.3008 | 1128557.1118 | 2502073.3185 | 1128554.1884 | 2502083.0914 | 1128551.4616
102 | 2501981.0685 | 1128641.8163 | 2501975.0027 | 1128646.9103
103 | 2501876.7863 | 1128673.3298 | 2501869.324 | 1128666.4913 | 2501864.6567 | 1128659.0514 | 2501861.5238 | 1128653.7023
104 | 2501876.7863 | 1128673.3298 | 2501876.0531 | 1128678.9452 | 2501873.4346 | 1128686.6147 | 2501871.0361 | 1128691.7012 | 2501867.7378 | 1128695.0013 | 2501863.8343 | 1128696.6213
105 | 2501876.7863 | 1128673.3298 | 2501887.4432 | 1128665.2739
106 | 2501863.8343 | 1128696.6213 | 2501864.2373 | 1128699.1274 | 2501863.1405 | 1128701.8136 | 2501846.246 | 1128711.0494 | 2501828.5739 | 1128724.1114 | 2501823.5114 | 1128730.2753
107 | 2501863.8343 | 1128696.6213 | 2501859.0228 | 1128696.4216 | 2501847.4306 | 1128690.7237
108 | 2501887.4432 | 1128665.2739 | 2501892.4595 | 1128661.4789 | 2501897.6259 | 1128657.8606
109 | 2501902.6232 | 1128654.3607 | 2501897.6259 | 1128657.8606
110 | 2501902.6232 | 1128654.3607 | 2501929.2557 | 1128635.7085
111 | 2501990.6519 | 1128591.2412 | 2501986.866 | 1128595.3607 | 2501929.2557 | 1128635.7085
112 | 2501990.6519 | 1128591.2412 | 2501963.1783 | 1128566.8721 | 2501952.9708 | 1128557.0762 | 2501945.0751 | 1128548.049
113 | 2502083.0914 | 1128551.4616 | 2502075.875 | 1128539.8269 | 2502073.3895 | 1128539.5671 | 2502061.8387 | 1128547.1702 | 2502059.1533 | 1128547.4139 | 2502055.44 | 1128541.2926
114 | 2502237.1965 | 1128546.573 | 2502238.8717 | 1128554.3729 | 2502242.6106 | 1128573.98 | 2502244.5931 | 1128584.5767
115 | 2502237.1965 | 1128546.573 | 2502238.8717 | 1128554.3729 | 2502243.9944 | 1128551.4215 | 2502272.6997 | 1128524.3847
116 | 2502244.5931 | 1128584.5767 | 2502249.7759 | 1128582.9585 | 2502265.6685 | 1128568.8926
117 | 2502244.5931 | 1128584.5767 | 2502246.8072 | 1128603.7638
118 | 2502272.6997 | 1128524.3847 | 2502282.0514 | 1128536.0032
119 | 2502246.8072 | 1128603.7638 | 2502252.8031 | 1128603.8223 | 2502257.0173 | 1128602.8202 | 2502268.0282 | 1128593.2694 | 2502268.759 | 1128587.4874 | 2502272.2152 | 1128583.9292
120 | 2502247.5496 | 1128651.9815 | 2502248.1576 | 1128635.2836 | 2502247.6759 | 1128616.0128 | 2502246.8072 | 1128603.7638
121 | 2502291.6833 | 1128547.9698 | 2502282.0514 | 1128536.0032
122 | 2502282.0382 | 1128584.2927 | 2502278.7099 | 1128582.9013 | 2502272.2152 | 1128583.9292
123 | 2502247.5496 | 1128651.9815 | 2502255.9245 | 1128651.9126 | 2502260.2911 | 1128651.286 | 2502263.926 | 1128649.7262 | 2502267.5527 | 1128647.2515
124 | 2502247.5496 | 1128651.9815 | 2502245.8342 | 1128681.1828 | 2502245.5304 | 1128684.2277
125 | 2502306.0247 | 1128617.5362 | 2502267.8815 | 1128647.0272 | 2502267.5527 | 1128647.2515
126 | 2502300.7197 | 1128595.4195 | 2502295.0042 | 1128599.837 | 2502294.8362 | 1128602.3079 | 2502306.0247 | 1128617.5362
127 | 2502306.0247 | 1128617.5362 | 2502320.2397 | 1128606.5434
128 | 2502345.9947 | 1128586.6263 | 2502320.2397 | 1128606.5434
129 | 2502345.9947 | 1128586.6263 | 2502344.0513 | 1128584.2428
130 | 2502335.8216 | 1128574.1498 | 2502344.0513 | 1128584.2428
131 | 2502345.9947 | 1128586.6263 | 2502353.3718 | 1128592.5106 | 2502361.9612 | 1128602.8723
132 | 2502365.8334 | 1128658.3386 | 2502315.5057 | 1128699.5449
133 | 2502313.9685 | 1128700.8035 | 2502315.5057 | 1128699.5449
134 | 2502365.8334 | 1128658.3386 | 2502365.8087 | 1128652.0462 | 2502367.5471 | 1128644.7136
135 | 2502313.9685 | 1128700.8035 | 2502327.2201 | 1128715.9449
136 | 2502340.5522 | 1128747.7226 | 2502341.2955 | 1128747.1301
137 | 2502361.5503 | 1128728.9069 | 2502354.9359 | 1128734.9064 | 2502346.2014 | 1128743.2195 | 2502341.2955 | 1128747.1301
138 | 2502340.5522 | 1128747.7226 | 2502332.8048 | 1128753.8982
139 | 2502361.5503 | 1128728.9069 | 2502375.9351 | 1128715.9552 | 2502371.4932 | 1128709.5453
140 | 2502361.5503 | 1128728.9069 | 2502371.3124 | 1128740.3579
141 | 2502326.2964 | 1128745.4983 | 2502332.8048 | 1128753.8982
142 | 2502381.5951 | 1128752.4196 | 2502371.3124 | 1128740.3579
143 | 2502381.5951 | 1128752.4196 | 2502368.6154 | 1128765.8127
144 | 2502402.865 | 1128786.4189 | 2502402.865 | 1128786.4189 | 2502410.2448 | 1128781.5817
145 | 2502354.5951 | 1128845.1706 | 2502355.384 | 1128846.0717
146 | 2502355.384 | 1128846.0717 | 2502371.8683 | 1128864.9015

## bus_geodata
| x | y | coords
0 | 2502044.9 | 1129062.9794
1 | 2502063.2403 | 1129065.156
2 | 2502028.6029 | 1129097.2488
3 | 2502101.9116 | 1128979.1537
4 | 2501986.0014 | 1129107.6688
5 | 2502114.2416 | 1128934.126
6 | 2501949.0158 | 1129127.0256
7 | 2501983.2559 | 1129097.0999
8 | 2501930.3275 | 1129057.8993
9 | 2502105.7487 | 1128924.2635
10 | 2502127.0355 | 1128923.6525
11 | 2502220.4791 | 1128938.1194
12 | 2502195.2647 | 1128962.7975
13 | 2502234.2942 | 1128925.8539
14 | 2502191.0837 | 1128968.7507
15 | 2502249.8453 | 1128912.6495
16 | 2502173.874 | 1128995.5309
17 | 2502163.0024 | 1128993.9561
18 | 2502268.3 | 1128849.8788
19 | 2502277.8486 | 1128944.6716
20 | 2502209.9997 | 1128871.5846
21 | 2502235.888 | 1128756.9239
22 | 2502275.8837 | 1128843.5759
23 | 2502252.8394 | 1128964.7776
24 | 2502145.4865 | 1129000.1826
25 | 2502201.4486 | 1128862.7357
26 | 2502151.5059 | 1128744.1271
27 | 2502242.4996 | 1128713.619
28 | 2502247.2028 | 1128754.7394
29 | 2502285.7392 | 1128835.3849
30 | 2502187.6495 | 1128823.346
31 | 2502175.6907 | 1128883.8219
32 | 2502176.7041 | 1128854.844
33 | 2502174.4682 | 1128884.8227
34 | 2502159.2634 | 1128849.2817
35 | 2502160.8611 | 1128895.9618
36 | 2502142.8624 | 1128844.051
37 | 2502148.0622 | 1128906.4394
38 | 2502130.047 | 1128921.1872
39 | 2502304.2484 | 1128820.1525
40 | 2502320.1056 | 1128807.1809
41 | 2502337.2754 | 1128824.522
42 | 2502362.4279 | 1128772.1972
43 | 2502103.4625 | 1128699.0224
44 | 2502122.4165 | 1128778.264
45 | 2502100.8928 | 1128786.7892
46 | 2502244.4106 | 1128695.4529
47 | 2502261.0049 | 1128767.297
48 | 2502264.0859 | 1128741.6438
49 | 2502096.2453 | 1128912.9899
50 | 2502087.1767 | 1128882.1105
51 | 2502025.7251 | 1128871.0572
52 | 2502013.8177 | 1128854.7946
53 | 2502052.2511 | 1128898.8872
54 | 2501981.3247 | 1128874.9956
55 | 2502021.8717 | 1128849.8099
56 | 2501947.1785 | 1128896.2244
57 | 2502050.1228 | 1128832.3251
58 | 2502069.3156 | 1128848.8573
59 | 2502053.1231 | 1128830.4697
60 | 2502083.3007 | 1128811.8077
61 | 2502106.2733 | 1128827.6561
62 | 2502138.7007 | 1128800.7584
63 | 2502007.6466 | 1128781.1355
64 | 2501977.3888 | 1128799.6821
65 | 2502009.5205 | 1128779.9626
66 | 2501975.1925 | 1128800.9911
67 | 2502043.3758 | 1128754.2383
68 | 2501992.9168 | 1128765.6971
69 | 2501940.6422 | 1128821.5836
70 | 2502046.672 | 1128751.2754
71 | 2501907.439 | 1128841.3732
72 | 2502070.3787 | 1128729.9664
73 | 2502097.5335 | 1128693.3875
74 | 2502073.349 | 1128727.2966
75 | 2502087.3692 | 1128683.7274
76 | 2501881.903 | 1128834.2212
77 | 2501856.8716 | 1128837.0656
78 | 2501833.6599 | 1128804.2409
79 | 2501888.9548 | 1128770.5649
80 | 2501874.84 | 1128779.2948
81 | 2501914.8284 | 1128754.0791
82 | 2501862.8644 | 1128786.5494
83 | 2501856.8019 | 1128790.222
84 | 2501847.3937 | 1128795.9213
85 | 2501823.3369 | 1128810.4943
86 | 2502057.0292 | 1128654.8925
87 | 2501959.9008 | 1128703.2958
88 | 2501946.7188 | 1128670.6632
89 | 2502052.8362 | 1128650.5467
90 | 2502014.0631 | 1128613.1526
91 | 2502119.7423 | 1128612.0882
92 | 2502003.4384 | 1128603.2085
93 | 2501982.8903 | 1128640.2863
94 | 2502074.9156 | 1128563.3348
95 | 2501975.0027 | 1128646.9103
96 | 2501981.0685 | 1128641.8163
97 | 2501861.5238 | 1128653.7023
98 | 2501876.7863 | 1128673.3298
99 | 2501863.8343 | 1128696.6213
100 | 2501887.4432 | 1128665.2739
101 | 2501823.5114 | 1128730.2753
102 | 2501847.4306 | 1128690.7237
103 | 2501897.6259 | 1128657.8606
104 | 2501902.6232 | 1128654.3607
105 | 2501929.2557 | 1128635.7085
106 | 2501990.6519 | 1128591.2412
107 | 2501945.0751 | 1128548.049
108 | 2502055.44 | 1128541.2926
109 | 2502083.0914 | 1128551.4616
110 | 2502237.1965 | 1128546.573
111 | 2502244.5931 | 1128584.5767
112 | 2502272.6997 | 1128524.3847
113 | 2502265.6685 | 1128568.8926
114 | 2502246.8072 | 1128603.7638
115 | 2502282.0514 | 1128536.0032
116 | 2502272.2152 | 1128583.9292
117 | 2502247.5496 | 1128651.9815
118 | 2502291.6833 | 1128547.9698
119 | 2502245.5304 | 1128684.2277
120 | 2502267.5527 | 1128647.2515
121 | 2502306.0247 | 1128617.5362
122 | 2502282.0382 | 1128584.2927
123 | 2502300.7197 | 1128595.4195
124 | 2502320.2397 | 1128606.5434
125 | 2502344.0513 | 1128584.2428
126 | 2502345.9947 | 1128586.6263
127 | 2502335.8216 | 1128574.1498
128 | 2502361.9612 | 1128602.8723
129 | 2502315.5057 | 1128699.5449
130 | 2502365.8334 | 1128658.3386
131 | 2502313.9685 | 1128700.8035
132 | 2502367.5471 | 1128644.7136
133 | 2502327.2201 | 1128715.9449
134 | 2502341.2955 | 1128747.1301
135 | 2502340.5522 | 1128747.7226
136 | 2502361.5503 | 1128728.9069
137 | 2502332.8048 | 1128753.8982
138 | 2502371.4932 | 1128709.5453
139 | 2502371.3124 | 1128740.3579
140 | 2502326.2964 | 1128745.4983
141 | 2502381.5951 | 1128752.4196
142 | 2502368.6154 | 1128765.8127
143 | 2502402.865 | 1128786.4189
144 | 2502410.2448 | 1128781.5817
145 | 2502354.5951 | 1128845.1706
146 | 2502355.384 | 1128846.0717
147 | 2502371.8683 | 1128864.9015
148 | 2502122.4165 | 1128778.264

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1