## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5723-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5723-6_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5723-6_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_5723-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5723-6_0_4_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_5723-6_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5723-6_0_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_5723-6_0_4_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_5723-6_0_4_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_5723-6_0_4_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_5723-6_0_4_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_5723-6_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_5723-6_0_4_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_5723-6_0_4_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_5723-6_0_4_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_5723-6_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_5723-6_0_4_node_86 | 0.4 | n |  | TRUE
17 | bus_LV_5723-6_0_4_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_5723-6_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_5723-6_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5723-6_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_5723-6_0_4_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_5723-6_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5723-6_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_5723-6_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_5723-6_0_4_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_5723-6_0_4_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_5723-6_0_4_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_5723-6_0_4_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_5723-6_0_4_node_88 | 0.4 | n |  | TRUE
30 | bus_LV_5723-6_0_4_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_5723-6_0_4_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_5723-6_0_4_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_5723-6_0_4_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_5723-6_0_4_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_5723-6_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_5723-6_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_5723-6_0_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_5723-6_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_5723-6_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_5723-6_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_5723-6_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5723-6_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_5723-6_0_4_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_5723-6_0_4_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_5723-6_0_4_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_5723-6_0_4_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_5723-6_0_4_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_5723-6_0_4_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_5723-6_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_5723-6_0_4_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_5723-6_0_4_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_5723-6_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_5723-6_0_4_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_5723-6_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_5723-6_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_5723-6_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_5723-6_0_4_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_5723-6_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_5723-6_0_4_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_5723-6_0_4_node_26 | 0.4 | n |  | TRUE
61 | bus_LV_5723-6_0_4_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_5723-6_0_4_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_5723-6_0_4_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_5723-6_0_4_node_90 | 0.4 | n |  | TRUE
65 | bus_LV_5723-6_0_4_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_5723-6_0_4_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_5723-6_0_4_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_5723-6_0_4_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_5723-6_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_5723-6_0_4_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_5723-6_0_4_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_5723-6_0_4_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_5723-6_0_4_node_91 | 0.4 | n |  | TRUE
74 | bus_LV_5723-6_0_4_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_5723-6_0_4_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_5723-6_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_5723-6_0_4_node_92 | 0.4 | n |  | TRUE
78 | bus_LV_5723-6_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_5723-6_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_5723-6_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_5723-6_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_5723-6_0_4_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_5723-6_0_4_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_5723-6_0_4_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_5723-6_0_4_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_5723-6_0_4_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_5723-6_0_4_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_5723-6_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_5723-6_0_4_node_83 | 0.4 | n |  | TRUE
90 | bus_MV_461_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5723-6_0_4_load_0 | 0 | 0.0089691 | 0.0022479 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5723-6_0_4_load_28 | 7 | 0.0067559 | 0.0016932 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5723-6_0_4_load_81 | 10 | 0.0015723 | 0.00039405 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5723-6_0_4_load_23 | 12 | 0.007332 | 0.0018376 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5723-6_0_4_load_22 | 14 | 0.0075807 | 0.0018999 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5723-6_0_4_load_86 | 16 | 0.0060667 | 0.0015205 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5723-6_0_4_load_39 | 18 | 0.0025105 | 0.00062919 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5723-6_0_4_load_31 | 20 | 0.0075175 | 0.0018841 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5723-6_0_4_load_32 | 23 | 0.0014151 | 0.00035467 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5723-6_0_4_load_24 | 24 | 0.00092096 | 0.00023081 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5723-6_0_4_load_41 | 28 | 0.007239 | 0.0018143 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5723-6_0_4_load_88 | 29 | 0.00068123 | 0.00017073 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5723-6_0_4_load_57 | 31 | 0.0030841 | 0.00077294 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5723-6_0_4_load_56 | 33 | 0.0026257 | 0.00065806 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5723-6_0_4_load_29 | 35 | 0.034527 | 0.0086532 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5723-6_0_4_load_38 | 36 | 0.00068092 | 0.00017066 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5723-6_0_4_load_44 | 37 | 0.0010876 | 0.00027258 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5723-6_0_4_load_45 | 38 | 0.0092536 | 0.0023192 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5723-6_0_4_load_25 | 39 | 0.0020133 | 0.00050459 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5723-6_0_4_load_30 | 40 | 0.059498 | 0.014912 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5723-6_0_4_load_21 | 41 | 0.0032951 | 0.00082584 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5723-6_0_4_load_63 | 43 | 0.0073805 | 0.0018497 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5723-6_0_4_load_66 | 45 | 0.0024746 | 0.00062019 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5723-6_0_4_load_64 | 46 | 0.0079987 | 0.0020047 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5723-6_0_4_load_82 | 47 | 0.0015509 | 0.00038868 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5723-6_0_4_load_87 | 48 | 0.002491 | 0.0006243 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5723-6_0_4_load_33 | 49 | 0.003477 | 0.00087141 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5723-6_0_4_load_80 | 51 | 0.003249 | 0.00081428 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5723-6_0_4_load_42 | 52 | 0.0059102 | 0.0014812 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5723-6_0_4_load_55 | 54 | 0.003765 | 0.0009436 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5723-6_0_4_load_46 | 56 | 0.002378 | 0.00059599 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5723-6_0_4_load_40 | 58 | 0.0040469 | 0.0010143 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5723-6_0_4_load_62 | 59 | 0.0013588 | 0.00034055 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5723-6_0_4_load_26 | 60 | 0.058795 | 0.014735 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5723-6_0_4_load_34 | 61 | 0.0057812 | 0.0014489 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5723-6_0_4_load_35 | 62 | 0.0010043 | 0.00025169 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5723-6_0_4_load_90 | 64 | 0.00068093 | 0.00017066 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5723-6_0_4_load_89 | 65 | 0.00068179 | 0.00017087 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5723-6_0_4_load_70 | 66 | 0.0049125 | 0.0012312 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5723-6_0_4_load_79 | 68 | 0.0072899 | 0.001827 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5723-6_0_4_load_47 | 69 | 0.0087003 | 0.0021805 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5723-6_0_4_load_52 | 72 | 0.0054075 | 0.0013552 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5723-6_0_4_load_53 | 74 | 0.00091535 | 0.00022941 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5723-6_0_4_load_93 | 75 | 0.012874 | 0.0032266 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5723-6_0_4_load_59 | 76 | 0.0049681 | 0.0012451 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5723-6_0_4_load_92 | 77 | 0.0013588 | 0.00034055 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5723-6_0_4_load_72 | 79 | 0.0024747 | 0.00062022 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5723-6_0_4_load_67 | 80 | 0.010692 | 0.0026797 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5723-6_0_4_load_69 | 82 | 0.0095341 | 0.0023895 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5723-6_0_4_load_71 | 83 | 0.0024746 | 0.00062019 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5723-6_0_4_load_85 | 84 | 0.0026952 | 0.00067549 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5723-6_0_4_load_78 | 85 | 0.0016577 | 0.00041546 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5723-6_0_4_load_75 | 86 | 0.0067286 | 0.0016863 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5723-6_0_4_load_76 | 87 | 0.0024144 | 0.0006051 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5723-6_0_4_load_77 | 88 | 0.0029605 | 0.00074198 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5723-6_0_4_load_83 | 89 | 0.0070447 | 0.0017656 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5723-6_0_4_line_0 |  | 0 | 1 | 0.021948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5723-6_0_4_line_1 |  | 1 | 2 | 0.042407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5723-6_0_4_line_2 |  | 2 | 8 | 0.036921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5723-6_0_4_line_3 |  | 2 | 9 | 0.037712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5723-6_0_4_line_4 |  | 2 | 10 | 0.010712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5723-6_0_4_line_5 |  | 3 | 4 | 0.056938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5723-6_0_4_line_6 |  | 3 | 5 | 0.16394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5723-6_0_4_line_7 |  | 3 | 6 | 0.10355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5723-6_0_4_line_8 |  | 3 | 7 | 0.0033737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5723-6_0_4_line_9 |  | 4 | 38 | 0.012194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5723-6_0_4_line_10 |  | 5 | 15 | 0.03608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5723-6_0_4_line_11 |  | 5 | 16 | 0.02523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5723-6_0_4_line_12 |  | 6 | 36 | 0.013541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5723-6_0_4_line_13 |  | 6 | 37 | 0.017424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5723-6_0_4_line_14 |  | 6 | 27 | 0.036549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5723-6_0_4_line_15 |  | 7 | 42 | 0.073449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5723-6_0_4_line_16 |  | 8 | 43 | 0.026187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5723-6_0_4_line_17 |  | 8 | 44 | 0.03677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5723-6_0_4_line_18 |  | 9 | 45 | 0.018889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5723-6_0_4_line_19 |  | 9 | 46 | 0.027057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5723-6_0_4_line_20 |  | 10 | 47 | 0.00083278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5723-6_0_4_line_21 |  | 11 | 12 | 0.023845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5723-6_0_4_line_22 |  | 11 | 13 | 0.06502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5723-6_0_4_line_23 |  | 11 | 14 | 0.016678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5723-6_0_4_line_24 |  | 12 | 44 | 0.022645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5723-6_0_4_line_25 |  | 13 | 40 | 0.019393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5723-6_0_4_line_26 |  | 13 | 17 | 0.047377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5723-6_0_4_line_27 |  | 15 | 32 | 0.035021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5723-6_0_4_line_28 |  | 15 | 33 | 0.063461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5723-6_0_4_line_29 |  | 15 | 30 | 0.084056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5723-6_0_4_line_30 |  | 16 | 48 | 0.008918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5723-6_0_4_line_31 |  | 17 | 18 | 0.010202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5723-6_0_4_line_32 |  | 17 | 19 | 0.040634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5723-6_0_4_line_33 |  | 17 | 20 | 0.032766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5723-6_0_4_line_34 |  | 19 | 24 | 0.028862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5723-6_0_4_line_35 |  | 20 | 41 | 0.040512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5723-6_0_4_line_36 |  | 21 | 22 | 0.24395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5723-6_0_4_line_37 |  | 21 | 23 | 0.012659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5723-6_0_4_line_38 |  | 22 | 39 | 0.038256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5723-6_0_4_line_39 |  | 22 | 24 | 0.035821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5723-6_0_4_line_40 |  | 22 | 34 | 0.057635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5723-6_0_4_line_41 |  | 23 | 49 | 0.0044961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5723-6_0_4_line_42 |  | 25 | 26 | 0.022717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5723-6_0_4_line_43 |  | 25 | 27 | 0.066069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5723-6_0_4_line_44 |  | 25 | 28 | 0.026402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5723-6_0_4_line_45 |  | 26 | 50 | 0.024085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5723-6_0_4_line_46 |  | 26 | 51 | 0.015413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5723-6_0_4_line_47 |  | 27 | 29 | 0.0082337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5723-6_0_4_line_48 |  | 28 | 52 | 0.030455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5723-6_0_4_line_49 |  | 30 | 31 | 0.043208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5723-6_0_4_line_50 |  | 31 | 53 | 0.0021379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5723-6_0_4_line_51 |  | 32 | 54 | 0.065593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5723-6_0_4_line_52 |  | 32 | 55 | 0.052642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5723-6_0_4_line_53 |  | 34 | 35 | 0.0179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5723-6_0_4_line_54 |  | 35 | 42 | 0.010142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5723-6_0_4_line_55 |  | 36 | 57 | 0.0050897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5723-6_0_4_line_56 |  | 38 | 56 | 0.015383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5723-6_0_4_line_57 |  | 39 | 58 | 0.015218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5723-6_0_4_line_58 |  | 42 | 60 | 0.020685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5723-6_0_4_line_59 |  | 44 | 59 | 0.0081329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5723-6_0_4_line_60 |  | 45 | 78 | 0.017103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5723-6_0_4_line_61 |  | 47 | 89 | 0.0063793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5723-6_0_4_line_62 |  | 49 | 61 | 0.0032793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5723-6_0_4_line_63 |  | 50 | 66 | 0.016335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5723-6_0_4_line_64 |  | 50 | 67 | 0.033981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5723-6_0_4_line_65 |  | 51 | 68 | 0.041231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5723-6_0_4_line_66 |  | 53 | 76 | 0.034004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5723-6_0_4_line_67 |  | 55 | 72 | 0.079226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5723-6_0_4_line_68 |  | 57 | 63 | 0.012656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5723-6_0_4_line_69 |  | 57 | 62 | 0.020581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5723-6_0_4_line_70 |  | 59 | 77 | 0.00066143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5723-6_0_4_line_71 |  | 63 | 64 | 0.01109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5723-6_0_4_line_72 |  | 63 | 65 | 0.021211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5723-6_0_4_line_73 |  | 66 | 81 | 0.030344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5723-6_0_4_line_74 |  | 67 | 84 | 0.013497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5723-6_0_4_line_75 |  | 69 | 70 | 0.015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5723-6_0_4_line_76 |  | 70 | 71 | 0.054897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5723-6_0_4_line_77 |  | 71 | 73 | 0.0165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5723-6_0_4_line_78 |  | 71 | 74 | 0.035154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5723-6_0_4_line_79 |  | 72 | 74 | 0.017107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5723-6_0_4_line_80 |  | 73 | 75 | 0.035265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5723-6_0_4_line_81 |  | 78 | 79 | 0.026348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5723-6_0_4_line_82 |  | 79 | 83 | 0.010301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5723-6_0_4_line_83 |  | 80 | 81 | 0.045653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5723-6_0_4_line_84 |  | 81 | 82 | 0.016122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5723-6_0_4_line_85 |  | 84 | 85 | 0.00096631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5723-6_0_4_line_86 |  | 85 | 87 | 0.02142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5723-6_0_4_line_87 |  | 86 | 87 | 0.03773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5723-6_0_4_line_88 |  | 86 | 88 | 0.0069004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5723-6_0_4_trafo_90 | 0.63 MVA 20/0.4 kV | 90 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2502449.2902 | 1128374.037 | 2502461.4463 | 1128382.8572 | 2502466.652 | 1128387.4309
1 | 2502421.5269 | 1128387.4604 | 2502427.8221 | 1128377.8973 | 2502440.4418 | 1128386.7878 | 2502443.1536 | 1128382.9305 | 2502446.4603 | 1128378.2186 | 2502449.2902 | 1128374.037
2 | 2502421.5269 | 1128387.4604 | 2502394.3357 | 1128370.5005 | 2502392.6195 | 1128365.8698
3 | 2502421.5269 | 1128387.4604 | 2502428.1851 | 1128393.2008 | 2502448.7709 | 1128405.7983 | 2502452.5196 | 1128408.8841
4 | 2502421.5269 | 1128387.4604 | 2502416.0155 | 1128396.6457
5 | 2502192.2345 | 1128293.6672 | 2502193.277 | 1128307.5923 | 2502194.5827 | 1128325.3932 | 2502198.6687 | 1128325.5049 | 2502203.3864 | 1128327.0295 | 2502215.0669 | 1128315.9779
6 | 2502215.0669 | 1128315.9779 | 2502203.3864 | 1128327.0295 | 2502198.6687 | 1128325.5049 | 2502194.5827 | 1128325.3932 | 2502195.4828 | 1128335.7628 | 2502195.8538 | 1128339.637 | 2502196.4307 | 1128345.7536 | 2502200.3244 | 1128387.2606 | 2502202.9135 | 1128404.3737 | 2502206.1439 | 1128418.7414 | 2502210.4005 | 1128433.1925 | 2502217.3216 | 1128454.6714 | 2502223.8213 | 1128452.0423
7 | 2502215.0669 | 1128315.9779 | 2502203.3864 | 1128327.0295 | 2502206.4916 | 1128329.3917 | 2502208.702 | 1128333.5919 | 2502218.7173 | 1128363.4036 | 2502221.674 | 1128369.4373 | 2502225.7446 | 1128374.7858 | 2502242.7512 | 1128391.4096 | 2502250.0266 | 1128384.3319
8 | 2502215.0669 | 1128315.9779 | 2502212.6476 | 1128313.6266
9 | 2502192.2345 | 1128293.6672 | 2502184.5482 | 1128291.5571 | 2502183.9676 | 1128287.3738
10 | 2502217.5335 | 1128477.7378 | 2502223.0697 | 1128477.4702 | 2502221.1974 | 1128468.4505 | 2502217.3216 | 1128454.6714 | 2502223.8213 | 1128452.0423
11 | 2502223.8213 | 1128452.0423 | 2502227.8353 | 1128451.0434 | 2502230.9322 | 1128450.9932 | 2502232.8072 | 1128452.0969 | 2502234.0944 | 1128454.9667 | 2502235.0883 | 1128458.7641 | 2502235.9468 | 1128467.4719
12 | 2502250.0266 | 1128384.3319 | 2502259.7254 | 1128374.882
13 | 2502250.0266 | 1128384.3319 | 2502237.6802 | 1128372.0365
14 | 2502250.0266 | 1128384.3319 | 2502242.7512 | 1128391.4096 | 2502254.8696 | 1128404.0657 | 2502261.2582 | 1128397.903
15 | 2502211.2345 | 1128253.9907 | 2502209.0098 | 1128256.5171 | 2502198.1748 | 1128258.8829 | 2502196.8599 | 1128260.483 | 2502205.6717 | 1128306.8467 | 2502212.6476 | 1128313.6266
16 | 2502392.6195 | 1128365.8698 | 2502385.2573 | 1128378.0741 | 2502375.8437 | 1128385.4086
17 | 2502362.5674 | 1128345.4652 | 2502391.7092 | 1128363.4275 | 2502392.6195 | 1128365.8698
18 | 2502452.5196 | 1128408.8841 | 2502455.0267 | 1128410.9559 | 2502468.4894 | 1128418.9105
19 | 2502452.5196 | 1128408.8841 | 2502448.2733 | 1128416.0126 | 2502437.0401 | 1128431.0372
20 | 2502415.587 | 1128397.3598 | 2502416.0155 | 1128396.6457
21 | 2502324.9862 | 1128318.8565 | 2502332.5545 | 1128323.6815 | 2502336.6457 | 1128329.3522 | 2502343.3356 | 1128333.5107
22 | 2502293.0835 | 1128293.1679 | 2502296.9194 | 1128290.204 | 2502302.1268 | 1128285.3278 | 2502309.3604 | 1128291.3701 | 2502300.6593 | 1128301.3059 | 2502314.2702 | 1128310.0022 | 2502316.0176 | 1128313.2203 | 2502324.9862 | 1128318.8565
23 | 2502324.9862 | 1128318.8565 | 2502316.7107 | 1128333.3364
24 | 2502362.5674 | 1128345.4652 | 2502343.3356 | 1128333.5107
25 | 2502293.0835 | 1128293.1679 | 2502291.2442 | 1128291.4188 | 2502279.257 | 1128279.5707
26 | 2502297.2112 | 1128260.6255 | 2502292.9441 | 1128265.0417 | 2502290.1171 | 1128268.445 | 2502305.2182 | 1128282.0758 | 2502302.1268 | 1128285.3278 | 2502296.9194 | 1128290.204 | 2502293.0835 | 1128293.1679
27 | 2502207.0236 | 1128444.4986 | 2502215.0638 | 1128473.6975 | 2502217.5335 | 1128477.7378
28 | 2502217.5335 | 1128477.7378 | 2502216.3185 | 1128482.6494 | 2502206.1957 | 1128488.995 | 2502178.7877 | 1128507.1612 | 2502170.0698 | 1128510.8046 | 2502166.0058 | 1128510.1057
29 | 2502217.5335 | 1128477.7378 | 2502223.0697 | 1128477.4702 | 2502225.1665 | 1128487.5091 | 2502228.6322 | 1128505.9421 | 2502236.5989 | 1128543.4585 | 2502237.1965 | 1128546.573 | 2502238.8717 | 1128554.3729
30 | 2502236.8218 | 1128476.3469 | 2502235.9468 | 1128467.4719
31 | 2502297.2112 | 1128260.6255 | 2502304.2347 | 1128253.2073
32 | 2502267.2054 | 1128233.1385 | 2502282.4203 | 1128247.1231 | 2502297.2112 | 1128260.6255
33 | 2502297.2112 | 1128260.6255 | 2502313.9134 | 1128275.0975 | 2502322.3462 | 1128281.6279
34 | 2502267.2054 | 1128233.1385 | 2502246.5348 | 1128212.9958
35 | 2502322.3462 | 1128281.6279 | 2502327.6248 | 1128285.7156 | 2502343.0396 | 1128297.7849 | 2502354.3568 | 1128306.4575
36 | 2502221.7264 | 1128187.1573 | 2502208.983 | 1128173.533 | 2502203.6136 | 1128167.4607 | 2502198.8956 | 1128161.6446 | 2502195.4507 | 1128156.3972 | 2502192.8763 | 1128151.1356 | 2502191.0643 | 1128146.3175 | 2502189.5556 | 1128141.1944 | 2502187.9575 | 1128135.7836 | 2502184.5879 | 1128129.4787 | 2502180.3212 | 1128123.9333 | 2502174.8983 | 1128117.8952 | 2502170.4261 | 1128114.888 | 2502178.0004 | 1128107.6942 | 2502194.1859 | 1128097.3701 | 2502196.6725 | 1128095.7844 | 2502207.5646 | 1128088.8371 | 2502232.6398 | 1128073.0659 | 2502260.777 | 1128054.5879 | 2502285.7728 | 1128038.1734 | 2502290.5225 | 1128048.8031 | 2502292.182 | 1128051.8225
37 | 2502292.182 | 1128051.8225 | 2502293.7146 | 1128054.6217 | 2502296.5419 | 1128056.944 | 2502299.9699 | 1128057.8113 | 2502302.2427 | 1128057.7746 | 2502302.2427 | 1128057.7746
38 | 2502221.7264 | 1128187.1573 | 2502225.8555 | 1128183.7439 | 2502251.2021 | 1128162.7709
39 | 2502221.7264 | 1128187.1573 | 2502245.1413 | 1128211.6378 | 2502246.5348 | 1128212.9958
40 | 2502221.7264 | 1128187.1573 | 2502217.8891 | 1128190.5104 | 2502212.6597 | 1128194.9867 | 2502222.5057 | 1128204.8223 | 2502221.6154 | 1128211.2295 | 2502221.3117 | 1128220.0732 | 2502221.9278 | 1128223.8545 | 2502223.4413 | 1128226.8985 | 2502230.0943 | 1128233.2392
41 | 2502302.2427 | 1128057.7746 | 2502306.0908 | 1128055.4493
42 | 2502294.6349 | 1128445.1698 | 2502310.9656 | 1128461.0043
43 | 2502294.6349 | 1128445.1698 | 2502278.142 | 1128428.3707 | 2502254.8696 | 1128404.0657 | 2502261.2582 | 1128397.903
44 | 2502294.6349 | 1128445.1698 | 2502312.7396 | 1128425.9536
45 | 2502328.2826 | 1128477.7901 | 2502310.9656 | 1128461.0043
46 | 2502310.9656 | 1128461.0043 | 2502317.2575 | 1128455.0544 | 2502322.0755 | 1128450.3216
47 | 2502261.2582 | 1128397.903 | 2502262.1835 | 1128397.4655 | 2502263.1191 | 1128397.6616 | 2502267.6504 | 1128401.9723
48 | 2502312.7396 | 1128425.9536 | 2502325.7485 | 1128412.1462 | 2502317.4189 | 1128404.239
49 | 2502238.8717 | 1128554.3729 | 2502243.9944 | 1128551.4215 | 2502271.1435 | 1128525.8505
50 | 2502272.6997 | 1128524.3847 | 2502271.1435 | 1128525.8505
51 | 2502207.0236 | 1128444.4986 | 2502198.2106 | 1128449.411 | 2502186.2599 | 1128460.8894 | 2502174.5853 | 1128470.8624 | 2502164.556 | 1128476.7952 | 2502160.8493 | 1128477.7336 | 2502153.4036 | 1128474.539
52 | 2502191.7846 | 1128394.7702 | 2502194.4731 | 1128397.0948 | 2502197.3435 | 1128410.6455 | 2502201.4633 | 1128427.5893 | 2502207.0236 | 1128444.4986
53 | 2502230.0943 | 1128233.2392 | 2502218.0555 | 1128246.4854
54 | 2502211.2345 | 1128253.9907 | 2502218.0555 | 1128246.4854
55 | 2502263.3708 | 1128371.3302 | 2502259.7254 | 1128374.882
56 | 2502183.9676 | 1128287.3738 | 2502182.0878 | 1128273.8305 | 2502181.8005 | 1128272.1449
57 | 2502262.9266 | 1128153.0694 | 2502251.2021 | 1128162.7709
58 | 2502211.2345 | 1128253.9907 | 2502226.2823 | 1128268.1838
59 | 2502362.5674 | 1128345.4652 | 2502358.594 | 1128352.5614
60 | 2502483.2143 | 1128427.611 | 2502468.4894 | 1128418.9105
61 | 2502412.3048 | 1128402.83 | 2502415.587 | 1128397.3598
62 | 2502308.8975 | 1128053.7533 | 2502306.0908 | 1128055.4493
63 | 2502328.2826 | 1128477.7901 | 2502340.1167 | 1128466.5295
64 | 2502328.2826 | 1128477.7901 | 2502353.0794 | 1128501.0923
65 | 2502351.4893 | 1128421.4285 | 2502322.0755 | 1128450.3216
66 | 2502272.6997 | 1128524.3847 | 2502296.5637 | 1128500.1611
67 | 2502191.7846 | 1128394.7702 | 2502188.0417 | 1128395.8537 | 2502138.6503 | 1128436.4789 | 2502129.853 | 1128443.6928
68 | 2502263.3708 | 1128371.3302 | 2502267.2391 | 1128371.3231 | 2502271.1348 | 1128369.2032 | 2502274.2443 | 1128366.1177
69 | 2502263.3708 | 1128371.3302 | 2502264.7365 | 1128370.0072 | 2502266.9516 | 1128365.4686 | 2502266.6143 | 1128362.7168 | 2502259.0851 | 1128354.8943
70 | 2502358.594 | 1128352.5614 | 2502358.2708 | 1128353.1385
71 | 2502274.2443 | 1128366.1177 | 2502282.1155 | 1128358.3048
72 | 2502274.2443 | 1128366.1177 | 2502275.7319 | 1128366.138 | 2502277.0774 | 1128366.4276 | 2502290.2788 | 1128379.1685
73 | 2502362.0992 | 1128445.6123 | 2502340.1167 | 1128466.5295
74 | 2502353.0794 | 1128501.0923 | 2502361.2752 | 1128493.2772 | 2502363.228 | 1128492.3264
75 | 2502041.7474 | 1128455.395 | 2502035.769 | 1128443.6069 | 2502034.8458 | 1128442.0455
76 | 2502041.7474 | 1128455.395 | 2502047.6149 | 1128454.1768 | 2502055.4601 | 1128453.7382 | 2502062.273 | 1128453.3164 | 2502069.1287 | 1128455.0618 | 2502074.778 | 1128459.3951 | 2502080.4442 | 1128464.7621 | 2502088.2434 | 1128474.3193
77 | 2502088.2434 | 1128474.3193 | 2502086.1355 | 1128477.8557 | 2502076.7111 | 1128485.9246
78 | 2502088.2434 | 1128474.3193 | 2502093.0928 | 1128473.518 | 2502097.2816 | 1128470.4704 | 2502106.0487 | 1128463.2127 | 2502116.6247 | 1128454.5402
79 | 2502129.853 | 1128443.6928 | 2502116.6247 | 1128454.5402
80 | 2502046.5696 | 1128491.3723 | 2502050.0448 | 1128495.6408 | 2502055.8488 | 1128496.6806 | 2502062.9515 | 1128495.1312 | 2502070.4333 | 1128491.2964 | 2502076.7111 | 1128485.9246
81 | 2502483.2143 | 1128427.611 | 2502473.4712 | 1128443.1668 | 2502468.1013 | 1128444.6655 | 2502466.707 | 1128446.6411
82 | 2502460.7673 | 1128455.0567 | 2502466.707 | 1128446.6411
83 | 2502362.0992 | 1128445.6123 | 2502363.784 | 1128444.0063 | 2502382.2791 | 1128462.6521 | 2502395.3679 | 1128451.7056
84 | 2502362.0992 | 1128445.6123 | 2502359.1069 | 1128442.1252 | 2502367.5537 | 1128434.2814
85 | 2502364.0968 | 1128491.9034 | 2502363.228 | 1128492.3264
86 | 2502364.0968 | 1128491.9034 | 2502370.557 | 1128488.7577 | 2502384.6866 | 1128490.4859 | 2502384.6866 | 1128490.4859
87 | 2502414.1987 | 1128466.9795 | 2502384.6866 | 1128490.4859
88 | 2502414.1987 | 1128466.9795 | 2502419.5961 | 1128462.6804

## bus_geodata
| x | y | coords
0 | 2502466.652 | 1128387.4309
1 | 2502449.2902 | 1128374.037
2 | 2502421.5269 | 1128387.4604
3 | 2502215.0669 | 1128315.9779
4 | 2502192.2345 | 1128293.6672
5 | 2502223.8213 | 1128452.0423
6 | 2502250.0266 | 1128384.3319
7 | 2502212.6476 | 1128313.6266
8 | 2502392.6195 | 1128365.8698
9 | 2502452.5196 | 1128408.8841
10 | 2502416.0155 | 1128396.6457
11 | 2502324.9862 | 1128318.8565
12 | 2502343.3356 | 1128333.5107
13 | 2502293.0835 | 1128293.1679
14 | 2502316.7107 | 1128333.3364
15 | 2502217.5335 | 1128477.7378
16 | 2502235.9468 | 1128467.4719
17 | 2502297.2112 | 1128260.6255
18 | 2502304.2347 | 1128253.2073
19 | 2502267.2054 | 1128233.1385
20 | 2502322.3462 | 1128281.6279
21 | 2502292.182 | 1128051.8225
22 | 2502221.7264 | 1128187.1573
23 | 2502302.2427 | 1128057.7746
24 | 2502246.5348 | 1128212.9958
25 | 2502294.6349 | 1128445.1698
26 | 2502310.9656 | 1128461.0043
27 | 2502261.2582 | 1128397.903
28 | 2502312.7396 | 1128425.9536
29 | 2502267.6504 | 1128401.9723
30 | 2502238.8717 | 1128554.3729
31 | 2502271.1435 | 1128525.8505
32 | 2502207.0236 | 1128444.4986
33 | 2502166.0058 | 1128510.1057
34 | 2502230.0943 | 1128233.2392
35 | 2502218.0555 | 1128246.4854
36 | 2502259.7254 | 1128374.882
37 | 2502237.6802 | 1128372.0365
38 | 2502183.9676 | 1128287.3738
39 | 2502251.2021 | 1128162.7709
40 | 2502279.257 | 1128279.5707
41 | 2502354.3568 | 1128306.4575
42 | 2502211.2345 | 1128253.9907
43 | 2502375.8437 | 1128385.4086
44 | 2502362.5674 | 1128345.4652
45 | 2502468.4894 | 1128418.9105
46 | 2502437.0401 | 1128431.0372
47 | 2502415.587 | 1128397.3598
48 | 2502236.8218 | 1128476.3469
49 | 2502306.0908 | 1128055.4493
50 | 2502328.2826 | 1128477.7901
51 | 2502322.0755 | 1128450.3216
52 | 2502317.4189 | 1128404.239
53 | 2502272.6997 | 1128524.3847
54 | 2502153.4036 | 1128474.539
55 | 2502191.7846 | 1128394.7702
56 | 2502181.8005 | 1128272.1449
57 | 2502263.3708 | 1128371.3302
58 | 2502262.9266 | 1128153.0694
59 | 2502358.594 | 1128352.5614
60 | 2502226.2823 | 1128268.1838
61 | 2502308.8975 | 1128053.7533
62 | 2502259.0851 | 1128354.8943
63 | 2502274.2443 | 1128366.1177
64 | 2502282.1155 | 1128358.3048
65 | 2502290.2788 | 1128379.1685
66 | 2502340.1167 | 1128466.5295
67 | 2502353.0794 | 1128501.0923
68 | 2502351.4893 | 1128421.4285
69 | 2502034.8458 | 1128442.0455
70 | 2502041.7474 | 1128455.395
71 | 2502088.2434 | 1128474.3193
72 | 2502129.853 | 1128443.6928
73 | 2502076.7111 | 1128485.9246
74 | 2502116.6247 | 1128454.5402
75 | 2502046.5696 | 1128491.3723
76 | 2502296.5637 | 1128500.1611
77 | 2502358.2708 | 1128353.1385
78 | 2502483.2143 | 1128427.611
79 | 2502466.707 | 1128446.6411
80 | 2502395.3679 | 1128451.7056
81 | 2502362.0992 | 1128445.6123
82 | 2502367.5537 | 1128434.2814
83 | 2502460.7673 | 1128455.0567
84 | 2502363.228 | 1128492.3264
85 | 2502364.0968 | 1128491.9034
86 | 2502414.1987 | 1128466.9795
87 | 2502384.6866 | 1128490.4859
88 | 2502419.5961 | 1128462.6804
89 | 2502412.3048 | 1128402.83
90 | 2502282.42 | 1128358.0026

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1