## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5724-11_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5724-11_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5724-11_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5724-11_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5724-11_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5724-11_0_6_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_5724-11_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5724-11_0_6_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_5724-11_0_6_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_5724-11_0_6_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_5724-11_0_6_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_5724-11_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5724-11_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5724-11_0_6_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_5724-11_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5724-11_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_5724-11_0_6_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_5724-11_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5724-11_0_6_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_5724-11_0_6_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_5724-11_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5724-11_0_6_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_5724-11_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5724-11_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5724-11_0_6_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_5724-11_0_6_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_5724-11_0_6_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_5724-11_0_6_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_5724-11_0_6_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_5724-11_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5724-11_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5724-11_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_5724-11_0_6_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5724-11_0_6_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_5724-11_0_6_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_5724-11_0_6_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_5724-11_0_6_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_5724-11_0_6_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_5724-11_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5724-11_0_6_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_5724-11_0_6_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_5724-11_0_6_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5724-11_0_6_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_5724-11_0_6_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_5724-11_0_6_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_5724-11_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_5724-11_0_6_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_5724-11_0_6_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_5724-11_0_6_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_5724-11_0_6_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_5724-11_0_6_node_22 | 0.4 | n |  | TRUE
51 | bus_LV_5724-11_0_6_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_5724-11_0_6_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_5724-11_0_6_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_5724-11_0_6_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_5724-11_0_6_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_5724-11_0_6_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_5724-11_0_6_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_5724-11_0_6_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_5724-11_0_6_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_5724-11_0_6_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_5724-11_0_6_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_5724-11_0_6_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_5724-11_0_6_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_5724-11_0_6_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_5724-11_0_6_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_5724-11_0_6_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_5724-11_0_6_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_5724-11_0_6_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_5724-11_0_6_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_5724-11_0_6_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_5724-11_0_6_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5724-11_0_6_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5724-11_0_6_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_5724-11_0_6_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_5724-11_0_6_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_5724-11_0_6_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_5724-11_0_6_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5724-11_0_6_node_74 | 0.4 | n |  | TRUE
79 | bus_MV_637_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5724-11_0_6_load_0 | 0 | 0.013785 | 0.0034548 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5724-11_0_6_load_18 | 5 | 0.001463 | 0.00036666 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5724-11_0_6_load_51 | 7 | 0.0026476 | 0.00066355 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5724-11_0_6_load_49 | 9 | 0.003701 | 0.00092755 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5724-11_0_6_load_19 | 10 | 0.0040133 | 0.0010058 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5724-11_0_6_load_52 | 13 | 0.0065449 | 0.0016403 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5724-11_0_6_load_82 | 16 | 0.00099954 | 0.00025051 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5724-11_0_6_load_81 | 18 | 0.0072568 | 0.0018187 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5724-11_0_6_load_54 | 19 | 0.0063925 | 0.0016021 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5724-11_0_6_load_53 | 21 | 0.0081374 | 0.0020394 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5724-11_0_6_load_50 | 24 | 0.0020004 | 0.00050134 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5724-11_0_6_load_56 | 26 | 0.010627 | 0.0026634 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5724-11_0_6_load_79 | 27 | 0.0080563 | 0.0020191 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5724-11_0_6_load_80 | 28 | 0.0022661 | 0.00056795 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5724-11_0_6_load_20 | 30 | 0.0015045 | 0.00037707 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5724-11_0_6_load_23 | 31 | 0.053481 | 0.013404 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5724-11_0_6_load_59 | 34 | 0.010717 | 0.0026859 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5724-11_0_6_load_57 | 35 | 0.02411 | 0.0060424 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5724-11_0_6_load_55 | 36 | 0.0049891 | 0.0012504 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5724-11_0_6_load_46 | 39 | 0.0040953 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5724-11_0_6_load_69 | 40 | 0.0047846 | 0.0011991 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5724-11_0_6_load_83 | 43 | 0.030584 | 0.007665 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5724-11_0_6_load_84 | 44 | 0.0078883 | 0.001977 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5724-11_0_6_load_37 | 47 | 0.0031815 | 0.00079736 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5724-11_0_6_load_77 | 48 | 0.0038896 | 0.00097483 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5724-11_0_6_load_78 | 49 | 0.0024478 | 0.00061349 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5724-11_0_6_load_22 | 50 | 0.0032993 | 0.00082688 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5724-11_0_6_load_24 | 51 | 0.0097406 | 0.0024412 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5724-11_0_6_load_26 | 52 | 0.012283 | 0.0030784 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5724-11_0_6_load_31 | 53 | 0.0095049 | 0.0023822 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5724-11_0_6_load_32 | 54 | 0.009118 | 0.0022852 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5724-11_0_6_load_43 | 55 | 0.0032634 | 0.0008179 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5724-11_0_6_load_70 | 56 | 0.0049622 | 0.0012436 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5724-11_0_6_load_71 | 57 | 0.006355 | 0.0015927 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5724-11_0_6_load_33 | 58 | 0.023055 | 0.0057781 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5724-11_0_6_load_34 | 61 | 0.012343 | 0.0030934 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5724-11_0_6_load_35 | 62 | 0.010719 | 0.0026865 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5724-11_0_6_load_36 | 63 | 0.024766 | 0.006207 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5724-11_0_6_load_38 | 64 | 0.02441 | 0.0061177 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5724-11_0_6_load_44 | 65 | 0.0041541 | 0.0010411 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5724-11_0_6_load_45 | 66 | 0.0072332 | 0.0018128 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5724-11_0_6_load_60 | 67 | 0.017866 | 0.0044776 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5724-11_0_6_load_61 | 68 | 0.0052146 | 0.0013069 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5724-11_0_6_load_63 | 70 | 0.0061657 | 0.0015453 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5724-11_0_6_load_64 | 71 | 0.012604 | 0.0031588 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5724-11_0_6_load_68 | 72 | 0.014609 | 0.0036613 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5724-11_0_6_load_72 | 73 | 0.0077263 | 0.0019364 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5724-11_0_6_load_67 | 74 | 0.0073617 | 0.001845 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5724-11_0_6_load_76 | 75 | 0.007409 | 0.0018569 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5724-11_0_6_load_75 | 76 | 0.0039438 | 0.00098841 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5724-11_0_6_load_74 | 78 | 0.0062114 | 0.0015567 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5724-11_0_6_line_0 |  | 0 | 1 | 0.023153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5724-11_0_6_line_1 |  | 0 | 2 | 0.05635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5724-11_0_6_line_2 |  | 1 | 3 | 0.023788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5724-11_0_6_line_3 |  | 2 | 4 | 0.007134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5724-11_0_6_line_4 |  | 3 | 5 | 0.0042949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5724-11_0_6_line_5 |  | 4 | 10 | 0.018374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5724-11_0_6_line_6 |  | 5 | 29 | 0.011429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5724-11_0_6_line_7 |  | 6 | 7 | 0.021253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5724-11_0_6_line_8 |  | 6 | 8 | 0.023477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5724-11_0_6_line_9 |  | 6 | 9 | 0.016312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5724-11_0_6_line_10 |  | 8 | 31 | 0.005044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5724-11_0_6_line_11 |  | 9 | 32 | 0.039924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5724-11_0_6_line_12 |  | 10 | 17 | 0.02089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5724-11_0_6_line_13 |  | 11 | 12 | 0.003167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5724-11_0_6_line_14 |  | 11 | 13 | 0.062403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5724-11_0_6_line_15 |  | 12 | 19 | 0.041789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5724-11_0_6_line_16 |  | 13 | 20 | 0.006356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5724-11_0_6_line_17 |  | 14 | 15 | 0.056804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5724-11_0_6_line_18 |  | 14 | 16 | 0.043572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5724-11_0_6_line_19 |  | 15 | 28 | 0.0095272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5724-11_0_6_line_20 |  | 16 | 18 | 0.045565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5724-11_0_6_line_21 |  | 17 | 18 | 0.11989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5724-11_0_6_line_22 |  | 20 | 21 | 0.0091631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5724-11_0_6_line_23 |  | 21 | 36 | 0.029043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5724-11_0_6_line_24 |  | 22 | 23 | 0.072711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5724-11_0_6_line_25 |  | 22 | 24 | 0.055596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5724-11_0_6_line_26 |  | 23 | 25 | 0.25373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5724-11_0_6_line_27 |  | 23 | 26 | 0.0079884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5724-11_0_6_line_28 |  | 23 | 27 | 0.1275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5724-11_0_6_line_29 |  | 24 | 37 | 0.022027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5724-11_0_6_line_30 |  | 25 | 44 | 0.022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5724-11_0_6_line_31 |  | 25 | 45 | 0.16034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5724-11_0_6_line_32 |  | 26 | 36 | 0.025962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5724-11_0_6_line_33 |  | 27 | 49 | 0.0076758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5724-11_0_6_line_34 |  | 29 | 30 | 0.013456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5724-11_0_6_line_35 |  | 30 | 46 | 0.032074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5724-11_0_6_line_36 |  | 31 | 50 | 0.0047168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5724-11_0_6_line_37 |  | 32 | 46 | 0.037496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5724-11_0_6_line_38 |  | 33 | 34 | 0.029734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5724-11_0_6_line_39 |  | 33 | 35 | 0.034741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5724-11_0_6_line_40 |  | 35 | 66 | 0.0092478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5724-11_0_6_line_41 |  | 37 | 46 | 0.038694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5724-11_0_6_line_42 |  | 38 | 39 | 0.017529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5724-11_0_6_line_43 |  | 38 | 40 | 0.023661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5724-11_0_6_line_44 |  | 39 | 55 | 0.014201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5724-11_0_6_line_45 |  | 40 | 42 | 0.014772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5724-11_0_6_line_46 |  | 41 | 42 | 0.024368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5724-11_0_6_line_47 |  | 41 | 43 | 0.0098747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5724-11_0_6_line_48 |  | 45 | 47 | 0.008027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5724-11_0_6_line_49 |  | 47 | 62 | 0.014944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5724-11_0_6_line_50 |  | 48 | 49 | 0.01108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5724-11_0_6_line_51 |  | 50 | 51 | 0.0078144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5724-11_0_6_line_52 |  | 51 | 52 | 0.009168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5724-11_0_6_line_53 |  | 52 | 53 | 0.0024804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5724-11_0_6_line_54 |  | 53 | 54 | 0.012928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5724-11_0_6_line_55 |  | 54 | 58 | 0.0062037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5724-11_0_6_line_56 |  | 55 | 59 | 0.0061477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5724-11_0_6_line_57 |  | 56 | 57 | 0.00088913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5724-11_0_6_line_58 |  | 57 | 78 | 0.011367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5724-11_0_6_line_59 |  | 58 | 59 | 0.010306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5724-11_0_6_line_60 |  | 59 | 60 | 0.005841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_5724-11_0_6_line_61 |  | 60 | 65 | 0.0083487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5724-11_0_6_line_62 |  | 60 | 66 | 0.012262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5724-11_0_6_line_63 |  | 61 | 62 | 0.017027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5724-11_0_6_line_64 |  | 61 | 63 | 0.012563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5724-11_0_6_line_65 |  | 63 | 64 | 0.0021369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5724-11_0_6_line_66 |  | 65 | 67 | 0.0051625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5724-11_0_6_line_67 |  | 67 | 68 | 0.0073922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5724-11_0_6_line_68 |  | 68 | 69 | 0.0091578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5724-11_0_6_line_69 |  | 69 | 70 | 0.013628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5724-11_0_6_line_70 |  | 69 | 71 | 0.0053755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5724-11_0_6_line_71 |  | 70 | 72 | 0.00088798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5724-11_0_6_line_72 |  | 72 | 73 | 0.0077787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5724-11_0_6_line_73 |  | 73 | 77 | 0.0052259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5724-11_0_6_line_74 |  | 74 | 75 | 0.0056869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5724-11_0_6_line_75 |  | 75 | 76 | 0.0090666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5724-11_0_6_line_76 |  | 76 | 77 | 0.006886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5724-11_0_6_line_77 |  | 77 | 78 | 0.0025331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5724-11_0_6_trafo_27 | 0.63 MVA 20/0.4 kV | 79 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2507827.9942 | 1137217.4384 | 2507814.7937 | 1137204.0655 | 2507811.7328 | 1137200.958
1 | 2507772.1891 | 1137160.8132 | 2507811.7328 | 1137200.958
2 | 2507819.4861 | 1137238.6924 | 2507827.675 | 1137226.7489 | 2507827.9942 | 1137217.4384
3 | 2507772.1891 | 1137160.8132 | 2507777.2989 | 1137155.8209
4 | 2507819.4861 | 1137238.6924 | 2507816.1888 | 1137241.4445
5 | 2507777.2989 | 1137155.8209 | 2507764.6329 | 1137142.5097
6 | 2507809.8556 | 1137250.4578 | 2507814.5415 | 1137246.4282 | 2507816.1888 | 1137241.4445
7 | 2507871.8782 | 1137283.5298 | 2507889.8532 | 1137272.1903
8 | 2507871.8782 | 1137283.5298 | 2507877.4001 | 1137292.4175 | 2507883.676 | 1137303.8173
9 | 2507871.8782 | 1137283.5298 | 2507857.9541 | 1137292.0274
10 | 2507883.676 | 1137303.8173 | 2507886.0562 | 1137308.2645
11 | 2507823.8747 | 1137312.8255 | 2507857.9541 | 1137292.0274
12 | 2507750.1416 | 1137127.4636 | 2507762.0649 | 1137139.8109 | 2507764.6329 | 1137142.5097
13 | 2507645.9259 | 1137069.2015 | 2507643.6982 | 1137071.4592
14 | 2507645.9259 | 1137069.2015 | 2507647.1637 | 1137072.6513 | 2507650.9346 | 1137076.1957 | 2507658.1709 | 1137097.5088 | 2507661.78 | 1137110.0834 | 2507663.7388 | 1137123.9284 | 2507664.1971 | 1137127.8913
15 | 2507643.6982 | 1137071.4592 | 2507641.3214 | 1137079.0446 | 2507633.5714 | 1137111.9853
16 | 2507664.9273 | 1137134.2052 | 2507664.1971 | 1137127.8913
17 | 2507599.5705 | 1136963.1255 | 2507602.7321 | 1136964.0665 | 2507617.7628 | 1136974.7871 | 2507627.327 | 1136977.2754 | 2507635.2732 | 1136976.6089 | 2507652.4447 | 1136975.8899
18 | 2507652.4447 | 1136975.8899 | 2507660.1293 | 1136981.2533 | 2507659.1778 | 1136983.9361 | 2507657.1538 | 1136999.4876 | 2507662.8741 | 1137005.2145 | 2507666.3894 | 1137011.9271
19 | 2507599.5705 | 1136963.1255 | 2507593.9312 | 1136970.8044
20 | 2507689.5973 | 1137050.8885 | 2507689.5973 | 1137050.8885 | 2507680.7512 | 1137040.0174 | 2507668.8349 | 1137016.5968 | 2507666.3894 | 1137011.9271
21 | 2507750.1416 | 1137127.4636 | 2507754.7122 | 1137122.9354 | 2507712.3224 | 1137080.7142 | 2507711.6866 | 1137076.8771 | 2507693.7396 | 1137057.5847 | 2507699.9172 | 1137051.4753 | 2507694.6464 | 1137045.9527 | 2507689.5973 | 1137050.8885
22 | 2507664.9273 | 1137134.2052 | 2507664.5238 | 1137141.5158 | 2507664.5172 | 1137143.3572
23 | 2507664.0218 | 1137172.2629 | 2507664.7815 | 1137169.3842 | 2507665.1943 | 1137161.6733 | 2507664.4845 | 1137152.5119 | 2507664.5172 | 1137143.3572
24 | 2507652.5989 | 1137203.8916 | 2507659.7252 | 1137203.9714 | 2507666.7682 | 1137202.6294 | 2507677.7244 | 1137200.5715 | 2507682.941 | 1137199.5466 | 2507688.0136 | 1137198.1681 | 2507690.0831 | 1137198.6478 | 2507697.0423 | 1137205.9012 | 2507703.7454 | 1137213.014 | 2507714.3816 | 1137223.224
25 | 2507714.3816 | 1137223.224 | 2507729.0134 | 1137237.5977 | 2507747.2615 | 1137255.4848 | 2507754.2196 | 1137262.0005
26 | 2507652.5989 | 1137203.8916 | 2507651.6613 | 1137214.5123 | 2507648.229 | 1137233.5541 | 2507645.8059 | 1137239.6171 | 2507646.3819 | 1137244.0665 | 2507647.3295 | 1137248.6659 | 2507648.2738 | 1137253.043 | 2507651.7926 | 1137260.7382 | 2507653.8995 | 1137264.6638 | 2507660.3788 | 1137280.7743 | 2507691.0594 | 1137270.4205 | 2507694.8473 | 1137274.087 | 2507701.2888 | 1137283.7164 | 2507715.3678 | 1137303.2015 | 2507717.8348 | 1137307.5331 | 2507726.8759 | 1137326.1393 | 2507743.9164 | 1137359.6543 | 2507746.1488 | 1137365.7571 | 2507755.624 | 1137392.128 | 2507756.3634 | 1137394.1846
27 | 2507652.5989 | 1137203.8916 | 2507654.9773 | 1137196.2654
28 | 2507652.5989 | 1137203.8916 | 2507526.5458 | 1137184.7117
29 | 2507770.2979 | 1137277.0565 | 2507754.2196 | 1137262.0005
30 | 2507777.4394 | 1137385.2346 | 2507756.3634 | 1137394.1846
31 | 2507756.3634 | 1137394.1846 | 2507755.624 | 1137392.128 | 2507746.1488 | 1137365.7571 | 2507743.9164 | 1137359.6543 | 2507726.8759 | 1137326.1393 | 2507738.9686 | 1137322.4409 | 2507748.7342 | 1137320.0233 | 2507759.7197 | 1137321.9009 | 2507767.5357 | 1137327.3401 | 2507782.9043 | 1137346.1386 | 2507793.6657 | 1137361.0386
32 | 2507664.0218 | 1137172.2629 | 2507661.0726 | 1137183.4384 | 2507657.4835 | 1137188.2296 | 2507654.9773 | 1137196.2654
33 | 2507526.5458 | 1137184.7117 | 2507519.3993 | 1137187.5128
34 | 2507809.8556 | 1137250.4578 | 2507807.0001 | 1137249.3897 | 2507802.3872 | 1137249.6382 | 2507798.9827 | 1137252.4252 | 2507798.5619 | 1137253.7474
35 | 2507808.1679 | 1137279.4566 | 2507809.2658 | 1137276.2824 | 2507806.9354 | 1137273.3273 | 2507801.7996 | 1137271.5826 | 2507798.1409 | 1137266.8023 | 2507797.0937 | 1137263.7387 | 2507796.817 | 1137259.2291 | 2507798.5619 | 1137253.7474
36 | 2507886.0562 | 1137308.2645 | 2507888.2821 | 1137312.4231
37 | 2507808.1679 | 1137279.4566 | 2507809.9756 | 1137284.9545 | 2507815.651 | 1137302.8674 | 2507820.1902 | 1137307.8677 | 2507823.8747 | 1137312.8255
38 | 2507953.8766 | 1137326.8147 | 2507970.375 | 1137351.5513
39 | 2507953.8766 | 1137326.8147 | 2507929.5053 | 1137343.7192 | 2507932.0119 | 1137348.1391
40 | 2507924.4483 | 1137353.4601 | 2507932.0119 | 1137348.1391 | 2507932.0119 | 1137348.1391
41 | 2507770.2979 | 1137277.0565 | 2507776.8791 | 1137275.7106 | 2507787.3472 | 1137276.4621 | 2507799.8217 | 1137276.0822 | 2507805.5769 | 1137279.0849 | 2507808.1679 | 1137279.4566
42 | 2507886.6156 | 1137382.8756 | 2507897.9588 | 1137369.5116
43 | 2507886.6156 | 1137382.8756 | 2507871.993 | 1137401.4768
44 | 2507906.37 | 1137359.1304 | 2507901.6775 | 1137362.511 | 2507901.8075 | 1137364.9772 | 2507897.9588 | 1137369.5116
45 | 2507862.8638 | 1137413.09 | 2507871.993 | 1137401.4768
46 | 2507851.4481 | 1137424.3267 | 2507853.8697 | 1137423.6893 | 2507851.0529 | 1137414.0822 | 2507862.8638 | 1137413.09
47 | 2507851.4481 | 1137424.3267 | 2507845.0244 | 1137426.4039 | 2507846.0084 | 1137429.3684
48 | 2507793.6657 | 1137361.0386 | 2507797.6036 | 1137368.0333
49 | 2507797.6036 | 1137368.0333 | 2507804.9347 | 1137381.0552
50 | 2507509.0831 | 1137191.5563 | 2507519.3993 | 1137187.5128
51 | 2507891.9696 | 1137319.3127 | 2507888.2821 | 1137312.4231
52 | 2507891.9696 | 1137319.3127 | 2507896.296 | 1137327.3957
53 | 2507897.4664 | 1137329.5825 | 2507896.296 | 1137327.3957
54 | 2507897.4664 | 1137329.5825 | 2507903.5673 | 1137340.9809
55 | 2507903.5673 | 1137340.9809 | 2507906.4948 | 1137346.4505
56 | 2507911.3581 | 1137355.5368 | 2507906.37 | 1137359.1304
57 | 2507887.5633 | 1137406.6252 | 2507888.3469 | 1137406.2052
58 | 2507888.3469 | 1137406.2052 | 2507898.3657 | 1137400.8354
59 | 2507911.3581 | 1137355.5368 | 2507906.4948 | 1137346.4505
60 | 2507911.3581 | 1137355.5368 | 2507914.4195 | 1137360.5152
61 | 2507914.4195 | 1137360.5152 | 2507917.5508 | 1137368.2545
62 | 2507914.4195 | 1137360.5152 | 2507924.4483 | 1137353.4601
63 | 2507811.6616 | 1137396.6707 | 2507811.4593 | 1137396.032 | 2507806.4866 | 1137383.8118 | 2507804.9347 | 1137381.0552
64 | 2507815.4551 | 1137408.6476 | 2507811.6616 | 1137396.6707
65 | 2507815.4551 | 1137408.6476 | 2507816.1003 | 1137410.6848
66 | 2507919.487 | 1137373.0401 | 2507917.5508 | 1137368.2545
67 | 2507919.487 | 1137373.0401 | 2507922.2595 | 1137379.8927
68 | 2507925.6942 | 1137388.382 | 2507922.2595 | 1137379.8927
69 | 2507925.6942 | 1137388.382 | 2507913.1522 | 1137393.7141
70 | 2507925.6942 | 1137388.382 | 2507928.0582 | 1137393.2098
71 | 2507913.1522 | 1137393.7141 | 2507912.335 | 1137394.0615
72 | 2507912.335 | 1137394.0615 | 2507906.6516 | 1137396.4777 | 2507905.2307 | 1137397.2197
73 | 2507900.5984 | 1137399.6387 | 2507905.2307 | 1137397.2197
74 | 2507907.7378 | 1137413.9045 | 2507910.283 | 1137418.9901
75 | 2507907.7378 | 1137413.9045 | 2507903.6801 | 1137405.7966
76 | 2507900.5984 | 1137399.6387 | 2507903.6801 | 1137405.7966
77 | 2507900.5984 | 1137399.6387 | 2507898.3657 | 1137400.8354

## bus_geodata
| x | y | coords
0 | 2507811.7328 | 1137200.958
1 | 2507827.9942 | 1137217.4384
2 | 2507772.1891 | 1137160.8132
3 | 2507819.4861 | 1137238.6924
4 | 2507777.2989 | 1137155.8209
5 | 2507816.1888 | 1137241.4445
6 | 2507871.8782 | 1137283.5298
7 | 2507889.8532 | 1137272.1903
8 | 2507883.676 | 1137303.8173
9 | 2507857.9541 | 1137292.0274
10 | 2507764.6329 | 1137142.5097
11 | 2507645.9259 | 1137069.2015
12 | 2507643.6982 | 1137071.4592
13 | 2507664.1971 | 1137127.8913
14 | 2507652.4447 | 1136975.8899
15 | 2507599.5705 | 1136963.1255
16 | 2507666.3894 | 1137011.9271
17 | 2507750.1416 | 1137127.4636
18 | 2507689.5973 | 1137050.8885
19 | 2507633.5714 | 1137111.9853
20 | 2507664.9273 | 1137134.2052
21 | 2507664.5172 | 1137143.3572
22 | 2507714.3816 | 1137223.224
23 | 2507652.5989 | 1137203.8916
24 | 2507754.2196 | 1137262.0005
25 | 2507756.3634 | 1137394.1846
26 | 2507654.9773 | 1137196.2654
27 | 2507526.5458 | 1137184.7117
28 | 2507593.9312 | 1136970.8044
29 | 2507809.8556 | 1137250.4578
30 | 2507798.5619 | 1137253.7474
31 | 2507886.0562 | 1137308.2645
32 | 2507823.8747 | 1137312.8255
33 | 2507953.8766 | 1137326.8147
34 | 2507970.375 | 1137351.5513
35 | 2507932.0119 | 1137348.1391
36 | 2507664.0218 | 1137172.2629
37 | 2507770.2979 | 1137277.0565
38 | 2507886.6156 | 1137382.8756
39 | 2507897.9588 | 1137369.5116
40 | 2507871.993 | 1137401.4768
41 | 2507851.4481 | 1137424.3267
42 | 2507862.8638 | 1137413.09
43 | 2507846.0084 | 1137429.3684
44 | 2507777.4394 | 1137385.2346
45 | 2507793.6657 | 1137361.0386
46 | 2507808.1679 | 1137279.4566
47 | 2507797.6036 | 1137368.0333
48 | 2507509.0831 | 1137191.5563
49 | 2507519.3993 | 1137187.5128
50 | 2507888.2821 | 1137312.4231
51 | 2507891.9696 | 1137319.3127
52 | 2507896.296 | 1137327.3957
53 | 2507897.4664 | 1137329.5825
54 | 2507903.5673 | 1137340.9809
55 | 2507906.37 | 1137359.1304
56 | 2507887.5633 | 1137406.6252
57 | 2507888.3469 | 1137406.2052
58 | 2507906.4948 | 1137346.4505
59 | 2507911.3581 | 1137355.5368
60 | 2507914.4195 | 1137360.5152
61 | 2507811.6616 | 1137396.6707
62 | 2507804.9347 | 1137381.0552
63 | 2507815.4551 | 1137408.6476
64 | 2507816.1003 | 1137410.6848
65 | 2507917.5508 | 1137368.2545
66 | 2507924.4483 | 1137353.4601
67 | 2507919.487 | 1137373.0401
68 | 2507922.2595 | 1137379.8927
69 | 2507925.6942 | 1137388.382
70 | 2507913.1522 | 1137393.7141
71 | 2507928.0582 | 1137393.2098
72 | 2507912.335 | 1137394.0615
73 | 2507905.2307 | 1137397.2197
74 | 2507910.283 | 1137418.9901
75 | 2507907.7378 | 1137413.9045
76 | 2507903.6801 | 1137405.7966
77 | 2507900.5984 | 1137399.6387
78 | 2507898.3657 | 1137400.8354
79 | 2507811.9807 | 1137320.4675

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1