## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5724-17_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5724-17_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5724-17_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5724-17_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5724-17_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5724-17_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5724-17_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_5724-17_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_5724-17_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5724-17_0_5_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_5724-17_0_5_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_5724-17_0_5_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_5724-17_0_5_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_5724-17_0_5_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_5724-17_0_5_node_111 | 0.4 | n |  | TRUE
15 | bus_LV_5724-17_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5724-17_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5724-17_0_5_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_5724-17_0_5_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_5724-17_0_5_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_5724-17_0_5_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_5724-17_0_5_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_5724-17_0_5_node_68 | 0.4 | n |  | TRUE
23 | bus_LV_5724-17_0_5_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5724-17_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_5724-17_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5724-17_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5724-17_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5724-17_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5724-17_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5724-17_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5724-17_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5724-17_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5724-17_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5724-17_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5724-17_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_5724-17_0_5_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_5724-17_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_5724-17_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_5724-17_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5724-17_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5724-17_0_5_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_5724-17_0_5_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_5724-17_0_5_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_5724-17_0_5_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_5724-17_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5724-17_0_5_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_5724-17_0_5_node_112 | 0.4 | n |  | TRUE
48 | bus_LV_5724-17_0_5_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5724-17_0_5_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5724-17_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5724-17_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_5724-17_0_5_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_5724-17_0_5_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_5724-17_0_5_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_5724-17_0_5_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5724-17_0_5_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_5724-17_0_5_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_5724-17_0_5_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_5724-17_0_5_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_5724-17_0_5_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5724-17_0_5_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_5724-17_0_5_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_5724-17_0_5_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_5724-17_0_5_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_5724-17_0_5_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_5724-17_0_5_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_5724-17_0_5_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_5724-17_0_5_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_5724-17_0_5_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_5724-17_0_5_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_5724-17_0_5_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_5724-17_0_5_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_5724-17_0_5_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_5724-17_0_5_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_5724-17_0_5_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_5724-17_0_5_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_5724-17_0_5_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_5724-17_0_5_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_5724-17_0_5_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_5724-17_0_5_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_5724-17_0_5_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_5724-17_0_5_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_5724-17_0_5_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_5724-17_0_5_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_5724-17_0_5_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_5724-17_0_5_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_5724-17_0_5_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_5724-17_0_5_node_99 | 0.4 | n |  | TRUE
89 | bus_LV_5724-17_0_5_node_100 | 0.4 | n |  | TRUE
90 | bus_LV_5724-17_0_5_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_5724-17_0_5_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_5724-17_0_5_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_5724-17_0_5_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_5724-17_0_5_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_5724-17_0_5_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_5724-17_0_5_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_5724-17_0_5_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_5724-17_0_5_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_5724-17_0_5_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_5724-17_0_5_node_109 | 0.4 | n |  | TRUE
101 | bus_LV_5724-17_0_5_node_97 | 0.4 | n |  | TRUE
102 | bus_LV_5724-17_0_5_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_5724-17_0_5_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_5724-17_0_5_node_106 | 0.4 | n |  | TRUE
105 | bus_LV_5724-17_0_5_node_101 | 0.4 | n |  | TRUE
106 | bus_LV_5724-17_0_5_node_102 | 0.4 | n |  | TRUE
107 | bus_LV_5724-17_0_5_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_5724-17_0_5_node_104 | 0.4 | n |  | TRUE
109 | bus_LV_5724-17_0_5_node_105 | 0.4 | n |  | TRUE
110 | bus_MV_637_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5724-17_0_5_load_0 | 0 | 0.043125 | 0.010808 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5724-17_0_5_load_3 | 3 | 0.016224 | 0.0040662 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5724-17_0_5_load_4 | 4 | 0.027693 | 0.0069404 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5724-17_0_5_load_9 | 8 | 0.024988 | 0.0062626 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5724-17_0_5_load_74 | 9 | 0.0038955 | 0.0009763 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5724-17_0_5_load_75 | 10 | 0.004865 | 0.0012193 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5724-17_0_5_load_76 | 11 | 0.003561 | 0.00089247 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5724-17_0_5_load_33 | 12 | 0.0055675 | 0.0013953 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5724-17_0_5_load_111 | 14 | 0.014942 | 0.0037449 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5724-17_0_5_load_10 | 15 | 0.017403 | 0.0043615 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5724-17_0_5_load_13 | 16 | 0.004918 | 0.0012326 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5724-17_0_5_load_26 | 18 | 0.019654 | 0.0049257 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5724-17_0_5_load_23 | 19 | 0.01583 | 0.0039674 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5724-17_0_5_load_70 | 20 | 0.0046138 | 0.0011563 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5724-17_0_5_load_72 | 21 | 0.0050209 | 0.0012584 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5724-17_0_5_load_11 | 23 | 0.022175 | 0.0055576 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5724-17_0_5_load_12 | 24 | 0.011364 | 0.0028481 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5724-17_0_5_load_14 | 25 | 0.012697 | 0.003182 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5724-17_0_5_load_15 | 26 | 0.0043214 | 0.0010831 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5724-17_0_5_load_16 | 27 | 0.0087129 | 0.0021837 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5724-17_0_5_load_17 | 28 | 0.021601 | 0.0054137 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5724-17_0_5_load_18 | 29 | 0.011901 | 0.0029826 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5724-17_0_5_load_21 | 32 | 0.005897 | 0.0014779 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5724-17_0_5_load_24 | 34 | 0.022328 | 0.005596 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5724-17_0_5_load_28 | 35 | 0.004065 | 0.0010188 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5724-17_0_5_load_32 | 37 | 0.0096869 | 0.0024278 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5724-17_0_5_load_30 | 38 | 0.0013557 | 0.00033977 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5724-17_0_5_load_27 | 39 | 0.0027337 | 0.00068513 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5724-17_0_5_load_35 | 41 | 0.0053664 | 0.0013449 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5724-17_0_5_load_69 | 43 | 0.0033579 | 0.00084157 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5724-17_0_5_load_71 | 44 | 0.0045116 | 0.0011307 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5724-17_0_5_load_31 | 45 | 0.0024957 | 0.00062549 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5724-17_0_5_load_67 | 46 | 0.0032662 | 0.00081858 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5724-17_0_5_load_112 | 47 | 0.0066546 | 0.0016678 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5724-17_0_5_load_37 | 48 | 0.0039994 | 0.0010023 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5724-17_0_5_load_38 | 49 | 0.0059803 | 0.0014988 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5724-17_0_5_load_39 | 50 | 0.0031275 | 0.00078384 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5724-17_0_5_load_40 | 51 | 0.005832 | 0.0014616 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5724-17_0_5_load_51 | 53 | 0.0058266 | 0.0014603 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5724-17_0_5_load_52 | 54 | 0.004171 | 0.0010454 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5724-17_0_5_load_53 | 55 | 0.0069207 | 0.0017345 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5724-17_0_5_load_54 | 56 | 0.0015188 | 0.00038066 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5724-17_0_5_load_42 | 57 | 0.011778 | 0.0029518 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5724-17_0_5_load_43 | 58 | 0.0018802 | 0.00047121 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5724-17_0_5_load_44 | 59 | 0.0016855 | 0.00042242 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5724-17_0_5_load_48 | 60 | 0.0054765 | 0.0013725 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5724-17_0_5_load_46 | 63 | 0.0022795 | 0.00057129 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5724-17_0_5_load_47 | 64 | 0.0023807 | 0.00059667 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5724-17_0_5_load_49 | 65 | 0.0060095 | 0.0015061 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5724-17_0_5_load_50 | 66 | 0.0019654 | 0.00049257 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5724-17_0_5_load_55 | 67 | 0.0060094 | 0.0015061 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5724-17_0_5_load_61 | 68 | 0.0030346 | 0.00076053 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5724-17_0_5_load_65 | 69 | 0.0022887 | 0.00057361 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5724-17_0_5_load_63 | 70 | 0.002067 | 0.00051805 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5724-17_0_5_load_59 | 71 | 0.0018727 | 0.00046934 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5724-17_0_5_load_66 | 72 | 0.0040192 | 0.0010073 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5724-17_0_5_load_56 | 73 | 0.0028478 | 0.00071374 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5724-17_0_5_load_57 | 74 | 0.0021977 | 0.00055081 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5724-17_0_5_load_58 | 75 | 0.0042601 | 0.0010677 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5724-17_0_5_load_60 | 76 | 0.0022692 | 0.00056871 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5724-17_0_5_load_62 | 77 | 0.0036903 | 0.00092487 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5724-17_0_5_load_78 | 78 | 0.0023864 | 0.00059808 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5724-17_0_5_load_73 | 79 | 0.0020359 | 0.00051024 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5724-17_0_5_load_85 | 80 | 0.0036873 | 0.00092412 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5724-17_0_5_load_82 | 81 | 0.0025364 | 0.00063568 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5724-17_0_5_load_83 | 82 | 0.0038318 | 0.00096033 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5724-17_0_5_load_79 | 84 | 0.0021404 | 0.00053643 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5724-17_0_5_load_80 | 85 | 0.0019071 | 0.00047795 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5724-17_0_5_load_81 | 86 | 0.0024381 | 0.00061104 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5724-17_0_5_load_84 | 87 | 0.0069321 | 0.0017373 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5724-17_0_5_load_99 | 88 | 0.0035422 | 0.00088775 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5724-17_0_5_load_100 | 89 | 0.0043171 | 0.001082 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5724-17_0_5_load_87 | 90 | 0.0030152 | 0.00075567 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5724-17_0_5_load_88 | 91 | 0.0041958 | 0.0010516 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5724-17_0_5_load_89 | 92 | 0.0051332 | 0.0012865 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5724-17_0_5_load_91 | 94 | 0.0084583 | 0.0021199 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5724-17_0_5_load_92 | 95 | 0.0097375 | 0.0024404 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5724-17_0_5_load_94 | 97 | 0.0028239 | 0.00070773 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5724-17_0_5_load_95 | 98 | 0.0066035 | 0.001655 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5724-17_0_5_load_96 | 99 | 0.0043698 | 0.0010952 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5724-17_0_5_load_109 | 100 | 0.0034188 | 0.00085684 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5724-17_0_5_load_97 | 101 | 0.0072511 | 0.0018173 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5724-17_0_5_load_103 | 102 | 0.0018909 | 0.0004739 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5724-17_0_5_load_106 | 104 | 0.0052662 | 0.0013198 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5724-17_0_5_load_101 | 105 | 0.00097209 | 0.00024363 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5724-17_0_5_load_102 | 106 | 0.0016493 | 0.00041335 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5724-17_0_5_load_107 | 107 | 0.0044801 | 0.0011228 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5724-17_0_5_load_104 | 108 | 0.0034617 | 0.00086759 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5724-17_0_5_load_105 | 109 | 0.0045869 | 0.0011496 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5724-17_0_5_line_0 |  | 0 | 1 | 0.039927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_5724-17_0_5_line_1 |  | 0 | 2 | 0.014768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5724-17_0_5_line_2 |  | 1 | 3 | 0.048818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5724-17_0_5_line_3 |  | 1 | 4 | 0.031649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5724-17_0_5_line_4 |  | 2 | 5 | 0.043664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5724-17_0_5_line_5 |  | 4 | 6 | 0.040599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5724-17_0_5_line_6 |  | 5 | 7 | 0.002885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5724-17_0_5_line_7 |  | 5 | 8 | 0.020055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5724-17_0_5_line_8 |  | 6 | 13 | 0.007582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5724-17_0_5_line_9 |  | 6 | 14 | 0.024743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5724-17_0_5_line_10 |  | 7 | 15 | 0.018826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5724-17_0_5_line_11 |  | 8 | 16 | 0.023043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5724-17_0_5_line_12 |  | 9 | 10 | 0.0017317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_5724-17_0_5_line_13 |  | 9 | 11 | 0.037008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5724-17_0_5_line_14 |  | 9 | 12 | 0.11357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_5724-17_0_5_line_15 |  | 10 | 21 | 0.010141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5724-17_0_5_line_16 |  | 11 | 17 | 0.037331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5724-17_0_5_line_17 |  | 12 | 37 | 0.0044403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5724-17_0_5_line_18 |  | 13 | 18 | 0.0040406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5724-17_0_5_line_19 |  | 13 | 19 | 0.016846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_5724-17_0_5_line_20 |  | 15 | 23 | 0.048326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5724-17_0_5_line_21 |  | 16 | 24 | 0.0077037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5724-17_0_5_line_22 |  | 17 | 78 | 0.0083535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5724-17_0_5_line_23 |  | 17 | 77 | 0.020804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5724-17_0_5_line_24 |  | 18 | 39 | 0.033673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5724-17_0_5_line_25 |  | 19 | 31 | 0.0016148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_5724-17_0_5_line_26 |  | 20 | 21 | 0.021961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5724-17_0_5_line_27 |  | 20 | 22 | 0.018391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_5724-17_0_5_line_28 |  | 22 | 46 | 0.021867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5724-17_0_5_line_29 |  | 22 | 43 | 0.012173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5724-17_0_5_line_30 |  | 24 | 25 | 0.0032686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5724-17_0_5_line_31 |  | 25 | 26 | 0.013735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5724-17_0_5_line_32 |  | 26 | 27 | 0.00027466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5724-17_0_5_line_33 |  | 28 | 29 | 0.015358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5724-17_0_5_line_34 |  | 28 | 30 | 0.009429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5724-17_0_5_line_35 |  | 29 | 31 | 0.023132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5724-17_0_5_line_36 |  | 30 | 32 | 0.014291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5724-17_0_5_line_37 |  | 31 | 33 | 0.046243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5724-17_0_5_line_38 |  | 32 | 34 | 0.031961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5724-17_0_5_line_39 |  | 33 | 35 | 0.038314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5724-17_0_5_line_40 |  | 33 | 36 | 0.016896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_5724-17_0_5_line_41 |  | 36 | 37 | 0.027997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_5724-17_0_5_line_42 |  | 36 | 38 | 0.014309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_5724-17_0_5_line_43 |  | 38 | 45 | 0.05189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_5724-17_0_5_line_44 |  | 39 | 40 | 0.045097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5724-17_0_5_line_45 |  | 40 | 41 | 0.031721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5724-17_0_5_line_46 |  | 40 | 42 | 0.021912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5724-17_0_5_line_47 |  | 42 | 47 | 0.03709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5724-17_0_5_line_48 |  | 43 | 44 | 0.033078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5724-17_0_5_line_49 |  | 44 | 81 | 0.023622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5724-17_0_5_line_50 |  | 46 | 72 | 0.030366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_5724-17_0_5_line_51 |  | 48 | 49 | 0.00042922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5724-17_0_5_line_52 |  | 48 | 50 | 0.00019651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5724-17_0_5_line_53 |  | 50 | 51 | 0.0014496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5724-17_0_5_line_54 |  | 51 | 52 | 0.050181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5724-17_0_5_line_55 |  | 52 | 53 | 0.0014884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_5724-17_0_5_line_56 |  | 52 | 54 | 0.026829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_5724-17_0_5_line_57 |  | 53 | 55 | 0.029654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_5724-17_0_5_line_58 |  | 54 | 56 | 0.012244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_5724-17_0_5_line_59 |  | 55 | 70 | 0.032478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_5724-17_0_5_line_60 |  | 56 | 72 | 0.02157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_5724-17_0_5_line_61 |  | 57 | 58 | 0.06558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5724-17_0_5_line_62 |  | 58 | 59 | 0.019232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5724-17_0_5_line_63 |  | 59 | 60 | 0.012513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5724-17_0_5_line_64 |  | 60 | 61 | 0.040614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5724-17_0_5_line_65 |  | 61 | 69 | 0.018451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_5724-17_0_5_line_66 |  | 61 | 70 | 0.020743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_5724-17_0_5_line_67 |  | 62 | 63 | 0.033273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5724-17_0_5_line_68 |  | 62 | 64 | 0.010303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5724-17_0_5_line_69 |  | 63 | 65 | 0.046026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5724-17_0_5_line_70 |  | 64 | 66 | 0.023731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5724-17_0_5_line_71 |  | 65 | 67 | 0.04208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5724-17_0_5_line_72 |  | 66 | 68 | 0.0048598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5724-17_0_5_line_73 |  | 68 | 71 | 0.017406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5724-17_0_5_line_74 |  | 69 | 79 | 0.047322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_5724-17_0_5_line_75 |  | 71 | 74 | 0.011331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5724-17_0_5_line_76 |  | 73 | 74 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5724-17_0_5_line_77 |  | 73 | 75 | 0.019419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5724-17_0_5_line_78 |  | 75 | 76 | 0.0052534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5724-17_0_5_line_79 |  | 76 | 77 | 0.02227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5724-17_0_5_line_80 |  | 78 | 84 | 0.028364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5724-17_0_5_line_81 |  | 79 | 80 | 0.0001339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_5724-17_0_5_line_82 |  | 80 | 83 | 0.034116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_5724-17_0_5_line_83 |  | 81 | 82 | 0.0041764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5724-17_0_5_line_84 |  | 82 | 87 | 0.017124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5724-17_0_5_line_85 |  | 83 | 90 | 0.024451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_5724-17_0_5_line_86 |  | 83 | 91 | 0.0058588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5724-17_0_5_line_87 |  | 84 | 85 | 0.007847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5724-17_0_5_line_88 |  | 85 | 86 | 0.020439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5724-17_0_5_line_89 |  | 87 | 88 | 0.016346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5724-17_0_5_line_90 |  | 88 | 89 | 0.037275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5724-17_0_5_line_91 |  | 89 | 105 | 0.011952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5724-17_0_5_line_92 |  | 90 | 92 | 0.030379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_5724-17_0_5_line_93 |  | 92 | 93 | 0.038682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_5724-17_0_5_line_94 |  | 93 | 94 | 0.0021479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5724-17_0_5_line_95 |  | 93 | 95 | 0.036921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5724-17_0_5_line_96 |  | 94 | 96 | 0.054919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5724-17_0_5_line_97 |  | 95 | 97 | 0.0056232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5724-17_0_5_line_98 |  | 96 | 98 | 0.023188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5724-17_0_5_line_99 |  | 96 | 99 | 0.010241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5724-17_0_5_line_100 |  | 97 | 100 | 0.0091716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5724-17_0_5_line_101 |  | 98 | 101 | 0.0069947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5724-17_0_5_line_102 |  | 101 | 102 | 0.01233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5724-17_0_5_line_103 |  | 102 | 106 | 0.005511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5724-17_0_5_line_104 |  | 103 | 104 | 0.029739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5724-17_0_5_line_105 |  | 103 | 105 | 0.014826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5724-17_0_5_line_106 |  | 104 | 107 | 0.0075815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5724-17_0_5_line_107 |  | 106 | 108 | 0.0079294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5724-17_0_5_line_108 |  | 108 | 109 | 0.010466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5724-17_0_5_trafo_31 | 0.63 MVA 20/0.4 kV | 110 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2507958.8618 | 1137669.8228 | 2507960.9106 | 1137665.9447 | 2507933.1337 | 1137643.7722
1 | 2507921.5923 | 1137634.5595 | 2507933.1337 | 1137643.7722
2 | 2507958.8618 | 1137669.8228 | 2507917.6699 | 1137696.0229
3 | 2507958.8618 | 1137669.8228 | 2507964.2081 | 1137672.7874 | 2507984.3124 | 1137688.5322
4 | 2507921.5923 | 1137634.5595 | 2507926.7218 | 1137627.3546 | 2507922.0913 | 1137623.4118 | 2507924.4251 | 1137620.5522 | 2507928.4016 | 1137623.4933 | 2507932.1593 | 1137618.1549 | 2507929.9296 | 1137615.7319 | 2507937.2271 | 1137608.4161
5 | 2507973.0437 | 1137719.3361 | 2507989.8153 | 1137698.6121 | 2507991.556 | 1137694.2051 | 2507984.3124 | 1137688.5322
6 | 2507935.2483 | 1137606.3117 | 2507937.2271 | 1137608.4161
7 | 2507937.2271 | 1137608.4161 | 2507946.5491 | 1137617.2791 | 2507952.704 | 1137620.9997
8 | 2507973.0437 | 1137719.3361 | 2507973.5645 | 1137721.6962 | 2507974.6878 | 1137726.7377
9 | 2507973.0437 | 1137719.3361 | 2507963.6429 | 1137709.8294 | 2507970.7573 | 1137700.9566
10 | 2507935.2483 | 1137606.3117 | 2507950.1132 | 1137594.7589
11 | 2507952.704 | 1137620.9997 | 2507955.5184 | 1137622.701 | 2507960.8799 | 1137623.6309 | 2507965.4282 | 1137623.2056 | 2507969.114 | 1137622.2266 | 2507974.5687 | 1137619.8979
12 | 2508077.5876 | 1137909.0175 | 2508078.9871 | 1137907.9976
13 | 2508077.5876 | 1137909.0175 | 2508047.678 | 1137930.8129
14 | 2508077.5876 | 1137909.0175 | 2508007.5678 | 1137819.5959
15 | 2508078.9871 | 1137907.9976 | 2508087.1832 | 1137902.0251
16 | 2508017.5079 | 1137952.7981 | 2508047.678 | 1137930.8129
17 | 2508007.5678 | 1137819.5959 | 2508005.3007 | 1137815.7781
18 | 2507974.6878 | 1137726.7377 | 2507978.0816 | 1137724.5448
19 | 2507974.6878 | 1137726.7377 | 2507960.7055 | 1137736.1327
20 | 2507950.1132 | 1137594.7589 | 2507988.27 | 1137565.1038
21 | 2507981.205 | 1137616.0161 | 2507976.0014 | 1137619.2863 | 2507974.5687 | 1137619.8979
22 | 2508017.5079 | 1137952.7981 | 2508010.6023 | 1137957.4985
23 | 2508017.5079 | 1137952.7981 | 2508029.3184 | 1137969.9248
24 | 2508005.3602 | 1137705.1298 | 2508002.0388 | 1137709.0652 | 2507978.0816 | 1137724.5448
25 | 2507959.3651 | 1137737.0333 | 2507960.7055 | 1137736.1327
26 | 2508104.9317 | 1137889.0916 | 2508087.1832 | 1137902.0251
27 | 2508119.7953 | 1137878.2603 | 2508104.9317 | 1137889.0916
28 | 2508119.7953 | 1137878.2603 | 2508132.5868 | 1137895.9957
29 | 2508119.7953 | 1137878.2603 | 2508129.3806 | 1137870.7575
30 | 2507981.205 | 1137616.0161 | 2507983.9725 | 1137614.2768
31 | 2507995.6015 | 1137606.9685 | 2507983.9725 | 1137614.2768
32 | 2507995.8341 | 1137606.8224 | 2507995.6015 | 1137606.9685
33 | 2507940.2399 | 1137750.0451 | 2507927.542 | 1137758.6839
34 | 2507919.7462 | 1137763.9878 | 2507927.542 | 1137758.6839
35 | 2507959.3651 | 1137737.0333 | 2507940.2399 | 1137750.0451
36 | 2507919.7462 | 1137763.9878 | 2507927.3741 | 1137776.0733
37 | 2507959.3651 | 1137737.0333 | 2507982.39 | 1137777.1616
38 | 2507927.3741 | 1137776.0733 | 2507944.4329 | 1137803.101
39 | 2507982.39 | 1137777.1616 | 2508015.2783 | 1137757.3478
40 | 2507982.39 | 1137777.1616 | 2507991.0059 | 1137791.7055
41 | 2507991.0059 | 1137791.7055 | 2508005.3007 | 1137815.7781
42 | 2507991.0059 | 1137791.7055 | 2508003.1464 | 1137784.1324
43 | 2508045.4264 | 1137786.3388 | 2508038.6379 | 1137789.6999 | 2508030.5349 | 1137778.5056 | 2508024.1109 | 1137775.5018 | 2508016.8035 | 1137775.6133 | 2508003.1464 | 1137784.1324
44 | 2508032.7463 | 1137669.3284 | 2508014.168 | 1137694.6938 | 2508005.3602 | 1137705.1298
45 | 2508032.7463 | 1137669.3284 | 2508044.7661 | 1137677.5278 | 2508057.6853 | 1137688.8388
46 | 2508032.7463 | 1137669.3284 | 2508036.3882 | 1137665.4706 | 2508047.7831 | 1137653.3895
47 | 2508047.7831 | 1137653.3895 | 2508022.2513 | 1137626.4859
48 | 2508129.3806 | 1137870.7575 | 2508155.4283 | 1137850.3687
49 | 2508155.4283 | 1137850.3687 | 2508174.0292 | 1137835.8089
50 | 2508132.5868 | 1137895.9957 | 2508150.3498 | 1137920.6241
51 | 2508142.9175 | 1137999.6383 | 2508143.2699 | 1137999.3933
52 | 2508143.2699 | 1137999.3933 | 2508143.4313 | 1137999.2812
53 | 2508144.6215 | 1137998.4537 | 2508143.4313 | 1137999.2812
54 | 2508185.8243 | 1137969.8095 | 2508144.6215 | 1137998.4537
55 | 2508185.8243 | 1137969.8095 | 2508186.695 | 1137971.0167
56 | 2508185.8243 | 1137969.8095 | 2508170.1301 | 1137948.0494
57 | 2508186.695 | 1137971.0167 | 2508204.0416 | 1137995.0679
58 | 2508170.1301 | 1137948.0494 | 2508162.9678 | 1137938.1189
59 | 2508204.0416 | 1137995.0679 | 2508223.0399 | 1138021.4091
60 | 2508162.9678 | 1137938.1189 | 2508150.3498 | 1137920.6241
61 | 2508168.1391 | 1138137.0273 | 2508196.2939 | 1138121.7192 | 2508201.6807 | 1138117.7792 | 2508211.5589 | 1138110.2021 | 2508213.3808 | 1138104.0484 | 2508211.0089 | 1138096.4169
62 | 2508211.0089 | 1138096.4169 | 2508205.301 | 1138078.0515
63 | 2508205.301 | 1138078.0515 | 2508204.1502 | 1138074.3489 | 2508205.86 | 1138065.8844
64 | 2508235.1738 | 1138038.2327 | 2508211.2839 | 1138057.8081 | 2508205.86 | 1138065.8844 | 2508205.86 | 1138065.8844
65 | 2508235.1738 | 1138038.2327 | 2508250.2457 | 1138027.5887
66 | 2508235.1738 | 1138038.2327 | 2508223.0399 | 1138021.4091
67 | 2508100.699 | 1138073.4354 | 2508074.9724 | 1138094.5363
68 | 2508100.699 | 1138073.4354 | 2508094.8503 | 1138064.9539
69 | 2508065.961 | 1138126.9929 | 2508054.3876 | 1138111.4198 | 2508074.9724 | 1138094.5363
70 | 2508081.3779 | 1138045.4174 | 2508094.8503 | 1138064.9539
71 | 2508091.0612 | 1138160.7675 | 2508065.961 | 1138126.9929
72 | 2508081.3779 | 1138045.4174 | 2508078.619 | 1138041.4166
73 | 2508078.619 | 1138041.4166 | 2508068.7376 | 1138027.0874
74 | 2508250.2457 | 1138027.5887 | 2508288.9002 | 1138000.2904
75 | 2508062.3052 | 1138017.7596 | 2508068.7376 | 1138027.0874
76 | 2508055.9678 | 1138008.5696 | 2508062.3052 | 1138017.7596
77 | 2508055.9678 | 1138008.5696 | 2508044.9433 | 1137992.5828
78 | 2508041.961 | 1137988.258 | 2508044.9433 | 1137992.5828
79 | 2508029.3184 | 1137969.9248 | 2508041.961 | 1137988.258
80 | 2508010.6023 | 1137957.4985 | 2507987.1549 | 1137973.4584
81 | 2508289.0095 | 1138000.2131 | 2508288.9002 | 1138000.2904
82 | 2508316.8769 | 1137980.5328 | 2508289.0095 | 1138000.2131
83 | 2508174.0292 | 1137835.8089 | 2508177.3179 | 1137833.2347
84 | 2508190.8023 | 1137822.6798 | 2508177.3179 | 1137833.2347
85 | 2508316.8769 | 1137980.5328 | 2508309.0638 | 1137961.5514 | 2508307.8829 | 1137957.8087
86 | 2508316.8769 | 1137980.5328 | 2508319.5509 | 1137985.7458
87 | 2507980.6681 | 1137977.8738 | 2507987.1549 | 1137973.4584
88 | 2507980.6681 | 1137977.8738 | 2507966.8647 | 1137987.2694 | 2507963.5312 | 1137988.9683
89 | 2508203.6743 | 1137812.6042 | 2508190.8023 | 1137822.6798
90 | 2508203.6743 | 1137812.6042 | 2508229.4075 | 1137792.4616 | 2508233.0281 | 1137789.6315
91 | 2508233.0281 | 1137789.6315 | 2508242.4448 | 1137782.2709
92 | 2508299.2292 | 1137928.6915 | 2508304.1411 | 1137945.9502 | 2508307.8829 | 1137957.8087
93 | 2508288.6406 | 1137891.4865 | 2508299.2292 | 1137928.6915
94 | 2508288.6406 | 1137891.4865 | 2508288.0569 | 1137889.4195
95 | 2508288.6406 | 1137891.4865 | 2508254.2149 | 1137904.8294 | 2508254.2149 | 1137904.8294
96 | 2508273.1329 | 1137836.5672 | 2508288.0569 | 1137889.4195
97 | 2508252.1701 | 1137899.5911 | 2508254.2149 | 1137904.8294
98 | 2508273.1329 | 1137836.5672 | 2508251.9149 | 1137845.9196
99 | 2508273.1329 | 1137836.5672 | 2508270.437 | 1137826.6874
100 | 2508248.835 | 1137891.0474 | 2508252.1701 | 1137899.5911
101 | 2508245.5144 | 1137848.7408 | 2508251.9149 | 1137845.9196
102 | 2508234.2322 | 1137853.7137 | 2508245.5144 | 1137848.7408
103 | 2508229.1893 | 1137855.9364 | 2508229.1893 | 1137855.9364 | 2508234.2322 | 1137853.7137
104 | 2508254.1256 | 1137773.1405 | 2508252.8515 | 1137769.3021 | 2508244.8522 | 1137751.7577 | 2508241.9132 | 1137746.1991 | 2508241.8526 | 1137746.0905
105 | 2508254.1256 | 1137773.1405 | 2508242.4448 | 1137782.2709
106 | 2508238.1585 | 1137739.4698 | 2508241.8526 | 1137746.0905
107 | 2508229.1893 | 1137855.9364 | 2508232.4006 | 1137863.1865
108 | 2508236.639 | 1137872.7554 | 2508232.4006 | 1137863.1865

## bus_geodata
| x | y | coords
0 | 2507933.1337 | 1137643.7722
1 | 2507958.8618 | 1137669.8228
2 | 2507921.5923 | 1137634.5595
3 | 2507917.6699 | 1137696.0229
4 | 2507984.3124 | 1137688.5322
5 | 2507937.2271 | 1137608.4161
6 | 2507973.0437 | 1137719.3361
7 | 2507935.2483 | 1137606.3117
8 | 2507952.704 | 1137620.9997
9 | 2508077.5876 | 1137909.0175
10 | 2508078.9871 | 1137907.9976
11 | 2508047.678 | 1137930.8129
12 | 2508007.5678 | 1137819.5959
13 | 2507974.6878 | 1137726.7377
14 | 2507970.7573 | 1137700.9566
15 | 2507950.1132 | 1137594.7589
16 | 2507974.5687 | 1137619.8979
17 | 2508017.5079 | 1137952.7981
18 | 2507978.0816 | 1137724.5448
19 | 2507960.7055 | 1137736.1327
20 | 2508104.9317 | 1137889.0916
21 | 2508087.1832 | 1137902.0251
22 | 2508119.7953 | 1137878.2603
23 | 2507988.27 | 1137565.1038
24 | 2507981.205 | 1137616.0161
25 | 2507983.9725 | 1137614.2768
26 | 2507995.6015 | 1137606.9685
27 | 2507995.8341 | 1137606.8224
28 | 2507927.542 | 1137758.6839
29 | 2507940.2399 | 1137750.0451
30 | 2507919.7462 | 1137763.9878
31 | 2507959.3651 | 1137737.0333
32 | 2507927.3741 | 1137776.0733
33 | 2507982.39 | 1137777.1616
34 | 2507944.4329 | 1137803.101
35 | 2508015.2783 | 1137757.3478
36 | 2507991.0059 | 1137791.7055
37 | 2508005.3007 | 1137815.7781
38 | 2508003.1464 | 1137784.1324
39 | 2508005.3602 | 1137705.1298
40 | 2508032.7463 | 1137669.3284
41 | 2508057.6853 | 1137688.8388
42 | 2508047.7831 | 1137653.3895
43 | 2508129.3806 | 1137870.7575
44 | 2508155.4283 | 1137850.3687
45 | 2508045.4264 | 1137786.3388
46 | 2508132.5868 | 1137895.9957
47 | 2508022.2513 | 1137626.4859
48 | 2508143.2699 | 1137999.3933
49 | 2508142.9175 | 1137999.6383
50 | 2508143.4313 | 1137999.2812
51 | 2508144.6215 | 1137998.4537
52 | 2508185.8243 | 1137969.8095
53 | 2508186.695 | 1137971.0167
54 | 2508170.1301 | 1137948.0494
55 | 2508204.0416 | 1137995.0679
56 | 2508162.9678 | 1137938.1189
57 | 2508168.1391 | 1138137.0273
58 | 2508211.0089 | 1138096.4169
59 | 2508205.301 | 1138078.0515
60 | 2508205.86 | 1138065.8844
61 | 2508235.1738 | 1138038.2327
62 | 2508100.6991 | 1138073.4354
63 | 2508074.9724 | 1138094.5363
64 | 2508094.8503 | 1138064.9539
65 | 2508065.961 | 1138126.9929
66 | 2508081.3779 | 1138045.4174
67 | 2508091.0612 | 1138160.7675
68 | 2508078.619 | 1138041.4166
69 | 2508250.2457 | 1138027.5887
70 | 2508223.0399 | 1138021.4091
71 | 2508068.7376 | 1138027.0874
72 | 2508150.3498 | 1137920.6241
73 | 2508055.9678 | 1138008.5696
74 | 2508062.3052 | 1138017.7596
75 | 2508044.9433 | 1137992.5828
76 | 2508041.961 | 1137988.258
77 | 2508029.3184 | 1137969.9248
78 | 2508010.6023 | 1137957.4985
79 | 2508288.9002 | 1138000.2904
80 | 2508289.0095 | 1138000.2131
81 | 2508174.0292 | 1137835.8089
82 | 2508177.3179 | 1137833.2347
83 | 2508316.8769 | 1137980.5328
84 | 2507987.1549 | 1137973.4584
85 | 2507980.6681 | 1137977.8738
86 | 2507963.5312 | 1137988.9683
87 | 2508190.8023 | 1137822.6798
88 | 2508203.6743 | 1137812.6042
89 | 2508233.0281 | 1137789.6315
90 | 2508307.8829 | 1137957.8087
91 | 2508319.5509 | 1137985.7458
92 | 2508299.2292 | 1137928.6915
93 | 2508288.6406 | 1137891.4865
94 | 2508288.0569 | 1137889.4195
95 | 2508254.2149 | 1137904.8294
96 | 2508273.1329 | 1137836.5672
97 | 2508252.1701 | 1137899.5911
98 | 2508251.9149 | 1137845.9196
99 | 2508270.437 | 1137826.6874
100 | 2508248.835 | 1137891.0474
101 | 2508245.5144 | 1137848.7408
102 | 2508234.2322 | 1137853.7137
103 | 2508254.1256 | 1137773.1405
104 | 2508241.8526 | 1137746.0905
105 | 2508242.4448 | 1137782.2709
106 | 2508229.1893 | 1137855.9364
107 | 2508238.1585 | 1137739.4698
108 | 2508232.4006 | 1137863.1865
109 | 2508236.639 | 1137872.7554
110 | 2507991.0059 | 1137791.7055

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1