## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5724-18_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5724-18_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5724-18_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5724-18_0_5_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_5724-18_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5724-18_0_5_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_5724-18_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5724-18_0_5_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_5724-18_0_5_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_5724-18_0_5_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_5724-18_0_5_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_5724-18_0_5_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_5724-18_0_5_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_5724-18_0_5_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_5724-18_0_5_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_5724-18_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_5724-18_0_5_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_5724-18_0_5_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_5724-18_0_5_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_5724-18_0_5_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_5724-18_0_5_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_5724-18_0_5_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_5724-18_0_5_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_5724-18_0_5_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_5724-18_0_5_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_5724-18_0_5_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_5724-18_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_5724-18_0_5_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_5724-18_0_5_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_5724-18_0_5_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_5724-18_0_5_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_5724-18_0_5_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_5724-18_0_5_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_5724-18_0_5_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5724-18_0_5_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_5724-18_0_5_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_5724-18_0_5_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_5724-18_0_5_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_5724-18_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_5724-18_0_5_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_5724-18_0_5_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_5724-18_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_5724-18_0_5_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_5724-18_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_5724-18_0_5_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_5724-18_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_5724-18_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_5724-18_0_5_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_5724-18_0_5_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_5724-18_0_5_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5724-18_0_5_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_5724-18_0_5_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_5724-18_0_5_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_5724-18_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_5724-18_0_5_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_5724-18_0_5_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_5724-18_0_5_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_5724-18_0_5_node_63 | 0.4 | n |  | TRUE
58 | bus_MV_637_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5724-18_0_5_load_0 | 0 | 0.019045 | 0.0047731 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5724-18_0_5_load_29 | 5 | 0.013987 | 0.0035055 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5724-18_0_5_load_10 | 7 | 0.0062589 | 0.0015686 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5724-18_0_5_load_48 | 9 | 0.023121 | 0.0057948 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5724-18_0_5_load_39 | 10 | 0.029939 | 0.0075034 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5724-18_0_5_load_37 | 11 | 0.030012 | 0.0075217 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5724-18_0_5_load_66 | 13 | 0.020973 | 0.0052564 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5724-18_0_5_load_55 | 16 | 0.0012221 | 0.00030629 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5724-18_0_5_load_49 | 17 | 0.049555 | 0.01242 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5724-18_0_5_load_46 | 19 | 0.025686 | 0.0064376 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5724-18_0_5_load_47 | 20 | 0.027325 | 0.0068482 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5724-18_0_5_load_43 | 21 | 0.036156 | 0.0090616 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5724-18_0_5_load_44 | 23 | 0.050506 | 0.012658 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5724-18_0_5_load_38 | 24 | 0.027121 | 0.0067971 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5724-18_0_5_load_25 | 25 | 0.0024665 | 0.00061817 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5724-18_0_5_load_22 | 26 | 0.0069472 | 0.0017411 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5724-18_0_5_load_41 | 27 | 0.022498 | 0.0056385 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5724-18_0_5_load_53 | 28 | 0.038981 | 0.0097695 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5724-18_0_5_load_35 | 29 | 0.0046215 | 0.0011583 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5724-18_0_5_load_14 | 30 | 0.014443 | 0.0036198 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5724-18_0_5_load_16 | 32 | 0.012955 | 0.0032468 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5724-18_0_5_load_18 | 34 | 0.012852 | 0.0032209 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5724-18_0_5_load_50 | 36 | 0.0016125 | 0.00040414 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5724-18_0_5_load_65 | 37 | 0.0011568 | 0.00028992 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5724-18_0_5_load_32 | 38 | 0.0012884 | 0.0003229 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5724-18_0_5_load_51 | 39 | 0.0048331 | 0.0012113 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5724-18_0_5_load_20 | 40 | 0.0057618 | 0.001444 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5724-18_0_5_load_36 | 42 | 0.0055963 | 0.0014026 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5724-18_0_5_load_31 | 43 | 0.006004 | 0.0015048 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5724-18_0_5_load_23 | 44 | 0.0065407 | 0.0016392 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5724-18_0_5_load_26 | 45 | 0.0070238 | 0.0017603 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5724-18_0_5_load_28 | 46 | 0.023732 | 0.0059478 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5724-18_0_5_load_30 | 47 | 0.0054043 | 0.0013544 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5724-18_0_5_load_64 | 48 | 0.0034087 | 0.0008543 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5724-18_0_5_load_40 | 49 | 0.011179 | 0.0028017 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5724-18_0_5_load_56 | 50 | 0.0011659 | 0.00029219 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5724-18_0_5_load_57 | 51 | 0.0080382 | 0.0020146 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5724-18_0_5_load_58 | 52 | 0.00295 | 0.00073934 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5724-18_0_5_load_59 | 53 | 0.0012674 | 0.00031764 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5724-18_0_5_load_60 | 54 | 0.0012208 | 0.00030596 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5724-18_0_5_load_61 | 55 | 0.002438 | 0.00061103 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5724-18_0_5_load_62 | 56 | 0.0012191 | 0.00030554 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5724-18_0_5_load_63 | 57 | 0.0029206 | 0.00073198 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5724-18_0_5_line_0 |  | 0 | 1 | 0.028548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5724-18_0_5_line_1 |  | 1 | 2 | 0.046735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5724-18_0_5_line_2 |  | 1 | 3 | 0.058158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5724-18_0_5_line_3 |  | 2 | 4 | 0.058703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5724-18_0_5_line_4 |  | 2 | 5 | 0.017574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5724-18_0_5_line_5 |  | 3 | 8 | 0.021213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5724-18_0_5_line_6 |  | 3 | 9 | 0.017014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5724-18_0_5_line_7 |  | 4 | 6 | 0.047339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5724-18_0_5_line_8 |  | 4 | 7 | 0.085549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5724-18_0_5_line_9 |  | 5 | 18 | 0.019254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5724-18_0_5_line_10 |  | 6 | 10 | 0.015379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5724-18_0_5_line_11 |  | 6 | 11 | 0.022438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5724-18_0_5_line_12 |  | 8 | 25 | 0.0078128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5724-18_0_5_line_13 |  | 8 | 26 | 0.023552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5724-18_0_5_line_14 |  | 9 | 20 | 0.015006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5724-18_0_5_line_15 |  | 10 | 27 | 0.00073316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5724-18_0_5_line_16 |  | 11 | 24 | 0.017087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5724-18_0_5_line_17 |  | 12 | 13 | 0.006069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5724-18_0_5_line_18 |  | 12 | 14 | 0.004974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5724-18_0_5_line_19 |  | 14 | 16 | 0.030445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5724-18_0_5_line_20 |  | 14 | 28 | 0.027414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5724-18_0_5_line_21 |  | 15 | 16 | 0.026574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5724-18_0_5_line_22 |  | 15 | 17 | 0.018633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5724-18_0_5_line_23 |  | 17 | 29 | 0.034422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5724-18_0_5_line_24 |  | 18 | 46 | 0.010122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5724-18_0_5_line_25 |  | 18 | 45 | 0.022295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5724-18_0_5_line_26 |  | 19 | 20 | 0.015818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5724-18_0_5_line_27 |  | 21 | 22 | 0.011288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5724-18_0_5_line_28 |  | 22 | 23 | 0.020447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5724-18_0_5_line_29 |  | 22 | 49 | 0.015633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5724-18_0_5_line_30 |  | 25 | 42 | 0.037885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5724-18_0_5_line_31 |  | 26 | 44 | 0.0034405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5724-18_0_5_line_32 |  | 27 | 49 | 0.01183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5724-18_0_5_line_33 |  | 29 | 41 | 0.042064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5724-18_0_5_line_34 |  | 30 | 31 | 0.018826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5724-18_0_5_line_35 |  | 31 | 32 | 0.01241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5724-18_0_5_line_36 |  | 31 | 33 | 0.011727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5724-18_0_5_line_37 |  | 32 | 34 | 0.039365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5724-18_0_5_line_38 |  | 33 | 35 | 0.017602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5724-18_0_5_line_39 |  | 33 | 36 | 0.045102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5724-18_0_5_line_40 |  | 35 | 37 | 0.016758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5724-18_0_5_line_41 |  | 35 | 38 | 0.0167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5724-18_0_5_line_42 |  | 36 | 39 | 0.019289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5724-18_0_5_line_43 |  | 37 | 48 | 0.00068982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5724-18_0_5_line_44 |  | 38 | 43 | 0.010875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5724-18_0_5_line_45 |  | 40 | 41 | 0.027506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5724-18_0_5_line_46 |  | 41 | 42 | 0.019465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5724-18_0_5_line_47 |  | 41 | 43 | 0.019093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5724-18_0_5_line_48 |  | 46 | 47 | 0.047623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5724-18_0_5_line_49 |  | 48 | 54 | 0.0099231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5724-18_0_5_line_50 |  | 50 | 51 | 0.0076694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5724-18_0_5_line_51 |  | 50 | 52 | 0.0020352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5724-18_0_5_line_52 |  | 51 | 53 | 0.0037801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5724-18_0_5_line_53 |  | 52 | 54 | 0.0091907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5724-18_0_5_line_54 |  | 53 | 55 | 0.0024219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5724-18_0_5_line_55 |  | 55 | 56 | 0.0092789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5724-18_0_5_line_56 |  | 56 | 57 | 0.00086168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5724-18_0_5_trafo_29 | 0.63 MVA 20/0.4 kV | 58 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2507794.4361 | 1137739.2434 | 2507791.887 | 1137734.5573 | 2507785.9738 | 1137734.2698 | 2507779.4813 | 1137723.785 | 2507776.9006 | 1137719.5481
1 | 2507751.0167 | 1137756.1177 | 2507763.9471 | 1137753.4183 | 2507774.476 | 1137749.1435 | 2507794.4361 | 1137739.2434
2 | 2507794.4361 | 1137739.2434 | 2507809.4554 | 1137731.2645 | 2507820.7613 | 1137725.4659 | 2507830.0264 | 1137721.5553 | 2507838.3356 | 1137717.5258 | 2507846.9195 | 1137714.3483
3 | 2507709.4868 | 1137738.6093 | 2507711.8702 | 1137744.532 | 2507713.3168 | 1137756.0946 | 2507714.7725 | 1137758.2069 | 2507715.4662 | 1137760.2975 | 2507724.886 | 1137759.9643 | 2507737.7578 | 1137758.9667 | 2507751.0167 | 1137756.1177
4 | 2507751.0167 | 1137756.1177 | 2507753.7819 | 1137762.8572 | 2507759.5102 | 1137771.404
5 | 2507846.9195 | 1137714.3483 | 2507852.2664 | 1137729.4201 | 2507853.7662 | 1137734.4224
6 | 2507846.9195 | 1137714.3483 | 2507842.8669 | 1137701.9027 | 2507841.3879 | 1137698.2672
7 | 2507693.4587 | 1137739.4886 | 2507697.8789 | 1137746.2805 | 2507702.7936 | 1137754.7104 | 2507705.5238 | 1137753.6346 | 2507707.5834 | 1137753.4808 | 2507709.3802 | 1137753.7534 | 2507711.5098 | 1137754.6547 | 2507713.3168 | 1137756.0946 | 2507711.8702 | 1137744.532 | 2507709.4868 | 1137738.6093
8 | 2507709.4868 | 1137738.6093 | 2507709.9806 | 1137733.6766 | 2507711.8157 | 1137731.4249 | 2507775.3319 | 1137691.4512 | 2507777.2233 | 1137689.6112
9 | 2507770.2298 | 1137787.3982 | 2507759.5102 | 1137771.404
10 | 2507693.4587 | 1137739.4886 | 2507687.3973 | 1137743.5949 | 2507680.7261 | 1137748.1137
11 | 2507693.4587 | 1137739.4886 | 2507681.5939 | 1137720.4442
12 | 2507853.7662 | 1137734.4224 | 2507856.0718 | 1137741.8872
13 | 2507853.7662 | 1137734.4224 | 2507874.0628 | 1137722.4749
14 | 2507835.0989 | 1137684.6624 | 2507838.462 | 1137691.0746 | 2507841.3879 | 1137698.2672
15 | 2507680.7261 | 1137748.1137 | 2507680.1191 | 1137748.5249
16 | 2507681.5939 | 1137720.4442 | 2507672.5586 | 1137705.9415
17 | 2507773.3605 | 1137880.851 | 2507778.4882 | 1137877.5817
18 | 2507780.9166 | 1137881.925 | 2507778.4882 | 1137877.5817
19 | 2507780.9166 | 1137881.925 | 2507786.9887 | 1137878.0186 | 2507793.2867 | 1137872.2855 | 2507797.0833 | 1137865.9903 | 2507798.3573 | 1137858.7443
20 | 2507780.9166 | 1137881.925 | 2507766.5696 | 1137893.5848 | 2507761.9563 | 1137901.2269
21 | 2507784.7484 | 1137836.1944 | 2507790.162 | 1137843.5605 | 2507796.4172 | 1137852.6258 | 2507798.3573 | 1137858.7443
22 | 2507784.7484 | 1137836.1944 | 2507801.7358 | 1137828.5384
23 | 2507833.1176 | 1137814.3951 | 2507801.7358 | 1137828.5384
24 | 2507770.2298 | 1137787.3982 | 2507775.8673 | 1137795.8046
25 | 2507770.2298 | 1137787.3982 | 2507789.0579 | 1137775.4578
26 | 2507826.9726 | 1137671.1083 | 2507832.4865 | 1137679.6813 | 2507835.0989 | 1137684.6624
27 | 2507658.8162 | 1137765.7793 | 2507661.0403 | 1137768.3245 | 2507666.2504 | 1137774.2736
28 | 2507658.8162 | 1137765.7793 | 2507645.7218 | 1137750.0753
29 | 2507658.8162 | 1137765.7793 | 2507670.5407 | 1137755.4388
30 | 2507856.0718 | 1137741.8872 | 2507861.0594 | 1137758.0363 | 2507866.8644 | 1137778.2008
31 | 2507877.0277 | 1137720.7296 | 2507874.0628 | 1137722.4749
32 | 2507670.5407 | 1137755.4388 | 2507672.5943 | 1137753.6276 | 2507673.5765 | 1137752.9566 | 2507680.1191 | 1137748.5249
33 | 2507871.4664 | 1137797.1119 | 2507833.1176 | 1137814.3951
34 | 2507896.9648 | 1137857.1029 | 2507905.788 | 1137873.7334
35 | 2507896.9648 | 1137857.1029 | 2507908.139 | 1137851.7037
36 | 2507885.503 | 1137859.7351 | 2507896.9648 | 1137857.1029
37 | 2507943.5836 | 1137834.5777 | 2507908.139 | 1137851.7037
38 | 2507882.952 | 1137842.3303 | 2507884.666 | 1137852.2879 | 2507885.503 | 1137859.7351
39 | 2507885.503 | 1137859.7351 | 2507885.606 | 1137866.9712 | 2507885.2486 | 1137874.2922 | 2507884.3835 | 1137881.6209 | 2507883.0602 | 1137889.1679 | 2507880.4023 | 1137897.9916 | 2507877.9783 | 1137903.7835
40 | 2507882.952 | 1137842.3303 | 2507867.7349 | 1137849.4448
41 | 2507882.952 | 1137842.3303 | 2507878.4698 | 1137826.2434
42 | 2507877.9783 | 1137903.7835 | 2507875.162 | 1137910.5125 | 2507869.5837 | 1137921.1313
43 | 2507867.109 | 1137849.7347 | 2507867.7349 | 1137849.4448
44 | 2507878.4698 | 1137826.2434 | 2507876.3664 | 1137818.6944 | 2507875.6936 | 1137815.731
45 | 2507871.4664 | 1137797.1119 | 2507880.7188 | 1137793.3794 | 2507894.7214 | 1137782.8339
46 | 2507871.4664 | 1137797.1119 | 2507867.4134 | 1137780.108 | 2507866.8644 | 1137778.2008
47 | 2507871.4664 | 1137797.1119 | 2507875.6936 | 1137815.731
48 | 2507813.4985 | 1137782.8115 | 2507780.9456 | 1137803.3772 | 2507775.8673 | 1137795.8046
49 | 2507858.1048 | 1137853.9051 | 2507867.109 | 1137849.7347
50 | 2507847.9185 | 1137858.623 | 2507840.9593 | 1137861.8462
51 | 2507847.9185 | 1137858.623 | 2507849.7652 | 1137857.7677
52 | 2507840.9593 | 1137861.8462 | 2507837.5292 | 1137863.4349
53 | 2507858.1048 | 1137853.9051 | 2507849.7652 | 1137857.7677
54 | 2507835.3316 | 1137864.4528 | 2507837.5292 | 1137863.4349
55 | 2507835.3316 | 1137864.4528 | 2507826.9119 | 1137868.3524
56 | 2507826.13 | 1137868.7145 | 2507826.9119 | 1137868.3524

## bus_geodata
| x | y | coords
0 | 2507776.9006 | 1137719.5481
1 | 2507794.4361 | 1137739.2434
2 | 2507751.0167 | 1137756.1177
3 | 2507846.9195 | 1137714.3483
4 | 2507709.4868 | 1137738.6093
5 | 2507759.5102 | 1137771.404
6 | 2507693.4587 | 1137739.4886
7 | 2507777.2233 | 1137689.6112
8 | 2507853.7662 | 1137734.4224
9 | 2507841.3879 | 1137698.2672
10 | 2507680.7261 | 1137748.1137
11 | 2507681.5939 | 1137720.4442
12 | 2507778.4882 | 1137877.5817
13 | 2507773.3605 | 1137880.851
14 | 2507780.9166 | 1137881.925
15 | 2507784.7484 | 1137836.1944
16 | 2507798.3573 | 1137858.7443
17 | 2507801.7358 | 1137828.5384
18 | 2507770.2298 | 1137787.3982
19 | 2507826.9726 | 1137671.1083
20 | 2507835.0989 | 1137684.6624
21 | 2507666.2504 | 1137774.2736
22 | 2507658.8162 | 1137765.7793
23 | 2507645.7218 | 1137750.0753
24 | 2507672.5586 | 1137705.9415
25 | 2507856.0718 | 1137741.8872
26 | 2507874.0628 | 1137722.4749
27 | 2507680.1191 | 1137748.5249
28 | 2507761.9563 | 1137901.2269
29 | 2507833.1176 | 1137814.3951
30 | 2507905.788 | 1137873.7334
31 | 2507896.9648 | 1137857.1029
32 | 2507908.139 | 1137851.7037
33 | 2507885.503 | 1137859.7351
34 | 2507943.5836 | 1137834.5777
35 | 2507882.952 | 1137842.3303
36 | 2507877.9783 | 1137903.7835
37 | 2507867.7349 | 1137849.4448
38 | 2507878.4698 | 1137826.2434
39 | 2507869.5837 | 1137921.1313
40 | 2507894.7214 | 1137782.8339
41 | 2507871.4664 | 1137797.1119
42 | 2507866.8644 | 1137778.2008
43 | 2507875.6936 | 1137815.731
44 | 2507877.0277 | 1137720.7296
45 | 2507789.0579 | 1137775.4578
46 | 2507775.8673 | 1137795.8046
47 | 2507813.4985 | 1137782.8115
48 | 2507867.109 | 1137849.7347
49 | 2507670.5407 | 1137755.4388
50 | 2507847.9185 | 1137858.623
51 | 2507840.9593 | 1137861.8462
52 | 2507849.7652 | 1137857.7677
53 | 2507837.5292 | 1137863.4349
54 | 2507858.1048 | 1137853.9051
55 | 2507835.3316 | 1137864.4528
56 | 2507826.9119 | 1137868.3524
57 | 2507826.13 | 1137868.7145
58 | 2507751.0167 | 1137756.1177

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1