## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5725-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5725-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5725-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5725-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5725-1_0_4_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_5725-1_0_4_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_5725-1_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5725-1_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5725-1_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5725-1_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5725-1_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_5725-1_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5725-1_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5725-1_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5725-1_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5725-1_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_5725-1_0_4_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_5725-1_0_4_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_5725-1_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_5725-1_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5725-1_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5725-1_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5725-1_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5725-1_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5725-1_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5725-1_0_4_node_91 | 0.4 | n |  | TRUE
26 | bus_LV_5725-1_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_5725-1_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5725-1_0_4_node_88 | 0.4 | n |  | TRUE
29 | bus_LV_5725-1_0_4_node_87 | 0.4 | n |  | TRUE
30 | bus_LV_5725-1_0_4_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_5725-1_0_4_node_92 | 0.4 | n |  | TRUE
32 | bus_LV_5725-1_0_4_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_5725-1_0_4_node_104 | 0.4 | n |  | TRUE
34 | bus_LV_5725-1_0_4_node_102 | 0.4 | n |  | TRUE
35 | bus_LV_5725-1_0_4_node_86 | 0.4 | n |  | TRUE
36 | bus_LV_5725-1_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_5725-1_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5725-1_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_5725-1_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_5725-1_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5725-1_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5725-1_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_5725-1_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_5725-1_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5725-1_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5725-1_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_5725-1_0_4_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_5725-1_0_4_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_5725-1_0_4_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_5725-1_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_5725-1_0_4_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_5725-1_0_4_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_5725-1_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_5725-1_0_4_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_5725-1_0_4_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_5725-1_0_4_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_5725-1_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_5725-1_0_4_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_5725-1_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_5725-1_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_5725-1_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_5725-1_0_4_node_94 | 0.4 | n |  | TRUE
63 | bus_LV_5725-1_0_4_node_95 | 0.4 | n |  | TRUE
64 | bus_LV_5725-1_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_5725-1_0_4_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_5725-1_0_4_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_5725-1_0_4_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_5725-1_0_4_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_5725-1_0_4_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_5725-1_0_4_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_5725-1_0_4_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_5725-1_0_4_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_5725-1_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_5725-1_0_4_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_5725-1_0_4_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_5725-1_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_5725-1_0_4_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_5725-1_0_4_node_52 | 0.4 | n |  | TRUE
79 | bus_LV_5725-1_0_4_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_5725-1_0_4_node_55 | 0.4 | n |  | TRUE
81 | bus_LV_5725-1_0_4_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_5725-1_0_4_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_5725-1_0_4_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_5725-1_0_4_node_100 | 0.4 | n |  | TRUE
85 | bus_LV_5725-1_0_4_node_96 | 0.4 | n |  | TRUE
86 | bus_LV_5725-1_0_4_node_62 | 0.4 | n |  | TRUE
87 | bus_LV_5725-1_0_4_node_63 | 0.4 | n |  | TRUE
88 | bus_LV_5725-1_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_5725-1_0_4_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_5725-1_0_4_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_5725-1_0_4_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_5725-1_0_4_node_66 | 0.4 | n |  | TRUE
93 | bus_LV_5725-1_0_4_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_5725-1_0_4_node_72 | 0.4 | n |  | TRUE
95 | bus_LV_5725-1_0_4_node_78 | 0.4 | n |  | TRUE
96 | bus_LV_5725-1_0_4_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_5725-1_0_4_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_5725-1_0_4_node_119 | 0.4 | n |  | TRUE
99 | bus_LV_5725-1_0_4_node_110 | 0.4 | n |  | TRUE
100 | bus_LV_5725-1_0_4_node_103 | 0.4 | n |  | TRUE
101 | bus_LV_5725-1_0_4_node_97 | 0.4 | n |  | TRUE
102 | bus_LV_5725-1_0_4_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_5725-1_0_4_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_5725-1_0_4_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_5725-1_0_4_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_5725-1_0_4_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_5725-1_0_4_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_5725-1_0_4_node_108 | 0.4 | n |  | TRUE
109 | bus_LV_5725-1_0_4_node_109 | 0.4 | n |  | TRUE
110 | bus_LV_5725-1_0_4_node_111 | 0.4 | n |  | TRUE
111 | bus_LV_5725-1_0_4_node_112 | 0.4 | n |  | TRUE
112 | bus_LV_5725-1_0_4_node_113 | 0.4 | n |  | TRUE
113 | bus_LV_5725-1_0_4_node_114 | 0.4 | n |  | TRUE
114 | bus_LV_5725-1_0_4_node_115 | 0.4 | n |  | TRUE
115 | bus_LV_5725-1_0_4_node_116 | 0.4 | n |  | TRUE
116 | bus_LV_5725-1_0_4_node_117 | 0.4 | n |  | TRUE
117 | bus_LV_5725-1_0_4_node_118 | 0.4 | n |  | TRUE
118 | bus_MV_314_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5725-1_0_4_load_0 | 0 | 0.014815 | 0.0037129 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5725-1_0_4_load_2 | 2 | 0.0074961 | 0.0018787 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5725-1_0_4_load_3 | 3 | 0.0053954 | 0.0013522 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5725-1_0_4_load_28 | 4 | 0.0063092 | 0.0015812 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5725-1_0_4_load_4 | 6 | 0.0051149 | 0.0012819 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5725-1_0_4_load_5 | 7 | 0.003187 | 0.00079873 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5725-1_0_4_load_6 | 8 | 0.002867 | 0.00071853 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5725-1_0_4_load_7 | 9 | 0.0034137 | 0.00085556 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5725-1_0_4_load_12 | 10 | 0.0007847 | 0.00019666 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5725-1_0_4_load_8 | 12 | 0.029064 | 0.0072842 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5725-1_0_4_load_10 | 13 | 0.00050855 | 0.00012745 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5725-1_0_4_load_11 | 14 | 0.0037742 | 0.00094591 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5725-1_0_4_load_13 | 15 | 0.0022189 | 0.00055612 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5725-1_0_4_load_39 | 18 | 0.0055415 | 0.0013888 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5725-1_0_4_load_14 | 19 | 0.0057054 | 0.0014299 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5725-1_0_4_load_15 | 20 | 0.0024435 | 0.00061239 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5725-1_0_4_load_18 | 23 | 0.0038614 | 0.00096775 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5725-1_0_4_load_91 | 25 | 0.005009 | 0.0012554 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5725-1_0_4_load_21 | 26 | 0.0022726 | 0.00056957 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5725-1_0_4_load_20 | 27 | 0.0023347 | 0.00058513 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5725-1_0_4_load_88 | 28 | 0.0035125 | 0.00088031 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5725-1_0_4_load_87 | 29 | 0.0070304 | 0.001762 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5725-1_0_4_load_93 | 30 | 0.0040309 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5725-1_0_4_load_92 | 31 | 0.0038523 | 0.00096548 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5725-1_0_4_load_85 | 32 | 0.0049937 | 0.0012515 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5725-1_0_4_load_104 | 33 | 0.0087202 | 0.0021855 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5725-1_0_4_load_102 | 34 | 0.0059474 | 0.0014906 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5725-1_0_4_load_86 | 35 | 0.0033191 | 0.00083185 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5725-1_0_4_load_22 | 36 | 0.0028408 | 0.00071197 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5725-1_0_4_load_23 | 37 | 0.00048884 | 0.00012252 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5725-1_0_4_load_25 | 39 | 0.0012754 | 0.00031965 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5725-1_0_4_load_27 | 40 | 0.0010991 | 0.00027545 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5725-1_0_4_load_29 | 41 | 0.0027162 | 0.00068075 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5725-1_0_4_load_31 | 43 | 0.0059051 | 0.0014799 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5725-1_0_4_load_35 | 46 | 0.0054764 | 0.0013725 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5725-1_0_4_load_67 | 47 | 0.0041319 | 0.0010355 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5725-1_0_4_load_73 | 49 | 0.007721 | 0.0019351 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5725-1_0_4_load_68 | 52 | 0.0023209 | 0.00058167 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5725-1_0_4_load_36 | 53 | 0.0066481 | 0.0016662 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5725-1_0_4_load_64 | 54 | 0.0019064 | 0.00047779 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5725-1_0_4_load_77 | 55 | 0.010524 | 0.0026374 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5725-1_0_4_load_74 | 56 | 0.0040948 | 0.0010263 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5725-1_0_4_load_69 | 58 | 0.0021169 | 0.00053054 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5725-1_0_4_load_59 | 60 | 0.0043245 | 0.0010838 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5725-1_0_4_load_50 | 61 | 0.001871 | 0.00046891 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5725-1_0_4_load_94 | 62 | 0.0026062 | 0.00065317 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5725-1_0_4_load_95 | 63 | 0.015691 | 0.0039325 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5725-1_0_4_load_49 | 64 | 0.003826 | 0.00095888 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5725-1_0_4_load_40 | 65 | 0.0070491 | 0.0017667 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5725-1_0_4_load_41 | 66 | 0.0037124 | 0.00093042 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5725-1_0_4_load_43 | 68 | 0.0015339 | 0.00038444 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5725-1_0_4_load_45 | 70 | 0.0030396 | 0.0007618 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5725-1_0_4_load_48 | 72 | 0.0026012 | 0.00065192 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5725-1_0_4_load_51 | 73 | 0.0036813 | 0.00092263 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5725-1_0_4_load_75 | 74 | 0.0020836 | 0.00052219 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5725-1_0_4_load_80 | 75 | 0.0016684 | 0.00041815 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5725-1_0_4_load_76 | 76 | 0.013181 | 0.0033035 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5725-1_0_4_load_79 | 77 | 0.0049964 | 0.0012522 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5725-1_0_4_load_52 | 78 | 0.0019985 | 0.00050088 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5725-1_0_4_load_53 | 79 | 0.0023342 | 0.00058501 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5725-1_0_4_load_57 | 81 | 0.0012581 | 0.0003153 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5725-1_0_4_load_60 | 82 | 0.0021871 | 0.00054814 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5725-1_0_4_load_61 | 83 | 0.0040947 | 0.0010262 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5725-1_0_4_load_100 | 84 | 0.0093646 | 0.002347 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5725-1_0_4_load_96 | 85 | 0.0027861 | 0.00069826 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5725-1_0_4_load_81 | 89 | 0.0013655 | 0.00034224 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5725-1_0_4_load_89 | 90 | 0.0035112 | 0.00088 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5725-1_0_4_load_82 | 91 | 0.0037425 | 0.00093795 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5725-1_0_4_load_66 | 92 | 0.018349 | 0.0045987 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5725-1_0_4_load_70 | 93 | 0.0025397 | 0.00063651 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5725-1_0_4_load_72 | 94 | 0.002249 | 0.00056365 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5725-1_0_4_load_78 | 95 | 0.002005 | 0.0005025 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5725-1_0_4_load_83 | 96 | 0.006488 | 0.001626 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5725-1_0_4_load_90 | 97 | 0.0029719 | 0.00074484 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5725-1_0_4_load_119 | 98 | 0.0035967 | 0.00090141 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5725-1_0_4_load_110 | 99 | 0.0065496 | 0.0016415 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5725-1_0_4_load_103 | 100 | 0.0075905 | 0.0019023 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5725-1_0_4_load_99 | 103 | 0.0087766 | 0.0021996 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5725-1_0_4_load_101 | 104 | 0.0034226 | 0.00085779 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5725-1_0_4_load_105 | 105 | 0.003118 | 0.00078145 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5725-1_0_4_load_107 | 107 | 0.0031159 | 0.00078091 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5725-1_0_4_load_108 | 108 | 0.0022112 | 0.00055418 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5725-1_0_4_load_111 | 110 | 0.0030316 | 0.00075979 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5725-1_0_4_load_113 | 112 | 0.0044797 | 0.0011227 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5725-1_0_4_load_114 | 113 | 0.0052869 | 0.001325 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5725-1_0_4_load_115 | 114 | 0.0031171 | 0.00078121 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5725-1_0_4_load_117 | 116 | 0.0024794 | 0.0006214 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5725-1_0_4_load_118 | 117 | 0.0021383 | 0.00053591 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5725-1_0_4_line_0 |  | 0 | 1 | 0.074148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5725-1_0_4_line_1 |  | 1 | 2 | 0.014045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5725-1_0_4_line_2 |  | 2 | 3 | 0.015254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5725-1_0_4_line_3 |  | 3 | 4 | 0.012117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5725-1_0_4_line_4 |  | 4 | 5 | 0.071807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5725-1_0_4_line_5 |  | 5 | 38 | 0.10105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5725-1_0_4_line_6 |  | 6 | 7 | 0.0045418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5725-1_0_4_line_7 |  | 7 | 8 | 0.035642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5725-1_0_4_line_8 |  | 8 | 9 | 0.0066376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5725-1_0_4_line_9 |  | 9 | 10 | 0.0075463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5725-1_0_4_line_10 |  | 10 | 11 | 0.015908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5725-1_0_4_line_11 |  | 11 | 14 | 0.024935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5725-1_0_4_line_12 |  | 11 | 12 | 0.035788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5725-1_0_4_line_13 |  | 12 | 13 | 0.011153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5725-1_0_4_line_14 |  | 14 | 15 | 0.026948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5725-1_0_4_line_15 |  | 15 | 16 | 0.0076213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5725-1_0_4_line_16 |  | 16 | 17 | 0.03093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5725-1_0_4_line_17 |  | 16 | 18 | 0.032442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5725-1_0_4_line_18 |  | 17 | 59 | 0.017753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5725-1_0_4_line_19 |  | 17 | 60 | 0.021093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5725-1_0_4_line_20 |  | 18 | 61 | 0.038837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5725-1_0_4_line_21 |  | 19 | 20 | 0.048174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5725-1_0_4_line_22 |  | 19 | 21 | 0.051765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5725-1_0_4_line_23 |  | 20 | 22 | 0.038441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5725-1_0_4_line_24 |  | 21 | 23 | 0.020428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5725-1_0_4_line_25 |  | 21 | 24 | 0.065598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5725-1_0_4_line_26 |  | 22 | 27 | 0.053396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5725-1_0_4_line_27 |  | 24 | 30 | 0.031941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5725-1_0_4_line_28 |  | 24 | 31 | 0.042975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5725-1_0_4_line_29 |  | 25 | 26 | 0.066299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5725-1_0_4_line_30 |  | 26 | 32 | 0.01899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5725-1_0_4_line_31 |  | 28 | 29 | 0.0026378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5725-1_0_4_line_32 |  | 29 | 88 | 0.037499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5725-1_0_4_line_33 |  | 30 | 33 | 0.078685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5725-1_0_4_line_34 |  | 32 | 35 | 0.028981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5725-1_0_4_line_35 |  | 32 | 33 | 0.048761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5725-1_0_4_line_36 |  | 33 | 34 | 0.075684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5725-1_0_4_line_37 |  | 35 | 98 | 0.0076916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5725-1_0_4_line_38 |  | 36 | 37 | 0.029132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5725-1_0_4_line_39 |  | 36 | 38 | 0.05679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5725-1_0_4_line_40 |  | 37 | 39 | 0.0083384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5725-1_0_4_line_41 |  | 39 | 40 | 0.0078541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5725-1_0_4_line_42 |  | 40 | 41 | 0.02284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5725-1_0_4_line_43 |  | 41 | 42 | 0.0508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5725-1_0_4_line_44 |  | 42 | 43 | 0.055286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5725-1_0_4_line_45 |  | 42 | 44 | 0.059567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5725-1_0_4_line_46 |  | 42 | 45 | 0.052595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5725-1_0_4_line_47 |  | 43 | 46 | 0.0021072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5725-1_0_4_line_48 |  | 44 | 47 | 0.10047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5725-1_0_4_line_49 |  | 44 | 48 | 0.016187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5725-1_0_4_line_50 |  | 45 | 49 | 0.030062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5725-1_0_4_line_51 |  | 45 | 50 | 0.007463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5725-1_0_4_line_52 |  | 46 | 53 | 0.0064619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5725-1_0_4_line_53 |  | 48 | 54 | 0.0095173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5725-1_0_4_line_54 |  | 49 | 55 | 0.032174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5725-1_0_4_line_55 |  | 50 | 51 | 0.033806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5725-1_0_4_line_56 |  | 50 | 52 | 0.022384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5725-1_0_4_line_57 |  | 51 | 56 | 0.05471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5725-1_0_4_line_58 |  | 51 | 57 | 0.074292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5725-1_0_4_line_59 |  | 52 | 58 | 0.022162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5725-1_0_4_line_60 |  | 54 | 92 | 0.044285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5725-1_0_4_line_61 |  | 57 | 74 | 0.02212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5725-1_0_4_line_62 |  | 57 | 69 | 0.007823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5725-1_0_4_line_63 |  | 58 | 93 | 0.011517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5725-1_0_4_line_64 |  | 59 | 62 | 0.020744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5725-1_0_4_line_65 |  | 59 | 63 | 0.014761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5725-1_0_4_line_66 |  | 61 | 64 | 0.022764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5725-1_0_4_line_67 |  | 62 | 84 | 0.0010739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5725-1_0_4_line_68 |  | 63 | 85 | 0.034623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5725-1_0_4_line_69 |  | 64 | 71 | 0.01184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5725-1_0_4_line_70 |  | 65 | 66 | 0.048037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5725-1_0_4_line_71 |  | 65 | 67 | 0.0073788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5725-1_0_4_line_72 |  | 66 | 68 | 0.036499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5725-1_0_4_line_73 |  | 67 | 69 | 0.026414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5725-1_0_4_line_74 |  | 67 | 70 | 0.090198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5725-1_0_4_line_75 |  | 68 | 71 | 0.008124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5725-1_0_4_line_76 |  | 69 | 72 | 0.041504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5725-1_0_4_line_77 |  | 71 | 73 | 0.049473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5725-1_0_4_line_78 |  | 72 | 75 | 0.045128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5725-1_0_4_line_79 |  | 74 | 76 | 0.02523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5725-1_0_4_line_80 |  | 75 | 77 | 0.011635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5725-1_0_4_line_81 |  | 77 | 89 | 0.035087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5725-1_0_4_line_82 |  | 78 | 79 | 0.048577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5725-1_0_4_line_83 |  | 79 | 80 | 0.0088526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5725-1_0_4_line_84 |  | 80 | 81 | 0.011265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5725-1_0_4_line_85 |  | 81 | 82 | 0.012047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5725-1_0_4_line_86 |  | 82 | 83 | 0.024292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5725-1_0_4_line_87 |  | 83 | 86 | 0.011738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5725-1_0_4_line_88 |  | 84 | 100 | 0.011194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5725-1_0_4_line_89 |  | 85 | 101 | 0.012008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_5725-1_0_4_line_90 |  | 86 | 87 | 0.007768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5725-1_0_4_line_91 |  | 87 | 88 | 0.028634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5725-1_0_4_line_92 |  | 87 | 89 | 0.051639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5725-1_0_4_line_93 |  | 88 | 90 | 0.012994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5725-1_0_4_line_94 |  | 89 | 91 | 0.062819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5725-1_0_4_line_95 |  | 90 | 97 | 0.024885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5725-1_0_4_line_96 |  | 91 | 96 | 0.0179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5725-1_0_4_line_97 |  | 93 | 94 | 0.015202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5725-1_0_4_line_98 |  | 94 | 95 | 0.0099402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5725-1_0_4_line_99 |  | 98 | 99 | 0.052105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_5725-1_0_4_line_100 |  | 99 | 108 | 0.045579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_5725-1_0_4_line_101 |  | 101 | 102 | 0.009398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_5725-1_0_4_line_102 |  | 101 | 103 | 0.033011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5725-1_0_4_line_103 |  | 102 | 104 | 0.021578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_5725-1_0_4_line_104 |  | 104 | 105 | 0.023712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_5725-1_0_4_line_105 |  | 105 | 106 | 0.023045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_5725-1_0_4_line_106 |  | 106 | 107 | 0.0045272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5725-1_0_4_line_107 |  | 106 | 108 | 0.019039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_5725-1_0_4_line_108 |  | 107 | 109 | 0.014889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5725-1_0_4_line_109 |  | 109 | 110 | 0.046056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5725-1_0_4_line_110 |  | 109 | 111 | 0.026895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5725-1_0_4_line_111 |  | 111 | 112 | 0.056531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5725-1_0_4_line_112 |  | 111 | 113 | 0.014987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5725-1_0_4_line_113 |  | 113 | 114 | 0.0074053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5725-1_0_4_line_114 |  | 114 | 115 | 0.02698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5725-1_0_4_line_115 |  | 115 | 116 | 0.01632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5725-1_0_4_line_116 |  | 115 | 117 | 0.007043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5725-1_0_4_trafo_45 | 0.63 MVA 20/0.4 kV | 118 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2508970.8234 | 1138540.8155 | 2508972.4976 | 1138532.4852 | 2508991.127 | 1138502.2748 | 2509002.024 | 1138509.1588 | 2509011.1838 | 1138494.519
1 | 2508970.8234 | 1138540.8155 | 2508958.8803 | 1138533.4247
2 | 2508958.8803 | 1138533.4247 | 2508948.5215 | 1138544.6227
3 | 2508948.5215 | 1138544.6227 | 2508940.293 | 1138553.5179
4 | 2508891.5311 | 1138606.2303 | 2508940.293 | 1138553.5179
5 | 2508823.4846 | 1138563.1999 | 2508827.4221 | 1138567.6986 | 2508838.6194 | 1138580.1923 | 2508850.6537 | 1138593.6073 | 2508864.8797 | 1138609.0125 | 2508876.8545 | 1138622.0616 | 2508891.5311 | 1138606.2303
6 | 2508347.3741 | 1138031.1329 | 2508350.3513 | 1138034.5628
7 | 2508373.9651 | 1138061.2587 | 2508364.7712 | 1138051.0137 | 2508360.5373 | 1138046.2975 | 2508350.3513 | 1138034.5628
8 | 2508373.9651 | 1138061.2587 | 2508378.3984 | 1138066.1987
9 | 2508383.4386 | 1138071.8151 | 2508378.3984 | 1138066.1987
10 | 2508394.0638 | 1138083.6549 | 2508383.4386 | 1138071.8151
11 | 2508394.0638 | 1138083.6549 | 2508410.7896 | 1138102.1478
12 | 2508394.0638 | 1138083.6549 | 2508385.7295 | 1138088.0508 | 2508367.6574 | 1138107.2481
13 | 2508375.3125 | 1138115.3589 | 2508367.6574 | 1138107.2481
14 | 2508410.7896 | 1138102.1478 | 2508428.8659 | 1138122.1338
15 | 2508433.9781 | 1138127.7862 | 2508428.8659 | 1138122.1338
16 | 2508433.9781 | 1138127.7862 | 2508412.585 | 1138150.1801
17 | 2508433.9781 | 1138127.7862 | 2508455.47 | 1138152.0884
18 | 2508412.585 | 1138150.1801 | 2508400.3019 | 1138163.03
19 | 2508412.585 | 1138150.1801 | 2508397.5649 | 1138135.371
20 | 2508481.1983 | 1138181.1809 | 2508455.47 | 1138152.0884
21 | 2508342.6587 | 1138519.1456 | 2508351.2471 | 1138526.5049 | 2508371.3054 | 1138544.9222 | 2508376.6841 | 1138552.9128
22 | 2508302.6102 | 1138486.3648 | 2508325.0112 | 1138504.0237 | 2508342.6587 | 1138519.1456
23 | 2508384.2734 | 1138589.8188 | 2508383.7429 | 1138573.6505 | 2508380.632 | 1138558.7777 | 2508376.6841 | 1138552.9128
24 | 2508302.6102 | 1138486.3648 | 2508316.8098 | 1138471.6793
25 | 2508255.2936 | 1138447.5947 | 2508264.6879 | 1138457.2798 | 2508266.1342 | 1138468.3978 | 2508285.4356 | 1138475.4751 | 2508302.6102 | 1138486.3648
26 | 2508384.2734 | 1138589.8188 | 2508421.7878 | 1138564.8338 | 2508428.7135 | 1138560.2182
27 | 2508277.6926 | 1138425.6852 | 2508265.0197 | 1138433.5939 | 2508255.2936 | 1138447.5947
28 | 2508255.2936 | 1138447.5947 | 2508221.6641 | 1138420.8379
29 | 2508416.9705 | 1138429.5924 | 2508354.5075 | 1138407.3669
30 | 2508340.5841 | 1138394.4655 | 2508354.1983 | 1138406.9549 | 2508354.5075 | 1138407.3669
31 | 2508476.3247 | 1138486.015 | 2508474.4761 | 1138487.8967
32 | 2508502.6046 | 1138459.2656 | 2508476.3247 | 1138486.015
33 | 2508312.0722 | 1138354.9086 | 2508277.6926 | 1138425.6852
34 | 2508360.3422 | 1138373.263 | 2508340.5841 | 1138394.4655 | 2508340.5841 | 1138394.4655
35 | 2508312.0722 | 1138354.9086 | 2508340.5841 | 1138394.4655
36 | 2508312.0722 | 1138354.9086 | 2508320.4001 | 1138342.5412 | 2508318.0167 | 1138317.3512 | 2508307.8239 | 1138306.2662 | 2508304.9908 | 1138301.0728 | 2508305.4337 | 1138297.3194 | 2508312.955 | 1138289.6845
37 | 2508365.5859 | 1138367.636 | 2508360.3422 | 1138373.263
38 | 2508765.963 | 1138499.373 | 2508785.4657 | 1138521.0134
39 | 2508823.4846 | 1138563.1999 | 2508785.4657 | 1138521.0134
40 | 2508765.963 | 1138499.373 | 2508760.3808 | 1138493.1788
41 | 2508760.3808 | 1138493.1788 | 2508755.3202 | 1138487.5636 | 2508755.1228 | 1138487.3442
42 | 2508739.8425 | 1138470.3684 | 2508755.1228 | 1138487.3442
43 | 2508705.9068 | 1138432.5675 | 2508716.7637 | 1138444.8994 | 2508729.7498 | 1138459.1558 | 2508739.8425 | 1138470.3684
44 | 2508705.9068 | 1138432.5675 | 2508718.031 | 1138410.2372 | 2508725.1478 | 1138400.6459 | 2508738.0617 | 1138388.2029
45 | 2508705.9068 | 1138432.5675 | 2508696.5561 | 1138422.1584 | 2508686.7369 | 1138431.0903 | 2508707.3764 | 1138455.9371
46 | 2508670.9851 | 1138393.2395 | 2508691.5716 | 1138416.6084 | 2508696.5561 | 1138422.1584 | 2508705.9068 | 1138432.5675
47 | 2508739.5791 | 1138386.7407 | 2508738.0617 | 1138388.2029
48 | 2508707.3764 | 1138455.9371 | 2508712.7988 | 1138462.47 | 2508711.6697 | 1138469.6914 | 2508705.0783 | 1138477.3959 | 2508657.7463 | 1138526.2421 | 2508652.1157 | 1138522.7253
49 | 2508695.3949 | 1138466.8584 | 2508707.3764 | 1138455.9371
50 | 2508670.9851 | 1138393.2395 | 2508690.4938 | 1138370.3679
51 | 2508665.7651 | 1138387.8932 | 2508670.9851 | 1138393.2395
52 | 2508744.2324 | 1138382.2571 | 2508739.5791 | 1138386.7407
53 | 2508695.3949 | 1138466.8584 | 2508688.3597 | 1138473.2683
54 | 2508706.5789 | 1138344.9159 | 2508708.0981 | 1138349.7291 | 2508690.4938 | 1138370.3679
55 | 2508665.7651 | 1138387.8932 | 2508643.1052 | 1138362.7547
56 | 2508665.7651 | 1138387.8932 | 2508650.0123 | 1138403.7962
57 | 2508643.1052 | 1138362.7547 | 2508637.9069 | 1138367.97 | 2508617.6284 | 1138391.3135 | 2508602.4247 | 1138385.0991
58 | 2508593.7037 | 1138307.1591 | 2508643.1052 | 1138362.7547
59 | 2508650.0123 | 1138403.7962 | 2508642.8448 | 1138411.0321 | 2508635.813 | 1138420.7281
60 | 2508658.0156 | 1138449.114 | 2508683.9293 | 1138477.305 | 2508688.3597 | 1138473.2683
61 | 2508593.7037 | 1138307.1591 | 2508606.323 | 1138288.992
62 | 2508588.5446 | 1138301.2671 | 2508593.7037 | 1138307.1591
63 | 2508635.813 | 1138420.7281 | 2508629.0513 | 1138430.0518
64 | 2508400.3019 | 1138163.03 | 2508414.3979 | 1138178.2483
65 | 2508400.3019 | 1138163.03 | 2508390.1014 | 1138173.6988
66 | 2508496.2788 | 1138198.2334 | 2508481.1983 | 1138181.1809
67 | 2508414.3979 | 1138178.2483 | 2508415.1276 | 1138179.0361
68 | 2508390.1014 | 1138173.6988 | 2508371.2753 | 1138193.3893 | 2508371.1735 | 1138199.3389 | 2508371.798 | 1138200.6255
69 | 2508504.122 | 1138207.1023 | 2508496.2788 | 1138198.2334
70 | 2508565.9855 | 1138276.0861 | 2508557.125 | 1138266.2114 | 2508533.9126 | 1138240.3248
71 | 2508570.9134 | 1138281.5782 | 2508565.9855 | 1138276.0861
72 | 2508533.9126 | 1138240.3248 | 2508509.5457 | 1138213.1507
73 | 2508588.5446 | 1138301.2671 | 2508573.9035 | 1138284.4568 | 2508570.9134 | 1138281.5782
74 | 2508570.9134 | 1138281.5782 | 2508565.2017 | 1138288.4467 | 2508524.8025 | 1138338.9342 | 2508527.0511 | 1138344.1477 | 2508528.0675 | 1138349.7801 | 2508525.1224 | 1138354.0685
75 | 2508504.122 | 1138207.1023 | 2508509.5457 | 1138213.1507
76 | 2508588.5446 | 1138301.2671 | 2508576.8393 | 1138327.8605 | 2508570.8089 | 1138338.7504
77 | 2508467.0732 | 1138237.0826 | 2508470.0747 | 1138238.171 | 2508473.9046 | 1138236.5675 | 2508504.122 | 1138207.1023
78 | 2508570.8089 | 1138338.7504 | 2508549.4339 | 1138377.3503 | 2508549.0559 | 1138378.2815
79 | 2508620.7166 | 1138268.2707 | 2508606.323 | 1138288.992
80 | 2508544.6793 | 1138389.0616 | 2508549.0559 | 1138378.2815
81 | 2508531.4806 | 1138421.5714 | 2508544.6793 | 1138389.0616
82 | 2508583.6257 | 1138583.1391 | 2508576.8719 | 1138570.3278 | 2508561.2785 | 1138540.0085
83 | 2508557.2297 | 1138532.1361 | 2508561.2785 | 1138540.0085
84 | 2508557.2297 | 1138532.1361 | 2508551.95 | 1138522.185
85 | 2508546.3036 | 1138511.5428 | 2508551.95 | 1138522.185
86 | 2508546.3036 | 1138511.5428 | 2508534.9184 | 1138490.0845
87 | 2508529.4169 | 1138479.7154 | 2508534.9184 | 1138490.0845
88 | 2508422.7342 | 1138187.2482 | 2508415.1276 | 1138179.0361
89 | 2508377.5386 | 1138211.1603 | 2508374.1518 | 1138205.4751 | 2508371.798 | 1138200.6255
90 | 2508529.4169 | 1138479.7154 | 2508527.1731 | 1138472.2783
91 | 2508502.6046 | 1138459.2656 | 2508516.492 | 1138470.0279 | 2508522.9138 | 1138472.4431 | 2508527.1731 | 1138472.2783
92 | 2508531.4806 | 1138421.5714 | 2508527.4586 | 1138434.329 | 2508525.9031 | 1138448.928 | 2508525.1317 | 1138461.9587 | 2508527.1731 | 1138472.2783
93 | 2508502.6046 | 1138459.2656 | 2508492.9051 | 1138450.6188
94 | 2508531.4806 | 1138421.5714 | 2508484.3392 | 1138380.0518
95 | 2508492.9051 | 1138450.6188 | 2508474.3299 | 1138434.0597
96 | 2508484.3392 | 1138380.0518 | 2508481.0248 | 1138377.1327 | 2508474.8022 | 1138375.1704 | 2508468.6669 | 1138378.4544
97 | 2508620.1263 | 1138442.3582 | 2508629.0513 | 1138430.0518
98 | 2508614.3936 | 1138450.4783 | 2508618.4605 | 1138444.6552 | 2508620.1263 | 1138442.3582
99 | 2508380.992 | 1138317.8608 | 2508365.5859 | 1138367.636
100 | 2508380.992 | 1138317.8608 | 2508412.8651 | 1138285.2788
101 | 2508382.3542 | 1138219.2365 | 2508377.5386 | 1138211.1603
102 | 2508353.8012 | 1138234.1683 | 2508377.5386 | 1138211.1603
103 | 2508382.3542 | 1138219.2365 | 2508396.1924 | 1138235.7927
104 | 2508396.1924 | 1138235.7927 | 2508411.3996 | 1138253.9866
105 | 2508426.179 | 1138271.6688 | 2508411.3996 | 1138253.9866
106 | 2508426.179 | 1138271.6688 | 2508429.3121 | 1138274.9367
107 | 2508426.179 | 1138271.6688 | 2508412.8651 | 1138285.2788
108 | 2508439.6164 | 1138285.6843 | 2508429.3121 | 1138274.9367
109 | 2508439.6164 | 1138285.6843 | 2508442.3252 | 1138294.3483 | 2508442.6944 | 1138300.9244 | 2508441.1859 | 1138309.4858 | 2508436.4328 | 1138316.6512 | 2508427.0501 | 1138325.7926
110 | 2508458.1307 | 1138305.2371 | 2508439.6164 | 1138285.6843
111 | 2508458.1307 | 1138305.2371 | 2508457.4062 | 1138314.2646 | 2508425.9913 | 1138349.9298
112 | 2508458.1307 | 1138305.2371 | 2508468.6284 | 1138294.5416
113 | 2508473.8157 | 1138289.2566 | 2508468.6284 | 1138294.5416
114 | 2508492.7144 | 1138270.002 | 2508473.8157 | 1138289.2566
115 | 2508492.7144 | 1138270.002 | 2508482.1562 | 1138257.5579
116 | 2508497.6538 | 1138264.9685 | 2508492.7144 | 1138270.002

## bus_geodata
| x | y | coords
0 | 2509011.1838 | 1138494.519
1 | 2508970.8234 | 1138540.8155
2 | 2508958.8803 | 1138533.4247
3 | 2508948.5215 | 1138544.6227
4 | 2508940.293 | 1138553.5179
5 | 2508891.5311 | 1138606.2303
6 | 2508347.3741 | 1138031.1329
7 | 2508350.3513 | 1138034.5628
8 | 2508373.9651 | 1138061.2587
9 | 2508378.3984 | 1138066.1987
10 | 2508383.4386 | 1138071.8151
11 | 2508394.0638 | 1138083.6549
12 | 2508367.6574 | 1138107.2481
13 | 2508375.3125 | 1138115.3589
14 | 2508410.7896 | 1138102.1478
15 | 2508428.8659 | 1138122.1338
16 | 2508433.9781 | 1138127.7862
17 | 2508412.585 | 1138150.1801
18 | 2508455.47 | 1138152.0884
19 | 2508342.6587 | 1138519.1456
20 | 2508376.6841 | 1138552.9128
21 | 2508302.6102 | 1138486.3648
22 | 2508384.2734 | 1138589.8188
23 | 2508316.8098 | 1138471.6793
24 | 2508255.2936 | 1138447.5947
25 | 2508416.9705 | 1138429.5924
26 | 2508354.5075 | 1138407.3669
27 | 2508428.7135 | 1138560.2182
28 | 2508474.4761 | 1138487.8967
29 | 2508476.3247 | 1138486.015
30 | 2508277.6926 | 1138425.6852
31 | 2508221.6641 | 1138420.8379
32 | 2508340.5841 | 1138394.4655
33 | 2508312.0722 | 1138354.9086
34 | 2508312.955 | 1138289.6845
35 | 2508360.3422 | 1138373.263
36 | 2508785.4657 | 1138521.0134
37 | 2508765.963 | 1138499.373
38 | 2508823.4846 | 1138563.1999
39 | 2508760.3808 | 1138493.1788
40 | 2508755.1228 | 1138487.3442
41 | 2508739.8425 | 1138470.3684
42 | 2508705.9068 | 1138432.5675
43 | 2508738.0617 | 1138388.2029
44 | 2508707.3764 | 1138455.9371
45 | 2508670.9851 | 1138393.2395
46 | 2508739.5791 | 1138386.7407
47 | 2508652.1157 | 1138522.7253
48 | 2508695.3949 | 1138466.8584
49 | 2508690.4938 | 1138370.3679
50 | 2508665.7651 | 1138387.8932
51 | 2508643.1052 | 1138362.7547
52 | 2508650.0123 | 1138403.7962
53 | 2508744.2324 | 1138382.2571
54 | 2508688.3597 | 1138473.2683
55 | 2508706.5789 | 1138344.9159
56 | 2508602.4247 | 1138385.0991
57 | 2508593.7037 | 1138307.1591
58 | 2508635.813 | 1138420.7281
59 | 2508400.3019 | 1138163.03
60 | 2508397.5649 | 1138135.371
61 | 2508481.1983 | 1138181.1809
62 | 2508414.3979 | 1138178.2483
63 | 2508390.1014 | 1138173.6988
64 | 2508496.2788 | 1138198.2334
65 | 2508565.9855 | 1138276.0861
66 | 2508533.9126 | 1138240.3248
67 | 2508570.9134 | 1138281.5782
68 | 2508509.5457 | 1138213.1507
69 | 2508588.5446 | 1138301.2671
70 | 2508525.1224 | 1138354.0685
71 | 2508504.122 | 1138207.1023
72 | 2508570.8089 | 1138338.7504
73 | 2508467.0732 | 1138237.0826
74 | 2508606.323 | 1138288.992
75 | 2508549.0559 | 1138378.2815
76 | 2508620.7166 | 1138268.2707
77 | 2508544.6793 | 1138389.0616
78 | 2508583.6257 | 1138583.1391
79 | 2508561.2785 | 1138540.0085
80 | 2508557.2297 | 1138532.1361
81 | 2508551.95 | 1138522.185
82 | 2508546.3036 | 1138511.5428
83 | 2508534.9184 | 1138490.0845
84 | 2508415.1276 | 1138179.0361
85 | 2508371.798 | 1138200.6255
86 | 2508529.4169 | 1138479.7154
87 | 2508527.1731 | 1138472.2783
88 | 2508502.6046 | 1138459.2656
89 | 2508531.4806 | 1138421.5714
90 | 2508492.9051 | 1138450.6188
91 | 2508484.3392 | 1138380.0518
92 | 2508658.0156 | 1138449.114
93 | 2508629.0513 | 1138430.0518
94 | 2508620.1263 | 1138442.3582
95 | 2508614.3936 | 1138450.4783
96 | 2508468.6669 | 1138378.4544
97 | 2508474.3299 | 1138434.0597
98 | 2508365.5859 | 1138367.636
99 | 2508380.992 | 1138317.8608
100 | 2508422.7342 | 1138187.2482
101 | 2508377.5386 | 1138211.1603
102 | 2508382.3542 | 1138219.2365
103 | 2508353.8012 | 1138234.1683
104 | 2508396.1924 | 1138235.7927
105 | 2508411.3996 | 1138253.9866
106 | 2508426.179 | 1138271.6688
107 | 2508429.3121 | 1138274.9367
108 | 2508412.8651 | 1138285.2788
109 | 2508439.6164 | 1138285.6843
110 | 2508427.0501 | 1138325.7926
111 | 2508458.1307 | 1138305.2371
112 | 2508425.9913 | 1138349.9298
113 | 2508468.6284 | 1138294.5416
114 | 2508473.8157 | 1138289.2566
115 | 2508492.7144 | 1138270.002
116 | 2508482.1562 | 1138257.5579
117 | 2508497.6538 | 1138264.9685
118 | 2508521 | 1138360.0713

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1