## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5725-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5725-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5725-4_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5725-4_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5725-4_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5725-4_0_6_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_5725-4_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5725-4_0_6_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_5725-4_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5725-4_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5725-4_0_6_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_5725-4_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5725-4_0_6_node_91 | 0.4 | n |  | TRUE
13 | bus_LV_5725-4_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5725-4_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5725-4_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5725-4_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5725-4_0_6_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_5725-4_0_6_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_5725-4_0_6_node_82 | 0.4 | n |  | TRUE
20 | bus_LV_5725-4_0_6_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_5725-4_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5725-4_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5725-4_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5725-4_0_6_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_5725-4_0_6_node_93 | 0.4 | n |  | TRUE
26 | bus_LV_5725-4_0_6_node_94 | 0.4 | n |  | TRUE
27 | bus_LV_5725-4_0_6_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_5725-4_0_6_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_5725-4_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5725-4_0_6_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5725-4_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_5725-4_0_6_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_5725-4_0_6_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_5725-4_0_6_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_5725-4_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5725-4_0_6_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5725-4_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5725-4_0_6_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5725-4_0_6_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5725-4_0_6_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_5725-4_0_6_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5725-4_0_6_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_5725-4_0_6_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_5725-4_0_6_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_5725-4_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5725-4_0_6_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_5725-4_0_6_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_5725-4_0_6_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_5725-4_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5725-4_0_6_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_5725-4_0_6_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_5725-4_0_6_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_5725-4_0_6_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_5725-4_0_6_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_5725-4_0_6_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_5725-4_0_6_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_5725-4_0_6_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_5725-4_0_6_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_5725-4_0_6_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_5725-4_0_6_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_5725-4_0_6_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_5725-4_0_6_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_5725-4_0_6_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_5725-4_0_6_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_5725-4_0_6_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_5725-4_0_6_node_102 | 0.4 | n |  | TRUE
67 | bus_LV_5725-4_0_6_node_95 | 0.4 | n |  | TRUE
68 | bus_LV_5725-4_0_6_node_96 | 0.4 | n |  | TRUE
69 | bus_LV_5725-4_0_6_node_87 | 0.4 | n |  | TRUE
70 | bus_LV_5725-4_0_6_node_101 | 0.4 | n |  | TRUE
71 | bus_LV_5725-4_0_6_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_5725-4_0_6_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_5725-4_0_6_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_5725-4_0_6_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_5725-4_0_6_node_108 | 0.4 | n |  | TRUE
76 | bus_LV_5725-4_0_6_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_5725-4_0_6_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_5725-4_0_6_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_5725-4_0_6_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_5725-4_0_6_node_55 | 0.4 | n |  | TRUE
81 | bus_LV_5725-4_0_6_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_5725-4_0_6_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_5725-4_0_6_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_5725-4_0_6_node_56 | 0.4 | n |  | TRUE
85 | bus_LV_5725-4_0_6_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_5725-4_0_6_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_5725-4_0_6_node_58 | 0.4 | n |  | TRUE
88 | bus_LV_5725-4_0_6_node_59 | 0.4 | n |  | TRUE
89 | bus_LV_5725-4_0_6_node_60 | 0.4 | n |  | TRUE
90 | bus_LV_5725-4_0_6_node_62 | 0.4 | n |  | TRUE
91 | bus_LV_5725-4_0_6_node_63 | 0.4 | n |  | TRUE
92 | bus_LV_5725-4_0_6_node_64 | 0.4 | n |  | TRUE
93 | bus_LV_5725-4_0_6_node_66 | 0.4 | n |  | TRUE
94 | bus_LV_5725-4_0_6_node_105 | 0.4 | n |  | TRUE
95 | bus_LV_5725-4_0_6_node_103 | 0.4 | n |  | TRUE
96 | bus_LV_5725-4_0_6_node_81 | 0.4 | n |  | TRUE
97 | bus_LV_5725-4_0_6_node_104 | 0.4 | n |  | TRUE
98 | bus_LV_5725-4_0_6_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_5725-4_0_6_node_78 | 0.4 | n |  | TRUE
100 | bus_LV_5725-4_0_6_node_80 | 0.4 | n |  | TRUE
101 | bus_LV_5725-4_0_6_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_5725-4_0_6_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_5725-4_0_6_node_107 | 0.4 | n |  | TRUE
104 | bus_LV_5725-4_0_6_node_97 | 0.4 | n |  | TRUE
105 | bus_LV_5725-4_0_6_node_100 | 0.4 | n |  | TRUE
106 | bus_LV_5725-4_0_6_node_106 | 0.4 | n |  | TRUE
107 | bus_MV_314_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5725-4_0_6_load_0 | 0 | 0.0047536 | 0.0011914 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5725-4_0_6_load_1 | 1 | 0.0046861 | 0.0011745 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5725-4_0_6_load_3 | 3 | 0.0083759 | 0.0020992 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5725-4_0_6_load_4 | 4 | 0.0043419 | 0.0010882 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5725-4_0_6_load_14 | 5 | 0.0021905 | 0.00054898 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5725-4_0_6_load_5 | 6 | 0.0044346 | 0.0011114 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5725-4_0_6_load_15 | 7 | 0.0046827 | 0.0011736 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5725-4_0_6_load_11 | 10 | 0.0016824 | 0.00042164 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5725-4_0_6_load_8 | 11 | 0.0021635 | 0.00054222 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5725-4_0_6_load_91 | 12 | 0.0025934 | 0.00064996 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5725-4_0_6_load_9 | 13 | 0.001436 | 0.0003599 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5725-4_0_6_load_10 | 14 | 0.0064331 | 0.0016123 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5725-4_0_6_load_12 | 15 | 0.0030275 | 0.00075877 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5725-4_0_6_load_22 | 17 | 0.0043652 | 0.001094 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5725-4_0_6_load_19 | 18 | 0.0046443 | 0.001164 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5725-4_0_6_load_82 | 19 | 0.0022385 | 0.00056102 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5725-4_0_6_load_20 | 20 | 0.0037925 | 0.0009505 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5725-4_0_6_load_16 | 21 | 0.0043102 | 0.0010802 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5725-4_0_6_load_17 | 22 | 0.0037961 | 0.0009514 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5725-4_0_6_load_18 | 23 | 0.0044353 | 0.0011116 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5725-4_0_6_load_21 | 24 | 0.0050501 | 0.0012657 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5725-4_0_6_load_94 | 26 | 0.0069571 | 0.0017436 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5725-4_0_6_load_92 | 27 | 0.0032648 | 0.00081824 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5725-4_0_6_load_83 | 28 | 0.0030471 | 0.00076367 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5725-4_0_6_load_23 | 29 | 0.0023646 | 0.00059262 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5725-4_0_6_load_24 | 30 | 0.0045518 | 0.0011408 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5725-4_0_6_load_25 | 31 | 0.0043593 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5725-4_0_6_load_44 | 33 | 0.0045624 | 0.0011434 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5725-4_0_6_load_34 | 34 | 0.023612 | 0.0059178 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5725-4_0_6_load_26 | 35 | 0.0028602 | 0.00071683 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5725-4_0_6_load_27 | 36 | 0.03574 | 0.0089573 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5725-4_0_6_load_30 | 39 | 0.01251 | 0.0031354 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5725-4_0_6_load_32 | 41 | 0.0029138 | 0.00073027 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5725-4_0_6_load_43 | 42 | 0.012512 | 0.0031358 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5725-4_0_6_load_49 | 43 | 0.01843 | 0.004619 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5725-4_0_6_load_41 | 44 | 0.018483 | 0.0046323 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5725-4_0_6_load_33 | 45 | 0.0028718 | 0.00071975 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5725-4_0_6_load_42 | 46 | 0.035729 | 0.0089546 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5725-4_0_6_load_72 | 47 | 0.0092318 | 0.0023137 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5725-4_0_6_load_69 | 50 | 0.012135 | 0.0030414 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5725-4_0_6_load_70 | 51 | 0.0092319 | 0.0023137 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5725-4_0_6_load_71 | 52 | 0.0081715 | 0.002048 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5725-4_0_6_load_35 | 53 | 0.0076566 | 0.0019189 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5725-4_0_6_load_37 | 54 | 0.0020558 | 0.00051522 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5725-4_0_6_load_39 | 55 | 0.028565 | 0.0071591 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5725-4_0_6_load_75 | 57 | 0.010886 | 0.0027283 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5725-4_0_6_load_73 | 60 | 0.0081714 | 0.002048 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5725-4_0_6_load_45 | 61 | 0.018427 | 0.0046184 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5725-4_0_6_load_84 | 62 | 0.0070209 | 0.0017596 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5725-4_0_6_load_85 | 63 | 0.0092288 | 0.0023129 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5725-4_0_6_load_74 | 64 | 0.012007 | 0.0030093 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5725-4_0_6_load_48 | 65 | 0.010082 | 0.0025267 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5725-4_0_6_load_102 | 66 | 0.011892 | 0.0029804 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5725-4_0_6_load_95 | 67 | 0.0033765 | 0.00084624 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5725-4_0_6_load_96 | 68 | 0.0032778 | 0.00082148 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5725-4_0_6_load_101 | 70 | 0.0034309 | 0.00085986 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5725-4_0_6_load_50 | 71 | 0.0030769 | 0.00077114 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5725-4_0_6_load_51 | 72 | 0.0019394 | 0.00048607 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5725-4_0_6_load_52 | 73 | 0.002041 | 0.00051152 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5725-4_0_6_load_53 | 74 | 0.0021469 | 0.00053807 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5725-4_0_6_load_108 | 75 | 0.0040114 | 0.0010054 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5725-4_0_6_load_67 | 76 | 0.0026048 | 0.00065283 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5725-4_0_6_load_57 | 77 | 0.0040336 | 0.0010109 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5725-4_0_6_load_54 | 79 | 0.0034848 | 0.00087336 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5725-4_0_6_load_88 | 82 | 0.0019969 | 0.00050048 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5725-4_0_6_load_68 | 83 | 0.0011601 | 0.00029075 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5725-4_0_6_load_56 | 84 | 0.0015315 | 0.00038384 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5725-4_0_6_load_89 | 85 | 0.0029983 | 0.00075145 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5725-4_0_6_load_90 | 86 | 0.0023362 | 0.00058551 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5725-4_0_6_load_58 | 87 | 0.0035172 | 0.00088148 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5725-4_0_6_load_59 | 88 | 0.001378 | 0.00034536 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5725-4_0_6_load_60 | 89 | 0.0081671 | 0.0020469 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5725-4_0_6_load_62 | 90 | 0.018282 | 0.0045818 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5725-4_0_6_load_63 | 91 | 0.0042662 | 0.0010692 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5725-4_0_6_load_64 | 92 | 0.0021244 | 0.00053242 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5725-4_0_6_load_105 | 94 | 0.0020092 | 0.00050355 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5725-4_0_6_load_103 | 95 | 0.0016836 | 0.00042194 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5725-4_0_6_load_104 | 97 | 0.001165 | 0.00029197 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5725-4_0_6_load_79 | 98 | 0.0037182 | 0.00093187 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5725-4_0_6_load_78 | 99 | 0.00086283 | 0.00021624 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5725-4_0_6_load_80 | 100 | 0.0047121 | 0.001181 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5725-4_0_6_load_98 | 101 | 0.0014861 | 0.00037246 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5725-4_0_6_load_99 | 102 | 0.0014714 | 0.00036876 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5725-4_0_6_load_107 | 103 | 0.0065018 | 0.0016295 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5725-4_0_6_load_97 | 104 | 0.0029621 | 0.00074237 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5725-4_0_6_load_100 | 105 | 0.0016392 | 0.00041081 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5725-4_0_6_load_106 | 106 | 0.0015277 | 0.00038287 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5725-4_0_6_line_0 |  | 0 | 1 | 0.014641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5725-4_0_6_line_1 |  | 0 | 2 | 0.04569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5725-4_0_6_line_2 |  | 1 | 3 | 0.011272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5725-4_0_6_line_3 |  | 2 | 4 | 0.023075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5725-4_0_6_line_4 |  | 3 | 5 | 0.014473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5725-4_0_6_line_5 |  | 4 | 6 | 0.0030458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5725-4_0_6_line_6 |  | 5 | 7 | 0.0051707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5725-4_0_6_line_7 |  | 6 | 8 | 0.04954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5725-4_0_6_line_8 |  | 7 | 21 | 0.027358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5725-4_0_6_line_9 |  | 8 | 9 | 0.009696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5725-4_0_6_line_10 |  | 9 | 10 | 0.044768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5725-4_0_6_line_11 |  | 9 | 11 | 0.027543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5725-4_0_6_line_12 |  | 10 | 12 | 0.032775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5725-4_0_6_line_13 |  | 11 | 13 | 0.026933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5725-4_0_6_line_14 |  | 13 | 14 | 0.0090195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5725-4_0_6_line_15 |  | 14 | 15 | 0.017543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5725-4_0_6_line_16 |  | 15 | 16 | 0.02443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5725-4_0_6_line_17 |  | 16 | 17 | 0.023075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5725-4_0_6_line_18 |  | 16 | 18 | 0.024031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5725-4_0_6_line_19 |  | 17 | 19 | 0.021607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5725-4_0_6_line_20 |  | 18 | 20 | 0.0072098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5725-4_0_6_line_21 |  | 19 | 28 | 0.017791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5725-4_0_6_line_22 |  | 20 | 24 | 0.016575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5725-4_0_6_line_23 |  | 21 | 22 | 0.0012516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5725-4_0_6_line_24 |  | 22 | 23 | 0.015051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5725-4_0_6_line_25 |  | 24 | 25 | 0.018523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5725-4_0_6_line_26 |  | 25 | 26 | 0.021118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5725-4_0_6_line_27 |  | 25 | 27 | 0.026564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5725-4_0_6_line_28 |  | 26 | 103 | 0.035655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5725-4_0_6_line_29 |  | 28 | 86 | 0.062261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5725-4_0_6_line_30 |  | 29 | 30 | 0.044243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5725-4_0_6_line_31 |  | 30 | 31 | 0.0026734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5725-4_0_6_line_32 |  | 31 | 33 | 0.0025702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5725-4_0_6_line_33 |  | 32 | 33 | 0.06847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5725-4_0_6_line_34 |  | 32 | 34 | 0.051125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5725-4_0_6_line_35 |  | 34 | 53 | 0.027431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5725-4_0_6_line_36 |  | 35 | 36 | 0.0011781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5725-4_0_6_line_37 |  | 35 | 37 | 0.02661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5725-4_0_6_line_38 |  | 36 | 38 | 0.018272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5725-4_0_6_line_39 |  | 37 | 39 | 0.0033057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5725-4_0_6_line_40 |  | 37 | 40 | 0.044334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5725-4_0_6_line_41 |  | 38 | 41 | 0.02508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5725-4_0_6_line_42 |  | 39 | 42 | 0.026822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5725-4_0_6_line_43 |  | 40 | 43 | 0.02777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5725-4_0_6_line_44 |  | 40 | 44 | 0.029484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5725-4_0_6_line_45 |  | 41 | 45 | 0.010126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5725-4_0_6_line_46 |  | 42 | 46 | 0.001144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5725-4_0_6_line_47 |  | 43 | 47 | 0.048913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5725-4_0_6_line_48 |  | 43 | 48 | 0.032292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5725-4_0_6_line_49 |  | 44 | 49 | 0.027973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5725-4_0_6_line_50 |  | 46 | 54 | 0.0089312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5725-4_0_6_line_51 |  | 47 | 51 | 0.00069234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5725-4_0_6_line_52 |  | 47 | 64 | 0.031691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5725-4_0_6_line_53 |  | 48 | 61 | 0.027107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5725-4_0_6_line_54 |  | 49 | 55 | 0.026358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5725-4_0_6_line_55 |  | 50 | 51 | 0.030619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5725-4_0_6_line_56 |  | 50 | 52 | 0.029959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5725-4_0_6_line_57 |  | 52 | 60 | 0.001487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5725-4_0_6_line_58 |  | 53 | 54 | 0.018919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5725-4_0_6_line_59 |  | 56 | 57 | 0.048975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5725-4_0_6_line_60 |  | 56 | 58 | 0.060784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5725-4_0_6_line_61 |  | 57 | 59 | 0.0060945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5725-4_0_6_line_62 |  | 58 | 88 | 0.038647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5725-4_0_6_line_63 |  | 59 | 60 | 0.027511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5725-4_0_6_line_64 |  | 62 | 63 | 0.00034233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_5725-4_0_6_line_65 |  | 62 | 64 | 0.032191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_5725-4_0_6_line_66 |  | 63 | 65 | 0.031598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5725-4_0_6_line_67 |  | 65 | 66 | 0.046364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_5725-4_0_6_line_68 |  | 66 | 70 | 0.0063459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5725-4_0_6_line_69 |  | 67 | 68 | 0.011668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_5725-4_0_6_line_70 |  | 67 | 69 | 0.012697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5725-4_0_6_line_71 |  | 68 | 104 | 0.022984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5725-4_0_6_line_72 |  | 69 | 101 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5725-4_0_6_line_73 |  | 69 | 81 | 0.032224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5725-4_0_6_line_74 |  | 70 | 104 | 0.011355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5725-4_0_6_line_75 |  | 71 | 72 | 0.0087268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5725-4_0_6_line_76 |  | 71 | 73 | 0.021429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5725-4_0_6_line_77 |  | 73 | 74 | 0.011898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5725-4_0_6_line_78 |  | 73 | 75 | 0.032848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5725-4_0_6_line_79 |  | 74 | 81 | 0.014262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5725-4_0_6_line_80 |  | 76 | 77 | 0.056726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_5725-4_0_6_line_81 |  | 76 | 78 | 0.043578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_5725-4_0_6_line_82 |  | 77 | 80 | 0.0090438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_5725-4_0_6_line_83 |  | 78 | 83 | 0.014243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_5725-4_0_6_line_84 |  | 78 | 91 | 0.014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5725-4_0_6_line_85 |  | 79 | 80 | 0.016889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5725-4_0_6_line_86 |  | 80 | 84 | 0.024201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_5725-4_0_6_line_87 |  | 81 | 82 | 0.0073246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5725-4_0_6_line_88 |  | 81 | 83 | 0.035202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_5725-4_0_6_line_89 |  | 82 | 94 | 0.011653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5725-4_0_6_line_90 |  | 84 | 85 | 0.022191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_5725-4_0_6_line_91 |  | 85 | 86 | 0.0037828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_5725-4_0_6_line_92 |  | 87 | 88 | 0.025825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5725-4_0_6_line_93 |  | 87 | 89 | 0.0045714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5725-4_0_6_line_94 |  | 89 | 90 | 0.025723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5725-4_0_6_line_95 |  | 91 | 92 | 0.017174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5725-4_0_6_line_96 |  | 92 | 93 | 0.030036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5725-4_0_6_line_97 |  | 93 | 96 | 0.045503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5725-4_0_6_line_98 |  | 94 | 95 | 0.02273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5725-4_0_6_line_99 |  | 95 | 97 | 0.010122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5725-4_0_6_line_100 |  | 96 | 98 | 0.03389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5725-4_0_6_line_101 |  | 98 | 99 | 0.01325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5725-4_0_6_line_102 |  | 99 | 100 | 0.028924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5725-4_0_6_line_103 |  | 101 | 102 | 0.010671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5725-4_0_6_line_104 |  | 102 | 105 | 0.024578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5725-4_0_6_line_105 |  | 105 | 106 | 0.011499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5725-4_0_6_trafo_74 | 0.63 MVA 20/0.4 kV | 107 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2507929.7655 | 1138325.2899 | 2507942.596 | 1138318.2379
1 | 2507889.7251 | 1138347.2974 | 2507929.7655 | 1138325.2899
2 | 2507942.596 | 1138318.2379 | 2507952.474 | 1138312.8086
3 | 2507889.7251 | 1138347.2974 | 2507895.484 | 1138369.642
4 | 2507965.1571 | 1138305.8376 | 2507952.474 | 1138312.8086
5 | 2507896.2441 | 1138372.5915 | 2507895.484 | 1138369.642
6 | 2507965.1571 | 1138305.8376 | 2507969.6885 | 1138303.347
7 | 2507908.6081 | 1138420.5641 | 2507896.2441 | 1138372.5915
8 | 2507992.2281 | 1138287.9386 | 2507976.8405 | 1138299.416 | 2507969.6885 | 1138303.347
9 | 2507908.6081 | 1138420.5641 | 2507912.024 | 1138429.6396
10 | 2507912.024 | 1138429.6396 | 2507917.7541 | 1138452.7216 | 2507922.615 | 1138473.1368
11 | 2507912.024 | 1138429.6396 | 2507936.6629 | 1138417.3304
12 | 2507930.2065 | 1138505.0203 | 2507922.615 | 1138473.1368
13 | 2507936.6629 | 1138417.3304 | 2507960.7562 | 1138405.2939
14 | 2507968.8248 | 1138401.2629 | 2507960.7562 | 1138405.2939
15 | 2507968.8248 | 1138401.2629 | 2507984.5185 | 1138393.4226
16 | 2508006.3734 | 1138382.5042 | 2507984.5185 | 1138393.4226
17 | 2508006.3734 | 1138382.5042 | 2508011.8941 | 1138404.9095
18 | 2508006.3734 | 1138382.5042 | 2508027.3116 | 1138370.7106
19 | 2508011.8941 | 1138404.9095 | 2508014.5909 | 1138415.8545 | 2508017.9627 | 1138425.6241
20 | 2508027.3116 | 1138370.7106 | 2508033.5935 | 1138367.1722
21 | 2508023.7667 | 1138442.4416 | 2508017.9627 | 1138425.6241
22 | 2508033.5935 | 1138367.1722 | 2508048.0348 | 1138359.038
23 | 2507992.2281 | 1138287.9386 | 2507993.2313 | 1138287.1903
24 | 2508005.2962 | 1138278.1912 | 2507993.2313 | 1138287.1903
25 | 2508064.174 | 1138349.9474 | 2508048.0348 | 1138359.038
26 | 2508064.174 | 1138349.9474 | 2508054.493 | 1138331.1793
27 | 2508064.174 | 1138349.9474 | 2508087.521 | 1138337.276
28 | 2508038.1478 | 1138299.4918 | 2508054.493 | 1138331.1793
29 | 2508023.7667 | 1138442.4416 | 2508018.1975 | 1138504.4527
30 | 2508155.5457 | 1138938.4151 | 2508146.4315 | 1138927.9523 | 2508134.8289 | 1138914.6655 | 2508127.0455 | 1138904.5949
31 | 2508125.4107 | 1138902.4797 | 2508127.0455 | 1138904.5949
32 | 2508125.4107 | 1138902.4797 | 2508123.839 | 1138900.4461
33 | 2508083.0576 | 1138845.4464 | 2508123.839 | 1138900.4461
34 | 2508083.0576 | 1138845.4464 | 2508117.6351 | 1138809.1419 | 2508118.3315 | 1138808.4402
35 | 2508118.3315 | 1138808.4402 | 2508137.6555 | 1138788.9711
36 | 2508197.2122 | 1138727.3262 | 2508198.0051 | 1138726.4548
37 | 2508179.3045 | 1138747.0094 | 2508197.2122 | 1138727.3262
38 | 2508210.3017 | 1138712.9391 | 2508198.0051 | 1138726.4548
39 | 2508179.3045 | 1138747.0094 | 2508176.9758 | 1138749.3556
40 | 2508146.4712 | 1138717.1249 | 2508179.3045 | 1138747.0094
41 | 2508210.3017 | 1138712.9391 | 2508228.5546 | 1138730.1396
42 | 2508176.9758 | 1138749.3556 | 2508158.0808 | 1138768.3924
43 | 2508146.4712 | 1138717.1249 | 2508166.2374 | 1138697.619
44 | 2508146.4712 | 1138717.1249 | 2508125.6874 | 1138738.037
45 | 2508228.5546 | 1138730.1396 | 2508235.924 | 1138737.0841
46 | 2508157.275 | 1138769.2043 | 2508158.0808 | 1138768.3924
47 | 2508166.2374 | 1138697.619 | 2508131.9072 | 1138662.7771
48 | 2508189.2219 | 1138674.9372 | 2508166.2374 | 1138697.619
49 | 2508105.9684 | 1138757.8778 | 2508125.6874 | 1138738.037
50 | 2508157.275 | 1138769.2043 | 2508150.9833 | 1138775.5432
51 | 2508131.4087 | 1138663.2575 | 2508131.9072 | 1138662.7771
52 | 2508151.6326 | 1138638.06 | 2508150.1357 | 1138640.6119 | 2508144.8817 | 1138647.6851 | 2508139.4171 | 1138654.5614 | 2508133.943 | 1138660.8153 | 2508131.9072 | 1138662.7771
53 | 2508189.2219 | 1138674.9372 | 2508207.6364 | 1138655.0456
54 | 2508105.9684 | 1138757.8778 | 2508088.1134 | 1138777.2666
55 | 2508107.9665 | 1138682.8762 | 2508112.9691 | 1138679.2237 | 2508119.7002 | 1138674.1848 | 2508127.226 | 1138667.2882 | 2508131.4087 | 1138663.2575
56 | 2508107.9665 | 1138682.8762 | 2508106.6393 | 1138683.8452 | 2508099.8894 | 1138687.6504 | 2508091.286 | 1138691.4839 | 2508082.8764 | 1138694.903 | 2508080.9452 | 1138695.65
57 | 2508079.5583 | 1138696.1864 | 2508080.9452 | 1138695.65
58 | 2508137.6555 | 1138788.9711 | 2508150.9833 | 1138775.5432
59 | 2507998.6817 | 1138696.9552 | 2508011.9474 | 1138700.2214 | 2508027.2849 | 1138702.6444 | 2508028.9494 | 1138703.3417 | 2508041.4806 | 1138703.3394 | 2508046.9293 | 1138703.2635
60 | 2507998.6817 | 1138696.9552 | 2507990.9474 | 1138678.6067 | 2507975.6524 | 1138640.6951
61 | 2508053.0047 | 1138702.8745 | 2508049.7868 | 1138703.2237 | 2508046.9293 | 1138703.2635
62 | 2507975.6524 | 1138640.6951 | 2508005.4796 | 1138616.1195
63 | 2508053.0047 | 1138702.8745 | 2508058.6417 | 1138702.2659 | 2508065.8445 | 1138700.9219 | 2508074.6171 | 1138698.0975 | 2508079.5583 | 1138696.1864
64 | 2508164.4697 | 1138608.6535 | 2508164.5736 | 1138608.3273
65 | 2508151.6326 | 1138638.06 | 2508154.7618 | 1138632.7256 | 2508159.1647 | 1138623.8198 | 2508162.3432 | 1138615.333 | 2508164.4697 | 1138608.6535
66 | 2508164.5736 | 1138608.3273 | 2508165.4412 | 1138605.6022 | 2508168.3803 | 1138592.0048 | 2508171.5355 | 1138582.4954 | 2508173.175 | 1138577.9761
67 | 2508147.0126 | 1138539.6989 | 2508173.175 | 1138577.9761
68 | 2508147.0126 | 1138539.6989 | 2508152.162 | 1138535.9903
69 | 2508189.4949 | 1138509.1034 | 2508180.027 | 1138515.9221
70 | 2508199.7981 | 1138501.6831 | 2508189.4949 | 1138509.1034
71 | 2508180.027 | 1138515.9221 | 2508161.3762 | 1138529.3543
72 | 2508199.7981 | 1138501.6831 | 2508205.1907 | 1138494.1076 | 2508207.6683 | 1138492.0497
73 | 2508199.7981 | 1138501.6831 | 2508179.621 | 1138476.5197
74 | 2508152.162 | 1138535.9903 | 2508161.3762 | 1138529.3543
75 | 2508142.8298 | 1138506.7057 | 2508136.0832 | 1138512.2411
76 | 2508142.8298 | 1138506.7057 | 2508159.3966 | 1138493.1132
77 | 2508168.595 | 1138485.5662 | 2508159.3966 | 1138493.1132
78 | 2508159.3966 | 1138493.1132 | 2508131.9945 | 1138474.9999
79 | 2508179.621 | 1138476.5197 | 2508168.595 | 1138485.5662
80 | 2508064.2266 | 1138490.1761 | 2508109.9252 | 1138456.5685
81 | 2508148.7231 | 1138438.4452 | 2508126.5193 | 1138444.3649 | 2508109.9252 | 1138456.5685
82 | 2508056.9409 | 1138495.5342 | 2508064.2266 | 1138490.1761
83 | 2508148.7231 | 1138438.4452 | 2508156.8604 | 1138446.4038 | 2508157.4081 | 1138449.2115
84 | 2508148.7231 | 1138438.4452 | 2508159.5797 | 1138432.0093 | 2508160.85 | 1138431.0292
85 | 2508056.9409 | 1138495.5342 | 2508066.8308 | 1138509.2244
86 | 2508056.9409 | 1138495.5342 | 2508036.9637 | 1138509.1935
87 | 2508179.621 | 1138476.5197 | 2508185.3258 | 1138471.9257
88 | 2508179.621 | 1138476.5197 | 2508157.4081 | 1138449.2115
89 | 2508185.3258 | 1138471.9257 | 2508194.4014 | 1138464.6172
90 | 2508036.9637 | 1138509.1935 | 2508027.5533 | 1138515.6278 | 2508020.6258 | 1138507.3532
91 | 2508018.1975 | 1138504.4527 | 2508020.6258 | 1138507.3532
92 | 2508025.4111 | 1138599.6973 | 2508005.4796 | 1138616.1195
93 | 2508025.4111 | 1138599.6973 | 2508028.9393 | 1138596.7904
94 | 2508049.0564 | 1138580.7612 | 2508030.701 | 1138595.3389 | 2508028.9393 | 1138596.7904
95 | 2508160.85 | 1138431.0292 | 2508174.4475 | 1138420.5387
96 | 2508198.2284 | 1138402.1917 | 2508174.4475 | 1138420.5387
97 | 2508198.2284 | 1138402.1917 | 2508162.6679 | 1138373.6828
98 | 2508212.1047 | 1138450.3608 | 2508194.4014 | 1138464.6172
99 | 2508212.1047 | 1138450.3608 | 2508219.9884 | 1138444.0121
100 | 2508162.6679 | 1138373.6828 | 2508134.4857 | 1138392.5047
101 | 2508123.467 | 1138399.8636 | 2508134.4857 | 1138392.5047
102 | 2508099.4143 | 1138415.9276 | 2508123.467 | 1138399.8636
103 | 2508207.6683 | 1138492.0497 | 2508215.8767 | 1138485.2315
104 | 2508215.8767 | 1138485.2315 | 2508234.7836 | 1138469.527
105 | 2508243.6294 | 1138462.1794 | 2508234.7836 | 1138469.527

## bus_geodata
| x | y | coords
0 | 2507929.7655 | 1138325.2899
1 | 2507942.596 | 1138318.2379
2 | 2507889.7251 | 1138347.2974
3 | 2507952.474 | 1138312.8086
4 | 2507895.484 | 1138369.642
5 | 2507965.1571 | 1138305.8376
6 | 2507896.2441 | 1138372.5915
7 | 2507969.6885 | 1138303.347
8 | 2507908.6081 | 1138420.5641
9 | 2507912.024 | 1138429.6396
10 | 2507922.615 | 1138473.1368
11 | 2507936.6629 | 1138417.3304
12 | 2507930.2065 | 1138505.0203
13 | 2507960.7562 | 1138405.2938
14 | 2507968.8248 | 1138401.2629
15 | 2507984.5185 | 1138393.4226
16 | 2508006.3734 | 1138382.5042
17 | 2508011.8941 | 1138404.9095
18 | 2508027.3116 | 1138370.7106
19 | 2508017.9627 | 1138425.6241
20 | 2508033.5935 | 1138367.1722
21 | 2507992.2281 | 1138287.9386
22 | 2507993.2313 | 1138287.1903
23 | 2508005.2962 | 1138278.1912
24 | 2508048.0348 | 1138359.038
25 | 2508064.174 | 1138349.9474
26 | 2508054.493 | 1138331.1793
27 | 2508087.521 | 1138337.276
28 | 2508023.7667 | 1138442.4416
29 | 2508155.5457 | 1138938.4151
30 | 2508127.0455 | 1138904.5949
31 | 2508125.4107 | 1138902.4797
32 | 2508083.0576 | 1138845.4464
33 | 2508123.839 | 1138900.4461
34 | 2508118.3315 | 1138808.4402
35 | 2508197.2122 | 1138727.3262
36 | 2508198.0051 | 1138726.4548
37 | 2508179.3045 | 1138747.0094
38 | 2508210.3017 | 1138712.9391
39 | 2508176.9758 | 1138749.3556
40 | 2508146.4712 | 1138717.1249
41 | 2508228.5546 | 1138730.1396
42 | 2508158.0808 | 1138768.3924
43 | 2508166.2374 | 1138697.619
44 | 2508125.6874 | 1138738.037
45 | 2508235.924 | 1138737.0841
46 | 2508157.275 | 1138769.2043
47 | 2508131.9072 | 1138662.7771
48 | 2508189.2219 | 1138674.9372
49 | 2508105.9684 | 1138757.8778
50 | 2508107.9665 | 1138682.8762
51 | 2508131.4087 | 1138663.2575
52 | 2508080.9452 | 1138695.65
53 | 2508137.6555 | 1138788.9711
54 | 2508150.9833 | 1138775.5432
55 | 2508088.1134 | 1138777.2666
56 | 2507998.6817 | 1138696.9552
57 | 2508046.9293 | 1138703.2635
58 | 2507975.6524 | 1138640.6951
59 | 2508053.0047 | 1138702.8745
60 | 2508079.5583 | 1138696.1864
61 | 2508207.6364 | 1138655.0456
62 | 2508164.4697 | 1138608.6535
63 | 2508164.5736 | 1138608.3273
64 | 2508151.6326 | 1138638.06
65 | 2508173.175 | 1138577.9761
66 | 2508147.0126 | 1138539.6988
67 | 2508189.4949 | 1138509.1034
68 | 2508180.027 | 1138515.9221
69 | 2508199.7981 | 1138501.6831
70 | 2508152.162 | 1138535.9903
71 | 2508142.8298 | 1138506.7057
72 | 2508136.0832 | 1138512.2411
73 | 2508159.3966 | 1138493.1132
74 | 2508168.595 | 1138485.5662
75 | 2508131.9945 | 1138474.9999
76 | 2508109.9252 | 1138456.5685
77 | 2508064.2266 | 1138490.1761
78 | 2508148.7231 | 1138438.4452
79 | 2508066.8308 | 1138509.2244
80 | 2508056.9409 | 1138495.5342
81 | 2508179.621 | 1138476.5197
82 | 2508185.3258 | 1138471.9257
83 | 2508157.4081 | 1138449.2115
84 | 2508036.9637 | 1138509.1935
85 | 2508020.6258 | 1138507.3532
86 | 2508018.1975 | 1138504.4527
87 | 2508025.4111 | 1138599.6973
88 | 2508005.4796 | 1138616.1195
89 | 2508028.9393 | 1138596.7904
90 | 2508049.0564 | 1138580.7612
91 | 2508160.85 | 1138431.0292
92 | 2508174.4475 | 1138420.5387
93 | 2508198.2284 | 1138402.1917
94 | 2508194.4014 | 1138464.6172
95 | 2508212.1047 | 1138450.3608
96 | 2508162.6679 | 1138373.6828
97 | 2508219.9884 | 1138444.0121
98 | 2508134.4857 | 1138392.5047
99 | 2508123.467 | 1138399.8636
100 | 2508099.4143 | 1138415.9276
101 | 2508207.6683 | 1138492.0497
102 | 2508215.8767 | 1138485.2315
103 | 2508038.1478 | 1138299.4918
104 | 2508161.3762 | 1138529.3543
105 | 2508234.7836 | 1138469.527
106 | 2508243.6294 | 1138462.1794
107 | 2508221.4737 | 1138558.0648

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1