## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5822-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5822-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5822-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5822-17_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5822-17_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5822-17_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_5822-17_0_3_node_100 | 0.4 | n |  | TRUE
7 | bus_LV_5822-17_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_5822-17_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5822-17_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5822-17_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5822-17_0_3_node_99 | 0.4 | n |  | TRUE
12 | bus_LV_5822-17_0_3_node_98 | 0.4 | n |  | TRUE
13 | bus_LV_5822-17_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5822-17_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5822-17_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5822-17_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_5822-17_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_5822-17_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5822-17_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5822-17_0_3_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_5822-17_0_3_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_5822-17_0_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_5822-17_0_3_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_5822-17_0_3_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_5822-17_0_3_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_5822-17_0_3_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_5822-17_0_3_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_5822-17_0_3_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_5822-17_0_3_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_5822-17_0_3_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_5822-17_0_3_node_76 | 0.4 | n |  | TRUE
32 | bus_LV_5822-17_0_3_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_5822-17_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5822-17_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_5822-17_0_3_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_5822-17_0_3_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_5822-17_0_3_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_5822-17_0_3_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_5822-17_0_3_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_5822-17_0_3_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_5822-17_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_5822-17_0_3_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5822-17_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5822-17_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_5822-17_0_3_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_5822-17_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_5822-17_0_3_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_5822-17_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_5822-17_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_5822-17_0_3_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_5822-17_0_3_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_5822-17_0_3_node_95 | 0.4 | n |  | TRUE
53 | bus_LV_5822-17_0_3_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_5822-17_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_5822-17_0_3_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_5822-17_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_5822-17_0_3_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_5822-17_0_3_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_5822-17_0_3_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_5822-17_0_3_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_5822-17_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_5822-17_0_3_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_5822-17_0_3_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_5822-17_0_3_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_5822-17_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_5822-17_0_3_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_5822-17_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_5822-17_0_3_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_5822-17_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_5822-17_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_5822-17_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_5822-17_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_5822-17_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_5822-17_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_5822-17_0_3_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_5822-17_0_3_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_5822-17_0_3_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_5822-17_0_3_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_5822-17_0_3_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_5822-17_0_3_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_5822-17_0_3_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_5822-17_0_3_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_5822-17_0_3_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_5822-17_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_5822-17_0_3_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_5822-17_0_3_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_5822-17_0_3_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_5822-17_0_3_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_5822-17_0_3_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_5822-17_0_3_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_5822-17_0_3_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_5822-17_0_3_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_5822-17_0_3_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_5822-17_0_3_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_5822-17_0_3_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_5822-17_0_3_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_5822-17_0_3_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_5822-17_0_3_node_97 | 0.4 | n |  | TRUE
99 | bus_MV_477_0_node_182 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5822-17_0_3_load_0 | 0 | 0.0022063 | 0.00055294 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5822-17_0_3_load_1 | 1 | 0.0021716 | 0.00054424 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5822-17_0_3_load_2 | 2 | 0.0034897 | 0.00087459 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5822-17_0_3_load_21 | 5 | 0.0096361 | 0.002415 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5822-17_0_3_load_100 | 6 | 0.019252 | 0.0048249 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5822-17_0_3_load_6 | 8 | 0.0081429 | 0.0020408 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5822-17_0_3_load_99 | 11 | 0.0011475 | 0.00028759 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5822-17_0_3_load_98 | 12 | 0.0012582 | 0.00031534 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5822-17_0_3_load_10 | 13 | 0.029622 | 0.0074239 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5822-17_0_3_load_14 | 16 | 0.0022476 | 0.00056331 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5822-17_0_3_load_16 | 18 | 0.00091186 | 0.00022853 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5822-17_0_3_load_43 | 20 | 0.001353 | 0.0003391 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5822-17_0_3_load_44 | 21 | 0.025109 | 0.0062928 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5822-17_0_3_load_42 | 22 | 0.002111 | 0.00052908 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5822-17_0_3_load_46 | 23 | 0.0025416 | 0.00063698 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5822-17_0_3_load_65 | 24 | 0.00036888 | 9.245e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5822-17_0_3_load_61 | 25 | 0.0018057 | 0.00045256 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5822-17_0_3_load_45 | 26 | 0.0014169 | 0.0003551 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5822-17_0_3_load_41 | 27 | 0.0026021 | 0.00065214 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5822-17_0_3_load_47 | 28 | 0.00223 | 0.00055888 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5822-17_0_3_load_64 | 29 | 0.0022755 | 0.00057028 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5822-17_0_3_load_77 | 30 | 0.008349 | 0.0020925 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5822-17_0_3_load_76 | 31 | 0.0005059 | 0.00012679 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5822-17_0_3_load_60 | 32 | 0.0018939 | 0.00047465 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5822-17_0_3_load_17 | 33 | 0.00030458 | 7.6334e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5822-17_0_3_load_70 | 35 | 0.0087721 | 0.0021985 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5822-17_0_3_load_73 | 37 | 0.0070857 | 0.0017758 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5822-17_0_3_load_19 | 39 | 0.021272 | 0.0053314 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5822-17_0_3_load_28 | 43 | 0.0020398 | 0.00051121 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5822-17_0_3_load_27 | 44 | 0.0019401 | 0.00048624 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5822-17_0_3_load_23 | 45 | 0.016998 | 0.0042601 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5822-17_0_3_load_29 | 46 | 0.0013451 | 0.00033712 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5822-17_0_3_load_24 | 47 | 0.01968 | 0.0049323 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5822-17_0_3_load_31 | 48 | 0.0019616 | 0.00049162 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5822-17_0_3_load_32 | 49 | 0.0091786 | 0.0023004 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5822-17_0_3_load_30 | 50 | 0.00053385 | 0.0001338 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5822-17_0_3_load_94 | 51 | 0.0041535 | 0.001041 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5822-17_0_3_load_95 | 52 | 0.00045587 | 0.00011425 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5822-17_0_3_load_37 | 54 | 0.0023001 | 0.00057646 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5822-17_0_3_load_34 | 55 | 0.0015845 | 0.00039711 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5822-17_0_3_load_35 | 57 | 0.0011126 | 0.00027885 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5822-17_0_3_load_36 | 58 | 0.0020196 | 0.00050617 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5822-17_0_3_load_38 | 59 | 0.001462 | 0.0003664 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5822-17_0_3_load_39 | 60 | 0.0032803 | 0.00082213 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5822-17_0_3_load_52 | 61 | 0.0022334 | 0.00055975 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5822-17_0_3_load_40 | 62 | 0.0019522 | 0.00048928 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5822-17_0_3_load_48 | 63 | 0.002962 | 0.00074235 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5822-17_0_3_load_49 | 64 | 0.0030451 | 0.00076318 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5822-17_0_3_load_50 | 65 | 0.0027499 | 0.00068919 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5822-17_0_3_load_54 | 67 | 0.0017505 | 0.00043871 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5822-17_0_3_load_55 | 68 | 0.0091417 | 0.0022911 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5822-17_0_3_load_58 | 72 | 0.0026821 | 0.0006722 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5822-17_0_3_load_66 | 73 | 0.0061823 | 0.0015494 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5822-17_0_3_load_68 | 74 | 0.0014064 | 0.00035247 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5822-17_0_3_load_59 | 75 | 0.0010669 | 0.00026739 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5822-17_0_3_load_83 | 76 | 0.0029907 | 0.00074954 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5822-17_0_3_load_62 | 77 | 0.0021814 | 0.00054671 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5822-17_0_3_load_63 | 78 | 0.0021061 | 0.00052783 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5822-17_0_3_load_72 | 79 | 0.02347 | 0.0058821 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5822-17_0_3_load_74 | 81 | 0.023472 | 0.0058826 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5822-17_0_3_load_82 | 82 | 0.000518 | 0.00012982 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5822-17_0_3_load_84 | 83 | 0.0012952 | 0.00032461 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5822-17_0_3_load_81 | 84 | 0.000586 | 0.00014687 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5822-17_0_3_load_86 | 85 | 0.0014106 | 0.00035352 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5822-17_0_3_load_80 | 87 | 0.00037079 | 9.2929e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5822-17_0_3_load_79 | 88 | 0.00051427 | 0.00012889 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5822-17_0_3_load_92 | 89 | 0.0066497 | 0.0016666 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5822-17_0_3_load_85 | 91 | 0.0013817 | 0.00034628 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5822-17_0_3_load_87 | 92 | 0.0016453 | 0.00041234 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5822-17_0_3_load_88 | 93 | 0.0017654 | 0.00044245 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5822-17_0_3_load_89 | 94 | 0.0024148 | 0.00060522 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5822-17_0_3_load_90 | 95 | 0.00073375 | 0.0001839 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5822-17_0_3_load_93 | 96 | 0.018461 | 0.0046267 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5822-17_0_3_load_96 | 97 | 0.00097928 | 0.00024543 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5822-17_0_3_load_97 | 98 | 0.0003562 | 8.9271e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5822-17_0_3_line_0 |  | 0 | 1 | 1.5757e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5822-17_0_3_line_1 |  | 0 | 2 | 0.027759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5822-17_0_3_line_2 |  | 2 | 3 | 0.061291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5822-17_0_3_line_3 |  | 3 | 4 | 0.05451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5822-17_0_3_line_4 |  | 4 | 5 | 0.016762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5822-17_0_3_line_5 |  | 4 | 6 | 0.049847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5822-17_0_3_line_6 |  | 6 | 7 | 0.023428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5822-17_0_3_line_7 |  | 7 | 36 | 0.048766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5822-17_0_3_line_8 |  | 8 | 9 | 0.017901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5822-17_0_3_line_9 |  | 9 | 10 | 0.029272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5822-17_0_3_line_10 |  | 10 | 11 | 0.020863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5822-17_0_3_line_11 |  | 11 | 12 | 0.019822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5822-17_0_3_line_12 |  | 12 | 98 | 0.011998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5822-17_0_3_line_13 |  | 13 | 14 | 0.020079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5822-17_0_3_line_14 |  | 13 | 15 | 0.025346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5822-17_0_3_line_15 |  | 14 | 16 | 0.025394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5822-17_0_3_line_16 |  | 15 | 17 | 0.028517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5822-17_0_3_line_17 |  | 15 | 18 | 0.01593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5822-17_0_3_line_18 |  | 16 | 23 | 0.0015296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5822-17_0_3_line_19 |  | 17 | 24 | 0.01606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5822-17_0_3_line_20 |  | 18 | 25 | 0.011324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5822-17_0_3_line_21 |  | 19 | 20 | 0.035448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5822-17_0_3_line_22 |  | 19 | 21 | 0.036407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5822-17_0_3_line_23 |  | 19 | 22 | 0.016523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5822-17_0_3_line_24 |  | 20 | 26 | 0.01981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5822-17_0_3_line_25 |  | 22 | 27 | 0.021308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5822-17_0_3_line_26 |  | 23 | 28 | 0.024669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5822-17_0_3_line_27 |  | 24 | 29 | 0.0252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5822-17_0_3_line_28 |  | 25 | 32 | 0.027169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5822-17_0_3_line_29 |  | 27 | 62 | 0.0070694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5822-17_0_3_line_30 |  | 28 | 63 | 0.00098025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5822-17_0_3_line_31 |  | 29 | 78 | 0.026435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5822-17_0_3_line_32 |  | 30 | 31 | 0.00023711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5822-17_0_3_line_33 |  | 31 | 86 | 0.016852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5822-17_0_3_line_34 |  | 32 | 75 | 0.0065329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5822-17_0_3_line_35 |  | 33 | 34 | 0.037783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5822-17_0_3_line_36 |  | 34 | 35 | 0.22888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5822-17_0_3_line_37 |  | 35 | 38 | 0.031402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5822-17_0_3_line_38 |  | 35 | 36 | 0.02573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5822-17_0_3_line_39 |  | 36 | 37 | 0.023429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5822-17_0_3_line_40 |  | 38 | 79 | 0.033025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5822-17_0_3_line_41 |  | 38 | 70 | 0.037197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5822-17_0_3_line_42 |  | 39 | 40 | 0.041385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5822-17_0_3_line_43 |  | 40 | 41 | 0.010656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5822-17_0_3_line_44 |  | 41 | 42 | 0.034788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5822-17_0_3_line_45 |  | 41 | 43 | 0.019353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5822-17_0_3_line_46 |  | 42 | 44 | 0.0015157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5822-17_0_3_line_47 |  | 42 | 45 | 0.020002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5822-17_0_3_line_48 |  | 43 | 46 | 0.024867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5822-17_0_3_line_49 |  | 44 | 48 | 0.022004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5822-17_0_3_line_50 |  | 45 | 47 | 0.047334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5822-17_0_3_line_51 |  | 46 | 50 | 0.025654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5822-17_0_3_line_52 |  | 48 | 49 | 0.0326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5822-17_0_3_line_53 |  | 49 | 53 | 0.010605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5822-17_0_3_line_54 |  | 50 | 51 | 0.0077604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5822-17_0_3_line_55 |  | 51 | 52 | 0.0057492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5822-17_0_3_line_56 |  | 52 | 97 | 0.019749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5822-17_0_3_line_57 |  | 53 | 54 | 0.024383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5822-17_0_3_line_58 |  | 53 | 55 | 0.014788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5822-17_0_3_line_59 |  | 54 | 56 | 0.013108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5822-17_0_3_line_60 |  | 55 | 57 | 0.014882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5822-17_0_3_line_61 |  | 56 | 61 | 0.012351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_5822-17_0_3_line_62 |  | 57 | 58 | 0.0064375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5822-17_0_3_line_63 |  | 58 | 59 | 0.01613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5822-17_0_3_line_64 |  | 59 | 60 | 0.027651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5822-17_0_3_line_65 |  | 60 | 62 | 0.015057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5822-17_0_3_line_66 |  | 61 | 66 | 0.0046823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_5822-17_0_3_line_67 |  | 63 | 64 | 0.025273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5822-17_0_3_line_68 |  | 64 | 65 | 0.0037579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5822-17_0_3_line_69 |  | 66 | 67 | 0.017895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5822-17_0_3_line_70 |  | 66 | 68 | 0.026779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5822-17_0_3_line_71 |  | 67 | 69 | 0.0096039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5822-17_0_3_line_72 |  | 68 | 70 | 0.032184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5822-17_0_3_line_73 |  | 69 | 71 | 0.038917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5822-17_0_3_line_74 |  | 69 | 72 | 0.038303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5822-17_0_3_line_75 |  | 70 | 73 | 0.027038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5822-17_0_3_line_76 |  | 71 | 74 | 0.011129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5822-17_0_3_line_77 |  | 72 | 75 | 0.017641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5822-17_0_3_line_78 |  | 74 | 76 | 0.013186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5822-17_0_3_line_79 |  | 76 | 80 | 0.015229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5822-17_0_3_line_80 |  | 77 | 78 | 0.026643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5822-17_0_3_line_81 |  | 80 | 82 | 0.038514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5822-17_0_3_line_82 |  | 80 | 83 | 0.021022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5822-17_0_3_line_83 |  | 80 | 81 | 0.03197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5822-17_0_3_line_84 |  | 82 | 84 | 0.0091235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5822-17_0_3_line_85 |  | 83 | 85 | 0.0295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5822-17_0_3_line_86 |  | 84 | 88 | 0.011926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5822-17_0_3_line_87 |  | 85 | 91 | 0.032804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5822-17_0_3_line_88 |  | 86 | 87 | 0.019817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5822-17_0_3_line_89 |  | 87 | 89 | 0.011096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5822-17_0_3_line_90 |  | 89 | 90 | 0.033784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5822-17_0_3_line_91 |  | 90 | 96 | 0.033077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5822-17_0_3_line_92 |  | 90 | 95 | 0.020121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5822-17_0_3_line_93 |  | 91 | 92 | 0.025447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5822-17_0_3_line_94 |  | 92 | 93 | 0.0028894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5822-17_0_3_line_95 |  | 93 | 94 | 0.029987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5822-17_0_3_line_96 |  | 94 | 95 | 0.00039774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5822-17_0_3_line_97 |  | 97 | 98 | 0.0032154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5822-17_0_3_trafo_51 | 0.63 MVA 20/0.4 kV | 99 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2562103.0381 | 1186239.4096 | 2562103.0314 | 1186239.4239
1 | 2562103.0314 | 1186239.4239 | 2562091.2578 | 1186264.562
2 | 2562066.0767 | 1186320.4357 | 2562079.8703 | 1186288.8756 | 2562091.2578 | 1186264.562
3 | 2562115.5389 | 1186343.6454 | 2562066.0767 | 1186320.4357
4 | 2562115.5389 | 1186343.6454 | 2562122.2128 | 1186328.784 | 2562122.6465 | 1186328.967
5 | 2562115.5389 | 1186343.6454 | 2562160.661 | 1186364.8298
6 | 2562181.8682 | 1186374.7863 | 2562160.661 | 1186364.8298
7 | 2562226.1179 | 1186395.5509 | 2562181.8682 | 1186374.7863
8 | 2562291.2797 | 1186084.9502 | 2562290.7019 | 1186067.0585
9 | 2562291.2797 | 1186084.9502 | 2562285.3636 | 1186085.7991 | 2562277.612 | 1186088.3939 | 2562271.5437 | 1186094.1131 | 2562268.2316 | 1186100.0927
10 | 2562268.2316 | 1186100.0927 | 2562258.1192 | 1186118.3411
11 | 2562258.1192 | 1186118.3411 | 2562248.5113 | 1186135.679
12 | 2562242.6956 | 1186146.1738 | 2562248.5113 | 1186135.679
13 | 2562388.4225 | 1186226.2025 | 2562400.9268 | 1186241.9126
14 | 2562416.711 | 1186261.7436 | 2562400.9268 | 1186241.9126
15 | 2562388.4225 | 1186226.2025 | 2562371.2319 | 1186244.8933
16 | 2562416.711 | 1186261.7436 | 2562434.4171 | 1186284.1331
17 | 2562416.711 | 1186261.7436 | 2562405.7568 | 1186273.3097
18 | 2562370.1964 | 1186246.0191 | 2562371.2319 | 1186244.8933
19 | 2562434.4171 | 1186284.1331 | 2562423.8736 | 1186296.2468
20 | 2562397.9702 | 1186281.5313 | 2562405.7568 | 1186273.3097
21 | 2562359.1121 | 1186188.4113 | 2562349.8091 | 1186177.2862 | 2562336.7878 | 1186160.8804
22 | 2562359.1121 | 1186188.4113 | 2562361.6057 | 1186177.2563 | 2562354.7013 | 1186153.2535
23 | 2562359.1121 | 1186188.4113 | 2562348.9611 | 1186201.4482
24 | 2562336.7878 | 1186160.8804 | 2562327.4647 | 1186149.1341 | 2562324.5491 | 1186145.3041
25 | 2562335.8701 | 1186218.2608 | 2562348.9611 | 1186201.4482
26 | 2562370.1964 | 1186246.0191 | 2562353.4969 | 1186264.176
27 | 2562407.3288 | 1186315.2555 | 2562423.8736 | 1186296.2468
28 | 2562379.288 | 1186301.2571 | 2562397.9702 | 1186281.5313
29 | 2562335.8701 | 1186218.2608 | 2562331.5269 | 1186223.8387
30 | 2562353.4969 | 1186264.176 | 2562352.8333 | 1186264.8975
31 | 2562389.9733 | 1186335.1956 | 2562407.3288 | 1186315.2555
32 | 2562467.7141 | 1186326.2482 | 2562467.8611 | 1186326.4342
33 | 2562478.3127 | 1186339.6537 | 2562467.8611 | 1186326.4342
34 | 2562379.288 | 1186301.2571 | 2562377.9545 | 1186302.6651 | 2562374.9406 | 1186306.1318
35 | 2562163.1924 | 1186618.5022 | 2562126.5369 | 1186609.3395
36 | 2562249.4099 | 1186406.4834 | 2562163.1924 | 1186618.5022
37 | 2562277.8365 | 1186419.826 | 2562249.4099 | 1186406.4834
38 | 2562226.1179 | 1186395.5509 | 2562249.4099 | 1186406.4834
39 | 2562226.1179 | 1186395.5509 | 2562235.5038 | 1186374.0846
40 | 2562277.8365 | 1186419.826 | 2562307.7887 | 1186433.7378
41 | 2562277.8365 | 1186419.826 | 2562294.1983 | 1186386.4047
42 | 2562181.5313 | 1186233.6571 | 2562164.1315 | 1186271.2065
43 | 2562181.5313 | 1186233.6571 | 2562190.7827 | 1186238.9903
44 | 2562218.9998 | 1186259.445 | 2562190.7827 | 1186238.9903
45 | 2562190.7827 | 1186238.9903 | 2562200.2521 | 1186222.1123
46 | 2562218.9998 | 1186259.445 | 2562220.2269 | 1186260.3347
47 | 2562218.9998 | 1186259.445 | 2562211.4753 | 1186277.9776
48 | 2562212.4196 | 1186200.4254 | 2562200.2521 | 1186222.1123
49 | 2562220.2269 | 1186260.3347 | 2562238.0408 | 1186273.2513
50 | 2562205.0686 | 1186322.6942 | 2562210.3141 | 1186310.9165 | 2562206.0845 | 1186291.2549 | 2562211.4753 | 1186277.9776
51 | 2562212.4196 | 1186200.4254 | 2562224.9723 | 1186178.0519
52 | 2562238.0408 | 1186273.2513 | 2562264.4332 | 1186292.3881
53 | 2562273.0189 | 1186298.6135 | 2562264.4332 | 1186292.3881
54 | 2562224.9723 | 1186178.0519 | 2562228.7695 | 1186171.2839
55 | 2562228.7695 | 1186171.2839 | 2562229.6791 | 1186169.6626 | 2562231.5647 | 1186166.2599
56 | 2562231.5647 | 1186166.2599 | 2562241.1371 | 1186148.9862
57 | 2562273.0189 | 1186298.6135 | 2562292.2839 | 1186313.5597
58 | 2562273.0189 | 1186298.6135 | 2562282.1439 | 1186286.9766
59 | 2562302.6402 | 1186321.5944 | 2562292.2839 | 1186313.5597
60 | 2562282.1439 | 1186286.9766 | 2562291.3266 | 1186275.266
61 | 2562302.6402 | 1186321.5944 | 2562312.5572 | 1186328.9561
62 | 2562295.2988 | 1186270.2002 | 2562291.3266 | 1186275.266
63 | 2562295.2988 | 1186270.2002 | 2562305.2518 | 1186257.5073
64 | 2562305.2518 | 1186257.5073 | 2562313.7123 | 1186246.7177 | 2562322.2767 | 1186235.7186
65 | 2562322.2767 | 1186235.7186 | 2562331.5269 | 1186223.8387
66 | 2562316.3168 | 1186331.7469 | 2562312.5572 | 1186328.9561
67 | 2562335.8942 | 1186283.6518 | 2562342.1633 | 1186276.4987 | 2562352.8333 | 1186264.8975
68 | 2562335.8942 | 1186283.6518 | 2562333.4173 | 1186286.4779
69 | 2562316.3168 | 1186331.7469 | 2562330.5812 | 1186342.552
70 | 2562316.3168 | 1186331.7469 | 2562306.2713 | 1186356.5706
71 | 2562338.2367 | 1186348.351 | 2562330.5812 | 1186342.552
72 | 2562294.1983 | 1186386.4047 | 2562306.2713 | 1186356.5706
73 | 2562338.2367 | 1186348.351 | 2562354.7872 | 1186362.9323 | 2562367.8948 | 1186373.6332
74 | 2562338.2367 | 1186348.351 | 2562363.3668 | 1186319.4448
75 | 2562294.1983 | 1186386.4047 | 2562319.5116 | 1186395.9057
76 | 2562367.8948 | 1186373.6332 | 2562376.3817 | 1186380.8322
77 | 2562363.3668 | 1186319.4448 | 2562374.9406 | 1186306.1318
78 | 2562386.4372 | 1186389.3616 | 2562376.3817 | 1186380.8322
79 | 2562398.0505 | 1186399.2126 | 2562386.4372 | 1186389.3616
80 | 2562372.4812 | 1186355.2927 | 2562389.9733 | 1186335.1956
81 | 2562398.0505 | 1186399.2126 | 2562429.2917 | 1186376.6884
82 | 2562398.0505 | 1186399.2126 | 2562411.9234 | 1186415.0073
83 | 2562398.0505 | 1186399.2126 | 2562375.1856 | 1186421.5566
84 | 2562429.2917 | 1186376.6884 | 2562432.1632 | 1186374.6181 | 2562436.6137 | 1186371.2463
85 | 2562431.3911 | 1186437.1719 | 2562411.9234 | 1186415.0073
86 | 2562446.1193 | 1186364.0445 | 2562436.6137 | 1186371.2463
87 | 2562455.4688 | 1186437.9747 | 2562441.4186 | 1186448.5885 | 2562431.3911 | 1186437.1719
88 | 2562478.3127 | 1186339.6537 | 2562490.5849 | 1186355.2135
89 | 2562490.5849 | 1186355.2135 | 2562497.4563 | 1186363.9255
90 | 2562518.3779 | 1186390.4517 | 2562497.4563 | 1186363.9255
91 | 2562518.3779 | 1186390.4517 | 2562537.8684 | 1186413.9976 | 2562539.4899 | 1186415.9144
92 | 2562518.3779 | 1186390.4517 | 2562502.3234 | 1186402.5797
93 | 2562455.4688 | 1186437.9747 | 2562475.7735 | 1186422.6361
94 | 2562478.079 | 1186420.8944 | 2562475.7735 | 1186422.6361
95 | 2562478.079 | 1186420.8944 | 2562502.006 | 1186402.8194
96 | 2562502.3234 | 1186402.5797 | 2562502.006 | 1186402.8194
97 | 2562241.1371 | 1186148.9862 | 2562242.6956 | 1186146.1738

## bus_geodata
| x | y | coords
0 | 2562103.0314 | 1186239.4239
1 | 2562103.0381 | 1186239.4096
2 | 2562091.2578 | 1186264.562
3 | 2562066.0767 | 1186320.4357
4 | 2562115.5389 | 1186343.6454
5 | 2562122.6465 | 1186328.967
6 | 2562160.661 | 1186364.8298
7 | 2562181.8682 | 1186374.7863
8 | 2562290.7019 | 1186067.0586
9 | 2562291.2797 | 1186084.9502
10 | 2562268.2316 | 1186100.0927
11 | 2562258.1192 | 1186118.3411
12 | 2562248.5113 | 1186135.679
13 | 2562400.9268 | 1186241.9126
14 | 2562388.4225 | 1186226.2025
15 | 2562416.711 | 1186261.7436
16 | 2562371.2319 | 1186244.8933
17 | 2562434.4171 | 1186284.1331
18 | 2562405.7568 | 1186273.3097
19 | 2562359.1121 | 1186188.4113
20 | 2562336.7878 | 1186160.8804
21 | 2562354.7013 | 1186153.2535
22 | 2562348.9611 | 1186201.4482
23 | 2562370.1964 | 1186246.0191
24 | 2562423.8736 | 1186296.2468
25 | 2562397.9702 | 1186281.5313
26 | 2562324.5491 | 1186145.3041
27 | 2562335.8701 | 1186218.2608
28 | 2562353.4969 | 1186264.176
29 | 2562407.3288 | 1186315.2555
30 | 2562467.7141 | 1186326.2482
31 | 2562467.8611 | 1186326.4342
32 | 2562379.288 | 1186301.2571
33 | 2562126.5369 | 1186609.3395
34 | 2562163.1924 | 1186618.5022
35 | 2562249.4099 | 1186406.4834
36 | 2562226.1179 | 1186395.5509
37 | 2562235.5038 | 1186374.0846
38 | 2562277.8365 | 1186419.826
39 | 2562164.1315 | 1186271.2065
40 | 2562181.5313 | 1186233.6571
41 | 2562190.7827 | 1186238.9903
42 | 2562218.9998 | 1186259.445
43 | 2562200.2521 | 1186222.1123
44 | 2562220.2269 | 1186260.3347
45 | 2562211.4753 | 1186277.9776
46 | 2562212.4196 | 1186200.4254
47 | 2562205.0686 | 1186322.6942
48 | 2562238.0408 | 1186273.2513
49 | 2562264.4332 | 1186292.3881
50 | 2562224.9723 | 1186178.0519
51 | 2562228.7695 | 1186171.2839
52 | 2562231.5647 | 1186166.2599
53 | 2562273.0189 | 1186298.6135
54 | 2562292.2839 | 1186313.5597
55 | 2562282.1439 | 1186286.9766
56 | 2562302.6402 | 1186321.5944
57 | 2562291.3266 | 1186275.266
58 | 2562295.2988 | 1186270.2002
59 | 2562305.2518 | 1186257.5073
60 | 2562322.2767 | 1186235.7186
61 | 2562312.5572 | 1186328.9561
62 | 2562331.5269 | 1186223.8387
63 | 2562352.8333 | 1186264.8975
64 | 2562335.8942 | 1186283.6518
65 | 2562333.4173 | 1186286.4779
66 | 2562316.3168 | 1186331.7469
67 | 2562330.5812 | 1186342.552
68 | 2562306.2713 | 1186356.5706
69 | 2562338.2367 | 1186348.351
70 | 2562294.1983 | 1186386.4048
71 | 2562367.8948 | 1186373.6332
72 | 2562363.3668 | 1186319.4448
73 | 2562319.5116 | 1186395.9057
74 | 2562376.3817 | 1186380.8322
75 | 2562374.9406 | 1186306.1318
76 | 2562386.4372 | 1186389.3616
77 | 2562372.4812 | 1186355.2927
78 | 2562389.9733 | 1186335.1956
79 | 2562307.7887 | 1186433.7378
80 | 2562398.0505 | 1186399.2126
81 | 2562375.1856 | 1186421.5566
82 | 2562429.2917 | 1186376.6884
83 | 2562411.9234 | 1186415.0073
84 | 2562436.6137 | 1186371.2463
85 | 2562431.3911 | 1186437.1718
86 | 2562478.3127 | 1186339.6537
87 | 2562490.5849 | 1186355.2135
88 | 2562446.1193 | 1186364.0445
89 | 2562497.4563 | 1186363.9255
90 | 2562518.3779 | 1186390.4517
91 | 2562455.4688 | 1186437.9747
92 | 2562475.7735 | 1186422.6361
93 | 2562478.079 | 1186420.8944
94 | 2562502.006 | 1186402.8194
95 | 2562502.3234 | 1186402.5797
96 | 2562539.4899 | 1186415.9144
97 | 2562241.1371 | 1186148.9862
98 | 2562242.6956 | 1186146.1738
99 | 2562316.3168 | 1186331.7469

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1