## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5822-1_1_5_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_5822-1_1_5_node_64 | 0.4 | n |  | TRUE
2 | bus_LV_5822-1_1_5_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_5822-1_1_5_node_65 | 0.4 | n |  | TRUE
4 | bus_LV_5822-1_1_5_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_5822-1_1_5_node_67 | 0.4 | n |  | TRUE
6 | bus_LV_5822-1_1_5_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_5822-1_1_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_5822-1_1_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5822-1_1_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_5822-1_1_5_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_5822-1_1_5_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_5822-1_1_5_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_5822-1_1_5_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_5822-1_1_5_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_5822-1_1_5_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_5822-1_1_5_node_112 | 0.4 | n |  | TRUE
17 | bus_LV_5822-1_1_5_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_5822-1_1_5_node_111 | 0.4 | n |  | TRUE
19 | bus_LV_5822-1_1_5_node_71 | 0.4 | n |  | TRUE
20 | bus_LV_5822-1_1_5_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_5822-1_1_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_5822-1_1_5_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_5822-1_1_5_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_5822-1_1_5_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_5822-1_1_5_node_121 | 0.4 | n |  | TRUE
26 | bus_LV_5822-1_1_5_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_5822-1_1_5_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_5822-1_1_5_node_84 | 0.4 | n |  | TRUE
29 | bus_LV_5822-1_1_5_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_5822-1_1_5_node_113 | 0.4 | n |  | TRUE
31 | bus_LV_5822-1_1_5_node_109 | 0.4 | n |  | TRUE
32 | bus_LV_5822-1_1_5_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_5822-1_1_5_node_120 | 0.4 | n |  | TRUE
34 | bus_LV_5822-1_1_5_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_5822-1_1_5_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_5822-1_1_5_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_5822-1_1_5_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_5822-1_1_5_node_122 | 0.4 | n |  | TRUE
39 | bus_LV_5822-1_1_5_node_119 | 0.4 | n |  | TRUE
40 | bus_LV_5822-1_1_5_node_128 | 0.4 | n |  | TRUE
41 | bus_LV_5822-1_1_5_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_5822-1_1_5_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_5822-1_1_5_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_5822-1_1_5_node_136 | 0.4 | n |  | TRUE
45 | bus_LV_5822-1_1_5_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_5822-1_1_5_node_134 | 0.4 | n |  | TRUE
47 | bus_LV_5822-1_1_5_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_5822-1_1_5_node_88 | 0.4 | n |  | TRUE
49 | bus_LV_5822-1_1_5_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_5822-1_1_5_node_83 | 0.4 | n |  | TRUE
51 | bus_LV_5822-1_1_5_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_5822-1_1_5_node_110 | 0.4 | n |  | TRUE
53 | bus_LV_5822-1_1_5_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_5822-1_1_5_node_89 | 0.4 | n |  | TRUE
55 | bus_LV_5822-1_1_5_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_5822-1_1_5_node_92 | 0.4 | n |  | TRUE
57 | bus_LV_5822-1_1_5_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_5822-1_1_5_node_94 | 0.4 | n |  | TRUE
59 | bus_LV_5822-1_1_5_node_106 | 0.4 | n |  | TRUE
60 | bus_LV_5822-1_1_5_node_114 | 0.4 | n |  | TRUE
61 | bus_LV_5822-1_1_5_node_95 | 0.4 | n |  | TRUE
62 | bus_LV_5822-1_1_5_node_96 | 0.4 | n |  | TRUE
63 | bus_LV_5822-1_1_5_node_97 | 0.4 | n |  | TRUE
64 | bus_LV_5822-1_1_5_node_98 | 0.4 | n |  | TRUE
65 | bus_LV_5822-1_1_5_node_105 | 0.4 | n |  | TRUE
66 | bus_LV_5822-1_1_5_node_116 | 0.4 | n |  | TRUE
67 | bus_LV_5822-1_1_5_node_104 | 0.4 | n |  | TRUE
68 | bus_LV_5822-1_1_5_node_99 | 0.4 | n |  | TRUE
69 | bus_LV_5822-1_1_5_node_100 | 0.4 | n |  | TRUE
70 | bus_LV_5822-1_1_5_node_101 | 0.4 | n |  | TRUE
71 | bus_LV_5822-1_1_5_node_102 | 0.4 | n |  | TRUE
72 | bus_LV_5822-1_1_5_node_103 | 0.4 | n |  | TRUE
73 | bus_LV_5822-1_1_5_node_133 | 0.4 | n |  | TRUE
74 | bus_LV_5822-1_1_5_node_118 | 0.4 | n |  | TRUE
75 | bus_LV_5822-1_1_5_node_115 | 0.4 | n |  | TRUE
76 | bus_LV_5822-1_1_5_node_107 | 0.4 | n |  | TRUE
77 | bus_LV_5822-1_1_5_node_108 | 0.4 | n |  | TRUE
78 | bus_LV_5822-1_1_5_node_117 | 0.4 | n |  | TRUE
79 | bus_LV_5822-1_1_5_node_129 | 0.4 | n |  | TRUE
80 | bus_LV_5822-1_1_5_node_127 | 0.4 | n |  | TRUE
81 | bus_LV_5822-1_1_5_node_123 | 0.4 | n |  | TRUE
82 | bus_LV_5822-1_1_5_node_124 | 0.4 | n |  | TRUE
83 | bus_LV_5822-1_1_5_node_125 | 0.4 | n |  | TRUE
84 | bus_LV_5822-1_1_5_node_126 | 0.4 | n |  | TRUE
85 | bus_LV_5822-1_1_5_node_130 | 0.4 | n |  | TRUE
86 | bus_LV_5822-1_1_5_node_131 | 0.4 | n |  | TRUE
87 | bus_LV_5822-1_1_5_node_132 | 0.4 | n |  | TRUE
88 | bus_MV_477_0_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5822-1_1_5_load_3 | 0 | 0.0052631 | 0.0013191 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5822-1_1_5_load_6 | 2 | 0.0019652 | 0.00049253 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5822-1_1_5_load_65 | 3 | 0.00028013 | 7.0206e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5822-1_1_5_load_67 | 5 | 0.030172 | 0.0075617 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5822-1_1_5_load_66 | 6 | 0.0018412 | 0.00046146 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5822-1_1_5_load_8 | 7 | 0.0090938 | 0.0022791 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5822-1_1_5_load_75 | 14 | 0.0023613 | 0.0005918 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5822-1_1_5_load_111 | 18 | 0.0019328 | 0.00048441 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5822-1_1_5_load_71 | 19 | 0.0089819 | 0.0022511 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5822-1_1_5_load_69 | 20 | 0.032053 | 0.0080333 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5822-1_1_5_load_60 | 22 | 0.021053 | 0.0052763 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5822-1_1_5_load_59 | 23 | 0.0094437 | 0.0023668 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5822-1_1_5_load_121 | 25 | 0.0027124 | 0.00067979 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5822-1_1_5_load_74 | 26 | 0.0031044 | 0.00077802 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5822-1_1_5_load_80 | 27 | 0.0086091 | 0.0021576 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5822-1_1_5_load_84 | 28 | 0.0045482 | 0.0011399 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5822-1_1_5_load_76 | 29 | 0.0037181 | 0.00093184 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5822-1_1_5_load_113 | 30 | 0.0015012 | 0.00037625 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5822-1_1_5_load_109 | 31 | 0.0032394 | 0.00081186 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5822-1_1_5_load_120 | 33 | 0.0033423 | 0.00083767 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5822-1_1_5_load_72 | 34 | 0.031922 | 0.0080004 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5822-1_1_5_load_85 | 36 | 0.0024789 | 0.00062127 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5822-1_1_5_load_122 | 38 | 0.0027218 | 0.00068215 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5822-1_1_5_load_119 | 39 | 0.0023012 | 0.00057673 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5822-1_1_5_load_78 | 43 | 0.010765 | 0.0026979 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5822-1_1_5_load_136 | 44 | 0.0061112 | 0.0015316 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5822-1_1_5_load_134 | 46 | 0.0020209 | 0.00050648 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5822-1_1_5_load_86 | 49 | 0.0033886 | 0.00084927 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5822-1_1_5_load_110 | 52 | 0.0029076 | 0.00072871 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5822-1_1_5_load_87 | 53 | 0.0021905 | 0.00054899 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5822-1_1_5_load_89 | 54 | 0.0031556 | 0.00079088 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5822-1_1_5_load_91 | 55 | 0.0043471 | 0.0010895 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5822-1_1_5_load_92 | 56 | 0.0049494 | 0.0012404 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5822-1_1_5_load_93 | 57 | 0.0042635 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5822-1_1_5_load_94 | 58 | 0.003747 | 0.00093907 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5822-1_1_5_load_114 | 60 | 0.00335 | 0.00083959 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5822-1_1_5_load_95 | 61 | 0.0010979 | 0.00027515 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5822-1_1_5_load_96 | 62 | 0.0022026 | 0.00055203 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5822-1_1_5_load_97 | 63 | 0.0021855 | 0.00054773 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5822-1_1_5_load_98 | 64 | 0.0013894 | 0.00034821 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5822-1_1_5_load_99 | 68 | 0.0020073 | 0.00050308 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5822-1_1_5_load_101 | 70 | 0.0018901 | 0.00047371 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5822-1_1_5_load_103 | 72 | 0.001336 | 0.00033483 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5822-1_1_5_load_133 | 73 | 0.0051994 | 0.0013031 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5822-1_1_5_load_118 | 74 | 0.0037779 | 0.00094683 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5822-1_1_5_load_115 | 75 | 0.0024617 | 0.00061697 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5822-1_1_5_load_107 | 76 | 0.0051187 | 0.0012829 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5822-1_1_5_load_108 | 77 | 0.0028081 | 0.00070378 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5822-1_1_5_load_117 | 78 | 0.0035268 | 0.0008839 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5822-1_1_5_load_127 | 80 | 0.0019621 | 0.00049176 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5822-1_1_5_load_123 | 81 | 0.00332 | 0.00083207 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5822-1_1_5_load_124 | 82 | 0.0026909 | 0.00067441 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5822-1_1_5_load_125 | 83 | 0.0046942 | 0.0011765 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5822-1_1_5_load_126 | 84 | 0.0011609 | 0.00029095 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5822-1_1_5_load_130 | 85 | 0.0039969 | 0.0010017 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5822-1_1_5_load_132 | 87 | 0.0023188 | 0.00058114 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5822-1_1_5_line_0 |  | 0 | 1 | 0.051283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5822-1_1_5_line_1 |  | 1 | 3 | 0.010683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5822-1_1_5_line_2 |  | 1 | 4 | 0.058487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5822-1_1_5_line_3 |  | 2 | 3 | 0.037154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5822-1_1_5_line_4 |  | 4 | 6 | 0.017181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5822-1_1_5_line_5 |  | 4 | 8 | 0.06326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5822-1_1_5_line_6 |  | 5 | 6 | 0.014679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5822-1_1_5_line_7 |  | 7 | 8 | 0.017574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5822-1_1_5_line_8 |  | 7 | 9 | 0.028134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5822-1_1_5_line_9 |  | 8 | 10 | 0.016552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5822-1_1_5_line_10 |  | 9 | 11 | 0.034711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5822-1_1_5_line_11 |  | 10 | 28 | 0.028515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5822-1_1_5_line_12 |  | 10 | 22 | 0.027612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5822-1_1_5_line_13 |  | 11 | 19 | 0.030137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5822-1_1_5_line_14 |  | 11 | 20 | 0.043884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5822-1_1_5_line_15 |  | 12 | 13 | 0.022388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5822-1_1_5_line_16 |  | 12 | 14 | 0.034882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5822-1_1_5_line_17 |  | 13 | 17 | 0.12873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5822-1_1_5_line_18 |  | 13 | 26 | 0.02516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5822-1_1_5_line_19 |  | 14 | 29 | 0.051694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5822-1_1_5_line_20 |  | 15 | 16 | 0.039075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5822-1_1_5_line_21 |  | 15 | 17 | 0.2093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5822-1_1_5_line_22 |  | 15 | 18 | 0.027787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5822-1_1_5_line_23 |  | 16 | 30 | 0.013315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5822-1_1_5_line_24 |  | 16 | 24 | 0.010403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5822-1_1_5_line_25 |  | 17 | 27 | 0.10476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5822-1_1_5_line_26 |  | 18 | 31 | 0.012373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5822-1_1_5_line_27 |  | 20 | 32 | 0.030588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5822-1_1_5_line_28 |  | 21 | 22 | 0.033969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5822-1_1_5_line_29 |  | 21 | 23 | 0.021033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5822-1_1_5_line_30 |  | 24 | 25 | 0.019118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5822-1_1_5_line_31 |  | 25 | 33 | 0.0038018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5822-1_1_5_line_32 |  | 26 | 34 | 0.033035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5822-1_1_5_line_33 |  | 27 | 35 | 0.044093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5822-1_1_5_line_34 |  | 28 | 36 | 0.012914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5822-1_1_5_line_35 |  | 29 | 45 | 0.0032729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5822-1_1_5_line_36 |  | 30 | 59 | 0.036844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5822-1_1_5_line_37 |  | 31 | 77 | 0.040292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5822-1_1_5_line_38 |  | 32 | 34 | 0.034559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5822-1_1_5_line_39 |  | 32 | 41 | 0.10627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5822-1_1_5_line_40 |  | 33 | 39 | 0.030368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5822-1_1_5_line_41 |  | 35 | 50 | 0.009467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5822-1_1_5_line_42 |  | 37 | 38 | 0.021111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5822-1_1_5_line_43 |  | 37 | 39 | 0.0081049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5822-1_1_5_line_44 |  | 38 | 40 | 0.0074523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5822-1_1_5_line_45 |  | 40 | 79 | 0.017374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5822-1_1_5_line_46 |  | 40 | 80 | 0.0065395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5822-1_1_5_line_47 |  | 41 | 42 | 0.042003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5822-1_1_5_line_48 |  | 41 | 43 | 0.023175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5822-1_1_5_line_49 |  | 42 | 44 | 0.042924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5822-1_1_5_line_50 |  | 45 | 46 | 0.0060127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5822-1_1_5_line_51 |  | 46 | 47 | 0.017364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5822-1_1_5_line_52 |  | 47 | 48 | 0.041039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5822-1_1_5_line_53 |  | 48 | 49 | 0.045986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5822-1_1_5_line_54 |  | 49 | 53 | 0.0257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5822-1_1_5_line_55 |  | 50 | 51 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5822-1_1_5_line_56 |  | 51 | 52 | 0.010224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5822-1_1_5_line_57 |  | 53 | 54 | 0.028019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5822-1_1_5_line_58 |  | 54 | 55 | 0.0010976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5822-1_1_5_line_59 |  | 56 | 57 | 0.040517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5822-1_1_5_line_60 |  | 57 | 58 | 0.06144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5822-1_1_5_line_61 |  | 58 | 59 | 0.027825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5822-1_1_5_line_62 |  | 59 | 60 | 0.0071603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5822-1_1_5_line_63 |  | 60 | 74 | 0.025906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5822-1_1_5_line_64 |  | 61 | 62 | 0.022598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5822-1_1_5_line_65 |  | 61 | 63 | 0.015508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5822-1_1_5_line_66 |  | 62 | 64 | 0.072508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5822-1_1_5_line_67 |  | 64 | 65 | 0.045949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5822-1_1_5_line_68 |  | 65 | 66 | 0.034275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5822-1_1_5_line_69 |  | 65 | 67 | 0.034306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5822-1_1_5_line_70 |  | 66 | 74 | 0.0035686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5822-1_1_5_line_71 |  | 66 | 75 | 0.029673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5822-1_1_5_line_72 |  | 67 | 73 | 0.032728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5822-1_1_5_line_73 |  | 67 | 71 | 0.089007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5822-1_1_5_line_74 |  | 68 | 69 | 0.042543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5822-1_1_5_line_75 |  | 69 | 70 | 0.01693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5822-1_1_5_line_76 |  | 69 | 71 | 0.027352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5822-1_1_5_line_77 |  | 71 | 72 | 0.016797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5822-1_1_5_line_78 |  | 75 | 78 | 0.010639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5822-1_1_5_line_79 |  | 76 | 77 | 0.002452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5822-1_1_5_line_80 |  | 79 | 85 | 0.02833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5822-1_1_5_line_81 |  | 80 | 84 | 0.015933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5822-1_1_5_line_82 |  | 81 | 82 | 0.017652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5822-1_1_5_line_83 |  | 81 | 83 | 0.0055854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5822-1_1_5_line_84 |  | 82 | 84 | 0.00038573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5822-1_1_5_line_85 |  | 85 | 86 | 0.031366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5822-1_1_5_line_86 |  | 86 | 87 | 0.041197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5822-1_1_5_trafo_27 | 0.63 MVA 20/0.4 kV | 88 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2562116.0647 | 1186005.5828 | 2562082.9142 | 1185987.1609 | 2562072.0039 | 1185979.4545
1 | 2562116.0647 | 1186005.5828 | 2562110.9321 | 1186014.9522
2 | 2562116.0647 | 1186005.5828 | 2562132.7189 | 1185974.9163 | 2562143.7963 | 1185954.0571
3 | 2562093.0819 | 1186047.5369 | 2562110.9321 | 1186014.9522
4 | 2562143.7963 | 1185954.0571 | 2562138.2225 | 1185951.1242 | 2562134.7003 | 1185949.2233 | 2562128.6475 | 1185945.952
5 | 2562143.7963 | 1185954.0571 | 2562148.449 | 1185945.2896 | 2562174.917 | 1185898.986
6 | 2562128.6475 | 1185945.952 | 2562115.7339 | 1185938.973
7 | 2562174.917 | 1185898.986 | 2562179.6881 | 1185901.6794 | 2562181.886 | 1185902.9217 | 2562190.1924 | 1185907.6746
8 | 2562214.6113 | 1185921.647 | 2562190.1924 | 1185907.6746
9 | 2562174.917 | 1185898.986 | 2562180.1363 | 1185890.5262 | 2562186.0313 | 1185887.5317
10 | 2562214.6113 | 1185921.647 | 2562230.7213 | 1185931.5059 | 2562234.529 | 1185929.0806 | 2562238.2562 | 1185925.9776 | 2562242.4065 | 1185922.2271 | 2562243.0669 | 1185921.6671
11 | 2562186.0313 | 1185887.5317 | 2562195.8418 | 1185871.4165 | 2562195.1846 | 1185866.4402 | 2562197.1029 | 1185862.2277
12 | 2562186.0313 | 1185887.5317 | 2562161.9863 | 1185873.9566
13 | 2562243.0669 | 1185921.6671 | 2562232.1818 | 1185913.8761 | 2562217.9924 | 1185904.9726
14 | 2562243.0669 | 1185921.6671 | 2562257.9481 | 1185930.2777 | 2562261.7868 | 1185927.9299 | 2562278.7809 | 1185917.0835 | 2562280.7464 | 1185916.5708
15 | 2562356.6017 | 1185866.4543 | 2562358.6458 | 1185867.5087 | 2562360.9145 | 1185867.8724 | 2562363.1863 | 1185867.5134 | 2562365.2247 | 1185866.4556 | 2562366.333 | 1185865.5259 | 2562367.8042 | 1185862.8596 | 2562368.1494 | 1185860.723 | 2562367.8382 | 1185858.5682 | 2562366.8948 | 1185856.6064 | 2562365.412 | 1185855.0038
16 | 2562365.412 | 1185855.0038 | 2562377.4971 | 1185841.3203 | 2562388.4535 | 1185828.8152
17 | 2562247.2447 | 1185819.6637 | 2562247.0495 | 1185823.7894 | 2562252.7892 | 1185823.9866 | 2562270.7469 | 1185826.719 | 2562289.0185 | 1185830.817 | 2562315.7331 | 1185839.0528 | 2562354.9521 | 1185856.5483 | 2562353.9878 | 1185858.5332 | 2562353.6659 | 1185860.7253 | 2562354.0307 | 1185862.9131 | 2562355.0428 | 1185864.8855 | 2562356.6017 | 1185866.4543
18 | 2562356.6017 | 1185866.4543 | 2562350.0336 | 1185875.256 | 2562340.6543 | 1185885.8875
19 | 2562388.4535 | 1185828.8152 | 2562422.5194 | 1185789.934
20 | 2562234.896 | 1185638.4001 | 2562208.5456 | 1185609.4845
21 | 2562234.896 | 1185638.4001 | 2562234.0498 | 1185645.7761 | 2562229.7977 | 1185650.3609 | 2562203.1123 | 1185669.7957 | 2562198.6131 | 1185675.127 | 2562196.0184 | 1185679.9238 | 2562194.9356 | 1185687.2901 | 2562196.5327 | 1185696.0736 | 2562243.2881 | 1185803.38 | 2562247.2447 | 1185819.6637
22 | 2562234.896 | 1185638.4001 | 2562246.969 | 1185633.6323 | 2562255.118 | 1185633.4474 | 2562260.0015 | 1185637.9699
23 | 2562208.5456 | 1185609.4845 | 2562220.7393 | 1185604.1367
24 | 2562208.5456 | 1185609.4845 | 2562200.9531 | 1185602.351
25 | 2562247.2447 | 1185819.6637 | 2562254.0093 | 1185814.1847 | 2562301.571 | 1185765.4805 | 2562320.8391 | 1185745.1905
26 | 2562269.0793 | 1185646.3767 | 2562260.0015 | 1185637.9699
27 | 2562299.5 | 1185939.0533 | 2562293.8131 | 1185937.5329 | 2562280.7464 | 1185916.5708
28 | 2562132.4832 | 1185857.1212 | 2562145.6644 | 1185864.7418 | 2562161.9863 | 1185873.9566
29 | 2562132.4832 | 1185857.1212 | 2562124.7246 | 1185852.6346 | 2562114.2926 | 1185846.5633
30 | 2562200.9531 | 1185602.351 | 2562194.75 | 1185596.5093 | 2562187.0296 | 1185589.2497
31 | 2562184.2599 | 1185586.6454 | 2562187.0296 | 1185589.2497
32 | 2562319.165 | 1185910.9704 | 2562327.2807 | 1185901.0466 | 2562340.6543 | 1185885.8875
33 | 2562351.202 | 1185713.2173 | 2562320.8391 | 1185745.1905
34 | 2562202.455 | 1185850.4745 | 2562197.1029 | 1185862.2277
35 | 2562424.6762 | 1185787.4723 | 2562422.5194 | 1185789.934
36 | 2562254.4805 | 1185589.3389 | 2562220.7393 | 1185604.1367
37 | 2562298.6418 | 1185673.754 | 2562269.0793 | 1185646.3767
38 | 2562299.5 | 1185939.0533 | 2562302.9807 | 1185930.7603 | 2562319.165 | 1185910.9704
39 | 2562299.5 | 1185939.0533 | 2562301.745 | 1185945.3314 | 2562314.669 | 1185959.4352 | 2562342.6908 | 1185983.8605 | 2562365.7533 | 1185999.9683 | 2562375.3014 | 1185988.1796
40 | 2562163.6298 | 1185564.399 | 2562177.9681 | 1185580.7293 | 2562184.2599 | 1185586.6454
41 | 2562344.1491 | 1185706.8806 | 2562351.202 | 1185713.2173
42 | 2562158.2823 | 1185558.3086 | 2562171.1603 | 1185541.5801
43 | 2562158.2823 | 1185558.3086 | 2562163.6298 | 1185564.399
44 | 2562175.7063 | 1185535.675 | 2562171.1603 | 1185541.5801
45 | 2562183.2537 | 1185520.0188 | 2562175.7063 | 1185535.675
46 | 2562175.7063 | 1185535.675 | 2562182.2387 | 1185535.979
47 | 2562401.7652 | 1185955.5066 | 2562375.3014 | 1185988.1796
48 | 2562375.3014 | 1185988.1796 | 2562356.632 | 1185974.4496
49 | 2562401.7652 | 1185955.5066 | 2562405.589 | 1185950.78 | 2562376.8504 | 1185927.6152
50 | 2562424.6762 | 1185787.4723 | 2562428.869 | 1185783.1626
51 | 2562440.9776 | 1185770.7164 | 2562428.869 | 1185783.1626
52 | 2562440.9776 | 1185770.7164 | 2562448.3777 | 1185763.1214 | 2562455.4432 | 1185755.6952 | 2562469.3159 | 1185741.0335
53 | 2562469.3159 | 1185741.0335 | 2562435.5078 | 1185709.8615
54 | 2562435.5078 | 1185709.8615 | 2562428.6351 | 1185703.5246 | 2562416.3486 | 1185692.7343
55 | 2562353.4429 | 1185697.0612 | 2562344.1491 | 1185706.8806
56 | 2562353.4429 | 1185697.0612 | 2562346.0252 | 1185690.0256
57 | 2562395.2632 | 1185690.4229 | 2562403.0171 | 1185682.8747 | 2562404.755 | 1185682.5525 | 2562416.3486 | 1185692.7343
58 | 2562394.4768 | 1185691.1885 | 2562395.2632 | 1185690.4229
59 | 2562351.5341 | 1185675.5009 | 2562321.2346 | 1185648.6017
60 | 2562321.2346 | 1185648.6017 | 2562275.2885 | 1185607.8118
61 | 2562254.4805 | 1185589.3389 | 2562275.2885 | 1185607.8118
62 | 2562254.4805 | 1185589.3389 | 2562260.765 | 1185585.9075
63 | 2562283.5026 | 1185573.4922 | 2562260.765 | 1185585.9075
64 | 2562388.7956 | 1185656.5058 | 2562385.3821 | 1185653.8924 | 2562382.285 | 1185650.4434 | 2562380.8227 | 1185646.0614 | 2562381.1143 | 1185642.6911 | 2562384.293 | 1185638.0073
65 | 2562401.1095 | 1185665.9332 | 2562388.7956 | 1185656.5058
66 | 2562384.293 | 1185638.0073 | 2562384.6605 | 1185637.4659 | 2562388.7211 | 1185632.7489 | 2562390.1326 | 1185629.0714 | 2562390.4198 | 1185626.2125 | 2562389.3787 | 1185623.2619 | 2562386.9079 | 1185619.909 | 2562383.9241 | 1185617.4821 | 2562379.3556 | 1185615.4764 | 2562373.6408 | 1185613.2112 | 2562366.4989 | 1185610.9439 | 2562360.5995 | 1185607.2457 | 2562356.1207 | 1185603.7276 | 2562352.5256 | 1185598.7698 | 2562348.7439 | 1185592.0456 | 2562347.6036 | 1185589.7636
67 | 2562317.1443 | 1185556.0033 | 2562341.8859 | 1185579.1263 | 2562344.408 | 1185583.3683 | 2562347.6036 | 1185589.7636
68 | 2562317.1443 | 1185556.0033 | 2562303.7244 | 1185562.6248 | 2562286.6347 | 1185571.782
69 | 2562317.1443 | 1185556.0033 | 2562346.7119 | 1185538.463
70 | 2562286.6347 | 1185571.782 | 2562283.5026 | 1185573.4922
71 | 2562286.6347 | 1185571.782 | 2562309.1583 | 1185591.0992
72 | 2562346.7119 | 1185538.463 | 2562324.923 | 1185514.0428
73 | 2562346.7119 | 1185538.463 | 2562350.0247 | 1185537.3749 | 2562415.5726 | 1185592.3027
74 | 2562437.2895 | 1185609.0084 | 2562456.3386 | 1185623.8189 | 2562444.9555 | 1185638.2927
75 | 2562437.2895 | 1185609.0084 | 2562426.6928 | 1185622.2117
76 | 2562415.5726 | 1185592.3027 | 2562437.2895 | 1185609.0084
77 | 2562415.5726 | 1185592.3027 | 2562405.1379 | 1185605.4657
78 | 2562317.2339 | 1185598.0252 | 2562309.1583 | 1185591.0992
79 | 2562300.4408 | 1185675.42 | 2562298.6418 | 1185673.754
80 | 2562183.2537 | 1185520.0188 | 2562196.2373 | 1185494.8393
81 | 2562182.2387 | 1185535.979 | 2562198.1543 | 1185536.7198
82 | 2562216.1728 | 1185537.5584 | 2562198.5397 | 1185536.7377
83 | 2562221.7521 | 1185537.8181 | 2562216.1728 | 1185537.5584
84 | 2562198.1543 | 1185536.7198 | 2562198.5397 | 1185536.7377
85 | 2562210.6122 | 1185466.9617 | 2562196.2373 | 1185494.8393
86 | 2562210.6122 | 1185466.9617 | 2562242.7364 | 1185492.8614

## bus_geodata
| x | y | coords
0 | 2562072.0039 | 1185979.4545
1 | 2562116.0647 | 1186005.5828
2 | 2562093.0819 | 1186047.5369
3 | 2562110.9321 | 1186014.9522
4 | 2562143.7963 | 1185954.0571
5 | 2562115.7339 | 1185938.973
6 | 2562128.6475 | 1185945.952
7 | 2562190.1924 | 1185907.6746
8 | 2562174.917 | 1185898.986
9 | 2562214.6113 | 1185921.647
10 | 2562186.0313 | 1185887.5317
11 | 2562243.0669 | 1185921.6671
12 | 2562365.412 | 1185855.0038
13 | 2562356.6017 | 1185866.4543
14 | 2562388.4535 | 1185828.8152
15 | 2562234.896 | 1185638.4001
16 | 2562208.5456 | 1185609.4845
17 | 2562247.2447 | 1185819.6637
18 | 2562260.0015 | 1185637.9699
19 | 2562217.9924 | 1185904.9726
20 | 2562280.7464 | 1185916.5708
21 | 2562132.4832 | 1185857.1212
22 | 2562161.9863 | 1185873.9566
23 | 2562114.2926 | 1185846.5633
24 | 2562200.9531 | 1185602.351
25 | 2562187.0296 | 1185589.2497
26 | 2562340.6543 | 1185885.8875
27 | 2562320.8391 | 1185745.1905
28 | 2562197.1029 | 1185862.2277
29 | 2562422.5194 | 1185789.934
30 | 2562220.7393 | 1185604.1367
31 | 2562269.0793 | 1185646.3767
32 | 2562299.5 | 1185939.0533
33 | 2562184.2599 | 1185586.6454
34 | 2562319.165 | 1185910.9704
35 | 2562351.202 | 1185713.2173
36 | 2562202.455 | 1185850.4745
37 | 2562158.2823 | 1185558.3086
38 | 2562171.1603 | 1185541.5801
39 | 2562163.6298 | 1185564.399
40 | 2562175.7063 | 1185535.675
41 | 2562375.3014 | 1185988.1796
42 | 2562401.7652 | 1185955.5066
43 | 2562356.632 | 1185974.4496
44 | 2562376.8504 | 1185927.6152
45 | 2562424.6762 | 1185787.4723
46 | 2562428.869 | 1185783.1626
47 | 2562440.9776 | 1185770.7164
48 | 2562469.3159 | 1185741.0335
49 | 2562435.5078 | 1185709.8615
50 | 2562344.1491 | 1185706.8806
51 | 2562353.4429 | 1185697.0612
52 | 2562346.0252 | 1185690.0256
53 | 2562416.3486 | 1185692.7343
54 | 2562395.2632 | 1185690.4229
55 | 2562394.4768 | 1185691.1885
56 | 2562351.5341 | 1185675.5009
57 | 2562321.2346 | 1185648.6017
58 | 2562275.2885 | 1185607.8118
59 | 2562254.4805 | 1185589.3389
60 | 2562260.765 | 1185585.9075
61 | 2562388.7956 | 1185656.5058
62 | 2562384.293 | 1185638.0073
63 | 2562401.1095 | 1185665.9332
64 | 2562347.6036 | 1185589.7636
65 | 2562317.1443 | 1185556.0033
66 | 2562286.6347 | 1185571.782
67 | 2562346.7119 | 1185538.463
68 | 2562444.9555 | 1185638.2927
69 | 2562437.2895 | 1185609.0084
70 | 2562426.6928 | 1185622.2117
71 | 2562415.5726 | 1185592.3027
72 | 2562405.1379 | 1185605.4657
73 | 2562324.923 | 1185514.0428
74 | 2562283.5026 | 1185573.4922
75 | 2562309.1583 | 1185591.0992
76 | 2562300.4408 | 1185675.42
77 | 2562298.6418 | 1185673.754
78 | 2562317.2339 | 1185598.0252
79 | 2562183.2537 | 1185520.0188
80 | 2562182.2387 | 1185535.979
81 | 2562216.1728 | 1185537.5584
82 | 2562198.5397 | 1185536.7377
83 | 2562221.7521 | 1185537.8181
84 | 2562198.1543 | 1185536.7198
85 | 2562196.2373 | 1185494.8393
86 | 2562210.6122 | 1185466.9617
87 | 2562242.7364 | 1185492.8614
88 | 2562247.0495 | 1185823.7894

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1