## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5822-27_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5822-27_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5822-27_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5822-27_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5822-27_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5822-27_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5822-27_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5822-27_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5822-27_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5822-27_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5822-27_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5822-27_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5822-27_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_5822-27_0_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_5822-27_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_5822-27_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_5822-27_0_2_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_5822-27_0_2_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_5822-27_0_2_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_5822-27_0_2_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_5822-27_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_5822-27_0_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5822-27_0_2_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_5822-27_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_5822-27_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_5822-27_0_2_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_5822-27_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_5822-27_0_2_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_5822-27_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_5822-27_0_2_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5822-27_0_2_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_5822-27_0_2_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_5822-27_0_2_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_5822-27_0_2_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_5822-27_0_2_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5822-27_0_2_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_5822-27_0_2_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_5822-27_0_2_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_5822-27_0_2_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_5822-27_0_2_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5822-27_0_2_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_5822-27_0_2_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_5822-27_0_2_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_5822-27_0_2_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_5822-27_0_2_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_5822-27_0_2_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_5822-27_0_2_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_5822-27_0_2_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_5822-27_0_2_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_5822-27_0_2_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_5822-27_0_2_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_5822-27_0_2_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_5822-27_0_2_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_5822-27_0_2_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_5822-27_0_2_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_5822-27_0_2_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_5822-27_0_2_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_5822-27_0_2_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_5822-27_0_2_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_5822-27_0_2_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_5822-27_0_2_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_5822-27_0_2_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_5822-27_0_2_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_5822-27_0_2_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_5822-27_0_2_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_5822-27_0_2_node_67 | 0.4 | n |  | TRUE
66 | bus_MV_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5822-27_0_2_load_0 | 0 | 0.001144 | 0.00028671 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5822-27_0_2_load_1 | 1 | 0.0019537 | 0.00048965 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5822-27_0_2_load_2 | 2 | 0.0014525 | 0.00036402 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5822-27_0_2_load_4 | 4 | 0.0010685 | 0.00026778 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5822-27_0_2_load_5 | 5 | 0.00027724 | 6.9483e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5822-27_0_2_load_6 | 6 | 0.0017313 | 0.00043389 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5822-27_0_2_load_7 | 7 | 0.0011441 | 0.00028674 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5822-27_0_2_load_8 | 8 | 0.00092753 | 0.00023246 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5822-27_0_2_load_9 | 9 | 0.00066781 | 0.00016737 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5822-27_0_2_load_10 | 10 | 0.0023186 | 0.00058111 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5822-27_0_2_load_11 | 11 | 0.00051355 | 0.00012871 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5822-27_0_2_load_12 | 12 | 0.00061513 | 0.00015417 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5822-27_0_2_load_13 | 13 | 0.00036998 | 9.2725e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5822-27_0_2_load_14 | 14 | 0.001997 | 0.0005005 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5822-27_0_2_load_15 | 15 | 0.0033424 | 0.00083769 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5822-27_0_2_load_16 | 16 | 0.0017624 | 0.0004417 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5822-27_0_2_load_17 | 17 | 0.00074462 | 0.00018662 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5822-27_0_2_load_18 | 18 | 0.0005224 | 0.00013092 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5822-27_0_2_load_19 | 19 | 0.00050129 | 0.00012563 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5822-27_0_2_load_21 | 20 | 0.00069542 | 0.00017429 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5822-27_0_2_load_20 | 21 | 0.0011326 | 0.00028387 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5822-27_0_2_load_23 | 23 | 0.00032129 | 8.0523e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5822-27_0_2_load_27 | 25 | 0.00023655 | 5.9286e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5822-27_0_2_load_28 | 26 | 0.00058498 | 0.00014661 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5822-27_0_2_load_32 | 27 | 0.0012522 | 0.00031383 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5822-27_0_2_load_25 | 28 | 0.00032388 | 8.1171e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5822-27_0_2_load_26 | 29 | 0.0013788 | 0.00034556 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5822-27_0_2_load_62 | 31 | 0.00020374 | 5.1063e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5822-27_0_2_load_36 | 32 | 0.00034014 | 8.5248e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5822-27_0_2_load_29 | 34 | 0.00026089 | 6.5386e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5822-27_0_2_load_30 | 35 | 0.00020955 | 5.2519e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5822-27_0_2_load_31 | 36 | 0.00087273 | 0.00021873 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5822-27_0_2_load_39 | 38 | 0.00055334 | 0.00013868 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5822-27_0_2_load_34 | 39 | 0.00060247 | 0.00015099 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5822-27_0_2_load_35 | 40 | 0.00075941 | 0.00019033 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5822-27_0_2_load_41 | 41 | 0.00060736 | 0.00015222 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5822-27_0_2_load_42 | 42 | 0.0012752 | 0.00031959 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5822-27_0_2_load_43 | 43 | 0.010301 | 0.0025816 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5822-27_0_2_load_44 | 44 | 0.00077054 | 0.00019311 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5822-27_0_2_load_45 | 45 | 0.0033758 | 0.00084605 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5822-27_0_2_load_48 | 46 | 0.0011621 | 0.00029126 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5822-27_0_2_load_47 | 48 | 0.00073888 | 0.00018518 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5822-27_0_2_load_49 | 49 | 0.00085528 | 0.00021435 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5822-27_0_2_load_50 | 50 | 0.0012651 | 0.00031706 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5822-27_0_2_load_52 | 52 | 0.0018298 | 0.0004586 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5822-27_0_2_load_54 | 54 | 0.0011396 | 0.00028561 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5822-27_0_2_load_55 | 55 | 0.00015335 | 3.8433e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5822-27_0_2_load_56 | 56 | 0.0031117 | 0.00077987 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5822-27_0_2_load_58 | 57 | 0.00014087 | 3.5306e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5822-27_0_2_load_59 | 58 | 0.00067604 | 0.00016943 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5822-27_0_2_load_60 | 59 | 0.00016223 | 4.0659e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5822-27_0_2_load_63 | 61 | 0.00065889 | 0.00016513 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5822-27_0_2_load_68 | 62 | 0.00058282 | 0.00014607 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5822-27_0_2_load_64 | 63 | 0.0001986 | 4.9773e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5822-27_0_2_load_65 | 64 | 0.00013933 | 3.492e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5822-27_0_2_load_67 | 65 | 0.00027127 | 6.7987e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5822-27_0_2_line_0 |  | 0 | 1 | 0.037705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5822-27_0_2_line_1 |  | 1 | 2 | 0.019015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5822-27_0_2_line_2 |  | 2 | 3 | 0.025879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5822-27_0_2_line_3 |  | 3 | 4 | 0.0046469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5822-27_0_2_line_4 |  | 3 | 5 | 0.041461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5822-27_0_2_line_5 |  | 4 | 6 | 0.044104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5822-27_0_2_line_6 |  | 5 | 7 | 0.00095721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5822-27_0_2_line_7 |  | 6 | 8 | 0.0050699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5822-27_0_2_line_8 |  | 8 | 9 | 0.011827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5822-27_0_2_line_9 |  | 9 | 10 | 0.002294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5822-27_0_2_line_10 |  | 10 | 11 | 0.0019949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5822-27_0_2_line_11 |  | 11 | 12 | 0.0134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5822-27_0_2_line_12 |  | 12 | 13 | 0.00021313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5822-27_0_2_line_13 |  | 13 | 14 | 0.00574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5822-27_0_2_line_14 |  | 14 | 15 | 0.006888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5822-27_0_2_line_15 |  | 15 | 16 | 0.013581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5822-27_0_2_line_16 |  | 16 | 17 | 0.0022068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5822-27_0_2_line_17 |  | 17 | 18 | 0.0035632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5822-27_0_2_line_18 |  | 18 | 19 | 0.023629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5822-27_0_2_line_19 |  | 19 | 20 | 0.003623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5822-27_0_2_line_20 |  | 20 | 21 | 0.012121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5822-27_0_2_line_21 |  | 21 | 22 | 0.037755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5822-27_0_2_line_22 |  | 22 | 23 | 0.076182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5822-27_0_2_line_23 |  | 23 | 24 | 0.12379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5822-27_0_2_line_24 |  | 24 | 25 | 0.14906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5822-27_0_2_line_25 |  | 25 | 26 | 0.0020984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5822-27_0_2_line_26 |  | 26 | 27 | 0.13044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5822-27_0_2_line_27 |  | 27 | 33 | 0.01529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5822-27_0_2_line_28 |  | 27 | 34 | 0.19608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5822-27_0_2_line_29 |  | 28 | 29 | 0.020942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5822-27_0_2_line_30 |  | 29 | 30 | 0.11209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5822-27_0_2_line_31 |  | 30 | 31 | 0.30737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5822-27_0_2_line_32 |  | 30 | 32 | 0.036094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5822-27_0_2_line_33 |  | 31 | 60 | 0.0093654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5822-27_0_2_line_34 |  | 32 | 40 | 0.080817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5822-27_0_2_line_35 |  | 33 | 37 | 0.48015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5822-27_0_2_line_36 |  | 34 | 35 | 0.0003465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5822-27_0_2_line_37 |  | 35 | 36 | 0.027075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5822-27_0_2_line_38 |  | 36 | 39 | 0.089941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5822-27_0_2_line_39 |  | 37 | 38 | 0.043269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5822-27_0_2_line_40 |  | 39 | 40 | 0.026632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5822-27_0_2_line_41 |  | 41 | 42 | 0.014193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5822-27_0_2_line_42 |  | 41 | 43 | 0.049482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5822-27_0_2_line_43 |  | 42 | 44 | 0.03174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5822-27_0_2_line_44 |  | 44 | 45 | 0.0065382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5822-27_0_2_line_45 |  | 45 | 47 | 0.0087058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5822-27_0_2_line_46 |  | 46 | 47 | 0.032877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5822-27_0_2_line_47 |  | 47 | 48 | 0.0044324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5822-27_0_2_line_48 |  | 48 | 49 | 0.003476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5822-27_0_2_line_49 |  | 49 | 50 | 0.010385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5822-27_0_2_line_50 |  | 50 | 51 | 0.02027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5822-27_0_2_line_51 |  | 51 | 52 | 0.0102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5822-27_0_2_line_52 |  | 51 | 53 | 0.13146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5822-27_0_2_line_53 |  | 52 | 54 | 0.020545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5822-27_0_2_line_54 |  | 53 | 55 | 0.0085325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5822-27_0_2_line_55 |  | 54 | 56 | 0.011227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5822-27_0_2_line_56 |  | 55 | 57 | 9.4304e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5822-27_0_2_line_57 |  | 57 | 58 | 0.029513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5822-27_0_2_line_58 |  | 58 | 59 | 0.031191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5822-27_0_2_line_59 |  | 59 | 60 | 0.019037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5822-27_0_2_line_60 |  | 60 | 61 | 0.0039321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5822-27_0_2_line_61 |  | 61 | 62 | 0.010028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5822-27_0_2_line_62 |  | 62 | 65 | 0.0042775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5822-27_0_2_line_63 |  | 63 | 64 | 0.040125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5822-27_0_2_line_64 |  | 64 | 65 | 0.01549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5822-27_0_2_trafo_36 | 0.63 MVA 20/0.4 kV | 66 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2562566.42 | 1183576.7926 | 2562567.9285 | 1183588.6305 | 2562570.4171 | 1183609.3371 | 2562571.4852 | 1183614.1352
1 | 2562571.4852 | 1183614.1352 | 2562573.1899 | 1183621.793 | 2562577.2502 | 1183632.1985
2 | 2562588.2876 | 1183655.6054 | 2562577.3096 | 1183632.3506 | 2562577.2502 | 1183632.1985
3 | 2562588.2876 | 1183655.6054 | 2562590.4058 | 1183659.7415
4 | 2562588.2876 | 1183655.6054 | 2562555.1657 | 1183680.5444
5 | 2562590.4058 | 1183659.7415 | 2562610.5102 | 1183698.997
6 | 2562554.401 | 1183681.1202 | 2562555.1657 | 1183680.5444
7 | 2562612.8213 | 1183703.5095 | 2562610.5102 | 1183698.997
8 | 2562612.8213 | 1183703.5095 | 2562618.2126 | 1183714.0366
9 | 2562619.2583 | 1183716.0785 | 2562618.2126 | 1183714.0366
10 | 2562619.2583 | 1183716.0785 | 2562620.1677 | 1183717.8541
11 | 2562626.2758 | 1183729.7807 | 2562620.1677 | 1183717.8541
12 | 2562626.2758 | 1183729.7807 | 2562626.373 | 1183729.9704
13 | 2562628.9895 | 1183735.0794 | 2562626.373 | 1183729.9704
14 | 2562628.9895 | 1183735.0794 | 2562632.1293 | 1183741.2102 | 2562632.1293 | 1183741.2102
15 | 2562632.1293 | 1183741.2102 | 2562643.488 | 1183748.6545
16 | 2562643.488 | 1183748.6545 | 2562645.3338 | 1183749.8641
17 | 2562645.3338 | 1183749.8641 | 2562648.2259 | 1183751.7596 | 2562648.3083 | 1183751.825
18 | 2562665.4375 | 1183767.8517 | 2562660.9916 | 1183761.8852 | 2562648.3083 | 1183751.825
19 | 2562665.4375 | 1183767.8517 | 2562667.6023 | 1183770.7569
20 | 2562674.8449 | 1183780.4765 | 2562667.6023 | 1183770.7569
21 | 2562697.4037 | 1183810.7506 | 2562674.8449 | 1183780.4765
22 | 2562697.4037 | 1183810.7506 | 2562714.7012 | 1183846.1949 | 2562727.6865 | 1183880.5656
23 | 2562731.7803 | 1184002.0493 | 2562740.2934 | 1183964.4317 | 2562739.8517 | 1183935.23 | 2562735.105 | 1183910.9578 | 2562727.6865 | 1183880.5656
24 | 2562731.7803 | 1184002.0493 | 2562715.0536 | 1184150.1664
25 | 2562714.0002 | 1184151.9812 | 2562715.0536 | 1184150.1664
26 | 2562797.3628 | 1184252.3084 | 2562714.0002 | 1184151.9812
27 | 2562788.821 | 1184264.9898 | 2562797.3628 | 1184252.3084
28 | 2562897.6802 | 1184083.8312 | 2562797.3628 | 1184252.3084
29 | 2562895.4847 | 1183771.1037 | 2562874.9664 | 1183775.2955
30 | 2562952.6141 | 1183836.31 | 2562947.2124 | 1183830.6072 | 2562944.2703 | 1183822.699 | 2562942.7548 | 1183787.6008 | 2562940.8152 | 1183777.6408 | 2562935.9466 | 1183770.5228 | 2562927.9137 | 1183766.4593 | 2562917.9141 | 1183766.5214 | 2562895.4847 | 1183771.1037
31 | 2562952.6141 | 1183836.31 | 2563258.4157 | 1183805.3274
32 | 2562952.6141 | 1183836.31 | 2562946.8058 | 1183852.4324 | 2562944.2858 | 1183871.2218
33 | 2563266.6369 | 1183800.8416 | 2563258.4157 | 1183805.3274
34 | 2562948.2387 | 1183951.6428 | 2562942.3261 | 1183885.8336 | 2562944.2858 | 1183871.2218
35 | 2562788.821 | 1184264.9898 | 2562989.5917 | 1184701.1537
36 | 2562897.6802 | 1184083.8312 | 2562897.8278 | 1184083.5177
37 | 2562897.8278 | 1184083.5177 | 2562909.3577 | 1184059.0208
38 | 2562909.3577 | 1184059.0208 | 2562947.6596 | 1183977.6435
39 | 2562989.5917 | 1184701.1537 | 2563027.0273 | 1184722.8515
40 | 2562947.6596 | 1183977.6435 | 2562950.1075 | 1183972.4427 | 2562948.2387 | 1183951.6428
41 | 2563439.96 | 1184019.2616 | 2563437.1346 | 1184014.4654 | 2563432.2505 | 1184007.3546
42 | 2563439.8671 | 1184060.5733 | 2563446.069 | 1184053.6984 | 2563452.8772 | 1184044.8742 | 2563452.6462 | 1184040.7957 | 2563439.96 | 1184019.2616
43 | 2563432.2505 | 1184007.3546 | 2563424.0105 | 1183995.3578 | 2563420.7859 | 1183986.0948 | 2563420.7909 | 1183978.7174
44 | 2563420.7909 | 1183978.7174 | 2563420.7953 | 1183972.1792
45 | 2563418.7026 | 1183963.7512 | 2563420.7957 | 1183971.4981 | 2563420.7953 | 1183972.1792
46 | 2563418.7026 | 1183963.7512 | 2563416.554 | 1183971.8909 | 2563411.8983 | 1183980.713 | 2563403.6279 | 1183992.6033
47 | 2563418.7026 | 1183963.7512 | 2563418.724 | 1183959.3189
48 | 2563418.724 | 1183959.3189 | 2563418.7408 | 1183955.8429
49 | 2563418.791 | 1183945.4581 | 2563418.7408 | 1183955.8429
50 | 2563416.7273 | 1183925.3984 | 2563418.8373 | 1183935.8911 | 2563418.791 | 1183945.4581
51 | 2563416.7273 | 1183925.3984 | 2563425.1726 | 1183919.6785
52 | 2563298.7552 | 1183880.9981 | 2563320.7224 | 1183884.4206 | 2563324.4817 | 1183885.009 | 2563333.5054 | 1183886.4099 | 2563340.4431 | 1183887.4901 | 2563382.6506 | 1183894.0682 | 2563391.4785 | 1183898.4053 | 2563405.8986 | 1183912.2021 | 2563416.7273 | 1183925.3984
53 | 2563439.8594 | 1183905.9382 | 2563435.8916 | 1183912.4186 | 2563425.1726 | 1183919.6785
54 | 2563298.7552 | 1183880.9981 | 2563297.9258 | 1183875.2112 | 2563296.6211 | 1183872.8628
55 | 2563439.8594 | 1183905.9382 | 2563445.7219 | 1183896.3634
56 | 2563296.6211 | 1183872.8628 | 2563296.5753 | 1183872.7804
57 | 2563296.5753 | 1183872.7804 | 2563282.2421 | 1183846.9811
58 | 2563282.2421 | 1183846.9811 | 2563270.215 | 1183825.3327 | 2563267.7801 | 1183819.3858
59 | 2563266.6369 | 1183800.8416 | 2563265.4164 | 1183805.9518 | 2563265.364 | 1183811.0882 | 2563267.518 | 1183818.7457 | 2563267.7801 | 1183819.3858
60 | 2563266.6369 | 1183800.8416 | 2563268.7692 | 1183797.5378 | 2563268.7692 | 1183797.5378
61 | 2563277.7731 | 1183793.124 | 2563268.7692 | 1183797.5378
62 | 2563277.7731 | 1183793.124 | 2563281.6139 | 1183791.2412
63 | 2563331.6463 | 1183766.9565 | 2563301.3808 | 1183781.5512 | 2563295.5223 | 1183784.4231
64 | 2563295.5223 | 1183784.4231 | 2563281.6139 | 1183791.2412

## bus_geodata
| x | y | coords
0 | 2562566.42 | 1183576.7926
1 | 2562571.4852 | 1183614.1352
2 | 2562577.2502 | 1183632.1985
3 | 2562588.2876 | 1183655.6054
4 | 2562590.4058 | 1183659.7415
5 | 2562555.1657 | 1183680.5444
6 | 2562610.5102 | 1183698.997
7 | 2562554.401 | 1183681.1202
8 | 2562612.8213 | 1183703.5095
9 | 2562618.2126 | 1183714.0366
10 | 2562619.2583 | 1183716.0785
11 | 2562620.1677 | 1183717.8541
12 | 2562626.2758 | 1183729.7807
13 | 2562626.373 | 1183729.9704
14 | 2562628.9895 | 1183735.0794
15 | 2562632.1293 | 1183741.2102
16 | 2562643.488 | 1183748.6545
17 | 2562645.3338 | 1183749.8641
18 | 2562648.3083 | 1183751.825
19 | 2562665.4375 | 1183767.8517
20 | 2562667.6023 | 1183770.7569
21 | 2562674.8449 | 1183780.4765
22 | 2562697.4037 | 1183810.7506
23 | 2562727.6865 | 1183880.5656
24 | 2562731.7803 | 1184002.0493
25 | 2562715.0536 | 1184150.1664
26 | 2562714.0002 | 1184151.9812
27 | 2562797.3628 | 1184252.3084
28 | 2562874.9664 | 1183775.2955
29 | 2562895.4847 | 1183771.1037
30 | 2562952.6142 | 1183836.31
31 | 2563258.4157 | 1183805.3274
32 | 2562944.2858 | 1183871.2218
33 | 2562788.821 | 1184264.9898
34 | 2562897.6802 | 1184083.8312
35 | 2562897.8278 | 1184083.5177
36 | 2562909.3577 | 1184059.0208
37 | 2562989.5917 | 1184701.1537
38 | 2563027.0273 | 1184722.8515
39 | 2562947.6596 | 1183977.6435
40 | 2562948.2387 | 1183951.6428
41 | 2563439.96 | 1184019.2616
42 | 2563432.2505 | 1184007.3546
43 | 2563439.8671 | 1184060.5733
44 | 2563420.7909 | 1183978.7174
45 | 2563420.7953 | 1183972.1792
46 | 2563403.6279 | 1183992.6033
47 | 2563418.7026 | 1183963.7512
48 | 2563418.724 | 1183959.3189
49 | 2563418.7408 | 1183955.8429
50 | 2563418.791 | 1183945.4581
51 | 2563416.7273 | 1183925.3984
52 | 2563425.1726 | 1183919.6784
53 | 2563298.7552 | 1183880.9981
54 | 2563439.8594 | 1183905.9382
55 | 2563296.6211 | 1183872.8628
56 | 2563445.7219 | 1183896.3634
57 | 2563296.5753 | 1183872.7804
58 | 2563282.2421 | 1183846.9811
59 | 2563267.7801 | 1183819.3858
60 | 2563266.6369 | 1183800.8416
61 | 2563268.7692 | 1183797.5378
62 | 2563277.7731 | 1183793.124
63 | 2563331.6463 | 1183766.9565
64 | 2563295.5223 | 1183784.4231
65 | 2563281.6139 | 1183791.2412
66 | 2562944.2858 | 1183871.2218

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1