## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5822-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5822-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5822-6_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5822-6_0_6_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_5822-6_0_6_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_5822-6_0_6_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_5822-6_0_6_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5822-6_0_6_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_5822-6_0_6_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_5822-6_0_6_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_5822-6_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5822-6_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5822-6_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5822-6_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5822-6_0_6_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_5822-6_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5822-6_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5822-6_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5822-6_0_6_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_5822-6_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5822-6_0_6_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_5822-6_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5822-6_0_6_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_5822-6_0_6_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_5822-6_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5822-6_0_6_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_5822-6_0_6_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_5822-6_0_6_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_5822-6_0_6_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_5822-6_0_6_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_5822-6_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_5822-6_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5822-6_0_6_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_5822-6_0_6_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_5822-6_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_5822-6_0_6_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_5822-6_0_6_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_5822-6_0_6_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_5822-6_0_6_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_5822-6_0_6_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_5822-6_0_6_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_5822-6_0_6_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_5822-6_0_6_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_5822-6_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5822-6_0_6_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_5822-6_0_6_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_5822-6_0_6_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_5822-6_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_5822-6_0_6_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_5822-6_0_6_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_5822-6_0_6_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_5822-6_0_6_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_5822-6_0_6_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_5822-6_0_6_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_5822-6_0_6_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_5822-6_0_6_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_5822-6_0_6_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_5822-6_0_6_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_5822-6_0_6_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_5822-6_0_6_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_5822-6_0_6_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_5822-6_0_6_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_5822-6_0_6_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_5822-6_0_6_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5822-6_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_5822-6_0_6_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_5822-6_0_6_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_5822-6_0_6_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5822-6_0_6_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_5822-6_0_6_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_5822-6_0_6_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_5822-6_0_6_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_5822-6_0_6_node_71 | 0.4 | n |  | TRUE
73 | bus_MV_477_0_node_128 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5822-6_0_6_load_0 | 0 | 0.030423 | 0.0076247 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5822-6_0_6_load_19 | 4 | 0.0078613 | 0.0019702 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5822-6_0_6_load_14 | 5 | 0.0047456 | 0.0011894 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5822-6_0_6_load_11 | 6 | 0.0069535 | 0.0017427 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5822-6_0_6_load_20 | 7 | 0.0097289 | 0.0024383 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5822-6_0_6_load_3 | 8 | 0.0082908 | 0.0020779 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5822-6_0_6_load_4 | 9 | 0.0090272 | 0.0022624 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5822-6_0_6_load_6 | 11 | 0.014542 | 0.0036446 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5822-6_0_6_load_7 | 12 | 0.0033272 | 0.00083387 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5822-6_0_6_load_44 | 14 | 0.0097471 | 0.0024429 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5822-6_0_6_load_8 | 16 | 0.0080475 | 0.0020169 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5822-6_0_6_load_9 | 17 | 0.016004 | 0.004011 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5822-6_0_6_load_18 | 18 | 0.0047068 | 0.0011796 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5822-6_0_6_load_15 | 19 | 0.030196 | 0.0075679 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5822-6_0_6_load_51 | 20 | 0.0078738 | 0.0019734 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5822-6_0_6_load_16 | 21 | 0.0031043 | 0.00077801 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5822-6_0_6_load_42 | 22 | 0.0033876 | 0.000849 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5822-6_0_6_load_43 | 23 | 0.0012261 | 0.00030728 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5822-6_0_6_load_39 | 25 | 0.013581 | 0.0034036 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5822-6_0_6_load_34 | 26 | 0.0082565 | 0.0020693 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5822-6_0_6_load_69 | 27 | 0.004342 | 0.0010882 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5822-6_0_6_load_52 | 29 | 0.009896 | 0.0024802 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5822-6_0_6_load_55 | 33 | 0.014114 | 0.0035372 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5822-6_0_6_load_74 | 37 | 0.0099793 | 0.002501 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5822-6_0_6_load_61 | 38 | 0.0062691 | 0.0015712 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5822-6_0_6_load_60 | 39 | 0.0062441 | 0.0015649 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5822-6_0_6_load_48 | 41 | 0.0047574 | 0.0011923 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5822-6_0_6_load_50 | 42 | 0.0042447 | 0.0010638 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5822-6_0_6_load_26 | 43 | 0.0047853 | 0.0011993 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5822-6_0_6_load_22 | 44 | 0.011279 | 0.0028269 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5822-6_0_6_load_23 | 45 | 0.0074781 | 0.0018742 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5822-6_0_6_load_25 | 46 | 0.01017 | 0.0025487 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5822-6_0_6_load_41 | 47 | 0.0033294 | 0.00083443 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5822-6_0_6_load_40 | 48 | 0.0079666 | 0.0019966 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5822-6_0_6_load_59 | 49 | 0.019873 | 0.0049806 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5822-6_0_6_load_75 | 50 | 0.0023418 | 0.00058691 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5822-6_0_6_load_49 | 51 | 0.0055099 | 0.0013809 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5822-6_0_6_load_45 | 52 | 0.0061479 | 0.0015408 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5822-6_0_6_load_67 | 53 | 0.0081302 | 0.0020376 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5822-6_0_6_load_65 | 54 | 0.0063383 | 0.0015885 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5822-6_0_6_load_46 | 55 | 0.0045561 | 0.0011419 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5822-6_0_6_load_56 | 56 | 0.047417 | 0.011884 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5822-6_0_6_load_36 | 57 | 0.017671 | 0.0044287 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5822-6_0_6_load_38 | 58 | 0.0026071 | 0.00065339 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5822-6_0_6_load_37 | 59 | 0.017946 | 0.0044978 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5822-6_0_6_load_73 | 60 | 0.0071215 | 0.0017848 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5822-6_0_6_load_72 | 61 | 0.004525 | 0.0011341 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5822-6_0_6_load_68 | 62 | 0.010663 | 0.0026724 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5822-6_0_6_load_53 | 63 | 0.004856 | 0.001217 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5822-6_0_6_load_54 | 64 | 0.0067528 | 0.0016924 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5822-6_0_6_load_57 | 65 | 0.017197 | 0.0043101 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5822-6_0_6_load_58 | 66 | 0.0040241 | 0.0010085 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5822-6_0_6_load_62 | 67 | 0.0091625 | 0.0022963 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5822-6_0_6_load_63 | 68 | 0.0059443 | 0.0014898 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5822-6_0_6_load_64 | 69 | 0.006927 | 0.0017361 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5822-6_0_6_load_66 | 70 | 0.0030801 | 0.00077193 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5822-6_0_6_load_70 | 71 | 0.0078779 | 0.0019744 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5822-6_0_6_load_71 | 72 | 0.0039002 | 0.00097747 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5822-6_0_6_line_0 |  | 0 | 1 | 0.021767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5822-6_0_6_line_1 |  | 1 | 2 | 0.01417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5822-6_0_6_line_2 |  | 2 | 3 | 0.003887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5822-6_0_6_line_3 |  | 2 | 4 | 0.022796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5822-6_0_6_line_4 |  | 3 | 5 | 0.019691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5822-6_0_6_line_5 |  | 3 | 6 | 0.011712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5822-6_0_6_line_6 |  | 4 | 7 | 0.020793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5822-6_0_6_line_7 |  | 5 | 22 | 0.0041737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5822-6_0_6_line_8 |  | 6 | 17 | 0.013194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5822-6_0_6_line_9 |  | 7 | 30 | 0.0063411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5822-6_0_6_line_10 |  | 8 | 9 | 0.0035807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5822-6_0_6_line_11 |  | 8 | 10 | 0.0037816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5822-6_0_6_line_12 |  | 9 | 11 | 0.0099798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5822-6_0_6_line_13 |  | 10 | 12 | 0.0011879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5822-6_0_6_line_14 |  | 11 | 13 | 0.015883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5822-6_0_6_line_15 |  | 12 | 14 | 0.00031421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5822-6_0_6_line_16 |  | 13 | 15 | 0.006683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5822-6_0_6_line_17 |  | 15 | 18 | 0.015397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5822-6_0_6_line_18 |  | 15 | 19 | 0.012038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5822-6_0_6_line_19 |  | 16 | 17 | 0.00055583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5822-6_0_6_line_20 |  | 18 | 20 | 0.00081625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5822-6_0_6_line_21 |  | 19 | 21 | 0.0023352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5822-6_0_6_line_22 |  | 20 | 29 | 0.0019288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5822-6_0_6_line_23 |  | 21 | 24 | 0.01543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5822-6_0_6_line_24 |  | 22 | 23 | 0.0044026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5822-6_0_6_line_25 |  | 24 | 25 | 0.015773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5822-6_0_6_line_26 |  | 24 | 26 | 0.0033593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5822-6_0_6_line_27 |  | 25 | 27 | 0.00051861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5822-6_0_6_line_28 |  | 26 | 28 | 0.02078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5822-6_0_6_line_29 |  | 27 | 62 | 0.015612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5822-6_0_6_line_30 |  | 28 | 57 | 0.014431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5822-6_0_6_line_31 |  | 28 | 58 | 0.0079814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5822-6_0_6_line_32 |  | 29 | 63 | 0.0061356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5822-6_0_6_line_33 |  | 30 | 31 | 0.017664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5822-6_0_6_line_34 |  | 31 | 43 | 0.017494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5822-6_0_6_line_35 |  | 31 | 44 | 0.012325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5822-6_0_6_line_36 |  | 32 | 33 | 0.048927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5822-6_0_6_line_37 |  | 32 | 34 | 0.054198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5822-6_0_6_line_38 |  | 33 | 56 | 0.00020014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5822-6_0_6_line_39 |  | 34 | 38 | 0.024185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5822-6_0_6_line_40 |  | 34 | 39 | 0.0016698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5822-6_0_6_line_41 |  | 35 | 36 | 0.006048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5822-6_0_6_line_42 |  | 35 | 37 | 0.018584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5822-6_0_6_line_43 |  | 36 | 51 | 0.01608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5822-6_0_6_line_44 |  | 36 | 52 | 0.016559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5822-6_0_6_line_45 |  | 37 | 50 | 0.019772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5822-6_0_6_line_46 |  | 39 | 49 | 0.016697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5822-6_0_6_line_47 |  | 40 | 41 | 0.011942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5822-6_0_6_line_48 |  | 40 | 42 | 0.013097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5822-6_0_6_line_49 |  | 41 | 55 | 0.022737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5822-6_0_6_line_50 |  | 42 | 43 | 0.011139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5822-6_0_6_line_51 |  | 44 | 45 | 0.0010538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5822-6_0_6_line_52 |  | 45 | 46 | 0.019247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5822-6_0_6_line_53 |  | 46 | 47 | 0.0069641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5822-6_0_6_line_54 |  | 47 | 48 | 0.0024413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5822-6_0_6_line_55 |  | 48 | 57 | 0.0075082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5822-6_0_6_line_56 |  | 49 | 66 | 0.01097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5822-6_0_6_line_57 |  | 51 | 59 | 0.0015702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5822-6_0_6_line_58 |  | 52 | 55 | 0.012402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5822-6_0_6_line_59 |  | 53 | 54 | 0.012113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5822-6_0_6_line_60 |  | 54 | 68 | 0.013783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5822-6_0_6_line_61 |  | 58 | 60 | 0.0066588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5822-6_0_6_line_62 |  | 60 | 61 | 7.3076e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5822-6_0_6_line_63 |  | 61 | 70 | 0.020793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5822-6_0_6_line_64 |  | 62 | 71 | 0.014559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5822-6_0_6_line_65 |  | 63 | 64 | 0.0077615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5822-6_0_6_line_66 |  | 64 | 65 | 0.0011942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5822-6_0_6_line_67 |  | 65 | 66 | 0.008191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5822-6_0_6_line_68 |  | 67 | 68 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5822-6_0_6_line_69 |  | 67 | 69 | 0.0052363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5822-6_0_6_line_70 |  | 69 | 70 | 0.0045208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5822-6_0_6_line_71 |  | 71 | 72 | 0.010018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5822-6_0_6_trafo_15 | 0.63 MVA 20/0.4 kV | 73 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2561729.3485 | 1185597.6395 | 2561731.6115 | 1185598.2809 | 2561744.1266 | 1185601.8249 | 2561747.3299 | 1185602.7271 | 2561750.406 | 1185602.8786
1 | 2561732.2868 | 1185584.5803 | 2561733.4137 | 1185586.5742 | 2561731.3716 | 1185594.1914 | 2561729.3485 | 1185597.6395
2 | 2561732.2868 | 1185584.5803 | 2561729.4805 | 1185587.2775
3 | 2561732.2868 | 1185584.5803 | 2561738.6694 | 1185579.0698 | 2561744.1874 | 1185573.198 | 2561746.8471 | 1185567.4798
4 | 2561729.4805 | 1185587.2775 | 2561718.3361 | 1185603.5109
5 | 2561729.4805 | 1185587.2775 | 2561725.038 | 1185582.3478 | 2561721.6502 | 1185578.5685
6 | 2561753.9625 | 1185547.978 | 2561750.3915 | 1185557.6833 | 2561748.8395 | 1185563.1962 | 2561746.8471 | 1185567.4798
7 | 2561715.9739 | 1185606.9518 | 2561718.3361 | 1185603.5109
8 | 2561721.6502 | 1185578.5685 | 2561715.0997 | 1185571.2611 | 2561712.432 | 1185569.1847
9 | 2561756.1521 | 1185542.0269 | 2561753.9625 | 1185547.978
10 | 2561677.5924 | 1185579.109 | 2561678.2092 | 1185575.5819
11 | 2561676.9411 | 1185582.8341 | 2561677.5924 | 1185579.109
12 | 2561678.2092 | 1185575.5819 | 2561679.4438 | 1185568.5215 | 2561680.2278 | 1185565.8207
13 | 2561676.9411 | 1185582.8341 | 2561676.7134 | 1185584
14 | 2561684.6553 | 1185550.5673 | 2561680.2278 | 1185565.8207
15 | 2561676.6531 | 1185584.3084 | 2561676.7134 | 1185584
16 | 2561684.6553 | 1185550.5673 | 2561686.4914 | 1185544.141
17 | 2561686.4914 | 1185544.141 | 2561677.0384 | 1185540.9221 | 2561672.1046 | 1185538.701
18 | 2561686.4914 | 1185544.141 | 2561690.7333 | 1185532.8756
19 | 2561711.9934 | 1185568.8432 | 2561712.432 | 1185569.1847
20 | 2561672.1046 | 1185538.701 | 2561671.3603 | 1185538.3659
21 | 2561691.5563 | 1185530.6902 | 2561691.5563 | 1185530.6902 | 2561690.7333 | 1185532.8756
22 | 2561671.3603 | 1185538.3659 | 2561669.6015 | 1185537.5741
23 | 2561697.5626 | 1185516.4774 | 2561691.5563 | 1185530.6902
24 | 2561713.4821 | 1185610.5814 | 2561715.9739 | 1185606.9518
25 | 2561697.5626 | 1185516.4774 | 2561692.7344 | 1185513.2955 | 2561684.759 | 1185507.2783
26 | 2561697.5626 | 1185516.4774 | 2561698.8692 | 1185513.3826
27 | 2561684.345 | 1185506.966 | 2561684.759 | 1185507.2783
28 | 2561706.9516 | 1185494.2386 | 2561698.8692 | 1185513.3826
29 | 2561672.0965 | 1185497.2973 | 2561676.0784 | 1185500.7289 | 2561684.345 | 1185506.966
30 | 2561706.9516 | 1185494.2386 | 2561719.9743 | 1185500.4574
31 | 2561706.9516 | 1185494.2386 | 2561700.6926 | 1185491.6662 | 2561699.6648 | 1185491.0193
32 | 2561669.6015 | 1185537.5741 | 2561664.0067 | 1185535.0553
33 | 2561756.1521 | 1185542.0269 | 2561760.6826 | 1185529.7135 | 2561762.2502 | 1185525.4457
34 | 2561762.2502 | 1185525.4457 | 2561765.138 | 1185517.6007 | 2561769.0834 | 1185509.3625
35 | 2561762.2502 | 1185525.4457 | 2561751.1796 | 1185520.0277
36 | 2561590.1261 | 1185555.3435 | 2561630.3206 | 1185583.2407
37 | 2561590.1261 | 1185555.3435 | 2561587.6744 | 1185550.2899 | 2561584.6061 | 1185544.2842 | 2561594.4937 | 1185542.6753 | 2561600.3412 | 1185541.7928 | 2561606.2812 | 1185539.8425 | 2561611.7426 | 1185537.0614 | 2561614.5692 | 1185535.1534 | 2561618.0797 | 1185532.7962 | 2561622.7115 | 1185529.1645
38 | 2561630.485 | 1185583.3548 | 2561630.3206 | 1185583.2407
39 | 2561622.7115 | 1185529.1645 | 2561619.974 | 1185524.7464 | 2561617.3447 | 1185520.5499 | 2561613.9541 | 1185516.6363 | 2561610.4328 | 1185512.5678 | 2561608.408 | 1185509.7418
40 | 2561622.7115 | 1185529.1645 | 2561624.0251 | 1185528.1336
41 | 2561723.7385 | 1185456.9888 | 2561726.2904 | 1185451.5029
42 | 2561726.2904 | 1185451.5029 | 2561721.869 | 1185449.8859 | 2561713.4695 | 1185445.5485 | 2561709.5562 | 1185443.4871
43 | 2561723.7385 | 1185456.9888 | 2561716.9624 | 1185471.5718
44 | 2561723.7385 | 1185456.9888 | 2561738.484 | 1185464.5246
45 | 2561709.5562 | 1185443.4871 | 2561706.9225 | 1185442.0997 | 2561698.7261 | 1185434.9373 | 2561694.1189 | 1185431.235
46 | 2561624.0251 | 1185528.1336 | 2561625.1109 | 1185527.2814 | 2561628.2769 | 1185523.5591 | 2561631.5801 | 1185522.1816 | 2561638.1928 | 1185523.9734
47 | 2561779.5519 | 1185487.5035 | 2561769.2726 | 1185481.4254
48 | 2561779.5519 | 1185487.5035 | 2561773.8947 | 1185499.316
49 | 2561749.5277 | 1185470.1685 | 2561754.7397 | 1185472.8322 | 2561769.2726 | 1185481.4254
50 | 2561773.8947 | 1185499.316 | 2561769.0834 | 1185509.3625
51 | 2561750.2331 | 1185519.5645 | 2561751.1796 | 1185520.0277
52 | 2561734.3763 | 1185509.0154 | 2561740.7922 | 1185514.9441 | 2561750.2331 | 1185519.5645
53 | 2561728.9527 | 1185504.7448 | 2561730.6127 | 1185505.5375 | 2561734.3763 | 1185509.0154
54 | 2561728.9527 | 1185504.7448 | 2561726.7497 | 1185503.6928
55 | 2561719.9743 | 1185500.4574 | 2561726.7497 | 1185503.6928
56 | 2561648.429 | 1185527.8904 | 2561645.6273 | 1185526.5938 | 2561638.1928 | 1185523.9734 | 2561638.1928 | 1185523.9734
57 | 2561716.9624 | 1185471.5718 | 2561716.3007 | 1185472.9958
58 | 2561738.484 | 1185464.5246 | 2561749.5277 | 1185470.1685
59 | 2561643.2858 | 1185451.4278 | 2561641.1176 | 1185449.448 | 2561634.5093 | 1185443.0799
60 | 2561653.6949 | 1185460.4559 | 2561648.1416 | 1185455.8508 | 2561645.8463 | 1185453.7533 | 2561643.6202 | 1185451.7331 | 2561643.2858 | 1185451.4278
61 | 2561699.6648 | 1185491.0193 | 2561694.0295 | 1185487.4722
62 | 2561694.0295 | 1185487.4722 | 2561693.9676 | 1185487.4332
63 | 2561693.9676 | 1185487.4332 | 2561690.6396 | 1185485.3384 | 2561676.4326 | 1185476.2579
64 | 2561672.0965 | 1185497.2973 | 2561661.0678 | 1185487.7927
65 | 2561656.9463 | 1185531.832 | 2561660.5069 | 1185533.4797 | 2561664.0067 | 1185535.0553
66 | 2561656.9463 | 1185531.832 | 2561655.8626 | 1185531.3304
67 | 2561648.429 | 1185527.8904 | 2561655.8626 | 1185531.3304
68 | 2561668.2996 | 1185470.8707 | 2561655.7909 | 1185462.194 | 2561653.6949 | 1185460.4559
69 | 2561668.2996 | 1185470.8707 | 2561671.7659 | 1185473.2752 | 2561672.6234 | 1185473.8233
70 | 2561672.6234 | 1185473.8233 | 2561676.4326 | 1185476.2579
71 | 2561653.4788 | 1185481.2524 | 2561661.0678 | 1185487.7927

## bus_geodata
| x | y | coords
0 | 2561750.406 | 1185602.8786
1 | 2561729.3485 | 1185597.6395
2 | 2561732.2868 | 1185584.5803
3 | 2561729.4805 | 1185587.2775
4 | 2561746.8471 | 1185567.4798
5 | 2561718.3361 | 1185603.5109
6 | 2561721.6502 | 1185578.5685
7 | 2561753.9625 | 1185547.978
8 | 2561677.5924 | 1185579.109
9 | 2561678.2092 | 1185575.5819
10 | 2561676.9411 | 1185582.8341
11 | 2561680.2278 | 1185565.8207
12 | 2561676.7134 | 1185584
13 | 2561684.6553 | 1185550.5673
14 | 2561676.6531 | 1185584.3084
15 | 2561686.4914 | 1185544.141
16 | 2561711.9934 | 1185568.8432
17 | 2561712.432 | 1185569.1847
18 | 2561672.1046 | 1185538.701
19 | 2561690.7333 | 1185532.8756
20 | 2561671.3603 | 1185538.3659
21 | 2561691.5563 | 1185530.6902
22 | 2561715.9739 | 1185606.9518
23 | 2561713.4821 | 1185610.5814
24 | 2561697.5626 | 1185516.4774
25 | 2561684.759 | 1185507.2783
26 | 2561698.8692 | 1185513.3826
27 | 2561684.345 | 1185506.966
28 | 2561706.9516 | 1185494.2386
29 | 2561669.6015 | 1185537.5741
30 | 2561756.1521 | 1185542.0269
31 | 2561762.2502 | 1185525.4457
32 | 2561590.1261 | 1185555.3435
33 | 2561630.3206 | 1185583.2407
34 | 2561622.7115 | 1185529.1645
35 | 2561726.2904 | 1185451.5029
36 | 2561723.7385 | 1185456.9888
37 | 2561709.5562 | 1185443.4871
38 | 2561608.408 | 1185509.7418
39 | 2561624.0251 | 1185528.1336
40 | 2561779.5519 | 1185487.5035
41 | 2561769.2726 | 1185481.4254
42 | 2561773.8947 | 1185499.316
43 | 2561769.0834 | 1185509.3625
44 | 2561751.1796 | 1185520.0277
45 | 2561750.2331 | 1185519.5645
46 | 2561734.3763 | 1185509.0154
47 | 2561728.9527 | 1185504.7448
48 | 2561726.7497 | 1185503.6928
49 | 2561638.1928 | 1185523.9734
50 | 2561694.1189 | 1185431.235
51 | 2561716.9624 | 1185471.5718
52 | 2561738.484 | 1185464.5246
53 | 2561634.5093 | 1185443.0799
54 | 2561643.2858 | 1185451.4278
55 | 2561749.5277 | 1185470.1685
56 | 2561630.485 | 1185583.3548
57 | 2561719.9743 | 1185500.4574
58 | 2561699.6648 | 1185491.0193
59 | 2561716.3007 | 1185472.9958
60 | 2561694.0295 | 1185487.4722
61 | 2561693.9676 | 1185487.4332
62 | 2561672.0965 | 1185497.2973
63 | 2561664.0067 | 1185535.0553
64 | 2561656.9463 | 1185531.832
65 | 2561655.8626 | 1185531.3304
66 | 2561648.429 | 1185527.8904
67 | 2561668.2996 | 1185470.8707
68 | 2561653.6949 | 1185460.4559
69 | 2561672.6234 | 1185473.8233
70 | 2561676.4326 | 1185476.2579
71 | 2561661.0678 | 1185487.7927
72 | 2561653.4788 | 1185481.2524
73 | 2561686.4914 | 1185544.141

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1