## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5822-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5822-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5822-9_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5822-9_0_5_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_5822-9_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5822-9_0_5_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_5822-9_0_5_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_5822-9_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_5822-9_0_5_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_5822-9_0_5_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_5822-9_0_5_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_5822-9_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5822-9_0_5_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_5822-9_0_5_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_5822-9_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5822-9_0_5_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_5822-9_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5822-9_0_5_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_5822-9_0_5_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_5822-9_0_5_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_5822-9_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5822-9_0_5_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_5822-9_0_5_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_5822-9_0_5_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_5822-9_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5822-9_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_5822-9_0_5_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_5822-9_0_5_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_5822-9_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5822-9_0_5_node_90 | 0.4 | n |  | TRUE
30 | bus_LV_5822-9_0_5_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_5822-9_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5822-9_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5822-9_0_5_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_5822-9_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5822-9_0_5_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_5822-9_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5822-9_0_5_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_5822-9_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_5822-9_0_5_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_5822-9_0_5_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_5822-9_0_5_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_5822-9_0_5_node_91 | 0.4 | n |  | TRUE
43 | bus_LV_5822-9_0_5_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5822-9_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5822-9_0_5_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_5822-9_0_5_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_5822-9_0_5_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_5822-9_0_5_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_5822-9_0_5_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_5822-9_0_5_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_5822-9_0_5_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_5822-9_0_5_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_5822-9_0_5_node_98 | 0.4 | n |  | TRUE
54 | bus_LV_5822-9_0_5_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_5822-9_0_5_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_5822-9_0_5_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_5822-9_0_5_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_5822-9_0_5_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_5822-9_0_5_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_5822-9_0_5_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_5822-9_0_5_node_97 | 0.4 | n |  | TRUE
62 | bus_LV_5822-9_0_5_node_31 | 0.4 | n |  | TRUE
63 | bus_LV_5822-9_0_5_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_5822-9_0_5_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_5822-9_0_5_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_5822-9_0_5_node_92 | 0.4 | n |  | TRUE
67 | bus_LV_5822-9_0_5_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_5822-9_0_5_node_30 | 0.4 | n |  | TRUE
69 | bus_LV_5822-9_0_5_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_5822-9_0_5_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_5822-9_0_5_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_5822-9_0_5_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_5822-9_0_5_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_5822-9_0_5_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_5822-9_0_5_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_5822-9_0_5_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_5822-9_0_5_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_5822-9_0_5_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_5822-9_0_5_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_5822-9_0_5_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_5822-9_0_5_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_5822-9_0_5_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_5822-9_0_5_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_5822-9_0_5_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_5822-9_0_5_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_5822-9_0_5_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_5822-9_0_5_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_5822-9_0_5_node_96 | 0.4 | n |  | TRUE
89 | bus_MV_477_0_node_193 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5822-9_0_5_load_0 | 0 | 0.018098 | 0.0045359 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5822-9_0_5_load_1 | 1 | 0.0061038 | 0.0015298 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5822-9_0_5_load_3 | 2 | 0.0067929 | 0.0017025 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5822-9_0_5_load_23 | 3 | 0.0037128 | 0.00093052 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5822-9_0_5_load_24 | 6 | 0.0056472 | 0.0014153 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5822-9_0_5_load_64 | 8 | 0.015957 | 0.0039991 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5822-9_0_5_load_62 | 10 | 0.0036772 | 0.00092158 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5822-9_0_5_load_42 | 12 | 0.017662 | 0.0044265 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5822-9_0_5_load_35 | 15 | 0.01964 | 0.0049222 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5822-9_0_5_load_56 | 17 | 0.013738 | 0.0034432 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5822-9_0_5_load_70 | 18 | 0.013594 | 0.003407 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5822-9_0_5_load_67 | 19 | 0.01194 | 0.0029924 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5822-9_0_5_load_73 | 21 | 0.0080293 | 0.0020123 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5822-9_0_5_load_66 | 22 | 0.010195 | 0.0025551 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5822-9_0_5_load_72 | 23 | 0.0039594 | 0.00099232 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5822-9_0_5_load_40 | 26 | 0.019413 | 0.0048653 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5822-9_0_5_load_55 | 27 | 0.0084582 | 0.0021198 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5822-9_0_5_load_90 | 29 | 0.00094412 | 0.00023662 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5822-9_0_5_load_84 | 30 | 0.0023236 | 0.00058235 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5822-9_0_5_load_41 | 33 | 0.021418 | 0.0053679 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5822-9_0_5_load_34 | 35 | 0.0093894 | 0.0023532 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5822-9_0_5_load_33 | 36 | 0.007078 | 0.0017739 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5822-9_0_5_load_71 | 37 | 0.0049247 | 0.0012343 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5822-9_0_5_load_85 | 39 | 0.0024158 | 0.00060545 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5822-9_0_5_load_82 | 40 | 0.0021493 | 0.00053866 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5822-9_0_5_load_94 | 41 | 0.0033015 | 0.00082743 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5822-9_0_5_load_91 | 42 | 0.0020491 | 0.00051355 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5822-9_0_5_load_44 | 45 | 0.052685 | 0.013204 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5822-9_0_5_load_38 | 46 | 0.0096789 | 0.0024258 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5822-9_0_5_load_37 | 47 | 0.0061651 | 0.0015451 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5822-9_0_5_load_53 | 48 | 0.0084051 | 0.0021065 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5822-9_0_5_load_32 | 50 | 0.0034782 | 0.00087173 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5822-9_0_5_load_29 | 51 | 0.0070924 | 0.0017775 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5822-9_0_5_load_98 | 53 | 0.0053396 | 0.0013382 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5822-9_0_5_load_69 | 55 | 0.010628 | 0.0026636 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5822-9_0_5_load_68 | 56 | 0.0090981 | 0.0022802 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5822-9_0_5_load_74 | 57 | 0.011638 | 0.0029168 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5822-9_0_5_load_65 | 58 | 0.013238 | 0.0033178 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5822-9_0_5_load_51 | 59 | 0.016751 | 0.0041982 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5822-9_0_5_load_50 | 60 | 0.0065465 | 0.0016407 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5822-9_0_5_load_97 | 61 | 0.00051048 | 0.00012794 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5822-9_0_5_load_31 | 62 | 0.003679 | 0.00092206 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5822-9_0_5_load_87 | 63 | 0.0006691 | 0.00016769 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5822-9_0_5_load_83 | 64 | 0.0023236 | 0.00058235 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5822-9_0_5_load_95 | 65 | 0.011094 | 0.0027805 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5822-9_0_5_load_92 | 66 | 0.0055812 | 0.0013988 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5822-9_0_5_load_48 | 67 | 0.003818 | 0.00095687 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5822-9_0_5_load_30 | 68 | 0.0029647 | 0.00074303 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5822-9_0_5_load_43 | 69 | 0.034479 | 0.0086413 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5822-9_0_5_load_46 | 70 | 0.0025984 | 0.00065123 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5822-9_0_5_load_45 | 71 | 0.0029314 | 0.00073469 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5822-9_0_5_load_47 | 72 | 0.0027258 | 0.00068316 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5822-9_0_5_load_49 | 73 | 0.0039194 | 0.00098229 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5822-9_0_5_load_54 | 74 | 0.0038261 | 0.00095891 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5822-9_0_5_load_57 | 75 | 0.007222 | 0.00181 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5822-9_0_5_load_58 | 76 | 0.0053899 | 0.0013508 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5822-9_0_5_load_59 | 77 | 0.03377 | 0.0084637 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5822-9_0_5_load_61 | 78 | 0.0069229 | 0.0017351 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5822-9_0_5_load_78 | 79 | 0.0015878 | 0.00039794 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5822-9_0_5_load_75 | 80 | 0.0023888 | 0.00059868 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5822-9_0_5_load_76 | 81 | 0.0015939 | 0.00039946 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5822-9_0_5_load_77 | 82 | 0.0012683 | 0.00031788 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5822-9_0_5_load_79 | 83 | 0.0028093 | 0.00070409 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5822-9_0_5_load_81 | 84 | 0.001553 | 0.00038922 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5822-9_0_5_load_88 | 85 | 0.00081868 | 0.00020518 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5822-9_0_5_load_86 | 86 | 0.0017737 | 0.00044452 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5822-9_0_5_load_93 | 87 | 0.003663 | 0.00091804 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5822-9_0_5_load_96 | 88 | 0.0022159 | 0.00055537 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5822-9_0_5_line_0 |  | 0 | 1 | 0.0099583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5822-9_0_5_line_1 |  | 1 | 2 | 0.0095418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5822-9_0_5_line_2 |  | 2 | 3 | 0.010414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5822-9_0_5_line_3 |  | 3 | 6 | 0.0093902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5822-9_0_5_line_4 |  | 4 | 5 | 0.006048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5822-9_0_5_line_5 |  | 4 | 6 | 0.011211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5822-9_0_5_line_6 |  | 5 | 50 | 0.012854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5822-9_0_5_line_7 |  | 5 | 51 | 0.012072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5822-9_0_5_line_8 |  | 7 | 8 | 0.0165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5822-9_0_5_line_9 |  | 7 | 9 | 0.016212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5822-9_0_5_line_10 |  | 7 | 10 | 0.0041012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5822-9_0_5_line_11 |  | 8 | 55 | 0.017774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5822-9_0_5_line_12 |  | 9 | 27 | 0.013956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5822-9_0_5_line_13 |  | 11 | 12 | 0.005952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5822-9_0_5_line_14 |  | 11 | 13 | 0.004291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5822-9_0_5_line_15 |  | 12 | 24 | 0.019237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5822-9_0_5_line_16 |  | 12 | 44 | 0.015731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5822-9_0_5_line_17 |  | 13 | 47 | 0.014518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5822-9_0_5_line_18 |  | 14 | 15 | 0.019765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5822-9_0_5_line_19 |  | 14 | 16 | 0.013859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5822-9_0_5_line_20 |  | 14 | 17 | 0.017824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5822-9_0_5_line_21 |  | 15 | 34 | 0.005086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5822-9_0_5_line_22 |  | 16 | 18 | 0.01947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5822-9_0_5_line_23 |  | 16 | 19 | 0.0042986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5822-9_0_5_line_24 |  | 18 | 25 | 0.0033485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5822-9_0_5_line_25 |  | 19 | 56 | 0.0064327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5822-9_0_5_line_26 |  | 20 | 21 | 0.029081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5822-9_0_5_line_27 |  | 20 | 22 | 0.010445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5822-9_0_5_line_28 |  | 20 | 23 | 0.011756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5822-9_0_5_line_29 |  | 21 | 57 | 0.0070957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5822-9_0_5_line_30 |  | 22 | 58 | 0.0065914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5822-9_0_5_line_31 |  | 23 | 37 | 0.0039602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5822-9_0_5_line_32 |  | 24 | 25 | 0.010176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5822-9_0_5_line_33 |  | 24 | 26 | 0.021969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5822-9_0_5_line_34 |  | 25 | 37 | 0.0048355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5822-9_0_5_line_35 |  | 26 | 33 | 0.017154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5822-9_0_5_line_36 |  | 28 | 29 | 0.032521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5822-9_0_5_line_37 |  | 28 | 30 | 0.034958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5822-9_0_5_line_38 |  | 29 | 61 | 0.0034339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5822-9_0_5_line_39 |  | 30 | 38 | 0.029654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5822-9_0_5_line_40 |  | 31 | 32 | 0.024184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5822-9_0_5_line_41 |  | 31 | 33 | 0.012209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5822-9_0_5_line_42 |  | 32 | 41 | 0.015183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5822-9_0_5_line_43 |  | 32 | 42 | 0.0090655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5822-9_0_5_line_44 |  | 34 | 35 | 0.004028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5822-9_0_5_line_45 |  | 34 | 36 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5822-9_0_5_line_46 |  | 36 | 62 | 0.0014211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5822-9_0_5_line_47 |  | 38 | 39 | 0.015538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5822-9_0_5_line_48 |  | 38 | 40 | 0.006546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5822-9_0_5_line_49 |  | 39 | 63 | 0.01383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5822-9_0_5_line_50 |  | 40 | 64 | 0.0081552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5822-9_0_5_line_51 |  | 41 | 65 | 0.019882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5822-9_0_5_line_52 |  | 42 | 66 | 0.024519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5822-9_0_5_line_53 |  | 43 | 44 | 0.02125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5822-9_0_5_line_54 |  | 43 | 45 | 0.016059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5822-9_0_5_line_55 |  | 45 | 69 | 0.0037804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5822-9_0_5_line_56 |  | 46 | 47 | 0.020032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5822-9_0_5_line_57 |  | 48 | 49 | 0.012141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5822-9_0_5_line_58 |  | 49 | 60 | 0.013268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5822-9_0_5_line_59 |  | 49 | 74 | 0.0092875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5822-9_0_5_line_60 |  | 50 | 67 | 0.00020881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5822-9_0_5_line_61 |  | 51 | 68 | 0.0064413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5822-9_0_5_line_62 |  | 52 | 53 | 0.072466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5822-9_0_5_line_63 |  | 52 | 54 | 0.04225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5822-9_0_5_line_64 |  | 54 | 79 | 0.026679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5822-9_0_5_line_65 |  | 55 | 56 | 0.0087175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5822-9_0_5_line_66 |  | 57 | 80 | 0.022276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5822-9_0_5_line_67 |  | 58 | 78 | 0.014032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5822-9_0_5_line_68 |  | 59 | 60 | 0.0027973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5822-9_0_5_line_69 |  | 62 | 68 | 0.00019528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5822-9_0_5_line_70 |  | 63 | 86 | 0.0019799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5822-9_0_5_line_71 |  | 64 | 81 | 0.0069254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5822-9_0_5_line_72 |  | 66 | 87 | 0.018581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5822-9_0_5_line_73 |  | 67 | 70 | 0.004011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5822-9_0_5_line_74 |  | 70 | 71 | 0.0081775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5822-9_0_5_line_75 |  | 71 | 72 | 0.0074555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5822-9_0_5_line_76 |  | 72 | 73 | 0.0047343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5822-9_0_5_line_77 |  | 73 | 74 | 0.0042348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5822-9_0_5_line_78 |  | 75 | 76 | 0.018797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5822-9_0_5_line_79 |  | 75 | 77 | 0.016556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5822-9_0_5_line_80 |  | 77 | 78 | 0.008333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5822-9_0_5_line_81 |  | 79 | 82 | 0.0050604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5822-9_0_5_line_82 |  | 80 | 81 | 0.0060952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5822-9_0_5_line_83 |  | 82 | 83 | 0.011644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5822-9_0_5_line_84 |  | 83 | 84 | 0.016467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5822-9_0_5_line_85 |  | 84 | 85 | 0.0085336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5822-9_0_5_line_86 |  | 85 | 86 | 0.003651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5822-9_0_5_line_87 |  | 87 | 88 | 0.0010629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5822-9_0_5_trafo_20 | 0.63 MVA 20/0.4 kV | 89 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2561768.2541 | 1185480.8232 | 2561759.6822 | 1185475.7546
1 | 2561751.3561 | 1185471.1029 | 2561754.7397 | 1185472.8322 | 2561759.6822 | 1185475.7546
2 | 2561742.0826 | 1185466.3637 | 2561751.3561 | 1185471.1029
3 | 2561742.0826 | 1185466.3637 | 2561733.7211 | 1185462.0905
4 | 2561723.7385 | 1185456.9888 | 2561726.2904 | 1185451.5029
5 | 2561723.7385 | 1185456.9888 | 2561733.7211 | 1185462.0905
6 | 2561726.2904 | 1185451.5029 | 2561721.869 | 1185449.8859 | 2561714.6307 | 1185446.1481
7 | 2561726.2904 | 1185451.5029 | 2561731.3784 | 1185440.5554
8 | 2561687.8817 | 1185370.6835 | 2561703.399 | 1185376.2928
9 | 2561682.4892 | 1185385.4371 | 2561687.5279 | 1185377.4004 | 2561687.8817 | 1185370.6835
10 | 2561687.8817 | 1185370.6835 | 2561684.7321 | 1185368.0567
11 | 2561720.1148 | 1185382.3354 | 2561703.399 | 1185376.2928
12 | 2561682.4892 | 1185385.4371 | 2561676.42 | 1185385.098 | 2561668.6248 | 1185386.2327
13 | 2561771.9177 | 1185404.808 | 2561769.2655 | 1185410.1389
14 | 2561767.5277 | 1185414.0632 | 2561769.2655 | 1185410.1389
15 | 2561765.8248 | 1185391.2508 | 2561762.5581 | 1185395.9409 | 2561762.9791 | 1185398.5284 | 2561771.9177 | 1185404.808
16 | 2561771.9177 | 1185404.808 | 2561785.0841 | 1185413.4728
17 | 2561767.5277 | 1185414.0632 | 2561775.5578 | 1185417.9028 | 2561780.0827 | 1185421.2308
18 | 2561731.7827 | 1185401.1184 | 2561737.225 | 1185404.8523 | 2561739.7132 | 1185409.6611 | 2561738.2938 | 1185417.281
19 | 2561738.4052 | 1185388.9473 | 2561734.8205 | 1185395.2292 | 2561731.7827 | 1185401.1184
20 | 2561731.7827 | 1185401.1184 | 2561714.7979 | 1185395.7136
21 | 2561742.4429 | 1185420.0159 | 2561738.2598 | 1185417.4635 | 2561738.2938 | 1185417.281
22 | 2561738.4052 | 1185388.9473 | 2561749.4061 | 1185391.934 | 2561752.9262 | 1185391.0443 | 2561755.7408 | 1185387.6104
23 | 2561738.4052 | 1185388.9473 | 2561734.3626 | 1185387.4859
24 | 2561757.8634 | 1185385.0206 | 2561755.7408 | 1185387.6104
25 | 2561734.3626 | 1185387.4859 | 2561728.313 | 1185385.299
26 | 2561770.7038 | 1185368.9743 | 2561788.8695 | 1185346.2644
27 | 2561770.7038 | 1185368.9743 | 2561762.6006 | 1185362.3836
28 | 2561770.7038 | 1185368.9743 | 2561763.3589 | 1185378.153
29 | 2561788.8695 | 1185346.2644 | 2561793.3018 | 1185340.7234
30 | 2561757.487 | 1185358.2245 | 2561762.6006 | 1185362.3836
31 | 2561760.8846 | 1185381.2451 | 2561763.3589 | 1185378.153
32 | 2561757.8634 | 1185385.0206 | 2561762.0943 | 1185389.0624 | 2561765.8248 | 1185391.2508
33 | 2561765.8248 | 1185391.2508 | 2561779.4485 | 1185374.0165
34 | 2561757.8634 | 1185385.0206 | 2561760.8846 | 1185381.2451
35 | 2561779.4485 | 1185374.0165 | 2561790.0866 | 1185360.559
36 | 2561848.3044 | 1185241.5877 | 2561847.0944 | 1185240.9284 | 2561828.0884 | 1185228.5321 | 2561820.553 | 1185224.7055
37 | 2561848.3044 | 1185241.5877 | 2561845.7645 | 1185248.9857 | 2561842.1229 | 1185260.7264 | 2561837.5485 | 1185273.3957 | 2561836.9751 | 1185274.6441
38 | 2561820.553 | 1185224.7055 | 2561819.1379 | 1185223.9868 | 2561817.6887 | 1185222.8422
39 | 2561823.8136 | 1185301.1984 | 2561829.9538 | 1185289.9309 | 2561836.9751 | 1185274.6441
40 | 2561812.9693 | 1185332.2621 | 2561807.9636 | 1185338.3418 | 2561807.2821 | 1185339.1688 | 2561804.5029 | 1185342.5439 | 2561799.5427 | 1185348.5678 | 2561797.6579 | 1185350.9811
41 | 2561797.6579 | 1185350.9811 | 2561790.0866 | 1185360.559
42 | 2561812.9693 | 1185332.2621 | 2561821.8945 | 1185319.9797
43 | 2561812.9693 | 1185332.2621 | 2561819.1283 | 1185338.9141
44 | 2561742.4429 | 1185420.0159 | 2561746.2443 | 1185421.3478
45 | 2561742.4429 | 1185420.0159 | 2561735.7376 | 1185431.1759 | 2561734.7745 | 1185433.2483
46 | 2561734.1755 | 1185434.537 | 2561734.7745 | 1185433.2483
47 | 2561823.8136 | 1185301.1984 | 2561812.4945 | 1185290.554
48 | 2561823.8136 | 1185301.1984 | 2561821.9408 | 1185304.2898 | 2561820.268 | 1185306.6972
49 | 2561802.4197 | 1185281.0798 | 2561812.4945 | 1185290.554
50 | 2561820.268 | 1185306.6972 | 2561815.6147 | 1185313.3945
51 | 2561821.8945 | 1185319.9797 | 2561822.7736 | 1185318.77 | 2561833.1234 | 1185303.5725
52 | 2561819.1283 | 1185338.9141 | 2561832.227 | 1185353.0613 | 2561836.1367 | 1185356.5491
53 | 2561785.0841 | 1185413.4728 | 2561802.1456 | 1185426.2039
54 | 2561802.1456 | 1185426.2039 | 2561812.1001 | 1185413.6027
55 | 2561814.4435 | 1185410.6362 | 2561812.1001 | 1185413.6027
56 | 2561780.0827 | 1185421.2308 | 2561796.2202 | 1185433.0993
57 | 2561683.9492 | 1185423.8594 | 2561679.998 | 1185421.7836 | 2561674.1412 | 1185420.0647 | 2561672.9069 | 1185419.088
58 | 2561683.9492 | 1185423.8594 | 2561684.2632 | 1185416.8981 | 2561685.026 | 1185410.6449
59 | 2561683.9492 | 1185423.8594 | 2561686.813 | 1185425.3641 | 2561691.5309 | 1185429.1553
60 | 2561714.4451 | 1185446.0523 | 2561714.6307 | 1185446.1481
61 | 2561734.0932 | 1185434.7141 | 2561731.3784 | 1185440.5554
62 | 2561722.0234 | 1185263.2292 | 2561728.9623 | 1185269.4437 | 2561755.0651 | 1185296.0352 | 2561772.6943 | 1185315.1215
63 | 2561722.0234 | 1185263.2292 | 2561725.3966 | 1185258.4606 | 2561727.2279 | 1185256.0365 | 2561727.8711 | 1185255.1763 | 2561730.618 | 1185251.5234 | 2561737.5422 | 1185242.3408 | 2561748.5011 | 1185230.3754
64 | 2561748.5011 | 1185230.3754 | 2561767.9365 | 1185248.6522
65 | 2561728.313 | 1185385.299 | 2561720.1148 | 1185382.3354
66 | 2561793.3018 | 1185340.7234 | 2561797.9746 | 1185334.8816 | 2561800.7684 | 1185331.3952 | 2561801.0712 | 1185331.0153 | 2561802.4492 | 1185329.3055 | 2561807.4258 | 1185323.5005
67 | 2561757.487 | 1185358.2245 | 2561746.6014 | 1185349.3707
68 | 2561685.026 | 1185410.6449 | 2561685.3647 | 1185407.8682
69 | 2561734.0932 | 1185434.7141 | 2561734.1755 | 1185434.537
70 | 2561800.9774 | 1185279.7234 | 2561802.4197 | 1185281.0798
71 | 2561811.3929 | 1185318.8729 | 2561813.5847 | 1185316.3163 | 2561815.6147 | 1185313.3945
72 | 2561836.1367 | 1185356.5491 | 2561844.5383 | 1185364.0441 | 2561850.1879 | 1185368.7016
73 | 2561714.4451 | 1185446.0523 | 2561713.4695 | 1185445.5485 | 2561710.8922 | 1185444.1908
74 | 2561704.1434 | 1185439.6712 | 2561706.9225 | 1185442.0997 | 2561710.8922 | 1185444.1908
75 | 2561704.1434 | 1185439.6712 | 2561698.7261 | 1185434.9373 | 2561698.5224 | 1185434.7736
76 | 2561698.5224 | 1185434.7736 | 2561694.832 | 1185431.808
77 | 2561694.832 | 1185431.808 | 2561691.5309 | 1185429.1553
78 | 2561726.4687 | 1185334.7674 | 2561719.6051 | 1185330.0472 | 2561710.6884 | 1185335.5295
79 | 2561726.4687 | 1185334.7674 | 2561740.1098 | 1185344.1486
80 | 2561746.6014 | 1185349.3707 | 2561740.57 | 1185344.4651 | 2561740.1098 | 1185344.1486
81 | 2561771.6229 | 1185252.1188 | 2561767.9365 | 1185248.6522
82 | 2561807.4258 | 1185323.5005 | 2561811.3929 | 1185318.8729
83 | 2561771.6229 | 1185252.1188 | 2561780.1054 | 1185260.0956
84 | 2561792.1011 | 1185271.3763 | 2561780.1054 | 1185260.0956
85 | 2561798.3177 | 1185277.2223 | 2561792.1011 | 1185271.3763
86 | 2561800.9774 | 1185279.7234 | 2561798.3177 | 1185277.2223
87 | 2561850.1879 | 1185368.7016 | 2561851.008 | 1185369.3777

## bus_geodata
| x | y | coords
0 | 2561768.2541 | 1185480.8232
1 | 2561759.6822 | 1185475.7546
2 | 2561751.3561 | 1185471.1029
3 | 2561742.0826 | 1185466.3637
4 | 2561723.7385 | 1185456.9888
5 | 2561726.2904 | 1185451.5029
6 | 2561733.7211 | 1185462.0905
7 | 2561687.8817 | 1185370.6835
8 | 2561703.399 | 1185376.2928
9 | 2561682.4892 | 1185385.4371
10 | 2561684.7321 | 1185368.0567
11 | 2561769.2655 | 1185410.1389
12 | 2561771.9177 | 1185404.808
13 | 2561767.5277 | 1185414.0632
14 | 2561731.7827 | 1185401.1184
15 | 2561738.2938 | 1185417.281
16 | 2561738.4052 | 1185388.9473
17 | 2561714.7979 | 1185395.7136
18 | 2561755.7408 | 1185387.6104
19 | 2561734.3626 | 1185387.4859
20 | 2561770.7038 | 1185368.9743
21 | 2561788.8695 | 1185346.2644
22 | 2561762.6006 | 1185362.3836
23 | 2561763.3589 | 1185378.153
24 | 2561765.8248 | 1185391.2508
25 | 2561757.8634 | 1185385.0206
26 | 2561779.4485 | 1185374.0165
27 | 2561668.6248 | 1185386.2327
28 | 2561848.3044 | 1185241.5877
29 | 2561820.553 | 1185224.7055
30 | 2561836.9751 | 1185274.6441
31 | 2561797.6579 | 1185350.9811
32 | 2561812.9693 | 1185332.2621
33 | 2561790.0866 | 1185360.559
34 | 2561742.4429 | 1185420.0159
35 | 2561746.2443 | 1185421.3478
36 | 2561734.7745 | 1185433.2483
37 | 2561760.8846 | 1185381.2451
38 | 2561823.8136 | 1185301.1984
39 | 2561812.4945 | 1185290.554
40 | 2561820.268 | 1185306.6972
41 | 2561821.8945 | 1185319.9797
42 | 2561819.1283 | 1185338.9141
43 | 2561802.1456 | 1185426.2039
44 | 2561785.0841 | 1185413.4728
45 | 2561812.1001 | 1185413.6027
46 | 2561796.2202 | 1185433.0993
47 | 2561780.0827 | 1185421.2308
48 | 2561672.9069 | 1185419.088
49 | 2561683.9492 | 1185423.8594
50 | 2561714.6307 | 1185446.1481
51 | 2561731.3784 | 1185440.5554
52 | 2561722.0234 | 1185263.2292
53 | 2561772.6943 | 1185315.1215
54 | 2561748.5011 | 1185230.3754
55 | 2561720.1148 | 1185382.3354
56 | 2561728.313 | 1185385.299
57 | 2561793.3018 | 1185340.7234
58 | 2561757.487 | 1185358.2245
59 | 2561685.3647 | 1185407.8682
60 | 2561685.026 | 1185410.6449
61 | 2561817.6887 | 1185222.8422
62 | 2561734.1755 | 1185434.537
63 | 2561802.4197 | 1185281.0798
64 | 2561815.6147 | 1185313.3945
65 | 2561833.1234 | 1185303.5725
66 | 2561836.1367 | 1185356.5491
67 | 2561714.4451 | 1185446.0523
68 | 2561734.0932 | 1185434.7141
69 | 2561814.4435 | 1185410.6362
70 | 2561710.8922 | 1185444.1908
71 | 2561704.1434 | 1185439.6712
72 | 2561698.5224 | 1185434.7736
73 | 2561694.832 | 1185431.808
74 | 2561691.5309 | 1185429.1553
75 | 2561726.4687 | 1185334.7674
76 | 2561710.6884 | 1185335.5295
77 | 2561740.1098 | 1185344.1486
78 | 2561746.6014 | 1185349.3707
79 | 2561767.9365 | 1185248.6522
80 | 2561807.4258 | 1185323.5005
81 | 2561811.3929 | 1185318.8729
82 | 2561771.6229 | 1185252.1189
83 | 2561780.1054 | 1185260.0956
84 | 2561792.1011 | 1185271.3763
85 | 2561798.3177 | 1185277.2223
86 | 2561800.9774 | 1185279.7234
87 | 2561850.1879 | 1185368.7016
88 | 2561851.008 | 1185369.3777
89 | 2561762.0943 | 1185389.0624

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1