## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5882-10_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5882-10_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5882-10_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5882-10_0_2_node_20 | 0.4 | n |  | TRUE
4 | bus_LV_5882-10_0_2_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_5882-10_0_2_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_5882-10_0_2_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_5882-10_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_5882-10_0_2_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_5882-10_0_2_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_5882-10_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5882-10_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5882-10_0_2_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_5882-10_0_2_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_5882-10_0_2_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_5882-10_0_2_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_5882-10_0_2_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_5882-10_0_2_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_5882-10_0_2_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_5882-10_0_2_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_5882-10_0_2_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_5882-10_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5882-10_0_2_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_5882-10_0_2_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5882-10_0_2_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_5882-10_0_2_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_5882-10_0_2_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_5882-10_0_2_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_5882-10_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5882-10_0_2_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_5882-10_0_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5882-10_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5882-10_0_2_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_5882-10_0_2_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_5882-10_0_2_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_5882-10_0_2_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_5882-10_0_2_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5882-10_0_2_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5882-10_0_2_node_40 | 0.4 | n |  | TRUE
39 | bus_MV_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5882-10_0_2_load_0 | 0 | 0.0049355 | 0.001237 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5882-10_0_2_load_19 | 5 | 0.0001685 | 4.223e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5882-10_0_2_load_29 | 6 | 0.00018656 | 4.6756e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5882-10_0_2_load_33 | 8 | 0.00067739 | 0.00016977 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5882-10_0_2_load_4 | 9 | 0.00018712 | 4.6897e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5882-10_0_2_load_41 | 12 | 0.00047771 | 0.00011973 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5882-10_0_2_load_35 | 13 | 0.00033856 | 8.4851e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5882-10_0_2_load_34 | 14 | 0.00021471 | 5.3812e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5882-10_0_2_load_39 | 15 | 0.00085478 | 0.00021423 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5882-10_0_2_load_7 | 18 | 0.00025152 | 6.3037e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5882-10_0_2_load_28 | 19 | 0.00062639 | 0.00015699 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5882-10_0_2_load_15 | 21 | 0.00099129 | 0.00024844 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5882-10_0_2_load_30 | 22 | 0.00046333 | 0.00011612 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5882-10_0_2_load_13 | 23 | 0.00081009 | 0.00020303 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5882-10_0_2_load_8 | 24 | 0.00085774 | 0.00021497 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5882-10_0_2_load_9 | 25 | 0.00023863 | 5.9807e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5882-10_0_2_load_10 | 26 | 0.00014257 | 3.5731e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5882-10_0_2_load_11 | 27 | 0.00053398 | 0.00013383 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5882-10_0_2_load_16 | 28 | 0.00087009 | 0.00021806 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5882-10_0_2_load_14 | 29 | 0.00095028 | 0.00023816 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5882-10_0_2_load_22 | 31 | 0.00014381 | 3.6041e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5882-10_0_2_load_23 | 32 | 0.00015386 | 3.8561e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5882-10_0_2_load_38 | 34 | 0.0047901 | 0.0012005 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5882-10_0_2_load_36 | 35 | 0.00077109 | 0.00019325 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5882-10_0_2_load_40 | 38 | 0.00068548 | 0.0001718 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5882-10_0_2_line_0 |  | 0 | 1 | 0.11861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5882-10_0_2_line_1 |  | 1 | 2 | 0.23355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5882-10_0_2_line_2 |  | 2 | 3 | 0.067641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5882-10_0_2_line_3 |  | 2 | 4 | 0.029296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5882-10_0_2_line_4 |  | 2 | 5 | 0.018198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5882-10_0_2_line_5 |  | 3 | 6 | 0.18568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5882-10_0_2_line_6 |  | 3 | 7 | 0.082947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5882-10_0_2_line_7 |  | 4 | 8 | 0.025528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5882-10_0_2_line_8 |  | 7 | 29 | 0.23568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5882-10_0_2_line_9 |  | 7 | 26 | 0.13543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5882-10_0_2_line_10 |  | 9 | 10 | 0.0062287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5882-10_0_2_line_11 |  | 10 | 11 | 0.26174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5882-10_0_2_line_12 |  | 10 | 12 | 0.37643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5882-10_0_2_line_13 |  | 11 | 18 | 0.0095116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5882-10_0_2_line_14 |  | 13 | 14 | 0.0078545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5882-10_0_2_line_15 |  | 14 | 36 | 0.039923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5882-10_0_2_line_16 |  | 15 | 16 | 0.21343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5882-10_0_2_line_17 |  | 15 | 17 | 0.051186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5882-10_0_2_line_18 |  | 16 | 36 | 0.12632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5882-10_0_2_line_19 |  | 16 | 37 | 0.086911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5882-10_0_2_line_20 |  | 16 | 31 | 0.22355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5882-10_0_2_line_21 |  | 17 | 34 | 0.072122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5882-10_0_2_line_22 |  | 17 | 35 | 0.084895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5882-10_0_2_line_23 |  | 18 | 19 | 0.34783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5882-10_0_2_line_24 |  | 19 | 20 | 0.076444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5882-10_0_2_line_25 |  | 20 | 32 | 0.016135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5882-10_0_2_line_26 |  | 21 | 22 | 0.243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5882-10_0_2_line_27 |  | 21 | 23 | 0.036557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5882-10_0_2_line_28 |  | 23 | 29 | 0.043259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5882-10_0_2_line_29 |  | 24 | 25 | 0.059847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5882-10_0_2_line_30 |  | 24 | 26 | 0.01113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5882-10_0_2_line_31 |  | 25 | 27 | 0.14748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5882-10_0_2_line_32 |  | 27 | 28 | 0.16458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5882-10_0_2_line_33 |  | 28 | 30 | 0.038789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5882-10_0_2_line_34 |  | 30 | 33 | 0.085494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5882-10_0_2_line_35 |  | 31 | 32 | 0.027054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5882-10_0_2_line_36 |  | 33 | 34 | 0.069293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5882-10_0_2_line_37 |  | 37 | 38 | 0.032677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5882-10_0_2_trafo_8 | 0.63 MVA 20/0.4 kV | 39 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2552192.2729 | 1148362.3781 | 2552182.7783 | 1148344.5777 | 2552179.7449 | 1148336.82 | 2552179.6556 | 1148324.6366 | 2552177.0588 | 1148312.8845 | 2552171.8099 | 1148300.7866 | 2552167.1919 | 1148288.8394 | 2552164.3621 | 1148275.7996 | 2552166.8214 | 1148262.5509 | 2552170.3381 | 1148249.9608
1 | 2552106.8861 | 1148556.4806 | 2552107.6059 | 1148545.6248 | 2552107.7254 | 1148535.563 | 2552109.8776 | 1148521.383 | 2552115.2972 | 1148502.8635 | 2552125.1968 | 1148484.7531 | 2552136.9632 | 1148472.5308 | 2552147.3628 | 1148465.1331 | 2552156.2013 | 1148457.4366 | 2552169.8338 | 1148444.2546 | 2552184.889 | 1148433.2514 | 2552198.2121 | 1148421.7062 | 2552200.3763 | 1148418.6541 | 2552201.5138 | 1148414.9209 | 2552202.6869 | 1148407.9301 | 2552202.6124 | 1148401.4607 | 2552193.7823 | 1148369.6811 | 2552192.2729 | 1148362.3781
2 | 2552106.8861 | 1148556.4806 | 2552086.9354 | 1148588.0781 | 2552067.3475 | 1148611.2351
3 | 2552112.5258 | 1148584.8726 | 2552113.2389 | 1148580.8871 | 2552111.9668 | 1148576.3838 | 2552109.7938 | 1148566.7628 | 2552107.9299 | 1148561.2303 | 2552106.8861 | 1148556.4806
4 | 2552106.8861 | 1148556.4806 | 2552109.2717 | 1148552.3038 | 2552113.043 | 1148545.6926 | 2552117.2469 | 1148541.731
5 | 2552067.3475 | 1148611.2351 | 2552043.9709 | 1148624.3505 | 2552010.7127 | 1148637.556 | 2551972.0937 | 1148650.5933 | 2551931.2027 | 1148662.7486 | 2551893.1949 | 1148674.1136
6 | 2552068.0828 | 1148680.3318 | 2552064.7492 | 1148673.4548 | 2552063.2397 | 1148664.2287 | 2552064.0056 | 1148657.2412 | 2552067.6569 | 1148650.0306 | 2552082.7407 | 1148630.2001 | 2552081.4506 | 1148623.4402 | 2552077.071 | 1148617.3164 | 2552071.8956 | 1148613.4556 | 2552067.3475 | 1148611.2351
7 | 2552112.5258 | 1148584.8726 | 2552121.298 | 1148585.2697 | 2552135.4534 | 1148594.2186
8 | 2552068.0828 | 1148680.3318 | 2552097.5835 | 1148677.4064 | 2552118.5673 | 1148670.4579 | 2552134.6366 | 1148671.1859 | 2552148.7418 | 1148674.0418 | 2552163.0886 | 1148675.4061 | 2552177.7004 | 1148678.247 | 2552188.3169 | 1148675.9502 | 2552201.398 | 1148673.6228 | 2552214.5123 | 1148674.5079 | 2552229.8495 | 1148675.8646 | 2552247.1851 | 1148679.4176 | 2552261.5885 | 1148686.9516 | 2552278.1872 | 1148691.5 | 2552296.4742 | 1148690.1209 | 2552298.415 | 1148689.8113
9 | 2552068.0828 | 1148680.3318 | 2552066.3351 | 1148691.307 | 2552063.9381 | 1148700.7644 | 2552061.1096 | 1148707.1569 | 2552054.9779 | 1148713.3646 | 2552040.1974 | 1148724.9885 | 2552027.3527 | 1148740.5546 | 2552023.5561 | 1148749.7452 | 2552022.5884 | 1148758.3796 | 2552021.6284 | 1148767.0029 | 2552020.6485 | 1148776.0376 | 2552023.2917 | 1148799.3509 | 2552023.2917 | 1148799.3509
10 | 2552729.2854 | 1149498.8895 | 2552727.6685 | 1149502.2039 | 2552726.013 | 1149504.1315
11 | 2552729.2854 | 1149498.8895 | 2552735.5185 | 1149486.0672 | 2552745.8019 | 1149464.0305 | 2552748.5909 | 1149457.4496 | 2552750.5947 | 1149451.5863 | 2552752.2117 | 1149441.4462 | 2552751.5723 | 1149434.3364 | 2552749.9698 | 1149428.7461 | 2552744.5955 | 1149417.0267 | 2552734.8838 | 1149403.4182 | 2552731.9858 | 1149397.1154 | 2552729.4808 | 1149390.0092 | 2552729.8585 | 1149380.4457 | 2552731.344 | 1149373.0969 | 2552732.0645 | 1149367.0881 | 2552731.5557 | 1149346.3258 | 2552732.3804 | 1149332.0897 | 2552747.2417 | 1149302.4464 | 2552753.8074 | 1149294.802 | 2552755.6675 | 1149293.1087 | 2552759.0074 | 1149290.1921 | 2552766.617 | 1149284.4515 | 2552772.9458 | 1149278.8767 | 2552784.8907 | 1149267.9105
12 | 2552729.2854 | 1149498.8895 | 2553100.8911 | 1149558.9329
13 | 2552784.8907 | 1149267.9105 | 2552785.5999 | 1149267.3046 | 2552790.4425 | 1149263.1311 | 2552791.9991 | 1149261.5964
14 | 2552417.6014 | 1149229.1745 | 2552416.5287 | 1149221.3936
15 | 2552416.7716 | 1149181.5786 | 2552415.3939 | 1149213.1614 | 2552416.5287 | 1149221.3936
16 | 2552079.1888 | 1149145.0666 | 2552292.0198 | 1149161.1008
17 | 2552035.5914 | 1149171.5573 | 2552042.9532 | 1149166.5849 | 2552065.0617 | 1149154.5357 | 2552076.3497 | 1149147.9867 | 2552079.1888 | 1149145.0666
18 | 2552292.0198 | 1149161.1008 | 2552316.158 | 1149161.9209 | 2552344.0122 | 1149167.5697 | 2552395.6065 | 1149177.0993 | 2552416.7716 | 1149181.5786
19 | 2552292.0198 | 1149161.1008 | 2552291.7502 | 1149164.8605 | 2552293.3999 | 1149175.364 | 2552297.8001 | 1149186.1013 | 2552312.7521 | 1149224.247 | 2552314.5037 | 1149232.1149 | 2552314.5566 | 1149238.7847 | 2552311.9358 | 1149243.2856
20 | 2552292.0198 | 1149161.1008 | 2552296.3807 | 1149154.3072 | 2552300.7105 | 1149150.3708 | 2552303.6445 | 1149148.5688 | 2552310.9761 | 1149145.5535 | 2552365.9294 | 1149134.2232 | 2552385.1145 | 1149129.113 | 2552418.7923 | 1149116.7845 | 2552440.0644 | 1149105.6549 | 2552457.7012 | 1149090.1852 | 2552473.0015 | 1149076.3459 | 2552487.1677 | 1149064.7168 | 2552487.1677 | 1149064.7168
21 | 2552035.5914 | 1149171.5573 | 2552028.8045 | 1149175.4579 | 2552006.7628 | 1149193.9212 | 2551988.984 | 1149200.0885 | 2551977.1381 | 1149202.1397 | 2551972.4503 | 1149201.7928
22 | 2552035.5914 | 1149171.5573 | 2552034.2117 | 1149175.7038 | 2552029.2753 | 1149194.9976 | 2552027.7559 | 1149210.4956 | 2552026.0427 | 1149227.6849 | 2552023.7941 | 1149234.5397 | 2552019.6509 | 1149240.6648 | 2552008.8884 | 1149248.2268
23 | 2552576.9961 | 1148988.177 | 2552791.9991 | 1149261.5964
24 | 2552520.9575 | 1149039.2923 | 2552535.5685 | 1149022.7128 | 2552548.9925 | 1149007.4878 | 2552572.587 | 1148991.8825 | 2552576.9961 | 1148988.177
25 | 2552520.9575 | 1149039.2923 | 2552514.5721 | 1149048.3808 | 2552510.9019 | 1149051.8172
26 | 2552376.3937 | 1148687.6872 | 2552600.4973 | 1148781.6351
27 | 2552376.3937 | 1148687.6872 | 2552368.8813 | 1148685.111 | 2552355.9933 | 1148681.7669 | 2552342.8906 | 1148681.3706 | 2552340.8085 | 1148682.0546
28 | 2552340.8085 | 1148682.0546 | 2552329.8174 | 1148685.6653 | 2552315.9836 | 1148687.009 | 2552298.415 | 1148689.8113
29 | 2551993.5826 | 1148862.5426 | 2552006.0371 | 1148841.4993 | 2552014.789 | 1148827.8668 | 2552020.1945 | 1148818.2298 | 2552022.6433 | 1148810.4618
30 | 2552023.2917 | 1148799.3509 | 2552022.6433 | 1148810.4618 | 2552022.6433 | 1148810.4618
31 | 2551993.5826 | 1148862.5426 | 2551992.0289 | 1148865.1679 | 2551990.8008 | 1148870.0247 | 2551991.0859 | 1148874.9583 | 2552000.4275 | 1148896.7172 | 2552005.0296 | 1148905.7185 | 2552008.1437 | 1148913.9646 | 2552009.3045 | 1148921.8372 | 2552008.6061 | 1148929.569 | 2552000.6388 | 1148952.0221 | 2551983.8967 | 1148991.932 | 2551981.8039 | 1149000.7369
32 | 2551981.8039 | 1149000.7369 | 2551977.6197 | 1149018.3403 | 2551972.3788 | 1149040.8494 | 2551965.9457 | 1149065.9694 | 2551965.3638 | 1149076.7352 | 2551967.1776 | 1149087.5375 | 2551977.087 | 1149111.1929 | 2551977.3469 | 1149114.8927 | 2551975.6737 | 1149121.6874 | 2551950.0815 | 1149151.5823
33 | 2551920.6074 | 1149176.4225 | 2551930.0046 | 1149170.5888 | 2551943.793 | 1149158.9281 | 2551950.0815 | 1149151.5823
34 | 2551914.6934 | 1149227.0295 | 2551892.9005 | 1149217.9991 | 2551889.4428 | 1149214.7917 | 2551886.5358 | 1149210.3571 | 2551886.6477 | 1149205.1535 | 2551888.4199 | 1149200.1923 | 2551893.0764 | 1149195.8528 | 2551918.2746 | 1149182.3443 | 2551920.2799 | 1149179.6268 | 2551920.6074 | 1149176.4225
35 | 2552510.9019 | 1149051.8172 | 2552510.0219 | 1149052.6411 | 2552504.0654 | 1149055.7676 | 2552487.1677 | 1149064.7168
36 | 2551914.6934 | 1149227.0295 | 2551921.0979 | 1149224.2991 | 2551924.1374 | 1149222.2626 | 2551935.8183 | 1149208.2286 | 2551940.7398 | 1149201.4968 | 2551948.2483 | 1149199.5247 | 2551963.3097 | 1149201.1163 | 2551972.4503 | 1149201.7928
37 | 2552311.9358 | 1149243.2856 | 2552314.2625 | 1149247.2025 | 2552315.5476 | 1149259.1763 | 2552317.0182 | 1149275.184

## bus_geodata
| x | y | coords
0 | 2552170.3381 | 1148249.9608
1 | 2552192.2729 | 1148362.3781
2 | 2552106.8861 | 1148556.4806
3 | 2552067.3475 | 1148611.2351
4 | 2552112.5258 | 1148584.8726
5 | 2552117.2469 | 1148541.731
6 | 2551893.1949 | 1148674.1136
7 | 2552068.0828 | 1148680.3318
8 | 2552135.4534 | 1148594.2186
9 | 2552726.013 | 1149504.1315
10 | 2552729.2854 | 1149498.8895
11 | 2552784.8907 | 1149267.9105
12 | 2553100.8911 | 1149558.9329
13 | 2552417.6014 | 1149229.1745
14 | 2552416.5287 | 1149221.3936
15 | 2552079.1888 | 1149145.0666
16 | 2552292.0198 | 1149161.1008
17 | 2552035.5914 | 1149171.5573
18 | 2552791.9991 | 1149261.5964
19 | 2552576.9961 | 1148988.177
20 | 2552520.9575 | 1149039.2923
21 | 2552376.3937 | 1148687.6872
22 | 2552600.4973 | 1148781.6351
23 | 2552340.8085 | 1148682.0546
24 | 2552022.6433 | 1148810.4618
25 | 2551993.5826 | 1148862.5426
26 | 2552023.2917 | 1148799.3509
27 | 2551981.8039 | 1149000.7369
28 | 2551950.0815 | 1149151.5823
29 | 2552298.415 | 1148689.8113
30 | 2551920.6074 | 1149176.4225
31 | 2552487.1677 | 1149064.7168
32 | 2552510.9019 | 1149051.8172
33 | 2551914.6934 | 1149227.0295
34 | 2551972.4503 | 1149201.7928
35 | 2552008.8884 | 1149248.2268
36 | 2552416.7716 | 1149181.5786
37 | 2552311.9358 | 1149243.2856
38 | 2552317.0182 | 1149275.184
39 | 2552022.6433 | 1148810.4618

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1