## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5882-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5882-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5882-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5882-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5882-5_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5882-5_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5882-5_0_5_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_5882-5_0_5_node_136 | 0.4 | n |  | TRUE
8 | bus_LV_5882-5_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_5882-5_0_5_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_5882-5_0_5_node_95 | 0.4 | n |  | TRUE
11 | bus_LV_5882-5_0_5_node_97 | 0.4 | n |  | TRUE
12 | bus_LV_5882-5_0_5_node_93 | 0.4 | n |  | TRUE
13 | bus_LV_5882-5_0_5_node_137 | 0.4 | n |  | TRUE
14 | bus_LV_5882-5_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_5882-5_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5882-5_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5882-5_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5882-5_0_5_node_108 | 0.4 | n |  | TRUE
19 | bus_LV_5882-5_0_5_node_109 | 0.4 | n |  | TRUE
20 | bus_LV_5882-5_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5882-5_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5882-5_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5882-5_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5882-5_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5882-5_0_5_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_5882-5_0_5_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_5882-5_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5882-5_0_5_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_5882-5_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5882-5_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5882-5_0_5_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_5882-5_0_5_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_5882-5_0_5_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_5882-5_0_5_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_5882-5_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_5882-5_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5882-5_0_5_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_5882-5_0_5_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_5882-5_0_5_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_5882-5_0_5_node_148 | 0.4 | n |  | TRUE
41 | bus_LV_5882-5_0_5_node_143 | 0.4 | n |  | TRUE
42 | bus_LV_5882-5_0_5_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5882-5_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_5882-5_0_5_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_5882-5_0_5_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5882-5_0_5_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_5882-5_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5882-5_0_5_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_5882-5_0_5_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_5882-5_0_5_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_5882-5_0_5_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_5882-5_0_5_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_5882-5_0_5_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_5882-5_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_5882-5_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_5882-5_0_5_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_5882-5_0_5_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_5882-5_0_5_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_5882-5_0_5_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_5882-5_0_5_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_5882-5_0_5_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_5882-5_0_5_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_5882-5_0_5_node_123 | 0.4 | n |  | TRUE
64 | bus_LV_5882-5_0_5_node_139 | 0.4 | n |  | TRUE
65 | bus_LV_5882-5_0_5_node_122 | 0.4 | n |  | TRUE
66 | bus_LV_5882-5_0_5_node_141 | 0.4 | n |  | TRUE
67 | bus_LV_5882-5_0_5_node_138 | 0.4 | n |  | TRUE
68 | bus_LV_5882-5_0_5_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_5882-5_0_5_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_5882-5_0_5_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_5882-5_0_5_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_5882-5_0_5_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_5882-5_0_5_node_98 | 0.4 | n |  | TRUE
74 | bus_LV_5882-5_0_5_node_92 | 0.4 | n |  | TRUE
75 | bus_LV_5882-5_0_5_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_5882-5_0_5_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_5882-5_0_5_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_5882-5_0_5_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_5882-5_0_5_node_119 | 0.4 | n |  | TRUE
80 | bus_LV_5882-5_0_5_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_5882-5_0_5_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_5882-5_0_5_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_5882-5_0_5_node_53 | 0.4 | n |  | TRUE
84 | bus_LV_5882-5_0_5_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_5882-5_0_5_node_54 | 0.4 | n |  | TRUE
86 | bus_LV_5882-5_0_5_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_5882-5_0_5_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_5882-5_0_5_node_65 | 0.4 | n |  | TRUE
89 | bus_LV_5882-5_0_5_node_58 | 0.4 | n |  | TRUE
90 | bus_LV_5882-5_0_5_node_59 | 0.4 | n |  | TRUE
91 | bus_LV_5882-5_0_5_node_146 | 0.4 | n |  | TRUE
92 | bus_LV_5882-5_0_5_node_144 | 0.4 | n |  | TRUE
93 | bus_LV_5882-5_0_5_node_107 | 0.4 | n |  | TRUE
94 | bus_LV_5882-5_0_5_node_145 | 0.4 | n |  | TRUE
95 | bus_LV_5882-5_0_5_node_63 | 0.4 | n |  | TRUE
96 | bus_LV_5882-5_0_5_node_66 | 0.4 | n |  | TRUE
97 | bus_LV_5882-5_0_5_node_71 | 0.4 | n |  | TRUE
98 | bus_LV_5882-5_0_5_node_73 | 0.4 | n |  | TRUE
99 | bus_LV_5882-5_0_5_node_75 | 0.4 | n |  | TRUE
100 | bus_LV_5882-5_0_5_node_76 | 0.4 | n |  | TRUE
101 | bus_LV_5882-5_0_5_node_149 | 0.4 | n |  | TRUE
102 | bus_LV_5882-5_0_5_node_150 | 0.4 | n |  | TRUE
103 | bus_LV_5882-5_0_5_node_77 | 0.4 | n |  | TRUE
104 | bus_LV_5882-5_0_5_node_78 | 0.4 | n |  | TRUE
105 | bus_LV_5882-5_0_5_node_79 | 0.4 | n |  | TRUE
106 | bus_LV_5882-5_0_5_node_80 | 0.4 | n |  | TRUE
107 | bus_LV_5882-5_0_5_node_81 | 0.4 | n |  | TRUE
108 | bus_LV_5882-5_0_5_node_104 | 0.4 | n |  | TRUE
109 | bus_LV_5882-5_0_5_node_120 | 0.4 | n |  | TRUE
110 | bus_LV_5882-5_0_5_node_105 | 0.4 | n |  | TRUE
111 | bus_LV_5882-5_0_5_node_121 | 0.4 | n |  | TRUE
112 | bus_LV_5882-5_0_5_node_84 | 0.4 | n |  | TRUE
113 | bus_LV_5882-5_0_5_node_85 | 0.4 | n |  | TRUE
114 | bus_LV_5882-5_0_5_node_103 | 0.4 | n |  | TRUE
115 | bus_LV_5882-5_0_5_node_101 | 0.4 | n |  | TRUE
116 | bus_LV_5882-5_0_5_node_89 | 0.4 | n |  | TRUE
117 | bus_LV_5882-5_0_5_node_90 | 0.4 | n |  | TRUE
118 | bus_LV_5882-5_0_5_node_91 | 0.4 | n |  | TRUE
119 | bus_LV_5882-5_0_5_node_115 | 0.4 | n |  | TRUE
120 | bus_LV_5882-5_0_5_node_96 | 0.4 | n |  | TRUE
121 | bus_LV_5882-5_0_5_node_128 | 0.4 | n |  | TRUE
122 | bus_LV_5882-5_0_5_node_134 | 0.4 | n |  | TRUE
123 | bus_LV_5882-5_0_5_node_129 | 0.4 | n |  | TRUE
124 | bus_LV_5882-5_0_5_node_132 | 0.4 | n |  | TRUE
125 | bus_LV_5882-5_0_5_node_94 | 0.4 | n |  | TRUE
126 | bus_LV_5882-5_0_5_node_114 | 0.4 | n |  | TRUE
127 | bus_LV_5882-5_0_5_node_124 | 0.4 | n |  | TRUE
128 | bus_LV_5882-5_0_5_node_118 | 0.4 | n |  | TRUE
129 | bus_LV_5882-5_0_5_node_99 | 0.4 | n |  | TRUE
130 | bus_LV_5882-5_0_5_node_100 | 0.4 | n |  | TRUE
131 | bus_LV_5882-5_0_5_node_102 | 0.4 | n |  | TRUE
132 | bus_LV_5882-5_0_5_node_106 | 0.4 | n |  | TRUE
133 | bus_LV_5882-5_0_5_node_110 | 0.4 | n |  | TRUE
134 | bus_LV_5882-5_0_5_node_112 | 0.4 | n |  | TRUE
135 | bus_LV_5882-5_0_5_node_116 | 0.4 | n |  | TRUE
136 | bus_LV_5882-5_0_5_node_111 | 0.4 | n |  | TRUE
137 | bus_LV_5882-5_0_5_node_113 | 0.4 | n |  | TRUE
138 | bus_LV_5882-5_0_5_node_127 | 0.4 | n |  | TRUE
139 | bus_LV_5882-5_0_5_node_117 | 0.4 | n |  | TRUE
140 | bus_LV_5882-5_0_5_node_126 | 0.4 | n |  | TRUE
141 | bus_LV_5882-5_0_5_node_151 | 0.4 | n |  | TRUE
142 | bus_LV_5882-5_0_5_node_147 | 0.4 | n |  | TRUE
143 | bus_LV_5882-5_0_5_node_140 | 0.4 | n |  | TRUE
144 | bus_LV_5882-5_0_5_node_142 | 0.4 | n |  | TRUE
145 | bus_LV_5882-5_0_5_node_130 | 0.4 | n |  | TRUE
146 | bus_LV_5882-5_0_5_node_152 | 0.4 | n |  | TRUE
147 | bus_LV_5882-5_0_5_node_131 | 0.4 | n |  | TRUE
148 | bus_LV_5882-5_0_5_node_133 | 0.4 | n |  | TRUE
149 | bus_LV_5882-5_0_5_node_135 | 0.4 | n |  | TRUE
150 | bus_MV_263_0_node_186 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5882-5_0_5_load_0 | 0 | 0.0051161 | 0.0012822 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5882-5_0_5_load_1 | 1 | 0.00285 | 0.00071427 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5882-5_0_5_load_2 | 2 | 0.003684 | 0.00092329 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5882-5_0_5_load_3 | 3 | 0.0076901 | 0.0019273 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5882-5_0_5_load_5 | 5 | 0.0066462 | 0.0016657 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5882-5_0_5_load_136 | 7 | 0.0039596 | 0.00099237 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5882-5_0_5_load_9 | 8 | 0.0045927 | 0.001151 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5882-5_0_5_load_72 | 9 | 0.0025494 | 0.00063893 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5882-5_0_5_load_97 | 11 | 0.0044161 | 0.0011068 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5882-5_0_5_load_93 | 12 | 0.0034736 | 0.00087057 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5882-5_0_5_load_137 | 13 | 0.0020216 | 0.00050667 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5882-5_0_5_load_6 | 14 | 0.002713 | 0.00067994 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5882-5_0_5_load_7 | 15 | 0.0037022 | 0.00092786 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5882-5_0_5_load_8 | 16 | 0.0033599 | 0.00084207 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5882-5_0_5_load_10 | 17 | 0.0025838 | 0.00064756 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5882-5_0_5_load_108 | 18 | 0.0010034 | 0.00025148 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5882-5_0_5_load_109 | 19 | 0.0036365 | 0.0009114 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5882-5_0_5_load_11 | 20 | 0.0079165 | 0.0019841 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5882-5_0_5_load_12 | 21 | 0.0081676 | 0.002047 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5882-5_0_5_load_51 | 26 | 0.0063878 | 0.0016009 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5882-5_0_5_load_15 | 27 | 0.0075862 | 0.0019013 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5882-5_0_5_load_70 | 28 | 0.019319 | 0.0048419 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5882-5_0_5_load_18 | 30 | 0.003763 | 0.00094309 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5882-5_0_5_load_55 | 31 | 0.0040073 | 0.0010043 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5882-5_0_5_load_52 | 32 | 0.0026975 | 0.00067607 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5882-5_0_5_load_61 | 33 | 0.0032421 | 0.00081255 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5882-5_0_5_load_69 | 34 | 0.003048 | 0.0007639 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5882-5_0_5_load_28 | 35 | 0.0061994 | 0.0015537 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5882-5_0_5_load_60 | 37 | 0.003861 | 0.00096766 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5882-5_0_5_load_42 | 38 | 0.00366 | 0.00091728 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5882-5_0_5_load_148 | 40 | 0.0019516 | 0.00048911 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5882-5_0_5_load_22 | 42 | 0.0034741 | 0.00087068 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5882-5_0_5_load_34 | 43 | 0.0063086 | 0.0015811 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5882-5_0_5_load_24 | 44 | 0.0032368 | 0.00081121 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5882-5_0_5_load_56 | 48 | 0.0066454 | 0.0016655 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5882-5_0_5_load_26 | 50 | 0.0045012 | 0.0011281 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5882-5_0_5_load_27 | 51 | 0.0018587 | 0.00046584 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5882-5_0_5_load_29 | 52 | 0.003774 | 0.00094586 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5882-5_0_5_load_30 | 53 | 0.0033093 | 0.00082939 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5882-5_0_5_load_37 | 54 | 0.0059226 | 0.0014843 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5882-5_0_5_load_36 | 57 | 0.0027141 | 0.00068022 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5882-5_0_5_load_31 | 58 | 0.002427 | 0.00060826 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5882-5_0_5_load_33 | 59 | 0.0082099 | 0.0020576 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5882-5_0_5_load_38 | 60 | 0.0016715 | 0.00041893 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5882-5_0_5_load_39 | 61 | 0.0016845 | 0.00042217 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5882-5_0_5_load_122 | 65 | 0.0015994 | 0.00040085 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5882-5_0_5_load_141 | 66 | 0.009065 | 0.0022719 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5882-5_0_5_load_138 | 67 | 0.0025161 | 0.00063059 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5882-5_0_5_load_43 | 68 | 0.0039843 | 0.00099855 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5882-5_0_5_load_44 | 70 | 0.0021812 | 0.00054665 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5882-5_0_5_load_46 | 71 | 0.001242 | 0.00031127 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5882-5_0_5_load_47 | 72 | 0.0048411 | 0.0012133 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5882-5_0_5_load_98 | 73 | 0.002794 | 0.00070025 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5882-5_0_5_load_92 | 74 | 0.0022384 | 0.00056099 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5882-5_0_5_load_68 | 75 | 0.0065363 | 0.0016381 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5882-5_0_5_load_88 | 77 | 0.010755 | 0.0026955 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5882-5_0_5_load_87 | 78 | 0.0030264 | 0.0007585 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5882-5_0_5_load_67 | 80 | 0.0026694 | 0.00066902 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5882-5_0_5_load_86 | 81 | 0.0036294 | 0.00090961 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5882-5_0_5_load_64 | 82 | 0.00238 | 0.00059649 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5882-5_0_5_load_53 | 83 | 0.0051944 | 0.0013018 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5882-5_0_5_load_62 | 84 | 0.0039244 | 0.00098355 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5882-5_0_5_load_83 | 86 | 0.0042977 | 0.0010771 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5882-5_0_5_load_82 | 87 | 0.0029305 | 0.00073446 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5882-5_0_5_load_65 | 88 | 0.0064502 | 0.0016166 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5882-5_0_5_load_58 | 89 | 0.0042475 | 0.0010645 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5882-5_0_5_load_146 | 91 | 0.0039929 | 0.0010007 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5882-5_0_5_load_144 | 92 | 0.0049726 | 0.0012462 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5882-5_0_5_load_107 | 93 | 0.0049895 | 0.0012505 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5882-5_0_5_load_145 | 94 | 0.003944 | 0.00098845 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5882-5_0_5_load_63 | 95 | 0.0089465 | 0.0022422 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5882-5_0_5_load_71 | 97 | 0.0019969 | 0.00050046 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5882-5_0_5_load_75 | 99 | 0.0015175 | 0.00038033 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5882-5_0_5_load_76 | 100 | 0.0037637 | 0.00094328 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5882-5_0_5_load_149 | 101 | 0.0020831 | 0.00052208 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5882-5_0_5_load_150 | 102 | 0.0023354 | 0.0005853 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5882-5_0_5_load_77 | 103 | 0.0054611 | 0.0013687 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5882-5_0_5_load_78 | 104 | 0.006586 | 0.0016506 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5882-5_0_5_load_80 | 106 | 0.0050618 | 0.0012686 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5882-5_0_5_load_81 | 107 | 0.0027632 | 0.00069252 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5882-5_0_5_load_104 | 108 | 0.0041455 | 0.001039 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5882-5_0_5_load_84 | 112 | 0.0047981 | 0.0012025 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5882-5_0_5_load_85 | 113 | 0.0029249 | 0.00073305 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5882-5_0_5_load_103 | 114 | 0.0034586 | 0.0008668 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5882-5_0_5_load_101 | 115 | 0.0055087 | 0.0013806 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5882-5_0_5_load_89 | 116 | 0.0030458 | 0.00076335 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5882-5_0_5_load_90 | 117 | 0.0022478 | 0.00056335 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5882-5_0_5_load_91 | 118 | 0.0018032 | 0.00045192 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5882-5_0_5_load_115 | 119 | 0.0027527 | 0.00068989 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5882-5_0_5_load_128 | 121 | 0.0021264 | 0.00053292 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5882-5_0_5_load_134 | 122 | 0.0015013 | 0.00037627 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5882-5_0_5_load_132 | 124 | 0.0013172 | 0.00033013 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5882-5_0_5_load_94 | 125 | 0.0015878 | 0.00039793 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5882-5_0_5_load_114 | 126 | 0.002992 | 0.00074986 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5882-5_0_5_load_118 | 128 | 0.0018965 | 0.00047531 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5882-5_0_5_load_99 | 129 | 0.0037617 | 0.00094276 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5882-5_0_5_load_100 | 130 | 0.0032631 | 0.00081782 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5882-5_0_5_load_102 | 131 | 0.0057265 | 0.0014352 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5882-5_0_5_load_106 | 132 | 0.0016466 | 0.00041267 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5882-5_0_5_load_116 | 135 | 0.0086913 | 0.0021782 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5882-5_0_5_load_111 | 136 | 0.0041591 | 0.0010424 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5882-5_0_5_load_113 | 137 | 0.025722 | 0.0064465 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5882-5_0_5_load_117 | 139 | 0.0017186 | 0.00043071 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5882-5_0_5_load_126 | 140 | 0.0019647 | 0.0004924 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5882-5_0_5_load_151 | 141 | 0.0046069 | 0.0011546 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5882-5_0_5_load_147 | 142 | 0.0014111 | 0.00035366 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5882-5_0_5_load_142 | 144 | 0.0017836 | 0.000447 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5882-5_0_5_load_152 | 146 | 0.0032656 | 0.00081845 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5882-5_0_5_load_131 | 147 | 0.0012211 | 0.00030604 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5882-5_0_5_load_135 | 149 | 0.0040062 | 0.001004 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 85 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5882-5_0_5_line_0 |  | 0 | 1 | 0.019456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5882-5_0_5_line_1 |  | 0 | 2 | 0.0032291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5882-5_0_5_line_2 |  | 1 | 3 | 0.0090279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5882-5_0_5_line_3 |  | 2 | 4 | 0.097845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5882-5_0_5_line_4 |  | 3 | 5 | 0.0071005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5882-5_0_5_line_5 |  | 4 | 6 | 0.051644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5882-5_0_5_line_6 |  | 4 | 7 | 0.023343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5882-5_0_5_line_7 |  | 6 | 8 | 0.014148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5882-5_0_5_line_8 |  | 6 | 9 | 0.0089226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5882-5_0_5_line_9 |  | 7 | 13 | 0.029386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5882-5_0_5_line_10 |  | 8 | 15 | 0.0055446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5882-5_0_5_line_11 |  | 9 | 97 | 0.00082316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5882-5_0_5_line_12 |  | 10 | 11 | 0.064681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5882-5_0_5_line_13 |  | 10 | 12 | 0.031689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5882-5_0_5_line_14 |  | 12 | 125 | 0.024873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5882-5_0_5_line_15 |  | 13 | 149 | 0.11698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5882-5_0_5_line_16 |  | 14 | 15 | 0.017132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5882-5_0_5_line_17 |  | 14 | 16 | 0.021748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5882-5_0_5_line_18 |  | 16 | 17 | 0.018921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5882-5_0_5_line_19 |  | 17 | 18 | 0.00097989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5882-5_0_5_line_20 |  | 18 | 19 | 0.013285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5882-5_0_5_line_21 |  | 19 | 133 | 0.031437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5882-5_0_5_line_22 |  | 20 | 21 | 0.023402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5882-5_0_5_line_23 |  | 20 | 22 | 0.012646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5882-5_0_5_line_24 |  | 21 | 23 | 0.013554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5882-5_0_5_line_25 |  | 22 | 24 | 0.013443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5882-5_0_5_line_26 |  | 23 | 25 | 0.002397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5882-5_0_5_line_27 |  | 23 | 26 | 0.016017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5882-5_0_5_line_28 |  | 24 | 29 | 0.015496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5882-5_0_5_line_29 |  | 24 | 30 | 0.04431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5882-5_0_5_line_30 |  | 25 | 31 | 0.0047922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5882-5_0_5_line_31 |  | 25 | 32 | 0.0059922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5882-5_0_5_line_32 |  | 26 | 33 | 0.0040649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5882-5_0_5_line_33 |  | 27 | 28 | 0.0034808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5882-5_0_5_line_34 |  | 28 | 34 | 0.0066757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5882-5_0_5_line_35 |  | 29 | 35 | 0.015665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5882-5_0_5_line_36 |  | 30 | 39 | 0.015386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5882-5_0_5_line_37 |  | 31 | 82 | 0.0078242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5882-5_0_5_line_38 |  | 32 | 83 | 0.0024934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5882-5_0_5_line_39 |  | 33 | 84 | 0.0083547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5882-5_0_5_line_40 |  | 34 | 96 | 0.015212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5882-5_0_5_line_41 |  | 35 | 43 | 0.036282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5882-5_0_5_line_42 |  | 36 | 37 | 0.01029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5882-5_0_5_line_43 |  | 36 | 38 | 0.011483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5882-5_0_5_line_44 |  | 37 | 46 | 0.0016961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5882-5_0_5_line_45 |  | 38 | 47 | 0.012167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5882-5_0_5_line_46 |  | 39 | 42 | 0.024257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5882-5_0_5_line_47 |  | 40 | 41 | 0.069596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5882-5_0_5_line_48 |  | 41 | 143 | 0.09912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5882-5_0_5_line_49 |  | 43 | 54 | 0.013074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5882-5_0_5_line_50 |  | 43 | 55 | 0.00872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5882-5_0_5_line_51 |  | 44 | 45 | 0.034212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5882-5_0_5_line_52 |  | 45 | 50 | 0.010775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5882-5_0_5_line_53 |  | 45 | 51 | 0.0065015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5882-5_0_5_line_54 |  | 46 | 75 | 0.014678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5882-5_0_5_line_55 |  | 46 | 69 | 0.01866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5882-5_0_5_line_56 |  | 47 | 60 | 0.0072488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5882-5_0_5_line_57 |  | 48 | 49 | 0.023738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5882-5_0_5_line_58 |  | 49 | 89 | 0.033032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5882-5_0_5_line_59 |  | 49 | 90 | 0.011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5882-5_0_5_line_60 |  | 50 | 52 | 0.016712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5882-5_0_5_line_61 |  | 52 | 53 | 0.014758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5882-5_0_5_line_62 |  | 53 | 56 | 0.02968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5882-5_0_5_line_63 |  | 55 | 56 | 0.029019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5882-5_0_5_line_64 |  | 55 | 58 | 0.024266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5882-5_0_5_line_65 |  | 56 | 57 | 0.029014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5882-5_0_5_line_66 |  | 58 | 59 | 0.027636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5882-5_0_5_line_67 |  | 60 | 61 | 0.011742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5882-5_0_5_line_68 |  | 61 | 62 | 0.0068874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5882-5_0_5_line_69 |  | 62 | 63 | 0.011728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5882-5_0_5_line_70 |  | 62 | 64 | 0.003596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5882-5_0_5_line_71 |  | 63 | 65 | 0.00534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5882-5_0_5_line_72 |  | 64 | 66 | 0.013866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5882-5_0_5_line_73 |  | 64 | 67 | 0.013076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5882-5_0_5_line_74 |  | 65 | 127 | 0.010186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5882-5_0_5_line_75 |  | 67 | 143 | 0.011406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5882-5_0_5_line_76 |  | 68 | 69 | 0.021058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5882-5_0_5_line_77 |  | 69 | 72 | 0.013915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5882-5_0_5_line_78 |  | 70 | 71 | 0.00075608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5882-5_0_5_line_79 |  | 71 | 73 | 0.007426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5882-5_0_5_line_80 |  | 72 | 74 | 0.0029172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5882-5_0_5_line_81 |  | 73 | 79 | 0.014692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5882-5_0_5_line_82 |  | 75 | 80 | 0.00023721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5882-5_0_5_line_83 |  | 76 | 77 | 0.012671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5882-5_0_5_line_84 |  | 76 | 78 | 0.018469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5882-5_0_5_line_85 |  | 78 | 81 | 0.014662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5882-5_0_5_line_86 |  | 79 | 127 | 0.004531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5882-5_0_5_line_87 |  | 79 | 128 | 0.0073792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5882-5_0_5_line_88 |  | 80 | 96 | 0.0078184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5882-5_0_5_line_89 |  | 81 | 85 | 0.0093621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5882-5_0_5_line_90 |  | 82 | 88 | 0.0064883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5882-5_0_5_line_91 |  | 83 | 85 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_5882-5_0_5_line_92 |  | 84 | 95 | 0.0072633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5882-5_0_5_line_93 |  | 85 | 86 | 0.016151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_5882-5_0_5_line_94 |  | 86 | 87 | 0.004765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
95 | LV_5882-5_0_5_line_95 |  | 87 | 112 | 0.0090591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_5882-5_0_5_line_96 |  | 88 | 96 | 0.012141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5882-5_0_5_line_97 |  | 90 | 91 | 0.0074943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5882-5_0_5_line_98 |  | 90 | 92 | 0.002609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5882-5_0_5_line_99 |  | 91 | 93 | 0.020479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5882-5_0_5_line_100 |  | 92 | 94 | 0.015634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5882-5_0_5_line_101 |  | 94 | 95 | 0.021043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5882-5_0_5_line_102 |  | 97 | 98 | 0.025014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
103 | LV_5882-5_0_5_line_103 |  | 98 | 99 | 0.01253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5882-5_0_5_line_104 |  | 98 | 100 | 0.0065371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
105 | LV_5882-5_0_5_line_105 |  | 100 | 101 | 0.012333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
106 | LV_5882-5_0_5_line_106 |  | 101 | 102 | 0.011059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
107 | LV_5882-5_0_5_line_107 |  | 102 | 138 | 0.020864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
108 | LV_5882-5_0_5_line_108 |  | 103 | 104 | 0.0002708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5882-5_0_5_line_109 |  | 103 | 105 | 0.022439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5882-5_0_5_line_110 |  | 105 | 106 | 0.023511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
111 | LV_5882-5_0_5_line_111 |  | 105 | 107 | 0.037685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
112 | LV_5882-5_0_5_line_112 |  | 106 | 108 | 0.0038955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
113 | LV_5882-5_0_5_line_113 |  | 107 | 109 | 0.0059605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
114 | LV_5882-5_0_5_line_114 |  | 108 | 110 | 0.0092629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
115 | LV_5882-5_0_5_line_115 |  | 109 | 111 | 0.028989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
116 | LV_5882-5_0_5_line_116 |  | 110 | 132 | 0.01343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
117 | LV_5882-5_0_5_line_117 |  | 111 | 138 | 0.003464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
118 | LV_5882-5_0_5_line_118 |  | 111 | 126 | 0.037747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5882-5_0_5_line_119 |  | 112 | 113 | 0.00047712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
120 | LV_5882-5_0_5_line_120 |  | 113 | 114 | 0.0056287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
121 | LV_5882-5_0_5_line_121 |  | 114 | 115 | 0.002669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
122 | LV_5882-5_0_5_line_122 |  | 115 | 129 | 0.00070668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
123 | LV_5882-5_0_5_line_123 |  | 116 | 117 | 0.050355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5882-5_0_5_line_124 |  | 117 | 118 | 0.029051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5882-5_0_5_line_125 |  | 118 | 121 | 0.062662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5882-5_0_5_line_126 |  | 119 | 120 | 0.0097124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5882-5_0_5_line_127 |  | 120 | 126 | 0.035884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5882-5_0_5_line_128 |  | 120 | 125 | 0.013221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5882-5_0_5_line_129 |  | 121 | 122 | 0.0859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5882-5_0_5_line_130 |  | 122 | 123 | 0.072013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_5882-5_0_5_line_131 |  | 122 | 124 | 0.00066573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5882-5_0_5_line_132 |  | 123 | 145 | 0.11397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5882-5_0_5_line_133 |  | 124 | 147 | 0.0036554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5882-5_0_5_line_134 |  | 127 | 140 | 0.0029599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5882-5_0_5_line_135 |  | 128 | 139 | 0.0041823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5882-5_0_5_line_136 |  | 129 | 130 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
137 | LV_5882-5_0_5_line_137 |  | 130 | 131 | 0.0081684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
138 | LV_5882-5_0_5_line_138 |  | 131 | 132 | 0.0092425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
139 | LV_5882-5_0_5_line_139 |  | 133 | 134 | 0.021272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5882-5_0_5_line_140 |  | 133 | 135 | 0.0064013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5882-5_0_5_line_141 |  | 134 | 136 | 0.048937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5882-5_0_5_line_142 |  | 136 | 137 | 0.0046113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5882-5_0_5_line_143 |  | 138 | 141 | 0.028449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5882-5_0_5_line_144 |  | 140 | 142 | 0.0048562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5882-5_0_5_line_145 |  | 143 | 144 | 0.014333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_5882-5_0_5_line_146 |  | 145 | 146 | 0.077502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_5882-5_0_5_line_147 |  | 147 | 148 | 0.057269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_5882-5_0_5_line_148 |  | 148 | 149 | 0.017162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5882-5_0_5_trafo_54 | 0.63 MVA 20/0.4 kV | 150 | 85 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2553021.1557 | 1147622.8251 | 2553035.2749 | 1147629.2116 | 2553039.0346 | 1147630.4535
1 | 2553021.1557 | 1147622.8251 | 2553018.2422 | 1147621.5073 | 2553018.2143 | 1147621.4929
2 | 2553039.0346 | 1147630.4535 | 2553047.6069 | 1147633.2853
3 | 2552927.5467 | 1147585.7089 | 2552960.6961 | 1147594.9099 | 2552985.7021 | 1147604.7528 | 2553018.2143 | 1147621.4929
4 | 2553047.6069 | 1147633.2853 | 2553050.2662 | 1147634.1637 | 2553054.4144 | 1147635.2955
5 | 2552898.3489 | 1147554.5102 | 2552898.2819 | 1147572.4201 | 2552914.5254 | 1147580.3192 | 2552915.1245 | 1147583.2716 | 2552927.5467 | 1147585.7089
6 | 2552927.5467 | 1147585.7089 | 2552928.1471 | 1147590.7847 | 2552929.3994 | 1147594.7658 | 2552931.6929 | 1147598.3386 | 2552934.3927 | 1147601.8082 | 2552938.6429 | 1147605.1655
7 | 2552898.3489 | 1147554.5102 | 2552912.4102 | 1147552.9438
8 | 2552898.3489 | 1147554.5102 | 2552889.4586 | 1147553.7518
9 | 2552964.528 | 1147619.0491 | 2552962.0165 | 1147617.4113 | 2552938.6429 | 1147605.1655
10 | 2552912.4102 | 1147552.9438 | 2552917.9207 | 1147552.3299
11 | 2552888.6384 | 1147553.6819 | 2552889.4586 | 1147553.7518
12 | 2552843.4002 | 1147582.0995 | 2552844.5073 | 1147592.0405 | 2552845.8162 | 1147601.2794 | 2552848.1428 | 1147609.0541 | 2552850.5508 | 1147614.4825 | 2552853.5727 | 1147618.8722 | 2552858.8689 | 1147624.378 | 2552865.5057 | 1147629.4508 | 2552870.1541 | 1147631.6822 | 2552874.8115 | 1147633.0909
13 | 2552843.4002 | 1147582.0995 | 2552835.7721 | 1147581.8481 | 2552827.4235 | 1147582.7696 | 2552812.1677 | 1147586.2935
14 | 2552812.1677 | 1147586.2935 | 2552802.7619 | 1147588.466 | 2552790.378 | 1147590.8978 | 2552787.7822 | 1147591.0289
15 | 2552964.528 | 1147619.0491 | 2552966.3624 | 1147620.2454 | 2552969.6818 | 1147623.3989 | 2552972.4951 | 1147626.6674 | 2552975.4022 | 1147630.1354 | 2552977.5975 | 1147633.9202 | 2552979.4811 | 1147638.1076 | 2552981.346 | 1147645.797 | 2552981.9625 | 1147682.389 | 2552983.6612 | 1147707.1329 | 2552988.5357 | 1147720.6018 | 2552992.8847 | 1147728.2213
16 | 2552934.8149 | 1147549.6228 | 2552926.9012 | 1147551.3295 | 2552917.9207 | 1147552.3299
17 | 2552934.8149 | 1147549.6228 | 2552947.4948 | 1147546.8883 | 2552955.9344 | 1147544.4789
18 | 2552974.0482 | 1147539.0204 | 2552966.1922 | 1147541.5504 | 2552955.9344 | 1147544.4789
19 | 2552974.9809 | 1147538.7201 | 2552974.0482 | 1147539.0204
20 | 2552987.6266 | 1147534.6476 | 2552974.9809 | 1147538.7201
21 | 2553018.199 | 1147527.5478 | 2552997.149 | 1147531.581 | 2552987.6266 | 1147534.6476
22 | 2552952.48 | 1147414.7951 | 2552952.9936 | 1147413.4206 | 2552958.8056 | 1147392.2698
23 | 2552962.1563 | 1147380.0761 | 2552958.8056 | 1147392.2698
24 | 2552947.7353 | 1147427.4912 | 2552952.48 | 1147414.7951
25 | 2552952.2926 | 1147371.9268 | 2552955.969 | 1147372.5984 | 2552959.7991 | 1147377.2153 | 2552962.1563 | 1147380.0761
26 | 2552949.9996 | 1147428.2962 | 2552947.7353 | 1147427.4912
27 | 2552947.7353 | 1147427.4912 | 2552934.6129 | 1147422.9582 | 2552932.5509 | 1147422.4104
28 | 2552951.7185 | 1147356.4677 | 2552952.5051 | 1147368.6568 | 2552952.2926 | 1147371.9268
29 | 2552952.2926 | 1147371.9268 | 2552915.5206 | 1147365.1666 | 2552908.6244 | 1147364.5756
30 | 2552949.9996 | 1147428.2962 | 2552954.5602 | 1147429.7677
31 | 2552949.9996 | 1147428.2962 | 2552947.5779 | 1147433.7772
32 | 2552928.6222 | 1147421.3668 | 2552932.5509 | 1147422.4104
33 | 2552983.5382 | 1147412.9941 | 2552983.7351 | 1147416.4693
34 | 2552983.7351 | 1147416.4693 | 2552983.8989 | 1147419.3598 | 2552983.0701 | 1147423.0484
35 | 2552951.7185 | 1147356.4677 | 2552949.9627 | 1147340.9018
36 | 2552893.2946 | 1147363.2619 | 2552908.6244 | 1147364.5756
37 | 2552962.0064 | 1147432.1703 | 2552954.5602 | 1147429.7677
38 | 2552947.5779 | 1147433.7772 | 2552947.0867 | 1147434.889 | 2552946.6593 | 1147436.0934
39 | 2552928.6222 | 1147421.3668 | 2552925.3853 | 1147420.5069 | 2552920.4863 | 1147419.4795
40 | 2552979.7353 | 1147437.8908 | 2552983.0701 | 1147423.0484
41 | 2552946.0764 | 1147304.8296 | 2552947.4187 | 1147318.3483 | 2552949.9627 | 1147340.9018
42 | 2553013.4903 | 1147444.8862 | 2553003.2081 | 1147444.4799
43 | 2553013.4903 | 1147444.8862 | 2553019.4903 | 1147445.1284 | 2553024.9116 | 1147445.9178
44 | 2553001.5133 | 1147444.4129 | 2553003.2081 | 1147444.4799
45 | 2553036.9517 | 1147447.6711 | 2553024.9116 | 1147445.9178
46 | 2552893.2946 | 1147363.2619 | 2552892.3662 | 1147359.456 | 2552890.9516 | 1147355.3539 | 2552888.5263 | 1147354.5836 | 2552875.0833 | 1147355.1702
47 | 2553135.6314 | 1147394.2404 | 2553117.0175 | 1147386.726 | 2553092.7331 | 1147377.8997 | 2553069.39 | 1147373.8993
48 | 2553090.2258 | 1147456.182 | 2553100.3667 | 1147457.5814 | 2553106.9902 | 1147457.0184 | 2553128.3446 | 1147454.5395 | 2553135.6314 | 1147394.2404
49 | 2552946.0764 | 1147304.8296 | 2552933.2405 | 1147307.498
50 | 2552945.2174 | 1147296.154 | 2552946.0764 | 1147304.8296
51 | 2553010.786 | 1147280.6779 | 2553002.7641 | 1147289.056 | 2552992.788 | 1147298.9613 | 2552987.852 | 1147305.9485
52 | 2553010.786 | 1147280.6779 | 2553003.8553 | 1147272.4277 | 2553003.8553 | 1147272.4277
53 | 2553010.786 | 1147280.6779 | 2553016.5972 | 1147277.7625
54 | 2553001.5133 | 1147444.4129 | 2552987.4523 | 1147440.2019
55 | 2552999.807 | 1147460.9459 | 2552996.4512 | 1147452.1564 | 2553001.5133 | 1147444.4129
56 | 2553036.9517 | 1147447.6711 | 2553041.0883 | 1147448.2724 | 2553044.1026 | 1147448.8479
57 | 2552863.3859 | 1147408.0749 | 2552863.4471 | 1147404.128 | 2552859.7954 | 1147400.7215 | 2552853.7601 | 1147399.9128 | 2552845.1075 | 1147398.9385
58 | 2552863.3859 | 1147408.0749 | 2552830.3886 | 1147406.5681
59 | 2552874.9061 | 1147410.0301 | 2552863.3859 | 1147408.0749
60 | 2553003.8553 | 1147272.4277 | 2552987.2032 | 1147271.0085
61 | 2552972.4982 | 1147269.7552 | 2552987.2032 | 1147271.0085
62 | 2552942.9251 | 1147267.2347 | 2552972.4982 | 1147269.7552
63 | 2552942.9251 | 1147267.2347 | 2552943.4833 | 1147272.811 | 2552945.2174 | 1147296.154
64 | 2552945.2174 | 1147296.154 | 2552921.0175 | 1147294.3611
65 | 2552942.9251 | 1147267.2347 | 2552914.0525 | 1147264.3726
66 | 2552893.743 | 1147296.0124 | 2552905.7255 | 1147293.2282 | 2552921.0175 | 1147294.3611
67 | 2553044.1026 | 1147448.8479 | 2553055.6364 | 1147451.0499
68 | 2553062.4016 | 1147452.3415 | 2553055.6364 | 1147451.0499
69 | 2553071.5523 | 1147459.7073 | 2553062.4016 | 1147452.3415
70 | 2553065.9693 | 1147452.8695 | 2553062.4016 | 1147452.3415
71 | 2553071.5523 | 1147459.7073 | 2553069.9385 | 1147464.7975
72 | 2553063.3209 | 1147439.2609 | 2553065.9693 | 1147452.8695
73 | 2553065.9693 | 1147452.8695 | 2553078.9245 | 1147454.6387
74 | 2553066.8601 | 1147474.5071 | 2553069.9385 | 1147464.7975
75 | 2553090.2258 | 1147456.182 | 2553078.9245 | 1147454.6387
76 | 2552999.807 | 1147460.9459 | 2553020.2694 | 1147465.9168
77 | 2552999.807 | 1147460.9459 | 2552997.5181 | 1147474.6709 | 2552997.5181 | 1147474.6709
78 | 2553042.4257 | 1147471.5609 | 2553041.6929 | 1147471.3745
79 | 2553042.4257 | 1147471.5609 | 2553047.478 | 1147472.8464 | 2553049.5828 | 1147473.5289
80 | 2552997.5181 | 1147474.6709 | 2552998.3541 | 1147477.4658
81 | 2553063.6596 | 1147477.7226 | 2553055.7473 | 1147475.5277 | 2553049.5828 | 1147473.5289
82 | 2552987.4523 | 1147440.2019 | 2552987.225 | 1147440.1338
83 | 2552983.6902 | 1147456.5029 | 2552977.9802 | 1147467.82
84 | 2552983.6902 | 1147456.5029 | 2552966.6646 | 1147453.7123 | 2552965.4492 | 1147453.678
85 | 2552950.8313 | 1147453.7911 | 2552953.4135 | 1147453.338 | 2552965.4492 | 1147453.678
86 | 2553066.8601 | 1147474.5071 | 2553063.6596 | 1147477.7226
87 | 2553063.6596 | 1147477.7226 | 2553060.0518 | 1147484.1598
88 | 2552979.7353 | 1147437.8908 | 2552987.225 | 1147440.1338
89 | 2552941.6101 | 1147455.4092 | 2552950.8313 | 1147453.7911
90 | 2552962.0064 | 1147432.1703 | 2552968.1812 | 1147434.1627
91 | 2552941.6101 | 1147455.4092 | 2552942.3893 | 1147448.0104 | 2552944.0884 | 1147443.3391 | 2552946.6593 | 1147436.0934
92 | 2552913.3777 | 1147417.9886 | 2552920.4863 | 1147419.4795
93 | 2552941.6101 | 1147455.4092 | 2552940.1855 | 1147455.9095 | 2552932.0132 | 1147459.7421 | 2552927.6361 | 1147463.2581
94 | 2552923.8555 | 1147466.1476 | 2552924.5643 | 1147465.7257 | 2552927.6361 | 1147463.2581
95 | 2552916.0709 | 1147470.7809 | 2552923.8555 | 1147466.1476
96 | 2552979.7353 | 1147437.8908 | 2552968.1812 | 1147434.1627
97 | 2552874.9061 | 1147410.0301 | 2552873.6755 | 1147414.6977 | 2552872.4159 | 1147417.0488
98 | 2552874.9061 | 1147410.0301 | 2552877.4621 | 1147410.5533
99 | 2552872.4159 | 1147417.0488 | 2552870.027 | 1147421.5076 | 2552863.9991 | 1147428.4918 | 2552859.3942 | 1147432.6352
100 | 2552877.4621 | 1147410.5533 | 2552892.7788 | 1147413.6882
101 | 2552892.7788 | 1147413.6882 | 2552896.6681 | 1147414.4842 | 2552913.3777 | 1147417.9886
102 | 2552863.9929 | 1147550.1327 | 2552870.4213 | 1147552.1278 | 2552888.6384 | 1147553.6819
103 | 2552863.9929 | 1147550.1327 | 2552859.3824 | 1147551.7697 | 2552852.5047 | 1147555.1587
104 | 2552863.9929 | 1147550.1327 | 2552858.0832 | 1147547.3382
105 | 2552858.0832 | 1147547.3382 | 2552849.1924 | 1147543.1339 | 2552846.9975 | 1147541.9401
106 | 2552846.9975 | 1147541.9401 | 2552837.2824 | 1147536.656
107 | 2552816.7724 | 1147534.9395 | 2552834.7462 | 1147535.2765 | 2552837.2824 | 1147536.656
108 | 2552817.3902 | 1147484.3771 | 2552817.62 | 1147484.5205
109 | 2552832.7761 | 1147499.5289 | 2552832.3691 | 1147495.619 | 2552824.1579 | 1147488.602 | 2552817.62 | 1147484.5205
110 | 2552832.7761 | 1147499.5289 | 2552843.8542 | 1147498.9862 | 2552855.2481 | 1147494.0444
111 | 2552832.7761 | 1147499.5289 | 2552830.4011 | 1147502.2267 | 2552823.708 | 1147504.6694 | 2552797.587 | 1147511.3667
112 | 2552858.8219 | 1147492.4943 | 2552855.2481 | 1147494.0444
113 | 2552793.404 | 1147515.6128 | 2552797.587 | 1147511.3667
114 | 2552867.1729 | 1147488.4869 | 2552858.9938 | 1147492.4197 | 2552858.8219 | 1147492.4943
115 | 2552813.311 | 1147535.2335 | 2552806.7356 | 1147528.2147 | 2552800.0274 | 1147523.8429 | 2552794.0115 | 1147519.6213 | 2552793.404 | 1147515.6128
116 | 2552867.1729 | 1147488.4869 | 2552880.0098 | 1147484.5399
117 | 2552816.7724 | 1147534.9395 | 2552813.311 | 1147535.2335
118 | 2552813.311 | 1147535.2335 | 2552801.1771 | 1147540.1868 | 2552788.8933 | 1147548.5431 | 2552783.9653 | 1147556.996
119 | 2552916.0709 | 1147470.7809 | 2552915.6609 | 1147471.025
120 | 2552910.6073 | 1147473.4671 | 2552913.5869 | 1147472.2594 | 2552915.6609 | 1147471.025
121 | 2552908.1337 | 1147474.4696 | 2552910.6073 | 1147473.4671
122 | 2552908.1337 | 1147474.4696 | 2552907.4788 | 1147474.7351
123 | 2552727.9005 | 1147757.2762 | 2552736.9227 | 1147760.4833 | 2552776.5201 | 1147770.2334
124 | 2552776.5201 | 1147770.2334 | 2552781.2435 | 1147771.3964 | 2552805.1332 | 1147775.1767
125 | 2552865.8061 | 1147789.8551 | 2552838.6052 | 1147780.4733 | 2552805.1332 | 1147775.1767
126 | 2552774.568 | 1147591.2777 | 2552764.8556 | 1147591.2763
127 | 2552774.568 | 1147591.2777 | 2552775.5251 | 1147582.1099 | 2552776.509 | 1147576.3547 | 2552778.2313 | 1147569.7711 | 2552782.5582 | 1147559.4095 | 2552783.9653 | 1147556.996
128 | 2552774.568 | 1147591.2777 | 2552782.2942 | 1147591.3059 | 2552787.7822 | 1147591.0289
129 | 2552942.9571 | 1147752.0857 | 2552865.8061 | 1147789.8551
130 | 2552942.9571 | 1147752.0857 | 2552943.444 | 1147824.097
131 | 2552942.9571 | 1147752.0857 | 2552943.5809 | 1147751.8531
132 | 2552840.6792 | 1147850.0375 | 2552841.3083 | 1147845.0633 | 2552848.7278 | 1147837.3567 | 2552865.8284 | 1147829.2852 | 2552881.7096 | 1147825.3365 | 2552901.9029 | 1147824.8114 | 2552937.3353 | 1147827.5799 | 2552941.5521 | 1147826.6909 | 2552943.444 | 1147824.097
133 | 2552947.006 | 1147750.5763 | 2552943.5809 | 1147751.8531
134 | 2553066.8601 | 1147474.5071 | 2553069.8184 | 1147474.4086
135 | 2553057.8972 | 1147487.7397 | 2553058.6907 | 1147486.5882 | 2553060.0518 | 1147484.1598
136 | 2552907.4788 | 1147474.7351 | 2552898.9031 | 1147478.2108 | 2552896.5195 | 1147479.0115
137 | 2552896.5195 | 1147479.0115 | 2552888.7762 | 1147481.6123
138 | 2552880.0098 | 1147484.5399 | 2552880.6037 | 1147484.3573 | 2552888.7762 | 1147481.6123
139 | 2553039.4931 | 1147526.2364 | 2553018.199 | 1147527.5478
140 | 2553018.199 | 1147527.5478 | 2553024.1219 | 1147525.1196
141 | 2553039.4931 | 1147526.2364 | 2553039.9398 | 1147532.2916 | 2553017.173 | 1147532.8586 | 2553008.9033 | 1147536.0137 | 2553005.9952 | 1147540.2831 | 2553005.2667 | 1147546.3141
142 | 2553007.7012 | 1147550.2305 | 2553005.2667 | 1147546.3141
143 | 2552816.7724 | 1147534.9395 | 2552821.8622 | 1147544.4712 | 2552825.3268 | 1147552.4148 | 2552817.0292 | 1147555.915
144 | 2553074.6719 | 1147474.2469 | 2553069.8184 | 1147474.4086
145 | 2553090.2258 | 1147456.182 | 2553093.2702 | 1147442.1761
146 | 2552840.6792 | 1147850.0375 | 2552829.3698 | 1147845.4794 | 2552816.649 | 1147838.1976 | 2552806.6181 | 1147833.1404 | 2552801.7557 | 1147830.0436 | 2552798.9059 | 1147828.0093 | 2552799.1364 | 1147825.0838 | 2552800.1509 | 1147822.2521 | 2552804.8571 | 1147819.1358 | 2552814.0876 | 1147814.1942 | 2552815.9658 | 1147809.8661 | 2552815.5238 | 1147806.3789
147 | 2553002.3378 | 1147742.4164 | 2552974.605 | 1147740.2876 | 2552947.006 | 1147750.5763
148 | 2553002.3378 | 1147742.4164 | 2552999.0473 | 1147739.0181 | 2552992.8847 | 1147728.2213

## bus_geodata
| x | y | coords
0 | 2553021.1557 | 1147622.8251
1 | 2553039.0346 | 1147630.4535
2 | 2553018.2143 | 1147621.4929
3 | 2553047.6069 | 1147633.2853
4 | 2552927.5467 | 1147585.7089
5 | 2553054.4144 | 1147635.2955
6 | 2552898.3489 | 1147554.5102
7 | 2552938.6429 | 1147605.1655
8 | 2552912.4102 | 1147552.9438
9 | 2552889.4586 | 1147553.7518
10 | 2552843.4002 | 1147582.0995
11 | 2552874.8115 | 1147633.0909
12 | 2552812.1677 | 1147586.2935
13 | 2552964.528 | 1147619.0491
14 | 2552934.8149 | 1147549.6228
15 | 2552917.9207 | 1147552.3299
16 | 2552955.9344 | 1147544.4789
17 | 2552974.0482 | 1147539.0204
18 | 2552974.9809 | 1147538.7201
19 | 2552987.6266 | 1147534.6476
20 | 2552958.8056 | 1147392.2698
21 | 2552952.48 | 1147414.7951
22 | 2552962.1563 | 1147380.0761
23 | 2552947.7353 | 1147427.4912
24 | 2552952.2926 | 1147371.9268
25 | 2552949.9996 | 1147428.2962
26 | 2552932.5508 | 1147422.4104
27 | 2552983.5382 | 1147412.9941
28 | 2552983.7351 | 1147416.4693
29 | 2552951.7185 | 1147356.4677
30 | 2552908.6244 | 1147364.5756
31 | 2552954.5602 | 1147429.7677
32 | 2552947.5779 | 1147433.7772
33 | 2552928.6222 | 1147421.3668
34 | 2552983.0701 | 1147423.0484
35 | 2552949.9627 | 1147340.9018
36 | 2553013.4903 | 1147444.8862
37 | 2553003.2081 | 1147444.4799
38 | 2553024.9116 | 1147445.9178
39 | 2552893.2946 | 1147363.2619
40 | 2553069.39 | 1147373.8993
41 | 2553135.6314 | 1147394.2404
42 | 2552875.0833 | 1147355.1702
43 | 2552946.0764 | 1147304.8296
44 | 2552987.852 | 1147305.9485
45 | 2553010.786 | 1147280.6779
46 | 2553001.5133 | 1147444.4129
47 | 2553036.9517 | 1147447.6711
48 | 2552845.1075 | 1147398.9384
49 | 2552863.3859 | 1147408.0749
50 | 2553003.8553 | 1147272.4277
51 | 2553016.5972 | 1147277.7625
52 | 2552987.2032 | 1147271.0085
53 | 2552972.4982 | 1147269.7552
54 | 2552933.2405 | 1147307.498
55 | 2552945.2174 | 1147296.154
56 | 2552942.9251 | 1147267.2347
57 | 2552914.0525 | 1147264.3726
58 | 2552921.0175 | 1147294.3611
59 | 2552893.743 | 1147296.0124
60 | 2553044.1026 | 1147448.8479
61 | 2553055.6364 | 1147451.0499
62 | 2553062.4016 | 1147452.3415
63 | 2553071.5523 | 1147459.7073
64 | 2553065.9693 | 1147452.8695
65 | 2553069.9385 | 1147464.7975
66 | 2553063.3209 | 1147439.2609
67 | 2553078.9245 | 1147454.6387
68 | 2553020.2694 | 1147465.9168
69 | 2552999.807 | 1147460.9459
70 | 2553041.6929 | 1147471.3745
71 | 2553042.4257 | 1147471.5609
72 | 2552997.5181 | 1147474.6709
73 | 2553049.5828 | 1147473.5289
74 | 2552998.3541 | 1147477.4658
75 | 2552987.4523 | 1147440.2019
76 | 2552983.6902 | 1147456.5029
77 | 2552977.9802 | 1147467.82
78 | 2552965.4492 | 1147453.678
79 | 2553063.6596 | 1147477.7226
80 | 2552987.225 | 1147440.1338
81 | 2552950.8313 | 1147453.7911
82 | 2552962.0064 | 1147432.1703
83 | 2552946.6593 | 1147436.0934
84 | 2552920.4863 | 1147419.4795
85 | 2552941.6101 | 1147455.4092
86 | 2552927.6361 | 1147463.2581
87 | 2552923.8555 | 1147466.1476
88 | 2552968.1812 | 1147434.1627
89 | 2552830.3886 | 1147406.5681
90 | 2552874.9061 | 1147410.0301
91 | 2552872.4159 | 1147417.0488
92 | 2552877.4621 | 1147410.5533
93 | 2552859.3942 | 1147432.6352
94 | 2552892.7788 | 1147413.6882
95 | 2552913.3777 | 1147417.9886
96 | 2552979.7353 | 1147437.8908
97 | 2552888.6384 | 1147553.6819
98 | 2552863.9929 | 1147550.1327
99 | 2552852.5047 | 1147555.1587
100 | 2552858.0832 | 1147547.3382
101 | 2552846.9975 | 1147541.9401
102 | 2552837.2824 | 1147536.6559
103 | 2552817.62 | 1147484.5205
104 | 2552817.3902 | 1147484.3771
105 | 2552832.7761 | 1147499.5289
106 | 2552855.2481 | 1147494.0444
107 | 2552797.587 | 1147511.3667
108 | 2552858.8219 | 1147492.4943
109 | 2552793.404 | 1147515.6128
110 | 2552867.1729 | 1147488.4869
111 | 2552813.311 | 1147535.2335
112 | 2552916.0709 | 1147470.7809
113 | 2552915.6609 | 1147471.025
114 | 2552910.6073 | 1147473.4671
115 | 2552908.1337 | 1147474.4696
116 | 2552727.9005 | 1147757.2762
117 | 2552776.5201 | 1147770.2334
118 | 2552805.1332 | 1147775.1767
119 | 2552764.8556 | 1147591.2763
120 | 2552774.568 | 1147591.2777
121 | 2552865.8061 | 1147789.8551
122 | 2552942.9571 | 1147752.0857
123 | 2552943.444 | 1147824.097
124 | 2552943.5809 | 1147751.8531
125 | 2552787.7822 | 1147591.0289
126 | 2552783.9653 | 1147556.996
127 | 2553066.8601 | 1147474.5071
128 | 2553060.0518 | 1147484.1598
129 | 2552907.4788 | 1147474.7351
130 | 2552896.5195 | 1147479.0115
131 | 2552888.7762 | 1147481.6123
132 | 2552880.0098 | 1147484.5399
133 | 2553018.199 | 1147527.5478
134 | 2553039.4931 | 1147526.2364
135 | 2553024.1219 | 1147525.1196
136 | 2553005.2667 | 1147546.3141
137 | 2553007.7012 | 1147550.2305
138 | 2552816.7724 | 1147534.9395
139 | 2553057.8972 | 1147487.7397
140 | 2553069.8184 | 1147474.4086
141 | 2552817.0292 | 1147555.915
142 | 2553074.6719 | 1147474.2469
143 | 2553090.2258 | 1147456.182
144 | 2553093.2702 | 1147442.1761
145 | 2552840.6792 | 1147850.0375
146 | 2552815.5238 | 1147806.3789
147 | 2552947.006 | 1147750.5763
148 | 2553002.3378 | 1147742.4164
149 | 2552992.8847 | 1147728.2213
150 | 2552949.9996 | 1147428.2962

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1