## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5882-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5882-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5882-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5882-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5882-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5882-6_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_5882-6_0_4_node_96 | 0.4 | n |  | TRUE
7 | bus_LV_5882-6_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_5882-6_0_4_node_84 | 0.4 | n |  | TRUE
9 | bus_LV_5882-6_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5882-6_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5882-6_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5882-6_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5882-6_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5882-6_0_4_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_5882-6_0_4_node_85 | 0.4 | n |  | TRUE
16 | bus_LV_5882-6_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5882-6_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5882-6_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_5882-6_0_4_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_5882-6_0_4_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_5882-6_0_4_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_5882-6_0_4_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_5882-6_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5882-6_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5882-6_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5882-6_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5882-6_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5882-6_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5882-6_0_4_node_94 | 0.4 | n |  | TRUE
30 | bus_LV_5882-6_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_5882-6_0_4_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_5882-6_0_4_node_95 | 0.4 | n |  | TRUE
33 | bus_LV_5882-6_0_4_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_5882-6_0_4_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_5882-6_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5882-6_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5882-6_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_5882-6_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_5882-6_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5882-6_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_5882-6_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_5882-6_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_5882-6_0_4_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_5882-6_0_4_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_5882-6_0_4_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_5882-6_0_4_node_92 | 0.4 | n |  | TRUE
47 | bus_LV_5882-6_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_5882-6_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_5882-6_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_5882-6_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_5882-6_0_4_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_5882-6_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_5882-6_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_5882-6_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_5882-6_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_5882-6_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_5882-6_0_4_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_5882-6_0_4_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_5882-6_0_4_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_5882-6_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_5882-6_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_5882-6_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_5882-6_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_5882-6_0_4_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_5882-6_0_4_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_5882-6_0_4_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_5882-6_0_4_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_5882-6_0_4_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_5882-6_0_4_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_5882-6_0_4_node_86 | 0.4 | n |  | TRUE
71 | bus_LV_5882-6_0_4_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_5882-6_0_4_node_90 | 0.4 | n |  | TRUE
73 | bus_LV_5882-6_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_5882-6_0_4_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_5882-6_0_4_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_5882-6_0_4_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_5882-6_0_4_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_5882-6_0_4_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_5882-6_0_4_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_5882-6_0_4_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_5882-6_0_4_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_5882-6_0_4_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_5882-6_0_4_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_5882-6_0_4_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_5882-6_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_5882-6_0_4_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_5882-6_0_4_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_5882-6_0_4_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_5882-6_0_4_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_5882-6_0_4_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_5882-6_0_4_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_5882-6_0_4_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_5882-6_0_4_node_81 | 0.4 | n |  | TRUE
94 | bus_MV_263_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5882-6_0_4_load_0 | 0 | 0.0019289 | 0.00048343 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5882-6_0_4_load_1 | 1 | 0.0036474 | 0.00091412 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5882-6_0_4_load_2 | 2 | 0.0014249 | 0.00035712 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5882-6_0_4_load_3 | 3 | 0.0043785 | 0.0010974 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5882-6_0_4_load_11 | 5 | 0.0049497 | 0.0012405 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5882-6_0_4_load_96 | 6 | 0.0026187 | 0.0006563 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5882-6_0_4_load_10 | 7 | 0.0051898 | 0.0013007 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5882-6_0_4_load_5 | 9 | 0.0019555 | 0.00049009 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5882-6_0_4_load_6 | 10 | 0.0018843 | 0.00047224 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5882-6_0_4_load_7 | 11 | 0.0019878 | 0.0004982 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5882-6_0_4_load_8 | 12 | 0.0015073 | 0.00037775 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5882-6_0_4_load_9 | 13 | 0.0026773 | 0.00067101 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5882-6_0_4_load_13 | 17 | 0.0014474 | 0.00036276 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5882-6_0_4_load_14 | 18 | 0.0031712 | 0.00079478 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5882-6_0_4_load_69 | 19 | 0.0016831 | 0.00042182 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5882-6_0_4_load_71 | 20 | 0.002811 | 0.0007045 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5882-6_0_4_load_70 | 21 | 0.0014088 | 0.00035308 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5882-6_0_4_load_72 | 22 | 0.0038259 | 0.00095887 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5882-6_0_4_load_15 | 23 | 0.0063012 | 0.0015792 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5882-6_0_4_load_18 | 26 | 0.0051964 | 0.0013023 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5882-6_0_4_load_19 | 27 | 0.0036922 | 0.00092534 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5882-6_0_4_load_94 | 29 | 0.0023572 | 0.00059076 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5882-6_0_4_load_59 | 31 | 0.0025839 | 0.00064759 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5882-6_0_4_load_95 | 32 | 0.0021307 | 0.00053401 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5882-6_0_4_load_60 | 33 | 0.055836 | 0.013994 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5882-6_0_4_load_67 | 34 | 0.0011867 | 0.00029741 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5882-6_0_4_load_23 | 35 | 0.0054921 | 0.0013764 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5882-6_0_4_load_27 | 36 | 0.0012203 | 0.00030584 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5882-6_0_4_load_21 | 37 | 0.0061252 | 0.0015351 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5882-6_0_4_load_26 | 39 | 0.0076468 | 0.0019165 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5882-6_0_4_load_22 | 40 | 0.0024259 | 0.00060799 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5882-6_0_4_load_25 | 41 | 0.0021562 | 0.00054039 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5882-6_0_4_load_29 | 42 | 0.0036971 | 0.00092657 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5882-6_0_4_load_63 | 43 | 0.0013006 | 0.00032596 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5882-6_0_4_load_62 | 44 | 0.0018755 | 0.00047005 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5882-6_0_4_load_91 | 45 | 0.00046175 | 0.00011573 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5882-6_0_4_load_92 | 46 | 0.00030892 | 7.7422e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5882-6_0_4_load_32 | 47 | 0.00049601 | 0.00012431 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5882-6_0_4_load_30 | 48 | 0.00050953 | 0.0001277 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5882-6_0_4_load_31 | 49 | 0.00049158 | 0.0001232 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5882-6_0_4_load_89 | 51 | 0.00028381 | 7.113e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5882-6_0_4_load_36 | 53 | 0.00071602 | 0.00017945 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5882-6_0_4_load_37 | 54 | 0.0010887 | 0.00027285 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5882-6_0_4_load_49 | 56 | 0.0015435 | 0.00038684 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5882-6_0_4_load_33 | 57 | 0.0029841 | 0.00074789 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5882-6_0_4_load_34 | 58 | 0.0038548 | 0.00096611 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5882-6_0_4_load_35 | 59 | 0.0020656 | 0.00051769 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5882-6_0_4_load_43 | 60 | 0.001236 | 0.00030978 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5882-6_0_4_load_44 | 61 | 0.00069049 | 0.00017305 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5882-6_0_4_load_38 | 62 | 0.0010823 | 0.00027125 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5882-6_0_4_load_50 | 63 | 0.00074357 | 0.00018636 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5882-6_0_4_load_39 | 64 | 0.0006226 | 0.00015604 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5882-6_0_4_load_40 | 65 | 0.0012524 | 0.00031387 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5882-6_0_4_load_41 | 66 | 0.0012152 | 0.00030455 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5882-6_0_4_load_42 | 67 | 0.0015993 | 0.00040083 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5882-6_0_4_load_88 | 69 | 0.0014762 | 0.00036996 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5882-6_0_4_load_45 | 71 | 0.0012033 | 0.00030158 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5882-6_0_4_load_90 | 72 | 0.00023528 | 5.8968e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5882-6_0_4_load_51 | 73 | 0.001271 | 0.00031854 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5882-6_0_4_load_82 | 75 | 0.0010536 | 0.00026406 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5882-6_0_4_load_53 | 76 | 0.095017 | 0.023813 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5882-6_0_4_load_64 | 81 | 0.0016533 | 0.00041437 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5882-6_0_4_load_68 | 82 | 0.0020793 | 0.00052111 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5882-6_0_4_load_66 | 83 | 0.0023379 | 0.00058592 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5882-6_0_4_load_65 | 84 | 0.0018196 | 0.00045604 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5882-6_0_4_load_83 | 85 | 0.0022219 | 0.00055685 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5882-6_0_4_load_74 | 86 | 0.0021846 | 0.0005475 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5882-6_0_4_load_75 | 87 | 0.002887 | 0.00072356 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5882-6_0_4_load_76 | 88 | 0.0031042 | 0.00077797 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5882-6_0_4_load_79 | 89 | 0.0020225 | 0.00050689 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5882-6_0_4_load_77 | 90 | 0.0014806 | 0.00037108 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5882-6_0_4_load_78 | 91 | 0.002334 | 0.00058496 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5882-6_0_4_load_80 | 92 | 0.00088533 | 0.00022188 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5882-6_0_4_load_81 | 93 | 0.0019417 | 0.00048663 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5882-6_0_4_line_0 |  | 0 | 1 | 0.026296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5882-6_0_4_line_1 |  | 0 | 2 | 0.035538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5882-6_0_4_line_2 |  | 1 | 3 | 0.031764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5882-6_0_4_line_3 |  | 2 | 4 | 0.023708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5882-6_0_4_line_4 |  | 3 | 5 | 0.03779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5882-6_0_4_line_5 |  | 4 | 6 | 0.015056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5882-6_0_4_line_6 |  | 5 | 7 | 0.013482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5882-6_0_4_line_7 |  | 6 | 8 | 0.058575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5882-6_0_4_line_8 |  | 7 | 16 | 0.015376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5882-6_0_4_line_9 |  | 8 | 14 | 0.028989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5882-6_0_4_line_10 |  | 9 | 10 | 0.035172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5882-6_0_4_line_11 |  | 9 | 11 | 0.023047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5882-6_0_4_line_12 |  | 10 | 12 | 0.0031747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5882-6_0_4_line_13 |  | 11 | 13 | 0.040503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5882-6_0_4_line_14 |  | 12 | 14 | 0.026716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5882-6_0_4_line_15 |  | 14 | 15 | 0.10561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5882-6_0_4_line_16 |  | 15 | 82 | 0.068595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5882-6_0_4_line_17 |  | 16 | 17 | 0.012152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5882-6_0_4_line_18 |  | 16 | 18 | 0.043568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5882-6_0_4_line_19 |  | 17 | 19 | 0.0086923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5882-6_0_4_line_20 |  | 18 | 20 | 0.017565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5882-6_0_4_line_21 |  | 19 | 21 | 0.031319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5882-6_0_4_line_22 |  | 20 | 22 | 0.015912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5882-6_0_4_line_23 |  | 21 | 74 | 0.021072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5882-6_0_4_line_24 |  | 22 | 85 | 0.00096881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5882-6_0_4_line_25 |  | 23 | 24 | 0.02649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5882-6_0_4_line_26 |  | 23 | 25 | 0.050759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5882-6_0_4_line_27 |  | 24 | 26 | 0.019813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5882-6_0_4_line_28 |  | 25 | 27 | 0.046742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5882-6_0_4_line_29 |  | 25 | 28 | 0.003415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5882-6_0_4_line_30 |  | 26 | 35 | 0.031473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5882-6_0_4_line_31 |  | 27 | 36 | 0.063249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5882-6_0_4_line_32 |  | 28 | 37 | 0.020831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5882-6_0_4_line_33 |  | 29 | 30 | 0.20557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5882-6_0_4_line_34 |  | 29 | 31 | 0.12247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5882-6_0_4_line_35 |  | 30 | 39 | 0.047604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5882-6_0_4_line_36 |  | 31 | 79 | 0.025003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5882-6_0_4_line_37 |  | 32 | 33 | 0.095865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5882-6_0_4_line_38 |  | 32 | 34 | 0.064219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5882-6_0_4_line_39 |  | 33 | 78 | 0.01855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5882-6_0_4_line_40 |  | 34 | 84 | 0.02245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5882-6_0_4_line_41 |  | 34 | 81 | 0.0381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5882-6_0_4_line_42 |  | 35 | 38 | 0.019298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5882-6_0_4_line_43 |  | 36 | 39 | 0.088623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5882-6_0_4_line_44 |  | 37 | 40 | 0.021519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5882-6_0_4_line_45 |  | 38 | 41 | 0.018761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5882-6_0_4_line_46 |  | 41 | 42 | 0.017514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5882-6_0_4_line_47 |  | 43 | 44 | 0.019888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5882-6_0_4_line_48 |  | 44 | 80 | 0.016473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5882-6_0_4_line_49 |  | 45 | 46 | 0.033482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5882-6_0_4_line_50 |  | 45 | 47 | 0.1483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5882-6_0_4_line_51 |  | 47 | 53 | 0.030973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5882-6_0_4_line_52 |  | 47 | 49 | 0.037765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5882-6_0_4_line_53 |  | 48 | 49 | 0.018509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5882-6_0_4_line_54 |  | 48 | 50 | 0.08658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5882-6_0_4_line_55 |  | 50 | 51 | 0.08584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5882-6_0_4_line_56 |  | 50 | 52 | 0.026408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5882-6_0_4_line_57 |  | 51 | 72 | 0.012017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5882-6_0_4_line_58 |  | 52 | 55 | 0.012188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5882-6_0_4_line_59 |  | 52 | 71 | 0.024034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5882-6_0_4_line_60 |  | 53 | 54 | 0.0175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5882-6_0_4_line_61 |  | 54 | 62 | 0.054794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5882-6_0_4_line_62 |  | 55 | 56 | 0.11778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5882-6_0_4_line_63 |  | 56 | 63 | 0.053561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5882-6_0_4_line_64 |  | 57 | 58 | 0.0077528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5882-6_0_4_line_65 |  | 58 | 59 | 0.010192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5882-6_0_4_line_66 |  | 59 | 60 | 0.028251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5882-6_0_4_line_67 |  | 60 | 61 | 0.035557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5882-6_0_4_line_68 |  | 61 | 71 | 0.028606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5882-6_0_4_line_69 |  | 63 | 73 | 0.093785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5882-6_0_4_line_70 |  | 64 | 65 | 0.031614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5882-6_0_4_line_71 |  | 64 | 66 | 0.04224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5882-6_0_4_line_72 |  | 66 | 67 | 0.021534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5882-6_0_4_line_73 |  | 67 | 68 | 0.021606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5882-6_0_4_line_74 |  | 68 | 69 | 0.013606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5882-6_0_4_line_75 |  | 68 | 70 | 0.005394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5882-6_0_4_line_76 |  | 70 | 75 | 0.033202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5882-6_0_4_line_77 |  | 70 | 74 | 0.040885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5882-6_0_4_line_78 |  | 73 | 74 | 0.0451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5882-6_0_4_line_79 |  | 75 | 93 | 0.0032747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5882-6_0_4_line_80 |  | 76 | 77 | 0.024535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5882-6_0_4_line_81 |  | 77 | 78 | 0.014533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_5882-6_0_4_line_82 |  | 77 | 79 | 0.055672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_5882-6_0_4_line_83 |  | 80 | 81 | 0.010834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5882-6_0_4_line_84 |  | 82 | 83 | 0.04283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_5882-6_0_4_line_85 |  | 83 | 84 | 0.022457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_5882-6_0_4_line_86 |  | 86 | 87 | 0.018281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5882-6_0_4_line_87 |  | 87 | 88 | 0.024045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5882-6_0_4_line_88 |  | 88 | 89 | 0.0157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5882-6_0_4_line_89 |  | 89 | 90 | 0.023211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5882-6_0_4_line_90 |  | 90 | 91 | 0.025778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5882-6_0_4_line_91 |  | 91 | 92 | 0.029388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5882-6_0_4_line_92 |  | 92 | 93 | 0.030918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5882-6_0_4_trafo_64 | 0.63 MVA 20/0.4 kV | 94 | 81 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2552715.4084 | 1147588.8872 | 2552715.2141 | 1147588.8761 | 2552704.9242 | 1147589.0349 | 2552689.1326 | 1147589.7928 | 2552689.1326 | 1147589.7928
1 | 2552715.4084 | 1147588.8872 | 2552732.1175 | 1147589.8437 | 2552749.5468 | 1147591.2742 | 2552750.86 | 1147591.2744
2 | 2552689.1326 | 1147589.7928 | 2552675.7055 | 1147593.3669 | 2552666.0663 | 1147596.1776 | 2552658.4205 | 1147597.8609
3 | 2552774.568 | 1147591.2777 | 2552750.86 | 1147591.2744
4 | 2552621.1632 | 1147604.0121 | 2552645.6961 | 1147600.6625 | 2552658.4205 | 1147597.8609
5 | 2552774.568 | 1147591.2777 | 2552775.5251 | 1147582.1099 | 2552776.509 | 1147576.3547
6 | 2552607.7998 | 1147605.7945 | 2552609.578 | 1147605.5939 | 2552621.1632 | 1147604.0121
7 | 2552813.311 | 1147535.2335 | 2552801.1771 | 1147540.1868 | 2552788.8933 | 1147548.5431 | 2552782.5582 | 1147559.4095 | 2552778.2313 | 1147569.7711 | 2552776.509 | 1147576.3547
8 | 2552592.5207 | 1147607.5182 | 2552607.7998 | 1147605.7945
9 | 2552813.311 | 1147535.2335 | 2552806.7356 | 1147528.2147 | 2552800.0274 | 1147523.8429 | 2552794.0115 | 1147519.6213 | 2552793.404 | 1147515.6128
10 | 2552728.4918 | 1147518.3032 | 2552730.5783 | 1147518.1409 | 2552753.0381 | 1147515.6409 | 2552763.5177 | 1147515.7684
11 | 2552728.4918 | 1147518.3032 | 2552721.5138 | 1147518.8458 | 2552714.9744 | 1147516.4182 | 2552708.8697 | 1147509.7074
12 | 2552763.5177 | 1147515.7684 | 2552766.6922 | 1147515.807
13 | 2552669.6554 | 1147505.3655 | 2552684.8757 | 1147504.6154 | 2552698.7824 | 1147505.362 | 2552704.6348 | 1147506.3721 | 2552708.4979 | 1147509.2988 | 2552708.8697 | 1147509.7074
14 | 2552793.404 | 1147515.6128 | 2552776.9099 | 1147515.9314 | 2552766.6922 | 1147515.807
15 | 2552781.2717 | 1147470.9071 | 2552789.2159 | 1147471.2894 | 2552804.2149 | 1147476.152 | 2552824.1579 | 1147488.602 | 2552832.3691 | 1147495.619 | 2552832.7761 | 1147499.5289 | 2552830.4011 | 1147502.2267 | 2552823.708 | 1147504.6694 | 2552797.587 | 1147511.3667 | 2552793.404 | 1147515.6128
16 | 2552781.2717 | 1147470.9071 | 2552800.5706 | 1147405.0829
17 | 2552592.5207 | 1147607.5182 | 2552580.4272 | 1147606.3304
18 | 2552592.5207 | 1147607.5182 | 2552592.7286 | 1147611.4742 | 2552593.5847 | 1147614.8581 | 2552594.6315 | 1147617.1066 | 2552598.2688 | 1147621.6025 | 2552602.9379 | 1147625.4677 | 2552614.7643 | 1147634.1568 | 2552620.3415 | 1147638.2594 | 2552620.4917 | 1147638.3799
19 | 2552580.4272 | 1147606.3304 | 2552571.7766 | 1147605.4807 | 2552571.7766 | 1147605.4807
20 | 2552620.4917 | 1147638.3799 | 2552625.4193 | 1147642.3326 | 2552634.9434 | 1147648.3163 | 2552634.9434 | 1147648.3163
21 | 2552571.7766 | 1147605.4807 | 2552554.2475 | 1147601.1389 | 2552544.2515 | 1147599.6059 | 2552541.1046 | 1147599.5338
22 | 2552650.1186 | 1147653.0442 | 2552647.9546 | 1147652.416 | 2552641.4518 | 1147650.7218 | 2552634.9434 | 1147648.3163
23 | 2552520.286 | 1147601.9851 | 2552533.7896 | 1147599.3661 | 2552541.1046 | 1147599.5338
24 | 2552650.1186 | 1147653.0442 | 2552651.049 | 1147653.3143
25 | 2552550.5242 | 1146956.145 | 2552554.9229 | 1146955.8435 | 2552559.9816 | 1146955.4811 | 2552576.6559 | 1146952.1225
26 | 2552627.1048 | 1146947.8482 | 2552599.8507 | 1146948.4632 | 2552586.8062 | 1146950.078 | 2552576.6559 | 1146952.1225
27 | 2552550.5242 | 1146956.145 | 2552545.8428 | 1146962.4741 | 2552535.4246 | 1146968.3083
28 | 2552627.1048 | 1146947.8482 | 2552627.8219 | 1146959.8932 | 2552625.5141 | 1146980.889 | 2552625.8324 | 1146991.0695 | 2552624.0499 | 1146993.9184
29 | 2552627.1048 | 1146947.8482 | 2552630.5123 | 1146947.499
30 | 2552535.4246 | 1146968.3083 | 2552531.6272 | 1146970.4348 | 2552523.0103 | 1146975.4054 | 2552508.8797 | 1146985.1653
31 | 2552624.0499 | 1146993.9184 | 2552639.7937 | 1147055.1761
32 | 2552630.5123 | 1146947.499 | 2552633.9432 | 1146954.0198 | 2552647.3888 | 1146954.6925
33 | 2552863.8319 | 1147244.0051 | 2552775.7419 | 1147058.27
34 | 2552834.6538 | 1147362.9512 | 2552863.8319 | 1147244.0051
35 | 2552775.7419 | 1147058.27 | 2552742.205 | 1147057.8332 | 2552728.1947 | 1147056.6035
36 | 2552816.7677 | 1147377.7803 | 2552819.1075 | 1147370.5916 | 2552827.92 | 1147365.1418 | 2552834.6538 | 1147362.9512
37 | 2552705.4411 | 1147447.7913 | 2552737.4956 | 1147357.4446
38 | 2552705.4411 | 1147447.7913 | 2552715.8802 | 1147384.4266
39 | 2552754.3057 | 1147365.1974 | 2552747.096 | 1147362.5193 | 2552737.4956 | 1147357.4446
40 | 2552737.3048 | 1147391.0747 | 2552718.4099 | 1147384.9119 | 2552715.8802 | 1147384.4266
41 | 2552715.8802 | 1147384.4266 | 2552693.4731 | 1147380.1277 | 2552680.7224 | 1147378.9496 | 2552678.2655 | 1147378.617
42 | 2552492.4363 | 1146995.2126 | 2552501.1932 | 1146990.4743 | 2552508.8797 | 1146985.1653
43 | 2552728.1947 | 1147056.6035 | 2552699.3099 | 1147054.0684 | 2552670.9722 | 1147053.5577 | 2552645.2082 | 1147054.1274 | 2552639.7937 | 1147055.1761
44 | 2552668.8813 | 1146955.7679 | 2552647.3888 | 1146954.6925
45 | 2552492.4363 | 1146995.2126 | 2552480.1766 | 1147001.8462 | 2552475.6672 | 1147003.5527
46 | 2552475.6672 | 1147003.5527 | 2552459.2872 | 1147009.7515
47 | 2552651.4051 | 1147380.5385 | 2552636.0155 | 1147383.7596 | 2552631.957 | 1147384.6939
48 | 2552667.5291 | 1147377.1636 | 2552651.4051 | 1147380.5385
49 | 2552179.1387 | 1147412.021 | 2552145.6761 | 1147413.173
50 | 2552220.3128 | 1147554.4875 | 2552179.1387 | 1147412.021
51 | 2552220.3128 | 1147554.4875 | 2552251.1764 | 1147551.8812
52 | 2552220.3128 | 1147554.4875 | 2552204.2747 | 1147555.8418 | 2552202.7203 | 1147559.3115 | 2552200.9849 | 1147561.2819 | 2552199.1092 | 1147563.9537 | 2552190.6222 | 1147568.7014 | 2552188.4286 | 1147569.215
53 | 2552170.359 | 1147573.1989 | 2552174.5013 | 1147572.476 | 2552188.4286 | 1147569.215
54 | 2552192.0235 | 1147657.025 | 2552170.359 | 1147573.1989
55 | 2552192.0235 | 1147657.025 | 2552181.9125 | 1147653.5925 | 2552165.0046 | 1147650.1251 | 2552147.0396 | 1147647.9669 | 2552115.0341 | 1147648.4886 | 2552107.3155 | 1147649.6044
56 | 2552217.0966 | 1147665.5302 | 2552192.0235 | 1147657.025
57 | 2552107.3155 | 1147649.6044 | 2552095.422 | 1147651.3236
58 | 2552222.7151 | 1147655.4692 | 2552218.0975 | 1147660.0416 | 2552217.124 | 1147662.206 | 2552217.0966 | 1147665.5302
59 | 2552217.0966 | 1147665.5302 | 2552218.4776 | 1147668.254 | 2552223.3766 | 1147673.9625 | 2552235.3418 | 1147680.1232
60 | 2552268.5495 | 1147549.8922 | 2552262.1122 | 1147550.9577 | 2552251.1764 | 1147551.8812
61 | 2552268.5495 | 1147549.8922 | 2552274.246 | 1147548.9493 | 2552320.6911 | 1147533.2713
62 | 2552222.7151 | 1147655.4692 | 2552229.9397 | 1147654.2334 | 2552251.3544 | 1147651.751 | 2552281.951 | 1147650.7855 | 2552302.1648 | 1147655.6832 | 2552314.8646 | 1147656.3162 | 2552335.1588 | 1147651.9864 | 2552339.1669 | 1147651.7375
63 | 2552339.1669 | 1147651.7375 | 2552348.2926 | 1147651.1708 | 2552362.6756 | 1147651.0012 | 2552370.3778 | 1147648.9836 | 2552378.069 | 1147644.5982 | 2552388.3908 | 1147636.341
64 | 2552304.539 | 1147722.0427 | 2552312.1167 | 1147720.4046
65 | 2552318.0119 | 1147712.2869 | 2552318.0119 | 1147712.2869 | 2552315.8967 | 1147716.7282 | 2552312.1167 | 1147720.4046 | 2552312.1167 | 1147720.4046
66 | 2552296.5127 | 1147698.6541 | 2552302.3241 | 1147699.9605 | 2552313.9248 | 1147703.3925 | 2552317.3278 | 1147707.3787 | 2552318.0119 | 1147712.2869
67 | 2552296.5127 | 1147698.6541 | 2552276.9124 | 1147694.248 | 2552261.925 | 1147690.4234
68 | 2552235.3418 | 1147680.1232 | 2552237.9203 | 1147681.4508 | 2552253.2953 | 1147688.2212 | 2552261.925 | 1147690.4234
69 | 2552388.3908 | 1147636.341 | 2552390.5466 | 1147634.6165 | 2552420.6667 | 1147618.0807 | 2552431.537 | 1147613.648 | 2552443.4895 | 1147612.0304 | 2552458.2199 | 1147612.0695 | 2552471.8762 | 1147611.2834 | 2552476.3148 | 1147610.9141
70 | 2552452.4878 | 1147674.4721 | 2552438.5701 | 1147689.1426 | 2552433.9897 | 1147699.5734
71 | 2552452.4878 | 1147674.4721 | 2552461.9903 | 1147664.4558 | 2552483.6745 | 1147657.2029 | 2552489.1744 | 1147656.3343
72 | 2552510.4256 | 1147652.8718 | 2552508.1273 | 1147653.3411 | 2552489.1744 | 1147656.3343
73 | 2552528.7269 | 1147642.9286 | 2552520.0196 | 1147650.9126 | 2552510.4256 | 1147652.8718
74 | 2552528.7269 | 1147642.9286 | 2552515.8168 | 1147647.2232
75 | 2552533.5459 | 1147640.4782 | 2552528.7269 | 1147642.9286
76 | 2552533.5459 | 1147640.4782 | 2552535.7528 | 1147654.4458 | 2552537.7494 | 1147660.2664 | 2552541.2324 | 1147665.6417 | 2552545.9538 | 1147670.1129
77 | 2552533.5459 | 1147640.4782 | 2552531.2698 | 1147629.4238 | 2552527.0817 | 1147617.4173 | 2552523.0554 | 1147609.3893 | 2552520.286 | 1147601.9851
78 | 2552520.286 | 1147601.9851 | 2552505.3198 | 1147607.0948 | 2552490.0349 | 1147609.7725 | 2552476.3148 | 1147610.9141
79 | 2552548.3316 | 1147672.3646 | 2552545.9538 | 1147670.1129
80 | 2552767.8873 | 1147370.4713 | 2552770.4443 | 1147363.5587 | 2552775.0715 | 1147349.3595 | 2552775.712 | 1147347.2231
81 | 2552754.3057 | 1147365.1974 | 2552767.8873 | 1147370.4713
82 | 2552767.8873 | 1147370.4713 | 2552771.8952 | 1147373.2523 | 2552774.3363 | 1147377.0018 | 2552775.748 | 1147381.7154 | 2552794.5256 | 1147381.6568 | 2552808.8043 | 1147379.855 | 2552816.7677 | 1147377.7803
83 | 2552667.5291 | 1147377.1636 | 2552678.2655 | 1147378.617
84 | 2552758.6545 | 1147398.038 | 2552775.2891 | 1147403.4636 | 2552800.5706 | 1147405.0829
85 | 2552737.3048 | 1147391.0747 | 2552758.6545 | 1147398.038
86 | 2552696.0755 | 1147748.3109 | 2552678.2231 | 1147744.3736
87 | 2552656.032 | 1147735.1531 | 2552677.3304 | 1147744.1768 | 2552678.2231 | 1147744.3736
88 | 2552656.032 | 1147735.1531 | 2552650.9778 | 1147733.0117 | 2552641.9875 | 1147728.1716
89 | 2552621.5497 | 1147717.1684 | 2552641.9875 | 1147728.1716
90 | 2552621.5497 | 1147717.1684 | 2552599.9984 | 1147705.5657 | 2552598.8804 | 1147704.899
91 | 2552573.6399 | 1147689.8464 | 2552598.8804 | 1147704.899
92 | 2552573.6399 | 1147689.8464 | 2552555.1447 | 1147678.8166 | 2552548.3316 | 1147672.3646

## bus_geodata
| x | y | coords
0 | 2552715.4084 | 1147588.8872
1 | 2552689.1326 | 1147589.7928
2 | 2552750.86 | 1147591.2744
3 | 2552658.4205 | 1147597.8609
4 | 2552774.568 | 1147591.2777
5 | 2552621.1632 | 1147604.0121
6 | 2552776.509 | 1147576.3547
7 | 2552607.7998 | 1147605.7945
8 | 2552813.311 | 1147535.2335
9 | 2552728.4918 | 1147518.3032
10 | 2552763.5177 | 1147515.7684
11 | 2552708.8697 | 1147509.7074
12 | 2552766.6922 | 1147515.807
13 | 2552669.6554 | 1147505.3655
14 | 2552793.404 | 1147515.6128
15 | 2552781.2717 | 1147470.9071
16 | 2552592.5207 | 1147607.5182
17 | 2552580.4272 | 1147606.3304
18 | 2552620.4917 | 1147638.3799
19 | 2552571.7766 | 1147605.4807
20 | 2552634.9434 | 1147648.3163
21 | 2552541.1046 | 1147599.5338
22 | 2552650.1186 | 1147653.0442
23 | 2552576.6559 | 1146952.1225
24 | 2552550.5242 | 1146956.145
25 | 2552627.1048 | 1146947.8482
26 | 2552535.4246 | 1146968.3083
27 | 2552624.0499 | 1146993.9184
28 | 2552630.5123 | 1146947.499
29 | 2552863.8319 | 1147244.0051
30 | 2552775.7419 | 1147058.27
31 | 2552834.6538 | 1147362.9512
32 | 2552705.4411 | 1147447.7913
33 | 2552737.4956 | 1147357.4446
34 | 2552715.8803 | 1147384.4266
35 | 2552508.8797 | 1146985.1653
36 | 2552639.7937 | 1147055.1761
37 | 2552647.3888 | 1146954.6925
38 | 2552492.4363 | 1146995.2126
39 | 2552728.1947 | 1147056.6035
40 | 2552668.8813 | 1146955.7679
41 | 2552475.6672 | 1147003.5527
42 | 2552459.2872 | 1147009.7515
43 | 2552631.957 | 1147384.6939
44 | 2552651.4051 | 1147380.5384
45 | 2552179.1387 | 1147412.021
46 | 2552145.6761 | 1147413.173
47 | 2552220.3128 | 1147554.4875
48 | 2552170.359 | 1147573.1989
49 | 2552188.4286 | 1147569.215
50 | 2552192.0235 | 1147657.025
51 | 2552107.3155 | 1147649.6044
52 | 2552217.0966 | 1147665.5302
53 | 2552251.1764 | 1147551.8812
54 | 2552268.5495 | 1147549.8922
55 | 2552222.7151 | 1147655.4692
56 | 2552339.1669 | 1147651.7375
57 | 2552304.539 | 1147722.0427
58 | 2552312.1167 | 1147720.4046
59 | 2552318.0119 | 1147712.2869
60 | 2552296.5127 | 1147698.6541
61 | 2552261.925 | 1147690.4234
62 | 2552320.6911 | 1147533.2713
63 | 2552388.3908 | 1147636.341
64 | 2552452.4878 | 1147674.4721
65 | 2552433.9897 | 1147699.5734
66 | 2552489.1744 | 1147656.3343
67 | 2552510.4256 | 1147652.8718
68 | 2552528.7269 | 1147642.9286
69 | 2552515.8168 | 1147647.2232
70 | 2552533.5459 | 1147640.4782
71 | 2552235.3418 | 1147680.1232
72 | 2552095.422 | 1147651.3236
73 | 2552476.3148 | 1147610.9141
74 | 2552520.286 | 1147601.9851
75 | 2552545.9538 | 1147670.1129
76 | 2552775.712 | 1147347.2231
77 | 2552767.8873 | 1147370.4713
78 | 2552754.3057 | 1147365.1974
79 | 2552816.7677 | 1147377.7803
80 | 2552667.5291 | 1147377.1636
81 | 2552678.2655 | 1147378.617
82 | 2552800.5706 | 1147405.0829
83 | 2552758.6545 | 1147398.038
84 | 2552737.3048 | 1147391.0747
85 | 2552651.049 | 1147653.3143
86 | 2552696.0755 | 1147748.3109
87 | 2552678.2231 | 1147744.3736
88 | 2552656.032 | 1147735.1531
89 | 2552641.9875 | 1147728.1716
90 | 2552621.5497 | 1147717.1684
91 | 2552598.8804 | 1147704.899
92 | 2552573.6399 | 1147689.8464
93 | 2552548.3316 | 1147672.3646
94 | 2552667.5291 | 1147377.1636

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1