## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5882-9_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5882-9_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5882-9_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5882-9_0_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5882-9_0_2_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5882-9_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5882-9_0_2_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_5882-9_0_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_5882-9_0_2_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_5882-9_0_2_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_5882-9_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5882-9_0_2_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_5882-9_0_2_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_5882-9_0_2_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_5882-9_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5882-9_0_2_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_5882-9_0_2_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_5882-9_0_2_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_5882-9_0_2_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_5882-9_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5882-9_0_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_5882-9_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5882-9_0_2_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_5882-9_0_2_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5882-9_0_2_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_5882-9_0_2_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_5882-9_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_5882-9_0_2_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_5882-9_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5882-9_0_2_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_5882-9_0_2_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_5882-9_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5882-9_0_2_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_5882-9_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5882-9_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5882-9_0_2_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_5882-9_0_2_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5882-9_0_2_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_5882-9_0_2_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5882-9_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_5882-9_0_2_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5882-9_0_2_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_5882-9_0_2_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5882-9_0_2_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_5882-9_0_2_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_5882-9_0_2_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_5882-9_0_2_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_5882-9_0_2_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_5882-9_0_2_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_5882-9_0_2_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5882-9_0_2_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5882-9_0_2_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5882-9_0_2_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_5882-9_0_2_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_5882-9_0_2_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_5882-9_0_2_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5882-9_0_2_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_5882-9_0_2_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_5882-9_0_2_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_5882-9_0_2_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_5882-9_0_2_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_5882-9_0_2_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_5882-9_0_2_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_5882-9_0_2_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_5882-9_0_2_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_5882-9_0_2_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_5882-9_0_2_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_5882-9_0_2_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_5882-9_0_2_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_5882-9_0_2_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_5882-9_0_2_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_5882-9_0_2_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_5882-9_0_2_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_5882-9_0_2_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5882-9_0_2_node_73 | 0.4 | n |  | TRUE
75 | bus_MV_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5882-9_0_2_load_0 | 0 | 0.0019343 | 0.00048478 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5882-9_0_2_load_3 | 2 | 0.00097669 | 0.00024478 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5882-9_0_2_load_6 | 4 | 0.00053181 | 0.00013328 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5882-9_0_2_load_4 | 5 | 0.0010063 | 0.0002522 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5882-9_0_2_load_19 | 7 | 0.0019755 | 0.0004951 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5882-9_0_2_load_15 | 8 | 0.0017236 | 0.00043198 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5882-9_0_2_load_34 | 9 | 0.00085998 | 0.00021553 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5882-9_0_2_load_9 | 10 | 0.0011366 | 0.00028486 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5882-9_0_2_load_64 | 12 | 0.0003356 | 8.411e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5882-9_0_2_load_63 | 13 | 0.00052646 | 0.00013194 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5882-9_0_2_load_75 | 15 | 0.00025985 | 6.5125e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5882-9_0_2_load_51 | 17 | 0.00048438 | 0.0001214 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5882-9_0_2_load_42 | 18 | 0.00066137 | 0.00016575 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5882-9_0_2_load_16 | 19 | 0.00094936 | 0.00023793 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5882-9_0_2_load_18 | 20 | 0.0037231 | 0.00093309 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5882-9_0_2_load_14 | 21 | 0.0017478 | 0.00043804 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5882-9_0_2_load_24 | 25 | 0.00061103 | 0.00015314 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5882-9_0_2_load_21 | 26 | 0.00073675 | 0.00018465 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5882-9_0_2_load_36 | 27 | 0.0016706 | 0.00041868 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5882-9_0_2_load_20 | 28 | 0.0027301 | 0.00068424 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5882-9_0_2_load_74 | 29 | 0.0026238 | 0.00065759 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5882-9_0_2_load_39 | 30 | 0.0015449 | 0.00038719 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5882-9_0_2_load_28 | 31 | 0.0022133 | 0.0005547 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5882-9_0_2_load_13 | 32 | 0.0021523 | 0.00053942 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5882-9_0_2_load_23 | 34 | 0.0069216 | 0.0017347 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5882-9_0_2_load_69 | 35 | 0.0004651 | 0.00011656 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5882-9_0_2_load_25 | 36 | 0.0032306 | 0.00080965 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5882-9_0_2_load_68 | 37 | 0.00065539 | 0.00016426 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5882-9_0_2_load_32 | 39 | 0.0027331 | 0.00068499 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5882-9_0_2_load_29 | 40 | 0.00078945 | 0.00019786 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5882-9_0_2_load_35 | 44 | 0.0013268 | 0.00033252 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5882-9_0_2_load_37 | 45 | 0.0020935 | 0.00052467 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5882-9_0_2_load_38 | 46 | 0.0036059 | 0.00090372 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5882-9_0_2_load_30 | 47 | 0.0037731 | 0.00094563 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5882-9_0_2_load_46 | 48 | 0.00096469 | 0.00024178 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5882-9_0_2_load_40 | 49 | 0.00039213 | 9.8277e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5882-9_0_2_load_41 | 50 | 0.00024321 | 6.0954e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5882-9_0_2_load_66 | 53 | 0.00062408 | 0.00015641 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5882-9_0_2_load_54 | 54 | 0.00064292 | 0.00016113 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5882-9_0_2_load_53 | 55 | 0.00079612 | 0.00019953 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5882-9_0_2_load_67 | 59 | 0.00039887 | 9.9965e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5882-9_0_2_load_52 | 61 | 0.00046539 | 0.00011664 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5882-9_0_2_load_77 | 62 | 0.00018557 | 4.6508e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5882-9_0_2_load_49 | 63 | 0.00044702 | 0.00011203 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5882-9_0_2_load_47 | 64 | 0.0012456 | 0.00031217 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5882-9_0_2_load_48 | 65 | 0.00041717 | 0.00010455 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5882-9_0_2_load_50 | 66 | 0.0016271 | 0.0004078 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5882-9_0_2_load_76 | 67 | 0.0017696 | 0.00044351 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5882-9_0_2_load_55 | 68 | 0.0010578 | 0.0002651 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5882-9_0_2_load_62 | 70 | 0.0003207 | 8.0374e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5882-9_0_2_load_72 | 72 | 0.0011553 | 0.00028954 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5882-9_0_2_load_71 | 73 | 0.00077089 | 0.0001932 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5882-9_0_2_load_73 | 74 | 0.00096154 | 0.00024098 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5882-9_0_2_line_0 |  | 0 | 1 | 0.011414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5882-9_0_2_line_1 |  | 1 | 2 | 0.13605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5882-9_0_2_line_2 |  | 2 | 6 | 0.27954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5882-9_0_2_line_3 |  | 3 | 4 | 0.011332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5882-9_0_2_line_4 |  | 3 | 5 | 0.050178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5882-9_0_2_line_5 |  | 4 | 12 | 0.16667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5882-9_0_2_line_6 |  | 6 | 7 | 0.036987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5882-9_0_2_line_7 |  | 6 | 8 | 0.04885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5882-9_0_2_line_8 |  | 8 | 32 | 0.045317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5882-9_0_2_line_9 |  | 9 | 10 | 0.22584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5882-9_0_2_line_10 |  | 9 | 11 | 0.05427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5882-9_0_2_line_11 |  | 10 | 19 | 0.20781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5882-9_0_2_line_12 |  | 11 | 25 | 0.043822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5882-9_0_2_line_13 |  | 12 | 13 | 0.14313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5882-9_0_2_line_14 |  | 13 | 57 | 0.036227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5882-9_0_2_line_15 |  | 14 | 15 | 0.022056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5882-9_0_2_line_16 |  | 14 | 16 | 0.019123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5882-9_0_2_line_17 |  | 16 | 17 | 0.017858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5882-9_0_2_line_18 |  | 16 | 18 | 0.024353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5882-9_0_2_line_19 |  | 17 | 61 | 0.014423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5882-9_0_2_line_20 |  | 18 | 49 | 0.0012122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5882-9_0_2_line_21 |  | 19 | 20 | 0.16862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5882-9_0_2_line_22 |  | 19 | 21 | 0.043643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5882-9_0_2_line_23 |  | 20 | 28 | 0.014555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5882-9_0_2_line_24 |  | 21 | 32 | 0.054996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5882-9_0_2_line_25 |  | 22 | 23 | 0.10225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5882-9_0_2_line_26 |  | 22 | 24 | 0.00407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5882-9_0_2_line_27 |  | 23 | 25 | 0.02876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5882-9_0_2_line_28 |  | 23 | 26 | 0.04819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5882-9_0_2_line_29 |  | 24 | 27 | 0.035477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5882-9_0_2_line_30 |  | 27 | 31 | 0.11723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_5882-9_0_2_line_31 |  | 28 | 29 | 0.023252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5882-9_0_2_line_32 |  | 29 | 30 | 0.081456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5882-9_0_2_line_33 |  | 30 | 46 | 0.030683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5882-9_0_2_line_34 |  | 31 | 42 | 0.01841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5882-9_0_2_line_35 |  | 33 | 34 | 0.016747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5882-9_0_2_line_36 |  | 33 | 35 | 0.20226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5882-9_0_2_line_37 |  | 34 | 36 | 0.019589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5882-9_0_2_line_38 |  | 35 | 37 | 0.054343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5882-9_0_2_line_39 |  | 36 | 38 | 0.2283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5882-9_0_2_line_40 |  | 37 | 41 | 0.058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5882-9_0_2_line_41 |  | 38 | 39 | 0.039919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5882-9_0_2_line_42 |  | 38 | 40 | 0.03581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5882-9_0_2_line_43 |  | 39 | 44 | 0.022483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_5882-9_0_2_line_44 |  | 40 | 47 | 0.046425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5882-9_0_2_line_45 |  | 41 | 48 | 0.15633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5882-9_0_2_line_46 |  | 42 | 43 | 0.10791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5882-9_0_2_line_47 |  | 43 | 44 | 0.084178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_5882-9_0_2_line_48 |  | 45 | 46 | 0.16199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5882-9_0_2_line_49 |  | 48 | 64 | 0.024046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5882-9_0_2_line_50 |  | 48 | 65 | 0.063455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5882-9_0_2_line_51 |  | 49 | 50 | 0.021044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5882-9_0_2_line_52 |  | 50 | 51 | 0.13762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5882-9_0_2_line_53 |  | 51 | 52 | 0.12018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5882-9_0_2_line_54 |  | 51 | 53 | 0.19298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5882-9_0_2_line_55 |  | 52 | 54 | 0.048095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5882-9_0_2_line_56 |  | 52 | 55 | 0.11614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5882-9_0_2_line_57 |  | 53 | 57 | 0.062673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5882-9_0_2_line_58 |  | 54 | 62 | 0.2119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5882-9_0_2_line_59 |  | 55 | 63 | 0.27824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5882-9_0_2_line_60 |  | 56 | 57 | 0.081544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5882-9_0_2_line_61 |  | 56 | 58 | 0.18401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5882-9_0_2_line_62 |  | 58 | 60 | 0.043535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5882-9_0_2_line_63 |  | 58 | 68 | 0.033028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5882-9_0_2_line_64 |  | 59 | 60 | 0.042762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5882-9_0_2_line_65 |  | 60 | 71 | 0.030112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5882-9_0_2_line_66 |  | 63 | 64 | 0.020167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5882-9_0_2_line_67 |  | 65 | 66 | 0.045151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5882-9_0_2_line_68 |  | 66 | 67 | 0.15356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5882-9_0_2_line_69 |  | 68 | 69 | 0.017995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5882-9_0_2_line_70 |  | 69 | 70 | 0.057498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5882-9_0_2_line_71 |  | 70 | 73 | 0.0038591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5882-9_0_2_line_72 |  | 71 | 72 | 0.016642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5882-9_0_2_line_73 |  | 72 | 74 | 0.018586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5882-9_0_2_trafo_21 | 0.63 MVA 20/0.4 kV | 75 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2552142.3302 | 1147113.2602 | 2552152.1462 | 1147119.0851
1 | 2552142.3302 | 1147113.2602 | 2552140.5628 | 1147111.2176 | 2552138.5872 | 1147109.0767 | 2552136.7143 | 1147106.3235 | 2552131.8333 | 1147101.0262 | 2552119.2598 | 1147087.4637 | 2552111.0567 | 1147079.725 | 2552102.4597 | 1147073.6347 | 2552088.0245 | 1147071.2818 | 2552077.1902 | 1147069.734 | 2552067.2715 | 1147065.4997 | 2552046.0565 | 1147052.8289 | 2552028.4437 | 1147047.073
2 | 2551907.7778 | 1146794.9211 | 2552028.4437 | 1147047.073
3 | 2552041.2032 | 1147400.5147 | 2552040.9937 | 1147405.0521 | 2552043.5399 | 1147411.3462
4 | 2552041.2032 | 1147400.5147 | 2551991.5628 | 1147393.1865
5 | 2552069.803 | 1147575.9376 | 2552043.5399 | 1147411.3462
6 | 2551907.7778 | 1146794.9211 | 2551907.2812 | 1146782.7743 | 2551906.6522 | 1146766.5487 | 2551908.4745 | 1146758.152
7 | 2551907.7778 | 1146794.9211 | 2551859.0391 | 1146798.2101
8 | 2551813.8532 | 1146801.6514 | 2551854.8846 | 1146798.4905 | 2551859.0391 | 1146798.2101
9 | 2551608.6292 | 1147190.0422 | 2551750.1599 | 1147014.0528
10 | 2551568.444 | 1147157.6319 | 2551574.9516 | 1147162.6711 | 2551586.7238 | 1147180.5523 | 2551594.9278 | 1147187.3787 | 2551608.6292 | 1147190.0422
11 | 2551715.4998 | 1146809.1496 | 2551750.1599 | 1147014.0528
12 | 2551568.444 | 1147157.6319 | 2551561.3214 | 1147155.377 | 2551540.4217 | 1147152.3882 | 2551525.2539 | 1147150.9153
13 | 2551929.9105 | 1147583.5382 | 2551933.8002 | 1147585.4792 | 2551942.7808 | 1147588.698 | 2551953.4431 | 1147589.0241 | 2551969.4855 | 1147586.0166 | 2551992.5901 | 1147581.6188 | 2552032.5517 | 1147585.8355 | 2552048.8498 | 1147581.1698 | 2552069.803 | 1147575.9376
14 | 2551895.7438 | 1147579.4247 | 2551908.9023 | 1147575.9288 | 2551913.951 | 1147576.2997 | 2551919.2193 | 1147578.2031 | 2551929.9105 | 1147583.5382
15 | 2551560.607 | 1147393.6844 | 2551538.5723 | 1147391.7498
16 | 2551519.9148 | 1147395.2686 | 2551527.1546 | 1147394.9434 | 2551534.0873 | 1147393.6758 | 2551538.5723 | 1147391.7498
17 | 2551519.9148 | 1147395.2686 | 2551502.0567 | 1147395.1883
18 | 2551519.9148 | 1147395.2686 | 2551523.6817 | 1147401.4304 | 2551529.5991 | 1147405.696 | 2551536.5906 | 1147412.6156
19 | 2551502.0567 | 1147395.1883 | 2551489.8304 | 1147395.1333 | 2551487.6338 | 1147395.1022
20 | 2551537.4522 | 1147413.4683 | 2551536.5906 | 1147412.6156
21 | 2551547.5969 | 1146823.7666 | 2551551.9762 | 1146822.9684 | 2551571.0413 | 1146820.2357 | 2551589.7722 | 1146817.9615 | 2551611.1172 | 1146816.0221 | 2551637.6463 | 1146814.0077 | 2551715.4998 | 1146809.1496
22 | 2551759.0193 | 1146805.8757 | 2551720.8735 | 1146808.8143 | 2551715.4998 | 1146809.1496
23 | 2551533.2776 | 1146826.3763 | 2551533.2776 | 1146826.3763 | 2551547.5969 | 1146823.7666
24 | 2551813.8532 | 1146801.6514 | 2551759.0193 | 1146805.8757
25 | 2551401.0961 | 1147151.2783 | 2551411.4454 | 1147154.5853 | 2551422.0622 | 1147153.9215 | 2551444.7129 | 1147152.1265 | 2551457.6061 | 1147148.0315 | 2551477.4327 | 1147138.9112 | 2551485.2437 | 1147137.9477 | 2551492.5687 | 1147140.5344 | 2551499.0551 | 1147143.895
26 | 2551397.2074 | 1147150.0424 | 2551401.0961 | 1147151.2783
27 | 2551499.0551 | 1147143.895 | 2551507.0601 | 1147150.7896 | 2551525.0948 | 1147150.8998 | 2551525.2539 | 1147150.9153
28 | 2551499.0551 | 1147143.895 | 2551492.2394 | 1147151.1204 | 2551480.1009 | 1147158.3331 | 2551464.2333 | 1147176.5223
29 | 2551397.2074 | 1147150.0424 | 2551392.0175 | 1147148.3946 | 2551386.1049 | 1147140.9719 | 2551381.0731 | 1147127.55 | 2551378.5959 | 1147121.8581
30 | 2551271.0827 | 1147134.4992 | 2551285.8505 | 1147130.4775 | 2551307.1175 | 1147122.8346 | 2551321.4302 | 1147116.6711 | 2551346.9617 | 1147108.2936 | 2551355.1538 | 1147107.916 | 2551361.962 | 1147109.2617 | 2551368.6901 | 1147111.1527 | 2551374.7368 | 1147116.162 | 2551378.3732 | 1147121.3464 | 2551378.5959 | 1147121.8581
31 | 2551533.2776 | 1146826.3763 | 2551513.4123 | 1146830.8276 | 2551510.625 | 1146831.6055
32 | 2551432.8256 | 1146855.6555 | 2551469.4017 | 1146843.3335 | 2551485.8461 | 1146838.5205 | 2551510.625 | 1146831.6055
33 | 2551403.7462 | 1146865.4442 | 2551407.2941 | 1146864.2568 | 2551432.8256 | 1146855.6555
34 | 2551253.2694 | 1147132.3313 | 2551260.3107 | 1147131.1736 | 2551271.0827 | 1147134.4992 | 2551271.0827 | 1147134.4992
35 | 2550890.2935 | 1147389.7954 | 2550900.6958 | 1147384.5522 | 2550904.5988 | 1147381.272
36 | 2550958.8535 | 1147580.077 | 2550890.2935 | 1147389.7954
37 | 2550917.3458 | 1147366.7451 | 2550912.6639 | 1147374.4937 | 2550904.5988 | 1147381.272
38 | 2551009.7557 | 1147561.2035 | 2551002.63 | 1147562.9584 | 2550972.1228 | 1147574.9132 | 2550962.2852 | 1147578.7398 | 2550958.8535 | 1147580.077
39 | 2551004.4416 | 1147155.7094 | 2550917.3458 | 1147366.7451
40 | 2551059.3479 | 1147540.4516 | 2551057.4228 | 1147548.3269 | 2551052.9893 | 1147551.8315 | 2551016.4953 | 1147559.5437 | 2551009.7557 | 1147561.2035
41 | 2551004.4416 | 1147155.7094 | 2551018.8122 | 1147152.9354 | 2551043.9705 | 1147150.426
42 | 2551004.4416 | 1147155.7094 | 2551029.93 | 1147139.2933 | 2551034.9566 | 1147137.0795
43 | 2551066.2268 | 1147152.5844 | 2551048.9107 | 1147149.9332 | 2551043.9705 | 1147150.426
44 | 2551034.9566 | 1147137.0795 | 2551041.7081 | 1147134.1058 | 2551049.0816 | 1147130.355 | 2551068.6616 | 1147127.8055 | 2551079.5984 | 1147126.3788
45 | 2551211.3841 | 1147576.8184 | 2551059.3479 | 1147540.4516
46 | 2551149.6021 | 1147143.289 | 2551158.9841 | 1147148.5267 | 2551167.3601 | 1147149.9928 | 2551185.9021 | 1147149.1974 | 2551201.5438 | 1147149.7152 | 2551215.4076 | 1147145.9897 | 2551240.0992 | 1147135.4174 | 2551253.2694 | 1147132.3313
47 | 2551149.6021 | 1147143.289 | 2551144.875 | 1147142.8494 | 2551138.5667 | 1147143.4788 | 2551115.6329 | 1147147.2893 | 2551090.8856 | 1147149.0914 | 2551068.8358 | 1147152.9838 | 2551066.2268 | 1147152.5844
48 | 2551247.0845 | 1146905.3635 | 2551255.7901 | 1146904.2033 | 2551271.561 | 1146901.6186 | 2551293.3033 | 1146897.5738 | 2551308.9529 | 1146894.2342 | 2551330.0088 | 1146888.8833 | 2551359.6404 | 1146880.2058 | 2551403.7462 | 1146865.4442
49 | 2551211.3841 | 1147576.8184 | 2551213.4206 | 1147569.3372 | 2551217.982 | 1147553.6964
50 | 2551211.3841 | 1147576.8184 | 2551203.0024 | 1147607.6083 | 2551198.2402 | 1147630.2365 | 2551196.9893 | 1147638.5643
51 | 2551537.4522 | 1147413.4683 | 2551544.5178 | 1147420.4613 | 2551552.1249 | 1147428.5486
52 | 2551681.5894 | 1147447.695 | 2551677.34 | 1147445.4947 | 2551668.7146 | 1147446.3755 | 2551652.2977 | 1147452.4995 | 2551641.3948 | 1147454.7661 | 2551628.0637 | 1147454.0063 | 2551610.7358 | 1147451.9112 | 2551596.9575 | 1147449.0317 | 2551583.5637 | 1147446.2047 | 2551575.8645 | 1147443.8321 | 2551565.4397 | 1147440.6255 | 2551552.1249 | 1147428.5486
53 | 2551573.0189 | 1147483.3867 | 2551592.9966 | 1147478.8457 | 2551659.4252 | 1147464.9598 | 2551673.6522 | 1147460.621 | 2551677.6496 | 1147459.1771 | 2551680.5653 | 1147455.9631 | 2551682.2033 | 1147452.4036 | 2551681.5894 | 1147447.695
54 | 2551681.5894 | 1147447.695 | 2551836.285 | 1147563.0587
55 | 2551573.0189 | 1147483.3867 | 2551593.1249 | 1147508.1377 | 2551607.6066 | 1147515.4138
56 | 2551573.0189 | 1147483.3867 | 2551553.5145 | 1147487.5792 | 2551543.4451 | 1147490.3284 | 2551523.2133 | 1147497.6397 | 2551508.6428 | 1147504.1272 | 2551497.2579 | 1147510.4223 | 2551490.4318 | 1147516.3026 | 2551492.9292 | 1147523.1416 | 2551499.6203 | 1147534.7937 | 2551501.8133 | 1147539.8956
57 | 2551895.7438 | 1147579.4247 | 2551894.5992 | 1147577.4773 | 2551892.2164 | 1147576.2624 | 2551889.7371 | 1147575.4707 | 2551885.7166 | 1147574.9804 | 2551878.4999 | 1147574.3267 | 2551866.0298 | 1147572.6812 | 2551856.0231 | 1147570.8047 | 2551850.3417 | 1147569.1049 | 2551844.2484 | 1147566.7969 | 2551836.285 | 1147563.0587
58 | 2551607.6066 | 1147515.4138 | 2551612.4529 | 1147727.2628
59 | 2551501.8133 | 1147539.8956 | 2551223.6281 | 1147534.3358
60 | 2551895.7438 | 1147579.4247 | 2551894.6312 | 1147581.4791 | 2551893.0956 | 1147583.448 | 2551888.8994 | 1147585.9495 | 2551878.2062 | 1147588.4919 | 2551868.2243 | 1147589.7058 | 2551853.8146 | 1147591.3553 | 2551840.4318 | 1147591.7738 | 2551833.5288 | 1147591.9291 | 2551827.7624 | 1147592.0754 | 2551821.9003 | 1147592.7449 | 2551817.6898 | 1147594.4239
61 | 2551817.6898 | 1147594.4239 | 2551816.8877 | 1147596.8872 | 2551818.1406 | 1147598.9338 | 2551819.6998 | 1147600.8667 | 2551822.7968 | 1147602.0759 | 2551832.5094 | 1147605.5999 | 2551839.571 | 1147607.9891 | 2551849.2335 | 1147611.0022 | 2551861.7276 | 1147614.7041 | 2551869.5187 | 1147617.0874 | 2551872.7181 | 1147618.6071 | 2551874.4821 | 1147620.2382 | 2551877.9243 | 1147625.2355 | 2551880.9626 | 1147631.5812 | 2551883.3004 | 1147640.6005 | 2551889.697 | 1147654.9123 | 2551895.957 | 1147664.6228 | 2551905.3196 | 1147676.254 | 2551909.7005 | 1147683.4005 | 2551915.7687 | 1147695.058 | 2551924.7493 | 1147710.7944 | 2551926.6283 | 1147713.3474 | 2551928.649 | 1147715.3878 | 2551931.8087 | 1147717.7194 | 2551935.7375 | 1147719.2332
62 | 2551935.7375 | 1147719.2332 | 2551940.1122 | 1147718.8869 | 2551944.4741 | 1147716.9511 | 2551948.5034 | 1147714.7066 | 2551970.4452 | 1147694.5987
63 | 2551935.7375 | 1147719.2332 | 2551921.1478 | 1147717.5489 | 2551910.5872 | 1147717.4333 | 2551902.9051 | 1147718.6622
64 | 2551970.4452 | 1147694.5987 | 2551991.6528 | 1147676.7868 | 2551999.9961 | 1147672.3512 | 2552005.4592 | 1147671.0435
65 | 2551970.4452 | 1147694.5987 | 2551969.0586 | 1147699.8347 | 2551968.2989 | 1147708.5675 | 2551970.9488 | 1147714.3827 | 2551973.4904 | 1147717.2084 | 2551976.8239 | 1147718.2267 | 2551979.0878 | 1147718.0308
66 | 2551223.6281 | 1147534.3358 | 2551217.982 | 1147553.6964
67 | 2551196.9893 | 1147638.5643 | 2551192.8266 | 1147666.277 | 2551190.6413 | 1147674.2766 | 2551188.3141 | 1147682.7991
68 | 2551188.3141 | 1147682.7991 | 2551042.5687 | 1147731.1541
69 | 2551885.2906 | 1147722.3048 | 2551897.786 | 1147719.4812 | 2551902.9051 | 1147718.6622
70 | 2551885.2906 | 1147722.3048 | 2551873.9114 | 1147715.8703 | 2551865.4966 | 1147713.2696 | 2551858.2343 | 1147712.6607 | 2551844.0204 | 1147712.8301 | 2551840.4546 | 1147711.5692 | 2551837.4057 | 1147709.6481 | 2551833.8431 | 1147708.7984 | 2551830.784 | 1147708.5768
71 | 2551826.935 | 1147708.2979 | 2551830.784 | 1147708.5768
72 | 2551979.0878 | 1147718.0308 | 2551983.5883 | 1147714.2039 | 2551987.1628 | 1147710.7847 | 2551989.8315 | 1147709.3294 | 2551992.5772 | 1147709.2085
73 | 2551992.5772 | 1147709.2085 | 2551992.9176 | 1147709.1935 | 2551999.9343 | 1147710.7828 | 2552010.3781 | 1147714.3953

## bus_geodata
| x | y | coords
0 | 2552152.1462 | 1147119.0851
1 | 2552142.3302 | 1147113.2602
2 | 2552028.4437 | 1147047.073
3 | 2552041.2032 | 1147400.5147
4 | 2552043.5399 | 1147411.3462
5 | 2551991.5628 | 1147393.1865
6 | 2551907.7778 | 1146794.9211
7 | 2551908.4745 | 1146758.152
8 | 2551859.0391 | 1146798.2101
9 | 2551608.6292 | 1147190.0422
10 | 2551750.1599 | 1147014.0528
11 | 2551568.444 | 1147157.6319
12 | 2552069.803 | 1147575.9376
13 | 2551929.9105 | 1147583.5382
14 | 2551538.5723 | 1147391.7498
15 | 2551560.607 | 1147393.6844
16 | 2551519.9148 | 1147395.2686
17 | 2551502.0567 | 1147395.1883
18 | 2551536.5906 | 1147412.6156
19 | 2551715.4998 | 1146809.1496
20 | 2551547.5969 | 1146823.7666
21 | 2551759.0193 | 1146805.8757
22 | 2551401.0961 | 1147151.2783
23 | 2551499.0551 | 1147143.895
24 | 2551397.2074 | 1147150.0424
25 | 2551525.2539 | 1147150.9153
26 | 2551464.2333 | 1147176.5223
27 | 2551378.5959 | 1147121.8581
28 | 2551533.2776 | 1146826.3763
29 | 2551510.625 | 1146831.6055
30 | 2551432.8256 | 1146855.6555
31 | 2551271.0827 | 1147134.4992
32 | 2551813.8532 | 1146801.6514
33 | 2550890.2935 | 1147389.7954
34 | 2550904.5988 | 1147381.272
35 | 2550958.8535 | 1147580.077
36 | 2550917.3458 | 1147366.7451
37 | 2551009.7557 | 1147561.2035
38 | 2551004.4416 | 1147155.7094
39 | 2551043.9705 | 1147150.426
40 | 2551034.9566 | 1147137.0795
41 | 2551059.3479 | 1147540.4516
42 | 2551253.2694 | 1147132.3313
43 | 2551149.6021 | 1147143.289
44 | 2551066.2268 | 1147152.5844
45 | 2551247.0845 | 1146905.3635
46 | 2551403.7462 | 1146865.4442
47 | 2551079.5984 | 1147126.3788
48 | 2551211.3841 | 1147576.8184
49 | 2551537.4522 | 1147413.4683
50 | 2551552.1249 | 1147428.5486
51 | 2551681.5894 | 1147447.695
52 | 2551573.0189 | 1147483.3867
53 | 2551836.285 | 1147563.0587
54 | 2551607.6066 | 1147515.4138
55 | 2551501.8133 | 1147539.8956
56 | 2551817.6898 | 1147594.4239
57 | 2551895.7438 | 1147579.4247
58 | 2551935.7375 | 1147719.2332
59 | 2552005.4592 | 1147671.0435
60 | 2551970.4452 | 1147694.5987
61 | 2551487.6338 | 1147395.1022
62 | 2551612.4529 | 1147727.2628
63 | 2551223.6281 | 1147534.3358
64 | 2551217.982 | 1147553.6964
65 | 2551196.9893 | 1147638.5643
66 | 2551188.3141 | 1147682.7991
67 | 2551042.5687 | 1147731.1541
68 | 2551902.9051 | 1147718.6622
69 | 2551885.2906 | 1147722.3048
70 | 2551830.784 | 1147708.5768
71 | 2551979.0878 | 1147718.0308
72 | 2551992.5772 | 1147709.2085
73 | 2551826.935 | 1147708.2979
74 | 2552010.3781 | 1147714.3953
75 | 2551464.2333 | 1147176.5223

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1