## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5883-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5883-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5883-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5883-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5883-1_0_4_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_5883-1_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_5883-1_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_5883-1_0_4_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_5883-1_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_5883-1_0_4_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_5883-1_0_4_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_5883-1_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5883-1_0_4_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_5883-1_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_5883-1_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_5883-1_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5883-1_0_4_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_5883-1_0_4_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_5883-1_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_5883-1_0_4_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_5883-1_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_5883-1_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_5883-1_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_5883-1_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5883-1_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5883-1_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5883-1_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5883-1_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_5883-1_0_4_node_102 | 0.4 | n |  | TRUE
29 | bus_LV_5883-1_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_5883-1_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5883-1_0_4_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_5883-1_0_4_node_77 | 0.4 | n |  | TRUE
33 | bus_LV_5883-1_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5883-1_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5883-1_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5883-1_0_4_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_5883-1_0_4_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_5883-1_0_4_node_79 | 0.4 | n |  | TRUE
39 | bus_LV_5883-1_0_4_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_5883-1_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5883-1_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5883-1_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5883-1_0_4_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_5883-1_0_4_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_5883-1_0_4_node_92 | 0.4 | n |  | TRUE
46 | bus_LV_5883-1_0_4_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_5883-1_0_4_node_89 | 0.4 | n |  | TRUE
48 | bus_LV_5883-1_0_4_node_93 | 0.4 | n |  | TRUE
49 | bus_LV_5883-1_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_5883-1_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_5883-1_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_5883-1_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_5883-1_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_5883-1_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_5883-1_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5883-1_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_5883-1_0_4_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_5883-1_0_4_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_5883-1_0_4_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_5883-1_0_4_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_5883-1_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_5883-1_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_5883-1_0_4_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_5883-1_0_4_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_5883-1_0_4_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_5883-1_0_4_node_98 | 0.4 | n |  | TRUE
67 | bus_LV_5883-1_0_4_node_97 | 0.4 | n |  | TRUE
68 | bus_LV_5883-1_0_4_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_5883-1_0_4_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_5883-1_0_4_node_96 | 0.4 | n |  | TRUE
71 | bus_LV_5883-1_0_4_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_5883-1_0_4_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_5883-1_0_4_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_5883-1_0_4_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_5883-1_0_4_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_5883-1_0_4_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_5883-1_0_4_node_100 | 0.4 | n |  | TRUE
78 | bus_LV_5883-1_0_4_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_5883-1_0_4_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_5883-1_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_5883-1_0_4_node_52 | 0.4 | n |  | TRUE
82 | bus_LV_5883-1_0_4_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_5883-1_0_4_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_5883-1_0_4_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_5883-1_0_4_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_5883-1_0_4_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_5883-1_0_4_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_5883-1_0_4_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_5883-1_0_4_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_5883-1_0_4_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_5883-1_0_4_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_5883-1_0_4_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_5883-1_0_4_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_5883-1_0_4_node_71 | 0.4 | n |  | TRUE
95 | bus_LV_5883-1_0_4_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_5883-1_0_4_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_5883-1_0_4_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_5883-1_0_4_node_84 | 0.4 | n |  | TRUE
99 | bus_LV_5883-1_0_4_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_5883-1_0_4_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_5883-1_0_4_node_86 | 0.4 | n |  | TRUE
102 | bus_LV_5883-1_0_4_node_87 | 0.4 | n |  | TRUE
103 | bus_MV_263_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5883-1_0_4_load_0 | 0 | 0.0072568 | 0.0018187 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5883-1_0_4_load_3 | 3 | 0.0072568 | 0.0018187 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5883-1_0_4_load_17 | 5 | 0.0065575 | 0.0016435 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5883-1_0_4_load_78 | 7 | 0.0072458 | 0.001816 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5883-1_0_4_load_18 | 9 | 0.0045764 | 0.0011469 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5883-1_0_4_load_23 | 10 | 0.0078415 | 0.0019653 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5883-1_0_4_load_4 | 12 | 0.0072568 | 0.0018187 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5883-1_0_4_load_5 | 13 | 0.0078395 | 0.0019648 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5883-1_0_4_load_28 | 17 | 0.0028983 | 0.00072638 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5883-1_0_4_load_25 | 18 | 0.0040538 | 0.001016 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5883-1_0_4_load_31 | 20 | 0.004332 | 0.0010857 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5883-1_0_4_load_26 | 21 | 0.0044784 | 0.0011224 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5883-1_0_4_load_10 | 22 | 0.0068439 | 0.0017152 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5883-1_0_4_load_13 | 24 | 0.0089507 | 0.0022433 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5883-1_0_4_load_15 | 26 | 0.0040271 | 0.0010093 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5883-1_0_4_load_24 | 27 | 0.0031333 | 0.00078527 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5883-1_0_4_load_102 | 28 | 0.0089565 | 0.0022447 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5883-1_0_4_load_29 | 29 | 0.0046118 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5883-1_0_4_load_77 | 32 | 0.002551 | 0.00063935 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5883-1_0_4_load_19 | 33 | 0.0073642 | 0.0018456 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5883-1_0_4_load_21 | 35 | 0.008257 | 0.0020694 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5883-1_0_4_load_65 | 36 | 0.0075576 | 0.0018941 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5883-1_0_4_load_55 | 37 | 0.0039168 | 0.00098163 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5883-1_0_4_load_79 | 38 | 0.0099073 | 0.002483 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5883-1_0_4_load_56 | 39 | 0.0039384 | 0.00098707 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5883-1_0_4_load_27 | 40 | 0.0077363 | 0.0019389 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5883-1_0_4_load_30 | 41 | 0.0046868 | 0.0011746 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5883-1_0_4_load_32 | 42 | 0.0066455 | 0.0016655 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5883-1_0_4_load_80 | 43 | 0.0044458 | 0.0011142 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5883-1_0_4_load_81 | 44 | 0.0044595 | 0.0011177 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5883-1_0_4_load_92 | 45 | 0.0028952 | 0.00072559 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5883-1_0_4_load_91 | 46 | 0.0040839 | 0.0010235 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5883-1_0_4_load_89 | 47 | 0.0041351 | 0.0010364 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5883-1_0_4_load_93 | 48 | 0.0031527 | 0.00079015 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5883-1_0_4_load_33 | 49 | 0.0041645 | 0.0010437 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5883-1_0_4_load_34 | 50 | 0.0049452 | 0.0012394 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5883-1_0_4_load_37 | 53 | 0.0035913 | 0.00090005 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5883-1_0_4_load_47 | 54 | 0.0043377 | 0.0010871 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5883-1_0_4_load_76 | 58 | 0.0048911 | 0.0012258 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5883-1_0_4_load_101 | 60 | 0.014482 | 0.0036295 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5883-1_0_4_load_38 | 62 | 0.013131 | 0.0032909 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5883-1_0_4_load_39 | 63 | 0.0051779 | 0.0012977 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5883-1_0_4_load_41 | 65 | 0.0052606 | 0.0013184 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5883-1_0_4_load_97 | 67 | 0.0020599 | 0.00051626 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5883-1_0_4_load_72 | 69 | 0.0031487 | 0.00078914 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5883-1_0_4_load_42 | 71 | 0.0041038 | 0.0010285 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5883-1_0_4_load_43 | 72 | 0.0064308 | 0.0016117 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5883-1_0_4_load_48 | 75 | 0.0064408 | 0.0016142 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5883-1_0_4_load_50 | 76 | 0.0057414 | 0.0014389 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5883-1_0_4_load_100 | 77 | 0.0037747 | 0.00094602 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5883-1_0_4_load_54 | 78 | 0.0024565 | 0.00061565 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5883-1_0_4_load_51 | 79 | 0.0071995 | 0.0018044 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5883-1_0_4_load_75 | 80 | 0.0029432 | 0.00073764 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5883-1_0_4_load_52 | 81 | 0.0034242 | 0.0008582 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5883-1_0_4_load_58 | 83 | 0.0039159 | 0.00098142 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5883-1_0_4_load_59 | 84 | 0.0055026 | 0.0013791 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5883-1_0_4_load_63 | 85 | 0.0065178 | 0.0016335 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5883-1_0_4_load_66 | 87 | 0.010382 | 0.0026021 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5883-1_0_4_load_67 | 88 | 0.0049951 | 0.0012519 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5883-1_0_4_load_83 | 89 | 0.0038153 | 0.0009562 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5883-1_0_4_load_68 | 90 | 0.014146 | 0.0035453 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5883-1_0_4_load_82 | 91 | 0.00342 | 0.00085712 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5883-1_0_4_load_69 | 92 | 0.0039735 | 0.00099586 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5883-1_0_4_load_70 | 93 | 0.0013555 | 0.00033971 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5883-1_0_4_load_71 | 94 | 0.0043644 | 0.0010938 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5883-1_0_4_load_94 | 95 | 0.005242 | 0.0013138 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5883-1_0_4_load_99 | 96 | 0.0025273 | 0.0006334 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5883-1_0_4_load_84 | 98 | 0.0028173 | 0.00070608 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5883-1_0_4_load_88 | 99 | 0.0099814 | 0.0025016 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5883-1_0_4_load_86 | 101 | 0.016427 | 0.0041171 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5883-1_0_4_load_87 | 102 | 0.0022247 | 0.00055757 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5883-1_0_4_line_0 |  | 0 | 1 | 0.020135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5883-1_0_4_line_1 |  | 1 | 2 | 0.05147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5883-1_0_4_line_2 |  | 1 | 3 | 0.018478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5883-1_0_4_line_3 |  | 2 | 4 | 0.007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5883-1_0_4_line_4 |  | 2 | 5 | 0.024367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5883-1_0_4_line_5 |  | 3 | 6 | 0.021161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5883-1_0_4_line_6 |  | 4 | 7 | 0.02987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5883-1_0_4_line_7 |  | 4 | 8 | 0.035578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5883-1_0_4_line_8 |  | 5 | 9 | 0.039586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5883-1_0_4_line_9 |  | 6 | 10 | 0.045866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5883-1_0_4_line_10 |  | 6 | 11 | 0.041718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5883-1_0_4_line_11 |  | 7 | 32 | 0.010295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5883-1_0_4_line_12 |  | 8 | 26 | 0.026482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5883-1_0_4_line_13 |  | 8 | 22 | 0.017817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5883-1_0_4_line_14 |  | 11 | 17 | 0.0098027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5883-1_0_4_line_15 |  | 11 | 18 | 0.029797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5883-1_0_4_line_16 |  | 11 | 14 | 0.037808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5883-1_0_4_line_17 |  | 12 | 13 | 0.029714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5883-1_0_4_line_18 |  | 12 | 14 | 0.031496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5883-1_0_4_line_19 |  | 14 | 15 | 0.013227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5883-1_0_4_line_20 |  | 15 | 16 | 0.014403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5883-1_0_4_line_21 |  | 16 | 19 | 0.051415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5883-1_0_4_line_22 |  | 17 | 20 | 0.02707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5883-1_0_4_line_23 |  | 18 | 21 | 0.049268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5883-1_0_4_line_24 |  | 19 | 98 | 0.020782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5883-1_0_4_line_25 |  | 19 | 99 | 0.02895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5883-1_0_4_line_26 |  | 20 | 41 | 0.014606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5883-1_0_4_line_27 |  | 21 | 40 | 0.0048187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5883-1_0_4_line_28 |  | 22 | 23 | 0.052679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5883-1_0_4_line_29 |  | 23 | 24 | 0.031096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5883-1_0_4_line_30 |  | 23 | 25 | 0.048118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5883-1_0_4_line_31 |  | 24 | 27 | 0.0031328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5883-1_0_4_line_32 |  | 25 | 28 | 0.070157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5883-1_0_4_line_33 |  | 26 | 29 | 0.025307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5883-1_0_4_line_34 |  | 27 | 30 | 0.036601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5883-1_0_4_line_35 |  | 28 | 31 | 0.028374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5883-1_0_4_line_36 |  | 30 | 34 | 0.020126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5883-1_0_4_line_37 |  | 31 | 85 | 0.0065261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5883-1_0_4_line_38 |  | 32 | 58 | 0.038035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5883-1_0_4_line_39 |  | 33 | 34 | 0.018773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5883-1_0_4_line_40 |  | 34 | 35 | 0.04236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5883-1_0_4_line_41 |  | 35 | 36 | 0.022642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5883-1_0_4_line_42 |  | 36 | 37 | 0.030992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5883-1_0_4_line_43 |  | 37 | 39 | 0.049991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5883-1_0_4_line_44 |  | 37 | 82 | 0.010678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5883-1_0_4_line_45 |  | 38 | 39 | 0.034386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5883-1_0_4_line_46 |  | 41 | 42 | 0.016127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5883-1_0_4_line_47 |  | 43 | 44 | 0.018744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5883-1_0_4_line_48 |  | 44 | 45 | 0.027632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5883-1_0_4_line_49 |  | 45 | 48 | 0.027347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5883-1_0_4_line_50 |  | 45 | 46 | 0.041372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5883-1_0_4_line_51 |  | 46 | 47 | 0.035106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5883-1_0_4_line_52 |  | 47 | 102 | 0.024691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5883-1_0_4_line_53 |  | 49 | 50 | 0.036367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5883-1_0_4_line_54 |  | 49 | 51 | 0.0010713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5883-1_0_4_line_55 |  | 50 | 52 | 0.066371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5883-1_0_4_line_56 |  | 51 | 53 | 0.019726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5883-1_0_4_line_57 |  | 52 | 54 | 0.0034352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5883-1_0_4_line_58 |  | 52 | 55 | 0.035714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5883-1_0_4_line_59 |  | 54 | 56 | 0.0033912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5883-1_0_4_line_60 |  | 55 | 57 | 0.037304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5883-1_0_4_line_61 |  | 55 | 58 | 0.0062382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5883-1_0_4_line_62 |  | 56 | 74 | 0.018806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5883-1_0_4_line_63 |  | 57 | 78 | 0.025581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5883-1_0_4_line_64 |  | 57 | 79 | 0.02237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5883-1_0_4_line_65 |  | 59 | 60 | 0.010354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5883-1_0_4_line_66 |  | 59 | 61 | 0.040324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5883-1_0_4_line_67 |  | 61 | 86 | 0.053313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5883-1_0_4_line_68 |  | 61 | 83 | 0.016319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5883-1_0_4_line_69 |  | 62 | 63 | 0.0028177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5883-1_0_4_line_70 |  | 62 | 64 | 0.02076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5883-1_0_4_line_71 |  | 64 | 65 | 0.011592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5883-1_0_4_line_72 |  | 64 | 66 | 0.054835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5883-1_0_4_line_73 |  | 66 | 67 | 0.034801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5883-1_0_4_line_74 |  | 67 | 68 | 0.0096742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5883-1_0_4_line_75 |  | 68 | 95 | 0.0044261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5883-1_0_4_line_76 |  | 69 | 70 | 0.064735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5883-1_0_4_line_77 |  | 70 | 96 | 0.026108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5883-1_0_4_line_78 |  | 70 | 97 | 0.051805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5883-1_0_4_line_79 |  | 70 | 95 | 0.039859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5883-1_0_4_line_80 |  | 71 | 72 | 0.016038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5883-1_0_4_line_81 |  | 72 | 73 | 0.038297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5883-1_0_4_line_82 |  | 73 | 75 | 0.0051919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5883-1_0_4_line_83 |  | 74 | 76 | 0.016244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5883-1_0_4_line_84 |  | 74 | 75 | 0.032071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5883-1_0_4_line_85 |  | 76 | 77 | 0.0026425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5883-1_0_4_line_86 |  | 77 | 80 | 0.015351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5883-1_0_4_line_87 |  | 79 | 81 | 0.001146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5883-1_0_4_line_88 |  | 80 | 94 | 0.0042222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5883-1_0_4_line_89 |  | 82 | 83 | 0.023284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5883-1_0_4_line_90 |  | 84 | 85 | 0.019924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5883-1_0_4_line_91 |  | 86 | 87 | 0.022155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5883-1_0_4_line_92 |  | 87 | 88 | 0.030757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5883-1_0_4_line_93 |  | 87 | 89 | 0.087693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5883-1_0_4_line_94 |  | 88 | 90 | 0.032749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5883-1_0_4_line_95 |  | 89 | 91 | 0.023254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5883-1_0_4_line_96 |  | 92 | 93 | 0.0086173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5883-1_0_4_line_97 |  | 93 | 94 | 0.016066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5883-1_0_4_line_98 |  | 97 | 99 | 0.047387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5883-1_0_4_line_99 |  | 98 | 100 | 0.0087719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5883-1_0_4_line_100 |  | 100 | 101 | 0.0083447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5883-1_0_4_line_101 |  | 101 | 102 | 0.026763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5883-1_0_4_trafo_77 | 0.63 MVA 20/0.4 kV | 103 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2552826.4583 | 1146693.3163 | 2552846.5217 | 1146695.008
1 | 2552826.4583 | 1146693.3163 | 2552828.193 | 1146701.9739 | 2552831.787 | 1146716.5644 | 2552841.7133 | 1146742.3332
2 | 2552826.4583 | 1146693.3163 | 2552827.9038 | 1146674.8955
3 | 2552841.7133 | 1146742.3332 | 2552841.2765 | 1146749.3181
4 | 2552841.7133 | 1146742.3332 | 2552865.0721 | 1146735.3963
5 | 2552836.4485 | 1146655.7408 | 2552831.9919 | 1146662.3903 | 2552827.9038 | 1146674.8955
6 | 2552841.2765 | 1146749.3181 | 2552831.1418 | 1146749.8534 | 2552811.7909 | 1146753.6558
7 | 2552841.2765 | 1146749.3181 | 2552847.6459 | 1146750.5354 | 2552853.9265 | 1146753.1542 | 2552865.2512 | 1146758.4349 | 2552874.0338 | 1146762.7683
8 | 2552901.62 | 1146720.3315 | 2552878.4084 | 1146730.9509 | 2552868.2049 | 1146734.466 | 2552865.0721 | 1146735.3963
9 | 2552790.5596 | 1146652.5546 | 2552836.4485 | 1146655.7408
10 | 2552856.2693 | 1146621.9012 | 2552851.0839 | 1146622.7979 | 2552847.2742 | 1146635.5566 | 2552841.0383 | 1146650.3909 | 2552836.4485 | 1146655.7408
11 | 2552811.7909 | 1146753.6558 | 2552801.6888 | 1146755.6409
12 | 2552874.0338 | 1146762.7683 | 2552890.8206 | 1146760.3245 | 2552900.3318 | 1146759.9482
13 | 2552874.0338 | 1146762.7683 | 2552871.0217 | 1146771.4297 | 2552871.6225 | 1146779.4959 | 2552871.8974 | 1146779.9815
14 | 2552856.2693 | 1146621.9012 | 2552865.9256 | 1146620.2136
15 | 2552856.2693 | 1146621.9012 | 2552862.7379 | 1146633.8011 | 2552868.6283 | 1146646.406 | 2552870.1507 | 1146648.1826
16 | 2552837.4186 | 1146595.313 | 2552846.5553 | 1146602.6563 | 2552850.1739 | 1146612.5441 | 2552851.0839 | 1146622.7979 | 2552856.2693 | 1146621.9012
17 | 2552792.2751 | 1146616.0145 | 2552821.9142 | 1146618.1186
18 | 2552837.4186 | 1146595.313 | 2552833.4071 | 1146610.7413 | 2552827.9072 | 1146618.544 | 2552821.9142 | 1146618.1186
19 | 2552837.4186 | 1146595.313 | 2552831.3733 | 1146583.5432
20 | 2552817.2642 | 1146586.6332 | 2552831.3733 | 1146583.5432
21 | 2552817.2642 | 1146586.6332 | 2552815.957 | 1146579.6065 | 2552810.0026 | 1146549.0818 | 2552808.6643 | 1146543.9674 | 2552816.5588 | 1146543.7387
22 | 2552892.5917 | 1146615.5534 | 2552865.9256 | 1146620.2136
23 | 2552870.1507 | 1146648.1826 | 2552878.0625 | 1146657.4155 | 2552886.1013 | 1146660.9099 | 2552914.4399 | 1146661.4386
24 | 2552816.5588 | 1146543.7387 | 2552817.2613 | 1146534.395 | 2552828.0177 | 1146534.722 | 2552828.6643 | 1146534.7944
25 | 2552816.5588 | 1146543.7387 | 2552792.7559 | 1146527.2614
26 | 2552906.9793 | 1146613.0389 | 2552892.5917 | 1146615.5534
27 | 2552919.2578 | 1146661.5284 | 2552914.4399 | 1146661.4386
28 | 2552905.1948 | 1146820.532 | 2552877.3785 | 1146789.6672 | 2552871.8974 | 1146779.9815
29 | 2552905.1948 | 1146820.532 | 2552900.9154 | 1146824.3008 | 2552894.74 | 1146827.2506 | 2552876.596 | 1146831.1074
30 | 2552938.1887 | 1146855.4474 | 2552929.7099 | 1146848.688 | 2552905.1948 | 1146820.532
31 | 2552873.5317 | 1146831.7588 | 2552876.596 | 1146831.1074
32 | 2552879.3664 | 1146882.5886 | 2552926.0487 | 1146872.5512 | 2552931.3675 | 1146870.0861 | 2552936.0211 | 1146865.0471 | 2552938.1887 | 1146855.4474
33 | 2552925.6191 | 1146758.9478 | 2552900.3318 | 1146759.9482
34 | 2552838.5201 | 1146841.4985 | 2552845.3804 | 1146837.7428 | 2552873.5317 | 1146831.7588
35 | 2552879.3664 | 1146882.5886 | 2552880.5334 | 1146910.9386
36 | 2552838.5201 | 1146841.4985 | 2552842.4539 | 1146861.2335
37 | 2552880.5334 | 1146910.9386 | 2552874.1365 | 1146912.231
38 | 2552764.3677 | 1146762.9744 | 2552801.6888 | 1146755.6409
39 | 2552842.4539 | 1146861.2335 | 2552824.1878 | 1146865.5671
40 | 2552842.4539 | 1146861.2335 | 2552846.0355 | 1146877.2026 | 2552840.4169 | 1146882.5827 | 2552822.6278 | 1146886.4989
41 | 2552800.5149 | 1146891.3669 | 2552822.6278 | 1146886.4989
42 | 2552800.5149 | 1146891.3669 | 2552774.32 | 1146907.9292
43 | 2552774.32 | 1146907.9292 | 2552770.9593 | 1146901.1595 | 2552762.1416 | 1146882.5747 | 2552755.2298 | 1146861.8339
44 | 2552779.0679 | 1146917.4932 | 2552774.32 | 1146907.9292
45 | 2552787.156 | 1146849.0612 | 2552755.2298 | 1146861.8339
46 | 2552922.8659 | 1146610.2625 | 2552906.9793 | 1146613.0389
47 | 2552981.8383 | 1146575.0004 | 2552963.137 | 1146573.7412
48 | 2552965.5312 | 1146546.2132 | 2552963.137 | 1146573.7412
49 | 2552965.5312 | 1146546.2132 | 2552992.8084 | 1146548.1614
50 | 2552965.5312 | 1146546.2132 | 2552945.3892 | 1146544.7746 | 2552932.7679 | 1146543.6617 | 2552924.3101 | 1146542.737
51 | 2552924.3101 | 1146542.737 | 2552918.9144 | 1146542.1471 | 2552903.6424 | 1146539.9655 | 2552889.612 | 1146537.4691
52 | 2552865.3837 | 1146532.7134 | 2552886.7662 | 1146536.9627 | 2552889.612 | 1146537.4691
53 | 2552663.5774 | 1146829.2171 | 2552699.292 | 1146822.3596
54 | 2552662.5253 | 1146829.4191 | 2552663.5774 | 1146829.2171
55 | 2552722.801 | 1146763.4665 | 2552718.2955 | 1146783.4122 | 2552717.8366 | 1146785.6169 | 2552712.9961 | 1146808.867 | 2552707.6206 | 1146817.8028 | 2552699.292 | 1146822.3596
56 | 2552662.5253 | 1146829.4191 | 2552665.0063 | 1146841.1279 | 2552672.6529 | 1146839.8238
57 | 2552722.801 | 1146763.4665 | 2552719.396 | 1146763.0121
58 | 2552758.2466 | 1146764.1772 | 2552751.5438 | 1146765.4972 | 2552738.0685 | 1146766.1145 | 2552722.801 | 1146763.4665
59 | 2552716.0346 | 1146762.5636 | 2552719.396 | 1146763.0121
60 | 2552758.2466 | 1146764.1772 | 2552754.8458 | 1146771.2632 | 2552748.9334 | 1146775.4229 | 2552738.4366 | 1146779.7187 | 2552734.466 | 1146781.7287 | 2552732.6457 | 1146784.6779 | 2552733.3601 | 1146787.6071
61 | 2552758.2466 | 1146764.1772 | 2552764.3677 | 1146762.9744
62 | 2552716.0346 | 1146762.5636 | 2552697.3424 | 1146760.0537
63 | 2552733.3601 | 1146787.6071 | 2552757.4317 | 1146778.7579
64 | 2552733.3601 | 1146787.6071 | 2552734.0586 | 1146790.4809 | 2552740.481 | 1146808.7998
65 | 2552701.0598 | 1146926.9776 | 2552701.9934 | 1146937.2868
66 | 2552741.8651 | 1146930.5588 | 2552730.6449 | 1146932.6925 | 2552701.9934 | 1146937.2868
67 | 2552758.6273 | 1146964.1556 | 2552755.795 | 1146956.574 | 2552763.6856 | 1146946.1399 | 2552759.485 | 1146941.3371 | 2552745.9731 | 1146942.1325 | 2552741.8651 | 1146930.5588
68 | 2552741.8651 | 1146930.5588 | 2552750.2151 | 1146927.7584 | 2552756.9603 | 1146924.4523
69 | 2552652.4635 | 1146683.2481 | 2552650.3624 | 1146685.1256
70 | 2552666.957 | 1146668.4119 | 2552661.49 | 1146674.5025 | 2552656.4459 | 1146679.6893 | 2552652.4635 | 1146683.2481
71 | 2552666.957 | 1146668.4119 | 2552678.2979 | 1146670.8128
72 | 2552666.957 | 1146668.4119 | 2552638.3605 | 1146621.6238
73 | 2552638.3605 | 1146621.6238 | 2552651.2444 | 1146607.3261 | 2552662.7935 | 1146596.906
74 | 2552669.9763 | 1146590.4255 | 2552662.7935 | 1146596.906
75 | 2552669.9763 | 1146590.4255 | 2552673.2183 | 1146587.4124
76 | 2552737.4019 | 1146614.7425 | 2552702.4149 | 1146560.277
77 | 2552702.4149 | 1146560.277 | 2552699.4124 | 1146557.4547 | 2552687.1017 | 1146539.237
78 | 2552702.4149 | 1146560.277 | 2552725.1787 | 1146544.2119 | 2552741.3646 | 1146541.4722 | 2552748.6493 | 1146543.794
79 | 2552702.4149 | 1146560.277 | 2552673.2183 | 1146587.4124
80 | 2552698.1539 | 1146796.8108 | 2552692.0384 | 1146781.9846
81 | 2552660.3535 | 1146764.2913 | 2552666.5157 | 1146768.4561 | 2552685.3583 | 1146772.5211 | 2552692.0384 | 1146781.9846
82 | 2552660.3535 | 1146764.2913 | 2552665.4879 | 1146763.5211
83 | 2552697.3424 | 1146760.0537 | 2552698.7185 | 1146745.5576 | 2552700.0022 | 1146744.4697
84 | 2552697.3424 | 1146760.0537 | 2552689.7114 | 1146760.5473 | 2552682.1264 | 1146761.0294 | 2552666.7672 | 1146763.3292 | 2552665.4879 | 1146763.5211
85 | 2552700.0022 | 1146744.4697 | 2552702.0182 | 1146742.7612
86 | 2552702.0182 | 1146742.7612 | 2552713.7291 | 1146732.8367
87 | 2552740.481 | 1146808.7998 | 2552740.8601 | 1146809.8813
88 | 2552716.9503 | 1146730.107 | 2552713.7291 | 1146732.8367
89 | 2552779.0679 | 1146917.4932 | 2552762.9851 | 1146921.4993 | 2552756.9603 | 1146924.4523
90 | 2552874.1365 | 1146912.231 | 2552854.6073 | 1146916.1768
91 | 2552758.6273 | 1146964.1556 | 2552773.565 | 1146968.8741 | 2552780.025 | 1146969.4985
92 | 2552780.025 | 1146969.4985 | 2552786.7551 | 1146970.149 | 2552810.2905 | 1146965.473
93 | 2552780.025 | 1146969.4985 | 2552800.1419 | 1147054.8525
94 | 2552804.2429 | 1146946.5107 | 2552818.1677 | 1146953.3161 | 2552818.5757 | 1146961.2614 | 2552810.2905 | 1146965.473
95 | 2552823.278 | 1147052.5487 | 2552808.9021 | 1147053.7741 | 2552800.1419 | 1147054.8525
96 | 2552740.1711 | 1146723.6981 | 2552735.7199 | 1146725.3007 | 2552731.8629 | 1146725.7783
97 | 2552731.8629 | 1146725.7783 | 2552720.3805 | 1146727.2 | 2552716.9503 | 1146730.107
98 | 2552748.6493 | 1146543.794 | 2552755.5248 | 1146539.9825 | 2552765.0511 | 1146535.283 | 2552774.3035 | 1146531.9086 | 2552783.0695 | 1146529.1828 | 2552792.7559 | 1146527.2614
99 | 2552837.3817 | 1146535.7713 | 2552828.6643 | 1146534.7944
100 | 2552837.3817 | 1146535.7713 | 2552839.1142 | 1146527.6085
101 | 2552839.1142 | 1146527.6085 | 2552841.6145 | 1146527.9897 | 2552865.3837 | 1146532.7134

## bus_geodata
| x | y | coords
0 | 2552846.5217 | 1146695.008
1 | 2552826.4583 | 1146693.3163
2 | 2552841.7133 | 1146742.3332
3 | 2552827.9038 | 1146674.8955
4 | 2552841.2765 | 1146749.3181
5 | 2552865.0721 | 1146735.3963
6 | 2552836.4485 | 1146655.7408
7 | 2552811.7909 | 1146753.6558
8 | 2552874.0338 | 1146762.7683
9 | 2552901.62 | 1146720.3315
10 | 2552790.5596 | 1146652.5546
11 | 2552856.2693 | 1146621.9012
12 | 2552821.9142 | 1146618.1186
13 | 2552792.2751 | 1146616.0145
14 | 2552837.4186 | 1146595.313
15 | 2552831.3733 | 1146583.5432
16 | 2552817.2642 | 1146586.6332
17 | 2552865.9256 | 1146620.2136
18 | 2552870.1507 | 1146648.1826
19 | 2552816.5588 | 1146543.7387
20 | 2552892.5917 | 1146615.5534
21 | 2552914.4399 | 1146661.4386
22 | 2552871.8974 | 1146779.9815
23 | 2552905.1948 | 1146820.532
24 | 2552876.596 | 1146831.1074
25 | 2552938.1887 | 1146855.4474
26 | 2552900.3318 | 1146759.9482
27 | 2552873.5317 | 1146831.7588
28 | 2552879.3664 | 1146882.5886
29 | 2552925.6191 | 1146758.9478
30 | 2552838.5201 | 1146841.4985
31 | 2552880.5334 | 1146910.9386
32 | 2552801.6888 | 1146755.6409
33 | 2552824.1878 | 1146865.5671
34 | 2552842.4539 | 1146861.2335
35 | 2552822.6278 | 1146886.4989
36 | 2552800.5149 | 1146891.3669
37 | 2552774.32 | 1146907.9292
38 | 2552787.156 | 1146849.0612
39 | 2552755.2298 | 1146861.8339
40 | 2552919.2578 | 1146661.5284
41 | 2552906.9793 | 1146613.0389
42 | 2552922.8659 | 1146610.2625
43 | 2552981.8383 | 1146575.0004
44 | 2552963.137 | 1146573.7412
45 | 2552965.5312 | 1146546.2132
46 | 2552924.3101 | 1146542.737
47 | 2552889.612 | 1146537.4691
48 | 2552992.8084 | 1146548.1614
49 | 2552663.5774 | 1146829.2171
50 | 2552699.292 | 1146822.3596
51 | 2552662.5253 | 1146829.4191
52 | 2552722.801 | 1146763.4665
53 | 2552672.6529 | 1146839.8238
54 | 2552719.396 | 1146763.0121
55 | 2552758.2466 | 1146764.1772
56 | 2552716.0346 | 1146762.5636
57 | 2552733.3601 | 1146787.6071
58 | 2552764.3677 | 1146762.9744
59 | 2552701.9934 | 1146937.2868
60 | 2552701.0598 | 1146926.9776
61 | 2552741.8651 | 1146930.5588
62 | 2552652.4634 | 1146683.2481
63 | 2552650.3624 | 1146685.1256
64 | 2552666.957 | 1146668.4119
65 | 2552678.2979 | 1146670.8128
66 | 2552638.3605 | 1146621.6238
67 | 2552662.7935 | 1146596.906
68 | 2552669.9763 | 1146590.4255
69 | 2552737.4019 | 1146614.7425
70 | 2552702.4149 | 1146560.277
71 | 2552698.1539 | 1146796.8108
72 | 2552692.0384 | 1146781.9846
73 | 2552660.3535 | 1146764.2913
74 | 2552697.3424 | 1146760.0537
75 | 2552665.4879 | 1146763.5211
76 | 2552700.0022 | 1146744.4697
77 | 2552702.0182 | 1146742.7612
78 | 2552757.4317 | 1146778.7579
79 | 2552740.481 | 1146808.7998
80 | 2552713.7291 | 1146732.8367
81 | 2552740.8601 | 1146809.8813
82 | 2552779.0679 | 1146917.4932
83 | 2552756.9603 | 1146924.4523
84 | 2552854.6073 | 1146916.1768
85 | 2552874.1365 | 1146912.231
86 | 2552758.6273 | 1146964.1556
87 | 2552780.025 | 1146969.4985
88 | 2552810.2905 | 1146965.473
89 | 2552800.1419 | 1147054.8525
90 | 2552804.2429 | 1146946.5107
91 | 2552823.278 | 1147052.5487
92 | 2552740.1711 | 1146723.6981
93 | 2552731.8629 | 1146725.7783
94 | 2552716.9503 | 1146730.107
95 | 2552673.2183 | 1146587.4124
96 | 2552687.1017 | 1146539.237
97 | 2552748.6493 | 1146543.794
98 | 2552828.6643 | 1146534.7944
99 | 2552792.7559 | 1146527.2614
100 | 2552837.3817 | 1146535.7713
101 | 2552839.1142 | 1146527.6085
102 | 2552865.3837 | 1146532.7134
103 | 2552841.2765 | 1146749.3181

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1