## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5883-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5883-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5883-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5883-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5883-3_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5883-3_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5883-3_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5883-3_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5883-3_0_6_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_5883-3_0_6_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_5883-3_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5883-3_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5883-3_0_6_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_5883-3_0_6_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5883-3_0_6_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5883-3_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_5883-3_0_6_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_5883-3_0_6_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_5883-3_0_6_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_5883-3_0_6_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_5883-3_0_6_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_5883-3_0_6_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_5883-3_0_6_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_5883-3_0_6_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_5883-3_0_6_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_5883-3_0_6_node_75 | 0.4 | n |  | TRUE
26 | bus_LV_5883-3_0_6_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_5883-3_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_5883-3_0_6_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_5883-3_0_6_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_5883-3_0_6_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_5883-3_0_6_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_5883-3_0_6_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5883-3_0_6_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_5883-3_0_6_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_5883-3_0_6_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_5883-3_0_6_node_116 | 0.4 | n |  | TRUE
37 | bus_LV_5883-3_0_6_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_5883-3_0_6_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_5883-3_0_6_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_5883-3_0_6_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_5883-3_0_6_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5883-3_0_6_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_5883-3_0_6_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_5883-3_0_6_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_5883-3_0_6_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_5883-3_0_6_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_5883-3_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_5883-3_0_6_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_5883-3_0_6_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_5883-3_0_6_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_5883-3_0_6_node_98 | 0.4 | n |  | TRUE
52 | bus_LV_5883-3_0_6_node_99 | 0.4 | n |  | TRUE
53 | bus_LV_5883-3_0_6_node_100 | 0.4 | n |  | TRUE
54 | bus_LV_5883-3_0_6_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_5883-3_0_6_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_5883-3_0_6_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_5883-3_0_6_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_5883-3_0_6_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_5883-3_0_6_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_5883-3_0_6_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_5883-3_0_6_node_108 | 0.4 | n |  | TRUE
62 | bus_LV_5883-3_0_6_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_5883-3_0_6_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5883-3_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_5883-3_0_6_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_5883-3_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_5883-3_0_6_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5883-3_0_6_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_5883-3_0_6_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_5883-3_0_6_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_5883-3_0_6_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_5883-3_0_6_node_109 | 0.4 | n |  | TRUE
73 | bus_LV_5883-3_0_6_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_5883-3_0_6_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_5883-3_0_6_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_5883-3_0_6_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_5883-3_0_6_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_5883-3_0_6_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_5883-3_0_6_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_5883-3_0_6_node_90 | 0.4 | n |  | TRUE
81 | bus_LV_5883-3_0_6_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_5883-3_0_6_node_89 | 0.4 | n |  | TRUE
83 | bus_LV_5883-3_0_6_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_5883-3_0_6_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_5883-3_0_6_node_115 | 0.4 | n |  | TRUE
86 | bus_LV_5883-3_0_6_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_5883-3_0_6_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_5883-3_0_6_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_5883-3_0_6_node_114 | 0.4 | n |  | TRUE
90 | bus_LV_5883-3_0_6_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_5883-3_0_6_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_5883-3_0_6_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_5883-3_0_6_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_5883-3_0_6_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_5883-3_0_6_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_5883-3_0_6_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_5883-3_0_6_node_106 | 0.4 | n |  | TRUE
98 | bus_LV_5883-3_0_6_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_5883-3_0_6_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_5883-3_0_6_node_95 | 0.4 | n |  | TRUE
101 | bus_LV_5883-3_0_6_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_5883-3_0_6_node_97 | 0.4 | n |  | TRUE
103 | bus_LV_5883-3_0_6_node_101 | 0.4 | n |  | TRUE
104 | bus_LV_5883-3_0_6_node_102 | 0.4 | n |  | TRUE
105 | bus_LV_5883-3_0_6_node_110 | 0.4 | n |  | TRUE
106 | bus_LV_5883-3_0_6_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_5883-3_0_6_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_5883-3_0_6_node_111 | 0.4 | n |  | TRUE
109 | bus_LV_5883-3_0_6_node_112 | 0.4 | n |  | TRUE
110 | bus_LV_5883-3_0_6_node_113 | 0.4 | n |  | TRUE
111 | bus_MV_263_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5883-3_0_6_load_0 | 0 | 0.0032433 | 0.00081284 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5883-3_0_6_load_1 | 1 | 0.0046468 | 0.0011646 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5883-3_0_6_load_5 | 5 | 0.0039219 | 0.00098292 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5883-3_0_6_load_6 | 6 | 0.00092268 | 0.00023125 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5883-3_0_6_load_7 | 7 | 0.0040337 | 0.0010109 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5883-3_0_6_load_10 | 8 | 0.0026031 | 0.0006524 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5883-3_0_6_load_16 | 9 | 0.0037118 | 0.00093025 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5883-3_0_6_load_8 | 10 | 0.0047869 | 0.0011997 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5883-3_0_6_load_9 | 11 | 0.0022629 | 0.00056714 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5883-3_0_6_load_17 | 12 | 0.004763 | 0.0011937 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5883-3_0_6_load_12 | 13 | 0.0042227 | 0.0010583 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5883-3_0_6_load_13 | 14 | 0.0033154 | 0.00083092 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5883-3_0_6_load_15 | 15 | 0.0040522 | 0.0010156 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5883-3_0_6_load_18 | 16 | 0.0057979 | 0.0014531 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5883-3_0_6_load_19 | 17 | 0.0041106 | 0.0010302 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5883-3_0_6_load_29 | 18 | 0.0033704 | 0.0008447 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5883-3_0_6_load_26 | 19 | 0.0047452 | 0.0011893 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5883-3_0_6_load_20 | 20 | 0.0058705 | 0.0014713 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5883-3_0_6_load_24 | 22 | 0.0060292 | 0.001511 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5883-3_0_6_load_75 | 25 | 0.0037422 | 0.00093789 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5883-3_0_6_load_22 | 27 | 0.0068211 | 0.0017095 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5883-3_0_6_load_34 | 29 | 0.0027657 | 0.00069315 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5883-3_0_6_load_36 | 30 | 0.0010191 | 0.00025542 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5883-3_0_6_load_33 | 31 | 0.0028429 | 0.0007125 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5883-3_0_6_load_27 | 32 | 0.026635 | 0.0066753 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5883-3_0_6_load_116 | 36 | 0.0020779 | 0.00052076 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5883-3_0_6_load_47 | 38 | 0.0066793 | 0.001674 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5883-3_0_6_load_45 | 39 | 0.0096235 | 0.0024119 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5883-3_0_6_load_31 | 40 | 0.0012612 | 0.00031608 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5883-3_0_6_load_32 | 41 | 0.0061478 | 0.0015408 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5883-3_0_6_load_43 | 42 | 0.0026705 | 0.0006693 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5883-3_0_6_load_41 | 43 | 0.0061026 | 0.0015295 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5883-3_0_6_load_44 | 44 | 0.0039403 | 0.00098752 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5883-3_0_6_load_37 | 45 | 0.0011759 | 0.0002947 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5883-3_0_6_load_38 | 46 | 0.0017489 | 0.00043832 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5883-3_0_6_load_39 | 47 | 0.011206 | 0.0028085 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5883-3_0_6_load_92 | 48 | 0.016512 | 0.0041384 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5883-3_0_6_load_91 | 49 | 0.021882 | 0.005484 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5883-3_0_6_load_48 | 50 | 0.0061351 | 0.0015376 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5883-3_0_6_load_99 | 52 | 0.0052887 | 0.0013255 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5883-3_0_6_load_100 | 53 | 0.0065612 | 0.0016444 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5883-3_0_6_load_49 | 54 | 0.0092166 | 0.0023099 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5883-3_0_6_load_51 | 56 | 0.0026408 | 0.00066185 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5883-3_0_6_load_52 | 57 | 0.0056433 | 0.0014143 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5883-3_0_6_load_73 | 58 | 0.0009122 | 0.00022862 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5883-3_0_6_load_108 | 61 | 0.0037907 | 0.00095003 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5883-3_0_6_load_53 | 63 | 0.0047418 | 0.0011884 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5883-3_0_6_load_54 | 64 | 0.0045702 | 0.0011454 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5883-3_0_6_load_55 | 65 | 0.0088216 | 0.0022109 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5883-3_0_6_load_56 | 66 | 0.012902 | 0.0032337 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5883-3_0_6_load_62 | 67 | 0.0019158 | 0.00048013 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5883-3_0_6_load_57 | 68 | 0.0032803 | 0.00082212 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5883-3_0_6_load_58 | 69 | 0.0036771 | 0.00092157 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5883-3_0_6_load_60 | 70 | 0.0059577 | 0.0014931 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5883-3_0_6_load_63 | 71 | 0.016938 | 0.004245 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5883-3_0_6_load_64 | 73 | 0.0047611 | 0.0011932 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5883-3_0_6_load_65 | 74 | 0.0062879 | 0.0015759 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5883-3_0_6_load_67 | 76 | 0.0065753 | 0.0016479 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5883-3_0_6_load_68 | 77 | 0.0055856 | 0.0013999 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5883-3_0_6_load_69 | 78 | 0.0080885 | 0.0020272 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5883-3_0_6_load_70 | 79 | 0.0033889 | 0.00084933 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5883-3_0_6_load_90 | 80 | 0.0027402 | 0.00068676 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5883-3_0_6_load_71 | 81 | 0.0033826 | 0.00084775 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5883-3_0_6_load_89 | 82 | 0.0024912 | 0.00062435 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5883-3_0_6_load_76 | 83 | 0.0034489 | 0.00086437 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5883-3_0_6_load_115 | 85 | 0.002843 | 0.00071251 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5883-3_0_6_load_78 | 88 | 0.0032549 | 0.00081576 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5883-3_0_6_load_114 | 89 | 0.0014985 | 0.00037556 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5883-3_0_6_load_85 | 91 | 0.0026261 | 0.00065815 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5883-3_0_6_load_81 | 92 | 0.0032088 | 0.0008042 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5883-3_0_6_load_82 | 93 | 0.0014376 | 0.00036031 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5883-3_0_6_load_87 | 95 | 0.0043079 | 0.0010797 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5883-3_0_6_load_88 | 96 | 0.0035217 | 0.00088262 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5883-3_0_6_load_106 | 97 | 0.0028567 | 0.00071596 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5883-3_0_6_load_94 | 99 | 0.039468 | 0.0098916 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5883-3_0_6_load_95 | 100 | 0.0024266 | 0.00060817 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5883-3_0_6_load_96 | 101 | 0.0039413 | 0.00098778 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5883-3_0_6_load_97 | 102 | 0.0029931 | 0.00075013 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5883-3_0_6_load_102 | 104 | 0.0034445 | 0.00086328 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5883-3_0_6_load_110 | 105 | 0.0064939 | 0.0016275 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5883-3_0_6_load_103 | 106 | 0.0021192 | 0.00053113 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5883-3_0_6_load_104 | 107 | 0.016551 | 0.004148 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5883-3_0_6_load_112 | 109 | 0.0049196 | 0.001233 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5883-3_0_6_load_113 | 110 | 0.0012688 | 0.00031799 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5883-3_0_6_line_0 |  | 0 | 1 | 0.022066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5883-3_0_6_line_1 |  | 0 | 2 | 0.011227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5883-3_0_6_line_2 |  | 1 | 3 | 0.035537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5883-3_0_6_line_3 |  | 2 | 4 | 0.061501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5883-3_0_6_line_4 |  | 3 | 5 | 0.022556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5883-3_0_6_line_5 |  | 3 | 6 | 0.011066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5883-3_0_6_line_6 |  | 4 | 7 | 0.0064522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5883-3_0_6_line_7 |  | 5 | 8 | 0.04155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5883-3_0_6_line_8 |  | 6 | 9 | 0.040161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5883-3_0_6_line_9 |  | 7 | 10 | 0.039195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5883-3_0_6_line_10 |  | 8 | 11 | 0.0021516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5883-3_0_6_line_11 |  | 9 | 12 | 0.034168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5883-3_0_6_line_12 |  | 12 | 18 | 0.010186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5883-3_0_6_line_13 |  | 12 | 19 | 0.057956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5883-3_0_6_line_14 |  | 13 | 14 | 0.022179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5883-3_0_6_line_15 |  | 14 | 15 | 0.026519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5883-3_0_6_line_16 |  | 15 | 16 | 0.026316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5883-3_0_6_line_17 |  | 16 | 17 | 0.027539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5883-3_0_6_line_18 |  | 17 | 25 | 0.024534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5883-3_0_6_line_19 |  | 18 | 24 | 0.028356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5883-3_0_6_line_20 |  | 19 | 22 | 0.050106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5883-3_0_6_line_21 |  | 20 | 21 | 0.034324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5883-3_0_6_line_22 |  | 21 | 27 | 0.023277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5883-3_0_6_line_23 |  | 21 | 23 | 0.01768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5883-3_0_6_line_24 |  | 22 | 23 | 0.02602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5883-3_0_6_line_25 |  | 23 | 28 | 0.013402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5883-3_0_6_line_26 |  | 24 | 40 | 0.016537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5883-3_0_6_line_27 |  | 24 | 41 | 0.05139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5883-3_0_6_line_28 |  | 25 | 26 | 0.01454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5883-3_0_6_line_29 |  | 26 | 83 | 0.025429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5883-3_0_6_line_30 |  | 26 | 84 | 0.041237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5883-3_0_6_line_31 |  | 28 | 29 | 0.060897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5883-3_0_6_line_32 |  | 29 | 30 | 0.011188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5883-3_0_6_line_33 |  | 29 | 31 | 0.037598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5883-3_0_6_line_34 |  | 30 | 45 | 0.018486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5883-3_0_6_line_35 |  | 32 | 33 | 0.050826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5883-3_0_6_line_36 |  | 33 | 34 | 0.01761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5883-3_0_6_line_37 |  | 33 | 35 | 0.023053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5883-3_0_6_line_38 |  | 34 | 36 | 0.024395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5883-3_0_6_line_39 |  | 34 | 37 | 0.029769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5883-3_0_6_line_40 |  | 35 | 38 | 0.0037776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5883-3_0_6_line_41 |  | 35 | 39 | 0.06364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5883-3_0_6_line_42 |  | 37 | 43 | 0.029127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5883-3_0_6_line_43 |  | 37 | 40 | 0.041019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5883-3_0_6_line_44 |  | 38 | 51 | 0.027761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5883-3_0_6_line_45 |  | 41 | 42 | 0.0019009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5883-3_0_6_line_46 |  | 42 | 44 | 0.0067685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5883-3_0_6_line_47 |  | 43 | 50 | 0.0074581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5883-3_0_6_line_48 |  | 45 | 46 | 0.038436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5883-3_0_6_line_49 |  | 46 | 47 | 0.022583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5883-3_0_6_line_50 |  | 47 | 48 | 0.0014704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5883-3_0_6_line_51 |  | 48 | 49 | 0.032399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5883-3_0_6_line_52 |  | 49 | 98 | 0.048999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5883-3_0_6_line_53 |  | 51 | 52 | 0.069552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5883-3_0_6_line_54 |  | 51 | 53 | 0.01738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5883-3_0_6_line_55 |  | 53 | 72 | 0.017613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5883-3_0_6_line_56 |  | 54 | 55 | 0.071287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5883-3_0_6_line_57 |  | 55 | 56 | 0.031881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5883-3_0_6_line_58 |  | 55 | 57 | 0.010629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5883-3_0_6_line_59 |  | 56 | 58 | 0.020237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5883-3_0_6_line_60 |  | 57 | 59 | 0.022532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5883-3_0_6_line_61 |  | 58 | 60 | 0.013654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5883-3_0_6_line_62 |  | 59 | 61 | 0.0089277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_5883-3_0_6_line_63 |  | 59 | 62 | 0.014671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5883-3_0_6_line_64 |  | 60 | 81 | 0.047267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_5883-3_0_6_line_65 |  | 61 | 72 | 0.037113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_5883-3_0_6_line_66 |  | 62 | 67 | 0.00047841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5883-3_0_6_line_67 |  | 62 | 68 | 0.021705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5883-3_0_6_line_68 |  | 63 | 64 | 0.0056285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5883-3_0_6_line_69 |  | 63 | 65 | 0.0094569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5883-3_0_6_line_70 |  | 64 | 66 | 0.025173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5883-3_0_6_line_71 |  | 66 | 67 | 0.050151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5883-3_0_6_line_72 |  | 68 | 69 | 0.020194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5883-3_0_6_line_73 |  | 69 | 70 | 0.016553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5883-3_0_6_line_74 |  | 70 | 71 | 0.017568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5883-3_0_6_line_75 |  | 72 | 105 | 0.034439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5883-3_0_6_line_76 |  | 73 | 74 | 0.024708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5883-3_0_6_line_77 |  | 73 | 75 | 0.015786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5883-3_0_6_line_78 |  | 74 | 76 | 0.027295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_5883-3_0_6_line_79 |  | 75 | 77 | 0.0029478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5883-3_0_6_line_80 |  | 75 | 78 | 0.051869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5883-3_0_6_line_81 |  | 76 | 79 | 0.025182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_5883-3_0_6_line_82 |  | 78 | 80 | 0.034721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5883-3_0_6_line_83 |  | 79 | 81 | 0.027217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_5883-3_0_6_line_84 |  | 80 | 82 | 0.0036274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5883-3_0_6_line_85 |  | 82 | 95 | 0.03773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5883-3_0_6_line_86 |  | 84 | 85 | 0.033207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5883-3_0_6_line_87 |  | 84 | 86 | 0.0147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5883-3_0_6_line_88 |  | 86 | 87 | 0.00402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5883-3_0_6_line_89 |  | 86 | 88 | 0.027436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5883-3_0_6_line_90 |  | 87 | 89 | 0.013521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5883-3_0_6_line_91 |  | 87 | 90 | 0.009642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5883-3_0_6_line_92 |  | 90 | 91 | 0.0092304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5883-3_0_6_line_93 |  | 90 | 92 | 0.016482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5883-3_0_6_line_94 |  | 91 | 94 | 0.014624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5883-3_0_6_line_95 |  | 92 | 93 | 0.030331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5883-3_0_6_line_96 |  | 94 | 95 | 0.022518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5883-3_0_6_line_97 |  | 94 | 96 | 0.028228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5883-3_0_6_line_98 |  | 96 | 97 | 0.028569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5883-3_0_6_line_99 |  | 98 | 99 | 0.029965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_5883-3_0_6_line_100 |  | 99 | 100 | 0.067247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_5883-3_0_6_line_101 |  | 100 | 101 | 0.0049702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_5883-3_0_6_line_102 |  | 101 | 102 | 0.010558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_5883-3_0_6_line_103 |  | 102 | 103 | 0.052481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_5883-3_0_6_line_104 |  | 103 | 104 | 0.051117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5883-3_0_6_line_105 |  | 104 | 106 | 0.0027964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5883-3_0_6_line_106 |  | 105 | 108 | 0.016658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5883-3_0_6_line_107 |  | 106 | 107 | 0.011324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5883-3_0_6_line_108 |  | 108 | 109 | 0.011014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5883-3_0_6_line_109 |  | 108 | 110 | 0.017806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5883-3_0_6_trafo_47 | 0.63 MVA 20/0.4 kV | 111 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2553203.0074 | 1146724.1128 | 2553224.4161 | 1146718.7665
1 | 2553192.1148 | 1146726.8329 | 2553203.0074 | 1146724.1128
2 | 2553259.4154 | 1146712.9469 | 2553235.9497 | 1146715.8863 | 2553224.4161 | 1146718.7665
3 | 2553192.1148 | 1146726.8329 | 2553191.5246 | 1146735.8644 | 2553193.3779 | 1146745.0325 | 2553198.2376 | 1146748.6744 | 2553235.0739 | 1146753.3903
4 | 2553259.4154 | 1146712.9469 | 2553270.5912 | 1146711.9484 | 2553281.925 | 1146712.1518
5 | 2553259.4154 | 1146712.9469 | 2553259.2192 | 1146701.883
6 | 2553235.0739 | 1146753.3903 | 2553241.4774 | 1146754.1815
7 | 2553281.925 | 1146712.1518 | 2553308.633 | 1146712.6312 | 2553323.4046 | 1146711.2315
8 | 2553278.5717 | 1146667.9819 | 2553271.863 | 1146677.9209 | 2553264.8012 | 1146688.4257 | 2553260.5748 | 1146692.1382 | 2553259.1692 | 1146699.0638 | 2553259.2192 | 1146701.883
9 | 2553241.4774 | 1146754.1815 | 2553280.3765 | 1146758.988
10 | 2553325.5465 | 1146711.0286 | 2553323.4046 | 1146711.2315
11 | 2553306.2536 | 1146651.2084 | 2553294.1229 | 1146660.15 | 2553289.5603 | 1146666.0662 | 2553281.6247 | 1146665.9389 | 2553278.6897 | 1146667.8071 | 2553278.5717 | 1146667.9819
12 | 2553306.2536 | 1146651.2084 | 2553314.4531 | 1146645.1645
13 | 2553306.2536 | 1146651.2084 | 2553267.961 | 1146607.7045
14 | 2553423.3011 | 1146750.6359 | 2553444.6287 | 1146744.5481
15 | 2553444.6287 | 1146744.5481 | 2553468.8836 | 1146737.6246 | 2553470.1271 | 1146737.2627
16 | 2553495.3949 | 1146729.909 | 2553470.1271 | 1146737.2627
17 | 2553495.3949 | 1146729.909 | 2553521.8372 | 1146722.2134
18 | 2553545.3936 | 1146715.3577 | 2553521.8372 | 1146722.2134
19 | 2553338.1371 | 1146629.6593 | 2553326.3909 | 1146636.365 | 2553314.4531 | 1146645.1645
20 | 2553219.1942 | 1146619.2135 | 2553267.961 | 1146607.7045
21 | 2553191.8428 | 1146633.6757 | 2553216.1513 | 1146641.2906 | 2553224.9758 | 1146641.9765
22 | 2553191.8428 | 1146633.6757 | 2553168.571 | 1146633.1597
23 | 2553193.3648 | 1146616.0659 | 2553191.8428 | 1146633.6757
24 | 2553193.3648 | 1146616.0659 | 2553219.1942 | 1146619.2135
25 | 2553193.3648 | 1146616.0659 | 2553194.5129 | 1146602.7167
26 | 2553338.1371 | 1146629.6593 | 2553349.7479 | 1146628.2796 | 2553354.5922 | 1146628.2033
27 | 2553338.1371 | 1146629.6593 | 2553341.1409 | 1146650.5134 | 2553344.1958 | 1146664.0857 | 2553360.6051 | 1146664.082
28 | 2553558.9852 | 1146710.2364 | 2553549.1308 | 1146714.2701 | 2553545.3936 | 1146715.3577
29 | 2553558.9852 | 1146710.2364 | 2553558.214 | 1146722.771 | 2553556.6639 | 1146735.5477
30 | 2553597.3798 | 1146694.9433 | 2553580.1927 | 1146702.313 | 2553558.9852 | 1146710.2364
31 | 2553179.4419 | 1146543.714 | 2553194.5129 | 1146602.7167
32 | 2553179.4419 | 1146543.714 | 2553180.2336 | 1146543.5305 | 2553190.2863 | 1146540.9649
33 | 2553142.5841 | 1146551.0372 | 2553148.9839 | 1146550.1217 | 2553162.4606 | 1146547.6488 | 2553179.4419 | 1146543.714
34 | 2553208.1981 | 1146536.3935 | 2553190.2863 | 1146540.9649
35 | 2553417.2093 | 1146585.3902 | 2553367.9047 | 1146597.7308
36 | 2553417.2093 | 1146585.3902 | 2553409.7671 | 1146601.3561
37 | 2553439.865 | 1146580.9348 | 2553427.8731 | 1146582.7174 | 2553417.2093 | 1146585.3902
38 | 2553409.7671 | 1146601.3561 | 2553385.7456 | 1146605.9891
39 | 2553409.7671 | 1146601.3561 | 2553395.6064 | 1146627.5571
40 | 2553439.865 | 1146580.9348 | 2553443.601 | 1146580.375
41 | 2553439.865 | 1146580.9348 | 2553438.9056 | 1146624.6648 | 2553458.7777 | 1146625.7025
42 | 2553395.6064 | 1146627.5571 | 2553397.962 | 1146630.2069 | 2553423.5276 | 1146631.1214
43 | 2553395.6064 | 1146627.5571 | 2553354.5922 | 1146628.2033
44 | 2553470.3283 | 1146572.9505 | 2553446.2024 | 1146579.9852 | 2553443.601 | 1146580.375
45 | 2553360.6051 | 1146664.082 | 2553362.506 | 1146664.0816
46 | 2553369.2745 | 1146664.0801 | 2553362.506 | 1146664.0816
47 | 2553430.9809 | 1146631.3879 | 2553423.5276 | 1146631.1214
48 | 2553208.1981 | 1146536.3935 | 2553244.7509 | 1146527.0646 | 2553245.446 | 1146526.9123
49 | 2553267.7186 | 1146523.3808 | 2553263.3136 | 1146523.7298 | 2553254.7963 | 1146524.8632 | 2553245.446 | 1146526.9123
50 | 2553269.1844 | 1146523.2647 | 2553267.7186 | 1146523.3808
51 | 2553301.5611 | 1146522.1391 | 2553281.3565 | 1146522.6891 | 2553271.4047 | 1146523.0888 | 2553269.1844 | 1146523.2647
52 | 2553350.5426 | 1146520.8179 | 2553326.4975 | 1146521.4603 | 2553301.5611 | 1146522.1391
53 | 2553470.3283 | 1146572.9505 | 2553483.6993 | 1146641.1935
54 | 2553470.3283 | 1146572.9505 | 2553487.0118 | 1146568.0785
55 | 2553503.9192 | 1146563.1412 | 2553487.0118 | 1146568.0785
56 | 2553549.9741 | 1146583.8072 | 2553595.2858 | 1146579.8777 | 2553577.499 | 1146598.574
57 | 2553549.9741 | 1146583.8072 | 2553555.6644 | 1146615.1765
58 | 2553549.9741 | 1146583.8072 | 2553549.3719 | 1146573.1952
59 | 2553561.4269 | 1146634.5074 | 2553559.4523 | 1146629.5021 | 2553558.2626 | 1146626.6432 | 2553555.9992 | 1146617.0223 | 2553555.6644 | 1146615.1765
60 | 2553548.2434 | 1146550.6924 | 2553548.5869 | 1146559.3609 | 2553549.3719 | 1146573.1952
61 | 2553566.2797 | 1146647.2697 | 2553562.1238 | 1146636.2739 | 2553561.4269 | 1146634.5074
62 | 2553548.2434 | 1146550.6924 | 2553539.6367 | 1146553.0649
63 | 2553562.085 | 1146545.7163 | 2553548.2434 | 1146550.6924
64 | 2553566.2797 | 1146647.2697 | 2553605.038 | 1146627.2825 | 2553608.2828 | 1146625.5917
65 | 2553503.9192 | 1146563.1412 | 2553518.4117 | 1146558.9159 | 2553539.6367 | 1146553.0649
66 | 2553562.5395 | 1146545.5669 | 2553562.085 | 1146545.7163
67 | 2553562.085 | 1146545.7163 | 2553566.0105 | 1146567.0629
68 | 2553637.5608 | 1146515.3774 | 2553632.522 | 1146517.8856
69 | 2553637.5608 | 1146515.3774 | 2553642.2862 | 1146513.0252 | 2553645.7966 | 1146510.7588
70 | 2553632.522 | 1146517.8856 | 2553624.3654 | 1146521.9457 | 2553609.4666 | 1146527.9472
71 | 2553562.5395 | 1146545.5669 | 2553579.8527 | 1146539.8761 | 2553609.4666 | 1146527.9472
72 | 2553566.0105 | 1146567.0629 | 2553567.0721 | 1146572.8362 | 2553581.2645 | 1146570.9032
73 | 2553581.2645 | 1146570.9032 | 2553593.9818 | 1146569.1711 | 2553597.4386 | 1146567.8006
74 | 2553613.7695 | 1146561.3256 | 2553597.4386 | 1146567.8006
75 | 2553503.9192 | 1146563.1412 | 2553510.7911 | 1146596.8872
76 | 2553683.0648 | 1146558.1483 | 2553681.7331 | 1146562.3468 | 2553679.9726 | 1146567.1407 | 2553677.3342 | 1146572.6305 | 2553672.4823 | 1146580.3351
77 | 2553687.8373 | 1146543.101 | 2553683.0648 | 1146558.1483
78 | 2553672.4823 | 1146580.3351 | 2553671.0662 | 1146582.5839 | 2553663.1079 | 1146592.4725 | 2553656.2423 | 1146598.6286 | 2553654.0423 | 1146600.2336
79 | 2553687.8373 | 1146543.101 | 2553688.9576 | 1146540.3744
80 | 2553687.8373 | 1146543.101 | 2553692.8222 | 1146547.0536 | 2553700.2423 | 1146560.0254 | 2553701.6943 | 1146568.0406 | 2553701.6877 | 1146583.1373 | 2553701.1654 | 1146590.4397
81 | 2553654.0423 | 1146600.2336 | 2553646.7862 | 1146605.5272 | 2553632.4195 | 1146613.0138
82 | 2553701.1654 | 1146590.4397 | 2553700.7307 | 1146596.5183 | 2553698.2217 | 1146602.852 | 2553684.6617 | 1146619.9402
83 | 2553632.4195 | 1146613.0138 | 2553608.2828 | 1146625.5917
84 | 2553682.4069 | 1146622.7817 | 2553684.6617 | 1146619.9402
85 | 2553657.1585 | 1146650.7443 | 2553661.3093 | 1146647.1369 | 2553678.1536 | 1146628.1418 | 2553682.4069 | 1146622.7817
86 | 2553597.3798 | 1146694.9433 | 2553597.7629 | 1146701.7883 | 2553598.5561 | 1146707.0293 | 2553600.3711 | 1146710.3059 | 2553601.7047 | 1146712.9192 | 2553602.6768 | 1146716.4691 | 2553603.0358 | 1146727.1496
87 | 2553610.463 | 1146688.2834 | 2553605.7858 | 1146691.3432 | 2553597.3798 | 1146694.9433
88 | 2553613.8333 | 1146686.0785 | 2553610.463 | 1146688.2834
89 | 2553610.463 | 1146688.2834 | 2553607.8866 | 1146685.8798 | 2553605.6319 | 1146685.3302 | 2553602.064 | 1146685.8246 | 2553585.1024 | 1146691.8193
90 | 2553613.8333 | 1146686.0785 | 2553621.745 | 1146697.0565
91 | 2553613.8333 | 1146686.0785 | 2553621.9191 | 1146680.7911
92 | 2553621.9191 | 1146680.7911 | 2553629.1896 | 1146675.1043
93 | 2553621.9191 | 1146680.7911 | 2553630.2926 | 1146691.899 | 2553631.8384 | 1146693.9542
94 | 2553640.7089 | 1146666.0943 | 2553629.1896 | 1146675.1043
95 | 2553631.8384 | 1146693.9542 | 2553640.5677 | 1146705.5602 | 2553641.3876 | 1146711.2902 | 2553642.1641 | 1146721.2799
96 | 2553640.7089 | 1146666.0943 | 2553647.4228 | 1146659.2056 | 2553657.1585 | 1146650.7443
97 | 2553640.7089 | 1146666.0943 | 2553646.9377 | 1146674.9953 | 2553657.573 | 1146677.5925 | 2553663.7822 | 1146675.9774
98 | 2553691.4329 | 1146668.7937 | 2553683.2071 | 1146670.925 | 2553663.7822 | 1146675.9774
99 | 2553350.5426 | 1146520.8179 | 2553380.4959 | 1146519.9961
100 | 2553447.7176 | 1146518.152 | 2553380.4959 | 1146519.9961
101 | 2553447.7176 | 1146518.152 | 2553452.6859 | 1146518.0157
102 | 2553463.24 | 1146517.7261 | 2553452.6859 | 1146518.0157
103 | 2553515.6729 | 1146515.6481 | 2553506.9427 | 1146516.0824 | 2553497.6995 | 1146516.7431 | 2553479.3993 | 1146517.2849 | 2553469.6999 | 1146517.5489 | 2553463.24 | 1146517.7261
104 | 2553515.6729 | 1146515.6481 | 2553510.1626 | 1146489.4438 | 2553502.0158 | 1146466.5078
105 | 2553502.0158 | 1146466.5078 | 2553501.0798 | 1146463.8727
106 | 2553514.1152 | 1146613.2105 | 2553510.7911 | 1146596.8872
107 | 2553503.3398 | 1146453.9251 | 2553499.5855 | 1146459.6657 | 2553501.0798 | 1146463.8727
108 | 2553514.1152 | 1146613.2105 | 2553503.4451 | 1146616.0611
109 | 2553514.1152 | 1146613.2105 | 2553510.1246 | 1146630.5615

## bus_geodata
| x | y | coords
0 | 2553203.0074 | 1146724.1128
1 | 2553224.4161 | 1146718.7665
2 | 2553192.1148 | 1146726.8329
3 | 2553259.4154 | 1146712.9469
4 | 2553235.0739 | 1146753.3903
5 | 2553281.925 | 1146712.1518
6 | 2553259.2192 | 1146701.883
7 | 2553241.4774 | 1146754.1815
8 | 2553323.4046 | 1146711.2315
9 | 2553278.5717 | 1146667.9819
10 | 2553280.3765 | 1146758.988
11 | 2553325.5465 | 1146711.0286
12 | 2553306.2536 | 1146651.2084
13 | 2553423.3011 | 1146750.6359
14 | 2553444.6287 | 1146744.5481
15 | 2553470.1271 | 1146737.2627
16 | 2553495.3949 | 1146729.909
17 | 2553521.8372 | 1146722.2134
18 | 2553314.4531 | 1146645.1645
19 | 2553267.961 | 1146607.7045
20 | 2553224.9758 | 1146641.9765
21 | 2553191.8428 | 1146633.6757
22 | 2553219.1942 | 1146619.2135
23 | 2553193.3648 | 1146616.0659
24 | 2553338.1371 | 1146629.6593
25 | 2553545.3936 | 1146715.3577
26 | 2553558.9852 | 1146710.2364
27 | 2553168.571 | 1146633.1597
28 | 2553194.5129 | 1146602.7167
29 | 2553179.4419 | 1146543.714
30 | 2553190.2863 | 1146540.9649
31 | 2553142.5841 | 1146551.0372
32 | 2553367.9047 | 1146597.7308
33 | 2553417.2093 | 1146585.3902
34 | 2553409.7671 | 1146601.3561
35 | 2553439.865 | 1146580.9348
36 | 2553385.7456 | 1146605.9891
37 | 2553395.6064 | 1146627.5571
38 | 2553443.601 | 1146580.375
39 | 2553458.7777 | 1146625.7025
40 | 2553354.5922 | 1146628.2033
41 | 2553360.6051 | 1146664.082
42 | 2553362.506 | 1146664.0816
43 | 2553423.5276 | 1146631.1214
44 | 2553369.2745 | 1146664.0801
45 | 2553208.1981 | 1146536.3935
46 | 2553245.446 | 1146526.9123
47 | 2553267.7186 | 1146523.3808
48 | 2553269.1844 | 1146523.2647
49 | 2553301.5611 | 1146522.1391
50 | 2553430.9809 | 1146631.3879
51 | 2553470.3283 | 1146572.9505
52 | 2553483.6993 | 1146641.1935
53 | 2553487.0118 | 1146568.0785
54 | 2553577.499 | 1146598.574
55 | 2553549.9741 | 1146583.8072
56 | 2553555.6644 | 1146615.1765
57 | 2553549.3719 | 1146573.1952
58 | 2553561.4269 | 1146634.5074
59 | 2553548.2434 | 1146550.6924
60 | 2553566.2797 | 1146647.2697
61 | 2553539.6367 | 1146553.0649
62 | 2553562.085 | 1146545.7163
63 | 2553637.5608 | 1146515.3774
64 | 2553632.522 | 1146517.8856
65 | 2553645.7966 | 1146510.7588
66 | 2553609.4666 | 1146527.9472
67 | 2553562.5395 | 1146545.5669
68 | 2553566.0105 | 1146567.0629
69 | 2553581.2645 | 1146570.9032
70 | 2553597.4386 | 1146567.8006
71 | 2553613.7695 | 1146561.3256
72 | 2553503.9192 | 1146563.1412
73 | 2553683.0648 | 1146558.1483
74 | 2553672.4823 | 1146580.3351
75 | 2553687.8373 | 1146543.101
76 | 2553654.0423 | 1146600.2336
77 | 2553688.9576 | 1146540.3744
78 | 2553701.1654 | 1146590.4397
79 | 2553632.4195 | 1146613.0138
80 | 2553684.6617 | 1146619.9402
81 | 2553608.2828 | 1146625.5917
82 | 2553682.4069 | 1146622.7817
83 | 2553556.6639 | 1146735.5477
84 | 2553597.3798 | 1146694.9433
85 | 2553603.0358 | 1146727.1496
86 | 2553610.463 | 1146688.2834
87 | 2553613.8333 | 1146686.0785
88 | 2553585.1024 | 1146691.8193
89 | 2553621.745 | 1146697.0565
90 | 2553621.9191 | 1146680.7911
91 | 2553629.1896 | 1146675.1043
92 | 2553631.8384 | 1146693.9542
93 | 2553642.1641 | 1146721.2799
94 | 2553640.7089 | 1146666.0943
95 | 2553657.1585 | 1146650.7443
96 | 2553663.7822 | 1146675.9774
97 | 2553691.4329 | 1146668.7937
98 | 2553350.5426 | 1146520.8179
99 | 2553380.4959 | 1146519.9961
100 | 2553447.7176 | 1146518.152
101 | 2553452.6859 | 1146518.0157
102 | 2553463.24 | 1146517.7261
103 | 2553515.6729 | 1146515.6481
104 | 2553502.0158 | 1146466.5078
105 | 2553510.7911 | 1146596.8872
106 | 2553501.0798 | 1146463.8727
107 | 2553503.3398 | 1146453.9251
108 | 2553514.1152 | 1146613.2105
109 | 2553503.4451 | 1146616.0611
110 | 2553510.1246 | 1146630.5615
111 | 2553439.865 | 1146580.9348

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1