## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5884-6_1_4_node_15 | 0.4 | n |  | TRUE
1 | bus_LV_5884-6_1_4_node_16 | 0.4 | n |  | TRUE
2 | bus_LV_5884-6_1_4_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_5884-6_1_4_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_5884-6_1_4_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_5884-6_1_4_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_5884-6_1_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_5884-6_1_4_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_5884-6_1_4_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_5884-6_1_4_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_5884-6_1_4_node_124 | 0.4 | n |  | TRUE
11 | bus_LV_5884-6_1_4_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_5884-6_1_4_node_113 | 0.4 | n |  | TRUE
13 | bus_LV_5884-6_1_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_5884-6_1_4_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_5884-6_1_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_5884-6_1_4_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_5884-6_1_4_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_5884-6_1_4_node_101 | 0.4 | n |  | TRUE
19 | bus_LV_5884-6_1_4_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_5884-6_1_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_5884-6_1_4_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_5884-6_1_4_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_5884-6_1_4_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_5884-6_1_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_5884-6_1_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_5884-6_1_4_node_109 | 0.4 | n |  | TRUE
27 | bus_LV_5884-6_1_4_node_106 | 0.4 | n |  | TRUE
28 | bus_LV_5884-6_1_4_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_5884-6_1_4_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_5884-6_1_4_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_5884-6_1_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_5884-6_1_4_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_5884-6_1_4_node_121 | 0.4 | n |  | TRUE
34 | bus_LV_5884-6_1_4_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_5884-6_1_4_node_115 | 0.4 | n |  | TRUE
36 | bus_LV_5884-6_1_4_node_114 | 0.4 | n |  | TRUE
37 | bus_LV_5884-6_1_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_5884-6_1_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_5884-6_1_4_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_5884-6_1_4_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_5884-6_1_4_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_5884-6_1_4_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_5884-6_1_4_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_5884-6_1_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_5884-6_1_4_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_5884-6_1_4_node_102 | 0.4 | n |  | TRUE
47 | bus_LV_5884-6_1_4_node_103 | 0.4 | n |  | TRUE
48 | bus_LV_5884-6_1_4_node_104 | 0.4 | n |  | TRUE
49 | bus_LV_5884-6_1_4_node_105 | 0.4 | n |  | TRUE
50 | bus_LV_5884-6_1_4_node_112 | 0.4 | n |  | TRUE
51 | bus_LV_5884-6_1_4_node_107 | 0.4 | n |  | TRUE
52 | bus_LV_5884-6_1_4_node_108 | 0.4 | n |  | TRUE
53 | bus_LV_5884-6_1_4_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_5884-6_1_4_node_111 | 0.4 | n |  | TRUE
55 | bus_LV_5884-6_1_4_node_122 | 0.4 | n |  | TRUE
56 | bus_MV_37_1_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5884-6_1_4_load_15 | 0 | 0.0026607 | 0.00066683 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5884-6_1_4_load_16 | 1 | 0.011927 | 0.0029891 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5884-6_1_4_load_17 | 2 | 0.00044419 | 0.00011132 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5884-6_1_4_load_18 | 3 | 0.0010377 | 0.00026007 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5884-6_1_4_load_19 | 4 | 0.00071142 | 0.0001783 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5884-6_1_4_load_20 | 5 | 0.0007761 | 0.00019451 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5884-6_1_4_load_21 | 6 | 0.00143 | 0.00035838 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5884-6_1_4_load_26 | 7 | 0.0005917 | 0.00014829 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5884-6_1_4_load_124 | 10 | 0.0046157 | 0.0011568 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5884-6_1_4_load_113 | 12 | 0.050737 | 0.012716 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5884-6_1_4_load_25 | 13 | 0.001329 | 0.00033307 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5884-6_1_4_load_27 | 14 | 0.0016714 | 0.0004189 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5884-6_1_4_load_29 | 16 | 0.00043169 | 0.00010819 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5884-6_1_4_load_33 | 17 | 0.00033232 | 8.3287e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5884-6_1_4_load_101 | 18 | 0.00012973 | 3.2514e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5884-6_1_4_load_30 | 19 | 0.0051823 | 0.0012988 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5884-6_1_4_load_31 | 20 | 0.00042151 | 0.00010564 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5884-6_1_4_load_34 | 22 | 0.00022408 | 5.6159e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5884-6_1_4_load_35 | 23 | 0.070051 | 0.017556 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5884-6_1_4_load_109 | 26 | 0.035151 | 0.0088097 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5884-6_1_4_load_106 | 27 | 0.00041186 | 0.00010322 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5884-6_1_4_load_39 | 28 | 0.00021544 | 5.3994e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5884-6_1_4_load_41 | 30 | 0.00020708 | 5.19e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5884-6_1_4_load_121 | 33 | 0.00041964 | 0.00010517 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5884-6_1_4_load_115 | 35 | 0.00013529 | 3.3907e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5884-6_1_4_load_114 | 36 | 0.00017559 | 4.4007e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5884-6_1_4_load_44 | 37 | 9.6434e-05 | 2.4169e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5884-6_1_4_load_45 | 38 | 0.00012306 | 3.0842e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5884-6_1_4_load_47 | 39 | 0.00033287 | 8.3426e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5884-6_1_4_load_48 | 40 | 0.00092756 | 0.00023247 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5884-6_1_4_load_49 | 41 | 0.001282 | 0.00032129 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5884-6_1_4_load_50 | 42 | 0.0010988 | 0.0002754 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5884-6_1_4_load_52 | 44 | 0.0006655 | 0.00016679 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5884-6_1_4_load_53 | 45 | 0.00037575 | 9.4172e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5884-6_1_4_load_102 | 46 | 0.00034777 | 8.7159e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5884-6_1_4_load_103 | 47 | 0.00081556 | 0.0002044 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5884-6_1_4_load_104 | 48 | 0.00031159 | 7.8092e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5884-6_1_4_load_105 | 49 | 0.00070074 | 0.00017562 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5884-6_1_4_load_107 | 51 | 0.00034886 | 8.7432e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5884-6_1_4_load_108 | 52 | 0.00058452 | 0.00014649 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5884-6_1_4_load_110 | 53 | 0.0044477 | 0.0011147 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5884-6_1_4_load_122 | 55 | 0.00044235 | 0.00011086 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5884-6_1_4_line_0 |  | 0 | 1 | 0.012851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5884-6_1_4_line_1 |  | 0 | 2 | 0.0046157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5884-6_1_4_line_2 |  | 1 | 3 | 0.0057046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5884-6_1_4_line_3 |  | 2 | 4 | 0.0020341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5884-6_1_4_line_4 |  | 3 | 5 | 0.0097119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5884-6_1_4_line_5 |  | 4 | 6 | 0.017238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5884-6_1_4_line_6 |  | 5 | 7 | 0.019326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5884-6_1_4_line_7 |  | 6 | 8 | 0.10034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5884-6_1_4_line_8 |  | 7 | 13 | 0.026115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5884-6_1_4_line_9 |  | 8 | 9 | 0.009488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5884-6_1_4_line_10 |  | 9 | 10 | 0.085438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5884-6_1_4_line_11 |  | 9 | 11 | 0.016597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5884-6_1_4_line_12 |  | 11 | 12 | 0.025076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5884-6_1_4_line_13 |  | 12 | 26 | 0.019712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5884-6_1_4_line_14 |  | 13 | 14 | 0.007557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5884-6_1_4_line_15 |  | 14 | 15 | 0.027959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5884-6_1_4_line_16 |  | 14 | 16 | 0.033804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5884-6_1_4_line_17 |  | 15 | 17 | 0.091058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5884-6_1_4_line_18 |  | 16 | 18 | 0.028702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5884-6_1_4_line_19 |  | 17 | 20 | 0.011463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5884-6_1_4_line_20 |  | 18 | 40 | 0.068691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5884-6_1_4_line_21 |  | 19 | 20 | 0.028172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5884-6_1_4_line_22 |  | 19 | 21 | 0.030944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5884-6_1_4_line_23 |  | 21 | 22 | 0.036881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5884-6_1_4_line_24 |  | 23 | 24 | 0.019747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5884-6_1_4_line_25 |  | 24 | 25 | 0.036853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5884-6_1_4_line_26 |  | 25 | 26 | 0.0039996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5884-6_1_4_line_27 |  | 25 | 27 | 0.055901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5884-6_1_4_line_28 |  | 27 | 51 | 0.040812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5884-6_1_4_line_29 |  | 28 | 29 | 0.089752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5884-6_1_4_line_30 |  | 29 | 30 | 0.044556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5884-6_1_4_line_31 |  | 29 | 31 | 0.084963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5884-6_1_4_line_32 |  | 30 | 32 | 0.030102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5884-6_1_4_line_33 |  | 31 | 33 | 0.0682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5884-6_1_4_line_34 |  | 31 | 34 | 0.084874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5884-6_1_4_line_35 |  | 32 | 40 | 0.16611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5884-6_1_4_line_36 |  | 32 | 37 | 0.027288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5884-6_1_4_line_37 |  | 33 | 55 | 0.16653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5884-6_1_4_line_38 |  | 34 | 35 | 0.1182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5884-6_1_4_line_39 |  | 34 | 36 | 0.077046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5884-6_1_4_line_40 |  | 36 | 45 | 0.026754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5884-6_1_4_line_41 |  | 37 | 38 | 0.0058843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5884-6_1_4_line_42 |  | 38 | 39 | 0.073565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5884-6_1_4_line_43 |  | 41 | 42 | 0.048395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5884-6_1_4_line_44 |  | 41 | 43 | 0.091858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5884-6_1_4_line_45 |  | 43 | 44 | 0.036211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5884-6_1_4_line_46 |  | 43 | 45 | 0.082103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5884-6_1_4_line_47 |  | 46 | 47 | 0.020902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5884-6_1_4_line_48 |  | 46 | 48 | 0.070955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5884-6_1_4_line_49 |  | 48 | 49 | 0.028206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5884-6_1_4_line_50 |  | 49 | 50 | 0.0019571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5884-6_1_4_line_51 |  | 50 | 52 | 0.031991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5884-6_1_4_line_52 |  | 50 | 54 | 0.1848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5884-6_1_4_line_53 |  | 51 | 52 | 0.0098103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5884-6_1_4_line_54 |  | 53 | 54 | 0.046321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5884-6_1_4_trafo_23 | 0.63 MVA 20/0.4 kV | 56 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2555987.6827 | 1148129.2273 | 2555996.1679 | 1148136.1467 | 2555997.4854 | 1148137.5191
1 | 2555987.6827 | 1148129.2273 | 2555984.1057 | 1148126.3103
2 | 2556001.4361 | 1148141.6342 | 2555997.4854 | 1148137.5191
3 | 2555982.5293 | 1148125.0248 | 2555984.1057 | 1148126.3103
4 | 2556008.162 | 1148148.6402 | 2556001.4361 | 1148141.6342
5 | 2555969.0864 | 1148114.24 | 2555970.8753 | 1148115.5212 | 2555982.5293 | 1148125.0248
6 | 2556008.162 | 1148148.6402 | 2556009.1293 | 1148149.6477 | 2556020.0359 | 1148163.8785
7 | 2555895.6323 | 1148047.1819 | 2555902.9789 | 1148052.0861 | 2555910.1431 | 1148059.3373 | 2555930.0138 | 1148085.0827 | 2555937.4721 | 1148091.598 | 2555969.0864 | 1148114.24
8 | 2556033.4972 | 1148186.2316 | 2556032.2809 | 1148184.1406 | 2556021.9143 | 1148166.3295 | 2556020.0359 | 1148163.8785
9 | 2555888.111 | 1148051.9618 | 2555890.4747 | 1148051.7554 | 2555892.664 | 1148050.8055 | 2555894.4417 | 1148049.2361 | 2555895.6323 | 1148047.1819
10 | 2555874.708 | 1148136.3257 | 2555877.0273 | 1148121.7123 | 2555888.111 | 1148051.9618
11 | 2555888.111 | 1148051.9618 | 2555885.7879 | 1148051.4341 | 2555883.7593 | 1148050.2039 | 2555882.2026 | 1148048.4144 | 2555881.2957 | 1148046.2199 | 2555881.1171 | 1148043.8533 | 2555881.6915 | 1148041.559 | 2555882.9515 | 1148039.5488
12 | 2555882.9515 | 1148039.5488 | 2555862.2418 | 1148026.1383 | 2555861.8712 | 1148025.9779
13 | 2555843.7797 | 1148018.1507 | 2555861.8712 | 1148025.9779
14 | 2556037.297 | 1148192.7639 | 2556033.4972 | 1148186.2316
15 | 2556037.297 | 1148192.7639 | 2556030.4508 | 1148197.4497 | 2556012.0892 | 1148204.6655
16 | 2556037.297 | 1148192.7639 | 2556039.8602 | 1148197.8033 | 2556049.6222 | 1148216.9529 | 2556052.8381 | 1148222.7801
17 | 2556012.0892 | 1148204.6655 | 2555980.0197 | 1148213.8716 | 2555953.5406 | 1148222.0252 | 2555932.3764 | 1148243.2687
18 | 2556052.8381 | 1148222.7801 | 2556061.8557 | 1148239.1194 | 2556067.2929 | 1148247.5586
19 | 2555923.5092 | 1148250.4821 | 2555929.6426 | 1148246.0126 | 2555932.3764 | 1148243.2687
20 | 2556114.5406 | 1148297.1483 | 2556097.2285 | 1148281.6162 | 2556087.6209 | 1148271.9814 | 2556075.8392 | 1148259.083 | 2556069.1413 | 1148250.4275 | 2556067.2929 | 1148247.5586
21 | 2555896.1783 | 1148246.7362 | 2555915.9642 | 1148252.0049 | 2555923.5092 | 1148250.4821 | 2555923.5092 | 1148250.4821
22 | 2555866.276 | 1148238.7737 | 2555896.1783 | 1148246.7362
23 | 2555866.276 | 1148238.7737 | 2555865.3977 | 1148244.6609 | 2555879.3321 | 1148258.8882 | 2555883.8292 | 1148268.9715
24 | 2555828.4398 | 1148051.5218 | 2555809.9599 | 1148044.5624
25 | 2555840.1089 | 1148016.5625 | 2555828.4398 | 1148051.5218
26 | 2555840.1089 | 1148016.5625 | 2555843.7797 | 1148018.1507
27 | 2555840.1089 | 1148016.5625 | 2555815.1803 | 1148008.0079 | 2555799.9867 | 1148003.2949 | 2555786.9705 | 1147999.2258
28 | 2555786.9705 | 1147999.2258 | 2555773.4781 | 1147995.0077 | 2555762.4636 | 1147991.5648 | 2555747.9371 | 1147987.3136
29 | 2556284.2914 | 1148463.6248 | 2556288.6557 | 1148462.9593 | 2556305.2233 | 1148473.0886 | 2556327.6081 | 1148484.8876 | 2556348.4395 | 1148498.51 | 2556362.0228 | 1148506.4312
30 | 2556284.2914 | 1148463.6248 | 2556257.2855 | 1148428.1857
31 | 2556284.2914 | 1148463.6248 | 2556288.6794 | 1148470.4408 | 2556322.0619 | 1148501.492 | 2556343.3217 | 1148524.416
32 | 2556235.9802 | 1148407.1471 | 2556243.2711 | 1148412.9415 | 2556251.2412 | 1148420.2539 | 2556257.2855 | 1148428.1857
33 | 2556343.3217 | 1148524.416 | 2556345.8016 | 1148523.3086 | 2556347.6683 | 1148524.4734 | 2556356.3399 | 1148531.1472 | 2556366.5453 | 1148539.6775 | 2556398.8259 | 1148561.8548
34 | 2556277.9945 | 1148470.9632 | 2556322.0619 | 1148501.492 | 2556343.3217 | 1148524.416
35 | 2556235.9802 | 1148407.1471 | 2556232.0926 | 1148404.752 | 2556210.4649 | 1148395.7492 | 2556201.6433 | 1148389.6103 | 2556195.1061 | 1148382.9545 | 2556185.2847 | 1148370.2862 | 2556163.2286 | 1148342.5772 | 2556132.9702 | 1148313.683 | 2556114.5406 | 1148297.1483
36 | 2556235.9802 | 1148407.1471 | 2556239.3302 | 1148403.2096 | 2556243.2834 | 1148399.8569 | 2556249.0735 | 1148397.7804 | 2556254.5643 | 1148397.8405 | 2556259.4173 | 1148399.9507
37 | 2556398.8259 | 1148561.8548 | 2556290.0618 | 1148687.9537
38 | 2556277.9945 | 1148470.9632 | 2556270.8181 | 1148466.1351 | 2556180.6068 | 1148403.9738
39 | 2556277.9945 | 1148470.9632 | 2556257.9228 | 1148466.8182 | 2556220.7099 | 1148462.3533 | 2556201.6389 | 1148462.4923
40 | 2556201.6389 | 1148462.4923 | 2556200.1857 | 1148462.5029 | 2556176.2061 | 1148470.5728
41 | 2556259.4173 | 1148399.9507 | 2556259.4173 | 1148399.9507 | 2556263.6587 | 1148404.0292
42 | 2556323.7626 | 1148444.9505 | 2556312.6376 | 1148438.8171 | 2556306.2641 | 1148435.6395 | 2556298.5953 | 1148431.7266 | 2556292.443 | 1148428.3474 | 2556286.1747 | 1148424.8467 | 2556275.7959 | 1148417.8519 | 2556270.921 | 1148412.7403 | 2556264.7298 | 1148405.0591 | 2556263.6587 | 1148404.0292
43 | 2556176.0526 | 1148520.05 | 2556191.7021 | 1148522.7512 | 2556215.5165 | 1148525.2457 | 2556222.9188 | 1148529.5631
44 | 2556097.0457 | 1148483.6437 | 2556096.1461 | 1148486.6296 | 2556114.0817 | 1148499.005 | 2556132.4174 | 1148510.4327 | 2556155.0871 | 1148519.1607 | 2556170.2594 | 1148519.05 | 2556176.0526 | 1148520.05
45 | 2556097.0457 | 1148483.6437 | 2556085.3516 | 1148481.6169 | 2556074.1386 | 1148481.3431 | 2556062.354 | 1148475.3484
46 | 2556097.0457 | 1148483.6437 | 2556097.8631 | 1148480.9697 | 2556120.0036 | 1148480.2855 | 2556144.3725 | 1148477.7286 | 2556172.2958 | 1148471.8887 | 2556176.2061 | 1148470.5728
47 | 2555623.0854 | 1147921.4339 | 2555605.3342 | 1147910.3989
48 | 2555623.0854 | 1147921.4339 | 2555626.0889 | 1147923.301 | 2555668.9816 | 1147957.0243 | 2555680.3243 | 1147963.0756
49 | 2555680.3243 | 1147963.0756 | 2555687.5003 | 1147966.904 | 2555706.1877 | 1147974.2315
50 | 2555708.0098 | 1147974.9459 | 2555706.1877 | 1147974.2315
51 | 2555708.0098 | 1147974.9459 | 2555733.6346 | 1147983.1281 | 2555738.5217 | 1147984.5583
52 | 2555708.0098 | 1147974.9459 | 2555681.9515 | 1147969.4462 | 2555661.4874 | 1147959.2362 | 2555636.1475 | 1147944.9491 | 2555612.0884 | 1147936.7001 | 2555586.5117 | 1147931.9643 | 2555572.6547 | 1147928.3982 | 2555564.0219 | 1147926.1719 | 2555554.5429 | 1147925.8307 | 2555549.772 | 1147934.9039 | 2555556.6393 | 1147944.5026
53 | 2555738.5217 | 1147984.5583 | 2555747.9371 | 1147987.3136
54 | 2555556.6393 | 1147944.5026 | 2555560.9055 | 1147964.8037 | 2555563.5663 | 1147990.2416

## bus_geodata
| x | y | coords
0 | 2555987.6827 | 1148129.2273
1 | 2555997.4854 | 1148137.5191
2 | 2555984.1057 | 1148126.3103
3 | 2556001.4361 | 1148141.6342
4 | 2555982.5293 | 1148125.0248
5 | 2556008.162 | 1148148.6402
6 | 2555969.0864 | 1148114.24
7 | 2556020.0359 | 1148163.8785
8 | 2555895.6323 | 1148047.1819
9 | 2555888.111 | 1148051.9618
10 | 2555874.708 | 1148136.3257
11 | 2555882.9515 | 1148039.5488
12 | 2555861.8712 | 1148025.9779
13 | 2556033.4972 | 1148186.2316
14 | 2556037.297 | 1148192.7639
15 | 2556012.0892 | 1148204.6655
16 | 2556052.8381 | 1148222.7801
17 | 2555932.3764 | 1148243.2687
18 | 2556067.2929 | 1148247.5586
19 | 2555896.1783 | 1148246.7362
20 | 2555923.5092 | 1148250.4821
21 | 2555866.276 | 1148238.7737
22 | 2555883.8292 | 1148268.9715
23 | 2555809.9599 | 1148044.5624
24 | 2555828.4398 | 1148051.5218
25 | 2555840.1089 | 1148016.5625
26 | 2555843.7797 | 1148018.1507
27 | 2555786.9705 | 1147999.2258
28 | 2556362.0228 | 1148506.4312
29 | 2556284.2914 | 1148463.6248
30 | 2556257.2855 | 1148428.1857
31 | 2556343.3217 | 1148524.416
32 | 2556235.9802 | 1148407.1471
33 | 2556398.8259 | 1148561.8548
34 | 2556277.9945 | 1148470.9632
35 | 2556180.6068 | 1148403.9738
36 | 2556201.6389 | 1148462.4923
37 | 2556259.4173 | 1148399.9507
38 | 2556263.6587 | 1148404.0292
39 | 2556323.7626 | 1148444.9505
40 | 2556114.5406 | 1148297.1483
41 | 2556176.0526 | 1148520.05
42 | 2556222.9188 | 1148529.5631
43 | 2556097.0457 | 1148483.6437
44 | 2556062.354 | 1148475.3484
45 | 2556176.2061 | 1148470.5728
46 | 2555623.0854 | 1147921.4339
47 | 2555605.3342 | 1147910.3989
48 | 2555680.3243 | 1147963.0756
49 | 2555706.1877 | 1147974.2315
50 | 2555708.0098 | 1147974.9459
51 | 2555747.9371 | 1147987.3136
52 | 2555738.5217 | 1147984.5583
53 | 2555563.5663 | 1147990.2416
54 | 2555556.6393 | 1147944.5026
55 | 2556290.0618 | 1148687.9537
56 | 2555895.6323 | 1148047.1819

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1