## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5884-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5884-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5884-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5884-8_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5884-8_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5884-8_0_6_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_5884-8_0_6_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_5884-8_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5884-8_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5884-8_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5884-8_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5884-8_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5884-8_0_6_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_5884-8_0_6_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_5884-8_0_6_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_5884-8_0_6_node_139 | 0.4 | n |  | TRUE
16 | bus_LV_5884-8_0_6_node_137 | 0.4 | n |  | TRUE
17 | bus_LV_5884-8_0_6_node_136 | 0.4 | n |  | TRUE
18 | bus_LV_5884-8_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5884-8_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5884-8_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5884-8_0_6_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5884-8_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5884-8_0_6_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_5884-8_0_6_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_5884-8_0_6_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_5884-8_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_5884-8_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5884-8_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5884-8_0_6_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_5884-8_0_6_node_135 | 0.4 | n |  | TRUE
31 | bus_LV_5884-8_0_6_node_116 | 0.4 | n |  | TRUE
32 | bus_LV_5884-8_0_6_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_5884-8_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_5884-8_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5884-8_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5884-8_0_6_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5884-8_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5884-8_0_6_node_128 | 0.4 | n |  | TRUE
39 | bus_LV_5884-8_0_6_node_83 | 0.4 | n |  | TRUE
40 | bus_LV_5884-8_0_6_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_5884-8_0_6_node_114 | 0.4 | n |  | TRUE
42 | bus_LV_5884-8_0_6_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_5884-8_0_6_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_5884-8_0_6_node_113 | 0.4 | n |  | TRUE
45 | bus_LV_5884-8_0_6_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_5884-8_0_6_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_5884-8_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_5884-8_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_5884-8_0_6_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_5884-8_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_5884-8_0_6_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_5884-8_0_6_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_5884-8_0_6_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5884-8_0_6_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_5884-8_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_5884-8_0_6_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_5884-8_0_6_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_5884-8_0_6_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_5884-8_0_6_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_5884-8_0_6_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_5884-8_0_6_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_5884-8_0_6_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_5884-8_0_6_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_5884-8_0_6_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_5884-8_0_6_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_5884-8_0_6_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_5884-8_0_6_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_5884-8_0_6_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_5884-8_0_6_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_5884-8_0_6_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_5884-8_0_6_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_5884-8_0_6_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_5884-8_0_6_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_5884-8_0_6_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_5884-8_0_6_node_118 | 0.4 | n |  | TRUE
76 | bus_LV_5884-8_0_6_node_109 | 0.4 | n |  | TRUE
77 | bus_LV_5884-8_0_6_node_119 | 0.4 | n |  | TRUE
78 | bus_LV_5884-8_0_6_node_108 | 0.4 | n |  | TRUE
79 | bus_LV_5884-8_0_6_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_5884-8_0_6_node_131 | 0.4 | n |  | TRUE
81 | bus_LV_5884-8_0_6_node_132 | 0.4 | n |  | TRUE
82 | bus_LV_5884-8_0_6_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_5884-8_0_6_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_5884-8_0_6_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_5884-8_0_6_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_5884-8_0_6_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_5884-8_0_6_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_5884-8_0_6_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_5884-8_0_6_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_5884-8_0_6_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_5884-8_0_6_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_5884-8_0_6_node_112 | 0.4 | n |  | TRUE
93 | bus_LV_5884-8_0_6_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_5884-8_0_6_node_103 | 0.4 | n |  | TRUE
95 | bus_LV_5884-8_0_6_node_79 | 0.4 | n |  | TRUE
96 | bus_LV_5884-8_0_6_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_5884-8_0_6_node_129 | 0.4 | n |  | TRUE
98 | bus_LV_5884-8_0_6_node_84 | 0.4 | n |  | TRUE
99 | bus_LV_5884-8_0_6_node_85 | 0.4 | n |  | TRUE
100 | bus_LV_5884-8_0_6_node_86 | 0.4 | n |  | TRUE
101 | bus_LV_5884-8_0_6_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_5884-8_0_6_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_5884-8_0_6_node_87 | 0.4 | n |  | TRUE
104 | bus_LV_5884-8_0_6_node_88 | 0.4 | n |  | TRUE
105 | bus_LV_5884-8_0_6_node_89 | 0.4 | n |  | TRUE
106 | bus_LV_5884-8_0_6_node_90 | 0.4 | n |  | TRUE
107 | bus_LV_5884-8_0_6_node_91 | 0.4 | n |  | TRUE
108 | bus_LV_5884-8_0_6_node_92 | 0.4 | n |  | TRUE
109 | bus_LV_5884-8_0_6_node_106 | 0.4 | n |  | TRUE
110 | bus_LV_5884-8_0_6_node_104 | 0.4 | n |  | TRUE
111 | bus_LV_5884-8_0_6_node_107 | 0.4 | n |  | TRUE
112 | bus_LV_5884-8_0_6_node_100 | 0.4 | n |  | TRUE
113 | bus_LV_5884-8_0_6_node_95 | 0.4 | n |  | TRUE
114 | bus_LV_5884-8_0_6_node_96 | 0.4 | n |  | TRUE
115 | bus_LV_5884-8_0_6_node_138 | 0.4 | n |  | TRUE
116 | bus_LV_5884-8_0_6_node_124 | 0.4 | n |  | TRUE
117 | bus_LV_5884-8_0_6_node_97 | 0.4 | n |  | TRUE
118 | bus_LV_5884-8_0_6_node_98 | 0.4 | n |  | TRUE
119 | bus_LV_5884-8_0_6_node_99 | 0.4 | n |  | TRUE
120 | bus_LV_5884-8_0_6_node_101 | 0.4 | n |  | TRUE
121 | bus_LV_5884-8_0_6_node_102 | 0.4 | n |  | TRUE
122 | bus_LV_5884-8_0_6_node_105 | 0.4 | n |  | TRUE
123 | bus_LV_5884-8_0_6_node_126 | 0.4 | n |  | TRUE
124 | bus_LV_5884-8_0_6_node_140 | 0.4 | n |  | TRUE
125 | bus_LV_5884-8_0_6_node_110 | 0.4 | n |  | TRUE
126 | bus_LV_5884-8_0_6_node_111 | 0.4 | n |  | TRUE
127 | bus_LV_5884-8_0_6_node_122 | 0.4 | n |  | TRUE
128 | bus_LV_5884-8_0_6_node_120 | 0.4 | n |  | TRUE
129 | bus_LV_5884-8_0_6_node_115 | 0.4 | n |  | TRUE
130 | bus_LV_5884-8_0_6_node_117 | 0.4 | n |  | TRUE
131 | bus_LV_5884-8_0_6_node_127 | 0.4 | n |  | TRUE
132 | bus_LV_5884-8_0_6_node_134 | 0.4 | n |  | TRUE
133 | bus_LV_5884-8_0_6_node_121 | 0.4 | n |  | TRUE
134 | bus_LV_5884-8_0_6_node_123 | 0.4 | n |  | TRUE
135 | bus_LV_5884-8_0_6_node_125 | 0.4 | n |  | TRUE
136 | bus_LV_5884-8_0_6_node_133 | 0.4 | n |  | TRUE
137 | bus_MV_384_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5884-8_0_6_load_0 | 0 | 0.00050201 | 0.00012582 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5884-8_0_6_load_3 | 3 | 0.00056766 | 0.00014227 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5884-8_0_6_load_31 | 5 | 0.0020568 | 0.00051548 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5884-8_0_6_load_5 | 7 | 0.00057877 | 0.00014505 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5884-8_0_6_load_8 | 10 | 0.0013644 | 0.00034195 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5884-8_0_6_load_9 | 11 | 0.0015792 | 0.00039579 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5884-8_0_6_load_20 | 12 | 0.0044509 | 0.0011155 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5884-8_0_6_load_139 | 15 | 0.00056716 | 0.00014214 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5884-8_0_6_load_137 | 16 | 0.0018749 | 0.00046989 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5884-8_0_6_load_136 | 17 | 0.0020986 | 0.00052597 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5884-8_0_6_load_10 | 18 | 0.00082004 | 0.00020552 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5884-8_0_6_load_11 | 19 | 0.0013109 | 0.00032854 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5884-8_0_6_load_17 | 21 | 0.0039215 | 0.00098283 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5884-8_0_6_load_12 | 22 | 0.000229 | 5.7394e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5884-8_0_6_load_29 | 23 | 0.0015399 | 0.00038593 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5884-8_0_6_load_47 | 24 | 0.0011779 | 0.00029521 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5884-8_0_6_load_24 | 25 | 0.0016617 | 0.00041647 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5884-8_0_6_load_14 | 26 | 0.0070181 | 0.0017589 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5884-8_0_6_load_15 | 27 | 0.0047506 | 0.0011906 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5884-8_0_6_load_19 | 28 | 0.00086704 | 0.0002173 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5884-8_0_6_load_135 | 30 | 0.00098725 | 0.00024743 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5884-8_0_6_load_23 | 33 | 0.0014938 | 0.00037439 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5884-8_0_6_load_27 | 36 | 0.0069104 | 0.0017319 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5884-8_0_6_load_128 | 38 | 0.0041212 | 0.0010329 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5884-8_0_6_load_83 | 39 | 0.0022896 | 0.00057383 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5884-8_0_6_load_114 | 41 | 0.00056404 | 0.00014136 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5884-8_0_6_load_75 | 42 | 0.00043432 | 0.00010885 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5884-8_0_6_load_113 | 44 | 0.00081118 | 0.0002033 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5884-8_0_6_load_46 | 45 | 0.0021639 | 0.00054232 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5884-8_0_6_load_41 | 46 | 0.00201 | 0.00050375 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5884-8_0_6_load_36 | 47 | 0.0013954 | 0.00034973 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5884-8_0_6_load_32 | 48 | 0.0015348 | 0.00038465 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5884-8_0_6_load_33 | 49 | 0.00090956 | 0.00022796 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5884-8_0_6_load_34 | 50 | 0.0012387 | 0.00031044 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5884-8_0_6_load_35 | 51 | 0.0011015 | 0.00027605 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5884-8_0_6_load_40 | 54 | 0.0011966 | 0.0002999 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5884-8_0_6_load_49 | 56 | 0.0030491 | 0.00076419 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5884-8_0_6_load_43 | 57 | 0.00074324 | 0.00018627 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5884-8_0_6_load_42 | 58 | 0.0017442 | 0.00043714 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5884-8_0_6_load_57 | 59 | 0.0014187 | 0.00035555 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5884-8_0_6_load_56 | 60 | 0.00049203 | 0.00012332 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5884-8_0_6_load_59 | 61 | 0.0022059 | 0.00055284 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5884-8_0_6_load_44 | 62 | 0.0026499 | 0.00066412 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5884-8_0_6_load_45 | 63 | 0.0011227 | 0.00028139 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5884-8_0_6_load_55 | 65 | 0.0021714 | 0.00054421 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5884-8_0_6_load_50 | 66 | 0.0017358 | 0.00043503 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5884-8_0_6_load_51 | 67 | 0.0012725 | 0.00031891 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5884-8_0_6_load_53 | 69 | 0.0011187 | 0.00028038 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5884-8_0_6_load_54 | 70 | 0.00047163 | 0.0001182 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5884-8_0_6_load_62 | 73 | 0.0024964 | 0.00062565 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5884-8_0_6_load_63 | 74 | 0.0033702 | 0.00084464 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5884-8_0_6_load_118 | 75 | 0.00098584 | 0.00024707 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5884-8_0_6_load_109 | 76 | 0.0014251 | 0.00035718 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5884-8_0_6_load_119 | 77 | 0.003214 | 0.0008055 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5884-8_0_6_load_66 | 79 | 0.00052595 | 0.00013182 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5884-8_0_6_load_131 | 80 | 0.0018041 | 0.00045214 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5884-8_0_6_load_67 | 82 | 0.0012609 | 0.00031602 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5884-8_0_6_load_70 | 85 | 0.00068143 | 0.00017078 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5884-8_0_6_load_71 | 86 | 0.00085045 | 0.00021314 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5884-8_0_6_load_72 | 87 | 0.0030026 | 0.00075252 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5884-8_0_6_load_73 | 88 | 0.00087029 | 0.00021811 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5884-8_0_6_load_76 | 90 | 0.00075644 | 0.00018958 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5884-8_0_6_load_78 | 93 | 0.0012348 | 0.00030947 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5884-8_0_6_load_103 | 94 | 0.002608 | 0.00065363 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5884-8_0_6_load_79 | 95 | 0.0033232 | 0.00083288 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5884-8_0_6_load_82 | 96 | 0.00065085 | 0.00016312 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5884-8_0_6_load_129 | 97 | 0.00069465 | 0.0001741 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5884-8_0_6_load_84 | 98 | 0.0015124 | 0.00037903 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5884-8_0_6_load_85 | 99 | 0.00045658 | 0.00011443 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5884-8_0_6_load_86 | 100 | 0.0010268 | 0.00025733 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5884-8_0_6_load_93 | 101 | 0.0020718 | 0.00051924 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5884-8_0_6_load_94 | 102 | 0.0010147 | 0.0002543 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5884-8_0_6_load_87 | 103 | 0.0082766 | 0.0020743 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5884-8_0_6_load_88 | 104 | 0.0028925 | 0.00072493 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5884-8_0_6_load_89 | 105 | 0.0047655 | 0.0011943 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5884-8_0_6_load_90 | 106 | 0.0032162 | 0.00080606 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5884-8_0_6_load_91 | 107 | 0.0030208 | 0.00075708 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5884-8_0_6_load_92 | 108 | 0.0018756 | 0.00047008 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5884-8_0_6_load_106 | 109 | 0.0047855 | 0.0011994 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5884-8_0_6_load_104 | 110 | 0.0022134 | 0.00055472 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5884-8_0_6_load_107 | 111 | 0.0023118 | 0.00057938 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5884-8_0_6_load_95 | 113 | 0.0010339 | 0.00025912 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5884-8_0_6_load_96 | 114 | 0.0031948 | 0.0008007 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5884-8_0_6_load_138 | 115 | 0.00044102 | 0.00011053 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5884-8_0_6_load_124 | 116 | 0.0010191 | 0.00025542 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5884-8_0_6_load_97 | 117 | 0.020621 | 0.005168 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5884-8_0_6_load_101 | 120 | 0.0018905 | 0.00047379 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5884-8_0_6_load_102 | 121 | 0.0047026 | 0.0011786 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5884-8_0_6_load_140 | 124 | 0.0062766 | 0.0015731 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5884-8_0_6_load_110 | 125 | 0.0044578 | 0.0011172 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5884-8_0_6_load_111 | 126 | 0.0044239 | 0.0011087 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5884-8_0_6_load_122 | 127 | 0.0018455 | 0.00046253 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5884-8_0_6_load_120 | 128 | 0.0013347 | 0.0003345 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5884-8_0_6_load_115 | 129 | 0.00049362 | 0.00012371 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5884-8_0_6_load_117 | 130 | 0.0014511 | 0.00036369 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5884-8_0_6_load_134 | 132 | 0.0010782 | 0.00027023 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5884-8_0_6_load_121 | 133 | 0.001015 | 0.00025438 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5884-8_0_6_load_125 | 135 | 0.0014253 | 0.00035721 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5884-8_0_6_load_133 | 136 | 0.0015152 | 0.00037973 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 114 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5884-8_0_6_line_0 |  | 0 | 1 | 0.12985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5884-8_0_6_line_1 |  | 1 | 2 | 0.10154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_5884-8_0_6_line_2 |  | 1 | 3 | 0.019418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5884-8_0_6_line_3 |  | 1 | 4 | 0.047255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_5884-8_0_6_line_4 |  | 2 | 7 | 0.02025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5884-8_0_6_line_5 |  | 2 | 8 | 0.15711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5884-8_0_6_line_6 |  | 3 | 9 | 0.075042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5884-8_0_6_line_7 |  | 4 | 10 | 0.0056032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5884-8_0_6_line_8 |  | 4 | 11 | 0.051454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5884-8_0_6_line_9 |  | 5 | 6 | 0.12371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5884-8_0_6_line_10 |  | 6 | 46 | 0.073551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5884-8_0_6_line_11 |  | 6 | 47 | 0.027694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5884-8_0_6_line_12 |  | 8 | 16 | 0.046337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5884-8_0_6_line_13 |  | 8 | 17 | 0.078904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5884-8_0_6_line_14 |  | 8 | 15 | 0.095373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_5884-8_0_6_line_15 |  | 9 | 18 | 0.074834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5884-8_0_6_line_16 |  | 9 | 19 | 0.023933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5884-8_0_6_line_17 |  | 11 | 20 | 0.2288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5884-8_0_6_line_18 |  | 12 | 13 | 0.13918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5884-8_0_6_line_19 |  | 12 | 14 | 0.076821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_5884-8_0_6_line_20 |  | 12 | 15 | 0.11896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5884-8_0_6_line_21 |  | 13 | 33 | 0.024769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5884-8_0_6_line_22 |  | 14 | 25 | 0.061629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_5884-8_0_6_line_23 |  | 17 | 21 | 0.18656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5884-8_0_6_line_24 |  | 18 | 22 | 0.015409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5884-8_0_6_line_25 |  | 20 | 26 | 0.072469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5884-8_0_6_line_26 |  | 20 | 27 | 0.1064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5884-8_0_6_line_27 |  | 23 | 24 | 0.046765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_5884-8_0_6_line_28 |  | 23 | 25 | 0.025048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5884-8_0_6_line_29 |  | 24 | 45 | 0.12886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_5884-8_0_6_line_30 |  | 28 | 29 | 0.15627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5884-8_0_6_line_31 |  | 29 | 32 | 0.12783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5884-8_0_6_line_32 |  | 29 | 30 | 0.14835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5884-8_0_6_line_33 |  | 30 | 31 | 0.1041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5884-8_0_6_line_34 |  | 31 | 129 | 0.10056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5884-8_0_6_line_35 |  | 32 | 79 | 0.076924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5884-8_0_6_line_36 |  | 34 | 35 | 0.031728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5884-8_0_6_line_37 |  | 34 | 36 | 0.04308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5884-8_0_6_line_38 |  | 34 | 37 | 0.076255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5884-8_0_6_line_39 |  | 35 | 38 | 0.034762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5884-8_0_6_line_40 |  | 36 | 39 | 0.084934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5884-8_0_6_line_41 |  | 37 | 40 | 0.17893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5884-8_0_6_line_42 |  | 37 | 41 | 0.067235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5884-8_0_6_line_43 |  | 39 | 42 | 0.099463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5884-8_0_6_line_44 |  | 40 | 43 | 0.032548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5884-8_0_6_line_45 |  | 41 | 44 | 0.065297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5884-8_0_6_line_46 |  | 42 | 87 | 0.023939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5884-8_0_6_line_47 |  | 43 | 96 | 0.074414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5884-8_0_6_line_48 |  | 44 | 129 | 0.030564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5884-8_0_6_line_49 |  | 45 | 58 | 0.050847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_5884-8_0_6_line_50 |  | 46 | 58 | 0.05703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_5884-8_0_6_line_51 |  | 47 | 50 | 0.081149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_5884-8_0_6_line_52 |  | 48 | 49 | 0.036628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_5884-8_0_6_line_53 |  | 48 | 50 | 0.073807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_5884-8_0_6_line_54 |  | 49 | 51 | 0.039301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5884-8_0_6_line_55 |  | 51 | 52 | 0.12564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_5884-8_0_6_line_56 |  | 52 | 53 | 0.15404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_5884-8_0_6_line_57 |  | 52 | 54 | 0.080585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_5884-8_0_6_line_58 |  | 53 | 55 | 0.093781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_5884-8_0_6_line_59 |  | 53 | 56 | 0.014177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_5884-8_0_6_line_60 |  | 54 | 57 | 0.090548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_5884-8_0_6_line_61 |  | 55 | 59 | 0.024671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_5884-8_0_6_line_62 |  | 55 | 60 | 0.078373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_5884-8_0_6_line_63 |  | 56 | 61 | 0.099193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5884-8_0_6_line_64 |  | 57 | 62 | 0.11959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_5884-8_0_6_line_65 |  | 59 | 64 | 0.1933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_5884-8_0_6_line_66 |  | 60 | 65 | 0.025259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_5884-8_0_6_line_67 |  | 62 | 63 | 0.0090268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5884-8_0_6_line_68 |  | 64 | 71 | 0.021358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_5884-8_0_6_line_69 |  | 65 | 70 | 0.097688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_5884-8_0_6_line_70 |  | 66 | 67 | 0.038595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_5884-8_0_6_line_71 |  | 67 | 68 | 0.087955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_5884-8_0_6_line_72 |  | 68 | 69 | 0.073262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_5884-8_0_6_line_73 |  | 68 | 70 | 0.13763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_5884-8_0_6_line_74 |  | 71 | 72 | 0.014104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_5884-8_0_6_line_75 |  | 71 | 73 | 0.17535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5884-8_0_6_line_76 |  | 72 | 74 | 0.069749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_5884-8_0_6_line_77 |  | 73 | 75 | 0.056706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5884-8_0_6_line_78 |  | 74 | 76 | 0.036151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_5884-8_0_6_line_79 |  | 75 | 77 | 0.0034983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5884-8_0_6_line_80 |  | 76 | 78 | 0.23219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_5884-8_0_6_line_81 |  | 78 | 125 | 0.034549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_5884-8_0_6_line_82 |  | 78 | 111 | 0.046684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_5884-8_0_6_line_83 |  | 79 | 80 | 0.19726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5884-8_0_6_line_84 |  | 80 | 81 | 0.066036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5884-8_0_6_line_85 |  | 81 | 136 | 0.01334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5884-8_0_6_line_86 |  | 82 | 83 | 0.095611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_5884-8_0_6_line_87 |  | 82 | 84 | 0.025297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_5884-8_0_6_line_88 |  | 83 | 85 | 0.052344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_5884-8_0_6_line_89 |  | 83 | 86 | 0.021616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_5884-8_0_6_line_90 |  | 84 | 87 | 0.18792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_5884-8_0_6_line_91 |  | 84 | 88 | 0.05069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_5884-8_0_6_line_92 |  | 86 | 89 | 0.12732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_5884-8_0_6_line_93 |  | 88 | 90 | 0.050774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_5884-8_0_6_line_94 |  | 89 | 91 | 0.19732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_5884-8_0_6_line_95 |  | 90 | 92 | 0.058675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_5884-8_0_6_line_96 |  | 91 | 93 | 0.20155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_5884-8_0_6_line_97 |  | 92 | 94 | 0.0034745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_5884-8_0_6_line_98 |  | 93 | 95 | 0.013146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_5884-8_0_6_line_99 |  | 94 | 112 | 0.13656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_5884-8_0_6_line_100 |  | 96 | 97 | 0.1643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5884-8_0_6_line_101 |  | 98 | 99 | 0.010012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5884-8_0_6_line_102 |  | 99 | 100 | 0.0093193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5884-8_0_6_line_103 |  | 100 | 101 | 0.0070798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5884-8_0_6_line_104 |  | 101 | 102 | 0.022571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5884-8_0_6_line_105 |  | 102 | 113 | 0.00902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5884-8_0_6_line_106 |  | 103 | 104 | 0.016337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_5884-8_0_6_line_107 |  | 103 | 105 | 0.0074889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_5884-8_0_6_line_108 |  | 104 | 106 | 0.020494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_5884-8_0_6_line_109 |  | 105 | 107 | 0.015873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_5884-8_0_6_line_110 |  | 106 | 108 | 0.0072683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
111 | LV_5884-8_0_6_line_111 |  | 107 | 109 | 0.0075346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
112 | LV_5884-8_0_6_line_112 |  | 108 | 110 | 0.029238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
113 | LV_5884-8_0_6_line_113 |  | 109 | 111 | 0.019321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
114 | LV_5884-8_0_6_line_114 |  | 110 | 112 | 0.014921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
115 | LV_5884-8_0_6_line_115 |  | 112 | 118 | 0.027646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
116 | LV_5884-8_0_6_line_116 |  | 113 | 114 | 0.0096934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5884-8_0_6_line_117 |  | 114 | 115 | 0.0016524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
118 | LV_5884-8_0_6_line_118 |  | 115 | 116 | 0.0070058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
119 | LV_5884-8_0_6_line_119 |  | 116 | 134 | 0.0058445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
120 | LV_5884-8_0_6_line_120 |  | 117 | 118 | 0.0074923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5884-8_0_6_line_121 |  | 117 | 119 | 0.075871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5884-8_0_6_line_122 |  | 118 | 120 | 0.12529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5884-8_0_6_line_123 |  | 119 | 121 | 0.039172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5884-8_0_6_line_124 |  | 121 | 122 | 0.02556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5884-8_0_6_line_125 |  | 122 | 123 | 0.13809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5884-8_0_6_line_126 |  | 123 | 124 | 0.047686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5884-8_0_6_line_127 |  | 125 | 126 | 0.016196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
128 | LV_5884-8_0_6_line_128 |  | 126 | 127 | 0.1146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
129 | LV_5884-8_0_6_line_129 |  | 127 | 128 | 0.033123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
130 | LV_5884-8_0_6_line_130 |  | 128 | 133 | 0.018023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
131 | LV_5884-8_0_6_line_131 |  | 130 | 131 | 0.079287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5884-8_0_6_line_132 |  | 131 | 132 | 0.0076421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5884-8_0_6_line_133 |  | 132 | 136 | 0.049302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5884-8_0_6_line_134 |  | 133 | 134 | 0.0067766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
135 | LV_5884-8_0_6_line_135 |  | 134 | 135 | 0.050141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5884-8_0_6_trafo_96 | 0.63 MVA 20/0.4 kV | 137 | 114 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2557131.6217 | 1149896.8823 | 2557143.9552 | 1149926.5652 | 2557161.1596 | 1149967.5636 | 2557181.4521 | 1149998.1014 | 2557194.778 | 1150007.9624
1 | 2557066.5508 | 1149820.3963 | 2557076.2614 | 1149833.1779 | 2557094.3214 | 1149858.4287 | 2557110.1763 | 1149879.1484 | 2557122.3888 | 1149892.9239 | 2557131.6217 | 1149896.8823
2 | 2557131.6217 | 1149896.8823 | 2557129.8886 | 1149905.7659 | 2557130.4145 | 1149916.1198
3 | 2557136.7143 | 1149849.933 | 2557132.8984 | 1149889.6806 | 2557131.6217 | 1149896.8823
4 | 2557066.5508 | 1149820.3963 | 2557055.3171 | 1149837.263
5 | 2557066.5508 | 1149820.3963 | 2557055.9477 | 1149804.1192 | 2557029.4603 | 1149764.1546 | 2557020.0988 | 1149758.3519 | 2557012.7505 | 1149759.2382 | 2557011.6902 | 1149773.064 | 2557019.4892 | 1149813.7291 | 2557019.3103 | 1149821.9791 | 2557014.5417 | 1149828.2609
6 | 2557146.1837 | 1149989.3037 | 2557145.4657 | 1149983.3502 | 2557142.5173 | 1149971.4429 | 2557135.5916 | 1149948.6695 | 2557130.5496 | 1149918.779 | 2557130.4145 | 1149916.1198
7 | 2557136.7143 | 1149849.933 | 2557136.4769 | 1149844.3348
8 | 2557136.7143 | 1149849.933 | 2557166.7937 | 1149891.6787
9 | 2557163.3981 | 1150361.1832 | 2557242.47 | 1150266.038
10 | 2557163.3981 | 1150361.1832 | 2557101.5719 | 1150321.3419
11 | 2557163.3981 | 1150361.1832 | 2557148.5046 | 1150359.9109 | 2557135.866 | 1150358.2552
12 | 2556995.7023 | 1149786.4186 | 2557011.1373 | 1149813.8111 | 2557013.8788 | 1149822.5182 | 2557014.5417 | 1149828.2609
13 | 2557014.5417 | 1149828.2609 | 2557009.4815 | 1149830.2536 | 2557000.7705 | 1149824.1461 | 2556995.7685 | 1149806.3839 | 2556984.878 | 1149788.6082 | 2556969.2001 | 1149771.0655
14 | 2557014.5417 | 1149828.2609 | 2557003.6506 | 1149923.0097
15 | 2557146.1837 | 1149989.3037 | 2557147.6773 | 1150001.7439 | 2557158.545 | 1150030.459 | 2557178.3498 | 1150055.0853
16 | 2557132.349 | 1149970.8484 | 2557135.0917 | 1149979.7557 | 2557146.1837 | 1149989.3037
17 | 2557373.0869 | 1149976.4394 | 2557366.0889 | 1149971.4754 | 2557337.8989 | 1149960.5587 | 2557328.2523 | 1149954.5129 | 2557318.6605 | 1149949.7008 | 2557302.2609 | 1149942.9582 | 2557280.7486 | 1149939.4648 | 2557247.2801 | 1149935.5007 | 2557226.2083 | 1149925.9568 | 2557208.1999 | 1149919.6929 | 2557189.4304 | 1149915.4465 | 2557177.4287 | 1149906.4385 | 2557166.7937 | 1149891.6787
18 | 2556777.2522 | 1149862.1908 | 2556784.9879 | 1149868.2272 | 2556795.8711 | 1149874.2521 | 2556812.4097 | 1149879.9362 | 2556828.2392 | 1149886.3146 | 2556850.4771 | 1149898.8392 | 2556865.7259 | 1149910.9471 | 2556878.0786 | 1149924.9434 | 2556882.4371 | 1149933.2275 | 2556886.1826 | 1149941.8018
19 | 2556899.9514 | 1150017.1784 | 2556897.8534 | 1150009.3672 | 2556894.542 | 1149986.5237 | 2556891.7032 | 1149963.2098 | 2556887.6509 | 1149945.163 | 2556886.1826 | 1149941.8018
20 | 2556886.1826 | 1149941.8018 | 2557003.6506 | 1149923.0097
21 | 2556777.2522 | 1149862.1908 | 2556771.8355 | 1149867.9661 | 2556765.7238 | 1149868.9216 | 2556757.7084 | 1149861.8858
22 | 2556899.9514 | 1150017.1784 | 2556904.5194 | 1150030.0634 | 2556913.052 | 1150048.7897 | 2556926.2113 | 1150072.7994
23 | 2556969.2001 | 1149771.0655 | 2557014.0423 | 1149589.9754
24 | 2557178.3498 | 1150055.0853 | 2557183.2217 | 1150061.1434 | 2557188.4926 | 1150066.6671
25 | 2557373.0869 | 1149976.4394 | 2557392.4972 | 1149994.2332 | 2557400.5839 | 1149999.0005 | 2557418.5977 | 1150001.7521 | 2557436.2728 | 1150007.306
26 | 2557429.5317 | 1150045.4082 | 2557409.7753 | 1150044.8033 | 2557400.2366 | 1150039.8795 | 2557378.6263 | 1150023.591 | 2557373.5629 | 1150015.4005 | 2557371.2554 | 1150007.1904 | 2557371.7155 | 1150001.7066 | 2557373.0869 | 1149976.4394
27 | 2556938.0231 | 1150094.8865 | 2556954.2963 | 1150125.567 | 2556959.9371 | 1150136.199
28 | 2556926.2113 | 1150072.7994 | 2556929.2078 | 1150078.2668 | 2556938.0231 | 1150094.8865
29 | 2557022.9803 | 1150248.5047 | 2557019.1443 | 1150243.0522 | 2557013.9809 | 1150234.8738 | 2557006.6643 | 1150222.9422 | 2556983.981 | 1150181.2164 | 2556976.5829 | 1150167.5735 | 2556959.9371 | 1150136.199
30 | 2556732.5995 | 1149042.8131 | 2556735.1873 | 1149046.0628 | 2556763.4912 | 1149073.1398 | 2556780.3819 | 1149096.5192 | 2556802.2809 | 1149133.0473 | 2556824.1688 | 1149168.3187
31 | 2556732.5995 | 1149042.8131 | 2556721.5576 | 1149032.0204 | 2556708.2675 | 1149020.3767 | 2556698.4146 | 1149003.0499 | 2556683.4061 | 1148983.0922 | 2556656.0167 | 1148941.3459
32 | 2556617.7544 | 1149136.7223 | 2556732.5995 | 1149042.8131
33 | 2556568.8888 | 1149228.6445 | 2556617.7544 | 1149136.7223
34 | 2556568.8888 | 1149228.6445 | 2556570.0199 | 1149231.1154 | 2556573.7566 | 1149248.842 | 2556573.8284 | 1149258.791 | 2556575.6021 | 1149276.8653 | 2556577.2607 | 1149304.5231 | 2556576.252 | 1149307.2985 | 2556573.3856 | 1149309.0645 | 2556564.7333 | 1149309.127 | 2556555.7953 | 1149309.0532
35 | 2556656.0167 | 1148941.3459 | 2556652.5085 | 1148943.5723 | 2556648.3805 | 1148942.8906 | 2556637.9216 | 1148934.206 | 2556620.4516 | 1148923.2486 | 2556593.3983 | 1148902.6111 | 2556593.1525 | 1148902.3734
36 | 2556418.3164 | 1149358.323 | 2556427.1129 | 1149359.093 | 2556445.0594 | 1149373.4148
37 | 2556418.3164 | 1149358.323 | 2556413.69 | 1149360.8801 | 2556402.9698 | 1149361.6249 | 2556386.3749 | 1149361.1228 | 2556376.3625 | 1149358.1483
38 | 2556418.3164 | 1149358.323 | 2556417.2478 | 1149347.5363 | 2556416.37 | 1149338.7159 | 2556414.1492 | 1149319.3999 | 2556413.8262 | 1149314.0217 | 2556412.7131 | 1149303.4688 | 2556409.6837 | 1149290.1506 | 2556407.5054 | 1149283.0405
39 | 2556445.0594 | 1149373.4148 | 2556454.7659 | 1149364.1619 | 2556469.301 | 1149348.4597
40 | 2556299.9641 | 1149321.4008 | 2556317.3349 | 1149329.0075 | 2556325.638 | 1149331.6152 | 2556351.2193 | 1149345.2697 | 2556375.2337 | 1149357.813 | 2556376.3625 | 1149358.1483
41 | 2556322.2536 | 1149125.8228 | 2556339.0198 | 1149156.1499 | 2556376.2185 | 1149222.7253 | 2556399.6061 | 1149264.1436 | 2556405.3683 | 1149276.3192 | 2556407.5054 | 1149283.0405
42 | 2556407.5054 | 1149283.0405 | 2556423.5884 | 1149276.4538 | 2556437.3414 | 1149270.4066 | 2556453.3637 | 1149264.9544 | 2556458.1006 | 1149264.9201 | 2556465.1141 | 1149266.5034 | 2556470.3537 | 1149269.385
43 | 2556201.654 | 1149310.3389 | 2556206.4855 | 1149311.138 | 2556216.1494 | 1149311.8791 | 2556226.1421 | 1149312.4289 | 2556270.5949 | 1149314.4398 | 2556277.4325 | 1149315.0459 | 2556284.335 | 1149316.1407 | 2556292.8208 | 1149318.5358 | 2556299.7047 | 1149321.2872 | 2556299.9641 | 1149321.4008
44 | 2556322.2536 | 1149125.8228 | 2556316.8817 | 1149126.1953 | 2556297.2597 | 1149108.6178 | 2556296.4662 | 1149108.2456
45 | 2556526.9523 | 1149301.8921 | 2556510.8017 | 1149291.6301 | 2556470.3537 | 1149269.385
46 | 2556178.3545 | 1149304.9015 | 2556186.2484 | 1149307.0945 | 2556199.2752 | 1149309.9455 | 2556201.654 | 1149310.3389
47 | 2556296.4662 | 1149108.2456 | 2556283.3282 | 1149109.1527 | 2556247.1693 | 1149117.0975 | 2556230.7119 | 1149121.8642 | 2556224.4171 | 1149125.1249
48 | 2556526.9523 | 1149301.8921 | 2556529.3981 | 1149303.4462 | 2556541.4546 | 1149309.1175 | 2556547.5113 | 1149308.9848 | 2556555.7953 | 1149309.0532
49 | 2557022.9803 | 1150248.5047 | 2557028.187 | 1150255.9053 | 2557038.8547 | 1150268.4355 | 2557050.9952 | 1150281.889 | 2557056.3362 | 1150286.7483
50 | 2557101.5719 | 1150321.3419 | 2557095.3878 | 1150317.3568 | 2557075.7287 | 1150303.4011 | 2557060.4758 | 1150290.5146 | 2557056.3362 | 1150286.7483
51 | 2557060.3212 | 1150329.3601 | 2557071.9031 | 1150334.1665 | 2557122.4864 | 1150355.1496 | 2557127.2598 | 1150357.1277 | 2557135.866 | 1150358.2552
52 | 2556994.3421 | 1150296.6366 | 2556978.8168 | 1150287.6525 | 2556964.5844 | 1150275.5371
53 | 2556994.3421 | 1150296.6366 | 2557026.9783 | 1150315.5223 | 2557030.5122 | 1150316.9867 | 2557036.3252 | 1150319.402 | 2557060.3212 | 1150329.3601
54 | 2556964.5844 | 1150275.5371 | 2556958.2646 | 1150270.1573 | 2556957.0984 | 1150269.1652 | 2556943.1038 | 1150257.3148 | 2556932.8078 | 1150253.0803
55 | 2556822.0694 | 1150194.2951 | 2556836.2138 | 1150200.2299 | 2556847.5084 | 1150206.9856 | 2556854.8403 | 1150211.3797 | 2556901.7301 | 1150239.4466 | 2556916.8707 | 1150246.2304 | 2556924.826 | 1150249.7975 | 2556932.8078 | 1150253.0803
56 | 2556702.6566 | 1150103.1182 | 2556713.2911 | 1150114.1028 | 2556732.1908 | 1150140.736 | 2556742.8308 | 1150153.566 | 2556755.8596 | 1150164.4668 | 2556771.2663 | 1150172.9714 | 2556822.0694 | 1150194.2951
57 | 2556822.0694 | 1150194.2951 | 2556858.8978 | 1150229.0819 | 2556879.7145 | 1150250.5799
58 | 2556627.9798 | 1150093.7628 | 2556640.0046 | 1150101.6468 | 2556664.7929 | 1150113.4185 | 2556673.7114 | 1150119.5685 | 2556684.0654 | 1150125.7082 | 2556702.6566 | 1150103.1182
59 | 2556702.6566 | 1150103.1182 | 2556709.5685 | 1150090.7398
60 | 2556945.582 | 1150312.6143 | 2556927.2716 | 1150296.4595 | 2556905.7102 | 1150277.4265 | 2556879.7145 | 1150250.5799
61 | 2556627.9798 | 1150093.7628 | 2556613.6335 | 1150073.6919
62 | 2556627.9798 | 1150093.7628 | 2556652.9538 | 1150129.1342 | 2556671.9148 | 1150158.6404
63 | 2556782.0207 | 1150025.6406 | 2556776.9995 | 1150035.1482 | 2556766.5829 | 1150048.0631 | 2556751.072 | 1150061.3704 | 2556734.8664 | 1150070.9475 | 2556723.0326 | 1150076.7801 | 2556709.5685 | 1150090.7398
64 | 2556945.582 | 1150312.6143 | 2556945.9821 | 1150312.9673 | 2556969.563 | 1150331.0633 | 2556999.2496 | 1150352.8176 | 2557029.5864 | 1150374.2895 | 2557041.7238 | 1150383.7052
65 | 2556478.2457 | 1149937.8426 | 2556505.6141 | 1149959.0999 | 2556540.5095 | 1149996.8336 | 2556573.032 | 1150034.5179 | 2556596.1531 | 1150049.2363 | 2556613.6335 | 1150073.6919
66 | 2556671.9148 | 1150158.6404 | 2556678.6595 | 1150169.1361 | 2556688.5328 | 1150177.2559
67 | 2557041.7238 | 1150383.7052 | 2557048.8561 | 1150389.2382
68 | 2556456.9923 | 1149935.184 | 2556478.2457 | 1149937.8426
69 | 2556764.1957 | 1150237.676 | 2556710.9104 | 1150202.4098 | 2556694.552 | 1150182.2061 | 2556688.5328 | 1150177.2559
70 | 2556906.7943 | 1150433.9923 | 2556897.1716 | 1150418.3268 | 2556887.9084 | 1150400.3647
71 | 2556819.3897 | 1150350.15 | 2556832.8573 | 1150365.5723 | 2556840.1807 | 1150374.1575 | 2556851.3888 | 1150378.5237 | 2556870.697 | 1150385.2664 | 2556881.7218 | 1150390.8568 | 2556887.0673 | 1150398.7336 | 2556887.9084 | 1150400.3647
72 | 2556819.3897 | 1150350.15 | 2556808.9399 | 1150340.22 | 2556801.6731 | 1150332.0569 | 2556784.6154 | 1150322.33 | 2556770.9603 | 1150312.89 | 2556762.9626 | 1150304.3766
73 | 2556819.3897 | 1150350.15 | 2556817.6979 | 1150347.6053 | 2556812.61 | 1150334.9909 | 2556809.789 | 1150321.6599 | 2556809.801 | 1150317.9801 | 2556810.4893 | 1150294.1296 | 2556811.2373 | 1150277.5157 | 2556804.8419 | 1150264.5772 | 2556764.1957 | 1150237.676
74 | 2556457.5504 | 1149921.0949 | 2556456.9923 | 1149935.184
75 | 2556456.9923 | 1149935.184 | 2556441.8046 | 1149944.3209 | 2556426.0711 | 1149953.3396 | 2556419.2844 | 1149954.3449 | 2556411.0578 | 1149953.6931 | 2556405.2055 | 1149951.2342 | 2556386.446 | 1149936.7962 | 2556367.7861 | 1149920.2231 | 2556348.9539 | 1149896.87 | 2556338.915 | 1149904.6024 | 2556338.8659 | 1149909.472 | 2556341.9555 | 1149917.3425 | 2556347.5172 | 1149929.5422
76 | 2556457.5504 | 1149921.0949 | 2556430.5655 | 1149901.9361 | 2556424.2739 | 1149891.8321 | 2556416.0387 | 1149868.4907
77 | 2556320.7054 | 1149903.5564 | 2556322.4336 | 1149910.0138 | 2556328.4945 | 1149920.0416 | 2556334.6224 | 1149928.7349 | 2556342.6844 | 1149936.3136 | 2556345.314 | 1149938.9848 | 2556347.2491 | 1149939.0596 | 2556349.4329 | 1149937.443 | 2556348.6333 | 1149931.9904 | 2556347.5172 | 1149929.5422
78 | 2556407.5011 | 1149833.3747 | 2556415.2993 | 1149866.3952 | 2556416.0387 | 1149868.4907
79 | 2556322.2795 | 1149900.4322 | 2556320.7054 | 1149903.5564 | 2556320.7054 | 1149903.5564
80 | 2556325.7567 | 1149618.3618 | 2556348.0995 | 1149649.271 | 2556360.3539 | 1149674.8619 | 2556381.4748 | 1149759.5966 | 2556403.7674 | 1149817.5648 | 2556407.5011 | 1149833.3747
81 | 2556325.7567 | 1149618.3618 | 2556343.2182 | 1149606.1509 | 2556356.3903 | 1149604.7991 | 2556356.3903 | 1149604.7991
82 | 2556325.7567 | 1149618.3618 | 2556294.6383 | 1149583.5619
83 | 2556398.9788 | 1148867.622 | 2556593.1525 | 1148902.3734
84 | 2556381.4818 | 1148930.2589 | 2556383.7613 | 1148922.7385 | 2556390.8783 | 1148913.1152 | 2556395.2244 | 1148888.8157 | 2556398.9788 | 1148867.622
85 | 2556381.4818 | 1148930.2589 | 2556383.1457 | 1148934.1822 | 2556389.8323 | 1148940.3229
86 | 2555887.974 | 1149235.3163 | 2555909.2644 | 1149239.4957 | 2555933.6339 | 1149242.6742 | 2555944.4436 | 1149248.8871 | 2555959.8589 | 1149262.2921 | 2555972.8655 | 1149272.3494
87 | 2555994.3944 | 1149285.4957 | 2555979.2707 | 1149277.3021 | 2555972.8655 | 1149272.3494
88 | 2555887.974 | 1149235.3163 | 2555876.0242 | 1149230.6905 | 2555865.273 | 1149225.1555 | 2555853.558 | 1149221.1505 | 2555839.3305 | 1149215.8412
89 | 2555887.974 | 1149235.3163 | 2555879.8823 | 1149223.9032 | 2555873.5805 | 1149219.6102
90 | 2555994.3944 | 1149285.4957 | 2555996.5034 | 1149283.079 | 2555998.0541 | 1149282.0004 | 2555999.0265 | 1149281.6487 | 2556000.5748 | 1149281.2816 | 2556002.3712 | 1149281.2684 | 2556004.6462 | 1149281.5853 | 2556047.5078 | 1149290.632 | 2556051.8579 | 1149291.245 | 2556056.2894 | 1149291.446 | 2556072.2778 | 1149291.9294 | 2556092.3022 | 1149293.106 | 2556103.3652 | 1149294.0924 | 2556132.7353 | 1149294.4893 | 2556140.2551 | 1149294.9569 | 2556146.8667 | 1149296.1538 | 2556178.3545 | 1149304.9015
91 | 2555994.3944 | 1149285.4957 | 2555999.0583 | 1149288.0851 | 2556036.8241 | 1149313.2014
92 | 2555786.2314 | 1149135.5567 | 2555787.1313 | 1149146.2111 | 2555790.5336 | 1149157.8254 | 2555799.2818 | 1149169.7228 | 2555853.783 | 1149202.6505 | 2555871.4869 | 1149218.1841 | 2555873.5805 | 1149219.6102
93 | 2556036.8241 | 1149313.2014 | 2556048.3123 | 1149320.8417 | 2556068.9341 | 1149336.5435 | 2556075.1233 | 1149345.707
94 | 2555786.2314 | 1149135.5567 | 2555784.3317 | 1149113.1925 | 2555778.9309 | 1149093.9779 | 2555772.1713 | 1149074.7955 | 2555768.7404 | 1149068.6843 | 2555776.1329 | 1149066.4065 | 2555895.6793 | 1149058.0908
95 | 2556102.3863 | 1149397.6084 | 2556093.9496 | 1149381.973 | 2556078.5352 | 1149350.7584 | 2556075.1233 | 1149345.707
96 | 2555895.6793 | 1149058.0908 | 2555893.1148 | 1149067.4922 | 2555885.0567 | 1149086.8279 | 2555881.3985 | 1149100.9954 | 2555882.994 | 1149109.1657 | 2555888.0487 | 1149115.7876 | 2555899.6414 | 1149121.939 | 2555925.5868 | 1149131.5982 | 2555932.7204 | 1149136.9487 | 2555936.2521 | 1149144.271 | 2555944.3257 | 1149164.7335 | 2555947.4551 | 1149173.7263 | 2555949.7136 | 1149187.5057 | 2555950.0713 | 1149198.5977 | 2555949.3513 | 1149205.1175 | 2555946.7418 | 1149209.4388 | 2555943.6953 | 1149211.7512 | 2555939.4595 | 1149212.0602 | 2555934.0156 | 1149211.6851
97 | 2556102.3863 | 1149397.6084 | 2556104.0362 | 1149400.6662
98 | 2555920.8848 | 1149211.774 | 2555930.2722 | 1149211.4272 | 2555934.0156 | 1149211.6851
99 | 2556184.5138 | 1149505.109 | 2556143.9839 | 1149477.646 | 2556134.9783 | 1149469.2407 | 2556111.7724 | 1149415.0043 | 2556104.0362 | 1149400.6662
100 | 2556224.4171 | 1149125.1249 | 2556121.5064 | 1148997.0436
101 | 2556565.4471 | 1149770.4317 | 2556558.7608 | 1149763.7262 | 2556558.3546 | 1149763.3663
102 | 2556551.3797 | 1149757.1856 | 2556558.3546 | 1149763.3663
103 | 2556546.3163 | 1149752.2437 | 2556549.5275 | 1149755.5443 | 2556551.3797 | 1149757.1856
104 | 2556546.3163 | 1149752.2437 | 2556530.5762 | 1149736.0659
105 | 2556524.0171 | 1149729.885 | 2556527.6386 | 1149733.0465 | 2556530.5762 | 1149736.0659
106 | 2556261.1642 | 1149546.1276 | 2556248.3063 | 1149536.0489
107 | 2556261.1642 | 1149546.1276 | 2556261.1642 | 1149546.1276 | 2556266.1561 | 1149551.71
108 | 2556232.1766 | 1149523.4057 | 2556248.3063 | 1149536.0489
109 | 2556276.7368 | 1149563.5425 | 2556266.1561 | 1149551.71
110 | 2556226.4563 | 1149518.9217 | 2556226.4563 | 1149518.9217 | 2556232.1766 | 1149523.4057
111 | 2556276.7368 | 1149563.5425 | 2556281.7591 | 1149569.1591
112 | 2556226.4563 | 1149518.9217 | 2556198.6858 | 1149509.7762
113 | 2556281.7591 | 1149569.1591 | 2556294.6383 | 1149583.5619
114 | 2556184.5138 | 1149505.109 | 2556198.6858 | 1149509.7762
115 | 2556163.161 | 1149522.7404 | 2556184.5138 | 1149505.109
116 | 2556524.0171 | 1149729.885 | 2556516.7148 | 1149723.5101
117 | 2556515.4701 | 1149722.4235 | 2556516.7148 | 1149723.5101
118 | 2556515.4701 | 1149722.4235 | 2556510.1924 | 1149717.8161
119 | 2556505.7896 | 1149713.9725 | 2556510.1924 | 1149717.8161
120 | 2556163.161 | 1149522.7404 | 2556158.3547 | 1149528.488
121 | 2556092.0139 | 1149544.7043 | 2556095.6782 | 1149542.9099 | 2556106.609 | 1149542.6633 | 2556129.9725 | 1149548.0956 | 2556136.5764 | 1149548.2919 | 2556143.9585 | 1149545.7034 | 2556158.3547 | 1149528.488
122 | 2556163.161 | 1149522.7404 | 2556103.0933 | 1149498.5996 | 2556092.0982 | 1149488.9972 | 2556075.89 | 1149473.0852 | 2556060.8791 | 1149455.03
123 | 2556092.0139 | 1149544.7043 | 2556090.9078 | 1149550.9378 | 2556094.6622 | 1149563.5613 | 2556096.8924 | 1149573.539 | 2556099.249 | 1149582.688
124 | 2556106.8873 | 1149607.0389 | 2556104.0881 | 1149600.0891 | 2556102.1943 | 1149594.122 | 2556099.249 | 1149582.688
125 | 2556106.8873 | 1149607.0389 | 2556108.0757 | 1149609.9761 | 2556110.5889 | 1149617.7062 | 2556119.7581 | 1149617.0056 | 2556126.1608 | 1149619.0822 | 2556133.7525 | 1149622.0839 | 2556145.3962 | 1149629.0803 | 2556157.9875 | 1149636.5256 | 2556165.1153 | 1149641.1983 | 2556171.5471 | 1149647.2767 | 2556176.5588 | 1149653.3767 | 2556190.9251 | 1149676.8507 | 2556201.7336 | 1149695.6705
126 | 2556229.4227 | 1149734.3332 | 2556218.9271 | 1149722.6147 | 2556209.1284 | 1149708.5455 | 2556201.7336 | 1149695.6705
127 | 2556372.5371 | 1149606.0603 | 2556372.5371 | 1149606.0603 | 2556356.3903 | 1149604.7991
128 | 2556372.5371 | 1149606.0603 | 2556395.0332 | 1149617.9365 | 2556420.9052 | 1149644.3403 | 2556444.7377 | 1149664.8003 | 2556459.7943 | 1149679.1324
129 | 2556485.9388 | 1149699.2229 | 2556470.5963 | 1149689.4146 | 2556459.7943 | 1149679.1324
130 | 2556485.9388 | 1149699.2229 | 2556496.9897 | 1149706.2878 | 2556500.6853 | 1149709.5151
131 | 2556413.9815 | 1148990.3541 | 2556415.4105 | 1148997.8809 | 2556418.1258 | 1149007.0326 | 2556422.1242 | 1149020.5439 | 2556427.2104 | 1149032.6466 | 2556434.9644 | 1149047.3647 | 2556443.3976 | 1149063.5219
132 | 2556413.9815 | 1148990.3541 | 2556413.4627 | 1148987.6231 | 2556412.7125 | 1148982.8191
133 | 2556389.8323 | 1148940.3229 | 2556389.8473 | 1148940.3367 | 2556396.5488 | 1148946.4802 | 2556402.646 | 1148955.0515 | 2556409.3787 | 1148969.7324 | 2556412.2871 | 1148980.0944 | 2556412.7125 | 1148982.8191
134 | 2556505.7896 | 1149713.9725 | 2556500.6853 | 1149709.5151
135 | 2556505.7896 | 1149713.9725 | 2556491.3612 | 1149734.7543 | 2556486.4183 | 1149745.5178 | 2556489.0036 | 1149755.86 | 2556490.2153 | 1149757.8582

## bus_geodata
| x | y | coords
0 | 2557194.778 | 1150007.9624
1 | 2557131.6217 | 1149896.8823
2 | 2557066.5508 | 1149820.3963
3 | 2557130.4145 | 1149916.1198
4 | 2557136.7143 | 1149849.933
5 | 2557242.47 | 1150266.038
6 | 2557163.3981 | 1150361.1832
7 | 2557055.3171 | 1149837.263
8 | 2557014.5417 | 1149828.2609
9 | 2557146.1837 | 1149989.3037
10 | 2557136.4769 | 1149844.3348
11 | 2557166.7937 | 1149891.6787
12 | 2556886.1826 | 1149941.8018
13 | 2556777.2522 | 1149862.1908
14 | 2556899.9514 | 1150017.1784
15 | 2557003.6506 | 1149923.0097
16 | 2556995.7023 | 1149786.4186
17 | 2556969.2001 | 1149771.0655
18 | 2557178.3498 | 1150055.0853
19 | 2557132.349 | 1149970.8484
20 | 2557373.0869 | 1149976.4394
21 | 2557014.0423 | 1149589.9754
22 | 2557188.4926 | 1150066.6671
23 | 2556938.0231 | 1150094.8865
24 | 2556959.9371 | 1150136.199
25 | 2556926.2113 | 1150072.7994
26 | 2557436.2728 | 1150007.306
27 | 2557429.5317 | 1150045.4082
28 | 2556824.1688 | 1149168.3187
29 | 2556732.5995 | 1149042.8131
30 | 2556617.7544 | 1149136.7223
31 | 2556568.8888 | 1149228.6445
32 | 2556656.0167 | 1148941.3459
33 | 2556757.7084 | 1149861.8858
34 | 2556418.3164 | 1149358.323
35 | 2556445.0594 | 1149373.4148
36 | 2556376.3625 | 1149358.1483
37 | 2556407.5054 | 1149283.0405
38 | 2556469.301 | 1149348.4597
39 | 2556299.9641 | 1149321.4008
40 | 2556322.2536 | 1149125.8228
41 | 2556470.3537 | 1149269.385
42 | 2556201.654 | 1149310.3389
43 | 2556296.4662 | 1149108.2456
44 | 2556526.9522 | 1149301.8921
45 | 2557022.9803 | 1150248.5047
46 | 2557101.5719 | 1150321.3419
47 | 2557135.866 | 1150358.2552
48 | 2556994.3421 | 1150296.6366
49 | 2556964.5844 | 1150275.5371
50 | 2557060.3212 | 1150329.3601
51 | 2556932.8078 | 1150253.0803
52 | 2556822.0694 | 1150194.2951
53 | 2556702.6566 | 1150103.1182
54 | 2556879.7145 | 1150250.5799
55 | 2556627.9798 | 1150093.7628
56 | 2556709.5685 | 1150090.7398
57 | 2556945.582 | 1150312.6143
58 | 2557056.3362 | 1150286.7483
59 | 2556613.6335 | 1150073.6919
60 | 2556671.9148 | 1150158.6404
61 | 2556782.0207 | 1150025.6406
62 | 2557041.7238 | 1150383.7052
63 | 2557048.8561 | 1150389.2382
64 | 2556478.2457 | 1149937.8426
65 | 2556688.5328 | 1150177.2559
66 | 2556906.7943 | 1150433.9923
67 | 2556887.9084 | 1150400.3647
68 | 2556819.3897 | 1150350.15
69 | 2556762.9626 | 1150304.3766
70 | 2556764.1957 | 1150237.676
71 | 2556456.9923 | 1149935.184
72 | 2556457.5504 | 1149921.0949
73 | 2556347.5172 | 1149929.5423
74 | 2556416.0387 | 1149868.4907
75 | 2556320.7054 | 1149903.5564
76 | 2556407.5011 | 1149833.3747
77 | 2556322.2795 | 1149900.4322
78 | 2556325.7567 | 1149618.3618
79 | 2556593.1525 | 1148902.3734
80 | 2556398.9788 | 1148867.622
81 | 2556381.4818 | 1148930.2589
82 | 2555972.8655 | 1149272.3494
83 | 2555887.974 | 1149235.3163
84 | 2555994.3944 | 1149285.4957
85 | 2555839.3305 | 1149215.8412
86 | 2555873.5805 | 1149219.6102
87 | 2556178.3545 | 1149304.9015
88 | 2556036.8241 | 1149313.2014
89 | 2555786.2314 | 1149135.5567
90 | 2556075.1233 | 1149345.707
91 | 2555895.6793 | 1149058.0908
92 | 2556102.3863 | 1149397.6084
93 | 2555934.0156 | 1149211.6851
94 | 2556104.0362 | 1149400.6662
95 | 2555920.8848 | 1149211.774
96 | 2556224.4171 | 1149125.1249
97 | 2556121.5064 | 1148997.0436
98 | 2556565.4471 | 1149770.4317
99 | 2556558.3546 | 1149763.3663
100 | 2556551.3797 | 1149757.1856
101 | 2556546.3163 | 1149752.2437
102 | 2556530.5762 | 1149736.0659
103 | 2556261.1642 | 1149546.1276
104 | 2556248.3063 | 1149536.0489
105 | 2556266.1561 | 1149551.71
106 | 2556232.1766 | 1149523.4057
107 | 2556276.7368 | 1149563.5425
108 | 2556226.4563 | 1149518.9217
109 | 2556281.7592 | 1149569.1591
110 | 2556198.6858 | 1149509.7762
111 | 2556294.6383 | 1149583.5619
112 | 2556184.5138 | 1149505.109
113 | 2556524.0171 | 1149729.885
114 | 2556516.7148 | 1149723.5101
115 | 2556515.4701 | 1149722.4235
116 | 2556510.1924 | 1149717.8161
117 | 2556158.3547 | 1149528.488
118 | 2556163.161 | 1149522.7404
119 | 2556092.0139 | 1149544.7043
120 | 2556060.8791 | 1149455.03
121 | 2556099.249 | 1149582.688
122 | 2556106.8873 | 1149607.0389
123 | 2556201.7336 | 1149695.6705
124 | 2556229.4227 | 1149734.3332
125 | 2556356.3903 | 1149604.7991
126 | 2556372.5371 | 1149606.0603
127 | 2556459.7943 | 1149679.1324
128 | 2556485.9388 | 1149699.2229
129 | 2556555.7953 | 1149309.0532
130 | 2556443.3976 | 1149063.5219
131 | 2556413.9815 | 1148990.3541
132 | 2556412.7125 | 1148982.8191
133 | 2556500.6853 | 1149709.5151
134 | 2556505.7896 | 1149713.9725
135 | 2556490.2153 | 1149757.8582
136 | 2556389.8323 | 1148940.3229
137 | 2556505.7896 | 1149713.9725

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1