## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5885-3_1_5_node_28 | 0.4 | n |  | TRUE
1 | bus_LV_5885-3_1_5_node_29 | 0.4 | n |  | TRUE
2 | bus_LV_5885-3_1_5_node_31 | 0.4 | n |  | TRUE
3 | bus_LV_5885-3_1_5_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_5885-3_1_5_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_5885-3_1_5_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_5885-3_1_5_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_5885-3_1_5_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_5885-3_1_5_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_5885-3_1_5_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_5885-3_1_5_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_5885-3_1_5_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_5885-3_1_5_node_107 | 0.4 | n |  | TRUE
13 | bus_LV_5885-3_1_5_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_5885-3_1_5_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_5885-3_1_5_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_5885-3_1_5_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_5885-3_1_5_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_5885-3_1_5_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_5885-3_1_5_node_68 | 0.4 | n |  | TRUE
20 | bus_LV_5885-3_1_5_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_5885-3_1_5_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_5885-3_1_5_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_5885-3_1_5_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_5885-3_1_5_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_5885-3_1_5_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_5885-3_1_5_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_5885-3_1_5_node_75 | 0.4 | n |  | TRUE
28 | bus_LV_5885-3_1_5_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_5885-3_1_5_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_5885-3_1_5_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_5885-3_1_5_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_5885-3_1_5_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_5885-3_1_5_node_82 | 0.4 | n |  | TRUE
34 | bus_LV_5885-3_1_5_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_5885-3_1_5_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_5885-3_1_5_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_5885-3_1_5_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_5885-3_1_5_node_98 | 0.4 | n |  | TRUE
39 | bus_LV_5885-3_1_5_node_99 | 0.4 | n |  | TRUE
40 | bus_LV_5885-3_1_5_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_5885-3_1_5_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_5885-3_1_5_node_91 | 0.4 | n |  | TRUE
43 | bus_LV_5885-3_1_5_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_5885-3_1_5_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_5885-3_1_5_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_5885-3_1_5_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_5885-3_1_5_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_5885-3_1_5_node_186 | 0.4 | n |  | TRUE
49 | bus_LV_5885-3_1_5_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_5885-3_1_5_node_101 | 0.4 | n |  | TRUE
51 | bus_LV_5885-3_1_5_node_103 | 0.4 | n |  | TRUE
52 | bus_LV_5885-3_1_5_node_106 | 0.4 | n |  | TRUE
53 | bus_LV_5885-3_1_5_node_104 | 0.4 | n |  | TRUE
54 | bus_LV_5885-3_1_5_node_122 | 0.4 | n |  | TRUE
55 | bus_LV_5885-3_1_5_node_123 | 0.4 | n |  | TRUE
56 | bus_LV_5885-3_1_5_node_115 | 0.4 | n |  | TRUE
57 | bus_LV_5885-3_1_5_node_108 | 0.4 | n |  | TRUE
58 | bus_LV_5885-3_1_5_node_116 | 0.4 | n |  | TRUE
59 | bus_LV_5885-3_1_5_node_109 | 0.4 | n |  | TRUE
60 | bus_LV_5885-3_1_5_node_110 | 0.4 | n |  | TRUE
61 | bus_LV_5885-3_1_5_node_111 | 0.4 | n |  | TRUE
62 | bus_LV_5885-3_1_5_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_5885-3_1_5_node_113 | 0.4 | n |  | TRUE
64 | bus_LV_5885-3_1_5_node_114 | 0.4 | n |  | TRUE
65 | bus_LV_5885-3_1_5_node_195 | 0.4 | n |  | TRUE
66 | bus_LV_5885-3_1_5_node_222 | 0.4 | n |  | TRUE
67 | bus_LV_5885-3_1_5_node_187 | 0.4 | n |  | TRUE
68 | bus_LV_5885-3_1_5_node_188 | 0.4 | n |  | TRUE
69 | bus_LV_5885-3_1_5_node_189 | 0.4 | n |  | TRUE
70 | bus_LV_5885-3_1_5_node_190 | 0.4 | n |  | TRUE
71 | bus_LV_5885-3_1_5_node_191 | 0.4 | n |  | TRUE
72 | bus_LV_5885-3_1_5_node_192 | 0.4 | n |  | TRUE
73 | bus_LV_5885-3_1_5_node_193 | 0.4 | n |  | TRUE
74 | bus_LV_5885-3_1_5_node_194 | 0.4 | n |  | TRUE
75 | bus_LV_5885-3_1_5_node_207 | 0.4 | n |  | TRUE
76 | bus_LV_5885-3_1_5_node_196 | 0.4 | n |  | TRUE
77 | bus_LV_5885-3_1_5_node_197 | 0.4 | n |  | TRUE
78 | bus_LV_5885-3_1_5_node_213 | 0.4 | n |  | TRUE
79 | bus_LV_5885-3_1_5_node_198 | 0.4 | n |  | TRUE
80 | bus_LV_5885-3_1_5_node_199 | 0.4 | n |  | TRUE
81 | bus_LV_5885-3_1_5_node_201 | 0.4 | n |  | TRUE
82 | bus_LV_5885-3_1_5_node_200 | 0.4 | n |  | TRUE
83 | bus_LV_5885-3_1_5_node_212 | 0.4 | n |  | TRUE
84 | bus_LV_5885-3_1_5_node_202 | 0.4 | n |  | TRUE
85 | bus_LV_5885-3_1_5_node_203 | 0.4 | n |  | TRUE
86 | bus_LV_5885-3_1_5_node_204 | 0.4 | n |  | TRUE
87 | bus_LV_5885-3_1_5_node_205 | 0.4 | n |  | TRUE
88 | bus_LV_5885-3_1_5_node_206 | 0.4 | n |  | TRUE
89 | bus_LV_5885-3_1_5_node_211 | 0.4 | n |  | TRUE
90 | bus_LV_5885-3_1_5_node_209 | 0.4 | n |  | TRUE
91 | bus_LV_5885-3_1_5_node_215 | 0.4 | n |  | TRUE
92 | bus_LV_5885-3_1_5_node_208 | 0.4 | n |  | TRUE
93 | bus_LV_5885-3_1_5_node_210 | 0.4 | n |  | TRUE
94 | bus_LV_5885-3_1_5_node_214 | 0.4 | n |  | TRUE
95 | bus_LV_5885-3_1_5_node_221 | 0.4 | n |  | TRUE
96 | bus_MV_263_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5885-3_1_5_load_28 | 0 | 0.0011447 | 0.00028688 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5885-3_1_5_load_29 | 1 | 0.00069481 | 0.00017413 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5885-3_1_5_load_32 | 4 | 0.0044556 | 0.0011167 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5885-3_1_5_load_33 | 5 | 0.0030688 | 0.00076911 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5885-3_1_5_load_34 | 6 | 0.0014005 | 0.00035099 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5885-3_1_5_load_35 | 7 | 0.0011728 | 0.00029393 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5885-3_1_5_load_36 | 8 | 0.0075336 | 0.0018881 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5885-3_1_5_load_37 | 9 | 0.0015782 | 0.00039553 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5885-3_1_5_load_67 | 10 | 0.0039939 | 0.001001 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5885-3_1_5_load_78 | 11 | 0.0035495 | 0.00088958 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5885-3_1_5_load_107 | 12 | 0.0020503 | 0.00051386 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5885-3_1_5_load_38 | 13 | 0.0066245 | 0.0016602 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5885-3_1_5_load_39 | 14 | 0.0011226 | 0.00028134 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5885-3_1_5_load_83 | 17 | 0.0023029 | 0.00057717 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5885-3_1_5_load_90 | 18 | 0.0018821 | 0.0004717 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5885-3_1_5_load_68 | 19 | 0.0020106 | 0.0005039 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5885-3_1_5_load_69 | 20 | 0.0020112 | 0.00050406 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5885-3_1_5_load_70 | 21 | 0.0019642 | 0.00049228 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5885-3_1_5_load_71 | 22 | 0.0018497 | 0.00046358 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5885-3_1_5_load_72 | 23 | 0.0021361 | 0.00053536 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5885-3_1_5_load_73 | 24 | 0.0031032 | 0.00077772 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5885-3_1_5_load_74 | 25 | 0.0031102 | 0.00077949 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5885-3_1_5_load_80 | 28 | 0.0042851 | 0.001074 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5885-3_1_5_load_79 | 29 | 0.011078 | 0.0027765 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5885-3_1_5_load_76 | 30 | 0.0031053 | 0.00077825 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5885-3_1_5_load_77 | 31 | 0.0031712 | 0.00079478 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5885-3_1_5_load_82 | 33 | 0.0026543 | 0.00066524 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5885-3_1_5_load_84 | 34 | 0.0030944 | 0.00077552 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5885-3_1_5_load_86 | 36 | 0.0019888 | 0.00049845 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5885-3_1_5_load_87 | 37 | 0.0024431 | 0.00061229 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5885-3_1_5_load_98 | 38 | 0.0037917 | 0.00095029 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5885-3_1_5_load_99 | 39 | 0.0026791 | 0.00067146 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5885-3_1_5_load_88 | 40 | 0.0020308 | 0.00050897 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5885-3_1_5_load_89 | 41 | 0.0020209 | 0.00050647 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5885-3_1_5_load_91 | 42 | 0.0031923 | 0.00080007 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5885-3_1_5_load_97 | 43 | 0.0025797 | 0.00064654 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5885-3_1_5_load_93 | 44 | 0.0021595 | 0.00054123 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5885-3_1_5_load_94 | 45 | 0.0036808 | 0.00092251 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5885-3_1_5_load_95 | 46 | 0.0022619 | 0.00056688 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5885-3_1_5_load_186 | 48 | 0.0035813 | 0.00089755 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5885-3_1_5_load_100 | 49 | 0.0063572 | 0.0015933 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5885-3_1_5_load_106 | 52 | 0.00269 | 0.00067417 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5885-3_1_5_load_122 | 54 | 0.0020766 | 0.00052043 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5885-3_1_5_load_123 | 55 | 0.002285 | 0.00057267 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5885-3_1_5_load_115 | 56 | 0.0028308 | 0.00070947 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5885-3_1_5_load_116 | 58 | 0.0024116 | 0.00060439 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5885-3_1_5_load_109 | 59 | 0.0029436 | 0.00073775 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5885-3_1_5_load_111 | 61 | 0.0017496 | 0.00043848 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5885-3_1_5_load_112 | 62 | 0.0018316 | 0.00045904 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5885-3_1_5_load_113 | 63 | 0.002379 | 0.00059623 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5885-3_1_5_load_114 | 64 | 0.0017308 | 0.00043378 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5885-3_1_5_load_195 | 65 | 0.0020942 | 0.00052486 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5885-3_1_5_load_187 | 67 | 0.00088614 | 0.00022209 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5885-3_1_5_load_188 | 68 | 0.0030802 | 0.00077196 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5885-3_1_5_load_189 | 69 | 0.001302 | 0.00032632 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5885-3_1_5_load_190 | 70 | 0.00077042 | 0.00019309 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5885-3_1_5_load_191 | 71 | 0.0012656 | 0.00031718 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5885-3_1_5_load_192 | 72 | 0.0013893 | 0.0003482 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5885-3_1_5_load_193 | 73 | 0.00050564 | 0.00012673 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5885-3_1_5_load_194 | 74 | 0.00047111 | 0.00011807 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5885-3_1_5_load_207 | 75 | 0.0030675 | 0.00076879 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5885-3_1_5_load_196 | 76 | 0.0016495 | 0.00041339 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5885-3_1_5_load_197 | 77 | 0.0010397 | 0.00026057 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5885-3_1_5_load_213 | 78 | 0.0013301 | 0.00033336 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5885-3_1_5_load_199 | 80 | 0.0018778 | 0.00047063 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5885-3_1_5_load_201 | 81 | 0.0011994 | 0.00030059 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5885-3_1_5_load_200 | 82 | 0.0045778 | 0.0011473 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5885-3_1_5_load_212 | 83 | 0.0049031 | 0.0012288 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5885-3_1_5_load_203 | 85 | 0.0077999 | 0.0019548 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5885-3_1_5_load_209 | 90 | 0.0087492 | 0.0021928 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5885-3_1_5_load_215 | 91 | 0.0019782 | 0.00049579 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5885-3_1_5_load_208 | 92 | 0.0049341 | 0.0012366 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5885-3_1_5_load_210 | 93 | 0.0045651 | 0.0011441 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5885-3_1_5_load_221 | 95 | 0.0029638 | 0.0007428 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5885-3_1_5_line_0 |  | 0 | 1 | 0.02542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5885-3_1_5_line_1 |  | 1 | 2 | 0.01728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5885-3_1_5_line_2 |  | 2 | 6 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5885-3_1_5_line_3 |  | 2 | 7 | 0.036792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5885-3_1_5_line_4 |  | 3 | 4 | 0.013586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5885-3_1_5_line_5 |  | 3 | 5 | 0.049743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5885-3_1_5_line_6 |  | 4 | 8 | 0.014962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5885-3_1_5_line_7 |  | 5 | 9 | 0.011863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5885-3_1_5_line_8 |  | 7 | 10 | 0.016935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5885-3_1_5_line_9 |  | 8 | 11 | 0.046113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_5885-3_1_5_line_10 |  | 9 | 12 | 0.017709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5885-3_1_5_line_11 |  | 10 | 18 | 0.056651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5885-3_1_5_line_12 |  | 11 | 30 | 0.026707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5885-3_1_5_line_13 |  | 12 | 57 | 0.036221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5885-3_1_5_line_14 |  | 13 | 14 | 0.03507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5885-3_1_5_line_15 |  | 14 | 15 | 0.032276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5885-3_1_5_line_16 |  | 15 | 16 | 0.039498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5885-3_1_5_line_17 |  | 16 | 17 | 0.14516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5885-3_1_5_line_18 |  | 17 | 33 | 0.025429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5885-3_1_5_line_19 |  | 18 | 40 | 0.05034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5885-3_1_5_line_20 |  | 19 | 20 | 0.019229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5885-3_1_5_line_21 |  | 19 | 21 | 0.016248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5885-3_1_5_line_22 |  | 20 | 22 | 0.0068496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5885-3_1_5_line_23 |  | 21 | 23 | 0.016874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5885-3_1_5_line_24 |  | 22 | 24 | 0.020783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5885-3_1_5_line_25 |  | 23 | 25 | 0.018363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5885-3_1_5_line_26 |  | 25 | 26 | 0.01911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5885-3_1_5_line_27 |  | 26 | 32 | 0.042908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5885-3_1_5_line_28 |  | 26 | 28 | 0.0063432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5885-3_1_5_line_29 |  | 27 | 28 | 0.0078494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5885-3_1_5_line_30 |  | 27 | 29 | 0.018742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5885-3_1_5_line_31 |  | 29 | 31 | 0.00011819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5885-3_1_5_line_32 |  | 30 | 31 | 0.0098573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5885-3_1_5_line_33 |  | 32 | 43 | 0.011202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5885-3_1_5_line_34 |  | 32 | 42 | 0.027007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5885-3_1_5_line_35 |  | 33 | 34 | 0.070297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5885-3_1_5_line_36 |  | 34 | 35 | 0.032398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5885-3_1_5_line_37 |  | 35 | 36 | 0.022998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5885-3_1_5_line_38 |  | 35 | 37 | 0.032799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5885-3_1_5_line_39 |  | 36 | 38 | 0.0031785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5885-3_1_5_line_40 |  | 37 | 39 | 0.001542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5885-3_1_5_line_41 |  | 38 | 47 | 0.019369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5885-3_1_5_line_42 |  | 39 | 48 | 0.004197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5885-3_1_5_line_43 |  | 40 | 41 | 0.023216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5885-3_1_5_line_44 |  | 41 | 42 | 0.025026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5885-3_1_5_line_45 |  | 43 | 47 | 0.022455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5885-3_1_5_line_46 |  | 44 | 45 | 0.033156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5885-3_1_5_line_47 |  | 44 | 46 | 0.0082288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5885-3_1_5_line_48 |  | 45 | 47 | 0.01379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5885-3_1_5_line_49 |  | 48 | 67 | 0.025876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5885-3_1_5_line_50 |  | 49 | 50 | 0.034461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5885-3_1_5_line_51 |  | 50 | 51 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5885-3_1_5_line_52 |  | 51 | 52 | 0.02003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5885-3_1_5_line_53 |  | 52 | 56 | 0.024259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5885-3_1_5_line_54 |  | 53 | 54 | 0.033105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5885-3_1_5_line_55 |  | 53 | 55 | 0.019689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5885-3_1_5_line_56 |  | 54 | 66 | 0.14843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5885-3_1_5_line_57 |  | 56 | 57 | 0.01031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5885-3_1_5_line_58 |  | 57 | 58 | 0.032045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5885-3_1_5_line_59 |  | 59 | 60 | 0.058335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5885-3_1_5_line_60 |  | 59 | 61 | 0.054889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5885-3_1_5_line_61 |  | 60 | 62 | 0.055999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5885-3_1_5_line_62 |  | 61 | 63 | 0.025187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5885-3_1_5_line_63 |  | 62 | 64 | 0.010387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5885-3_1_5_line_64 |  | 64 | 65 | 0.033304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_5885-3_1_5_line_65 |  | 65 | 76 | 0.029446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5885-3_1_5_line_66 |  | 66 | 95 | 0.014533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5885-3_1_5_line_67 |  | 67 | 68 | 0.023002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_5885-3_1_5_line_68 |  | 68 | 69 | 0.035553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5885-3_1_5_line_69 |  | 69 | 70 | 0.028027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5885-3_1_5_line_70 |  | 70 | 71 | 0.014066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5885-3_1_5_line_71 |  | 71 | 72 | 0.020241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5885-3_1_5_line_72 |  | 72 | 73 | 0.014993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5885-3_1_5_line_73 |  | 73 | 74 | 0.017483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5885-3_1_5_line_74 |  | 74 | 75 | 0.0037214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5885-3_1_5_line_75 |  | 75 | 86 | 0.027698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5885-3_1_5_line_76 |  | 76 | 77 | 0.036698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_5885-3_1_5_line_77 |  | 76 | 78 | 0.13087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5885-3_1_5_line_78 |  | 77 | 79 | 0.0052793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_5885-3_1_5_line_79 |  | 78 | 94 | 0.043312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5885-3_1_5_line_80 |  | 79 | 80 | 0.034344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_5885-3_1_5_line_81 |  | 80 | 81 | 0.011664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_5885-3_1_5_line_82 |  | 81 | 84 | 0.042667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_5885-3_1_5_line_83 |  | 82 | 83 | 0.0092368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5885-3_1_5_line_84 |  | 83 | 89 | 0.036785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5885-3_1_5_line_85 |  | 84 | 85 | 0.011649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_5885-3_1_5_line_86 |  | 84 | 86 | 0.021387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_5885-3_1_5_line_87 |  | 85 | 87 | 0.030219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5885-3_1_5_line_88 |  | 86 | 88 | 0.008923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5885-3_1_5_line_89 |  | 87 | 89 | 0.007874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5885-3_1_5_line_90 |  | 87 | 90 | 0.05878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5885-3_1_5_line_91 |  | 88 | 91 | 0.03828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5885-3_1_5_line_92 |  | 90 | 92 | 0.025321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5885-3_1_5_line_93 |  | 92 | 93 | 0.0055867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5885-3_1_5_line_94 |  | 94 | 95 | 0.13975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5885-3_1_5_trafo_109 | 0.63 MVA 20/0.4 kV | 96 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2554483.4748 | 1148353.1468 | 2554481.3393 | 1148359.693 | 2554474.0166 | 1148371.2433 | 2554471.215 | 1148375.2131
1 | 2554483.45 | 1148336.2427 | 2554484.2705 | 1148339.138 | 2554484.964 | 1148348.582 | 2554483.4748 | 1148353.1468
2 | 2554483.45 | 1148336.2427 | 2554481.5253 | 1148329.5093 | 2554480.1967 | 1148322.3326
3 | 2554483.45 | 1148336.2427 | 2554451.3516 | 1148354.2237
4 | 2554466.7325 | 1148447.6823 | 2554458.312 | 1148448.0908 | 2554453.1583 | 1148447.9352
5 | 2554466.7325 | 1148447.6823 | 2554471.6504 | 1148444.0877 | 2554478.2871 | 1148438.3011 | 2554486.5468 | 1148421.7189 | 2554495.9978 | 1148412.3759 | 2554498.8656 | 1148411.3939
6 | 2554438.3541 | 1148449.0091 | 2554444.1798 | 1148447.6643 | 2554453.1583 | 1148447.9352
7 | 2554510.2682 | 1148409.0054 | 2554506.7204 | 1148408.704 | 2554498.8656 | 1148411.3939
8 | 2554436.5772 | 1148362.5001 | 2554451.3516 | 1148354.2237
9 | 2554438.3541 | 1148449.0091 | 2554392.2436 | 1148448.4968
10 | 2554510.2682 | 1148409.0054 | 2554513.3285 | 1148409.2654 | 2554521.6328 | 1148409.7362 | 2554526.957 | 1148413.1421 | 2554526.957 | 1148413.1421
11 | 2554436.5772 | 1148362.5001 | 2554379.9315 | 1148361.6958
12 | 2554366.2569 | 1148450.7398 | 2554367.0094 | 1148450.8955 | 2554379.1751 | 1148452.2372 | 2554383.5181 | 1148451.8151 | 2554392.2436 | 1148448.4968
13 | 2554510.5653 | 1148443.9264 | 2554512.315 | 1148439.7222 | 2554527.4819 | 1148417.5627 | 2554528.1666 | 1148415.701 | 2554526.957 | 1148413.1421
14 | 2554433.8103 | 1148202.0952 | 2554428.861 | 1148202.6204 | 2554415.9103 | 1148205.1755 | 2554399.2085 | 1148207.7037
15 | 2554367.1407 | 1148211.2929 | 2554391.6339 | 1148208.8503 | 2554399.2085 | 1148207.7037
16 | 2554367.1407 | 1148211.2929 | 2554349.8361 | 1148210.8129 | 2554337.1598 | 1148208.0299 | 2554328.2542 | 1148205.285
17 | 2554328.2542 | 1148205.285 | 2554261.9211 | 1148334.4072
18 | 2554254.7395 | 1148358.8013 | 2554261.9211 | 1148334.4072
19 | 2554379.9315 | 1148361.6958 | 2554370.2614 | 1148363.4145 | 2554359.1679 | 1148366.7782 | 2554347.0426 | 1148370.7723 | 2554337.1994 | 1148375.9831 | 2554333.1444 | 1148378.9471
20 | 2554375.5991 | 1148398.6725 | 2554377.1222 | 1148399.281 | 2554384.566 | 1148402.7152 | 2554393.6453 | 1148405.1142 | 2554393.6453 | 1148405.1142
21 | 2554375.5991 | 1148398.6725 | 2554369.0657 | 1148396.0627 | 2554361.8525 | 1148395.7061 | 2554359.9731 | 1148396.3608
22 | 2554393.6453 | 1148405.1142 | 2554398.8317 | 1148409.5883 | 2554398.8317 | 1148409.5883
23 | 2554345.4028 | 1148404.3497 | 2554346.0543 | 1148403.4189 | 2554352.8154 | 1148398.8541 | 2554359.9731 | 1148396.3608
24 | 2554398.8317 | 1148409.5883 | 2554380.3683 | 1148419.1301
25 | 2554339.2629 | 1148421.2622 | 2554340.3907 | 1148417.0133 | 2554341.5724 | 1148409.8229 | 2554345.4028 | 1148404.3497
26 | 2554326.9311 | 1148434.369 | 2554328.7597 | 1148431.4758 | 2554334.71 | 1148428.3512 | 2554337.9869 | 1148426.0696 | 2554339.2629 | 1148421.2622
27 | 2554284.3048 | 1148429.168 | 2554291.2644 | 1148429.5041 | 2554300.5431 | 1148430.8676 | 2554309.1952 | 1148431.6245 | 2554317.2314 | 1148432.1748 | 2554326.9311 | 1148434.369
28 | 2554326.9311 | 1148434.369 | 2554332.7502 | 1148436.8935
29 | 2554339.9512 | 1148440.0175 | 2554332.7502 | 1148436.8935
30 | 2554339.9512 | 1148440.0175 | 2554348.0216 | 1148445.081 | 2554356.4883 | 1148448.7186
31 | 2554356.604 | 1148448.7426 | 2554356.4883 | 1148448.7186 | 2554356.4883 | 1148448.7186
32 | 2554366.2569 | 1148450.7398 | 2554356.604 | 1148448.7426
33 | 2554284.3048 | 1148429.168 | 2554278.7551 | 1148430.4441 | 2554273.3164 | 1148431.3139
34 | 2554284.3048 | 1148429.168 | 2554288.3508 | 1148426.0356 | 2554293.9037 | 1148425.1707 | 2554300.5009 | 1148425.3206 | 2554303.5612 | 1148421.8178 | 2554305.3785 | 1148417.1386
35 | 2554254.7395 | 1148358.8013 | 2554250.8658 | 1148371.9594 | 2554245.084 | 1148386.1329 | 2554237.3145 | 1148397.4312 | 2554228.7141 | 1148411.5373 | 2554223.9726 | 1148421.5068
36 | 2554209.4989 | 1148450.4815 | 2554215.3897 | 1148439.5532 | 2554223.9726 | 1148421.5068
37 | 2554209.4989 | 1148450.4815 | 2554215.4788 | 1148451.2474 | 2554220.009 | 1148451.2129 | 2554228.2121 | 1148447.4597 | 2554231.2197 | 1148445.8349
38 | 2554209.4989 | 1148450.4815 | 2554194.9582 | 1148476.061 | 2554193.3473 | 1148479.0273
39 | 2554231.2197 | 1148445.8349 | 2554234.0162 | 1148444.3242
40 | 2554193.3473 | 1148479.0273 | 2554192.6114 | 1148480.3823
41 | 2554251.3977 | 1148435.7883 | 2554245.6516 | 1148438.5001 | 2554237.8554 | 1148442.2502 | 2554234.0162 | 1148444.3242
42 | 2554190.6084 | 1148484.0706 | 2554192.6114 | 1148480.3823
43 | 2554333.1444 | 1148378.9471 | 2554326.1342 | 1148384.0713 | 2554319.395 | 1148391.5152 | 2554316.5009 | 1148394.9494
44 | 2554316.5009 | 1148394.9494 | 2554314.6995 | 1148397.0871 | 2554310.4264 | 1148403.6896 | 2554307.4022 | 1148411.928 | 2554305.3785 | 1148417.1386
45 | 2554251.3977 | 1148435.7883 | 2554256.5483 | 1148435.5379 | 2554263.5369 | 1148433.6393 | 2554271.9676 | 1148431.5296 | 2554273.3164 | 1148431.3139
46 | 2554261.9052 | 1148427.046 | 2554264.0903 | 1148425.6309 | 2554270.4302 | 1148419.2128 | 2554274.1077 | 1148415.0827 | 2554277.765 | 1148409.3074 | 2554281.433 | 1148403.9434 | 2554282.9804 | 1148401.771
47 | 2554287.7543 | 1148395.0686 | 2554282.9804 | 1148401.771
48 | 2554251.3977 | 1148435.7883 | 2554255.5093 | 1148431.188 | 2554261.9052 | 1148427.046
49 | 2554179.3631 | 1148507.3074 | 2554182.1607 | 1148499.6262 | 2554190.6084 | 1148484.0706
50 | 2554520.0657 | 1148505.0417 | 2554525.7055 | 1148502.4755 | 2554541.8884 | 1148518.2057 | 2554546.8237 | 1148521.0512
51 | 2554508.7954 | 1148498.2123 | 2554517.0152 | 1148501.7297 | 2554520.0657 | 1148505.0417
52 | 2554508.7954 | 1148498.2123 | 2554507.3066 | 1148482.093 | 2554507.3189 | 1148478.2508
53 | 2554507.3189 | 1148478.2508 | 2554507.3546 | 1148467.1294 | 2554508.9268 | 1148454.0865
54 | 2554520.5543 | 1148575.6967 | 2554532.0416 | 1148586.8712 | 2554548.9044 | 1148589.9897
55 | 2554520.5543 | 1148575.6967 | 2554516.4588 | 1148566.2006 | 2554514.2171 | 1148557.1239
56 | 2554548.9044 | 1148589.9897 | 2554483.1775 | 1148723.0779
57 | 2554510.5653 | 1148443.9264 | 2554509.7822 | 1148446.9895 | 2554508.9268 | 1148454.0865
58 | 2554510.5653 | 1148443.9264 | 2554532.5023 | 1148440.7033 | 2554542.3488 | 1148439.9841
59 | 2554356.7005 | 1148578.7842 | 2554327.2361 | 1148573.5386 | 2554299.0154 | 1148570.2846
60 | 2554299.0154 | 1148570.2846 | 2554287.3261 | 1148583.0912 | 2554260.6716 | 1148609.5394
61 | 2554356.7005 | 1148578.7842 | 2554334.0563 | 1148595.9761 | 2554313.2179 | 1148614.0252
62 | 2554239.2238 | 1148622.268 | 2554251.1581 | 1148617.1616 | 2554259.0443 | 1148611.1541 | 2554260.6716 | 1148609.5394
63 | 2554305.3664 | 1148620.8257 | 2554313.2179 | 1148614.0252
64 | 2554280.1925 | 1148642.63 | 2554305.3664 | 1148620.8257
65 | 2554280.1925 | 1148642.63 | 2554279.3229 | 1148643.3832 | 2554258.1761 | 1148662.1832
66 | 2554483.1775 | 1148723.0779 | 2554482.7104 | 1148726.283 | 2554487.0085 | 1148734.1546 | 2554488.5283 | 1148735.9147
67 | 2554179.3631 | 1148507.3074 | 2554176.4521 | 1148515.3 | 2554175.3641 | 1148529.7549
68 | 2554172.7543 | 1148565.2117 | 2554173.1332 | 1148559.3925 | 2554175.3641 | 1148529.7549
69 | 2554172.7543 | 1148565.2117 | 2554171.2979 | 1148587.5766 | 2554170.4457 | 1148593.1264
70 | 2554170.4457 | 1148593.1264 | 2554168.3106 | 1148607.0297
71 | 2554168.3106 | 1148607.0297 | 2554165.5261 | 1148625.1623 | 2554165.0161 | 1148626.988
72 | 2554160.881 | 1148641.3953 | 2554161.3778 | 1148640.0127 | 2554165.0161 | 1148626.988
73 | 2554160.881 | 1148641.3953 | 2554154.9698 | 1148657.8486
74 | 2554154.9698 | 1148657.8486 | 2554153.7115 | 1148661.3508
75 | 2554145.6479 | 1148687.7684 | 2554147.152 | 1148679.6083 | 2554153.7115 | 1148661.3508
76 | 2554258.1761 | 1148662.1832 | 2554230.7496 | 1148686.5659
77 | 2554258.1761 | 1148662.1832 | 2554348.5354 | 1148756.8491
78 | 2554226.804 | 1148690.0735 | 2554230.7496 | 1148686.5659
79 | 2554362.7327 | 1148796.7955 | 2554360.5121 | 1148777.369 | 2554348.5354 | 1148756.8491
80 | 2554226.804 | 1148690.0735 | 2554209.7751 | 1148694.3609 | 2554197.9498 | 1148697.3303 | 2554193.3585 | 1148697.3213
81 | 2554181.6942 | 1148697.2986 | 2554181.6942 | 1148697.2986 | 2554193.3585 | 1148697.3213
82 | 2554145.273 | 1148709.0823 | 2554146.7977 | 1148703.6234 | 2554152.2252 | 1148698.4349 | 2554160.8838 | 1148698.0687 | 2554181.6942 | 1148697.2986
83 | 2554181.9308 | 1148729.1582 | 2554174.9659 | 1148735.2252
84 | 2554146.7502 | 1148758.7856 | 2554153.6839 | 1148753.7635 | 2554174.9659 | 1148735.2252
85 | 2554145.273 | 1148709.0823 | 2554145.4964 | 1148720.7287
86 | 2554145.6479 | 1148687.7684 | 2554144.9402 | 1148691.6314 | 2554145.273 | 1148709.0823
87 | 2554146.0761 | 1148750.9422 | 2554145.4964 | 1148720.7287
88 | 2554138.4359 | 1148682.4873 | 2554145.6479 | 1148687.7684
89 | 2554146.0761 | 1148750.9422 | 2554146.7502 | 1148758.7856
90 | 2554146.0761 | 1148750.9422 | 2554135.5366 | 1148741.2732 | 2554127.969 | 1148734.6608 | 2554121.1598 | 1148727.8203 | 2554108.2175 | 1148714.2121 | 2554104.5945 | 1148709.4344
91 | 2554114.8212 | 1148653.8972 | 2554116.0597 | 1148657.2116 | 2554119.4598 | 1148665.0675 | 2554124.9886 | 1148672.1401 | 2554131.2675 | 1148678.9068 | 2554138.4359 | 1148682.4873
92 | 2554089.5474 | 1148689.071 | 2554098.8553 | 1148701.866 | 2554104.5945 | 1148709.4344
93 | 2554086.2609 | 1148684.5532 | 2554089.5474 | 1148689.071
94 | 2554488.5283 | 1148735.9147 | 2554362.7327 | 1148796.7955

## bus_geodata
| x | y | coords
0 | 2554471.215 | 1148375.2131
1 | 2554483.4748 | 1148353.1468
2 | 2554483.45 | 1148336.2427
3 | 2554466.7325 | 1148447.6823
4 | 2554453.1583 | 1148447.9352
5 | 2554498.8656 | 1148411.3939
6 | 2554480.1967 | 1148322.3326
7 | 2554451.3516 | 1148354.2237
8 | 2554438.3541 | 1148449.0091
9 | 2554510.2682 | 1148409.0054
10 | 2554436.5772 | 1148362.5001
11 | 2554392.2436 | 1148448.4968
12 | 2554526.957 | 1148413.1421
13 | 2554433.8103 | 1148202.0952
14 | 2554399.2085 | 1148207.7037
15 | 2554367.1407 | 1148211.2929
16 | 2554328.2542 | 1148205.285
17 | 2554261.9211 | 1148334.4072
18 | 2554379.9315 | 1148361.6958
19 | 2554375.5991 | 1148398.6725
20 | 2554393.6453 | 1148405.1142
21 | 2554359.9731 | 1148396.3608
22 | 2554398.8317 | 1148409.5883
23 | 2554345.4028 | 1148404.3497
24 | 2554380.3683 | 1148419.1301
25 | 2554339.2629 | 1148421.2622
26 | 2554326.9311 | 1148434.369
27 | 2554339.9512 | 1148440.0175
28 | 2554332.7502 | 1148436.8935
29 | 2554356.4883 | 1148448.7186
30 | 2554366.2569 | 1148450.7398
31 | 2554356.604 | 1148448.7426
32 | 2554284.3048 | 1148429.168
33 | 2554254.7395 | 1148358.8013
34 | 2554223.9726 | 1148421.5068
35 | 2554209.4989 | 1148450.4815
36 | 2554231.2197 | 1148445.8349
37 | 2554193.3473 | 1148479.0273
38 | 2554234.0162 | 1148444.3242
39 | 2554192.6114 | 1148480.3823
40 | 2554333.1444 | 1148378.9471
41 | 2554316.5009 | 1148394.9494
42 | 2554305.3785 | 1148417.1386
43 | 2554273.3164 | 1148431.3139
44 | 2554282.9804 | 1148401.771
45 | 2554261.9052 | 1148427.046
46 | 2554287.7543 | 1148395.0686
47 | 2554251.3977 | 1148435.7883
48 | 2554190.6084 | 1148484.0706
49 | 2554546.8237 | 1148521.0512
50 | 2554520.0657 | 1148505.0417
51 | 2554508.7954 | 1148498.2123
52 | 2554507.3189 | 1148478.2508
53 | 2554520.5543 | 1148575.6967
54 | 2554548.9044 | 1148589.9897
55 | 2554514.2171 | 1148557.1239
56 | 2554508.9268 | 1148454.0865
57 | 2554510.5653 | 1148443.9264
58 | 2554542.3488 | 1148439.9841
59 | 2554299.0154 | 1148570.2846
60 | 2554356.7005 | 1148578.7842
61 | 2554260.6716 | 1148609.5394
62 | 2554313.2179 | 1148614.0252
63 | 2554239.2238 | 1148622.268
64 | 2554305.3664 | 1148620.8257
65 | 2554280.1925 | 1148642.63
66 | 2554483.1775 | 1148723.0779
67 | 2554179.3631 | 1148507.3074
68 | 2554175.3641 | 1148529.7549
69 | 2554172.7543 | 1148565.2117
70 | 2554170.4457 | 1148593.1264
71 | 2554168.3106 | 1148607.0297
72 | 2554165.0161 | 1148626.988
73 | 2554160.881 | 1148641.3953
74 | 2554154.9698 | 1148657.8486
75 | 2554153.7115 | 1148661.3508
76 | 2554258.1761 | 1148662.1832
77 | 2554230.7496 | 1148686.5659
78 | 2554348.5354 | 1148756.8491
79 | 2554226.804 | 1148690.0735
80 | 2554193.3585 | 1148697.3213
81 | 2554181.6942 | 1148697.2986
82 | 2554181.9308 | 1148729.1582
83 | 2554174.9659 | 1148735.2252
84 | 2554145.273 | 1148709.0823
85 | 2554145.4964 | 1148720.7287
86 | 2554145.6479 | 1148687.7684
87 | 2554146.0761 | 1148750.9422
88 | 2554138.4359 | 1148682.4873
89 | 2554146.7502 | 1148758.7856
90 | 2554104.5945 | 1148709.4344
91 | 2554114.8212 | 1148653.8972
92 | 2554089.5474 | 1148689.071
93 | 2554086.2609 | 1148684.5532
94 | 2554362.7327 | 1148796.7955
95 | 2554488.5283 | 1148735.9147
96 | 2554356.7005 | 1148578.7842

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1