## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5889-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5889-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5889-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5889-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5889-10_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5889-10_0_3_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_5889-10_0_3_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_5889-10_0_3_node_112 | 0.4 | n |  | TRUE
8 | bus_LV_5889-10_0_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_5889-10_0_3_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_5889-10_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5889-10_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5889-10_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5889-10_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5889-10_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5889-10_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5889-10_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_5889-10_0_3_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_5889-10_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_5889-10_0_3_node_87 | 0.4 | n |  | TRUE
20 | bus_LV_5889-10_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5889-10_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5889-10_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5889-10_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5889-10_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5889-10_0_3_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_5889-10_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5889-10_0_3_node_75 | 0.4 | n |  | TRUE
28 | bus_LV_5889-10_0_3_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_5889-10_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_5889-10_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5889-10_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_5889-10_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_5889-10_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_5889-10_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_5889-10_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_5889-10_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_5889-10_0_3_node_95 | 0.4 | n |  | TRUE
38 | bus_LV_5889-10_0_3_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_5889-10_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5889-10_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5889-10_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5889-10_0_3_node_97 | 0.4 | n |  | TRUE
43 | bus_LV_5889-10_0_3_node_109 | 0.4 | n |  | TRUE
44 | bus_LV_5889-10_0_3_node_110 | 0.4 | n |  | TRUE
45 | bus_LV_5889-10_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_5889-10_0_3_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_5889-10_0_3_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_5889-10_0_3_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_5889-10_0_3_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_5889-10_0_3_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_5889-10_0_3_node_119 | 0.4 | n |  | TRUE
52 | bus_LV_5889-10_0_3_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_5889-10_0_3_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_5889-10_0_3_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_5889-10_0_3_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_5889-10_0_3_node_80 | 0.4 | n |  | TRUE
57 | bus_LV_5889-10_0_3_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_5889-10_0_3_node_100 | 0.4 | n |  | TRUE
59 | bus_LV_5889-10_0_3_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_5889-10_0_3_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_5889-10_0_3_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_5889-10_0_3_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_5889-10_0_3_node_90 | 0.4 | n |  | TRUE
64 | bus_LV_5889-10_0_3_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_5889-10_0_3_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_5889-10_0_3_node_86 | 0.4 | n |  | TRUE
67 | bus_MV_262_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5889-10_0_3_load_0 | 0 | 0.004174 | 0.0010461 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5889-10_0_3_load_5 | 4 | 0.0050003 | 0.0012532 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5889-10_0_3_load_33 | 5 | 0.019756 | 0.0049514 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5889-10_0_3_load_112 | 7 | 0.023817 | 0.0059691 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5889-10_0_3_load_7 | 10 | 0.0039264 | 0.00098405 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5889-10_0_3_load_8 | 11 | 0.0059355 | 0.0014876 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5889-10_0_3_load_10 | 13 | 0.0028435 | 0.00071265 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5889-10_0_3_load_12 | 14 | 0.0025207 | 0.00063174 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5889-10_0_3_load_11 | 15 | 0.0041299 | 0.001035 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5889-10_0_3_load_19 | 16 | 0.0061912 | 0.0015517 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5889-10_0_3_load_89 | 17 | 0.000836 | 0.00020952 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5889-10_0_3_load_20 | 18 | 0.0026554 | 0.0006655 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5889-10_0_3_load_87 | 19 | 0.002407 | 0.00060326 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5889-10_0_3_load_13 | 20 | 0.0031451 | 0.00078823 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5889-10_0_3_load_15 | 22 | 0.0024071 | 0.00060327 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5889-10_0_3_load_16 | 23 | 0.0014325 | 0.00035903 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5889-10_0_3_load_17 | 24 | 0.0039562 | 0.00099153 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5889-10_0_3_load_18 | 26 | 0.006115 | 0.0015326 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5889-10_0_3_load_75 | 27 | 0.0031384 | 0.00078656 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5889-10_0_3_load_73 | 28 | 0.0077327 | 0.001938 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5889-10_0_3_load_21 | 29 | 0.002534 | 0.00063508 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5889-10_0_3_load_22 | 30 | 0.0043291 | 0.001085 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5889-10_0_3_load_23 | 31 | 0.0037751 | 0.00094614 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5889-10_0_3_load_24 | 32 | 0.0029989 | 0.00075159 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5889-10_0_3_load_32 | 34 | 0.011658 | 0.0029217 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5889-10_0_3_load_25 | 36 | 0.0023777 | 0.0005959 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5889-10_0_3_load_95 | 37 | 0.0024159 | 0.00060549 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5889-10_0_3_load_96 | 38 | 0.0053748 | 0.001347 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5889-10_0_3_load_26 | 39 | 0.029362 | 0.0073588 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5889-10_0_3_load_27 | 40 | 0.0093602 | 0.0023459 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5889-10_0_3_load_29 | 41 | 0.0056725 | 0.0014217 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5889-10_0_3_load_97 | 42 | 0.0051339 | 0.0012867 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5889-10_0_3_load_109 | 43 | 0.02382 | 0.0059698 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5889-10_0_3_load_110 | 44 | 0.047984 | 0.012026 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5889-10_0_3_load_68 | 46 | 0.0065581 | 0.0016436 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5889-10_0_3_load_72 | 50 | 0.0039785 | 0.00099711 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5889-10_0_3_load_119 | 51 | 0.0087979 | 0.002205 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5889-10_0_3_load_77 | 52 | 0.0030404 | 0.000762 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5889-10_0_3_load_76 | 53 | 0.0026938 | 0.00067514 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5889-10_0_3_load_79 | 55 | 0.0023423 | 0.00058703 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5889-10_0_3_load_80 | 56 | 0.00099563 | 0.00024953 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5889-10_0_3_load_101 | 57 | 0.0022248 | 0.0005576 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5889-10_0_3_load_100 | 58 | 0.0032989 | 0.00082678 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5889-10_0_3_load_81 | 59 | 0.0065169 | 0.0016333 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5889-10_0_3_load_82 | 60 | 0.0031452 | 0.00078826 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5889-10_0_3_load_83 | 61 | 0.0035442 | 0.00088827 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5889-10_0_3_load_90 | 63 | 0.00087389 | 0.00021902 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5889-10_0_3_load_88 | 64 | 0.0044898 | 0.0011252 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5889-10_0_3_load_85 | 65 | 0.0030404 | 0.000762 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5889-10_0_3_load_86 | 66 | 0.0038814 | 0.00097278 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5889-10_0_3_line_0 |  | 0 | 1 | 0.012889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5889-10_0_3_line_1 |  | 0 | 2 | 0.004834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5889-10_0_3_line_2 |  | 1 | 3 | 0.012845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5889-10_0_3_line_3 |  | 2 | 4 | 0.0090211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5889-10_0_3_line_4 |  | 3 | 5 | 0.02716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5889-10_0_3_line_5 |  | 5 | 9 | 0.025602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5889-10_0_3_line_6 |  | 6 | 7 | 0.026929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5889-10_0_3_line_7 |  | 6 | 8 | 0.041966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5889-10_0_3_line_8 |  | 7 | 45 | 0.019152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5889-10_0_3_line_9 |  | 8 | 43 | 0.032102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5889-10_0_3_line_10 |  | 8 | 35 | 0.009706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5889-10_0_3_line_11 |  | 9 | 45 | 0.039402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5889-10_0_3_line_12 |  | 10 | 11 | 0.036294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5889-10_0_3_line_13 |  | 10 | 12 | 0.060135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5889-10_0_3_line_14 |  | 11 | 13 | 0.015342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5889-10_0_3_line_15 |  | 11 | 14 | 0.04489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5889-10_0_3_line_16 |  | 12 | 15 | 0.038465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5889-10_0_3_line_17 |  | 13 | 16 | 0.020682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5889-10_0_3_line_18 |  | 14 | 20 | 0.010062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5889-10_0_3_line_19 |  | 14 | 21 | 0.0069043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5889-10_0_3_line_20 |  | 15 | 17 | 0.011379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5889-10_0_3_line_21 |  | 16 | 18 | 0.028491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5889-10_0_3_line_22 |  | 17 | 19 | 0.02634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5889-10_0_3_line_23 |  | 18 | 31 | 0.00022285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5889-10_0_3_line_24 |  | 19 | 65 | 0.0010565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5889-10_0_3_line_25 |  | 21 | 22 | 0.030932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5889-10_0_3_line_26 |  | 21 | 23 | 0.023169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5889-10_0_3_line_27 |  | 22 | 24 | 0.019715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5889-10_0_3_line_28 |  | 23 | 25 | 0.042137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5889-10_0_3_line_29 |  | 24 | 26 | 0.016602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5889-10_0_3_line_30 |  | 25 | 27 | 0.030414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5889-10_0_3_line_31 |  | 25 | 28 | 0.018375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5889-10_0_3_line_32 |  | 26 | 29 | 0.010035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5889-10_0_3_line_33 |  | 27 | 52 | 0.0049098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5889-10_0_3_line_34 |  | 28 | 48 | 0.045126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5889-10_0_3_line_35 |  | 29 | 30 | 0.013481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5889-10_0_3_line_36 |  | 30 | 33 | 0.015881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5889-10_0_3_line_37 |  | 31 | 32 | 0.032989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5889-10_0_3_line_38 |  | 32 | 36 | 0.023355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5889-10_0_3_line_39 |  | 33 | 34 | 0.048303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5889-10_0_3_line_40 |  | 33 | 35 | 0.014792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5889-10_0_3_line_41 |  | 35 | 39 | 0.046264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5889-10_0_3_line_42 |  | 36 | 37 | 0.010517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5889-10_0_3_line_43 |  | 37 | 38 | 0.011571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5889-10_0_3_line_44 |  | 39 | 40 | 0.040079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5889-10_0_3_line_45 |  | 40 | 41 | 0.018153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5889-10_0_3_line_46 |  | 41 | 42 | 0.032995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5889-10_0_3_line_47 |  | 43 | 44 | 0.064055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5889-10_0_3_line_48 |  | 46 | 47 | 0.017415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5889-10_0_3_line_49 |  | 47 | 48 | 0.011318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5889-10_0_3_line_50 |  | 47 | 49 | 0.043519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5889-10_0_3_line_51 |  | 48 | 50 | 0.029396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5889-10_0_3_line_52 |  | 49 | 51 | 0.071151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5889-10_0_3_line_53 |  | 52 | 53 | 0.017355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5889-10_0_3_line_54 |  | 53 | 54 | 0.016201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5889-10_0_3_line_55 |  | 54 | 55 | 0.0073609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5889-10_0_3_line_56 |  | 54 | 56 | 0.025224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5889-10_0_3_line_57 |  | 56 | 57 | 0.0082592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5889-10_0_3_line_58 |  | 57 | 58 | 0.017285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5889-10_0_3_line_59 |  | 59 | 60 | 0.028663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5889-10_0_3_line_60 |  | 59 | 61 | 0.031705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5889-10_0_3_line_61 |  | 61 | 62 | 0.023966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5889-10_0_3_line_62 |  | 62 | 63 | 0.0095703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5889-10_0_3_line_63 |  | 63 | 64 | 0.030117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5889-10_0_3_line_64 |  | 64 | 66 | 0.029459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5889-10_0_3_line_65 |  | 65 | 66 | 0.026892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5889-10_0_3_trafo_26 | 0.63 MVA 20/0.4 kV | 67 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2555910.7087 | 1145318.0571 | 2555898.0043 | 1145315.8866
1 | 2555893.2393 | 1145315.0725 | 2555898.0043 | 1145315.8866
2 | 2555910.7087 | 1145318.0571 | 2555909.2735 | 1145330.8186
3 | 2555893.2393 | 1145315.0725 | 2555892.5462 | 1145324.067
4 | 2555909.2735 | 1145330.8186 | 2555936.2096 | 1145334.2986
5 | 2555961.3949 | 1145338.3963 | 2555955.7502 | 1145336.5923 | 2555947.3006 | 1145335.7315 | 2555936.2096 | 1145334.2986
6 | 2555904.3043 | 1145375.0333 | 2555912.17 | 1145373.8084 | 2555914.4764 | 1145369.8339 | 2555928.7756 | 1145371.2923
7 | 2555899.4472 | 1145416.7125 | 2555899.7944 | 1145412.7302 | 2555901.1024 | 1145403.5603 | 2555904.3043 | 1145375.0333
8 | 2555947.8289 | 1145373.2357 | 2555928.7756 | 1145371.2923
9 | 2555899.4472 | 1145416.7125 | 2555922.2388 | 1145417.3903 | 2555931.1155 | 1145414.6152
10 | 2555898.6039 | 1145426.3792 | 2555899.0499 | 1145421.2066 | 2555899.4472 | 1145416.7125
11 | 2555961.3949 | 1145338.3963 | 2555963.1708 | 1145344.8644 | 2555955.9438 | 1145357.7795 | 2555950.8617 | 1145370.8901 | 2555947.8289 | 1145373.2357
12 | 2555975.2236 | 1145551.3695 | 2555972.2045 | 1145548.2472 | 2555962.2515 | 1145539.2821 | 2555958.8549 | 1145526.5671 | 2555959.9136 | 1145521.2773
13 | 2556017.0385 | 1145594.343 | 2556012.8835 | 1145588.2035 | 2556005.4132 | 1145580.4542 | 2555997.1103 | 1145572.2996 | 2555988.3986 | 1145564.9706 | 2555980.0926 | 1145556.4048 | 2555975.2236 | 1145551.3695
14 | 2555966.9437 | 1145508.2374 | 2555961.2413 | 1145514.6435 | 2555959.9136 | 1145521.2773
15 | 2555924.0263 | 1145548.244 | 2555959.9136 | 1145521.2773
16 | 2556017.0385 | 1145594.343 | 2556016.0196 | 1145590.5373 | 2556014.2186 | 1145577.4771 | 2556019.2133 | 1145559.776 | 2556020.5425 | 1145557.1433
17 | 2555966.9437 | 1145508.2374 | 2555968.6021 | 1145506.3743 | 2555978.8676 | 1145501.3633 | 2555985.1919 | 1145498.9624
18 | 2555924.0263 | 1145548.244 | 2555929.7833 | 1145556.4958
19 | 2555920.0759 | 1145542.5816 | 2555924.0263 | 1145548.244
20 | 2556020.5425 | 1145557.1433 | 2556025.6711 | 1145546.986
21 | 2555985.1919 | 1145498.9624 | 2555999.8288 | 1145493.4058 | 2556011.6467 | 1145488.398
22 | 2556025.6711 | 1145546.986 | 2556026.9148 | 1145544.5229 | 2556037.3413 | 1145535.2642 | 2556045.5887 | 1145530.2799
23 | 2556011.8519 | 1145488.311 | 2556011.6467 | 1145488.398
24 | 2556046.4929 | 1145529.7335 | 2556045.5887 | 1145530.2799
25 | 2555920.0759 | 1145542.5816 | 2555910.349 | 1145527.8008 | 2555904.7241 | 1145515.8174
26 | 2555920.0759 | 1145542.5816 | 2555903.3293 | 1145526.5706
27 | 2555899.3073 | 1145497.1549 | 2555899.3073 | 1145497.1549 | 2555900.2033 | 1145506.1863 | 2555904.7241 | 1145515.8174
28 | 2555866.7521 | 1145507.032 | 2555872.658 | 1145508.8563 | 2555894.3667 | 1145518.0018 | 2555903.3293 | 1145526.5706
29 | 2555899.3073 | 1145497.1549 | 2555899.1568 | 1145480.5536
30 | 2555866.7521 | 1145507.032 | 2555862.1554 | 1145515.0588 | 2555853.6602 | 1145520.5128 | 2555843.6339 | 1145525.2023
31 | 2555866.7521 | 1145507.032 | 2555849.4446 | 1145500.8617
32 | 2555899.1568 | 1145480.5536 | 2555899.0658 | 1145470.5195
33 | 2555839.1865 | 1145527.2825 | 2555843.6339 | 1145525.2023
34 | 2555805.4619 | 1145497.7439 | 2555817.4389 | 1145495.6437 | 2555833.9079 | 1145495.3226 | 2555849.4446 | 1145500.8617
35 | 2555898.8517 | 1145457.0411 | 2555898.9861 | 1145461.7391 | 2555899.0658 | 1145470.5195
36 | 2555898.3973 | 1145441.1661 | 2555898.8517 | 1145457.0411
37 | 2556041.9219 | 1145474.7701 | 2556029.4071 | 1145480.872 | 2556011.8519 | 1145488.311
38 | 2556041.9219 | 1145474.7701 | 2556049.9385 | 1145470.8613 | 2556063.1726 | 1145465.0941
39 | 2555898.3973 | 1145441.1661 | 2555872.5438 | 1145443.0456 | 2555865.9788 | 1145447.7183 | 2555866.2206 | 1145462.0397
40 | 2555898.6039 | 1145426.3792 | 2555898.3973 | 1145441.1661
41 | 2555898.6039 | 1145426.3792 | 2555928.6918 | 1145428.86 | 2555934.8136 | 1145428.6929 | 2555940.2855 | 1145427.8968 | 2555944.496 | 1145426.5521
42 | 2556072.7719 | 1145460.8005 | 2556070.0718 | 1145462.0875 | 2556063.1726 | 1145465.0941
43 | 2556083.217 | 1145455.8217 | 2556072.7719 | 1145460.8005
44 | 2555944.496 | 1145426.5521 | 2555969.7486 | 1145418.4874 | 2555982.3472 | 1145413.4456
45 | 2555982.3472 | 1145413.4456 | 2555999.2008 | 1145406.701
46 | 2555999.2008 | 1145406.701 | 2556029.8339 | 1145394.442
47 | 2555931.1155 | 1145414.6152 | 2555941.5012 | 1145411.3683 | 2555951.9505 | 1145408.3569 | 2555980.2372 | 1145399.8455 | 2555992.0598 | 1145395.0456
48 | 2555794.2829 | 1145499.7048 | 2555799.0678 | 1145491.1763 | 2555803.2485 | 1145484.7863
49 | 2555805.4619 | 1145497.7439 | 2555794.2829 | 1145499.7048
50 | 2555752.3174 | 1145489.8304 | 2555760.9701 | 1145493.2574 | 2555771.3332 | 1145497.35 | 2555794.2829 | 1145499.7048
51 | 2555805.4619 | 1145497.7439 | 2555810.1197 | 1145489.6833 | 2555821.9481 | 1145473.4491
52 | 2555752.3174 | 1145489.8304 | 2555770.3996 | 1145449.7991 | 2555774.5408 | 1145446.7115 | 2555777.3704 | 1145444.9454 | 2555781.3114 | 1145444.9164 | 2555784.1663 | 1145445.5513 | 2555790.5082 | 1145435.5311
53 | 2555824.5995 | 1145536.4899 | 2555828.2873 | 1145533.3834 | 2555832.7971 | 1145530.2709 | 2555839.1865 | 1145527.2825
54 | 2555817.8472 | 1145551.2137 | 2555822.1698 | 1145541.4436 | 2555824.5995 | 1145536.4899 | 2555824.5995 | 1145536.4899
55 | 2555817.8472 | 1145551.2137 | 2555814.867 | 1145557.9443
56 | 2555817.8472 | 1145551.2137 | 2555822.6629 | 1145553.146 | 2555827.0167 | 1145555.9821 | 2555831.9985 | 1145561.7041 | 2555835.7542 | 1145567.8352 | 2555835.7761 | 1145567.8932
57 | 2555835.7761 | 1145567.8932 | 2555838.6999 | 1145575.6176 | 2555838.6999 | 1145575.6176
58 | 2555832.6471 | 1145590.928 | 2555834.0431 | 1145586.9465 | 2555838.5393 | 1145581.9887 | 2555838.6999 | 1145575.6176
59 | 2556122.6471 | 1145541.9999 | 2556116.5268 | 1145548.1927 | 2556109.1719 | 1145557.2844 | 2556103.9191 | 1145563.6618
60 | 2556122.6471 | 1145541.9999 | 2556123.886 | 1145540.7463 | 2556130.419 | 1145531.6607 | 2556134.4646 | 1145521.7705 | 2556137.1728 | 1145514.1722
61 | 2556134.4756 | 1145491.6883 | 2556137.881 | 1145498.2891 | 2556139.4329 | 1145502.5022 | 2556139.6726 | 1145505.8688 | 2556137.6943 | 1145512.709 | 2556137.1728 | 1145514.1722
62 | 2556134.4756 | 1145491.6883 | 2556125.7882 | 1145495.703
63 | 2556098.1414 | 1145507.6424 | 2556104.5015 | 1145504.747 | 2556124.43 | 1145496.3307 | 2556125.7882 | 1145495.703
64 | 2556071.0421 | 1145519.1207 | 2556078.4676 | 1145516.5987 | 2556098.1414 | 1145507.6424
65 | 2556046.4929 | 1145529.7335 | 2556055.0863 | 1145524.5402 | 2556071.0421 | 1145519.1207

## bus_geodata
| x | y | coords
0 | 2555898.0043 | 1145315.8866
1 | 2555910.7087 | 1145318.0571
2 | 2555893.2393 | 1145315.0725
3 | 2555909.2735 | 1145330.8186
4 | 2555892.5462 | 1145324.067
5 | 2555936.2096 | 1145334.2986
6 | 2555904.3043 | 1145375.0333
7 | 2555928.7756 | 1145371.2923
8 | 2555899.4472 | 1145416.7125
9 | 2555961.3949 | 1145338.3963
10 | 2555975.2236 | 1145551.3695
11 | 2555959.9136 | 1145521.2773
12 | 2556017.0385 | 1145594.343
13 | 2555966.9437 | 1145508.2374
14 | 2555924.0263 | 1145548.244
15 | 2556020.5425 | 1145557.1433
16 | 2555985.1919 | 1145498.9624
17 | 2556025.6711 | 1145546.986
18 | 2556011.6467 | 1145488.398
19 | 2556045.5887 | 1145530.2799
20 | 2555929.7833 | 1145556.4958
21 | 2555920.0759 | 1145542.5816
22 | 2555904.7241 | 1145515.8174
23 | 2555903.3293 | 1145526.5706
24 | 2555899.3073 | 1145497.1549
25 | 2555866.7521 | 1145507.032
26 | 2555899.1568 | 1145480.5536
27 | 2555843.6339 | 1145525.2023
28 | 2555849.4446 | 1145500.8617
29 | 2555899.0658 | 1145470.5195
30 | 2555898.8517 | 1145457.0411
31 | 2556011.8519 | 1145488.311
32 | 2556041.9219 | 1145474.7701
33 | 2555898.3973 | 1145441.1661
34 | 2555866.2206 | 1145462.0397
35 | 2555898.6039 | 1145426.3792
36 | 2556063.1726 | 1145465.0941
37 | 2556072.7719 | 1145460.8005
38 | 2556083.217 | 1145455.8217
39 | 2555944.496 | 1145426.5521
40 | 2555982.3472 | 1145413.4456
41 | 2555999.2008 | 1145406.701
42 | 2556029.8339 | 1145394.442
43 | 2555931.1155 | 1145414.6152
44 | 2555992.0598 | 1145395.0456
45 | 2555947.8289 | 1145373.2357
46 | 2555803.2485 | 1145484.7863
47 | 2555794.2829 | 1145499.7048
48 | 2555805.4619 | 1145497.7439
49 | 2555752.3174 | 1145489.8304
50 | 2555821.9481 | 1145473.4491
51 | 2555790.5082 | 1145435.5311
52 | 2555839.1865 | 1145527.2825
53 | 2555824.5995 | 1145536.4899
54 | 2555817.8472 | 1145551.2137
55 | 2555814.867 | 1145557.9443
56 | 2555835.7761 | 1145567.8932
57 | 2555838.6999 | 1145575.6176
58 | 2555832.6471 | 1145590.9281
59 | 2556122.6471 | 1145541.9999
60 | 2556103.9191 | 1145563.6618
61 | 2556137.1728 | 1145514.1722
62 | 2556134.4756 | 1145491.6883
63 | 2556125.7882 | 1145495.703
64 | 2556098.1414 | 1145507.6424
65 | 2556046.4929 | 1145529.7335
66 | 2556071.0421 | 1145519.1207
67 | 2555944.496 | 1145426.5521

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1