## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5889-11_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5889-11_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5889-11_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5889-11_0_5_node_52 | 0.4 | n |  | TRUE
4 | bus_LV_5889-11_0_5_node_53 | 0.4 | n |  | TRUE
5 | bus_LV_5889-11_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5889-11_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5889-11_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5889-11_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5889-11_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5889-11_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5889-11_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5889-11_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5889-11_0_5_node_84 | 0.4 | n |  | TRUE
14 | bus_LV_5889-11_0_5_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_5889-11_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5889-11_0_5_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_5889-11_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5889-11_0_5_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_5889-11_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_5889-11_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5889-11_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5889-11_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5889-11_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5889-11_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5889-11_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5889-11_0_5_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_5889-11_0_5_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_5889-11_0_5_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_5889-11_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5889-11_0_5_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_5889-11_0_5_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_5889-11_0_5_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5889-11_0_5_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_5889-11_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_5889-11_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5889-11_0_5_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5889-11_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5889-11_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5889-11_0_5_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_5889-11_0_5_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_5889-11_0_5_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_5889-11_0_5_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_5889-11_0_5_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_5889-11_0_5_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_5889-11_0_5_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_5889-11_0_5_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_5889-11_0_5_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_5889-11_0_5_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_5889-11_0_5_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_5889-11_0_5_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_5889-11_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_5889-11_0_5_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_5889-11_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5889-11_0_5_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_5889-11_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_5889-11_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_5889-11_0_5_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_5889-11_0_5_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_5889-11_0_5_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_5889-11_0_5_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_5889-11_0_5_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_5889-11_0_5_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_5889-11_0_5_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_5889-11_0_5_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_5889-11_0_5_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_5889-11_0_5_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_5889-11_0_5_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_5889-11_0_5_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5889-11_0_5_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_5889-11_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_5889-11_0_5_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5889-11_0_5_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_5889-11_0_5_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_5889-11_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_5889-11_0_5_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_5889-11_0_5_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_5889-11_0_5_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_5889-11_0_5_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_5889-11_0_5_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_5889-11_0_5_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_5889-11_0_5_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_5889-11_0_5_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_5889-11_0_5_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_5889-11_0_5_node_77 | 0.4 | n |  | TRUE
85 | bus_MV_262_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5889-11_0_5_load_0 | 0 | 0.020337 | 0.005097 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5889-11_0_5_load_1 | 1 | 0.0017054 | 0.0004274 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5889-11_0_5_load_2 | 2 | 0.0023852 | 0.00059779 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5889-11_0_5_load_52 | 3 | 0.0055652 | 0.0013948 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5889-11_0_5_load_53 | 4 | 0.0024437 | 0.00061246 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5889-11_0_5_load_3 | 5 | 0.0034492 | 0.00086444 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5889-11_0_5_load_4 | 6 | 0.0025863 | 0.00064818 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5889-11_0_5_load_5 | 7 | 0.0065856 | 0.0016505 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5889-11_0_5_load_9 | 11 | 0.021988 | 0.0055108 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5889-11_0_5_load_10 | 12 | 0.0042821 | 0.0010732 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5889-11_0_5_load_84 | 13 | 0.02285 | 0.0057268 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5889-11_0_5_load_32 | 16 | 0.010989 | 0.0027542 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5889-11_0_5_load_19 | 18 | 0.0072268 | 0.0018112 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5889-11_0_5_load_20 | 19 | 0.0039875 | 0.00099936 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5889-11_0_5_load_13 | 20 | 0.023892 | 0.0059879 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5889-11_0_5_load_24 | 26 | 0.0066418 | 0.0016646 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5889-11_0_5_load_27 | 27 | 0.026209 | 0.0065685 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5889-11_0_5_load_48 | 28 | 0.018552 | 0.0046496 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5889-11_0_5_load_45 | 31 | 0.01496 | 0.0037493 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5889-11_0_5_load_26 | 32 | 0.0082374 | 0.0020645 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5889-11_0_5_load_21 | 33 | 0.0061351 | 0.0015376 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5889-11_0_5_load_25 | 35 | 0.0055757 | 0.0013974 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5889-11_0_5_load_30 | 36 | 0.015889 | 0.0039823 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5889-11_0_5_load_28 | 37 | 0.0023376 | 0.00058585 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5889-11_0_5_load_41 | 39 | 0.0026199 | 0.0006566 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5889-11_0_5_load_49 | 40 | 0.0086757 | 0.0021743 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5889-11_0_5_load_50 | 42 | 0.0039307 | 0.00098513 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5889-11_0_5_load_33 | 43 | 0.0078813 | 0.0019752 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5889-11_0_5_load_34 | 44 | 0.0039328 | 0.00098565 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5889-11_0_5_load_35 | 45 | 0.0053279 | 0.0013353 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5889-11_0_5_load_42 | 47 | 0.0059052 | 0.00148 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5889-11_0_5_load_80 | 49 | 0.0067715 | 0.0016971 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5889-11_0_5_load_79 | 50 | 0.0061966 | 0.001553 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5889-11_0_5_load_37 | 51 | 0.0031725 | 0.00079511 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5889-11_0_5_load_38 | 52 | 0.003076 | 0.00077091 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5889-11_0_5_load_39 | 53 | 0.0037499 | 0.0009398 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5889-11_0_5_load_78 | 54 | 0.0050998 | 0.0012781 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5889-11_0_5_load_46 | 55 | 0.024142 | 0.0060507 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5889-11_0_5_load_54 | 57 | 0.003046 | 0.00076341 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5889-11_0_5_load_55 | 58 | 0.00321 | 0.00080451 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5889-11_0_5_load_56 | 59 | 0.0037485 | 0.00093946 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5889-11_0_5_load_65 | 60 | 0.0031793 | 0.00079681 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5889-11_0_5_load_51 | 61 | 0.0024413 | 0.00061185 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5889-11_0_5_load_57 | 62 | 0.0030952 | 0.00077573 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5889-11_0_5_load_66 | 63 | 0.0023263 | 0.00058303 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5889-11_0_5_load_63 | 65 | 0.0050761 | 0.0012722 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5889-11_0_5_load_60 | 66 | 0.004302 | 0.0010782 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5889-11_0_5_load_83 | 67 | 0.0052056 | 0.0013046 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5889-11_0_5_load_59 | 68 | 0.0043445 | 0.0010888 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5889-11_0_5_load_61 | 69 | 0.0017756 | 0.000445 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5889-11_0_5_load_62 | 70 | 0.0052002 | 0.0013033 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5889-11_0_5_load_64 | 71 | 0.016615 | 0.0041641 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5889-11_0_5_load_82 | 72 | 0.0090483 | 0.0022677 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5889-11_0_5_load_67 | 73 | 0.0018114 | 0.00045399 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5889-11_0_5_load_68 | 74 | 0.0027872 | 0.00069854 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5889-11_0_5_load_81 | 75 | 0.002339 | 0.00058622 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5889-11_0_5_load_69 | 76 | 0.0052312 | 0.0013111 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5889-11_0_5_load_70 | 77 | 0.0020673 | 0.00051811 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5889-11_0_5_load_73 | 80 | 0.0065031 | 0.0016298 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5889-11_0_5_load_75 | 81 | 0.0020831 | 0.00052208 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5889-11_0_5_load_74 | 82 | 0.0033642 | 0.00084316 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5889-11_0_5_load_76 | 83 | 0.0033237 | 0.00083299 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5889-11_0_5_load_77 | 84 | 0.0025438 | 0.00063753 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5889-11_0_5_line_0 |  | 0 | 1 | 0.024068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5889-11_0_5_line_1 |  | 1 | 2 | 0.00085937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5889-11_0_5_line_2 |  | 2 | 3 | 0.025169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5889-11_0_5_line_3 |  | 3 | 4 | 0.023852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5889-11_0_5_line_4 |  | 4 | 56 | 0.028571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5889-11_0_5_line_5 |  | 5 | 6 | 0.020635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5889-11_0_5_line_6 |  | 5 | 7 | 0.016698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5889-11_0_5_line_7 |  | 6 | 8 | 0.013803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5889-11_0_5_line_8 |  | 7 | 9 | 0.006855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5889-11_0_5_line_9 |  | 8 | 10 | 0.003028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5889-11_0_5_line_10 |  | 8 | 11 | 0.022658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5889-11_0_5_line_11 |  | 9 | 12 | 0.0078586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5889-11_0_5_line_12 |  | 10 | 13 | 0.021179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5889-11_0_5_line_13 |  | 11 | 14 | 0.028238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5889-11_0_5_line_14 |  | 12 | 15 | 0.022425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5889-11_0_5_line_15 |  | 14 | 16 | 0.02909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5889-11_0_5_line_16 |  | 15 | 17 | 0.006021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5889-11_0_5_line_17 |  | 17 | 18 | 0.022383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5889-11_0_5_line_18 |  | 18 | 19 | 0.0026635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5889-11_0_5_line_19 |  | 19 | 33 | 0.029059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5889-11_0_5_line_20 |  | 20 | 21 | 0.01825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5889-11_0_5_line_21 |  | 20 | 22 | 0.013448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5889-11_0_5_line_22 |  | 21 | 23 | 0.015366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5889-11_0_5_line_23 |  | 22 | 24 | 0.011096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5889-11_0_5_line_24 |  | 22 | 25 | 0.011471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5889-11_0_5_line_25 |  | 23 | 26 | 0.01123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5889-11_0_5_line_26 |  | 24 | 28 | 0.022267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5889-11_0_5_line_27 |  | 25 | 27 | 0.020808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5889-11_0_5_line_28 |  | 26 | 29 | 0.0079181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5889-11_0_5_line_29 |  | 27 | 32 | 0.00066744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5889-11_0_5_line_30 |  | 28 | 30 | 0.012596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5889-11_0_5_line_31 |  | 29 | 35 | 0.026775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5889-11_0_5_line_32 |  | 29 | 34 | 0.028745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5889-11_0_5_line_33 |  | 30 | 31 | 0.024155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5889-11_0_5_line_34 |  | 31 | 55 | 0.0026315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5889-11_0_5_line_35 |  | 32 | 37 | 0.021893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5889-11_0_5_line_36 |  | 33 | 34 | 0.027046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5889-11_0_5_line_37 |  | 35 | 36 | 0.0073739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5889-11_0_5_line_38 |  | 37 | 38 | 0.0044815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5889-11_0_5_line_39 |  | 38 | 39 | 0.015933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5889-11_0_5_line_40 |  | 38 | 40 | 0.010595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5889-11_0_5_line_41 |  | 39 | 41 | 0.0081942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5889-11_0_5_line_42 |  | 40 | 42 | 0.0083348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5889-11_0_5_line_43 |  | 41 | 47 | 0.019399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5889-11_0_5_line_44 |  | 41 | 53 | 0.018866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5889-11_0_5_line_45 |  | 42 | 61 | 0.039837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5889-11_0_5_line_46 |  | 43 | 44 | 0.016744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5889-11_0_5_line_47 |  | 43 | 45 | 0.017396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5889-11_0_5_line_48 |  | 45 | 46 | 0.014373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5889-11_0_5_line_49 |  | 46 | 47 | 0.021022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5889-11_0_5_line_50 |  | 46 | 48 | 0.00605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5889-11_0_5_line_51 |  | 48 | 49 | 0.032614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5889-11_0_5_line_52 |  | 48 | 50 | 0.015281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5889-11_0_5_line_53 |  | 50 | 54 | 0.0021324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5889-11_0_5_line_54 |  | 51 | 52 | 0.0018023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5889-11_0_5_line_55 |  | 51 | 53 | 0.034093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5889-11_0_5_line_56 |  | 54 | 79 | 0.04059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5889-11_0_5_line_57 |  | 55 | 56 | 0.045794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5889-11_0_5_line_58 |  | 56 | 57 | 0.02401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5889-11_0_5_line_59 |  | 56 | 58 | 0.050029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5889-11_0_5_line_60 |  | 57 | 59 | 0.0011255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5889-11_0_5_line_61 |  | 58 | 60 | 0.0013299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5889-11_0_5_line_62 |  | 59 | 62 | 0.0088949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5889-11_0_5_line_63 |  | 60 | 63 | 0.01749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5889-11_0_5_line_64 |  | 62 | 64 | 0.042805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5889-11_0_5_line_65 |  | 63 | 73 | 0.0029399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5889-11_0_5_line_66 |  | 64 | 65 | 0.020823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5889-11_0_5_line_67 |  | 64 | 66 | 0.021285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5889-11_0_5_line_68 |  | 65 | 67 | 0.014068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5889-11_0_5_line_69 |  | 66 | 68 | 0.021499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5889-11_0_5_line_70 |  | 67 | 72 | 0.027938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5889-11_0_5_line_71 |  | 68 | 69 | 0.015859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5889-11_0_5_line_72 |  | 69 | 70 | 0.015917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5889-11_0_5_line_73 |  | 70 | 71 | 0.02318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5889-11_0_5_line_74 |  | 73 | 74 | 0.028546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5889-11_0_5_line_75 |  | 74 | 75 | 0.013622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5889-11_0_5_line_76 |  | 76 | 77 | 0.0099675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5889-11_0_5_line_77 |  | 76 | 78 | 0.048268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5889-11_0_5_line_78 |  | 77 | 79 | 0.0057245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5889-11_0_5_line_79 |  | 78 | 80 | 0.049729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5889-11_0_5_line_80 |  | 79 | 81 | 0.033439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5889-11_0_5_line_81 |  | 81 | 82 | 0.0076029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5889-11_0_5_line_82 |  | 82 | 83 | 0.023057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5889-11_0_5_line_83 |  | 83 | 84 | 0.0012372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5889-11_0_5_trafo_44 | 0.63 MVA 20/0.4 kV | 85 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2555780.3333 | 1144835.8938 | 2555763.2362 | 1144852.8332
1 | 2555763.2362 | 1144852.8332 | 2555762.6257 | 1144853.438
2 | 2555762.6257 | 1144853.438 | 2555744.7465 | 1144871.1524
3 | 2555728.1904 | 1144888.3144 | 2555736.2861 | 1144879.5347 | 2555744.7465 | 1144871.1524
4 | 2555708.8225 | 1144909.3188 | 2555728.1904 | 1144888.3144
5 | 2555562.205 | 1144852.2681 | 2555576.2925 | 1144867.3461
6 | 2555562.205 | 1144852.2681 | 2555550.8055 | 1144840.0671
7 | 2555585.716 | 1144877.4321 | 2555576.2925 | 1144867.3461
8 | 2555546.1256 | 1144835.0582 | 2555550.8055 | 1144840.0671
9 | 2555585.716 | 1144877.4321 | 2555587.7353 | 1144875.1716
10 | 2555585.716 | 1144877.4321 | 2555571.4259 | 1144892.1229 | 2555570.0145 | 1144893.7621
11 | 2555546.1256 | 1144835.0582 | 2555541.1548 | 1144828.9715
12 | 2555587.7353 | 1144875.1716 | 2555603.4378 | 1144889.4297
13 | 2555552.47 | 1144915.864 | 2555561.5226 | 1144903.6242 | 2555570.0145 | 1144893.7621
14 | 2555526.5697 | 1144811.9686 | 2555530.0989 | 1144815.4332 | 2555541.1548 | 1144828.9715
15 | 2555552.47 | 1144915.864 | 2555575.6579 | 1144933.5129
16 | 2555522.9688 | 1144807.1372 | 2555526.5697 | 1144811.9686
17 | 2555522.9688 | 1144807.1372 | 2555527.0744 | 1144801.2594 | 2555536.9822 | 1144789.7141
18 | 2555536.9822 | 1144789.7141 | 2555538.7168 | 1144787.6929
19 | 2555538.7168 | 1144787.6929 | 2555551.4514 | 1144772.8536 | 2555557.6609 | 1144765.6578
20 | 2555615.9791 | 1144793.9547 | 2555625.1026 | 1144809.7602
21 | 2555632.8421 | 1144820.7441 | 2555626.2604 | 1144811.7658 | 2555625.1026 | 1144809.7602
22 | 2555606.1798 | 1144782.0987 | 2555615.9791 | 1144793.9547
23 | 2555639.1401 | 1144827.7013 | 2555637.2421 | 1144827.6819 | 2555635.4548 | 1144827.0392 | 2555633.9937 | 1144825.8271 | 2555633.0604 | 1144824.2888 | 2555632.6556 | 1144822.5353 | 2555632.8421 | 1144820.7441
24 | 2555632.8421 | 1144820.7441 | 2555633.5907 | 1144819.1044 | 2555634.818 | 1144817.7836 | 2555636.1876 | 1144817.0064 | 2555637.7215 | 1144816.6394 | 2555639.2895 | 1144816.7167 | 2555640.7838 | 1144817.2171 | 2555642.0659 | 1144818.1192
25 | 2555606.1798 | 1144782.0987 | 2555598.7947 | 1144773.6383
26 | 2555639.1401 | 1144827.7013 | 2555646.4879 | 1144836.3738 | 2555654.2858 | 1144843.9902
27 | 2555642.0659 | 1144818.1192 | 2555650.7503 | 1144811.1183 | 2555658.4505 | 1144805.2976
28 | 2555593.5876 | 1144767.6731 | 2555598.7947 | 1144773.6383
29 | 2555658.4505 | 1144805.2976 | 2555658.9829 | 1144804.8951
30 | 2555663.2972 | 1144852.7917 | 2555654.2858 | 1144843.9902
31 | 2555593.5876 | 1144767.6731 | 2555612.1057 | 1144748.3346
32 | 2555593.5876 | 1144767.6731 | 2555580.6565 | 1144752.0828 | 2555575.4816 | 1144745.3175
33 | 2555663.2972 | 1144852.7917 | 2555678.4419 | 1144871.609
34 | 2555678.4419 | 1144871.609 | 2555680.0918 | 1144873.659
35 | 2555658.9829 | 1144804.8951 | 2555676.4473 | 1144791.6936
36 | 2555575.4816 | 1144745.3175 | 2555573.6448 | 1144747.3321 | 2555571.556 | 1144749.5598 | 2555561.3475 | 1144761.3857 | 2555557.6609 | 1144765.6578
37 | 2555617.2056 | 1144743.0088 | 2555612.1057 | 1144748.3346
38 | 2555680.0224 | 1144788.9912 | 2555676.4473 | 1144791.6936
39 | 2555680.0224 | 1144788.9912 | 2555682.0549 | 1144787.4643 | 2555692.9704 | 1144779.708
40 | 2555680.0224 | 1144788.9912 | 2555687.1774 | 1144796.8057
41 | 2555699.6501 | 1144774.9617 | 2555692.9704 | 1144779.708
42 | 2555687.1774 | 1144796.8057 | 2555692.806 | 1144802.9529
43 | 2555699.6501 | 1144774.9617 | 2555715.4604 | 1144763.7213
44 | 2555699.6501 | 1144774.9617 | 2555712.4911 | 1144788.7829
45 | 2555692.806 | 1144802.9529 | 2555719.7081 | 1144832.3343
46 | 2555753.5889 | 1144775.3827 | 2555764.655 | 1144787.9491
47 | 2555753.5889 | 1144775.3827 | 2555742.092 | 1144762.327
48 | 2555732.5933 | 1144751.5405 | 2555742.092 | 1144762.327
49 | 2555732.5933 | 1144751.5405 | 2555715.4604 | 1144763.7213
50 | 2555732.5933 | 1144751.5405 | 2555737.531 | 1144748.0246
51 | 2555737.531 | 1144748.0246 | 2555743.7374 | 1144743.5989 | 2555764.837 | 1144730.2052
52 | 2555737.531 | 1144748.0246 | 2555727.3121 | 1144736.6632
53 | 2555727.3121 | 1144736.6632 | 2555725.8861 | 1144735.0778
54 | 2555735.6967 | 1144813.76 | 2555736.9235 | 1144815.0804
55 | 2555735.6967 | 1144813.76 | 2555712.4911 | 1144788.7829
56 | 2555698.7421 | 1144704.899 | 2555725.8861 | 1144735.0778
57 | 2555708.8225 | 1144909.3188 | 2555706.5502 | 1144906.4562 | 2555685.622 | 1144880.5303 | 2555680.0918 | 1144873.659
58 | 2555708.8225 | 1144909.3188 | 2555712.1173 | 1144913.3077 | 2555723.9271 | 1144927.9826
59 | 2555708.8225 | 1144909.3188 | 2555693.7425 | 1144920.0575 | 2555670.89 | 1144941.7612
60 | 2555724.6328 | 1144928.8594 | 2555723.9271 | 1144927.9826
61 | 2555669.9257 | 1144942.677 | 2555670.89 | 1144941.7612
62 | 2555724.6328 | 1144928.8594 | 2555730.2095 | 1144935.789
63 | 2555669.9257 | 1144942.677 | 2555657.244 | 1144954.7213
64 | 2555755.7 | 1144970.1384 | 2555749.6538 | 1144960.8003 | 2555730.3939 | 1144936.0182 | 2555730.2095 | 1144935.789
65 | 2555657.244 | 1144954.7213 | 2555655.1123 | 1144956.7458
66 | 2555755.7 | 1144970.1384 | 2555753.657 | 1144972.3213 | 2555751.6216 | 1144974.4929 | 2555740.9041 | 1144984.7812
67 | 2555755.7 | 1144970.1384 | 2555759.6939 | 1144965.7735 | 2555761.6984 | 1144963.5687 | 2555770.3807 | 1144954.7311
68 | 2555730.7556 | 1144994.5234 | 2555740.9041 | 1144984.7812
69 | 2555785.4474 | 1144939.395 | 2555770.3807 | 1144954.7311
70 | 2555710.6012 | 1145013.8707 | 2555730.7556 | 1144994.5234
71 | 2555785.4474 | 1144939.395 | 2555796.5616 | 1144928.082
72 | 2555807.7167 | 1144916.7274 | 2555796.5616 | 1144928.082
73 | 2555807.7167 | 1144916.7274 | 2555823.9618 | 1144900.1919
74 | 2555634.0815 | 1144976.0458 | 2555648.6197 | 1144962.912 | 2555655.1123 | 1144956.7458
75 | 2555623.9736 | 1144985.1771 | 2555634.0815 | 1144976.0458
76 | 2555688.1384 | 1144693.3323 | 2555694.9113 | 1144700.6452
77 | 2555655.009 | 1144658.2305 | 2555675.831 | 1144680.0439 | 2555688.1384 | 1144693.3323
78 | 2555698.7421 | 1144704.899 | 2555694.9848 | 1144700.7245 | 2555694.9113 | 1144700.6452
79 | 2555655.009 | 1144658.2305 | 2555621.8787 | 1144695.3168
80 | 2555698.7421 | 1144704.899 | 2555680.3309 | 1144723.4664 | 2555674.2884 | 1144727.5456
81 | 2555667.4404 | 1144730.6148 | 2555670.1908 | 1144730.0222 | 2555673.4882 | 1144728.0858 | 2555674.2884 | 1144727.5456
82 | 2555667.4404 | 1144730.6148 | 2555667.1453 | 1144730.6783 | 2555663.6921 | 1144729.1808 | 2555659.7113 | 1144725.9529 | 2555651.7953 | 1144721.5201 | 2555648.403 | 1144718.1337
83 | 2555648.403 | 1144718.1337 | 2555647.5274 | 1144717.2597

## bus_geodata
| x | y | coords
0 | 2555780.3333 | 1144835.8938
1 | 2555763.2362 | 1144852.8332
2 | 2555762.6257 | 1144853.438
3 | 2555744.7465 | 1144871.1524
4 | 2555728.1904 | 1144888.3144
5 | 2555562.205 | 1144852.2681
6 | 2555576.2925 | 1144867.3461
7 | 2555550.8055 | 1144840.0671
8 | 2555585.716 | 1144877.4321
9 | 2555546.1256 | 1144835.0582
10 | 2555587.7353 | 1144875.1716
11 | 2555570.0145 | 1144893.7621
12 | 2555541.1548 | 1144828.9715
13 | 2555603.4378 | 1144889.4297
14 | 2555552.47 | 1144915.864
15 | 2555526.5697 | 1144811.9686
16 | 2555575.6579 | 1144933.5129
17 | 2555522.9688 | 1144807.1372
18 | 2555536.9822 | 1144789.7141
19 | 2555538.7168 | 1144787.6929
20 | 2555625.1026 | 1144809.7602
21 | 2555615.9791 | 1144793.9547
22 | 2555632.8421 | 1144820.7441
23 | 2555606.1798 | 1144782.0987
24 | 2555639.1401 | 1144827.7013
25 | 2555642.0659 | 1144818.1192
26 | 2555598.7947 | 1144773.6383
27 | 2555658.4505 | 1144805.2976
28 | 2555654.2858 | 1144843.9902
29 | 2555593.5876 | 1144767.6731
30 | 2555663.2972 | 1144852.7917
31 | 2555678.4419 | 1144871.609
32 | 2555658.9829 | 1144804.8951
33 | 2555557.6609 | 1144765.6578
34 | 2555575.4816 | 1144745.3175
35 | 2555612.1057 | 1144748.3346
36 | 2555617.2056 | 1144743.0088
37 | 2555676.4473 | 1144791.6936
38 | 2555680.0224 | 1144788.9912
39 | 2555692.9704 | 1144779.708
40 | 2555687.1774 | 1144796.8057
41 | 2555699.6501 | 1144774.9617
42 | 2555692.806 | 1144802.9529
43 | 2555753.5889 | 1144775.3827
44 | 2555764.655 | 1144787.9491
45 | 2555742.092 | 1144762.327
46 | 2555732.5933 | 1144751.5405
47 | 2555715.4604 | 1144763.7213
48 | 2555737.531 | 1144748.0246
49 | 2555764.837 | 1144730.2052
50 | 2555727.3121 | 1144736.6632
51 | 2555735.6967 | 1144813.76
52 | 2555736.9235 | 1144815.0804
53 | 2555712.4911 | 1144788.7829
54 | 2555725.8861 | 1144735.0778
55 | 2555680.0918 | 1144873.659
56 | 2555708.8225 | 1144909.3188
57 | 2555723.9271 | 1144927.9826
58 | 2555670.89 | 1144941.7612
59 | 2555724.6328 | 1144928.8594
60 | 2555669.9257 | 1144942.677
61 | 2555719.7081 | 1144832.3343
62 | 2555730.2095 | 1144935.789
63 | 2555657.244 | 1144954.7213
64 | 2555755.7 | 1144970.1384
65 | 2555740.9041 | 1144984.7812
66 | 2555770.3807 | 1144954.7311
67 | 2555730.7556 | 1144994.5234
68 | 2555785.4474 | 1144939.395
69 | 2555796.5616 | 1144928.082
70 | 2555807.7167 | 1144916.7274
71 | 2555823.9618 | 1144900.1919
72 | 2555710.6012 | 1145013.8707
73 | 2555655.1123 | 1144956.7458
74 | 2555634.0815 | 1144976.0458
75 | 2555623.9736 | 1144985.1771
76 | 2555688.1384 | 1144693.3323
77 | 2555694.9113 | 1144700.6452
78 | 2555655.009 | 1144658.2305
79 | 2555698.7421 | 1144704.899
80 | 2555621.8787 | 1144695.3168
81 | 2555674.2884 | 1144727.5456
82 | 2555667.4404 | 1144730.6148
83 | 2555648.403 | 1144718.1337
84 | 2555647.5274 | 1144717.2597
85 | 2555639.1401 | 1144827.7013

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1