## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5889-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5889-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5889-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5889-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5889-7_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5889-7_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5889-7_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5889-7_0_4_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_5889-7_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_5889-7_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5889-7_0_4_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_5889-7_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5889-7_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5889-7_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_5889-7_0_4_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_5889-7_0_4_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_5889-7_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5889-7_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5889-7_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5889-7_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5889-7_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5889-7_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5889-7_0_4_node_81 | 0.4 | n |  | TRUE
23 | bus_LV_5889-7_0_4_node_80 | 0.4 | n |  | TRUE
24 | bus_LV_5889-7_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5889-7_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_5889-7_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_5889-7_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_5889-7_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_5889-7_0_4_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_5889-7_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_5889-7_0_4_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_5889-7_0_4_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_5889-7_0_4_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_5889-7_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_5889-7_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_5889-7_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_5889-7_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_5889-7_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_5889-7_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_5889-7_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5889-7_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_5889-7_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_5889-7_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_5889-7_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_5889-7_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_5889-7_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_5889-7_0_4_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_5889-7_0_4_node_93 | 0.4 | n |  | TRUE
49 | bus_LV_5889-7_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5889-7_0_4_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_5889-7_0_4_node_91 | 0.4 | n |  | TRUE
52 | bus_LV_5889-7_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_5889-7_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5889-7_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_5889-7_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5889-7_0_4_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_5889-7_0_4_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_5889-7_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_5889-7_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_5889-7_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_5889-7_0_4_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_5889-7_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_5889-7_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_5889-7_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_5889-7_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_5889-7_0_4_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_5889-7_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5889-7_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_5889-7_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_5889-7_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_5889-7_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_5889-7_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_5889-7_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5889-7_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_5889-7_0_4_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_5889-7_0_4_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_5889-7_0_4_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_5889-7_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_5889-7_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_5889-7_0_4_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_5889-7_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_5889-7_0_4_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_5889-7_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_5889-7_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_5889-7_0_4_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_5889-7_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_5889-7_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_5889-7_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_5889-7_0_4_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_5889-7_0_4_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_5889-7_0_4_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_5889-7_0_4_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_5889-7_0_4_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_5889-7_0_4_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_5889-7_0_4_node_97 | 0.4 | n |  | TRUE
96 | bus_LV_5889-7_0_4_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_5889-7_0_4_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_5889-7_0_4_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_5889-7_0_4_node_101 | 0.4 | n |  | TRUE
100 | bus_LV_5889-7_0_4_node_102 | 0.4 | n |  | TRUE
101 | bus_MV_262_0_node_131 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5889-7_0_4_load_0 | 0 | 0.0077186 | 0.0019345 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5889-7_0_4_load_1 | 1 | 0.0032768 | 0.00082125 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5889-7_0_4_load_6 | 5 | 0.0054078 | 0.0013553 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5889-7_0_4_load_4 | 6 | 0.0025278 | 0.00063354 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5889-7_0_4_load_24 | 7 | 0.0011558 | 0.00028968 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5889-7_0_4_load_12 | 8 | 0.0085947 | 0.002154 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5889-7_0_4_load_7 | 9 | 0.0023115 | 0.00057931 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5889-7_0_4_load_22 | 10 | 0.0014735 | 0.00036929 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5889-7_0_4_load_11 | 11 | 0.0088011 | 0.0022058 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5889-7_0_4_load_8 | 12 | 0.0033049 | 0.00082829 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5889-7_0_4_load_52 | 15 | 0.0056776 | 0.0014229 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5889-7_0_4_load_9 | 16 | 0.009875 | 0.0024749 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5889-7_0_4_load_10 | 17 | 0.0036608 | 0.00091747 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5889-7_0_4_load_13 | 18 | 0.0042901 | 0.0010752 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5889-7_0_4_load_14 | 19 | 0.006803 | 0.001705 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5889-7_0_4_load_15 | 20 | 0.0045994 | 0.0011527 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5889-7_0_4_load_16 | 21 | 0.0015483 | 0.00038805 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5889-7_0_4_load_81 | 22 | 0.0037757 | 0.00094627 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5889-7_0_4_load_80 | 23 | 0.0025634 | 0.00064245 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5889-7_0_4_load_18 | 24 | 0.0079942 | 0.0020035 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5889-7_0_4_load_19 | 25 | 0.0033752 | 0.00084592 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5889-7_0_4_load_20 | 26 | 0.0018359 | 0.00046012 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5889-7_0_4_load_44 | 29 | 0.012844 | 0.003219 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5889-7_0_4_load_51 | 31 | 0.0022415 | 0.00056177 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5889-7_0_4_load_47 | 32 | 0.0054123 | 0.0013565 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5889-7_0_4_load_53 | 33 | 0.0099617 | 0.0024966 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5889-7_0_4_load_26 | 34 | 0.0038021 | 0.00095288 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5889-7_0_4_load_29 | 36 | 0.0075719 | 0.0018977 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5889-7_0_4_load_30 | 38 | 0.0076808 | 0.001925 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5889-7_0_4_load_37 | 41 | 0.0030578 | 0.00076635 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5889-7_0_4_load_31 | 42 | 0.0057953 | 0.0014524 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5889-7_0_4_load_32 | 43 | 0.0051916 | 0.0013011 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5889-7_0_4_load_43 | 44 | 0.0052197 | 0.0013082 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5889-7_0_4_load_42 | 45 | 0.0038342 | 0.00096095 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5889-7_0_4_load_48 | 46 | 0.0056391 | 0.0014133 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5889-7_0_4_load_61 | 47 | 0.0026628 | 0.00066735 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5889-7_0_4_load_93 | 48 | 0.003291 | 0.00082481 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5889-7_0_4_load_60 | 50 | 0.0060796 | 0.0015237 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5889-7_0_4_load_38 | 52 | 0.0041925 | 0.0010508 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5889-7_0_4_load_39 | 53 | 0.0041872 | 0.0010494 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5889-7_0_4_load_40 | 54 | 0.0015081 | 0.00037796 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5889-7_0_4_load_77 | 57 | 0.0086453 | 0.0021667 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5889-7_0_4_load_45 | 58 | 0.0040126 | 0.0010057 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5889-7_0_4_load_46 | 59 | 0.0046468 | 0.0011646 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5889-7_0_4_load_58 | 60 | 0.0070318 | 0.0017623 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5889-7_0_4_load_76 | 61 | 0.008428 | 0.0021122 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5889-7_0_4_load_54 | 62 | 0.010716 | 0.0026857 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5889-7_0_4_load_55 | 63 | 0.041442 | 0.010386 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5889-7_0_4_load_56 | 64 | 0.0060572 | 0.0015181 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5889-7_0_4_load_57 | 65 | 0.005936 | 0.0014877 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5889-7_0_4_load_62 | 67 | 0.004506 | 0.0011293 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5889-7_0_4_load_63 | 68 | 0.018459 | 0.0046262 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5889-7_0_4_load_64 | 69 | 0.0045868 | 0.0011496 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5889-7_0_4_load_74 | 74 | 0.0071108 | 0.0017821 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5889-7_0_4_load_82 | 75 | 0.0053711 | 0.0013461 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5889-7_0_4_load_86 | 76 | 0.0071245 | 0.0017856 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5889-7_0_4_load_83 | 77 | 0.0014976 | 0.00037533 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5889-7_0_4_load_69 | 78 | 0.0029826 | 0.00074751 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5889-7_0_4_load_75 | 79 | 0.01001 | 0.0025086 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5889-7_0_4_load_87 | 80 | 0.0023763 | 0.00059555 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5889-7_0_4_load_68 | 81 | 0.0051946 | 0.0013019 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5889-7_0_4_load_73 | 84 | 0.009538 | 0.0023904 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5889-7_0_4_load_85 | 85 | 0.0053681 | 0.0013454 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5889-7_0_4_load_84 | 86 | 0.0064283 | 0.0016111 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5889-7_0_4_load_79 | 87 | 0.0046257 | 0.0011593 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5889-7_0_4_load_89 | 88 | 0.0052045 | 0.0013044 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5889-7_0_4_load_88 | 89 | 0.0080152 | 0.0020088 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5889-7_0_4_load_95 | 90 | 0.0033436 | 0.00083798 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5889-7_0_4_load_94 | 91 | 0.0051594 | 0.0012931 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5889-7_0_4_load_90 | 92 | 0.0062595 | 0.0015688 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5889-7_0_4_load_92 | 93 | 0.0053866 | 0.00135 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5889-7_0_4_load_96 | 94 | 0.0018352 | 0.00045995 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5889-7_0_4_load_99 | 96 | 0.0023445 | 0.00058759 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5889-7_0_4_load_98 | 97 | 0.002005 | 0.00050251 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5889-7_0_4_load_101 | 99 | 0.0023233 | 0.00058228 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5889-7_0_4_load_102 | 100 | 0.0024932 | 0.00062485 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5889-7_0_4_line_0 |  | 0 | 1 | 0.0048583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5889-7_0_4_line_1 |  | 0 | 2 | 0.021337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5889-7_0_4_line_2 |  | 1 | 3 | 0.019318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5889-7_0_4_line_3 |  | 2 | 4 | 0.053367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5889-7_0_4_line_4 |  | 3 | 5 | 0.0062247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5889-7_0_4_line_5 |  | 4 | 8 | 0.029993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5889-7_0_4_line_6 |  | 5 | 9 | 0.019574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5889-7_0_4_line_7 |  | 6 | 7 | 0.0199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5889-7_0_4_line_8 |  | 7 | 10 | 0.010442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5889-7_0_4_line_9 |  | 8 | 11 | 0.045146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5889-7_0_4_line_10 |  | 9 | 12 | 0.018985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5889-7_0_4_line_11 |  | 10 | 27 | 0.015279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5889-7_0_4_line_12 |  | 11 | 17 | 0.013866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5889-7_0_4_line_13 |  | 12 | 13 | 0.027069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5889-7_0_4_line_14 |  | 13 | 14 | 0.009653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5889-7_0_4_line_15 |  | 13 | 15 | 0.030896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5889-7_0_4_line_16 |  | 14 | 31 | 0.0015637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5889-7_0_4_line_17 |  | 14 | 32 | 0.026042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5889-7_0_4_line_18 |  | 15 | 33 | 0.02572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5889-7_0_4_line_19 |  | 16 | 17 | 0.023842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5889-7_0_4_line_20 |  | 18 | 19 | 0.0065714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5889-7_0_4_line_21 |  | 18 | 20 | 0.0061939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5889-7_0_4_line_22 |  | 19 | 21 | 0.039637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5889-7_0_4_line_23 |  | 21 | 22 | 0.023476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5889-7_0_4_line_24 |  | 22 | 23 | 0.0048859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5889-7_0_4_line_25 |  | 23 | 87 | 0.024555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5889-7_0_4_line_26 |  | 24 | 25 | 0.0035697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5889-7_0_4_line_27 |  | 24 | 26 | 0.011559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5889-7_0_4_line_28 |  | 25 | 27 | 0.026965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5889-7_0_4_line_29 |  | 27 | 28 | 0.026122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5889-7_0_4_line_30 |  | 28 | 29 | 0.045052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5889-7_0_4_line_31 |  | 29 | 30 | 0.036579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5889-7_0_4_line_32 |  | 30 | 44 | 0.027272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5889-7_0_4_line_33 |  | 30 | 43 | 0.021566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5889-7_0_4_line_34 |  | 31 | 60 | 0.022205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5889-7_0_4_line_35 |  | 32 | 59 | 0.024355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5889-7_0_4_line_36 |  | 33 | 62 | 0.022006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5889-7_0_4_line_37 |  | 34 | 35 | 0.03346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5889-7_0_4_line_38 |  | 35 | 36 | 0.032918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5889-7_0_4_line_39 |  | 36 | 37 | 0.015984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5889-7_0_4_line_40 |  | 37 | 40 | 0.009433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5889-7_0_4_line_41 |  | 37 | 41 | 0.006958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5889-7_0_4_line_42 |  | 38 | 39 | 0.021242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5889-7_0_4_line_43 |  | 39 | 42 | 0.015809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5889-7_0_4_line_44 |  | 40 | 46 | 0.015511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5889-7_0_4_line_45 |  | 40 | 47 | 0.011002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5889-7_0_4_line_46 |  | 41 | 48 | 0.026449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5889-7_0_4_line_47 |  | 42 | 43 | 0.0092803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5889-7_0_4_line_48 |  | 44 | 45 | 0.0064775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5889-7_0_4_line_49 |  | 45 | 54 | 0.016096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5889-7_0_4_line_50 |  | 46 | 49 | 0.034523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5889-7_0_4_line_51 |  | 47 | 50 | 0.027623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5889-7_0_4_line_52 |  | 48 | 51 | 0.0082923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5889-7_0_4_line_53 |  | 49 | 55 | 0.00714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5889-7_0_4_line_54 |  | 49 | 53 | 0.018675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5889-7_0_4_line_55 |  | 50 | 67 | 0.0055201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5889-7_0_4_line_56 |  | 51 | 92 | 0.017013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5889-7_0_4_line_57 |  | 52 | 53 | 0.0040099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5889-7_0_4_line_58 |  | 52 | 54 | 0.011045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5889-7_0_4_line_59 |  | 55 | 56 | 0.044273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5889-7_0_4_line_60 |  | 55 | 57 | 0.015489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5889-7_0_4_line_61 |  | 56 | 60 | 0.013035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5889-7_0_4_line_62 |  | 57 | 61 | 0.002094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5889-7_0_4_line_63 |  | 58 | 59 | 0.035632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5889-7_0_4_line_64 |  | 61 | 79 | 0.018029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_5889-7_0_4_line_65 |  | 62 | 63 | 0.034942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_5889-7_0_4_line_66 |  | 63 | 64 | 0.0082899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5889-7_0_4_line_67 |  | 64 | 65 | 0.024308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_5889-7_0_4_line_68 |  | 65 | 66 | 0.021204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5889-7_0_4_line_69 |  | 67 | 68 | 0.041954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5889-7_0_4_line_70 |  | 69 | 70 | 0.019944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5889-7_0_4_line_71 |  | 70 | 71 | 0.00618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5889-7_0_4_line_72 |  | 71 | 75 | 0.030585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5889-7_0_4_line_73 |  | 71 | 76 | 0.0020851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5889-7_0_4_line_74 |  | 72 | 73 | 0.009268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5889-7_0_4_line_75 |  | 72 | 74 | 0.035548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_5889-7_0_4_line_76 |  | 73 | 75 | 0.02975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_5889-7_0_4_line_77 |  | 73 | 77 | 0.0062135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5889-7_0_4_line_78 |  | 73 | 78 | 0.011945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5889-7_0_4_line_79 |  | 74 | 79 | 0.050366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5889-7_0_4_line_80 |  | 76 | 80 | 0.019763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5889-7_0_4_line_81 |  | 77 | 88 | 0.024626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_5889-7_0_4_line_82 |  | 80 | 89 | 0.025648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5889-7_0_4_line_83 |  | 81 | 82 | 0.029086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5889-7_0_4_line_84 |  | 82 | 83 | 0.006279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5889-7_0_4_line_85 |  | 82 | 84 | 0.0083205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5889-7_0_4_line_86 |  | 83 | 85 | 0.020717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_5889-7_0_4_line_87 |  | 83 | 86 | 0.017694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5889-7_0_4_line_88 |  | 84 | 87 | 0.038551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5889-7_0_4_line_89 |  | 85 | 88 | 0.038902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_5889-7_0_4_line_90 |  | 89 | 90 | 0.014262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5889-7_0_4_line_91 |  | 90 | 91 | 0.019442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5889-7_0_4_line_92 |  | 91 | 94 | 0.0090685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5889-7_0_4_line_93 |  | 92 | 93 | 0.022506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5889-7_0_4_line_94 |  | 94 | 95 | 0.04206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5889-7_0_4_line_95 |  | 95 | 96 | 0.05419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5889-7_0_4_line_96 |  | 96 | 97 | 0.020204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5889-7_0_4_line_97 |  | 97 | 98 | 0.018532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5889-7_0_4_line_98 |  | 98 | 99 | 0.0015255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5889-7_0_4_line_99 |  | 99 | 100 | 0.018515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5889-7_0_4_trafo_78 | 0.63 MVA 20/0.4 kV | 101 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2556019.3306 | 1144528.1682 | 2556017.9377 | 1144523.5138
1 | 2556031.6385 | 1144545.0751 | 2556020.9272 | 1144533.503 | 2556019.3306 | 1144528.1682
2 | 2556024.2335 | 1144505.4422 | 2556024.2365 | 1144505.8424 | 2556017.7137 | 1144522.7654 | 2556017.9377 | 1144523.5138
3 | 2556031.6385 | 1144545.0751 | 2556052.0583 | 1144529.8626 | 2556067.4077 | 1144518.9671 | 2556075.2345 | 1144514.3632
4 | 2556024.2335 | 1144505.4422 | 2556018.1782 | 1144504.0001
5 | 2556075.2345 | 1144514.3632 | 2556071.1594 | 1144484.6487
6 | 2556018.1782 | 1144504.0001 | 2555999.1366 | 1144499.4652
7 | 2555997.5134 | 1144574.8512 | 2555982.6572 | 1144588.0915
8 | 2555982.6572 | 1144588.0915 | 2555974.8621 | 1144595.0386
9 | 2556065.0255 | 1144439.9214 | 2556071.1594 | 1144484.6487
10 | 2555980.7795 | 1144494.6227 | 2555998.5557 | 1144499.3268 | 2555999.1366 | 1144499.4652
11 | 2555963.4553 | 1144605.2046 | 2555974.8621 | 1144595.0386
12 | 2556065.0255 | 1144439.9214 | 2556063.1415 | 1144426.184 | 2556063.1415 | 1144426.184
13 | 2555954.6114 | 1144487.6979 | 2555980.7795 | 1144494.6227
14 | 2555954.6114 | 1144487.6979 | 2555945.2424 | 1144485.2652
15 | 2555954.6114 | 1144487.6979 | 2555958.4428 | 1144474.7299 | 2555968.4283 | 1144471.0994 | 2555972.9047 | 1144466.0489
16 | 2555945.2424 | 1144485.2652 | 2555943.6792 | 1144485.2219
17 | 2555945.2424 | 1144485.2652 | 2555936.2331 | 1144509.6992
18 | 2555972.9047 | 1144466.0489 | 2555975.6681 | 1144462.9311 | 2555976.924 | 1144448.7035 | 2555976.4826 | 1144441.4461
19 | 2556039.5973 | 1144429.9409 | 2556063.1415 | 1144426.184
20 | 2556095.2549 | 1144335.7569 | 2556088.7435 | 1144336.6433
21 | 2556095.2549 | 1144335.7569 | 2556101.3922 | 1144334.9214
22 | 2556088.7435 | 1144336.6433 | 2556049.4685 | 1144341.9899
23 | 2556026.1981 | 1144345.0861 | 2556042.8619 | 1144342.8893 | 2556049.4685 | 1144341.9899
24 | 2556026.1981 | 1144345.0861 | 2556021.3541 | 1144345.7247
25 | 2555997.0014 | 1144348.869 | 2556005.7226 | 1144347.7855 | 2556021.3541 | 1144345.7247
26 | 2555941.2633 | 1144584.2313 | 2555943.8577 | 1144586.6832
27 | 2555932.8622 | 1144576.2915 | 2555941.2633 | 1144584.2313
28 | 2555963.4553 | 1144605.2046 | 2555943.8577 | 1144586.6832
29 | 2555963.4553 | 1144605.2046 | 2555950.9913 | 1144616.5906 | 2555950.0985 | 1144617.442 | 2555944.3226 | 1144622.9871
30 | 2555944.3226 | 1144622.9871 | 2555912.7724 | 1144590.8266
31 | 2555886.7168 | 1144565.1573 | 2555902.9056 | 1144580.7689 | 2555912.7724 | 1144590.8266
32 | 2555886.7168 | 1144565.1573 | 2555877.4383 | 1144556.2096 | 2555869.9616 | 1144543.9237
33 | 2555886.7168 | 1144565.1573 | 2555877.3709 | 1144574.2416 | 2555870.3839 | 1144579.1398 | 2555870.3839 | 1144579.1398
34 | 2555943.6792 | 1144485.2219 | 2555921.4824 | 1144484.6065
35 | 2555936.2331 | 1144509.6992 | 2555930.5283 | 1144525.1713 | 2555927.3859 | 1144532.381
36 | 2555973.1472 | 1144419.8052 | 2555975.7623 | 1144429.6022 | 2555976.4826 | 1144441.4461
37 | 2555771.2572 | 1144534.3112 | 2555776.837 | 1144542.8524 | 2555782.3597 | 1144559.3203 | 2555783.8904 | 1144565.0068
38 | 2555771.2572 | 1144534.3112 | 2555778.9733 | 1144526.1726 | 2555787.5831 | 1144517.3047 | 2555793.3843 | 1144509.9806
39 | 2555797.9058 | 1144494.7618 | 2555796.7967 | 1144501.7291 | 2555793.3843 | 1144509.9806
40 | 2555807.3359 | 1144494.0032 | 2555797.9058 | 1144494.7618
41 | 2555797.9058 | 1144494.7618 | 2555790.985 | 1144495.4805
42 | 2555847.7353 | 1144588.9665 | 2555845.7669 | 1144586.6798 | 2555839.0858 | 1144584.0386 | 2555833.3167 | 1144583.1805 | 2555828.3969 | 1144584.8889
43 | 2555847.7353 | 1144588.9665 | 2555850.9849 | 1144585.741 | 2555856.1937 | 1144583.5461 | 2555861.521 | 1144581.8919
44 | 2555807.3359 | 1144494.0032 | 2555822.7982 | 1144492.7697
45 | 2555807.3359 | 1144494.0032 | 2555806.4114 | 1144483.0398
46 | 2555790.985 | 1144495.4805 | 2555764.6774 | 1144498.2123
47 | 2555861.521 | 1144581.8919 | 2555870.3839 | 1144579.1398
48 | 2555866.5942 | 1144538.3903 | 2555869.9616 | 1144543.9237
49 | 2555866.5942 | 1144538.3903 | 2555864.271 | 1144534.5728 | 2555861.8521 | 1144523.1997
50 | 2555857.1963 | 1144489.8351 | 2555830.6657 | 1144492.1421 | 2555822.7982 | 1144492.7697
51 | 2555804.0904 | 1144455.515 | 2555806.4114 | 1144483.0398
52 | 2555756.4295 | 1144499.0688 | 2555764.6774 | 1144498.2123
53 | 2555857.1963 | 1144489.8351 | 2555864.33 | 1144489.2158
54 | 2555857.1963 | 1144489.8351 | 2555859.1199 | 1144508.4111
55 | 2555804.0904 | 1144455.515 | 2555803.6266 | 1144450.0144
56 | 2555756.4295 | 1144499.0688 | 2555751.7709 | 1144482.7061
57 | 2555859.5544 | 1144512.3963 | 2555859.5119 | 1144512.1963 | 2555859.1199 | 1144508.4111
58 | 2555859.5544 | 1144512.3963 | 2555861.8521 | 1144523.1997
59 | 2555864.33 | 1144489.2158 | 2555908.4524 | 1144484.2453
60 | 2555864.33 | 1144489.2158 | 2555865.1967 | 1144473.7512
61 | 2555908.4524 | 1144484.2453 | 2555921.4824 | 1144484.6065
62 | 2555865.3138 | 1144471.6605 | 2555865.1967 | 1144473.7512
63 | 2555907.8995 | 1144561.8554 | 2555916.0679 | 1144552.4912 | 2555922.5711 | 1144543.4278 | 2555927.3859 | 1144532.381
64 | 2555865.056 | 1144453.6546 | 2555865.6345 | 1144465.9387 | 2555865.3138 | 1144471.6605
65 | 2555945.9069 | 1144428.3716 | 2555947.0711 | 1144428.6228 | 2555950.9434 | 1144424.37 | 2555957.6736 | 1144415.8608 | 2555968.7058 | 1144415.6022 | 2555973.1472 | 1144419.8052 | 2555973.1472 | 1144419.8052
66 | 2555945.9069 | 1144428.3716 | 2555937.8034 | 1144426.6237
67 | 2555914.9832 | 1144430.1542 | 2555919.8951 | 1144426.7875 | 2555928.8777 | 1144424.6984 | 2555937.8034 | 1144426.6237
68 | 2555903.0737 | 1144447.5548 | 2555913.6488 | 1144431.0688 | 2555914.9832 | 1144430.1542
69 | 2555803.6266 | 1144450.0144 | 2555803.4387 | 1144447.7859 | 2555809.4702 | 1144436.2357 | 2555829.1341 | 1144433.2119 | 2555834.2271 | 1144428.7179
70 | 2555807.1481 | 1144372.2421 | 2555807.5557 | 1144374.3735 | 2555808.6965 | 1144375.9103 | 2555810.2188 | 1144377.0775 | 2555812.1222 | 1144377.8195 | 2555814.1518 | 1144377.9602 | 2555823.9905 | 1144378.6639
71 | 2555806.0047 | 1144366.1696 | 2555807.1481 | 1144372.2421
72 | 2555806.0047 | 1144366.1696 | 2555829.6739 | 1144364.4282 | 2555836.5074 | 1144363.9223
73 | 2555806.0047 | 1144366.1696 | 2555803.9252 | 1144366.3222
74 | 2555866.176 | 1144361.7256 | 2555866.6111 | 1144367.6144 | 2555863.2472 | 1144367.8392
75 | 2555863.2472 | 1144367.8392 | 2555863.443 | 1144376.7312 | 2555862.8931 | 1144403.379
76 | 2555866.176 | 1144361.7256 | 2555836.5074 | 1144363.9223
77 | 2555866.176 | 1144361.7256 | 2555865.7693 | 1144355.5254
78 | 2555866.176 | 1144361.7256 | 2555878.086 | 1144360.8121
79 | 2555862.8931 | 1144403.379 | 2555862.6212 | 1144416.5577 | 2555864.1053 | 1144433.4666 | 2555865.056 | 1144453.6546
80 | 2555803.9252 | 1144366.3222 | 2555784.2148 | 1144367.7689
81 | 2555865.7693 | 1144355.5254 | 2555865.7693 | 1144355.5254 | 2555890.2968 | 1144353.3211
82 | 2555758.636 | 1144369.6464 | 2555784.2148 | 1144367.7689
83 | 2555950.4372 | 1144354.2155 | 2555925.0849 | 1144356.9692 | 2555921.514 | 1144357.2757
84 | 2555950.4372 | 1144354.2155 | 2555949.677 | 1144347.9845
85 | 2555950.4372 | 1144354.2155 | 2555958.709 | 1144353.3156
86 | 2555949.677 | 1144347.9845 | 2555929.0429 | 1144349.8389
87 | 2555949.677 | 1144347.9845 | 2555947.5377 | 1144330.4202
88 | 2555958.709 | 1144353.3156 | 2555978.8146 | 1144351.1284 | 2555997.0014 | 1144348.869
89 | 2555890.2968 | 1144353.3211 | 2555929.0429 | 1144349.8389
90 | 2555744.412 | 1144370.6905 | 2555758.636 | 1144369.6464
91 | 2555725.0218 | 1144372.1137 | 2555744.412 | 1144370.6905
92 | 2555725.0218 | 1144372.1137 | 2555715.9776 | 1144372.7776
93 | 2555751.091 | 1144461.7 | 2555747.5796 | 1144467.9846 | 2555751.7709 | 1144482.7061
94 | 2555674.2403 | 1144377.6891 | 2555686.5957 | 1144375.5414 | 2555699.2859 | 1144374.0028 | 2555715.9776 | 1144372.7776
95 | 2555674.2403 | 1144377.6891 | 2555670.7593 | 1144345.3537 | 2555670.0757 | 1144323.6967
96 | 2555669.4831 | 1144303.5029 | 2555669.4661 | 1144304.3866 | 2555670.0757 | 1144323.6967
97 | 2555669.8379 | 1144284.9739 | 2555669.4831 | 1144303.5029
98 | 2555669.8379 | 1144284.9739 | 2555669.8055 | 1144283.4488
99 | 2555669.8055 | 1144283.4488 | 2555669.6849 | 1144277.7713 | 2555669.8312 | 1144264.9357

## bus_geodata
| x | y | coords
0 | 2556019.3306 | 1144528.1682
1 | 2556017.9377 | 1144523.5138
2 | 2556031.6385 | 1144545.0751
3 | 2556024.2335 | 1144505.4422
4 | 2556075.2345 | 1144514.3632
5 | 2556018.1782 | 1144504.0001
6 | 2555997.5134 | 1144574.8512
7 | 2555982.6572 | 1144588.0915
8 | 2556071.1594 | 1144484.6487
9 | 2555999.1366 | 1144499.4652
10 | 2555974.8621 | 1144595.0386
11 | 2556065.0255 | 1144439.9214
12 | 2555980.7795 | 1144494.6227
13 | 2555954.6114 | 1144487.6979
14 | 2555945.2424 | 1144485.2652
15 | 2555972.9047 | 1144466.0489
16 | 2556039.5973 | 1144429.9409
17 | 2556063.1415 | 1144426.184
18 | 2556095.2549 | 1144335.7569
19 | 2556088.7435 | 1144336.6433
20 | 2556101.3922 | 1144334.9214
21 | 2556049.4685 | 1144341.9899
22 | 2556026.1981 | 1144345.0861
23 | 2556021.3541 | 1144345.7247
24 | 2555941.2633 | 1144584.2313
25 | 2555943.8577 | 1144586.6832
26 | 2555932.8622 | 1144576.2915
27 | 2555963.4553 | 1144605.2046
28 | 2555944.3226 | 1144622.9871
29 | 2555912.7724 | 1144590.8266
30 | 2555886.7168 | 1144565.1573
31 | 2555943.6792 | 1144485.2219
32 | 2555936.2331 | 1144509.6992
33 | 2555976.4826 | 1144441.4461
34 | 2555783.8904 | 1144565.0068
35 | 2555771.2572 | 1144534.3112
36 | 2555793.3843 | 1144509.9806
37 | 2555797.9058 | 1144494.7618
38 | 2555828.3969 | 1144584.8889
39 | 2555847.7353 | 1144588.9665
40 | 2555807.3359 | 1144494.0032
41 | 2555790.985 | 1144495.4805
42 | 2555861.521 | 1144581.8919
43 | 2555870.3839 | 1144579.1398
44 | 2555869.9616 | 1144543.9237
45 | 2555866.5942 | 1144538.3903
46 | 2555822.7982 | 1144492.7697
47 | 2555806.4114 | 1144483.0398
48 | 2555764.6774 | 1144498.2123
49 | 2555857.1963 | 1144489.8351
50 | 2555804.0904 | 1144455.515
51 | 2555756.4295 | 1144499.0688
52 | 2555859.5544 | 1144512.3963
53 | 2555859.1199 | 1144508.4111
54 | 2555861.8521 | 1144523.1997
55 | 2555864.33 | 1144489.2158
56 | 2555908.4524 | 1144484.2453
57 | 2555865.1967 | 1144473.7512
58 | 2555907.8995 | 1144561.8554
59 | 2555927.3859 | 1144532.381
60 | 2555921.4824 | 1144484.6065
61 | 2555865.3138 | 1144471.6605
62 | 2555973.1472 | 1144419.8052
63 | 2555945.9069 | 1144428.3716
64 | 2555937.8034 | 1144426.6237
65 | 2555914.9832 | 1144430.1542
66 | 2555903.0737 | 1144447.5548
67 | 2555803.6266 | 1144450.0144
68 | 2555834.2271 | 1144428.7179
69 | 2555823.9905 | 1144378.6639
70 | 2555807.1481 | 1144372.2421
71 | 2555806.0047 | 1144366.1696
72 | 2555863.2472 | 1144367.8392
73 | 2555866.176 | 1144361.7256
74 | 2555862.8931 | 1144403.379
75 | 2555836.5074 | 1144363.9223
76 | 2555803.9252 | 1144366.3222
77 | 2555865.7693 | 1144355.5254
78 | 2555878.086 | 1144360.8121
79 | 2555865.056 | 1144453.6546
80 | 2555784.2148 | 1144367.7689
81 | 2555921.514 | 1144357.2757
82 | 2555950.4372 | 1144354.2155
83 | 2555949.677 | 1144347.9845
84 | 2555958.709 | 1144353.3156
85 | 2555929.0429 | 1144349.8389
86 | 2555947.5377 | 1144330.4202
87 | 2555997.0014 | 1144348.869
88 | 2555890.2968 | 1144353.3211
89 | 2555758.636 | 1144369.6464
90 | 2555744.412 | 1144370.6905
91 | 2555725.0218 | 1144372.1137
92 | 2555751.7709 | 1144482.7061
93 | 2555751.091 | 1144461.7
94 | 2555715.9776 | 1144372.7776
95 | 2555674.2403 | 1144377.6891
96 | 2555670.0757 | 1144323.6967
97 | 2555669.4831 | 1144303.5029
98 | 2555669.8379 | 1144284.9739
99 | 2555669.8055 | 1144283.4488
100 | 2555669.8312 | 1144264.9357
101 | 2555908.4524 | 1144484.2453

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1