## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5890-10_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5890-10_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5890-10_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5890-10_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5890-10_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5890-10_0_6_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_5890-10_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5890-10_0_6_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_5890-10_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5890-10_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5890-10_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5890-10_0_6_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_5890-10_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5890-10_0_6_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_5890-10_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5890-10_0_6_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_5890-10_0_6_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_5890-10_0_6_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_5890-10_0_6_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_5890-10_0_6_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_5890-10_0_6_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_5890-10_0_6_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_5890-10_0_6_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_5890-10_0_6_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_5890-10_0_6_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_5890-10_0_6_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_5890-10_0_6_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_5890-10_0_6_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_5890-10_0_6_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_5890-10_0_6_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_5890-10_0_6_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5890-10_0_6_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_5890-10_0_6_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_5890-10_0_6_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_5890-10_0_6_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_5890-10_0_6_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_5890-10_0_6_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_5890-10_0_6_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_5890-10_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_5890-10_0_6_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5890-10_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_5890-10_0_6_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_5890-10_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5890-10_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5890-10_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5890-10_0_6_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_5890-10_0_6_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_5890-10_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_5890-10_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_5890-10_0_6_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_5890-10_0_6_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_5890-10_0_6_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_5890-10_0_6_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_5890-10_0_6_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5890-10_0_6_node_48 | 0.4 | n |  | TRUE
55 | bus_MV_262_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5890-10_0_6_load_0 | 0 | 0.058413 | 0.01464 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5890-10_0_6_load_1 | 1 | 0.013662 | 0.003424 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5890-10_0_6_load_2 | 2 | 0.040289 | 0.010097 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5890-10_0_6_load_25 | 5 | 0.019761 | 0.0049526 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5890-10_0_6_load_5 | 6 | 0.030361 | 0.0076091 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5890-10_0_6_load_8 | 10 | 0.01425 | 0.0035715 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5890-10_0_6_load_10 | 11 | 0.050925 | 0.012763 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5890-10_0_6_load_60 | 16 | 0.01021 | 0.0025589 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5890-10_0_6_load_43 | 18 | 0.031962 | 0.0080104 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5890-10_0_6_load_34 | 19 | 0.00076327 | 0.00019129 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5890-10_0_6_load_59 | 20 | 0.012032 | 0.0030154 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5890-10_0_6_load_26 | 21 | 0.0086762 | 0.0021745 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5890-10_0_6_load_22 | 22 | 0.034599 | 0.0086713 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5890-10_0_6_load_24 | 23 | 0.0040019 | 0.001003 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5890-10_0_6_load_53 | 24 | 0.0052088 | 0.0013054 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5890-10_0_6_load_61 | 25 | 0.0098882 | 0.0024782 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5890-10_0_6_load_33 | 28 | 0.0091776 | 0.0023001 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5890-10_0_6_load_58 | 29 | 0.024115 | 0.0060439 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5890-10_0_6_load_27 | 31 | 0.013641 | 0.0034189 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5890-10_0_6_load_42 | 32 | 0.02108 | 0.005283 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5890-10_0_6_load_57 | 33 | 0.010168 | 0.0025484 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5890-10_0_6_load_38 | 34 | 0.0055768 | 0.0013977 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5890-10_0_6_load_54 | 35 | 0.0091168 | 0.0022849 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5890-10_0_6_load_52 | 36 | 0.027941 | 0.0070028 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5890-10_0_6_load_32 | 37 | 0.0073323 | 0.0018376 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5890-10_0_6_load_23 | 38 | 0.0053751 | 0.0013471 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5890-10_0_6_load_28 | 39 | 0.0221 | 0.0055389 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5890-10_0_6_load_39 | 41 | 0.0052045 | 0.0013044 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5890-10_0_6_load_35 | 42 | 0.0043059 | 0.0010792 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5890-10_0_6_load_37 | 44 | 0.01328 | 0.0033283 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5890-10_0_6_load_51 | 45 | 0.0046734 | 0.0011713 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5890-10_0_6_load_49 | 46 | 0.0051677 | 0.0012951 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5890-10_0_6_load_41 | 47 | 0.0061079 | 0.0015308 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5890-10_0_6_load_44 | 48 | 0.0065723 | 0.0016472 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5890-10_0_6_load_45 | 49 | 0.010085 | 0.0025276 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5890-10_0_6_load_46 | 50 | 0.0095657 | 0.0023974 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5890-10_0_6_load_56 | 51 | 0.0043852 | 0.001099 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5890-10_0_6_load_50 | 52 | 0.010376 | 0.0026004 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5890-10_0_6_load_47 | 53 | 0.011165 | 0.0027981 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5890-10_0_6_load_48 | 54 | 0.0093649 | 0.0023471 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5890-10_0_6_line_0 |  | 0 | 1 | 0.017847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5890-10_0_6_line_1 |  | 0 | 2 | 0.019361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5890-10_0_6_line_2 |  | 1 | 3 | 0.023718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5890-10_0_6_line_3 |  | 2 | 4 | 0.024306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5890-10_0_6_line_4 |  | 3 | 5 | 0.027119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5890-10_0_6_line_5 |  | 4 | 6 | 0.023603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5890-10_0_6_line_6 |  | 5 | 7 | 0.020948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5890-10_0_6_line_7 |  | 6 | 8 | 0.013517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5890-10_0_6_line_8 |  | 7 | 21 | 0.020859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5890-10_0_6_line_9 |  | 7 | 22 | 0.020036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5890-10_0_6_line_10 |  | 8 | 9 | 0.025902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5890-10_0_6_line_11 |  | 8 | 10 | 0.013389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5890-10_0_6_line_12 |  | 9 | 11 | 0.032645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5890-10_0_6_line_13 |  | 10 | 12 | 0.017762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5890-10_0_6_line_14 |  | 12 | 13 | 0.010373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5890-10_0_6_line_15 |  | 13 | 20 | 0.0031808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5890-10_0_6_line_16 |  | 14 | 15 | 0.041749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5890-10_0_6_line_17 |  | 14 | 16 | 0.016674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5890-10_0_6_line_18 |  | 15 | 23 | 0.0040165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5890-10_0_6_line_19 |  | 15 | 24 | 0.0030888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5890-10_0_6_line_20 |  | 17 | 18 | 0.022071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5890-10_0_6_line_21 |  | 17 | 19 | 0.021915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5890-10_0_6_line_22 |  | 18 | 27 | 0.024497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5890-10_0_6_line_23 |  | 19 | 28 | 0.019968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5890-10_0_6_line_24 |  | 20 | 29 | 0.02341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5890-10_0_6_line_25 |  | 21 | 37 | 0.0083238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5890-10_0_6_line_26 |  | 22 | 38 | 0.0013779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5890-10_0_6_line_27 |  | 23 | 38 | 0.016493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5890-10_0_6_line_28 |  | 24 | 36 | 0.01555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5890-10_0_6_line_29 |  | 25 | 26 | 0.034104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5890-10_0_6_line_30 |  | 26 | 30 | 0.034379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5890-10_0_6_line_31 |  | 27 | 47 | 0.011165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5890-10_0_6_line_32 |  | 27 | 32 | 0.01739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5890-10_0_6_line_33 |  | 28 | 37 | 0.011472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5890-10_0_6_line_34 |  | 30 | 31 | 0.02016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5890-10_0_6_line_35 |  | 31 | 39 | 0.0021244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5890-10_0_6_line_36 |  | 33 | 34 | 0.011684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5890-10_0_6_line_37 |  | 34 | 43 | 0.0049378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5890-10_0_6_line_38 |  | 35 | 36 | 0.012872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5890-10_0_6_line_39 |  | 39 | 40 | 0.01247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5890-10_0_6_line_40 |  | 40 | 41 | 0.019547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5890-10_0_6_line_41 |  | 40 | 42 | 0.012399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5890-10_0_6_line_42 |  | 42 | 43 | 0.019078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5890-10_0_6_line_43 |  | 43 | 44 | 0.016761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5890-10_0_6_line_44 |  | 44 | 45 | 0.0027874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5890-10_0_6_line_45 |  | 45 | 46 | 0.012157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5890-10_0_6_line_46 |  | 46 | 53 | 0.0052226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5890-10_0_6_line_47 |  | 47 | 48 | 0.00077034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5890-10_0_6_line_48 |  | 48 | 49 | 0.011522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5890-10_0_6_line_49 |  | 49 | 50 | 0.0062821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5890-10_0_6_line_50 |  | 50 | 51 | 0.0019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5890-10_0_6_line_51 |  | 51 | 52 | 0.0050925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5890-10_0_6_line_52 |  | 52 | 54 | 0.0064752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5890-10_0_6_line_53 |  | 53 | 54 | 0.0041093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5890-10_0_6_trafo_32 | 0.63 MVA 20/0.4 kV | 55 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2554599.8499 | 1145502.7515 | 2554615.681 | 1145494.5109
1 | 2554599.8499 | 1145502.7515 | 2554582.6759 | 1145511.691
2 | 2554605.8917 | 1145472.9069 | 2554615.681 | 1145494.5109
3 | 2554570.5857 | 1145490.6048 | 2554582.6759 | 1145511.691 | 2554582.6759 | 1145511.691
4 | 2554605.8917 | 1145472.9069 | 2554630.366 | 1145461.2249
5 | 2554570.5857 | 1145490.6048 | 2554552.7485 | 1145499.9888 | 2554549.6956 | 1145501.5911
6 | 2554649.6635 | 1145453.0777 | 2554631.0231 | 1145460.9112 | 2554630.366 | 1145461.2249
7 | 2554537.7273 | 1145507.873 | 2554549.6956 | 1145501.5911
8 | 2554649.6635 | 1145453.0777 | 2554657.2584 | 1145472.5053
9 | 2554649.6635 | 1145453.0777 | 2554653.8758 | 1145453.3795 | 2554658.2792 | 1145452.5236 | 2554669.2266 | 1145449.6143
10 | 2554537.7273 | 1145507.873 | 2554535.9489 | 1145504.329 | 2554529.5629 | 1145491.9042 | 2554527.8091 | 1145488.5713 | 2554525.9981 | 1145484.7719
11 | 2554537.7273 | 1145507.873 | 2554538.9965 | 1145511.1317 | 2554539.5066 | 1145513.5736 | 2554538.6652 | 1145516.0812 | 2554537.2768 | 1145518.404 | 2554536.158 | 1145520.1177
12 | 2554525.9981 | 1145484.7719 | 2554551.9405 | 1145472.3584 | 2554555.3011 | 1145470.4086
13 | 2554526.6937 | 1145535.1148 | 2554527.6758 | 1145532.9174 | 2554531.71 | 1145526.9283 | 2554535.0668 | 1145521.7891 | 2554536.158 | 1145520.1177
14 | 2554527.4455 | 1145545.1254 | 2554526.0477 | 1145541.1117 | 2554525.848 | 1145538.0783 | 2554526.6937 | 1145535.1148
15 | 2554527.4455 | 1145545.1254 | 2554529.0358 | 1145547.8802
16 | 2554690.485 | 1145444.4101 | 2554687.6436 | 1145435.3936 | 2554683.5246 | 1145428.0986 | 2554681.237 | 1145423.2467 | 2554682.6678 | 1145418.4001 | 2554675.7734 | 1145406.7793
17 | 2554675.7734 | 1145406.7793 | 2554691.6781 | 1145401.7729
18 | 2554690.485 | 1145444.4101 | 2554686.5788 | 1145445.3452
19 | 2554690.485 | 1145444.4101 | 2554693.4932 | 1145443.7093
20 | 2554686.1572 | 1145526.6629 | 2554705.5027 | 1145516.0374
21 | 2554686.1572 | 1145526.6629 | 2554674.1454 | 1145508.3329
22 | 2554726.9746 | 1145504.2441 | 2554705.5027 | 1145516.0374
23 | 2554674.1454 | 1145508.3329 | 2554669.0201 | 1145500.5118 | 2554666.0907 | 1145495.0978 | 2554664.4661 | 1145490.9423
24 | 2554540.7398 | 1145568.1544 | 2554529.0358 | 1145547.8802
25 | 2554660.2892 | 1145480.2577 | 2554657.2584 | 1145472.5053
26 | 2554669.2266 | 1145449.6143 | 2554670.5583 | 1145449.2604
27 | 2554686.5788 | 1145445.3452 | 2554673.606 | 1145448.4505 | 2554670.5583 | 1145449.2604
28 | 2554708.6194 | 1145440.1193 | 2554708.0397 | 1145440.3203 | 2554693.4932 | 1145443.7093
29 | 2554817.2625 | 1145492.3258 | 2554816.5259 | 1145486.3172 | 2554816.1384 | 1145482.8072 | 2554813.4827 | 1145458.4327
30 | 2554817.2625 | 1145492.3258 | 2554805.0267 | 1145499.8105 | 2554787.8658 | 1145510.2893
31 | 2554726.9746 | 1145504.2441 | 2554721.4624 | 1145494.5342
32 | 2554726.9746 | 1145504.2441 | 2554731.0844 | 1145511.339 | 2554733.0933 | 1145512.858 | 2554738.4701 | 1145516.8085
33 | 2554660.2892 | 1145480.2577 | 2554664.4661 | 1145490.9423
34 | 2554787.8658 | 1145510.2893 | 2554777.0201 | 1145493.2947
35 | 2554775.8772 | 1145491.5039 | 2554777.0201 | 1145493.2947
36 | 2554754.7363 | 1145436.0922 | 2554758.5442 | 1145444.2646 | 2554758.1517 | 1145446.9039
37 | 2554757.4254 | 1145451.788 | 2554758.1517 | 1145446.9039
38 | 2554708.6194 | 1145440.1193 | 2554715.4801 | 1145437.7407 | 2554720.6264 | 1145435.505
39 | 2554769.169 | 1145480.9925 | 2554775.8772 | 1145491.5039
40 | 2554769.169 | 1145480.9925 | 2554752.0489 | 1145490.4267
41 | 2554769.169 | 1145480.9925 | 2554764.5429 | 1145469.4883
42 | 2554757.4254 | 1145451.788 | 2554764.5429 | 1145469.4883
43 | 2554757.4254 | 1145451.788 | 2554741.8536 | 1145457.9875
44 | 2554741.8536 | 1145457.9875 | 2554740.0073 | 1145458.7225 | 2554739.2798 | 1145459.0557
45 | 2554739.2798 | 1145459.0557 | 2554728.2261 | 1145464.117
46 | 2554723.4776 | 1145466.2913 | 2554728.2261 | 1145464.117
47 | 2554721.0821 | 1145493.8643 | 2554721.4624 | 1145494.5342
48 | 2554721.0821 | 1145493.8643 | 2554715.8643 | 1145484.6731 | 2554715.3618 | 1145483.8636
49 | 2554712.4362 | 1145478.329 | 2554712.4362 | 1145478.329 | 2554713.399 | 1145480.7008 | 2554715.3618 | 1145483.8636
50 | 2554712.4362 | 1145478.329 | 2554712.3829 | 1145476.3506 | 2554712.3829 | 1145476.3506
51 | 2554714.4375 | 1145471.6994 | 2554714.4375 | 1145471.6994 | 2554713.2792 | 1145473.976 | 2554712.3829 | 1145476.3506
52 | 2554714.4375 | 1145471.6994 | 2554717.0572 | 1145469.6564 | 2554719.7414 | 1145468.002 | 2554719.7414 | 1145468.002
53 | 2554723.4776 | 1145466.2913 | 2554719.7414 | 1145468.002

## bus_geodata
| x | y | coords
0 | 2554599.8499 | 1145502.7515
1 | 2554615.681 | 1145494.5109
2 | 2554582.6759 | 1145511.691
3 | 2554605.8917 | 1145472.9069
4 | 2554570.5857 | 1145490.6048
5 | 2554630.366 | 1145461.2249
6 | 2554549.6956 | 1145501.5911
7 | 2554649.6635 | 1145453.0777
8 | 2554537.7273 | 1145507.873
9 | 2554525.9981 | 1145484.7719
10 | 2554536.158 | 1145520.1177
11 | 2554555.3011 | 1145470.4086
12 | 2554526.6937 | 1145535.1148
13 | 2554527.4455 | 1145545.1254
14 | 2554675.7734 | 1145406.7793
15 | 2554690.485 | 1145444.4101
16 | 2554691.6781 | 1145401.7729
17 | 2554686.1572 | 1145526.6629
18 | 2554705.5027 | 1145516.0374
19 | 2554674.1454 | 1145508.3329
20 | 2554529.0358 | 1145547.8802
21 | 2554657.2584 | 1145472.5053
22 | 2554669.2266 | 1145449.6143
23 | 2554686.5788 | 1145445.3452
24 | 2554693.4932 | 1145443.7093
25 | 2554813.4827 | 1145458.4327
26 | 2554817.2625 | 1145492.3258
27 | 2554726.9746 | 1145504.2441
28 | 2554664.4661 | 1145490.9423
29 | 2554540.7398 | 1145568.1544
30 | 2554787.8658 | 1145510.2893
31 | 2554777.0201 | 1145493.2947
32 | 2554738.4701 | 1145516.8085
33 | 2554754.7363 | 1145436.0922
34 | 2554758.1517 | 1145446.9039
35 | 2554720.6264 | 1145435.505
36 | 2554708.6194 | 1145440.1193
37 | 2554660.2892 | 1145480.2577
38 | 2554670.5583 | 1145449.2604
39 | 2554775.8772 | 1145491.5039
40 | 2554769.169 | 1145480.9925
41 | 2554752.0489 | 1145490.4267
42 | 2554764.5429 | 1145469.4883
43 | 2554757.4254 | 1145451.788
44 | 2554741.8536 | 1145457.9875
45 | 2554739.2798 | 1145459.0557
46 | 2554728.2261 | 1145464.117
47 | 2554721.4624 | 1145494.5342
48 | 2554721.0821 | 1145493.8643
49 | 2554715.3618 | 1145483.8636
50 | 2554712.4362 | 1145478.329
51 | 2554712.3829 | 1145476.3506
52 | 2554714.4375 | 1145471.6994
53 | 2554723.4776 | 1145466.2913
54 | 2554719.7414 | 1145468.002
55 | 2554649.6635 | 1145453.0777

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98998 | -0.1915 | 0.058413 | 0.01464
1 | 0.99125 | -0.16716 | 0.013662 | 0.003424
2 | 0.98845 | -0.22116 | 0.040289 | 0.010097
3 | 0.99303 | -0.13299 | 0 | 0
4 | 0.98548 | -0.27843 | 0 | 0
5 | 0.99506 | -0.094078 | 0.019761 | 0.0049526
6 | 0.98261 | -0.33438 | 0.030361 | 0.0076091
7 | 0.99676 | -0.061705 | 0 | 0
8 | 0.98134 | -0.35913 | 0 | 0
9 | 0.98011 | -0.38304 | 0 | 0
10 | 0.98071 | -0.37135 | 0.01425 | 0.0035715
11 | 0.97857 | -0.41325 | 0.050925 | 0.012763
12 | 0.98012 | -0.383 | 0 | 0
13 | 0.97977 | -0.3898 | 0 | 0
14 | 0.99348 | -0.12483 | 0 | 0
15 | 0.99387 | -0.11731 | 0 | 0
16 | 0.99333 | -0.12784 | 0.01021 | 0.0025589
17 | 0.99646 | -0.06754 | 0 | 0
18 | 0.99501 | -0.095305 | 0.031962 | 0.0080104
19 | 0.9979 | -0.040051 | 0.00076327 | 0.00019129
20 | 0.97966 | -0.39189 | 0.012032 | 0.0030154
21 | 0.99906 | -0.01786 | 0.0086762 | 0.0021745
22 | 0.99499 | -0.09567 | 0.034599 | 0.0086713
23 | 0.99407 | -0.11359 | 0.0040019 | 0.001003
24 | 0.99375 | -0.11961 | 0.0052088 | 0.0013054
25 | 0.98389 | -0.31076 | 0.0098882 | 0.0024782
26 | 0.9842 | -0.30469 | 0 | 0
27 | 0.99364 | -0.12161 | 0 | 0
28 | 0.99921 | -0.014983 | 0.0091776 | 0.0023001
29 | 0.97914 | -0.40215 | 0.024115 | 0.0060439
30 | 0.98451 | -0.29858 | 0 | 0
31 | 0.98469 | -0.29499 | 0.013641 | 0.0034189
32 | 0.99331 | -0.12808 | 0.02108 | 0.005283
33 | 0.98663 | -0.25723 | 0.010168 | 0.0025484
34 | 0.98674 | -0.2551 | 0.0055768 | 0.0013977
35 | 0.99312 | -0.13186 | 0.0091168 | 0.0022849
36 | 0.99323 | -0.12979 | 0.027941 | 0.0070028
37 | 1 | 0 | -0.60144 | -0.15274
38 | 0.99492 | -0.09717 | 0.0053751 | 0.0013471
39 | 0.98474 | -0.29409 | 0.0221 | 0.0055389
40 | 0.98526 | -0.28387 | 0 | 0
41 | 0.98517 | -0.2857 | 0.0052045 | 0.0013044
42 | 0.98584 | -0.27256 | 0.0043059 | 0.0010792
43 | 0.98681 | -0.25371 | 0 | 0
44 | 0.98791 | -0.23247 | 0.01328 | 0.0033283
45 | 0.98812 | -0.22828 | 0.0046734 | 0.0011713
46 | 0.98911 | -0.20902 | 0.0051677 | 0.0012951
47 | 0.99309 | -0.13223 | 0.0061079 | 0.0015308
48 | 0.99305 | -0.13294 | 0.0065723 | 0.0016472
49 | 0.99227 | -0.14812 | 0.010085 | 0.0025276
50 | 0.99147 | -0.16357 | 0.0095657 | 0.0023974
51 | 0.99123 | -0.16811 | 0.0043852 | 0.001099
52 | 0.99065 | -0.1794 | 0.010376 | 0.0026004
53 | 0.98957 | -0.20027 | 0.011165 | 0.0027981
54 | 0.98996 | -0.19258 | 0.0093649 | 0.0023471
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.23168 | -0.058565 | 0.23195 | 0.058738 | 0.00027081 | 0.00017263 | 0.34841 | 0.34841 | 0.34841 | 0.98998 | -0.1915 | 0.99125 | -0.16716 | 31.9056
1 | 0.17327 | 0.043925 | -0.17302 | -0.043768 | 0.00024656 | 0.0001573 | 0.26061 | 0.26061 | 0.26061 | 0.98998 | -0.1915 | 0.98845 | -0.22116 | 35.798
2 | -0.24561 | -0.062162 | 0.24602 | 0.062419 | 0.00040351 | 0.00025733 | 0.36892 | 0.36892 | 0.36892 | 0.99125 | -0.16716 | 0.99303 | -0.13299 | 33.7836
3 | 0.13273 | 0.03367 | -0.13237 | -0.033438 | 0.00036444 | 0.00023293 | 0.19996 | 0.19996 | 0.19996 | 0.98845 | -0.22116 | 0.98548 | -0.27843 | 54.9335
4 | -0.24602 | -0.062419 | 0.24648 | 0.062713 | 0.00046137 | 0.00029422 | 0.36892 | 0.36892 | 0.36892 | 0.99303 | -0.13299 | 0.99506 | -0.094078 | 33.7836
5 | 0.13237 | 0.033438 | -0.13201 | -0.033211 | 0.00035389 | 0.00022619 | 0.19996 | 0.19996 | 0.19996 | 0.98548 | -0.27843 | 0.98261 | -0.33438 | 54.9335
6 | -0.26624 | -0.067666 | 0.26665 | 0.067931 | 0.00041575 | 0.00026526 | 0.39847 | 0.39847 | 0.39847 | 0.99506 | -0.094078 | 0.99676 | -0.061705 | 36.4897
7 | 0.10165 | 0.025602 | -0.10153 | -0.025526 | 0.00012018 | 7.6745e-05 | 0.15398 | 0.15398 | 0.15398 | 0.98261 | -0.33438 | 0.98134 | -0.35913 | 42.3025
8 | -0.36335 | -0.092258 | 0.36412 | 0.092749 | 0.00076838 | 0.00049094 | 0.54285 | 0.54285 | 0.54285 | 0.99676 | -0.061705 | 0.99906 | -0.01786 | 49.7118
9 | 0.096696 | 0.024327 | -0.09654 | -0.024227 | 0.00015664 | 9.9989e-05 | 0.14439 | 0.14439 | 0.14439 | 0.99676 | -0.061705 | 0.99499 | -0.09567 | 39.6667
10 | 0.051057 | 0.012847 | -0.050999 | -0.01281 | 5.8245e-05 | 3.695e-05 | 0.077436 | 0.077437 | 0.077437 | 0.98134 | -0.35913 | 0.98011 | -0.38304 | 21.2738
11 | 0.050474 | 0.012679 | -0.050445 | -0.01266 | 2.9419e-05 | 1.8659e-05 | 0.076545 | 0.076545 | 0.076545 | 0.98134 | -0.35913 | 0.98071 | -0.37135 | 21.0288
12 | 0.050999 | 0.01281 | -0.050925 | -0.012763 | 7.3407e-05 | 4.657e-05 | 0.077437 | 0.077437 | 0.077437 | 0.98011 | -0.38304 | 0.97857 | -0.41325 | 21.2738
13 | 0.036194 | 0.0090888 | -0.036174 | -0.0090762 | 2.0093e-05 | 1.2636e-05 | 0.054923 | 0.054923 | 0.054923 | 0.98071 | -0.37135 | 0.98012 | -0.383 | 15.0888
14 | 0.036174 | 0.0090762 | -0.036162 | -0.0090688 | 1.1734e-05 | 7.3791e-06 | 0.054923 | 0.054923 | 0.054923 | 0.98012 | -0.383 | 0.97977 | -0.3898 | 15.0888
15 | 0.036162 | 0.0090688 | -0.036159 | -0.0090666 | 3.5982e-06 | 2.2628e-06 | 0.054923 | 0.054923 | 0.054923 | 0.97977 | -0.3898 | 0.97966 | -0.39189 | 15.0888
16 | -0.010212 | -0.0025596 | 0.010215 | 0.0025614 | 3.6623e-06 | 1.8031e-06 | 0.015295 | 0.015295 | 0.015295 | 0.99348 | -0.12483 | 0.99387 | -0.11731 | 4.2018
17 | 0.010212 | 0.0025596 | -0.01021 | -0.0025589 | 1.4627e-06 | 7.2025e-07 | 0.015295 | 0.015295 | 0.015295 | 0.99348 | -0.12483 | 0.99333 | -0.12784 | 4.2019
18 | -0.052506 | -0.013169 | 0.052515 | 0.013175 | 9.3086e-06 | 5.9054e-06 | 0.078614 | 0.078614 | 0.078614 | 0.99387 | -0.11731 | 0.99407 | -0.11359 | 21.5974
19 | 0.04229 | 0.010608 | -0.042286 | -0.010605 | 4.644e-06 | 2.9322e-06 | 0.06332 | 0.06332 | 0.06332 | 0.99387 | -0.11731 | 0.99375 | -0.11961 | 17.3956
20 | 0.21602 | 0.054662 | -0.21574 | -0.054478 | 0.00028743 | 0.00018309 | 0.32277 | 0.32277 | 0.32277 | 0.99646 | -0.06754 | 0.99501 | -0.095305 | 29.5578
21 | -0.21602 | -0.054662 | 0.21631 | 0.054843 | 0.00028539 | 0.00018179 | 0.32277 | 0.32277 | 0.32277 | 0.99646 | -0.06754 | 0.9979 | -0.040051 | 29.5578
22 | 0.18377 | 0.046468 | -0.18354 | -0.046321 | 0.00023153 | 0.00014723 | 0.27497 | 0.27497 | 0.27497 | 0.99501 | -0.095305 | 0.99364 | -0.12161 | 25.1807
23 | -0.21707 | -0.055035 | 0.21733 | 0.055201 | 0.00026188 | 0.00016682 | 0.32391 | 0.32391 | 0.32391 | 0.9979 | -0.040051 | 0.99921 | -0.014983 | 29.662
24 | 0.024127 | 0.0060511 | -0.024115 | -0.0060439 | 1.1791e-05 | 7.2515e-06 | 0.036648 | 0.036649 | 0.036649 | 0.97966 | -0.39189 | 0.97914 | -0.40215 | 10.0683
25 | -0.37279 | -0.094924 | 0.37312 | 0.095129 | 0.00032139 | 0.00020536 | 0.55578 | 0.55577 | 0.55578 | 0.99906 | -0.01786 | 1 | 0 | 50.8952
26 | 0.061941 | 0.015556 | -0.061936 | -0.015553 | 4.4349e-06 | 2.8205e-06 | 0.092644 | 0.092644 | 0.092644 | 0.99499 | -0.09567 | 0.99492 | -0.09717 | 25.4516
27 | -0.056517 | -0.014178 | 0.056561 | 0.014206 | 4.4271e-05 | 2.8119e-05 | 0.084605 | 0.084605 | 0.084605 | 0.99407 | -0.11359 | 0.99492 | -0.09717 | 23.2431
28 | 0.037077 | 0.0092994 | -0.037059 | -0.0092881 | 1.7975e-05 | 1.1302e-05 | 0.05552 | 0.055521 | 0.055521 | 0.99375 | -0.11961 | 0.99323 | -0.12979 | 15.2529
29 | -0.0098882 | -0.0024782 | 0.0098911 | 0.0024796 | 2.8602e-06 | 1.3973e-06 | 0.014955 | 0.014955 | 0.014955 | 0.98389 | -0.31076 | 0.9842 | -0.30469 | 4.1085
30 | -0.0098911 | -0.0024796 | 0.0098939 | 0.002481 | 2.8832e-06 | 1.4082e-06 | 0.014955 | 0.014954 | 0.014955 | 0.9842 | -0.30469 | 0.98451 | -0.29858 | 4.1084
31 | 0.16246 | 0.041034 | -0.16237 | -0.040981 | 8.2682e-05 | 5.2483e-05 | 0.2434 | 0.2434 | 0.2434 | 0.99364 | -0.12161 | 0.99309 | -0.13223 | 22.289
32 | 0.021086 | 0.005287 | -0.02108 | -0.005283 | 6.5027e-06 | 3.9366e-06 | 0.031578 | 0.031578 | 0.031578 | 0.99364 | -0.12161 | 0.99331 | -0.12808 | 8.6753
33 | -0.22651 | -0.057502 | 0.22667 | 0.057606 | 0.00016341 | 0.00010413 | 0.33758 | 0.33758 | 0.33758 | 0.99921 | -0.014983 | 1 | 0 | 30.9136
34 | -0.0098939 | -0.002481 | 0.0098956 | 0.0024818 | 1.6907e-06 | 8.2565e-07 | 0.014954 | 0.014954 | 0.014954 | 0.98451 | -0.29858 | 0.98469 | -0.29499 | 4.1084
35 | -0.023537 | -0.0059007 | 0.023538 | 0.0059013 | 1.0079e-06 | 6.1802e-07 | 0.035569 | 0.035569 | 0.035569 | 0.98469 | -0.29499 | 0.98474 | -0.29409 | 9.7716
36 | -0.010168 | -0.0025484 | 0.010169 | 0.0025489 | 1.0304e-06 | 5.1024e-07 | 0.015335 | 0.015335 | 0.015335 | 0.98663 | -0.25723 | 0.98674 | -0.2551 | 4.213
37 | -0.015746 | -0.0039465 | 0.015747 | 0.0039471 | 1.044e-06 | 6.051e-07 | 0.023745 | 0.023745 | 0.023745 | 0.98674 | -0.2551 | 0.98681 | -0.25371 | 6.5234
38 | -0.0091168 | -0.0022849 | 0.0091177 | 0.0022853 | 9.007e-07 | 4.0987e-07 | 0.01366 | 0.01366 | 0.01366 | 0.99312 | -0.13186 | 0.99323 | -0.12979 | 3.7527
39 | -0.045638 | -0.01144 | 0.045661 | 0.011454 | 2.224e-05 | 1.4075e-05 | 0.068964 | 0.068964 | 0.068964 | 0.98474 | -0.29409 | 0.98526 | -0.28387 | 18.9461
40 | 0.005205 | 0.0013044 | -0.0052045 | -0.0013044 | 4.5297e-07 | 4.0978e-08 | 0.0078609 | 0.007861 | 0.007861 | 0.98526 | -0.28387 | 0.98517 | -0.2857 | 2.1596
41 | -0.050866 | -0.012759 | 0.050893 | 0.012776 | 2.7443e-05 | 1.7406e-05 | 0.076825 | 0.076825 | 0.076825 | 0.98526 | -0.28387 | 0.98584 | -0.27256 | 21.1057
42 | -0.055199 | -0.013855 | 0.055249 | 0.013887 | 4.967e-05 | 3.1546e-05 | 0.083324 | 0.083324 | 0.083324 | 0.98584 | -0.27256 | 0.98681 | -0.25371 | 22.8912
43 | -0.070995 | -0.017834 | 0.071068 | 0.01788 | 7.2052e-05 | 4.5899e-05 | 0.10707 | 0.10707 | 0.10707 | 0.98681 | -0.25371 | 0.98791 | -0.23247 | 29.4145
44 | -0.084347 | -0.021208 | 0.084364 | 0.021219 | 1.6878e-05 | 1.0766e-05 | 0.12707 | 0.12707 | 0.12707 | 0.98791 | -0.23247 | 0.98812 | -0.22828 | 34.9097
45 | -0.089038 | -0.02239 | 0.08912 | 0.022442 | 8.1994e-05 | 5.232e-05 | 0.13411 | 0.13411 | 0.13411 | 0.98812 | -0.22828 | 0.98911 | -0.20902 | 36.8431
46 | -0.094287 | -0.023738 | 0.094327 | 0.023763 | 3.9426e-05 | 2.5166e-05 | 0.14188 | 0.14188 | 0.14188 | 0.98911 | -0.20902 | 0.98957 | -0.20027 | 38.9789
47 | 0.15626 | 0.039451 | -0.15626 | -0.039447 | 5.2836e-06 | 3.3516e-06 | 0.23424 | 0.23424 | 0.23424 | 0.99309 | -0.13223 | 0.99305 | -0.13294 | 21.4509
48 | 0.14969 | 0.0378 | -0.14958 | -0.037731 | 0.00010878 | 6.9321e-05 | 0.2244 | 0.2244 | 0.2244 | 0.99305 | -0.13294 | 0.99227 | -0.14812 | 30.8236
49 | 0.13949 | 0.035203 | -0.13939 | -0.035137 | 0.00010317 | 6.5949e-05 | 0.20927 | 0.20927 | 0.20927 | 0.99227 | -0.14812 | 0.99147 | -0.16357 | 57.4923
50 | 0.12982 | 0.03274 | -0.1298 | -0.032722 | 2.8197e-05 | 1.802e-05 | 0.19492 | 0.19492 | 0.19492 | 0.99147 | -0.16357 | 0.99123 | -0.16811 | 53.5483
51 | 0.12541 | 0.031623 | -0.12534 | -0.031579 | 6.7734e-05 | 4.3284e-05 | 0.18833 | 0.18833 | 0.18833 | 0.99123 | -0.16811 | 0.99065 | -0.1794 | 51.7397
52 | 0.11497 | 0.028979 | -0.1149 | -0.028933 | 7.2462e-05 | 4.6292e-05 | 0.17275 | 0.17275 | 0.17275 | 0.99065 | -0.1794 | 0.98996 | -0.19258 | 47.4582
53 | -0.10549 | -0.026561 | 0.10553 | 0.026586 | 3.8797e-05 | 2.4777e-05 | 0.15867 | 0.15867 | 0.15867 | 0.98957 | -0.20027 | 0.98996 | -0.19258 | 43.5911

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60877 | 0.15457

## res_load
| p_mw | q_mvar
0 | 0.058413 | 0.01464
1 | 0.013662 | 0.003424
2 | 0.040289 | 0.010097
3 | 0.019761 | 0.0049526
4 | 0.030361 | 0.0076091
5 | 0.01425 | 0.0035715
6 | 0.050925 | 0.012763
7 | 0.01021 | 0.0025589
8 | 0.031962 | 0.0080104
9 | 0.00076327 | 0.00019129
10 | 0.012032 | 0.0030154
11 | 0.0086762 | 0.0021745
12 | 0.034599 | 0.0086713
13 | 0.0040019 | 0.001003
14 | 0.0052088 | 0.0013054
15 | 0.0098882 | 0.0024782
16 | 0.0091776 | 0.0023001
17 | 0.024115 | 0.0060439
18 | 0.013641 | 0.0034189
19 | 0.02108 | 0.005283
20 | 0.010168 | 0.0025484
21 | 0.0055768 | 0.0013977
22 | 0.0091168 | 0.0022849
23 | 0.027941 | 0.0070028
24 | 0.0073323 | 0.0018376
25 | 0.0053751 | 0.0013471
26 | 0.0221 | 0.0055389
27 | 0.0052045 | 0.0013044
28 | 0.0043059 | 0.0010792
29 | 0.01328 | 0.0033283
30 | 0.0046734 | 0.0011713
31 | 0.0051677 | 0.0012951
32 | 0.0061079 | 0.0015308
33 | 0.0065723 | 0.0016472
34 | 0.010085 | 0.0025276
35 | 0.0095657 | 0.0023974
36 | 0.0043852 | 0.001099
37 | 0.010376 | 0.0026004
38 | 0.011165 | 0.0027981
39 | 0.0093649 | 0.0023471

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1